## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-04-07 15:59 | 2026-04-07 17:04 | Success | FALSE | SHP2L |  | 1 | 1 | 2 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 7.209 V | 9.5183 kV | 52 µbar | 71 µbar | Carbon Dioxide: 0.0183 kV | 74 µbar | 6.852 V | 8.104 V | 117 µbar/min | 4.596 V | 8.26E-008 mbar | 43 % | 709 µbar | 72 °C | µ-Volume |  | Pre | 6.7654 | 7.3555 | 9.6446 | 6.8739 | 7.3435 | 9.8109 | -0.84221 | -6.0686 | -0.86713 | 0.019477 | 0.0050289 | -6.1006 | 0.01901 | 0.0049084 | -0.70212 | 0.020608 | -6.1052 | 0.01901
[32 empty] | Cycle 1 | 6.5553 | 7.1271 | 9.3449 | 6.5612 | 7.0095 | 9.3643 | -0.84978 | -6.0926
[32 empty] | Cycle 2 | 6.3533 | 6.908 | 9.0572 | 6.2666 | 6.6949 | 8.9442 | -0.82443 | -6.0882
[32 empty] | Cycle 3 | 6.1573 | 6.6948 | 8.7778 | 5.9883 | 6.3978 | 8.547 | -0.85915 | -6.1022
[32 empty] | Cycle 4 | 5.9689 | 6.4905 | 8.5092 | 5.7245 | 6.116 | 8.1707 | -0.78538 | -6.1001
[32 empty] | Cycle 5 | 5.7869 | 6.2922 | 8.2497 | 5.4749 | 5.8495 | 7.8142 | -0.85753 | -6.0697
[32 empty] | Cycle 6 | 5.6112 | 6.1011 | 7.9994 | 5.2385 | 5.597 | 7.4765 | -0.87838 | -6.0482
[32 empty] | Cycle 7 | 5.4407 | 5.9158 | 7.7562 | 5.0141 | 5.3574 | 7.1566 | -0.88842 | -6.0995
[32 empty] | Cycle 8 | 5.2771 | 5.7381 | 7.5229 | 4.8008 | 5.1296 | 6.8523 | -0.87898 | -6.1145
[32 empty] | Cycle 9 | 5.1183 | 5.5654 | 7.2966 | 4.5987 | 4.9137 | 6.5637 | -0.89402 | -6.0897
[32 empty] | Cycle 10 | 4.9651 | 5.399 | 7.0784 | 4.4066 | 4.7085 | 6.2897 | -0.87508 | -6.0885
[32 empty] | Cycle 11 | 4.8177 | 5.2388 | 6.868 | 4.2242 | 4.5136 | 6.0293 | -0.87592 | -6.1368
[32 empty] | Cycle 12 | 4.6744 | 5.0831 | 6.6641 | 4.0504 | 4.328 | 5.7814 | -0.84761 | -6.1037
[32 empty] | Cycle 13 | 4.5367 | 4.9333 | 6.4677 | 3.8848 | 4.1511 | 5.5452 | -0.87521 | -6.1212
[32 empty] | Cycle 14 | 4.4036 | 4.7886 | 6.2779 | 3.7274 | 3.983 | 5.3204 | -0.88472 | -6.1251
[32 empty] | Cycle 15 | 4.2743 | 4.6481 | 6.0936 | 3.5774 | 3.8228 | 5.1064 | -0.87548 | -6.1088
[32 empty] | Cycle 16 |  |  |  | 3.434 | 3.6694 | 4.9013
2 | GIRMS\IRMS-operator | 2026-04-07 16:34 | 2026-04-07 17:31 | Success | FALSE | 865 - H. elegans | 19-20 | 2 | 2 | 2 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.027 V | 9.5183 kV | 91 µbar | 86 µbar | Carbon Dioxide: 0.0183 kV | 108 µbar | 10.216 V | 12.628 V | 166 µbar/min | 6.770 V | 1.04E-007 mbar | 23 % | 836 µbar | 72 °C | µ-Volume |  | Pre | 9.9977 | 10.9069 | 14.3844 | 10.2203 | 10.9153 | 14.5853 | 2.8361 | 3.2122 | 2.7909 | 0.026125 | 0.0065313 | 3.2135 | 0.017894 | 0.0046203 | 2.8678 | 0.027908 | 3.2106 | 0.017912
[32 empty] | Cycle 1 | 9.6525 | 10.5306 | 13.8879 | 9.71 | 10.371 | 13.8578 | 2.8213 | 3.2293
[32 empty] | Cycle 2 | 9.3198 | 10.168 | 13.409 | 9.2315 | 9.8601 | 13.1741 | 2.8117 | 3.2196
[32 empty] | Cycle 3 | 9.0016 | 9.8213 | 12.9516 | 8.7834 | 9.3822 | 12.5351 | 2.8165 | 3.2259
[32 empty] | Cycle 4 | 8.6949 | 9.487 | 12.5102 | 8.3621 | 8.9323 | 11.9342 | 2.8085 | 3.2038
[32 empty] | Cycle 5 | 8.4004 | 9.166 | 12.0868 | 7.9663 | 8.5098 | 11.369 | 2.8066 | 3.2264
[32 empty] | Cycle 6 | 8.1186 | 8.8586 | 11.681 | 7.5929 | 8.1114 | 10.8366 | 2.7688 | 3.1858
[32 empty] | Cycle 7 | 7.8483 | 8.5641 | 11.2926 | 7.2416 | 7.7364 | 10.3351 | 2.7857 | 3.2051
[32 empty] | Cycle 8 | 7.5881 | 8.2803 | 10.9179 | 6.91 | 7.3823 | 9.8623 | 2.7769 | 3.1753
[32 empty] | Cycle 9 | 7.3379 | 8.0074 | 10.5584 | 6.5971 | 7.0483 | 9.4155 | 2.7654 | 3.2228
[32 empty] | Cycle 10 | 7.0986 | 7.7466 | 10.2144 | 6.3013 | 6.7325 | 8.9935 | 2.7743 | 3.2423
[32 empty] | Cycle 11 | 6.8668 | 7.4938 | 9.8806 | 6.0217 | 6.4338 | 8.5945 | 2.7953 | 3.2131
[32 empty] | Cycle 12 | 6.6447 | 7.2516 | 9.5612 | 5.7567 | 6.1509 | 8.2163 | 2.7587 | 3.219
[32 empty] | Cycle 13 | 6.431 | 7.0191 | 9.2535 | 5.506 | 5.8835 | 7.8585 | 2.8067 | 3.1944
[32 empty] | Cycle 14 | 6.2248 | 6.7935 | 8.9572 | 5.2683 | 5.6296 | 7.5194 | 2.7397 | 3.2268
[32 empty] | Cycle 15 | 6.0263 | 6.577 | 8.6713 | 5.0418 | 5.3873 | 7.1962 | 2.7829 | 3.1635
[32 empty] | Cycle 16 |  |  |  | 4.8278 | 5.1587 | 6.891
3 | GIRMS\IRMS-operator | 2026-04-07 17:04 | 2026-04-07 18:05 | Success | FALSE | 865 - H. elegans | 18-19 | 3 | 1 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 20.795 V | 9.5183 kV | 81 µbar | 91 µbar | Carbon Dioxide: 0.0183 kV | 84 µbar | 14.574 V | 24.603 V | 103 µbar/min | 10.035 V | 1.31E-007 mbar | 10 % | 841 µbar | 72 °C | µ-Volume | 18.996 V | Pre | 20.3086 | 22.1332 | 29.2112 | 14.5884 | 15.5726 | 20.8164 | 2.3224 | 3.0757 | 2.3629 | 0.052607 | 0.013583 | 3.0704 | 0.015512 | 0.0040052 | 2.4151 | 0.055919 | 3.0683 | 0.015455
[32 empty] | Cycle 1 | 19.4547 | 21.2044 | 27.9832 | 13.7808 | 14.712 | 19.6644 | 2.3105 | 3.0585
[32 empty] | Cycle 2 | 18.6458 | 20.3241 | 26.8206 | 13.0305 | 13.9121 | 18.5942 | 2.2909 | 3.0581
[32 empty] | Cycle 3 | 17.8897 | 19.502 | 25.7331 | 12.3349 | 13.1706 | 17.6024 | 2.3269 | 3.0285
[32 empty] | Cycle 4 | 17.1683 | 18.7166 | 24.6956 | 11.6866 | 12.479 | 16.6775 | 2.3226 | 3.0336
[32 empty] | Cycle 5 | 16.4762 | 17.9633 | 23.7013 | 11.0799 | 11.8321 | 15.8117 | 2.3219 | 3.0641
[32 empty] | Cycle 6 | 15.8188 | 17.2478 | 22.7554 | 10.5148 | 11.2293 | 15.0058 | 2.3324 | 3.0484
[32 empty] | Cycle 7 | 15.2053 | 16.5799 | 21.8738 | 9.9862 | 10.6654 | 14.2512 | 2.3438 | 3.0899
[32 empty] | Cycle 8 | 14.6168 | 15.9397 | 21.0277 | 9.4902 | 10.1362 | 13.5436 | 2.3728 | 3.0784
[32 empty] | Cycle 9 | 14.0609 | 15.3342 | 20.228 | 9.0257 | 9.6407 | 12.8813 | 2.3719 | 3.0737
[32 empty] | Cycle 10 | 13.5267 | 14.7524 | 19.4597 | 8.5906 | 9.1763 | 12.26 | 2.3841 | 3.0805
[32 empty] | Cycle 11 | 13.0238 | 14.2049 | 18.7368 | 8.1803 | 8.7384 | 11.6748 | 2.4075 | 3.0831
[32 empty] | Cycle 12 | 12.5363 | 13.674 | 18.0356 | 7.7946 | 8.3267 | 11.1246 | 2.4329 | 3.0707
[32 empty] | Cycle 13 | 12.0812 | 13.1783 | 17.3814 | 7.4319 | 7.9396 | 10.6071 | 2.4466 | 3.0895
[32 empty] | Cycle 14 | 11.6376 | 12.6949 | 16.743 | 7.0896 | 7.5741 | 10.1185 | 2.4566 | 3.0718
[32 empty] | Cycle 15 | 11.2217 | 12.2419 | 16.145 | 6.7667 | 7.2294 | 9.658 | 2.4941 | 3.0794
[32 empty] | Cycle 16 |  |  |  | 6.461 | 6.903 | 9.2218
4 | GIRMS\IRMS-operator | 2026-04-07 17:31 | 2026-04-07 18:38 | Success | FALSE | 865 - H. elegans | 17-18 | 4 | 2 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 24.780 V | 9.5181 kV | 98 µbar | 91 µbar | Carbon Dioxide: 0.0181 kV | 98 µbar | 14.186 V | 29.736 V | 83 µbar/min | 14.208 V | 1.30E-007 mbar | 10 % | 907 µbar | 72 °C | µ-Volume | 22.395 V | Pre | 24.1531 | 26.3149 | 34.7387 | 14.2063 | 15.1662 | 20.2714 | 1.9087 | 2.9843 | 2.0983 | 0.13486 | 0.033715 | 3.0271 | 0.027211 | 0.0068027 | 2.1334 | 0.14337 | 3.0256 | 0.026956
[32 empty] | Cycle 1 | 23.055 | 25.1209 | 33.1603 | 13.4246 | 14.3331 | 19.1566 | 1.9298 | 2.991
[32 empty] | Cycle 2 | 22.0245 | 24.0004 | 31.6784 | 12.7002 | 13.5603 | 18.1232 | 1.9629 | 2.9955
[32 empty] | Cycle 3 | 21.0532 | 22.9439 | 30.2824 | 12.0272 | 12.8428 | 17.1627 | 1.9603 | 3.0157
[32 empty] | Cycle 4 | 20.141 | 21.952 | 28.9707 | 11.399 | 12.173 | 16.2668 | 1.9902 | 3.0074
[32 empty] | Cycle 5 | 19.275 | 21.0099 | 27.7254 | 10.8132 | 11.5481 | 15.431 | 2.0309 | 3.0043
[32 empty] | Cycle 6 | 18.4513 | 20.1133 | 26.5412 | 10.2635 | 10.9615 | 14.6469 | 2.0292 | 3.0197
[32 empty] | Cycle 7 | 17.6824 | 19.2768 | 25.4353 | 9.7509 | 10.4147 | 13.9151 | 2.0588 | 3.0206
[32 empty] | Cycle 8 | 16.9519 | 18.482 | 24.3852 | 9.2704 | 9.9021 | 13.2298 | 2.0964 | 3.0244
[32 empty] | Cycle 9 | 16.2602 | 17.7292 | 23.3911 | 8.8189 | 9.4201 | 12.5856 | 2.1386 | 3.0371
[32 empty] | Cycle 10 | 15.6039 | 17.0147 | 22.4476 | 8.3948 | 8.9674 | 11.9808 | 2.1614 | 3.0386
[32 empty] | Cycle 11 | 14.9824 | 16.3384 | 21.5536 | 7.9961 | 8.5419 | 11.412 | 2.2127 | 3.0507
[32 empty] | Cycle 12 | 14.3927 | 15.6962 | 20.7056 | 7.6212 | 8.1417 | 10.8767 | 2.2237 | 3.072
[32 empty] | Cycle 13 | 13.8321 | 15.0854 | 19.899 | 7.2687 | 7.7655 | 10.3738 | 2.2368 | 3.0633
[32 empty] | Cycle 14 | 13.2999 | 14.5062 | 19.1335 | 6.9352 | 7.4093 | 9.8978 | 2.3062 | 3.0454
[32 empty] | Cycle 15 | 12.7929 | 13.9536 | 18.4047 | 6.6202 | 7.0728 | 9.4487 | 2.3257 | 3.0644
[32 empty] | Cycle 16 |  |  |  | 6.3223 | 6.7546 | 9.0233
5 | GIRMS\IRMS-operator | 2026-04-07 18:05 | 2026-04-07 19:22 | Success | FALSE | 865 - H. elegans | 16-17 | 5 | 1 | 4 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 26.016 V | 9.5183 kV | 86 µbar | 96 µbar | Carbon Dioxide: 0.0183 kV | 89 µbar | 14.997 V | 31.268 V | 98 µbar/min | 4.594 V | 1.34E-007 mbar | 10 % | 865 µbar | 72 °C | µ-Volume | 23.290 V | Pre | 25.131 | 27.3761 | 36.1453 | 15.0035 | 16.0155 | 21.4088 | 1.8599 | 3.0045 | 1.977 | 0.11181 | 0.027952 | 3.0213 | 0.021998 | 0.0056799 | 2.0037 | 0.119 | 3.0201 | 0.021874
[32 empty] | Cycle 1 | 23.9995 | 26.1451 | 34.5191 | 14.165 | 15.122 | 20.2126 | 1.8341 | 3.0095
[32 empty] | Cycle 2 | 22.9378 | 24.9913 | 32.9925 | 13.3903 | 14.296 | 19.1081 | 1.8614 | 2.9892
[32 empty] | Cycle 3 | 21.9355 | 23.901 | 31.5518 | 12.6704 | 13.5288 | 18.0812 | 1.8521 | 2.9974
[32 empty] | Cycle 4 | 20.9924 | 22.8753 | 30.1963 | 11.9996 | 12.8134 | 17.1244 | 1.8671 | 3.0088
[32 empty] | Cycle 5 | 20.1007 | 21.9059 | 28.914 | 11.3738 | 12.146 | 16.2316 | 1.9185 | 3.0073
[32 empty] | Cycle 6 | 19.2571 | 20.9885 | 27.701 | 10.7902 | 11.523 | 15.3988 | 1.9397 | 3.0164
[32 empty] | Cycle 7 | 18.4596 | 20.121 | 26.5549 | 10.2442 | 10.9413 | 14.6198 | 1.9526 | 3.0435
[32 empty] | Cycle 8 | 17.7057 | 19.3001 | 25.4704 | 9.7323 | 10.395 | 13.8896 | 1.9655 | 3.0281
[32 empty] | Cycle 9 | 16.99 | 18.5212 | 24.4415 | 9.2534 | 9.8836 | 13.2061 | 1.9832 | 3.0563
[32 empty] | Cycle 10 | 16.3118 | 17.7838 | 23.4669 | 8.8038 | 9.4042 | 12.5645 | 2.0381 | 3.052
[32 empty] | Cycle 11 | 15.6688 | 17.0838 | 22.5415 | 8.3807 | 8.9523 | 11.9616 | 2.0632 | 3.0015
[32 empty] | Cycle 12 | 15.0579 | 16.4184 | 21.6631 | 7.9831 | 8.5281 | 11.3941 | 2.0574 | 3.0159
[32 empty] | Cycle 13 | 14.4776 | 15.7876 | 20.8289 | 7.609 | 8.1289 | 10.8604 | 2.1302 | 3.0532
[32 empty] | Cycle 14 | 13.9247 | 15.1848 | 20.0337 | 7.255 | 7.751 | 10.3548 | 2.1176 | 3.0839
[32 empty] | Cycle 15 | 13.3982 | 14.6118 | 19.2758 | 6.9223 | 7.3956 | 9.8799 | 2.1912 | 3.0364
[32 empty] | Cycle 16 |  |  |  | 6.6088 | 7.0606 | 9.4329
6 | GIRMS\IRMS-operator | 2026-04-07 18:38 | 2026-04-07 19:50 | Success | FALSE | SHP2L |  | 6 | 2 | 4 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 9.404 V | 9.5181 kV | 98 µbar | 86 µbar | Carbon Dioxide: 0.0181 kV | 96 µbar | 8.792 V | 10.697 V | 176 µbar/min | 14.652 V | 9.58E-008 mbar | 28 % | 828 µbar | 72 °C | µ-Volume |  | Pre | 8.6094 | 9.3593 | 12.272 | 8.8068 | 9.4068 | 12.5681 | -0.79064 | -6.0829 | -0.86973 | 0.028281 | 0.007302 | -6.0852 | 0.021322 | 0.0055053 | -0.70517 | 0.030243 | -6.0898 | 0.021344
[32 empty] | Cycle 1 | 8.3206 | 9.0452 | 11.8606 | 8.3825 | 8.9538 | 11.9628 | -0.83743 | -6.0653
[32 empty] | Cycle 2 | 8.0427 | 8.7432 | 11.4644 | 7.9849 | 8.5295 | 11.3953 | -0.86329 | -6.0747
[32 empty] | Cycle 3 | 7.7767 | 8.4547 | 11.0854 | 7.6098 | 8.1291 | 10.8602 | -0.83628 | -6.095
[32 empty] | Cycle 4 | 7.5182 | 8.1735 | 10.7169 | 7.2563 | 7.7519 | 10.356 | -0.90422 | -6.1241
[32 empty] | Cycle 5 | 7.2717 | 7.9059 | 10.3657 | 6.923 | 7.3962 | 9.8808 | -0.87823 | -6.1058
[32 empty] | Cycle 6 | 7.0335 | 7.6472 | 10.0264 | 6.6095 | 7.0612 | 9.4329 | -0.86907 | -6.0743
[32 empty] | Cycle 7 | 6.8045 | 7.398 | 9.6999 | 6.3125 | 6.7442 | 9.0091 | -0.89807 | -6.0747
[32 empty] | Cycle 8 | 6.5846 | 7.1592 | 9.3865 | 6.0316 | 6.444 | 8.6082 | -0.87054 | -6.0593
[32 empty] | Cycle 9 | 6.3729 | 6.9291 | 9.085 | 5.7659 | 6.1605 | 8.2289 | -0.8998 | -6.0408
[32 empty] | Cycle 10 | 6.1684 | 6.7068 | 8.7932 | 5.5134 | 5.8908 | 7.8689 | -0.91897 | -6.1012
[32 empty] | Cycle 11 | 5.9713 | 6.493 | 8.5124 | 5.2744 | 5.6355 | 7.5279 | -0.83717 | -6.1019
[32 empty] | Cycle 12 | 5.783 | 6.2882 | 8.2439 | 5.0481 | 5.3935 | 7.205 | -0.82587 | -6.1026
[32 empty] | Cycle 13 | 5.6011 | 6.0904 | 7.9849 | 4.8339 | 5.1647 | 6.8991 | -0.84905 | -6.081
[32 empty] | Cycle 14 | 5.4252 | 5.899 | 7.7335 | 4.6302 | 4.9473 | 6.6087 | -0.8762 | -6.1524
[32 empty] | Cycle 15 | 5.2565 | 5.7158 | 7.4935 | 4.436 | 4.7398 | 6.3313 | -0.88179 | -6.0949
[32 empty] | Cycle 16 |  |  |  | 4.2523 | 4.5438 | 6.0693
7 | GIRMS\IRMS-operator | 2026-04-07 19:22 | 2026-04-07 20:26 | Success | FALSE | 865 - H. elegans | 15-16 | 7 | 1 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 16.626 V | 9.5183 kV | 84 µbar | 96 µbar | Carbon Dioxide: 0.0183 kV | 89 µbar | 14.310 V | 19.438 V | 93 µbar/min | 8.650 V | 1.30E-007 mbar | 10 % | 824 µbar | 72 °C | µ-Volume | 14.630 V | Pre | 15.2419 | 16.6208 | 21.928 | 14.3263 | 15.2931 | 20.4428 | 2.8759 | 3.2666 | 2.8019 | 0.02013 | 0.0051975 | 3.2527 | 0.010596 | 0.0027359 | 2.8781 | 0.021355 | 3.2498 | 0.010563
[32 empty] | Cycle 1 | 14.6583 | 15.9851 | 21.0886 | 13.5391 | 14.4541 | 19.3197 | 2.8217 | 3.2483
[32 empty] | Cycle 2 | 14.1031 | 15.3806 | 20.2905 | 12.8095 | 13.6766 | 18.2794 | 2.8089 | 3.2464
[32 empty] | Cycle 3 | 13.579 | 14.8101 | 19.5367 | 12.131 | 12.9529 | 17.3117 | 2.8121 | 3.2474
[32 empty] | Cycle 4 | 13.0647 | 14.2504 | 18.7972 | 11.498 | 12.278 | 16.4081 | 2.8203 | 3.2629
[32 empty] | Cycle 5 | 12.5755 | 13.7175 | 18.0939 | 10.9062 | 11.647 | 15.5641 | 2.7915 | 3.2611
[32 empty] | Cycle 6 | 12.1204 | 13.2214 | 17.4389 | 10.3533 | 11.0572 | 14.7753 | 2.7622 | 3.24
[32 empty] | Cycle 7 | 11.6771 | 12.7385 | 16.8015 | 9.8361 | 10.5053 | 14.0374 | 2.7829 | 3.2488
[32 empty] | Cycle 8 | 11.2584 | 12.2828 | 16.1994 | 9.3505 | 9.9871 | 13.3449 | 2.8184 | 3.2571
[32 empty] | Cycle 9 | 10.862 | 11.8504 | 15.6289 | 8.8959 | 9.502 | 12.6958 | 2.7799 | 3.245
[32 empty] | Cycle 10 | 10.4729 | 11.4268 | 15.069 | 8.4671 | 9.0444 | 12.0842 | 2.8116 | 3.2089
[32 empty] | Cycle 11 | 10.108 | 11.029 | 14.5446 | 8.0647 | 8.6149 | 11.5103 | 2.7916 | 3.2359
[32 empty] | Cycle 12 | 9.7593 | 10.6486 | 14.0426 | 7.6857 | 8.2105 | 10.9694 | 2.7731 | 3.2408
[32 empty] | Cycle 13 | 9.4158 | 10.2745 | 13.5489 | 7.3292 | 7.8296 | 10.4601 | 2.8252 | 3.2714
[32 empty] | Cycle 14 | 9.0964 | 9.9262 | 13.0895 | 6.9926 | 7.4702 | 9.9801 | 2.821 | 3.2607
[32 empty] | Cycle 15 | 8.7857 | 9.5874 | 12.6424 | 6.6755 | 7.1319 | 9.5278 | 2.8089 | 3.2576
[32 empty] | Cycle 16 |  |  |  | 6.376 | 6.8119 | 9.1002
8 | GIRMS\IRMS-operator | 2026-04-07 19:50 | 2026-04-07 20:59 | Success | FALSE | 865 - H. elegans | 14-15 | 8 | 2 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 10.284 V | 9.5181 kV | 106 µbar | 96 µbar | Carbon Dioxide: 0.0181 kV | 106 µbar | 9.557 V | 11.770 V | 93 µbar/min | 13.960 V | 1.00E-007 mbar | 23 % | 868 µbar | 72 °C | µ-Volume |  | Pre | 9.3528 | 10.2046 | 13.4564 | 9.5716 | 10.2229 | 13.6598 | 2.9339 | 3.2134 | 2.8769 | 0.030698 | 0.0076746 | 3.2056 | 0.019762 | 0.0051025 | 2.9601 | 0.032845 | 3.2025 | 0.019793
[32 empty] | Cycle 1 | 9.0324 | 9.8554 | 12.9952 | 9.1018 | 9.7216 | 12.9891 | 2.9255 | 3.1732
[32 empty] | Cycle 2 | 8.7277 | 9.5231 | 12.5572 | 8.6608 | 9.2509 | 12.3605 | 2.9021 | 3.1925
[32 empty] | Cycle 3 | 8.432 | 9.2009 | 12.1322 | 8.2465 | 8.8088 | 11.7689 | 2.8923 | 3.2376
[32 empty] | Cycle 4 | 8.1478 | 8.8911 | 11.7231 | 7.8566 | 8.3929 | 11.2127 | 2.8822 | 3.185
[32 empty] | Cycle 5 | 7.876 | 8.5945 | 11.3325 | 7.4894 | 8.0007 | 10.689 | 2.8619 | 3.2156
[32 empty] | Cycle 6 | 7.6173 | 8.3127 | 10.96 | 7.1435 | 7.6314 | 10.1952 | 2.9082 | 3.198
[32 empty] | Cycle 7 | 7.3652 | 8.0373 | 10.5972 | 6.817 | 7.2827 | 9.7293 | 2.8164 | 3.1948
[32 empty] | Cycle 8 | 7.1262 | 7.7769 | 10.2536 | 6.5091 | 6.9545 | 9.2898 | 2.8514 | 3.2285
[32 empty] | Cycle 9 | 6.8949 | 7.5247 | 9.9208 | 6.2174 | 6.6424 | 8.8735 | 2.8821 | 3.2044
[32 empty] | Cycle 10 | 6.6703 | 7.2798 | 9.5977 | 5.9416 | 6.348 | 8.4801 | 2.8781 | 3.1917
[32 empty] | Cycle 11 | 6.4571 | 7.0471 | 9.2911 | 5.681 | 6.0698 | 8.1083 | 2.8613 | 3.2051
[32 empty] | Cycle 12 | 6.2486 | 6.8196 | 8.9912 | 5.4336 | 5.8054 | 7.7552 | 2.8523 | 3.2218
[32 empty] | Cycle 13 | 6.0519 | 6.6052 | 8.7082 | 5.1999 | 5.556 | 7.4215 | 2.8788 | 3.2378
[32 empty] | Cycle 14 | 5.8607 | 6.3964 | 8.4331 | 4.9775 | 5.3182 | 7.1041 | 2.853 | 3.1845
[32 empty] | Cycle 15 | 5.6765 | 6.1955 | 8.168 | 4.767 | 5.0935 | 6.8042 | 2.8513 | 3.15
[32 empty] | Cycle 16 |  |  |  | 4.5661 | 4.8789 | 6.5175
9 | GIRMS\IRMS-operator | 2026-04-07 20:26 | 2026-04-07 21:42 | Success | FALSE | 865 - H. elegans | 13-14 | 9 | 1 | 6 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 11.233 V | 9.5183 kV | 93 µbar | 84 µbar | Carbon Dioxide: 0.0183 kV | 93 µbar | 10.317 V | 12.833 V | 112 µbar/min | 4.594 V | 1.04E-007 mbar | 23 % | 836 µbar | 72 °C | µ-Volume |  | Pre | 10.104 | 11.0246 | 14.5374 | 10.3178 | 11.0193 | 14.7247 | 3.0116 | 3.2183 | 2.9556 | 0.026571 | 0.0068607 | 3.1873 | 0.017327 | 0.0043318 | 3.0448 | 0.027937 | 3.184 | 0.017301
[32 empty] | Cycle 1 | 9.7564 | 10.646 | 14.0373 | 9.7997 | 10.4665 | 13.9856 | 3.0239 | 3.1894
[32 empty] | Cycle 2 | 9.4235 | 10.2829 | 13.5585 | 9.316 | 9.9505 | 13.2957 | 2.9848 | 3.188
[32 empty] | Cycle 3 | 9.1042 | 9.9348 | 13.0992 | 8.8624 | 9.4664 | 12.6483 | 2.9884 | 3.2005
[32 empty] | Cycle 4 | 8.7983 | 9.6011 | 12.6591 | 8.4366 | 9.0117 | 12.0405 | 2.965 | 3.1951
[32 empty] | Cycle 5 | 8.5037 | 9.2801 | 12.2354 | 8.0355 | 8.5838 | 11.4684 | 2.9642 | 3.2035
[32 empty] | Cycle 6 | 8.2229 | 8.9739 | 11.8315 | 7.6586 | 8.1815 | 10.9303 | 2.9602 | 3.2031
[32 empty] | Cycle 7 | 7.9506 | 8.6768 | 11.4397 | 7.3026 | 7.8016 | 10.4227 | 2.9173 | 3.1641
[32 empty] | Cycle 8 | 7.6899 | 8.3928 | 11.065 | 6.9674 | 7.4437 | 9.9445 | 2.9681 | 3.2055
[32 empty] | Cycle 9 | 7.4396 | 8.1195 | 10.7046 | 6.6506 | 7.1051 | 9.4919 | 2.946 | 3.1816
[32 empty] | Cycle 10 | 7.1982 | 7.8564 | 10.3574 | 6.3509 | 6.7853 | 9.0647 | 2.9585 | 3.1748
[32 empty] | Cycle 11 | 6.9659 | 7.6028 | 10.0232 | 6.0679 | 6.4831 | 8.6607 | 2.9266 | 3.1846
[32 empty] | Cycle 12 | 6.7439 | 7.3606 | 9.7037 | 5.8002 | 6.1971 | 8.2786 | 2.9252 | 3.183
[32 empty] | Cycle 13 | 6.529 | 7.1264 | 9.3945 | 5.547 | 5.9268 | 7.9173 | 2.9427 | 3.1552
[32 empty] | Cycle 14 | 6.3224 | 6.9007 | 9.0974 | 5.3065 | 5.6698 | 7.5742 | 2.9248 | 3.1613
[32 empty] | Cycle 15 | 6.1233 | 6.6838 | 8.8112 | 5.0786 | 5.4264 | 7.249 | 2.9499 | 3.1886
[32 empty] | Cycle 16 |  |  |  | 4.8626 | 5.1956 | 6.9406
10 | GIRMS\IRMS-operator | 2026-04-07 20:59 | 2026-04-07 22:10 | Success | FALSE | 865 - H. elegans | 12-13 | 10 | 2 | 6 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 26.778 V | 9.5183 kV | 84 µbar | 101 µbar | Carbon Dioxide: 0.0183 kV | 93 µbar | 14.666 V | 32.410 V | 103 µbar/min | 10.133 V | 1.33E-007 mbar | 10 % | 887 µbar | 72 °C | µ-Volume | 24.170 V | Pre | 26.1395 | 28.4747 | 37.5978 | 14.6785 | 15.6693 | 20.9454 | 1.819 | 3.0275 | 1.9943 | 0.13579 | 0.033947 | 3.0834 | 0.029361 | 0.0073403 | 2.0201 | 0.14433 | 3.0822 | 0.029119
[32 empty] | Cycle 1 | 24.9383 | 27.1686 | 35.871 | 13.8646 | 14.8018 | 19.7848 | 1.8299 | 3.0345
[32 empty] | Cycle 2 | 23.8093 | 25.9408 | 34.2481 | 13.11 | 13.9971 | 18.708 | 1.8336 | 3.0544
[32 empty] | Cycle 3 | 22.7489 | 24.7881 | 32.7236 | 12.4093 | 13.2504 | 17.7085 | 1.8454 | 3.0535
[32 empty] | Cycle 4 | 21.7373 | 23.6883 | 31.2695 | 11.7573 | 12.5552 | 16.7786 | 1.898 | 3.0686
[32 empty] | Cycle 5 | 20.7725 | 22.638 | 29.8826 | 11.1466 | 11.9033 | 15.9071 | 1.9018 | 3.0999
[32 empty] | Cycle 6 | 19.8871 | 21.6752 | 28.6087 | 10.5768 | 11.2956 | 15.094 | 1.9366 | 3.0671
[32 empty] | Cycle 7 | 19.0412 | 20.7555 | 27.3934 | 10.0444 | 10.7276 | 14.3349 | 1.9953 | 3.0949
[32 empty] | Cycle 8 | 18.256 | 19.9 | 26.2636 | 9.5471 | 10.197 | 13.6254 | 1.9605 | 3.0785
[32 empty] | Cycle 9 | 17.504 | 19.0825 | 25.1826 | 9.0787 | 9.6973 | 12.957 | 2.0246 | 3.0938
[32 empty] | Cycle 10 | 16.7973 | 18.3138 | 24.1665 | 8.6388 | 9.2278 | 12.3295 | 2.0861 | 3.1077
[32 empty] | Cycle 11 | 16.1234 | 17.5799 | 23.1969 | 8.2257 | 8.7869 | 11.74 | 2.1003 | 3.1053
[32 empty] | Cycle 12 | 15.4845 | 16.8847 | 22.2785 | 7.8376 | 8.3724 | 11.186 | 2.1453 | 3.1154
[32 empty] | Cycle 13 | 14.88 | 16.2263 | 21.4088 | 7.4713 | 7.9815 | 10.6636 | 2.1369 | 3.0978
[32 empty] | Cycle 14 | 14.303 | 15.598 | 20.5793 | 7.1272 | 7.6145 | 10.1726 | 2.167 | 3.1215
[32 empty] | Cycle 15 | 13.7587 | 15.0052 | 19.7963 | 6.8019 | 7.2668 | 9.7085 | 2.2288 | 3.1134
[32 empty] | Cycle 16 |  |  |  | 6.4948 | 6.9388 | 9.2702
11 | GIRMS\IRMS-operator | 2026-04-07 21:42 | 2026-04-07 22:43 | Success | FALSE | SHP2L |  | 11 | 1 | 7 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 12.567 V | 9.5181 kV | 101 µbar | 93 µbar | Carbon Dioxide: 0.0181 kV | 103 µbar | 11.755 V | 14.493 V | 117 µbar/min | 14.314 V | 1.14E-007 mbar | 16 % | 868 µbar | 72 °C | µ-Volume |  | Pre | 11.4884 | 12.4849 | 16.374 | 11.7631 | 12.5611 | 16.7862 | -0.86165 | -6.1369 | -0.94105 | 0.024225 | 0.0062549 | -6.1502 | 0.01505 | 0.0037626 | -0.77922 | 0.025953 | -6.1547 | 0.015058
[32 empty] | Cycle 1 | 11.0721 | 12.0331 | 15.7811 | 11.1517 | 11.9088 | 15.9139 | -0.88698 | -6.1296
[32 empty] | Cycle 2 | 10.682 | 11.6095 | 15.2253 | 10.5831 | 11.3026 | 15.1029 | -0.91402 | -6.1504
[32 empty] | Cycle 3 | 10.3031 | 11.1979 | 14.6856 | 10.0501 | 10.7338 | 14.3428 | -0.94392 | -6.1483
[32 empty] | Cycle 4 | 9.936 | 10.7993 | 14.162 | 9.5503 | 10.2004 | 13.6295 | -0.94539 | -6.1628
[32 empty] | Cycle 5 | 9.5888 | 10.4224 | 13.6675 | 9.0827 | 9.7016 | 12.9622 | -0.95739 | -6.1454
[32 empty] | Cycle 6 | 9.2571 | 10.0622 | 13.195 | 8.6431 | 9.2322 | 12.3348 | -0.96004 | -6.1407
[32 empty] | Cycle 7 | 8.9378 | 9.7153 | 12.7399 | 8.2292 | 8.7905 | 11.7446 | -0.96004 | -6.1474
[32 empty] | Cycle 8 | 8.6317 | 9.383 | 12.3036 | 7.8405 | 8.3754 | 11.1897 | -0.93774 | -6.1484
[32 empty] | Cycle 9 | 8.3377 | 9.0636 | 11.8848 | 7.4747 | 7.9848 | 10.6677 | -0.97022 | -6.1405
[32 empty] | Cycle 10 | 8.0555 | 8.7582 | 11.4825 | 7.1293 | 7.6166 | 10.175 | -0.92004 | -6.1555
[32 empty] | Cycle 11 | 7.7851 | 8.4643 | 11.097 | 6.8026 | 7.2683 | 9.7088 | -0.90367 | -6.174
[32 empty] | Cycle 12 | 7.5264 | 8.1823 | 10.7286 | 6.4955 | 6.9395 | 9.2707 | -0.96172 | -6.1712
[32 empty] | Cycle 13 | 7.2774 | 7.9117 | 10.3736 | 6.205 | 6.6293 | 8.8563 | -0.95229 | -6.1689
[32 empty] | Cycle 14 | 7.037 | 7.6505 | 10.0313 | 5.9298 | 6.3353 | 8.4633 | -0.95778 | -6.1207
[32 empty] | Cycle 15 | 6.8066 | 7.4003 | 9.7028 | 5.6688 | 6.0566 | 8.0909 | -0.94457 | -6.1629
[32 empty] | Cycle 16 |  |  |  | 5.422 | 5.7931 | 7.739
12 | GIRMS\IRMS-operator | 2026-04-07 22:10 | 2026-04-07 23:20 | Success | FALSE | 865 - H. elegans | 11-12 | 12 | 2 | 7 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 6.027 V | 9.5181 kV | 89 µbar | 101 µbar | Carbon Dioxide: 0.0181 kV | 289 µbar | 5.608 V | 6.781 V | 132 µbar/min | 11.507 V | 7.45E-008 mbar | 51 % | 743 µbar | 72 °C | µ-Volume |  | Pre | 5.4909 | 5.9934 | 7.903 | 5.6504 | 6.0369 | 8.0644 | 2.9927 | 3.4787 | 2.994 | 0.018027 | 0.0046547 | 3.4659 | 0.01718 | 0.004436 | 3.0756 | 0.019226 | 3.4628 | 0.017187
[32 empty] | Cycle 1 | 5.3238 | 5.8112 | 7.6625 | 5.4045 | 5.7744 | 7.7137 | 3.028 | 3.4799
[32 empty] | Cycle 2 | 5.1615 | 5.6341 | 7.4289 | 5.1712 | 5.5251 | 7.3807 | 3.0209 | 3.4828
[32 empty] | Cycle 3 | 5.0024 | 5.4604 | 7.2001 | 4.9504 | 5.2893 | 7.0655 | 2.9841 | 3.5078
[32 empty] | Cycle 4 | 4.8507 | 5.2949 | 6.9817 | 4.7402 | 5.065 | 6.7656 | 2.979 | 3.4736
[32 empty] | Cycle 5 | 4.7054 | 5.1365 | 6.7726 | 4.5408 | 4.8519 | 6.4813 | 3.0181 | 3.4612
[32 empty] | Cycle 6 | 4.564 | 4.9819 | 6.569 | 4.3516 | 4.6496 | 6.2109 | 2.9925 | 3.4675
[32 empty] | Cycle 7 | 4.4263 | 4.8318 | 6.371 | 4.171 | 4.4567 | 5.9535 | 2.9953 | 3.4799
[32 empty] | Cycle 8 | 4.294 | 4.6874 | 6.1805 | 3.9992 | 4.2733 | 5.7081 | 2.9984 | 3.4816
[32 empty] | Cycle 9 | 4.1657 | 4.5472 | 5.9958 | 3.8363 | 4.0992 | 5.4757 | 2.9582 | 3.4625
[32 empty] | Cycle 10 | 4.0432 | 4.4137 | 5.8195 | 3.6808 | 3.9331 | 5.2538 | 2.9905 | 3.4409
[32 empty] | Cycle 11 | 3.9237 | 4.2833 | 5.6476 | 3.5327 | 3.7749 | 5.0424 | 3.002 | 3.4379
[32 empty] | Cycle 12 | 3.8087 | 4.1577 | 5.4822 | 3.3916 | 3.6241 | 4.8411 | 2.9775 | 3.4631
[32 empty] | Cycle 13 | 3.6965 | 4.0353 | 5.3205 | 3.2567 | 3.48 | 4.6485 | 2.9855 | 3.4335
[32 empty] | Cycle 14 | 3.5897 | 3.9188 | 5.1671 | 3.1283 | 3.3429 | 4.4653 | 2.9879 | 3.4867
[32 empty] | Cycle 15 | 3.4849 | 3.8043 | 5.0161 | 3.0056 | 3.2118 | 4.2901 | 2.9454 | 3.4587
[32 empty] | Cycle 16 |  |  |  | 2.8882 | 3.0864 | 4.1226
13 | GIRMS\IRMS-operator | 2026-04-07 22:43 | 2026-04-08 00:01 | Success | FALSE | 865 - H. elegans | 10-11 | 13 | 1 | 8 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 21.571 V | 9.5182 kV | 106 µbar | 96 µbar | Carbon Dioxide: 0.0182 kV | 101 µbar | 14.864 V | 25.680 V | 147 µbar/min | 4.604 V | 1.34E-007 mbar | 10 % | 909 µbar | 72 °C | µ-Volume | 19.376 V | Pre | 20.8257 | 22.6983 | 29.9567 | 14.8681 | 15.8712 | 21.2159 | 2.4007 | 3.1279 | 2.4838 | 0.072697 | 0.018174 | 3.1502 | 0.017065 | 0.0042662 | 2.5413 | 0.07769 | 3.148 | 0.017058
[32 empty] | Cycle 1 | 19.9231 | 21.7169 | 28.6591 | 14.0381 | 14.9861 | 20.0311 | 2.4146 | 3.1688
[32 empty] | Cycle 2 | 19.0723 | 20.7906 | 27.4355 | 13.27 | 14.1679 | 18.9349 | 2.3776 | 3.1741
[32 empty] | Cycle 3 | 18.2677 | 19.9153 | 26.2786 | 12.5566 | 13.4072 | 17.9175 | 2.4119 | 3.1604
[32 empty] | Cycle 4 | 17.5076 | 19.0881 | 25.1853 | 11.8923 | 12.6983 | 16.9702 | 2.4296 | 3.1246
[32 empty] | Cycle 5 | 16.7895 | 18.3067 | 24.1525 | 11.2723 | 12.0372 | 16.086 | 2.4377 | 3.1391
[32 empty] | Cycle 6 | 16.1121 | 17.5694 | 23.1787 | 10.696 | 11.4228 | 15.2631 | 2.4543 | 3.1589
[32 empty] | Cycle 7 | 15.4688 | 16.8693 | 22.2533 | 10.1564 | 10.8467 | 14.4936 | 2.4874 | 3.1367
[32 empty] | Cycle 8 | 14.8569 | 16.2029 | 21.3736 | 9.6504 | 10.3073 | 13.7718 | 2.474 | 3.1323
[32 empty] | Cycle 9 | 14.278 | 15.5721 | 20.5411 | 9.1763 | 9.8012 | 13.0958 | 2.4753 | 3.1291
[32 empty] | Cycle 10 | 13.7261 | 14.9712 | 19.7475 | 8.7315 | 9.3265 | 12.4611 | 2.5071 | 3.1462
[32 empty] | Cycle 11 | 13.2023 | 14.4006 | 18.9943 | 8.3135 | 8.8804 | 11.8644 | 2.5331 | 3.1785
[32 empty] | Cycle 12 | 12.7026 | 13.8567 | 18.2756 | 7.9191 | 8.4593 | 11.3016 | 2.5654 | 3.1606
[32 empty] | Cycle 13 | 12.2283 | 13.3398 | 17.5937 | 7.5489 | 8.0643 | 10.7737 | 2.5651 | 3.1595
[32 empty] | Cycle 14 | 11.7745 | 12.8454 | 16.9406 | 7.1991 | 7.6908 | 10.2746 | 2.5921 | 3.1504
[32 empty] | Cycle 15 | 11.3421 | 12.3741 | 16.3187 | 6.8698 | 7.3391 | 9.8045 | 2.6144 | 3.1561
[32 empty] | Cycle 16 |  |  |  | 6.5571 | 7.0053 | 9.3586
14 | GIRMS\IRMS-operator | 2026-04-07 23:20 | 2026-04-08 00:32 | Success | FALSE | 865 - H. elegans | 9-10 | 14 | 2 | 8 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 9.044 V | 9.5181 kV | 89 µbar | 103 µbar | Carbon Dioxide: 0.0181 kV | 521 µbar | 8.463 V | 10.289 V | 98 µbar/min | 14.487 V | 9.30E-008 mbar | 30 % | 780 µbar | 72 °C | µ-Volume |  | Pre | 8.2875 | 9.0453 | 11.925 | 8.4796 | 9.0577 | 12.101 | 3.1261 | 3.3267 | 3.071 | 0.017453 | 0.0045063 | 3.2787 | 0.025072 | 0.0062679 | 3.165 | 0.018206 | 3.2752 | 0.025064
[32 empty] | Cycle 1 | 7.9971 | 8.7284 | 11.5072 | 8.0752 | 8.6263 | 11.5244 | 3.0945 | 3.3093
[32 empty] | Cycle 2 | 7.7417 | 8.45 | 11.1396 | 7.6946 | 8.22 | 10.9813 | 3.114 | 3.3009
[32 empty] | Cycle 3 | 7.4849 | 8.1697 | 10.7702 | 7.3375 | 7.8387 | 10.4718 | 3.0804 | 3.3087
[32 empty] | Cycle 4 | 7.2443 | 7.9074 | 10.4241 | 6.9998 | 7.4782 | 9.9898 | 3.0768 | 3.2951
[32 empty] | Cycle 5 | 7.012 | 7.6539 | 10.0898 | 6.6815 | 7.1383 | 9.5359 | 3.0728 | 3.2636
[32 empty] | Cycle 6 | 6.7888 | 7.4106 | 9.7686 | 6.3812 | 6.8177 | 9.1075 | 3.0821 | 3.2528
[32 empty] | Cycle 7 | 6.5725 | 7.1745 | 9.4573 | 6.0962 | 6.5133 | 8.7005 | 3.0716 | 3.2666
[32 empty] | Cycle 8 | 6.366 | 6.9491 | 9.1602 | 5.8269 | 6.2257 | 8.3162 | 3.0673 | 3.2637
[32 empty] | Cycle 9 | 6.1682 | 6.7333 | 8.8755 | 5.5719 | 5.9534 | 7.9524 | 3.0465 | 3.2314
[32 empty] | Cycle 10 | 5.9748 | 6.5225 | 8.5977 | 5.3307 | 5.6959 | 7.6084 | 3.0685 | 3.2725
[32 empty] | Cycle 11 | 5.7918 | 6.3227 | 8.3345 | 5.1018 | 5.4514 | 7.2817 | 3.0546 | 3.2867
[32 empty] | Cycle 12 | 5.617 | 6.132 | 8.0828 | 4.8847 | 5.2193 | 6.9718 | 3.0676 | 3.2555
[32 empty] | Cycle 13 | 5.4413 | 5.9402 | 7.8299 | 4.6786 | 4.9992 | 6.6777 | 3.0509 | 3.2599
[32 empty] | Cycle 14 | 5.273 | 5.7566 | 7.588 | 4.4827 | 4.7899 | 6.3979 | 3.0587 | 3.2826
[32 empty] | Cycle 15 | 5.1163 | 5.5855 | 7.3625 | 4.2967 | 4.5912 | 6.1325 | 3.0585 | 3.2825
[32 empty] | Cycle 16 |  |  |  | 4.1195 | 4.402 | 5.8796
15 | GIRMS\IRMS-operator | 2026-04-08 00:01 | 2026-04-08 01:02 | Success | FALSE | 865 - H. elegans | 8-9 | 15 | 1 | 9 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 9.333 V | 9.5182 kV | 106 µbar | 93 µbar | Carbon Dioxide: 0.0182 kV | 103 µbar | 9.097 V | 10.636 V | 112 µbar/min | 8.341 V | 9.58E-008 mbar | 26 % | 850 µbar | 72 °C | µ-Volume |  | Pre | 8.9604 | 9.7778 | 12.8917 | 9.1105 | 9.7311 | 13.0012 | 2.9979 | 3.2178 | 2.9359 | 0.012189 | 0.0031471 | 3.1905 | 0.02009 | 0.0050226 | 3.0237 | 0.012925 | 3.1873 | 0.020095
[32 empty] | Cycle 1 | 8.6579 | 9.4478 | 12.4561 | 8.6685 | 9.2595 | 12.3711 | 2.953 | 3.1629
[32 empty] | Cycle 2 | 8.3708 | 9.1348 | 12.0436 | 8.2544 | 8.8175 | 11.78 | 2.9503 | 3.2117
[32 empty] | Cycle 3 | 8.093 | 8.8318 | 11.6436 | 7.8645 | 8.4013 | 11.2236 | 2.9297 | 3.1804
[32 empty] | Cycle 4 | 7.8261 | 8.5407 | 11.2597 | 7.4972 | 8.0093 | 10.6995 | 2.9208 | 3.1877
[32 empty] | Cycle 5 | 7.5689 | 8.2603 | 10.8898 | 7.1511 | 7.6397 | 10.2056 | 2.9263 | 3.189
[32 empty] | Cycle 6 | 7.3191 | 7.988 | 10.5306 | 6.8241 | 7.2906 | 9.7392 | 2.9401 | 3.1953
[32 empty] | Cycle 7 | 7.0825 | 7.7299 | 10.1903 | 6.5158 | 6.9613 | 9.299 | 2.9351 | 3.204
[32 empty] | Cycle 8 | 6.8536 | 7.4802 | 9.8608 | 6.2245 | 6.6502 | 8.8834 | 2.9349 | 3.171
[32 empty] | Cycle 9 | 6.6342 | 7.2411 | 9.5452 | 5.9488 | 6.3559 | 8.4902 | 2.9494 | 3.1714
[32 empty] | Cycle 10 | 6.4214 | 7.0088 | 9.2395 | 5.687 | 6.0762 | 8.1164 | 2.9312 | 3.2229
[32 empty] | Cycle 11 | 6.2177 | 6.7864 | 8.9461 | 5.4397 | 5.8122 | 7.7637 | 2.9165 | 3.1821
[32 empty] | Cycle 12 | 6.0184 | 6.5691 | 8.6594 | 5.2051 | 5.5615 | 7.4288 | 2.9358 | 3.18
[32 empty] | Cycle 13 | 5.8308 | 6.3646 | 8.3899 | 4.9829 | 5.3242 | 7.1116 | 2.9497 | 3.2226
[32 empty] | Cycle 14 | 5.6484 | 6.1653 | 8.1268 | 4.772 | 5.0989 | 6.8108 | 2.9183 | 3.1628
[32 empty] | Cycle 15 | 5.4732 | 5.9743 | 7.8751 | 4.5719 | 4.8852 | 6.5251 | 2.9468 | 3.187
[32 empty] | Cycle 16 |  |  |  | 4.3813 | 4.6816 | 6.2533
16 | GIRMS\IRMS-operator | 2026-04-08 00:32 | 2026-04-08 01:36 | Success | FALSE | SHP2L |  | 16 | 2 | 9 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 2.754 V | 9.5182 kV | 91 µbar | 760 µbar | Carbon Dioxide: 0.0182 kV | 640 µbar | 4.346 V | 3.014 V | 142 µbar/min | 8.949 V | 6.59E-008 mbar | 100 % | 802 µbar | 72 °C | µ-Volume | 2.582 V | Pre | 2.6756 | 2.9095 | 3.8151 | 4.4022 | 4.7038 | 6.2832 | -0.85648 | -5.8875 | -0.89034 | 0.029196 | 0.007299 | -5.8926 | 0.02978 | 0.0076891 | -0.73436 | 0.031064 | -5.8969 | 0.029803
[32 empty] | Cycle 1 | 2.6047 | 2.8324 | 3.7142 | 4.2187 | 4.5077 | 6.0214 | -0.8627 | -5.8544
[32 empty] | Cycle 2 | 2.5341 | 2.7556 | 3.6134 | 4.0451 | 4.3223 | 5.7736 | -0.88029 | -5.8534
[32 empty] | Cycle 3 | 2.4674 | 2.683 | 3.518 | 3.8797 | 4.1455 | 5.5371 | -0.87253 | -5.9235
[32 empty] | Cycle 4 | 2.4014 | 2.6113 | 3.4241 | 3.7225 | 3.9776 | 5.3132 | -0.8584 | -5.9063
[32 empty] | Cycle 5 | 2.3374 | 2.5417 | 3.3331 | 3.5722 | 3.817 | 5.0986 | -0.89309 | -5.8514
[32 empty] | Cycle 6 | 2.2755 | 2.4744 | 3.2445 | 3.429 | 3.664 | 4.8942 | -0.83912 | -5.915
[32 empty] | Cycle 7 | 2.2151 | 2.4087 | 3.1586 | 3.293 | 3.5187 | 4.7001 | -0.88431 | -5.8488
[32 empty] | Cycle 8 | 2.1565 | 2.345 | 3.0749 | 3.1628 | 3.3796 | 4.5142 | -0.91245 | -5.8943
[32 empty] | Cycle 9 | 2.0991 | 2.2826 | 2.993 | 3.0385 | 3.2468 | 4.3368 | -0.87588 | -5.9265
[32 empty] | Cycle 10 | 2.0437 | 2.2224 | 2.9141 | 2.9199 | 3.1201 | 4.1677 | -0.90588 | -5.9253
[32 empty] | Cycle 11 | 1.9894 | 2.1633 | 2.8367 | 2.8065 | 2.999 | 4.0059 | -0.93132 | -5.9243
[32 empty] | Cycle 12 | 1.9373 | 2.1067 | 2.7625 | 2.6982 | 2.8832 | 3.8512 | -0.90386 | -5.8816
[32 empty] | Cycle 13 | 1.8861 | 2.0509 | 2.6894 | 2.5945 | 2.7723 | 3.7031 | -0.92836 | -5.8792
[32 empty] | Cycle 14 | 1.837 | 1.9975 | 2.6191 | 2.4956 | 2.6667 | 3.562 | -0.90138 | -5.9681
[32 empty] | Cycle 15 | 1.789 | 1.9454 | 2.5509 | 2.4008 | 2.5654 | 3.4267 | -0.93933 | -5.9173
[32 empty] | Cycle 16 |  |  |  | 2.3101 | 2.4686 | 3.2971
17 | GIRMS\IRMS-operator | 2026-04-08 01:02 | 2026-04-08 02:19 | Success | FALSE | 865 - H. elegans | 7-8 | 17 | 1 | 10 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 6.865 V | 9.5184 kV | 98 µbar | 797 µbar | Carbon Dioxide: 0.0184 kV | 103 µbar | 6.541 V | 7.714 V | 122 µbar/min | 4.597 V | 8.06E-008 mbar | 45 % | 870 µbar | 72 °C | µ-Volume |  | Pre | 6.4586 | 7.0492 | 9.2964 | 6.5693 | 7.0186 | 9.3761 | 2.9778 | 3.5488 | 2.9431 | 0.020544 | 0.005136 | 3.5538 | 0.0070996 | 0.0018974 | 3.0179 | 0.021978 | 3.551 | 0.0071009
[32 empty] | Cycle 1 | 6.2591 | 6.8315 | 9.0093 | 6.2741 | 6.703 | 8.9546 | 2.9612 | 3.5574
[32 empty] | Cycle 2 | 6.0671 | 6.6218 | 8.7328 | 5.9951 | 6.4053 | 8.5565 | 2.9248 | 3.548
[32 empty] | Cycle 3 | 5.8813 | 6.4192 | 8.4656 | 5.731 | 6.1231 | 8.1796 | 2.9608 | 3.56
[32 empty] | Cycle 4 | 5.7023 | 6.224 | 8.2079 | 5.4814 | 5.8564 | 7.8234 | 2.9495 | 3.5516
[32 empty] | Cycle 5 | 5.5302 | 6.0364 | 7.9601 | 5.2448 | 5.6039 | 7.4857 | 2.977 | 3.5554
[32 empty] | Cycle 6 | 5.3627 | 5.8534 | 7.7197 | 5.0204 | 5.3642 | 7.1655 | 2.921 | 3.6019
[32 empty] | Cycle 7 | 5.2007 | 5.6766 | 7.4857 | 4.8069 | 5.1362 | 6.8611 | 2.9296 | 3.4814
[32 empty] | Cycle 8 | 5.0453 | 5.5072 | 7.2626 | 4.6044 | 4.9198 | 6.5721 | 2.9587 | 3.562
[32 empty] | Cycle 9 | 4.895 | 5.3429 | 7.0461 | 4.4124 | 4.7147 | 6.2979 | 2.9046 | 3.5542
[32 empty] | Cycle 10 | 4.7496 | 5.1844 | 6.8368 | 4.2297 | 4.5197 | 6.0372 | 2.9332 | 3.5374
[32 empty] | Cycle 11 | 4.6091 | 5.0311 | 6.6348 | 4.0555 | 4.3333 | 5.7888 | 2.9355 | 3.5575
[32 empty] | Cycle 12 | 4.4728 | 4.8823 | 6.4386 | 3.89 | 4.1567 | 5.5523 | 2.9295 | 3.5578
[32 empty] | Cycle 13 | 4.3413 | 4.7389 | 6.2494 | 3.7322 | 3.988 | 5.3273 | 2.9419 | 3.5446
[32 empty] | Cycle 14 | 4.2144 | 4.6004 | 6.0666 | 3.5818 | 3.8273 | 5.1125 | 2.9525 | 3.5561
[32 empty] | Cycle 15 | 4.0918 | 4.4667 | 5.8901 | 3.4386 | 3.6743 | 4.908 | 2.9314 | 3.5627
[32 empty] | Cycle 16 |  |  |  | 3.3015 | 3.5281 | 4.7124
18 | GIRMS\IRMS-operator | 2026-04-08 01:36 | 2026-04-08 02:48 | Success | FALSE | 865 - H. elegans | 6-7 | 18 | 2 | 10 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 29.243 V | 9.5184 kV | 101 µbar | 113 µbar | Carbon Dioxide: 0.0184 kV | 545 µbar | 14.642 V | 35.594 V | 161 µbar/min | 6.461 V | 1.32E-007 mbar | 10 % | 907 µbar | 72 °C | µ-Volume | 26.244 V | Pre | 28.4436 | 30.9806 | 40.9073 | 14.6515 | 15.6406 | 20.9067 | 1.6888 | 2.9501 | 1.8853 | 0.15706 | 0.039265 | 3.005 | 0.034402 | 0.0086005 | 1.9063 | 0.16697 | 3.0039 | 0.034135
[32 empty] | Cycle 1 | 27.1059 | 29.5259 | 38.9836 | 13.8382 | 14.7737 | 19.7461 | 1.6877 | 2.9507
[32 empty] | Cycle 2 | 25.8529 | 28.1638 | 37.183 | 13.0856 | 13.9711 | 18.6724 | 1.6886 | 2.9654
[32 empty] | Cycle 3 | 24.6722 | 26.8805 | 35.4857 | 12.3872 | 13.2272 | 17.6765 | 1.7293 | 2.9609
[32 empty] | Cycle 4 | 23.5643 | 25.6758 | 33.8931 | 11.7354 | 12.5313 | 16.7465 | 1.7779 | 2.9726
[32 empty] | Cycle 5 | 22.4938 | 24.5117 | 32.355 | 11.1273 | 11.8828 | 15.8791 | 1.803 | 3.001
[32 empty] | Cycle 6 | 21.522 | 23.4545 | 30.9579 | 10.559 | 11.2768 | 15.0685 | 1.811 | 3.0151
[32 empty] | Cycle 7 | 20.6087 | 22.4612 | 29.6447 | 10.0286 | 10.7109 | 14.3115 | 1.859 | 3.0309
[32 empty] | Cycle 8 | 19.7359 | 21.5118 | 28.3898 | 9.5321 | 10.181 | 13.6032 | 1.8891 | 3.0257
[32 empty] | Cycle 9 | 18.9085 | 20.6124 | 27.1997 | 9.0657 | 9.6836 | 12.938 | 1.9582 | 3.0019
[32 empty] | Cycle 10 | 18.1293 | 19.7638 | 26.0797 | 8.6278 | 9.216 | 12.3133 | 1.9187 | 3.0236
[32 empty] | Cycle 11 | 17.3908 | 18.9602 | 25.0178 | 8.2159 | 8.7772 | 11.7254 | 1.9572 | 3.0419
[32 empty] | Cycle 12 | 16.6893 | 18.1964 | 24.0088 | 7.8293 | 8.3637 | 11.1737 | 2.0318 | 3.0297
[32 empty] | Cycle 13 | 16.0265 | 17.4748 | 23.0553 | 7.4644 | 7.9741 | 10.6533 | 2.0674 | 3.0178
[32 empty] | Cycle 14 | 15.3973 | 16.7905 | 22.1508 | 7.1206 | 7.607 | 10.1625 | 2.1502 | 3.0538
[32 empty] | Cycle 15 | 14.7992 | 16.1388 | 21.2902 | 6.7956 | 7.2601 | 9.6988 | 2.1469 | 3.0387
[32 empty] | Cycle 16 |  |  |  | 6.4896 | 6.9333 | 9.262
19 | GIRMS\IRMS-operator | 2026-04-08 02:19 | 2026-04-08 03:20 | Success | FALSE | 865 - H. elegans | 5-6 | 19 | 1 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 15.887 V | 9.5182 kV | 103 µbar | 91 µbar | Carbon Dioxide: 0.0182 kV | 101 µbar | 14.267 V | 18.503 V | 103 µbar/min | 14.290 V | 1.29E-007 mbar | 10 % | 882 µbar | 72 °C | µ-Volume | 14.604 V | Pre | 15.5219 | 16.9254 | 22.3268 | 14.2837 | 15.2475 | 20.3799 | 2.858 | 3.17 | 2.7935 | 0.026268 | 0.0067825 | 3.1553 | 0.013362 | 0.00345 | 2.8726 | 0.028049 | 3.1524 | 0.013343
[32 empty] | Cycle 1 | 14.9162 | 16.266 | 21.4557 | 13.4979 | 14.4096 | 19.2594 | 2.85 | 3.1616
[32 empty] | Cycle 2 | 14.3418 | 15.6403 | 20.63 | 12.7708 | 13.6345 | 18.222 | 2.7987 | 3.175
[32 empty] | Cycle 3 | 13.7938 | 15.0435 | 19.8417 | 12.0938 | 12.9131 | 17.2565 | 2.7699 | 3.1589
[32 empty] | Cycle 4 | 13.2731 | 14.4768 | 19.093 | 11.4627 | 12.2399 | 16.356 | 2.7839 | 3.1655
[32 empty] | Cycle 5 | 12.776 | 13.9357 | 18.3783 | 10.8732 | 11.6113 | 15.5151 | 2.7848 | 3.1551
[32 empty] | Cycle 6 | 12.3016 | 13.4193 | 17.6963 | 10.3233 | 11.0249 | 14.731 | 2.7972 | 3.1615
[32 empty] | Cycle 7 | 11.8444 | 12.9207 | 17.0387 | 9.8082 | 10.4754 | 13.996 | 2.7576 | 3.1546
[32 empty] | Cycle 8 | 11.4125 | 12.4503 | 16.4176 | 9.3251 | 9.9599 | 13.3068 | 2.7688 | 3.1476
[32 empty] | Cycle 9 | 10.9982 | 11.9991 | 15.822 | 8.8708 | 9.4752 | 12.6589 | 2.7876 | 3.1536
[32 empty] | Cycle 10 | 10.6025 | 11.5678 | 15.2526 | 8.4451 | 9.0208 | 12.0516 | 2.7943 | 3.1536
[32 empty] | Cycle 11 | 10.2258 | 11.1567 | 14.7105 | 8.0447 | 8.5934 | 11.48 | 2.7567 | 3.1307
[32 empty] | Cycle 12 | 9.8639 | 10.7625 | 14.1902 | 7.6676 | 8.1908 | 10.9421 | 2.7972 | 3.1368
[32 empty] | Cycle 13 | 9.5185 | 10.3859 | 13.6935 | 7.3125 | 7.8116 | 10.4355 | 2.8 | 3.1341
[32 empty] | Cycle 14 | 9.1891 | 10.0269 | 13.2196 | 6.9774 | 7.4537 | 9.9573 | 2.8245 | 3.118
[32 empty] | Cycle 15 | 8.8708 | 9.6798 | 12.7623 | 6.6616 | 7.1165 | 9.507 | 2.8308 | 3.1707
[32 empty] | Cycle 16 |  |  |  | 6.3615 | 6.796 | 9.0783
20 | GIRMS\IRMS-operator | 2026-04-08 02:48 | 2026-04-08 03:58 | Success | FALSE | 865 - H. elegans | 4-5 | 20 | 2 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 10.443 V | 9.5182 kV | 86 µbar | 101 µbar | Carbon Dioxide: 0.0182 kV | 89 µbar | 9.744 V | 11.968 V | 98 µbar/min | 13.892 V | 1.00E-007 mbar | 22 % | 806 µbar | 72 °C | µ-Volume |  | Pre | 9.5311 | 10.3998 | 13.7125 | 9.7592 | 10.4229 | 13.9264 | 3.0226 | 3.2537 | 2.9521 | 0.020023 | 0.0051699 | 3.2393 | 0.012917 | 0.0033352 | 3.0393 | 0.021282 | 3.2361 | 0.012911
[32 empty] | Cycle 1 | 9.2013 | 10.0398 | 13.2378 | 9.2783 | 9.91 | 13.2404 | 2.9635 | 3.2272
[32 empty] | Cycle 2 | 8.8887 | 9.6995 | 12.7885 | 8.8262 | 9.4273 | 12.5951 | 2.9846 | 3.2576
[32 empty] | Cycle 3 | 8.5823 | 9.3651 | 12.3475 | 8.4029 | 8.9758 | 11.9912 | 2.937 | 3.2278
[32 empty] | Cycle 4 | 8.2989 | 9.0562 | 11.94 | 8.0041 | 8.55 | 11.4224 | 2.9695 | 3.2473
[32 empty] | Cycle 5 | 8.0242 | 8.7568 | 11.5449 | 7.6287 | 8.1492 | 10.8867 | 2.9679 | 3.2305
[32 empty] | Cycle 6 | 7.7608 | 8.4694 | 11.1662 | 7.275 | 7.7716 | 10.3822 | 2.9442 | 3.2435
[32 empty] | Cycle 7 | 7.5062 | 8.1921 | 10.7998 | 6.9419 | 7.416 | 9.9066 | 2.982 | 3.2347
[32 empty] | Cycle 8 | 7.2622 | 7.926 | 10.449 | 6.6273 | 7.08 | 9.4579 | 2.974 | 3.2425
[32 empty] | Cycle 9 | 7.0251 | 7.6671 | 10.108 | 6.3294 | 6.7622 | 9.033 | 2.9223 | 3.2337
[32 empty] | Cycle 10 | 6.8003 | 7.4218 | 9.7846 | 6.0484 | 6.462 | 8.632 | 2.9261 | 3.2315
[32 empty] | Cycle 11 | 6.5819 | 7.1836 | 9.4701 | 5.7825 | 6.1779 | 8.2527 | 2.9355 | 3.2037
[32 empty] | Cycle 12 | 6.3721 | 6.9548 | 9.1685 | 5.53 | 5.9084 | 7.8922 | 2.9403 | 3.2549
[32 empty] | Cycle 13 | 6.1713 | 6.7358 | 8.8796 | 5.2915 | 5.6535 | 7.5517 | 2.9399 | 3.2535
[32 empty] | Cycle 14 | 5.9769 | 6.5239 | 8.5999 | 5.0648 | 5.4117 | 7.2284 | 2.9431 | 3.2399
[32 empty] | Cycle 15 | 5.7893 | 6.3192 | 8.3298 | 4.8496 | 5.1819 | 6.9213 | 2.9517 | 3.2113
[32 empty] | Cycle 16 |  |  |  | 4.6455 | 4.9636 | 6.6301
21 | GIRMS\IRMS-operator | 2026-04-08 03:20 | 2026-04-08 04:38 | Success | FALSE | SHP2L |  | 21 | 1 | 12 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 14.219 V | 9.5186 kV | 106 µbar | 96 µbar | Carbon Dioxide: 0.0186 kV | 106 µbar | 13.412 V | 16.487 V | 122 µbar/min | 4.605 V | 1.23E-007 mbar | 13 % | 885 µbar | 72 °C | µ-Volume |  | Pre | 13.2517 | 14.3982 | 18.8864 | 13.3997 | 14.3064 | 19.1203 | -0.91703 | -6.1167 | -0.98285 | 0.021865 | 0.0056456 | -6.1411 | 0.012589 | 0.0032506 | -0.82433 | 0.023299 | -6.1455 | 0.012568
[32 empty] | Cycle 1 | 12.7562 | 13.8608 | 18.1803 | 12.6782 | 13.5373 | 18.0914 | -0.92793 | -6.129
[32 empty] | Cycle 2 | 12.2833 | 13.3475 | 17.5063 | 12.0067 | 12.8211 | 17.1332 | -0.95323 | -6.1422
[32 empty] | Cycle 3 | 11.8327 | 12.8583 | 16.8639 | 11.3795 | 12.1522 | 16.2386 | -0.97749 | -6.1627
[32 empty] | Cycle 4 | 11.4032 | 12.3923 | 16.2521 | 10.7969 | 11.5306 | 15.4073 | -0.97627 | -6.1555
[32 empty] | Cycle 5 | 10.9925 | 11.9465 | 15.6671 | 10.2511 | 10.9485 | 14.6286 | -0.99023 | -6.1306
[32 empty] | Cycle 6 | 10.5996 | 11.52 | 15.1075 | 9.7399 | 10.4029 | 13.8988 | -0.99209 | -6.1073
[32 empty] | Cycle 7 | 10.2237 | 11.1121 | 14.572 | 9.2608 | 9.8916 | 13.2153 | -0.97586 | -6.1299
[32 empty] | Cycle 8 | 9.865 | 10.7225 | 14.0607 | 8.8105 | 9.4111 | 12.5736 | -1.0001 | -6.156
[32 empty] | Cycle 9 | 9.5215 | 10.3496 | 13.5711 | 8.3879 | 8.9601 | 11.9703 | -0.99708 | -6.1459
[32 empty] | Cycle 10 | 9.1935 | 9.9934 | 13.1038 | 7.9912 | 8.5367 | 11.4043 | -1.0036 | -6.1364
[32 empty] | Cycle 11 | 8.8785 | 9.6513 | 12.6548 | 7.617 | 8.1372 | 10.8702 | -1.0072 | -6.1508
[32 empty] | Cycle 12 | 8.5764 | 9.3234 | 12.2246 | 7.2638 | 7.7602 | 10.3665 | -0.99423 | -6.1409
[32 empty] | Cycle 13 | 8.2856 | 9.0077 | 11.8104 | 6.93 | 7.4038 | 9.8902 | -0.98168 | -6.1311
[32 empty] | Cycle 14 | 8.0079 | 8.7057 | 11.4143 | 6.6153 | 7.0677 | 9.441 | -1.0038 | -6.1509
[32 empty] | Cycle 15 | 7.7417 | 8.4168 | 11.0352 | 6.3184 | 6.7508 | 9.0176 | -0.96184 | -6.138
[32 empty] | Cycle 16 |  |  |  | 6.0373 | 6.4504 | 8.6165
22 | GIRMS\IRMS-operator | 2026-04-08 03:58 | 2026-04-08 05:07 | Success | FALSE | 865 - H. elegans | 3-4 | 22 | 2 | 12 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 20.408 V | 9.5184 kV | 89 µbar | 101 µbar | Carbon Dioxide: 0.0184 kV | 91 µbar | 14.485 V | 24.201 V | 112 µbar/min | 13.105 V | 1.31E-007 mbar | 10 % | 860 µbar | 72 °C | µ-Volume | 18.674 V | Pre | 19.9865 | 21.7822 | 28.7488 | 14.4958 | 15.474 | 20.6831 | 2.303 | 3.1656 | 2.4396 | 0.082211 | 0.020553 | 3.1702 | 0.016013 | 0.0040032 | 2.4934 | 0.087746 | 3.1681 | 0.015961
[32 empty] | Cycle 1 | 19.1498 | 20.8725 | 27.5461 | 13.697 | 14.6228 | 19.5436 | 2.3214 | 3.1776
[32 empty] | Cycle 2 | 18.3597 | 20.0136 | 26.41 | 12.9566 | 13.8332 | 18.4874 | 2.3536 | 3.1791
[32 empty] | Cycle 3 | 17.6103 | 19.1985 | 25.3332 | 12.2681 | 13.0995 | 17.5054 | 2.3817 | 3.1845
[32 empty] | Cycle 4 | 16.8981 | 18.4231 | 24.3082 | 11.6252 | 12.4134 | 16.589 | 2.3973 | 3.142
[32 empty] | Cycle 5 | 16.2197 | 17.6849 | 23.3333 | 11.0246 | 11.7727 | 15.7317 | 2.4047 | 3.1746
[32 empty] | Cycle 6 | 15.5683 | 16.9761 | 22.3959 | 10.464 | 11.1749 | 14.9321 | 2.4274 | 3.1439
[32 empty] | Cycle 7 | 14.9597 | 16.3132 | 21.5209 | 9.9385 | 10.6143 | 14.1825 | 2.4223 | 3.1555
[32 empty] | Cycle 8 | 14.3784 | 15.6799 | 20.6847 | 9.446 | 10.0888 | 13.4798 | 2.4151 | 3.1497
[32 empty] | Cycle 9 | 13.8289 | 15.082 | 19.895 | 8.985 | 9.5969 | 12.8221 | 2.457 | 3.1723
[32 empty] | Cycle 10 | 13.3046 | 14.5108 | 19.1408 | 8.552 | 9.1347 | 12.2043 | 2.4635 | 3.1685
[32 empty] | Cycle 11 | 12.8056 | 13.9674 | 18.423 | 8.1442 | 8.6995 | 11.6224 | 2.4851 | 3.1648
[32 empty] | Cycle 12 | 12.3298 | 13.4492 | 17.7387 | 7.7611 | 8.2905 | 11.0759 | 2.5169 | 3.1801
[32 empty] | Cycle 13 | 11.8764 | 12.9555 | 17.0868 | 7.4003 | 7.9054 | 10.5608 | 2.5489 | 3.1935
[32 empty] | Cycle 14 | 11.4433 | 12.4838 | 16.4641 | 7.0596 | 7.5416 | 10.075 | 2.5714 | 3.1952
[32 empty] | Cycle 15 | 11.0319 | 12.0353 | 15.872 | 6.7383 | 7.1988 | 9.6166 | 2.5649 | 3.1769
[32 empty] | Cycle 16 |  |  |  | 6.4351 | 6.8748 | 9.1838
23 | GIRMS\IRMS-operator | 2026-04-08 04:38 | 2026-04-08 05:40 | Success | FALSE | 865 - H. elegans | 2-3 | 23 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 12.108 V | 9.5184 kV | 101 µbar | 91 µbar | Carbon Dioxide: 0.0184 kV | 101 µbar | 11.320 V | 13.937 V | 103 µbar/min | 14.130 V | 1.10E-007 mbar | 17 % | 858 µbar | 72 °C | µ-Volume |  | Pre | 11.0617 | 12.0674 | 15.9132 | 11.3288 | 12.0971 | 16.1656 | 2.9957 | 3.1965 | 2.9495 | 0.026351 | 0.0065876 | 3.1823 | 0.014145 | 0.0035362 | 3.0385 | 0.02797 | 3.179 | 0.014134
[32 empty] | Cycle 1 | 10.6665 | 11.6369 | 15.3448 | 10.7481 | 11.4777 | 15.3374 | 2.9878 | 3.184
[32 empty] | Cycle 2 | 10.2896 | 11.2261 | 14.803 | 10.2048 | 10.8983 | 14.5623 | 2.9678 | 3.2009
[32 empty] | Cycle 3 | 9.9284 | 10.8329 | 14.2834 | 9.6969 | 10.3563 | 13.8378 | 2.9896 | 3.1781
[32 empty] | Cycle 4 | 9.5784 | 10.4512 | 13.7803 | 9.2199 | 9.8474 | 13.1574 | 2.9517 | 3.1988
[32 empty] | Cycle 5 | 9.2454 | 10.0884 | 13.3014 | 8.7727 | 9.3703 | 12.5191 | 2.9682 | 3.2046
[32 empty] | Cycle 6 | 8.9261 | 9.7401 | 12.842 | 8.3524 | 8.9217 | 11.9197 | 2.9413 | 3.184
[32 empty] | Cycle 7 | 8.6204 | 9.407 | 12.4024 | 7.9568 | 8.4995 | 11.3553 | 2.9416 | 3.1823
[32 empty] | Cycle 8 | 8.3269 | 9.0868 | 11.9801 | 7.5849 | 8.1024 | 10.8247 | 2.9372 | 3.171
[32 empty] | Cycle 9 | 8.0451 | 8.7798 | 11.5745 | 7.2333 | 7.727 | 10.3228 | 2.9511 | 3.1683
[32 empty] | Cycle 10 | 7.7746 | 8.4847 | 11.1857 | 6.9026 | 7.3742 | 9.8509 | 2.9341 | 3.19
[32 empty] | Cycle 11 | 7.5151 | 8.2015 | 10.8125 | 6.5899 | 7.0402 | 9.4049 | 2.9249 | 3.1828
[32 empty] | Cycle 12 | 7.2661 | 7.9301 | 10.4542 | 6.2945 | 6.7247 | 8.9835 | 2.9173 | 3.1549
[32 empty] | Cycle 13 | 7.0267 | 7.6688 | 10.1099 | 6.0153 | 6.4267 | 8.5848 | 2.9026 | 3.1824
[32 empty] | Cycle 14 | 6.7965 | 7.4178 | 9.7786 | 5.7504 | 6.1438 | 8.207 | 2.9393 | 3.1598
[32 empty] | Cycle 15 | 6.5749 | 7.1761 | 9.46 | 5.4995 | 5.8757 | 7.849 | 2.9415 | 3.178
[32 empty] | Cycle 16 |  |  |  | 5.2621 | 5.622 | 7.5101
24 | GIRMS\IRMS-operator | 2026-04-08 05:07 | 2026-04-08 06:17 | Success | FALSE | 865 - H. elegans | 1-2 | 24 | 2 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 7.035 V | 9.5186 kV | 86 µbar | 108 µbar | Carbon Dioxide: 0.0186 kV | 91 µbar | 6.559 V | 7.951 V | 68 µbar/min | 11.085 V | 7.98E-008 mbar | 41 % | 772 µbar | 72 °C | µ-Volume |  | Pre | 6.4299 | 7.018 | 9.252 | 6.5931 | 7.0439 | 9.4097 | 2.9983 | 3.2487 | 3.0039 | 0.017315 | 0.0044707 | 3.2694 | 0.026035 | 0.0067222 | 3.0937 | 0.018539 | 3.2661 | 0.026054
[32 empty] | Cycle 1 | 6.2295 | 6.7996 | 8.9639 | 6.2977 | 6.7283 | 8.9882 | 3.0198 | 3.262
[32 empty] | Cycle 2 | 6.0353 | 6.5875 | 8.684 | 6.0181 | 6.4299 | 8.5893 | 2.9932 | 3.2037
[32 empty] | Cycle 3 | 5.8458 | 6.3811 | 8.412 | 5.7529 | 6.1465 | 8.2108 | 3.0615 | 3.3057
[32 empty] | Cycle 4 | 5.6624 | 6.1808 | 8.148 | 5.5023 | 5.8787 | 7.8529 | 3.0218 | 3.2831
[32 empty] | Cycle 5 | 5.4883 | 5.9909 | 7.8973 | 5.2648 | 5.6252 | 7.514 | 3.0183 | 3.2477
[32 empty] | Cycle 6 | 5.3192 | 5.8063 | 7.6541 | 5.0397 | 5.3848 | 7.1931 | 3.0039 | 3.2151
[32 empty] | Cycle 7 | 5.1562 | 5.6286 | 7.4199 | 4.8259 | 5.1563 | 6.8881 | 3.0218 | 3.2494
[32 empty] | Cycle 8 | 4.999 | 5.4572 | 7.1937 | 4.6228 | 4.9396 | 6.5982 | 3.0187 | 3.2642
[32 empty] | Cycle 9 | 4.8473 | 5.2916 | 6.9753 | 4.4295 | 4.7331 | 6.322 | 3.028 | 3.28
[32 empty] | Cycle 10 | 4.7011 | 5.1318 | 6.765 | 4.246 | 4.537 | 6.0603 | 2.9944 | 3.2828
[32 empty] | Cycle 11 | 4.5598 | 4.9775 | 6.5615 | 4.0719 | 4.3509 | 5.8115 | 3.0077 | 3.2795
[32 empty] | Cycle 12 | 4.423 | 4.8282 | 6.3648 | 3.9053 | 4.1729 | 5.574 | 2.9698 | 3.2658
[32 empty] | Cycle 13 | 4.2912 | 4.6845 | 6.1754 | 3.747 | 4.0039 | 5.3481 | 2.9953 | 3.3239
[32 empty] | Cycle 14 | 4.1637 | 4.5453 | 5.9917 | 3.596 | 3.8425 | 5.1324 | 2.9834 | 3.2777
[32 empty] | Cycle 15 | 4.0406 | 4.4109 | 5.8145 | 3.4522 | 3.689 | 4.9274 | 2.9841 | 3.255
[32 empty] | Cycle 16 |  |  |  | 3.3148 | 3.5421 | 4.7314
25 | GIRMS\IRMS-operator | 2026-04-08 05:40 | 2026-04-08 06:58 | Success | FALSE | 865 - H. elegans | 0-1 | 25 | 1 | 14 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 20.768 V | 9.5187 kV | 108 µbar | 93 µbar | Carbon Dioxide: 0.0187 kV | 101 µbar | 14.633 V | 24.667 V | 132 µbar/min | 4.599 V | 1.33E-007 mbar | 10 % | 904 µbar | 72 °C | µ-Volume | 17.926 V | Pre | 18.7625 | 20.4503 | 26.9895 | 14.6393 | 15.6264 | 20.8892 | 2.4571 | 3.1269 | 2.47 | 0.03466 | 0.0089492 | 3.1182 | 0.010088 | 0.0026047 | 2.5279 | 0.036969 | 3.1159 | 0.01007
[32 empty] | Cycle 1 | 17.978 | 19.5969 | 25.8612 | 13.8284 | 14.7622 | 19.733 | 2.4573 | 3.1083
[32 empty] | Cycle 2 | 17.2392 | 18.7928 | 24.7989 | 13.0783 | 13.9625 | 18.6627 | 2.439 | 3.1182
[32 empty] | Cycle 3 | 16.5397 | 18.0314 | 23.7927 | 12.3819 | 13.2202 | 17.6693 | 2.4154 | 3.1058
[32 empty] | Cycle 4 | 15.8766 | 17.3101 | 22.8392 | 11.7318 | 12.5271 | 16.7417 | 2.4492 | 3.1135
[32 empty] | Cycle 5 | 15.2465 | 16.6239 | 21.9333 | 11.1251 | 11.8798 | 15.8762 | 2.4479 | 3.1088
[32 empty] | Cycle 6 | 14.6494 | 15.9743 | 21.0751 | 10.5587 | 11.2756 | 15.0684 | 2.4679 | 3.1184
[32 empty] | Cycle 7 | 14.0824 | 15.3566 | 20.2594 | 10.0277 | 10.7093 | 14.3108 | 2.4474 | 3.1067
[32 empty] | Cycle 8 | 13.5425 | 14.7689 | 19.4832 | 9.5308 | 10.1791 | 13.6019 | 2.4766 | 3.1256
[32 empty] | Cycle 9 | 13.0269 | 14.2073 | 18.7414 | 9.0637 | 9.6808 | 12.9354 | 2.4508 | 3.0862
[32 empty] | Cycle 10 | 12.5372 | 13.6744 | 18.0378 | 8.6255 | 9.2135 | 12.3107 | 2.4957 | 3.1317
[32 empty] | Cycle 11 | 12.0707 | 13.166 | 17.3666 | 8.2125 | 8.7724 | 11.7207 | 2.4807 | 3.1281
[32 empty] | Cycle 12 | 11.6266 | 12.682 | 16.728 | 7.8245 | 8.3585 | 11.1675 | 2.49 | 3.131
[32 empty] | Cycle 13 | 11.2011 | 12.2187 | 16.116 | 7.4589 | 7.9679 | 10.6457 | 2.5254 | 3.1238
[32 empty] | Cycle 14 | 10.7971 | 11.7785 | 15.5344 | 7.1147 | 7.6006 | 10.1546 | 2.5503 | 3.1014
[32 empty] | Cycle 15 | 10.4093 | 11.3564 | 14.9769 | 6.7897 | 7.2534 | 9.6907 | 2.6063 | 3.1246
[32 empty] | Cycle 16 |  |  |  | 6.4828 | 6.9259 | 9.2529
26 | GIRMS\IRMS-operator | 2026-04-08 06:17 | 2026-04-08 07:28 | Success | FALSE | SHP2L |  | 26 | 2 | 14 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 12.244 V | 9.5185 kV | 86 µbar | 101 µbar | Carbon Dioxide: 0.0185 kV | 103 µbar | 11.483 V | 14.113 V | 107 µbar/min | 14.286 V | 1.13E-007 mbar | 17 % | 802 µbar | 72 °C | µ-Volume |  | Pre | 11.2242 | 12.1977 | 16.0012 | 11.4867 | 12.2651 | 16.3917 | -0.81441 | -5.88 | -0.88728 | 0.024146 | 0.0062345 | -5.92 | 0.017891 | 0.0046194 | -0.73026 | 0.025455 | -5.9244 | 0.017874
[32 empty] | Cycle 1 | 10.8289 | 11.7686 | 15.4376 | 10.8943 | 11.6334 | 15.5458 | -0.83286 | -5.8748
[32 empty] | Cycle 2 | 10.451 | 11.3583 | 14.8991 | 10.3416 | 11.0439 | 14.7575 | -0.86059 | -5.8933
[32 empty] | Cycle 3 | 10.0856 | 10.9617 | 14.3779 | 9.8238 | 10.4915 | 14.0191 | -0.86765 | -5.9299
[32 empty] | Cycle 4 | 9.7342 | 10.5799 | 13.8773 | 9.3387 | 9.9738 | 13.3267 | -0.89027 | -5.9086
[32 empty] | Cycle 5 | 9.3975 | 10.2148 | 13.3975 | 8.8835 | 9.4882 | 12.6775 | -0.85714 | -5.9105
[32 empty] | Cycle 6 | 9.0761 | 9.8657 | 12.9391 | 8.4555 | 9.0313 | 12.0668 | -0.8664 | -5.9432
[32 empty] | Cycle 7 | 8.7686 | 9.5315 | 12.5012 | 8.0534 | 8.6023 | 11.4933 | -0.9132 | -5.9058
[32 empty] | Cycle 8 | 8.4736 | 9.2112 | 12.0805 | 7.6747 | 8.1981 | 10.9525 | -0.90123 | -5.917
[32 empty] | Cycle 9 | 8.1915 | 8.9048 | 11.6785 | 7.3182 | 7.8174 | 10.4442 | -0.89682 | -5.9318
[32 empty] | Cycle 10 | 7.9189 | 8.6089 | 11.2902 | 6.9809 | 7.4574 | 9.9629 | -0.90726 | -5.9263
[32 empty] | Cycle 11 | 7.6589 | 8.3264 | 10.9193 | 6.6633 | 7.1185 | 9.5099 | -0.90045 | -5.9407
[32 empty] | Cycle 12 | 7.4087 | 8.0546 | 10.5629 | 6.3636 | 6.7984 | 9.0819 | -0.89895 | -5.9195
[32 empty] | Cycle 13 | 7.168 | 7.7929 | 10.2196 | 6.0804 | 6.496 | 8.6782 | -0.91308 | -5.9386
[32 empty] | Cycle 14 | 6.9369 | 7.5419 | 9.8903 | 5.8118 | 6.209 | 8.2945 | -0.90053 | -5.9314
[32 empty] | Cycle 15 | 6.7144 | 7.3002 | 9.5732 | 5.558 | 5.9382 | 7.9327 | -0.90283 | -5.9244
[32 empty] | Cycle 16 |  |  |  | 5.3176 | 5.6815 | 7.5894
27 | GIRMS\IRMS-operator | 2026-04-08 06:58 | 2026-04-08 07:59 | Success | FALSE | 865 - Uvigerina | 26-27 | 27 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 22.345 V | 9.5185 kV | 106 µbar | 98 µbar | Carbon Dioxide: 0.0185 kV | 106 µbar | 13.901 V | 26.652 V | 122 µbar/min | 11.241 V | 1.27E-007 mbar | 10 % | 931 µbar | 72 °C | µ-Volume | 20.319 V | Pre | 21.8302 | 23.7168 | 31.4138 | 13.92 | 14.8598 | 19.8635 | -0.86527 | 3.466 | -0.75671 | 0.099276 | 0.024819 | 3.5241 | 0.029197 | 0.0072992 | -0.93987 | 0.10563 | 3.5296 | 0.029104
[32 empty] | Cycle 1 | 20.8855 | 22.6928 | 30.0556 | 13.1629 | 14.0527 | 18.7838 | -0.84499 | 3.4788
[32 empty] | Cycle 2 | 19.9936 | 21.7245 | 28.7728 | 12.4601 | 13.3035 | 17.7813 | -0.88465 | 3.4967
[32 empty] | Cycle 3 | 19.1483 | 20.8084 | 27.5569 | 11.8051 | 12.6051 | 16.8465 | -0.84872 | 3.5251
[32 empty] | Cycle 4 | 18.3533 | 19.9457 | 26.4133 | 11.193 | 11.9525 | 15.9728 | -0.86176 | 3.5351
[32 empty] | Cycle 5 | 17.5994 | 19.1282 | 25.3283 | 10.6221 | 11.3436 | 15.1586 | -0.81747 | 3.5092
[32 empty] | Cycle 6 | 16.8758 | 18.3432 | 24.2878 | 10.0887 | 10.7744 | 14.3977 | -0.7745 | 3.5135
[32 empty] | Cycle 7 | 16.1942 | 17.6032 | 23.3075 | 9.5881 | 10.2401 | 13.6837 | -0.78995 | 3.5274
[32 empty] | Cycle 8 | 15.5464 | 16.8999 | 22.375 | 9.1191 | 9.7401 | 13.0143 | -0.79281 | 3.5297
[32 empty] | Cycle 9 | 14.9334 | 16.2348 | 21.493 | 8.6778 | 9.2689 | 12.3845 | -0.74183 | 3.5221
[32 empty] | Cycle 10 | 14.3522 | 15.604 | 20.6573 | 8.2643 | 8.8276 | 11.7948 | -0.70883 | 3.5518
[32 empty] | Cycle 11 | 13.7982 | 15.0026 | 19.8601 | 7.8742 | 8.4113 | 11.2379 | -0.70831 | 3.565
[32 empty] | Cycle 12 | 13.2731 | 14.4328 | 19.1046 | 7.5077 | 8.0203 | 10.7149 | -0.6612 | 3.5779
[32 empty] | Cycle 13 | 12.7735 | 13.8904 | 18.3856 | 7.1616 | 7.6506 | 10.221 | -0.62075 | 3.5237
[32 empty] | Cycle 14 | 12.2963 | 13.3722 | 17.699 | 6.8352 | 7.302 | 9.7561 | -0.59417 | 3.5133
[32 empty] | Cycle 15 | 11.8425 | 12.8793 | 17.0461 | 6.5268 | 6.9729 | 9.3156 | -0.59212 | 3.5495
[32 empty] | Cycle 16 |  |  |  | 6.2358 | 6.6623 | 8.9002
28 | GIRMS\IRMS-operator | 2026-04-08 07:28 | 2026-04-08 08:33 | Success | FALSE | 865 - Uvigerina | 25-26 | 28 | 2 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 27.240 V | 9.5183 kV | 93 µbar | 86 µbar | Carbon Dioxide: 0.0183 kV | 460 µbar | 13.560 V | 33.131 V | 122 µbar/min | 13.581 V | 1.24E-007 mbar | 10 % | 887 µbar | 72 °C | µ-Volume | 24.501 V | Pre | 26.5904 | 28.8797 | 38.2535 | 13.5839 | 14.5009 | 19.3824 | -1.1726 | 3.2775 | -0.93349 | 0.17431 | 0.043578 | 3.3816 | 0.039129 | 0.010103 | -1.1235 | 0.18503 | 3.3873 | 0.03884
[32 empty] | Cycle 1 | 25.3234 | 27.5064 | 36.4322 | 12.8482 | 13.717 | 18.3332 | -1.147 | 3.3186
[32 empty] | Cycle 2 | 24.1403 | 26.223 | 34.7305 | 12.1653 | 12.9885 | 17.3582 | -1.1503 | 3.3134
[32 empty] | Cycle 3 | 23.0309 | 25.0208 | 33.1355 | 11.53 | 12.3113 | 16.4528 | -1.0969 | 3.3224
[32 empty] | Cycle 4 | 21.987 | 23.8887 | 31.635 | 10.9357 | 11.677 | 15.6044 | -1.054 | 3.3713
[32 empty] | Cycle 5 | 21.01 | 22.8291 | 30.2295 | 10.3805 | 11.0849 | 14.8123 | -1.0411 | 3.3632
[32 empty] | Cycle 6 | 20.0839 | 21.8253 | 28.8983 | 9.8619 | 10.532 | 14.0727 | -0.99034 | 3.3888
[32 empty] | Cycle 7 | 19.2121 | 20.8797 | 27.6443 | 9.3748 | 10.0122 | 13.3778 | -0.95426 | 3.3841
[32 empty] | Cycle 8 | 18.3892 | 19.9866 | 26.4616 | 8.9187 | 9.5256 | 12.7273 | -0.95497 | 3.4163
[32 empty] | Cycle 9 | 17.6126 | 19.1443 | 25.3434 | 8.4898 | 9.0681 | 12.1153 | -0.87971 | 3.3816
[32 empty] | Cycle 10 | 16.8794 | 18.3483 | 24.2894 | 8.0866 | 8.6372 | 11.5401 | -0.86206 | 3.3922
[32 empty] | Cycle 11 | 16.1852 | 17.595 | 23.2907 | 7.7064 | 8.2318 | 10.9979 | -0.83047 | 3.3952
[32 empty] | Cycle 12 | 15.5278 | 16.8818 | 22.3449 | 7.3481 | 7.8493 | 10.4865 | -0.76921 | 3.407
[32 empty] | Cycle 13 | 14.905 | 16.2059 | 21.4496 | 7.0104 | 7.4887 | 10.0046 | -0.73085 | 3.4234
[32 empty] | Cycle 14 | 14.3127 | 15.563 | 20.5968 | 6.6919 | 7.1488 | 9.5505 | -0.68943 | 3.3969
[32 empty] | Cycle 15 | 13.7514 | 14.9539 | 19.7899 | 6.3895 | 6.8259 | 9.1187 | -0.61275 | 3.45
[32 empty] | Cycle 16 |  |  |  | 6.1047 | 6.5217 | 8.7123
29 | GIRMS\IRMS-operator | 2026-04-08 07:59 | 2026-04-08 09:21 | Success | FALSE | 865 - Uvigerina | 24-25 | 29 | 1 | 16 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 9.880 V | 9.5187 kV | 79 µbar | 89 µbar | Carbon Dioxide: 0.0187 kV | 84 µbar | 9.120 V | 11.315 V | 112 µbar/min | 4.605 V | 9.67E-008 mbar | 28 % | 775 µbar | 72 °C | µ-Volume |  | Pre | 8.9257 | 9.7133 | 12.8615 | 9.127 | 9.748 | 13.0255 | 0.32199 | 4.7239 | 0.295 | 0.028795 | 0.0071987 | 4.7261 | 0.014578 | 0.0038963 | 0.14113 | 0.030345 | 4.7305 | 0.014582
[32 empty] | Cycle 1 | 8.6225 | 9.3838 | 12.4248 | 8.6831 | 9.2745 | 12.3921 | 0.31641 | 4.7387
[32 empty] | Cycle 2 | 8.3322 | 9.0682 | 12.007 | 8.2684 | 8.8319 | 11.8001 | 0.32706 | 4.7905
[32 empty] | Cycle 3 | 8.0525 | 8.7639 | 11.6033 | 7.8782 | 8.4151 | 11.2431 | 0.3081 | 4.7275
[32 empty] | Cycle 4 | 7.7834 | 8.4715 | 11.216 | 7.5102 | 8.0228 | 10.7184 | 0.28995 | 4.7338
[32 empty] | Cycle 5 | 7.5257 | 8.191 | 10.8446 | 7.1636 | 7.6528 | 10.224 | 0.24072 | 4.6969
[32 empty] | Cycle 6 | 7.2772 | 7.9213 | 10.4866 | 6.8365 | 7.3036 | 9.7573 | 0.33136 | 4.7245
[32 empty] | Cycle 7 | 7.0396 | 7.6623 | 10.1441 | 6.5275 | 6.9735 | 9.3159 | 0.25884 | 4.7359
[32 empty] | Cycle 8 | 6.8111 | 7.4139 | 9.8151 | 6.2355 | 6.6618 | 8.899 | 0.28676 | 4.7608
[32 empty] | Cycle 9 | 6.5904 | 7.1736 | 9.4971 | 5.9591 | 6.3665 | 8.505 | 0.26777 | 4.7242
[32 empty] | Cycle 10 | 6.3788 | 6.9435 | 9.1924 | 5.6975 | 6.0872 | 8.1318 | 0.27587 | 4.7238
[32 empty] | Cycle 11 | 6.1751 | 6.7222 | 8.8989 | 5.4498 | 5.8226 | 7.7783 | 0.3246 | 4.7278
[32 empty] | Cycle 12 | 5.9799 | 6.5094 | 8.6173 | 5.2144 | 5.5713 | 7.4425 | 0.25504 | 4.6637
[32 empty] | Cycle 13 | 5.791 | 6.3043 | 8.3455 | 4.992 | 5.3337 | 7.1252 | 0.31993 | 4.7204
[32 empty] | Cycle 14 | 5.6082 | 6.1051 | 8.0819 | 4.78 | 5.1073 | 6.8225 | 0.2888 | 4.7112
[32 empty] | Cycle 15 | 5.4322 | 5.9138 | 7.8284 | 4.5793 | 4.8928 | 6.536 | 0.30687 | 4.7155
[32 empty] | Cycle 16 |  |  |  | 4.3884 | 4.689 | 6.2636
30 | GIRMS\IRMS-operator | 2026-04-08 08:33 | 2026-04-08 09:48 | Success | FALSE | 865 - Uvigerina | 23-24 | 30 | 2 | 16 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.703 V | 9.5187 kV | 101 µbar | 96 µbar | Carbon Dioxide: 0.0187 kV | 780 µbar | 10.859 V | 13.489 V | 205 µbar/min | 8.983 V | 1.08E-007 mbar | 20 % | 858 µbar | 72 °C | µ-Volume |  | Pre | 10.7818 | 11.7252 | 15.5241 | 10.8529 | 11.5891 | 15.4871 | -0.17375 | 4.0376 | -0.23812 | 0.025506 | 0.0065857 | 4.0216 | 0.016933 | 0.0042333 | -0.40329 | 0.027124 | 4.0264 | 0.016927
[32 empty] | Cycle 1 | 10.3944 | 11.3046 | 14.9668 | 10.3036 | 11.0035 | 14.7037 | -0.19604 | 4.0425
[32 empty] | Cycle 2 | 10.0266 | 10.9046 | 14.4373 | 9.7886 | 10.4542 | 13.9689 | -0.24956 | 4.0426
[32 empty] | Cycle 3 | 9.6736 | 10.5214 | 13.929 | 9.3069 | 9.9401 | 13.2815 | -0.22309 | 4.0268
[32 empty] | Cycle 4 | 9.3327 | 10.1507 | 13.4379 | 8.8548 | 9.4576 | 12.6368 | -0.26972 | 3.9934
[32 empty] | Cycle 5 | 9.0066 | 9.7963 | 12.9685 | 8.4293 | 9.0039 | 12.0296 | -0.28646 | 4.0037
[32 empty] | Cycle 6 | 8.6946 | 9.4576 | 12.5195 | 8.0297 | 8.5772 | 11.4593 | -0.2389 | 4.0115
[32 empty] | Cycle 7 | 8.3954 | 9.1324 | 12.0887 | 7.654 | 8.176 | 10.9232 | -0.2266 | 4.014
[32 empty] | Cycle 8 | 8.1092 | 8.8212 | 11.6767 | 7.3003 | 7.7984 | 10.4185 | -0.26048 | 4.017
[32 empty] | Cycle 9 | 7.8345 | 8.5228 | 11.2816 | 6.9652 | 7.4409 | 9.9404 | -0.24638 | 4.0456
[32 empty] | Cycle 10 | 7.571 | 8.2364 | 10.9023 | 6.6492 | 7.1034 | 9.4895 | -0.22527 | 4.0361
[32 empty] | Cycle 11 | 7.3182 | 7.9615 | 10.5385 | 6.3512 | 6.785 | 9.0644 | -0.22585 | 4.0338
[32 empty] | Cycle 12 | 7.0752 | 7.6976 | 10.1883 | 6.0686 | 6.4833 | 8.6612 | -0.19394 | 3.9951
[32 empty] | Cycle 13 | 6.8419 | 7.4436 | 9.8525 | 5.8012 | 6.1979 | 8.2797 | -0.23545 | 4.0116
[32 empty] | Cycle 14 | 6.6182 | 7.2004 | 9.5304 | 5.5488 | 5.9283 | 7.9195 | -0.23107 | 4.0224
[32 empty] | Cycle 15 | 6.4021 | 6.9654 | 9.2192 | 5.3085 | 5.6717 | 7.5763 | -0.26301 | 4.0115
[32 empty] | Cycle 16 |  |  |  | 5.081 | 5.4289 | 7.2519
31 | GIRMS\IRMS-operator | 2026-04-08 09:21 | 2026-04-08 10:02 | Error | FALSE | SHP2L |  | 31 | 1 | 17 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  |  |  | 86 µbar |  |  | 89 µbar |  |  | 107 µbar/min |  |  |  | 792 µbar | 72 °C |  |  | Pre
32 | GIRMS\IRMS-operator | 2026-04-08 09:48 | 2026-04-08 10:02 | Error | FALSE | 865 - Uvigerina | 22-23 | 32 | 2 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | [17 empty] | Pre
33 | GIRMS\IRMS-operator | 2026-04-08 12:47 | 2026-04-08 13:05 | Error | FALSE | 865 - Uvigerina | 21-22 | 33 | 1 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  |  |  | 101 µbar | [5 empty] | 112 µbar/min |  |  |  |  | 72 °C |  |  | Pre