## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-04-15 14:14 | 2026-04-15 15:14 | Running | FALSE | SHP2L |  | 1 | 1 | 2 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 6.295 V | 9.5194 kV | 57 µbar | 69 µbar | Carbon Dioxide: 0.0194 kV | 98 µbar | 6.272 V | 7.065 V | 68 µbar/min | 6.272 V | 7.75E-008 mbar | 71 % | 733 µbar | 72 °C | µ-Volume |  | Pre | 6.4671 | 7.0317 | 9.2188 | 6.2945 | 6.7246 | 8.9835 | -0.80029 | -6.0816 | -0.80332 | 0.014682 | 0.0037909 | -6.0619 | 0.014748 | 0.0039416 | -0.6351 | 0.015429 | -6.0665 | 0.014765
[32 empty] | Cycle 1 | 6.2638 | 6.8108 | 8.9289 | 6.0133 | 6.4243 | 8.5817 | -0.78111 | -6.042
[32 empty] | Cycle 2 | 6.0674 | 6.5973 | 8.6488 | 5.7476 | 6.1405 | 8.2024 | -0.80301 | -6.0774
[32 empty] | Cycle 3 | 5.8781 | 6.3916 | 8.3793 | 5.4962 | 5.8723 | 7.8441 | -0.82899 | -6.0477
[32 empty] | Cycle 4 | 5.6953 | 6.1927 | 8.1186 | 5.2588 | 5.6187 | 7.5049 | -0.83713 | -6.0745
[32 empty] | Cycle 5 | 5.5189 | 6.0011 | 7.867 | 5.0327 | 5.3771 | 7.1828 | -0.80713 | -6.1049
[32 empty] | Cycle 6 | 5.3487 | 5.8162 | 7.6249 | 4.8185 | 5.1482 | 6.8767 | -0.78718 | -6.0164
[32 empty] | Cycle 7 | 5.1852 | 5.6383 | 7.3913 | 4.6156 | 4.9315 | 6.5871 | -0.8096 | -6.0706
[32 empty] | Cycle 8 | 5.0267 | 5.4661 | 7.1656 | 4.4222 | 4.7249 | 6.3112 | -0.80737 | -6.0588
[32 empty] | Cycle 9 | 4.874 | 5.3 | 6.9481 | 4.239 | 4.5293 | 6.0498 | -0.84231 | -6.0396
[32 empty] | Cycle 10 | 4.7267 | 5.14 | 6.7379 | 4.0642 | 4.3427 | 5.8004 | -0.80073 | -6.0652
[32 empty] | Cycle 11 | 4.5839 | 4.9847 | 6.5345 | 3.8981 | 4.1649 | 5.5632 | -0.79138 | -6.0648
[32 empty] | Cycle 12 | 4.4464 | 4.8355 | 6.3385 | 3.7396 | 3.9957 | 5.3371 | -0.80129 | -6.079
[32 empty] | Cycle 13 | 4.3133 | 4.6909 | 6.1488 | 3.5887 | 3.8348 | 5.1218 | -0.80705 | -6.0683
[32 empty] | Cycle 14 | 4.1848 | 4.5513 | 5.9657 | 3.4447 | 3.6809 | 4.9163 | -0.78971 | -6.04
[32 empty] | Cycle 15 | 4.0601 | 4.4157 | 5.7878 | 3.3071 | 3.534 | 4.7198 | -0.79784 | -6.0566
[32 empty] | Cycle 16 |  |  |  | 3.1759 | 3.3939 | 4.5326
2 | GIRMS\IRMS-operator | 2026-04-15 14:44 | 2026-04-15 15:42 | Running | FALSE | 777- G. ruber | 13-14 | 2 | 2 | 2 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 8.657 V | 9.5194 kV | 71 µbar | 86 µbar | Carbon Dioxide: 0.0194 kV | 93 µbar | 8.375 V | 9.833 V | 44 µbar/min | 6.216 V | 9.03E-008 mbar | 49 % | 772 µbar | 72 °C | µ-Volume |  | Pre | 8.2546 | 8.9937 | 11.8246 | 8.3637 | 8.9333 | 11.9352 | 1.467 | -1.0896 | 1.4322 | 0.020069 | 0.0051817 | -1.0856 | 0.013886 | 0.0035854 | 1.5727 | 0.021466 | -1.09 | 0.013897
[32 empty] | Cycle 1 | 7.9861 | 8.7015 | 11.4401 | 7.9657 | 8.5085 | 11.3671 | 1.4633 | -1.0693
[32 empty] | Cycle 2 | 7.7284 | 8.4208 | 11.0711 | 7.5912 | 8.1088 | 10.8327 | 1.4601 | -1.0597
[32 empty] | Cycle 3 | 7.4796 | 8.15 | 10.7146 | 7.2384 | 7.732 | 10.3293 | 1.4425 | -1.0814
[32 empty] | Cycle 4 | 7.2374 | 7.8863 | 10.3679 | 6.9059 | 7.3774 | 9.855 | 1.4155 | -1.0776
[32 empty] | Cycle 5 | 7.0071 | 7.6355 | 10.0378 | 6.5913 | 7.0416 | 9.4063 | 1.4164 | -1.0999
[32 empty] | Cycle 6 | 6.7875 | 7.3964 | 9.723 | 6.2949 | 6.7251 | 8.9832 | 1.4151 | -1.1093
[32 empty] | Cycle 7 | 6.577 | 7.1669 | 9.4218 | 6.0153 | 6.4264 | 8.584 | 1.4183 | -1.0785
[32 empty] | Cycle 8 | 6.3732 | 6.9455 | 9.13 | 5.7501 | 6.1429 | 8.2058 | 1.4876 | -1.1072
[32 empty] | Cycle 9 | 6.1747 | 6.7292 | 8.8456 | 5.499 | 5.8751 | 7.8479 | 1.4559 | -1.1448
[32 empty] | Cycle 10 | 5.9842 | 6.5214 | 8.573 | 5.2612 | 5.6209 | 7.5085 | 1.4294 | -1.0817
[32 empty] | Cycle 11 | 5.8012 | 6.322 | 8.3106 | 5.0359 | 5.3803 | 7.1867 | 1.4108 | -1.0833
[32 empty] | Cycle 12 | 5.6229 | 6.1279 | 8.0554 | 4.8225 | 5.1525 | 6.8822 | 1.4177 | -1.0849
[32 empty] | Cycle 13 | 5.451 | 5.9407 | 7.8091 | 4.619 | 4.9352 | 6.592 | 1.4294 | -1.0943
[32 empty] | Cycle 14 | 5.2853 | 5.7601 | 7.5719 | 4.4254 | 4.7282 | 6.3155 | 1.4265 | -1.0716
[32 empty] | Cycle 15 | 5.1267 | 5.5873 | 7.3446 | 4.2422 | 4.5327 | 6.0542 | 1.4154 | -1.0949
[32 empty] | Cycle 16 |  |  |  | 4.0685 | 4.3471 | 5.8064
3 | GIRMS\IRMS-operator | 2026-04-15 15:14 | 2026-04-15 16:15 | Running | FALSE | 777- G. ruber | 12-13 | 3 | 1 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 6.657 V | 9.5193 kV | 93 µbar | 84 µbar | Carbon Dioxide: 0.0193 kV | 96 µbar | 6.226 V | 7.491 V | 73 µbar/min | 8.273 V | 7.64E-008 mbar | 70 % | 763 µbar | 72 °C | µ-Volume |  | Pre | 6.1862 | 6.741 | 8.8625 | 6.2514 | 6.6784 | 8.9213 | 1.422 | -1.0426 | 1.4023 | 0.021488 | 0.0053719 | -1.0076 | 0.026636 | 0.006659 | 1.5377 | 0.022953 | -1.0119 | 0.026662
[32 empty] | Cycle 1 | 5.9925 | 6.5301 | 8.5853 | 5.9741 | 6.3823 | 8.5256 | 1.4413 | -0.9921
[32 empty] | Cycle 2 | 5.8042 | 6.3248 | 8.3157 | 5.7116 | 6.1019 | 8.1507 | 1.3927 | -1.0105
[32 empty] | Cycle 3 | 5.6244 | 6.1292 | 8.0579 | 5.4628 | 5.8363 | 7.7963 | 1.4083 | -1.0415
[32 empty] | Cycle 4 | 5.45 | 5.939 | 7.8082 | 5.2275 | 5.5851 | 7.4601 | 1.3757 | -0.99583
[32 empty] | Cycle 5 | 5.2824 | 5.7564 | 7.5684 | 5.0037 | 5.346 | 7.1409 | 1.3738 | -0.98795
[32 empty] | Cycle 6 | 5.12 | 5.5796 | 7.3356 | 4.792 | 5.1198 | 6.8388 | 1.3906 | -0.99683
[32 empty] | Cycle 7 | 4.9633 | 5.4092 | 7.1114 | 4.5906 | 4.9047 | 6.5512 | 1.4356 | -0.96816
[32 empty] | Cycle 8 | 4.8122 | 5.2446 | 6.8945 | 4.399 | 4.7001 | 6.2781 | 1.4265 | -1.0422
[32 empty] | Cycle 9 | 4.6663 | 5.0854 | 6.6857 | 4.2171 | 4.5059 | 6.0184 | 1.3937 | -0.99906
[32 empty] | Cycle 10 | 4.5258 | 4.9323 | 6.4841 | 4.0444 | 4.3213 | 5.772 | 1.3798 | -1.0493
[32 empty] | Cycle 11 | 4.3897 | 4.784 | 6.2894 | 3.8794 | 4.1453 | 5.5367 | 1.3735 | -1.0256
[32 empty] | Cycle 12 | 4.2584 | 4.6409 | 6.1013 | 3.7225 | 3.9774 | 5.3128 | 1.4067 | -1.0076
[32 empty] | Cycle 13 | 4.1315 | 4.5026 | 5.9196 | 3.5726 | 3.8173 | 5.0987 | 1.399 | -0.95837
[32 empty] | Cycle 14 | 4.0086 | 4.3687 | 5.7434 | 3.4297 | 3.6646 | 4.8947 | 1.4115 | -0.99978
[32 empty] | Cycle 15 | 3.8901 | 4.2397 | 5.5738 | 3.2937 | 3.5192 | 4.7008 | 1.4061 | -1.0047
[32 empty] | Cycle 16 |  |  |  | 3.1638 | 3.3806 | 4.5153
4 | GIRMS\IRMS-operator | 2026-04-15 15:42 | 2026-04-15 16:52 | Running | FALSE | 777- G. ruber | 21-22 | 4 | 2 | 3 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 5.503 V | 9.5194 kV | 81 µbar | 89 µbar | Carbon Dioxide: 0.0194 kV | 84 µbar | 6.074 V | 6.156 V | 88 µbar/min | 6.172 V | 7.16E-008 mbar | 79 % | 709 µbar | 72 °C | µ-Volume | 5.186 V | Pre | 5.4094 | 5.8946 | 7.7498 | 6.1011 | 6.5189 | 8.7071 | 1.2797 | -1.0491 | 1.2203 | 0.018801 | 0.0048543 | -1.0688 | 0.023893 | 0.0059733 | 1.3453 | 0.020122 | -1.0727 | 0.023911
[32 empty] | Cycle 1 | 5.2485 | 5.7191 | 7.5192 | 5.8315 | 6.2309 | 8.3222 | 1.2356 | -1.0741
[32 empty] | Cycle 2 | 5.0944 | 5.5512 | 7.2986 | 5.5766 | 5.9586 | 7.9588 | 1.2392 | -1.0598
[32 empty] | Cycle 3 | 4.9465 | 5.3902 | 7.0866 | 5.3346 | 5.7 | 7.6133 | 1.2616 | -1.0876
[32 empty] | Cycle 4 | 4.802 | 5.2327 | 6.8799 | 5.1052 | 5.455 | 7.2862 | 1.234 | -1.0435
[32 empty] | Cycle 5 | 4.6628 | 5.0811 | 6.6803 | 4.888 | 5.2229 | 6.976 | 1.227 | -1.0585
[32 empty] | Cycle 6 | 4.5268 | 4.9329 | 6.4854 | 4.6814 | 5.0023 | 6.6811 | 1.2208 | -1.0493
[32 empty] | Cycle 7 | 4.3974 | 4.7918 | 6.2999 | 4.4849 | 4.7924 | 6.4006 | 1.1995 | -1.0692
[32 empty] | Cycle 8 | 4.273 | 4.6564 | 6.122 | 4.2984 | 4.5931 | 6.1345 | 1.2065 | -1.0309
[32 empty] | Cycle 9 | 4.1518 | 4.5243 | 5.9482 | 4.1209 | 4.4035 | 5.8812 | 1.2123 | -1.0936
[32 empty] | Cycle 10 | 4.0348 | 4.3968 | 5.7807 | 3.9525 | 4.2235 | 5.6412 | 1.2086 | -1.0926
[32 empty] | Cycle 11 | 3.9209 | 4.2728 | 5.6177 | 3.792 | 4.0521 | 5.412 | 1.2274 | -1.0612
[32 empty] | Cycle 12 | 3.8096 | 4.1515 | 5.4582 | 3.6391 | 3.8886 | 5.1938 | 1.2145 | -1.0732
[32 empty] | Cycle 13 | 3.7017 | 4.0341 | 5.3033 | 3.4931 | 3.7329 | 4.9855 | 1.2288 | -1.1105
[32 empty] | Cycle 14 | 3.5972 | 3.92 | 5.1536 | 3.3539 | 3.584 | 4.7868 | 1.1877 | -1.1062
[32 empty] | Cycle 15 | 3.4957 | 3.8094 | 5.0085 | 3.2213 | 3.4424 | 4.5975 | 1.2008 | -1.0415
[32 empty] | Cycle 16 |  |  |  | 3.0941 | 3.3063 | 4.416
5 | GIRMS\IRMS-operator | 2026-04-15 16:15 | 2026-04-15 17:34 | Running | FALSE | 777- G. ruber | 22-23 | 5 | 1 | 4 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 0.007 V | 9.5194 kV | 101 µbar | 91 µbar | Carbon Dioxide: 0.0194 kV | 93 µbar | 6.256 V | 0.007 V | 156 µbar/min | 6.259 V | 7.38E-008 mbar | 100 % | 98 µbar | 72 °C | µ-Volume | 0.011 V | Pre | 0.0084839 | 0.0091237 | 0.012085 | 6.2799 | 6.7097 | 8.962 | -11.8132 | -6.7858 | -11.6789 | 0.936 | 0.234 | -9.6681 | 1.6336 | 0.40839 | -12.1384 | 0.97373 | -9.6522 | 1.6343
[32 empty] | Cycle 1 | 0.0081031 | 0.0087016 | 0.011475 | 5.998 | 6.4085 | 8.5598 | -13.2572 | -12.6185
[32 empty] | Cycle 2 | 0.0079292 | 0.0085406 | 0.011257 | 5.7343 | 6.1269 | 8.1837 | -10.2742 | -10.1046
[32 empty] | Cycle 3 | 0.0078024 | 0.0083859 | 0.011082 | 5.4842 | 5.8596 | 7.8267 | -12.421 | -9.641
[32 empty] | Cycle 4 | 0.0076798 | 0.0082638 | 0.010921 | 5.2468 | 5.6062 | 7.4879 | -11.28 | -8.481
[32 empty] | Cycle 5 | 0.0075625 | 0.0081349 | 0.010738 | 5.0218 | 5.3657 | 7.167 | -11.615 | -9.9384
[32 empty] | Cycle 6 | 0.0074462 | 0.0080022 | 0.010555 | 4.8089 | 5.1384 | 6.8631 | -12.5781 | -11.686
[32 empty] | Cycle 7 | 0.007337 | 0.0078947 | 0.010427 | 4.6056 | 4.9214 | 6.5732 | -11.364 | -9.1084
[32 empty] | Cycle 8 | 0.0072178 | 0.0077596 | 0.010231 | 4.4119 | 4.7143 | 6.2966 | -12.2217 | -11.6925
[32 empty] | Cycle 9 | 0.0071121 | 0.0076399 | 0.010099 | 4.2289 | 4.5187 | 6.0352 | -12.9917 | -9.8923
[32 empty] | Cycle 10 | 0.0069995 | 0.0075298 | 0.0099254 | 4.0549 | 4.3327 | 5.7873 | -11.5855 | -11.3128
[32 empty] | Cycle 11 | 0.0068905 | 0.0074086 | 0.0098052 | 3.8887 | 4.1552 | 5.5498 | -12.1086 | -7.8202
[32 empty] | Cycle 12 | 0.0067804 | 0.0072918 | 0.0096342 | 3.7302 | 3.9858 | 5.3237 | -11.8975 | -9.2869
[32 empty] | Cycle 13 | 0.0066713 | 0.0071817 | 0.0094745 | 3.5793 | 3.8247 | 5.1082 | -10.9193 | -9.7764
[32 empty] | Cycle 14 | 0.006567 | 0.0070764 | 0.0093516 | 3.4358 | 3.6713 | 4.9034 | -9.9384 | -7.1247
[32 empty] | Cycle 15 | 0.0064665 | 0.0069635 | 0.0091872 | 3.2989 | 3.5251 | 4.7082 | -10.5963 | -9.4202
[32 empty] | Cycle 16 |  |  |  | 3.1682 | 3.3854 | 4.5216
6 | GIRMS\IRMS-operator | 2026-04-15 16:52 | 2026-04-15 18:04 | Running | FALSE | SHP2L |  | 6 | 2 | 4 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.002 V |  | 2.285 V | 9.5195 kV | 89 µbar | 93 µbar | Carbon Dioxide: 0.0195 kV | 86 µbar | 6.201 V | 2.490 V | 78 µbar/min | 6.204 V | 7.27E-008 mbar | 100 % | 592 µbar | 72 °C | µ-Volume | 2.159 V | Pre | 2.2331 | 2.4289 | 3.1839 | 6.2249 | 6.6503 | 8.884 | -0.45803 | -5.882 | -0.59367 | 0.051781 | 0.01337 | -5.9942 | 0.037523 | 0.010029 | -0.41304 | 0.054336 | -5.9993 | 0.037481
[32 empty] | Cycle 1 | 2.1757 | 2.3664 | 3.1019 | 5.9481 | 6.3548 | 8.489 | -0.51608 | -5.9577
[32 empty] | Cycle 2 | 2.1194 | 2.3051 | 3.0216 | 5.687 | 6.0761 | 8.1164 | -0.53962 | -5.9303
[32 empty] | Cycle 3 | 2.0644 | 2.2454 | 2.9432 | 5.4391 | 5.8111 | 7.7625 | -0.55814 | -5.9579
[32 empty] | Cycle 4 | 2.012 | 2.1884 | 2.8684 | 5.2044 | 5.5606 | 7.4277 | -0.52414 | -5.9893
[32 empty] | Cycle 5 | 1.9602 | 2.1321 | 2.7946 | 4.9821 | 5.3232 | 7.1107 | -0.53702 | -5.976
[32 empty] | Cycle 6 | 1.9098 | 2.0772 | 2.7226 | 4.7712 | 5.0978 | 6.8093 | -0.56588 | -6.0042
[32 empty] | Cycle 7 | 1.862 | 2.0252 | 2.6546 | 4.5706 | 4.8835 | 6.5234 | -0.58629 | -6.0136
[32 empty] | Cycle 8 | 1.8148 | 1.9738 | 2.5872 | 4.3802 | 4.6801 | 6.2516 | -0.59102 | -5.9657
[32 empty] | Cycle 9 | 1.7693 | 1.9243 | 2.5223 | 4.1988 | 4.4863 | 5.9922 | -0.63737 | -5.9909
[32 empty] | Cycle 10 | 1.725 | 1.8763 | 2.4593 | 4.0261 | 4.3019 | 5.7461 | -0.6188 | -6.0163
[32 empty] | Cycle 11 | 1.6813 | 1.8287 | 2.397 | 3.8617 | 4.1264 | 5.5117 | -0.63867 | -6.0051
[32 empty] | Cycle 12 | 1.639 | 1.7826 | 2.3366 | 3.7052 | 3.959 | 5.2882 | -0.65828 | -5.9884
[32 empty] | Cycle 13 | 1.5979 | 1.738 | 2.2781 | 3.556 | 3.7997 | 5.0753 | -0.63107 | -6.0546
[32 empty] | Cycle 14 | 1.5573 | 1.6938 | 2.22 | 3.414 | 3.648 | 4.873 | -0.62257 | -6.112
[32 empty] | Cycle 15 | 1.5183 | 1.6513 | 2.1644 | 3.2781 | 3.5027 | 4.6787 | -0.68017 | -6.0692
[32 empty] | Cycle 16 |  |  |  | 3.1486 | 3.3644 | 4.4938
7 | GIRMS\IRMS-operator | 2026-04-15 17:34 | 2026-04-15 18:35 | Running | FALSE | 777- G. ruber | 24-25 | 7 | 1 | 5 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 4.168 V | 9.5195 kV | 103 µbar | 91 µbar | Carbon Dioxide: 0.0195 kV | 98 µbar | 6.145 V | 4.631 V | 103 µbar/min | 6.149 V | 7.38E-008 mbar | 100 % | 719 µbar | 72 °C | µ-Volume | 3.912 V | Pre | 4.08 | 4.4469 | 5.8427 | 6.1709 | 6.5931 | 8.8066 | 1.5522 | -1.4901 | 1.5138 | 0.037969 | 0.0098035 | -1.4362 | 0.023434 | 0.0060505 | 1.673 | 0.040735 | -1.4412 | 0.023469
[32 empty] | Cycle 1 | 3.9622 | 4.3186 | 5.6743 | 5.8974 | 6.3009 | 8.4164 | 1.5761 | -1.4212
[32 empty] | Cycle 2 | 3.8484 | 4.1945 | 5.5112 | 5.6395 | 6.0254 | 8.0481 | 1.5453 | -1.4324
[32 empty] | Cycle 3 | 3.7379 | 4.0742 | 5.353 | 5.3943 | 5.7637 | 7.6986 | 1.5268 | -1.4346
[32 empty] | Cycle 4 | 3.6303 | 3.9571 | 5.1991 | 5.1622 | 5.516 | 7.3671 | 1.5394 | -1.4237
[32 empty] | Cycle 5 | 3.5267 | 3.8439 | 5.0505 | 4.942 | 5.2805 | 7.053 | 1.5354 | -1.4518
[32 empty] | Cycle 6 | 3.4274 | 3.7354 | 4.9083 | 4.7331 | 5.057 | 6.7547 | 1.5074 | -1.4365
[32 empty] | Cycle 7 | 3.3305 | 3.63 | 4.7697 | 4.5351 | 4.8454 | 6.4722 | 1.5432 | -1.437
[32 empty] | Cycle 8 | 3.2359 | 3.5269 | 4.6343 | 4.3461 | 4.6435 | 6.2027 | 1.5264 | -1.4359
[32 empty] | Cycle 9 | 3.1443 | 3.427 | 4.5032 | 4.1666 | 4.4519 | 5.9463 | 1.5019 | -1.3975
[32 empty] | Cycle 10 | 3.0565 | 3.3314 | 4.3773 | 3.9956 | 4.2691 | 5.7024 | 1.5034 | -1.4588
[32 empty] | Cycle 11 | 2.9709 | 3.2379 | 4.2548 | 3.8331 | 4.0955 | 5.4705 | 1.4488 | -1.432
[32 empty] | Cycle 12 | 2.8885 | 3.1481 | 4.1365 | 3.6782 | 3.9302 | 5.2494 | 1.4129 | -1.5244
[32 empty] | Cycle 13 | 2.8084 | 3.0609 | 4.0221 | 3.5305 | 3.7724 | 5.0389 | 1.4532 | -1.4649
[32 empty] | Cycle 14 | 2.7301 | 2.9756 | 3.9099 | 3.39 | 3.6221 | 4.8381 | 1.4831 | -1.4022
[32 empty] | Cycle 15 | 2.6547 | 2.8935 | 3.802 | 3.2555 | 3.4786 | 4.646 | 1.465 | -1.4244
[32 empty] | Cycle 16 |  |  |  | 3.1275 | 3.3417 | 4.4636