## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Kiel IV Initial Pressure | Kiel IV Acid Temperature | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Measuring from | Pressure Adjust failed with Target Intensity |  | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-01-26 16:06 | 2026-01-26 16:14 | Error | FALSE | SHP2L | <Comment> | 1 | 1 | 2 | TRUE | QC Standard | SHP2L | NA, NA, NA | 23 µbar | 72 °C | [15 empty] | Pre
2 | GIRMS\IRMS-operator | 2026-01-26 16:17 | 2026-01-26 17:06 | Success | FALSE | BTS | 1003* | 2 | 2 | 2 | TRUE | Unknown |  | 0.001 V, 0.000 V, 0.001 V |  | 72 °C |  | 6.466 V | 9.5210 kV | 93 µbar | Carbon Dioxide: 0.0210 kV | 550 µbar | 6.109 V | 7.328 V | 220 µbar/min | 2.261 V | 7.87E-008 mbar | 31 % | 868 µbar | µ-Volume |  | Pre | -2.1633 | 0.033358 | -3.6019 | 0.012651
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
3 | GIRMS\IRMS-operator | 2026-01-26 16:46 | 2026-01-26 17:34 | Success | FALSE | BTS | 642* | 3 | 1 | 3 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V | 32 µbar | 72 °C |  | 7.269 V | 9.5209 kV | 35 µbar | Carbon Dioxide: 0.0209 kV | 69 µbar | 7.321 V | 8.161 V | 44 µbar/min | 6.000 V | 8.77E-008 mbar | 24 % | 892 µbar | µ-Volume |  | Pre | -1.7885 | 0.021523 | -3.5064 | 0.027438
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
4 | GIRMS\IRMS-operator | 2026-01-26 17:06 | 2026-01-26 18:04 | Success | FALSE | BTS | 384* | 4 | 2 | 3 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 37 µbar | 72 °C |  | 19.283 V | 9.5206 kV | 69 µbar | Carbon Dioxide: 0.0206 kV | 81 µbar | 13.759 V | 23.143 V | 117 µbar/min | 7.154 V | 1.36E-007 mbar | 10 % | 995 µbar | µ-Volume | 17.107 V | Pre | -3.5829 | 0.12211 | -3.9625 | 0.27619
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
5 | GIRMS\IRMS-operator | 2026-01-26 17:34 | 2026-01-26 18:39 | Success | FALSE | BTS | 634 | 5 | 1 | 4 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 40 µbar | 73 °C |  | 3.392 V | 9.5203 kV | 40 µbar | Carbon Dioxide: 0.0203 kV | 69 µbar | 3.356 V | 3.975 V | 139 µbar/min | 12.931 V | 5.52E-008 mbar | 55 % | 763 µbar | µ-Volume |  | Pre | -2.1471 | 0.026239 | -3.3694 | 0.023299
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
6 | GIRMS\IRMS-operator | 2026-01-26 18:04 | 2026-01-26 19:14 | Success | FALSE | SHP2L | <Comment> | 6 | 2 | 4 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V | 42 µbar | 73 °C |  | 5.615 V | 9.5208 kV | 81 µbar | Carbon Dioxide: 0.0208 kV | 84 µbar | 5.322 V | 6.305 V | 103 µbar/min | 2.294 V | 6.99E-008 mbar | 37 % | 863 µbar | µ-Volume |  | Pre | -0.77188 | 0.012804 | -6.2276 | 0.012623
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
7 | GIRMS\IRMS-operator | 2026-01-26 18:39 | 2026-01-26 19:43 | Success | FALSE | BTS | 632 | 7 | 1 | 5 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 42 µbar | 72 °C |  | 6.273 V | 9.5206 kV | 42 µbar | Carbon Dioxide: 0.0206 kV | 81 µbar | 6.350 V | 7.058 V | 139 µbar/min | 5.242 V | 7.87E-008 mbar | 30 % | 885 µbar | µ-Volume |  | Pre | -1.5283 | 0.023223 | -3.5123 | 0.018864
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
8 | GIRMS\IRMS-operator | 2026-01-26 19:14 | 2026-01-26 20:15 | Success | FALSE | BTS | 951 | 8 | 2 | 5 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 47 µbar | 73 °C |  | 13.204 V | 9.5204 kV | 93 µbar | Carbon Dioxide: 0.0204 kV | 150 µbar | 11.740 V | 15.577 V | 117 µbar/min | 6.230 V | 1.19E-007 mbar | 13 % | 980 µbar | µ-Volume |  | Pre | -2.2455 | 0.049376 | -3.741 | 0.034833
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
9 | GIRMS\IRMS-operator | 2026-01-26 19:43 | 2026-01-26 20:47 | Success | FALSE | BTS | 405 | 9 | 1 | 6 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 45 µbar | 72 °C |  | 9.366 V | 9.5200 kV | 45 µbar | Carbon Dioxide: 0.0200 kV | 79 µbar | 9.206 V | 10.796 V | 125 µbar/min | 11.145 V | 1.00E-007 mbar | 17 % | 946 µbar | µ-Volume |  | Pre | -1.8137 | 0.033645 | -3.5747 | 0.0084118
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
10 | GIRMS\IRMS-operator | 2026-01-26 20:15 | 2026-01-26 21:24 | Success | FALSE | BTS | 872 | 10 | 2 | 6 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V | 47 µbar | 72 °C |  | 7.250 V | 9.5205 kV | 103 µbar | Carbon Dioxide: 0.0205 kV | 86 µbar | 6.864 V | 8.143 V | 183 µbar/min | 2.311 V | 8.22E-008 mbar | 28 % | 919 µbar | µ-Volume |  | Pre | -1.4298 | 0.021556 | -3.6362 | 0.033163
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
11 | GIRMS\IRMS-operator | 2026-01-26 20:47 | 2026-01-26 21:52 | Success | FALSE | SHP2L | <Comment> | 11 | 1 | 7 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.002 V | 47 µbar | 72 °C |  | 1.644 V | 9.5204 kV | 45 µbar | Carbon Dioxide: 0.0204 kV | 91 µbar | 2.069 V | 1.805 V | 110 µbar/min | 6.734 V | 4.21E-008 mbar | 100 % | 606 µbar | µ-Volume | 1.540 V | Pre | -0.73778 | 0.033093 | -6.3845 | 0.051869
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
12 | GIRMS\IRMS-operator | 2026-01-26 21:24 | 2026-01-26 22:22 | Success | FALSE | BTS | 952 | 12 | 2 | 7 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V | 47 µbar | 73 °C |  | 20.633 V | 9.5205 kV | 98 µbar | Carbon Dioxide: 0.0205 kV | 86 µbar | 14.541 V | 24.986 V | 132 µbar/min | 2.058 V | 1.37E-007 mbar | 10 % | 1,029 µbar | µ-Volume | 18.082 V | Pre | -2.5583 | 0.099862 | -4.0709 | 0.27027
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
13 | GIRMS\IRMS-operator | 2026-01-26 21:52 | 2026-01-26 22:56 | Success | FALSE | BTS | 989 | 13 | 1 | 8 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 47 µbar | 72 °C |  | 27.640 V | 9.5198 kV | 101 µbar | Carbon Dioxide: 0.0198 kV | 1,344 µbar | 13.548 V | 34.320 V | 1,458 µbar/min | 13.605 V | 1.31E-007 mbar | 10 % | 1,046 µbar | µ-Volume | 24.483 V | Pre | -2.3331 | 0.12499 | -3.5382 | 0.48756
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
14 | GIRMS\IRMS-operator | 2026-01-26 22:22 | 2026-01-26 23:35 | Success | FALSE | BTS | 873 | 14 | 2 | 8 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 49 µbar | 72 °C |  | 9.801 V | 9.5207 kV | 137 µbar | Carbon Dioxide: 0.0207 kV | 89 µbar | 8.845 V | 11.303 V | 95 µbar/min | 2.313 V | 9.58E-008 mbar | 20 % | 973 µbar | µ-Volume |  | Pre | -1.6902 | 0.01767 | -3.3656 | 0.015329
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
15 | GIRMS\IRMS-operator | 2026-01-26 22:56 | 2026-01-27 00:03 | Success | FALSE | BTS | 893 | 15 | 1 | 9 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 49 µbar | 73 °C |  | 28.085 V | 9.5202 kV | 101 µbar | Carbon Dioxide: 0.0202 kV | 1,339 µbar | 14.519 V | 34.764 V | 1,099 µbar/min | 8.590 V | 1.36E-007 mbar | 10 % | 1,056 µbar | µ-Volume | 24.800 V | Pre | -2.3898 | 0.14191 | -3.5383 | 0.50295
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
16 | GIRMS\IRMS-operator | 2026-01-26 23:35 | 2026-01-27 00:38 | Success | FALSE | SHP2L | <Comment> | 16 | 2 | 9 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V | 49 µbar | 73 °C |  | 5.721 V | 9.5200 kV | 49 µbar | Carbon Dioxide: 0.0200 kV | 135 µbar | 5.462 V | 6.420 V | 139 µbar/min | 13.676 V | 6.43E-008 mbar | 33 % | 885 µbar | µ-Volume |  | Pre | -0.58624 | 0.018892 | -5.9807 | 0.023639
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
17 | GIRMS\IRMS-operator | 2026-01-27 00:03 | 2026-01-27 01:08 | Success | FALSE | BTS | 953 | 17 | 1 | 10 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 52 µbar | 73 °C |  | 24.234 V | 9.5206 kV | 169 µbar | Carbon Dioxide: 0.0206 kV | 1,341 µbar | 13.323 V | 29.789 V | 1,385 µbar/min | 5.376 V | 1.27E-007 mbar | 10 % | 1,046 µbar | µ-Volume | 21.557 V | Pre | -2.5956 | 0.085565 | -4.0621 | 0.37791
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
18 | GIRMS\IRMS-operator | 2026-01-27 00:38 | 2026-01-27 01:51 | Success | FALSE | BTS | 371 | 18 | 2 | 10 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V | 52 µbar | 72 °C |  | 15.075 V | 9.5210 kV | 74 µbar | Carbon Dioxide: 0.0210 kV | 103 µbar | 13.134 V | 17.947 V | 73 µbar/min | 2.316 V | 1.26E-007 mbar | 12 % | 1,021 µbar | µ-Volume |  | Pre | -2.3008 | 0.049672 | -4.1439 | 0.042165
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
19 | GIRMS\IRMS-operator | 2026-01-27 01:08 | 2026-01-27 02:18 | Success | FALSE | BTS | 992 | 19 | 1 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 52 µbar | 73 °C |  | 26.814 V | 9.5204 kV | 96 µbar | Carbon Dioxide: 0.0204 kV | 1,341 µbar | 14.274 V | 33.082 V | 1,289 µbar/min | 12.442 V | 1.34E-007 mbar | 10 % | 1,058 µbar | µ-Volume | 23.771 V | Pre | -2.6358 | 0.11117 | -3.4039 | 0.44118
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
20 | GIRMS\IRMS-operator | 2026-01-27 01:51 | 2026-01-27 02:50 | Success | FALSE | BTS | 1001 | 20 | 2 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 49 µbar | 72 °C |  | 11.307 V | 9.5204 kV | 855 µbar | Carbon Dioxide: 0.0204 kV | 89 µbar | 10.875 V | 13.195 V | 73 µbar/min | 13.425 V | 1.11E-007 mbar | 13 % | 1,041 µbar | µ-Volume |  | Pre | -1.6947 | 0.045645 | -3.1732 | 0.022127
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
21 | GIRMS\IRMS-operator | 2026-01-27 02:18 | 2026-01-27 03:22 | Success | FALSE | SHP2L | <Comment> | 21 | 1 | 12 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V | 52 µbar | 72 °C |  | 9.669 V | 9.5207 kV | 93 µbar | Carbon Dioxide: 0.0207 kV | 1,344 µbar | 9.597 V | 11.155 V | 1,297 µbar/min | 10.377 V | 1.02E-007 mbar | 15 % | 980 µbar | µ-Volume |  | Pre | -0.72156 | 0.031577 | -6.0102 | 0.028151
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
22 | GIRMS\IRMS-operator | 2026-01-27 02:50 | 2026-01-27 04:02 | Success | FALSE | BTS | 641 | 22 | 2 | 12 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V | 52 µbar | 72 °C |  | 7.506 V | 9.5212 kV | 52 µbar | Carbon Dioxide: 0.0212 kV | 103 µbar | 7.093 V | 8.432 V | 103 µbar/min | 2.337 V | 8.10E-008 mbar | 27 % | 943 µbar | µ-Volume |  | Pre | -1.6342 | 0.020988 | -3.5571 | 0.015933
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
23 | GIRMS\IRMS-operator | 2026-01-27 03:22 | 2026-01-27 04:29 | Success | FALSE | BTS | 1002 | 23 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 54 µbar | 73 °C |  | 11.187 V | 9.5211 kV | 802 µbar | Carbon Dioxide: 0.0211 kV | 1,353 µbar | 10.026 V | 13.055 V | 1,355 µbar/min | 6.957 V | 1.04E-007 mbar | 17 % | 1,041 µbar | µ-Volume |  | Pre | -2.424 | 0.030492 | -2.9915 | 0.018257
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
24 | GIRMS\IRMS-operator | 2026-01-27 04:02 | 2026-01-27 04:59 | Success | FALSE | BTS | 401 | 24 | 2 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 54 µbar | 73 °C |  | 6.193 V | 9.5209 kV | 765 µbar | Carbon Dioxide: 0.0209 kV | 169 µbar | 6.182 V | 6.926 V | 73 µbar/min | 9.640 V | 6.96E-008 mbar | 30 % | 985 µbar | µ-Volume |  | Pre | -2.1549 | 0.019704 | -3.9491 | 0.021128
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
25 | GIRMS\IRMS-operator | 2026-01-27 04:29 | 2026-01-27 05:31 | Success | FALSE | BTS | 879 | 25 | 1 | 14 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 54 µbar | 73 °C |  | 9.469 V | 9.5213 kV | 81 µbar | Carbon Dioxide: 0.0213 kV | 1,310 µbar | 9.428 V | 10.930 V | 1,004 µbar/min | 6.064 V | 9.91E-008 mbar | 17 % | 985 µbar | µ-Volume |  | Pre | -1.1852 | 0.013335 | -3.6496 | 0.023577
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
26 | GIRMS\IRMS-operator | 2026-01-27 04:59 | 2026-01-27 06:10 | Success | FALSE | SHP2L | <Comment> | 26 | 2 | 14 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V | 54 µbar | 72 °C |  | 7.753 V | 9.5215 kV | 118 µbar | Carbon Dioxide: 0.0215 kV | 108 µbar | 7.317 V | 8.718 V | 388 µbar/min | 2.331 V | 8.22E-008 mbar | 26 % | 958 µbar | µ-Volume |  | Pre | -0.71398 | 0.023661 | -6.189 | 0.019439
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
27 | GIRMS\IRMS-operator | 2026-01-27 05:31 | 2026-01-27 06:39 | Success | FALSE | BTS | 393 | 27 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 52 µbar | 73 °C |  | 6.245 V | 9.5214 kV | 79 µbar | Carbon Dioxide: 0.0214 kV | 84 µbar | 6.243 V | 6.985 V | 117 µbar/min | 7.167 V | 7.42E-008 mbar | 30 % | 916 µbar | µ-Volume |  | Pre | -2.0105 | 0.011089 | -3.9484 | 0.011007
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
28 | GIRMS\IRMS-operator | 2026-01-27 06:10 | 2026-01-27 07:13 | Success | FALSE | BTS | 389 | 28 | 2 | 15 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 54 µbar | 72 °C |  | 8.050 V | 9.5215 kV | 54 µbar | Carbon Dioxide: 0.0215 kV | 115 µbar | 8.053 V | 9.084 V | 117 µbar/min | 6.125 V | 8.94E-008 mbar | 22 % | 960 µbar | µ-Volume |  | Pre | -3.0507 | 0.040908 | -4.0042 | 0.030939
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
29 | GIRMS\IRMS-operator | 2026-01-27 06:39 | 2026-01-27 07:46 | Success | FALSE | BTS | 883 | 29 | 1 | 16 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 54 µbar | 73 °C |  | 3.300 V | 9.5215 kV | 841 µbar | Carbon Dioxide: 0.0215 kV | 242 µbar | 3.215 V | 3.753 V | 132 µbar/min | 7.850 V | 4.86E-008 mbar | 61 % | 963 µbar | µ-Volume |  | Pre | -1.6782 | 0.0065622 | -2.8722 | 0.030559
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
30 | GIRMS\IRMS-operator | 2026-01-27 07:13 | 2026-01-27 08:22 | Success | FALSE | BTS | 919 | 30 | 2 | 16 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V | 54 µbar | 73 °C |  | 22.119 V | 9.5219 kV | 865 µbar | Carbon Dioxide: 0.0219 kV | 250 µbar | 15.484 V | 26.931 V | 132 µbar/min | 2.357 V | 1.39E-007 mbar | 10 % | 1,075 µbar | µ-Volume | 19.487 V | Pre | -2.3594 | 0.097026 | -3.3151 | 0.24925
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
31 | GIRMS\IRMS-operator | 2026-01-27 07:46 | 2026-01-27 08:49 | Success | FALSE | SHP2L | <Comment> | 31 | 1 | 17 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V | 54 µbar | 72 °C |  | 13.830 V | 9.5212 kV | 67 µbar | Carbon Dioxide: 0.0212 kV | 1,158 µbar | 13.577 V | 16.434 V | 689 µbar/min | 14.558 V | 1.29E-007 mbar | 11 % | 1,019 µbar | µ-Volume |  | Pre | -0.6048 | 0.059516 | -5.7907 | 0.066611
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
32 | GIRMS\IRMS-operator | 2026-01-27 08:22 | 2026-01-27 09:23 | Success | FALSE | BTS | 875 | 32 | 2 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 54 µbar | 73 °C |  | 14.622 V | 9.5213 kV | 54 µbar | Carbon Dioxide: 0.0213 kV | 377 µbar | 13.649 V | 17.418 V | 125 µbar/min | 12.817 V | 1.29E-007 mbar | 10 % | 1,019 µbar | µ-Volume |  | Pre | -2.1997 | 0.061592 | -3.5113 | 0.058742
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
33 | GIRMS\IRMS-operator | 2026-01-27 08:49 | 2026-01-27 09:55 | Success | FALSE | BTS | 861 | 33 | 1 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 54 µbar | 73 °C |  | 8.084 V | 9.5214 kV | 54 µbar | Carbon Dioxide: 0.0214 kV | 511 µbar | 7.803 V | 9.101 V | 183 µbar/min | 12.828 V | 8.72E-008 mbar | 20 % | 951 µbar | µ-Volume |  | Pre | -1.7259 | 0.018227 | -3.5143 | 0.019717
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
34 | GIRMS\IRMS-operator | 2026-01-27 09:23 | 2026-01-27 10:33 | Success | FALSE | BTS | 942 | 34 | 2 | 18 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V | 54 µbar | 72 °C |  | 51.828 V | 9.5222 kV | 54 µbar | Carbon Dioxide: 0.0222 kV | 150 µbar | 15.507 V | 52.351 V | 132 µbar/min | 2.358 V | 1.41E-007 mbar | 10 % | 1,092 µbar | µ-Volume | 51.833 V | Pre | -25.2965 | 37.9262 | -195.8797 | 108.5444
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
35 | GIRMS\IRMS-operator | 2026-01-27 09:55 | 2026-01-27 11:01 | Success | FALSE | BTS | 976 | 35 | 1 | 19 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 52 µbar | 72 °C |  | 51.827 V | 9.5214 kV | 52 µbar | Carbon Dioxide: 0.0214 kV | 147 µbar | 14.514 V | 52.351 V | 132 µbar/min | 14.579 V | 1.36E-007 mbar | 10 % | 1,073 µbar | µ-Volume | 51.830 V | Pre | -1.2514 | 2.9931 | -50.1037 | 69.6661
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
36 | GIRMS\IRMS-operator | 2026-01-27 10:33 | 2026-01-27 11:35 | Success | FALSE | SHP2L | <Comment> | 36 | 2 | 19 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V | 52 µbar | 72 °C |  | 5.984 V | 9.5215 kV | 49 µbar | Carbon Dioxide: 0.0215 kV | 125 µbar | 5.743 V | 6.707 V | 125 µbar/min | 13.668 V | 7.16E-008 mbar | 31 % | 885 µbar | µ-Volume |  | Pre | -0.62435 | 0.022781 | -6.0269 | 0.029992
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
37 | GIRMS\IRMS-operator | 2026-01-27 11:01 | 2026-01-27 12:06 | Success | FALSE | BTS | 399 | 37 | 1 | 20 | TRUE | Unknown |  | 0.002 V, 0.001 V, 0.002 V | 49 µbar | 72 °C |  | 6.747 V | 9.5221 kV | 54 µbar | Carbon Dioxide: 0.0221 kV | 941 µbar | 6.754 V | 7.562 V | 322 µbar/min | 5.642 V | 7.94E-008 mbar | 25 % | 904 µbar | µ-Volume |  | Pre | -3.0118 | 0.025579 | -3.4879 | 0.012203
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
38 | GIRMS\IRMS-operator | 2026-01-27 11:35 | 2026-01-27 12:45 | Success | FALSE | BTS | 971 | 38 | 2 | 20 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V | 49 µbar | 72 °C |  | 38.324 V | 9.5222 kV | 47 µbar | Carbon Dioxide: 0.0222 kV | 157 µbar | 15.443 V | 48.985 V | 103 µbar/min | 2.339 V | 1.42E-007 mbar | 10 % | 1,043 µbar | µ-Volume | 32.870 V | Pre | -3.0844 | 0.27504 | -2.8257 | 0.56099
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
39 | GIRMS\IRMS-operator | 2026-01-27 12:06 | 2026-01-27 13:14 | Success | FALSE | BTS | 644 | 39 | 1 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 47 µbar | 72 °C |  | 7.692 V | 9.5213 kV | 62 µbar | Carbon Dioxide: 0.0213 kV | 1,190 µbar | 7.292 V | 8.649 V | 645 µbar/min | 14.522 V | 8.59E-008 mbar | 25 % | 919 µbar | µ-Volume |  | Pre | -1.9688 | 0.035581 | -2.4878 | 0.010974
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
40 | GIRMS\IRMS-operator | 2026-01-27 12:45 | 2026-01-27 13:47 | Success | FALSE | BTS | 965 | 40 | 2 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 47 µbar | 72 °C |  | 51.839 V | 9.5217 kV | 47 µbar | Carbon Dioxide: 0.0217 kV | 132 µbar | 14.037 V | 52.362 V | 95 µbar/min | 7.146 V | 1.35E-007 mbar | 10 % | 1,060 µbar | µ-Volume | 51.845 V | Pre | -69.9722 | 13.7507 | -298.7676 | 10.0798
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
41 | GIRMS\IRMS-operator | 2026-01-27 13:14 | 2026-01-27 14:21 | Success | FALSE | SHP2L | <Comment> | 41 | 1 | 22 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V | 45 µbar | 73 °C |  | 7.280 V | 9.5211 kV | 69 µbar | Carbon Dioxide: 0.0211 kV | 1,095 µbar | 7.001 V | 8.156 V | 484 µbar/min | 13.204 V | 8.34E-008 mbar | 24 % | 899 µbar | µ-Volume |  | Pre | -0.42014 | 0.021158 | -5.3809 | 0.01288
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
42 | GIRMS\IRMS-operator | 2026-01-27 13:47 | 2026-01-27 14:59 | Success | FALSE | BTS | 969 | 42 | 2 | 22 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 45 µbar | 72 °C |  | 51.839 V | 9.5217 kV | 62 µbar | Carbon Dioxide: 0.0217 kV | 267 µbar | 15.440 V | 52.363 V | 132 µbar/min | 2.322 V | 1.43E-007 mbar | 10 % | 1,043 µbar | µ-Volume | 51.843 V | Pre | 0.59179 | 3.9488 | -83.4276 | 94.6647
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
43 | GIRMS\IRMS-operator | 2026-01-27 14:21 | 2026-01-27 15:28 | Running | FALSE | BTS | 390 | 43 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 45 µbar | 72 °C |  | 4.035 V | 9.5209 kV | 86 µbar | Carbon Dioxide: 0.0209 kV | 938 µbar | 3.923 V | 4.640 V | 315 µbar/min | 14.512 V | 6.09E-008 mbar | 51 % | 777 µbar | µ-Volume |  | Pre | 0.835 | 0.010353 | -2.0122 | 0.036015
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
44 | GIRMS\IRMS-operator | 2026-01-27 14:59 | 2026-01-27 16:01 | Running | FALSE | BTS | 637 | 44 | 2 | 23 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 42 µbar | 72 °C |  | 9.051 V | 9.5214 kV | 89 µbar | Carbon Dioxide: 0.0214 kV | 255 µbar | 9.116 V | 10.426 V | 117 µbar/min | 3.878 V | 1.02E-007 mbar | 18 % | 911 µbar | µ-Volume |  | Pre | -2.5308 | 0.03539 | -3.7817 | 0.016046
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
45 | GIRMS\IRMS-operator | 2026-01-27 15:28 | 2026-01-27 16:35 | Running | FALSE | BTS | 870 | 45 | 1 | 24 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 42 µbar | 72 °C |  | 15.791 V | 9.5207 kV | 89 µbar | Carbon Dioxide: 0.0207 kV | 887 µbar | 13.659 V | 18.890 V | 315 µbar/min | 8.811 V | 1.33E-007 mbar | 10 % | 980 µbar | µ-Volume | 14.219 V | Pre | -1.6845 | 0.049363 | -3.6198 | 0.089201
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8
46 | GIRMS\IRMS-operator | 2026-01-27 16:01 | 2026-01-27 17:15 | Running | FALSE | SHP2L | <Comment> | 46 | 2 | 24 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.002 V | 47 µbar | 72 °C |  | 6.015 V | 9.5208 kV | 103 µbar | Carbon Dioxide: 0.0208 kV | 328 µbar | 5.730 V | 6.743 V | 161 µbar/min | 2.330 V | 7.31E-008 mbar | 35 % | 875 µbar | µ-Volume |  | Pre | -0.69564 | 0.026418 | -5.9698 | 0.014096
Cycle 1
Cycle 2
Cycle 3
Cycle 4
Cycle 5
Cycle 6
Cycle 7
Cycle 8