## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-03-25 19:16 | 2026-03-25 20:12 | Running | FALSE | SHP2L | 1 | 1 | 1 | 2 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 6.063 V | 9.5180 kV | 69 µbar | 67 µbar | Carbon Dioxide: 0.0180 kV | 98 µbar | 5.643 V | 6.788 V | 63 µbar/min | 2.734 V | 7.79E-008 mbar | 28 % | 743 µbar | 72 °C | µ-Volume |  | Pre | 5.6114 | 6.1019 | 8.0013 | 5.7059 | 6.0968 | 8.1463 | -0.86382 | -6.1658 | -0.87173 | 0.0098859 | 0.0037365 | -6.1487 | 0.010179 | 0.0038474 | -0.70533 | 0.010676 | -6.1533 | 0.01021
[32 empty] | Cycle 1 | 5.4155 | 5.889 | 7.722 | 5.4204 | 5.7919 | 7.7388 | -0.87527 | -6.1565
[32 empty] | Cycle 2 | 5.225 | 5.682 | 7.4503 | 5.1514 | 5.5047 | 7.3545 | -0.87447 | -6.1513
[32 empty] | Cycle 3 | 5.042 | 5.4831 | 7.1896 | 4.8984 | 5.2344 | 6.9933 | -0.85631 | -6.1479
[32 empty] | Cycle 4 | 4.866 | 5.2917 | 6.9386 | 4.6595 | 4.9791 | 6.6526 | -0.88128 | -6.1396
[32 empty] | Cycle 5 | 4.6975 | 5.1086 | 6.6984 | 4.4349 | 4.7392 | 6.3315 | -0.86693 | -6.1057
[32 empty] | Cycle 6 | 4.5359 | 4.9327 | 6.4678 | 4.2232 | 4.513 | 6.0294 | -0.90898 | -6.1433
[32 empty] | Cycle 7 | 4.38 | 4.7634 | 6.2456 | 4.0229 | 4.2992 | 5.7434 | -0.88405 | -6.1365
[32 empty] | Cycle 8 |  |  |  | 3.8338 | 4.0971 | 5.4735
2 | GIRMS\IRMS-operator | 2026-03-25 19:49 | 2026-03-25 20:42 | Running | FALSE | SHP2L | 2 | 2 | 2 | 2 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 6.438 V | 9.5179 kV | 64 µbar | 74 µbar | Carbon Dioxide: 0.0179 kV | 74 µbar | 6.179 V | 7.211 V | 54 µbar/min | 5.557 V | 8.10E-008 mbar | 23 % | 719 µbar | 72 °C | µ-Volume |  | Pre | 6.0782 | 6.6101 | 8.6677 | 6.2386 | 6.6661 | 8.9064 | -0.78494 | -6.029 | -0.81228 | 0.019867 | 0.007024 | -6.0471 | 0.019723 | 0.006973 | -0.64529 | 0.021143 | -6.0517 | 0.019736
[32 empty] | Cycle 1 | 5.8684 | 6.382 | 8.3682 | 5.9202 | 6.3259 | 8.4519 | -0.79714 | -6.0611
[32 empty] | Cycle 2 | 5.6667 | 6.1627 | 8.0806 | 5.6212 | 6.0067 | 8.0249 | -0.81821 | -6.058
[32 empty] | Cycle 3 | 5.4732 | 5.9524 | 7.8046 | 5.3401 | 5.7065 | 7.6239 | -0.81874 | -6.0694
[32 empty] | Cycle 4 | 5.287 | 5.75 | 7.5395 | 5.0763 | 5.4248 | 7.247 | -0.82654 | -6.0101
[32 empty] | Cycle 5 | 5.1098 | 5.5574 | 7.2867 | 4.828 | 5.1593 | 6.8925 | -0.79686 | -6.0393
[32 empty] | Cycle 6 | 4.9387 | 5.3714 | 7.0427 | 4.594 | 4.9094 | 6.5588 | -0.80818 | -6.0511
[32 empty] | Cycle 7 | 4.7733 | 5.1914 | 6.8068 | 4.3734 | 4.6737 | 6.2436 | -0.84765 | -6.0588
[32 empty] | Cycle 8 |  |  |  | 4.1652 | 4.4514 | 5.9466
3 | GIRMS\IRMS-operator | 2026-03-25 20:12 | 2026-03-25 21:14 | Running | FALSE | SHP2L | 3 | 3 | 1 | 3 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 7.795 V | 9.5178 kV | 76 µbar | 67 µbar | Carbon Dioxide: 0.0178 kV | 84 µbar | 7.249 V | 8.799 V | 103 µbar/min | 6.069 V | 8.55E-008 mbar | 17 % | 770 µbar | 72 °C | µ-Volume |  | Pre | 7.1643 | 7.7903 | 10.2153 | 7.307 | 7.8068 | 10.4312 | -0.79677 | -6.0819 | -0.83168 | 0.035077 | 0.012401 | -6.0995 | 0.021386 | 0.007561 | -0.6641 | 0.03719 | -6.1041 | 0.021374
[32 empty] | Cycle 1 | 6.8993 | 7.5023 | 9.8372 | 6.92 | 7.3936 | 9.8786 | -0.81101 | -6.1006
[32 empty] | Cycle 2 | 6.6472 | 7.2283 | 9.4778 | 6.5585 | 7.0076 | 9.3625 | -0.80641 | -6.0941
[32 empty] | Cycle 3 | 6.405 | 6.9651 | 9.1324 | 6.2204 | 6.6465 | 8.88 | -0.82503 | -6.1185
[32 empty] | Cycle 4 | 6.1729 | 6.7125 | 8.8019 | 5.9039 | 6.3086 | 8.4281 | -0.87481 | -6.0743
[32 empty] | Cycle 5 | 5.9499 | 6.4705 | 8.4841 | 5.6067 | 5.991 | 8.004 | -0.79717 | -6.0789
[32 empty] | Cycle 6 | 5.738 | 6.2397 | 8.1818 | 5.3269 | 5.692 | 7.6048 | -0.86322 | -6.1122
[32 empty] | Cycle 7 | 5.5335 | 6.0175 | 7.8902 | 5.064 | 5.4113 | 7.2297 | -0.87899 | -6.1353
[32 empty] | Cycle 8 |  |  |  | 4.8168 | 5.1472 | 6.8767
4 | GIRMS\IRMS-operator | 2026-03-25 20:42 | 2026-03-25 21:50 | Running | FALSE | SHP2L | 4 | 4 | 2 | 3 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 5.768 V | 9.5178 kV | 62 µbar | 69 µbar | Carbon Dioxide: 0.0178 kV | 67 µbar | 5.461 V | 6.447 V | 63 µbar/min | 7.086 V | 7.53E-008 mbar | 27 % | 699 µbar | 72 °C | µ-Volume |  | Pre | 5.4038 | 5.8766 | 7.7059 | 5.5278 | 5.9065 | 7.8915 | -0.7928 | -6.0231 | -0.814 | 0.01661 | 0.0058724 | -6.028 | 0.015997 | 0.0056558 | -0.64783 | 0.017951 | -6.0326 | 0.016025
[32 empty] | Cycle 1 | 5.2212 | 5.6781 | 7.4454 | 5.2523 | 5.6122 | 7.4984 | -0.79631 | -6.051
[32 empty] | Cycle 2 | 5.0449 | 5.4864 | 7.194 | 4.9934 | 5.3358 | 7.1288 | -0.8205 | -6.0345
[32 empty] | Cycle 3 | 4.8768 | 5.3038 | 6.9542 | 4.7505 | 5.0764 | 6.7818 | -0.81129 | -6.0496
[32 empty] | Cycle 4 | 4.7132 | 5.1259 | 6.7212 | 4.5207 | 4.8309 | 6.454 | -0.79821 | -6.0103
[32 empty] | Cycle 5 | 4.5569 | 4.9557 | 6.4982 | 4.3042 | 4.5995 | 6.1448 | -0.82952 | -6.026
[32 empty] | Cycle 6 | 4.4074 | 4.7933 | 6.2852 | 4.1001 | 4.3814 | 5.8533 | -0.83276 | -6.0202
[32 empty] | Cycle 7 | 4.2612 | 4.6344 | 6.0768 | 3.9071 | 4.1754 | 5.5782 | -0.83064 | -6.0092
[32 empty] | Cycle 8 |  |  |  | 3.7241 | 3.9798 | 5.3165
5 | GIRMS\IRMS-operator | 2026-03-25 21:14 | 2026-03-25 22:29 | Running | FALSE | SHP2L | 5 | 5 | 1 | 4 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 6.524 V | 9.5178 kV | 76 µbar | 67 µbar | Carbon Dioxide: 0.0178 kV | 69 µbar | 6.033 V | 7.326 V | 249 µbar/min | 2.736 V | 7.94E-008 mbar | 25 % | 753 µbar | 72 °C | µ-Volume |  | Pre | 5.903 | 6.4189 | 8.4164 | 6.0944 | 6.5117 | 8.7 | -0.86055 | -6.1529 | -0.86227 | 0.01103 | 0.0038996 | -6.152 | 0.012301 | 0.004349 | -0.69489 | 0.011837 | -6.1566 | 0.012316
[32 empty] | Cycle 1 | 5.6921 | 6.1897 | 8.1157 | 5.7852 | 6.1817 | 8.2589 | -0.86586 | -6.1723
[32 empty] | Cycle 2 | 5.4889 | 5.9688 | 7.826 | 5.4945 | 5.871 | 7.8439 | -0.85076 | -6.1556
[32 empty] | Cycle 3 | 5.2951 | 5.7581 | 7.5496 | 5.2221 | 5.58 | 7.4549 | -0.87318 | -6.1613
[32 empty] | Cycle 4 | 5.1081 | 5.5549 | 7.2831 | 4.9653 | 5.3059 | 7.0884 | -0.87573 | -6.1473
[32 empty] | Cycle 5 | 4.929 | 5.3604 | 7.0279 | 4.7236 | 5.0477 | 6.7434 | -0.85975 | -6.1441
[32 empty] | Cycle 6 | 4.7567 | 5.1729 | 6.7823 | 4.4958 | 4.8043 | 6.4182 | -0.86886 | -6.1305
[32 empty] | Cycle 7 | 4.5911 | 4.993 | 6.5462 | 4.2809 | 4.5746 | 6.1114 | -0.84347 | -6.152
[32 empty] | Cycle 8 |  |  |  | 4.0783 | 4.3582 | 5.8224
6 | GIRMS\IRMS-operator | 2026-03-25 21:50 | 2026-03-25 22:58 | Running | FALSE | SHP2L | 6 | 6 | 2 | 4 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 6.069 V | 9.5178 kV | 62 µbar | 74 µbar | Carbon Dioxide: 0.0178 kV | 64 µbar | 6.019 V | 6.791 V | 83 µbar/min | 5.934 V | 7.83E-008 mbar | 24 % | 706 µbar | 72 °C | µ-Volume |  | Pre | 5.9538 | 6.4746 | 8.4902 | 6.0843 | 6.5009 | 8.6855 | -0.77488 | -5.9634 | -0.80216 | 0.018825 | 0.0066558 | -6.0035 | 0.026763 | 0.0094623 | -0.63607 | 0.019845 | -6.0081 | 0.026778
[32 empty] | Cycle 1 | 5.7502 | 6.2533 | 8.1999 | 5.7751 | 6.1708 | 8.2443 | -0.78412 | -5.9834
[32 empty] | Cycle 2 | 5.555 | 6.0408 | 7.9214 | 5.4854 | 5.8614 | 7.8308 | -0.83673 | -6.0001
[32 empty] | Cycle 3 | 5.3687 | 5.8386 | 7.656 | 5.213 | 5.5704 | 7.442 | -0.8144 | -5.9853
[32 empty] | Cycle 4 | 5.1871 | 5.6411 | 7.3969 | 4.9566 | 5.2965 | 7.0759 | -0.80663 | -6.0101
[32 empty] | Cycle 5 | 5.0134 | 5.4522 | 7.1492 | 4.7155 | 5.0388 | 6.7319 | -0.80214 | -6.0268
[32 empty] | Cycle 6 | 4.8474 | 5.2718 | 6.9126 | 4.488 | 4.7959 | 6.4073 | -0.7954 | -6.0099
[32 empty] | Cycle 7 | 4.6878 | 5.0983 | 6.6849 | 4.2738 | 4.567 | 6.1015 | -0.80295 | -6.0486
[32 empty] | Cycle 8 |  |  |  | 4.0718 | 4.3512 | 5.8132
7 | GIRMS\IRMS-operator | 2026-03-25 22:29 | 2026-03-25 23:30 | Running | FALSE | SHP2L | 7 | 7 | 1 | 5 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 8.454 V | 9.5178 kV | 81 µbar | 69 µbar | Carbon Dioxide: 0.0178 kV | 84 µbar | 7.883 V | 9.578 V | 112 µbar/min | 5.921 V | 8.98E-008 mbar | 14 % | 799 µbar | 72 °C | µ-Volume |  | Pre | 7.7047 | 8.3766 | 10.9844 | 7.9522 | 8.4953 | 11.3518 | -0.86129 | -6.1912 | -0.88682 | 0.026667 | 0.0094282 | -6.1676 | 0.015577 | 0.0055073 | -0.72057 | 0.028519 | -6.1722 | 0.015592
[32 empty] | Cycle 1 | 7.4185 | 8.0655 | 10.5764 | 7.5251 | 8.0395 | 10.7422 | -0.89262 | -6.1818
[32 empty] | Cycle 2 | 7.1463 | 7.77 | 10.1885 | 7.126 | 7.6132 | 10.1723 | -0.85636 | -6.1618
[32 empty] | Cycle 3 | 6.882 | 7.4826 | 9.8119 | 6.7523 | 7.214 | 9.6389 | -0.88044 | -6.1531
[32 empty] | Cycle 4 | 6.6294 | 7.2083 | 9.452 | 6.4029 | 6.8411 | 9.1403 | -0.8783 | -6.1419
[32 empty] | Cycle 5 | 6.39 | 6.9483 | 9.1106 | 6.0754 | 6.4914 | 8.6731 | -0.87457 | -6.1716
[32 empty] | Cycle 6 | 6.16 | 6.698 | 8.7825 | 5.7684 | 6.1635 | 8.2347 | -0.93298 | -6.1716
[32 empty] | Cycle 7 | 5.9378 | 6.4566 | 8.466 | 5.4793 | 5.8548 | 7.8219 | -0.91797 | -6.1678
[32 empty] | Cycle 8 |  |  |  | 5.2075 | 5.5643 | 7.4342
8 | GIRMS\IRMS-operator | 2026-03-25 22:58 | 2026-03-26 00:05 | Running | FALSE | SHP2L | 8 | 8 | 2 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 7.418 V | 9.5179 kV | 64 µbar | 74 µbar | Carbon Dioxide: 0.0179 kV | 64 µbar | 7.448 V | 8.334 V | 88 µbar/min | 7.706 V | 8.68E-008 mbar | 15 % | 741 µbar | 72 °C | µ-Volume |  | Pre | 7.2583 | 7.8918 | 10.3499 | 7.5216 | 8.0354 | 10.7373 | -0.81066 | -6.0193 | -0.82684 | 0.019805 | 0.0070022 | -6.0233 | 0.020907 | 0.0073917 | -0.66175 | 0.021206 | -6.0279 | 0.020929
[32 empty] | Cycle 1 | 7.0017 | 7.6132 | 9.9839 | 7.1214 | 7.6083 | 10.1661 | -0.80873 | -6.0338
[32 empty] | Cycle 2 | 6.7535 | 7.3433 | 9.6301 | 6.7486 | 7.2103 | 9.6338 | -0.83395 | -6.0115
[32 empty] | Cycle 3 | 6.5155 | 7.085 | 9.2908 | 6.3993 | 6.8372 | 9.1352 | -0.80847 | -5.9926
[32 empty] | Cycle 4 | 6.2893 | 6.839 | 8.968 | 6.0714 | 6.4872 | 8.6669 | -0.85521 | -6.0439
[32 empty] | Cycle 5 | 6.0672 | 6.5978 | 8.6513 | 5.7638 | 6.1586 | 8.2282 | -0.80858 | -6.0568
[32 empty] | Cycle 6 | 5.8577 | 6.37 | 8.3529 | 5.475 | 5.8502 | 7.8158 | -0.84468 | -6.006
[32 empty] | Cycle 7 | 5.656 | 6.1507 | 8.0653 | 5.2038 | 5.5605 | 7.4286 | -0.84447 | -6.0223
[32 empty] | Cycle 8 |  |  |  | 4.9479 | 5.2871 | 7.0637
9 | GIRMS\IRMS-operator | 2026-03-25 23:30 | 2026-03-26 00:44 | Running | FALSE | SHP2L | 9 | 9 | 1 | 6 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 6.105 V | 9.5180 kV | 79 µbar | 67 µbar | Carbon Dioxide: 0.0180 kV | 79 µbar | 5.678 V | 6.842 V | 259 µbar/min | 2.730 V | 7.64E-008 mbar | 27 % | 748 µbar | 72 °C | µ-Volume |  | Pre | 5.6516 | 6.1461 | 8.0596 | 5.7425 | 6.136 | 8.198 | -0.78462 | -5.97 | -0.82671 | 0.026975 | 0.0095372 | -5.9698 | 0.020376 | 0.0072039 | -0.66359 | 0.029318 | -5.9743 | 0.020434
[32 empty] | Cycle 1 | 5.4511 | 5.928 | 7.7737 | 5.4548 | 5.8286 | 7.7872 | -0.81388 | -5.9774
[32 empty] | Cycle 2 | 5.2589 | 5.719 | 7.4996 | 5.184 | 5.5393 | 7.4008 | -0.80946 | -5.9907
[32 empty] | Cycle 3 | 5.0741 | 5.5181 | 7.236 | 4.9294 | 5.2674 | 7.0374 | -0.81877 | -5.9761
[32 empty] | Cycle 4 | 4.8971 | 5.3257 | 6.9836 | 4.6899 | 5.0117 | 6.6953 | -0.82562 | -5.9923
[32 empty] | Cycle 5 | 4.7257 | 5.1394 | 6.7396 | 4.464 | 4.7703 | 6.3731 | -0.84468 | -5.9338
[32 empty] | Cycle 6 | 4.5623 | 4.9619 | 6.5062 | 4.2505 | 4.5422 | 6.0679 | -0.84292 | -5.9718
[32 empty] | Cycle 7 | 4.4062 | 4.792 | 6.2837 | 4.0497 | 4.3279 | 5.7814 | -0.87372 | -5.9459
[32 empty] | Cycle 8 |  |  |  | 3.86 | 4.1251 | 5.5106
10 | GIRMS\IRMS-operator | 2026-03-26 00:05 | 2026-03-26 01:15 | Running | FALSE | SHP2L | 10 | 10 | 2 | 6 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 8.812 V | 9.5179 kV | 62 µbar | 69 µbar | Carbon Dioxide: 0.0179 kV | 311 µbar | 8.235 V | 9.961 V | 122 µbar/min | 5.592 V | 9.16E-008 mbar | 13 % | 743 µbar | 72 °C | µ-Volume |  | Pre | 8.065 | 8.7683 | 11.4992 | 8.3065 | 8.8738 | 11.8569 | -0.85741 | -6.0382 | -0.87326 | 0.012963 | 0.0045831 | -6.0728 | 0.0080739 | 0.0030517 | -0.70974 | 0.013596 | -6.0773 | 0.008076
[32 empty] | Cycle 1 | 7.7723 | 8.4504 | 11.0817 | 7.8544 | 8.3911 | 11.2119 | -0.85767 | -6.0759
[32 empty] | Cycle 2 | 7.4929 | 8.147 | 10.6836 | 7.434 | 7.9423 | 10.6118 | -0.86416 | -6.0618
[32 empty] | Cycle 3 | 7.2217 | 7.8522 | 10.2968 | 7.0408 | 7.5226 | 10.0506 | -0.87436 | -6.0798
[32 empty] | Cycle 4 | 6.9653 | 7.5736 | 9.9313 | 6.6727 | 7.1295 | 9.5254 | -0.88288 | -6.0847
[32 empty] | Cycle 5 | 6.7189 | 7.3059 | 9.5801 | 6.3279 | 6.7613 | 9.0331 | -0.89124 | -6.0725
[32 empty] | Cycle 6 | 6.4832 | 7.0498 | 9.2442 | 6.0047 | 6.4162 | 8.572 | -0.88667 | -6.07
[32 empty] | Cycle 7 | 6.2555 | 6.8024 | 8.9195 | 5.7009 | 6.0917 | 8.1384 | -0.87167 | -6.0649
[32 empty] | Cycle 8 |  |  |  | 5.4158 | 5.7871 | 7.7313
11 | GIRMS\IRMS-operator | 2026-03-26 00:44 | 2026-03-26 01:46 | Running | FALSE | SHP2L | 11 | 11 | 1 | 7 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 7.127 V | 9.5178 kV | 79 µbar | 69 µbar | Carbon Dioxide: 0.0178 kV | 84 µbar | 6.731 V | 8.035 V | 103 µbar/min | 8.053 V | 8.26E-008 mbar | 19 % | 782 µbar | 72 °C | µ-Volume |  | Pre | 6.6399 | 7.2197 | 9.4666 | 6.7991 | 7.2643 | 9.7055 | -0.86027 | -6.1553 | -0.88199 | 0.015501 | 0.0054806 | -6.1455 | 0.020936 | 0.007402 | -0.71623 | 0.017164 | -6.1501 | 0.020984
[32 empty] | Cycle 1 | 6.4003 | 6.9593 | 9.1251 | 6.4468 | 6.8879 | 9.2029 | -0.86696 | -6.1516
[32 empty] | Cycle 2 | 6.1709 | 6.7099 | 8.7982 | 6.1161 | 6.5349 | 8.7308 | -0.89107 | -6.1488
[32 empty] | Cycle 3 | 5.9503 | 6.4703 | 8.4834 | 5.806 | 6.2037 | 8.2885 | -0.86507 | -6.1796
[32 empty] | Cycle 4 | 5.7387 | 6.2402 | 8.1822 | 5.5145 | 5.8924 | 7.872 | -0.88999 | -6.1199
[32 empty] | Cycle 5 | 5.5344 | 6.0181 | 7.8909 | 5.2409 | 5.6001 | 7.4816 | -0.90235 | -6.117
[32 empty] | Cycle 6 | 5.3405 | 5.8074 | 7.6141 | 4.9828 | 5.3244 | 7.113 | -0.88859 | -6.1581
[32 empty] | Cycle 7 | 5.1535 | 5.6042 | 7.3478 | 4.7401 | 5.0652 | 6.7666 | -0.89165 | -6.1338
[32 empty] | Cycle 8 |  |  |  | 4.5117 | 4.8211 | 6.4406
12 | GIRMS\IRMS-operator | 2026-03-26 01:15 | 2026-03-26 02:21 | Running | FALSE | SHP2L | 12 | 12 | 2 | 7 | TRUE | Unknown |  | 0.002 V, 0.001 V, 0.002 V |  | 7.031 V | 9.5180 kV | 64 µbar | 71 µbar | Carbon Dioxide: 0.0180 kV | 69 µbar | 6.939 V | 7.895 V | 59 µbar/min | 6.606 V | 8.43E-008 mbar | 17 % | 741 µbar | 72 °C | µ-Volume |  | Pre | 6.8826 | 7.4839 | 9.8147 | 7.0089 | 7.4882 | 10.0052 | -0.77353 | -5.934 | -0.8086 | 0.029244 | 0.010339 | -5.9512 | 0.013693 | 0.0048412 | -0.6449 | 0.031374 | -5.9557 | 0.013718
[32 empty] | Cycle 1 | 6.6377 | 7.2177 | 9.4655 | 6.6427 | 7.0971 | 9.4824 | -0.8007 | -5.9488
[32 empty] | Cycle 2 | 6.4035 | 6.9632 | 9.1319 | 6.3004 | 6.7316 | 8.994 | -0.82037 | -5.9407
[32 empty] | Cycle 3 | 6.1786 | 6.7187 | 8.8109 | 5.9786 | 6.3882 | 8.535 | -0.83539 | -5.9623
[32 empty] | Cycle 4 | 5.9646 | 6.4862 | 8.5058 | 5.6771 | 6.066 | 8.1042 | -0.85364 | -5.9473
[32 empty] | Cycle 5 | 5.7559 | 6.2604 | 8.2083 | 5.3936 | 5.7635 | 7.6996 | -0.78177 | -5.9578
[32 empty] | Cycle 6 | 5.5576 | 6.0447 | 7.9256 | 5.1263 | 5.4788 | 7.3184 | -0.77939 | -5.9764
[32 empty] | Cycle 7 | 5.3674 | 5.8373 | 7.6545 | 4.8753 | 5.2097 | 6.9601 | -0.82399 | -5.9421
[32 empty] | Cycle 8 |  |  |  | 4.6396 | 4.958 | 6.6233
13 | GIRMS\IRMS-operator | 2026-03-26 01:46 | 2026-03-26 03:01 | Running | FALSE | SHP2L | 13 | 13 | 1 | 8 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 9.044 V | 9.5180 kV | 76 µbar | 64 µbar | Carbon Dioxide: 0.0180 kV | 81 µbar | 8.296 V | 10.280 V | 98 µbar/min | 2.729 V | 9.16E-008 mbar | 13 % | 797 µbar | 72 °C | µ-Volume |  | Pre | 8.1032 | 8.8104 | 11.5529 | 8.3612 | 8.9325 | 11.935 | -0.81345 | -6.0964 | -0.85518 | 0.028479 | 0.010069 | -6.1305 | 0.021329 | 0.0075409 | -0.6881 | 0.030557 | -6.1351 | 0.021358
[32 empty] | Cycle 1 | 7.7933 | 8.4737 | 11.1107 | 7.9063 | 8.4466 | 11.2857 | -0.82537 | -6.1454
[32 empty] | Cycle 2 | 7.497 | 8.1517 | 10.6885 | 7.4814 | 7.9932 | 10.6795 | -0.84688 | -6.1388
[32 empty] | Cycle 3 | 7.2144 | 7.8448 | 10.2857 | 7.0837 | 7.5686 | 10.1121 | -0.84237 | -6.1504
[32 empty] | Cycle 4 | 6.9432 | 7.55 | 9.8991 | 6.7128 | 7.1726 | 9.5827 | -0.87339 | -6.1453
[32 empty] | Cycle 5 | 6.6852 | 7.2694 | 9.5313 | 6.3655 | 6.8018 | 9.0866 | -0.89845 | -6.0978
[32 empty] | Cycle 6 | 6.4389 | 7.002 | 9.18 | 6.0397 | 6.4538 | 8.6212 | -0.86287 | -6.1373
[32 empty] | Cycle 7 | 6.202 | 6.7444 | 8.8426 | 5.7346 | 6.1278 | 8.1862 | -0.87866 | -6.1324
[32 empty] | Cycle 8 |  |  |  | 5.4471 | 5.8208 | 7.7759
14 | GIRMS\IRMS-operator | 2026-03-26 02:21 | 2026-03-26 03:31 | Running | FALSE | SHP2L | 14 | 14 | 2 | 8 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 14.334 V | 9.5179 kV | 59 µbar | 69 µbar | Carbon Dioxide: 0.0179 kV | 59 µbar | 8.981 V | 16.508 V | 88 µbar/min | 8.106 V | 9.58E-008 mbar | 10 % | 780 µbar | 72 °C | µ-Volume | 13.278 V | Pre | 13.9954 | 15.2066 | 19.9502 | 9.0636 | 9.6819 | 12.9372 | -1.4158 | -6.2182 | -1.3414 | 0.053629 | 0.018961 | -6.2084 | 0.017659 | 0.0062433 | -1.2055 | 0.05729 | -6.212 | 0.01766
[32 empty] | Cycle 1 | 13.4085 | 14.57 | 19.1141 | 8.5587 | 9.1432 | 12.2163 | -1.3935 | -6.2024
[32 empty] | Cycle 2 | 12.8548 | 13.9692 | 18.3251 | 8.0901 | 8.643 | 11.5479 | -1.3722 | -6.2121
[32 empty] | Cycle 3 | 12.3316 | 13.4014 | 17.5791 | 7.6534 | 8.1769 | 10.9248 | -1.3589 | -6.2371
[32 empty] | Cycle 4 | 11.8312 | 12.8583 | 16.8668 | 7.2469 | 7.7427 | 10.3445 | -1.3412 | -6.1775
[32 empty] | Cycle 5 | 11.3527 | 12.3392 | 16.1844 | 6.8648 | 7.3348 | 9.799 | -1.2999 | -6.1969
[32 empty] | Cycle 6 | 10.9058 | 11.8538 | 15.5474 | 6.5088 | 6.9546 | 9.2911 | -1.2816 | -6.204
[32 empty] | Cycle 7 | 10.4775 | 11.3888 | 14.9367 | 6.1745 | 6.5975 | 8.8139 | -1.2684 | -6.219
[32 empty] | Cycle 8 |  |  |  | 5.8611 | 6.2629 | 8.3666
15 | GIRMS\IRMS-operator | 2026-03-26 03:01 | 2026-03-26 04:03 | Running | FALSE | SHP2L | 15 | 15 | 1 | 9 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 6.556 V | 9.5180 kV | 76 µbar | 69 µbar | Carbon Dioxide: 0.0180 kV | 84 µbar | 6.133 V | 7.362 V | 103 µbar/min | 8.764 V | 7.87E-008 mbar | 22 % | 772 µbar | 72 °C | µ-Volume |  | Pre | 6.0055 | 6.5305 | 8.5624 | 6.198 | 6.6224 | 8.8475 | -0.83285 | -6.1076 | -0.86338 | 0.05158 | 0.018236 | -6.1077 | 0.0054543 | 0.0020615 | -0.69787 | 0.055293 | -6.1123 | 0.0055584
[32 empty] | Cycle 1 | 5.7924 | 6.299 | 8.2585 | 5.8823 | 6.2853 | 8.3969 | -0.80565 | -6.1148
[32 empty] | Cycle 2 | 5.5876 | 6.0762 | 7.9668 | 5.5859 | 5.9686 | 7.9737 | -0.85003 | -6.0737
[32 empty] | Cycle 3 | 5.3917 | 5.8633 | 7.6874 | 5.3084 | 5.6722 | 7.5775 | -0.8536 | -6.1078
[32 empty] | Cycle 4 | 5.2022 | 5.6572 | 7.4174 | 5.0469 | 5.393 | 7.2045 | -0.94862 | -6.0968
[32 empty] | Cycle 5 | 5.0212 | 5.4605 | 7.1593 | 4.8008 | 5.1309 | 6.8533 | -0.93572 | -6.1082
[32 empty] | Cycle 6 | 4.847 | 5.2713 | 6.911 | 4.5694 | 4.8827 | 6.523 | -0.82417 | -6.1106
[32 empty] | Cycle 7 | 4.6808 | 5.0906 | 6.674 | 4.3499 | 4.6483 | 6.2096 | -0.8564 | -6.1078
[32 empty] | Cycle 8 |  |  |  | 4.1435 | 4.428 | 5.915
16 | GIRMS\IRMS-operator | 2026-03-26 03:31 | 2026-03-26 04:40 | Running | FALSE | SHP2L | 16 | 16 | 2 | 9 | TRUE | Unknown |  | 0.001 V, 0.002 V, 0.002 V |  | 8.643 V | 9.5181 kV | 67 µbar | 71 µbar | Carbon Dioxide: 0.0181 kV | 67 µbar | 8.049 V | 9.764 V | 98 µbar/min | 6.023 V | 9.03E-008 mbar | 12 % | 763 µbar | 72 °C | µ-Volume |  | Pre | 7.8838 | 8.5712 | 11.241 | 8.1242 | 8.679 | 11.5966 | -0.87853 | -6.0151 | -0.88941 | 0.015403 | 0.0054458 | -6.0431 | 0.016707 | 0.0059068 | -0.72796 | 0.016237 | -6.0476 | 0.016711
[32 empty] | Cycle 1 | 7.5975 | 8.2603 | 10.8325 | 7.6853 | 8.2106 | 10.9701 | -0.87572 | -6.0533
[32 empty] | Cycle 2 | 7.3235 | 7.9626 | 10.442 | 7.2755 | 7.7731 | 10.3855 | -0.88045 | -6.0521
[32 empty] | Cycle 3 | 7.0586 | 7.6749 | 10.0645 | 6.8928 | 7.3644 | 9.8392 | -0.86866 | -6.0336
[32 empty] | Cycle 4 | 6.8053 | 7.3994 | 9.7032 | 6.5339 | 6.9812 | 9.327 | -0.91193 | -6.0657
[32 empty] | Cycle 5 | 6.5638 | 7.137 | 9.3592 | 6.1982 | 6.6226 | 8.8478 | -0.89938 | -6.032
[32 empty] | Cycle 6 | 6.33 | 6.883 | 9.0257 | 5.8827 | 6.2857 | 8.3977 | -0.89968 | -6.0574
[32 empty] | Cycle 7 | 6.107 | 6.6406 | 8.7078 | 5.5873 | 5.9701 | 7.9758 | -0.90091 | -6.0357
[32 empty] | Cycle 8 |  |  |  | 5.3095 | 5.6735 | 7.5795
17 | GIRMS\IRMS-operator | 2026-03-26 04:03 | 2026-03-26 05:17 | Running | FALSE | SHP2L | 17 | 17 | 1 | 10 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 13.538 V | 9.5182 kV | 76 µbar | 64 µbar | Carbon Dioxide: 0.0182 kV | 81 µbar | 9.144 V | 15.640 V | 278 µbar/min | 2.725 V | 9.72E-008 mbar | 10 % | 841 µbar | 72 °C | µ-Volume | 12.392 V | Pre | 13.0851 | 14.2178 | 18.6523 | 9.2245 | 9.8533 | 13.1666 | -1.3343 | -6.2137 | -1.2637 | 0.052405 | 0.018528 | -6.2108 | 0.0069201 | 0.0026156 | -1.1221 | 0.056259 | -6.2146 | 0.0069945
[32 empty] | Cycle 1 | 12.5243 | 13.6093 | 17.8531 | 8.7096 | 9.3039 | 12.4315 | -1.3295 | -6.206
[32 empty] | Cycle 2 | 11.9939 | 13.0342 | 17.0975 | 8.2311 | 8.7931 | 11.7487 | -1.2755 | -6.203
[32 empty] | Cycle 3 | 11.4894 | 12.4863 | 16.3787 | 7.7846 | 8.3165 | 11.1117 | -1.2849 | -6.2101
[32 empty] | Cycle 4 | 11.012 | 11.9682 | 15.6978 | 7.3678 | 7.8714 | 10.517 | -1.2435 | -6.2402
[32 empty] | Cycle 5 | 10.5599 | 11.4777 | 15.0535 | 6.9792 | 7.4565 | 9.9624 | -1.2175 | -6.2144
[32 empty] | Cycle 6 | 10.1291 | 11.0096 | 14.4397 | 6.6151 | 7.068 | 9.4425 | -1.239 | -6.2054
[32 empty] | Cycle 7 | 9.7203 | 10.5659 | 13.8569 | 6.2748 | 6.7043 | 8.9569 | -1.1852 | -6.2232
[32 empty] | Cycle 8 |  |  |  | 5.9552 | 6.3629 | 8.5008
18 | GIRMS\IRMS-operator | 2026-03-26 04:40 | 2026-03-26 05:49 | Running | FALSE | SHP2L | 18 | 18 | 2 | 10 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 10.895 V | 9.5181 kV | 62 µbar | 67 µbar | Carbon Dioxide: 0.0181 kV | 62 µbar | 8.902 V | 12.472 V | 98 µbar/min | 8.915 V | 9.53E-008 mbar | 10 % | 758 µbar | 72 °C | µ-Volume | 10.202 V | Pre | 10.7085 | 11.6389 | 15.2663 | 8.984 | 9.597 | 12.8233 | -1.0942 | -6.1045 | -1.0607 | 0.026104 | 0.0092292 | -6.1039 | 0.013019 | 0.0049208 | -0.90875 | 0.027777 | -6.108 | 0.013031
[32 empty] | Cycle 1 | 10.2967 | 11.1921 | 14.6795 | 8.4863 | 9.0658 | 12.1129 | -1.0841 | -6.0996
[32 empty] | Cycle 2 | 9.9026 | 10.764 | 14.1171 | 8.0232 | 8.5714 | 11.452 | -1.0753 | -6.155
[32 empty] | Cycle 3 | 9.5265 | 10.3556 | 13.5817 | 7.5911 | 8.1099 | 10.8356 | -1.0771 | -6.1114
[32 empty] | Cycle 4 | 9.1733 | 9.9726 | 13.078 | 7.1882 | 7.6799 | 10.2604 | -1.0352 | -6.1289
[32 empty] | Cycle 5 | 8.8181 | 9.5866 | 12.5719 | 6.8109 | 7.2772 | 9.7221 | -1.0472 | -6.0992
[32 empty] | Cycle 6 | 8.4911 | 9.2314 | 12.1057 | 6.458 | 6.9003 | 9.2181 | -1.0534 | -6.0919
[32 empty] | Cycle 7 | 8.1754 | 8.8887 | 11.6561 | 6.1268 | 6.5467 | 8.7455 | -1.0191 | -6.0915
[32 empty] | Cycle 8 |  |  |  | 5.8167 | 6.2153 | 8.3033
19 | GIRMS\IRMS-operator | 2026-03-26 05:17 | 2026-03-26 06:21 | Running | FALSE | SHP2L | 19 | 19 | 1 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 7.304 V | 9.5181 kV | 74 µbar | 71 µbar | Carbon Dioxide: 0.0181 kV | 98 µbar | 6.897 V | 8.233 V | 303 µbar/min | 8.690 V | 8.22E-008 mbar | 17 % | 797 µbar | 72 °C | µ-Volume |  | Pre | 6.7969 | 7.3906 | 9.6899 | 6.9662 | 7.4428 | 9.9437 | -0.85021 | -6.1566 | -0.90015 | 0.025904 | 0.0091584 | -6.1456 | 0.020337 | 0.0071901 | -0.73566 | 0.02812 | -6.1502 | 0.020389
[32 empty] | Cycle 1 | 6.5514 | 7.1236 | 9.3401 | 6.6033 | 7.0554 | 9.4257 | -0.89491 | -6.1516
[32 empty] | Cycle 2 | 6.3162 | 6.8681 | 9.0045 | 6.2631 | 6.6922 | 8.9403 | -0.88118 | -6.1843
[32 empty] | Cycle 3 | 6.09 | 6.6221 | 8.6824 | 5.9442 | 6.3514 | 8.485 | -0.91463 | -6.1311
[32 empty] | Cycle 4 | 5.8718 | 6.3849 | 8.3711 | 5.6451 | 6.032 | 8.0578 | -0.92429 | -6.1566
[32 empty] | Cycle 5 | 5.6637 | 6.1588 | 8.0748 | 5.3634 | 5.7311 | 7.656 | -0.89275 | -6.1297
[32 empty] | Cycle 6 | 5.4629 | 5.9405 | 7.7886 | 5.0989 | 5.4486 | 7.2785 | -0.92639 | -6.1263
[32 empty] | Cycle 7 | 5.27 | 5.7309 | 7.5135 | 4.8493 | 5.1822 | 6.9224 | -0.91688 | -6.1286
[32 empty] | Cycle 8 |  |  |  | 4.6145 | 4.9313 | 6.5869
20 | GIRMS\IRMS-operator | 2026-03-26 05:49 | 2026-03-26 06:57 | Running | FALSE | SHP2L | 20 | 20 | 2 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 7.873 V | 9.5182 kV | 67 µbar | 71 µbar | Carbon Dioxide: 0.0182 kV | 69 µbar | 7.511 V | 8.861 V | 39 µbar/min | 6.761 V | 8.64E-008 mbar | 14 % | 760 µbar | 72 °C | µ-Volume |  | Pre | 7.3968 | 8.0425 | 10.5463 | 7.5789 | 8.0973 | 10.8182 | -0.85067 | -6.0423 | -0.88342 | 0.019853 | 0.007019 | -6.0391 | 0.014493 | 0.0051242 | -0.7217 | 0.021512 | -6.0436 | 0.014531
[32 empty] | Cycle 1 | 7.1308 | 7.7533 | 10.1671 | 7.1753 | 7.6662 | 10.2423 | -0.87516 | -6.0242
[32 empty] | Cycle 2 | 6.8783 | 7.479 | 9.8071 | 6.7992 | 7.2647 | 9.7051 | -0.8857 | -6.0377
[32 empty] | Cycle 3 | 6.6348 | 7.2143 | 9.46 | 6.4471 | 6.8886 | 9.2028 | -0.89965 | -6.0423
[32 empty] | Cycle 4 | 6.3992 | 6.9583 | 9.1241 | 6.1165 | 6.5356 | 8.7309 | -0.89545 | -6.0467
[32 empty] | Cycle 5 | 6.1763 | 6.7164 | 8.8061 | 5.807 | 6.205 | 8.2893 | -0.85945 | -6.0678
[32 empty] | Cycle 6 | 5.9617 | 6.4828 | 8.5005 | 5.5167 | 5.895 | 7.8748 | -0.90489 | -6.0251
[32 empty] | Cycle 7 | 5.7537 | 6.2568 | 8.204 | 5.2431 | 5.6027 | 7.4844 | -0.89642 | -6.0271
[32 empty] | Cycle 8 |  |  |  | 4.9856 | 5.3277 | 7.117
21 | GIRMS\IRMS-operator | 2026-03-26 06:21 | 2026-03-26 07:36 | Running | FALSE | SHP2L | 21 | 21 | 1 | 12 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 12.456 V | 9.5185 kV | 76 µbar | 67 µbar | Carbon Dioxide: 0.0185 kV | 418 µbar | 9.157 V | 14.320 V | 308 µbar/min | 2.735 V | 9.77E-008 mbar | 10 % | 838 µbar | 72 °C | µ-Volume | 10.925 V | Pre | 11.3667 | 12.354 | 16.2034 | 9.2364 | 9.8662 | 13.1832 | -1.0986 | -6.1702 | -1.0777 | 0.018152 | 0.0068606 | -6.1766 | 0.01383 | 0.0048895 | -0.92442 | 0.019431 | -6.1808 | 0.013868
[32 empty] | Cycle 1 | 10.898 | 11.8452 | 15.5356 | 8.7216 | 9.3171 | 12.4489 | -1.0916 | -6.1693
[32 empty] | Cycle 2 | 10.4529 | 11.3618 | 14.9009 | 8.2428 | 8.8057 | 11.7655 | -1.0841 | -6.199
[32 empty] | Cycle 3 | 10.0294 | 10.9019 | 14.2973 | 7.797 | 8.3297 | 11.1294 | -1.0729 | -6.1846
[32 empty] | Cycle 4 | 9.6262 | 10.4643 | 13.7228 | 7.3815 | 7.8862 | 10.5362 | -1.0579 | -6.1913
[32 empty] | Cycle 5 | 9.2426 | 10.0475 | 13.1761 | 6.9911 | 7.4694 | 9.9793 | -1.0889 | -6.1758
[32 empty] | Cycle 6 | 8.8768 | 9.6505 | 12.6548 | 6.627 | 7.0807 | 9.4591 | -1.0501 | -6.1612
[32 empty] | Cycle 7 | 8.53 | 9.2734 | 12.1608 | 6.2859 | 6.7164 | 8.9727 | -1.145 | -6.1616
[32 empty] | Cycle 8 |  |  |  | 5.9663 | 6.376 | 8.5168
22 | GIRMS\IRMS-operator | 2026-03-26 06:57 | 2026-03-26 08:08 | Running | FALSE | SHP2L | 22 | 22 | 2 | 12 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 7.673 V | 9.5183 kV | 62 µbar | 64 µbar | Carbon Dioxide: 0.0183 kV | 64 µbar | 7.241 V | 8.655 V | 59 µbar/min | 8.934 V | 8.34E-008 mbar | 16 % | 726 µbar | 72 °C | µ-Volume |  | Pre | 7.1732 | 7.7994 | 10.2273 | 7.3091 | 7.8089 | 10.4325 | -0.83557 | -6.0081 | -0.83933 | 0.022458 | 0.0079402 | -6.028 | 0.022012 | 0.0077825 | -0.67494 | 0.023924 | -6.0325 | 0.022028
[32 empty] | Cycle 1 | 6.9205 | 7.5249 | 9.867 | 6.9243 | 7.3979 | 9.8834 | -0.81973 | -6.027
[32 empty] | Cycle 2 | 6.6765 | 7.2599 | 9.5195 | 6.5641 | 7.013 | 9.3695 | -0.80867 | -6.0033
[32 empty] | Cycle 3 | 6.4416 | 7.0044 | 9.1844 | 6.2265 | 6.6528 | 8.8876 | -0.85434 | -6.0274
[32 empty] | Cycle 4 | 6.2157 | 6.7592 | 8.8622 | 5.9104 | 6.3151 | 8.4366 | -0.81767 | -6.0677
[32 empty] | Cycle 5 | 5.9999 | 6.5243 | 8.5546 | 5.6131 | 5.9977 | 8.0124 | -0.87266 | -6.0469
[32 empty] | Cycle 6 | 5.7931 | 6.2997 | 8.2602 | 5.3337 | 5.6992 | 7.6134 | -0.85044 | -6.0081
[32 empty] | Cycle 7 | 5.5947 | 6.084 | 7.9771 | 5.0713 | 5.419 | 7.2392 | -0.85557 | -6.0353
[32 empty] | Cycle 8 |  |  |  | 4.8237 | 5.1543 | 6.8854
23 | GIRMS\IRMS-operator | 2026-03-26 07:36 | 2026-03-26 08:38 | Running | FALSE | SHP2L | 23 | 23 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 10.938 V | 9.5185 kV | 74 µbar | 71 µbar | Carbon Dioxide: 0.0185 kV | 719 µbar | 8.707 V | 12.486 V | 225 µbar/min | 7.105 V | 9.48E-008 mbar | 10 % | 838 µbar | 72 °C | µ-Volume | 10.154 V | Pre | 10.6695 | 11.5964 | 15.2104 | 8.791 | 9.3907 | 12.5479 | -1.111 | -6.1293 | -1.0577 | 0.036963 | 0.013068 | -6.1324 | 0.0092434 | 0.003268 | -0.90474 | 0.039562 | -6.1366 | 0.009256
[32 empty] | Cycle 1 | 10.2399 | 11.1299 | 14.5978 | 8.3068 | 8.8742 | 11.8567 | -1.1111 | -6.1309
[32 empty] | Cycle 2 | 9.8364 | 10.6922 | 14.0228 | 7.856 | 8.3926 | 11.2132 | -1.0671 | -6.1275
[32 empty] | Cycle 3 | 9.4473 | 10.2699 | 13.4681 | 7.4351 | 7.9434 | 10.6126 | -1.0413 | -6.1395
[32 empty] | Cycle 4 | 9.08 | 9.8708 | 12.9447 | 7.0423 | 7.524 | 10.0521 | -1.0603 | -6.1459
[32 empty] | Cycle 5 | 8.7258 | 9.4862 | 12.44 | 6.6739 | 7.1306 | 9.5265 | -1.0289 | -6.1213
[32 empty] | Cycle 6 | 8.3882 | 9.1194 | 11.9587 | 6.3293 | 6.7625 | 9.0343 | -1.0219 | -6.1223
[32 empty] | Cycle 7 | 8.0692 | 8.773 | 11.5041 | 6.0063 | 6.4176 | 8.5736 | -1.0203 | -6.1426
[32 empty] | Cycle 8 |  |  |  | 5.7035 | 6.0944 | 8.1416
24 | GIRMS\IRMS-operator | 2026-03-26 08:08 | 2026-03-26 09:14 | Running | FALSE | SHP2L | 24 | 24 | 2 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 12.589 V | 9.5185 kV | 67 µbar | 71 µbar | Carbon Dioxide: 0.0185 kV | 64 µbar | 8.477 V | 14.416 V | 83 µbar/min | 8.489 V | 9.25E-008 mbar | 10 % | 797 µbar | 72 °C | µ-Volume | 11.701 V | Pre | 12.2989 | 13.3652 | 17.5335 | 8.5603 | 9.1446 | 12.2187 | -1.287 | -6.1073 | -1.2179 | 0.054268 | 0.019186 | -6.1056 | 0.014183 | 0.0050145 | -1.0771 | 0.058147 | -6.1094 | 0.014217
[32 empty] | Cycle 1 | 11.801 | 12.8249 | 16.824 | 8.0918 | 8.6444 | 11.5495 | -1.2719 | -6.0948
[32 empty] | Cycle 2 | 11.3288 | 12.3126 | 16.1508 | 7.6552 | 8.1786 | 10.927 | -1.2493 | -6.1211
[32 empty] | Cycle 3 | 10.8799 | 11.8251 | 15.5115 | 7.2483 | 7.744 | 10.3461 | -1.2288 | -6.0919
[32 empty] | Cycle 4 | 10.4496 | 11.3581 | 14.8978 | 6.8672 | 7.337 | 9.8024 | -1.1995 | -6.1287
[32 empty] | Cycle 5 | 10.0426 | 10.9162 | 14.3181 | 6.5105 | 6.9561 | 9.2933 | -1.2075 | -6.0906
[32 empty] | Cycle 6 | 9.6511 | 10.4911 | 13.7598 | 6.1763 | 6.5993 | 8.8162 | -1.1815 | -6.0981
[32 empty] | Cycle 7 | 9.2827 | 10.0914 | 13.2346 | 5.8631 | 6.2648 | 8.3693 | -1.1176 | -6.1122
[32 empty] | Cycle 8 |  |  |  | 5.5691 | 5.9506 | 7.9497
25 | GIRMS\IRMS-operator | 2026-03-26 08:38 | 2026-03-26 09:54 | Running | FALSE | SHP2L | 25 | 25 | 1 | 14 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 10.126 V | 9.5186 kV | 74 µbar | 69 µbar | Carbon Dioxide: 0.0186 kV | 911 µbar | 9.071 V | 11.561 V | 381 µbar/min | 2.719 V | 9.72E-008 mbar | 10 % | 802 µbar | 72 °C | µ-Volume |  | Pre | 8.8639 | 9.6368 | 12.6364 | 9.1368 | 9.7604 | 13.0417 | -0.82977 | -6.1512 | -0.87134 | 0.024037 | 0.0084983 | -6.1753 | 0.018585 | 0.0065708 | -0.70373 | 0.025241 | -6.18 | 0.018567
[32 empty] | Cycle 1 | 8.5185 | 9.2617 | 12.1438 | 8.6283 | 9.2177 | 12.3159 | -0.84375 | -6.1685
[32 empty] | Cycle 2 | 8.1893 | 8.9039 | 11.6747 | 8.1551 | 8.7127 | 11.6406 | -0.87623 | -6.1637
[32 empty] | Cycle 3 | 7.875 | 8.5625 | 11.2268 | 7.715 | 8.2427 | 11.0126 | -0.86965 | -6.1707
[32 empty] | Cycle 4 | 7.5749 | 8.2365 | 10.7991 | 7.3036 | 7.8034 | 10.4253 | -0.87561 | -6.1652
[32 empty] | Cycle 5 | 7.2884 | 7.9252 | 10.3905 | 6.9192 | 7.3931 | 9.8768 | -0.88535 | -6.1822
[32 empty] | Cycle 6 | 7.0135 | 7.6264 | 9.9986 | 6.5591 | 7.0086 | 9.3628 | -0.9046 | -6.1901
[32 empty] | Cycle 7 | 6.7517 | 7.342 | 9.6253 | 6.2216 | 6.6481 | 8.8811 | -0.88575 | -6.2109
[32 empty] | Cycle 8 |  |  |  | 5.9054 | 6.3104 | 8.4298
26 | GIRMS\IRMS-operator | 2026-03-26 09:14 | 2026-03-26 10:23 | Running | FALSE | SHP2L | 26 | 26 | 2 | 14 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 8.813 V | 9.5186 kV | 57 µbar | 62 µbar | Carbon Dioxide: 0.0186 kV | 57 µbar | 8.845 V | 9.982 V | 73 µbar/min | 8.845 V | 9.48E-008 mbar | 10 % | 726 µbar | 72 °C | µ-Volume |  | Pre | 9.0881 | 9.8798 | 12.9574 | 8.927 | 9.5361 | 12.7424 | -0.89295 | -6.0468 | -0.911 | 0.022468 | 0.0079436 | -6.037 | 0.023693 | 0.0083767 | -0.75129 | 0.024014 | -6.0414 | 0.023716
[32 empty] | Cycle 1 | 8.7526 | 9.5154 | 12.4794 | 8.4329 | 9.0089 | 12.037 | -0.9145 | -6.0052
[32 empty] | Cycle 2 | 8.4317 | 9.1671 | 12.022 | 7.9732 | 8.5181 | 11.3807 | -0.89136 | -6.008
[32 empty] | Cycle 3 | 8.1249 | 8.8338 | 11.5847 | 7.5447 | 8.0607 | 10.7695 | -0.91213 | -6.0303
[32 empty] | Cycle 4 | 7.8267 | 8.5098 | 11.1594 | 7.1428 | 7.6317 | 10.1959 | -0.94968 | -6.0641
[32 empty] | Cycle 5 | 7.5453 | 8.204 | 10.7586 | 6.7686 | 7.2325 | 9.6623 | -0.93721 | -6.0233
[32 empty] | Cycle 6 | 7.2716 | 7.9065 | 10.3682 | 6.4172 | 6.8565 | 9.1603 | -0.90278 | -6.0541
[32 empty] | Cycle 7 | 7.0107 | 7.6232 | 9.9962 | 6.0882 | 6.5052 | 8.6911 | -0.88739 | -6.064
[32 empty] | Cycle 8 |  |  |  | 5.7801 | 6.1762 | 8.2512
27 | GIRMS\IRMS-operator | 2026-03-26 09:54 | 2026-03-26 10:56 | Running | FALSE | SHP2L | 27 | 27 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 8.951 V | 9.5186 kV | 69 µbar | 79 µbar | Carbon Dioxide: 0.0186 kV | 1,002 µbar | 8.620 V | 10.156 V | 469 µbar/min | 8.632 V | 9.53E-008 mbar | 10 % | 802 µbar | 72 °C | µ-Volume |  | Pre | 8.4793 | 9.2186 | 12.0888 | 8.6948 | 9.2882 | 12.4114 | -0.84154 | -6.124 | -0.89399 | 0.010905 | 0.0041218 | -6.1378 | 0.025407 | 0.0089827 | -0.72928 | 0.012132 | -6.1424 | 0.025435
[32 empty] | Cycle 1 | 8.1599 | 8.8714 | 11.6332 | 8.2167 | 8.778 | 11.7286 | -0.8759 | -6.1502
[32 empty] | Cycle 2 | 7.853 | 8.5378 | 11.1959 | 7.7718 | 8.3029 | 11.094 | -0.90276 | -6.142
[32 empty] | Cycle 3 | 7.5589 | 8.2184 | 10.7769 | 7.3564 | 7.8596 | 10.501 | -0.901 | -6.112
[32 empty] | Cycle 4 | 7.2769 | 7.9121 | 10.3749 | 6.9678 | 7.4447 | 9.9462 | -0.89551 | -6.1046
[32 empty] | Cycle 5 | 7.0065 | 7.6182 | 9.9892 | 6.605 | 7.0571 | 9.4284 | -0.8926 | -6.1351
[32 empty] | Cycle 6 | 6.7482 | 7.3376 | 9.6212 | 6.2647 | 6.6936 | 8.9428 | -0.90634 | -6.149
[32 empty] | Cycle 7 | 6.5014 | 7.0696 | 9.2692 | 5.9459 | 6.3533 | 8.488 | -0.88383 | -6.1853
[32 empty] | Cycle 8 |  |  |  | 5.6465 | 6.0336 | 8.0607
28 | GIRMS\IRMS-operator | 2026-03-26 10:23 | 2026-03-26 11:32 | Running | FALSE | SHP2L | 28 | 28 | 2 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 6.729 V | 9.5186 kV | 62 µbar | 64 µbar | Carbon Dioxide: 0.0186 kV | 59 µbar | 6.350 V | 7.542 V | 269 µbar/min | 8.402 V | 8.10E-008 mbar | 19 % | 716 µbar | 72 °C | µ-Volume |  | Pre | 6.2783 | 6.827 | 8.9515 | 6.4183 | 6.8577 | 9.1623 | -0.83805 | -6.1101 | -0.85699 | 0.014586 | 0.005157 | -6.1162 | 0.012923 | 0.004569 | -0.69056 | 0.01572 | -6.1208 | 0.012944
[32 empty] | Cycle 1 | 6.0591 | 6.5886 | 8.639 | 6.0892 | 6.5064 | 8.6924 | -0.86724 | -6.1196
[32 empty] | Cycle 2 | 5.85 | 6.3614 | 8.3411 | 5.7804 | 6.1765 | 8.2519 | -0.85784 | -6.0983
[32 empty] | Cycle 3 | 5.6502 | 6.1444 | 8.056 | 5.4907 | 5.867 | 7.8381 | -0.83095 | -6.1355
[32 empty] | Cycle 4 | 5.4546 | 5.9317 | 7.7776 | 5.2183 | 5.5761 | 7.4496 | -0.86863 | -6.1077
[32 empty] | Cycle 5 | 5.2686 | 5.7296 | 7.5124 | 4.9619 | 5.3023 | 7.0835 | -0.8661 | -6.1304
[32 empty] | Cycle 6 | 5.0894 | 5.5347 | 7.2568 | 4.7205 | 5.0444 | 6.7392 | -0.86815 | -6.1224
[32 empty] | Cycle 7 | 4.9164 | 5.3468 | 7.0102 | 4.4929 | 4.8013 | 6.4141 | -0.85896 | -6.1055
[32 empty] | Cycle 8 |  |  |  | 4.278 | 4.5718 | 6.1074
29 | GIRMS\IRMS-operator | 2026-03-26 10:56 | 2026-03-26 12:10 | Running | FALSE | SHP2L | 29 | 29 | 1 | 16 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 13.648 V | 9.5186 kV | 69 µbar | 59 µbar | Carbon Dioxide: 0.0186 kV | 533 µbar | 9.072 V | 15.761 V | 176 µbar/min | 2.727 V | 9.86E-008 mbar | 10 % | 816 µbar | 72 °C | µ-Volume | 12.471 V | Pre | 13.1747 | 14.3165 | 18.7823 | 9.149 | 9.7733 | 13.06 | -1.29 | -6.1865 | -1.2121 | 0.05913 | 0.020906 | -6.1861 | 0.014753 | 0.0052158 | -1.068 | 0.06354 | -6.19 | 0.014834
[32 empty] | Cycle 1 | 12.6096 | 13.7036 | 17.977 | 8.6383 | 9.2281 | 12.331 | -1.263 | -6.1797
[32 empty] | Cycle 2 | 12.0731 | 13.121 | 17.2125 | 8.1636 | 8.7216 | 11.6535 | -1.2722 | -6.1739
[32 empty] | Cycle 3 | 11.5653 | 12.5703 | 16.4887 | 7.7211 | 8.249 | 11.022 | -1.2004 | -6.1634
[32 empty] | Cycle 4 | 11.0847 | 12.0481 | 15.8037 | 7.3084 | 7.8083 | 10.4328 | -1.218 | -6.1844
[32 empty] | Cycle 5 | 10.6266 | 11.551 | 15.1504 | 6.9234 | 7.3972 | 9.8839 | -1.1744 | -6.212
[32 empty] | Cycle 6 | 10.1925 | 11.0797 | 14.5314 | 6.5629 | 7.0122 | 9.3689 | -1.1458 | -6.1948
[32 empty] | Cycle 7 | 9.78 | 10.6319 | 13.9436 | 6.2245 | 6.6507 | 8.8857 | -1.1333 | -6.1945
[32 empty] | Cycle 8 |  |  |  | 5.9075 | 6.3125 | 8.4336
30 | GIRMS\IRMS-operator | 2026-03-26 11:32 | 2026-03-26 12:43 | Running | FALSE | SHP2L | 30 | 30 | 2 | 16 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 7.552 V | 9.5185 kV | 54 µbar | 57 µbar | Carbon Dioxide: 0.0185 kV | 59 µbar | 7.170 V | 8.550 V | 34 µbar/min | 8.845 V | 8.72E-008 mbar | 16 % | 699 µbar | 72 °C | µ-Volume |  | Pre | 7.0882 | 7.7077 | 10.1082 | 7.2373 | 7.7323 | 10.3314 | -0.80948 | -5.9252 | -0.83473 | 0.015613 | 0.00552 | -5.9438 | 0.016378 | 0.0057904 | -0.67314 | 0.016884 | -5.9483 | 0.016405
[32 empty] | Cycle 1 | 6.8373 | 7.435 | 9.7502 | 6.8563 | 7.326 | 9.7875 | -0.83238 | -5.9582
[32 empty] | Cycle 2 | 6.5952 | 7.172 | 9.4051 | 6.4998 | 6.945 | 9.2788 | -0.83549 | -5.9582
[32 empty] | Cycle 3 | 6.3588 | 6.9151 | 9.068 | 6.1653 | 6.588 | 8.8013 | -0.81953 | -5.966
[32 empty] | Cycle 4 | 6.1373 | 6.674 | 8.7524 | 5.8518 | 6.2528 | 8.3538 | -0.84586 | -5.9279
[32 empty] | Cycle 5 | 5.9233 | 6.4413 | 8.447 | 5.558 | 5.9391 | 7.9343 | -0.85457 | -5.9252
[32 empty] | Cycle 6 | 5.7183 | 6.2185 | 8.1548 | 5.2814 | 5.6435 | 7.5394 | -0.85151 | -5.9417
[32 empty] | Cycle 7 | 5.5216 | 6.0048 | 7.8744 | 5.0215 | 5.3659 | 7.1686 | -0.82902 | -5.9477
[32 empty] | Cycle 8 |  |  |  | 4.7765 | 5.1041 | 6.8189
31 | GIRMS\IRMS-operator | 2026-03-26 12:10 | 2026-03-26 13:14 | Running | FALSE | SHP2L | 31 | 31 | 1 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 8.269 V | 9.5185 kV | 67 µbar | 69 µbar | Carbon Dioxide: 0.0185 kV | 826 µbar | 7.855 V | 9.353 V | 283 µbar/min | 7.034 V | 9.07E-008 mbar | 13 % | 794 µbar | 72 °C | µ-Volume |  | Pre | 7.7432 | 8.4196 | 11.0401 | 7.9202 | 8.4616 | 11.3062 | -0.79638 | -6.159 | -0.82106 | 0.021621 | 0.0076442 | -6.1641 | 0.021167 | 0.0074838 | -0.65034 | 0.022929 | -6.1689 | 0.021176
[32 empty] | Cycle 1 | 7.4554 | 8.107 | 10.6299 | 7.4943 | 8.0071 | 10.699 | -0.81296 | -6.1683
[32 empty] | Cycle 2 | 7.1775 | 7.805 | 10.2336 | 7.0965 | 7.5825 | 10.1309 | -0.80019 | -6.1667
[32 empty] | Cycle 3 | 6.9145 | 7.5193 | 9.8591 | 6.7247 | 7.1852 | 9.6003 | -0.813 | -6.1434
[32 empty] | Cycle 4 | 6.6606 | 7.2434 | 9.4967 | 6.3764 | 6.8138 | 9.1034 | -0.83836 | -6.2019
[32 empty] | Cycle 5 | 6.4169 | 6.9786 | 9.1494 | 6.0495 | 6.4644 | 8.6366 | -0.80833 | -6.1491
[32 empty] | Cycle 6 | 6.1855 | 6.7268 | 8.8197 | 5.7433 | 6.1372 | 8.1989 | -0.85077 | -6.1399
[32 empty] | Cycle 7 | 5.9627 | 6.4847 | 8.502 | 5.4562 | 5.8306 | 7.7896 | -0.8485 | -6.1846
[32 empty] | Cycle 8 |  |  |  | 5.1854 | 5.5413 | 7.4032
32 | GIRMS\IRMS-operator | 2026-03-26 12:43 | 2026-03-26 13:49 | Running | FALSE | SHP2L | 32 | 32 | 2 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.934 V | 9.5183 kV | 62 µbar | 64 µbar | Carbon Dioxide: 0.0183 kV | 62 µbar | 8.409 V | 13.637 V | 93 µbar/min | 7.676 V | 9.53E-008 mbar | 10 % | 777 µbar | 72 °C | µ-Volume | 11.094 V | Pre | 11.6543 | 12.6658 | 16.6166 | 8.4881 | 9.0673 | 12.1167 | -1.1667 | -6.0911 | -1.1639 | 0.016825 | 0.0063593 | -6.1071 | 0.011131 | 0.0039354 | -1.0193 | 0.01788 | -6.111 | 0.011145
[32 empty] | Cycle 1 | 11.1865 | 12.1577 | 15.9495 | 8.0229 | 8.5706 | 11.4527 | -1.1841 | -6.1195
[32 empty] | Cycle 2 | 10.7411 | 11.6742 | 15.3151 | 7.5885 | 8.1069 | 10.833 | -1.1816 | -6.0995
[32 empty] | Cycle 3 | 10.3182 | 11.2152 | 14.712 | 7.1846 | 7.6757 | 10.2564 | -1.1583 | -6.1172
[32 empty] | Cycle 4 | 9.9183 | 10.7811 | 14.1419 | 6.8059 | 7.2713 | 9.716 | -1.16 | -6.1176
[32 empty] | Cycle 5 | 9.5335 | 10.3632 | 13.5933 | 6.4521 | 6.8939 | 9.2108 | -1.1632 | -6.1045
[32 empty] | Cycle 6 | 9.1664 | 9.9646 | 13.0703 | 6.1205 | 6.5397 | 8.7374 | -1.1335 | -6.0948
[32 empty] | Cycle 7 | 8.8175 | 9.586 | 12.5731 | 5.8099 | 6.2079 | 8.2945 | -1.0827 | -6.1124
[32 empty] | Cycle 8 |  |  |  | 5.5185 | 5.8967 | 7.8785
33 | GIRMS\IRMS-operator | 2026-03-26 13:14 | 2026-03-26 14:28 | Running | FALSE | SHP2L | 33 | 33 | 1 | 18 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 13.785 V | 9.5184 kV | 67 µbar | 59 µbar | Carbon Dioxide: 0.0184 kV | 545 µbar | 9.027 V | 15.942 V | 181 µbar/min | 2.723 V | 9.91E-008 mbar | 10 % | 816 µbar | 72 °C | µ-Volume | 12.590 V | Pre | 13.3089 | 14.4611 | 18.9744 | 9.1024 | 9.7233 | 12.9941 | -1.3616 | -6.2144 | -1.2735 | 0.047637 | 0.016842 | -6.203 | 0.012758 | 0.0045107 | -1.133 | 0.050814 | -6.2068 | 0.012736
[32 empty] | Cycle 1 | 12.7369 | 13.8408 | 18.159 | 8.5941 | 9.1806 | 12.2687 | -1.3058 | -6.2153
[32 empty] | Cycle 2 | 12.1925 | 13.2499 | 17.3829 | 8.1227 | 8.6775 | 11.5957 | -1.2933 | -6.2099
[32 empty] | Cycle 3 | 11.6762 | 12.6897 | 16.647 | 7.6823 | 8.2073 | 10.9671 | -1.2704 | -6.1872
[32 empty] | Cycle 4 | 11.1875 | 12.1592 | 15.9505 | 7.2727 | 7.7699 | 10.382 | -1.2691 | -6.1866
[32 empty] | Cycle 5 | 10.724 | 11.6561 | 15.2901 | 6.8885 | 7.3601 | 9.8343 | -1.2489 | -6.1933
[32 empty] | Cycle 6 | 10.285 | 11.1796 | 14.6642 | 6.5301 | 6.9771 | 9.3225 | -1.2086 | -6.2008
[32 empty] | Cycle 7 | 9.8673 | 10.7259 | 14.0686 | 6.1949 | 6.6192 | 8.8442 | -1.2305 | -6.2169
[32 empty] | Cycle 8 |  |  |  | 5.8797 | 6.2827 | 8.3942
34 | GIRMS\IRMS-operator | 2026-03-26 13:49 | 2026-03-26 15:00 | Running | FALSE | SHP2L | 34 | 34 | 2 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 10.902 V | 9.5184 kV | 52 µbar | 64 µbar | Carbon Dioxide: 0.0184 kV | 54 µbar | 8.788 V | 12.446 V | 68 µbar/min | 8.800 V | 9.72E-008 mbar | 10 % | 731 µbar | 72 °C | µ-Volume | 10.195 V | Pre | 10.6944 | 11.6249 | 15.2511 | 8.8656 | 9.4706 | 12.6563 | -1.0011 | -5.9518 | -1.0074 | 0.024973 | 0.0088295 | -5.923 | 0.015346 | 0.0054258 | -0.85863 | 0.026647 | -5.9271 | 0.015355
[32 empty] | Cycle 1 | 10.2837 | 11.1789 | 14.6658 | 8.3755 | 8.9476 | 11.9567 | -1.0194 | -5.9241
[32 empty] | Cycle 2 | 9.89 | 10.7513 | 14.1046 | 7.9191 | 8.4605 | 11.3052 | -1.0078 | -5.9019
[32 empty] | Cycle 3 | 9.515 | 10.3439 | 13.5697 | 7.4928 | 8.0049 | 10.6965 | -1.0005 | -5.9182
[32 empty] | Cycle 4 | 9.1501 | 9.9476 | 13.0495 | 7.0957 | 7.5813 | 10.1301 | -1.0544 | -5.935
[32 empty] | Cycle 5 | 8.8033 | 9.5712 | 12.5554 | 6.7239 | 7.1846 | 9.5993 | -1.0186 | -5.9133
[32 empty] | Cycle 6 | 8.477 | 9.2168 | 12.0901 | 6.3759 | 6.8128 | 9.1027 | -0.98674 | -5.913
[32 empty] | Cycle 7 | 8.1633 | 8.8759 | 11.6427 | 6.0501 | 6.4647 | 8.6375 | -0.97033 | -5.9267
[32 empty] | Cycle 8 |  |  |  | 5.7433 | 6.1369 | 8.1998
35 | GIRMS\IRMS-operator | 2026-03-26 14:28 | 2026-03-26 15:32 | Running | FALSE | SHP2L | 35 | 35 | 1 | 19 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 7.744 V | 9.5182 kV | 71 µbar | 67 µbar | Carbon Dioxide: 0.0182 kV | 601 µbar | 7.289 V | 8.743 V | 332 µbar/min | 8.583 V | 8.81E-008 mbar | 15 % | 777 µbar | 72 °C | µ-Volume |  | Pre | 7.1955 | 7.8237 | 10.2593 | 7.3576 | 7.8607 | 10.5038 | -0.84737 | -6.1667 | -0.86646 | 0.01985 | 0.007018 | -6.1557 | 0.01744 | 0.006166 | -0.69923 | 0.021337 | -6.1604 | 0.017465
[32 empty] | Cycle 1 | 6.9311 | 7.5364 | 9.8828 | 6.9685 | 7.4454 | 9.9483 | -0.87561 | -6.1297
[32 empty] | Cycle 2 | 6.6789 | 7.2624 | 9.5233 | 6.604 | 7.0563 | 9.4281 | -0.85899 | -6.1342
[32 empty] | Cycle 3 | 6.4366 | 6.9992 | 9.1776 | 6.2637 | 6.6926 | 8.9426 | -0.83936 | -6.1782
[32 empty] | Cycle 4 | 6.2038 | 6.7461 | 8.8458 | 5.9439 | 6.3512 | 8.4859 | -0.85721 | -6.1498
[32 empty] | Cycle 5 | 5.9788 | 6.5016 | 8.525 | 5.6439 | 6.0307 | 8.0576 | -0.87975 | -6.1515
[32 empty] | Cycle 6 | 5.7659 | 6.2701 | 8.2214 | 5.3621 | 5.73 | 7.6552 | -0.9015 | -6.1705
[32 empty] | Cycle 7 | 5.5603 | 6.0467 | 7.9284 | 5.0974 | 5.4471 | 7.2776 | -0.87189 | -6.1655
[32 empty] | Cycle 8 |  |  |  | 4.8481 | 5.1807 | 6.9215
36 | GIRMS\IRMS-operator | 2026-03-26 15:00 | 2026-03-26 16:08 | Running | FALSE | SHP2L | 36 | 36 | 2 | 19 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 8.111 V | 9.5182 kV | 59 µbar | 67 µbar | Carbon Dioxide: 0.0182 kV | 64 µbar | 7.742 V | 9.156 V | 83 µbar/min | 7.137 V | 9.12E-008 mbar | 12 % | 741 µbar | 72 °C | µ-Volume |  | Pre | 7.6216 | 8.2871 | 10.8679 | 7.807 | 8.3407 | 11.1456 | -0.81204 | -6.0876 | -0.86767 | 0.014974 | 0.0056596 | -6.088 | 0.018158 | 0.0064197 | -0.70303 | 0.015663 | -6.0925 | 0.018161
[32 empty] | Cycle 1 | 7.3462 | 7.9877 | 10.4749 | 7.3881 | 7.8935 | 10.5474 | -0.8615 | -6.1076
[32 empty] | Cycle 2 | 7.0831 | 7.7018 | 10.0999 | 6.9975 | 7.4765 | 9.9897 | -0.86623 | -6.1035
[32 empty] | Cycle 3 | 6.8314 | 7.4284 | 9.7415 | 6.6313 | 7.0853 | 9.4671 | -0.84326 | -6.063
[32 empty] | Cycle 4 | 6.5883 | 7.164 | 9.3947 | 6.2888 | 6.7196 | 8.9781 | -0.87574 | -6.0784
[32 empty] | Cycle 5 | 6.3547 | 6.9102 | 9.062 | 5.9679 | 6.3768 | 8.5202 | -0.86707 | -6.0642
[32 empty] | Cycle 6 | 6.1319 | 6.668 | 8.7438 | 5.6666 | 6.055 | 8.0902 | -0.89303 | -6.1076
[32 empty] | Cycle 7 | 5.9166 | 6.4342 | 8.437 | 5.3834 | 5.7527 | 7.6857 | -0.86682 | -6.0916
[32 empty] | Cycle 8 |  |  |  | 5.1172 | 5.4684 | 7.306
37 | GIRMS\IRMS-operator | 2026-03-26 15:32 | 2026-03-26 16:47 | Running | FALSE | SHP2L | 37 | 37 | 1 | 20 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 15.109 V | 9.5183 kV | 69 µbar | 67 µbar | Carbon Dioxide: 0.0183 kV | 858 µbar | 8.977 V | 17.565 V | 332 µbar/min | 2.717 V | 9.82E-008 mbar | 10 % | 819 µbar | 72 °C | µ-Volume | 13.782 V | Pre | 14.5974 | 15.8595 | 20.8116 | 9.0532 | 9.6711 | 12.9243 | -1.4998 | -6.2306 | -1.4194 | 0.06762 | 0.023907 | -6.2038 | 0.022739 | 0.0080393 | -1.2891 | 0.071769 | -6.2072 | 0.022657
[32 empty] | Cycle 1 | 13.9528 | 15.16 | 19.8932 | 8.5487 | 9.1325 | 12.2042 | -1.478 | -6.2034
[32 empty] | Cycle 2 | 13.3439 | 14.4995 | 19.0256 | 8.081 | 8.6331 | 11.5365 | -1.455 | -6.1879
[32 empty] | Cycle 3 | 12.7671 | 13.8737 | 18.2025 | 7.6448 | 8.1676 | 10.914 | -1.4419 | -6.2387
[32 empty] | Cycle 4 | 12.2207 | 13.2803 | 17.424 | 7.2371 | 7.7324 | 10.3319 | -1.4431 | -6.2131
[32 empty] | Cycle 5 | 11.705 | 12.721 | 16.6891 | 6.8558 | 7.3252 | 9.7878 | -1.3756 | -6.1998
[32 empty] | Cycle 6 | 11.2151 | 12.1889 | 15.9905 | 6.4994 | 6.9445 | 9.2789 | -1.3635 | -6.1821
[32 empty] | Cycle 7 | 10.7493 | 11.6838 | 15.3266 | 6.1662 | 6.5886 | 8.8029 | -1.298 | -6.1746
[32 empty] | Cycle 8 |  |  |  | 5.8518 | 6.2529 | 8.3544
38 | GIRMS\IRMS-operator | 2026-03-26 16:08 | 2026-03-26 17:19 | Running | FALSE | SHP2L | 38 | 38 | 2 | 20 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.386 V | 9.5183 kV | 54 µbar | 62 µbar | Carbon Dioxide: 0.0183 kV | 59 µbar | 8.744 V | 15.384 V | 73 µbar/min | 8.756 V | 9.67E-008 mbar | 10 % | 760 µbar | 72 °C | µ-Volume | 12.454 V | Pre | 13.1086 | 14.2467 | 18.6923 | 8.8217 | 9.425 | 12.5939 | -1.2318 | -6.0639 | -1.2272 | 0.032792 | 0.011594 | -6.0527 | 0.020658 | 0.0073037 | -1.0891 | 0.034664 | -6.0565 | 0.020639
[32 empty] | Cycle 1 | 12.5772 | 13.6684 | 17.9346 | 8.3348 | 8.904 | 11.8991 | -1.2754 | -6.0895
[32 empty] | Cycle 2 | 12.0703 | 13.1184 | 17.2125 | 7.8797 | 8.4185 | 11.2498 | -1.2647 | -6.0595
[32 empty] | Cycle 3 | 11.591 | 12.5982 | 16.5291 | 7.4579 | 7.968 | 10.6474 | -1.2302 | -6.0485
[32 empty] | Cycle 4 | 11.1323 | 12.0999 | 15.8753 | 7.0627 | 7.5459 | 10.0832 | -1.2334 | -6.0209
[32 empty] | Cycle 5 | 10.6947 | 11.6253 | 15.2513 | 6.6933 | 7.1515 | 9.5557 | -1.1793 | -6.0341
[32 empty] | Cycle 6 | 10.2808 | 11.1757 | 14.6613 | 6.3478 | 6.7826 | 9.0629 | -1.1942 | -6.0593
[32 empty] | Cycle 7 | 9.8854 | 10.7462 | 14.0977 | 6.0236 | 6.4365 | 8.6003 | -1.2088 | -6.0462
[32 empty] | Cycle 8 |  |  |  | 5.7192 | 6.1113 | 8.1654
39 | GIRMS\IRMS-operator | 2026-03-26 16:47 | 2026-03-26 17:50 | Running | FALSE | SHP2L | 39 | 39 | 1 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 15.965 V | 9.5181 kV | 71 µbar | 71 µbar | Carbon Dioxide: 0.0181 kV | 841 µbar | 8.526 V | 18.573 V | 532 µbar/min | 8.539 V | 9.58E-008 mbar | 10 % | 865 µbar | 72 °C | µ-Volume | 14.684 V | Pre | 15.5603 | 16.9042 | 22.1831 | 8.6055 | 9.1927 | 12.285 | -1.6589 | -6.2691 | -1.6064 | 0.078389 | 0.027715 | -6.2686 | 0.0073228 | 0.0027677 | -1.487 | 0.083623 | -6.2716 | 0.0073515
[32 empty] | Cycle 1 | 14.8705 | 16.1546 | 21.2001 | 8.1339 | 8.6907 | 11.6116 | -1.7344 | -6.2593
[32 empty] | Cycle 2 | 14.2171 | 15.446 | 20.2691 | 7.694 | 8.2201 | 10.9841 | -1.6488 | -6.2719
[32 empty] | Cycle 3 | 13.6047 | 14.7815 | 19.3959 | 7.2828 | 7.7813 | 10.3974 | -1.6368 | -6.2784
[32 empty] | Cycle 4 | 13.0217 | 14.1492 | 18.5654 | 6.8992 | 7.3716 | 9.8496 | -1.5883 | -6.263
[32 empty] | Cycle 5 | 12.4716 | 13.5523 | 17.7813 | 6.5402 | 6.9883 | 9.3374 | -1.5653 | -6.276
[32 empty] | Cycle 6 | 11.9471 | 12.9833 | 17.0338 | 6.2041 | 6.6294 | 8.8578 | -1.5207 | -6.2622
[32 empty] | Cycle 7 | 11.45 | 12.4437 | 16.3254 | 5.8884 | 6.2922 | 8.4069 | -1.4979 | -6.2301
[32 empty] | Cycle 8 |  |  |  | 5.5917 | 5.9753 | 7.9832
40 | GIRMS\IRMS-operator | 2026-03-26 17:19 | 2026-03-26 18:26 | Running | FALSE | SHP2L | 40 | 40 | 2 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.176 V | 9.5180 kV | 62 µbar | 71 µbar | Carbon Dioxide: 0.0180 kV | 62 µbar | 8.306 V | 15.136 V | 88 µbar/min | 8.318 V | 9.39E-008 mbar | 10 % | 799 µbar | 72 °C | µ-Volume | 12.257 V | Pre | 12.8907 | 14.0074 | 18.3787 | 8.3866 | 8.9591 | 11.9726 | -1.3603 | -6.2126 | -1.307 | 0.045902 | 0.016229 | -6.2089 | 0.018471 | 0.0065305 | -1.1687 | 0.048714 | -6.2126 | 0.01843
[32 empty] | Cycle 1 | 12.3646 | 13.4367 | 17.6289 | 7.9287 | 8.4704 | 11.3193 | -1.3391 | -6.2024
[32 empty] | Cycle 2 | 11.868 | 12.8973 | 16.9206 | 7.5024 | 8.0154 | 10.7105 | -1.3607 | -6.2207
[32 empty] | Cycle 3 | 11.3926 | 12.3816 | 16.243 | 7.1033 | 7.5892 | 10.1408 | -1.3256 | -6.2366
[32 empty] | Cycle 4 | 10.9412 | 11.8919 | 15.6002 | 6.7318 | 7.1926 | 9.6109 | -1.2866 | -6.2128
[32 empty] | Cycle 5 | 10.515 | 11.4292 | 14.9924 | 6.3833 | 6.8205 | 9.1136 | -1.2858 | -6.2156
[32 empty] | Cycle 6 | 10.103 | 10.9819 | 14.4054 | 6.0568 | 6.4719 | 8.6471 | -1.2554 | -6.1741
[32 empty] | Cycle 7 | 9.7114 | 10.5564 | 13.8471 | 5.7507 | 6.1447 | 8.2101 | -1.2428 | -6.1964
[32 empty] | Cycle 8 |  |  |  | 5.4623 | 5.8368 | 7.7987
41 | GIRMS\IRMS-operator | 2026-03-26 17:50 | 2026-03-26 19:06 | Running | FALSE | SHP2L | 41 | 41 | 1 | 22 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 15.136 V | 9.5180 kV | 74 µbar | 81 µbar | Carbon Dioxide: 0.0180 kV | 1,060 µbar | 8.995 V | 17.584 V | 733 µbar/min | 2.728 V | 9.62E-008 mbar | 10 % | 831 µbar | 72 °C | µ-Volume | 13.795 V | Pre | 14.6098 | 15.8722 | 20.8281 | 9.0703 | 9.6889 | 12.9489 | -1.5116 | -6.2828 | -1.4254 | 0.069305 | 0.024503 | -6.257 | 0.025007 | 0.0088415 | -1.2935 | 0.073426 | -6.2605 | 0.024911
[32 empty] | Cycle 1 | 13.9654 | 15.1733 | 19.9101 | 8.5657 | 9.1504 | 12.2282 | -1.4817 | -6.2603
[32 empty] | Cycle 2 | 13.3543 | 14.5103 | 19.039 | 8.0957 | 8.6488 | 11.5579 | -1.4734 | -6.2889
[32 empty] | Cycle 3 | 12.7788 | 13.8859 | 18.2189 | 7.6589 | 8.1826 | 10.9344 | -1.4521 | -6.2646
[32 empty] | Cycle 4 | 12.2335 | 13.2942 | 17.4419 | 7.2509 | 7.747 | 10.3517 | -1.4286 | -6.2332
[32 empty] | Cycle 5 | 11.7174 | 12.7341 | 16.7057 | 6.8694 | 7.3397 | 9.8072 | -1.4019 | -6.2714
[32 empty] | Cycle 6 | 11.228 | 12.2032 | 16.0084 | 6.5138 | 6.9598 | 9.2996 | -1.3293 | -6.2345
[32 empty] | Cycle 7 | 10.7625 | 11.6977 | 15.345 | 6.1795 | 6.6027 | 8.8222 | -1.3243 | -6.2203
[32 empty] | Cycle 8 |  |  |  | 5.8656 | 6.2676 | 8.3742
42 | GIRMS\IRMS-operator | 2026-03-26 18:26 | 2026-03-26 19:38 | Running | FALSE | SHP2L | 42 | 42 | 2 | 22 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 10.390 V | 9.5179 kV | 54 µbar | 59 µbar | Carbon Dioxide: 0.0179 kV | 42 µbar | 8.760 V | 11.808 V | 493 µbar/min | 8.773 V | 9.62E-008 mbar | 10 % | 731 µbar | 72 °C | µ-Volume | 9.717 V | Pre | 10.1799 | 11.0662 | 14.522 | 8.8396 | 9.4426 | 12.6192 | -0.91008 | -5.6398 | -0.90315 | 0.014268 | 0.0050446 | -5.6316 | 0.010808 | 0.0038211 | -0.75792 | 0.015417 | -5.6356 | 0.010831
[32 empty] | Cycle 1 | 9.7948 | 10.6482 | 13.9728 | 8.3502 | 8.9202 | 11.9209 | -0.8844 | -5.6369
[32 empty] | Cycle 2 | 9.4294 | 10.2513 | 13.4516 | 7.896 | 8.4353 | 11.2724 | -0.90313 | -5.6403
[32 empty] | Cycle 3 | 9.0781 | 9.8696 | 12.9507 | 7.4729 | 7.9837 | 10.6685 | -0.92166 | -5.6281
[32 empty] | Cycle 4 | 8.7382 | 9.5006 | 12.4659 | 7.0762 | 7.5601 | 10.1021 | -0.91099 | -5.614
[32 empty] | Cycle 5 | 8.4159 | 9.1503 | 12.0061 | 6.7058 | 7.1646 | 9.5731 | -0.91643 | -5.6218
[32 empty] | Cycle 6 | 8.1069 | 8.8148 | 11.5654 | 6.359 | 6.7942 | 9.0784 | -0.88381 | -5.6262
[32 empty] | Cycle 7 | 7.8126 | 8.4949 | 11.1455 | 6.0339 | 6.4471 | 8.6143 | -0.89473 | -5.6458
[32 empty] | Cycle 8 |  |  |  | 5.7288 | 6.1212 | 8.1789
43 | GIRMS\IRMS-operator | 2026-03-26 19:06 | 2026-03-26 20:13 | Running | FALSE | SHP2L | 43 | 43 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 0.045 V | 9.5178 kV | 69 µbar | 74 µbar | Carbon Dioxide: 0.0178 kV | 1,009 µbar | 2.594 V | 0.043 V | 987 µbar/min | 8.552 V | 5.57E-008 mbar | 100 % | 111 µbar | 72 °C | µ-Volume | 0.046 V | Pre | 0.041635 | 0.044891 | 0.05886 | 2.6663 | 2.8494 | 3.807 | -9.4637 | -14.712 | -8.914 | 0.3267 | 0.11551 | -13.9113 | 0.58804 | 0.2079 | -9.0222 | 0.33169 | -13.9062 | 0.58806
[32 empty] | Cycle 1 | 0.040739 | 0.043938 | 0.057617 | 2.5459 | 2.7207 | 3.6349 | -9.1563 | -14.2562
[32 empty] | Cycle 2 | 0.039984 | 0.043126 | 0.056567 | 2.4332 | 2.6002 | 3.4738 | -9.0954 | -13.9766
[32 empty] | Cycle 3 | 0.039278 | 0.042368 | 0.055555 | 2.3267 | 2.4865 | 3.322 | -9.0129 | -14.2088
[32 empty] | Cycle 4 | 0.038615 | 0.041667 | 0.054607 | 2.2255 | 2.3783 | 3.1775 | -8.7299 | -14.377
[32 empty] | Cycle 5 | 0.037966 | 0.040966 | 0.053741 | 2.1294 | 2.276 | 3.0403 | -8.7704 | -13.4111
[32 empty] | Cycle 6 | 0.037323 | 0.040274 | 0.052839 | 2.0378 | 2.1777 | 2.9093 | -8.6183 | -13.2597
[32 empty] | Cycle 7 | 0.036695 | 0.039602 | 0.051959 | 1.9504 | 2.0842 | 2.7847 | -8.465 | -13.0891
[32 empty] | Cycle 8 |  |  |  | 1.8672 | 1.9954 | 2.6659
44 | GIRMS\IRMS-operator | 2026-03-26 19:38 | 2026-03-26 20:51 | Running | FALSE | SHP2L | 44 | 44 | 2 | 23 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 9.937 V | 9.5179 kV | 59 µbar | 67 µbar | Carbon Dioxide: 0.0179 kV | 67 µbar | 8.445 V | 11.295 V | 59 µbar/min | 2.577 V | 9.53E-008 mbar | 10 % | 770 µbar | 72 °C | µ-Volume | 8.851 V | Pre | 9.1823 | 9.9828 | 13.0945 | 8.525 | 9.1075 | 12.1704 | -0.90854 | -5.9873 | -0.91008 | 0.0092305 | 0.0032635 | -5.9595 | 0.017602 | 0.0062233 | -0.75318 | 0.0096692 | -5.9638 | 0.017614
[32 empty] | Cycle 1 | 8.8396 | 9.6105 | 12.6063 | 8.0568 | 8.6075 | 11.5019 | -0.91704 | -5.9499
[32 empty] | Cycle 2 | 8.5106 | 9.2532 | 12.1374 | 7.6214 | 8.1428 | 10.8805 | -0.9084 | -5.9407
[32 empty] | Cycle 3 | 8.1948 | 8.9102 | 11.6869 | 7.2145 | 7.7082 | 10.2997 | -0.9 | -5.9566
[32 empty] | Cycle 4 | 7.8939 | 8.5833 | 11.258 | 6.8346 | 7.3026 | 9.7574 | -0.89834 | -5.9516
[32 empty] | Cycle 5 | 7.6078 | 8.2724 | 10.8503 | 6.4796 | 6.9236 | 9.251 | -0.91587 | -5.9462
[32 empty] | Cycle 6 | 7.3322 | 7.9731 | 10.4572 | 6.1472 | 6.5686 | 8.7763 | -0.90638 | -5.9576
[32 empty] | Cycle 7 | 7.0673 | 7.685 | 10.0791 | 5.8347 | 6.2348 | 8.3302 | -0.92609 | -5.9859
[32 empty] | Cycle 8 |  |  |  | 5.5424 | 5.9226 | 7.9129
45 | GIRMS\IRMS-operator | 2026-03-26 20:13 | 2026-03-26 21:28 | Running | FALSE | SHP2L | 45 | 45 | 1 | 24 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 14.619 V | 9.5180 kV | 71 µbar | 62 µbar | Carbon Dioxide: 0.0180 kV | 626 µbar | 8.948 V | 16.971 V | 195 µbar/min | 2.725 V | 9.77E-008 mbar | 10 % | 828 µbar | 72 °C | µ-Volume | 13.358 V | Pre | 14.1312 | 15.3545 | 20.1468 | 9.0252 | 9.6417 | 12.8843 | -1.4511 | -6.2213 | -1.3797 | 0.049061 | 0.017346 | -6.2019 | 0.016632 | 0.0058804 | -1.2467 | 0.052329 | -6.2054 | 0.01662
[32 empty] | Cycle 1 | 13.5134 | 14.6842 | 19.2659 | 8.5228 | 9.1053 | 12.167 | -1.4114 | -6.2277
[32 empty] | Cycle 2 | 12.9295 | 14.0502 | 18.4343 | 8.0568 | 8.6076 | 11.5018 | -1.4291 | -6.187
[32 empty] | Cycle 3 | 12.3763 | 13.4503 | 17.6455 | 7.6218 | 8.1435 | 10.8808 | -1.3825 | -6.1812
[32 empty] | Cycle 4 | 11.8519 | 12.8809 | 16.8978 | 7.2161 | 7.7102 | 10.3015 | -1.3622 | -6.1902
[32 empty] | Cycle 5 | 11.3547 | 12.3411 | 16.1892 | 6.8362 | 7.3044 | 9.7593 | -1.3625 | -6.1996
[32 empty] | Cycle 6 | 10.8839 | 11.8302 | 15.5181 | 6.4803 | 6.9246 | 9.2516 | -1.3336 | -6.2109
[32 empty] | Cycle 7 | 10.4344 | 11.342 | 14.8775 | 6.1477 | 6.5692 | 8.7768 | -1.305 | -6.1973
[32 empty] | Cycle 8 |  |  |  | 5.8354 | 6.2357 | 8.331
46 | GIRMS\IRMS-operator | 2026-03-26 20:51 | 2026-03-26 22:00 | Running | FALSE | SHP2L | 46 | 46 | 2 | 24 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 19.802 V | 9.5178 kV | 57 µbar | 64 µbar | Carbon Dioxide: 0.0178 kV | 59 µbar | 8.717 V | 23.222 V | 68 µbar/min | 8.730 V | 9.62E-008 mbar | 10 % | 784 µbar | 72 °C | µ-Volume | 18.290 V | Pre | 19.3742 | 21.0386 | 27.6203 | 8.7968 | 9.3973 | 12.5578 | -2.0321 | -6.2451 | -1.8473 | 0.11903 | 0.042085 | -6.2069 | 0.023539 | 0.0083221 | -1.7469 | 0.1266 | -6.2094 | 0.023326
[32 empty] | Cycle 1 | 18.4956 | 20.0869 | 26.3684 | 8.3105 | 8.8784 | 11.8635 | -1.9723 | -6.2189
[32 empty] | Cycle 2 | 17.6616 | 19.1834 | 25.18 | 7.8579 | 8.3953 | 11.2176 | -1.8979 | -6.2131
[32 empty] | Cycle 3 | 16.885 | 18.341 | 24.0726 | 7.4372 | 7.9462 | 10.6173 | -1.8714 | -6.2291
[32 empty] | Cycle 4 | 16.1411 | 17.5345 | 23.0131 | 7.0433 | 7.5255 | 10.0547 | -1.806 | -6.1825
[32 empty] | Cycle 5 | 15.4404 | 16.7745 | 22.0142 | 6.6751 | 7.1323 | 9.5294 | -1.7816 | -6.1999
[32 empty] | Cycle 6 | 14.7868 | 16.0658 | 21.0828 | 6.3302 | 6.7642 | 9.0371 | -1.7396 | -6.1839
[32 empty] | Cycle 7 | 14.1573 | 15.3829 | 20.1855 | 6.007 | 6.4189 | 8.5758 | -1.678 | -6.183
[32 empty] | Cycle 8 |  |  |  | 5.7038 | 6.0949 | 8.143