## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-07-16 10:43 | 2026-07-16 11:43 | Success | FALSE | SHP2L |  | 1 | 1 | 2 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.002 V |  | 6.572 V | 9.5000 kV | 89 µbar | 96 µbar | Carbon Dioxide: 0.0000 kV | 111 µbar | 6.073 V | 7.314 V | 63 µbar/min | 2.790 V | 7.49E-008 mbar | 37 % | 889 µbar | 72 °C | µ-Volume |  | Pre | 5.9678 | 6.4791 | 8.5043 | 6.169 | 6.5805 | 8.8004 | -0.78286 | -5.9516 | -0.80248 | 0.030828 | 0.010899 | -5.9308 | 0.021018 | 0.0074309 | -0.63911 | 0.032736 | -5.9353 | 0.021017
[32 empty] | Cycle 1 | 5.7877 | 6.2837 | 8.2478 | 5.9339 | 6.3303 | 8.4648 | -0.79464 | -5.9112
[32 empty] | Cycle 2 | 5.6135 | 6.0945 | 7.9994 | 5.7097 | 6.091 | 8.1449 | -0.83041 | -5.9402
[32 empty] | Cycle 3 | 5.4453 | 5.912 | 7.7597 | 5.4958 | 5.8628 | 7.8398 | -0.77098 | -5.9471
[32 empty] | Cycle 4 | 5.2823 | 5.7351 | 7.5277 | 5.2915 | 5.6447 | 7.5487 | -0.76596 | -5.9126
[32 empty] | Cycle 5 | 5.1238 | 5.5627 | 7.3016 | 5.0961 | 5.4364 | 7.2696 | -0.85633 | -5.9597
[32 empty] | Cycle 6 | 4.9719 | 5.3981 | 7.0855 | 4.9093 | 5.2373 | 7.0035 | -0.80205 | -5.9081
[32 empty] | Cycle 7 | 4.8254 | 5.2391 | 6.8766 | 4.7314 | 5.0474 | 6.7494 | -0.81662 | -5.9154
[32 empty] | Cycle 8 |  |  |  | 4.5614 | 4.8663 | 6.5069
2 | GIRMS\IRMS-operator | 2026-07-16 11:15 | 2026-07-16 12:09 | Success | FALSE | MD23-3677Q - G. ruber | 976-978 | 2 | 2 | 2 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 10.313 V | 9.4999 kV | 96 µbar | 101 µbar | Carbon Dioxide: -0.0001 kV | 479 µbar | 10.164 V | 11.627 V | 34 µbar/min | 5.984 V | 1.01E-007 mbar | 19 % | 946 µbar | 72 °C | µ-Volume |  | Pre | 9.9874 | 10.8537 | 14.3125 | 10.3174 | 11.0044 | 14.7161 | 0.32697 | -0.21542 | 0.28718 | 0.029717 | 0.010507 | -0.23328 | 0.022295 | 0.0078824 | 0.31592 | 0.031607 | -0.23418 | 0.022302
[32 empty] | Cycle 1 | 9.6676 | 10.5058 | 13.8546 | 9.8709 | 10.5284 | 14.0793 | 0.27581 | -0.19151
[32 empty] | Cycle 2 | 9.3617 | 10.1737 | 13.4159 | 9.4483 | 10.0777 | 13.4766 | 0.28994 | -0.22819
[32 empty] | Cycle 3 | 9.0687 | 9.855 | 12.9963 | 9.0499 | 9.653 | 12.9085 | 0.25307 | -0.23468
[32 empty] | Cycle 4 | 8.7857 | 9.548 | 12.5906 | 8.6736 | 9.2515 | 12.3723 | 0.29214 | -0.25851
[32 empty] | Cycle 5 | 8.52 | 9.2593 | 12.21 | 8.3177 | 8.8725 | 11.8644 | 0.28323 | -0.24772
[32 empty] | Cycle 6 | 8.2498 | 8.9662 | 11.8232 | 7.9806 | 8.5126 | 11.3839 | 0.3285 | -0.23366
[32 empty] | Cycle 7 | 7.9907 | 8.6841 | 11.4516 | 7.6595 | 8.1705 | 10.9258 | 0.2478 | -0.25657
[32 empty] | Cycle 8 |  |  |  | 7.3541 | 7.8448 | 10.4903
3 | GIRMS\IRMS-operator | 2026-07-16 11:43 | 2026-07-16 12:41 | Success | FALSE | MD23-3677Q - G. ruber | 972-974 | 3 | 1 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 14.137 V | 9.4998 kV | 98 µbar | 101 µbar | Carbon Dioxide: -0.0002 kV | 113 µbar | 13.305 V | 16.230 V | 151 µbar/min | 9.901 V | 1.22E-007 mbar | 11 % | 999 µbar | 72 °C | µ-Volume |  | Pre | 13.1502 | 14.2951 | 18.8464 | 13.5604 | 14.4615 | 19.3399 | 0.73642 | -0.06633 | 0.72829 | 0.032392 | 0.011452 | -0.075927 | 0.014538 | 0.0051398 | 0.7821 | 0.034566 | -0.077654 | 0.01454
[32 empty] | Cycle 1 | 12.6817 | 13.7865 | 18.1756 | 12.9284 | 13.7883 | 18.4392 | 0.74118 | -0.052913
[32 empty] | Cycle 2 | 12.2307 | 13.2968 | 17.529 | 12.3359 | 13.1567 | 17.5943 | 0.76309 | -0.087601
[32 empty] | Cycle 3 | 11.7998 | 12.8288 | 16.9118 | 11.7774 | 12.5613 | 16.7982 | 0.77822 | -0.082259
[32 empty] | Cycle 4 | 11.3877 | 12.3806 | 16.3216 | 11.251 | 12.0001 | 16.0475 | 0.71097 | -0.070935
[32 empty] | Cycle 5 | 10.9886 | 11.9475 | 15.7497 | 10.7545 | 11.4715 | 15.3397 | 0.70255 | -0.087484
[32 empty] | Cycle 6 | 10.6016 | 11.5267 | 15.1953 | 10.2864 | 10.9729 | 14.6724 | 0.68144 | -0.095605
[32 empty] | Cycle 7 | 10.2302 | 11.1232 | 14.6633 | 9.8453 | 10.502 | 14.0436 | 0.71248 | -0.064286
[32 empty] | Cycle 8 |  |  |  | 9.4285 | 10.0578 | 13.4486
4 | GIRMS\IRMS-operator | 2026-07-16 12:09 | 2026-07-16 13:17 | Success | FALSE | MD23-3677Q - G. ruber | 968-970 | 4 | 2 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 13.045 V | 9.4998 kV | 98 µbar | 106 µbar | Carbon Dioxide: -0.0002 kV | 103 µbar | 13.042 V | 14.879 V | 283 µbar/min | 12.825 V | 1.21E-007 mbar | 11 % | 977 µbar | 72 °C | µ-Volume |  | Pre | 12.8043 | 13.9138 | 18.3519 | 13.3177 | 14.2017 | 18.9943 | 0.42112 | -0.03284 | 0.4084 | 0.022598 | 0.0079897 | -0.054725 | 0.018248 | 0.0064516 | 0.43902 | 0.024261 | -0.055707 | 0.018273
[32 empty] | Cycle 1 | 12.3699 | 13.4422 | 17.7297 | 12.7004 | 13.544 | 18.1146 | 0.40719 | -0.046246
[32 empty] | Cycle 2 | 11.9539 | 12.991 | 17.1334 | 12.1191 | 12.9248 | 17.286 | 0.44352 | -0.076871
[32 empty] | Cycle 3 | 11.5524 | 12.5548 | 16.558 | 11.5732 | 12.3428 | 16.5078 | 0.40431 | -0.077246
[32 empty] | Cycle 4 | 11.1706 | 12.1401 | 16.0115 | 11.0587 | 11.795 | 15.7738 | 0.3982 | -0.032278
[32 empty] | Cycle 5 | 10.8025 | 11.7402 | 15.4836 | 10.5739 | 11.2775 | 15.0822 | 0.43129 | -0.053182
[32 empty] | Cycle 6 | 10.4506 | 11.3575 | 14.9792 | 10.1154 | 10.7887 | 14.4287 | 0.37885 | -0.070274
[32 empty] | Cycle 7 | 10.0969 | 10.9734 | 14.4727 | 9.6818 | 10.3266 | 13.8103 | 0.3827 | -0.048862
[32 empty] | Cycle 8 |  |  |  | 9.2734 | 9.8911 | 13.2278
5 | GIRMS\IRMS-operator | 2026-07-16 12:41 | 2026-07-16 13:59 | Success | FALSE | MD23-3677Q - G. ruber | 964-966 | 5 | 1 | 4 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 6.750 V | 9.5000 kV | 106 µbar | 103 µbar | Carbon Dioxide: 0.0000 kV | 345 µbar | 6.230 V | 7.518 V | 122 µbar/min | 2.782 V | 7.60E-008 mbar | 36 % | 926 µbar | 72 °C | µ-Volume |  | Pre | 6.1192 | 6.6527 | 8.7706 | 6.3259 | 6.748 | 9.0243 | 0.58469 | -0.25076 | 0.55387 | 0.044224 | 0.015636 | -0.25689 | 0.022251 | 0.0078668 | 0.60215 | 0.04748 | -0.25842 | 0.022293
[32 empty] | Cycle 1 | 5.9356 | 6.4531 | 8.5074 | 6.0828 | 6.4889 | 8.678 | 0.52985 | -0.26965
[32 empty] | Cycle 2 | 5.7579 | 6.2602 | 8.2527 | 5.8518 | 6.2431 | 8.3483 | 0.58868 | -0.26343
[32 empty] | Cycle 3 | 5.5885 | 6.076 | 8.0101 | 5.6323 | 6.0082 | 8.0352 | 0.62674 | -0.24823
[32 empty] | Cycle 4 | 5.4231 | 5.8961 | 7.7728 | 5.423 | 5.7852 | 7.7369 | 0.55748 | -0.29241
[32 empty] | Cycle 5 | 5.2606 | 5.7195 | 7.5401 | 5.2221 | 5.5713 | 7.4503 | 0.52641 | -0.27351
[32 empty] | Cycle 6 | 5.1057 | 5.5507 | 7.3183 | 5.027 | 5.363 | 7.1718 | 0.48898 | -0.23029
[32 empty] | Cycle 7 | 4.9562 | 5.3882 | 7.104 | 4.8432 | 5.1667 | 6.9095 | 0.52809 | -0.22685
[32 empty] | Cycle 8 |  |  |  | 4.6675 | 4.9795 | 6.6591
6 | GIRMS\IRMS-operator | 2026-07-16 13:17 | 2026-07-16 14:28 | Success | FALSE | SHP2L |  | 6 | 2 | 4 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 10.607 V | 9.4999 kV | 103 µbar | 101 µbar | Carbon Dioxide: -0.0001 kV | 103 µbar | 10.398 V | 11.940 V | 239 µbar/min | 6.133 V | 1.04E-007 mbar | 18 % | 951 µbar | 72 °C | µ-Volume |  | Pre | 10.2109 | 11.0841 | 14.5508 | 10.5592 | 11.2623 | 15.062 | -0.80711 | -5.9055 | -0.81066 | 0.012698 | 0.0044893 | -5.895 | 0.010404 | 0.0036783 | -0.64918 | 0.013543 | -5.8995 | 0.010411
[32 empty] | Cycle 1 | 9.8883 | 10.7343 | 14.0914 | 10.1 | 10.773 | 14.4076 | -0.79246 | -5.9059
[32 empty] | Cycle 2 | 9.5768 | 10.396 | 13.6476 | 9.6677 | 10.3119 | 13.7909 | -0.82698 | -5.901
[32 empty] | Cycle 3 | 9.2786 | 10.0725 | 13.2227 | 9.2587 | 9.876 | 13.2075 | -0.79823 | -5.8832
[32 empty] | Cycle 4 | 8.9904 | 9.7596 | 12.8124 | 8.8726 | 9.4636 | 12.6565 | -0.81522 | -5.884
[32 empty] | Cycle 5 | 8.7186 | 9.4648 | 12.4251 | 8.5058 | 9.0731 | 12.134 | -0.82884 | -5.9018
[32 empty] | Cycle 6 | 8.4417 | 9.1646 | 12.0305 | 8.1578 | 8.7019 | 11.6373 | -0.80867 | -5.8971
[32 empty] | Cycle 7 | 8.1771 | 8.8774 | 11.6537 | 7.8267 | 8.349 | 11.1652 | -0.80772 | -5.8816
[32 empty] | Cycle 8 |  |  |  | 7.512 | 8.0131 | 10.7163
7 | GIRMS\IRMS-operator | 2026-07-16 13:59 | 2026-07-16 14:59 | Success | FALSE | MD23-3677Q - G. ruber | 960-962 | 7 | 1 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 15.884 V | 9.4998 kV | 98 µbar | 101 µbar | Carbon Dioxide: -0.0002 kV | 108 µbar | 13.874 V | 18.331 V | 269 µbar/min | 10.136 V | 1.26E-007 mbar | 10 % | 1,016 µbar | 72 °C | µ-Volume | 14.642 V | Pre | 15.4916 | 16.8381 | 22.2005 | 14.1699 | 15.1125 | 20.2106 | 0.55198 | -0.20872 | 0.57916 | 0.021446 | 0.0081057 | -0.19846 | 0.0023687 | 0.00089528 | 0.62711 | 0.02287 | -0.20002 | 0.002378
[32 empty] | Cycle 1 | 14.914 | 16.211 | 21.3735 | 13.4998 | 14.3979 | 19.2554 | 0.66362 | -0.19879
[32 empty] | Cycle 2 | 14.3605 | 15.608 | 20.5808 | 12.873 | 13.7275 | 18.3618 | 0.57822 | -0.19493
[32 empty] | Cycle 3 | 13.8314 | 15.034 | 19.8226 | 12.2844 | 13.1016 | 17.5227 | 0.58164 | -0.20172
[32 empty] | Cycle 4 | 13.328 | 14.4868 | 19.1015 | 11.7311 | 12.5116 | 16.7334 | 0.56898 | -0.19898
[32 empty] | Cycle 5 | 12.8467 | 13.9639 | 18.412 | 11.2095 | 11.9554 | 15.9898 | 0.57306 | -0.20029
[32 empty] | Cycle 6 | 12.3842 | 13.4623 | 17.7495 | 10.7163 | 11.4297 | 15.2866 | 0.62242 | -0.19866
[32 empty] | Cycle 7 | 11.9351 | 12.9739 | 17.106 | 10.2504 | 10.9332 | 14.6221 | 0.57781 | -0.19586
[32 empty] | Cycle 8 |  |  |  | 9.8111 | 10.4647 | 13.9955
8 | GIRMS\IRMS-operator | 2026-07-16 14:28 | 2026-07-16 15:37 | Success | FALSE | MD23-3677Q - G. ruber | 956-958 | 8 | 2 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 13.791 V | 9.4997 kV | 98 µbar | 106 µbar | Carbon Dioxide: -0.0003 kV | 103 µbar | 13.342 V | 15.717 V | 278 µbar/min | 13.365 V | 1.22E-007 mbar | 10 % | 980 µbar | 72 °C | µ-Volume |  | Pre | 13.1207 | 14.2605 | 18.807 | 13.6199 | 14.5255 | 19.4265 | 0.51511 | 0.010638 | 0.46642 | 0.026419 | 0.0093406 | -0.026731 | 0.0068712 | 0.0025971 | 0.4999 | 0.027867 | -0.027798 | 0.0068673
[32 empty] | Cycle 1 | 12.6777 | 13.7789 | 18.1716 | 12.9842 | 13.8484 | 18.5202 | 0.46622 | -0.026804
[32 empty] | Cycle 2 | 12.2565 | 13.3216 | 17.5683 | 12.3892 | 13.2141 | 17.6715 | 0.46869 | -0.02326
[32 empty] | Cycle 3 | 11.8491 | 12.8786 | 16.9845 | 11.8298 | 12.6178 | 16.8741 | 0.43046 | -0.029568
[32 empty] | Cycle 4 | 11.457 | 12.4535 | 16.4229 | 11.3011 | 12.0542 | 16.12 | 0.48445 | -0.017861
[32 empty] | Cycle 5 | 11.0811 | 12.0439 | 15.884 | 10.8023 | 11.5226 | 15.409 | 0.43883 | -0.028567
[32 empty] | Cycle 6 | 10.7114 | 11.642 | 15.3545 | 10.3304 | 11.0181 | 14.7356 | 0.45616 | -0.021805
[32 empty] | Cycle 7 | 10.3515 | 11.2512 | 14.8387 | 9.8839 | 10.5422 | 14.0995 | 0.47146 | -0.039255
[32 empty] | Cycle 8 |  |  |  | 9.462 | 10.0924 | 13.4976
9 | GIRMS\IRMS-operator | 2026-07-16 14:59 | 2026-07-16 16:18 | Success | FALSE | MD23-3677Q - G. ruber | 952-954 | 9 | 1 | 6 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 0.011 V | 9.4998 kV | 103 µbar | 101 µbar | Carbon Dioxide: -0.0002 kV | 106 µbar | 2.780 V | 0.010 V | 357 µbar/min | 2.780 V | 4.47E-008 mbar | 100 % | 111 µbar | 72 °C | µ-Volume | 0.013 V | Pre | 0.010866 | 0.011648 | 0.015426 | 2.8646 | 3.0563 | 4.0872 | -13.515 | -9.8117 | -13.6537 | 0.58497 | 0.20682 | -11.5865 | 1.0913 | 0.38582 | -14.1803 | 0.62733 | -11.5682 | 1.0924
[32 empty] | Cycle 1 | 0.010506 | 0.01125 | 0.014873 | 2.7644 | 2.9491 | 3.9439 | -14.5776 | -12.584
[32 empty] | Cycle 2 | 0.010317 | 0.011053 | 0.014621 | 2.6714 | 2.8499 | 3.8113 | -14.0443 | -11.5704
[32 empty] | Cycle 3 | 0.010155 | 0.010893 | 0.014397 | 2.5828 | 2.7554 | 3.6848 | -12.8713 | -11.202
[32 empty] | Cycle 4 | 0.010012 | 0.010735 | 0.014169 | 2.4982 | 2.6651 | 3.5642 | -13.2521 | -12.9044
[32 empty] | Cycle 5 | 0.0098731 | 0.010576 | 0.014 | 2.4169 | 2.5786 | 3.4482 | -14.2136 | -11.0046
[32 empty] | Cycle 6 | 0.0097376 | 0.010443 | 0.013782 | 2.3387 | 2.4951 | 3.3367 | -13.1221 | -12.7742
[32 empty] | Cycle 7 | 0.009612 | 0.010302 | 0.013632 | 2.2631 | 2.4143 | 3.2286 | -13.634 | -10.8404
[32 empty] | Cycle 8 |  |  |  | 2.1902 | 2.3366 | 3.1248
10 | GIRMS\IRMS-operator | 2026-07-16 15:37 | 2026-07-16 16:47 | Success | FALSE | MD23-3677Q - G. ruber | 948-950 | 10 | 2 | 6 | TRUE | Unknown |  | 0.002 V, 0.001 V, 0.002 V |  | 7.535 V | 9.5000 kV | 103 µbar | 108 µbar | Carbon Dioxide: 0.0000 kV | 132 µbar | 7.014 V | 8.384 V | 303 µbar/min | 2.765 V | 8.10E-008 mbar | 31 % | 921 µbar | 72 °C | µ-Volume |  | Pre | 6.8925 | 7.4908 | 9.87 | 7.1172 | 7.5924 | 10.1534 | 0.22599 | -1.1572 | 0.19061 | 0.02902 | 0.01026 | -1.1689 | 0.027014 | 0.0095509 | 0.24718 | 0.030864 | -1.1706 | 0.02703
[32 empty] | Cycle 1 | 6.6939 | 7.2747 | 9.5853 | 6.838 | 7.2947 | 9.7554 | 0.18266 | -1.1917
[32 empty] | Cycle 2 | 6.4957 | 7.0594 | 9.3019 | 6.5725 | 7.0114 | 9.3765 | 0.17371 | -1.1534
[32 empty] | Cycle 3 | 6.3044 | 6.8516 | 9.028 | 6.3185 | 6.7407 | 9.0141 | 0.17651 | -1.1341
[32 empty] | Cycle 4 | 6.1215 | 6.6526 | 8.7657 | 6.0764 | 6.4822 | 8.6686 | 0.14764 | -1.2045
[32 empty] | Cycle 5 | 5.9381 | 6.4537 | 8.5033 | 5.8453 | 6.2358 | 8.3394 | 0.23449 | -1.1892
[32 empty] | Cycle 6 | 5.7654 | 6.2659 | 8.2561 | 5.6245 | 6.0001 | 8.0242 | 0.17927 | -1.1847
[32 empty] | Cycle 7 | 5.5979 | 6.0841 | 8.0166 | 5.4144 | 5.7763 | 7.7245 | 0.20459 | -1.1362
[32 empty] | Cycle 8 |  |  |  | 5.2137 | 5.5622 | 7.4381
11 | GIRMS\IRMS-operator | 2026-07-16 16:18 | 2026-07-16 17:18 | Success | FALSE | SHP2L |  | 11 | 1 | 7 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 7.279 V | 9.4996 kV | 106 µbar | 101 µbar | Carbon Dioxide: -0.0004 kV | 111 µbar | 7.300 V | 8.145 V | 249 µbar/min | 6.901 V | 8.22E-008 mbar | 29 % | 938 µbar | 72 °C | µ-Volume |  | Pre | 7.122 | 7.7316 | 10.149 | 7.4101 | 7.9045 | 10.5707 | -0.84337 | -5.9579 | -0.8386 | 0.0070226 | 0.0026543 | -5.9617 | 0.018467 | 0.006529 | -0.67661 | 0.0074805 | -5.9662 | 0.018484
[32 empty] | Cycle 1 | 6.9028 | 7.4937 | 9.8369 | 7.1163 | 7.5911 | 10.1517 | -0.83874 | -5.9326
[32 empty] | Cycle 2 | 6.6911 | 7.2639 | 9.5352 | 6.8362 | 7.2923 | 9.7519 | -0.83058 | -5.9512
[32 empty] | Cycle 3 | 6.4868 | 7.0425 | 9.2441 | 6.5691 | 7.0073 | 9.3713 | -0.77105 | -5.9608
[32 empty] | Cycle 4 | 6.2909 | 6.8293 | 8.9646 | 6.3149 | 6.7363 | 9.0086 | -0.84688 | -5.9931
[32 empty] | Cycle 5 | 6.1004 | 6.6229 | 8.6937 | 6.0728 | 6.4781 | 8.6635 | -0.84608 | -5.9506
[32 empty] | Cycle 6 | 5.9175 | 6.4247 | 8.4329 | 5.8413 | 6.2316 | 8.3331 | -0.83079 | -5.9769
[32 empty] | Cycle 7 | 5.7383 | 6.23 | 8.1776 | 5.6218 | 5.9973 | 8.0202 | -0.83378 | -5.9701
[32 empty] | Cycle 8 |  |  |  | 5.4125 | 5.7742 | 7.7215
12 | GIRMS\IRMS-operator | 2026-07-16 16:47 | 2026-07-16 17:56 | Success | FALSE | MD23-3677Q - G. ruber | 944-946 | 12 | 2 | 7 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.654 V | 9.4997 kV | 103 µbar | 111 µbar | Carbon Dioxide: -0.0003 kV | 118 µbar | 12.717 V | 15.580 V | 303 µbar/min | 7.154 V | 1.18E-007 mbar | 12 % | 992 µbar | 72 °C | µ-Volume |  | Pre | 12.6019 | 13.7017 | 18.0616 | 12.931 | 13.7904 | 18.444 | 0.94081 | -0.1009 | 0.94604 | 0.026783 | 0.0094691 | -0.094682 | 0.0146 | 0.0051619 | 1.0158 | 0.028593 | -0.096922 | 0.014608
[32 empty] | Cycle 1 | 12.1833 | 13.247 | 17.4617 | 12.3354 | 13.1552 | 17.595 | 0.97343 | -0.11203
[32 empty] | Cycle 2 | 11.7725 | 12.8008 | 16.8734 | 11.7768 | 12.5595 | 16.7981 | 0.99266 | -0.074913
[32 empty] | Cycle 3 | 11.3746 | 12.368 | 16.3031 | 11.2518 | 12 | 16.0491 | 0.93403 | -0.10718
[32 empty] | Cycle 4 | 10.9957 | 11.9567 | 15.7603 | 10.7565 | 11.4725 | 15.3437 | 0.94177 | -0.10957
[32 empty] | Cycle 5 | 10.6369 | 11.5669 | 15.2466 | 10.2895 | 10.9748 | 14.6772 | 0.95401 | -0.078532
[32 empty] | Cycle 6 | 10.2699 | 11.1678 | 14.7206 | 9.8471 | 10.503 | 14.0465 | 0.91844 | -0.089346
[32 empty] | Cycle 7 | 9.9344 | 10.8033 | 14.24 | 9.43 | 10.0587 | 13.4516 | 0.91314 | -0.084974
[32 empty] | Cycle 8 |  |  |  | 9.0348 | 9.6373 | 12.8882
13 | GIRMS\IRMS-operator | 2026-07-16 17:18 | 2026-07-16 18:37 | Success | FALSE | MD23-3677Q - G. ruber | 940-942 | 13 | 1 | 8 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 10.214 V | 9.4998 kV | 106 µbar | 101 µbar | Carbon Dioxide: -0.0002 kV | 115 µbar | 10.159 V | 11.568 V | 288 µbar/min | 2.790 V | 1.02E-007 mbar | 19 % | 987 µbar | 72 °C | µ-Volume |  | Pre | 9.9044 | 10.7668 | 14.1962 | 10.3122 | 10.9996 | 14.7107 | 0.56943 | -0.15606 | 0.59093 | 0.02075 | 0.0073363 | -0.15301 | 0.016602 | 0.0058696 | 0.63797 | 0.022437 | -0.1545 | 0.016637
[32 empty] | Cycle 1 | 9.5747 | 10.4089 | 13.7238 | 9.8651 | 10.523 | 14.0727 | 0.59401 | -0.1306
[32 empty] | Cycle 2 | 9.2549 | 10.0615 | 13.2653 | 9.4438 | 10.0738 | 13.4715 | 0.59842 | -0.17055
[32 empty] | Cycle 3 | 8.9514 | 9.7315 | 12.8308 | 9.0469 | 9.6503 | 12.906 | 0.58245 | -0.15593
[32 empty] | Cycle 4 | 8.6614 | 9.4164 | 12.4149 | 8.6708 | 9.2494 | 12.3696 | 0.61317 | -0.18029
[32 empty] | Cycle 5 | 8.3817 | 9.1125 | 12.0142 | 8.3146 | 8.8692 | 11.8616 | 0.62366 | -0.15037
[32 empty] | Cycle 6 | 8.1145 | 8.8218 | 11.6314 | 7.9758 | 8.508 | 11.3779 | 0.56275 | -0.14313
[32 empty] | Cycle 7 | 7.855 | 8.5398 | 11.2596 | 7.6539 | 8.165 | 10.9189 | 0.58355 | -0.13711
[32 empty] | Cycle 8 |  |  |  | 7.3478 | 7.8382 | 10.4825
14 | GIRMS\IRMS-operator | 2026-07-16 17:56 | 2026-07-16 19:06 | Success | FALSE | MD23-3677Q - G. ruber | 936-938 | 14 | 2 | 8 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 13.906 V | 9.4996 kV | 103 µbar | 108 µbar | Carbon Dioxide: -0.0004 kV | 115 µbar | 13.135 V | 15.822 V | 93 µbar/min | 9.910 V | 1.21E-007 mbar | 12 % | 985 µbar | 72 °C | µ-Volume |  | Pre | 12.9829 | 14.1188 | 18.5977 | 13.3718 | 14.2597 | 19.0722 | 1.1636 | -0.62845 | 1.1235 | 0.021719 | 0.0082088 | -0.65457 | 0.013158 | 0.0046522 | 1.2263 | 0.022981 | -0.65784 | 0.013191
[32 empty] | Cycle 1 | 12.547 | 13.6448 | 17.9731 | 12.7515 | 13.5992 | 18.1885 | 1.124 | -0.66042
[32 empty] | Cycle 2 | 12.1263 | 13.1895 | 17.3706 | 12.1693 | 12.9786 | 17.3581 | 1.252 | -0.66732
[32 empty] | Cycle 3 | 11.7159 | 12.7417 | 16.7832 | 11.6219 | 12.3953 | 16.5777 | 1.1159 | -0.64705
[32 empty] | Cycle 4 | 11.3281 | 12.32 | 16.2278 | 11.1064 | 11.8458 | 15.8422 | 1.0894 | -0.65284
[32 empty] | Cycle 5 | 10.9556 | 11.9154 | 15.6942 | 10.6194 | 11.3266 | 15.148 | 1.1229 | -0.65676
[32 empty] | Cycle 6 | 10.6027 | 11.5318 | 15.1889 | 10.1588 | 10.8355 | 14.4909 | 1.1246 | -0.65284
[32 empty] | Cycle 7 | 10.2345 | 11.1317 | 14.6617 | 9.7239 | 10.3719 | 13.871 | 1.1241 | -0.67086
[32 empty] | Cycle 8 |  |  |  | 9.3118 | 9.9326 | 13.2835
15 | GIRMS\IRMS-operator | 2026-07-16 18:37 | 2026-07-16 19:37 | Success | FALSE | MD23-3677Q - G. ruber | 932-934 | 15 | 1 | 9 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 18.163 V | 9.4995 kV | 103 µbar | 103 µbar | Carbon Dioxide: -0.0005 kV | 113 µbar | 13.696 V | 21.213 V | 264 µbar/min | 12.705 V | 1.26E-007 mbar | 10 % | 1,038 µbar | 72 °C | µ-Volume | 16.754 V | Pre | 17.7971 | 19.3482 | 25.4907 | 13.9911 | 14.9218 | 19.9561 | 0.76021 | -0.75442 | 0.83434 | 0.047938 | 0.016949 | -0.73768 | 0.014193 | 0.005018 | 0.92004 | 0.05097 | -0.74036 | 0.014141
[32 empty] | Cycle 1 | 17.1015 | 18.5934 | 24.4949 | 13.3292 | 14.2165 | 19.012 | 0.85834 | -0.75044
[32 empty] | Cycle 2 | 16.4371 | 17.8691 | 23.5438 | 12.7098 | 13.5546 | 18.1292 | 0.77689 | -0.74113
[32 empty] | Cycle 3 | 15.8092 | 17.1881 | 22.6448 | 12.1292 | 12.936 | 17.301 | 0.82547 | -0.74785
[32 empty] | Cycle 4 | 15.2143 | 16.5419 | 21.7936 | 11.5845 | 12.3555 | 16.5247 | 0.84324 | -0.72409
[32 empty] | Cycle 5 | 14.6388 | 15.916 | 20.9693 | 11.0714 | 11.8083 | 15.7929 | 0.82858 | -0.73383
[32 empty] | Cycle 6 | 14.0964 | 15.3277 | 20.193 | 10.5877 | 11.2924 | 15.103 | 0.89818 | -0.71214
[32 empty] | Cycle 7 | 13.5558 | 14.7403 | 19.4185 | 10.1231 | 10.7974 | 14.4405 | 0.88382 | -0.73757
[32 empty] | Cycle 8 |  |  |  | 9.6888 | 10.3345 | 13.8214
16 | GIRMS\IRMS-operator | 2026-07-16 19:06 | 2026-07-16 20:15 | Success | FALSE | SHP2L |  | 16 | 2 | 9 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 10.691 V | 9.4994 kV | 98 µbar | 103 µbar | Carbon Dioxide: -0.0006 kV | 106 µbar | 9.998 V | 12.026 V | 308 µbar/min | 13.200 V | 1.01E-007 mbar | 17 % | 958 µbar | 72 °C | µ-Volume |  | Pre | 9.7993 | 10.6375 | 13.9645 | 10.1657 | 10.8432 | 14.501 | -0.81316 | -5.8853 | -0.8076 | 0.018772 | 0.0066369 | -5.8837 | 0.0093737 | 0.0035429 | -0.64657 | 0.019977 | -5.8881 | 0.0093923
[32 empty] | Cycle 1 | 9.4896 | 10.3018 | 13.5232 | 9.7267 | 10.3747 | 13.8747 | -0.7856 | -5.8916
[32 empty] | Cycle 2 | 9.192 | 9.9786 | 13.0995 | 9.3141 | 9.9351 | 13.2863 | -0.81348 | -5.8745
[32 empty] | Cycle 3 | 8.9115 | 9.6744 | 12.7001 | 8.9246 | 9.5195 | 12.731 | -0.80261 | -5.8722
[32 empty] | Cycle 4 | 8.6205 | 9.3584 | 12.285 | 8.5568 | 9.1275 | 12.2064 | -0.82878 | -5.8965
[32 empty] | Cycle 5 | 8.3482 | 9.0629 | 11.897 | 8.2077 | 8.7554 | 11.7085 | -0.78621 | -5.889
[32 empty] | Cycle 6 | 8.0889 | 8.7814 | 11.5281 | 7.8755 | 8.4003 | 11.2344 | -0.79471 | -5.8337
[32 empty] | Cycle 7 | 7.8432 | 8.5146 | 11.1777 | 7.559 | 8.0634 | 10.7829 | -0.83623 | -5.8765
[32 empty] | Cycle 8 |  |  |  | 7.2572 | 7.7413 | 10.3528
17 | GIRMS\IRMS-operator | 2026-07-16 19:37 | 2026-07-16 20:55 | Success | FALSE | MD23-3677Q - G. ruber | 928-930 | 17 | 1 | 10 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 15.462 V | 9.4997 kV | 106 µbar | 101 µbar | Carbon Dioxide: -0.0003 kV | 115 µbar | 14.250 V | 17.858 V | 274 µbar/min | 2.782 V | 1.29E-007 mbar | 10 % | 1,016 µbar | 72 °C | µ-Volume |  | Pre | 14.1368 | 15.3748 | 20.2443 | 14.5075 | 15.4709 | 20.6926 | 1.2408 | -0.94318 | 1.2127 | 0.025095 | 0.009485 | -0.96053 | 0.012634 | 0.0044668 | 1.3332 | 0.026595 | -0.96433 | 0.012584
[32 empty] | Cycle 1 | 13.6213 | 14.8147 | 19.5061 | 13.8144 | 14.7324 | 19.7041 | 1.2365 | -0.95614
[32 empty] | Cycle 2 | 13.1282 | 14.2779 | 18.8002 | 13.165 | 14.0404 | 18.7782 | 1.1918 | -0.95891
[32 empty] | Cycle 3 | 12.6552 | 13.7644 | 18.123 | 12.5573 | 13.3924 | 17.9119 | 1.234 | -0.96693
[32 empty] | Cycle 4 | 12.2042 | 13.2738 | 17.4774 | 11.9861 | 12.7838 | 17.0973 | 1.1778 | -0.96774
[32 empty] | Cycle 5 | 11.7714 | 12.8036 | 16.858 | 11.4499 | 12.2123 | 16.3325 | 1.213 | -0.9633
[32 empty] | Cycle 6 | 11.3609 | 12.3569 | 16.2701 | 10.9442 | 11.6729 | 15.6119 | 1.1949 | -0.98232
[32 empty] | Cycle 7 | 10.9682 | 11.9314 | 15.7083 | 10.4663 | 11.1633 | 14.93 | 1.3086 | -0.94572
[32 empty] | Cycle 8 |  |  |  | 10.0138 | 10.6808 | 14.2846
18 | GIRMS\IRMS-operator | 2026-07-16 20:15 | 2026-07-16 21:25 | Success | FALSE | MD23-3677Q - G. ruber | 924-926 | 18 | 2 | 10 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 10.205 V | 9.4993 kV | 98 µbar | 98 µbar | Carbon Dioxide: -0.0007 kV | 101 µbar | 9.501 V | 11.453 V | 288 µbar/min | 13.752 V | 9.67E-008 mbar | 20 % | 933 µbar | 72 °C | µ-Volume |  | Pre | 9.3138 | 10.129 | 13.348 | 9.6439 | 10.2859 | 13.757 | 1.0475 | -0.2573 | 1.0425 | 0.018364 | 0.0064927 | -0.25673 | 0.0079941 | 0.0028263 | 1.125 | 0.019657 | -0.25936 | 0.0080034
[32 empty] | Cycle 1 | 9.0218 | 9.8116 | 12.9293 | 9.2336 | 9.8487 | 13.1713 | 1.0254 | -0.26084
[32 empty] | Cycle 2 | 8.7435 | 9.509 | 12.5307 | 8.8464 | 9.4361 | 12.6191 | 1.0159 | -0.26248
[32 empty] | Cycle 3 | 8.4794 | 9.2224 | 12.1525 | 8.4806 | 9.0459 | 12.0977 | 1.0681 | -0.24958
[32 empty] | Cycle 4 | 8.2029 | 8.9217 | 11.7564 | 8.1349 | 8.6774 | 11.6046 | 1.0368 | -0.25035
[32 empty] | Cycle 5 | 7.9482 | 8.6452 | 11.3913 | 7.8062 | 8.3271 | 11.1359 | 1.0606 | -0.27052
[32 empty] | Cycle 6 | 7.7041 | 8.3796 | 11.0417 | 7.4938 | 7.994 | 10.6903 | 1.03 | -0.24601
[32 empty] | Cycle 7 | 7.4692 | 8.1243 | 10.7051 | 7.1965 | 7.677 | 10.266 | 1.0553 | -0.25673
[32 empty] | Cycle 8 |  |  |  | 6.9131 | 7.3746 | 9.862
19 | GIRMS\IRMS-operator | 2026-07-16 20:55 | 2026-07-16 21:55 | Success | FALSE | MD23-3677Q - G. ruber | 920-922 | 19 | 1 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 17.833 V | 9.4995 kV | 103 µbar | 98 µbar | Carbon Dioxide: -0.0005 kV | 106 µbar | 13.531 V | 20.765 V | 264 µbar/min | 9.278 V | 1.24E-007 mbar | 10 % | 1,019 µbar | 72 °C | µ-Volume | 16.413 V | Pre | 17.4275 | 18.9465 | 24.9666 | 13.8196 | 14.7373 | 19.7115 | 0.87583 | -0.56037 | 0.91706 | 0.038962 | 0.013775 | -0.5564 | 0.0091852 | 0.0032474 | 1.0018 | 0.041537 | -0.55907 | 0.0091554
[32 empty] | Cycle 1 | 16.7523 | 18.2136 | 23.9999 | 13.1718 | 14.0469 | 18.7881 | 0.90599 | -0.55852
[32 empty] | Cycle 2 | 16.1099 | 17.5156 | 23.08 | 12.565 | 13.4004 | 17.9229 | 0.88038 | -0.56453
[32 empty] | Cycle 3 | 15.4976 | 16.8502 | 22.2031 | 11.996 | 12.7941 | 17.1117 | 0.86999 | -0.55534
[32 empty] | Cycle 4 | 14.9184 | 16.2217 | 21.3738 | 11.4591 | 12.2216 | 16.3457 | 0.93574 | -0.5486
[32 empty] | Cycle 5 | 14.3635 | 15.6186 | 20.5789 | 10.9528 | 11.6819 | 15.6241 | 0.94233 | -0.56925
[32 empty] | Cycle 6 | 13.8263 | 15.0353 | 19.81 | 10.474 | 11.1712 | 14.9413 | 0.96588 | -0.53984
[32 empty] | Cycle 7 | 13.3104 | 14.4746 | 19.0707 | 10.0213 | 10.689 | 14.2956 | 0.96032 | -0.55474
[32 empty] | Cycle 8 |  |  |  | 9.593 | 10.2322 | 13.6849
20 | GIRMS\IRMS-operator | 2026-07-16 21:25 | 2026-07-16 22:32 | Success | FALSE | MD23-3677Q - G. ruber | 916-918 | 20 | 2 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 8.326 V | 9.4993 kV | 96 µbar | 98 µbar | Carbon Dioxide: -0.0007 kV | 181 µbar | 7.747 V | 9.276 V | 298 µbar/min | 13.047 V | 8.64E-008 mbar | 24 % | 914 µbar | 72 °C | µ-Volume |  | Pre | 7.6085 | 8.2731 | 10.902 | 7.8701 | 8.3952 | 11.2271 | 0.76324 | -0.51789 | 0.7382 | 0.025951 | 0.0091752 | -0.53928 | 0.013228 | 0.0049996 | 0.8096 | 0.027722 | -0.54152 | 0.013249
[32 empty] | Cycle 1 | 7.3859 | 8.0305 | 10.5828 | 7.5529 | 8.0569 | 10.7749 | 0.70873 | -0.53756
[32 empty] | Cycle 2 | 7.1696 | 7.7959 | 10.2726 | 7.2523 | 7.7361 | 10.3458 | 0.76845 | -0.54378
[32 empty] | Cycle 3 | 6.951 | 7.5584 | 9.9601 | 6.9664 | 7.4315 | 9.9379 | 0.74857 | -0.48965
[32 empty] | Cycle 4 | 6.7351 | 7.3233 | 9.6506 | 6.6936 | 7.1406 | 9.5491 | 0.71544 | -0.54917
[32 empty] | Cycle 5 | 6.5288 | 7.0991 | 9.3551 | 6.4334 | 6.8627 | 9.1783 | 0.7461 | -0.55062
[32 empty] | Cycle 6 | 6.335 | 6.8882 | 9.0775 | 6.1863 | 6.5992 | 8.8256 | 0.70118 | -0.52494
[32 empty] | Cycle 7 | 6.1497 | 6.6872 | 8.8119 | 5.9521 | 6.3496 | 8.4915 | 0.75385 | -0.55098
[32 empty] | Cycle 8 |  |  |  | 5.7288 | 6.1114 | 8.1732
21 | GIRMS\IRMS-operator | 2026-07-16 21:55 | 2026-07-16 23:12 | Success | FALSE | SHP2L |  | 21 | 1 | 12 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 8.388 V | 9.4995 kV | 101 µbar | 93 µbar | Carbon Dioxide: -0.0005 kV | 103 µbar | 8.381 V | 9.415 V | 298 µbar/min | 2.779 V | 8.98E-008 mbar | 25 % | 929 µbar | 72 °C | µ-Volume |  | Pre | 8.1306 | 8.8277 | 11.5866 | 8.5036 | 9.072 | 12.131 | -0.8296 | -5.9625 | -0.84525 | 0.02447 | 0.0086515 | -5.969 | 0.017882 | 0.0063221 | -0.68346 | 0.026333 | -5.9734 | 0.017913
[32 empty] | Cycle 1 | 7.872 | 8.5473 | 11.2183 | 8.1547 | 8.6999 | 11.6334 | -0.80609 | -5.9543
[32 empty] | Cycle 2 | 7.6242 | 8.2781 | 10.865 | 7.8236 | 8.3466 | 11.161 | -0.8439 | -5.9757
[32 empty] | Cycle 3 | 7.3849 | 8.0181 | 10.5243 | 7.509 | 8.0114 | 10.7125 | -0.88102 | -5.9496
[32 empty] | Cycle 4 | 7.1538 | 7.7672 | 10.195 | 7.2094 | 7.6916 | 10.2848 | -0.87222 | -5.9479
[32 empty] | Cycle 5 | 6.9317 | 7.5264 | 9.8781 | 6.9247 | 7.3879 | 9.8788 | -0.83798 | -5.9947
[32 empty] | Cycle 6 | 6.7176 | 7.294 | 9.5732 | 6.6533 | 7.0986 | 9.4917 | -0.85884 | -5.9878
[32 empty] | Cycle 7 | 6.5095 | 7.0682 | 9.2768 | 6.3959 | 6.8241 | 9.1247 | -0.83233 | -5.9791
[32 empty] | Cycle 8 |  |  |  | 6.151 | 6.5625 | 8.7754
22 | GIRMS\IRMS-operator | 2026-07-16 22:32 | 2026-07-16 23:40 | Success | FALSE | MD23-3677Q - G. ruber | 912-914 | 22 | 2 | 12 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 8.095 V | 9.4993 kV | 93 µbar | 101 µbar | Carbon Dioxide: -0.0007 kV | 123 µbar | 8.052 V | 9.033 V | 78 µbar/min | 8.213 V | 8.72E-008 mbar | 25 % | 907 µbar | 72 °C | µ-Volume |  | Pre | 7.9396 | 8.6369 | 11.3794 | 8.1723 | 8.7191 | 11.6579 | 1.045 | -0.20673 | 1.0233 | 0.015445 | 0.0054607 | -0.20741 | 0.010134 | 0.0035828 | 1.1027 | 0.016276 | -0.20995 | 0.010121
[32 empty] | Cycle 1 | 7.706 | 8.3827 | 11.0445 | 7.841 | 8.3655 | 11.1853 | 1.0298 | -0.20849
[32 empty] | Cycle 2 | 7.4804 | 8.1374 | 10.7214 | 7.5269 | 8.0306 | 10.7372 | 1.01 | -0.22493
[32 empty] | Cycle 3 | 7.2612 | 7.8992 | 10.4076 | 7.2284 | 7.7124 | 10.3121 | 1.0108 | -0.21051
[32 empty] | Cycle 4 | 7.0491 | 7.6685 | 10.1035 | 6.944 | 7.4091 | 9.9061 | 1.0453 | -0.19098
[32 empty] | Cycle 5 | 6.8378 | 7.4385 | 9.8007 | 6.6725 | 7.1191 | 9.5188 | 1.025 | -0.19698
[32 empty] | Cycle 6 | 6.6291 | 7.2115 | 9.5015 | 6.4134 | 6.8429 | 9.1492 | 1.0127 | -0.20881
[32 empty] | Cycle 7 | 6.4259 | 6.9904 | 9.2103 | 6.1668 | 6.5798 | 8.7974 | 1.0082 | -0.21187
[32 empty] | Cycle 8 |  |  |  | 5.9314 | 6.3286 | 8.4618
23 | GIRMS\IRMS-operator | 2026-07-16 23:12 | 2026-07-17 00:11 | Success | FALSE | MD23-3677Q - G. ruber | 908-910 | 23 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 9.691 V | 9.4993 kV | 106 µbar | 98 µbar | Carbon Dioxide: -0.0007 kV | 184 µbar | 9.577 V | 10.971 V | 142 µbar/min | 7.897 V | 9.77E-008 mbar | 19 % | 970 µbar | 72 °C | µ-Volume |  | Pre | 9.4136 | 10.2377 | 13.4903 | 9.7278 | 10.3779 | 13.8763 | 0.8532 | -0.27971 | 0.83079 | 0.019919 | 0.0070424 | -0.31136 | 0.021993 | 0.0077757 | 0.90048 | 0.02095 | -0.31357 | 0.021996
[32 empty] | Cycle 1 | 9.1048 | 9.9019 | 13.0479 | 9.3146 | 9.9371 | 13.2865 | 0.83033 | -0.29241
[32 empty] | Cycle 2 | 8.808 | 9.5792 | 12.6225 | 8.923 | 9.5196 | 12.7287 | 0.82615 | -0.3272
[32 empty] | Cycle 3 | 8.5253 | 9.272 | 12.2176 | 8.551 | 9.1228 | 12.198 | 0.82117 | -0.31805
[32 empty] | Cycle 4 | 8.2485 | 8.9712 | 11.8209 | 8.1989 | 8.7475 | 11.6959 | 0.85486 | -0.33659
[32 empty] | Cycle 5 | 7.989 | 8.6885 | 11.449 | 7.864 | 8.3898 | 11.2185 | 0.79505 | -0.33716
[32 empty] | Cycle 6 | 7.7289 | 8.4062 | 11.0766 | 7.548 | 8.0532 | 10.7674 | 0.84496 | -0.29082
[32 empty] | Cycle 7 | 7.4746 | 8.1294 | 10.712 | 7.2483 | 7.7333 | 10.3398 | 0.82059 | -0.30894
[32 empty] | Cycle 8 |  |  |  | 6.9633 | 7.4293 | 9.9336
24 | GIRMS\IRMS-operator | 2026-07-16 23:40 | 2026-07-17 00:49 | Success | FALSE | MD23-3677Q - G. ruber | 904-906 | 24 | 2 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 8.281 V | 9.4992 kV | 101 µbar | 101 µbar | Carbon Dioxide: -0.0008 kV | 174 µbar | 8.284 V | 9.265 V | 83 µbar/min | 9.333 V | 8.81E-008 mbar | 23 % | 929 µbar | 72 °C | µ-Volume |  | Pre | 8.1286 | 8.842 | 11.6518 | 8.4139 | 8.9765 | 12.0022 | 1.0193 | -0.0476 | 1.0461 | 0.03137 | 0.011091 | -0.07942 | 0.019832 | 0.0070117 | 1.1223 | 0.033545 | -0.081869 | 0.01985
[32 empty] | Cycle 1 | 7.8845 | 8.5769 | 11.3021 | 8.0679 | 8.6073 | 11.5087 | 1.0635 | -0.059436
[32 empty] | Cycle 2 | 7.6469 | 8.3186 | 10.9611 | 7.7398 | 8.2573 | 11.041 | 1.0788 | -0.1034
[32 empty] | Cycle 3 | 7.4201 | 8.0717 | 10.6362 | 7.4285 | 7.9254 | 10.5969 | 1.0502 | -0.086349
[32 empty] | Cycle 4 | 7.1999 | 7.8324 | 10.3207 | 7.134 | 7.6112 | 10.1768 | 1.0802 | -0.069394
[32 empty] | Cycle 5 | 6.9867 | 7.6003 | 10.015 | 6.8551 | 7.3137 | 9.779 | 1.0193 | -0.080195
[32 empty] | Cycle 6 | 6.777 | 7.3726 | 9.7145 | 6.5886 | 7.0296 | 9.3987 | 1.0624 | -0.085468
[32 empty] | Cycle 7 | 6.5684 | 7.1455 | 9.4155 | 6.3357 | 6.7598 | 9.0383 | 0.99486 | -0.10352
[32 empty] | Cycle 8 |  |  |  | 6.0935 | 6.5018 | 8.6928
25 | GIRMS\IRMS-operator | 2026-07-17 00:11 | 2026-07-17 00:46 | Error | FALSE | MD23-3677Q - G. ruber | 900-902 | 25 | 1 | 14 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  |  |  | 106 µbar | [10 empty] | 72 °C |  |  | Pre
26 | GIRMS\IRMS-operator | 2026-07-17 00:46 | 2026-07-17 01:35 | Success | FALSE | SHP2L |  | 26 | 2 | 14 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 6.399 V | 9.4992 kV |  | 101 µbar | Carbon Dioxide: -0.0008 kV | 98 µbar | 6.430 V | 7.127 V | 274 µbar/min | 8.081 V | 7.71E-008 mbar | 30 % | 889 µbar | 72 °C | µ-Volume |  | Pre | 6.2602 | 6.7972 | 8.9213 | 6.5373 | 6.9746 | 9.3255 | -0.87289 | -5.8927 | -0.86083 | 0.022625 | 0.007999 | -5.899 | 0.029393 | 0.010392 | -0.70273 | 0.024365 | -5.9034 | 0.029431
[32 empty] | Cycle 1 | 6.0748 | 6.5962 | 8.6572 | 6.2859 | 6.7069 | 8.9669 | -0.87227 | -5.8656
[32 empty] | Cycle 2 | 5.8953 | 6.4013 | 8.4012 | 6.0468 | 6.4518 | 8.6255 | -0.86711 | -5.9046
[32 empty] | Cycle 3 | 5.7218 | 6.2126 | 8.1543 | 5.8185 | 6.2082 | 8.3003 | -0.90277 | -5.8981
[32 empty] | Cycle 4 | 5.5541 | 6.0308 | 7.915 | 5.6007 | 5.9757 | 7.9897 | -0.85322 | -5.937
[32 empty] | Cycle 5 | 5.3932 | 5.8562 | 7.6856 | 5.3919 | 5.7529 | 7.6918 | -0.84178 | -5.9456
[32 empty] | Cycle 6 | 5.2322 | 5.6814 | 7.4566 | 5.1921 | 5.5398 | 7.4068 | -0.84436 | -5.8709
[32 empty] | Cycle 7 | 5.0753 | 5.5111 | 7.2329 | 5.001 | 5.336 | 7.134 | -0.83226 | -5.8776
[32 empty] | Cycle 8 |  |  |  | 4.818 | 5.1407 | 6.8732
27 | GIRMS\IRMS-operator | 2026-07-17 00:49 | 2026-07-17 02:11 | Success | FALSE | MD23-3677Q - G. ruber | 892-894 | 27 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 15.007 V | 9.4994 kV | 101 µbar | 101 µbar | Carbon Dioxide: -0.0006 kV | 125 µbar | 12.694 V | 17.153 V | 405 µbar/min | 6.323 V | 1.19E-007 mbar | 10 % | 987 µbar | 72 °C | µ-Volume | 13.935 V | Pre | 14.6652 | 15.9566 | 21.0049 | 12.9653 | 13.829 | 18.4926 | 1.5016 | -0.75177 | 1.4957 | 0.012578 | 0.004447 | -0.74939 | 0.010583 | 0.0037417 | 1.6282 | 0.013673 | -0.75357 | 0.01061
[32 empty] | Cycle 1 | 14.156 | 15.4027 | 20.2757 | 12.3671 | 13.1915 | 17.6399 | 1.4742 | -0.74641
[32 empty] | Cycle 2 | 13.6677 | 14.8721 | 19.5767 | 11.8046 | 12.5919 | 16.8372 | 1.493 | -0.73305
[32 empty] | Cycle 3 | 13.2007 | 14.3642 | 18.908 | 11.2749 | 12.0271 | 16.0822 | 1.4895 | -0.73938
[32 empty] | Cycle 4 | 12.7514 | 13.8755 | 18.2644 | 10.7767 | 11.4959 | 15.3717 | 1.4936 | -0.76186
[32 empty] | Cycle 5 | 12.3208 | 13.4076 | 17.6478 | 10.3075 | 10.9954 | 14.703 | 1.5191 | -0.76317
[32 empty] | Cycle 6 | 11.9069 | 12.9573 | 17.055 | 9.8644 | 10.5233 | 14.0707 | 1.499 | -0.75506
[32 empty] | Cycle 7 | 11.4973 | 12.5119 | 16.4689 | 9.4472 | 10.0783 | 13.4757 | 1.4958 | -0.7444
[32 empty] | Cycle 8 |  |  |  | 9.0509 | 9.6559 | 12.9108
28 | GIRMS\IRMS-operator | 2026-07-17 01:35 | 2026-07-17 02:45 | Success | FALSE | MD23-3677Q - G. ruber | 884-886 | 28 | 2 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 13.066 V | 9.4992 kV | 96 µbar | 96 µbar | Carbon Dioxide: -0.0008 kV | 665 µbar | 12.231 V | 14.965 V | 308 µbar/min | 12.253 V | 1.14E-007 mbar | 10 % | 997 µbar | 72 °C | µ-Volume |  | Pre | 12.1043 | 13.1709 | 17.3385 | 12.4862 | 13.3177 | 17.8089 | 1.5681 | -0.6213 | 1.5179 | 0.026739 | 0.0094537 | -0.64993 | 0.01536 | 0.0054304 | 1.6482 | 0.028303 | -0.65405 | 0.015343
[32 empty] | Cycle 1 | 11.6815 | 12.7108 | 16.7325 | 11.9202 | 12.7147 | 17.0015 | 1.525 | -0.64836
[32 empty] | Cycle 2 | 11.2745 | 12.2683 | 16.1499 | 11.3866 | 12.1459 | 16.241 | 1.5187 | -0.66489
[32 empty] | Cycle 3 | 10.8859 | 11.8455 | 15.5938 | 10.8833 | 11.6094 | 15.5236 | 1.4987 | -0.66258
[32 empty] | Cycle 4 | 10.515 | 11.4424 | 15.0628 | 10.4071 | 11.1016 | 14.8447 | 1.522 | -0.63613
[32 empty] | Cycle 5 | 10.1441 | 11.0387 | 14.5314 | 9.9572 | 10.622 | 14.2027 | 1.4981 | -0.64775
[32 empty] | Cycle 6 | 9.79 | 10.6535 | 14.0243 | 9.5304 | 10.1669 | 13.5945 | 1.48 | -0.65296
[32 empty] | Cycle 7 | 9.4532 | 10.2874 | 13.5417 | 9.1294 | 9.7394 | 13.0223 | 1.5326 | -0.66545
[32 empty] | Cycle 8 |  |  |  | 8.7503 | 9.3345 | 12.4818
29 | GIRMS\IRMS-operator | 2026-07-17 02:11 | 2026-07-17 03:29 | Success | FALSE | MD23-3677Q - G. ruber | 876-878 | 29 | 1 | 16 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 17.853 V | 9.4995 kV | 96 µbar | 103 µbar | Carbon Dioxide: -0.0005 kV | 103 µbar | 14.293 V | 20.587 V | 293 µbar/min | 2.794 V | 1.28E-007 mbar | 10 % | 1,004 µbar | 72 °C | µ-Volume | 16.324 V | Pre | 17.2489 | 18.7596 | 24.7008 | 14.5846 | 15.5546 | 20.8005 | 1.1598 | -0.85098 | 1.17 | 0.014351 | 0.0054242 | -0.84866 | 0.014402 | 0.0050918 | 1.2833 | 0.015179 | -0.85219 | 0.014401
[32 empty] | Cycle 1 | 16.6083 | 18.0626 | 23.784 | 13.8886 | 14.813 | 19.8083 | 1.0943 | -0.85274
[32 empty] | Cycle 2 | 15.9971 | 17.3996 | 22.9088 | 13.2387 | 14.1205 | 18.8817 | 1.1488 | -0.87297
[32 empty] | Cycle 3 | 15.4206 | 16.7731 | 22.0844 | 12.6292 | 13.471 | 18.013 | 1.1612 | -0.83242
[32 empty] | Cycle 4 | 14.8693 | 16.1738 | 21.2946 | 12.0556 | 12.8591 | 17.1948 | 1.1859 | -0.85404
[32 empty] | Cycle 5 | 14.3432 | 15.6023 | 20.5416 | 11.5141 | 12.2817 | 16.4231 | 1.1843 | -0.85656
[32 empty] | Cycle 6 | 13.8367 | 15.0518 | 19.8167 | 11.003 | 11.7375 | 15.6943 | 1.1683 | -0.84179
[32 empty] | Cycle 7 | 13.354 | 14.5272 | 19.1259 | 10.521 | 11.2235 | 15.0069 | 1.1819 | -0.82777
[32 empty] | Cycle 8 |  |  |  | 10.065 | 10.7372 | 14.3566
30 | GIRMS\IRMS-operator | 2026-07-17 02:45 | 2026-07-17 03:54 | Success | FALSE | MD23-3677Q - G. ruber | 868-870 | 30 | 2 | 16 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  | 14.200 V | 9.4993 kV | 106 µbar | 103 µbar | Carbon Dioxide: -0.0007 kV | 103 µbar | 13.841 V | 16.286 V | 317 µbar/min | 13.871 V | 1.25E-007 mbar | 10 % | 1,019 µbar | 72 °C | µ-Volume |  | Pre | 13.6067 | 14.8075 | 19.4819 | 14.118 | 15.0567 | 20.1343 | 1.7767 | -0.98547 | 1.7887 | 0.018307 | 0.0064726 | -1.0052 | 0.020566 | 0.0072711 | 1.9512 | 0.01979 | -1.0104 | 0.020598
[32 empty] | Cycle 1 | 13.1203 | 14.2787 | 18.7859 | 13.4503 | 14.3456 | 19.1826 | 1.7683 | -0.98257
[32 empty] | Cycle 2 | 12.6578 | 13.776 | 18.1234 | 12.8235 | 13.6775 | 18.289 | 1.7873 | -1.0099
[32 empty] | Cycle 3 | 12.2138 | 13.2932 | 17.4879 | 12.2363 | 13.0516 | 17.4516 | 1.8086 | -1.0268
[32 empty] | Cycle 4 | 11.7845 | 12.8258 | 16.8738 | 11.6801 | 12.4579 | 16.6591 | 1.7795 | -0.99815
[32 empty] | Cycle 5 | 11.3742 | 12.3798 | 16.2863 | 11.162 | 11.9063 | 15.9198 | 1.7809 | -1.0032
[32 empty] | Cycle 6 | 10.9732 | 11.9436 | 15.712 | 10.6742 | 11.386 | 15.2247 | 1.7848 | -1.0423
[32 empty] | Cycle 7 | 10.5883 | 11.5253 | 15.1616 | 10.2125 | 10.8939 | 14.5664 | 1.8237 | -0.99342
[32 empty] | Cycle 8 |  |  |  | 9.7747 | 10.4269 | 13.9417
31 | GIRMS\IRMS-operator | 2026-07-17 03:29 | 2026-07-17 04:29 | Success | FALSE | SHP2L |  | 31 | 1 | 17 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 12.751 V | 9.4994 kV | 101 µbar | 103 µbar | Carbon Dioxide: -0.0006 kV | 108 µbar | 12.768 V | 14.460 V | 293 µbar/min | 13.332 V | 1.18E-007 mbar | 11 % | 982 µbar | 72 °C | µ-Volume |  | Pre | 12.4875 | 13.5549 | 17.7915 | 13.0269 | 13.8938 | 18.5785 | -0.8237 | -5.9193 | -0.84118 | 0.015499 | 0.0054797 | -5.9242 | 0.011461 | 0.0040521 | -0.68077 | 0.016654 | -5.9287 | 0.011479
[32 empty] | Cycle 1 | 12.0718 | 13.1043 | 17.1994 | 12.4244 | 13.252 | 17.72 | -0.82259 | -5.9322
[32 empty] | Cycle 2 | 11.6732 | 12.6715 | 16.6316 | 11.8616 | 12.6521 | 16.9174 | -0.84781 | -5.9337
[32 empty] | Cycle 3 | 11.2911 | 12.2569 | 16.0875 | 11.3323 | 12.0878 | 16.1628 | -0.83644 | -5.9195
[32 empty] | Cycle 4 | 10.9225 | 11.8568 | 15.5626 | 10.8343 | 11.5564 | 15.4523 | -0.86706 | -5.9043
[32 empty] | Cycle 5 | 10.5695 | 11.4742 | 15.0596 | 10.3652 | 11.0567 | 14.7835 | -0.85548 | -5.9384
[32 empty] | Cycle 6 | 10.229 | 11.1048 | 14.5748 | 9.9204 | 10.5826 | 14.1497 | -0.84419 | -5.9309
[32 empty] | Cycle 7 | 9.893 | 10.7403 | 14.0964 | 9.4987 | 10.1328 | 13.5482 | -0.83219 | -5.9154
[32 empty] | Cycle 8 |  |  |  | 9.0994 | 9.7071 | 12.979
32 | GIRMS\IRMS-operator | 2026-07-17 03:54 | 2026-07-17 05:03 | Success | FALSE | MD23-3677Q - G. ruber | 860-862 | 32 | 2 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 18.746 V | 9.4995 kV | 101 µbar | 101 µbar | Carbon Dioxide: -0.0005 kV | 106 µbar | 12.842 V | 21.870 V | 308 µbar/min | 12.367 V | 1.19E-007 mbar | 10 % | 1,036 µbar | 72 °C | µ-Volume | 17.246 V | Pre | 18.3184 | 19.9292 | 26.2264 | 13.1172 | 13.9907 | 18.708 | 1.411 | -1.0813 | 1.457 | 0.032429 | 0.011465 | -1.0721 | 0.01604 | 0.0056711 | 1.5987 | 0.03434 | -1.0765 | 0.016013
[32 empty] | Cycle 1 | 17.5933 | 19.1414 | 25.1894 | 12.5114 | 13.345 | 17.8439 | 1.4278 | -1.0654
[32 empty] | Cycle 2 | 16.908 | 18.3963 | 24.2085 | 11.9413 | 12.7375 | 17.0319 | 1.4299 | -1.085
[32 empty] | Cycle 3 | 16.2547 | 17.6863 | 23.2731 | 11.4074 | 12.1681 | 16.2705 | 1.4495 | -1.0983
[32 empty] | Cycle 4 | 15.6348 | 17.0127 | 22.3865 | 10.9055 | 11.6333 | 15.5549 | 1.4805 | -1.0763
[32 empty] | Cycle 5 | 15.0426 | 16.3689 | 21.5389 | 10.4326 | 11.1288 | 14.8806 | 1.4746 | -1.062
[32 empty] | Cycle 6 | 14.4669 | 15.7432 | 20.7148 | 9.9855 | 10.6528 | 14.2427 | 1.4779 | -1.0593
[32 empty] | Cycle 7 | 13.9087 | 15.1362 | 19.9159 | 9.5602 | 10.1991 | 13.6366 | 1.505 | -1.049
[32 empty] | Cycle 8 |  |  |  | 9.1575 | 9.7694 | 13.0617
33 | GIRMS\IRMS-operator | 2026-07-17 04:29 | 2026-07-17 05:49 | Success | FALSE | MD23-3677Q - G. ruber | 852-854 | 33 | 1 | 18 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 14.635 V | 9.4997 kV | 96 µbar | 98 µbar | Carbon Dioxide: -0.0003 kV | 106 µbar | 13.526 V | 16.667 V | 181 µbar/min | 2.791 V | 1.22E-007 mbar | 11 % | 990 µbar | 72 °C | µ-Volume |  | Pre | 13.3731 | 14.5383 | 19.1536 | 13.7622 | 14.6778 | 19.6268 | 0.72748 | -0.66428 | 0.71204 | 0.024442 | 0.0086415 | -0.65832 | 0.012011 | 0.0042467 | 0.78624 | 0.026052 | -0.66063 | 0.012011
[32 empty] | Cycle 1 | 12.9188 | 14.0448 | 18.5036 | 13.1198 | 13.993 | 18.7113 | 0.73831 | -0.65116
[32 empty] | Cycle 2 | 12.4828 | 13.5711 | 17.8794 | 12.5157 | 13.3489 | 17.8499 | 0.74566 | -0.65159
[32 empty] | Cycle 3 | 12.0624 | 13.1143 | 17.2776 | 11.948 | 12.7438 | 17.041 | 0.71792 | -0.65295
[32 empty] | Cycle 4 | 11.6556 | 12.6726 | 16.6947 | 11.4109 | 12.1716 | 16.2747 | 0.709 | -0.6742
[32 empty] | Cycle 5 | 11.2673 | 12.2506 | 16.1387 | 10.9044 | 11.6319 | 15.5527 | 0.68064 | -0.67567
[32 empty] | Cycle 6 | 10.895 | 11.8462 | 15.606 | 10.4278 | 11.124 | 14.8731 | 0.68834 | -0.65533
[32 empty] | Cycle 7 | 10.5347 | 11.4543 | 15.0903 | 9.9766 | 10.6427 | 14.2301 | 0.68898 | -0.64138
[32 empty] | Cycle 8 |  |  |  | 9.55 | 10.1873 | 13.6213
34 | GIRMS\IRMS-operator | 2026-07-17 05:03 | 2026-07-17 06:13 | Success | FALSE | MD23-3677Q - G. ruber | 844-846 | 34 | 2 | 18 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  | 15.671 V | 9.4996 kV | 101 µbar | 98 µbar | Carbon Dioxide: -0.0004 kV | 98 µbar | 13.879 V | 18.063 V | 298 µbar/min | 13.119 V | 1.26E-007 mbar | 10 % | 1,019 µbar | 72 °C | µ-Volume | 14.473 V | Pre | 15.3105 | 16.6428 | 21.9278 | 14.1696 | 15.1128 | 20.2087 | 0.59934 | -0.71386 | 0.66332 | 0.046591 | 0.016472 | -0.72895 | 0.012081 | 0.0042711 | 0.73672 | 0.04993 | -0.73123 | 0.012111
[32 empty] | Cycle 1 | 14.7468 | 16.0308 | 21.1201 | 13.4996 | 14.3984 | 19.2531 | 0.62299 | -0.73944
[32 empty] | Cycle 2 | 14.207 | 15.4448 | 20.3479 | 12.8711 | 13.7287 | 18.3571 | 0.62839 | -0.71203
[32 empty] | Cycle 3 | 13.69 | 14.8839 | 19.6075 | 12.2799 | 13.0987 | 17.5141 | 0.68786 | -0.73791
[32 empty] | Cycle 4 | 13.1918 | 14.3421 | 18.8945 | 11.7269 | 12.5087 | 16.7262 | 0.68192 | -0.7376
[32 empty] | Cycle 5 | 12.7154 | 13.8244 | 18.2124 | 11.206 | 11.9531 | 15.9835 | 0.66842 | -0.73474
[32 empty] | Cycle 6 | 12.2668 | 13.3371 | 17.5699 | 10.7153 | 11.4303 | 15.2836 | 0.6692 | -0.73821
[32 empty] | Cycle 7 | 11.8212 | 12.8541 | 16.9322 | 10.2525 | 10.9367 | 14.6237 | 0.74845 | -0.71786
[32 empty] | Cycle 8 |  |  |  | 9.813 | 10.4686 | 13.9969
35 | GIRMS\IRMS-operator | 2026-07-17 05:49 | 2026-07-17 06:49 | Success | FALSE | MD23-3677Q - G. ruber | 832-834 | 35 | 1 | 19 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 17.584 V | 9.4996 kV | 98 µbar | 98 µbar | Carbon Dioxide: -0.0004 kV | 108 µbar | 13.351 V | 20.268 V | 278 µbar/min | 13.380 V | 1.22E-007 mbar | 10 % | 995 µbar | 72 °C | µ-Volume | 16.276 V | Pre | 17.2035 | 18.706 | 24.6377 | 13.6335 | 14.541 | 19.4447 | 0.88334 | -0.78316 | 0.9379 | 0.038757 | 0.013703 | -0.78797 | 0.02124 | 0.0075096 | 1.0327 | 0.041403 | -0.79093 | 0.021255
[32 empty] | Cycle 1 | 16.5691 | 18.0169 | 23.7289 | 12.9963 | 13.8621 | 18.5355 | 0.89511 | -0.80134
[32 empty] | Cycle 2 | 15.966 | 17.3622 | 22.8657 | 12.3984 | 13.2245 | 17.6834 | 0.92938 | -0.79426
[32 empty] | Cycle 3 | 15.3891 | 16.7354 | 22.0408 | 11.8378 | 12.6271 | 16.8839 | 0.93132 | -0.75495
[32 empty] | Cycle 4 | 14.8383 | 16.137 | 21.2519 | 11.3112 | 12.0656 | 16.1332 | 0.94429 | -0.7823
[32 empty] | Cycle 5 | 14.3118 | 15.565 | 20.4981 | 10.8147 | 11.5361 | 15.4254 | 0.94831 | -0.79675
[32 empty] | Cycle 6 | 13.8093 | 15.0192 | 19.7784 | 10.3464 | 11.0372 | 14.7579 | 0.96494 | -0.82381
[32 empty] | Cycle 7 | 13.3174 | 14.4844 | 19.0748 | 9.9025 | 10.5637 | 14.1252 | 1.0065 | -0.76718
[32 empty] | Cycle 8 |  |  |  | 9.4803 | 10.1128 | 13.5223
36 | GIRMS\IRMS-operator | 2026-07-17 06:13 | 2026-07-17 07:23 | Success | FALSE | SHP2L |  | 36 | 2 | 19 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 20.013 V | 9.4997 kV | 93 µbar | 98 µbar | Carbon Dioxide: -0.0003 kV | 113 µbar | 12.867 V | 23.497 V | 249 µbar/min | 12.885 V | 1.19E-007 mbar | 10 % | 1,024 µbar | 72 °C | µ-Volume | 18.395 V | Pre | 19.5998 | 21.2663 | 27.9214 | 13.1477 | 14.0231 | 18.7525 | -1.2393 | -6.0951 | -1.1694 | 0.056566 | 0.019999 | -6.0707 | 0.021805 | 0.0077093 | -1.0265 | 0.05988 | -6.0746 | 0.021726
[32 empty] | Cycle 1 | 18.8177 | 20.4187 | 26.8077 | 12.5446 | 13.3799 | 17.8919 | -1.2154 | -6.0881
[32 empty] | Cycle 2 | 18.0714 | 19.6096 | 25.7453 | 11.9767 | 12.7747 | 17.0826 | -1.2241 | -6.087
[32 empty] | Cycle 3 | 17.3643 | 18.8439 | 24.7384 | 11.4397 | 12.2025 | 16.3169 | -1.1941 | -6.0822
[32 empty] | Cycle 4 | 16.6901 | 18.1134 | 23.7783 | 10.9342 | 11.664 | 15.5963 | -1.1525 | -6.0626
[32 empty] | Cycle 5 | 16.0462 | 17.4153 | 22.8619 | 10.4563 | 11.1541 | 14.9142 | -1.1256 | -6.0284
[32 empty] | Cycle 6 | 15.4187 | 16.7348 | 21.9675 | 10.0051 | 10.6733 | 14.2712 | -1.1187 | -6.0615
[32 empty] | Cycle 7 | 14.8218 | 16.0878 | 21.1178 | 9.5774 | 10.2171 | 13.6612 | -1.0856 | -6.0611
[32 empty] | Cycle 8 |  |  |  | 9.1725 | 9.7853 | 13.0842
37 | GIRMS\IRMS-operator | 2026-07-17 06:49 | 2026-07-17 08:10 | Success | FALSE | MD23-3677Q - G. ruber | 824-826 | 37 | 1 | 20 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 15.135 V | 9.5000 kV | 93 µbar | 93 µbar | Carbon Dioxide: 0.0000 kV | 106 µbar | 13.900 V | 17.348 V | 288 µbar/min | 2.785 V | 1.26E-007 mbar | 11 % | 975 µbar | 72 °C | µ-Volume |  | Pre | 13.7954 | 14.9971 | 19.7618 | 14.1496 | 15.0915 | 20.181 | 0.67516 | -0.5701 | 0.61011 | 0.014888 | 0.0056271 | -0.57736 | 0.016656 | 0.0058888 | 0.67422 | 0.015791 | -0.57937 | 0.016658
[32 empty] | Cycle 1 | 13.3154 | 14.4746 | 19.0747 | 13.4792 | 14.3768 | 19.2252 | 0.60752 | -0.55777
[32 empty] | Cycle 2 | 12.8565 | 13.976 | 18.4175 | 12.8525 | 13.7087 | 18.3315 | 0.59964 | -0.55655
[32 empty] | Cycle 3 | 12.4152 | 13.497 | 17.7854 | 12.262 | 13.0794 | 17.4897 | 0.60866 | -0.58237
[32 empty] | Cycle 4 | 11.9932 | 13.0389 | 17.181 | 11.7074 | 12.4883 | 16.699 | 0.62267 | -0.58833
[32 empty] | Cycle 5 | 11.589 | 12.5996 | 16.6021 | 11.1859 | 11.9323 | 15.9553 | 0.61701 | -0.58202
[32 empty] | Cycle 6 | 11.1995 | 12.1763 | 16.0446 | 10.6935 | 11.4072 | 15.253 | 0.62993 | -0.5744
[32 empty] | Cycle 7 | 10.8274 | 11.7716 | 15.5114 | 10.2287 | 10.9114 | 14.5905 | 0.58535 | -0.60731
[32 empty] | Cycle 8 |  |  |  | 9.7901 | 10.444 | 13.965
38 | GIRMS\IRMS-operator | 2026-07-17 07:23 | 2026-07-17 08:34 | Success | FALSE | MD23-3677Q - G. ruber | 816-818 | 38 | 2 | 20 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  | 16.545 V | 9.4997 kV | 91 µbar | 98 µbar | Carbon Dioxide: -0.0003 kV | 106 µbar | 13.776 V | 19.129 V | 249 µbar/min | 13.465 V | 1.26E-007 mbar | 10 % | 1,012 µbar | 72 °C | µ-Volume | 15.272 V | Pre | 16.1662 | 17.5739 | 23.1573 | 14.0642 | 15.0005 | 20.0585 | 0.65702 | -0.56106 | 0.70642 | 0.041248 | 0.01559 | -0.55993 | 0.014078 | 0.0049772 | 0.77646 | 0.0442 | -0.56217 | 0.014191
[32 empty] | Cycle 1 | 15.5589 | 16.9144 | 22.2879 | 13.4011 | 14.2934 | 19.1132 | 0.66203 | -0.54653
[32 empty] | Cycle 2 | 14.978 | 16.2837 | 21.456 | 12.7782 | 13.6299 | 18.2248 | 0.69352 | -0.54293
[32 empty] | Cycle 3 | 14.4225 | 15.68 | 20.6603 | 12.1931 | 13.0052 | 17.3904 | 0.70813 | -0.56309
[32 empty] | Cycle 4 | 13.892 | 15.1038 | 19.9006 | 11.6433 | 12.4192 | 16.6068 | 0.7112 | -0.57219
[32 empty] | Cycle 5 | 13.3862 | 14.5546 | 19.1768 | 11.1274 | 11.8695 | 15.8713 | 0.73946 | -0.54918
[32 empty] | Cycle 6 | 12.881 | 14.0069 | 18.4527 | 10.64 | 11.3494 | 15.1762 | 0.8576 | -0.58525
[32 empty] | Cycle 7 | 12.4088 | 13.4927 | 17.7768 | 10.1803 | 10.8592 | 14.5209 | 0.7736 | -0.55921
[32 empty] | Cycle 8 |  |  |  | 9.7463 | 10.3969 | 13.9016
39 | GIRMS\IRMS-operator | 2026-07-17 08:10 | 2026-07-17 08:54 | Error | FALSE | MD23-3677Q - G. ruber | 808-810 | 39 | 1 | 21 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  |  |  | 93 µbar |  |  | 98 µbar |  |  | 283 µbar/min |  |  |  | 973 µbar | 72 °C |  |  | Pre
40 | GIRMS\IRMS-operator | 2026-07-17 08:34 | 2026-07-17 08:54 | Error | FALSE | MD23-3677Q - G. ruber | 800-802 | 40 | 2 | 21 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V | [17 empty] | Pre
41 | GIRMS\IRMS-operator | 2026-07-17 10:23 | 2026-07-17 11:26 | Success | FALSE | SHP2L |  | 41 | 1 | 22 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 12.432 V | 9.5002 kV | 86 µbar | 106 µbar | Carbon Dioxide: 0.0002 kV | 113 µbar | 11.911 V | 14.196 V | 288 µbar/min | 2.787 V | 1.12E-007 mbar | 14 % | 1,004 µbar | 72 °C | µ-Volume |  | Pre | 11.7454 | 12.7509 | 16.7365 | 12.1008 | 12.9077 | 17.2601 | -0.81714 | -5.898 | -0.81641 | 0.022155 | 0.007833 | -5.895 | 0.0086922 | 0.0030732 | -0.65534 | 0.02356 | -5.8995 | 0.0086786
[32 empty] | Cycle 1 | 11.3451 | 12.317 | 16.1666 | 11.5556 | 12.3267 | 16.4826 | -0.7801 | -5.8821
[32 empty] | Cycle 2 | 10.9607 | 11.8991 | 15.6187 | 11.0428 | 11.7795 | 15.7512 | -0.82056 | -5.909
[32 empty] | Cycle 3 | 10.5906 | 11.4979 | 15.0917 | 10.5596 | 11.2643 | 15.0627 | -0.80227 | -5.8971
[32 empty] | Cycle 4 | 10.2364 | 11.1138 | 14.5872 | 10.1026 | 10.7772 | 14.4106 | -0.8005 | -5.8855
[32 empty] | Cycle 5 | 9.8978 | 10.7463 | 14.1047 | 9.6701 | 10.3162 | 13.794 | -0.8224 | -5.8975
[32 empty] | Cycle 6 | 9.5687 | 10.3892 | 13.6358 | 9.2564 | 9.8752 | 13.204 | -0.83823 | -5.9008
[32 empty] | Cycle 7 | 9.2545 | 10.0483 | 13.1883 | 8.8688 | 9.4619 | 12.651 | -0.85009 | -5.8901
[32 empty] | Cycle 8 |  |  |  | 8.5014 | 9.0702 | 12.1271
42 | GIRMS\IRMS-operator | 2026-07-17 11:01 | 2026-07-17 11:51 | Running | FALSE | MD23-3677Q - G. ruber | 792-794 | 42 | 2 | 22 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 18.683 V | 9.4999 kV | 108 µbar | 101 µbar | Carbon Dioxide: -0.0001 kV | 113 µbar | 13.862 V | 21.743 V | 259 µbar/min | 11.593 V | 1.26E-007 mbar | 10 % | 1,031 µbar | 72 °C | µ-Volume | 17.172 V | Pre | 18.2375 | 19.8245 | 26.1305 | 14.1516 | 15.0928 | 20.1838 | 0.62206 | -0.37049 | 0.65311 | 0.039884 | 0.014101 | -0.37103 | 0.017867 | 0.006317 | 0.71256 | 0.042611 | -0.37291 | 0.017877
[32 empty] | Cycle 1 | 17.5233 | 19.0492 | 25.108 | 13.4831 | 14.3809 | 19.2311 | 0.61932 | -0.3565
[32 empty] | Cycle 2 | 16.8442 | 18.311 | 24.1347 | 12.8587 | 13.7156 | 18.3405 | 0.58626 | -0.37722
[32 empty] | Cycle 3 | 16.1973 | 17.6095 | 23.2083 | 12.2704 | 13.0885 | 17.5018 | 0.65421 | -0.38358
[32 empty] | Cycle 4 | 15.5812 | 16.9402 | 22.3258 | 11.7149 | 12.4963 | 16.71 | 0.6779 | -0.39504
[32 empty] | Cycle 5 | 14.9907 | 16.2988 | 21.4801 | 11.1927 | 11.9391 | 15.9655 | 0.68138 | -0.38759
[32 empty] | Cycle 6 | 14.4113 | 15.6695 | 20.6508 | 10.6998 | 11.4142 | 15.2624 | 0.6835 | -0.34843
[32 empty] | Cycle 7 | 13.8555 | 15.0657 | 19.8544 | 10.2361 | 10.9197 | 14.6012 | 0.70025 | -0.34943
[32 empty] | Cycle 8 |  |  |  | 9.7981 | 10.4527 | 13.9763
43 | GIRMS\IRMS-operator | 2026-07-17 11:26 | 2026-07-17 12:27 | Running | FALSE | MD23-3677Q - G. ruber | 780-782 | 43 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 13.578 V | 9.4998 kV | 98 µbar | 86 µbar | Carbon Dioxide: -0.0002 kV | 96 µbar | 13.326 V | 15.753 V | 269 µbar/min | 13.354 V | 1.22E-007 mbar | 10 % | 958 µbar | 72 °C | µ-Volume |  | Pre | 13.1097 | 14.253 | 18.7818 | 13.5998 | 14.505 | 19.3969 | 0.78172 | -0.44956 | 0.77113 | 0.0094053 | 0.0033253 | -0.45353 | 0.017368 | 0.0061405 | 0.8419 | 0.0096844 | -0.45576 | 0.017374
[32 empty] | Cycle 1 | 12.619 | 13.7201 | 18.0794 | 12.9633 | 13.8265 | 18.4895 | 0.777 | -0.43714
[32 empty] | Cycle 2 | 12.1514 | 13.212 | 17.4098 | 12.3674 | 13.1918 | 17.6398 | 0.78273 | -0.43088
[32 empty] | Cycle 3 | 11.7068 | 12.7287 | 16.7724 | 11.8085 | 12.5953 | 16.843 | 0.7652 | -0.47716
[32 empty] | Cycle 4 | 11.2798 | 12.265 | 16.1612 | 11.2813 | 12.0339 | 16.0913 | 0.77593 | -0.45802
[32 empty] | Cycle 5 | 10.8725 | 11.8221 | 15.578 | 10.783 | 11.5023 | 15.3808 | 0.76352 | -0.43748
[32 empty] | Cycle 6 | 10.4839 | 11.3999 | 15.0213 | 10.3126 | 11.0008 | 14.7098 | 0.75725 | -0.46943
[32 empty] | Cycle 7 | 10.1129 | 10.9971 | 14.4901 | 9.8679 | 10.5268 | 14.0763 | 0.76572 | -0.46853
[32 empty] | Cycle 8 |  |  |  | 9.448 | 10.0794 | 13.4772
44 | GIRMS\IRMS-operator | 2026-07-17 11:51 | 2026-07-17 12:59 | Running | FALSE | MD23-3677Q - G. ruber | 768-770 | 44 | 2 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 17.523 V | 9.4999 kV | 86 µbar | 86 µbar | Carbon Dioxide: -0.0001 kV | 235 µbar | 12.861 V | 20.645 V | 303 µbar/min | 12.886 V | 1.19E-007 mbar | 10 % | 965 µbar | 72 °C | µ-Volume | 16.069 V | Pre | 17.1523 | 18.6394 | 24.5817 | 13.1344 | 14.0092 | 18.7343 | 0.27705 | -0.17317 | 0.34255 | 0.04181 | 0.014782 | -0.15424 | 0.01732 | 0.0061236 | 0.37224 | 0.044197 | -0.15518 | 0.017259
[32 empty] | Cycle 1 | 16.4541 | 17.8818 | 23.5817 | 12.5281 | 13.3626 | 17.8697 | 0.31566 | -0.15604
[32 empty] | Cycle 2 | 15.7909 | 17.1622 | 22.6316 | 11.9592 | 12.7564 | 17.0584 | 0.32372 | -0.16607
[32 empty] | Cycle 3 | 15.16 | 16.477 | 21.7275 | 11.4228 | 12.1849 | 16.2938 | 0.31397 | -0.17693
[32 empty] | Cycle 4 | 14.5611 | 15.8268 | 20.87 | 10.9172 | 11.646 | 15.5727 | 0.34976 | -0.14082
[32 empty] | Cycle 5 | 13.9867 | 15.2035 | 20.0471 | 10.4415 | 11.1384 | 14.8942 | 0.39419 | -0.13446
[32 empty] | Cycle 6 | 13.4466 | 14.6164 | 19.2733 | 9.9921 | 10.6597 | 14.2535 | 0.38815 | -0.13162
[32 empty] | Cycle 7 | 12.9293 | 14.0542 | 18.5318 | 9.5671 | 10.2059 | 13.6474 | 0.37794 | -0.15478
[32 empty] | Cycle 8 |  |  |  | 9.1645 | 9.777 | 13.0733
45 | GIRMS\IRMS-operator | 2026-07-17 12:27 | 2026-07-17 13:45 | Running | FALSE | MD23-3677Q - G. ruber | 756-758 | 45 | 1 | 24 | TRUE | Unknown |  | 0.002 V, 0.001 V, 0.002 V |  | 13.258 V | 9.5000 kV | 81 µbar | 86 µbar | Carbon Dioxide: 0.0000 kV | 86 µbar | 12.536 V | 15.194 V | 288 µbar/min | 2.786 V | 1.17E-007 mbar | 13 % | 924 µbar | 72 °C | µ-Volume |  | Pre | 12.3515 | 13.4338 | 17.689 | 12.7413 | 13.5907 | 18.1743 | 1.0606 | -0.92916 | 1.0479 | 0.018323 | 0.0064782 | -0.94414 | 0.019054 | 0.0067367 | 1.1562 | 0.019504 | -0.94752 | 0.019068
[32 empty] | Cycle 1 | 11.9133 | 12.9574 | 17.0614 | 12.1572 | 12.9681 | 17.3416 | 1.0377 | -0.95579
[32 empty] | Cycle 2 | 11.493 | 12.5006 | 16.4598 | 11.6089 | 12.3837 | 16.56 | 1.0564 | -0.96702
[32 empty] | Cycle 3 | 11.0894 | 12.0619 | 15.882 | 11.0928 | 11.833 | 15.8242 | 1.0459 | -0.96095
[32 empty] | Cycle 4 | 10.7019 | 11.6405 | 15.327 | 10.605 | 11.3134 | 15.1282 | 1.0155 | -0.94837
[32 empty] | Cycle 5 | 10.3329 | 11.2401 | 14.7989 | 10.1443 | 10.8222 | 14.471 | 1.0777 | -0.93077
[32 empty] | Cycle 6 | 9.9796 | 10.8554 | 14.2928 | 9.7088 | 10.3578 | 13.8499 | 1.0493 | -0.95066
[32 empty] | Cycle 7 | 9.6394 | 10.4855 | 13.8062 | 9.2975 | 9.9186 | 13.2632 | 1.0397 | -0.91043
[32 empty] | Cycle 8 |  |  |  | 8.9065 | 9.5023 | 12.7056
46 | GIRMS\IRMS-operator | 2026-07-17 12:59 | 2026-07-17 14:11 | Running | FALSE | SHP2L |  | 46 | 2 | 24 | TRUE | QC Standard | SHP2L | 0.006 V, 0.007 V, 0.009 V |  | 8.294 V | 9.4999 kV | 89 µbar | 86 µbar | Carbon Dioxide: -0.0001 kV | 96 µbar | 7.675 V | 9.342 V | 269 µbar/min | 12.182 V | 8.51E-008 mbar | 26 % | 902 µbar | 72 °C | µ-Volume |  | Pre | 7.5182 | 8.1635 | 10.7143 | 7.7849 | 8.3052 | 11.1055 | -0.76777 | -5.9079 | -0.77257 | 0.01885 | 0.0066643 | -5.9046 | 0.016746 | 0.0059205 | -0.60808 | 0.020345 | -5.9091 | 0.016775
[32 empty] | Cycle 1 | 7.2744 | 7.899 | 10.367 | 7.4721 | 7.972 | 10.6593 | -0.78224 | -5.8869
[32 empty] | Cycle 2 | 7.0409 | 7.6455 | 10.0343 | 7.1746 | 7.6549 | 10.2349 | -0.79047 | -5.8867
[32 empty] | Cycle 3 | 6.815 | 7.4003 | 9.7123 | 6.892 | 7.3534 | 9.8319 | -0.80423 | -5.9086
[32 empty] | Cycle 4 | 6.5975 | 7.1642 | 9.4024 | 6.6225 | 7.0659 | 9.4475 | -0.7519 | -5.885
[32 empty] | Cycle 5 | 6.3863 | 6.9346 | 9.1013 | 6.3657 | 6.7915 | 9.081 | -0.77057 | -5.9107
[32 empty] | Cycle 6 | 6.1833 | 6.7146 | 8.8122 | 6.1206 | 6.5302 | 8.7318 | -0.74919 | -5.9219
[32 empty] | Cycle 7 | 5.9883 | 6.503 | 8.5343 | 5.8884 | 6.2828 | 8.4006 | -0.76421 | -5.9288
[32 empty] | Cycle 8 |  |  |  | 5.6667 | 6.0464 | 8.0843