## Sheet1
New Table
Sample | [12 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Pressure Adjust failed with Target Intensity | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[32 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[32 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-05-20 12:37 | 2026-05-20 13:31 | Running | FALSE | SHP2L |  | 1 | 2 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 0.012 V | 9.5176 kV | 91 µbar | 858 µbar | Carbon Dioxide: 0.0176 kV | 103 µbar | 2.078 V | 0.012 V | 0.014 V | 132 µbar/min | 2.293 V | 4.05E-008 mbar | 100 % | 838 µbar | 72 °C | µ-Volume | Pre | 0.012004 | 0.01297 | 0.016981 | 2.1453 | 2.2893 | 3.0623 | -5.8866 | -13.7916 | -5.8241 | 0.44173 | 0.16696 | -13.3043 | 0.88817 | 0.31402 | -5.522 | 0.72901 | -13.3059 | 0.88797
[31 empty] | Cycle 1 | 0.011669 | 0.012616 | 0.016507 | 2.0715 | 2.2104 | 2.9567 | -5.2879 | -13.8069
[31 empty] | Cycle 2 | 0.011468 | 0.012384 | 0.01622 | 2.0049 | 2.1395 | 2.8617 | -6.4719 | -13.9425
[31 empty] | Cycle 3 | 0.0113 | 0.012203 | 0.015988 | 1.9411 | 2.0714 | 2.7706 | -6.3407 | -13.5765
[31 empty] | Cycle 4 | 0.01114 | 0.012038 | 0.015749 | 1.8796 | 2.0056 | 2.6827 | -5.7304 | -14.3567
[31 empty] | Cycle 5 | 0.010984 | 0.011874 | 0.015557 | 1.8201 | 1.9423 | 2.5979 | -5.4714 | -12.5656
[31 empty] | Cycle 6 | 0.010826 | 0.011717 | 0.015345 | 1.7628 | 1.8811 | 2.5159 | -4.2051 | -11.725
[31 empty] | Cycle 7 | 0.010676 | 0.011539 | 0.015119 | 1.7073 | 1.8219 | 2.4368 | -5.5797 | -12.6694
[31 empty] | Cycle 8 |  |  |  | 1.6538 | 1.7647 | 2.3604
2 | GIRMS\IRMS-operator | 2026-05-20 13:09 | 2026-05-20 14:03 | Running | FALSE | MD23-3678 - N. dutertrei | 1633 | 2 | 2 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 18.500 V | 9.5177 kV | 93 µbar | 108 µbar | Carbon Dioxide: 0.0177 kV | 357 µbar | 17.177 V | 21.454 V |  | 83 µbar/min | 2.073 V | 1.49E-007 mbar | 10 % | 951 µbar | 72 °C | µ-Volume | Pre | 17.0028 | 18.4963 | 24.3842 | 17.8084 | 18.9906 | 25.412 | 1.5128 | 0.078632 | 1.4873 | 0.026801 | 0.0094754 | 0.072978 | 0.0089627 | 0.0031688 | 1.5888 | 0.028421 | 0.069695 | 0.0089254
[31 empty] | Cycle 1 | 16.3581 | 17.7957 | 23.4598 | 16.9019 | 18.0247 | 24.1189 | 1.5084 | 0.085739
[31 empty] | Cycle 2 | 15.7437 | 17.1281 | 22.5788 | 16.0571 | 17.1247 | 22.9132 | 1.5025 | 0.076358
[31 empty] | Cycle 3 | 15.1571 | 16.4906 | 21.738 | 15.267 | 16.2828 | 21.7863 | 1.493 | 0.07657
[31 empty] | Cycle 4 | 14.5975 | 15.8814 | 20.9353 | 14.5276 | 15.495 | 20.7316 | 1.434 | 0.056248
[31 empty] | Cycle 5 | 14.0699 | 15.3089 | 20.1792 | 13.8382 | 14.76 | 19.7479 | 1.502 | 0.069125
[31 empty] | Cycle 6 | 13.5615 | 14.7561 | 19.4505 | 13.1919 | 14.0713 | 18.8261 | 1.4828 | 0.066283
[31 empty] | Cycle 7 | 13.0754 | 14.2274 | 18.7538 | 12.5839 | 13.4233 | 17.9589 | 1.4629 | 0.074872
[31 empty] | Cycle 8 |  |  |  | 12.0117 | 12.8134 | 17.1425
3 | GIRMS\IRMS-operator | 2026-05-20 13:31 | 2026-05-20 14:36 | Running | FALSE | MD23-3678 - N. dutertrei | 1625 | 1 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 17.952 V | 9.5172 kV | 111 µbar | 96 µbar | Carbon Dioxide: 0.0172 kV | 96 µbar | 16.194 V | 20.950 V |  | 337 µbar/min | 16.243 V | 1.42E-007 mbar | 10 % | 955 µbar | 72 °C | µ-Volume | Pre | 16.1558 | 17.5806 | 23.1635 | 16.7775 | 17.8905 | 23.9385 | 1.8969 | -0.062802 | 1.8472 | 0.038319 | 0.013548 | -0.11339 | 0.011552 | 0.0043661 | 1.9805 | 0.040389 | -0.11767 | 0.0115
[31 empty] | Cycle 1 | 15.528 | 16.8981 | 22.2629 | 15.9436 | 17.0016 | 22.7486 | 1.8849 | -0.10057
[31 empty] | Cycle 2 | 14.9312 | 16.2503 | 21.4079 | 15.1662 | 16.174 | 21.6402 | 1.8943 | -0.10231
[31 empty] | Cycle 3 | 14.3627 | 15.6309 | 20.5926 | 14.4371 | 15.3978 | 20.6001 | 1.8042 | -0.13479
[31 empty] | Cycle 4 | 13.819 | 15.0396 | 19.8138 | 13.7526 | 14.6678 | 19.6241 | 1.8151 | -0.10924
[31 empty] | Cycle 5 | 13.2963 | 14.4717 | 19.0644 | 13.1107 | 13.9838 | 18.7082 | 1.8355 | -0.11321
[31 empty] | Cycle 6 | 12.8035 | 13.9356 | 18.3583 | 12.5081 | 13.3416 | 17.8484 | 1.8242 | -0.11955
[31 empty] | Cycle 7 | 12.3308 | 13.4216 | 17.681 | 11.9422 | 12.7383 | 17.0418 | 1.8224 | -0.11405
[31 empty] | Cycle 8 |  |  |  | 11.4072 | 12.1682 | 16.2781
4 | GIRMS\IRMS-operator | 2026-05-20 14:03 | 2026-05-20 15:13 | Running | FALSE | MD23-3678 - N. dutertrei | 1617 | 2 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.092 V | 9.5173 kV | 96 µbar | 96 µbar | Carbon Dioxide: 0.0173 kV | 198 µbar | 12.900 V | 14.949 V |  | 171 µbar/min | 15.256 V | 1.21E-007 mbar | 13 % | 882 µbar | 72 °C | µ-Volume | Pre | 12.6865 | 13.8043 | 18.1906 | 13.3114 | 14.1976 | 18.9952 | 1.5733 | -0.10843 | 1.539 | 0.023982 | 0.0084791 | -0.10927 | 0.017106 | 0.0060478 | 1.6508 | 0.025926 | -0.11286 | 0.017146
[31 empty] | Cycle 1 | 12.2444 | 13.3237 | 17.5567 | 12.6954 | 13.5414 | 18.1159 | 1.5589 | -0.11043
[31 empty] | Cycle 2 | 11.8225 | 12.8652 | 16.9519 | 12.116 | 12.9239 | 17.2893 | 1.564 | -0.1247
[31 empty] | Cycle 3 | 11.4184 | 12.4252 | 16.373 | 11.5719 | 12.3439 | 16.5134 | 1.5192 | -0.093197
[31 empty] | Cycle 4 | 11.0277 | 12.0004 | 15.8131 | 11.0585 | 11.7966 | 15.7805 | 1.5194 | -0.081794
[31 empty] | Cycle 5 | 10.6525 | 11.5922 | 15.2753 | 10.5742 | 11.2803 | 15.09 | 1.5072 | -0.10566
[31 empty] | Cycle 6 | 10.2933 | 11.2019 | 14.7603 | 10.1163 | 10.7921 | 14.4371 | 1.5372 | -0.11294
[31 empty] | Cycle 7 | 9.9483 | 10.8266 | 14.2653 | 9.683 | 10.33 | 13.8187 | 1.5327 | -0.13699
[31 empty] | Cycle 8 |  |  |  | 9.2727 | 9.8926 | 13.2333
5 | GIRMS\IRMS-operator | 2026-05-20 14:36 | 2026-05-20 15:53 | Running | FALSE | MD23-3678 - N. dutertrei | 1609 | 1 | 4 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 18.225 V | 9.5175 kV | 106 µbar | 93 µbar | Carbon Dioxide: 0.0175 kV | 128 µbar | 17.324 V | 21.293 V |  | 361 µbar/min | 2.311 V | 1.49E-007 mbar | 10 % | 948 µbar | 72 °C | µ-Volume | Pre | 17.0716 | 18.5723 | 24.4736 | 17.9811 | 19.1738 | 25.6586 | 1.6048 | -0.30491 | 1.5536 | 0.03113 | 0.011006 | -0.30538 | 0.014119 | 0.004992 | 1.6736 | 0.03339 | -0.30922 | 0.014145
[31 empty] | Cycle 1 | 16.3907 | 17.8317 | 23.4975 | 17.0655 | 18.199 | 24.3523 | 1.5453 | -0.32073
[31 empty] | Cycle 2 | 15.7443 | 17.1294 | 22.5714 | 16.2116 | 17.2893 | 23.1343 | 1.5583 | -0.30244
[31 empty] | Cycle 3 | 15.132 | 16.4637 | 21.6936 | 15.4156 | 16.4407 | 21.9983 | 1.5398 | -0.30557
[31 empty] | Cycle 4 | 14.5482 | 15.829 | 20.8572 | 14.6709 | 15.6479 | 20.936 | 1.52 | -0.28744
[31 empty] | Cycle 5 | 13.9922 | 15.2255 | 20.0605 | 13.9751 | 14.906 | 19.9431 | 1.5928 | -0.29838
[31 empty] | Cycle 6 | 13.4621 | 14.6487 | 19.3004 | 13.319 | 14.2066 | 19.0081 | 1.5484 | -0.33048
[31 empty] | Cycle 7 | 12.956 | 14.0982 | 18.5755 | 12.7019 | 13.549 | 18.1269 | 1.519 | -0.29313
[31 empty] | Cycle 8 |  |  |  | 12.1235 | 12.9326 | 17.3018
6 | GIRMS\IRMS-operator | 2026-05-20 15:13 | 2026-05-20 16:24 | Running | FALSE | SHP2L |  | 2 | 4 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 6.752 V | 9.5173 kV | 93 µbar | 96 µbar | Carbon Dioxide: 0.0173 kV | 152 µbar | 6.406 V | 7.501 V |  | 68 µbar/min | 16.408 V | 7.79E-008 mbar | 32 % | 814 µbar | 72 °C | µ-Volume | Pre | 6.2816 | 6.8217 | 8.9561 | 6.5091 | 6.945 | 9.2899 | -0.7158 | -5.9195 | -0.72886 | 0.01851 | 0.0065444 | -5.9163 | 0.0099727 | 0.0035259 | -0.56087 | 0.019999 | -5.921 | 0.010005
[31 empty] | Cycle 1 | 6.0984 | 6.6225 | 8.695 | 6.2588 | 6.6777 | 8.9326 | -0.75237 | -5.9097
[31 empty] | Cycle 2 | 5.9193 | 6.4285 | 8.4397 | 6.0203 | 6.4234 | 8.5922 | -0.69307 | -5.9272
[31 empty] | Cycle 3 | 5.7459 | 6.2401 | 8.1926 | 5.7922 | 6.1802 | 8.267 | -0.72398 | -5.906
[31 empty] | Cycle 4 | 5.5773 | 6.0569 | 7.952 | 5.5747 | 5.9483 | 7.9564 | -0.74435 | -5.9164
[31 empty] | Cycle 5 | 5.4139 | 5.8796 | 7.719 | 5.3666 | 5.7262 | 7.6595 | -0.72833 | -5.9337
[31 empty] | Cycle 6 | 5.2568 | 5.709 | 7.4952 | 5.1676 | 5.514 | 7.3754 | -0.7391 | -5.9071
[31 empty] | Cycle 7 | 5.1034 | 5.5424 | 7.2764 | 4.9779 | 5.3114 | 7.1046 | -0.73388 | -5.9106
[31 empty] | Cycle 8 |  |  |  | 4.7962 | 5.1178 | 6.8453
7 | GIRMS\IRMS-operator | 2026-05-20 15:53 | 2026-05-20 16:56 | Running | FALSE | MD23-3678 - N. dutertrei | 1601 | 1 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 17.860 V | 9.5175 kV | 106 µbar | 96 µbar | Carbon Dioxide: 0.0175 kV | 106 µbar | 16.049 V | 20.820 V |  | 166 µbar/min | 6.280 V | 1.42E-007 mbar | 10 % | 951 µbar | 72 °C | µ-Volume | Pre | 16.0145 | 17.4209 | 22.9576 | 16.6236 | 17.728 | 23.7219 | 1.4351 | -0.34756 | 1.4297 | 0.012801 | 0.0048381 | -0.36338 | 0.010613 | 0.0037522 | 1.5433 | 0.013738 | -0.36702 | 0.01062
[31 empty] | Cycle 1 | 15.3951 | 16.7478 | 22.0693 | 15.7989 | 16.8498 | 22.5455 | 1.4276 | -0.37022
[31 empty] | Cycle 2 | 14.807 | 16.1087 | 21.2265 | 15.0281 | 16.0281 | 21.4454 | 1.4355 | -0.38021
[31 empty] | Cycle 3 | 14.2443 | 15.4971 | 20.4209 | 14.3059 | 15.2587 | 20.4159 | 1.4169 | -0.35045
[31 empty] | Cycle 4 | 13.7087 | 14.9148 | 19.6529 | 13.6299 | 14.5382 | 19.4509 | 1.4505 | -0.36312
[31 empty] | Cycle 5 | 13.1951 | 14.3572 | 18.9169 | 12.9961 | 13.8615 | 18.5467 | 1.5041 | -0.36074
[31 empty] | Cycle 6 | 12.7066 | 13.8256 | 18.2168 | 12.4005 | 13.2277 | 17.6972 | 1.4307 | -0.36643
[31 empty] | Cycle 7 | 12.2402 | 13.3185 | 17.5486 | 11.8404 | 12.6307 | 16.8981 | 1.4118 | -0.36832
[31 empty] | Cycle 8 |  |  |  | 11.3106 | 12.0659 | 16.1423
8 | GIRMS\IRMS-operator | 2026-05-20 16:24 | 2026-05-20 17:32 | Running | FALSE | MD23-3678 - N. dutertrei | 1593 | 2 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.674 V | 9.5173 kV | 96 µbar | 103 µbar | Carbon Dioxide: 0.0173 kV | 135 µbar | 13.597 V | 15.637 V |  | 93 µbar/min | 15.103 V | 1.26E-007 mbar | 12 % | 904 µbar | 72 °C | µ-Volume | Pre | 13.3894 | 14.5709 | 19.1982 | 14.0746 | 15.0114 | 20.0849 | 1.6965 | -0.15748 | 1.7351 | 0.026464 | 0.0093565 | -0.13978 | 0.018302 | 0.0064708 | 1.8618 | 0.028388 | -0.14385 | 0.018327
[31 empty] | Cycle 1 | 12.9217 | 14.0629 | 18.5284 | 13.4135 | 14.3075 | 19.1413 | 1.739 | -0.11746
[31 empty] | Cycle 2 | 12.4761 | 13.578 | 17.8894 | 12.7937 | 13.6462 | 18.2573 | 1.7317 | -0.13877
[31 empty] | Cycle 3 | 12.0462 | 13.1111 | 17.2731 | 12.2105 | 13.0244 | 17.4251 | 1.7674 | -0.14177
[31 empty] | Cycle 4 | 11.6347 | 12.663 | 16.6838 | 11.6613 | 12.4392 | 16.6416 | 1.7173 | -0.10788
[31 empty] | Cycle 5 | 11.2376 | 12.2313 | 16.1142 | 11.1429 | 11.8866 | 15.902 | 1.7295 | -0.14392
[31 empty] | Cycle 6 | 10.8577 | 11.818 | 15.5697 | 10.6532 | 11.3644 | 15.2035 | 1.7219 | -0.15524
[31 empty] | Cycle 7 | 10.4944 | 11.4234 | 15.0487 | 10.1913 | 10.872 | 14.545 | 1.7778 | -0.15574
[31 empty] | Cycle 8 |  |  |  | 9.7543 | 10.406 | 13.9207
9 | GIRMS\IRMS-operator | 2026-05-20 16:56 | 2026-05-20 18:12 | Running | FALSE | MD23-3678 - N. dutertrei | 1729 | 1 | 6 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 18.543 V | 9.5175 kV | 111 µbar | 103 µbar | Carbon Dioxide: 0.0175 kV | 142 µbar | 17.331 V | 21.674 V |  | 161 µbar/min | 2.307 V | 1.50E-007 mbar | 10 % | 977 µbar | 72 °C | µ-Volume | Pre | 17.1325 | 18.638 | 24.5729 | 17.9791 | 19.1722 | 25.6553 | 1.563 | 0.1925 | 1.5413 | 0.027406 | 0.0096894 | 0.17421 | 0.011362 | 0.0040169 | 1.6428 | 0.029462 | 0.17091 | 0.011394
[31 empty] | Cycle 1 | 16.4485 | 17.8944 | 23.5918 | 17.0638 | 18.1972 | 24.3499 | 1.5178 | 0.17785
[31 empty] | Cycle 2 | 15.8021 | 17.1926 | 22.6651 | 16.2101 | 17.2884 | 23.1317 | 1.548 | 0.17609
[31 empty] | Cycle 3 | 15.1896 | 16.5261 | 21.7867 | 15.4143 | 16.4397 | 21.9968 | 1.5301 | 0.16803
[31 empty] | Cycle 4 | 14.6073 | 15.8942 | 20.9515 | 14.6705 | 15.6468 | 20.9353 | 1.5958 | 0.15657
[31 empty] | Cycle 5 | 14.0512 | 15.2886 | 20.1544 | 13.9739 | 14.9045 | 19.9416 | 1.5172 | 0.16897
[31 empty] | Cycle 6 | 13.5199 | 14.711 | 19.3928 | 13.3189 | 14.2066 | 19.0073 | 1.5186 | 0.18583
[31 empty] | Cycle 7 | 13.0149 | 14.1621 | 18.6682 | 12.7046 | 13.5516 | 18.1305 | 1.5403 | 0.16785
[31 empty] | Cycle 8 |  |  |  | 12.1253 | 12.934 | 17.3041
10 | GIRMS\IRMS-operator | 2026-05-20 17:32 | 2026-05-20 18:42 | Running | FALSE | MD23-3678 - N. dutertrei | 1725 | 2 | 6 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 17.830 V | 9.5173 kV | 103 µbar | 106 µbar | Carbon Dioxide: 0.0173 kV | 130 µbar | 16.346 V | 20.574 V |  | 176 µbar/min | 16.395 V | 1.43E-007 mbar | 10 % | 943 µbar | 72 °C | µ-Volume | Pre | 16.243 | 17.6701 | 23.2873 | 16.9443 | 18.0683 | 24.1777 | 1.5453 | -0.17995 | 1.5318 | 0.02094 | 0.0074035 | -0.17446 | 0.013581 | 0.0048015 | 1.6455 | 0.022145 | -0.17811 | 0.01357
[31 empty] | Cycle 1 | 15.6399 | 17.0149 | 22.4234 | 16.0999 | 17.1697 | 22.9732 | 1.5491 | -0.16523
[31 empty] | Cycle 2 | 15.0672 | 16.3926 | 21.6029 | 15.3118 | 16.3291 | 21.8493 | 1.5663 | -0.15294
[31 empty] | Cycle 3 | 14.5181 | 15.7953 | 20.8157 | 14.5751 | 15.5445 | 20.7979 | 1.5246 | -0.16126
[31 empty] | Cycle 4 | 13.9894 | 15.2208 | 20.0579 | 13.8845 | 14.8086 | 19.8132 | 1.5092 | -0.17667
[31 empty] | Cycle 5 | 13.4957 | 14.6846 | 19.3503 | 13.2351 | 14.117 | 18.8869 | 1.5348 | -0.19034
[31 empty] | Cycle 6 | 13.0139 | 14.1603 | 18.6596 | 12.6257 | 13.467 | 18.0176 | 1.5188 | -0.19071
[31 empty] | Cycle 7 | 12.553 | 13.6594 | 17.9992 | 12.0499 | 12.8533 | 17.196 | 1.5061 | -0.1786
[31 empty] | Cycle 8 |  |  |  | 11.5081 | 12.2762 | 16.4231
11 | GIRMS\IRMS-operator | 2026-05-20 18:12 | 2026-05-20 19:12 | Running | FALSE | SHP2L |  | 1 | 7 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 0.012 V | 9.5173 kV | 108 µbar | 96 µbar | Carbon Dioxide: 0.0173 kV | 111 µbar | 1.887 V | 0.012 V | 0.017 V | 313 µbar/min | 15.481 V | 4.45E-008 mbar | 100 % | 106 µbar | 72 °C | µ-Volume | Pre | 0.011463 | 0.012277 | 0.016114 | 1.9534 | 2.0844 | 2.7878 | -14.5516 | -19.794 | -14.9901 | 0.69836 | 0.24691 | -21.4773 | 1.1885 | 0.42021 | -15.2417 | 0.74821 | -21.4667 | 1.1898
[31 empty] | Cycle 1 | 0.010963 | 0.011732 | 0.015381 | 1.8868 | 2.0134 | 2.6928 | -15.4401 | -21.8007
[31 empty] | Cycle 2 | 0.010666 | 0.011418 | 0.014989 | 1.8265 | 1.9491 | 2.6068 | -15.009 | -20.1197
[31 empty] | Cycle 3 | 0.01043 | 0.011164 | 0.014641 | 1.7687 | 1.8873 | 2.5243 | -15.1934 | -21.2568
[31 empty] | Cycle 4 | 0.010225 | 0.010956 | 0.014353 | 1.713 | 1.8279 | 2.4447 | -14.1054 | -21.2369
[31 empty] | Cycle 5 | 0.010029 | 0.010748 | 0.014047 | 1.6591 | 1.7705 | 2.3677 | -14.0458 | -23.4276
[31 empty] | Cycle 6 | 0.0098381 | 0.010525 | 0.013791 | 1.6071 | 1.7149 | 2.2937 | -15.6656 | -22.562
[31 empty] | Cycle 7 | 0.0096688 | 0.010341 | 0.013567 | 1.5567 | 1.6611 | 2.2217 | -15.9103 | -21.621
[31 empty] | Cycle 8 |  |  |  | 1.5086 | 1.6098 | 2.153
12 | GIRMS\IRMS-operator | 2026-05-20 18:42 | 2026-05-20 19:51 | Running | FALSE | MD23-3678 - N. dutertrei | 1721 | 2 | 7 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 15.046 V | 9.5176 kV | 96 µbar | 106 µbar | Carbon Dioxide: 0.0176 kV | 216 µbar | 13.939 V | 17.222 V |  | 161 µbar/min | 1.878 V | 1.27E-007 mbar | 11 % | 919 µbar | 72 °C | µ-Volume | Pre | 13.6698 | 14.8753 | 19.6053 | 14.4316 | 15.3923 | 20.5947 | 1.662 | 0.071627 | 1.6293 | 0.021182 | 0.0074891 | 0.066763 | 0.018794 | 0.0066448 | 1.7409 | 0.022343 | 0.063153 | 0.018792
[31 empty] | Cycle 1 | 13.1836 | 14.3466 | 18.9085 | 13.746 | 14.6617 | 19.6167 | 1.6443 | 0.081987
[31 empty] | Cycle 2 | 12.7205 | 13.8431 | 18.2446 | 13.1051 | 13.9786 | 18.702 | 1.6518 | 0.093771
[31 empty] | Cycle 3 | 12.2698 | 13.3528 | 17.5974 | 12.5024 | 13.3361 | 17.8423 | 1.6282 | 0.040968
[31 empty] | Cycle 4 | 11.8376 | 12.883 | 16.9784 | 11.9342 | 12.7306 | 17.0315 | 1.618 | 0.075666
[31 empty] | Cycle 5 | 11.4337 | 12.4436 | 16.3991 | 11.3993 | 12.1606 | 16.2685 | 1.6045 | 0.062788
[31 empty] | Cycle 6 | 11.0403 | 12.0158 | 15.8347 | 10.8942 | 11.622 | 15.5478 | 1.6174 | 0.039805
[31 empty] | Cycle 7 | 10.6681 | 11.6108 | 15.3015 | 10.4183 | 11.1144 | 14.8688 | 1.608 | 0.067495
[31 empty] | Cycle 8 |  |  |  | 9.9683 | 10.6346 | 14.2267
13 | GIRMS\IRMS-operator | 2026-05-20 19:12 | 2026-05-20 20:30 | Running | FALSE | MD23-3678 - G. ruber | 2285 | 1 | 8 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 10.099 V | 9.5176 kV | 108 µbar | 96 µbar | Carbon Dioxide: 0.0176 kV | 120 µbar | 8.859 V | 11.460 V |  | 171 µbar/min | 2.302 V | 9.34E-008 mbar | 24 % | 904 µbar | 72 °C | µ-Volume | Pre | 8.6751 | 9.4438 | 12.425 | 9.017 | 9.6199 | 12.8695 | 1.7679 | -1.4236 | 1.7338 | 0.018978 | 0.0067096 | -1.4195 | 0.014424 | 0.0050997 | 1.9077 | 0.020255 | -1.4249 | 0.014435
[31 empty] | Cycle 1 | 8.3861 | 9.1292 | 12.0112 | 8.6415 | 9.2199 | 12.3338 | 1.7167 | -1.4232
[31 empty] | Cycle 2 | 8.1097 | 8.8285 | 11.6155 | 8.2866 | 8.8414 | 11.8273 | 1.7243 | -1.4316
[31 empty] | Cycle 3 | 7.8432 | 8.5383 | 11.2339 | 7.9503 | 8.4828 | 11.3479 | 1.7082 | -1.4265
[31 empty] | Cycle 4 | 7.5865 | 8.2592 | 10.8664 | 7.6314 | 8.1424 | 10.8921 | 1.7302 | -1.3992
[31 empty] | Cycle 5 | 7.339 | 7.99 | 10.5116 | 7.3274 | 7.8184 | 10.4586 | 1.7485 | -1.4321
[31 empty] | Cycle 6 | 7.1005 | 7.7302 | 10.17 | 7.0385 | 7.5101 | 10.0461 | 1.7312 | -1.4252
[31 empty] | Cycle 7 | 6.8704 | 7.4798 | 9.8409 | 6.7628 | 7.2161 | 9.6526 | 1.7432 | -1.3944
[31 empty] | Cycle 8 |  |  |  | 6.4994 | 6.9348 | 9.2768
14 | GIRMS\IRMS-operator | 2026-05-20 19:51 | 2026-05-20 21:00 | Running | FALSE | MD23-3678 - G. ruber | 2277 | 2 | 8 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.316 V | 9.5174 kV | 98 µbar | 101 µbar | Carbon Dioxide: 0.0174 kV | 509 µbar | 12.336 V | 15.191 V |  | 181 µbar/min | 8.630 V | 1.17E-007 mbar | 15 % | 907 µbar | 72 °C | µ-Volume | Pre | 12.0772 | 13.1418 | 17.2955 | 12.6596 | 13.5034 | 18.0661 | 1.5419 | -1.4146 | 1.5265 | 0.034816 | 0.012309 | -1.4291 | 0.0098836 | 0.0037357 | 1.6865 | 0.036892 | -1.4341 | 0.0098674
[31 empty] | Cycle 1 | 11.6651 | 12.6937 | 16.7053 | 12.0827 | 12.8887 | 17.2429 | 1.5533 | -1.4257
[31 empty] | Cycle 2 | 11.27 | 12.2638 | 16.1397 | 11.5403 | 12.3099 | 16.4691 | 1.5229 | -1.4281
[31 empty] | Cycle 3 | 10.884 | 11.8447 | 15.5873 | 11.0291 | 11.7656 | 15.7398 | 1.5562 | -1.4196
[31 empty] | Cycle 4 | 10.5143 | 11.4424 | 15.0576 | 10.546 | 11.2503 | 15.0507 | 1.537 | -1.4401
[31 empty] | Cycle 5 | 10.1609 | 11.0575 | 14.5517 | 10.0903 | 10.7646 | 14.4001 | 1.4595 | -1.4364
[31 empty] | Cycle 6 | 9.8249 | 10.6924 | 14.0705 | 9.6585 | 10.3046 | 13.7845 | 1.4893 | -1.4748
[31 empty] | Cycle 7 | 9.5042 | 10.344 | 13.6117 | 9.2506 | 9.8692 | 13.2026 | 1.5519 | -1.4391
[31 empty] | Cycle 8 |  |  |  | 8.864 | 9.4569 | 12.6505
15 | GIRMS\IRMS-operator | 2026-05-20 20:30 | 2026-05-20 21:31 | Running | FALSE | MD23-3678 - G. ruber | 2269 | 1 | 9 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 14.559 V | 9.5173 kV | 103 µbar | 98 µbar | Carbon Dioxide: 0.0173 kV | 157 µbar | 13.415 V | 16.778 V |  | 215 µbar/min | 11.872 V | 1.24E-007 mbar | 13 % | 946 µbar | 72 °C | µ-Volume | Pre | 13.111 | 14.2637 | 18.7768 | 13.8278 | 14.7482 | 19.7324 | 1.3885 | -1.342 | 1.3665 | 0.019241 | 0.0068027 | -1.348 | 0.017154 | 0.0060647 | 1.512 | 0.020819 | -1.3525 | 0.017187
[31 empty] | Cycle 1 | 12.6317 | 13.7429 | 18.0905 | 13.1813 | 14.0602 | 18.8104 | 1.3795 | -1.3654
[31 empty] | Cycle 2 | 12.1741 | 13.2451 | 17.4351 | 12.5722 | 13.4105 | 17.9415 | 1.3632 | -1.366
[31 empty] | Cycle 3 | 11.7369 | 12.7698 | 16.8097 | 12.0003 | 12.8009 | 17.1249 | 1.3496 | -1.3226
[31 empty] | Cycle 4 | 11.3196 | 12.3161 | 16.2118 | 11.4618 | 12.2272 | 16.357 | 1.3398 | -1.3512
[31 empty] | Cycle 5 | 10.9174 | 11.8792 | 15.6364 | 10.9556 | 11.6874 | 15.6348 | 1.3777 | -1.3323
[31 empty] | Cycle 6 | 10.537 | 11.4657 | 15.0914 | 10.4768 | 11.177 | 14.9519 | 1.3868 | -1.3673
[31 empty] | Cycle 7 | 10.1709 | 11.0671 | 14.5677 | 10.0248 | 10.6949 | 14.3071 | 1.3467 | -1.337
[31 empty] | Cycle 8 |  |  |  | 9.5971 | 10.239 | 13.6968
16 | GIRMS\IRMS-operator | 2026-05-20 21:00 | 2026-05-20 22:08 | Running | FALSE | SHP2L |  | 2 | 9 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 7.593 V | 9.5171 kV | 98 µbar | 101 µbar | Carbon Dioxide: 0.0171 kV | 157 µbar | 7.115 V | 8.487 V |  | 166 µbar/min | 12.783 V | 8.18E-008 mbar | 26 % | 848 µbar | 72 °C | µ-Volume | Pre | 7.0378 | 7.6422 | 10.0339 | 7.2342 | 7.7185 | 10.3244 | -0.79078 | -5.9311 | -0.79549 | 0.026464 | 0.0093564 | -5.9629 | 0.018581 | 0.0065694 | -0.63855 | 0.018001 | -5.9675 | 0.018604
[31 empty] | Cycle 1 | 6.8284 | 7.415 | 9.735 | 6.9492 | 7.4144 | 9.9178 | -0.79188 | -5.9786
[31 empty] | Cycle 2 | 6.6235 | 7.1924 | 9.443 | 6.6783 | 7.1258 | 9.5314 | -0.83696 | -5.9741
[31 empty] | Cycle 3 | 6.4249 | 6.9773 | 9.1598 | 6.4199 | 6.85 | 9.1625 | -0.7428 | -5.9736
[31 empty] | Cycle 4 | 6.2286 | 6.7639 | 8.88 | 6.173 | 6.5864 | 8.81 | -0.78886 | -5.9619
[31 empty] | Cycle 5 | 6.0426 | 6.5618 | 8.6149 | 5.9371 | 6.3349 | 8.4733 | -0.81157 | -5.9436
[31 empty] | Cycle 6 | 5.8624 | 6.3663 | 8.358 | 5.7128 | 6.0957 | 8.1533 | -0.79752 | -5.9555
[31 empty] | Cycle 7 | 5.6887 | 6.1777 | 8.1101 | 5.4983 | 5.8668 | 7.8472 | -0.80357 | -5.9851
[31 empty] | Cycle 8 |  |  |  | 5.2941 | 5.6489 | 7.5557
17 | GIRMS\IRMS-operator | 2026-05-20 21:31 | 2026-05-20 22:47 | Running | FALSE | MD23-3678 - G. ruber | 2261 | 1 | 10 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 15.880 V | 9.5174 kV | 108 µbar | 113 µbar | Carbon Dioxide: 0.0174 kV | 1,102 µbar | 13.650 V | 18.408 V |  | 542 µbar/min | 2.305 V | 1.26E-007 mbar | 14 % | 958 µbar | 72 °C | µ-Volume | Pre | 13.3283 | 14.4969 | 19.0891 | 14.0375 | 14.9728 | 20.0324 | 1.1539 | -1.3154 | 1.1111 | 0.026006 | 0.0091945 | -1.3213 | 0.010898 | 0.0041192 | 1.2381 | 0.027732 | -1.3253 | 0.010922
[31 empty] | Cycle 1 | 12.8356 | 13.9613 | 18.3835 | 13.3777 | 14.2692 | 19.0913 | 1.1502 | -1.3292
[31 empty] | Cycle 2 | 12.3625 | 13.4469 | 17.7061 | 12.7594 | 13.6102 | 18.209 | 1.1097 | -1.3378
[31 empty] | Cycle 3 | 11.9098 | 12.9548 | 17.0581 | 12.1773 | 12.9902 | 17.3787 | 1.0996 | -1.3191
[31 empty] | Cycle 4 | 11.4788 | 12.4863 | 16.4409 | 11.6294 | 12.4059 | 16.5966 | 1.0961 | -1.3043
[31 empty] | Cycle 5 | 11.0656 | 12.0372 | 15.8494 | 11.1132 | 11.8557 | 15.86 | 1.0876 | -1.3168
[31 empty] | Cycle 6 | 10.6714 | 11.6087 | 15.284 | 10.625 | 11.3353 | 15.164 | 1.0979 | -1.3873
[31 empty] | Cycle 7 | 10.2937 | 11.1979 | 14.7441 | 10.1641 | 10.8435 | 14.5062 | 1.0941 | -1.3267
[31 empty] | Cycle 8 |  |  |  | 9.7281 | 10.3787 | 13.8841
18 | GIRMS\IRMS-operator | 2026-05-20 22:08 | 2026-05-20 23:16 | Running | FALSE | MD23-3678 - G. ruber | 2253 | 2 | 10 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 9.598 V | 9.5172 kV | 101 µbar | 103 µbar | Carbon Dioxide: 0.0172 kV | 269 µbar | 9.250 V | 10.796 V |  | 122 µbar/min | 13.094 V | 9.72E-008 mbar | 21 % | 877 µbar | 72 °C | µ-Volume | Pre | 9.1165 | 9.9138 | 13.0616 | 9.4273 | 10.0573 | 13.4535 | 0.75173 | -0.9643 | 0.75683 | 0.012573 | 0.0044453 | -0.99362 | 0.02206 | 0.0077995 | 0.84657 | 0.013382 | -0.9964 | 0.022081
[31 empty] | Cycle 1 | 8.8252 | 9.5975 | 12.644 | 9.0318 | 9.6356 | 12.8892 | 0.77961 | -1.0159
[31 empty] | Cycle 2 | 8.5466 | 9.2944 | 12.2452 | 8.6564 | 9.2353 | 12.3541 | 0.7555 | -0.98911
[31 empty] | Cycle 3 | 8.2766 | 9.001 | 11.8584 | 8.3004 | 8.8556 | 11.8456 | 0.76621 | -0.97229
[31 empty] | Cycle 4 | 8.0136 | 8.715 | 11.4818 | 7.9623 | 8.4951 | 11.3633 | 0.74558 | -0.99174
[31 empty] | Cycle 5 | 7.7578 | 8.4371 | 11.1154 | 7.6406 | 8.1521 | 10.9047 | 0.75849 | -0.98553
[31 empty] | Cycle 6 | 7.5165 | 8.1745 | 10.7693 | 7.3352 | 7.8263 | 10.4687 | 0.73845 | -1.0322
[31 empty] | Cycle 7 | 7.2855 | 7.9234 | 10.4388 | 7.0453 | 7.5168 | 10.0549 | 0.75907 | -0.99789
[31 empty] | Cycle 8 |  |  |  | 6.7686 | 7.2215 | 9.6601
19 | GIRMS\IRMS-operator | 2026-05-20 22:47 | 2026-05-20 23:48 | Running | FALSE | MD23-3678 - G. ruber | 2245 | 1 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 15.463 V | 9.5173 kV | 106 µbar | 108 µbar | Carbon Dioxide: 0.0173 kV | 1,043 µbar | 14.319 V | 17.862 V |  | 444 µbar/min | 8.984 V | 1.30E-007 mbar | 11 % | 951 µbar | 72 °C | µ-Volume | Pre | 13.9889 | 15.2159 | 20.0392 | 14.8029 | 15.7873 | 21.1231 | 1.28 | -1.037 | 1.2554 | 0.013116 | 0.0046373 | -1.0599 | 0.015554 | 0.0054992 | 1.3826 | 0.013854 | -1.0639 | 0.015561
[31 empty] | Cycle 1 | 13.4659 | 14.6475 | 19.29 | 14.0942 | 15.0324 | 20.1118 | 1.2593 | -1.0522
[31 empty] | Cycle 2 | 12.9737 | 14.1126 | 18.585 | 13.4301 | 14.3248 | 19.1647 | 1.2569 | -1.0588
[31 empty] | Cycle 3 | 12.5008 | 13.5985 | 17.9083 | 12.8091 | 13.6628 | 18.2787 | 1.2448 | -1.0411
[31 empty] | Cycle 4 | 12.0487 | 13.1074 | 17.2604 | 12.2244 | 13.0397 | 17.4449 | 1.2584 | -1.0736
[31 empty] | Cycle 5 | 11.6164 | 12.6373 | 16.6412 | 11.6744 | 12.4532 | 16.6598 | 1.2536 | -1.0793
[31 empty] | Cycle 6 | 11.2003 | 12.1851 | 16.0455 | 11.1554 | 11.9001 | 15.9199 | 1.2565 | -1.0728
[31 empty] | Cycle 7 | 10.8067 | 11.7568 | 15.4817 | 10.6663 | 11.3786 | 15.2219 | 1.2341 | -1.0644
[31 empty] | Cycle 8 |  |  |  | 10.2034 | 10.8848 | 14.5611
20 | GIRMS\IRMS-operator | 2026-05-20 23:16 | 2026-05-21 00:24 | Running | FALSE | MD23-3678 - G. ruber | 2241 | 2 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 10.872 V | 9.5173 kV | 98 µbar | 103 µbar | Carbon Dioxide: 0.0173 kV | 626 µbar | 10.702 V | 12.304 V |  | 161 µbar/min | 13.598 V | 1.06E-007 mbar | 16 % | 894 µbar | 72 °C | µ-Volume | Pre | 10.5188 | 11.4424 | 15.0723 | 10.9764 | 11.709 | 15.6635 | 1.1571 | -0.80973 | 1.1357 | 0.01955 | 0.0069119 | -0.84549 | 0.019769 | 0.0069894 | 1.2465 | 0.02083 | -0.84896 | 0.019784
[31 empty] | Cycle 1 | 10.1689 | 11.0619 | 14.5709 | 10.495 | 11.1958 | 14.9765 | 1.1295 | -0.81986
[31 empty] | Cycle 2 | 9.8358 | 10.7002 | 14.0932 | 10.0399 | 10.7106 | 14.3272 | 1.1657 | -0.86537
[31 empty] | Cycle 3 | 9.5159 | 10.3519 | 13.6354 | 9.6109 | 10.2533 | 13.7155 | 1.1273 | -0.84751
[31 empty] | Cycle 4 | 9.2071 | 10.0163 | 13.1927 | 9.2043 | 9.8194 | 13.1352 | 1.1416 | -0.85319
[31 empty] | Cycle 5 | 8.9106 | 9.6937 | 12.7679 | 8.8204 | 9.4103 | 12.5874 | 1.1154 | -0.85503
[31 empty] | Cycle 6 | 8.624 | 9.3822 | 12.3575 | 8.4564 | 9.022 | 12.068 | 1.1408 | -0.85796
[31 empty] | Cycle 7 | 8.3521 | 9.0862 | 11.9678 | 8.1103 | 8.6527 | 11.5744 | 1.1086 | -0.85524
[31 empty] | Cycle 8 |  |  |  | 7.783 | 8.3039 | 11.107
21 | GIRMS\IRMS-operator | 2026-05-20 23:48 | 2026-05-21 01:04 | Running | FALSE | SHP2L |  | 1 | 12 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 7.686 V | 9.5175 kV | 106 µbar | 106 µbar | Carbon Dioxide: 0.0175 kV | 1,012 µbar | 7.206 V | 8.627 V |  | 430 µbar/min | 2.304 V | 8.14E-008 mbar | 29 % | 877 µbar | 72 °C | µ-Volume | Pre | 7.0572 | 7.6636 | 10.0608 | 7.3189 | 7.8092 | 10.4452 | -0.79782 | -6.0091 | -0.81575 | 0.011199 | 0.0039595 | -6.0142 | 0.021103 | 0.0074611 | -0.65022 | 0.011956 | -6.0188 | 0.021124
[31 empty] | Cycle 1 | 6.8313 | 7.4183 | 9.7387 | 7.0281 | 7.4991 | 10.0307 | -0.8187 | -6.038
[31 empty] | Cycle 2 | 6.6134 | 7.1817 | 9.4285 | 6.7524 | 7.205 | 9.6373 | -0.81328 | -6.0031
[31 empty] | Cycle 3 | 6.4037 | 6.9541 | 9.1293 | 6.4898 | 6.9246 | 9.2625 | -0.80404 | -6.0412
[31 empty] | Cycle 4 | 6.2023 | 6.7352 | 8.842 | 6.2397 | 6.6578 | 8.9055 | -0.83409 | -6.0303
[31 empty] | Cycle 5 | 6.0093 | 6.5259 | 8.5671 | 6.0022 | 6.4046 | 8.5662 | -0.81662 | -5.9811
[31 empty] | Cycle 6 | 5.8223 | 6.3228 | 8.3005 | 5.7753 | 6.1625 | 8.2423 | -0.81773 | -5.9963
[31 empty] | Cycle 7 | 5.6428 | 6.1278 | 8.0444 | 5.5595 | 5.9322 | 7.9346 | -0.82374 | -6.0149
[31 empty] | Cycle 8 |  |  |  | 5.353 | 5.7121 | 7.6398
22 | GIRMS\IRMS-operator | 2026-05-21 00:24 | 2026-05-21 01:34 | Running | FALSE | MD23-3678 - G. ruber | 2233 | 2 | 12 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 8.411 V | 9.5174 kV | 98 µbar | 101 µbar | Carbon Dioxide: 0.0174 kV | 308 µbar | 7.876 V | 9.419 V |  | 161 µbar/min | 7.048 V | 8.55E-008 mbar | 26 % | 865 µbar | 72 °C | µ-Volume | Pre | 7.7213 | 8.3941 | 11.0634 | 8.0084 | 8.5447 | 11.4288 | 0.36529 | -0.89224 | 0.40444 | 0.022196 | 0.0078475 | -0.89702 | 0.0063989 | 0.0024186 | 0.46605 | 0.023932 | -0.89889 | 0.0064268
[31 empty] | Cycle 1 | 7.4846 | 8.1371 | 10.7244 | 7.6849 | 8.199 | 10.967 | 0.43096 | -0.89807
[31 empty] | Cycle 2 | 7.2567 | 7.8894 | 10.3975 | 7.3774 | 7.8712 | 10.5286 | 0.41964 | -0.92317
[31 empty] | Cycle 3 | 7.0327 | 7.6459 | 10.0768 | 7.085 | 7.5594 | 10.1109 | 0.41337 | -0.88925
[31 empty] | Cycle 4 | 6.8162 | 7.4105 | 9.7665 | 6.807 | 7.2627 | 9.7143 | 0.41687 | -0.90002
[31 empty] | Cycle 5 | 6.6105 | 7.1869 | 9.4719 | 6.5419 | 6.9799 | 9.336 | 0.41396 | -0.9091
[31 empty] | Cycle 6 | 6.411 | 6.9701 | 9.1863 | 6.2891 | 6.7103 | 8.9757 | 0.39467 | -0.89498
[31 empty] | Cycle 7 | 6.2208 | 6.7633 | 8.9137 | 6.0492 | 6.4544 | 8.6329 | 0.38076 | -0.89549
[31 empty] | Cycle 8 |  |  |  | 5.8207 | 6.2107 | 8.3071
23 | GIRMS\IRMS-operator | 2026-05-21 01:04 | 2026-05-21 02:05 | Running | FALSE | MD23-3678 - G. ruber | 2229 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 12.578 V | 9.5175 kV | 106 µbar | 108 µbar | Carbon Dioxide: 0.0175 kV | 1,080 µbar | 11.621 V | 14.393 V |  | 503 µbar/min | 7.683 V | 1.11E-007 mbar | 16 % | 936 µbar | 72 °C | µ-Volume | Pre | 11.357 | 12.3471 | 16.2679 | 11.9119 | 12.7064 | 16.9982 | 0.6187 | -1.1234 | 0.6202 | 0.011067 | 0.0039128 | -1.1278 | 0.017114 | 0.0060507 | 0.70533 | 0.011528 | -1.1304 | 0.01712
[31 empty] | Cycle 1 | 10.9599 | 11.9159 | 15.6993 | 11.379 | 12.1384 | 16.2377 | 0.62589 | -1.109
[31 empty] | Cycle 2 | 10.5785 | 11.5014 | 15.1529 | 10.8769 | 11.6031 | 15.5211 | 0.62391 | -1.1179
[31 empty] | Cycle 3 | 10.2137 | 11.1051 | 14.6304 | 10.4032 | 11.0977 | 14.8454 | 0.63826 | -1.1336
[31 empty] | Cycle 4 | 9.8597 | 10.7204 | 14.1237 | 9.9544 | 10.6194 | 14.2052 | 0.62804 | -1.1204
[31 empty] | Cycle 5 | 9.5212 | 10.3523 | 13.6386 | 9.53 | 10.1669 | 13.5999 | 0.60668 | -1.1466
[31 empty] | Cycle 6 | 9.2006 | 10.0041 | 13.18 | 9.1275 | 9.7378 | 13.0256 | 0.61408 | -1.1131
[31 empty] | Cycle 7 | 8.8901 | 9.6665 | 12.7348 | 8.7479 | 9.3329 | 12.484 | 0.60602 | -1.1582
[31 empty] | Cycle 8 |  |  |  | 8.3882 | 8.9492 | 11.9707
24 | GIRMS\IRMS-operator | 2026-05-21 01:34 | 2026-05-21 02:42 | Running | FALSE | MD23-3678 - G. ruber | 2225 | 2 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 12.729 V | 9.5174 kV | 96 µbar | 106 µbar | Carbon Dioxide: 0.0174 kV | 374 µbar | 11.709 V | 14.461 V |  | 190 µbar/min | 11.168 V | 1.13E-007 mbar | 15 % | 909 µbar | 72 °C | µ-Volume | Pre | 11.4793 | 12.4811 | 16.4446 | 12.0189 | 12.8203 | 17.15 | 0.72882 | -0.98902 | 0.73477 | 0.011911 | 0.004502 | -1.0159 | 0.014216 | 0.0050262 | 0.82377 | 0.013136 | -1.0187 | 0.014254
[31 empty] | Cycle 1 | 11.095 | 12.0638 | 15.8938 | 11.4782 | 12.2439 | 16.3786 | 0.74494 | -1.0168
[31 empty] | Cycle 2 | 10.7241 | 11.6608 | 15.3623 | 10.9709 | 11.703 | 15.6548 | 0.74255 | -1.0271
[31 empty] | Cycle 3 | 10.3661 | 11.2719 | 14.8497 | 10.4927 | 11.1932 | 14.9726 | 0.7485 | -1.0338
[31 empty] | Cycle 4 | 10.0182 | 10.8937 | 14.3517 | 10.0403 | 10.7109 | 14.3274 | 0.73206 | -1.0236
[31 empty] | Cycle 5 | 9.6909 | 10.5381 | 13.8832 | 9.613 | 10.2552 | 13.7177 | 0.73305 | -1.0122
[31 empty] | Cycle 6 | 9.3682 | 10.1877 | 13.4207 | 9.208 | 9.8234 | 13.14 | 0.77956 | -1.0212
[31 empty] | Cycle 7 | 9.062 | 9.8541 | 12.9822 | 8.8236 | 9.4131 | 12.5911 | 0.71348 | -1.0039
[31 empty] | Cycle 8 |  |  |  | 8.459 | 9.0246 | 12.0712
25 | GIRMS\IRMS-operator | 2026-05-21 02:05 | 2026-05-21 03:21 | Running | FALSE | MD23-3678 - G. ruber | 2369 | 1 | 14 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 12.563 V | 9.5176 kV | 106 µbar | 108 µbar | Carbon Dioxide: 0.0176 kV | 1,073 µbar | 10.911 V | 14.395 V |  | 493 µbar/min | 2.312 V | 1.06E-007 mbar | 18 % | 926 µbar | 72 °C | µ-Volume | Pre | 10.6679 | 11.6097 | 15.2788 | 11.1417 | 11.8854 | 15.8999 | 1.5611 | -1.3166 | 1.5711 | 0.013761 | 0.0048651 | -1.3131 | 0.01059 | 0.003744 | 1.7297 | 0.014735 | -1.3181 | 0.010601
[31 empty] | Cycle 1 | 10.2939 | 11.203 | 14.7432 | 10.6512 | 11.363 | 15.2001 | 1.5608 | -1.3185
[31 empty] | Cycle 2 | 9.9351 | 10.8125 | 14.229 | 10.1897 | 10.8706 | 14.5415 | 1.5595 | -1.33
[31 empty] | Cycle 3 | 9.5911 | 10.4385 | 13.7367 | 9.753 | 10.4049 | 13.9181 | 1.5893 | -1.3131
[31 empty] | Cycle 4 | 9.2623 | 10.0807 | 13.2661 | 9.3417 | 9.9661 | 13.3316 | 1.5684 | -1.3066
[31 empty] | Cycle 5 | 8.9474 | 9.7386 | 12.8152 | 8.9508 | 9.5495 | 12.7738 | 1.5918 | -1.315
[31 empty] | Cycle 6 | 8.6445 | 9.4087 | 12.3816 | 8.5806 | 9.1547 | 12.2457 | 1.5587 | -1.2928
[31 empty] | Cycle 7 | 8.3534 | 9.0921 | 11.9646 | 8.2286 | 8.7792 | 11.7433 | 1.5792 | -1.3124
[31 empty] | Cycle 8 |  |  |  | 7.8951 | 8.4234 | 11.2676
26 | GIRMS\IRMS-operator | 2026-05-21 02:42 | 2026-05-21 03:50 | Running | FALSE | SHP2L |  | 2 | 14 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 6.080 V | 9.5175 kV | 96 µbar | 103 µbar | Carbon Dioxide: 0.0175 kV | 421 µbar | 5.706 V | 6.744 V |  | 142 µbar/min | 10.564 V | 7.31E-008 mbar | 35 % | 819 µbar | 72 °C | µ-Volume | Pre | 5.6683 | 6.1566 | 8.0805 | 5.7961 | 6.1845 | 8.272 | -0.60849 | -6.0189 | -0.60154 | 0.010294 | 0.0038909 | -6.0272 | 0.018873 | 0.0066728 | -0.42042 | 0.01117 | -6.0323 | 0.018911
[31 empty] | Cycle 1 | 5.508 | 5.9825 | 7.8516 | 5.5785 | 5.9524 | 7.9613 | -0.60811 | -6.0508
[31 empty] | Cycle 2 | 5.3497 | 5.8107 | 7.6262 | 5.3715 | 5.7315 | 7.666 | -0.58717 | -6.0446
[31 empty] | Cycle 3 | 5.1975 | 5.6453 | 7.4093 | 5.1731 | 5.5198 | 7.383 | -0.60628 | -6.0332
[31 empty] | Cycle 4 | 5.0459 | 5.4806 | 7.1933 | 4.9835 | 5.3176 | 7.1123 | -0.61462 | -6.0164
[31 empty] | Cycle 5 | 4.9008 | 5.3232 | 6.9862 | 4.8016 | 5.1234 | 6.8528 | -0.59257 | -6.0453
[31 empty] | Cycle 6 | 4.762 | 5.1722 | 6.7885 | 4.6278 | 4.938 | 6.6045 | -0.6408 | -6.0066
[31 empty] | Cycle 7 | 4.6244 | 5.023 | 6.5926 | 4.4611 | 4.7602 | 6.3667 | -0.59355 | -6.0016
[31 empty] | Cycle 8 |  |  |  | 4.3015 | 4.5897 | 6.1391
27 | GIRMS\IRMS-operator | 2026-05-21 03:21 | 2026-05-21 04:22 | Running | FALSE | MD23-3678 - G. ruber | 2365 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 14.687 V | 9.5177 kV | 106 µbar | 108 µbar | Carbon Dioxide: 0.0177 kV | 1,051 µbar | 13.668 V | 16.891 V |  | 484 µbar/min | 5.609 V | 1.26E-007 mbar | 12 % | 943 µbar | 72 °C | µ-Volume | Pre | 13.3596 | 14.539 | 19.1304 | 14.0907 | 15.0289 | 20.1058 | 1.7435 | -1.3686 | 1.7172 | 0.01803 | 0.0063744 | -1.39 | 0.012787 | 0.0045209 | 1.8889 | 0.019042 | -1.3953 | 0.012779
[31 empty] | Cycle 1 | 12.8714 | 14.0083 | 18.4314 | 13.4259 | 14.3203 | 19.1573 | 1.7285 | -1.387
[31 empty] | Cycle 2 | 12.4087 | 13.505 | 17.7689 | 12.8036 | 13.6575 | 18.2698 | 1.7217 | -1.3931
[31 empty] | Cycle 3 | 11.9605 | 13.0174 | 17.1275 | 12.2191 | 13.0338 | 17.4359 | 1.7293 | -1.3793
[31 empty] | Cycle 4 | 11.5368 | 12.5565 | 16.5206 | 11.6701 | 12.4486 | 16.6528 | 1.7204 | -1.4125
[31 empty] | Cycle 5 | 11.1264 | 12.11 | 15.9334 | 11.1524 | 11.8969 | 15.9146 | 1.6894 | -1.3947
[31 empty] | Cycle 6 | 10.736 | 11.6856 | 15.3742 | 10.6633 | 11.3755 | 15.2163 | 1.7083 | -1.3893
[31 empty] | Cycle 7 | 10.3633 | 11.2801 | 14.8407 | 10.2012 | 10.8829 | 14.5571 | 1.6965 | -1.3951
[31 empty] | Cycle 8 |  |  |  | 9.7636 | 10.4162 | 13.9329
28 | GIRMS\IRMS-operator | 2026-05-21 03:50 | 2026-05-21 04:58 | Running | FALSE | MD23-3678 - G. ruber | 2361 | 2 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 3.778 V | 9.5176 kV | 93 µbar | 101 µbar | Carbon Dioxide: 0.0176 kV | 318 µbar | 3.587 V | 4.130 V |  | 171 µbar/min | 13.037 V | 5.74E-008 mbar | 53 % | 743 µbar | 72 °C | µ-Volume | Pre | 3.5127 | 3.8224 | 5.0304 | 3.6607 | 3.9062 | 5.2244 | 1.2298 | -1.4653 | 1.1963 | 0.02103 | 0.0074353 | -1.4959 | 0.016553 | 0.0058523 | 1.3354 | 0.022104 | -1.5002 | 0.016539
[31 empty] | Cycle 1 | 3.4178 | 3.7191 | 4.8945 | 3.5343 | 3.7712 | 5.0439 | 1.2085 | -1.487
[31 empty] | Cycle 2 | 3.3256 | 3.6188 | 4.7624 | 3.413 | 3.6419 | 4.871 | 1.1858 | -1.5054
[31 empty] | Cycle 3 | 3.2366 | 3.522 | 4.6349 | 3.2963 | 3.5173 | 4.7042 | 1.1897 | -1.5101
[31 empty] | Cycle 4 | 3.1489 | 3.4265 | 4.5094 | 3.1844 | 3.398 | 4.5447 | 1.1747 | -1.5163
[31 empty] | Cycle 5 | 3.0641 | 3.3343 | 4.3879 | 3.0769 | 3.2833 | 4.3914 | 1.2159 | -1.5038
[31 empty] | Cycle 6 | 2.9821 | 3.245 | 4.2704 | 2.9733 | 3.1726 | 4.2432 | 1.1986 | -1.4844
[31 empty] | Cycle 7 | 2.9025 | 3.1584 | 4.1565 | 2.8741 | 3.067 | 4.1017 | 1.1678 | -1.4948
[31 empty] | Cycle 8 |  |  |  | 2.7788 | 2.9653 | 3.9659
29 | GIRMS\IRMS-operator | 2026-05-21 04:22 | 2026-05-21 05:36 | Running | FALSE | MD23-3678 - G. ruber | 2357 | 1 | 16 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 0.013 V | 9.5178 kV | 106 µbar | 103 µbar | Carbon Dioxide: 0.0178 kV | 1,021 µbar | 2.103 V | 0.012 V | 0.015 V | 537 µbar/min | 2.306 V | 3.93E-008 mbar | 100 % | 115 µbar | 72 °C | µ-Volume | Pre | 0.012613 | 0.013514 | 0.017825 | 2.1717 | 2.3176 | 3.0998 | -14.2752 | -14.7388 | -14.1595 | 0.65039 | 0.22995 | -14.1572 | 1.2911 | 0.45648 | -14.6259 | 0.67964 | -14.1406 | 1.292
[31 empty] | Cycle 1 | 0.012261 | 0.013129 | 0.017312 | 2.097 | 2.2377 | 2.9928 | -14.8493 | -15.5893
[31 empty] | Cycle 2 | 0.012066 | 0.012935 | 0.017051 | 2.0291 | 2.1653 | 2.8962 | -13.6962 | -14.7391
[31 empty] | Cycle 3 | 0.011898 | 0.012735 | 0.016827 | 1.9645 | 2.0962 | 2.8037 | -15.2131 | -13.9457
[31 empty] | Cycle 4 | 0.011734 | 0.012579 | 0.016576 | 1.902 | 2.0296 | 2.7146 | -13.6668 | -15.0636
[31 empty] | Cycle 5 | 0.01157 | 0.01241 | 0.016399 | 1.8417 | 1.9653 | 2.6285 | -13.2143 | -11.804
[31 empty] | Cycle 6 | 0.011413 | 0.012229 | 0.016128 | 1.7835 | 1.9032 | 2.5454 | -14.1095 | -14.7132
[31 empty] | Cycle 7 | 0.01126 | 0.012063 | 0.015944 | 1.7271 | 1.843 | 2.465 | -14.2519 | -12.6643
[31 empty] | Cycle 8 |  |  |  | 1.6728 | 1.785 | 2.3872
30 | GIRMS\IRMS-operator | 2026-05-21 04:58 | 2026-05-21 06:07 | Running | FALSE | MD23-3678 - G. ruber | 2353 | 2 | 16 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 9.149 V | 9.5178 kV | 93 µbar | 101 µbar | Carbon Dioxide: 0.0178 kV | 264 µbar | 8.646 V | 10.288 V |  | 181 µbar/min | 2.095 V | 9.07E-008 mbar | 24 % | 868 µbar | 72 °C | µ-Volume | Pre | 8.4304 | 9.1717 | 12.0753 | 8.7977 | 9.3863 | 12.5552 | 1.1131 | -1.2463 | 1.1019 | 0.024142 | 0.0085356 | -1.2604 | 0.017766 | 0.0062814 | 1.2182 | 0.016711 | -1.2642 | 0.017823
[31 empty] | Cycle 1 | 8.1655 | 8.8835 | 11.6959 | 8.4325 | 8.997 | 12.0341 | 1.0835 | -1.2477
[31 empty] | Cycle 2 | 7.9133 | 8.6094 | 11.3346 | 8.0887 | 8.6304 | 11.5436 | 1.087 | -1.2723
[31 empty] | Cycle 3 | 7.6691 | 8.3438 | 10.9849 | 7.7623 | 8.2824 | 11.078 | 1.096 | -1.2717
[31 empty] | Cycle 4 | 7.4299 | 8.0834 | 10.6425 | 7.4524 | 7.9516 | 10.6356 | 1.0731 | -1.2399
[31 empty] | Cycle 5 | 7.2013 | 7.835 | 10.3151 | 7.1577 | 7.6374 | 10.215 | 1.0969 | -1.2506
[31 empty] | Cycle 6 | 6.9801 | 7.5946 | 9.9978 | 6.8772 | 7.3378 | 9.8147 | 1.15 | -1.293
[31 empty] | Cycle 7 | 6.7664 | 7.3619 | 9.6919 | 6.6096 | 7.0524 | 9.4328 | 1.1158 | -1.2614
[31 empty] | Cycle 8 |  |  |  | 6.3544 | 6.7803 | 9.0686
31 | GIRMS\IRMS-operator | 2026-05-21 05:36 | 2026-05-21 06:38 | Running | FALSE | SHP2L |  | 1 | 17 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 4.146 V | 9.5177 kV | 103 µbar | 103 µbar | Carbon Dioxide: 0.0177 kV | 992 µbar | 3.884 V | 4.570 V |  | 410 µbar/min | 8.430 V | 6.00E-008 mbar | 52 % | 777 µbar | 72 °C | µ-Volume | Pre | 3.8528 | 4.1842 | 5.4926 | 3.9577 | 4.2232 | 5.6484 | -0.78111 | -5.9874 | -0.78353 | 0.014082 | 0.0049788 | -6.0156 | 0.029543 | 0.010445 | -0.61569 | 0.014574 | -6.0203 | 0.02956
[31 empty] | Cycle 1 | 3.7439 | 4.0659 | 5.337 | 3.8193 | 4.0754 | 5.4506 | -0.77016 | -6.0374
[31 empty] | Cycle 2 | 3.6376 | 3.9505 | 5.1856 | 3.6864 | 3.9337 | 5.2613 | -0.77666 | -6.0442
[31 empty] | Cycle 3 | 3.5331 | 3.8371 | 5.0369 | 3.5587 | 3.7973 | 5.0788 | -0.7636 | -5.9746
[31 empty] | Cycle 4 | 3.4337 | 3.729 | 4.895 | 3.4359 | 3.6663 | 4.9034 | -0.78237 | -5.9943
[31 empty] | Cycle 5 | 3.3384 | 3.6255 | 4.7591 | 3.3186 | 3.5411 | 4.736 | -0.79489 | -6.0121
[31 empty] | Cycle 6 | 3.2447 | 3.5238 | 4.6256 | 3.2063 | 3.4213 | 4.5758 | -0.79249 | -6.016
[31 empty] | Cycle 7 | 3.1538 | 3.4251 | 4.496 | 3.0976 | 3.3054 | 4.4209 | -0.80695 | -6.0589
[31 empty] | Cycle 8 |  |  |  | 2.9943 | 3.1952 | 4.2735
32 | GIRMS\IRMS-operator | 2026-05-21 06:07 | 2026-05-21 07:15 | Running | FALSE | MD23-3678 - G. ruber | 2349 | 2 | 17 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 6.039 V | 9.5177 kV | 93 µbar | 101 µbar | Carbon Dioxide: 0.0177 kV | 428 µbar | 5.636 V | 6.702 V |  | 205 µbar/min | 3.832 V | 7.20E-008 mbar | 36 % | 814 µbar | 72 °C | µ-Volume | Pre | 5.6276 | 6.1243 | 8.0603 | 5.7245 | 6.1081 | 8.1696 | 1.3313 | -1.3202 | 1.2941 | 0.024345 | 0.0086074 | -1.3225 | 0.013279 | 0.0050192 | 1.4339 | 0.026378 | -1.3268 | 0.013321
[31 empty] | Cycle 1 | 5.4664 | 5.9487 | 7.829 | 5.5093 | 5.8785 | 7.8624 | 1.3021 | -1.3846
[31 empty] | Cycle 2 | 5.3091 | 5.7775 | 7.6043 | 5.3049 | 5.6606 | 7.5712 | 1.2749 | -1.3212
[31 empty] | Cycle 3 | 5.1582 | 5.6135 | 7.3882 | 5.1089 | 5.4515 | 7.2913 | 1.2881 | -1.3136
[31 empty] | Cycle 4 | 5.0095 | 5.4516 | 7.1751 | 4.9229 | 5.2531 | 7.0259 | 1.2725 | -1.3325
[31 empty] | Cycle 5 | 4.8647 | 5.2938 | 6.9677 | 4.7446 | 5.0627 | 6.7712 | 1.2597 | -1.3012
[31 empty] | Cycle 6 | 4.7256 | 5.1427 | 6.7683 | 4.5738 | 4.8805 | 6.5274 | 1.3128 | -1.3426
[31 empty] | Cycle 7 | 4.5903 | 4.9955 | 6.5747 | 4.4099 | 4.7056 | 6.2938 | 1.3114 | -1.3258
[31 empty] | Cycle 8 |  |  |  | 4.2527 | 4.5378 | 6.0692
33 | GIRMS\IRMS-operator | 2026-05-21 06:38 | 2026-05-21 07:54 | Running | FALSE | MD23-3678 - G. ruber | 2345 | 1 | 18 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 16.138 V | 9.5178 kV | 103 µbar | 103 µbar | Carbon Dioxide: 0.0178 kV | 987 µbar | 15.027 V | 18.723 V |  | 410 µbar/min | 2.307 V | 1.34E-007 mbar | 12 % | 948 µbar | 72 °C | µ-Volume | Pre | 14.6299 | 15.9136 | 20.9559 | 15.5124 | 16.5441 | 22.1334 | 1.317 | -1.033 | 1.2887 | 0.029246 | 0.01034 | -1.0452 | 0.017479 | 0.0061798 | 1.4176 | 0.031209 | -1.0493 | 0.017489
[31 empty] | Cycle 1 | 14.0717 | 15.3069 | 20.1569 | 14.7594 | 15.7417 | 21.0598 | 1.3135 | -1.0231
[31 empty] | Cycle 2 | 13.5399 | 14.7288 | 19.395 | 14.0561 | 14.992 | 20.0563 | 1.2952 | -1.0599
[31 empty] | Cycle 3 | 13.0325 | 14.1779 | 18.6684 | 13.3954 | 14.2879 | 19.1147 | 1.3281 | -1.0641
[31 empty] | Cycle 4 | 12.5494 | 13.6523 | 17.977 | 12.7751 | 13.627 | 18.2292 | 1.2699 | -1.0245
[31 empty] | Cycle 5 | 12.0883 | 13.1509 | 17.3159 | 12.1914 | 13.005 | 17.3963 | 1.2588 | -1.0656
[31 empty] | Cycle 6 | 11.6478 | 12.6722 | 16.6855 | 11.6419 | 12.419 | 16.6126 | 1.2786 | -1.0393
[31 empty] | Cycle 7 | 11.2307 | 12.2183 | 16.0879 | 11.1253 | 11.8682 | 15.8752 | 1.2484 | -1.0524
[31 empty] | Cycle 8 |  |  |  | 10.6383 | 11.3489 | 15.1808
34 | GIRMS\IRMS-operator | 2026-05-21 07:15 | 2026-05-21 08:23 | Running | FALSE | MD23-3678 - G. ruber | 2341 | 2 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 9.655 V | 9.5176 kV | 91 µbar | 98 µbar | Carbon Dioxide: 0.0176 kV | 579 µbar | 9.312 V | 10.864 V |  | 205 µbar/min | 14.382 V | 9.67E-008 mbar | 21 % | 872 µbar | 72 °C | µ-Volume | Pre | 9.1682 | 9.9726 | 13.1344 | 9.488 | 10.1218 | 13.5393 | 1.0346 | -0.99864 | 1.0234 | 0.015726 | 0.0055601 | -0.9948 | 0.020057 | 0.0070913 | 1.1318 | 0.016657 | -0.99818 | 0.02007
[31 empty] | Cycle 1 | 8.8744 | 9.6533 | 12.7138 | 9.0877 | 9.6951 | 12.9683 | 1.0306 | -0.98187
[31 empty] | Cycle 2 | 8.5931 | 9.3476 | 12.3112 | 8.7089 | 9.2914 | 12.4278 | 1.0384 | -0.95798
[31 empty] | Cycle 3 | 8.3215 | 9.0523 | 11.9215 | 8.3491 | 8.9075 | 11.9143 | 1.0344 | -1.0266
[31 empty] | Cycle 4 | 8.0618 | 8.7695 | 11.5499 | 8.0094 | 8.5454 | 11.4301 | 1.0037 | -1.011
[31 empty] | Cycle 5 | 7.8054 | 8.4909 | 11.1827 | 7.687 | 8.2012 | 10.9699 | 1.0215 | -0.99491
[31 empty] | Cycle 6 | 7.5605 | 8.2247 | 10.8317 | 7.3801 | 7.874 | 10.532 | 1.0284 | -0.99341
[31 empty] | Cycle 7 | 7.3284 | 7.9722 | 10.4993 | 7.0888 | 7.5634 | 10.1161 | 0.99527 | -0.99398
[31 empty] | Cycle 8 |  |  |  | 6.8109 | 7.2671 | 9.7198
35 | GIRMS\IRMS-operator | 2026-05-21 07:54 | 2026-05-21 08:54 | Running | FALSE | MD23-3678 - G. ruber | 2337 | 1 | 19 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 7.697 V | 9.5178 kV | 101 µbar | 106 µbar | Carbon Dioxide: 0.0178 kV | 1,051 µbar | 7.518 V | 8.637 V |  | 464 µbar/min | 9.040 V | 8.47E-008 mbar | 25 % | 868 µbar | 72 °C | µ-Volume | Pre | 7.3986 | 8.0488 | 10.597 | 7.6469 | 8.1586 | 10.913 | 1.0524 | -1.3046 | 1.0471 | 0.022474 | 0.0079459 | -1.3027 | 0.018661 | 0.0065976 | 1.1686 | 0.023818 | -1.3065 | 0.018663
[31 empty] | Cycle 1 | 7.1646 | 7.7944 | 10.2617 | 7.3405 | 7.832 | 10.4759 | 1.0509 | -1.3189
[31 empty] | Cycle 2 | 6.9382 | 7.548 | 9.9374 | 7.0504 | 7.5225 | 10.0618 | 1.0481 | -1.3321
[31 empty] | Cycle 3 | 6.7199 | 7.3105 | 9.6252 | 6.774 | 7.2276 | 9.6677 | 1.0263 | -1.3077
[31 empty] | Cycle 4 | 6.5092 | 7.0816 | 9.3234 | 6.5107 | 6.9469 | 9.2921 | 1.0643 | -1.2962
[31 empty] | Cycle 5 | 6.3077 | 6.8624 | 9.0348 | 6.2595 | 6.6788 | 8.9332 | 1.0552 | -1.273
[31 empty] | Cycle 6 | 6.1133 | 6.6511 | 8.7565 | 6.0208 | 6.4242 | 8.5925 | 1.0761 | -1.284
[31 empty] | Cycle 7 | 5.9256 | 6.4465 | 8.4875 | 5.7935 | 6.1818 | 8.2685 | 1.004 | -1.3054
[31 empty] | Cycle 8 |  |  |  | 5.5767 | 5.9504 | 7.9588
36 | GIRMS\IRMS-operator | 2026-05-21 08:23 | 2026-05-21 09:32 | Running | FALSE | SHP2L |  | 2 | 19 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 3.289 V | 9.5178 kV | 93 µbar | 103 µbar | Carbon Dioxide: 0.0178 kV | 604 µbar | 3.091 V | 3.579 V |  | 234 µbar/min | 7.317 V | 5.31E-008 mbar | 61 % | 709 µbar | 72 °C | µ-Volume | Pre | 3.0572 | 3.3204 | 4.3586 | 3.1631 | 3.3754 | 4.5146 | -0.75601 | -6.001 | -0.75938 | 0.020807 | 0.0073565 | -5.9546 | 0.033829 | 0.01196 | -0.59211 | 0.022233 | -5.9593 | 0.033863
[31 empty] | Cycle 1 | 2.9775 | 3.2338 | 4.2449 | 3.0564 | 3.2614 | 4.362 | -0.74171 | -5.9499
[31 empty] | Cycle 2 | 2.9004 | 3.15 | 4.1349 | 2.9545 | 3.1527 | 4.2166 | -0.74666 | -5.9988
[31 empty] | Cycle 3 | 2.8243 | 3.0674 | 4.0267 | 2.8562 | 3.0479 | 4.0766 | -0.74048 | -5.9406
[31 empty] | Cycle 4 | 2.7496 | 2.9862 | 3.9202 | 2.7615 | 2.9468 | 3.9411 | -0.74685 | -5.8945
[31 empty] | Cycle 5 | 2.6759 | 2.9062 | 3.815 | 2.6701 | 2.8492 | 3.8107 | -0.76168 | -5.9464
[31 empty] | Cycle 6 | 2.6057 | 2.83 | 3.7149 | 2.5821 | 2.7554 | 3.685 | -0.78601 | -5.9525
[31 empty] | Cycle 7 | 2.5369 | 2.7553 | 3.617 | 2.4973 | 2.665 | 3.5642 | -0.79566 | -5.9533
[31 empty] | Cycle 8 |  |  |  | 2.4156 | 2.5777 | 3.4476
37 | GIRMS\IRMS-operator | 2026-05-21 08:54 | 2026-05-21 10:12 | Running | FALSE | MD23-3678 - G. ruber | 2333 | 1 | 20 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 10.237 V | 9.5179 kV | 103 µbar | 111 µbar | Carbon Dioxide: 0.0179 kV | 1,143 µbar | 8.941 V | 11.629 V |  | 654 µbar/min | 2.314 V | 9.44E-008 mbar | 23 % | 897 µbar | 72 °C | µ-Volume | Pre | 8.7574 | 9.5287 | 12.5414 | 9.0959 | 9.7042 | 12.9808 | 1.2834 | -1.4164 | 1.2641 | 0.012683 | 0.0044841 | -1.3916 | 0.016761 | 0.005926 | 1.4041 | 0.013575 | -1.396 | 0.016779
[31 empty] | Cycle 1 | 8.4645 | 9.2099 | 12.1223 | 8.7163 | 9.2993 | 12.4388 | 1.2641 | -1.3852
[31 empty] | Cycle 2 | 8.1834 | 8.9043 | 11.7199 | 8.3577 | 8.9169 | 11.9272 | 1.2621 | -1.3789
[31 empty] | Cycle 3 | 7.9144 | 8.6116 | 11.3346 | 8.0184 | 8.555 | 11.4429 | 1.2555 | -1.3838
[31 empty] | Cycle 4 | 7.6555 | 8.33 | 10.9639 | 7.6964 | 8.2116 | 10.9836 | 1.2585 | -1.3816
[31 empty] | Cycle 5 | 7.4056 | 8.0582 | 10.606 | 7.3901 | 7.8847 | 10.5466 | 1.2832 | -1.3785
[31 empty] | Cycle 6 | 7.1647 | 7.7961 | 10.2612 | 7.098 | 7.5732 | 10.1295 | 1.2567 | -1.3885
[31 empty] | Cycle 7 | 6.9333 | 7.5443 | 9.9296 | 6.8201 | 7.2769 | 9.7334 | 1.2492 | -1.42
[31 empty] | Cycle 8 |  |  |  | 6.5549 | 6.9939 | 9.3547
38 | GIRMS\IRMS-operator | 2026-05-21 09:32 | 2026-05-21 10:41 | Running | FALSE | MD23-3678 - G. ruber | 2329 | 2 | 20 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.072 V | 9.5177 kV | 89 µbar | 101 µbar | Carbon Dioxide: 0.0177 kV | 599 µbar | 10.303 V | 12.534 V |  | 225 µbar/min | 8.716 V | 1.02E-007 mbar | 19 % | 889 µbar | 72 °C | µ-Volume | Pre | 10.0859 | 10.9713 | 14.4483 | 10.5148 | 11.2169 | 15.0047 | 1.0975 | -1.0704 | 1.1111 | 0.013024 | 0.0046046 | -1.0719 | 0.011826 | 0.0044698 | 1.2288 | 0.014119 | -1.0756 | 0.011835
[31 empty] | Cycle 1 | 9.7558 | 10.6127 | 13.9753 | 10.0595 | 10.7317 | 14.3553 | 1.1268 | -1.0763
[31 empty] | Cycle 2 | 9.4375 | 10.2665 | 13.5195 | 9.6299 | 10.2734 | 13.7419 | 1.115 | -1.0528
[31 empty] | Cycle 3 | 9.1341 | 9.9366 | 13.0848 | 9.2235 | 9.8401 | 13.1621 | 1.0916 | -1.0784
[31 empty] | Cycle 4 | 8.8392 | 9.6159 | 12.6625 | 8.8381 | 9.4294 | 12.6124 | 1.1 | -1.0709
[31 empty] | Cycle 5 | 8.5574 | 9.3095 | 12.259 | 8.4732 | 9.0397 | 12.0915 | 1.1202 | -1.0642
[31 empty] | Cycle 6 | 8.2847 | 9.0131 | 11.8682 | 8.1268 | 8.6706 | 11.5977 | 1.1147 | -1.0906
[31 empty] | Cycle 7 | 8.0209 | 8.7262 | 11.4901 | 7.7977 | 8.3196 | 11.1279 | 1.123 | -1.1153
[31 empty] | Cycle 8 |  |  |  | 7.4851 | 7.986 | 10.682
39 | GIRMS\IRMS-operator | 2026-05-21 10:12 | 2026-05-21 11:12 | Running | FALSE | MD23-3678 - G. ruber | 2321 | 1 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 8.480 V | 9.5177 kV | 98 µbar | 101 µbar | Carbon Dioxide: 0.0177 kV | 1,019 µbar | 8.257 V | 9.538 V |  | 386 µbar/min | 9.975 V | 9.03E-008 mbar | 23 % | 880 µbar | 72 °C | µ-Volume | Pre | 8.1296 | 8.8442 | 11.6452 | 8.4036 | 8.9657 | 11.9927 | 1.1187 | -1.1719 | 1.105 | 0.016921 | 0.0059825 | -1.1512 | 0.013869 | 0.0049035 | 1.225 | 0.017926 | -1.155 | 0.01387
[31 empty] | Cycle 1 | 7.8697 | 8.5616 | 11.2732 | 8.0613 | 8.6006 | 11.5042 | 1.1181 | -1.1534
[31 empty] | Cycle 2 | 7.6179 | 8.2877 | 10.9124 | 7.7369 | 8.2546 | 11.0414 | 1.11 | -1.1498
[31 empty] | Cycle 3 | 7.3763 | 8.025 | 10.5666 | 7.4278 | 7.925 | 10.6001 | 1.1094 | -1.1335
[31 empty] | Cycle 4 | 7.1413 | 7.7696 | 10.2301 | 7.1335 | 7.611 | 10.1805 | 1.1216 | -1.1333
[31 empty] | Cycle 5 | 6.9142 | 7.5223 | 9.9044 | 6.8529 | 7.3119 | 9.7798 | 1.0723 | -1.1678
[31 empty] | Cycle 6 | 6.6969 | 7.2861 | 9.5936 | 6.5863 | 7.0276 | 9.3995 | 1.0897 | -1.1505
[31 empty] | Cycle 7 | 6.4858 | 7.0564 | 9.2911 | 6.332 | 6.7562 | 9.0369 | 1.1005 | -1.1497
[31 empty] | Cycle 8 |  |  |  | 6.0901 | 6.4981 | 8.6913
40 | GIRMS\IRMS-operator | 2026-05-21 10:41 | 2026-05-21 11:50 | Running | FALSE | MD23-3678 - G. ruber | 2317 | 2 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.563 V | 9.5177 kV | 91 µbar | 103 µbar | Carbon Dioxide: 0.0177 kV | 469 µbar | 10.803 V | 13.129 V |  | 200 µbar/min | 8.024 V | 1.06E-007 mbar | 16 % | 889 µbar | 72 °C | µ-Volume | Pre | 10.5931 | 11.5187 | 15.1727 | 11.062 | 11.8003 | 15.7849 | 0.75888 | -1.1834 | 0.74408 | 0.019514 | 0.0068991 | -1.1692 | 0.016473 | 0.0058241 | 0.83942 | 0.020877 | -1.1721 | 0.01649
[31 empty] | Cycle 1 | 10.2466 | 11.1419 | 14.6768 | 10.5754 | 11.2817 | 15.0913 | 0.70832 | -1.1727
[31 empty] | Cycle 2 | 9.915 | 10.7819 | 14.2022 | 10.1188 | 10.7952 | 14.4396 | 0.73123 | -1.1417
[31 empty] | Cycle 3 | 9.5933 | 10.4323 | 13.7414 | 9.6882 | 10.3358 | 13.8248 | 0.75014 | -1.1517
[31 empty] | Cycle 4 | 9.2779 | 10.0893 | 13.2896 | 9.2796 | 9.8998 | 13.2424 | 0.75096 | -1.1794
[31 empty] | Cycle 5 | 8.9791 | 9.7647 | 12.862 | 8.892 | 9.4865 | 12.6894 | 0.77268 | -1.1599
[31 empty] | Cycle 6 | 8.6897 | 9.45 | 12.4473 | 8.5241 | 9.0941 | 12.1645 | 0.74619 | -1.1755
[31 empty] | Cycle 7 | 8.4098 | 9.1457 | 12.0462 | 8.1752 | 8.7221 | 11.6664 | 0.73426 | -1.1889
[31 empty] | Cycle 8 |  |  |  | 7.8438 | 8.3687 | 11.1939
41 | GIRMS\IRMS-operator | 2026-05-21 11:12 | 2026-05-21 12:29 | Running | FALSE | SHP2L |  | 1 | 22 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 6.711 V | 9.5179 kV | 103 µbar | 101 µbar | Carbon Dioxide: 0.0179 kV | 926 µbar | 6.221 V | 7.499 V |  | 357 µbar/min | 2.313 V | 7.53E-008 mbar | 34 % | 860 µbar | 72 °C | µ-Volume | Pre | 6.1796 | 6.7107 | 8.8097 | 6.3149 | 6.738 | 9.0131 | -0.80428 | -6.0491 | -0.82535 | 0.018479 | 0.0065333 | -6.0303 | 0.027381 | 0.0096807 | -0.65989 | 0.019451 | -6.0349 | 0.027396
[31 empty] | Cycle 1 | 5.9883 | 6.503 | 8.5369 | 6.0722 | 6.4793 | 8.6667 | -0.81685 | -6.0649
[31 empty] | Cycle 2 | 5.8033 | 6.3021 | 8.2729 | 5.8419 | 6.2336 | 8.3377 | -0.83121 | -6.0373
[31 empty] | Cycle 3 | 5.6237 | 6.1072 | 8.0172 | 5.6216 | 5.9986 | 8.0228 | -0.81131 | -6.0021
[31 empty] | Cycle 4 | 5.4523 | 5.9208 | 7.7728 | 5.4112 | 5.7741 | 7.7231 | -0.84357 | -6.0421
[31 empty] | Cycle 5 | 5.287 | 5.7417 | 7.5376 | 5.2115 | 5.5611 | 7.438 | -0.80804 | -5.9805
[31 empty] | Cycle 6 | 5.1278 | 5.5685 | 7.3102 | 5.0203 | 5.3571 | 7.1652 | -0.85666 | -6.0437
[31 empty] | Cycle 7 | 4.9734 | 5.4011 | 7.0901 | 4.8377 | 5.1622 | 6.9044 | -0.83088 | -6.0228
[31 empty] | Cycle 8 |  |  |  | 4.663 | 4.976 | 6.6551
42 | GIRMS\IRMS-operator | 2026-05-21 11:50 | 2026-05-21 12:57 | Running | FALSE | MD23-3678 - G. ruber | 2313 | 2 | 22 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 6.147 V | 9.5178 kV | 93 µbar | 101 µbar | Carbon Dioxide: 0.0178 kV | 523 µbar | 6.106 V | 6.820 V |  | 220 µbar/min | 6.106 V | 7.45E-008 mbar | 34 % | 821 µbar | 72 °C | µ-Volume | Pre | 6.2967 | 6.85 | 9.0214 | 6.2002 | 6.6156 | 8.8491 | 0.98096 | -1.0815 | 0.98039 | 0.0085035 | 0.0030064 | -1.0293 | 0.033187 | 0.011733 | 1.0871 | 0.0091777 | -1.0326 | 0.033222
[31 empty] | Cycle 1 | 6.114 | 6.6513 | 8.7596 | 5.9646 | 6.3643 | 8.5129 | 0.98666 | -1.0665
[31 empty] | Cycle 2 | 5.9377 | 6.4595 | 8.5073 | 5.7402 | 6.1249 | 8.1923 | 0.97933 | -1.0229
[31 empty] | Cycle 3 | 5.7654 | 6.2721 | 8.2605 | 5.5255 | 5.8959 | 7.8862 | 0.98113 | -1.0392
[31 empty] | Cycle 4 | 5.597 | 6.089 | 8.0193 | 5.3203 | 5.677 | 7.5935 | 0.9933 | -1.0074
[31 empty] | Cycle 5 | 5.4362 | 5.914 | 7.7888 | 5.124 | 5.4675 | 7.3127 | 0.96557 | -1.0249
[31 empty] | Cycle 6 | 5.2783 | 5.7424 | 7.5629 | 4.9358 | 5.2668 | 7.0447 | 0.97225 | -1.0147
[31 empty] | Cycle 7 | 5.1273 | 5.5781 | 7.3467 | 4.7561 | 5.075 | 6.7879 | 0.98391 | -0.97693
[31 empty] | Cycle 8 |  |  |  | 4.5842 | 4.8915 | 6.5426
43 | GIRMS\IRMS-operator | 2026-05-21 12:29 | 2026-05-21 13:29 | Running | FALSE | MD23-3678 - G. ruber | 2309 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.001 V, 0.002 V |  | 5.664 V | 9.5179 kV | 101 µbar | 101 µbar | Carbon Dioxide: 0.0179 kV | 963 µbar | 5.596 V | 6.296 V |  | 396 µbar/min | 5.989 V | 7.13E-008 mbar | 36 % | 828 µbar | 73 °C | µ-Volume | Pre | 5.5324 | 6.0188 | 7.9247 | 5.6844 | 6.0655 | 8.1129 | 0.97855 | -1.2867 | 0.99166 | 0.028626 | 0.010121 | -1.306 | 0.017716 | 0.0062635 | 1.1094 | 0.030886 | -1.3097 | 0.01776
[31 empty] | Cycle 1 | 5.3691 | 5.8412 | 7.6906 | 5.4722 | 5.8391 | 7.8101 | 1.0033 | -1.3072
[31 empty] | Cycle 2 | 5.2087 | 5.6668 | 7.461 | 5.2695 | 5.6227 | 7.5207 | 1.024 | -1.3078
[31 empty] | Cycle 3 | 5.0542 | 5.4985 | 7.2394 | 5.0757 | 5.4159 | 7.2444 | 0.98037 | -1.3313
[31 empty] | Cycle 4 | 4.9049 | 5.3362 | 7.0258 | 4.8903 | 5.2183 | 6.9795 | 0.96766 | -1.2831
[31 empty] | Cycle 5 | 4.7598 | 5.1786 | 6.8179 | 4.713 | 5.0292 | 6.7266 | 1.0161 | -1.3002
[31 empty] | Cycle 6 | 4.6197 | 5.0259 | 6.6174 | 4.543 | 4.8477 | 6.4838 | 0.94368 | -1.3014
[31 empty] | Cycle 7 | 4.4835 | 4.8783 | 6.4221 | 4.3798 | 4.6738 | 6.2513 | 1.0196 | -1.3305
[31 empty] | Cycle 8 |  |  |  | 4.2234 | 4.5071 | 6.0278
44 | GIRMS\IRMS-operator | 2026-05-21 12:57 | 2026-05-21 14:08 | Running | FALSE | MD23-3678 - G. ruber | 2305 | 2 | 23 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 6.788 V | 9.5179 kV | 91 µbar | 103 µbar | Carbon Dioxide: 0.0179 kV | 501 µbar | 6.355 V | 7.573 V |  | 210 µbar/min | 5.489 V | 7.75E-008 mbar | 31 % | 833 µbar | 72 °C | µ-Volume | Pre | 6.2531 | 6.8043 | 8.9589 | 6.4556 | 6.888 | 9.2131 | 1.2604 | -1.0494 | 1.2719 | 0.011736 | 0.0041493 | -1.0869 | 0.023883 | 0.0084439 | 1.4012 | 0.013047 | -1.0909 | 0.023922
[31 empty] | Cycle 1 | 6.0731 | 6.6086 | 8.7009 | 6.2073 | 6.6231 | 8.859 | 1.2739 | -1.0821
[31 empty] | Cycle 2 | 5.8965 | 6.4165 | 8.4476 | 5.9714 | 6.3713 | 8.5223 | 1.2944 | -1.1157
[31 empty] | Cycle 3 | 5.7245 | 6.2294 | 8.2013 | 5.7463 | 6.1314 | 8.2013 | 1.2675 | -1.1129
[31 empty] | Cycle 4 | 5.557 | 6.0473 | 7.9614 | 5.5315 | 5.9022 | 7.8947 | 1.2763 | -1.0934
[31 empty] | Cycle 5 | 5.3959 | 5.8721 | 7.7308 | 5.326 | 5.6832 | 7.6013 | 1.2644 | -1.0573
[31 empty] | Cycle 6 | 5.2394 | 5.7018 | 7.5065 | 5.1294 | 5.4735 | 7.3207 | 1.2589 | -1.0987
[31 empty] | Cycle 7 | 5.0883 | 5.5373 | 7.29 | 4.942 | 5.2735 | 7.0535 | 1.2795 | -1.0853
[31 empty] | Cycle 8 |  |  |  | 4.7614 | 5.0807 | 6.7954
45 | GIRMS\IRMS-operator | 2026-05-21 13:29 | 2026-05-21 14:46 | Running | FALSE | MD23-3678 - G. ruber | 2301 | 1 | 24 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 6.247 V | 9.5179 kV | 106 µbar | 106 µbar | Carbon Dioxide: 0.0179 kV | 999 µbar | 5.788 V | 6.966 V |  | 396 µbar/min | 2.309 V | 7.42E-008 mbar | 36 % | 853 µbar | 72 °C | µ-Volume | Pre | 5.762 | 6.2641 | 8.253 | 5.8756 | 6.2694 | 8.386 | 0.29692 | -1.3467 | 0.28508 | 0.023796 | 0.0084131 | -1.3448 | 0.010251 | 0.0036244 | 0.35478 | 0.02557 | -1.3469 | 0.010277
[31 empty] | Cycle 1 | 5.5855 | 6.0724 | 8.0003 | 5.6538 | 6.0328 | 8.0691 | 0.28655 | -1.3486
[31 empty] | Cycle 2 | 5.4145 | 5.8863 | 7.7555 | 5.4427 | 5.8077 | 7.7681 | 0.26425 | -1.3361
[31 empty] | Cycle 3 | 5.2504 | 5.7079 | 7.5203 | 5.2413 | 5.5927 | 7.4805 | 0.26151 | -1.3534
[31 empty] | Cycle 4 | 5.0897 | 5.5332 | 7.2901 | 5.0477 | 5.3862 | 7.2042 | 0.27281 | -1.3555
[31 empty] | Cycle 5 | 4.9357 | 5.3658 | 7.0698 | 4.8625 | 5.1885 | 6.9399 | 0.26866 | -1.3246
[31 empty] | Cycle 6 | 4.7866 | 5.2038 | 6.8562 | 4.6861 | 5.0003 | 6.6881 | 0.29729 | -1.3426
[31 empty] | Cycle 7 | 4.643 | 5.0479 | 6.6506 | 4.5167 | 4.8194 | 6.4466 | 0.33265 | -1.351
[31 empty] | Cycle 8 |  |  |  | 4.355 | 4.6469 | 6.2157
46 | GIRMS\IRMS-operator | 2026-05-21 14:08 | 2026-05-21 15:15 | Running | FALSE | SHP2L |  | 2 | 24 | TRUE | QC Standard | SHP2L | 0.002 V, 0.001 V, 0.002 V |  | 1.560 V | 9.5178 kV | 96 µbar | 103 µbar | Carbon Dioxide: 0.0178 kV | 511 µbar | 2.077 V | 1.667 V | 1.471 V | 132 µbar/min | 5.685 V | 4.47E-008 mbar | 100 % | 582 µbar | 72 °C | µ-Volume | Pre | 1.5076 | 1.6372 | 2.1493 | 2.1435 | 2.2874 | 3.0592 | -0.84348 | -5.9882 | -0.81805 | 0.015404 | 0.0054461 | -6.0258 | 0.045748 | 0.016174 | -0.65225 | 0.015903 | -6.0304 | 0.045783
[31 empty] | Cycle 1 | 1.4725 | 1.5992 | 2.0992 | 2.0739 | 2.2131 | 2.9598 | -0.81811 | -6.0216
[31 empty] | Cycle 2 | 1.4374 | 1.561 | 2.049 | 2.0077 | 2.1425 | 2.8652 | -0.79813 | -5.9911
[31 empty] | Cycle 3 | 1.404 | 1.5248 | 2.0016 | 1.9439 | 2.0743 | 2.7742 | -0.79527 | -5.9588
[31 empty] | Cycle 4 | 1.3712 | 1.4891 | 1.9547 | 1.8822 | 2.0085 | 2.6863 | -0.82466 | -6.0717
[31 empty] | Cycle 5 | 1.3387 | 1.4539 | 1.9085 | 1.8228 | 1.9451 | 2.6016 | -0.82461 | -6.0394
[31 empty] | Cycle 6 | 1.3079 | 1.4204 | 1.8644 | 1.7653 | 1.8838 | 2.5194 | -0.81863 | -6.0385
[31 empty] | Cycle 7 | 1.2771 | 1.3869 | 1.8205 | 1.7101 | 1.8248 | 2.4405 | -0.8215 | -6.097
[31 empty] | Cycle 8 |  |  |  | 1.6566 | 1.7678 | 2.3644