## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Pressure Adjust failed with Target Intensity | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-07-06 10:21 | 2026-07-06 11:17 | Running | FALSE | MD23-3678 - N. dutertri | 1537 | 1 | 1 | 5 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 0.004 V | 9.4987 kV | 86 µbar | 84 µbar | Carbon Dioxide: -0.0013 kV | 108 µbar | 2.617 V | 0.004 V | 0.006 V | 1,035 µbar/min | 2.744 V | 4.47E-008 mbar | 100 % | 86 µbar | 72 °C | µ-Volume | Pre | 0.0049769 | 0.0053278 | 0.0070971 | 2.7029 | 2.8831 | 3.8553 | -14.6839 | -5.0967 | -15.02 | 2.3652 | 0.83621 | -7.75 | 2.9156 | 1.0308 | -15.7847 | 2.4735 | -7.7245 | 2.9159
[32 empty] | Cycle 1 | 0.0047351 | 0.0050432 | 0.0066953 | 2.6114 | 2.7855 | 3.7245 | -19.7459 | -13.4767
[32 empty] | Cycle 2 | 0.0046486 | 0.0049754 | 0.0066251 | 2.5254 | 2.694 | 3.6017 | -14.9323 | -5.5988
[32 empty] | Cycle 3 | 0.0045847 | 0.0048995 | 0.0065084 | 2.443 | 2.606 | 3.4841 | -16.4057 | -9.5104
[32 empty] | Cycle 4 | 0.0045222 | 0.00485 | 0.0064324 | 2.3638 | 2.5215 | 3.3713 | -12.8699 | -7.5201
[32 empty] | Cycle 5 | 0.0044828 | 0.0047952 | 0.0063939 | 2.2874 | 2.44 | 3.2621 | -15.4612 | -4.7704
[32 empty] | Cycle 6 | 0.0044304 | 0.0047558 | 0.006291 | 2.2137 | 2.3614 | 3.1571 | -12.0182 | -9.2125
[32 empty] | Cycle 7 | 0.0043842 | 0.0046967 | 0.0062406 | 2.1426 | 2.2856 | 3.0556 | -14.0431 | -6.8144
[32 empty] | Cycle 8 |  |  |  | 2.0739 | 2.2123 | 2.9578
2 | GIRMS\IRMS-operator | 2026-07-06 10:54 | 2026-07-06 11:48 | Running | FALSE | MD23-3678 - N. dutertri | 2129 | 2 | 2 | 5 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 16.666 V | 9.4990 kV | 91 µbar | 96 µbar | Carbon Dioxide: -0.0010 kV | 106 µbar | 15.523 V | 19.123 V |  | 122 µbar/min | 2.618 V | 1.38E-007 mbar | 13 % | 1,038 µbar | 72 °C | µ-Volume | Pre | 15.2014 | 16.5312 | 21.7792 | 15.909 | 16.9585 | 22.6795 | 1.538 | 0.054446 | 1.4736 | 0.033692 | 0.011912 | 0.024217 | 0.0035483 | 0.0013411 | 1.5757 | 0.035747 | 0.020934 | 0.0035529
[32 empty] | Cycle 1 | 14.6521 | 15.934 | 20.9924 | 15.1267 | 16.1264 | 21.5652 | 1.4931 | 0.025265
[32 empty] | Cycle 2 | 14.13 | 15.3663 | 20.245 | 14.3974 | 15.3488 | 20.526 | 1.4495 | 0.024016
[32 empty] | Cycle 3 | 13.6215 | 14.814 | 19.5169 | 13.7155 | 14.6234 | 19.5545 | 1.4314 | 0.021323
[32 empty] | Cycle 4 | 13.1333 | 14.2836 | 18.8177 | 13.0757 | 13.9415 | 18.6427 | 1.4728 | 0.02489
[32 empty] | Cycle 5 | 12.6695 | 13.7796 | 18.1536 | 12.4758 | 13.3017 | 17.7875 | 1.491 | 0.023352
[32 empty] | Cycle 6 | 12.2255 | 13.297 | 17.5178 | 11.9107 | 12.6998 | 16.9827 | 1.465 | 0.019756
[32 empty] | Cycle 7 | 11.8041 | 12.8389 | 16.9142 | 11.3786 | 12.1328 | 16.224 | 1.4477 | 0.03092
[32 empty] | Cycle 8 |  |  |  | 10.8766 | 11.598 | 15.5082
3 | GIRMS\IRMS-operator | 2026-07-06 11:17 | 2026-07-06 12:19 | Running | FALSE | MD23-3678 - N. dutertri | 2117 | 3 | 1 | 6 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 16.298 V | 9.4988 kV | 93 µbar | 96 µbar | Carbon Dioxide: -0.0012 kV | 108 µbar | 14.886 V | 18.768 V |  | 337 µbar/min | 14.946 V | 1.35E-007 mbar | 13 % | 1,034 µbar | 72 °C | µ-Volume | Pre | 14.5546 | 15.8233 | 20.8444 | 15.248 | 16.2552 | 21.739 | 1.1843 | -0.40328 | 1.1651 | 0.022171 | 0.0083799 | -0.42358 | 0.014892 | 0.0052652 | 1.2623 | 0.023614 | -0.42658 | 0.014847
[32 empty] | Cycle 1 | 14.0149 | 15.237 | 20.0719 | 14.5093 | 15.4691 | 20.6862 | 1.1572 | -0.41901
[32 empty] | Cycle 2 | 13.5007 | 14.6787 | 19.3362 | 13.8206 | 14.7351 | 19.7053 | 1.1815 | -0.4101
[32 empty] | Cycle 3 | 13.0054 | 14.136 | 18.627 | 13.1739 | 14.0461 | 18.7834 | 0.84902 | -0.43151
[32 empty] | Cycle 4 | 12.5309 | 13.6252 | 17.9479 | 12.567 | 13.3996 | 17.9189 | 1.1668 | -0.4225
[32 empty] | Cycle 5 | 12.0807 | 13.136 | 17.3036 | 11.9971 | 12.7925 | 17.1061 | 1.1329 | -0.41547
[32 empty] | Cycle 6 | 11.6496 | 12.6676 | 16.6859 | 11.4595 | 12.2201 | 16.3404 | 1.142 | -0.4467
[32 empty] | Cycle 7 | 11.2369 | 12.2193 | 16.0953 | 10.9516 | 11.6781 | 15.6161 | 1.191 | -0.44012
[32 empty] | Cycle 8 |  |  |  | 10.4713 | 11.1661 | 14.932
4 | GIRMS\IRMS-operator | 2026-07-06 11:48 | 2026-07-06 12:55 | Running | FALSE | MD23-3678 - N. dutertri | 2109 | 4 | 2 | 6 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  | 17.060 V | 9.4989 kV | 96 µbar | 98 µbar | Carbon Dioxide: -0.0011 kV | 101 µbar | 16.323 V | 19.638 V |  | 381 µbar/min | 14.255 V | 1.43E-007 mbar | 10 % | 1,031 µbar | 72 °C | µ-Volume | Pre | 16.0948 | 17.5037 | 23.0496 | 16.7869 | 17.8946 | 23.9331 | 1.5886 | -0.45085 | 1.5745 | 0.020487 | 0.0072433 | -0.45089 | 0.0049594 | 0.0018745 | 1.7013 | 0.021834 | -0.45492 | 0.0049731
[32 empty] | Cycle 1 | 15.5023 | 16.8604 | 22.2024 | 15.9506 | 17.0048 | 22.7418 | 1.595 | -0.42856
[32 empty] | Cycle 2 | 14.9327 | 16.2417 | 21.3868 | 15.1686 | 16.1713 | 21.6275 | 1.6018 | -0.45062
[32 empty] | Cycle 3 | 14.3957 | 15.658 | 20.6181 | 14.4375 | 15.3928 | 20.5857 | 1.5833 | -0.45113
[32 empty] | Cycle 4 | 13.8783 | 15.0956 | 19.8774 | 13.7516 | 14.6619 | 19.6079 | 1.5682 | -0.45962
[32 empty] | Cycle 5 | 13.3725 | 14.5459 | 19.1536 | 13.1102 | 13.9788 | 18.694 | 1.5457 | -0.45012
[32 empty] | Cycle 6 | 12.8964 | 14.0285 | 18.4724 | 12.5077 | 13.3371 | 17.8352 | 1.556 | -0.4425
[32 empty] | Cycle 7 | 12.439 | 13.5312 | 17.8173 | 11.9405 | 12.7322 | 17.0271 | 1.5576 | -0.45136
[32 empty] | Cycle 8 |  |  |  | 11.4064 | 12.1633 | 16.2654
5 | GIRMS\IRMS-operator | 2026-07-06 12:19 | 2026-07-06 13:36 | Running | FALSE | SHP2L |  | 5 | 1 | 7 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 8.615 V | 9.4990 kV | 93 µbar | 96 µbar | Carbon Dioxide: -0.0010 kV | 123 µbar | 7.927 V | 9.595 V |  | 49 µbar/min | 2.769 V | 8.77E-008 mbar | 30 % | 963 µbar | 72 °C | µ-Volume | Pre | 7.7756 | 8.4406 | 11.078 | 8.0457 | 8.5809 | 11.4746 | -0.74414 | -5.916 | -0.77239 | 0.045648 | 0.016139 | -5.9036 | 0.02428 | 0.0085844 | -0.60792 | 0.049422 | -5.9081 | 0.024372
[32 empty] | Cycle 1 | 7.5282 | 8.1718 | 10.7261 | 7.7184 | 8.2322 | 11.0076 | -0.82116 | -5.8582
[32 empty] | Cycle 2 | 7.289 | 7.9124 | 10.3849 | 7.4094 | 7.903 | 10.5668 | -0.82404 | -5.9057
[32 empty] | Cycle 3 | 7.0589 | 7.6634 | 10.0571 | 7.1155 | 7.5897 | 10.1481 | -0.69046 | -5.9192
[32 empty] | Cycle 4 | 6.8362 | 7.4211 | 9.7397 | 6.8357 | 7.2908 | 9.7492 | -0.75577 | -5.9322
[32 empty] | Cycle 5 | 6.6214 | 7.1881 | 9.4342 | 6.5682 | 7.0058 | 9.3675 | -0.77267 | -5.8842
[32 empty] | Cycle 6 | 6.415 | 6.9641 | 9.1398 | 6.3145 | 6.7354 | 9.0058 | -0.75885 | -5.9215
[32 empty] | Cycle 7 | 6.2169 | 6.7488 | 8.8579 | 6.0726 | 6.4773 | 8.6609 | -0.812 | -5.8915
[32 empty] | Cycle 8 |  |  |  | 5.8417 | 6.2311 | 8.3318
6 | GIRMS\IRMS-operator | 2026-07-06 12:55 | 2026-07-06 14:05 | Running | FALSE | MD23-3678 - N. dutertri | 2101 | 6 | 2 | 7 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 18.386 V | 9.4989 kV | 96 µbar | 98 µbar | Carbon Dioxide: -0.0011 kV | 98 µbar | 17.677 V | 21.355 V |  | 381 µbar/min | 7.767 V | 1.51E-007 mbar | 10 % | 1,036 µbar | 72 °C | µ-Volume | Pre | 17.4522 | 18.9881 | 24.9932 | 18.1743 | 19.372 | 25.9116 | 2.1208 | -0.46841 | 2.0691 | 0.029655 | 0.010485 | -0.50903 | 0.024049 | 0.0085026 | 2.2328 | 0.030915 | -0.51425 | 0.024013
[32 empty] | Cycle 1 | 16.792 | 18.2707 | 24.0479 | 17.2447 | 18.3819 | 24.5864 | 2.1074 | -0.49228
[32 empty] | Cycle 2 | 16.163 | 17.5869 | 23.148 | 16.3786 | 17.46 | 23.3528 | 2.0751 | -0.48959
[32 empty] | Cycle 3 | 15.5688 | 16.9411 | 22.2969 | 15.5702 | 16.5993 | 22.2007 | 2.0507 | -0.52853
[32 empty] | Cycle 4 | 14.9926 | 16.315 | 21.4727 | 14.8134 | 15.7939 | 21.1228 | 2.0535 | -0.51326
[32 empty] | Cycle 5 | 14.4423 | 15.7167 | 20.685 | 14.1049 | 15.0386 | 20.1125 | 2.0549 | -0.51444
[32 empty] | Cycle 6 | 13.9281 | 15.1577 | 19.9488 | 13.4399 | 14.3306 | 19.1653 | 2.0397 | -0.54224
[32 empty] | Cycle 7 | 13.4284 | 14.6146 | 19.2338 | 12.8161 | 13.666 | 18.2763 | 2.0509 | -0.52351
[32 empty] | Cycle 8 |  |  |  | 12.2299 | 13.0412 | 17.4404
7 | GIRMS\IRMS-operator | 2026-07-06 13:36 | 2026-07-06 14:36 | Running | FALSE | MD23-3678 - N. dutertri | 2093 | 7 | 1 | 8 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 20.039 V | 9.4987 kV | 98 µbar | 98 µbar | Carbon Dioxide: -0.0013 kV | 115 µbar | 16.833 V | 23.385 V | 18.271 V | 190 µbar/min | 16.875 V | 1.47E-007 mbar | 10 % | 1,046 µbar | 72 °C | µ-Volume | Pre | 19.4683 | 21.176 | 27.8775 | 17.3373 | 18.4812 | 24.7195 | 1.7777 | -0.63374 | 1.7955 | 0.024297 | 0.0085902 | -0.6361 | 0.0083577 | 0.0029549 | 1.9447 | 0.025987 | -0.64084 | 0.0083646
[32 empty] | Cycle 1 | 18.6808 | 20.3208 | 26.7505 | 16.4646 | 17.5519 | 23.4759 | 1.7977 | -0.64468
[32 empty] | Cycle 2 | 17.9334 | 19.5091 | 25.6814 | 15.6523 | 16.6866 | 22.3187 | 1.8052 | -0.63824
[32 empty] | Cycle 3 | 17.22 | 18.734 | 24.6606 | 14.8925 | 15.8778 | 21.2359 | 1.7872 | -0.6325
[32 empty] | Cycle 4 | 16.5489 | 18.0051 | 23.6996 | 14.1802 | 15.1194 | 20.2206 | 1.8024 | -0.65134
[32 empty] | Cycle 5 | 15.9081 | 17.3084 | 22.7828 | 13.5118 | 14.4072 | 19.268 | 1.7986 | -0.62655
[32 empty] | Cycle 6 | 15.2936 | 16.6397 | 21.9031 | 12.885 | 13.7394 | 18.3744 | 1.7552 | -0.63353
[32 empty] | Cycle 7 | 14.7102 | 16.0068 | 21.0683 | 12.2945 | 13.1102 | 17.5329 | 1.8398 | -0.62822
[32 empty] | Cycle 8 |  |  |  | 11.7397 | 12.5187 | 16.742
8 | GIRMS\IRMS-operator | 2026-07-06 14:05 | 2026-07-06 15:15 | Running | FALSE | MD23-3678 - N. dutertri | 2085 | 8 | 2 | 8 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 14.369 V | 9.4987 kV | 98 µbar | 98 µbar | Carbon Dioxide: -0.0013 kV | 108 µbar | 13.210 V | 16.307 V |  | 176 µbar/min | 16.030 V | 1.23E-007 mbar | 14 % | 1,012 µbar | 72 °C | µ-Volume | Pre | 12.9291 | 14.0663 | 18.5211 | 13.5232 | 14.4208 | 19.2836 | 1.7046 | -0.34703 | 1.6755 | 0.035918 | 0.012699 | -0.35543 | 0.019339 | 0.0068375 | 1.8059 | 0.038581 | -0.3596 | 0.019376
[32 empty] | Cycle 1 | 12.4808 | 13.5781 | 17.8789 | 12.8935 | 13.7481 | 18.3862 | 1.6931 | -0.37021
[32 empty] | Cycle 2 | 12.052 | 13.1116 | 17.265 | 12.3025 | 13.1182 | 17.5437 | 1.6626 | -0.38048
[32 empty] | Cycle 3 | 11.6414 | 12.6654 | 16.6778 | 11.7472 | 12.5266 | 16.7524 | 1.6451 | -0.34208
[32 empty] | Cycle 4 | 11.2453 | 12.2356 | 16.11 | 11.2232 | 11.9687 | 16.0053 | 1.7126 | -0.36988
[32 empty] | Cycle 5 | 10.8651 | 11.8218 | 15.5663 | 10.7292 | 11.4418 | 15.301 | 1.6923 | -0.32251
[32 empty] | Cycle 6 | 10.5028 | 11.4272 | 15.047 | 10.2615 | 10.9433 | 14.6342 | 1.6051 | -0.3449
[32 empty] | Cycle 7 | 10.1553 | 11.0501 | 14.5491 | 9.8202 | 10.4735 | 14.005 | 1.6883 | -0.36636
[32 empty] | Cycle 8 |  |  |  | 9.4028 | 10.0275 | 13.41
9 | GIRMS\IRMS-operator | 2026-07-06 14:36 | 2026-07-06 15:54 | Running | FALSE | MD23-3678 - N. dutertri | 2077 | 9 | 1 | 9 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 21.304 V | 9.4988 kV | 98 µbar | 101 µbar | Carbon Dioxide: -0.0012 kV | 111 µbar | 18.071 V | 25.053 V | 19.164 V | 283 µbar/min | 2.778 V | 1.54E-007 mbar | 10 % | 1,053 µbar | 72 °C | µ-Volume | Pre | 20.4975 | 22.2895 | 29.3598 | 18.5958 | 19.8212 | 26.513 | 1.5836 | -0.31882 | 1.6116 | 0.031538 | 0.01115 | -0.32941 | 0.01318 | 0.00466 | 1.7367 | 0.034083 | -0.33341 | 0.013244
[32 empty] | Cycle 1 | 19.6512 | 21.3716 | 28.148 | 17.6368 | 18.8002 | 25.1472 | 1.6212 | -0.34903
[32 empty] | Cycle 2 | 18.8508 | 20.5021 | 27.0032 | 16.746 | 17.8521 | 23.8777 | 1.595 | -0.31212
[32 empty] | Cycle 3 | 18.0933 | 19.6789 | 25.9185 | 15.9157 | 16.968 | 22.6942 | 1.5731 | -0.32385
[32 empty] | Cycle 4 | 17.3757 | 18.8998 | 24.8915 | 15.1406 | 16.1427 | 21.5898 | 1.5866 | -0.3225
[32 empty] | Cycle 5 | 16.6927 | 18.1582 | 23.9131 | 14.4141 | 15.3688 | 20.5546 | 1.6515 | -0.34771
[32 empty] | Cycle 6 | 16.0464 | 17.4557 | 22.9882 | 13.7326 | 14.6417 | 19.5831 | 1.6547 | -0.33196
[32 empty] | Cycle 7 | 15.4299 | 16.7855 | 22.1055 | 13.0926 | 13.9604 | 18.6708 | 1.6275 | -0.32931
[32 empty] | Cycle 8 |  |  |  | 12.4902 | 13.3187 | 17.8124
10 | GIRMS\IRMS-operator | 2026-07-06 15:15 | 2026-07-06 16:24 | Running | FALSE | MD23-3678 - N. dutertri | 2229 | 10 | 2 | 9 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.004 V |  | 12.543 V | 9.4986 kV | 103 µbar | 101 µbar | Carbon Dioxide: -0.0014 kV | 103 µbar | 11.555 V | 14.128 V |  | 342 µbar/min | 17.238 V | 1.13E-007 mbar | 18 % | 1,009 µbar | 72 °C | µ-Volume | Pre | 11.3345 | 12.3303 | 16.2396 | 11.771 | 12.5522 | 16.7857 | 1.5786 | -0.2235 | 1.5855 | 0.034161 | 0.012078 | -0.23626 | 0.014736 | 0.00521 | 1.7052 | 0.036613 | -0.2401 | 0.01476
[32 empty] | Cycle 1 | 10.957 | 11.9204 | 15.6985 | 11.2452 | 11.9913 | 16.0364 | 1.6079 | -0.2601
[32 empty] | Cycle 2 | 10.5956 | 11.5271 | 15.1813 | 10.7496 | 11.4636 | 15.3299 | 1.5658 | -0.23653
[32 empty] | Cycle 3 | 10.2482 | 11.1497 | 14.6833 | 10.2811 | 10.964 | 14.6619 | 1.5951 | -0.25592
[32 empty] | Cycle 4 | 9.9105 | 10.7826 | 14.2001 | 9.8391 | 10.4932 | 14.0316 | 1.5704 | -0.22613
[32 empty] | Cycle 5 | 9.5881 | 10.4313 | 13.7383 | 9.4196 | 10.0464 | 13.4339 | 1.522 | -0.23605
[32 empty] | Cycle 6 | 9.2787 | 10.0957 | 13.2949 | 9.0238 | 9.6236 | 12.8693 | 1.6327 | -0.23253
[32 empty] | Cycle 7 | 8.9813 | 9.7722 | 12.8692 | 8.6482 | 9.2235 | 12.3336 | 1.6111 | -0.21935
[32 empty] | Cycle 8 |  |  |  | 8.2927 | 8.8443 | 11.827
11 | GIRMS\IRMS-operator | 2026-07-06 15:54 | 2026-07-06 16:54 | Running | FALSE | MD23-3678 - N. dutertri | 2065 | 11 | 1 | 10 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 20.085 V | 9.4987 kV | 101 µbar | 101 µbar | Carbon Dioxide: -0.0013 kV | 111 µbar | 16.588 V | 23.456 V | 18.340 V | 327 µbar/min | 11.220 V | 1.45E-007 mbar | 10 % | 1,053 µbar | 72 °C | µ-Volume | Pre | 19.5354 | 21.2493 | 27.9729 | 17.0789 | 18.2068 | 24.3516 | 1.7405 | -0.68454 | 1.7489 | 0.015696 | 0.0055492 | -0.68539 | 0.011357 | 0.0040154 | 1.8967 | 0.016606 | -0.69008 | 0.011353
[32 empty] | Cycle 1 | 18.7472 | 20.3925 | 26.8449 | 16.2249 | 17.2972 | 23.1352 | 1.7205 | -0.69612
[32 empty] | Cycle 2 | 18.002 | 19.5839 | 25.779 | 15.4283 | 16.4487 | 21.9994 | 1.77 | -0.67904
[32 empty] | Cycle 3 | 17.2931 | 18.8133 | 24.7648 | 14.6833 | 15.6554 | 20.9383 | 1.7395 | -0.68484
[32 empty] | Cycle 4 | 16.6211 | 18.0834 | 23.803 | 13.9847 | 14.9115 | 19.9427 | 1.7645 | -0.67898
[32 empty] | Cycle 5 | 15.9831 | 17.3897 | 22.8898 | 13.3285 | 14.2119 | 19.0069 | 1.7572 | -0.67851
[32 empty] | Cycle 6 | 15.3761 | 16.7298 | 22.0211 | 12.7131 | 13.5565 | 18.13 | 1.7491 | -0.67315
[32 empty] | Cycle 7 | 14.7944 | 16.0974 | 21.1877 | 12.1342 | 12.9396 | 17.3046 | 1.7496 | -0.70794
[32 empty] | Cycle 8 |  |  |  | 11.5893 | 12.3588 | 16.5281
12 | GIRMS\IRMS-operator | 2026-07-06 16:24 | 2026-07-06 17:33 | Running | FALSE | MD23-3678 - N. dutertri | 2061 | 12 | 2 | 10 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 13.997 V | 9.4986 kV | 101 µbar | 101 µbar | Carbon Dioxide: -0.0014 kV | 106 µbar | 12.951 V | 15.880 V |  | 347 µbar/min | 15.775 V | 1.22E-007 mbar | 14 % | 1,016 µbar | 72 °C | µ-Volume | Pre | 12.6795 | 13.797 | 18.1627 | 13.2562 | 14.1348 | 18.9033 | 1.8974 | -0.41412 | 1.8518 | 0.037958 | 0.01342 | -0.4243 | 0.013057 | 0.0046162 | 1.9972 | 0.040334 | -0.42894 | 0.01302
[32 empty] | Cycle 1 | 12.2479 | 13.3271 | 17.5448 | 12.6437 | 13.4822 | 18.0304 | 1.851 | -0.4088
[32 empty] | Cycle 2 | 11.8324 | 12.8764 | 16.9498 | 12.0687 | 12.8693 | 17.2105 | 1.9163 | -0.40819
[32 empty] | Cycle 3 | 11.4324 | 12.4407 | 16.3771 | 11.5272 | 12.2925 | 16.4385 | 1.8346 | -0.42378
[32 empty] | Cycle 4 | 11.044 | 12.0184 | 15.821 | 11.0162 | 11.7482 | 15.7105 | 1.8448 | -0.43697
[32 empty] | Cycle 5 | 10.6729 | 11.6145 | 15.2898 | 10.5343 | 11.2342 | 15.0236 | 1.8136 | -0.42819
[32 empty] | Cycle 6 | 10.3153 | 11.226 | 14.7776 | 10.079 | 10.749 | 14.3743 | 1.8066 | -0.43076
[32 empty] | Cycle 7 | 9.9705 | 10.8519 | 14.2835 | 9.6485 | 10.291 | 13.7604 | 1.8502 | -0.4436
[32 empty] | Cycle 8 |  |  |  | 9.2412 | 9.8568 | 13.1798
13 | GIRMS\IRMS-operator | 2026-07-06 16:54 | 2026-07-06 18:16 | Running | FALSE | MD23-3678 - N. dutertri | 2053 | 13 | 1 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 17.343 V | 9.4989 kV | 101 µbar | 115 µbar | Carbon Dioxide: -0.0011 kV | 1,190 µbar | 15.915 V | 20.056 V |  | 645 µbar/min | 2.781 V | 1.41E-007 mbar | 12 % | 1,041 µbar | 72 °C | µ-Volume | Pre | 15.5492 | 16.9101 | 22.2791 | 16.3093 | 17.3875 | 23.2558 | 1.4806 | -0.11109 | 1.443 | 0.030198 | 0.010676 | -0.13085 | 0.010109 | 0.0035739 | 1.5489 | 0.032112 | -0.13425 | 0.010083
[32 empty] | Cycle 1 | 14.9673 | 16.2782 | 21.4456 | 15.5059 | 16.5318 | 22.1107 | 1.4885 | -0.13005
[32 empty] | Cycle 2 | 14.4099 | 15.6726 | 20.6476 | 14.7563 | 15.7334 | 21.0428 | 1.4432 | -0.13824
[32 empty] | Cycle 3 | 13.8786 | 15.0954 | 19.8869 | 14.0544 | 14.9866 | 20.0425 | 1.4455 | -0.14092
[32 empty] | Cycle 4 | 13.369 | 14.5413 | 19.1573 | 13.3947 | 14.2828 | 19.1023 | 1.4443 | -0.12151
[32 empty] | Cycle 5 | 12.8862 | 14.0166 | 18.4656 | 12.7765 | 13.6244 | 18.2206 | 1.4299 | -0.1327
[32 empty] | Cycle 6 | 12.4222 | 13.5124 | 17.8012 | 12.1935 | 13.0033 | 17.39 | 1.4096 | -0.13941
[32 empty] | Cycle 7 | 11.981 | 13.0327 | 17.1694 | 11.6438 | 12.4179 | 16.6064 | 1.4029 | -0.13287
[32 empty] | Cycle 8 |  |  |  | 11.1251 | 11.8644 | 15.8669
14 | GIRMS\IRMS-operator | 2026-07-06 17:33 | 2026-07-06 18:45 | Running | FALSE | MD23-3678 - N. dutertri | 2049 | 14 | 2 | 11 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 13.743 V | 9.4988 kV | 103 µbar | 101 µbar | Carbon Dioxide: -0.0012 kV | 106 µbar | 13.715 V | 15.555 V |  | 322 µbar/min | 15.281 V | 1.27E-007 mbar | 14 % | 1,014 µbar | 72 °C | µ-Volume | Pre | 13.3745 | 14.553 | 19.1661 | 14.0255 | 14.9545 | 20.0005 | 1.9068 | -0.025116 | 1.866 | 0.023754 | 0.0083982 | -0.040514 | 0.011238 | 0.0039733 | 1.9981 | 0.02504 | -0.044774 | 0.011201
[32 empty] | Cycle 1 | 12.9117 | 14.0496 | 18.5032 | 13.3653 | 14.2512 | 19.0597 | 1.8781 | -0.031974
[32 empty] | Cycle 2 | 12.4684 | 13.5677 | 17.8682 | 12.7481 | 13.5937 | 18.1798 | 1.8858 | -0.027954
[32 empty] | Cycle 3 | 12.0428 | 13.1049 | 17.2584 | 12.1656 | 12.9728 | 17.3493 | 1.8523 | -0.038969
[32 empty] | Cycle 4 | 11.6366 | 12.6635 | 16.6766 | 11.6173 | 12.3893 | 16.5679 | 1.8423 | -0.053667
[32 empty] | Cycle 5 | 11.246 | 12.2388 | 16.1171 | 11.1017 | 11.8395 | 15.8331 | 1.8618 | -0.045621
[32 empty] | Cycle 6 | 10.8703 | 11.8299 | 15.5789 | 10.6154 | 11.3212 | 15.1395 | 1.8347 | -0.053506
[32 empty] | Cycle 7 | 10.5118 | 11.4404 | 15.0657 | 10.1563 | 10.8318 | 14.4854 | 1.866 | -0.047301
[32 empty] | Cycle 8 |  |  |  | 9.7226 | 10.3694 | 13.8668
15 | GIRMS\IRMS-operator | 2026-07-06 18:16 | 2026-07-06 19:20 | Running | FALSE | SHP2L |  | 15 | 1 | 12 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.004 V |  | 10.706 V | 9.4988 kV | 101 µbar | 108 µbar | Carbon Dioxide: -0.0012 kV | 958 µbar | 10.600 V | 12.043 V |  | 435 µbar/min | 13.230 V | 1.07E-007 mbar | 19 % | 992 µbar | 72 °C | µ-Volume | Pre | 10.3945 | 11.2814 | 14.809 | 10.7979 | 11.5156 | 15.3996 | -0.87399 | -5.9347 | -0.82989 | 0.03335 | 0.011791 | -5.9642 | 0.016848 | 0.0059568 | -0.6672 | 0.035594 | -5.9687 | 0.016855
[32 empty] | Cycle 1 | 10.0474 | 10.9057 | 14.3143 | 10.3251 | 11.0118 | 14.7254 | -0.78293 | -5.9555
[32 empty] | Cycle 2 | 9.7148 | 10.5446 | 13.8408 | 9.8807 | 10.5376 | 14.0918 | -0.80997 | -5.9539
[32 empty] | Cycle 3 | 9.3948 | 10.1979 | 13.3853 | 9.4612 | 10.0908 | 13.494 | -0.79109 | -5.9568
[32 empty] | Cycle 4 | 9.0891 | 9.8657 | 12.9497 | 9.0641 | 9.6674 | 12.9279 | -0.83169 | -5.9744
[32 empty] | Cycle 5 | 8.7939 | 9.5454 | 12.529 | 8.6877 | 9.266 | 12.3911 | -0.84172 | -5.9845
[32 empty] | Cycle 6 | 8.5087 | 9.2361 | 12.123 | 8.3307 | 8.8856 | 11.882 | -0.83898 | -5.9719
[32 empty] | Cycle 7 | 8.2314 | 8.9347 | 11.728 | 7.9913 | 8.5237 | 11.3981 | -0.86873 | -5.9816
[32 empty] | Cycle 8 |  |  |  | 7.6689 | 8.1795 | 10.9385
16 | GIRMS\IRMS-operator | 2026-07-06 18:45 | 2026-07-06 19:58 | Running | FALSE | MD23-3678 - N. dutertri | 2041 | 16 | 2 | 12 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  | 15.262 V | 9.4988 kV | 103 µbar | 103 µbar | Carbon Dioxide: -0.0012 kV | 103 µbar | 15.221 V | 17.332 V |  | 303 µbar/min | 10.275 V | 1.36E-007 mbar | 11 % | 1,024 µbar | 72 °C | µ-Volume | Pre | 14.8072 | 16.1126 | 21.2237 | 15.6457 | 16.681 | 22.3113 | 2.0069 | 0.17776 | 1.9663 | 0.036188 | 0.012795 | 0.15843 | 0.02106 | 0.007446 | 2.0981 | 0.038161 | 0.15415 | 0.021024
[32 empty] | Cycle 1 | 14.2817 | 15.5415 | 20.4707 | 14.8815 | 15.867 | 21.2219 | 2.0064 | 0.16161
[32 empty] | Cycle 2 | 13.7761 | 14.9917 | 19.7463 | 14.1676 | 15.1066 | 20.2047 | 1.9935 | 0.1665
[32 empty] | Cycle 3 | 13.2967 | 14.47 | 19.0597 | 13.5002 | 14.3953 | 19.2526 | 1.9509 | 0.17302
[32 empty] | Cycle 4 | 12.836 | 13.9692 | 18.3993 | 12.8731 | 13.7274 | 18.3591 | 1.937 | 0.12651
[32 empty] | Cycle 5 | 12.3937 | 13.4879 | 17.7655 | 12.2844 | 13.1004 | 17.5206 | 1.9053 | 0.12391
[32 empty] | Cycle 6 | 11.9606 | 13.0177 | 17.1455 | 11.7303 | 12.5097 | 16.7299 | 1.9784 | 0.16716
[32 empty] | Cycle 7 | 11.5471 | 12.5676 | 16.5532 | 11.2082 | 11.953 | 15.9856 | 1.9518 | 0.17093
[32 empty] | Cycle 8 |  |  |  | 10.7155 | 11.428 | 15.2832
17 | GIRMS\IRMS-operator | 2026-07-06 19:20 | 2026-07-06 20:43 | Running | FALSE | MD23-3678 - N. dutertri | 2037 | 17 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 16.719 V | 9.4989 kV | 101 µbar | 108 µbar | Carbon Dioxide: -0.0011 kV | 943 µbar | 15.431 V | 19.263 V |  | 420 µbar/min | 2.784 V | 1.37E-007 mbar | 13 % | 1,034 µbar | 72 °C | µ-Volume | Pre | 15.1181 | 16.4446 | 21.6606 | 15.8043 | 16.8497 | 22.5377 | 1.637 | -0.23706 | 1.5846 | 0.033038 | 0.011681 | -0.2538 | 0.011587 | 0.0040965 | 1.7049 | 0.034974 | -0.25766 | 0.011533
[32 empty] | Cycle 1 | 14.5525 | 15.8298 | 20.8504 | 15.0327 | 16.0282 | 21.4382 | 1.6114 | -0.25447
[32 empty] | Cycle 2 | 14.0039 | 15.2339 | 20.0653 | 14.3108 | 15.2591 | 20.4089 | 1.6216 | -0.23578
[32 empty] | Cycle 3 | 13.4897 | 14.6746 | 19.3288 | 13.621 | 14.5242 | 19.4258 | 1.5654 | -0.26401
[32 empty] | Cycle 4 | 13.0002 | 14.1425 | 18.6277 | 12.986 | 13.8481 | 18.521 | 1.5614 | -0.25945
[32 empty] | Cycle 5 | 12.5338 | 13.6354 | 17.9599 | 12.389 | 13.2115 | 17.6693 | 1.5629 | -0.25292
[32 empty] | Cycle 6 | 12.0896 | 13.1526 | 17.3239 | 11.8277 | 12.6133 | 16.8696 | 1.5635 | -0.26068
[32 empty] | Cycle 7 | 11.6638 | 12.6897 | 16.7139 | 11.3 | 12.0511 | 16.1175 | 1.5532 | -0.26605
[32 empty] | Cycle 8 |  |  |  | 10.8031 | 11.5215 | 15.4087
18 | GIRMS\IRMS-operator | 2026-07-06 19:58 | 2026-07-06 21:12 | Running | FALSE | MD23-3678 - N. dutertri | 2029 | 18 | 2 | 13 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 14.263 V | 9.4987 kV | 103 µbar | 101 µbar | Carbon Dioxide: -0.0013 kV | 108 µbar | 14.214 V | 16.176 V |  | 322 µbar/min | 14.824 V | 1.30E-007 mbar | 14 % | 1,024 µbar | 72 °C | µ-Volume | Pre | 13.887 | 15.1037 | 19.9019 | 14.548 | 15.5123 | 20.7461 | 1.4139 | 0.018712 | 1.3965 | 0.019496 | 0.0068928 | 0.009993 | 0.009577 | 0.003386 | 1.4939 | 0.020811 | 0.0068475 | 0.0095807
[32 empty] | Cycle 1 | 13.4049 | 14.5799 | 19.2111 | 13.8562 | 14.7749 | 19.7603 | 1.4214 | 0.0021464
[32 empty] | Cycle 2 | 12.9411 | 14.0756 | 18.5474 | 13.2086 | 14.0852 | 18.8373 | 1.3779 | 0.022072
[32 empty] | Cycle 3 | 12.4976 | 13.5936 | 17.9117 | 12.6003 | 13.4369 | 17.9701 | 1.38 | 0.0075294
[32 empty] | Cycle 4 | 12.0689 | 13.1278 | 17.2976 | 12.0271 | 12.826 | 17.1529 | 1.3897 | -0.0027577
[32 empty] | Cycle 5 | 11.6555 | 12.6785 | 16.7056 | 11.4875 | 12.251 | 16.384 | 1.3824 | 0.012631
[32 empty] | Cycle 6 | 11.2523 | 12.2408 | 16.128 | 10.9786 | 11.7086 | 15.6578 | 1.4231 | 0.019366
[32 empty] | Cycle 7 | 10.8722 | 11.8269 | 15.5832 | 10.4908 | 11.1888 | 14.9627 | 1.3836 | 0.0002435
[32 empty] | Cycle 8 |  |  |  | 10.0371 | 10.7047 | 14.3156
19 | GIRMS\IRMS-operator | 2026-07-06 20:43 | 2026-07-06 21:44 | Running | FALSE | MD23-3678 - N. dutertri | 2021 | 19 | 1 | 14 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 19.571 V | 9.4987 kV | 103 µbar | 108 µbar | Carbon Dioxide: -0.0013 kV | 831 µbar | 16.446 V | 22.816 V | 17.890 V | 400 µbar/min | 13.709 V | 1.45E-007 mbar | 10 % | 1,048 µbar | 72 °C | µ-Volume | Pre | 19.0524 | 20.7058 | 27.2916 | 16.9274 | 18.0458 | 24.138 | 0.82266 | -0.40545 | 0.85169 | 0.026248 | 0.0092802 | -0.42205 | 0.013917 | 0.0049204 | 0.92693 | 0.028013 | -0.42443 | 0.013923
[32 empty] | Cycle 1 | 18.2916 | 19.8804 | 26.2023 | 16.0841 | 17.148 | 22.9365 | 0.83064 | -0.4246
[32 empty] | Cycle 2 | 17.5664 | 19.0937 | 25.1637 | 15.2962 | 16.309 | 21.8137 | 0.86078 | -0.44304
[32 empty] | Cycle 3 | 16.8804 | 18.3484 | 24.1821 | 14.5585 | 15.523 | 20.7621 | 0.84235 | -0.4238
[32 empty] | Cycle 4 | 16.2222 | 17.6337 | 23.2398 | 13.8629 | 14.7818 | 19.7706 | 0.8407 | -0.41533
[32 empty] | Cycle 5 | 15.6004 | 16.9593 | 22.3499 | 13.2141 | 14.0907 | 18.8453 | 0.89927 | -0.40337
[32 empty] | Cycle 6 | 15.0076 | 16.3154 | 21.501 | 12.6029 | 13.439 | 17.9746 | 0.87963 | -0.42348
[32 empty] | Cycle 7 | 14.4374 | 15.6955 | 20.684 | 12.0302 | 12.8295 | 17.1582 | 0.83748 | -0.43735
[32 empty] | Cycle 8 |  |  |  | 11.4909 | 12.2545 | 16.3892
20 | GIRMS\IRMS-operator | 2026-07-06 21:12 | 2026-07-06 22:23 | Running | FALSE | SHP2L |  | 20 | 2 | 14 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.004 V |  | 13.162 V | 9.4986 kV | 103 µbar | 101 µbar | Carbon Dioxide: -0.0014 kV | 115 µbar | 12.220 V | 14.867 V |  | 103 µbar/min | 15.651 V | 1.16E-007 mbar | 15 % | 1,016 µbar | 72 °C | µ-Volume | Pre | 11.9705 | 12.9921 | 17.0546 | 12.4882 | 13.3172 | 17.8104 | -0.77639 | -5.9256 | -0.77575 | 0.023439 | 0.0088593 | -5.9388 | 0.011521 | 0.0043545 | -0.6105 | 0.025415 | -5.9434 | 0.011544
[32 empty] | Cycle 1 | 11.5712 | 12.559 | 16.486 | 11.9189 | 12.7104 | 16.9985 | -0.77802 | -5.9231
[32 empty] | Cycle 2 | 11.1912 | 12.1475 | 15.9446 | 11.3856 | 12.1421 | 16.2384 | -0.73089 | -5.9424
[32 empty] | Cycle 3 | 10.8247 | 11.7492 | 15.4234 | 10.8832 | 11.6066 | 15.522 | -0.80068 | -5.8888
[32 empty] | Cycle 4 | 10.4687 | 11.364 | 14.9157 | 10.4084 | 11.1005 | 14.8449 | -0.68725 | -5.9425
[32 empty] | Cycle 5 | 10.1246 | 10.9897 | 14.4256 | 9.9605 | 10.6227 | 14.2068 | -0.78554 | -5.9573
[32 empty] | Cycle 6 | 9.7957 | 10.6329 | 13.9573 | 9.5368 | 10.1714 | 13.6023 | -0.79572 | -5.9412
[32 empty] | Cycle 7 | 9.481 | 10.2918 | 13.509 | 9.1348 | 9.7425 | 13.0293 | -0.76304 | -5.9391
[32 empty] | Cycle 8 |  |  |  | 8.754 | 9.3371 | 12.4861
21 | GIRMS\IRMS-operator | 2026-07-06 21:44 | 2026-07-06 23:02 | Running | FALSE | MD23-3678 - N. dutertri | 2017 | 21 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 21.602 V | 9.4988 kV | 103 µbar | 108 µbar | Carbon Dioxide: -0.0012 kV | 118 µbar | 17.958 V | 25.327 V | 19.420 V | 288 µbar/min | 2.789 V | 1.52E-007 mbar | 10 % | 1,070 µbar | 72 °C | µ-Volume | Pre | 20.742 | 22.5485 | 29.7126 | 18.4694 | 19.6884 | 26.3371 | 1.1747 | -0.38006 | 1.2018 | 0.017627 | 0.0062322 | -0.37443 | 0.010627 | 0.0037573 | 1.2998 | 0.01896 | -0.37755 | 0.010648
[32 empty] | Cycle 1 | 19.885 | 21.6188 | 28.4862 | 17.5193 | 18.6769 | 24.9829 | 1.1974 | -0.35369
[32 empty] | Cycle 2 | 19.0725 | 20.7365 | 27.3223 | 16.6336 | 17.7339 | 23.72 | 1.1943 | -0.36864
[32 empty] | Cycle 3 | 18.3065 | 19.9048 | 26.2259 | 15.8074 | 16.8538 | 22.5426 | 1.1953 | -0.37816
[32 empty] | Cycle 4 | 17.5813 | 19.1177 | 25.1875 | 15.0369 | 16.0332 | 21.4448 | 1.2261 | -0.39054
[32 empty] | Cycle 5 | 16.8936 | 18.3701 | 24.2031 | 14.315 | 15.2639 | 20.4156 | 1.19 | -0.37721
[32 empty] | Cycle 6 | 16.2399 | 17.6605 | 23.2671 | 13.6402 | 14.5452 | 19.4536 | 1.2236 | -0.3761
[32 empty] | Cycle 7 | 15.6193 | 16.9859 | 22.3784 | 13.0059 | 13.8691 | 18.5495 | 1.2129 | -0.37103
[32 empty] | Cycle 8 |  |  |  | 12.4106 | 13.235 | 17.7007
22 | GIRMS\IRMS-operator | 2026-07-06 22:23 | 2026-07-06 23:32 | Running | FALSE | MD23-3678 - N. dutertri | 2013 | 22 | 2 | 15 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 18.691 V | 9.4986 kV | 106 µbar | 103 µbar | Carbon Dioxide: -0.0014 kV | 106 µbar | 17.120 V | 21.576 V |  | 298 µbar/min | 17.160 V | 1.48E-007 mbar | 10 % | 1,046 µbar | 72 °C | µ-Volume | Pre | 17.0066 | 18.4966 | 24.37 | 17.5667 | 18.7271 | 25.0503 | 1.6128 | -0.062936 | 1.5562 | 0.033201 | 0.011738 | -0.078932 | 0.015123 | 0.005716 | 1.6684 | 0.034949 | -0.082543 | 0.015091
[32 empty] | Cycle 1 | 16.3827 | 17.8184 | 23.4767 | 16.6823 | 17.7851 | 23.7898 | 1.5764 | -0.060396
[32 empty] | Cycle 2 | 15.785 | 17.1692 | 22.6206 | 15.8547 | 16.9038 | 22.6102 | 1.571 | -0.070789
[32 empty] | Cycle 3 | 15.2152 | 16.5503 | 21.8046 | 15.0787 | 16.0773 | 21.5042 | 1.5682 | -0.083905
[32 empty] | Cycle 4 | 14.6724 | 15.9601 | 21.0264 | 14.3525 | 15.304 | 20.4694 | 1.526 | -0.13668
[32 empty] | Cycle 5 | 14.1522 | 15.3952 | 20.2822 | 13.6754 | 14.5828 | 19.5046 | 1.5522 | -0.09287
[32 empty] | Cycle 6 | 13.6532 | 14.8526 | 19.5667 | 13.0407 | 13.9062 | 18.5993 | 1.536 | -0.10094
[32 empty] | Cycle 7 | 13.178 | 14.3354 | 18.8866 | 12.4431 | 13.2695 | 17.7467 | 1.5071 | -0.080683
[32 empty] | Cycle 8 |  |  |  | 11.88 | 12.6689 | 16.9449
23 | GIRMS\IRMS-operator | 2026-07-06 23:02 | 2026-07-07 00:03 | Running | FALSE | MD23-3678 - N. dutertri | 2009 | 23 | 1 | 16 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 16.916 V | 9.4985 kV | 103 µbar | 103 µbar | Carbon Dioxide: -0.0015 kV | 115 µbar | 16.301 V | 19.503 V |  | 298 µbar/min | 16.345 V | 1.44E-007 mbar | 10 % | 1,048 µbar | 72 °C | µ-Volume | Pre | 16.0445 | 17.4461 | 22.9902 | 16.7602 | 17.8688 | 23.9009 | 1.3009 | -0.14319 | 1.2639 | 0.027271 | 0.0096418 | -0.16117 | 0.0099703 | 0.003525 | 1.3583 | 0.028914 | -0.1642 | 0.0099363
[32 empty] | Cycle 1 | 15.4408 | 16.79 | 22.1254 | 15.9262 | 16.9802 | 22.7124 | 1.2556 | -0.16211
[32 empty] | Cycle 2 | 14.8634 | 16.1637 | 21.2992 | 15.1475 | 16.1516 | 21.6026 | 1.2961 | -0.16017
[32 empty] | Cycle 3 | 14.3152 | 15.5677 | 20.514 | 14.4205 | 15.3764 | 20.567 | 1.2844 | -0.15862
[32 empty] | Cycle 4 | 13.7922 | 14.9992 | 19.7645 | 13.7396 | 14.651 | 19.5953 | 1.2625 | -0.15531
[32 empty] | Cycle 5 | 13.2912 | 14.4545 | 19.0468 | 13.0999 | 13.9694 | 18.6834 | 1.2272 | -0.16679
[32 empty] | Cycle 6 | 12.8054 | 13.9268 | 18.3511 | 12.4986 | 13.3289 | 17.8264 | 1.2398 | -0.16525
[32 empty] | Cycle 7 | 12.3382 | 13.419 | 17.6815 | 11.9327 | 12.7255 | 17.0195 | 1.2443 | -0.17795
[32 empty] | Cycle 8 |  |  |  | 11.3995 | 12.1573 | 16.259
24 | GIRMS\IRMS-operator | 2026-07-06 23:32 | 2026-07-07 00:40 | Running | FALSE | MD23-3678 - N. dutertri | 2005 | 24 | 2 | 16 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 21.134 V | 9.4986 kV | 106 µbar | 106 µbar | Carbon Dioxide: -0.0014 kV | 108 µbar | 15.466 V | 24.628 V | 19.484 V | 293 µbar/min | 15.501 V | 1.39E-007 mbar | 10 % | 1,060 µbar | 72 °C | µ-Volume | Pre | 20.6887 | 22.5015 | 29.6333 | 15.9243 | 16.978 | 22.709 | 1.5061 | -0.54008 | 1.5244 | 0.032412 | 0.011459 | -0.53691 | 0.01275 | 0.0045077 | 1.6509 | 0.034645 | -0.54093 | 0.012757
[32 empty] | Cycle 1 | 19.8861 | 21.63 | 28.4848 | 15.148 | 16.1514 | 21.6027 | 1.5082 | -0.52424
[32 empty] | Cycle 2 | 19.1212 | 20.7983 | 27.3892 | 14.4209 | 15.3772 | 20.5661 | 1.4649 | -0.54612
[32 empty] | Cycle 3 | 18.3817 | 19.9957 | 26.3316 | 13.7382 | 14.6499 | 19.5931 | 1.525 | -0.52796
[32 empty] | Cycle 4 | 17.6918 | 19.2457 | 25.3431 | 13.0883 | 13.9568 | 18.6671 | 1.5306 | -0.55874
[32 empty] | Cycle 5 | 17.0338 | 18.5309 | 24.4018 | 12.4866 | 13.3158 | 17.809 | 1.5324 | -0.52059
[32 empty] | Cycle 6 | 16.4011 | 17.8438 | 23.4957 | 11.9194 | 12.7116 | 17.0004 | 1.5633 | -0.53368
[32 empty] | Cycle 7 | 15.8016 | 17.1919 | 22.6375 | 11.385 | 12.142 | 16.2386 | 1.5644 | -0.5439
[32 empty] | Cycle 8 |  |  |  | 10.8826 | 11.6062 | 15.5227
25 | GIRMS\IRMS-operator | 2026-07-07 00:03 | 2026-07-07 01:25 | Running | FALSE | SHP2L |  | 25 | 1 | 17 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 19.068 V | 9.4988 kV | 103 µbar | 108 µbar | Carbon Dioxide: -0.0012 kV | 118 µbar | 17.922 V | 22.095 V |  | 200 µbar/min | 2.791 V | 1.53E-007 mbar | 10 % | 1,063 µbar | 72 °C | µ-Volume | Pre | 17.6918 | 19.1955 | 25.2027 | 18.4015 | 19.6172 | 26.2416 | -0.8178 | -5.9792 | -0.86938 | 0.029564 | 0.010453 | -6.001 | 0.01535 | 0.0054272 | -0.70809 | 0.031342 | -6.0055 | 0.015332
[32 empty] | Cycle 1 | 17.0064 | 18.4525 | 24.2263 | 17.4544 | 18.6089 | 24.8917 | -0.84875 | -5.9997
[32 empty] | Cycle 2 | 16.357 | 17.7484 | 23.3023 | 16.5743 | 17.6716 | 23.637 | -0.87672 | -5.9845
[32 empty] | Cycle 3 | 15.7444 | 17.0846 | 22.4294 | 15.7515 | 16.7951 | 22.4645 | -0.86045 | -6.0222
[32 empty] | Cycle 4 | 15.1554 | 16.4459 | 21.5911 | 14.9853 | 15.9785 | 21.3721 | -0.88798 | -6.0088
[32 empty] | Cycle 5 | 14.5999 | 15.8436 | 20.8004 | 14.2684 | 15.2155 | 20.3502 | -0.90073 | -5.9978
[32 empty] | Cycle 6 | 14.0677 | 15.2674 | 20.0426 | 13.5976 | 14.5001 | 19.3939 | -0.85595 | -5.9962
[32 empty] | Cycle 7 | 13.5571 | 14.7131 | 19.3152 | 12.9678 | 13.8298 | 18.4961 | -0.90665 | -6.0198
[32 empty] | Cycle 8 |  |  |  | 12.3744 | 13.1968 | 17.65
26 | GIRMS\IRMS-operator | 2026-07-07 00:40 | 2026-07-07 01:54 | Running | FALSE | MD23-3678 - N. dutertri | 2001 | 26 | 2 | 17 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 15.905 V | 9.4985 kV | 108 µbar | 106 µbar | Carbon Dioxide: -0.0015 kV | 108 µbar | 15.905 V | 18.168 V |  | 303 µbar/min | 17.081 V | 1.40E-007 mbar | 11 % | 1,041 µbar | 72 °C | µ-Volume | Pre | 15.5345 | 16.8981 | 22.2593 | 16.3314 | 17.4118 | 23.2895 | 1.6753 | -0.14869 | 1.6365 | 0.034383 | 0.012156 | -0.16683 | 0.01694 | 0.0059891 | 1.7573 | 0.036409 | -0.17071 | 0.01691
[32 empty] | Cycle 1 | 14.9845 | 16.3007 | 21.4715 | 15.5252 | 16.553 | 22.1404 | 1.6754 | -0.15627
[32 empty] | Cycle 2 | 14.4548 | 15.725 | 20.7131 | 14.7753 | 15.7544 | 21.0713 | 1.6571 | -0.14605
[32 empty] | Cycle 3 | 13.9475 | 15.1735 | 19.9864 | 14.072 | 15.0053 | 20.069 | 1.6359 | -0.16207
[32 empty] | Cycle 4 | 13.462 | 14.6457 | 19.291 | 13.4125 | 14.3026 | 19.1289 | 1.624 | -0.17643
[32 empty] | Cycle 5 | 12.9967 | 14.1394 | 18.6245 | 12.7909 | 13.6402 | 18.243 | 1.5895 | -0.19015
[32 empty] | Cycle 6 | 12.5503 | 13.6549 | 17.985 | 12.2062 | 13.017 | 17.4094 | 1.647 | -0.18867
[32 empty] | Cycle 7 | 12.1176 | 13.1839 | 17.3651 | 11.6564 | 12.431 | 16.6251 | 1.588 | -0.16634
[32 empty] | Cycle 8 |  |  |  | 11.1373 | 11.8782 | 15.8846
27 | GIRMS\IRMS-operator | 2026-07-07 01:25 | 2026-07-07 02:29 | Running | FALSE | MD23-3678 - N. dutertri | 1997 | 27 | 1 | 18 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 21.124 V | 9.4985 kV | 106 µbar | 111 µbar | Carbon Dioxide: -0.0015 kV | 118 µbar | 16.303 V | 24.619 V | 19.263 V | 308 µbar/min | 15.249 V | 1.43E-007 mbar | 10 % | 1,068 µbar | 72 °C | µ-Volume | Pre | 20.5363 | 22.3353 | 29.4168 | 16.7807 | 17.8907 | 23.93 | 1.5185 | -0.45805 | 1.5484 | 0.018943 | 0.0066972 | -0.46327 | 0.014723 | 0.0052055 | 1.6739 | 0.020165 | -0.46727 | 0.014731
[32 empty] | Cycle 1 | 19.7077 | 21.4358 | 28.2305 | 15.9462 | 17.0018 | 22.7406 | 1.5442 | -0.47136
[32 empty] | Cycle 2 | 18.9187 | 20.5782 | 27.1013 | 15.1658 | 16.1704 | 21.6283 | 1.5349 | -0.46438
[32 empty] | Cycle 3 | 18.1767 | 19.7723 | 26.039 | 14.4361 | 15.3931 | 20.5885 | 1.5477 | -0.46821
[32 empty] | Cycle 4 | 17.4735 | 19.0088 | 25.0324 | 13.7532 | 14.6657 | 19.6149 | 1.5787 | -0.46583
[32 empty] | Cycle 5 | 16.7973 | 18.2736 | 24.0646 | 13.1134 | 13.984 | 18.7029 | 1.5697 | -0.44713
[32 empty] | Cycle 6 | 16.1583 | 17.5789 | 23.1486 | 12.5113 | 13.3422 | 17.8445 | 1.5419 | -0.48927
[32 empty] | Cycle 7 | 15.5403 | 16.9075 | 22.2646 | 11.945 | 12.7394 | 17.0371 | 1.5514 | -0.44192
[32 empty] | Cycle 8 |  |  |  | 11.4111 | 12.17 | 16.2758
28 | GIRMS\IRMS-operator | 2026-07-07 01:54 | 2026-07-07 03:07 | Running | FALSE | MD23-3678 - N. dutertri | 1993 | 28 | 2 | 18 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 20.848 V | 9.4986 kV | 108 µbar | 106 µbar | Carbon Dioxide: -0.0014 kV | 252 µbar | 15.484 V | 24.218 V | 19.199 V | 313 µbar/min | 15.524 V | 1.39E-007 mbar | 10 % | 1,063 µbar | 72 °C | µ-Volume | Pre | 20.3542 | 22.1343 | 29.1651 | 15.9427 | 16.9981 | 22.7349 | 1.3428 | -0.15781 | 1.4208 | 0.016601 | 0.0062746 | -0.15331 | 0.0076684 | 0.0027112 | 1.5259 | 0.017671 | -0.15666 | 0.0076513
[32 empty] | Cycle 1 | 19.5562 | 21.2682 | 28.0227 | 15.1632 | 16.1676 | 21.6246 | 1.3856 | -0.15772
[32 empty] | Cycle 2 | 18.7996 | 20.4472 | 26.939 | 14.4352 | 15.3919 | 20.5866 | 1.4321 | -0.15832
[32 empty] | Cycle 3 | 18.075 | 19.66 | 25.9019 | 13.751 | 14.663 | 19.6112 | 1.4303 | -0.14039
[32 empty] | Cycle 4 | 17.3907 | 18.9164 | 24.9218 | 13.1081 | 13.9782 | 18.6951 | 1.4247 | -0.14648
[32 empty] | Cycle 5 | 16.7387 | 18.2078 | 23.9879 | 12.5036 | 13.3341 | 17.8332 | 1.4278 | -0.14636
[32 empty] | Cycle 6 | 16.1155 | 17.5305 | 23.0951 | 11.9367 | 12.7297 | 17.025 | 1.4303 | -0.16094
[32 empty] | Cycle 7 | 15.5203 | 16.8832 | 22.2429 | 11.4036 | 12.1618 | 16.2652 | 1.4145 | -0.15847
[32 empty] | Cycle 8 |  |  |  | 10.9002 | 11.625 | 15.5476
29 | GIRMS\IRMS-operator | 2026-07-07 02:29 | 2026-07-07 03:51 | Running | FALSE | MD23-3678 - N. dutertri | 1985 | 29 | 1 | 19 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 18.340 V | 9.4988 kV | 103 µbar | 108 µbar | Carbon Dioxide: -0.0012 kV | 120 µbar | 17.873 V | 21.236 V |  | 274 µbar/min | 2.787 V | 1.53E-007 mbar | 10 % | 1,060 µbar | 72 °C | µ-Volume | Pre | 17.5502 | 19.0909 | 25.1448 | 18.3777 | 19.5926 | 26.2084 | 1.7407 | -0.27477 | 1.6779 | 0.037012 | 0.013086 | -0.28024 | 0.010421 | 0.0039387 | 1.8059 | 0.03929 | -0.28433 | 0.010357
[32 empty] | Cycle 1 | 16.8666 | 18.3477 | 24.1662 | 17.4316 | 18.5845 | 24.8594 | 1.715 | -0.26736
[32 empty] | Cycle 2 | 16.2195 | 17.6446 | 23.2395 | 16.5513 | 17.647 | 23.6047 | 1.6789 | -0.27107
[32 empty] | Cycle 3 | 15.6033 | 16.9752 | 22.3569 | 15.7321 | 16.7755 | 22.437 | 1.6715 | -0.28363
[32 empty] | Cycle 4 | 15.0156 | 16.3362 | 21.5151 | 14.9648 | 15.9573 | 21.3432 | 1.6748 | -0.28033
[32 empty] | Cycle 5 | 14.459 | 15.7309 | 20.718 | 14.247 | 15.1924 | 20.3193 | 1.6474 | -0.28625
[32 empty] | Cycle 6 | 13.9295 | 15.1547 | 19.9599 | 13.5753 | 14.477 | 19.3626 | 1.6207 | -0.29824
[32 empty] | Cycle 7 | 13.4188 | 14.6003 | 19.2278 | 12.9366 | 13.7956 | 18.4518 | 1.6741 | -0.32353
[32 empty] | Cycle 8 |  |  |  | 12.3439 | 13.1647 | 17.6068
30 | GIRMS\IRMS-operator | 2026-07-07 03:07 | 2026-07-07 04:20 | Running | FALSE | SHP2L |  | 30 | 2 | 19 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.004 V |  | 15.703 V | 9.4986 kV | 111 µbar | 106 µbar | Carbon Dioxide: -0.0014 kV | 111 µbar | 15.699 V | 17.904 V |  | 308 µbar/min | 17.066 V | 1.39E-007 mbar | 12 % | 1,041 µbar | 72 °C | µ-Volume | Pre | 15.3275 | 16.6319 | 21.8362 | 16.1121 | 17.1783 | 22.9769 | -0.81074 | -5.9149 | -0.83092 | 0.028 | 0.0098997 | -5.9291 | 0.012307 | 0.0043513 | -0.66961 | 0.029584 | -5.9336 | 0.012268
[32 empty] | Cycle 1 | 14.7897 | 16.0491 | 21.07 | 15.3198 | 16.3344 | 21.8477 | -0.79579 | -5.9299
[32 empty] | Cycle 2 | 14.2689 | 15.4844 | 20.3286 | 14.5798 | 15.5456 | 20.7924 | -0.81038 | -5.9179
[32 empty] | Cycle 3 | 13.7692 | 14.9427 | 19.617 | 13.8861 | 14.8069 | 19.8036 | -0.82791 | -5.924
[32 empty] | Cycle 4 | 13.2931 | 14.4265 | 18.9393 | 13.2341 | 14.1124 | 18.8743 | -0.82543 | -5.9278
[32 empty] | Cycle 5 | 12.8377 | 13.9325 | 18.2908 | 12.6256 | 13.4637 | 18.0071 | -0.83798 | -5.9252
[32 empty] | Cycle 6 | 12.3986 | 13.4563 | 17.6653 | 12.0529 | 12.8536 | 17.1903 | -0.85639 | -5.9406
[32 empty] | Cycle 7 | 11.9751 | 12.9968 | 17.0621 | 11.5132 | 12.2785 | 16.4211 | -0.88276 | -5.9527
[32 empty] | Cycle 8 |  |  |  | 11.0036 | 11.7354 | 15.6945
31 | GIRMS\IRMS-operator | 2026-07-07 03:51 | 2026-07-07 04:57 | Running | FALSE | MD23-3678 - N. dutertri | 1969 | 31 | 1 | 20 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 17.229 V | 9.4986 kV | 106 µbar | 108 µbar | Carbon Dioxide: -0.0014 kV | 120 µbar | 16.260 V | 19.936 V |  | 298 µbar/min | 15.054 V | 1.43E-007 mbar | 10 % | 1,058 µbar | 72 °C | µ-Volume | Pre | 16.0734 | 17.4806 | 23.0268 | 16.7078 | 17.8123 | 23.8266 | 1.4934 | -0.35715 | 1.473 | 0.019793 | 0.0069979 | -0.37211 | 0.013237 | 0.0046798 | 1.5899 | 0.020817 | -0.37583 | 0.013217
[32 empty] | Cycle 1 | 15.4758 | 16.8319 | 22.1708 | 15.879 | 16.9299 | 22.645 | 1.4972 | -0.36901
[32 empty] | Cycle 2 | 14.9042 | 16.2108 | 21.3527 | 15.1045 | 16.1052 | 21.5409 | 1.4802 | -0.35278
[32 empty] | Cycle 3 | 14.3567 | 15.6158 | 20.5683 | 14.3815 | 15.3351 | 20.5103 | 1.4636 | -0.38295
[32 empty] | Cycle 4 | 13.834 | 15.0479 | 19.8201 | 13.7024 | 14.6116 | 19.5426 | 1.4697 | -0.37812
[32 empty] | Cycle 5 | 13.3342 | 14.5045 | 19.104 | 13.0629 | 13.9301 | 18.6306 | 1.4531 | -0.39084
[32 empty] | Cycle 6 | 12.8514 | 13.9796 | 18.4131 | 12.462 | 13.2897 | 17.7739 | 1.4408 | -0.38052
[32 empty] | Cycle 7 | 12.3925 | 13.4813 | 17.7563 | 11.8964 | 12.687 | 16.968 | 1.4856 | -0.36547
[32 empty] | Cycle 8 |  |  |  | 11.3632 | 12.1183 | 16.2075
32 | GIRMS\IRMS-operator | 2026-07-07 04:20 | 2026-07-07 05:34 | Running | FALSE | MD23-3678 - N. dutertri | 1957 | 32 | 2 | 20 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 17.190 V | 9.4987 kV | 111 µbar | 106 µbar | Carbon Dioxide: -0.0013 kV | 111 µbar | 15.437 V | 19.732 V | 15.956 V | 313 µbar/min | 15.475 V | 1.37E-007 mbar | 10 % | 1,051 µbar | 72 °C | µ-Volume | Pre | 16.8184 | 18.2894 | 24.1047 | 15.8924 | 16.9445 | 22.6646 | 1.3416 | 0.040873 | 1.3141 | 0.027913 | 0.0098687 | 0.030111 | 0.0066582 | 0.0025166 | 1.4049 | 0.030136 | 0.02716 | 0.0066809
[32 empty] | Cycle 1 | 16.2081 | 17.6269 | 23.2299 | 15.1142 | 16.1154 | 21.5551 | 1.3417 | 0.022749
[32 empty] | Cycle 2 | 15.6224 | 16.9899 | 22.3914 | 14.387 | 15.3417 | 20.5186 | 1.2717 | 0.036278
[32 empty] | Cycle 3 | 15.0618 | 16.3811 | 21.588 | 13.7065 | 14.6163 | 19.5484 | 1.3271 | 0.029205
[32 empty] | Cycle 4 | 14.5233 | 15.7959 | 20.8166 | 13.0655 | 13.9324 | 18.6344 | 1.3296 | 0.024444
[32 empty] | Cycle 5 | 14.0121 | 15.2396 | 20.0849 | 12.4652 | 13.2932 | 17.7788 | 1.2725 | 0.057404
[32 empty] | Cycle 6 | 13.5209 | 14.7062 | 19.3807 | 11.9006 | 12.6913 | 16.9737 | 1.3138 | 0.031817
[32 empty] | Cycle 7 | 13.0509 | 14.1957 | 18.7073 | 11.3697 | 12.1253 | 16.2169 | 1.315 | 0.025411
[32 empty] | Cycle 8 |  |  |  | 10.8687 | 11.592 | 15.5028
33 | GIRMS\IRMS-operator | 2026-07-07 04:57 | 2026-07-07 06:18 | Running | FALSE | MD23-3678 - N. dutertri | 1949 | 33 | 1 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 18.684 V | 9.4989 kV | 103 µbar | 111 µbar | Carbon Dioxide: -0.0011 kV | 118 µbar | 17.856 V | 21.672 V |  | 283 µbar/min | 2.788 V | 1.51E-007 mbar | 10 % | 1,058 µbar | 72 °C | µ-Volume | Pre | 17.5904 | 19.1315 | 25.2123 | 18.3479 | 19.56 | 26.1653 | 1.6067 | 0.13661 | 1.5736 | 0.024776 | 0.0087597 | 0.11515 | 0.015177 | 0.0053659 | 1.6795 | 0.026146 | 0.11171 | 0.015156
[32 empty] | Cycle 1 | 16.914 | 18.3968 | 24.2433 | 17.4064 | 18.5571 | 24.8229 | 1.5919 | 0.12296
[32 empty] | Cycle 2 | 16.2675 | 17.6944 | 23.3171 | 16.5308 | 17.6252 | 23.5755 | 1.571 | 0.10916
[32 empty] | Cycle 3 | 15.6546 | 17.029 | 22.439 | 15.7142 | 16.7553 | 22.4113 | 1.5809 | 0.10742
[32 empty] | Cycle 4 | 15.0685 | 16.3918 | 21.5998 | 14.9501 | 15.9419 | 21.3222 | 1.5372 | 0.12
[32 empty] | Cycle 5 | 14.5101 | 15.7849 | 20.7992 | 14.233 | 15.178 | 20.3 | 1.5416 | 0.084947
[32 empty] | Cycle 6 | 13.977 | 15.2058 | 20.0359 | 13.5615 | 14.4619 | 19.3426 | 1.5936 | 0.12244
[32 empty] | Cycle 7 | 13.4679 | 14.6521 | 19.3063 | 12.9292 | 13.7876 | 18.4406 | 1.5658 | 0.11762
[32 empty] | Cycle 8 |  |  |  | 12.3369 | 13.1572 | 17.5966
34 | GIRMS\IRMS-operator | 2026-07-07 05:34 | 2026-07-07 06:48 | Running | FALSE | MD23-3678 - N. dutertri | 1941 | 34 | 2 | 21 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 18.070 V | 9.4986 kV | 111 µbar | 106 µbar | Carbon Dioxide: -0.0014 kV | 111 µbar | 16.992 V | 20.763 V |  | 303 µbar/min | 17.036 V | 1.47E-007 mbar | 10 % | 1,056 µbar | 72 °C | µ-Volume | Pre | 16.8484 | 18.3246 | 24.1474 | 17.4554 | 18.6091 | 24.8927 | 1.585 | 0.088134 | 1.5651 | 0.031248 | 0.011048 | 0.085052 | 0.022385 | 0.0079142 | 1.6715 | 0.033369 | 0.081606 | 0.022402
[32 empty] | Cycle 1 | 16.239 | 17.6624 | 23.2749 | 16.5775 | 17.6741 | 23.6405 | 1.5701 | 0.10882
[32 empty] | Cycle 2 | 15.6557 | 17.0288 | 22.4391 | 15.7593 | 16.8023 | 22.4746 | 1.5729 | 0.093218
[32 empty] | Cycle 3 | 15.0956 | 16.4206 | 21.6371 | 14.9939 | 15.9871 | 21.3831 | 1.5891 | 0.11356
[32 empty] | Cycle 4 | 14.5574 | 15.8352 | 20.866 | 14.275 | 15.2212 | 20.3584 | 1.5387 | 0.094432
[32 empty] | Cycle 5 | 14.0416 | 15.2744 | 20.127 | 13.6005 | 14.5031 | 19.3974 | 1.5075 | 0.070584
[32 empty] | Cycle 6 | 13.5499 | 14.7412 | 19.4221 | 12.9675 | 13.8283 | 18.4952 | 1.6051 | 0.050879
[32 empty] | Cycle 7 | 13.0778 | 14.2273 | 18.746 | 12.3729 | 13.1944 | 17.6472 | 1.5522 | 0.060789
[32 empty] | Cycle 8 |  |  |  | 11.811 | 12.5957 | 16.8462
35 | GIRMS\IRMS-operator | 2026-07-07 06:18 | 2026-07-07 07:23 | Running | FALSE | SHP2L |  | 35 | 1 | 22 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.004 V |  | 22.404 V | 9.4986 kV | 108 µbar | 111 µbar | Carbon Dioxide: -0.0014 kV | 120 µbar | 16.180 V | 26.298 V | 20.448 V | 288 µbar/min | 16.215 V | 1.43E-007 mbar | 10 % | 1,073 µbar | 72 °C | µ-Volume | Pre | 21.8209 | 23.6655 | 31.0808 | 16.6563 | 17.7584 | 23.7537 | -1.3209 | -6.1299 | -1.229 | 0.057974 | 0.020497 | -6.133 | 0.011521 | 0.0040734 | -1.088 | 0.06188 | -6.1368 | 0.011487
[32 empty] | Cycle 1 | 20.9197 | 22.6896 | 29.7975 | 15.834 | 16.8823 | 22.5811 | -1.2972 | -6.1334
[32 empty] | Cycle 2 | 20.0659 | 21.766 | 28.5819 | 15.0638 | 16.0618 | 21.4833 | -1.2325 | -6.1515
[32 empty] | Cycle 3 | 19.2577 | 20.8899 | 27.4315 | 14.3424 | 15.2934 | 20.4555 | -1.248 | -6.1457
[32 empty] | Cycle 4 | 18.4932 | 20.0628 | 26.3436 | 13.6657 | 14.5724 | 19.4903 | -1.1843 | -6.1184
[32 empty] | Cycle 5 | 17.7637 | 19.2717 | 25.305 | 13.0289 | 13.8941 | 18.5827 | -1.2068 | -6.1282
[32 empty] | Cycle 6 | 17.0722 | 18.5224 | 24.3204 | 12.4302 | 13.2559 | 17.7293 | -1.1914 | -6.1366
[32 empty] | Cycle 7 | 16.4127 | 17.8083 | 23.3815 | 11.8675 | 12.6563 | 16.9269 | -1.1505 | -6.12
[32 empty] | Cycle 8 |  |  |  | 11.3365 | 12.0904 | 16.1696
36 | GIRMS\IRMS-operator | 2026-07-07 06:48 | 2026-07-07 08:02 | Running | FALSE | MD23-3678 - N. dutertri | 1933 | 36 | 2 | 22 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 17.902 V | 9.4987 kV | 108 µbar | 106 µbar | Carbon Dioxide: -0.0013 kV | 111 µbar | 15.368 V | 20.602 V | 16.587 V | 278 µbar/min | 15.409 V | 1.37E-007 mbar | 10 % | 1,051 µbar | 72 °C | µ-Volume | Pre | 17.5261 | 19.0617 | 25.1203 | 15.8214 | 16.8689 | 22.5634 | 1.464 | 0.093062 | 1.4882 | 0.023551 | 0.0083265 | 0.11307 | 0.011496 | 0.0040646 | 1.5883 | 0.025191 | 0.10982 | 0.011507
[32 empty] | Cycle 1 | 16.8909 | 18.3717 | 24.2112 | 15.0481 | 16.0455 | 21.4611 | 1.4538 | 0.1216
[32 empty] | Cycle 2 | 16.277 | 17.7051 | 23.3318 | 14.3253 | 15.2755 | 20.4307 | 1.4805 | 0.12364
[32 empty] | Cycle 3 | 15.6887 | 17.0658 | 22.4889 | 13.6498 | 14.5556 | 19.4676 | 1.5082 | 0.12056
[32 empty] | Cycle 4 | 15.1255 | 16.4538 | 21.6817 | 13.0144 | 13.8779 | 18.562 | 1.5033 | 0.10001
[32 empty] | Cycle 5 | 14.5845 | 15.8661 | 20.9071 | 12.4175 | 13.2427 | 17.7112 | 1.5085 | 0.12193
[32 empty] | Cycle 6 | 14.068 | 15.3049 | 20.1666 | 11.8559 | 12.6437 | 16.9103 | 1.5156 | 0.10785
[32 empty] | Cycle 7 | 13.5676 | 14.7606 | 19.4499 | 11.3267 | 12.0803 | 16.1557 | 1.472 | 0.11588
[32 empty] | Cycle 8 |  |  |  | 10.8273 | 11.5479 | 15.4438
37 | GIRMS\IRMS-operator | 2026-07-07 07:23 | 2026-07-07 08:42 | Running | FALSE | MD23-3678 - N. dutertri | 1925 | 37 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 23.022 V | 9.4990 kV | 106 µbar | 108 µbar | Carbon Dioxide: -0.0010 kV | 125 µbar | 17.883 V | 27.119 V | 20.704 V | 147 µbar/min | 2.788 V | 1.53E-007 mbar | 10 % | 1,080 µbar | 72 °C | µ-Volume | Pre | 22.1391 | 24.0767 | 31.725 | 18.3917 | 19.6069 | 26.2282 | 1.4887 | -0.12764 | 1.4983 | 0.029211 | 0.010328 | -0.14871 | 0.014629 | 0.0051721 | 1.6087 | 0.031556 | -0.15226 | 0.014681
[32 empty] | Cycle 1 | 21.2115 | 23.0693 | 30.3963 | 17.4452 | 18.5995 | 24.88 | 1.4643 | -0.15358
[32 empty] | Cycle 2 | 20.3364 | 22.1192 | 29.1432 | 16.5658 | 17.6633 | 23.6264 | 1.4833 | -0.14872
[32 empty] | Cycle 3 | 19.5085 | 21.2196 | 27.958 | 15.7466 | 16.7904 | 22.4586 | 1.48 | -0.12907
[32 empty] | Cycle 4 | 18.7241 | 20.3672 | 26.8341 | 14.9794 | 15.9732 | 21.3648 | 1.4806 | -0.14515
[32 empty] | Cycle 5 | 17.9832 | 19.5625 | 25.773 | 14.2619 | 15.2087 | 20.3422 | 1.5135 | -0.15645
[32 empty] | Cycle 6 | 17.277 | 18.7959 | 24.7614 | 13.5895 | 14.4919 | 19.384 | 1.5536 | -0.1586
[32 empty] | Cycle 7 | 16.6075 | 18.0678 | 23.8021 | 12.9592 | 13.8207 | 18.4851 | 1.522 | -0.17048
[32 empty] | Cycle 8 |  |  |  | 12.3662 | 13.1887 | 17.6397
38 | GIRMS\IRMS-operator | 2026-07-07 08:02 | 2026-07-07 09:13 | Running | FALSE | MD23-3678 - N. dutertri | 1921 | 38 | 2 | 23 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 18.639 V | 9.4987 kV | 108 µbar | 106 µbar | Carbon Dioxide: -0.0013 kV | 111 µbar | 17.040 V | 21.470 V |  | 288 µbar/min | 17.084 V | 1.47E-007 mbar | 10 % | 1,051 µbar | 72 °C | µ-Volume | Pre | 16.9489 | 18.4346 | 24.2971 | 17.4833 | 18.6389 | 24.9331 | 1.602 | 0.27037 | 1.5811 | 0.025585 | 0.0090457 | 0.26324 | 0.012106 | 0.0042802 | 1.6821 | 0.027231 | 0.25994 | 0.0121
[32 empty] | Cycle 1 | 16.3291 | 17.7613 | 23.4093 | 16.6012 | 17.6997 | 23.6758 | 1.5745 | 0.27524
[32 empty] | Cycle 2 | 15.7338 | 17.1148 | 22.556 | 15.7813 | 16.827 | 22.5072 | 1.5943 | 0.25512
[32 empty] | Cycle 3 | 15.1649 | 16.4967 | 21.7409 | 15.0139 | 16.0088 | 21.4132 | 1.6043 | 0.25603
[32 empty] | Cycle 4 | 14.6243 | 15.9089 | 20.9663 | 14.2946 | 15.2427 | 20.3876 | 1.5869 | 0.25174
[32 empty] | Cycle 5 | 14.0992 | 15.3385 | 20.2146 | 13.6198 | 14.5234 | 19.4258 | 1.6006 | 0.2845
[32 empty] | Cycle 6 | 13.5954 | 14.7905 | 19.492 | 12.9861 | 13.8483 | 18.5221 | 1.5509 | 0.26072
[32 empty] | Cycle 7 | 13.1034 | 14.2556 | 18.7867 | 12.3897 | 13.2131 | 17.6717 | 1.5357 | 0.25217
[32 empty] | Cycle 8 |  |  |  | 11.8285 | 12.6152 | 16.8717
39 | GIRMS\IRMS-operator | 2026-07-07 08:42 | 2026-07-07 09:42 | Running | FALSE | MD23-3678 - N. dutertri | 1913 | 39 | 1 | 24 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 20.865 V | 9.4987 kV | 103 µbar | 106 µbar | Carbon Dioxide: -0.0013 kV | 120 µbar | 16.229 V | 24.354 V | 19.101 V | 288 µbar/min | 16.265 V | 1.43E-007 mbar | 10 % | 1,065 µbar | 72 °C | µ-Volume | Pre | 20.3249 | 22.0955 | 29.1322 | 16.705 | 17.8097 | 23.8233 | 1.0623 | 0.093768 | 1.1021 | 0.03342 | 0.011816 | 0.078643 | 0.012351 | 0.0043669 | 1.1764 | 0.035581 | 0.076237 | 0.012335
[32 empty] | Cycle 1 | 19.4997 | 21.2002 | 27.9502 | 15.8769 | 16.9283 | 22.6436 | 1.0759 | 0.075831
[32 empty] | Cycle 2 | 18.7274 | 20.3616 | 26.8436 | 15.103 | 16.1042 | 21.5408 | 1.065 | 0.058518
[32 empty] | Cycle 3 | 17.9861 | 19.5569 | 25.7816 | 14.3785 | 15.3324 | 20.5078 | 1.0871 | 0.069422
[32 empty] | Cycle 4 | 17.2816 | 18.7919 | 24.7722 | 13.698 | 14.6074 | 19.5375 | 1.1151 | 0.069067
[32 empty] | Cycle 5 | 16.6176 | 18.0706 | 23.8211 | 13.0583 | 13.9254 | 18.6252 | 1.1308 | 0.088074
[32 empty] | Cycle 6 | 15.9796 | 17.3777 | 22.9069 | 12.4582 | 13.286 | 17.7697 | 1.1426 | 0.084685
[32 empty] | Cycle 7 | 15.3688 | 16.7137 | 22.0318 | 11.8939 | 12.6847 | 16.9651 | 1.1383 | 0.08978
[32 empty] | Cycle 8 |  |  |  | 11.3625 | 12.1178 | 16.2072
40 | GIRMS\IRMS-operator | 2026-07-07 09:13 | 2026-07-07 10:20 | Running | FALSE | SHP2L |  | 40 | 2 | 24 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.004 V |  | 16.664 V | 9.4987 kV | 106 µbar | 103 µbar | Carbon Dioxide: -0.0013 kV | 103 µbar | 15.435 V | 19.202 V |  | 322 µbar/min | 15.473 V | 1.39E-007 mbar | 10 % | 1,041 µbar | 72 °C | µ-Volume | Pre | 15.3237 | 16.6281 | 21.833 | 15.8511 | 16.9004 | 22.6065 | -0.83738 | -5.8853 | -0.86759 | 0.023047 | 0.0081485 | -5.9143 | 0.017131 | 0.0060566 | -0.70938 | 0.024223 | -5.9187 | 0.017113
[32 empty] | Cycle 1 | 14.7734 | 16.0315 | 21.049 | 15.0742 | 16.0736 | 21.4988 | -0.87007 | -5.904
[32 empty] | Cycle 2 | 14.2452 | 15.4591 | 20.2968 | 14.3492 | 15.3011 | 20.4655 | -0.85498 | -5.9167
[32 empty] | Cycle 3 | 13.7362 | 14.907 | 19.5725 | 13.6713 | 14.5787 | 19.4992 | -0.87892 | -5.9062
[32 empty] | Cycle 4 | 13.2474 | 14.3768 | 18.8759 | 13.0354 | 13.9014 | 18.5929 | -0.89442 | -5.9277
[32 empty] | Cycle 5 | 12.7814 | 13.8714 | 18.2119 | 12.4373 | 13.2638 | 17.7399 | -0.90208 | -5.9424
[32 empty] | Cycle 6 | 12.3307 | 13.3832 | 17.5705 | 11.8744 | 12.6639 | 16.9374 | -0.85773 | -5.9108
[32 empty] | Cycle 7 | 11.9063 | 12.923 | 16.9659 | 11.3432 | 12.0975 | 16.1797 | -0.84511 | -5.9217
[32 empty] | Cycle 8 |  |  |  | 10.8417 | 11.5631 | 15.4649