## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-07-22 10:03 | 2026-07-22 10:03 | Error | FALSE | SHP2L |  | 0 | 1 | 2 | TRUE | QC Standard | SHP2L | NA, NA, NA | [17 empty] | Pre
2 | GIRMS\IRMS-operator | 2026-07-22 10:30 | 2026-07-22 11:28 | Success | FALSE | MD23-3677Q - G. ruber | 556-558 | 2 | 2 | 2 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 14.087 V | 9.4985 kV | 101 µbar | 103 µbar | Carbon Dioxide: -0.0015 kV | 150 µbar | 12.660 V | 16.216 V | 181 µbar/min | 2.784 V | 1.18E-007 mbar | 12 % | 1,019 µbar | 72 °C | µ-Volume |  | Pre | 12.6092 | 13.7132 | 18.0506 | 12.8532 | 13.7094 | 18.3371 | 1.1049 | -1.4989 | 1.0236 | 0.054722 | 0.019347 | -1.4686 | 0.016878 | 0.0059673 | 1.1496 | 0.058826 | -1.4725 | 0.01695
[32 empty] | Cycle 1 | 12.1515 | 13.2143 | 17.3962 | 12.2619 | 13.0776 | 17.4935 | 1.0038 | -1.4622
[32 empty] | Cycle 2 | 11.7167 | 12.7412 | 16.7736 | 11.7073 | 12.4876 | 16.7025 | 0.96465 | -1.4827
[32 empty] | Cycle 3 | 11.3006 | 12.2902 | 16.1783 | 11.1844 | 11.9286 | 15.9568 | 1.1 | -1.4737
[32 empty] | Cycle 4 | 10.9017 | 11.8561 | 15.6078 | 10.6918 | 11.4041 | 15.2541 | 1.0338 | -1.4488
[32 empty] | Cycle 5 | 10.5214 | 11.4427 | 15.0634 | 10.2266 | 10.9082 | 14.5906 | 1.0208 | -1.4548
[32 empty] | Cycle 6 | 10.1562 | 11.0455 | 14.5404 | 9.7861 | 10.4385 | 13.9622 | 1.0005 | -1.4732
[32 empty] | Cycle 7 | 9.8074 | 10.6659 | 14.0413 | 9.3701 | 9.995 | 13.369 | 0.96023 | -1.4543
[32 empty] | Cycle 8 |  |  |  | 8.9761 | 9.575 | 12.8067
3 | GIRMS\IRMS-operator | 2026-07-22 11:00 | 2026-07-22 11:53 | Running | FALSE | MD23-3677Q - G. ruber | 548-550 | 3 | 1 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 11.320 V | 9.4983 kV | 103 µbar | 103 µbar | Carbon Dioxide: -0.0017 kV | 145 µbar | 11.426 V | 12.875 V | 107 µbar/min | 12.257 V | 1.09E-007 mbar | 13 % | 1,012 µbar | 72 °C | µ-Volume |  | Pre | 11.1274 | 12.1052 | 15.9342 | 11.6245 | 12.3984 | 16.5837 | 1.3677 | -1.1805 | 1.3769 | 0.030091 | 0.010639 | -1.1823 | 0.011656 | 0.0041212 | 1.5171 | 0.032492 | -1.1867 | 0.011715
[32 empty] | Cycle 1 | 10.7621 | 11.7076 | 15.4117 | 11.1044 | 11.8443 | 15.8424 | 1.3273 | -1.1698
[32 empty] | Cycle 2 | 10.4105 | 11.326 | 14.908 | 10.616 | 11.3231 | 15.1456 | 1.4131 | -1.1771
[32 empty] | Cycle 3 | 10.0719 | 10.9577 | 14.4232 | 10.1549 | 10.8317 | 14.4878 | 1.3935 | -1.1915
[32 empty] | Cycle 4 | 9.7456 | 10.6027 | 13.9565 | 9.72 | 10.3678 | 13.8677 | 1.3676 | -1.1705
[32 empty] | Cycle 5 | 9.4279 | 10.2574 | 13.5013 | 9.3085 | 9.9293 | 13.2807 | 1.4016 | -1.1939
[32 empty] | Cycle 6 | 9.1248 | 9.9275 | 13.0673 | 8.9183 | 9.5127 | 12.7241 | 1.3993 | -1.2009
[32 empty] | Cycle 7 | 8.8273 | 9.6037 | 12.6417 | 8.5485 | 9.1184 | 12.1967 | 1.3452 | -1.1744
[32 empty] | Cycle 8 |  |  |  | 8.1977 | 8.7448 | 11.6962
4 | GIRMS\IRMS-operator | 2026-07-22 11:28 | 2026-07-22 12:26 | Running | FALSE | MD23-3677Q - G. ruber | 540-542 | 4 | 2 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 22.951 V | 9.4983 kV | 106 µbar | 103 µbar | Carbon Dioxide: -0.0017 kV | 123 µbar | 12.668 V | 27.077 V | 347 µbar/min | 11.112 V | 1.18E-007 mbar | 10 % | 1,073 µbar | 72 °C | µ-Volume | 20.821 V | Pre | 22.3017 | 24.2473 | 31.9345 | 12.9173 | 13.7775 | 18.428 | 0.77935 | -1.197 | 0.90249 | 0.10202 | 0.036069 | -1.1561 | 0.023874 | 0.0084407 | 1.0084 | 0.10834 | -1.1594 | 0.023684
[32 empty] | Cycle 1 | 21.3517 | 23.216 | 30.5757 | 12.3251 | 13.1463 | 17.5833 | 0.8014 | -1.1693
[32 empty] | Cycle 2 | 20.4501 | 22.2374 | 29.2852 | 11.7687 | 12.5534 | 16.79 | 0.80852 | -1.178
[32 empty] | Cycle 3 | 19.5989 | 21.3139 | 28.067 | 11.2436 | 11.9944 | 16.0412 | 0.87277 | -1.1573
[32 empty] | Cycle 4 | 18.7952 | 20.4411 | 26.9166 | 10.7485 | 11.4661 | 15.3349 | 0.93553 | -1.1481
[32 empty] | Cycle 5 | 18.0214 | 19.6003 | 25.809 | 10.2808 | 10.9671 | 14.6678 | 0.96907 | -1.1342
[32 empty] | Cycle 6 | 17.2936 | 18.8098 | 24.7671 | 9.833 | 10.4896 | 14.0289 | 1.0003 | -1.1306
[32 empty] | Cycle 7 | 16.6046 | 18.0615 | 23.7809 | 9.414 | 10.043 | 13.4316 | 1.0531 | -1.1344
[32 empty] | Cycle 8 |  |  |  | 9.0188 | 9.6212 | 12.8679
5 | GIRMS\IRMS-operator | 2026-07-22 11:53 | 2026-07-22 13:02 | Running | FALSE | MD23-3677Q - G. ruber | 532-534 | 5 | 1 | 4 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 11.969 V | 9.4982 kV | 103 µbar | 120 µbar | Carbon Dioxide: -0.0018 kV | 1,244 µbar | 11.975 V | 13.685 V | 762 µbar/min | 12.230 V | 1.13E-007 mbar | 10 % | 1,019 µbar | 72 °C | µ-Volume |  | Pre | 11.7854 | 12.8168 | 16.8811 | 12.2121 | 13.0246 | 17.422 | 1.0973 | -0.90073 | 1.0142 | 0.045532 | 0.016098 | -0.90544 | 0.0087603 | 0.0030972 | 1.1187 | 0.048568 | -0.90871 | 0.0087214
[32 empty] | Cycle 1 | 11.3889 | 12.385 | 16.3136 | 11.6604 | 12.4361 | 16.6353 | 1.0192 | -0.89774
[32 empty] | Cycle 2 | 11.007 | 11.9697 | 15.7667 | 11.1403 | 11.8824 | 15.8938 | 0.97614 | -0.91074
[32 empty] | Cycle 3 | 10.6396 | 11.5714 | 15.2407 | 10.65 | 11.3594 | 15.1944 | 1.0551 | -0.89935
[32 empty] | Cycle 4 | 10.288 | 11.1881 | 14.737 | 10.1873 | 10.8665 | 14.5343 | 0.96138 | -0.91148
[32 empty] | Cycle 5 | 9.9466 | 10.8173 | 14.2484 | 9.7492 | 10.3989 | 13.9095 | 1.0042 | -0.89287
[32 empty] | Cycle 6 | 9.6134 | 10.4554 | 13.771 | 9.3353 | 9.9577 | 13.319 | 1.0243 | -0.91593
[32 empty] | Cycle 7 | 9.2994 | 10.1137 | 13.3214 | 8.9435 | 9.5398 | 12.7603 | 0.97597 | -0.91471
[32 empty] | Cycle 8 |  |  |  | 8.5714 | 9.1436 | 12.2295
6 | GIRMS\IRMS-operator | 2026-07-22 12:26 | 2026-07-22 13:44 | Running | FALSE | SHP2L |  | 6 | 2 | 4 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 15.570 V | 9.4985 kV | 108 µbar | 103 µbar | Carbon Dioxide: -0.0015 kV | 115 µbar | 13.407 V | 18.029 V | 361 µbar/min | 2.780 V | 1.21E-007 mbar | 10 % | 1,048 µbar | 72 °C | µ-Volume | 14.173 V | Pre | 15.0443 | 16.3291 | 21.4389 | 13.6607 | 14.5711 | 19.4878 | -0.96648 | -5.9642 | -0.96284 | 0.013207 | 0.0046695 | -5.9666 | 0.0050069 | 0.0018924 | -0.80924 | 0.014195 | -5.9708 | 0.0050223
[32 empty] | Cycle 1 | 14.4788 | 15.7165 | 20.6333 | 13.0204 | 13.8886 | 18.5746 | -0.94112 | -5.967
[32 empty] | Cycle 2 | 13.9392 | 15.131 | 19.8649 | 12.4208 | 13.2499 | 17.7196 | -0.97517 | -5.9593
[32 empty] | Cycle 3 | 13.4254 | 14.574 | 19.1329 | 11.8578 | 12.6496 | 16.9167 | -0.95761 | -5.9642
[32 empty] | Cycle 4 | 12.934 | 14.0408 | 18.4328 | 11.3269 | 12.0838 | 16.1596 | -0.97715 | -5.9655
[32 empty] | Cycle 5 | 12.4653 | 13.5325 | 17.765 | 10.8255 | 11.5493 | 15.4443 | -0.97449 | -5.973
[32 empty] | Cycle 6 | 12.0183 | 13.0478 | 17.1283 | 10.3529 | 11.0456 | 14.7705 | -0.94813 | -5.9732
[32 empty] | Cycle 7 | 11.5898 | 12.5829 | 16.5175 | 9.9058 | 10.5685 | 14.1329 | -0.96257 | -5.996
[32 empty] | Cycle 8 |  |  |  | 9.483 | 10.1181 | 13.5298
7 | GIRMS\IRMS-operator | 2026-07-22 13:02 | 2026-07-22 14:11 | Running | FALSE | MD23-3677Q - G. ruber | 524-528 | 7 | 1 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 13.058 V | 9.4983 kV | 103 µbar | 120 µbar | Carbon Dioxide: -0.0017 kV | 1,258 µbar | 12.979 V | 14.886 V | 664 µbar/min | 12.979 V | 1.19E-007 mbar | 10 % | 1,029 µbar | 72 °C | µ-Volume |  | Pre | 13.5041 | 14.6836 | 19.3448 | 13.2305 | 14.1124 | 18.874 | 0.83123 | -0.75976 | 0.77156 | 0.039066 | 0.013812 | -0.77542 | 0.01598 | 0.0056499 | 0.85427 | 0.042051 | -0.77799 | 0.016034
[32 empty] | Cycle 1 | 13.0422 | 14.1819 | 18.6828 | 12.6177 | 13.4585 | 18.0002 | 0.8185 | -0.79507
[32 empty] | Cycle 2 | 12.5981 | 13.6991 | 18.0473 | 12.0417 | 12.8456 | 17.1787 | 0.75113 | -0.77013
[32 empty] | Cycle 3 | 12.1708 | 13.235 | 17.4356 | 11.5003 | 12.2685 | 16.4064 | 0.73169 | -0.76874
[32 empty] | Cycle 4 | 11.7696 | 12.7998 | 16.8606 | 10.9893 | 11.7244 | 15.678 | 0.79007 | -0.80098
[32 empty] | Cycle 5 | 11.3764 | 12.3723 | 16.2979 | 10.5076 | 11.2103 | 14.9911 | 0.77487 | -0.78384
[32 empty] | Cycle 6 | 10.9968 | 11.9599 | 15.7544 | 10.0527 | 10.7256 | 14.3422 | 0.74849 | -0.76568
[32 empty] | Cycle 7 | 10.6215 | 11.552 | 15.217 | 9.6224 | 10.2671 | 13.7282 | 0.72654 | -0.75915
[32 empty] | Cycle 8 |  |  |  | 9.2163 | 9.834 | 13.1492
8 | GIRMS\IRMS-operator | 2026-07-22 13:44 | 2026-07-22 14:44 | Running | FALSE | MD23-3677Q - G. ruber | 516-518 | 8 | 2 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 14.387 V | 9.4982 kV | 108 µbar | 106 µbar | Carbon Dioxide: -0.0018 kV | 111 µbar | 12.537 V | 16.569 V | 342 µbar/min | 12.559 V | 1.17E-007 mbar | 10 % | 1,051 µbar | 72 °C | µ-Volume | 13.296 V | Pre | 14.0644 | 15.2967 | 20.1443 | 12.7842 | 13.6381 | 18.2376 | 0.96973 | -0.91281 | 1.0051 | 0.0087778 | 0.0033177 | -0.91615 | 0.0080148 | 0.0028337 | 1.1093 | 0.0092664 | -0.9194 | 0.0080207
[32 empty] | Cycle 1 | 13.5479 | 14.7353 | 19.4044 | 12.1986 | 13.0128 | 17.402 | 0.9966 | -0.92969
[32 empty] | Cycle 2 | 13.0542 | 14.199 | 18.6979 | 11.6477 | 12.4256 | 16.6166 | 1.0202 | -0.91521
[32 empty] | Cycle 3 | 12.5829 | 13.6868 | 18.0228 | 11.1299 | 11.8736 | 15.8783 | 1.0102 | -0.91665
[32 empty] | Cycle 4 | 12.1308 | 13.1955 | 17.3756 | 10.6389 | 11.3503 | 15.1774 | 1.001 | -0.91262
[32 empty] | Cycle 5 | 11.6992 | 12.7264 | 16.7578 | 10.1763 | 10.8572 | 14.5182 | 0.99444 | -0.91999
[32 empty] | Cycle 6 | 11.2836 | 12.2749 | 16.1628 | 9.7384 | 10.3904 | 13.8936 | 1.0075 | -0.90174
[32 empty] | Cycle 7 | 10.8855 | 11.8422 | 15.5925 | 9.3257 | 9.9504 | 13.3048 | 1.0055 | -0.92051
[32 empty] | Cycle 8 |  |  |  | 8.9347 | 9.5334 | 12.7472
9 | GIRMS\IRMS-operator | 2026-07-22 14:11 | 2026-07-22 15:20 | Running | FALSE | MD23-3677Q - G. ruber | 508-510 | 9 | 1 | 6 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 0.030 V | 9.4983 kV | 106 µbar | 113 µbar | Carbon Dioxide: -0.0017 kV | 1,165 µbar | 2.530 V | 0.031 V | 977 µbar/min | 12.117 V | 4.07E-008 mbar | 100 % | 142 µbar | 72 °C | µ-Volume | 0.035 V | Pre | 0.030143 | 0.032443 | 0.042684 | 2.6126 | 2.7888 | 3.7277 | -10.0599 | -12.4333 | -9.7678 | 0.32793 | 0.11594 | -13.3324 | 0.23983 | 0.090648 | -9.9615 | 0.35341 | -13.3248 | 0.2399
[32 empty] | Cycle 1 | 0.0294 | 0.031655 | 0.041591 | 2.522 | 2.692 | 3.5985 | -9.6866 | -13.3797
[32 empty] | Cycle 2 | 0.028891 | 0.031111 | 0.040867 | 2.4383 | 2.6027 | 3.4788 | -9.2525 | -13.4503
[32 empty] | Cycle 3 | 0.028441 | 0.030603 | 0.040253 | 2.3583 | 2.5158 | 3.3648 | -9.7546 | -12.9297
[32 empty] | Cycle 4 | 0.028022 | 0.030143 | 0.039628 | 2.2815 | 2.434 | 3.2552 | -10.0524 | -13.7073
[32 empty] | Cycle 5 | 0.027603 | 0.029692 | 0.03905 | 2.2077 | 2.3552 | 3.15 | -10.0688 | -13.3539
[32 empty] | Cycle 6 | 0.027207 | 0.02927 | 0.038489 | 2.1367 | 2.2794 | 3.0485 | -9.94 | -13.3343
[32 empty] | Cycle 7 | 0.026817 | 0.028869 | 0.037943 | 2.0682 | 2.2065 | 2.9508 | -9.3275 | -13.1717
[32 empty] | Cycle 8 |  |  |  | 2.0021 | 2.136 | 2.8566
10 | GIRMS\IRMS-operator | 2026-07-22 14:44 | 2026-07-22 16:02 | Running | FALSE | MD23-3677Q - G. ruber | 500-502 | 10 | 2 | 6 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 12.418 V | 9.4985 kV | 106 µbar | 103 µbar | Carbon Dioxide: -0.0015 kV | 120 µbar | 11.458 V | 14.221 V | 269 µbar/min | 2.789 V | 1.08E-007 mbar | 14 % | 1,036 µbar | 72 °C | µ-Volume |  | Pre | 11.3572 | 12.3529 | 16.2655 | 11.6257 | 12.3999 | 16.5848 | 1.1935 | -0.9996 | 1.2115 | 0.035457 | 0.012536 | -1.0004 | 0.0081215 | 0.0030696 | 1.3335 | 0.038156 | -1.0042 | 0.0081507
[32 empty] | Cycle 1 | 10.961 | 11.9227 | 15.6981 | 11.105 | 11.8442 | 15.8423 | 1.2597 | -1.0098
[32 empty] | Cycle 2 | 10.5819 | 11.5101 | 15.1552 | 10.6164 | 11.3234 | 15.1453 | 1.24 | -0.99906
[32 empty] | Cycle 3 | 10.2188 | 11.1152 | 14.6354 | 10.1551 | 10.8312 | 14.487 | 1.2169 | -1.0048
[32 empty] | Cycle 4 | 9.8705 | 10.7371 | 14.1367 | 9.7195 | 10.3673 | 13.8665 | 1.2443 | -1.031
[32 empty] | Cycle 5 | 9.5363 | 10.3729 | 13.6588 | 9.3073 | 9.9277 | 13.2785 | 1.161 | -0.99689
[32 empty] | Cycle 6 | 9.2158 | 10.0251 | 13.1996 | 8.9168 | 9.5115 | 12.7217 | 1.1709 | -1.0074
[32 empty] | Cycle 7 | 8.9098 | 9.6933 | 12.7617 | 8.5474 | 9.1185 | 12.1943 | 1.2059 | -0.98546
[32 empty] | Cycle 8 |  |  |  | 8.1975 | 8.7454 | 11.6955
11 | GIRMS\IRMS-operator | 2026-07-22 15:20 | 2026-07-22 16:32 | Running | FALSE | SHP2L |  | 11 | 1 | 7 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 13.571 V | 9.4984 kV | 103 µbar | 118 µbar | Carbon Dioxide: -0.0016 kV | 1,234 µbar | 12.907 V | 15.508 V | 532 µbar/min | 11.131 V | 1.17E-007 mbar | 10 % | 1,041 µbar | 72 °C | µ-Volume |  | Pre | 12.7596 | 13.8488 | 18.1833 | 13.1382 | 14.0108 | 18.7413 | -0.79928 | -5.9051 | -0.82239 | 0.022193 | 0.0078463 | -5.9268 | 0.01748 | 0.0061803 | -0.66056 | 0.024005 | -5.9313 | 0.017518
[32 empty] | Cycle 1 | 12.3199 | 13.3719 | 17.5565 | 12.5318 | 13.3648 | 17.8769 | -0.80618 | -5.9443
[32 empty] | Cycle 2 | 11.9014 | 12.918 | 16.96 | 11.9616 | 12.7569 | 17.0638 | -0.79536 | -5.9374
[32 empty] | Cycle 3 | 11.4966 | 12.4787 | 16.3839 | 11.4251 | 12.185 | 16.2981 | -0.83967 | -5.9055
[32 empty] | Cycle 4 | 11.1024 | 12.0512 | 15.8221 | 10.919 | 11.646 | 15.5766 | -0.84835 | -5.9218
[32 empty] | Cycle 5 | 10.7303 | 11.6479 | 15.2921 | 10.4413 | 11.1366 | 14.8952 | -0.84478 | -5.9146
[32 empty] | Cycle 6 | 10.3736 | 11.2613 | 14.7835 | 9.9913 | 10.6575 | 14.2534 | -0.80782 | -5.9502
[32 empty] | Cycle 7 | 10.0306 | 10.8886 | 14.2952 | 9.5647 | 10.2022 | 13.6453 | -0.83768 | -5.9354
[32 empty] | Cycle 8 |  |  |  | 9.1612 | 9.7719 | 13.0698
12 | GIRMS\IRMS-operator | 2026-07-22 16:02 | 2026-07-22 17:03 | Running | FALSE | MD23-3677Q - G. ruber | 492-494 | 12 | 2 | 7 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 13.317 V | 9.4984 kV | 106 µbar | 103 µbar | Carbon Dioxide: -0.0016 kV | 115 µbar | 12.703 V | 15.262 V | 283 µbar/min | 12.503 V | 1.17E-007 mbar | 10 % | 1,043 µbar | 72 °C | µ-Volume |  | Pre | 12.5348 | 13.6295 | 17.9528 | 12.9394 | 13.7996 | 18.4582 | 0.95707 | -0.93336 | 0.94288 | 0.023223 | 0.0082107 | -0.96572 | 0.017881 | 0.0063217 | 1.0446 | 0.024733 | -0.96889 | 0.01789
[32 empty] | Cycle 1 | 12.0879 | 13.144 | 17.3124 | 12.3449 | 13.1661 | 17.6108 | 0.95871 | -0.98284
[32 empty] | Cycle 2 | 11.6605 | 12.6798 | 16.7007 | 11.7856 | 12.57 | 16.8134 | 0.97215 | -0.96775
[32 empty] | Cycle 3 | 11.2511 | 12.2345 | 16.1145 | 11.259 | 12.0088 | 16.0622 | 0.91281 | -0.97377
[32 empty] | Cycle 4 | 10.8584 | 11.8081 | 15.5522 | 10.7624 | 11.4797 | 15.3539 | 0.94842 | -0.97068
[32 empty] | Cycle 5 | 10.4801 | 11.3961 | 15.0108 | 10.293 | 10.9789 | 14.6845 | 0.90826 | -0.95764
[32 empty] | Cycle 6 | 10.1214 | 11.0067 | 14.497 | 9.8493 | 10.5053 | 14.0514 | 0.95571 | -0.95109
[32 empty] | Cycle 7 | 9.7761 | 10.6313 | 14.0022 | 9.4304 | 10.059 | 13.4536 | 0.92989 | -0.98863
[32 empty] | Cycle 8 |  |  |  | 9.0336 | 9.636 | 12.8884
13 | GIRMS\IRMS-operator | 2026-07-22 16:32 | 2026-07-22 17:39 | Running | FALSE | MD23-3677Q - G. ruber | 488-490 | 13 | 1 | 8 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 15.247 V | 9.4983 kV | 106 µbar | 120 µbar | Carbon Dioxide: -0.0017 kV | 1,268 µbar | 12.223 V | 17.579 V | 772 µbar/min | 12.244 V | 1.14E-007 mbar | 10 % | 1,048 µbar | 72 °C | µ-Volume | 14.160 V | Pre | 14.9722 | 16.2719 | 21.4427 | 12.47 | 13.2993 | 17.7882 | 0.45065 | -0.95493 | 0.47966 | 0.031659 | 0.011193 | -0.95866 | 0.012085 | 0.0042727 | 0.5487 | 0.033809 | -0.96077 | 0.012087
[32 empty] | Cycle 1 | 14.438 | 15.6922 | 20.678 | 11.9039 | 12.6962 | 16.9813 | 0.47018 | -0.96165
[32 empty] | Cycle 2 | 13.9298 | 15.1399 | 19.9504 | 11.3696 | 12.1265 | 16.2193 | 0.45614 | -0.9625
[32 empty] | Cycle 3 | 13.4388 | 14.6072 | 19.2475 | 10.8662 | 11.5898 | 15.5014 | 0.52504 | -0.96259
[32 empty] | Cycle 4 | 12.9692 | 14.0972 | 18.5752 | 10.3928 | 11.0847 | 14.8262 | 0.5294 | -0.96035
[32 empty] | Cycle 5 | 12.5204 | 13.6095 | 17.9331 | 9.9435 | 10.6062 | 14.1854 | 0.48511 | -0.9373
[32 empty] | Cycle 6 | 12.0915 | 13.1435 | 17.319 | 9.5199 | 10.1547 | 13.5814 | 0.47101 | -0.9503
[32 empty] | Cycle 7 | 11.6731 | 12.6885 | 16.7196 | 9.1194 | 9.7277 | 13.0103 | 0.44978 | -0.97964
[32 empty] | Cycle 8 |  |  |  | 8.7398 | 9.3227 | 12.4691
14 | GIRMS\IRMS-operator | 2026-07-22 17:03 | 2026-07-22 18:22 | Running | FALSE | MD23-3677Q - G. ruber | 480-482 | 14 | 2 | 8 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 10.092 V | 9.4986 kV | 103 µbar | 101 µbar | Carbon Dioxide: -0.0014 kV | 113 µbar | 9.613 V | 11.450 V | 278 µbar/min | 2.779 V | 9.67E-008 mbar | 19 % | 995 µbar | 72 °C | µ-Volume |  | Pre | 9.4842 | 10.3152 | 13.5901 | 9.7494 | 10.402 | 13.9099 | 0.79692 | -0.61038 | 0.75314 | 0.033861 | 0.011972 | -0.60653 | 0.023273 | 0.0082282 | 0.82831 | 0.036496 | -0.60888 | 0.02332
[32 empty] | Cycle 1 | 9.1693 | 9.9728 | 13.1384 | 9.3346 | 9.9597 | 13.3183 | 0.80168 | -0.64725
[32 empty] | Cycle 2 | 8.8673 | 9.6442 | 12.7061 | 8.943 | 9.5418 | 12.7595 | 0.73995 | -0.61947
[32 empty] | Cycle 3 | 8.5764 | 9.3279 | 12.2894 | 8.5716 | 9.1463 | 12.2298 | 0.70527 | -0.60733
[32 empty] | Cycle 4 | 8.2972 | 9.0251 | 11.8894 | 8.2206 | 8.7721 | 11.7289 | 0.76483 | -0.59144
[32 empty] | Cycle 5 | 8.0276 | 8.7319 | 11.5034 | 7.8875 | 8.4168 | 11.2536 | 0.75605 | -0.56551
[32 empty] | Cycle 6 | 7.7657 | 8.447 | 11.1278 | 7.5669 | 8.0748 | 10.7961 | 0.72345 | -0.60981
[32 empty] | Cycle 7 | 7.5155 | 8.1752 | 10.7698 | 7.2653 | 7.7533 | 10.3664 | 0.73697 | -0.60108
[32 empty] | Cycle 8 |  |  |  | 6.9791 | 7.4479 | 9.958
15 | GIRMS\IRMS-operator | 2026-07-22 17:39 | 2026-07-22 18:52 | Running | FALSE | MD23-3677Q - G. ruber | 472-474 | 15 | 1 | 9 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 13.341 V | 9.4985 kV | 101 µbar | 115 µbar | Carbon Dioxide: -0.0015 kV | 1,229 µbar | 12.353 V | 15.284 V | 694 µbar/min | 9.392 V | 1.15E-007 mbar | 11 % | 1,021 µbar | 72 °C | µ-Volume |  | Pre | 12.2754 | 13.3427 | 17.5865 | 12.556 | 13.3912 | 17.9126 | 0.58806 | -0.70224 | 0.60524 | 0.043787 | 0.015481 | -0.70487 | 0.030807 | 0.010892 | 0.67368 | 0.047178 | -0.70699 | 0.030867
[32 empty] | Cycle 1 | 11.8589 | 12.8911 | 16.99 | 11.9838 | 12.781 | 17.0968 | 0.64674 | -0.70607
[32 empty] | Cycle 2 | 11.4582 | 12.4561 | 16.4163 | 11.4476 | 12.2097 | 16.3319 | 0.6474 | -0.68838
[32 empty] | Cycle 3 | 11.0706 | 12.0346 | 15.8613 | 10.9402 | 11.669 | 15.608 | 0.58578 | -0.67416
[32 empty] | Cycle 4 | 10.6967 | 11.6277 | 15.3258 | 10.4609 | 11.1585 | 14.9245 | 0.52537 | -0.67218
[32 empty] | Cycle 5 | 10.3395 | 11.2403 | 14.814 | 10.0072 | 10.6743 | 14.2772 | 0.60813 | -0.70074
[32 empty] | Cycle 6 | 9.9981 | 10.8698 | 14.325 | 9.5794 | 10.2181 | 13.6675 | 0.65493 | -0.72909
[32 empty] | Cycle 7 | 9.6717 | 10.5145 | 13.8571 | 9.1744 | 9.7861 | 13.09 | 0.58547 | -0.76609
[32 empty] | Cycle 8 |  |  |  | 8.7907 | 9.3774 | 12.5428
16 | GIRMS\IRMS-operator | 2026-07-22 18:22 | 2026-07-22 19:24 | Running | FALSE | SHP2L |  | 16 | 2 | 9 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 8.953 V | 9.4985 kV | 108 µbar | 103 µbar | Carbon Dioxide: -0.0015 kV | 123 µbar | 8.245 V | 10.099 V | 127 µbar/min | 11.970 V | 8.77E-008 mbar | 21 % | 985 µbar | 72 °C | µ-Volume |  | Pre | 8.0878 | 8.7801 | 11.528 | 8.368 | 8.9258 | 11.939 | -0.79126 | -5.8734 | -0.79603 | 0.038357 | 0.013561 | -5.8929 | 0.014775 | 0.0052237 | -0.63361 | 0.041417 | -5.8974 | 0.01485
[32 empty] | Cycle 1 | 7.8302 | 8.5013 | 11.1604 | 8.0265 | 8.5617 | 11.4517 | -0.73931 | -5.9186
[32 empty] | Cycle 2 | 7.5809 | 8.2306 | 10.8053 | 7.7026 | 8.2167 | 10.9897 | -0.76484 | -5.8935
[32 empty] | Cycle 3 | 7.3371 | 7.9654 | 10.4581 | 7.3925 | 7.8859 | 10.5473 | -0.84517 | -5.8876
[32 empty] | Cycle 4 | 7.1038 | 7.7124 | 10.1255 | 7.1001 | 7.5742 | 10.1303 | -0.78152 | -5.8948
[32 empty] | Cycle 5 | 6.8805 | 7.4701 | 9.8071 | 6.8223 | 7.2774 | 9.7339 | -0.77698 | -5.909
[32 empty] | Cycle 6 | 6.6637 | 7.2347 | 9.4982 | 6.5576 | 6.9957 | 9.3564 | -0.82659 | -5.8813
[32 empty] | Cycle 7 | 6.4536 | 7.0064 | 9.199 | 6.3052 | 6.7265 | 8.9961 | -0.84255 | -5.8851
[32 empty] | Cycle 8 |  |  |  | 6.0641 | 6.469 | 8.6527
17 | GIRMS\IRMS-operator | 2026-07-22 18:52 | 2026-07-22 20:01 | Running | FALSE | MD23-3677Q - G. ruber | 468-470 | 17 | 1 | 10 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.514 V | 9.4986 kV | 103 µbar | 111 µbar | Carbon Dioxide: -0.0014 kV | 1,012 µbar | 12.462 V | 15.470 V | 347 µbar/min | 8.068 V | 1.15E-007 mbar | 10 % | 1,038 µbar | 72 °C | µ-Volume |  | Pre | 12.177 | 13.2358 | 17.4493 | 12.6976 | 13.5418 | 18.1145 | 0.61593 | -0.47558 | 0.60316 | 0.026408 | 0.0093366 | -0.49189 | 0.015095 | 0.0053369 | 0.66359 | 0.028035 | -0.49378 | 0.015087
[32 empty] | Cycle 1 | 11.7678 | 12.7913 | 16.863 | 12.1167 | 12.9226 | 17.2861 | 0.58702 | -0.48733
[32 empty] | Cycle 2 | 11.3687 | 12.3583 | 16.2915 | 11.5718 | 12.3421 | 16.5088 | 0.61729 | -0.47402
[32 empty] | Cycle 3 | 10.9886 | 11.9452 | 15.747 | 11.0505 | 11.7864 | 15.7654 | 0.59808 | -0.49044
[32 empty] | Cycle 4 | 10.6274 | 11.5533 | 15.2295 | 10.5657 | 11.2697 | 15.0742 | 0.6299 | -0.49042
[32 empty] | Cycle 5 | 10.2753 | 11.1708 | 14.7248 | 10.1088 | 10.7827 | 14.4223 | 0.63832 | -0.5022
[32 empty] | Cycle 6 | 9.936 | 10.8013 | 14.239 | 9.6768 | 10.3219 | 13.8062 | 0.57015 | -0.49366
[32 empty] | Cycle 7 | 9.6057 | 10.4426 | 13.7655 | 9.2675 | 9.8856 | 13.2225 | 0.56864 | -0.52147
[32 empty] | Cycle 8 |  |  |  | 8.8802 | 9.4727 | 12.67
18 | GIRMS\IRMS-operator | 2026-07-22 19:24 | 2026-07-22 20:42 | Running | FALSE | MD23-3677Q - G. ruber | 460-462 | 18 | 2 | 10 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 16.452 V | 9.4987 kV | 103 µbar | 103 µbar | Carbon Dioxide: -0.0013 kV | 108 µbar | 13.339 V | 19.060 V | 327 µbar/min | 2.783 V | 1.21E-007 mbar | 10 % | 1,060 µbar | 72 °C | µ-Volume | 14.965 V | Pre | 15.8791 | 17.2593 | 22.7507 | 13.5896 | 14.4934 | 19.3873 | 0.57491 | -0.63579 | 0.55257 | 0.010804 | 0.0040836 | -0.62833 | 0.0037459 | 0.0014158 | 0.61436 | 0.01162 | -0.63028 | 0.0037248
[32 empty] | Cycle 1 | 15.2735 | 16.6011 | 21.8841 | 12.953 | 13.8144 | 18.4789 | 0.55588 | -0.59752
[32 empty] | Cycle 2 | 14.6951 | 15.9729 | 21.0551 | 12.3553 | 13.1775 | 17.6268 | 0.54956 | -0.62675
[32 empty] | Cycle 3 | 14.147 | 15.3775 | 20.2701 | 11.7951 | 12.5806 | 16.8277 | 0.54617 | -0.62934
[32 empty] | Cycle 4 | 13.6248 | 14.81 | 19.5223 | 11.2668 | 12.0171 | 16.0744 | 0.54234 | -0.62668
[32 empty] | Cycle 5 | 13.1275 | 14.271 | 18.8099 | 10.7694 | 11.4868 | 15.3649 | 0.65217 | -0.62382
[32 empty] | Cycle 6 | 12.6537 | 13.7556 | 18.1312 | 10.2998 | 10.9857 | 14.695 | 0.55251 | -0.62886
[32 empty] | Cycle 7 | 12.1993 | 13.262 | 17.4807 | 9.8558 | 10.5141 | 14.0621 | 0.5466 | -0.62705
[32 empty] | Cycle 8 |  |  |  | 9.4369 | 10.066 | 13.4647
19 | GIRMS\IRMS-operator | 2026-07-22 20:01 | 2026-07-22 21:10 | Running | FALSE | MD23-3677Q - G. ruber | 452-454 | 19 | 1 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 12.979 V | 9.4985 kV | 103 µbar | 113 µbar | Carbon Dioxide: -0.0015 kV | 1,183 µbar | 12.915 V | 14.820 V | 611 µbar/min | 12.915 V | 1.18E-007 mbar | 10 % | 1,036 µbar | 72 °C | µ-Volume |  | Pre | 13.4387 | 14.6081 | 19.2512 | 13.1628 | 14.0375 | 18.7775 | 0.692 | -0.75495 | 0.67259 | 0.038189 | 0.013502 | -0.76589 | 0.0096332 | 0.003641 | 0.74817 | 0.040991 | -0.76824 | 0.0096883
[32 empty] | Cycle 1 | 12.9749 | 14.1042 | 18.5867 | 12.5486 | 13.3831 | 17.9016 | 0.67201 | -0.77843
[32 empty] | Cycle 2 | 12.5316 | 13.6223 | 17.9522 | 11.9757 | 12.7725 | 17.0845 | 0.59714 | -0.75506
[32 empty] | Cycle 3 | 12.1057 | 13.1608 | 17.3422 | 11.4365 | 12.199 | 16.3154 | 0.69912 | -0.76189
[32 empty] | Cycle 4 | 11.6984 | 12.7178 | 16.759 | 10.9289 | 11.6563 | 15.5917 | 0.70848 | -0.77626
[32 empty] | Cycle 5 | 11.3059 | 12.2912 | 16.1966 | 10.4505 | 11.1466 | 14.9095 | 0.66587 | -0.80152
[32 empty] | Cycle 6 | 10.933 | 11.8859 | 15.6628 | 9.9986 | 10.665 | 14.265 | 0.64063 | -0.76315
[32 empty] | Cycle 7 | 10.5714 | 11.4934 | 15.1447 | 9.572 | 10.2104 | 13.6559 | 0.70546 | -0.77152
[32 empty] | Cycle 8 |  |  |  | 9.1681 | 9.7789 | 13.0802
20 | GIRMS\IRMS-operator | 2026-07-22 20:42 | 2026-07-22 21:43 | Running | FALSE | MD23-3677Q - G. ruber | 444-446 | 20 | 2 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 14.816 V | 9.4986 kV | 103 µbar | 103 µbar | Carbon Dioxide: -0.0014 kV | 118 µbar | 12.476 V | 17.089 V | 293 µbar/min | 12.499 V | 1.15E-007 mbar | 10 % | 1,048 µbar | 72 °C | µ-Volume | 13.692 V | Pre | 14.4854 | 15.7454 | 20.7518 | 12.7197 | 13.5656 | 18.1464 | 0.63486 | -0.73969 | 0.56792 | 0.044924 | 0.015883 | -0.73615 | 0.011761 | 0.0041581 | 0.63491 | 0.048104 | -0.73822 | 0.011781
[32 empty] | Cycle 1 | 13.9501 | 15.1631 | 19.9854 | 12.1364 | 12.9436 | 17.314 | 0.57766 | -0.71596
[32 empty] | Cycle 2 | 13.4395 | 14.6086 | 19.2538 | 11.5895 | 12.361 | 16.5341 | 0.5317 | -0.73925
[32 empty] | Cycle 3 | 12.9516 | 14.0786 | 18.5551 | 11.0747 | 11.8132 | 15.8001 | 0.50684 | -0.74709
[32 empty] | Cycle 4 | 12.487 | 13.5741 | 17.8899 | 10.589 | 11.2949 | 15.1073 | 0.57332 | -0.72512
[32 empty] | Cycle 5 | 12.0414 | 13.0896 | 17.2518 | 10.131 | 10.8062 | 14.4539 | 0.52874 | -0.73204
[32 empty] | Cycle 6 | 11.611 | 12.6223 | 16.6353 | 9.6965 | 10.3435 | 13.8345 | 0.56804 | -0.73722
[32 empty] | Cycle 7 | 11.2012 | 12.1774 | 16.048 | 9.2856 | 9.9046 | 13.2481 | 0.62218 | -0.75285
[32 empty] | Cycle 8 |  |  |  | 8.8956 | 9.489 | 12.6919
21 | GIRMS\IRMS-operator | 2026-07-22 21:10 | 2026-07-22 22:21 | Running | FALSE | SHP2L |  | 21 | 1 | 12 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 15.648 V | 9.4985 kV | 106 µbar | 118 µbar | Carbon Dioxide: -0.0015 kV | 1,214 µbar | 12.025 V | 18.038 V | 557 µbar/min | 12.044 V | 1.12E-007 mbar | 10 % | 1,053 µbar | 72 °C | µ-Volume | 14.557 V | Pre | 15.3819 | 16.6927 | 21.92 | 12.2648 | 13.0805 | 17.4969 | -1.0036 | -5.9888 | -0.97759 | 0.016953 | 0.0059936 | -5.9944 | 0.018665 | 0.0065989 | -0.82412 | 0.018275 | -5.9986 | 0.018691
[32 empty] | Cycle 1 | 14.8317 | 16.0966 | 21.1362 | 11.7082 | 12.4872 | 16.703 | -0.96878 | -5.9901
[32 empty] | Cycle 2 | 14.3072 | 15.528 | 20.3889 | 11.1872 | 11.9319 | 15.96 | -0.96468 | -5.9963
[32 empty] | Cycle 3 | 13.8024 | 14.9802 | 19.6694 | 10.6948 | 11.4072 | 15.2578 | -0.99379 | -6.0249
[32 empty] | Cycle 4 | 13.3246 | 14.4623 | 18.9892 | 10.2294 | 10.9111 | 14.5943 | -0.96787 | -5.9983
[32 empty] | Cycle 5 | 12.8643 | 13.9629 | 18.3331 | 9.7903 | 10.4429 | 13.9676 | -0.95317 | -6.0065
[32 empty] | Cycle 6 | 12.4213 | 13.4824 | 17.7023 | 9.3744 | 9.9992 | 13.3747 | -0.97968 | -5.9915
[32 empty] | Cycle 7 | 11.9905 | 13.0151 | 17.089 | 8.9789 | 9.5783 | 12.8104 | -0.98912 | -5.9586
[32 empty] | Cycle 8 |  |  |  | 8.6054 | 9.1795 | 12.2775
22 | GIRMS\IRMS-operator | 2026-07-22 21:43 | 2026-07-22 23:07 | Running | FALSE | MD23-3677Q - G. ruber | 436-438 | 22 | 2 | 12 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 14.254 V | 9.4987 kV | 103 µbar | 103 µbar | Carbon Dioxide: -0.0013 kV | 118 µbar | 12.983 V | 16.396 V | 332 µbar/min | 2.781 V | 1.19E-007 mbar | 11 % | 1,056 µbar | 72 °C | µ-Volume |  | Pre | 12.7021 | 13.81 | 18.1974 | 13.2141 | 14.0926 | 18.8515 | 0.85395 | -0.71904 | 0.84836 | 0.026031 | 0.0092034 | -0.72598 | 0.016783 | 0.0059337 | 0.93461 | 0.028153 | -0.72868 | 0.016829
[32 empty] | Cycle 1 | 12.2497 | 13.3188 | 17.5496 | 12.6025 | 13.4409 | 17.9792 | 0.87381 | -0.72813
[32 empty] | Cycle 2 | 11.8171 | 12.8481 | 16.9298 | 12.0289 | 12.8294 | 17.1614 | 0.82432 | -0.73078
[32 empty] | Cycle 3 | 11.4024 | 12.3978 | 16.336 | 11.4885 | 12.2534 | 16.3901 | 0.83401 | -0.72157
[32 empty] | Cycle 4 | 11.0055 | 11.9662 | 15.7679 | 10.9784 | 11.7099 | 15.6629 | 0.80947 | -0.69684
[32 empty] | Cycle 5 | 10.626 | 11.5546 | 15.2238 | 10.4977 | 11.1971 | 14.9769 | 0.8886 | -0.7404
[32 empty] | Cycle 6 | 10.2618 | 11.1586 | 14.7026 | 10.0431 | 10.7123 | 14.329 | 0.8594 | -0.71773
[32 empty] | Cycle 7 | 9.9133 | 10.7796 | 14.2029 | 9.6129 | 10.2539 | 13.715 | 0.84328 | -0.75339
[32 empty] | Cycle 8 |  |  |  | 9.205 | 9.8186 | 13.1335
23 | GIRMS\IRMS-operator | 2026-07-22 22:21 | 2026-07-22 23:33 | Running | FALSE | MD23-3677Q - G. ruber | 432-434 | 23 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 11.994 V | 9.4986 kV | 106 µbar | 111 µbar | Carbon Dioxide: -0.0014 kV | 1,043 µbar | 12.063 V | 13.639 V | 523 µbar/min | 12.571 V | 1.14E-007 mbar | 11 % | 1,024 µbar | 72 °C | µ-Volume |  | Pre | 11.7844 | 12.8096 | 16.8822 | 12.2826 | 13.1006 | 17.5222 | 0.58096 | -0.73308 | 0.56358 | 0.020859 | 0.0078838 | -0.75855 | 0.019882 | 0.0070294 | 0.6312 | 0.022223 | -0.76067 | 0.019859
[32 empty] | Cycle 1 | 11.3937 | 12.3849 | 16.3223 | 11.7254 | 12.5057 | 16.7278 | 0.54207 | -0.76972
[32 empty] | Cycle 2 | 11.0196 | 11.9786 | 15.7865 | 11.2025 | 11.9494 | 15.982 | 0.55636 | -0.77604
[32 empty] | Cycle 3 | 10.6592 | 11.5881 | 15.271 | 10.7093 | 11.4226 | 15.2787 | 0.68058 | -0.73837
[32 empty] | Cycle 4 | 10.3102 | 11.2082 | 14.7706 | 10.2436 | 10.926 | 14.6144 | 0.59884 | -0.77585
[32 empty] | Cycle 5 | 9.9773 | 10.8463 | 14.294 | 9.8034 | 10.4573 | 13.9866 | 0.5703 | -0.75928
[32 empty] | Cycle 6 | 9.6537 | 10.4943 | 13.8307 | 9.3865 | 10.0124 | 13.3917 | 0.55252 | -0.73587
[32 empty] | Cycle 7 | 9.339 | 10.1527 | 13.3796 | 8.9915 | 9.5912 | 12.8285 | 0.54402 | -0.78015
[32 empty] | Cycle 8 |  |  |  | 8.618 | 9.1936 | 12.2958
24 | GIRMS\IRMS-operator | 2026-07-22 23:07 | 2026-07-23 00:05 | Running | FALSE | MD23-3677Q - G. ruber | 424-426 | 24 | 2 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 19.398 V | 9.4985 kV | 103 µbar | 106 µbar | Carbon Dioxide: -0.0015 kV | 115 µbar | 12.417 V | 22.687 V | 322 µbar/min | 11.710 V | 1.16E-007 mbar | 10 % | 1,080 µbar | 72 °C | µ-Volume | 17.779 V | Pre | 18.928 | 20.5646 | 27.1122 | 12.6588 | 13.4999 | 18.0586 | 0.17057 | -0.85568 | 0.24682 | 0.052393 | 0.018524 | -0.82015 | 0.0076925 | 0.0029075 | 0.29459 | 0.055835 | -0.82161 | 0.0077226
[32 empty] | Cycle 1 | 18.17 | 19.7425 | 26.0273 | 12.0799 | 12.8837 | 17.233 | 0.18855 | -0.8247
[32 empty] | Cycle 2 | 17.4473 | 18.9603 | 24.9927 | 11.5357 | 12.3035 | 16.4565 | 0.26159 | -0.80864
[32 empty] | Cycle 3 | 16.7659 | 18.2207 | 24.0167 | 11.0223 | 11.7578 | 15.7246 | 0.21079 | -0.81833
[32 empty] | Cycle 4 | 16.1168 | 17.5159 | 23.0877 | 10.5395 | 11.2433 | 15.0358 | 0.24568 | -0.81378
[32 empty] | Cycle 5 | 15.4984 | 16.8444 | 22.2022 | 10.0829 | 10.7557 | 14.3853 | 0.29843 | -0.81781
[32 empty] | Cycle 6 | 14.9096 | 16.2053 | 21.3587 | 9.6526 | 10.2969 | 13.7712 | 0.31134 | -0.82871
[32 empty] | Cycle 7 | 14.3461 | 15.593 | 20.5519 | 9.2452 | 9.8628 | 13.1904 | 0.28758 | -0.82905
[32 empty] | Cycle 8 |  |  |  | 8.8596 | 9.4516 | 12.6404
25 | GIRMS\IRMS-operator | 2026-07-22 23:33 | 2026-07-23 00:43 | Running | FALSE | MD23-3677Q - G. ruber | 416-418 | 25 | 1 | 14 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 14.200 V | 9.4986 kV | 106 µbar | 113 µbar | Carbon Dioxide: -0.0014 kV | 1,063 µbar | 11.971 V | 16.248 V | 386 µbar/min | 11.993 V | 1.13E-007 mbar | 10 % | 1,046 µbar | 72 °C | µ-Volume | 13.225 V | Pre | 13.9366 | 15.1512 | 19.9636 | 12.2091 | 13.0214 | 17.4176 | 0.74657 | -0.82279 | 0.73743 | 0.018215 | 0.00644 | -0.82347 | 0.009421 | 0.0035608 | 0.81968 | 0.01956 | -0.82601 | 0.0094235
[32 empty] | Cycle 1 | 13.4552 | 14.6278 | 19.2744 | 11.6561 | 12.4319 | 16.6286 | 0.73553 | -0.80959
[32 empty] | Cycle 2 | 12.9949 | 14.1279 | 18.6145 | 11.1363 | 11.8774 | 15.8872 | 0.74873 | -0.85887
[32 empty] | Cycle 3 | 12.552 | 13.6471 | 17.9811 | 10.6464 | 11.3557 | 15.1889 | 0.7583 | -0.8184
[32 empty] | Cycle 4 | 12.128 | 13.1863 | 17.3738 | 10.1837 | 10.8623 | 14.5289 | 0.74913 | -0.8348
[32 empty] | Cycle 5 | 11.7206 | 12.743 | 16.7903 | 9.7471 | 10.3969 | 13.9062 | 0.70263 | -0.83415
[32 empty] | Cycle 6 | 11.3309 | 12.3203 | 16.2322 | 9.3342 | 9.9566 | 13.3171 | 0.73902 | -0.8281
[32 empty] | Cycle 7 | 10.9511 | 11.9075 | 15.6882 | 8.9419 | 9.5388 | 12.7574 | 0.71949 | -0.81642
[32 empty] | Cycle 8 |  |  |  | 8.5708 | 9.143 | 12.228
26 | GIRMS\IRMS-operator | 2026-07-23 00:05 | 2026-07-23 01:29 | Running | FALSE | SHP2L |  | 26 | 2 | 14 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.002 V |  | 14.999 V | 9.4987 kV | 106 µbar | 106 µbar | Carbon Dioxide: -0.0013 kV | 115 µbar | 13.241 V | 17.273 V | 337 µbar/min | 2.785 V | 1.20E-007 mbar | 10 % | 1,053 µbar | 72 °C | µ-Volume |  | Pre | 12.965 | 14.0748 | 18.4773 | 13.4657 | 14.3632 | 19.2098 | -0.79845 | -5.8955 | -0.82117 | 0.018252 | 0.0064532 | -5.9201 | 0.018731 | 0.0066224 | -0.6595 | 0.018897 | -5.9246 | 0.018714
[32 empty] | Cycle 1 | 12.5037 | 13.5746 | 17.82 | 12.8379 | 13.6942 | 18.3145 | -0.80333 | -5.8963
[32 empty] | Cycle 2 | 12.0607 | 13.0937 | 17.1883 | 12.2499 | 13.0675 | 17.4757 | -0.81917 | -5.9255
[32 empty] | Cycle 3 | 11.6364 | 12.6338 | 16.5845 | 11.6969 | 12.4777 | 16.6872 | -0.80708 | -5.9075
[32 empty] | Cycle 4 | 11.2327 | 12.1958 | 16.0089 | 11.1759 | 11.9229 | 15.9446 | -0.84261 | -5.9442
[32 empty] | Cycle 5 | 10.8457 | 11.776 | 15.4574 | 10.6852 | 11.3998 | 15.2444 | -0.8464 | -5.941
[32 empty] | Cycle 6 | 10.4702 | 11.3688 | 14.9227 | 10.222 | 10.9061 | 14.5839 | -0.83477 | -5.922
[32 empty] | Cycle 7 | 10.1132 | 10.9814 | 14.4137 | 9.7785 | 10.4331 | 13.9511 | -0.81753 | -5.9287
[32 empty] | Cycle 8 |  |  |  | 9.3636 | 9.9904 | 13.359
27 | GIRMS\IRMS-operator | 2026-07-23 00:43 | 2026-07-23 01:55 | Running | FALSE | MD23-3677Q - G. ruber | 408-410 | 27 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 14.306 V | 9.4986 kV | 103 µbar | 113 µbar | Carbon Dioxide: -0.0014 kV | 1,097 µbar | 12.781 V | 16.423 V | 537 µbar/min | 12.806 V | 1.17E-007 mbar | 10 % | 1,046 µbar | 72 °C | µ-Volume | 13.296 V | Pre | 14.0327 | 15.2565 | 20.0994 | 13.0269 | 13.8958 | 18.5837 | 0.6626 | -0.88722 | 0.68162 | 0.016702 | 0.0059051 | -0.88718 | 0.0074952 | 0.0028329 | 0.76228 | 0.018101 | -0.88967 | 0.0075246
[32 empty] | Cycle 1 | 13.5416 | 14.7232 | 19.3965 | 12.4245 | 13.2533 | 17.7245 | 0.67599 | -0.87476
[32 empty] | Cycle 2 | 13.0671 | 14.208 | 18.7168 | 11.8593 | 12.6509 | 16.9183 | 0.69451 | -0.89209
[32 empty] | Cycle 3 | 12.6155 | 13.7174 | 18.0705 | 11.3278 | 12.0843 | 16.1605 | 0.67529 | -0.88248
[32 empty] | Cycle 4 | 12.1806 | 13.245 | 17.4476 | 10.8269 | 11.5506 | 15.4462 | 0.70024 | -0.88982
[32 empty] | Cycle 5 | 11.7636 | 12.792 | 16.8504 | 10.3551 | 11.0471 | 14.7733 | 0.69657 | -0.89844
[32 empty] | Cycle 6 | 11.3648 | 12.3584 | 16.2796 | 9.9097 | 10.5727 | 14.1378 | 0.65567 | -0.88546
[32 empty] | Cycle 7 | 10.9732 | 11.9334 | 15.7184 | 9.4884 | 10.1235 | 13.5372 | 0.69208 | -0.91476
[32 empty] | Cycle 8 |  |  |  | 9.0885 | 9.6972 | 12.9667
28 | GIRMS\IRMS-operator | 2026-07-23 01:29 | 2026-07-23 02:29 | Running | FALSE | MD23-3677Q - G. ruber | 404-406 | 28 | 2 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 11.563 V | 9.4985 kV | 106 µbar | 106 µbar | Carbon Dioxide: -0.0015 kV | 118 µbar | 10.735 V | 13.122 V | 342 µbar/min | 12.378 V | 1.04E-007 mbar | 13 % | 1,029 µbar | 72 °C | µ-Volume |  | Pre | 10.5235 | 11.4386 | 15.0733 | 10.9192 | 11.649 | 15.5775 | 0.27004 | -0.92287 | 0.26821 | 0.023034 | 0.0081437 | -0.92237 | 0.01925 | 0.0068058 | 0.3211 | 0.024369 | -0.92397 | 0.01925
[32 empty] | Cycle 1 | 10.1674 | 11.0522 | 14.5635 | 10.4396 | 11.1379 | 14.8938 | 0.29904 | -0.92444
[32 empty] | Cycle 2 | 9.8281 | 10.6834 | 14.0778 | 9.9889 | 10.6572 | 14.2509 | 0.26894 | -0.90409
[32 empty] | Cycle 3 | 9.503 | 10.3307 | 13.6122 | 9.5626 | 10.203 | 13.6425 | 0.29525 | -0.89784
[32 empty] | Cycle 4 | 9.1876 | 9.9879 | 13.1608 | 9.159 | 9.7726 | 13.067 | 0.26806 | -0.90599
[32 empty] | Cycle 5 | 8.8814 | 9.6549 | 12.7222 | 8.776 | 9.3643 | 12.5212 | 0.23159 | -0.93293
[32 empty] | Cycle 6 | 8.5878 | 9.3361 | 12.3018 | 8.4134 | 8.9775 | 12.004 | 0.24211 | -0.93512
[32 empty] | Cycle 7 | 8.3025 | 9.0264 | 11.893 | 8.0702 | 8.6116 | 11.5145 | 0.27062 | -0.9557
[32 empty] | Cycle 8 |  |  |  | 7.744 | 8.2636 | 11.049
29 | GIRMS\IRMS-operator | 2026-07-23 01:55 | 2026-07-23 03:08 | Running | FALSE | MD23-3677Q - G. ruber | 400-402 | 29 | 1 | 16 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 12.409 V | 9.4986 kV | 106 µbar | 113 µbar | Carbon Dioxide: -0.0014 kV | 1,158 µbar | 11.867 V | 14.111 V | 601 µbar/min | 10.417 V | 1.11E-007 mbar | 10 % | 1,041 µbar | 72 °C | µ-Volume |  | Pre | 11.7265 | 12.7505 | 16.7927 | 12.0861 | 12.8944 | 17.2425 | 0.59027 | -1.1276 | 0.57157 | 0.031488 | 0.011133 | -1.1184 | 0.022274 | 0.007875 | 0.65295 | 0.033694 | -1.1208 | 0.022297
[32 empty] | Cycle 1 | 11.3433 | 12.3332 | 16.2442 | 11.5396 | 12.3118 | 16.4625 | 0.53619 | -1.1235
[32 empty] | Cycle 2 | 10.9737 | 11.9318 | 15.7152 | 11.0282 | 11.7656 | 15.7336 | 0.58522 | -1.1402
[32 empty] | Cycle 3 | 10.6178 | 11.545 | 15.206 | 10.5445 | 11.2499 | 15.0438 | 0.59572 | -1.1156
[32 empty] | Cycle 4 | 10.273 | 11.1706 | 14.7121 | 10.0879 | 10.7626 | 14.3925 | 0.60751 | -1.1357
[32 empty] | Cycle 5 | 9.9446 | 10.8136 | 14.2424 | 9.6555 | 10.302 | 13.7755 | 0.56109 | -1.0851
[32 empty] | Cycle 6 | 9.6282 | 10.4699 | 13.7893 | 9.2467 | 9.8661 | 13.1921 | 0.58056 | -1.0839
[32 empty] | Cycle 7 | 9.3209 | 10.1354 | 13.3489 | 8.8603 | 9.4539 | 12.6411 | 0.51601 | -1.1352
[32 empty] | Cycle 8 |  |  |  | 8.4939 | 9.0636 | 12.119
30 | GIRMS\IRMS-operator | 2026-07-23 02:29 | 2026-07-23 03:48 | Running | FALSE | MD23-3677Q - G. ruber | 396-398 | 30 | 2 | 16 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 1.468 V | 9.4988 kV | 106 µbar | 887 µbar | Carbon Dioxide: -0.0012 kV | 120 µbar | 2.778 V | 1.564 V | 332 µbar/min | 2.777 V | 4.30E-008 mbar | 100 % | 963 µbar | 72 °C | µ-Volume | 1.391 V | Pre | 1.4249 | 1.5496 | 2.0398 | 2.8617 | 3.0534 | 4.0838 | 0.66422 | -1.7939 | 0.68205 | 0.0486 | 0.017183 | -1.7868 | 0.02832 | 0.010013 | 0.7959 | 0.051269 | -1.7903 | 0.028273
[32 empty] | Cycle 1 | 1.3913 | 1.5129 | 1.9915 | 2.7646 | 2.9497 | 3.9449 | 0.6584 | -1.8097
[32 empty] | Cycle 2 | 1.3583 | 1.4771 | 1.9443 | 2.6731 | 2.8519 | 3.8144 | 0.77255 | -1.7649
[32 empty] | Cycle 3 | 1.3259 | 1.4419 | 1.898 | 2.585 | 2.7579 | 3.6886 | 0.70947 | -1.7342
[32 empty] | Cycle 4 | 1.2943 | 1.4075 | 1.8526 | 2.5003 | 2.6676 | 3.5676 | 0.67486 | -1.8078
[32 empty] | Cycle 5 | 1.2634 | 1.374 | 1.8085 | 2.4185 | 2.5803 | 3.451 | 0.71708 | -1.7712
[32 empty] | Cycle 6 | 1.2334 | 1.3411 | 1.7654 | 2.3397 | 2.4962 | 3.3385 | 0.62858 | -1.7935
[32 empty] | Cycle 7 | 1.204 | 1.3093 | 1.7235 | 2.2637 | 2.4152 | 3.2302 | 0.63128 | -1.8194
[32 empty] | Cycle 8 |  |  |  | 2.1905 | 2.3371 | 3.1257
31 | GIRMS\IRMS-operator | 2026-07-23 03:08 | 2026-07-23 04:17 | Running | FALSE | SHP2L |  | 31 | 1 | 17 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 8.595 V | 9.4988 kV | 113 µbar | 111 µbar | Carbon Dioxide: -0.0012 kV | 154 µbar | 8.239 V | 9.629 V | 342 µbar/min | 2.761 V | 8.68E-008 mbar | 23 % | 1,007 µbar | 72 °C | µ-Volume |  | Pre | 8.1241 | 8.8202 | 11.5793 | 8.3541 | 8.9114 | 11.919 | -0.76652 | -5.9038 | -0.79254 | 0.03936 | 0.013916 | -5.9065 | 0.012044 | 0.0045522 | -0.61706 | 0.026704 | -5.911 | 0.0121
[32 empty] | Cycle 1 | 7.8756 | 8.5503 | 11.2247 | 8.0121 | 8.5468 | 11.4312 | -0.80294 | -5.9512
[32 empty] | Cycle 2 | 7.6359 | 8.2905 | 10.8836 | 7.6881 | 8.2013 | 10.9689 | -0.73552 | -5.9015
[32 empty] | Cycle 3 | 7.4055 | 8.04 | 10.5551 | 7.3796 | 7.8719 | 10.529 | -0.79287 | -5.9219
[32 empty] | Cycle 4 | 7.1825 | 7.7981 | 10.2374 | 7.0869 | 7.5601 | 10.1112 | -0.80014 | -5.9094
[32 empty] | Cycle 5 | 6.9683 | 7.5657 | 9.9322 | 6.8078 | 7.2625 | 9.7132 | -0.80213 | -5.9151
[32 empty] | Cycle 6 | 6.7609 | 7.3414 | 9.6366 | 6.5432 | 6.9803 | 9.3357 | -0.7694 | -5.9096
[32 empty] | Cycle 7 | 6.5588 | 7.1218 | 9.3489 | 6.2911 | 6.7125 | 8.976 | -0.87079 | -5.884
[32 empty] | Cycle 8 |  |  |  | 6.051 | 6.4563 | 8.6337
32 | GIRMS\IRMS-operator | 2026-07-23 03:48 | 2026-07-23 04:50 | Running | FALSE | MD23-3677Q - G. ruber | 392-394 | 32 | 2 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 9.945 V | 9.4987 kV | 108 µbar | 880 µbar | Carbon Dioxide: -0.0013 kV | 115 µbar | 9.697 V | 11.217 V | 347 µbar/min | 8.065 V | 9.62E-008 mbar | 17 % | 1,075 µbar | 72 °C | µ-Volume |  | Pre | 9.5471 | 10.3866 | 13.6801 | 9.8428 | 10.4988 | 14.0426 | 1.3807 | -0.58536 | 1.3789 | 0.017022 | 0.0064336 | -0.55564 | 0.017688 | 0.0062538 | 1.496 | 0.017906 | -0.55937 | 0.017672
[32 empty] | Cycle 1 | 9.2407 | 10.0536 | 13.2416 | 9.4218 | 10.0496 | 13.4423 | 1.3781 | -0.55827
[32 empty] | Cycle 2 | 8.9463 | 9.7333 | 12.8195 | 9.0234 | 9.6256 | 12.874 | 1.3466 | -0.57141
[32 empty] | Cycle 3 | 8.6639 | 9.4271 | 12.4154 | 8.6468 | 9.2236 | 12.3367 | 1.4431 | -0.53893
[32 empty] | Cycle 4 | 8.3901 | 9.1289 | 12.0228 | 8.2906 | 8.844 | 11.8286 | 1.3824 | -0.56346
[32 empty] | Cycle 5 | 8.1241 | 8.8396 | 11.642 | 7.9528 | 8.4837 | 11.3466 | 1.4037 | -0.53542
[32 empty] | Cycle 6 | 7.8676 | 8.5603 | 11.2744 | 7.6328 | 8.1423 | 10.8903 | 1.3749 | -0.53834
[32 empty] | Cycle 7 | 7.6216 | 8.2929 | 10.9217 | 7.3288 | 7.8181 | 10.4562 | 1.3857 | -0.55391
[32 empty] | Cycle 8 |  |  |  | 7.0392 | 7.5093 | 10.0434
33 | GIRMS\IRMS-operator | 2026-07-23 04:17 | 2026-07-23 05:27 | Running | FALSE | MD23-3677Q - G. ruber | 388-390 | 33 | 1 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 10.334 V | 9.4987 kV | 111 µbar | 118 µbar | Carbon Dioxide: -0.0013 kV | 1,141 µbar | 10.118 V | 11.678 V | 591 µbar/min | 9.443 V | 9.96E-008 mbar | 15 % | 1,024 µbar | 72 °C | µ-Volume |  | Pre | 9.9677 | 10.8431 | 14.271 | 10.2823 | 10.9672 | 14.6695 | 1.3002 | -1.3859 | 1.3276 | 0.041327 | 0.014611 | -1.3672 | 0.01413 | 0.0049957 | 1.4711 | 0.04418 | -1.3716 | 0.014137
[32 empty] | Cycle 1 | 9.6465 | 10.4943 | 13.8116 | 9.8383 | 10.494 | 14.0361 | 1.3191 | -1.3719
[32 empty] | Cycle 2 | 9.3405 | 10.1621 | 13.3733 | 9.4206 | 10.0487 | 13.4406 | 1.3736 | -1.3881
[32 empty] | Cycle 3 | 9.0459 | 9.8414 | 12.9519 | 9.0251 | 9.6269 | 12.8759 | 1.3152 | -1.3557
[32 empty] | Cycle 4 | 8.7605 | 9.5302 | 12.5433 | 8.6486 | 9.2259 | 12.3391 | 1.2502 | -1.3643
[32 empty] | Cycle 5 | 8.4871 | 9.2338 | 12.1522 | 8.2923 | 8.8451 | 11.8308 | 1.3721 | -1.3485
[32 empty] | Cycle 6 | 8.223 | 8.9463 | 11.7741 | 7.9544 | 8.4852 | 11.3489 | 1.3331 | -1.3653
[32 empty] | Cycle 7 | 7.9659 | 8.6666 | 11.4061 | 7.6333 | 8.1424 | 10.8911 | 1.3568 | -1.3575
[32 empty] | Cycle 8 |  |  |  | 7.3284 | 7.8173 | 10.456
34 | GIRMS\IRMS-operator | 2026-07-23 04:50 | 2026-07-23 06:09 | Running | FALSE | MD23-3677Q - G. ruber | 380-382 | 34 | 2 | 18 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 2.504 V | 9.4988 kV | 106 µbar | 1,019 µbar | Carbon Dioxide: -0.0012 kV | 118 µbar | 2.784 V | 2.697 V | 313 µbar/min | 2.785 V | 4.27E-008 mbar | 96 % | 1,053 µbar | 72 °C | µ-Volume | 2.348 V | Pre | 2.423 | 2.6354 | 3.4724 | 2.867 | 3.0591 | 4.0914 | 0.84554 | -0.65253 | 0.85885 | 0.028806 | 0.010184 | -0.64716 | 0.03478 | 0.012297 | 0.94292 | 0.030644 | -0.64979 | 0.034807
[32 empty] | Cycle 1 | 2.3605 | 2.5675 | 3.3828 | 2.7712 | 2.9566 | 3.9544 | 0.89689 | -0.6088
[32 empty] | Cycle 2 | 2.2996 | 2.5012 | 3.2953 | 2.6788 | 2.8582 | 3.8225 | 0.83501 | -0.70364
[32 empty] | Cycle 3 | 2.2418 | 2.4383 | 3.2125 | 2.5904 | 2.7638 | 3.6965 | 0.87362 | -0.67361
[32 empty] | Cycle 4 | 2.1856 | 2.3771 | 3.1321 | 2.5057 | 2.6733 | 3.5754 | 0.85559 | -0.59576
[32 empty] | Cycle 5 | 2.1305 | 2.3173 | 3.0531 | 2.4239 | 2.5861 | 3.4587 | 0.87564 | -0.65409
[32 empty] | Cycle 6 | 2.077 | 2.2589 | 2.9764 | 2.3451 | 2.5021 | 3.3463 | 0.80766 | -0.63075
[32 empty] | Cycle 7 | 2.0244 | 2.2019 | 2.901 | 2.2696 | 2.4215 | 3.2385 | 0.88088 | -0.65807
[32 empty] | Cycle 8 |  |  |  | 2.1966 | 2.3437 | 3.1345
35 | GIRMS\IRMS-operator | 2026-07-23 05:27 | 2026-07-23 06:39 | Running | FALSE | MD23-3677Q - G. ruber | 376-378 | 35 | 1 | 19 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 13.040 V | 9.4988 kV | 111 µbar | 113 µbar | Carbon Dioxide: -0.0012 kV | 1,107 µbar | 11.948 V | 14.926 V | 547 µbar/min | 2.764 V | 1.12E-007 mbar | 12 % | 1,041 µbar | 72 °C | µ-Volume |  | Pre | 11.7026 | 12.7219 | 16.7577 | 12.1429 | 12.951 | 17.3229 | 0.70227 | -1.1537 | 0.69365 | 0.04476 | 0.015825 | -1.1577 | 0.010848 | 0.0038355 | 0.78503 | 0.048064 | -1.1606 | 0.010903
[32 empty] | Cycle 1 | 11.3074 | 12.2933 | 16.1917 | 11.5937 | 12.3653 | 16.5394 | 0.76969 | -1.1621
[32 empty] | Cycle 2 | 10.9268 | 11.8791 | 15.6468 | 11.077 | 11.8146 | 15.8025 | 0.71091 | -1.1743
[32 empty] | Cycle 3 | 10.5631 | 11.4836 | 15.1265 | 10.5893 | 11.2945 | 15.1068 | 0.68874 | -1.1543
[32 empty] | Cycle 4 | 10.214 | 11.1044 | 14.6269 | 10.1287 | 10.8034 | 14.4501 | 0.69899 | -1.142
[32 empty] | Cycle 5 | 9.877 | 10.7384 | 14.1441 | 9.6937 | 10.3397 | 13.8296 | 0.71055 | -1.1716
[32 empty] | Cycle 6 | 9.5512 | 10.3838 | 13.6782 | 9.2826 | 9.9016 | 13.2435 | 0.61956 | -1.1519
[32 empty] | Cycle 7 | 9.2347 | 10.0401 | 13.2251 | 8.8941 | 9.4877 | 12.6894 | 0.64846 | -1.1521
[32 empty] | Cycle 8 |  |  |  | 8.5263 | 9.095 | 12.1647
36 | GIRMS\IRMS-operator | 2026-07-23 06:09 | 2026-07-23 07:11 | Running | FALSE | SHP2L |  | 36 | 2 | 19 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 1.850 V | 9.4986 kV | 106 µbar | 1,034 µbar | Carbon Dioxide: -0.0014 kV | 115 µbar | 2.681 V | 1.993 V | 313 µbar/min | 11.596 V | 4.81E-008 mbar | 100 % | 1,056 µbar | 72 °C | µ-Volume | 1.746 V | Pre | 1.7892 | 1.9427 | 2.5508 | 2.763 | 2.9476 | 3.9426 | -0.8026 | -5.7727 | -0.80397 | 0.019262 | 0.0072805 | -5.7172 | 0.046612 | 0.01648 | -0.64861 | 0.021375 | -5.7216 | 0.046676
[32 empty] | Cycle 1 | 1.7445 | 1.8941 | 2.4871 | 2.6703 | 2.8488 | 3.8102 | -0.81918 | -5.7179
[32 empty] | Cycle 2 | 1.7012 | 1.8474 | 2.4253 | 2.5822 | 2.7549 | 3.6844 | -0.6849 | -5.7157
[32 empty] | Cycle 3 | 1.6591 | 1.8015 | 2.3653 | 2.4974 | 2.6644 | 3.5632 | -0.79465 | -5.6804
[32 empty] | Cycle 4 | 1.618 | 1.7568 | 2.3069 | 2.4158 | 2.5774 | 3.4468 | -0.83454 | -5.6318
[32 empty] | Cycle 5 | 1.5773 | 1.7126 | 2.2487 | 2.337 | 2.4932 | 3.3344 | -0.80001 | -5.7402
[32 empty] | Cycle 6 | 1.5388 | 1.6709 | 2.1938 | 2.2609 | 2.412 | 3.2261 | -0.80378 | -5.7708
[32 empty] | Cycle 7 | 1.5015 | 1.6304 | 2.1407 | 2.1882 | 2.3346 | 3.1222 | -0.77306 | -5.7084
[32 empty] | Cycle 8 |  |  |  | 2.1183 | 2.2599 | 3.0224
37 | GIRMS\IRMS-operator | 2026-07-23 06:39 | 2026-07-23 07:48 | Running | FALSE | MD23-3677Q - G. ruber | 372-374 | 37 | 1 | 20 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 14.870 V | 9.4988 kV | 111 µbar | 113 µbar | Carbon Dioxide: -0.0012 kV | 992 µbar | 12.522 V | 17.043 V | 498 µbar/min | 2.664 V | 1.15E-007 mbar | 10 % | 1,063 µbar | 72 °C | µ-Volume | 13.609 V | Pre | 14.377 | 15.6248 | 20.5867 | 12.7567 | 13.6065 | 18.1987 | 0.33959 | -1.2063 | 0.36398 | 0.027309 | 0.0096551 | -1.2158 | 0.0051879 | 0.0019608 | 0.43432 | 0.029352 | -1.2179 | 0.0051949
[32 empty] | Cycle 1 | 13.867 | 15.0712 | 19.8569 | 12.169 | 12.9799 | 17.3605 | 0.33646 | -1.1922
[32 empty] | Cycle 2 | 13.3798 | 14.5418 | 19.1589 | 11.6188 | 12.3939 | 16.5757 | 0.34624 | -1.2208
[32 empty] | Cycle 3 | 12.9096 | 14.0314 | 18.4859 | 11.1008 | 11.8406 | 15.837 | 0.39541 | -1.2168
[32 empty] | Cycle 4 | 12.4654 | 13.549 | 17.85 | 10.6129 | 11.3208 | 15.1411 | 0.40394 | -1.214
[32 empty] | Cycle 5 | 12.0356 | 13.0812 | 17.2346 | 10.1532 | 10.8304 | 14.4855 | 0.33819 | -1.2192
[32 empty] | Cycle 6 | 11.6177 | 12.6279 | 16.6366 | 9.7184 | 10.3671 | 13.8651 | 0.37871 | -1.2127
[32 empty] | Cycle 7 | 11.2178 | 12.1936 | 16.064 | 9.307 | 9.9283 | 13.2786 | 0.37334 | -1.2205
[32 empty] | Cycle 8 |  |  |  | 8.9168 | 9.5125 | 12.7217
38 | GIRMS\IRMS-operator | 2026-07-23 07:11 | 2026-07-23 08:29 | Running | FALSE | MD23-3677Q - G. ruber | 368-370 | 38 | 2 | 20 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 5.293 V | 9.4988 kV | 108 µbar | 1,029 µbar | Carbon Dioxide: -0.0012 kV | 111 µbar | 5.251 V | 5.833 V | 352 µbar/min | 2.785 V | 6.24E-008 mbar | 42 % | 1,080 µbar | 72 °C | µ-Volume |  | Pre | 5.138 | 5.5888 | 7.3618 | 5.3434 | 5.7007 | 7.6245 | 1.0135 | -0.77383 | 0.99859 | 0.0413 | 0.014602 | -0.75361 | 0.023632 | 0.0083552 | 1.0964 | 0.04391 | -0.75668 | 0.023627
[32 empty] | Cycle 1 | 4.9926 | 5.4307 | 7.1535 | 5.1455 | 5.4893 | 7.342 | 1.032 | -0.76823
[32 empty] | Cycle 2 | 4.8499 | 5.2755 | 6.9492 | 4.9574 | 5.2889 | 7.0739 | 0.95843 | -0.7522
[32 empty] | Cycle 3 | 4.7112 | 5.1247 | 6.7503 | 4.7769 | 5.097 | 6.8161 | 0.94957 | -0.77948
[32 empty] | Cycle 4 | 4.5773 | 4.9794 | 6.5586 | 4.6043 | 4.9123 | 6.5699 | 1.0648 | -0.73766
[32 empty] | Cycle 5 | 4.4474 | 4.8378 | 6.3726 | 4.4392 | 4.7361 | 6.3341 | 1.0264 | -0.71698
[32 empty] | Cycle 6 | 4.3219 | 4.7011 | 6.1928 | 4.2805 | 4.5666 | 6.1078 | 0.97075 | -0.72794
[32 empty] | Cycle 7 | 4.2008 | 4.5696 | 6.0191 | 4.1285 | 4.405 | 5.891 | 0.9732 | -0.7726
[32 empty] | Cycle 8 |  |  |  | 3.9829 | 4.2493 | 5.6834
39 | GIRMS\IRMS-operator | 2026-07-23 07:48 | 2026-07-23 09:00 | Running | FALSE | MD23-3677Q - G. ruber | 364-366 | 39 | 1 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.360 V | 9.4988 kV | 108 µbar | 113 µbar | Carbon Dioxide: -0.0012 kV | 980 µbar | 10.527 V | 13.003 V | 376 µbar/min | 5.185 V | 1.03E-007 mbar | 15 % | 1,036 µbar | 72 °C | µ-Volume |  | Pre | 10.4449 | 11.3561 | 14.9607 | 10.6693 | 11.3809 | 15.2211 | 0.67007 | -0.9218 | 0.61517 | 0.051347 | 0.018154 | -0.92902 | 0.011737 | 0.0041495 | 0.6926 | 0.054828 | -0.93141 | 0.011719
[32 empty] | Cycle 1 | 10.1038 | 10.9855 | 14.4725 | 10.2045 | 10.8857 | 14.5585 | 0.65121 | -0.93728
[32 empty] | Cycle 2 | 9.775 | 10.6275 | 14.0018 | 9.7651 | 10.4171 | 13.9319 | 0.56703 | -0.93129
[32 empty] | Cycle 3 | 9.4616 | 10.2864 | 13.5529 | 9.349 | 9.9737 | 13.3383 | 0.51434 | -0.93444
[32 empty] | Cycle 4 | 9.1564 | 9.9554 | 13.116 | 8.9569 | 9.5554 | 12.7791 | 0.62174 | -0.92177
[32 empty] | Cycle 5 | 8.8632 | 9.6365 | 12.6962 | 8.5857 | 9.1589 | 12.2495 | 0.654 | -0.91567
[32 empty] | Cycle 6 | 8.5811 | 9.3291 | 12.2923 | 8.2331 | 8.7824 | 11.7465 | 0.61769 | -0.91903
[32 empty] | Cycle 7 | 8.3084 | 9.0328 | 11.9014 | 7.899 | 8.4257 | 11.2702 | 0.62527 | -0.9509
[32 empty] | Cycle 8 |  |  |  | 7.5815 | 8.0876 | 10.8172
40 | GIRMS\IRMS-operator | 2026-07-23 08:29 | 2026-07-23 09:32 | Running | FALSE | MD23-3677Q - G. ruber | 360-362 | 40 | 2 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 8.991 V | 9.4987 kV | 108 µbar | 701 µbar | Carbon Dioxide: -0.0013 kV | 120 µbar | 8.423 V | 10.123 V | 147 µbar/min | 10.240 V | 8.81E-008 mbar | 21 % | 1,043 µbar | 72 °C | µ-Volume |  | Pre | 8.2648 | 8.9856 | 11.8454 | 8.5495 | 9.1204 | 12.1974 | 0.58189 | -0.34481 | 0.55317 | 0.025856 | 0.0091414 | -0.36645 | 0.021803 | 0.0077087 | 0.60545 | 0.027488 | -0.36809 | 0.021813
[32 empty] | Cycle 1 | 8.0045 | 8.703 | 11.4725 | 8.1977 | 8.7454 | 11.696 | 0.58705 | -0.36953
[32 empty] | Cycle 2 | 7.7536 | 8.4302 | 11.1131 | 7.865 | 8.3909 | 11.2216 | 0.56413 | -0.34643
[32 empty] | Cycle 3 | 7.5115 | 8.1671 | 10.7661 | 7.5487 | 8.0533 | 10.77 | 0.56899 | -0.36483
[32 empty] | Cycle 4 | 7.2754 | 7.9101 | 10.4276 | 7.2482 | 7.7329 | 10.3418 | 0.52772 | -0.38147
[32 empty] | Cycle 5 | 7.0445 | 7.6592 | 10.0966 | 6.9624 | 7.4282 | 9.9339 | 0.53339 | -0.39141
[32 empty] | Cycle 6 | 6.8263 | 7.4221 | 9.784 | 6.6857 | 7.1329 | 9.5391 | 0.54377 | -0.39482
[32 empty] | Cycle 7 | 6.6143 | 7.1918 | 9.4806 | 6.4264 | 6.8564 | 9.1693 | 0.5184 | -0.33829
[32 empty] | Cycle 8 |  |  |  | 6.1796 | 6.5935 | 8.8168
41 | GIRMS\IRMS-operator | 2026-07-23 09:00 | 2026-07-23 10:08 | Running | FALSE | SHP2L |  | 41 | 1 | 22 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 0.010 V | 9.4987 kV | 111 µbar | 113 µbar | Carbon Dioxide: -0.0013 kV | 1,085 µbar | 2.617 V | 0.011 V | 669 µbar/min | 8.238 V | 4.15E-008 mbar | 100 % | 120 µbar | 72 °C | µ-Volume | 0.015 V | Pre | 0.010942 | 0.011718 | 0.0155 | 2.7003 | 2.8815 | 3.8532 | -14.6504 | -12.0829 | -14.2382 | 0.5113 | 0.18077 | -12.9707 | 0.53648 | 0.20277 | -14.7451 | 0.56171 | -12.9524 | 0.53692
[32 empty] | Cycle 1 | 0.0105 | 0.011251 | 0.014866 | 2.6062 | 2.781 | 3.7188 | -14.176 | -12.7062
[32 empty] | Cycle 2 | 0.010249 | 0.010986 | 0.014503 | 2.5196 | 2.6885 | 3.5953 | -13.7219 | -13.1631
[32 empty] | Cycle 3 | 0.010064 | 0.010791 | 0.014215 | 2.4367 | 2.6 | 3.4769 | -13.4576 | -14.9343
[32 empty] | Cycle 4 | 0.0098876 | 0.010584 | 0.013983 | 2.3572 | 2.5152 | 3.3634 | -15.0966 | -13.7175
[32 empty] | Cycle 5 | 0.0097168 | 0.010411 | 0.013746 | 2.2808 | 2.4337 | 3.2543 | -14.1999 | -13.4218
[32 empty] | Cycle 6 | 0.0095668 | 0.010248 | 0.01354 | 2.2071 | 2.3552 | 3.1493 | -14.4317 | -12.9969
[32 empty] | Cycle 7 | 0.0094159 | 0.010088 | 0.01333 | 2.136 | 2.2793 | 3.048 | -14.1714 | -12.7067
[32 empty] | Cycle 8 |  |  |  | 2.0675 | 2.206 | 2.9501
42 | GIRMS\IRMS-operator | 2026-07-23 09:32 | 2026-07-23 10:49 | Running | FALSE | MD23-3677Q - G. ruber | 344-346 | 42 | 2 | 22 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 3.152 V | 9.4987 kV | 106 µbar | 929 µbar | Carbon Dioxide: -0.0013 kV | 123 µbar | 3.143 V | 3.423 V | 151 µbar/min | 2.781 V | 4.58E-008 mbar | 74 % | 1,021 µbar | 72 °C | µ-Volume |  | Pre | 3.0567 | 3.3248 | 4.378 | 3.2274 | 3.4433 | 4.6054 | 0.95357 | -1.1954 | 0.95119 | 0.035878 | 0.012685 | -1.1971 | 0.017454 | 0.0065971 | 1.0624 | 0.038392 | -1.2005 | 0.017462
[32 empty] | Cycle 1 | 2.9755 | 3.2363 | 4.2616 | 3.1178 | 3.3264 | 4.4488 | 0.88796 | -1.1998
[32 empty] | Cycle 2 | 2.8965 | 3.1505 | 4.1482 | 3.0128 | 3.2144 | 4.2991 | 0.95734 | -1.2675
[32 empty] | Cycle 3 | 2.8192 | 3.0665 | 4.0377 | 2.9118 | 3.1065 | 4.1549 | 0.97955 | -1.217
[32 empty] | Cycle 4 | 2.7445 | 2.9853 | 3.9306 | 2.8148 | 3.0029 | 4.0165 | 0.9632 | -1.215
[32 empty] | Cycle 5 | 2.6721 | 2.9067 | 3.8272 | 2.7214 | 2.9035 | 3.8831 | 0.97044 | -1.1655
[32 empty] | Cycle 6 | 2.6017 | 2.8298 | 3.7261 | 2.6315 | 2.8077 | 3.7549 | 0.90609 | -1.1998
[32 empty] | Cycle 7 | 2.5337 | 2.7561 | 3.6289 | 2.5453 | 2.7155 | 3.6319 | 0.99139 | -1.1871
[32 empty] | Cycle 8 |  |  |  | 2.4621 | 2.6268 | 3.5133
43 | GIRMS\IRMS-operator | 2026-07-23 10:08 | 2026-07-23 11:20 | Running | FALSE | MD23-3677Q - G. ruber | 340-342 | 43 | 1 | 23 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 13.972 V | 9.4986 kV | 108 µbar | 115 µbar | Carbon Dioxide: -0.0014 kV | 1,043 µbar | 12.801 V | 15.951 V | 532 µbar/min | 3.117 V | 1.17E-007 mbar | 10 % | 1,058 µbar | 72 °C | µ-Volume |  | Pre | 12.5408 | 13.633 | 17.9496 | 13.0242 | 13.8894 | 18.579 | 0.77155 | -1.5489 | 0.78436 | 0.010409 | 0.0039341 | -1.5655 | 0.017115 | 0.0060511 | 0.89707 | 0.011332 | -1.5689 | 0.017161
[32 empty] | Cycle 1 | 12.1219 | 13.178 | 17.3503 | 12.4232 | 13.2494 | 17.7215 | 0.77937 | -1.5436
[32 empty] | Cycle 2 | 11.7148 | 12.736 | 16.7677 | 11.8593 | 12.6477 | 16.9175 | 0.80185 | -1.5649
[32 empty] | Cycle 3 | 11.3247 | 12.3121 | 16.2096 | 11.3275 | 12.0811 | 16.1592 | 0.78369 | -1.5851
[32 empty] | Cycle 4 | 10.9431 | 11.898 | 15.6636 | 10.8259 | 11.5464 | 15.4445 | 0.83936 | -1.5868
[32 empty] | Cycle 5 | 10.573 | 11.4956 | 15.1344 | 10.353 | 11.0421 | 14.7696 | 0.78007 | -1.549
[32 empty] | Cycle 6 | 10.2192 | 11.1121 | 14.628 | 9.9071 | 10.5678 | 14.1337 | 0.79481 | -1.5661
[32 empty] | Cycle 7 | 9.8808 | 10.7443 | 14.1434 | 9.4852 | 10.1183 | 13.5318 | 0.77916 | -1.5791
[32 empty] | Cycle 8 |  |  |  | 9.0854 | 9.6918 | 12.9616
44 | GIRMS\IRMS-operator | 2026-07-23 10:49 | 2026-07-23 11:50 | Running | FALSE | MD23-3677Q - G. ruber | 336-338 | 44 | 2 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 12.494 V | 9.4986 kV | 113 µbar | 111 µbar | Carbon Dioxide: -0.0014 kV | 123 µbar | 12.406 V | 14.203 V | 303 µbar/min | 12.406 V | 1.15E-007 mbar | 10 % | 1,060 µbar | 72 °C | µ-Volume |  | Pre | 12.8862 | 14.0109 | 18.4464 | 12.6389 | 13.4793 | 18.0297 | 0.89238 | -1.4606 | 0.90569 | 0.039083 | 0.013818 | -1.4728 | 0.011886 | 0.0042023 | 1.0236 | 0.041971 | -1.4765 | 0.011929
[32 empty] | Cycle 1 | 12.4387 | 13.5258 | 17.8059 | 12.0608 | 12.8635 | 17.2056 | 0.92254 | -1.4764
[32 empty] | Cycle 2 | 12.0104 | 13.0605 | 17.1932 | 11.5175 | 12.2852 | 16.4305 | 0.90473 | -1.4546
[32 empty] | Cycle 3 | 11.5996 | 12.6145 | 16.6048 | 11.0067 | 11.7405 | 15.702 | 0.92949 | -1.4823
[32 empty] | Cycle 4 | 11.2054 | 12.1849 | 16.0408 | 10.5245 | 11.2267 | 15.0142 | 0.88416 | -1.4664
[32 empty] | Cycle 5 | 10.8254 | 11.7724 | 15.4967 | 10.0682 | 10.7389 | 14.3634 | 0.98121 | -1.4837
[32 empty] | Cycle 6 | 10.4652 | 11.3803 | 14.9816 | 9.6378 | 10.2801 | 13.7494 | 0.85391 | -1.4704
[32 empty] | Cycle 7 | 10.1146 | 11.0001 | 14.4796 | 9.2299 | 9.8465 | 13.168 | 0.87712 | -1.4883
[32 empty] | Cycle 8 |  |  |  | 8.8444 | 9.4352 | 12.6178
45 | GIRMS\IRMS-operator | 2026-07-23 11:20 | 2026-07-23 12:28 | Running | FALSE | MD23-3677Q - G. ruber | 332-334 | 45 | 1 | 24 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 12.209 V | 9.4986 kV | 108 µbar | 113 µbar | Carbon Dioxide: -0.0014 kV | 1,085 µbar | 12.180 V | 13.860 V | 459 µbar/min | 11.991 V | 1.13E-007 mbar | 10 % | 1,038 µbar | 72 °C | µ-Volume |  | Pre | 11.9841 | 13.0312 | 17.1586 | 12.4176 | 13.2432 | 17.7141 | 0.93623 | -1.2588 | 0.88224 | 0.03796 | 0.013421 | -1.2456 | 0.013335 | 0.0047147 | 0.99008 | 0.040688 | -1.249 | 0.013362
[32 empty] | Cycle 1 | 11.5868 | 12.5997 | 16.5902 | 11.8543 | 12.6443 | 16.9109 | 0.89475 | -1.2351
[32 empty] | Cycle 2 | 11.2067 | 12.1862 | 16.0458 | 11.3243 | 12.0793 | 16.1549 | 0.91529 | -1.2523
[32 empty] | Cycle 3 | 10.8429 | 11.79 | 15.5257 | 10.8227 | 11.5432 | 15.4395 | 0.89104 | -1.2217
[32 empty] | Cycle 4 | 10.4917 | 11.4081 | 15.0226 | 10.3504 | 11.0397 | 14.7659 | 0.88632 | -1.2515
[32 empty] | Cycle 5 | 10.1548 | 11.0417 | 14.5407 | 9.9053 | 10.565 | 14.1313 | 0.85917 | -1.2386
[32 empty] | Cycle 6 | 9.8287 | 10.687 | 14.0738 | 9.484 | 10.116 | 13.5302 | 0.81202 | -1.2454
[32 empty] | Cycle 7 | 9.517 | 10.3488 | 13.6276 | 9.0848 | 9.6905 | 12.9611 | 0.86308 | -1.2617
[32 empty] | Cycle 8 |  |  |  | 8.7066 | 9.2871 | 12.4216
46 | GIRMS\IRMS-operator | 2026-07-23 11:50 | 2026-07-23 13:11 | Running | FALSE | SHP2L |  | 46 | 2 | 24 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 0.033 V | 9.4987 kV | 103 µbar | 1,114 µbar | Carbon Dioxide: -0.0013 kV | 113 µbar | 2.780 V | 0.031 V | 337 µbar/min | 2.779 V | 4.27E-008 mbar | 100 % | 1,104 µbar | 72 °C | µ-Volume | 0.034 V | Pre | 0.031187 | 0.033605 | 0.04398 | 2.8647 | 3.0564 | 4.0879 | -8.3905 | -16.5727 | -7.7208 | 0.50488 | 0.1785 | -16.0849 | 0.31625 | 0.11181 | -7.6645 | 0.53904 | -16.1753 | 0.20108
[32 empty] | Cycle 1 | 0.030555 | 0.032947 | 0.043115 | 2.7642 | 2.9489 | 3.9442 | -7.6845 | -15.9384
[32 empty] | Cycle 2 | 0.030095 | 0.032433 | 0.042455 | 2.6705 | 2.849 | 3.8104 | -8.2242 | -16.1694
[32 empty] | Cycle 3 | 0.029662 | 0.031977 | 0.041845 | 2.5819 | 2.7544 | 3.6839 | -7.896 | -16.1199
[32 empty] | Cycle 4 | 0.029236 | 0.03152 | 0.041274 | 2.497 | 2.6639 | 3.5628 | -7.8736 | -15.4526
[32 empty] | Cycle 5 | 0.028836 | 0.031095 | 0.040686 | 2.4151 | 2.5767 | 3.4463 | -7.654 | -16.0195
[32 empty] | Cycle 6 | 0.028438 | 0.03068 | 0.040116 | 2.3365 | 2.4926 | 3.3337 | -7.1717 | -16.2125
[32 empty] | Cycle 7 | 0.028037 | 0.030258 | 0.039552 | 2.2608 | 2.4119 | 3.226 | -6.8717 | -16.1944
[32 empty] | Cycle 8 |  |  |  | 2.1877 | 2.3342 | 3.1216