## Sheet1
New Table
Sample | [12 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[32 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[32 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-05-13 13:11 | 2026-05-13 14:05 | Success | FALSE | SHP2L |  | 1 | 2 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 3.307 V | 9.5174 kV | 69 µbar | 579 µbar | Carbon Dioxide: 0.0174 kV | 1,148 µbar | 3.077 V | 3.615 V | 1,314 µbar/min | 1.837 V | 5.41E-008 mbar | 55 % | 748 µbar | 72 °C | µ-Volume |  | Pre | 3.057 | 3.3188 | 4.3579 | 3.1501 | 3.3627 | 4.4976 | -1.5156 | -6.4287 | -1.4855 | 0.031446 | 0.011118 | -6.4349 | 0.01503 | 0.0056806 | -1.351 | 0.033617 | -6.4384 | 0.015067
[31 empty] | Cycle 1 | 2.9717 | 3.2261 | 4.2362 | 3.0438 | 3.2491 | 4.3457 | -1.5244 | -6.429
[31 empty] | Cycle 2 | 2.8895 | 3.1369 | 4.1188 | 2.9415 | 3.1399 | 4.1996 | -1.5048 | -6.4924
[31 empty] | Cycle 3 | 2.8104 | 3.0509 | 4.0062 | 2.8435 | 3.0352 | 4.0596 | -1.4925 | -6.427
[31 empty] | Cycle 4 | 2.7335 | 2.9675 | 3.8966 | 2.7496 | 2.935 | 3.9255 | -1.4762 | -6.4178
[31 empty] | Cycle 5 | 2.6588 | 2.8865 | 3.7901 | 2.6592 | 2.8385 | 3.7966 | -1.445 | -6.4563
[31 empty] | Cycle 6 | 2.586 | 2.8073 | 3.6863 | 2.5722 | 2.7455 | 3.6724 | -1.4882 | -6.4559
[31 empty] | Cycle 7 | 2.5149 | 2.7304 | 3.585 | 2.4882 | 2.656 | 3.5525 | -1.4371 | -6.4295
[31 empty] | Cycle 8 |  |  |  | 2.4071 | 2.5695 | 3.4366
2 | GIRMS\IRMS-operator | 2026-05-13 13:43 | 2026-05-13 14:33 | Success | FALSE | MD23-3678 - G. ruber | 1857 | 2 | 2 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 16.153 V | 9.5173 kV | 84 µbar | 101 µbar | Carbon Dioxide: 0.0173 kV | 870 µbar | 14.411 V | 18.662 V | 230 µbar/min | 3.032 V | 1.31E-007 mbar | 10 % | 887 µbar | 72 °C | µ-Volume | 14.776 V | Pre | 15.66 | 17.0368 | 22.4386 | 15.095 | 16.1038 | 21.5454 | 1.1811 | -1.0359 | 1.1537 | 0.024885 | 0.0087982 | -1.0524 | 0.016417 | 0.0058042 | 1.2734 | 0.02636 | -1.0562 | 0.016409
[31 empty] | Cycle 1 | 15.0718 | 16.3969 | 21.5961 | 14.3677 | 15.3283 | 20.5073 | 1.1415 | -1.0384
[31 empty] | Cycle 2 | 14.5095 | 15.7857 | 20.79 | 13.686 | 14.6017 | 19.5347 | 1.1375 | -1.0717
[31 empty] | Cycle 3 | 13.979 | 15.2096 | 20.0308 | 13.0475 | 13.9209 | 18.6235 | 1.1455 | -1.0338
[31 empty] | Cycle 4 | 13.4709 | 14.657 | 19.3022 | 12.4459 | 13.2804 | 17.765 | 1.1177 | -1.0773
[31 empty] | Cycle 5 | 12.9827 | 14.1261 | 18.6033 | 11.8805 | 12.6767 | 16.9582 | 1.1415 | -1.0551
[31 empty] | Cycle 6 | 12.5111 | 13.6137 | 17.928 | 11.3492 | 12.11 | 16.1999 | 1.1806 | -1.0477
[31 empty] | Cycle 7 | 12.0649 | 13.1288 | 17.2887 | 10.8478 | 11.5753 | 15.4847 | 1.1843 | -1.0594
[31 empty] | Cycle 8 |  |  |  | 10.3749 | 11.0713 | 14.8098
3 | GIRMS\IRMS-operator | 2026-05-13 14:05 | 2026-05-13 15:06 | Success | FALSE | MD23-3678 - G. ruber | 1849 | 1 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.968 V | 9.5172 kV | 98 µbar | 582 µbar | Carbon Dioxide: 0.0172 kV | 1,222 µbar | 11.775 V | 13.657 V | 1,158 µbar/min | 13.416 V | 1.14E-007 mbar | 12 % | 911 µbar | 72 °C | µ-Volume |  | Pre | 11.5769 | 12.5947 | 16.5917 | 12.2457 | 13.0657 | 17.4785 | 1.0534 | -0.84148 | 1.0444 | 0.02599 | 0.0091889 | -0.85302 | 0.0073008 | 0.0027595 | 1.1492 | 0.027702 | -0.8563 | 0.0073083
[31 empty] | Cycle 1 | 11.1792 | 12.1623 | 16.0218 | 11.693 | 12.4763 | 16.6902 | 1.0423 | -0.84749
[31 empty] | Cycle 2 | 10.7982 | 11.7487 | 15.4758 | 11.1724 | 11.9214 | 15.9471 | 1.0724 | -0.85863
[31 empty] | Cycle 3 | 10.434 | 11.3521 | 14.9543 | 10.6811 | 11.3979 | 15.2464 | 1.0073 | -0.85051
[31 empty] | Cycle 4 | 10.0851 | 10.9729 | 14.4538 | 10.2182 | 10.9038 | 14.5857 | 1.0301 | -0.89116
[31 empty] | Cycle 5 | 9.748 | 10.6063 | 13.9711 | 9.7801 | 10.4364 | 13.9602 | 1.0454 | -0.86226
[31 empty] | Cycle 6 | 9.4216 | 10.2517 | 13.5035 | 9.3658 | 9.9944 | 13.3691 | 1.085 | -0.85208
[31 empty] | Cycle 7 | 9.1131 | 9.9156 | 13.0614 | 8.9742 | 9.5768 | 12.81 | 1.0193 | -0.85867
[31 empty] | Cycle 8 |  |  |  | 8.6027 | 9.1805 | 12.2801
4 | GIRMS\IRMS-operator | 2026-05-13 14:33 | 2026-05-13 15:47 | Success | FALSE | MD23-3678 - G. ruber | 1845 | 2 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 12.139 V | 9.5174 kV | 101 µbar | 111 µbar | Carbon Dioxide: 0.0174 kV | 924 µbar | 11.224 V | 13.829 V | 352 µbar/min | 11.058 V | 1.10E-007 mbar | 12 % | 897 µbar | 72 °C | µ-Volume |  | Pre | 10.9891 | 11.956 | 15.7482 | 11.6791 | 12.4622 | 16.6704 | 1.0361 | -0.93766 | 1.0332 | 0.015877 | 0.0056132 | -0.95803 | 0.015038 | 0.0053168 | 1.141 | 0.01686 | -0.96139 | 0.015046
[31 empty] | Cycle 1 | 10.6191 | 11.5538 | 15.2179 | 11.1597 | 11.9081 | 15.9292 | 1.0608 | -0.95279
[31 empty] | Cycle 2 | 10.2655 | 11.1692 | 14.7113 | 10.6706 | 11.3863 | 15.2311 | 1.0387 | -0.94113
[31 empty] | Cycle 3 | 9.9257 | 10.7996 | 14.2246 | 10.2089 | 10.8944 | 14.5723 | 1.0073 | -0.95169
[31 empty] | Cycle 4 | 9.5988 | 10.444 | 13.7561 | 9.7716 | 10.4277 | 13.9484 | 1.0293 | -0.96197
[31 empty] | Cycle 5 | 9.287 | 10.1049 | 13.3094 | 9.358 | 9.9862 | 13.3583 | 1.0362 | -0.97241
[31 empty] | Cycle 6 | 8.9834 | 9.7748 | 12.8745 | 8.966 | 9.5682 | 12.7989 | 1.0395 | -0.96538
[31 empty] | Cycle 7 | 8.6921 | 9.4579 | 12.4568 | 8.5951 | 9.1726 | 12.2695 | 1.0181 | -0.98124
[31 empty] | Cycle 8 |  |  |  | 8.2428 | 8.7968 | 11.7664
5 | GIRMS\IRMS-operator | 2026-05-13 15:06 | 2026-05-13 15:37 | Error | FALSE | MD23-3678 - G. ruber | 1841 | 1 | 4 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  |  |  | 108 µbar | [10 empty] | 72 °C |  |  | Pre
6 | GIRMS\IRMS-operator | 2026-05-13 15:37 | 2026-05-13 16:24 | Success | FALSE | SHP2L |  | 2 | 4 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 1.525 V | 9.5173 kV |  | 638 µbar | Carbon Dioxide: 0.0173 kV | 1,026 µbar | 1.431 V | 1.633 V | 405 µbar/min | 10.537 V | 3.89E-008 mbar | 95 % | 753 µbar | 72 °C | µ-Volume |  | Pre | 1.4072 | 1.5283 | 2.0076 | 1.4903 | 1.5908 | 2.1275 | -1.0304 | -5.4951 | -1.0337 | 0.030204 | 0.010679 | -5.5216 | 0.014239 | 0.0053817 | -0.90202 | 0.032149 | -5.5252 | 0.014241
[31 empty] | Cycle 1 | 1.3732 | 1.4914 | 1.959 | 1.4448 | 1.5422 | 2.0624 | -1.0243 | -5.4613
[31 empty] | Cycle 2 | 1.3408 | 1.4561 | 1.9127 | 1.4005 | 1.4949 | 1.9991 | -1.0778 | -5.5223
[31 empty] | Cycle 3 | 1.3088 | 1.4213 | 1.867 | 1.3579 | 1.4494 | 1.9384 | -1.0657 | -5.5277
[31 empty] | Cycle 4 | 1.2772 | 1.3871 | 1.8221 | 1.3168 | 1.4055 | 1.8797 | -1.0363 | -5.5278
[31 empty] | Cycle 5 | 1.2466 | 1.3538 | 1.7783 | 1.2772 | 1.3632 | 1.8232 | -1.0318 | -5.5196
[31 empty] | Cycle 6 | 1.2166 | 1.3213 | 1.7355 | 1.2385 | 1.322 | 1.7679 | -1.027 | -5.5419
[31 empty] | Cycle 7 | 1.187 | 1.2892 | 1.6934 | 1.201 | 1.2818 | 1.7143 | -0.97656 | -5.5167
[31 empty] | Cycle 8 |  |  |  | 1.1646 | 1.2432 | 1.6625
7 | GIRMS\IRMS-operator | 2026-05-13 15:47 | 2026-05-13 16:58 | Success | FALSE | MD23-3678 - G. ruber | 1233 | 1 | 5 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 18.770 V | 9.5176 kV | 98 µbar | 130 µbar | Carbon Dioxide: 0.0176 kV | 1,161 µbar | 11.513 V | 21.865 V | 752 µbar/min | 1.420 V | 1.13E-007 mbar | 10 % | 929 µbar | 72 °C | µ-Volume | 17.014 V | Pre | 18.0963 | 19.678 | 25.9376 | 12.057 | 12.8629 | 17.2112 | 0.71336 | -0.84953 | 0.76194 | 0.030025 | 0.010616 | -0.86418 | 0.014554 | 0.0051455 | 0.84725 | 0.032095 | -0.86682 | 0.014565
[31 empty] | Cycle 1 | 17.3914 | 18.9123 | 24.9272 | 11.5148 | 12.2843 | 16.4373 | 0.73807 | -0.86429
[31 empty] | Cycle 2 | 16.7266 | 18.1899 | 23.9741 | 11.0038 | 11.7398 | 15.7081 | 0.73665 | -0.89255
[31 empty] | Cycle 3 | 16.0902 | 17.4986 | 23.0628 | 10.5219 | 11.2257 | 15.0206 | 0.76458 | -0.86368
[31 empty] | Cycle 4 | 15.4879 | 16.8443 | 22.1996 | 10.0678 | 10.7416 | 14.3722 | 0.76777 | -0.85966
[31 empty] | Cycle 5 | 14.9053 | 16.2113 | 21.365 | 9.6387 | 10.2842 | 13.7598 | 0.78651 | -0.84711
[31 empty] | Cycle 6 | 14.348 | 15.6058 | 20.5661 | 9.2321 | 9.8504 | 13.1795 | 0.79285 | -0.87595
[31 empty] | Cycle 7 | 13.8258 | 15.0381 | 19.8182 | 8.8472 | 9.4402 | 12.6304 | 0.79573 | -0.86064
[31 empty] | Cycle 8 |  |  |  | 8.4832 | 9.0518 | 12.1107
8 | GIRMS\IRMS-operator | 2026-05-13 16:24 | 2026-05-13 17:31 | Success | FALSE | MD23-3678 - G. ruber | 1229 | 2 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 19.525 V | 9.5175 kV | 106 µbar | 106 µbar | Carbon Dioxide: 0.0175 kV | 977 µbar | 10.721 V | 22.857 V | 332 µbar/min | 10.750 V | 1.08E-007 mbar | 10 % | 941 µbar | 72 °C | µ-Volume | 17.809 V | Pre | 19.0118 | 20.6696 | 27.2479 | 11.2342 | 11.9846 | 16.0359 | 0.53589 | -0.88961 | 0.61248 | 0.06709 | 0.02372 | -0.85636 | 0.031611 | 0.011176 | 0.68704 | 0.070758 | -0.85866 | 0.031511
[31 empty] | Cycle 1 | 18.236 | 19.8274 | 26.1368 | 10.7413 | 11.4594 | 15.3331 | 0.54436 | -0.89252
[31 empty] | Cycle 2 | 17.5027 | 19.0312 | 25.0866 | 10.2744 | 10.9619 | 14.6668 | 0.53721 | -0.87198
[31 empty] | Cycle 3 | 16.8126 | 18.2819 | 24.0972 | 9.8346 | 10.4934 | 14.0391 | 0.60399 | -0.87506
[31 empty] | Cycle 4 | 16.1476 | 17.5599 | 23.1445 | 9.4177 | 10.0478 | 13.4436 | 0.67056 | -0.84833
[31 empty] | Cycle 5 | 15.5183 | 16.8755 | 22.2426 | 9.0232 | 9.6274 | 12.8805 | 0.63709 | -0.84725
[31 empty] | Cycle 6 | 14.9146 | 16.2197 | 21.3787 | 8.6492 | 9.2284 | 12.3466 | 0.66722 | -0.80629
[31 empty] | Cycle 7 | 14.3426 | 15.5985 | 20.5589 | 8.2946 | 8.8503 | 11.8411 | 0.70352 | -0.81984
[31 empty] | Cycle 8 |  |  |  | 7.9584 | 8.4918 | 11.361
9 | GIRMS\IRMS-operator | 2026-05-13 16:58 | 2026-05-13 18:17 | Success | FALSE | MD23-3678 - G. ruber | 1225 | 1 | 6 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 10.673 V | 9.5176 kV | 93 µbar | 111 µbar | Carbon Dioxide: 0.0176 kV | 1,043 µbar | 9.410 V | 12.110 V | 523 µbar/min | 1.848 V | 9.77E-008 mbar | 18 % | 853 µbar | 72 °C | µ-Volume |  | Pre | 9.214 | 10.0236 | 13.2087 | 9.6652 | 10.3118 | 13.7975 | 1.0488 | -0.75536 | 1.0686 | 0.01736 | 0.0061375 | -0.746 | 0.014531 | 0.0051374 | 1.1711 | 0.018503 | -0.74922 | 0.01454
[31 empty] | Cycle 1 | 8.913 | 9.6968 | 12.7772 | 9.2569 | 9.8767 | 13.2154 | 1.0854 | -0.74553
[31 empty] | Cycle 2 | 8.6237 | 9.3823 | 12.3623 | 8.8705 | 9.4646 | 12.663 | 1.1006 | -0.75107
[31 empty] | Cycle 3 | 8.3454 | 9.0794 | 11.9636 | 8.5036 | 9.0732 | 12.1398 | 1.0711 | -0.73555
[31 empty] | Cycle 4 | 8.0779 | 8.7885 | 11.5802 | 8.1561 | 8.7027 | 11.6435 | 1.0633 | -0.72689
[31 empty] | Cycle 5 | 7.8214 | 8.5095 | 11.2125 | 7.8263 | 8.3508 | 11.1726 | 1.0655 | -0.72807
[31 empty] | Cycle 6 | 7.5739 | 8.2404 | 10.8577 | 7.5128 | 8.0163 | 10.7253 | 1.0644 | -0.76449
[31 empty] | Cycle 7 | 7.3337 | 7.979 | 10.5135 | 7.214 | 7.6978 | 10.2991 | 1.0499 | -0.76105
[31 empty] | Cycle 8 |  |  |  | 6.9302 | 7.3946 | 9.8937
10 | GIRMS\IRMS-operator | 2026-05-13 17:31 | 2026-05-13 18:41 | Success | FALSE | MD23-3678 - G. ruber | 1221 | 2 | 6 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 16.932 V | 9.5176 kV | 106 µbar | 106 µbar | Carbon Dioxide: 0.0176 kV | 970 µbar | 13.910 V | 19.681 V | 342 µbar/min | 8.988 V | 1.28E-007 mbar | 10 % | 946 µbar | 72 °C | µ-Volume | 15.559 V | Pre | 16.5204 | 17.9663 | 23.6766 | 14.5694 | 15.5399 | 20.7958 | 1.0033 | -0.84909 | 1.0105 | 0.0109 | 0.0038538 | -0.84518 | 0.020819 | 0.0073606 | 1.1125 | 0.011422 | -0.84837 | 0.020833
[31 empty] | Cycle 1 | 15.8841 | 17.2749 | 22.7653 | 13.8782 | 14.8033 | 19.809 | 0.99521 | -0.84022
[31 empty] | Cycle 2 | 15.2765 | 16.6149 | 21.8943 | 13.2303 | 14.1129 | 18.8852 | 1.0104 | -0.88138
[31 empty] | Cycle 3 | 14.6992 | 15.9874 | 21.0678 | 12.6213 | 13.4636 | 18.0161 | 1.0121 | -0.8365
[31 empty] | Cycle 4 | 14.1473 | 15.3876 | 20.2763 | 12.0473 | 12.8514 | 17.1964 | 1.0011 | -0.86863
[31 empty] | Cycle 5 | 13.6204 | 14.8151 | 19.5224 | 11.507 | 12.276 | 16.4258 | 1.0158 | -0.81724
[31 empty] | Cycle 6 | 13.1156 | 14.2662 | 18.799 | 10.998 | 11.7327 | 15.6991 | 1.0152 | -0.82992
[31 empty] | Cycle 7 | 12.6338 | 13.7428 | 18.1085 | 10.5188 | 11.2221 | 15.0156 | 1.0306 | -0.83849
[31 empty] | Cycle 8 |  |  |  | 10.0648 | 10.7379 | 14.3676
11 | GIRMS\IRMS-operator | 2026-05-13 18:17 | 2026-05-13 19:18 | Success | FALSE | SHP2L |  | 1 | 7 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 5.737 V | 9.5175 kV | 98 µbar | 111 µbar | Carbon Dioxide: 0.0175 kV | 1,051 µbar | 5.445 V | 6.361 V | 503 µbar/min | 12.948 V | 7.20E-008 mbar | 29 % | 797 µbar | 72 °C | µ-Volume |  | Pre | 5.3438 | 5.8047 | 7.6207 | 5.5604 | 5.9337 | 7.9381 | -0.67067 | -5.9746 | -0.74211 | 0.049249 | 0.017412 | -5.994 | 0.029726 | 0.01051 | -0.57217 | 0.052055 | -5.9988 | 0.029693
[31 empty] | Cycle 1 | 5.1891 | 5.6366 | 7.4001 | 5.3531 | 5.7129 | 7.6422 | -0.68726 | -5.9684
[31 empty] | Cycle 2 | 5.0396 | 5.4739 | 7.1868 | 5.1554 | 5.5016 | 7.3599 | -0.7202 | -5.9922
[31 empty] | Cycle 3 | 4.8936 | 5.3151 | 6.9787 | 4.9666 | 5.3001 | 7.0905 | -0.80782 | -6.0095
[31 empty] | Cycle 4 | 4.7542 | 5.1638 | 6.7798 | 4.7865 | 5.1085 | 6.8337 | -0.80198 | -6.0128
[31 empty] | Cycle 5 | 4.6164 | 5.0142 | 6.5836 | 4.6143 | 4.9243 | 6.5875 | -0.73639 | -5.9689
[31 empty] | Cycle 6 | 4.4839 | 4.8702 | 6.3941 | 4.4487 | 4.7475 | 6.3513 | -0.7612 | -6.0529
[31 empty] | Cycle 7 | 4.3553 | 4.7307 | 6.2113 | 4.2902 | 4.5786 | 6.1251 | -0.75137 | -5.9726
[31 empty] | Cycle 8 |  |  |  | 4.1383 | 4.4163 | 5.908
12 | GIRMS\IRMS-operator | 2026-05-13 18:41 | 2026-05-13 19:50 | Success | FALSE | MD23-3678 - G. ruber | 1213 | 2 | 7 | TRUE | Unknown |  | 0.002 V, 0.001 V, 0.002 V |  | 12.920 V | 9.5174 kV | 106 µbar | 103 µbar | Carbon Dioxide: 0.0174 kV | 943 µbar | 12.561 V | 14.822 V | 342 µbar/min | 5.289 V | 1.19E-007 mbar | 10 % | 911 µbar | 72 °C | µ-Volume |  | Pre | 12.3647 | 13.4489 | 17.7255 | 13.145 | 14.0218 | 18.7638 | 1.078 | -0.63895 | 1.0315 | 0.032917 | 0.011638 | -0.67112 | 0.019631 | 0.0069405 | 1.1285 | 0.034796 | -0.67417 | 0.019608
[31 empty] | Cycle 1 | 11.9193 | 12.9646 | 17.0868 | 12.5403 | 13.3772 | 17.9005 | 1.0585 | -0.66149
[31 empty] | Cycle 2 | 11.4954 | 12.5038 | 16.4796 | 11.9705 | 12.7697 | 17.0875 | 1.0503 | -0.649
[31 empty] | Cycle 3 | 11.0877 | 12.0607 | 15.8949 | 11.4341 | 12.1981 | 16.3222 | 1.0475 | -0.6899
[31 empty] | Cycle 4 | 10.7021 | 11.6413 | 15.3422 | 10.9282 | 11.6586 | 15.6004 | 1.0269 | -0.69517
[31 empty] | Cycle 5 | 10.328 | 11.2346 | 14.8063 | 10.4522 | 11.1511 | 14.9208 | 1.0141 | -0.67927
[31 empty] | Cycle 6 | 9.9678 | 10.843 | 14.2901 | 10.0021 | 10.6712 | 14.2786 | 0.98366 | -0.67773
[31 empty] | Cycle 7 | 9.6234 | 10.4685 | 13.7964 | 9.5757 | 10.2169 | 13.6698 | 0.99308 | -0.67745
[31 empty] | Cycle 8 |  |  |  | 9.1722 | 9.7859 | 13.094
13 | GIRMS\IRMS-operator | 2026-05-13 19:18 | 2026-05-13 20:34 | Success | FALSE | MD23-3678 - G. ruber | 1205 | 1 | 8 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 16.395 V | 9.5175 kV | 93 µbar | 123 µbar | Carbon Dioxide: 0.0175 kV | 1,109 µbar | 14.733 V | 18.918 V | 659 µbar/min | 1.848 V | 1.33E-007 mbar | 10 % | 899 µbar | 72 °C | µ-Volume |  | Pre | 14.6654 | 15.8795 | 20.9311 | 15.3707 | 16.394 | 21.9394 | -3.3313 | -4.9896 | -3.3263 | 0.026373 | 0.0093241 | -4.9982 | 0.014538 | 0.0051401 | -3.3742 | 0.028394 | -4.996 | 0.014573
[31 empty] | Cycle 1 | 14.1196 | 15.2887 | 20.1524 | 14.6269 | 15.6019 | 20.8781 | -3.3711 | -4.9863
[31 empty] | Cycle 2 | 13.5996 | 14.7266 | 19.4105 | 13.9318 | 14.8608 | 19.886 | -3.3253 | -4.9789
[31 empty] | Cycle 3 | 13.1051 | 14.192 | 18.7047 | 13.2789 | 14.1645 | 18.9541 | -3.2833 | -4.9929
[31 empty] | Cycle 4 | 12.6329 | 13.6804 | 18.0308 | 12.6665 | 13.5119 | 18.0805 | -3.3314 | -5.0121
[31 empty] | Cycle 5 | 12.1815 | 13.1917 | 17.387 | 12.0912 | 12.8984 | 17.2596 | -3.3448 | -5.0007
[31 empty] | Cycle 6 | 11.7498 | 12.725 | 16.7706 | 11.5494 | 12.3207 | 16.4865 | -3.302 | -5.0238
[31 empty] | Cycle 7 | 11.3376 | 12.2786 | 16.1829 | 11.0387 | 11.776 | 15.7575 | -3.3213 | -5.0011
[31 empty] | Cycle 8 |  |  |  | 10.5567 | 11.2622 | 15.0699
14 | GIRMS\IRMS-operator | 2026-05-13 19:50 | 2026-05-13 20:59 | Success | FALSE | MD23-3678 - G. ruber | 1197 | 2 | 8 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.530 V | 9.5173 kV | 106 µbar | 106 µbar | Carbon Dioxide: 0.0173 kV | 1,036 µbar | 11.229 V | 13.135 V | 396 µbar/min | 13.673 V | 1.09E-007 mbar | 13 % | 902 µbar | 72 °C | µ-Volume |  | Pre | 11.0493 | 12.0153 | 15.8423 | 11.6368 | 12.4132 | 16.6102 | 0.83012 | -0.4608 | 0.82463 | 0.026904 | 0.0095119 | -0.44112 | 0.019732 | 0.0069763 | 0.89868 | 0.028548 | -0.44346 | 0.019733
[31 empty] | Cycle 1 | 10.6658 | 11.599 | 15.2929 | 11.1185 | 11.8608 | 15.8708 | 0.85232 | -0.44131
[31 empty] | Cycle 2 | 10.2978 | 11.1989 | 14.7651 | 10.6322 | 11.3423 | 15.1768 | 0.81558 | -0.46234
[31 empty] | Cycle 3 | 9.9439 | 10.8141 | 14.2579 | 10.1716 | 10.8515 | 14.5192 | 0.79793 | -0.43683
[31 empty] | Cycle 4 | 9.6046 | 10.4452 | 13.7714 | 9.7356 | 10.3864 | 13.8967 | 0.80635 | -0.44835
[31 empty] | Cycle 5 | 9.281 | 10.0941 | 13.308 | 9.3236 | 9.9468 | 13.309 | 0.87626 | -0.41408
[31 empty] | Cycle 6 | 8.9693 | 9.7547 | 12.8611 | 8.9331 | 9.5305 | 12.7516 | 0.80991 | -0.41092
[31 empty] | Cycle 7 | 8.6692 | 9.4289 | 12.4305 | 8.5634 | 9.1364 | 12.2239 | 0.80855 | -0.45432
[31 empty] | Cycle 8 |  |  |  | 8.2128 | 8.7631 | 11.724
15 | GIRMS\IRMS-operator | 2026-05-13 20:34 | 2026-05-13 21:35 | Success | FALSE | MD23-3678 - G. ruber | 1193 | 1 | 9 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 0.022 V | 9.5173 kV | 96 µbar | 115 µbar | Carbon Dioxide: 0.0173 kV | 1,114 µbar | 1.469 V | 0.022 V | 772 µbar/min | 10.576 V | 3.46E-008 mbar | 100 % | 120 µbar | 72 °C | µ-Volume | 0.026 V | Pre | 0.020903 | 0.022322 | 0.029584 | 1.5293 | 1.6317 | 2.1828 | -17.4293 | -13.3475 | -17.1667 | 0.60559 | 0.21411 | -14.6604 | 0.73663 | 0.26044 | -17.8249 | 0.63987 | -14.6376 | 0.737
[31 empty] | Cycle 1 | 0.020343 | 0.021715 | 0.02874 | 1.4785 | 1.5776 | 2.1104 | -17.8588 | -15.1187
[31 empty] | Cycle 2 | 0.019945 | 0.021304 | 0.02818 | 1.4321 | 1.5281 | 2.0443 | -17.2492 | -15.0759
[31 empty] | Cycle 3 | 0.01961 | 0.02095 | 0.027717 | 1.3879 | 1.481 | 1.9812 | -17.0555 | -14.6649
[31 empty] | Cycle 4 | 0.019296 | 0.020592 | 0.027249 | 1.3455 | 1.4357 | 1.9205 | -18.0905 | -15.5161
[31 empty] | Cycle 5 | 0.01901 | 0.020318 | 0.026879 | 1.3046 | 1.392 | 1.862 | -16.5558 | -14.2616
[31 empty] | Cycle 6 | 0.018726 | 0.020016 | 0.026451 | 1.2651 | 1.3499 | 1.8058 | -16.4932 | -15.2819
[31 empty] | Cycle 7 | 0.018447 | 0.019716 | 0.026089 | 1.2266 | 1.3089 | 1.751 | -16.6012 | -14.0166
[31 empty] | Cycle 8 |  |  |  | 1.1896 | 1.2694 | 1.6979
16 | GIRMS\IRMS-operator | 2026-05-13 20:59 | 2026-05-13 22:09 | Success | FALSE | SHP2L |  | 2 | 9 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 6.332 V | 9.5175 kV | 106 µbar | 101 µbar | Carbon Dioxide: 0.0175 kV | 850 µbar | 6.039 V | 7.071 V | 249 µbar/min | 1.458 V | 7.49E-008 mbar | 25 % | 831 µbar | 72 °C | µ-Volume |  | Pre | 5.8264 | 6.3278 | 8.3091 | 6.1736 | 6.588 | 8.8143 | -0.78089 | -6.0037 | -0.77541 | 0.030764 | 0.011628 | -6.0093 | 0.0088363 | 0.0031241 | -0.60725 | 0.032795 | -6.0139 | 0.008798
[31 empty] | Cycle 1 | 5.6482 | 6.1341 | 8.0548 | 5.9382 | 6.3367 | 8.4778 | -0.82606 | -6.0154
[31 empty] | Cycle 2 | 5.4755 | 5.9469 | 7.8087 | 5.7144 | 6.0981 | 8.1584 | -0.76497 | -5.9972
[31 empty] | Cycle 3 | 5.3104 | 5.7677 | 7.5731 | 5.5005 | 5.8696 | 7.8529 | -0.73457 | -6.0094
[31 empty] | Cycle 4 | 5.1511 | 5.5945 | 7.346 | 5.2973 | 5.6528 | 7.5628 | -0.74492 | -6.0046
[31 empty] | Cycle 5 | 4.9963 | 5.4262 | 7.1255 | 5.1024 | 5.4447 | 7.2848 | -0.79311 | -6.0059
[31 empty] | Cycle 6 | 4.846 | 5.2631 | 6.9109 | 4.9167 | 5.2467 | 7.0196 | -0.78335 | -6.0264
[31 empty] | Cycle 7 | 4.7001 | 5.1029 | 6.7028 | 4.7387 | 5.0568 | 6.7654 | -1.1342 | -6.0116
[31 empty] | Cycle 8 |  |  |  | 4.5682 | 4.8749 | 6.522
17 | GIRMS\IRMS-operator | 2026-05-13 21:35 | 2026-05-13 22:53 | Success | FALSE | MD23-3678 - G. ruber | 1185 | 1 | 10 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 12.774 V | 9.5176 kV | 96 µbar | 125 µbar | Carbon Dioxide: 0.0176 kV | 1,146 µbar | 11.178 V | 14.623 V | 796 µbar/min | 1.842 V | 1.09E-007 mbar | 14 % | 877 µbar | 72 °C | µ-Volume |  | Pre | 10.9324 | 11.8904 | 15.6741 | 11.5482 | 12.3197 | 16.4851 | 0.92339 | -0.55505 | 0.87829 | 0.024088 | 0.0085162 | -0.55659 | 0.015431 | 0.0054555 | 0.96037 | 0.025671 | -0.55917 | 0.015437
[31 empty] | Cycle 1 | 10.5561 | 11.4811 | 15.1346 | 11.0347 | 11.7722 | 15.7516 | 0.88908 | -0.54847
[31 empty] | Cycle 2 | 10.1956 | 11.089 | 14.6178 | 10.5517 | 11.2574 | 15.0625 | 0.8742 | -0.54131
[31 empty] | Cycle 3 | 9.8474 | 10.7105 | 14.1188 | 10.0947 | 10.77 | 14.4099 | 0.87071 | -0.54011
[31 empty] | Cycle 4 | 9.514 | 10.348 | 13.6404 | 9.6637 | 10.3104 | 13.7954 | 0.86426 | -0.57906
[31 empty] | Cycle 5 | 9.1924 | 9.9984 | 13.1798 | 9.2557 | 9.8752 | 13.2124 | 0.86868 | -0.54524
[31 empty] | Cycle 6 | 8.8855 | 9.6651 | 12.7399 | 8.869 | 9.4629 | 12.6611 | 0.89385 | -0.57153
[31 empty] | Cycle 7 | 8.5911 | 9.3445 | 12.3176 | 8.5028 | 9.0724 | 12.1385 | 0.84216 | -0.57196
[31 empty] | Cycle 8 |  |  |  | 8.155 | 8.7013 | 11.6416
18 | GIRMS\IRMS-operator | 2026-05-13 22:09 | 2026-05-13 23:19 | Success | FALSE | MD23-3678 - G. ruber | 1177 | 2 | 10 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.213 V | 9.5174 kV | 103 µbar | 103 µbar | Carbon Dioxide: 0.0174 kV | 970 µbar | 10.381 V | 12.770 V | 322 µbar/min | 10.588 V | 1.04E-007 mbar | 15 % | 902 µbar | 72 °C | µ-Volume |  | Pre | 10.1647 | 11.057 | 14.5653 | 10.718 | 11.4342 | 15.2988 | 1.0656 | -1.0531 | 1.0541 | 0.020032 | 0.0070825 | -1.0407 | 0.014382 | 0.0050847 | 1.1664 | 0.021592 | -1.0442 | 0.01441
[31 empty] | Cycle 1 | 9.8163 | 10.6782 | 14.0666 | 10.2517 | 10.937 | 14.6335 | 1.0558 | -1.0334
[31 empty] | Cycle 2 | 9.4816 | 10.3145 | 13.5869 | 9.8123 | 10.4685 | 14.0063 | 1.0731 | -1.0325
[31 empty] | Cycle 3 | 9.1619 | 9.9667 | 13.129 | 9.3963 | 10.0249 | 13.4124 | 1.0441 | -1.0387
[31 empty] | Cycle 4 | 8.8534 | 9.6312 | 12.6871 | 9.0028 | 9.6053 | 12.8513 | 1.0333 | -1.0526
[31 empty] | Cycle 5 | 8.557 | 9.3091 | 12.2626 | 8.6302 | 9.2079 | 12.3195 | 1.0669 | -1.0254
[31 empty] | Cycle 6 | 8.2725 | 8.9992 | 11.8549 | 8.2768 | 8.8307 | 11.8148 | 1.0196 | -1.0253
[31 empty] | Cycle 7 | 7.9983 | 8.7016 | 11.4617 | 7.9427 | 8.4746 | 11.3382 | 1.0748 | -1.0642
[31 empty] | Cycle 8 |  |  |  | 7.6243 | 8.1348 | 10.8838
19 | GIRMS\IRMS-operator | 2026-05-13 22:53 | 2026-05-13 23:55 | Success | FALSE | MD23-3678 - G. ruber | 2049 | 1 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.033 V | 9.5174 kV | 93 µbar | 125 µbar | Carbon Dioxide: 0.0174 kV | 1,156 µbar | 12.853 V | 14.908 V | 860 µbar/min | 9.825 V | 1.21E-007 mbar | 10 % | 877 µbar | 72 °C | µ-Volume |  | Pre | 12.635 | 13.7351 | 18.1074 | 13.4528 | 14.3495 | 19.2013 | 0.54969 | -0.87061 | 0.52541 | 0.018188 | 0.0064306 | -0.88252 | 0.01578 | 0.005579 | 0.59484 | 0.019047 | -0.88466 | 0.015767
[31 empty] | Cycle 1 | 12.1902 | 13.2518 | 17.4699 | 12.8301 | 13.6858 | 18.3129 | 0.53222 | -0.88636
[31 empty] | Cycle 2 | 11.7634 | 12.7879 | 16.8581 | 12.2446 | 13.0619 | 17.4774 | 0.5028 | -0.90004
[31 empty] | Cycle 3 | 11.3544 | 12.3438 | 16.2725 | 11.6934 | 12.4741 | 16.6906 | 0.51544 | -0.8772
[31 empty] | Cycle 4 | 10.9693 | 11.9261 | 15.7208 | 11.1738 | 11.9204 | 15.9493 | 0.54001 | -0.88861
[31 empty] | Cycle 5 | 10.5971 | 11.5213 | 15.1874 | 10.6841 | 11.3986 | 15.2508 | 0.50044 | -0.90426
[31 empty] | Cycle 6 | 10.2345 | 11.1276 | 14.6684 | 10.2214 | 10.905 | 14.5904 | 0.54035 | -0.85578
[31 empty] | Cycle 7 | 9.8938 | 10.757 | 14.18 | 9.7848 | 10.4393 | 13.967 | 0.52237 | -0.87734
[31 empty] | Cycle 8 |  |  |  | 9.3724 | 9.9992 | 13.3786
20 | GIRMS\IRMS-operator | 2026-05-13 23:19 | 2026-05-14 00:27 | Success | FALSE | MD23-3678 - G. ruber | 2041 | 2 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 15.495 V | 9.5173 kV | 103 µbar | 103 µbar | Carbon Dioxide: 0.0173 kV | 892 µbar | 11.960 V | 17.914 V | 327 µbar/min | 11.990 V | 1.16E-007 mbar | 10 % | 933 µbar | 72 °C | µ-Volume | 14.243 V | Pre | 15.1086 | 16.4145 | 21.6519 | 12.5257 | 13.3618 | 17.8781 | -0.10753 | -0.89019 | -0.078035 | 0.027858 | 0.0098495 | -0.91227 | 0.017971 | 0.0063538 | -0.049766 | 0.030118 | -0.91307 | 0.018019
[31 empty] | Cycle 1 | 14.532 | 15.7884 | 20.8257 | 11.9587 | 12.7571 | 17.0691 | -0.10692 | -0.91391
[31 empty] | Cycle 2 | 13.9832 | 15.1929 | 20.0394 | 11.4249 | 12.188 | 16.3077 | -0.094764 | -0.92324
[31 empty] | Cycle 3 | 13.4608 | 14.6259 | 19.2913 | 10.9212 | 11.6513 | 15.5891 | -0.096711 | -0.9045
[31 empty] | Cycle 4 | 12.9615 | 14.0835 | 18.5753 | 10.4447 | 11.1432 | 14.9089 | -0.050993 | -0.94201
[31 empty] | Cycle 5 | 12.4859 | 13.5672 | 17.8943 | 9.9961 | 10.6636 | 14.2689 | -0.031623 | -0.92334
[31 empty] | Cycle 6 | 12.0322 | 13.0746 | 17.2442 | 9.5708 | 10.2111 | 13.6619 | -0.069761 | -0.91284
[31 empty] | Cycle 7 | 11.5964 | 12.6014 | 16.6199 | 9.1684 | 9.782 | 13.0872 | -0.06597 | -0.88813
[31 empty] | Cycle 8 |  |  |  | 8.7858 | 9.3742 | 12.5413
21 | GIRMS\IRMS-operator | 2026-05-13 23:55 | 2026-05-14 01:10 | Success | FALSE | SHP2L |  | 1 | 12 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 5.952 V | 9.5175 kV | 96 µbar | 111 µbar | Carbon Dioxide: 0.0175 kV | 1,082 µbar | 5.628 V | 6.619 V | 581 µbar/min | 1.849 V | 7.13E-008 mbar | 31 % | 794 µbar | 72 °C | µ-Volume |  | Pre | 5.4971 | 5.9702 | 7.8392 | 5.7343 | 6.1191 | 8.1866 | -0.78 | -6.0133 | -0.80041 | 0.027868 | 0.0098528 | -5.9807 | 0.021408 | 0.0075689 | -0.63505 | 0.02984 | -5.9853 | 0.021432
[31 empty] | Cycle 1 | 5.3336 | 5.7927 | 7.6061 | 5.5185 | 5.8889 | 7.8784 | -0.77724 | -5.981
[31 empty] | Cycle 2 | 5.1757 | 5.621 | 7.3808 | 5.3135 | 5.6702 | 7.5857 | -0.82972 | -6.0137
[31 empty] | Cycle 3 | 5.0236 | 5.4559 | 7.1643 | 5.1182 | 5.462 | 7.307 | -0.81974 | -5.9712
[31 empty] | Cycle 4 | 4.8758 | 5.2956 | 6.9533 | 4.9317 | 5.2628 | 7.0408 | -0.76265 | -5.9692
[31 empty] | Cycle 5 | 4.7317 | 5.139 | 6.748 | 4.7528 | 5.0719 | 6.7851 | -0.7873 | -5.9611
[31 empty] | Cycle 6 | 4.5915 | 4.9869 | 6.5482 | 4.581 | 4.8886 | 6.5402 | -0.80596 | -5.9761
[31 empty] | Cycle 7 | 4.4569 | 4.8404 | 6.356 | 4.4167 | 4.7135 | 6.3055 | -0.84068 | -5.9601
[31 empty] | Cycle 8 |  |  |  | 4.2594 | 4.5454 | 6.0808
22 | GIRMS\IRMS-operator | 2026-05-14 00:27 | 2026-05-14 01:36 | Success | FALSE | MD23-3678 - G. ruber | 2037 | 2 | 12 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 15.861 V | 9.5176 kV | 103 µbar | 103 µbar | Carbon Dioxide: 0.0176 kV | 909 µbar | 14.059 V | 18.405 V | 313 µbar/min | 5.473 V | 1.29E-007 mbar | 10 % | 936 µbar | 72 °C | µ-Volume | 14.557 V | Pre | 15.4543 | 16.8017 | 22.1503 | 14.7096 | 15.6891 | 20.9953 | 0.72342 | -0.74506 | 0.69544 | 0.024916 | 0.0088091 | -0.75576 | 0.011651 | 0.0041192 | 0.77208 | 0.026619 | -0.75814 | 0.011658
[31 empty] | Cycle 1 | 14.8641 | 16.1603 | 21.3047 | 14.009 | 14.9424 | 19.995 | 0.68317 | -0.74689
[31 empty] | Cycle 2 | 14.3007 | 15.5489 | 20.4976 | 13.3526 | 14.2433 | 19.059 | 0.71875 | -0.74327
[31 empty] | Cycle 3 | 13.7642 | 14.9662 | 19.7283 | 12.7359 | 13.5856 | 18.1787 | 0.72159 | -0.76187
[31 empty] | Cycle 4 | 13.2498 | 14.4072 | 18.9915 | 12.1559 | 12.9678 | 17.351 | 0.67397 | -0.76073
[31 empty] | Cycle 5 | 12.7603 | 13.8756 | 18.2901 | 11.6088 | 12.3851 | 16.5706 | 0.70576 | -0.77839
[31 empty] | Cycle 6 | 12.2949 | 13.3691 | 17.6238 | 11.0939 | 11.8351 | 15.8361 | 0.67735 | -0.75136
[31 empty] | Cycle 7 | 11.8462 | 12.8815 | 16.9805 | 10.6076 | 11.3168 | 15.1419 | 0.65951 | -0.75847
[31 empty] | Cycle 8 |  |  |  | 10.1475 | 10.8265 | 14.4852
23 | GIRMS\IRMS-operator | 2026-05-14 01:10 | 2026-05-14 02:13 | Success | FALSE | MD23-3678 - G. ruber | 2029 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 17.852 V | 9.5174 kV | 93 µbar | 115 µbar | Carbon Dioxide: 0.0174 kV | 1,100 µbar | 13.424 V | 20.745 V | 640 µbar/min | 13.095 V | 1.24E-007 mbar | 10 % | 902 µbar | 72 °C | µ-Volume | 16.425 V | Pre | 17.428 | 18.9492 | 24.9679 | 14.0749 | 15.0119 | 20.0883 | 0.80149 | -1.1593 | 0.81294 | 0.017249 | 0.0060983 | -1.1709 | 0.0078276 | 0.0029586 | 0.91332 | 0.018671 | -1.174 | 0.0078434
[31 empty] | Cycle 1 | 16.7584 | 18.2217 | 24.0089 | 13.4133 | 14.3075 | 19.1442 | 0.78881 | -1.1638
[31 empty] | Cycle 2 | 16.1244 | 17.533 | 23.101 | 12.7933 | 13.6462 | 18.26 | 0.81961 | -1.1716
[31 empty] | Cycle 3 | 15.5136 | 16.8691 | 22.2261 | 12.2113 | 13.0256 | 17.4295 | 0.79554 | -1.1801
[31 empty] | Cycle 4 | 14.9336 | 16.2396 | 21.3952 | 11.6626 | 12.441 | 16.6466 | 0.8155 | -1.1808
[31 empty] | Cycle 5 | 14.3796 | 15.6376 | 20.6021 | 11.1451 | 11.8896 | 15.9078 | 0.81317 | -1.1709
[31 empty] | Cycle 6 | 13.8484 | 15.0605 | 19.841 | 10.6568 | 11.3688 | 15.2116 | 0.82889 | -1.2041
[31 empty] | Cycle 7 | 13.3429 | 14.5113 | 19.1173 | 10.1949 | 10.8766 | 14.5526 | 0.84053 | -1.1701
[31 empty] | Cycle 8 |  |  |  | 9.7593 | 10.4118 | 13.9304
24 | GIRMS\IRMS-operator | 2026-05-14 01:36 | 2026-05-14 02:46 | Success | FALSE | MD23-3678 - G. ruber | 2021 | 2 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 19.932 V | 9.5174 kV | 103 µbar | 108 µbar | Carbon Dioxide: 0.0174 kV | 973 µbar | 12.115 V | 23.402 V | 376 µbar/min | 12.147 V | 1.17E-007 mbar | 10 % | 953 µbar | 72 °C | µ-Volume | 18.201 V | Pre | 19.4283 | 21.1056 | 27.8183 | 12.6804 | 13.5263 | 18.0989 | -0.17565 | -1.7541 | -0.10323 | 0.046569 | 0.016464 | -1.7467 | 0.011277 | 0.0039869 | -0.045864 | 0.049601 | -1.7483 | 0.011231
[31 empty] | Cycle 1 | 18.6295 | 20.2388 | 26.6751 | 12.1055 | 12.9136 | 17.2786 | -0.16402 | -1.75
[31 empty] | Cycle 2 | 17.8706 | 19.4159 | 25.5886 | 11.5636 | 12.3359 | 16.5055 | -0.11897 | -1.7536
[31 empty] | Cycle 3 | 17.1523 | 18.6366 | 24.5606 | 11.0528 | 11.7915 | 15.7764 | -0.093507 | -1.7439
[31 empty] | Cycle 4 | 16.4679 | 17.8936 | 23.5815 | 10.5695 | 11.2761 | 15.0868 | -0.072215 | -1.7314
[31 empty] | Cycle 5 | 15.8159 | 17.1855 | 22.6473 | 10.112 | 10.7882 | 14.4342 | -0.080808 | -1.7622
[31 empty] | Cycle 6 | 15.1985 | 16.5153 | 21.764 | 9.6797 | 10.3275 | 13.817 | -0.079807 | -1.7486
[31 empty] | Cycle 7 | 14.6113 | 15.878 | 20.9237 | 9.2705 | 9.891 | 13.2335 | -0.040901 | -1.7296
[31 empty] | Cycle 8 |  |  |  | 8.8835 | 9.4782 | 12.6807
25 | GIRMS\IRMS-operator | 2026-05-14 02:13 | 2026-05-14 03:30 | Success | FALSE | MD23-3678 - G. ruber | 2017 | 1 | 14 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 13.441 V | 9.5176 kV | 96 µbar | 111 µbar | Carbon Dioxide: 0.0176 kV | 1,063 µbar | 12.602 V | 15.411 V | 542 µbar/min | 1.845 V | 1.18E-007 mbar | 12 % | 880 µbar | 72 °C | µ-Volume |  | Pre | 12.2602 | 13.3391 | 17.5692 | 13.0887 | 13.9622 | 18.6831 | 1.3528 | -0.98395 | 1.3092 | 0.0089889 | 0.0033975 | -0.99688 | 0.018737 | 0.0066247 | 1.4378 | 0.0092266 | -1.0009 | 0.018738
[31 empty] | Cycle 1 | 11.8235 | 12.864 | 16.9433 | 12.4856 | 13.3191 | 17.8219 | 1.3204 | -0.9861
[31 empty] | Cycle 2 | 11.4066 | 12.411 | 16.3463 | 11.9189 | 12.7151 | 17.0131 | 1.3201 | -0.98034
[31 empty] | Cycle 3 | 11.0096 | 11.9791 | 15.7775 | 11.3867 | 12.1478 | 16.2537 | 1.3028 | -0.99424
[31 empty] | Cycle 4 | 10.6286 | 11.5648 | 15.2312 | 10.8844 | 11.6121 | 15.5371 | 1.2971 | -1.0312
[31 empty] | Cycle 5 | 10.2639 | 11.1683 | 14.7089 | 10.412 | 11.1086 | 14.863 | 1.3079 | -1.0169
[31 empty] | Cycle 6 | 9.912 | 10.7856 | 14.2047 | 9.9645 | 10.6311 | 14.2241 | 1.3132 | -1.0024
[31 empty] | Cycle 7 | 9.5753 | 10.4194 | 13.7226 | 9.5419 | 10.1806 | 13.621 | 1.3031 | -0.97992
[31 empty] | Cycle 8 |  |  |  | 9.1418 | 9.7536 | 13.0498
26 | GIRMS\IRMS-operator | 2026-05-14 02:46 | 2026-05-14 03:56 | Success | FALSE | SHP2L |  | 2 | 14 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 10.145 V | 9.5174 kV | 103 µbar | 103 µbar | Carbon Dioxide: 0.0174 kV | 909 µbar | 9.920 V | 11.493 V | 332 µbar/min | 11.860 V | 1.00E-007 mbar | 15 % | 894 µbar | 72 °C | µ-Volume |  | Pre | 9.7627 | 10.6002 | 13.9196 | 10.2275 | 10.911 | 14.5981 | -0.80067 | -5.9997 | -0.80137 | 0.01273 | 0.0048115 | -6.0176 | 0.01843 | 0.0065161 | -0.63478 | 0.013817 | -6.0222 | 0.018444
[31 empty] | Cycle 1 | 9.435 | 10.2441 | 13.4522 | 9.7894 | 10.4442 | 13.9733 | -0.85313 | -6.0314
[31 empty] | Cycle 2 | 9.118 | 9.9005 | 13.0003 | 9.376 | 10.0032 | 13.3832 | -0.81953 | -6.0299
[31 empty] | Cycle 3 | 8.8116 | 9.568 | 12.5641 | 8.9833 | 9.5844 | 12.8227 | -0.81136 | -5.9819
[31 empty] | Cycle 4 | 8.5172 | 9.2487 | 12.1439 | 8.6113 | 9.1878 | 12.2919 | -0.79251 | -6.0373
[31 empty] | Cycle 5 | 8.2355 | 8.9427 | 11.7424 | 8.2586 | 8.8115 | 11.7887 | -0.79763 | -6.0242
[31 empty] | Cycle 6 | 7.9646 | 8.6488 | 11.3564 | 7.9234 | 8.4539 | 11.3101 | -0.78092 | -6.0197
[31 empty] | Cycle 7 | 7.7014 | 8.3629 | 10.9811 | 7.6051 | 8.1143 | 10.8561 | -0.80701 | -6.0165
[31 empty] | Cycle 8 |  |  |  | 7.3025 | 7.7918 | 10.4241
27 | GIRMS\IRMS-operator | 2026-05-14 03:30 | 2026-05-14 04:32 | Success | FALSE | MD23-3678 - G. ruber | 2013 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 18.212 V | 9.5175 kV | 96 µbar | 120 µbar | Carbon Dioxide: 0.0175 kV | 1,097 µbar | 12.763 V | 21.283 V | 601 µbar/min | 9.419 V | 1.20E-007 mbar | 10 % | 907 µbar | 72 °C | µ-Volume | 16.805 V | Pre | 17.842 | 19.4091 | 25.5649 | 13.3536 | 14.2441 | 19.0597 | 1.2262 | -1.0563 | 1.2765 | 0.06056 | 0.021411 | -1.0701 | 0.015408 | 0.0054475 | 1.4054 | 0.064706 | -1.0741 | 0.015402
[31 empty] | Cycle 1 | 17.149 | 18.6557 | 24.5718 | 12.7353 | 13.5852 | 18.1779 | 1.1824 | -1.0895
[31 empty] | Cycle 2 | 16.4839 | 17.933 | 23.6192 | 12.1552 | 12.9674 | 17.35 | 1.2167 | -1.0754
[31 empty] | Cycle 3 | 15.8484 | 17.2433 | 22.7086 | 11.6076 | 12.3827 | 16.5686 | 1.3312 | -1.0932
[31 empty] | Cycle 4 | 15.2499 | 16.592 | 21.8516 | 11.0924 | 11.8332 | 15.8333 | 1.2993 | -1.0645
[31 empty] | Cycle 5 | 14.683 | 15.9758 | 21.0398 | 10.6074 | 11.3162 | 15.1409 | 1.3069 | -1.0488
[31 empty] | Cycle 6 | 14.1401 | 15.3852 | 20.2618 | 10.1495 | 10.828 | 14.4876 | 1.2956 | -1.063
[31 empty] | Cycle 7 | 13.6185 | 14.8188 | 19.5145 | 9.716 | 10.3656 | 13.8689 | 1.3534 | -1.07
[31 empty] | Cycle 8 |  |  |  | 9.3062 | 9.9286 | 13.2841
28 | GIRMS\IRMS-operator | 2026-05-14 03:56 | 2026-05-14 05:05 | Success | FALSE | MD23-3678 - G. ruber | 2009 | 2 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 17.343 V | 9.5175 kV | 106 µbar | 106 µbar | Carbon Dioxide: 0.0175 kV | 963 µbar | 11.890 V | 20.197 V | 347 µbar/min | 11.923 V | 1.14E-007 mbar | 10 % | 946 µbar | 72 °C | µ-Volume | 15.898 V | Pre | 16.911 | 18.3957 | 24.2242 | 12.4418 | 13.2721 | 17.7585 | 1.148 | -1.3586 | 1.1993 | 0.034578 | 0.012225 | -1.3637 | 0.016472 | 0.0058239 | 1.3337 | 0.036789 | -1.3679 | 0.016463
[31 empty] | Cycle 1 | 16.2426 | 17.6697 | 23.2668 | 11.8796 | 12.6728 | 16.9568 | 1.1863 | -1.3648
[31 empty] | Cycle 2 | 15.6086 | 16.9802 | 22.359 | 11.3473 | 12.1052 | 16.1967 | 1.1617 | -1.3655
[31 empty] | Cycle 3 | 15.0061 | 16.3255 | 21.4957 | 10.8474 | 11.5724 | 15.4838 | 1.195 | -1.3884
[31 empty] | Cycle 4 | 14.4354 | 15.7059 | 20.6793 | 10.3742 | 11.0674 | 14.8082 | 1.2535 | -1.3428
[31 empty] | Cycle 5 | 13.8903 | 15.1126 | 19.8984 | 9.9295 | 10.5937 | 14.174 | 1.2062 | -1.3627
[31 empty] | Cycle 6 | 13.3683 | 14.5452 | 19.1509 | 9.5094 | 10.1455 | 13.5741 | 1.2301 | -1.3433
[31 empty] | Cycle 7 | 12.869 | 14.0021 | 18.4353 | 9.1105 | 9.7201 | 13.0047 | 1.2135 | -1.3838
[31 empty] | Cycle 8 |  |  |  | 8.7316 | 9.3163 | 12.4646
29 | GIRMS\IRMS-operator | 2026-05-14 04:32 | 2026-05-14 05:48 | Success | FALSE | MD23-3678 - G. ruber | 2005 | 1 | 16 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 16.618 V | 9.5177 kV | 96 µbar | 113 µbar | Carbon Dioxide: 0.0177 kV | 1,060 µbar | 14.528 V | 19.235 V | 640 µbar/min | 1.851 V | 1.31E-007 mbar | 10 % | 897 µbar | 72 °C | µ-Volume | 15.089 V | Pre | 16.0133 | 17.4259 | 22.9379 | 15.1986 | 16.2111 | 21.693 | 1.6466 | -1.3307 | 1.659 | 0.019764 | 0.0069878 | -1.3564 | 0.0066163 | 0.0025007 | 1.8252 | 0.021213 | -1.3616 | 0.0066185
[31 empty] | Cycle 1 | 15.4 | 16.7591 | 22.059 | 14.4664 | 15.4305 | 20.6478 | 1.6326 | -1.354
[31 empty] | Cycle 2 | 14.8175 | 16.1262 | 21.2249 | 13.7803 | 14.7 | 19.6691 | 1.6538 | -1.3648
[31 empty] | Cycle 3 | 14.2639 | 15.5241 | 20.4322 | 13.1383 | 14.0149 | 18.7529 | 1.6793 | -1.3608
[31 empty] | Cycle 4 | 13.7374 | 14.9517 | 19.6785 | 12.5326 | 13.369 | 17.8887 | 1.6845 | -1.353
[31 empty] | Cycle 5 | 13.2345 | 14.4042 | 18.9583 | 11.965 | 12.7643 | 17.0787 | 1.6378 | -1.3612
[31 empty] | Cycle 6 | 12.7521 | 13.8795 | 18.2676 | 11.4312 | 12.195 | 16.3171 | 1.6595 | -1.3449
[31 empty] | Cycle 7 | 12.291 | 13.3783 | 17.6073 | 10.928 | 11.6582 | 15.5989 | 1.6776 | -1.3562
[31 empty] | Cycle 8 |  |  |  | 10.4529 | 11.1519 | 14.9211
30 | GIRMS\IRMS-operator | 2026-05-14 05:05 | 2026-05-14 06:15 | Success | FALSE | MD23-3678 - G. ruber | 2001 | 2 | 16 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 10.472 V | 9.5174 kV | 106 µbar | 103 µbar | Carbon Dioxide: 0.0174 kV | 841 µbar | 10.120 V | 11.895 V | 288 µbar/min | 13.550 V | 1.02E-007 mbar | 15 % | 899 µbar | 72 °C | µ-Volume |  | Pre | 9.9755 | 10.855 | 14.2912 | 10.4385 | 11.1364 | 14.8988 | 1.3856 | -1.2061 | 1.3708 | 0.023917 | 0.0090397 | -1.2137 | 0.0092574 | 0.003499 | 1.5119 | 0.025417 | -1.2181 | 0.0092268
[31 empty] | Cycle 1 | 9.6362 | 10.4857 | 13.8055 | 9.9878 | 10.6556 | 14.2562 | 1.3743 | -1.2107
[31 empty] | Cycle 2 | 9.3093 | 10.1302 | 13.3375 | 9.563 | 10.2025 | 13.6501 | 1.3799 | -1.2015
[31 empty] | Cycle 3 | 8.9967 | 9.7902 | 12.8898 | 9.1608 | 9.7737 | 13.0761 | 1.3682 | -1.2116
[31 empty] | Cycle 4 | 8.6959 | 9.4627 | 12.4586 | 8.7793 | 9.3669 | 12.5318 | 1.32 | -1.2288
[31 empty] | Cycle 5 | 8.4053 | 9.1463 | 12.0425 | 8.418 | 8.9817 | 12.0159 | 1.2764 | -1.2157
[31 empty] | Cycle 6 | 8.1248 | 8.842 | 11.6408 | 8.0749 | 8.6159 | 11.5266 | 1.3936 | -1.2216
[31 empty] | Cycle 7 | 7.858 | 8.5515 | 11.2583 | 7.7495 | 8.2682 | 11.0622 | 1.3739 | -1.2507
[31 empty] | Cycle 8 |  |  |  | 7.44 | 7.9383 | 10.6203
31 | GIRMS\IRMS-operator | 2026-05-14 05:48 | 2026-05-14 06:53 | Success | FALSE | SHP2L |  | 1 | 17 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 5.813 V | 9.5175 kV | 96 µbar | 108 µbar | Carbon Dioxide: 0.0175 kV | 1,007 µbar | 5.442 V | 6.446 V | 454 µbar/min | 9.592 V | 7.13E-008 mbar | 28 % | 787 µbar | 72 °C | µ-Volume |  | Pre | 5.4117 | 5.8771 | 7.7177 | 5.5578 | 5.9305 | 7.9345 | -0.84019 | -5.9698 | -0.80517 | 0.019155 | 0.0067723 | -5.9768 | 0.030684 | 0.010848 | -0.64028 | 0.020942 | -5.9814 | 0.030733
[31 empty] | Cycle 1 | 5.2535 | 5.7056 | 7.4917 | 5.3516 | 5.7109 | 7.6401 | -0.79088 | -6.005
[31 empty] | Cycle 2 | 5.1001 | 5.5388 | 7.2732 | 5.1548 | 5.5005 | 7.359 | -0.80875 | -5.9449
[31 empty] | Cycle 3 | 4.9512 | 5.3771 | 7.0606 | 4.9652 | 5.2985 | 7.0882 | -0.81581 | -5.9843
[31 empty] | Cycle 4 | 4.8078 | 5.2214 | 6.8561 | 4.7847 | 5.1058 | 6.8307 | -0.79142 | -5.9998
[31 empty] | Cycle 5 | 4.669 | 5.0707 | 6.6585 | 4.6118 | 4.9211 | 6.5837 | -0.79986 | -5.9212
[31 empty] | Cycle 6 | 4.5347 | 4.9249 | 6.4667 | 4.4461 | 4.7446 | 6.347 | -0.8155 | -5.9801
[31 empty] | Cycle 7 | 4.4039 | 4.783 | 6.2802 | 4.2878 | 4.5755 | 6.1212 | -0.77895 | -6.0091
[31 empty] | Cycle 8 |  |  |  | 4.1359 | 4.4136 | 5.9046
32 | GIRMS\IRMS-operator | 2026-05-14 06:15 | 2026-05-14 07:25 | Success | FALSE | MD23-3678 - G. ruber | 1665 | 2 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 5.593 V | 9.5176 kV | 106 µbar | 103 µbar | Carbon Dioxide: 0.0176 kV | 865 µbar | 5.628 V | 6.214 V | 308 µbar/min | 5.282 V | 6.79E-008 mbar | 26 % | 819 µbar | 72 °C | µ-Volume |  | Pre | 5.4478 | 5.9271 | 7.8086 | 5.7506 | 6.1362 | 8.2098 | 1.0322 | -0.91976 | 1.0156 | 0.024074 | 0.0090991 | -0.9315 | 0.024449 | 0.0086442 | 1.1213 | 0.02584 | -0.93482 | 0.024457
[31 empty] | Cycle 1 | 5.2829 | 5.7478 | 7.5721 | 5.5339 | 5.9051 | 7.9004 | 1.0435 | -0.93805
[31 empty] | Cycle 2 | 5.1251 | 5.5761 | 7.346 | 5.3283 | 5.6857 | 7.6069 | 1.0297 | -0.93644
[31 empty] | Cycle 3 | 4.9719 | 5.4099 | 7.1265 | 5.132 | 5.4763 | 7.3266 | 1.1049 | -0.91306
[31 empty] | Cycle 4 | 4.8234 | 5.248 | 6.9134 | 4.9442 | 5.276 | 7.0585 | 1.006 | -0.96378
[31 empty] | Cycle 5 | 4.6813 | 5.0932 | 6.7099 | 4.7648 | 5.0848 | 6.8027 | 0.97237 | -0.93884
[31 empty] | Cycle 6 | 4.5438 | 4.9437 | 6.5132 | 4.5928 | 4.9012 | 6.5568 | 1.0016 | -0.88695
[31 empty] | Cycle 7 | 4.4089 | 4.797 | 6.3196 | 4.4283 | 4.7254 | 6.3222 | 1.0239 | -0.95515
[31 empty] | Cycle 8 |  |  |  | 4.2711 | 4.5577 | 6.0978
33 | GIRMS\IRMS-operator | 2026-05-14 06:53 | 2026-05-14 08:08 | Success | FALSE | MD23-3678 - G. ruber | 1657 | 1 | 18 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 0.012 V | 9.5177 kV | 98 µbar | 108 µbar | Carbon Dioxide: 0.0177 kV | 929 µbar | 1.661 V | 0.012 V | 869 µbar/min | 1.842 V | 3.55E-008 mbar | 100 % | 101 µbar | 72 °C | µ-Volume | 0.014 V | Pre | 0.012196 | 0.01305 | 0.017332 | 1.7251 | 1.8411 | 2.463 | -15.5646 | -9.4356 | -14.3732 | 0.71377 | 0.25236 | -9.7045 | 1.0852 | 0.38367 | -15.0201 | 0.74761 | -9.6825 | 1.0857
[31 empty] | Cycle 1 | 0.011885 | 0.012726 | 0.01685 | 1.6675 | 1.7794 | 2.3804 | -14.8797 | -11.7567
[31 empty] | Cycle 2 | 0.011685 | 0.012514 | 0.016582 | 1.615 | 1.7234 | 2.3057 | -14.6569 | -10.8114
[31 empty] | Cycle 3 | 0.011517 | 0.012341 | 0.016365 | 1.5648 | 1.6699 | 2.2339 | -14.0809 | -9.4715
[31 empty] | Cycle 4 | 0.011362 | 0.012185 | 0.016162 | 1.5164 | 1.6182 | 2.1648 | -13.3183 | -8.4884
[31 empty] | Cycle 5 | 0.011212 | 0.012012 | 0.015944 | 1.4698 | 1.5684 | 2.0983 | -14.2593 | -8.8039
[31 empty] | Cycle 6 | 0.011061 | 0.011846 | 0.015724 | 1.4246 | 1.5202 | 2.0337 | -14.594 | -9.085
[31 empty] | Cycle 7 | 0.010909 | 0.011695 | 0.015497 | 1.3808 | 1.4733 | 1.9712 | -13.6316 | -9.7833
[31 empty] | Cycle 8 |  |  |  | 1.3385 | 1.4283 | 1.9109
34 | GIRMS\IRMS-operator | 2026-05-14 07:25 | 2026-05-14 08:37 | Success | FALSE | MD23-3678 - G. ruber | 1649 | 2 | 18 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 13.244 V | 9.5176 kV | 108 µbar | 101 µbar | Carbon Dioxide: 0.0176 kV | 819 µbar | 11.537 V | 15.200 V | 283 µbar/min | 1.652 V | 1.11E-007 mbar | 13 % | 926 µbar | 72 °C | µ-Volume |  | Pre | 11.2799 | 12.2699 | 16.1681 | 11.9337 | 12.7304 | 17.0343 | 1.0744 | -0.75958 | 1.0276 | 0.011143 | 0.0042115 | -0.77565 | 0.013919 | 0.0049212 | 1.1284 | 0.011744 | -0.77882 | 0.013909
[31 empty] | Cycle 1 | 10.8796 | 11.8344 | 15.5944 | 11.3999 | 12.162 | 16.2724 | 1.0257 | -0.75736
[31 empty] | Cycle 2 | 10.5001 | 11.4219 | 15.0504 | 10.8966 | 11.6251 | 15.5541 | 1.0428 | -0.78331
[31 empty] | Cycle 3 | 10.1332 | 11.023 | 14.5248 | 10.4213 | 11.1182 | 14.876 | 1.0332 | -0.77288
[31 empty] | Cycle 4 | 9.7834 | 10.643 | 14.0236 | 9.9727 | 10.6401 | 14.2356 | 1.04 | -0.76876
[31 empty] | Cycle 5 | 9.4473 | 10.2773 | 13.5416 | 9.5482 | 10.1874 | 13.6299 | 1.0166 | -0.79957
[31 empty] | Cycle 6 | 9.1255 | 9.9275 | 13.0808 | 9.1468 | 9.7592 | 13.0571 | 1.0179 | -0.78176
[31 empty] | Cycle 7 | 8.8162 | 9.5911 | 12.6373 | 8.7658 | 9.353 | 12.5133 | 1.0172 | -0.782
[31 empty] | Cycle 8 |  |  |  | 8.4049 | 8.968 | 11.9978
35 | GIRMS\IRMS-operator | 2026-05-14 08:08 | 2026-05-14 09:12 | Success | FALSE | MD23-3678 - G. ruber | 1641 | 1 | 19 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 0.014 V | 9.5174 kV | 96 µbar | 108 µbar | Carbon Dioxide: 0.0174 kV | 1,024 µbar | 1.553 V | 0.014 V | 781 µbar/min | 10.891 V | 3.51E-008 mbar | 100 % | 106 µbar | 72 °C | µ-Volume | 0.018 V | Pre | 0.013544 | 0.014511 | 0.019254 | 1.6153 | 1.7235 | 2.3056 | -14.2351 | -8.934 | -13.8716 | 0.54745 | 0.19355 | -9.0644 | 0.76503 | 0.27048 | -14.5071 | 0.5861 | -9.0429 | 0.76584
[31 empty] | Cycle 1 | 0.013073 | 0.014019 | 0.018592 | 1.5617 | 1.6664 | 2.229 | -13.3887 | -8.5567
[31 empty] | Cycle 2 | 0.01279 | 0.013707 | 0.018164 | 1.5126 | 1.614 | 2.159 | -13.9703 | -9.9718
[31 empty] | Cycle 3 | 0.01255 | 0.013463 | 0.017831 | 1.4656 | 1.5639 | 2.0921 | -12.9925 | -9.5153
[31 empty] | Cycle 4 | 0.012336 | 0.013213 | 0.017513 | 1.4205 | 1.5157 | 2.0275 | -14.4965 | -10.1827
[31 empty] | Cycle 5 | 0.012121 | 0.012997 | 0.017231 | 1.3769 | 1.4693 | 1.9652 | -13.3746 | -8.8221
[31 empty] | Cycle 6 | 0.01193 | 0.01278 | 0.016975 | 1.3348 | 1.4243 | 1.9051 | -14.3437 | -7.9403
[31 empty] | Cycle 7 | 0.011746 | 0.012586 | 0.016703 | 1.2941 | 1.3809 | 1.8471 | -14.1709 | -8.5926
[31 empty] | Cycle 8 |  |  |  | 1.2547 | 1.3388 | 1.7908
36 | GIRMS\IRMS-operator | 2026-05-14 08:37 | 2026-05-14 09:46 | Running | FALSE | SHP2L |  | 2 | 19 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 6.438 V | 9.5178 kV | 106 µbar | 101 µbar | Carbon Dioxide: 0.0178 kV | 880 µbar | 6.095 V | 7.190 V | 322 µbar/min | 1.542 V | 7.60E-008 mbar | 26 % | 833 µbar | 72 °C | µ-Volume |  | Pre | 5.9207 | 6.4301 | 8.4432 | 6.2225 | 6.64 | 8.8835 | -0.79577 | -6.0219 | -0.7758 | 0.023045 | 0.0081477 | -6.0341 | 0.02544 | 0.0089945 | -0.60673 | 0.024679 | -6.0388 | 0.025468
[31 empty] | Cycle 1 | 5.7412 | 6.2353 | 8.1872 | 5.9846 | 6.3863 | 8.544 | -0.76178 | -6.0286
[31 empty] | Cycle 2 | 5.567 | 6.046 | 7.9388 | 5.7588 | 6.1452 | 8.2217 | -0.78748 | -6.0269
[31 empty] | Cycle 3 | 5.3977 | 5.8621 | 7.6976 | 5.5438 | 5.9159 | 7.9148 | -0.78844 | -6.0045
[31 empty] | Cycle 4 | 5.2338 | 5.6844 | 7.4639 | 5.3378 | 5.6958 | 7.6204 | -0.7477 | -6.0076
[31 empty] | Cycle 5 | 5.0746 | 5.5113 | 7.2365 | 5.1411 | 5.4862 | 7.34 | -0.77938 | -6.0794
[31 empty] | Cycle 6 | 4.9209 | 5.3447 | 7.0174 | 4.9529 | 5.2853 | 7.0713 | -0.74124 | -6.0551
[31 empty] | Cycle 7 | 4.7719 | 5.1827 | 6.8048 | 4.7728 | 5.0933 | 6.814 | -0.80459 | -6.0492
[31 empty] | Cycle 8 |  |  |  | 4.6007 | 4.9098 | 6.5682
37 | GIRMS\IRMS-operator | 2026-05-14 09:12 | 2026-05-14 10:29 | Running | FALSE | MD23-3678 - G. ruber | 1633 | 1 | 20 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 13.409 V | 9.5178 kV | 96 µbar | 108 µbar | Carbon Dioxide: 0.0178 kV | 982 µbar | 12.580 V | 15.368 V | 567 µbar/min | 1.846 V | 1.19E-007 mbar | 12 % | 877 µbar | 72 °C | µ-Volume |  | Pre | 12.2417 | 13.3104 | 17.5466 | 13.0607 | 13.9325 | 18.643 | 0.67922 | -0.77571 | 0.66426 | 0.01549 | 0.0054764 | -0.78811 | 0.019083 | 0.0067469 | 0.73991 | 0.016382 | -0.79046 | 0.019093
[31 empty] | Cycle 1 | 11.8066 | 12.8377 | 16.9227 | 12.4594 | 13.2915 | 17.7848 | 0.67471 | -0.79558
[31 empty] | Cycle 2 | 11.3911 | 12.3862 | 16.3278 | 11.8942 | 12.6889 | 16.9783 | 0.68391 | -0.76745
[31 empty] | Cycle 3 | 10.9942 | 11.9547 | 15.7586 | 11.3611 | 12.1203 | 16.2175 | 0.67541 | -0.80759
[31 empty] | Cycle 4 | 10.6146 | 11.542 | 15.2149 | 10.86 | 11.586 | 15.5025 | 0.65186 | -0.78344
[31 empty] | Cycle 5 | 10.2514 | 11.1473 | 14.6941 | 10.3878 | 11.0826 | 14.8284 | 0.64762 | -0.81739
[31 empty] | Cycle 6 | 9.9017 | 10.7673 | 14.1938 | 9.9408 | 10.6058 | 14.1909 | 0.6549 | -0.76332
[31 empty] | Cycle 7 | 9.5669 | 10.4035 | 13.7135 | 9.5194 | 10.1566 | 13.5893 | 0.64643 | -0.79441
[31 empty] | Cycle 8 |  |  |  | 9.1204 | 9.7311 | 13.0197
38 | GIRMS\IRMS-operator | 2026-05-14 09:46 | 2026-05-14 10:55 | Running | FALSE | MD23-3678 - G. ruber | 1625 | 2 | 20 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 12.291 V | 9.5175 kV | 103 µbar | 101 µbar | Carbon Dioxide: 0.0175 kV | 921 µbar | 12.342 V | 14.046 V | 303 µbar/min | 11.850 V | 1.17E-007 mbar | 11 % | 904 µbar | 72 °C | µ-Volume |  | Pre | 11.9965 | 13.0446 | 17.1958 | 12.8441 | 13.7012 | 18.3327 | 0.75265 | -0.68386 | 0.72872 | 0.016325 | 0.0057717 | -0.70712 | 0.018913 | 0.0066868 | 0.8059 | 0.01729 | -0.70952 | 0.018923
[31 empty] | Cycle 1 | 11.5699 | 12.5807 | 16.5843 | 12.2558 | 13.0743 | 17.4937 | 0.72735 | -0.70199
[31 empty] | Cycle 2 | 11.16 | 12.1352 | 15.9968 | 11.7039 | 12.4855 | 16.7057 | 0.72002 | -0.72075
[31 empty] | Cycle 3 | 10.769 | 11.7105 | 15.4362 | 11.1839 | 11.9312 | 15.964 | 0.74456 | -0.73721
[31 empty] | Cycle 4 | 10.3934 | 11.3022 | 14.8983 | 10.6913 | 11.4057 | 15.2609 | 0.73498 | -0.70562
[31 empty] | Cycle 5 | 10.0335 | 10.9113 | 14.3828 | 10.227 | 10.9108 | 14.5981 | 0.72657 | -0.68295
[31 empty] | Cycle 6 | 9.6902 | 10.538 | 13.8904 | 9.7891 | 10.4444 | 13.9732 | 0.69859 | -0.72242
[31 empty] | Cycle 7 | 9.3571 | 10.176 | 13.4134 | 9.3742 | 10.0016 | 13.3815 | 0.72506 | -0.70215
[31 empty] | Cycle 8 |  |  |  | 8.9827 | 9.584 | 12.8224
39 | GIRMS\IRMS-operator | 2026-05-14 10:29 | 2026-05-14 11:32 | Running | FALSE | MD23-3678 - G. ruber | 1617 | 1 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 9.883 V | 9.5176 kV | 93 µbar | 106 µbar | Carbon Dioxide: 0.0176 kV | 1,021 µbar | 9.633 V | 11.182 V | 508 µbar/min | 11.581 V | 9.86E-008 mbar | 15 % | 841 µbar | 72 °C | µ-Volume |  | Pre | 9.4828 | 10.314 | 13.5937 | 9.9401 | 10.6051 | 14.1895 | 0.89318 | -0.70563 | 0.85514 | 0.010585 | 0.0040008 | -0.72865 | 0.020889 | 0.0073853 | 0.94705 | 0.017686 | -0.73138 | 0.020905
[31 empty] | Cycle 1 | 9.1716 | 9.9755 | 13.1472 | 9.516 | 10.1524 | 13.584 | 0.87871 | -0.74774
[31 empty] | Cycle 2 | 8.875 | 9.653 | 12.7226 | 9.1155 | 9.7255 | 13.0125 | 0.85167 | -0.69857
[31 empty] | Cycle 3 | 8.5887 | 9.3419 | 12.3118 | 8.7355 | 9.3206 | 12.4699 | 0.85377 | -0.71948
[31 empty] | Cycle 4 | 8.311 | 9.0399 | 11.9139 | 8.3764 | 8.9374 | 11.9572 | 0.84929 | -0.72729
[31 empty] | Cycle 5 | 8.0456 | 8.7513 | 11.5335 | 8.0353 | 8.5735 | 11.4708 | 0.84943 | -0.74696
[31 empty] | Cycle 6 | 7.792 | 8.4757 | 11.1699 | 7.7126 | 8.2294 | 11.0102 | 0.85387 | -0.75742
[31 empty] | Cycle 7 | 7.5435 | 8.2055 | 10.814 | 7.4052 | 7.9017 | 10.5713 | 0.84927 | -0.72613
[31 empty] | Cycle 8 |  |  |  | 7.1121 | 7.5889 | 10.153
40 | GIRMS\IRMS-operator | 2026-05-14 10:55 | 2026-05-14 12:07 | Running | FALSE | MD23-3678 - G. ruber | 1609 | 2 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 9.974 V | 9.5176 kV | 103 µbar | 98 µbar | Carbon Dioxide: 0.0176 kV | 887 µbar | 9.228 V | 11.320 V | 342 µbar/min | 9.137 V | 9.62E-008 mbar | 14 % | 885 µbar | 72 °C | µ-Volume |  | Pre | 9.0374 | 9.8316 | 12.9525 | 9.5274 | 10.1647 | 13.6005 | 1.0735 | -0.949 | 1.0612 | 0.023958 | 0.0084705 | -0.95281 | 0.0084201 | 0.0031825 | 1.1709 | 0.025431 | -0.95623 | 0.0083943
[31 empty] | Cycle 1 | 8.7371 | 9.5051 | 12.5223 | 9.126 | 9.737 | 13.0278 | 1.0694 | -0.948
[31 empty] | Cycle 2 | 8.4471 | 9.1896 | 12.1068 | 8.7466 | 9.3321 | 12.4864 | 1.0404 | -0.95282
[31 empty] | Cycle 3 | 8.1679 | 8.8861 | 11.7067 | 8.3868 | 8.9486 | 11.9728 | 1.0279 | -0.96458
[31 empty] | Cycle 4 | 7.8983 | 8.5933 | 11.3206 | 8.0458 | 8.5851 | 11.4863 | 1.0969 | -0.93961
[31 empty] | Cycle 5 | 7.6388 | 8.3104 | 10.9486 | 7.7218 | 8.2391 | 11.0236 | 1.0411 | -0.95431
[31 empty] | Cycle 6 | 7.3886 | 8.0386 | 10.5898 | 7.4131 | 7.9097 | 10.5831 | 1.0559 | -0.98354
[31 empty] | Cycle 7 | 7.1481 | 7.7775 | 10.2453 | 7.1204 | 7.5979 | 10.1653 | 1.0846 | -0.96134
[31 empty] | Cycle 8 |  |  |  | 6.8409 | 7.2998 | 9.7664
41 | GIRMS\IRMS-operator | 2026-05-14 11:32 | 2026-05-14 12:50 | Running | FALSE | SHP2L |  | 1 | 22 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 4.762 V | 9.5177 kV | 93 µbar | 113 µbar | Carbon Dioxide: 0.0177 kV | 1,082 µbar | 4.421 V | 5.253 V | 620 µbar/min | 1.852 V | 5.86E-008 mbar | 39 % | 750 µbar | 72 °C | µ-Volume |  | Pre | 4.3995 | 4.7784 | 6.2752 | 4.5061 | 4.8088 | 6.4335 | -0.78669 | -5.9015 | -0.77577 | 0.024164 | 0.0085432 | -5.9139 | 0.013213 | 0.0046714 | -0.61116 | 0.026083 | -5.9185 | 0.013252
[31 empty] | Cycle 1 | 4.2738 | 4.6419 | 6.0957 | 4.3449 | 4.6366 | 6.2034 | -0.75232 | -5.9162
[31 empty] | Cycle 2 | 4.1511 | 4.5085 | 5.9207 | 4.1903 | 4.4716 | 5.9826 | -0.80857 | -5.9083
[31 empty] | Cycle 3 | 4.0329 | 4.3801 | 5.752 | 4.042 | 4.3136 | 5.7709 | -0.797 | -5.9239
[31 empty] | Cycle 4 | 3.9189 | 4.2565 | 5.5895 | 3.9004 | 4.1624 | 5.569 | -0.78366 | -5.9213
[31 empty] | Cycle 5 | 3.808 | 4.1361 | 5.4314 | 3.7648 | 4.018 | 5.375 | -0.78404 | -5.8903
[31 empty] | Cycle 6 | 3.7007 | 4.0196 | 5.2784 | 3.6345 | 3.8787 | 5.1891 | -0.73988 | -5.9311
[31 empty] | Cycle 7 | 3.5962 | 3.906 | 5.1294 | 3.5093 | 3.745 | 5.0106 | -0.75403 | -5.9188
[31 empty] | Cycle 8 |  |  |  | 3.3894 | 3.6171 | 4.8392
42 | GIRMS\IRMS-operator | 2026-05-14 12:07 | 2026-05-14 13:16 | Running | FALSE | MD23-3678 - G. ruber | 1601 | 2 | 22 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 13.924 V | 9.5176 kV | 103 µbar | 101 µbar | Carbon Dioxide: 0.0176 kV | 958 µbar | 13.909 V | 16.023 V | 386 µbar/min | 4.325 V | 1.27E-007 mbar | 10 % | 916 µbar | 72 °C | µ-Volume |  | Pre | 13.5323 | 14.7247 | 19.3897 | 14.5269 | 15.4948 | 20.7354 | 1.5385 | -1.0912 | 1.4984 | 0.026673 | 0.0094305 | -1.1011 | 0.022433 | 0.0079312 | 1.6441 | 0.028008 | -1.1057 | 0.022418
[31 empty] | Cycle 1 | 13.0343 | 14.1833 | 18.6763 | 13.8349 | 14.7575 | 19.7477 | 1.5167 | -1.0889
[31 empty] | Cycle 2 | 12.5578 | 13.6651 | 17.9937 | 13.1878 | 14.0679 | 18.8241 | 1.5176 | -1.0966
[31 empty] | Cycle 3 | 12.1032 | 13.1708 | 17.3425 | 12.5811 | 13.4207 | 17.9585 | 1.509 | -1.0879
[31 empty] | Cycle 4 | 11.6685 | 12.6982 | 16.7203 | 12.0097 | 12.8122 | 17.1427 | 1.4956 | -1.0744
[31 empty] | Cycle 5 | 11.2541 | 12.2473 | 16.1265 | 11.4708 | 12.2375 | 16.3745 | 1.4676 | -1.1013
[31 empty] | Cycle 6 | 10.8559 | 11.8142 | 15.5554 | 10.964 | 11.6974 | 15.6509 | 1.4631 | -1.1437
[31 empty] | Cycle 7 | 10.4743 | 11.3993 | 15.0092 | 10.4863 | 11.1877 | 14.9694 | 1.4795 | -1.1247
[31 empty] | Cycle 8 |  |  |  | 10.0319 | 10.7033 | 14.3208
43 | GIRMS\IRMS-operator | 2026-05-14 12:50 | 2026-05-14 13:53 | Running | FALSE | MD23-3678 - G. ruber | 1593 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 15.170 V | 9.5173 kV | 91 µbar | 103 µbar | Carbon Dioxide: 0.0173 kV | 321 µbar | 12.937 V | 17.447 V | 190 µbar/min | 12.975 V | 1.21E-007 mbar | 10 % | 887 µbar | 72 °C | µ-Volume | 13.997 V | Pre | 14.8098 | 16.1092 | 21.2204 | 13.5203 | 14.4213 | 19.2977 | 1.174 | -1.056 | 1.1456 | 0.017754 | 0.006277 | -1.0749 | 0.016158 | 0.0057126 | 1.2656 | 0.018753 | -1.0786 | 0.016158
[31 empty] | Cycle 1 | 14.2711 | 15.5235 | 20.4484 | 12.8929 | 13.7529 | 18.4029 | 1.1386 | -1.0984
[31 empty] | Cycle 2 | 13.7529 | 14.9603 | 19.7061 | 12.3034 | 13.1247 | 17.562 | 1.1332 | -1.0938
[31 empty] | Cycle 3 | 13.2581 | 14.4223 | 18.9977 | 11.7479 | 12.5324 | 16.7689 | 1.1184 | -1.0671
[31 empty] | Cycle 4 | 12.7876 | 13.9113 | 18.3234 | 11.2249 | 11.9749 | 16.0225 | 1.1505 | -1.0804
[31 empty] | Cycle 5 | 12.3422 | 13.427 | 17.6859 | 10.7318 | 11.4493 | 15.319 | 1.1421 | -1.0566
[31 empty] | Cycle 6 | 11.9103 | 12.9577 | 17.0671 | 10.2673 | 10.9538 | 14.6559 | 1.1659 | -1.0653
[31 empty] | Cycle 7 | 11.4957 | 12.5066 | 16.4731 | 9.8268 | 10.4841 | 14.0276 | 1.1425 | -1.0814
[31 empty] | Cycle 8 |  |  |  | 9.41 | 10.0397 | 13.4328
44 | GIRMS\IRMS-operator | 2026-05-14 13:16 | 2026-05-14 14:27 | Running | FALSE | MD23-3678 - G. ruber | 1729 | 2 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.927 V | 9.5174 kV | 108 µbar | 103 µbar | Carbon Dioxide: 0.0174 kV | 775 µbar | 11.780 V | 13.621 V | 259 µbar/min | 12.083 V | 1.12E-007 mbar | 10 % | 919 µbar | 72 °C | µ-Volume |  | Pre | 11.5791 | 12.5961 | 16.5912 | 12.2937 | 13.1142 | 17.5478 | 1.1589 | -1.1037 | 1.1793 | 0.03402 | 0.012028 | -1.1049 | 0.0061248 | 0.0021654 | 1.3027 | 0.036489 | -1.1088 | 0.006161
[31 empty] | Cycle 1 | 11.1693 | 12.1507 | 16.0041 | 11.7386 | 12.5227 | 16.7557 | 1.1677 | -1.1031
[31 empty] | Cycle 2 | 10.7788 | 11.7268 | 15.4445 | 11.2166 | 11.9659 | 16.0107 | 1.2373 | -1.1146
[31 empty] | Cycle 3 | 10.4042 | 11.3189 | 14.908 | 10.7246 | 11.4414 | 15.3089 | 1.1905 | -1.1093
[31 empty] | Cycle 4 | 10.0459 | 10.9296 | 14.3948 | 10.2596 | 10.9453 | 14.6448 | 1.2214 | -1.0973
[31 empty] | Cycle 5 | 9.7022 | 10.5556 | 13.9024 | 9.8206 | 10.4771 | 14.0184 | 1.1628 | -1.1108
[31 empty] | Cycle 6 | 9.3696 | 10.1939 | 13.426 | 9.4053 | 10.0348 | 13.4258 | 1.1526 | -1.1023
[31 empty] | Cycle 7 | 9.0505 | 9.8468 | 12.9693 | 9.0119 | 9.6151 | 12.8644 | 1.1432 | -1.0982
[31 empty] | Cycle 8 |  |  |  | 8.639 | 9.2176 | 12.3328
45 | GIRMS\IRMS-operator | 2026-05-14 13:53 | 2026-05-14 15:09 | Running | FALSE | MD23-3678 - G. ruber | 1725 | 1 | 24 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 0.006 V | 9.5176 kV | 98 µbar | 98 µbar | Carbon Dioxide: 0.0176 kV | 130 µbar | 1.657 V | 0.006 V | 298 µbar/min | 1.837 V | 3.49E-008 mbar | 100 % | 89 µbar | 73 °C | µ-Volume | 0.008 V | Pre | 0.0058815 | 0.0062868 | 0.0083513 | 1.7214 | 1.8371 | 2.4578 | -16.621 | -10.3242 | -16.347 | 0.67984 | 0.25695 | -9.4619 | 1.2325 | 0.46582 | -17.1108 | 0.71824 | -9.4341 | 1.2339
[31 empty] | Cycle 1 | 0.0056532 | 0.0060512 | 0.0080359 | 1.6639 | 1.7757 | 2.3755 | -15.2568 | -9.1827
[31 empty] | Cycle 2 | 0.0055374 | 0.0059195 | 0.0078576 | 1.6114 | 1.7196 | 2.3004 | -16.5409 | -10.9172
[31 empty] | Cycle 3 | 0.0054432 | 0.0058162 | 0.0077513 | 1.5613 | 1.6662 | 2.2291 | -16.9635 | -7.4113
[31 empty] | Cycle 4 | 0.0053672 | 0.0057378 | 0.0075856 | 1.513 | 1.6146 | 2.1599 | -16.469 | -14.8484
[31 empty] | Cycle 5 | 0.0052864 | 0.0056484 | 0.0075039 | 1.4661 | 1.5646 | 2.093 | -17.0206 | -10.5831
[31 empty] | Cycle 6 | 0.0052057 | 0.0055451 | 0.0074 | 1.421 | 1.5165 | 2.0287 | -20.0479 | -9.1284
[31 empty] | Cycle 7 | 0.0051249 | 0.005484 | 0.0072881 | 1.3775 | 1.47 | 1.9665 | -15.5575 | -8.6865
[31 empty] | Cycle 8 |  |  |  | 1.3354 | 1.4252 | 1.9063
46 | GIRMS\IRMS-operator | 2026-05-14 14:27 | 2026-05-14 15:37 | Running | FALSE | SHP2L |  | 2 | 24 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 7.079 V | 9.5175 kV | 108 µbar | 101 µbar | Carbon Dioxide: 0.0175 kV | 848 µbar | 6.704 V | 7.935 V | 347 µbar/min | 1.646 V | 7.83E-008 mbar | 25 % | 855 µbar | 72 °C | µ-Volume |  | Pre | 6.5144 | 7.0744 | 9.2899 | 6.841 | 7.2998 | 9.7665 | -0.82597 | -5.9917 | -0.79663 | 0.022468 | 0.0079438 | -6.0143 | 0.025285 | 0.0089397 | -0.62976 | 0.023774 | -6.0189 | 0.025297
[31 empty] | Cycle 1 | 6.3119 | 6.8548 | 9.0007 | 6.5751 | 7.016 | 9.3866 | -0.79226 | -6.0275
[31 empty] | Cycle 2 | 6.1166 | 6.6429 | 8.7222 | 6.3224 | 6.7466 | 9.0259 | -0.79769 | -6.0278
[31 empty] | Cycle 3 | 5.9281 | 6.4384 | 8.4535 | 6.0811 | 6.4893 | 8.6813 | -0.75538 | -5.9992
[31 empty] | Cycle 4 | 5.7454 | 6.2398 | 8.1932 | 5.851 | 6.2435 | 8.3527 | -0.78032 | -5.988
[31 empty] | Cycle 5 | 5.5699 | 6.0493 | 7.943 | 5.6313 | 6.0092 | 8.0393 | -0.79186 | -6.0024
[31 empty] | Cycle 6 | 5.4003 | 5.865 | 7.7005 | 5.4215 | 5.7855 | 7.7398 | -0.81327 | -6.0648
[31 empty] | Cycle 7 | 5.2366 | 5.6873 | 7.4674 | 5.2212 | 5.5717 | 7.4538 | -0.81627 | -6.0126
[31 empty] | Cycle 8 |  |  |  | 5.0297 | 5.3676 | 7.1803