## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-05-25 12:06 | 2026-05-25 13:02 | Running | FALSE | MD23-3678 - N. dutertri | 1301 | 1 | 1 | 15 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 17.469 V | 9.5166 kV | 118 µbar | 111 µbar | Carbon Dioxide: 0.0166 kV | 609 µbar | 16.137 V | 20.354 V | 581 µbar/min | 2.624 V | 1.42E-007 mbar | 12 % | 1,007 µbar | 72 °C | µ-Volume |  | Pre | 15.7474 | 17.1266 | 22.5931 | 16.5751 | 17.6791 | 23.6578 | 1.0687 | 0.2771 | 1.0524 | 0.010104 | 0.0035722 | 0.27302 | 0.0070164 | 0.0024807 | 1.116 | 0.010894 | 0.27093 | 0.0070311
[32 empty] | Cycle 1 | 15.1403 | 16.4667 | 21.7226 | 15.7517 | 16.8018 | 22.482 | 1.039 | 0.27958
[32 empty] | Cycle 2 | 14.5641 | 15.8409 | 20.8962 | 14.9845 | 15.9842 | 21.3882 | 1.0616 | 0.26956
[32 empty] | Cycle 3 | 14.0148 | 15.2441 | 20.1088 | 14.2673 | 15.2196 | 20.3646 | 1.0526 | 0.27872
[32 empty] | Cycle 4 | 13.4917 | 14.6759 | 19.3583 | 13.5942 | 14.5024 | 19.4047 | 1.0587 | 0.26202
[32 empty] | Cycle 5 | 12.9905 | 14.131 | 18.6393 | 12.9631 | 13.8297 | 18.5038 | 1.0499 | 0.26396
[32 empty] | Cycle 6 | 12.5128 | 13.6117 | 17.9543 | 12.3689 | 13.1959 | 17.6558 | 1.0433 | 0.27423
[32 empty] | Cycle 7 | 12.0566 | 13.1158 | 17.2998 | 11.81 | 12.6002 | 16.8581 | 1.045 | 0.279
[32 empty] | Cycle 8 |  |  |  | 11.2835 | 12.0387 | 16.1064
2 | GIRMS\IRMS-operator | 2026-05-25 12:38 | 2026-05-25 13:31 | Running | FALSE | MD23-3678 - N. dutertri | 1293 | 2 | 1 | 16 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 19.013 V | 9.5164 kV | 106 µbar | 108 µbar | Carbon Dioxide: 0.0164 kV | 499 µbar | 17.426 V | 22.099 V | 342 µbar/min | 15.470 V | 1.51E-007 mbar | 10 % | 977 µbar | 72 °C | µ-Volume |  | Pre | 17.3348 | 18.8572 | 24.8707 | 17.9421 | 19.1351 | 25.6069 | 1.4 | 0.33031 | 1.3751 | 0.031832 | 0.011254 | 0.33741 | 0.024339 | 0.0086052 | 1.4589 | 0.033546 | 0.33467 | 0.024323
[32 empty] | Cycle 1 | 16.685 | 18.1514 | 23.9399 | 17.0305 | 18.1635 | 24.3065 | 1.4167 | 0.37245
[32 empty] | Cycle 2 | 16.0619 | 17.4744 | 23.046 | 16.1803 | 17.2576 | 23.0934 | 1.4165 | 0.36418
[32 empty] | Cycle 3 | 15.4636 | 16.8234 | 22.1875 | 15.3853 | 16.4106 | 21.9592 | 1.3576 | 0.34596
[32 empty] | Cycle 4 | 14.8877 | 16.1978 | 21.3615 | 14.6429 | 15.6197 | 20.8997 | 1.3523 | 0.34205
[32 empty] | Cycle 5 | 14.3454 | 15.6083 | 20.5838 | 13.9477 | 14.8789 | 19.9079 | 1.3315 | 0.33196
[32 empty] | Cycle 6 | 13.8346 | 15.0535 | 19.8511 | 13.294 | 14.1823 | 18.9757 | 1.365 | 0.31244
[32 empty] | Cycle 7 | 13.3413 | 14.5169 | 19.1432 | 12.6817 | 13.5293 | 18.1021 | 1.361 | 0.29995
[32 empty] | Cycle 8 |  |  |  | 12.1055 | 12.9149 | 17.2798
3 | GIRMS\IRMS-operator | 2026-05-25 13:02 | 2026-05-25 14:01 | Running | FALSE | SHP2L |  | 3 | 1 | 17 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 14.691 V | 9.5163 kV | 111 µbar | 108 µbar | Carbon Dioxide: 0.0163 kV | 484 µbar | 14.620 V | 16.908 V | 308 µbar/min | 16.579 V | 1.33E-007 mbar | 12 % | 990 µbar | 72 °C | µ-Volume |  | Pre | 14.3356 | 15.5626 | 20.4393 | 15.0333 | 16.0358 | 21.457 | -0.83573 | -5.9725 | -0.84184 | 0.011735 | 0.0041489 | -6.0104 | 0.022514 | 0.0079598 | -0.67827 | 0.012019 | -6.0149 | 0.02252
[32 empty] | Cycle 1 | 13.8083 | 14.9909 | 19.6874 | 14.3133 | 15.2684 | 20.4295 | -0.82545 | -5.9829
[32 empty] | Cycle 2 | 13.3045 | 14.4444 | 18.9692 | 13.6389 | 14.5496 | 19.467 | -0.83665 | -6.0024
[32 empty] | Cycle 3 | 12.8188 | 13.9178 | 18.2768 | 13.0055 | 13.8744 | 18.5636 | -0.83154 | -6.0177
[32 empty] | Cycle 4 | 12.3583 | 13.4181 | 17.6203 | 12.408 | 13.2376 | 17.7109 | -0.84645 | -6.0373
[32 empty] | Cycle 5 | 11.9183 | 12.9406 | 16.9933 | 11.8467 | 12.6393 | 16.9104 | -0.85957 | -6.025
[32 empty] | Cycle 6 | 11.4958 | 12.4823 | 16.3909 | 11.3197 | 12.0772 | 16.1579 | -0.84386 | -6.0221
[32 empty] | Cycle 7 | 11.0886 | 12.0403 | 15.8105 | 10.8206 | 11.545 | 15.4455 | -0.85546 | -6.0231
[32 empty] | Cycle 8 |  |  |  | 10.3497 | 11.0429 | 14.7737
4 | GIRMS\IRMS-operator | 2026-05-25 13:31 | 2026-05-25 14:38 | Running | FALSE | MD23-3678 - N. dutertri | 1765 | 4 | 1 | 19 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 20.623 V | 9.5163 kV | 106 µbar | 111 µbar | Carbon Dioxide: 0.0163 kV | 115 µbar | 15.757 V | 24.069 V | 264 µbar/min | 13.977 V | 1.39E-007 mbar | 10 % | 992 µbar | 72 °C | µ-Volume | 18.931 V | Pre | 20.1407 | 21.9124 | 28.8885 | 16.283 | 17.3674 | 23.2398 | 1.4414 | 0.038246 | 1.4671 | 0.022802 | 0.0080616 | 0.044726 | 0.010428 | 0.0036867 | 1.5682 | 0.024198 | 0.041458 | 0.010412
[32 empty] | Cycle 1 | 19.3496 | 21.0526 | 27.7536 | 15.4822 | 16.5138 | 22.097 | 1.4425 | 0.02472
[32 empty] | Cycle 2 | 18.5968 | 20.2346 | 26.6748 | 14.7338 | 15.7163 | 21.029 | 1.4428 | 0.051826
[32 empty] | Cycle 3 | 17.8769 | 19.4527 | 25.6426 | 14.0308 | 14.9672 | 20.0258 | 1.4687 | 0.048262
[32 empty] | Cycle 4 | 17.1941 | 18.7105 | 24.6637 | 13.3724 | 14.2653 | 19.0865 | 1.4739 | 0.049473
[32 empty] | Cycle 5 | 16.5423 | 18.0021 | 23.7291 | 12.7546 | 13.6069 | 18.2051 | 1.4756 | 0.04376
[32 empty] | Cycle 6 | 15.9177 | 17.3232 | 22.8338 | 12.1738 | 12.9879 | 17.3764 | 1.4964 | 0.059697
[32 empty] | Cycle 7 | 15.3262 | 16.6802 | 21.9852 | 11.628 | 12.4058 | 16.5977 | 1.4954 | 0.041825
[32 empty] | Cycle 8 |  |  |  | 11.1133 | 11.8574 | 15.8631
5 | GIRMS\IRMS-operator | 2026-05-25 14:01 | 2026-05-25 15:19 | Running | FALSE | MD23-3678 - N. dutertri | 1757 | 5 | 1 | 20 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 17.528 V | 9.5165 kV | 115 µbar | 106 µbar | Carbon Dioxide: 0.0165 kV | 125 µbar | 16.206 V | 20.429 V | 249 µbar/min | 2.626 V | 1.42E-007 mbar | 12 % | 1,009 µbar | 72 °C | µ-Volume |  | Pre | 15.8105 | 17.2023 | 22.673 | 16.6592 | 17.7687 | 23.7773 | 1.4841 | -0.19257 | 1.4424 | 0.021064 | 0.0074472 | -0.19376 | 0.003122 | 0.0011038 | 1.5505 | 0.022527 | -0.19723 | 0.0031207
[32 empty] | Cycle 1 | 15.1959 | 16.5339 | 21.7922 | 15.8331 | 16.8883 | 22.5985 | 1.4467 | -0.19758
[32 empty] | Cycle 2 | 14.6137 | 15.9013 | 20.9577 | 15.0609 | 16.0657 | 21.4973 | 1.4511 | -0.1902
[32 empty] | Cycle 3 | 14.0622 | 15.3014 | 20.1666 | 14.3385 | 15.2957 | 20.4658 | 1.437 | -0.19354
[32 empty] | Cycle 4 | 13.5365 | 14.7302 | 19.4132 | 13.661 | 14.5733 | 19.499 | 1.4509 | -0.19517
[32 empty] | Cycle 5 | 13.0366 | 14.1864 | 18.6965 | 13.0261 | 13.8967 | 18.5935 | 1.4279 | -0.1965
[32 empty] | Cycle 6 | 12.5584 | 13.6664 | 18.0107 | 12.4291 | 13.2603 | 17.7412 | 1.4238 | -0.18869
[32 empty] | Cycle 7 | 12.1024 | 13.1706 | 17.3571 | 11.8683 | 12.6624 | 16.9408 | 1.4176 | -0.19584
[32 empty] | Cycle 8 |  |  |  | 11.3376 | 12.0965 | 16.1839
6 | GIRMS\IRMS-operator | 2026-05-25 14:38 | 2026-05-25 15:47 | Running | FALSE | MD23-3678 - N. dutertri | 1749 | 6 | 1 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 26.202 V | 9.5161 kV | 108 µbar | 115 µbar | Carbon Dioxide: 0.0161 kV | 115 µbar | 17.371 V | 30.993 V | 269 µbar/min | 15.534 V | 1.50E-007 mbar | 10 % | 1,002 µbar | 72 °C | µ-Volume | 23.879 V | Pre | 25.5529 | 27.7814 | 36.6346 | 17.9431 | 19.1354 | 25.6075 | 0.87438 | -0.35361 | 0.91906 | 0.040181 | 0.014206 | -0.31902 | 0.029376 | 0.010386 | 0.99521 | 0.042008 | -0.32144 | 0.029325
[32 empty] | Cycle 1 | 24.4647 | 26.6001 | 35.0752 | 17.0342 | 18.1669 | 24.3103 | 0.88502 | -0.33771
[32 empty] | Cycle 2 | 23.4379 | 25.4848 | 33.6032 | 16.1835 | 17.2609 | 23.0965 | 0.8761 | -0.34832
[32 empty] | Cycle 3 | 22.4733 | 24.4377 | 32.2211 | 15.3897 | 16.4149 | 21.9641 | 0.90127 | -0.34271
[32 empty] | Cycle 4 | 21.55 | 23.4354 | 30.8994 | 14.6462 | 15.6225 | 20.9032 | 0.93309 | -0.29002
[32 empty] | Cycle 5 | 20.6735 | 22.4841 | 29.6425 | 13.9497 | 14.8804 | 19.9097 | 0.96879 | -0.30455
[32 empty] | Cycle 6 | 19.8377 | 21.5753 | 28.4449 | 13.2977 | 14.1854 | 18.9791 | 0.94191 | -0.29268
[32 empty] | Cycle 7 | 19.049 | 20.7188 | 27.315 | 12.6856 | 13.5329 | 18.1059 | 0.97191 | -0.28254
[32 empty] | Cycle 8 |  |  |  | 12.1094 | 12.9186 | 17.284
7 | GIRMS\IRMS-operator | 2026-05-25 15:19 | 2026-05-25 16:18 | Running | FALSE | SHP2L |  | 7 | 1 | 22 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 12.487 V | 9.5161 kV | 118 µbar | 108 µbar | Carbon Dioxide: 0.0161 kV | 118 µbar | 12.480 V | 14.246 V | 254 µbar/min | 16.553 V | 1.19E-007 mbar | 15 % | 985 µbar | 72 °C | µ-Volume |  | Pre | 12.1863 | 13.2307 | 17.3747 | 12.7695 | 13.6225 | 18.2262 | -0.84634 | -6.0058 | -0.84253 | 0.024108 | 0.0085234 | -6.0083 | 0.017731 | 0.0062687 | -0.6791 | 0.025864 | -6.0128 | 0.017755
[32 empty] | Cycle 1 | 11.7573 | 12.766 | 16.7629 | 12.1856 | 13.0004 | 17.3929 | -0.81278 | -6.0151
[32 empty] | Cycle 2 | 11.3517 | 12.3261 | 16.1853 | 11.636 | 12.4145 | 16.6085 | -0.81931 | -5.9832
[32 empty] | Cycle 3 | 10.9604 | 11.9009 | 15.6267 | 11.1187 | 11.8632 | 15.8704 | -0.88095 | -6.0213
[32 empty] | Cycle 4 | 10.5892 | 11.4983 | 15.0981 | 10.6336 | 11.3458 | 15.1777 | -0.85506 | -5.9985
[32 empty] | Cycle 5 | 10.2278 | 11.106 | 14.5829 | 10.1743 | 10.8559 | 14.5227 | -0.85784 | -6.0054
[32 empty] | Cycle 6 | 9.8828 | 10.7317 | 14.0913 | 9.7395 | 10.3922 | 13.9021 | -0.85156 | -5.9956
[32 empty] | Cycle 7 | 9.5482 | 10.3687 | 13.614 | 9.3288 | 9.9543 | 13.3162 | -0.81643 | -6.0412
[32 empty] | Cycle 8 |  |  |  | 8.9385 | 9.5376 | 12.7596
8 | GIRMS\IRMS-operator | 2026-05-25 15:47 | 2026-05-25 16:55 | Running | FALSE | MD23-3678 - N. dutertri | 1733 | 8 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 18.256 V | 9.5162 kV | 108 µbar | 115 µbar | Carbon Dioxide: 0.0162 kV | 113 µbar | 15.795 V | 21.068 V | 230 µbar/min | 12.004 V | 1.41E-007 mbar | 10 % | 977 µbar | 72 °C | µ-Volume | 16.845 V | Pre | 17.8258 | 19.4005 | 25.5567 | 16.3188 | 17.4054 | 23.2898 | 1.781 | -0.37286 | 1.7634 | 0.017611 | 0.0062263 | -0.39251 | 0.015958 | 0.005642 | 1.9014 | 0.018785 | -0.39691 | 0.015971
[32 empty] | Cycle 1 | 17.1576 | 18.674 | 24.5988 | 15.5162 | 16.5502 | 22.1449 | 1.7574 | -0.38903
[32 empty] | Cycle 2 | 16.5243 | 17.9855 | 23.691 | 14.7671 | 15.7524 | 21.0761 | 1.7472 | -0.39927
[32 empty] | Cycle 3 | 15.9101 | 17.3177 | 22.8105 | 14.0666 | 15.0056 | 20.0768 | 1.7607 | -0.42122
[32 empty] | Cycle 4 | 15.327 | 16.6837 | 21.9751 | 13.4062 | 14.3015 | 19.1346 | 1.7614 | -0.4047
[32 empty] | Cycle 5 | 14.7702 | 16.0787 | 21.1771 | 12.7873 | 13.6419 | 18.2511 | 1.7927 | -0.38713
[32 empty] | Cycle 6 | 14.2355 | 15.4968 | 20.4113 | 12.2065 | 13.0228 | 17.4224 | 1.7377 | -0.37418
[32 empty] | Cycle 7 | 13.7271 | 14.9442 | 19.6823 | 11.6558 | 12.4362 | 16.637 | 1.7692 | -0.39166
[32 empty] | Cycle 8 |  |  |  | 11.138 | 11.8834 | 15.8976