## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Pressure Adjust failed with Target Intensity | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-08-06 10:09 | 2026-08-06 11:07 | Running | FALSE | SHP2L |  | 1 | 1 | 2 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 15.835 V | 9.4988 kV | 135 µbar | 135 µbar | Carbon Dioxide: -0.0012 kV | 154 µbar | 10.959 V | 18.274 V | 14.454 V | 88 µbar/min | 2.787 V | 1.06E-007 mbar | 10 % | 1,078 µbar | 72 °C | µ-Volume | Pre | 15.3013 | 16.6088 | 21.8046 | 11.1273 | 11.8694 | 15.876 | -0.98683 | -6.114 | -1.034 | 0.0249 | 0.0088034 | -6.1034 | 0.018553 | 0.0065595 | -0.88048 | 0.026432 | -6.1076 | 0.018555
[32 empty] | Cycle 1 | 14.7353 | 15.9942 | 20.9988 | 10.6356 | 11.3458 | 15.1743 | -1.0585 | -6.0982
[32 empty] | Cycle 2 | 14.1915 | 15.4043 | 20.2237 | 10.1724 | 10.8521 | 14.5141 | -1.0613 | -6.1381
[32 empty] | Cycle 3 | 13.6743 | 14.8434 | 19.4874 | 9.7346 | 10.3851 | 13.8897 | -1.0486 | -6.1039
[32 empty] | Cycle 4 | 13.1798 | 14.3069 | 18.7824 | 9.3211 | 9.9442 | 13.2994 | -1.0444 | -6.1143
[32 empty] | Cycle 5 | 12.7091 | 13.7966 | 18.1124 | 8.9291 | 9.5262 | 12.7404 | -1.0289 | -6.0882
[32 empty] | Cycle 6 | 12.2579 | 13.3067 | 17.4696 | 8.5585 | 9.1313 | 12.2119 | -1.03 | -6.0896
[32 empty] | Cycle 7 | 11.8256 | 12.8381 | 16.8536 | 8.2078 | 8.7564 | 11.7113 | -1.0138 | -6.0806
[32 empty] | Cycle 8 |  |  |  | 7.8738 | 8.4014 | 11.2349
2 | GIRMS\IRMS-operator | 2026-08-06 10:42 | 2026-08-06 11:35 | Running | FALSE | MD23-3677Q - N. dutertrei | 912-914 | 2 | 2 | 2 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 20.000 V | 9.4985 kV | 130 µbar | 140 µbar | Carbon Dioxide: -0.0015 kV | 152 µbar | 10.646 V | 23.185 V | 18.489 V | 34 µbar/min | 10.662 V | 1.04E-007 mbar | 10 % | 1,090 µbar | 72 °C | µ-Volume | Pre | 19.5899 | 21.3102 | 28.0906 | 10.8187 | 11.5403 | 15.435 | 1.1828 | 0.12906 | 1.2644 | 0.084447 | 0.029857 | 0.12459 | 0.024526 | 0.0086712 | 1.3483 | 0.089815 | 0.12186 | 0.024437
[32 empty] | Cycle 1 | 18.8523 | 20.5091 | 27.0325 | 10.3464 | 11.0373 | 14.7616 | 1.2171 | 0.086736
[32 empty] | Cycle 2 | 18.152 | 19.7456 | 26.0289 | 9.8998 | 10.5608 | 14.1248 | 1.1769 | 0.10442
[32 empty] | Cycle 3 | 17.4786 | 19.016 | 25.0644 | 9.4774 | 10.1093 | 13.5218 | 1.2749 | 0.14134
[32 empty] | Cycle 4 | 16.8338 | 18.3161 | 24.1396 | 9.0771 | 9.6842 | 12.9512 | 1.3009 | 0.10362
[32 empty] | Cycle 5 | 16.2216 | 17.6482 | 23.2626 | 8.6984 | 9.2795 | 12.4111 | 1.1993 | 0.12903
[32 empty] | Cycle 6 | 15.6103 | 16.9868 | 22.3868 | 8.3405 | 8.8984 | 11.9005 | 1.3928 | 0.16099
[32 empty] | Cycle 7 | 15.0379 | 16.3638 | 21.5655 | 8.0012 | 8.5361 | 11.4165 | 1.3702 | 0.14151
[32 empty] | Cycle 8 |  |  |  | 7.6781 | 8.192 | 10.9555
3 | GIRMS\IRMS-operator | 2026-08-06 11:07 | 2026-08-06 12:07 | Running | FALSE | MD23-3677Q - N. dutertrei | 908-910 | 3 | 1 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 22.522 V | 9.4987 kV | 128 µbar | 132 µbar | Carbon Dioxide: -0.0013 kV | 137 µbar | 10.364 V | 26.615 V | 20.583 V | 322 µbar/min | 10.378 V | 1.04E-007 mbar | 10 % | 1,097 µbar | 72 °C | µ-Volume | Pre | 22.0059 | 23.9313 | 31.5571 | 10.5365 | 11.2405 | 15.0332 | 0.86027 | 0.14264 | 1.044 | 0.10894 | 0.038516 | 0.16815 | 0.026071 | 0.0092174 | 1.1108 | 0.11571 | 0.16598 | 0.02588
[32 empty] | Cycle 1 | 21.0825 | 22.9292 | 30.2335 | 10.0801 | 10.7527 | 14.3823 | 0.96095 | 0.14709
[32 empty] | Cycle 2 | 20.2052 | 21.9762 | 28.9753 | 9.6488 | 10.2933 | 13.7671 | 0.96289 | 0.14266
[32 empty] | Cycle 3 | 19.374 | 21.074 | 27.7843 | 9.2403 | 9.8578 | 13.1841 | 1.0429 | 0.17076
[32 empty] | Cycle 4 | 18.5894 | 20.2221 | 26.6601 | 8.8535 | 9.4451 | 12.6326 | 1.0968 | 0.16908
[32 empty] | Cycle 5 | 17.8475 | 19.4159 | 25.5965 | 8.4876 | 9.0551 | 12.111 | 1.1038 | 0.16642
[32 empty] | Cycle 6 | 17.1373 | 18.6441 | 24.5784 | 8.1401 | 8.6847 | 11.6152 | 1.1334 | 0.18697
[32 empty] | Cycle 7 | 16.4626 | 17.9112 | 23.6117 | 7.8106 | 8.3332 | 11.1451 | 1.1906 | 0.21962
[32 empty] | Cycle 8 |  |  |  | 7.4978 | 7.9994 | 10.6987
4 | GIRMS\IRMS-operator | 2026-08-06 11:35 | 2026-08-06 12:43 | Running | FALSE | MD23-3677Q - N. dutertrei | 904-906 | 4 | 2 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 24.068 V | 9.4988 kV | 125 µbar | 142 µbar | Carbon Dioxide: -0.0012 kV | 137 µbar | 10.067 V | 28.256 V | 22.075 V | 376 µbar/min | 10.081 V | 1.01E-007 mbar | 10 % | 1,097 µbar | 72 °C | µ-Volume | Pre | 23.5402 | 25.5965 | 33.7627 | 10.238 | 10.9217 | 14.6074 | 0.66934 | 0.29527 | 0.89014 | 0.13321 | 0.047096 | 0.33593 | 0.035179 | 0.012438 | 0.94005 | 0.14181 | 0.33427 | 0.035049
[32 empty] | Cycle 1 | 22.5909 | 24.5668 | 32.4023 | 9.7999 | 10.4554 | 13.9828 | 0.76058 | 0.30843
[32 empty] | Cycle 2 | 21.6901 | 23.5897 | 31.1133 | 9.3836 | 10.0104 | 13.3888 | 0.84358 | 0.38096
[32 empty] | Cycle 3 | 20.8271 | 22.6524 | 29.8734 | 8.9891 | 9.5908 | 12.8265 | 0.86184 | 0.29283
[32 empty] | Cycle 4 | 20.021 | 21.7773 | 28.7177 | 8.6156 | 9.1918 | 12.2935 | 0.96473 | 0.32611
[32 empty] | Cycle 5 | 19.2458 | 20.934 | 27.6072 | 8.2615 | 8.8141 | 11.7881 | 0.94349 | 0.36594
[32 empty] | Cycle 6 | 18.4958 | 20.1196 | 26.5319 | 7.9249 | 8.4552 | 11.3081 | 0.99936 | 0.37145
[32 empty] | Cycle 7 | 17.7721 | 19.3341 | 25.4933 | 7.6052 | 8.114 | 10.8519 | 1.0782 | 0.34641
[32 empty] | Cycle 8 |  |  |  | 7.3017 | 7.7905 | 10.4191
5 | GIRMS\IRMS-operator | 2026-08-06 12:07 | 2026-08-06 13:26 | Running | FALSE | MD23-3677Q - N. dutertrei | 900-902 | 5 | 1 | 4 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 23.229 V | 9.4989 kV | 132 µbar | 132 µbar | Carbon Dioxide: -0.0011 kV | 142 µbar | 10.948 V | 27.328 V | 20.852 V | 298 µbar/min | 2.781 V | 1.06E-007 mbar | 10 % | 1,102 µbar | 72 °C | µ-Volume | Pre | 22.3199 | 24.2766 | 32.0086 | 11.1212 | 11.8635 | 15.8676 | 1.0051 | 0.17369 | 1.1889 | 0.12819 | 0.045323 | 0.20361 | 0.022301 | 0.0078846 | 1.2646 | 0.1364 | 0.20114 | 0.022056
[32 empty] | Cycle 1 | 21.3881 | 23.2649 | 30.6731 | 10.6321 | 11.3425 | 15.17 | 1.0541 | 0.18533
[32 empty] | Cycle 2 | 20.5049 | 22.306 | 29.4071 | 10.1714 | 10.8509 | 14.5128 | 1.1251 | 0.1928
[32 empty] | Cycle 3 | 19.6682 | 21.397 | 28.2073 | 9.7349 | 10.3854 | 13.8901 | 1.1475 | 0.18313
[32 empty] | Cycle 4 | 18.8745 | 20.5352 | 27.0703 | 9.3223 | 9.9458 | 13.3017 | 1.2084 | 0.21764
[32 empty] | Cycle 5 | 18.121 | 19.7165 | 25.99 | 8.9312 | 9.5285 | 12.7438 | 1.283 | 0.22474
[32 empty] | Cycle 6 | 17.4067 | 18.9404 | 24.9655 | 8.5606 | 9.1329 | 12.2152 | 1.346 | 0.21912
[32 empty] | Cycle 7 | 16.7298 | 18.2043 | 23.9954 | 8.2098 | 8.7587 | 11.7145 | 1.3417 | 0.23245
[32 empty] | Cycle 8 |  |  |  | 7.8768 | 8.4038 | 11.2398
6 | GIRMS\IRMS-operator | 2026-08-06 12:43 | 2026-08-06 13:54 | Running | FALSE | SHP2L |  | 6 | 2 | 4 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 18.157 V | 9.4987 kV | 128 µbar | 137 µbar | Carbon Dioxide: -0.0013 kV | 130 µbar | 10.650 V | 20.858 V | 16.795 V | 400 µbar/min | 10.665 V | 1.04E-007 mbar | 10 % | 1,075 µbar | 72 °C | µ-Volume | Pre | 17.7421 | 19.2531 | 25.2854 | 10.8234 | 11.5459 | 15.4429 | -1.2577 | -6.0419 | -1.2027 | 0.034117 | 0.012062 | -6.0353 | 0.012454 | 0.0044031 | -1.0634 | 0.036413 | -6.0391 | 0.012451
[32 empty] | Cycle 1 | 17.0963 | 18.5535 | 24.3656 | 10.3514 | 11.0422 | 14.7693 | -1.221 | -6.0374
[32 empty] | Cycle 2 | 16.4775 | 17.8828 | 23.4836 | 9.9052 | 10.5669 | 14.1331 | -1.2094 | -6.0544
[32 empty] | Cycle 3 | 15.8867 | 17.2422 | 22.6427 | 9.4832 | 10.1169 | 13.5311 | -1.2027 | -6.0148
[32 empty] | Cycle 4 | 15.3205 | 16.6285 | 21.8359 | 9.0845 | 9.6919 | 12.9624 | -1.1816 | -6.0246
[32 empty] | Cycle 5 | 14.7806 | 16.0431 | 21.0661 | 8.7062 | 9.2883 | 12.4227 | -1.1594 | -6.045
[32 empty] | Cycle 6 | 14.2604 | 15.4788 | 20.3253 | 8.3476 | 8.906 | 11.9112 | -1.1609 | -6.0286
[32 empty] | Cycle 7 | 13.7515 | 14.9255 | 19.6002 | 8.0075 | 8.5433 | 11.4261 | -1.2286 | -6.0356
[32 empty] | Cycle 8 |  |  |  | 7.6846 | 8.1988 | 10.9655
7 | GIRMS\IRMS-operator | 2026-08-06 13:26 | 2026-08-06 14:26 | Running | FALSE | MD23-3677Q - N. dutertrei | 892-894 | 7 | 1 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 25.411 V | 9.4986 kV | 130 µbar | 137 µbar | Carbon Dioxide: -0.0014 kV | 147 µbar | 10.362 V | 30.222 V | 23.053 V | 342 µbar/min | 10.376 V | 1.02E-007 mbar | 10 % | 1,117 µbar | 72 °C | µ-Volume | Pre | 24.7607 | 26.9309 | 35.5001 | 10.5346 | 11.2382 | 15.0303 | 0.95946 | -0.064689 | 1.2263 | 0.15801 | 0.055865 | -0.0094158 | 0.039743 | 0.014051 | 1.3125 | 0.1677 | -0.012197 | 0.03945
[32 empty] | Cycle 1 | 23.6816 | 25.7601 | 33.9545 | 10.0793 | 10.7529 | 14.3813 | 1.0646 | -0.045239
[32 empty] | Cycle 2 | 22.6679 | 24.6594 | 32.5013 | 9.649 | 10.2937 | 13.7675 | 1.1641 | -0.051522
[32 empty] | Cycle 3 | 21.7102 | 23.6196 | 31.1296 | 9.2418 | 9.859 | 13.1868 | 1.22 | -0.015418
[32 empty] | Cycle 4 | 20.7994 | 22.6309 | 29.8246 | 8.855 | 9.4472 | 12.6349 | 1.2742 | 0.019389
[32 empty] | Cycle 5 | 19.9431 | 21.7005 | 28.5971 | 8.4887 | 9.0565 | 12.1121 | 1.3269 | 0.024672
[32 empty] | Cycle 6 | 19.1282 | 20.8154 | 27.4295 | 8.1414 | 8.6859 | 11.6168 | 1.3865 | 0.030382
[32 empty] | Cycle 7 | 18.3534 | 19.9733 | 26.319 | 7.8122 | 8.335 | 11.1475 | 1.4145 | 0.0271
[32 empty] | Cycle 8 |  |  |  | 7.499 | 8.001 | 10.7007
8 | GIRMS\IRMS-operator | 2026-08-06 13:54 | 2026-08-06 15:03 | Running | FALSE | MD23-3677Q - N. dutertrei | 884-886 | 8 | 2 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 23.310 V | 9.4988 kV | 128 µbar | 145 µbar | Carbon Dioxide: -0.0012 kV | 299 µbar | 10.050 V | 27.341 V | 21.427 V | 161 µbar/min | 10.063 V | 1.00E-007 mbar | 10 % | 1,090 µbar | 72 °C | µ-Volume | Pre | 22.8375 | 24.8422 | 32.7435 | 10.2201 | 10.9025 | 14.5819 | 1.0873 | -0.0439 | 1.2281 | 0.10257 | 0.036265 | -0.017281 | 0.0227 | 0.0080256 | 1.3148 | 0.10899 | -0.020075 | 0.022513
[32 empty] | Cycle 1 | 21.9321 | 23.8579 | 31.4461 | 9.7829 | 10.4368 | 13.9582 | 1.1321 | -0.042728
[32 empty] | Cycle 2 | 21.0702 | 22.9205 | 30.2114 | 9.3685 | 9.9936 | 13.3674 | 1.178 | -0.036848
[32 empty] | Cycle 3 | 20.249 | 22.029 | 29.0342 | 8.9756 | 9.5748 | 12.8071 | 1.1905 | -0.025504
[32 empty] | Cycle 4 | 19.4631 | 21.1774 | 27.9081 | 8.6034 | 9.1788 | 12.2758 | 1.2817 | -0.0014776
[32 empty] | Cycle 5 | 18.721 | 20.3684 | 26.8446 | 8.2505 | 8.8024 | 11.7724 | 1.2242 | -0.0014434
[32 empty] | Cycle 6 | 18.0181 | 19.6071 | 25.8373 | 7.9157 | 8.4449 | 11.2951 | 1.3667 | -0.0014666
[32 empty] | Cycle 7 | 17.3258 | 18.8548 | 24.8453 | 7.598 | 8.1068 | 10.8418 | 1.3644 | 0.015118
[32 empty] | Cycle 8 |  |  |  | 7.2961 | 7.7848 | 10.4112
9 | GIRMS\IRMS-operator | 2026-08-06 14:26 | 2026-08-06 15:45 | Running | FALSE | MD23-3677Q - N. dutertrei | 876-878 | 9 | 1 | 6 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 16.010 V | 9.4989 kV | 132 µbar | 130 µbar | Carbon Dioxide: -0.0011 kV | 140 µbar | 10.944 V | 18.441 V | 14.601 V | 317 µbar/min | 2.788 V | 1.06E-007 mbar | 10 % | 1,075 µbar | 72 °C | µ-Volume | Pre | 15.4578 | 16.8158 | 22.1643 | 11.1154 | 11.856 | 15.8595 | 1.2721 | 0.010927 | 1.3073 | 0.031543 | 0.011152 | -0.0080489 | 0.018804 | 0.0066484 | 1.3991 | 0.034082 | -0.011012 | 0.018858
[32 empty] | Cycle 1 | 14.8858 | 16.1934 | 21.3446 | 10.6245 | 11.3333 | 15.1592 | 1.2449 | 0.0066247
[32 empty] | Cycle 2 | 14.3402 | 15.6015 | 20.5622 | 10.1641 | 10.8419 | 14.5031 | 1.326 | -0.030256
[32 empty] | Cycle 3 | 13.8216 | 15.0377 | 19.8188 | 9.7283 | 10.3779 | 13.8813 | 1.3244 | -0.016673
[32 empty] | Cycle 4 | 13.3273 | 14.5002 | 19.1107 | 9.3176 | 9.9394 | 13.2951 | 1.3339 | 0.011076
[32 empty] | Cycle 5 | 12.853 | 13.9842 | 18.4302 | 8.9269 | 9.5231 | 12.7379 | 1.3156 | -0.033059
[32 empty] | Cycle 6 | 12.397 | 13.4891 | 17.7766 | 8.5565 | 9.1281 | 12.2098 | 1.3258 | -0.019483
[32 empty] | Cycle 7 | 11.963 | 13.0176 | 17.1546 | 8.2059 | 8.7551 | 11.7092 | 1.3154 | 0.0064526
[32 empty] | Cycle 8 |  |  |  | 7.8728 | 8.3998 | 11.2341
10 | GIRMS\IRMS-operator | 2026-08-06 15:03 | 2026-08-06 16:14 | Running | FALSE | MD23-3677Q - N. dutertrei | 868-870 | 10 | 2 | 6 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 26.235 V | 9.4987 kV | 128 µbar | 140 µbar | Carbon Dioxide: -0.0013 kV | 132 µbar | 10.646 V | 30.924 V | 23.928 V | 376 µbar/min | 10.660 V | 1.05E-007 mbar | 10 % | 1,102 µbar | 72 °C | µ-Volume | Pre | 25.6067 | 27.8574 | 36.7066 | 10.818 | 11.5392 | 15.4355 | 1.2976 | -0.27359 | 1.5115 | 0.12821 | 0.045329 | -0.22409 | 0.034226 | 0.012101 | 1.6256 | 0.13599 | -0.22775 | 0.033989
[32 empty] | Cycle 1 | 24.5492 | 26.7094 | 35.192 | 10.3481 | 11.0385 | 14.7649 | 1.3883 | -0.24722
[32 empty] | Cycle 2 | 23.5435 | 25.6176 | 33.7508 | 9.901 | 10.5611 | 14.1274 | 1.4754 | -0.25016
[32 empty] | Cycle 3 | 22.5926 | 24.5849 | 32.3889 | 9.48 | 10.1127 | 13.5269 | 1.4982 | -0.23859
[32 empty] | Cycle 4 | 21.6942 | 23.6084 | 31.1015 | 9.0812 | 9.6876 | 12.9583 | 1.53 | -0.223
[32 empty] | Cycle 5 | 20.8396 | 22.6799 | 29.8772 | 8.7022 | 9.2835 | 12.4172 | 1.5671 | -0.19468
[32 empty] | Cycle 6 | 20.0298 | 21.8009 | 28.7171 | 8.3444 | 8.9021 | 11.907 | 1.6521 | -0.17818
[32 empty] | Cycle 7 | 19.2468 | 20.9494 | 27.5948 | 8.0045 | 8.5395 | 11.422 | 1.6832 | -0.18733
[32 empty] | Cycle 8 |  |  |  | 7.6816 | 8.195 | 10.9616
11 | GIRMS\IRMS-operator | 2026-08-06 15:45 | 2026-08-06 16:46 | Running | FALSE | SHP2L |  | 11 | 1 | 7 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 38.869 V | 9.4985 kV | 130 µbar | 137 µbar | Carbon Dioxide: -0.0015 kV | 142 µbar | 10.358 V | 48.052 V | 34.710 V | 308 µbar/min | 10.371 V | 1.02E-007 mbar | 10 % | 1,141 µbar | 72 °C | µ-Volume | Pre | 37.9606 | 41.1412 | 48.9517 | 10.5293 | 11.2311 | 15.0236 | -2.4787 | -100.6663 | -2.2086 | 0.18415 | 0.065105 | -13.0568 | 17.3236 | 6.5477 | -1.8354 | 0.54736 | -13.0658 | 17.3417
[32 empty] | Cycle 1 | 36.0275 | 39.05 | 48.9553 | 10.0762 | 10.7485 | 14.3774 | -2.4173 | -52.343
[32 empty] | Cycle 2 | 34.2316 | 37.1069 | 48.7651 | 9.6472 | 10.291 | 13.765 | -2.3241 | -6.5008
[32 empty] | Cycle 3 | 32.5531 | 35.2915 | 46.3734 | 9.2391 | 9.8555 | 13.1829 | -2.2079 | -6.5342
[32 empty] | Cycle 4 | 30.9694 | 33.5765 | 44.1173 | 8.8536 | 9.4445 | 12.6333 | -2.1501 | -6.5605
[32 empty] | Cycle 5 | 29.5169 | 32.0048 | 42.0501 | 8.4889 | 9.0553 | 12.1131 | -2.0933 | -6.5175
[32 empty] | Cycle 6 | 28.1448 | 30.5199 | 40.0971 | 8.1422 | 8.6863 | 11.6182 | -2.0347 | -6.4807
[32 empty] | Cycle 7 | 26.8391 | 29.1065 | 38.2383 | 7.8126 | 8.3344 | 11.1482 | -1.9624 | -6.4608
[32 empty] | Cycle 8 |  |  |  | 7.5004 | 8.0017 | 10.7027
12 | GIRMS\IRMS-operator | 2026-08-06 16:14 | 2026-08-06 17:23 | Running | FALSE | MD23-3677Q - N. dutertrei | 860-862 | 12 | 2 | 7 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 22.581 V | 9.4986 kV | 130 µbar | 152 µbar | Carbon Dioxide: -0.0014 kV | 269 µbar | 10.056 V | 26.395 V | 20.808 V | 352 µbar/min | 10.070 V | 9.96E-008 mbar | 10 % | 1,102 µbar | 72 °C | µ-Volume | Pre | 22.1326 | 24.0821 | 31.7291 | 10.2262 | 10.9096 | 14.5909 | 1.3084 | -0.19458 | 1.4391 | 0.092283 | 0.032627 | -0.16304 | 0.028513 | 0.010081 | 1.5459 | 0.097853 | -0.16647 | 0.028367
[32 empty] | Cycle 1 | 21.2696 | 23.144 | 30.4924 | 9.7885 | 10.4434 | 13.9668 | 1.3263 | -0.19316
[32 empty] | Cycle 2 | 20.4636 | 22.2677 | 29.3367 | 9.3759 | 10.0029 | 13.378 | 1.3854 | -0.19751
[32 empty] | Cycle 3 | 19.6814 | 21.4158 | 28.2165 | 8.9833 | 9.5838 | 12.8177 | 1.4161 | -0.14889
[32 empty] | Cycle 4 | 18.9353 | 20.6053 | 27.1476 | 8.6104 | 9.185 | 12.2857 | 1.5043 | -0.14596
[32 empty] | Cycle 5 | 18.2247 | 19.8329 | 26.1296 | 8.2569 | 8.8085 | 11.7819 | 1.5074 | -0.14451
[32 empty] | Cycle 6 | 17.5534 | 19.1038 | 25.1673 | 7.9218 | 8.4512 | 11.3039 | 1.5363 | -0.15844
[32 empty] | Cycle 7 | 16.9043 | 18.3973 | 24.2377 | 7.6034 | 8.112 | 10.8497 | 1.5285 | -0.12128
[32 empty] | Cycle 8 |  |  |  | 7.3013 | 7.7894 | 10.4187
13 | GIRMS\IRMS-operator | 2026-08-06 16:46 | 2026-08-06 18:05 | Running | FALSE | MD23-3677Q - N. dutertrei | 852-854 | 13 | 1 | 8 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 21.614 V | 9.4990 kV | 135 µbar | 137 µbar | Carbon Dioxide: -0.0010 kV | 140 µbar | 10.918 V | 25.307 V | 19.543 V | 361 µbar/min | 2.791 V | 1.05E-007 mbar | 10 % | 1,095 µbar | 72 °C | µ-Volume | Pre | 20.8331 | 22.6628 | 29.8739 | 11.0903 | 11.8297 | 15.8239 | 1.2538 | 0.080751 | 1.3415 | 0.070667 | 0.024984 | 0.083354 | 0.015058 | 0.0056915 | 1.4321 | 0.074884 | 0.080453 | 0.015046
[32 empty] | Cycle 1 | 19.9966 | 21.7547 | 28.6747 | 10.6026 | 11.3094 | 15.1277 | 1.3159 | 0.091657
[32 empty] | Cycle 2 | 19.2 | 20.8882 | 27.5323 | 10.1444 | 10.8213 | 14.4743 | 1.2851 | 0.075213
[32 empty] | Cycle 3 | 18.4451 | 20.068 | 26.4507 | 9.7103 | 10.3585 | 13.8551 | 1.2985 | 0.091275
[32 empty] | Cycle 4 | 17.7226 | 19.2828 | 25.4149 | 9.2972 | 9.9184 | 13.266 | 1.3276 | 0.066531
[32 empty] | Cycle 5 | 17.0417 | 18.5429 | 24.4387 | 8.9088 | 9.5038 | 12.7123 | 1.3855 | 0.06892
[32 empty] | Cycle 6 | 16.3956 | 17.8398 | 23.5123 | 8.5411 | 9.1116 | 12.1873 | 1.3963 | 0.10913
[32 empty] | Cycle 7 | 15.7782 | 17.1695 | 22.6278 | 8.1918 | 8.7387 | 11.6884 | 1.4697 | 0.15109
[32 empty] | Cycle 8 |  |  |  | 7.8604 | 8.3857 | 11.2161
14 | GIRMS\IRMS-operator | 2026-08-06 17:23 | 2026-08-06 18:34 | Running | FALSE | MD23-3677Q - N. dutertrei | 844-846 | 14 | 2 | 8 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 25.146 V | 9.4986 kV | 130 µbar | 137 µbar | Carbon Dioxide: -0.0014 kV | 172 µbar | 10.618 V | 29.656 V | 23.135 V | 122 µbar/min | 10.631 V | 1.03E-007 mbar | 10 % | 1,095 µbar | 72 °C | µ-Volume | Pre | 24.6762 | 26.8424 | 35.385 | 10.7898 | 11.5091 | 15.394 | 1.2264 | 0.15001 | 1.3779 | 0.10532 | 0.037235 | 0.19001 | 0.030061 | 0.010628 | 1.4674 | 0.11165 | 0.1871 | 0.02987
[32 empty] | Cycle 1 | 23.6826 | 25.7625 | 33.9605 | 10.322 | 11.01 | 14.7266 | 1.2428 | 0.1523
[32 empty] | Cycle 2 | 22.7383 | 24.7381 | 32.6083 | 9.8794 | 10.5385 | 14.0954 | 1.3398 | 0.18965
[32 empty] | Cycle 3 | 21.8396 | 23.7613 | 31.3199 | 9.4603 | 10.0912 | 13.4978 | 1.3702 | 0.17306
[32 empty] | Cycle 4 | 20.9897 | 22.8378 | 30.1017 | 9.0632 | 9.668 | 12.9316 | 1.4 | 0.1909
[32 empty] | Cycle 5 | 20.1811 | 21.9596 | 28.9431 | 8.6877 | 9.2675 | 12.3956 | 1.4614 | 0.22783
[32 empty] | Cycle 6 | 19.4118 | 21.1229 | 27.84 | 8.3305 | 8.8866 | 11.8861 | 1.4619 | 0.21811
[32 empty] | Cycle 7 | 18.6757 | 20.3233 | 26.785 | 7.9927 | 8.5264 | 11.4044 | 1.5207 | 0.21823
[32 empty] | Cycle 8 |  |  |  | 7.6711 | 8.1834 | 10.9459
15 | GIRMS\IRMS-operator | 2026-08-06 18:05 | 2026-08-06 19:06 | Running | FALSE | MD23-3677Q - N. dutertrei | 832-834 | 15 | 1 | 9 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 19.298 V | 9.4987 kV | 128 µbar | 135 µbar | Carbon Dioxide: -0.0013 kV | 135 µbar | 10.333 V | 22.341 V | 17.757 V | 386 µbar/min | 10.347 V | 1.02E-007 mbar | 10 % | 1,100 µbar | 72 °C | µ-Volume | Pre | 18.8228 | 20.4763 | 26.9927 | 10.5045 | 11.2042 | 14.9875 | 1.2865 | 0.1577 | 1.3522 | 0.062977 | 0.022266 | 0.14773 | 0.015098 | 0.005338 | 1.4414 | 0.067122 | 0.14483 | 0.015047
[32 empty] | Cycle 1 | 18.1012 | 19.6918 | 25.9574 | 10.0506 | 10.721 | 14.3402 | 1.2643 | 0.12943
[32 empty] | Cycle 2 | 17.4132 | 18.9441 | 24.9716 | 9.6218 | 10.2637 | 13.7283 | 1.317 | 0.15812
[32 empty] | Cycle 3 | 16.7567 | 18.2309 | 24.0302 | 9.2162 | 9.8308 | 13.1499 | 1.346 | 0.13457
[32 empty] | Cycle 4 | 16.1314 | 17.5512 | 23.1341 | 8.832 | 9.4216 | 12.6019 | 1.3558 | 0.13711
[32 empty] | Cycle 5 | 15.5352 | 16.9033 | 22.2797 | 8.468 | 9.0331 | 12.083 | 1.3912 | 0.14349
[32 empty] | Cycle 6 | 14.9616 | 16.2795 | 21.457 | 8.122 | 8.6644 | 11.5893 | 1.4026 | 0.14636
[32 empty] | Cycle 7 | 14.4074 | 15.6771 | 20.663 | 7.7932 | 8.3135 | 11.1201 | 1.454 | 0.17507
[32 empty] | Cycle 8 |  |  |  | 7.4781 | 7.9773 | 10.6708
16 | GIRMS\IRMS-operator | 2026-08-06 18:34 | 2026-08-06 19:43 | Running | FALSE | SHP2L |  | 16 | 2 | 9 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 14.749 V | 9.4987 kV | 130 µbar | 132 µbar | Carbon Dioxide: -0.0013 kV | 135 µbar | 10.037 V | 16.869 V | 13.784 V | 376 µbar/min | 10.051 V | 1.01E-007 mbar | 10 % | 1,068 µbar | 72 °C | µ-Volume | Pre | 14.502 | 15.7399 | 20.6699 | 10.2065 | 10.8867 | 14.5624 | -1.0184 | -5.9396 | -1.0085 | 0.029919 | 0.010578 | -5.9453 | 0.017771 | 0.0062829 | -0.85902 | 0.031546 | -5.9494 | 0.017742
[32 empty] | Cycle 1 | 14.0088 | 15.2046 | 19.9667 | 9.7687 | 10.4203 | 13.9381 | -1.0628 | -5.965
[32 empty] | Cycle 2 | 13.5358 | 14.692 | 19.2927 | 9.3553 | 9.9797 | 13.3484 | -1.0366 | -5.9695
[32 empty] | Cycle 3 | 13.0845 | 14.2025 | 18.6499 | 8.9637 | 9.5621 | 12.7898 | -0.99576 | -5.9513
[32 empty] | Cycle 4 | 12.6483 | 13.7295 | 18.0288 | 8.5925 | 9.1657 | 12.2601 | -0.97576 | -5.9156
[32 empty] | Cycle 5 | 12.2334 | 13.2794 | 17.4372 | 8.2398 | 8.7901 | 11.7568 | -0.97793 | -5.951
[32 empty] | Cycle 6 | 11.8339 | 12.8458 | 16.8683 | 7.9057 | 8.4336 | 11.2808 | -0.99243 | -5.9301
[32 empty] | Cycle 7 | 11.4491 | 12.4283 | 16.3196 | 7.5883 | 8.0953 | 10.8275 | -1.0083 | -5.9406
[32 empty] | Cycle 8 |  |  |  | 7.2862 | 7.7732 | 10.3967
17 | GIRMS\IRMS-operator | 2026-08-06 19:06 | 2026-08-06 20:27 | Running | FALSE | MD23-3677Q - N. dutertrei | 824-826 | 17 | 1 | 10 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 16.223 V | 9.4987 kV | 128 µbar | 135 µbar | Carbon Dioxide: -0.0013 kV | 181 µbar | 10.898 V | 18.610 V | 14.853 V | 371 µbar/min | 2.790 V | 1.05E-007 mbar | 10 % | 1,095 µbar | 72 °C | µ-Volume | Pre | 15.6868 | 17.0671 | 22.4953 | 11.0697 | 11.8072 | 15.794 | 1.4086 | 0.14079 | 1.4513 | 0.040744 | 0.014405 | 0.14777 | 0.0084145 | 0.002975 | 1.5474 | 0.043417 | 0.14465 | 0.0083704
[32 empty] | Cycle 1 | 15.1211 | 16.4523 | 21.6843 | 10.5817 | 11.2876 | 15.0979 | 1.4032 | 0.14775
[32 empty] | Cycle 2 | 14.5827 | 15.8669 | 20.9121 | 10.122 | 10.7973 | 14.4418 | 1.4269 | 0.13995
[32 empty] | Cycle 3 | 14.0681 | 15.3075 | 20.1747 | 9.6889 | 10.3353 | 13.8242 | 1.4409 | 0.1513
[32 empty] | Cycle 4 | 13.5772 | 14.7737 | 19.4707 | 9.2796 | 9.8992 | 13.2405 | 1.454 | 0.14392
[32 empty] | Cycle 5 | 13.1036 | 14.2586 | 18.792 | 8.892 | 9.4854 | 12.6873 | 1.4714 | 0.15849
[32 empty] | Cycle 6 | 12.6507 | 13.7662 | 18.1426 | 8.5245 | 9.0938 | 12.1635 | 1.4791 | 0.13916
[32 empty] | Cycle 7 | 12.2184 | 13.2962 | 17.5231 | 8.1764 | 8.7225 | 11.6669 | 1.5261 | 0.16079
[32 empty] | Cycle 8 |  |  |  | 7.8458 | 8.3694 | 11.1951
18 | GIRMS\IRMS-operator | 2026-08-06 19:43 | 2026-08-06 20:56 | Running | FALSE | MD23-3677Q - N. dutertrei | 816-818 | 18 | 2 | 10 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 17.576 V | 9.4986 kV | 132 µbar | 140 µbar | Carbon Dioxide: -0.0014 kV | 167 µbar | 10.607 V | 20.218 V | 16.348 V | 73 µbar/min | 10.622 V | 1.04E-007 mbar | 10 % | 1,092 µbar | 72 °C | µ-Volume | Pre | 17.2432 | 18.7594 | 24.738 | 10.7791 | 11.4975 | 15.3789 | 1.3259 | 0.61819 | 1.4016 | 0.044875 | 0.015866 | 0.62383 | 0.012072 | 0.004268 | 1.4767 | 0.047739 | 0.62134 | 0.012022
[32 empty] | Cycle 1 | 16.6291 | 18.0923 | 23.8571 | 10.3096 | 10.9978 | 14.709 | 1.3566 | 0.60446
[32 empty] | Cycle 2 | 16.0432 | 17.4551 | 23.0174 | 9.8663 | 10.5244 | 14.0771 | 1.4012 | 0.62072
[32 empty] | Cycle 3 | 15.4826 | 16.8453 | 22.213 | 9.4477 | 10.0777 | 13.4797 | 1.3999 | 0.61735
[32 empty] | Cycle 4 | 14.9444 | 16.2603 | 21.4417 | 9.0514 | 9.6554 | 12.9147 | 1.4208 | 0.63791
[32 empty] | Cycle 5 | 14.4294 | 15.7007 | 20.7028 | 8.6762 | 9.255 | 12.3794 | 1.4262 | 0.61862
[32 empty] | Cycle 6 | 13.9327 | 15.1604 | 19.9907 | 8.3199 | 8.8758 | 11.8713 | 1.4075 | 0.63812
[32 empty] | Cycle 7 | 13.4562 | 14.6427 | 19.3071 | 7.9819 | 8.5149 | 11.389 | 1.4746 | 0.6353
[32 empty] | Cycle 8 |  |  |  | 7.6605 | 8.1721 | 10.9304
19 | GIRMS\IRMS-operator | 2026-08-06 20:27 | 2026-08-06 21:29 | Running | FALSE | MD23-3677Q - N. dutertrei | 808-810 | 19 | 1 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 24.822 V | 9.4987 kV | 132 µbar | 140 µbar | Carbon Dioxide: -0.0013 kV | 135 µbar | 10.323 V | 30.653 V | 23.466 V | 361 µbar/min | 10.337 V | 1.03E-007 mbar | 10 % | 1,126 µbar | 72 °C | µ-Volume | Pre | 25.2029 | 27.405 | 36.1371 | 10.4929 | 11.1926 | 14.9716 | 0.8192 | -0.010933 | 0.95489 | 0.094038 | 0.033248 | 0.047173 | 0.033611 | 0.011883 | 1.02 | 0.099537 | 0.045065 | 0.033461
[32 empty] | Cycle 1 | 24.1436 | 26.2545 | 34.6194 | 10.041 | 10.7108 | 14.3269 | 0.84715 | 0.018836
[32 empty] | Cycle 2 | 23.1573 | 25.1849 | 33.2063 | 9.6133 | 10.2548 | 13.7166 | 0.93826 | 0.047551
[32 empty] | Cycle 3 | 22.2233 | 24.1692 | 31.8675 | 9.2088 | 9.8235 | 13.1395 | 0.91661 | 0.045337
[32 empty] | Cycle 4 | 21.3365 | 23.2064 | 30.5964 | 8.8241 | 9.4136 | 12.5911 | 0.97117 | 0.038157
[32 empty] | Cycle 5 | 20.4988 | 22.2963 | 29.3966 | 8.4596 | 9.0246 | 12.0712 | 1.004 | 0.081994
[32 empty] | Cycle 6 | 19.7028 | 21.4321 | 28.2559 | 8.1142 | 8.6565 | 11.5783 | 1.0583 | 0.094086
[32 empty] | Cycle 7 | 18.9479 | 20.6117 | 27.1731 | 7.7865 | 8.3068 | 11.1111 | 1.0844 | 0.06235
[32 empty] | Cycle 8 |  |  |  | 7.4747 | 7.9743 | 10.6662
20 | GIRMS\IRMS-operator | 2026-08-06 20:56 | 2026-08-06 22:08 | Running | FALSE | MD23-3677Q - N. dutertrei | 800-802 | 20 | 2 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 17.395 V | 9.4986 kV | 132 µbar | 140 µbar | Carbon Dioxide: -0.0014 kV | 140 µbar | 10.025 V | 20.003 V | 16.209 V | 274 µbar/min | 10.038 V | 1.00E-007 mbar | 10 % | 1,102 µbar | 72 °C | µ-Volume | Pre | 17.0809 | 18.5779 | 24.5044 | 10.1921 | 10.8722 | 14.5423 | 1.0458 | 0.52175 | 1.1498 | 0.058304 | 0.020614 | 0.55578 | 0.018872 | 0.0066722 | 1.2098 | 0.062069 | 0.55378 | 0.018832
[32 empty] | Cycle 1 | 16.4757 | 17.921 | 23.6368 | 9.7556 | 10.4064 | 13.9196 | 1.1284 | 0.54749
[32 empty] | Cycle 2 | 15.892 | 17.2868 | 22.7998 | 9.3426 | 9.9659 | 13.3302 | 1.1446 | 0.57458
[32 empty] | Cycle 3 | 15.3381 | 16.6846 | 22.0052 | 8.9511 | 9.5486 | 12.7716 | 1.1394 | 0.54872
[32 empty] | Cycle 4 | 14.8026 | 16.1024 | 21.2376 | 8.5805 | 9.1533 | 12.2435 | 1.14 | 0.56131
[32 empty] | Cycle 5 | 14.2937 | 15.5495 | 20.5079 | 8.2284 | 8.778 | 11.7408 | 1.1677 | 0.58363
[32 empty] | Cycle 6 | 13.7908 | 15.0027 | 19.7863 | 7.8949 | 8.4223 | 11.2652 | 1.1766 | 0.55952
[32 empty] | Cycle 7 | 13.3193 | 14.4912 | 19.1101 | 7.5777 | 8.0841 | 10.8129 | 1.2559 | 0.54925
[32 empty] | Cycle 8 |  |  |  | 7.2769 | 7.7632 | 10.3837
21 | GIRMS\IRMS-operator | 2026-08-06 21:29 | 2026-08-06 22:54 | Running | FALSE | SHP2L |  | 21 | 1 | 12 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 9.408 V | 9.4986 kV | 137 µbar | 140 µbar | Carbon Dioxide: -0.0014 kV | 157 µbar | 8.676 V | 10.579 V |  | 342 µbar/min | 2.785 V | 9.07E-008 mbar | 17 % | 1,041 µbar | 72 °C | µ-Volume | Pre | 8.5138 | 9.2427 | 12.134 | 8.7989 | 9.3861 | 12.5543 | -0.8573 | -6.0086 | -0.86279 | 0.0095526 | 0.0036105 | -5.9974 | 0.024559 | 0.0086831 | -0.7012 | 0.010079 | -6.0019 | 0.024584
[32 empty] | Cycle 1 | 8.2469 | 8.9531 | 11.7539 | 8.4352 | 8.9984 | 12.0353 | -0.85801 | -5.999
[32 empty] | Cycle 2 | 7.9879 | 8.6722 | 11.3851 | 8.0905 | 8.6308 | 11.5439 | -0.85304 | -5.9959
[32 empty] | Cycle 3 | 7.7391 | 8.402 | 11.0302 | 7.7634 | 8.2822 | 11.0773 | -0.88189 | -6.0117
[32 empty] | Cycle 4 | 7.4986 | 8.1413 | 10.6877 | 7.4534 | 7.9514 | 10.6347 | -0.82826 | -6.0017
[32 empty] | Cycle 5 | 7.2672 | 7.8896 | 10.3577 | 7.1582 | 7.6364 | 10.2141 | -0.86345 | -6.0355
[32 empty] | Cycle 6 | 7.0444 | 7.6477 | 10.0406 | 6.8777 | 7.337 | 9.8137 | -0.86707 | -5.9702
[32 empty] | Cycle 7 | 6.8264 | 7.4114 | 9.7301 | 6.6077 | 7.0492 | 9.4281 | -0.85877 | -5.9564
[32 empty] | Cycle 8 |  |  |  | 6.3532 | 6.778 | 9.0656
22 | GIRMS\IRMS-operator | 2026-08-06 22:08 | 2026-08-06 23:19 | Running | FALSE | MD23-3677Q - N. dutertrei | 792-794 | 22 | 2 | 12 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 20.886 V | 9.4986 kV | 132 µbar | 137 µbar | Carbon Dioxide: -0.0014 kV | 157 µbar | 10.641 V | 24.326 V | 19.308 V | 347 µbar/min | 8.500 V | 1.05E-007 mbar | 10 % | 1,100 µbar | 72 °C | µ-Volume | Pre | 20.4743 | 22.2657 | 29.3705 | 10.8126 | 11.5329 | 15.4271 | 0.93748 | 0.47875 | 1.0373 | 0.070269 | 0.024844 | 0.50015 | 0.020553 | 0.0072664 | 1.0915 | 0.074805 | 0.49834 | 0.020494
[32 empty] | Cycle 1 | 19.6958 | 21.4206 | 28.2544 | 10.3415 | 11.0318 | 14.7552 | 0.96428 | 0.47799
[32 empty] | Cycle 2 | 18.9671 | 20.6285 | 27.2092 | 9.8976 | 10.5579 | 14.1223 | 0.98175 | 0.48768
[32 empty] | Cycle 3 | 18.2572 | 19.857 | 26.1916 | 9.4773 | 10.11 | 13.5221 | 1.0245 | 0.52937
[32 empty] | Cycle 4 | 17.5818 | 19.1235 | 25.2228 | 9.0792 | 9.6847 | 12.9543 | 1.0681 | 0.51879
[32 empty] | Cycle 5 | 16.9403 | 18.4275 | 24.3027 | 8.7024 | 9.2836 | 12.417 | 1.1195 | 0.48892
[32 empty] | Cycle 6 | 16.3247 | 17.7575 | 23.4199 | 8.3441 | 8.9013 | 11.9063 | 1.0944 | 0.49687
[32 empty] | Cycle 7 | 15.7295 | 17.1108 | 22.5666 | 8.0044 | 8.5391 | 11.4212 | 1.1085 | 0.52283
[32 empty] | Cycle 8 |  |  |  | 7.682 | 8.1955 | 10.9616
23 | GIRMS\IRMS-operator | 2026-08-06 22:54 | 2026-08-06 23:51 | Running | FALSE | MD23-3677Q - N. dutertrei | 780-782 | 23 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 20.083 V | 9.4986 kV | 135 µbar | 137 µbar | Carbon Dioxide: -0.0014 kV | 142 µbar | 10.356 V | 23.351 V | 18.445 V | 357 µbar/min | 10.369 V | 1.03E-007 mbar | 10 % | 1,109 µbar | 72 °C | µ-Volume | Pre | 19.5918 | 21.3098 | 28.1092 | 10.5256 | 11.2274 | 15.0179 | 1.1244 | 0.62558 | 1.2027 | 0.054789 | 0.019371 | 0.63611 | 0.026138 | 0.0092412 | 1.2634 | 0.057864 | 0.63408 | 0.026068
[32 empty] | Cycle 1 | 18.8267 | 20.4785 | 27.0111 | 10.0707 | 10.7422 | 14.3692 | 1.1531 | 0.60475
[32 empty] | Cycle 2 | 18.0998 | 19.6883 | 25.9691 | 9.6414 | 10.2846 | 13.7565 | 1.1596 | 0.63001
[32 empty] | Cycle 3 | 17.4071 | 18.9358 | 24.9756 | 9.2346 | 9.8507 | 13.1765 | 1.2021 | 0.62025
[32 empty] | Cycle 4 | 16.75 | 18.2212 | 24.0332 | 8.849 | 9.4395 | 12.6264 | 1.2021 | 0.62194
[32 empty] | Cycle 5 | 16.1191 | 17.5358 | 23.1286 | 8.4839 | 9.0501 | 12.1058 | 1.2448 | 0.63551
[32 empty] | Cycle 6 | 15.5165 | 16.8809 | 22.2644 | 8.1372 | 8.6805 | 11.6111 | 1.2542 | 0.66816
[32 empty] | Cycle 7 | 14.9401 | 16.2545 | 21.4377 | 7.8082 | 8.3298 | 11.1413 | 1.2809 | 0.6827
[32 empty] | Cycle 8 |  |  |  | 7.4963 | 7.9971 | 10.6968
24 | GIRMS\IRMS-operator | 2026-08-06 23:19 | 2026-08-07 00:29 | Running | FALSE | MD23-3677Q - N. dutertrei | 768-770 | 24 | 2 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.744 V | 9.4984 kV | 132 µbar | 128 µbar | Carbon Dioxide: -0.0016 kV | 152 µbar | 10.049 V | 15.658 V | 12.826 V | 322 µbar/min | 10.063 V | 9.96E-008 mbar | 10 % | 1,073 µbar | 72 °C | µ-Volume | Pre | 13.4946 | 14.6815 | 19.3652 | 10.2189 | 10.9002 | 14.5803 | 1.3518 | 0.86047 | 1.3817 | 0.025317 | 0.0089508 | 0.86588 | 0.018642 | 0.0065908 | 1.4465 | 0.026682 | 0.86369 | 0.018627
[32 empty] | Cycle 1 | 13.0343 | 14.1814 | 18.705 | 9.781 | 10.4336 | 13.9551 | 1.3696 | 0.86215
[32 empty] | Cycle 2 | 12.6018 | 13.7109 | 18.0848 | 9.3671 | 9.9922 | 13.3652 | 1.3551 | 0.8576
[32 empty] | Cycle 3 | 12.188 | 13.2609 | 17.4909 | 8.9732 | 9.5722 | 12.8034 | 1.3648 | 0.84231
[32 empty] | Cycle 4 | 11.7909 | 12.8294 | 16.9216 | 8.6015 | 9.1757 | 12.273 | 1.4234 | 0.88702
[32 empty] | Cycle 5 | 11.4069 | 12.4116 | 16.3702 | 8.2487 | 8.7992 | 11.7695 | 1.4011 | 0.85143
[32 empty] | Cycle 6 | 11.0385 | 12.0109 | 15.842 | 7.914 | 8.4427 | 11.2925 | 1.3898 | 0.86691
[32 empty] | Cycle 7 | 10.6865 | 11.6281 | 15.3373 | 7.5965 | 8.1037 | 10.8391 | 1.3981 | 0.89918
[32 empty] | Cycle 8 |  |  |  | 7.2943 | 7.7817 | 10.4082
25 | GIRMS\IRMS-operator | 2026-08-06 23:51 | 2026-08-07 01:14 | Running | FALSE | MD23-3677Q - N. dutertrei | 756-758 | 25 | 1 | 14 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 20.475 V | 9.4987 kV | 125 µbar | 135 µbar | Carbon Dioxide: -0.0013 kV | 128 µbar | 10.861 V | 23.787 V | 18.637 V | 327 µbar/min | 2.791 V | 1.05E-007 mbar | 10 % | 1,097 µbar | 72 °C | µ-Volume | Pre | 19.7997 | 21.5353 | 28.4054 | 11.032 | 11.7667 | 15.7408 | 1.1262 | 0.54974 | 1.149 | 0.050147 | 0.01773 | 0.56231 | 0.0081975 | 0.0030984 | 1.2085 | 0.053474 | 0.56033 | 0.0082008
[32 empty] | Cycle 1 | 19.0401 | 20.709 | 27.3164 | 10.5483 | 11.2518 | 15.0505 | 1.0711 | 0.57137
[32 empty] | Cycle 2 | 18.3141 | 19.92 | 26.2749 | 10.0915 | 10.7647 | 14.3989 | 1.0953 | 0.56373
[32 empty] | Cycle 3 | 17.6237 | 19.171 | 25.285 | 9.6607 | 10.3051 | 13.7843 | 1.1466 | 0.56058
[32 empty] | Cycle 4 | 16.9668 | 18.4567 | 24.3432 | 9.2532 | 9.8715 | 13.2036 | 1.1506 | 0.55361
[32 empty] | Cycle 5 | 16.3381 | 17.7735 | 23.4414 | 8.8673 | 9.4588 | 12.6529 | 1.2079 | 0.56714
[32 empty] | Cycle 6 | 15.7388 | 17.1222 | 22.5816 | 8.4998 | 9.0675 | 12.1286 | 1.1953 | 0.57
[32 empty] | Cycle 7 | 15.1694 | 16.5038 | 21.7654 | 8.1527 | 8.6975 | 11.6333 | 1.1991 | 0.59513
[32 empty] | Cycle 8 |  |  |  | 7.8234 | 8.3469 | 11.1635
26 | GIRMS\IRMS-operator | 2026-08-07 00:29 | 2026-08-07 01:42 | Running | FALSE | SHP2L |  | 26 | 2 | 14 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 15.030 V | 9.4985 kV | 130 µbar | 135 µbar | Carbon Dioxide: -0.0015 kV | 157 µbar | 10.575 V | 17.142 V | 14.002 V | 78 µbar/min | 10.590 V | 1.04E-007 mbar | 10 % | 1,085 µbar | 72 °C | µ-Volume | Pre | 14.7306 | 15.9886 | 20.9952 | 10.7466 | 11.4634 | 15.3331 | -1.0106 | -5.9701 | -0.98388 | 0.046659 | 0.016497 | -5.9669 | 0.0095818 | 0.0033877 | -0.83187 | 0.049791 | -5.9711 | 0.009552
[32 empty] | Cycle 1 | 14.2236 | 15.4383 | 20.2725 | 10.2789 | 10.9646 | 14.6662 | -0.9866 | -5.9809
[32 empty] | Cycle 2 | 13.7394 | 14.9137 | 19.5828 | 9.8371 | 10.4928 | 14.0355 | -0.9315 | -5.9706
[32 empty] | Cycle 3 | 13.2747 | 14.4089 | 18.9204 | 9.4197 | 10.0483 | 13.4406 | -1.0762 | -5.9757
[32 empty] | Cycle 4 | 12.8266 | 13.9246 | 18.2824 | 9.024 | 9.6278 | 12.8757 | -0.98531 | -5.9519
[32 empty] | Cycle 5 | 12.3962 | 13.4575 | 17.669 | 8.6499 | 9.2282 | 12.3423 | -0.97093 | -5.9582
[32 empty] | Cycle 6 | 11.9778 | 13.0028 | 17.0726 | 8.294 | 8.8489 | 11.8343 | -0.98141 | -5.9673
[32 empty] | Cycle 7 | 11.5795 | 12.5706 | 16.5051 | 7.9572 | 8.4887 | 11.3541 | -0.92844 | -5.9602
[32 empty] | Cycle 8 |  |  |  | 7.6374 | 8.1476 | 10.8976
27 | GIRMS\IRMS-operator | 2026-08-07 01:14 | 2026-08-07 02:14 | Running | FALSE | MD23-3677Q - N. dutertrei | 748-750 | 27 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 22.145 V | 9.4985 kV | 135 µbar | 135 µbar | Carbon Dioxide: -0.0015 kV | 135 µbar | 10.288 V | 26.694 V | 20.958 V | 293 µbar/min | 10.302 V | 1.03E-007 mbar | 10 % | 1,114 µbar | 72 °C | µ-Volume | Pre | 22.2346 | 24.1831 | 31.8652 | 10.458 | 11.1553 | 14.9213 | 1.0631 | -0.48234 | 1.2013 | 0.084134 | 0.029746 | -0.43463 | 0.024527 | 0.0086715 | 1.3015 | 0.089368 | -0.43782 | 0.024415
[32 empty] | Cycle 1 | 21.3329 | 23.2072 | 30.5746 | 10.0077 | 10.6754 | 14.2793 | 1.1813 | -0.44865
[32 empty] | Cycle 2 | 20.488 | 22.2899 | 29.3638 | 9.5812 | 10.2217 | 13.6707 | 1.1728 | -0.45283
[32 empty] | Cycle 3 | 19.6809 | 21.4119 | 28.208 | 9.1784 | 9.7925 | 13.096 | 1.1431 | -0.42265
[32 empty] | Cycle 4 | 18.9166 | 20.5814 | 27.1132 | 8.7957 | 9.3844 | 12.5501 | 1.1777 | -0.41213
[32 empty] | Cycle 5 | 18.1989 | 19.802 | 26.0846 | 8.4331 | 8.9976 | 12.033 | 1.2893 | -0.42179
[32 empty] | Cycle 6 | 17.5122 | 19.053 | 25.1003 | 8.0902 | 8.6309 | 11.5437 | 1.2672 | -0.42392
[32 empty] | Cycle 7 | 16.8628 | 18.3473 | 24.1703 | 7.7641 | 8.2827 | 11.0785 | 1.3162 | -0.41277
[32 empty] | Cycle 8 |  |  |  | 7.4548 | 7.953 | 10.6375
28 | GIRMS\IRMS-operator | 2026-08-07 01:42 | 2026-08-07 02:52 | Running | FALSE | MD23-3677Q - N. dutertrei | 740-742 | 28 | 2 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 18.436 V | 9.4985 kV | 132 µbar | 137 µbar | Carbon Dioxide: -0.0015 kV | 135 µbar | 9.998 V | 21.223 V | 17.088 V | 400 µbar/min | 10.008 V | 9.91E-008 mbar | 10 % | 1,107 µbar | 72 °C | µ-Volume | Pre | 18.0589 | 19.6448 | 25.9022 | 10.166 | 10.8435 | 14.5047 | 1.2476 | 0.33585 | 1.1898 | 0.22233 | 0.078604 | 0.071197 | 0.52538 | 0.18575 | 1.2705 | 0.21897 | 0.068584 | 0.52545
[32 empty] | Cycle 1 | 17.3948 | 18.9233 | 24.9504 | 9.7279 | 10.3768 | 13.88 | 0.80493 | -0.77882
[32 empty] | Cycle 2 | 16.7762 | 18.2518 | 24.0626 | 9.2984 | 9.9277 | 13.297 | 0.87394 | -0.78049
[32 empty] | Cycle 3 | 16.1749 | 17.597 | 23.2007 | 8.9294 | 9.5253 | 12.7403 | 1.2416 | 0.36142
[32 empty] | Cycle 4 | 15.6002 | 16.9728 | 22.3765 | 8.559 | 9.131 | 12.2124 | 1.2901 | 0.33839
[32 empty] | Cycle 5 | 15.0529 | 16.3776 | 21.5923 | 8.2081 | 8.7561 | 11.7118 | 1.3311 | 0.36114
[32 empty] | Cycle 6 | 14.5212 | 15.7998 | 20.8296 | 7.876 | 8.4019 | 11.2382 | 1.3438 | 0.34787
[32 empty] | Cycle 7 | 14.0064 | 15.2405 | 20.0917 | 7.5598 | 8.0649 | 10.7871 | 1.3856 | 0.38422
[32 empty] | Cycle 8 |  |  |  | 7.2596 | 7.7446 | 10.3585
29 | GIRMS\IRMS-operator | 2026-08-07 02:14 | 2026-08-07 03:35 | Running | FALSE | MD23-3677Q - N. dutertrei | 732-734 | 29 | 1 | 16 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 12.971 V | 9.4986 kV | 137 µbar | 135 µbar | Carbon Dioxide: -0.0014 kV | 140 µbar | 10.845 V | 14.780 V | 11.420 V | 376 µbar/min | 2.793 V | 1.06E-007 mbar | 10 % | 1,078 µbar | 72 °C | µ-Volume | Pre | 11.8814 | 12.9239 | 17.0432 | 11.0163 | 11.7505 | 15.7174 | 1.2007 | 0.46135 | 1.1946 | 0.022888 | 0.0080922 | 0.47228 | 0.016813 | 0.0059442 | 1.2608 | 0.024638 | 0.47009 | 0.016842
[32 empty] | Cycle 1 | 11.477 | 12.4843 | 16.4639 | 10.532 | 11.2341 | 15.0266 | 1.1951 | 0.49404
[32 empty] | Cycle 2 | 11.0878 | 12.0612 | 15.9055 | 10.0764 | 10.7485 | 14.3769 | 1.1684 | 0.4872
[32 empty] | Cycle 3 | 10.7158 | 11.6563 | 15.3717 | 9.6455 | 10.2894 | 13.7618 | 1.1682 | 0.47541
[32 empty] | Cycle 4 | 10.3581 | 11.2679 | 14.8591 | 9.2382 | 9.8541 | 13.181 | 1.2139 | 0.48313
[32 empty] | Cycle 5 | 10.0146 | 10.8943 | 14.3661 | 8.8531 | 9.4443 | 12.6317 | 1.1736 | 0.44996
[32 empty] | Cycle 6 | 9.6843 | 10.5356 | 13.8925 | 8.4884 | 9.0551 | 12.1116 | 1.2307 | 0.44969
[32 empty] | Cycle 7 | 9.368 | 10.1912 | 13.439 | 8.1414 | 8.6851 | 11.6166 | 1.2062 | 0.47749
[32 empty] | Cycle 8 |  |  |  | 7.8125 | 8.3342 | 11.1472
30 | GIRMS\IRMS-operator | 2026-08-07 02:52 | 2026-08-07 04:04 | Running | FALSE | MD23-3677Q - N. dutertrei | 728-730 | 30 | 2 | 16 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 12.385 V | 9.4986 kV | 135 µbar | 132 µbar | Carbon Dioxide: -0.0014 kV | 145 µbar | 10.562 V | 14.000 V | 11.598 V | 386 µbar/min | 10.575 V | 1.03E-007 mbar | 10 % | 1,053 µbar | 72 °C | µ-Volume | Pre | 12.1422 | 13.2159 | 17.4139 | 10.7317 | 11.4475 | 15.3115 | 1.8047 | 0.26527 | 1.8331 | 0.025275 | 0.008936 | 0.22652 | 0.023568 | 0.0083326 | 1.9531 | 0.027727 | 0.22262 | 0.023638
[32 empty] | Cycle 1 | 11.7467 | 12.7856 | 16.8462 | 10.2644 | 10.9484 | 14.6445 | 1.8387 | 0.2333
[32 empty] | Cycle 2 | 11.3699 | 12.3757 | 16.3061 | 9.8234 | 10.4784 | 14.016 | 1.8399 | 0.22751
[32 empty] | Cycle 3 | 11.0053 | 11.9791 | 15.7834 | 9.4068 | 10.0341 | 13.4214 | 1.8018 | 0.24215
[32 empty] | Cycle 4 | 10.6549 | 11.598 | 15.2811 | 9.0127 | 9.6146 | 12.8591 | 1.8199 | 0.23944
[32 empty] | Cycle 5 | 10.3162 | 11.2296 | 14.7952 | 8.6381 | 9.2142 | 12.3251 | 1.8744 | 0.19738
[32 empty] | Cycle 6 | 9.9887 | 10.8734 | 14.3257 | 8.2835 | 8.8361 | 11.8195 | 1.8591 | 0.20708
[32 empty] | Cycle 7 | 9.6667 | 10.5229 | 13.8637 | 7.9474 | 8.4781 | 11.3395 | 1.826 | 0.20004
[32 empty] | Cycle 8 |  |  |  | 7.6283 | 8.1379 | 10.8845
31 | GIRMS\IRMS-operator | 2026-08-07 03:35 | 2026-08-07 04:36 | Running | FALSE | SHP2L |  | 31 | 1 | 17 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 17.573 V | 9.4986 kV | 132 µbar | 135 µbar | Carbon Dioxide: -0.0014 kV | 479 µbar | 10.286 V | 20.260 V | 16.213 V | 415 µbar/min | 10.299 V | 1.03E-007 mbar | 10 % | 1,100 µbar | 72 °C | µ-Volume | Pre | 17.1501 | 18.6109 | 24.4394 | 10.4558 | 11.153 | 14.9181 | -1.1869 | -6.1302 | -1.189 | 0.034792 | 0.012301 | -6.116 | 0.01066 | 0.0037688 | -1.0459 | 0.037001 | -6.1199 | 0.010626
[32 empty] | Cycle 1 | 16.5104 | 17.9167 | 23.528 | 10.0049 | 10.6719 | 14.2749 | -1.251 | -6.1315
[32 empty] | Cycle 2 | 15.901 | 17.2568 | 22.6601 | 9.5781 | 10.2179 | 13.666 | -1.2181 | -6.1116
[32 empty] | Cycle 3 | 15.3196 | 16.6257 | 21.8319 | 9.1745 | 9.7872 | 13.0902 | -1.2124 | -6.1134
[32 empty] | Cycle 4 | 14.7659 | 16.0255 | 21.0433 | 8.7923 | 9.3795 | 12.5454 | -1.1667 | -6.1148
[32 empty] | Cycle 5 | 14.2367 | 15.4519 | 20.2893 | 8.4297 | 8.9925 | 12.028 | -1.1581 | -6.1106
[32 empty] | Cycle 6 | 13.725 | 14.8981 | 19.56 | 8.0856 | 8.6264 | 11.5371 | -1.1648 | -6.117
[32 empty] | Cycle 7 | 13.232 | 14.3635 | 18.8581 | 7.7589 | 8.2787 | 11.071 | -1.1544 | -6.0988
[32 empty] | Cycle 8 |  |  |  | 7.4486 | 7.9472 | 10.6286
32 | GIRMS\IRMS-operator | 2026-08-07 04:04 | 2026-08-07 05:13 | Running | FALSE | MD23-3677Q - N. dutertrei | 720-722 | 32 | 2 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 16.268 V | 9.4986 kV | 132 µbar | 130 µbar | Carbon Dioxide: -0.0014 kV | 152 µbar | 9.985 V | 18.767 V | 15.076 V | 381 µbar/min | 9.999 V | 1.01E-007 mbar | 10 % | 1,073 µbar | 72 °C | µ-Volume | Pre | 15.9361 | 17.3401 | 22.8534 | 10.1527 | 10.8294 | 14.4852 | 1.5079 | 0.19444 | 1.5197 | 0.036488 | 0.0129 | 0.19466 | 0.013682 | 0.0048374 | 1.6189 | 0.038773 | 0.19144 | 0.013653
[32 empty] | Cycle 1 | 15.3574 | 16.7108 | 22.0237 | 9.7183 | 10.3665 | 13.8659 | 1.4743 | 0.19781
[32 empty] | Cycle 2 | 14.8038 | 16.1092 | 21.23 | 9.3071 | 9.9285 | 13.2788 | 1.4899 | 0.19402
[32 empty] | Cycle 3 | 14.2773 | 15.5364 | 20.4753 | 8.9175 | 9.5129 | 12.7238 | 1.4859 | 0.17177
[32 empty] | Cycle 4 | 13.7739 | 14.9893 | 19.7537 | 8.5477 | 9.1187 | 12.1962 | 1.5196 | 0.19373
[32 empty] | Cycle 5 | 13.2926 | 14.466 | 19.0639 | 8.1979 | 8.7454 | 11.6969 | 1.5549 | 0.19718
[32 empty] | Cycle 6 | 12.8313 | 13.9642 | 18.4027 | 7.866 | 8.3914 | 11.2239 | 1.5719 | 0.22132
[32 empty] | Cycle 7 | 12.3982 | 13.4934 | 17.7809 | 7.5501 | 8.0544 | 10.7728 | 1.5533 | 0.18705
[32 empty] | Cycle 8 |  |  |  | 7.251 | 7.7362 | 10.3463
33 | GIRMS\IRMS-operator | 2026-08-07 04:36 | 2026-08-07 05:58 | Running | FALSE | MD23-3677Q - N. dutertrei | 716-718 | 33 | 1 | 18 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 21.740 V | 9.4988 kV | 125 µbar | 135 µbar | Carbon Dioxide: -0.0012 kV | 152 µbar | 10.817 V | 25.242 V | 19.737 V | 352 µbar/min | 2.791 V | 1.06E-007 mbar | 10 % | 1,109 µbar | 72 °C | µ-Volume | Pre | 20.9654 | 22.7991 | 30.0565 | 10.9872 | 11.7197 | 15.6769 | 0.89052 | -0.17125 | 1.0054 | 0.096081 | 0.03397 | -0.14242 | 0.021482 | 0.0075949 | 1.0811 | 0.10216 | -0.14484 | 0.021327
[32 empty] | Cycle 1 | 20.154 | 21.9189 | 28.8936 | 10.5056 | 11.2067 | 14.9897 | 0.92114 | -0.17688
[32 empty] | Cycle 2 | 19.3773 | 21.0741 | 27.781 | 10.0515 | 10.7231 | 14.3423 | 0.89009 | -0.14944
[32 empty] | Cycle 3 | 18.6317 | 20.2649 | 26.7126 | 9.6214 | 10.2642 | 13.7284 | 0.99071 | -0.12976
[32 empty] | Cycle 4 | 17.9319 | 19.5045 | 25.7097 | 9.2107 | 9.8257 | 13.1426 | 1.0363 | -0.13075
[32 empty] | Cycle 5 | 17.2625 | 18.7781 | 24.7499 | 8.8263 | 9.4157 | 12.5942 | 1.113 | -0.12774
[32 empty] | Cycle 6 | 16.6277 | 18.0876 | 23.8404 | 8.4619 | 9.0271 | 12.0741 | 1.1055 | -0.11781
[32 empty] | Cycle 7 | 16.0196 | 17.4263 | 22.9688 | 8.1174 | 8.6598 | 11.5831 | 1.0962 | -0.13572
[32 empty] | Cycle 8 |  |  |  | 7.79 | 8.3106 | 11.116
34 | GIRMS\IRMS-operator | 2026-08-07 05:13 | 2026-08-07 06:26 | Running | FALSE | MD23-3677Q - N. dutertrei | 712-714 | 34 | 2 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 13.611 V | 9.4987 kV | 130 µbar | 137 µbar | Carbon Dioxide: -0.0013 kV | 142 µbar | 10.535 V | 15.378 V | 12.775 V | 386 µbar/min | 10.549 V | 1.03E-007 mbar | 10 % | 1,080 µbar | 72 °C | µ-Volume | Pre | 13.3648 | 14.5459 | 19.1597 | 10.706 | 11.4191 | 15.2746 | 1.7629 | -0.13943 | 1.758 | 0.037078 | 0.013109 | -0.13926 | 0.0060918 | 0.0023025 | 1.8864 | 0.039561 | -0.14338 | 0.0060579
[32 empty] | Cycle 1 | 12.9312 | 14.0741 | 18.5384 | 10.2406 | 10.9238 | 14.611 | 1.7317 | -0.13178
[32 empty] | Cycle 2 | 12.5149 | 13.6212 | 17.9418 | 9.8015 | 10.4554 | 13.9846 | 1.7204 | -0.14407
[32 empty] | Cycle 3 | 12.1109 | 13.182 | 17.3625 | 9.3855 | 10.0122 | 13.3915 | 1.7529 | -0.16955
[32 empty] | Cycle 4 | 11.7221 | 12.7584 | 16.8056 | 8.9922 | 9.5921 | 12.8304 | 1.7127 | -0.14837
[32 empty] | Cycle 5 | 11.3493 | 12.3538 | 16.2716 | 8.6185 | 9.194 | 12.2973 | 1.7728 | -0.13358
[32 empty] | Cycle 6 | 10.9893 | 11.9626 | 15.7556 | 8.264 | 8.8159 | 11.7916 | 1.824 | -0.13507
[32 empty] | Cycle 7 | 10.6409 | 11.5833 | 15.2563 | 7.9277 | 8.4572 | 11.3119 | 1.787 | -0.14252
[32 empty] | Cycle 8 |  |  |  | 7.6087 | 8.1173 | 10.857
35 | GIRMS\IRMS-operator | 2026-08-07 05:58 | 2026-08-07 07:00 | Running | FALSE | MD23-3677Q - N. dutertrei | 708-710 | 35 | 1 | 19 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 23.326 V | 9.4986 kV | 135 µbar | 140 µbar | Carbon Dioxide: -0.0014 kV | 159 µbar | 10.243 V | 27.054 V | 21.352 V | 225 µbar/min | 10.255 V | 1.02E-007 mbar | 10 % | 1,126 µbar | 72 °C | µ-Volume | Pre | 22.6155 | 24.597 | 32.4128 | 10.412 | 11.1073 | 14.855 | 0.95828 | -0.4016 | 1.0395 | 0.067159 | 0.023744 | -0.39306 | 0.013835 | 0.0048913 | 1.1269 | 0.071517 | -0.39583 | 0.013748
[32 empty] | Cycle 1 | 21.7069 | 23.6104 | 31.1112 | 9.9645 | 10.6299 | 14.2171 | 1.0035 | -0.41572
[32 empty] | Cycle 2 | 20.8481 | 22.6767 | 29.8811 | 9.5412 | 10.179 | 13.6138 | 0.98385 | -0.40474
[32 empty] | Cycle 3 | 20.0289 | 21.7867 | 28.7076 | 9.1402 | 9.7513 | 13.0414 | 1.0068 | -0.39274
[32 empty] | Cycle 4 | 19.2507 | 20.9411 | 27.5926 | 8.7607 | 9.3467 | 12.5003 | 1.0355 | -0.39081
[32 empty] | Cycle 5 | 18.5122 | 20.1387 | 26.535 | 8.4007 | 8.9626 | 11.9865 | 1.054 | -0.37286
[32 empty] | Cycle 6 | 17.8117 | 19.3774 | 25.5312 | 8.0593 | 8.5989 | 11.4997 | 1.1274 | -0.38235
[32 empty] | Cycle 7 | 17.1442 | 18.6506 | 24.5745 | 7.7349 | 8.2517 | 11.0371 | 1.147 | -0.38362
[32 empty] | Cycle 8 |  |  |  | 7.426 | 7.9224 | 10.5962
36 | GIRMS\IRMS-operator | 2026-08-07 06:26 | 2026-08-07 07:38 | Running | FALSE | SHP2L |  | 36 | 2 | 19 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 18.962 V | 9.4987 kV | 132 µbar | 142 µbar | Carbon Dioxide: -0.0013 kV | 135 µbar | 9.952 V | 21.845 V | 17.633 V | 391 µbar/min | 9.965 V | 9.96E-008 mbar | 10 % | 1,109 µbar | 72 °C | µ-Volume | Pre | 18.5972 | 20.1797 | 26.5027 | 10.1184 | 10.7936 | 14.4373 | -1.3082 | -6.118 | -1.2434 | 0.047218 | 0.016694 | -6.0959 | 0.022745 | 0.0080415 | -1.1047 | 0.049845 | -6.0996 | 0.022683
[32 empty] | Cycle 1 | 17.9226 | 19.4482 | 25.5413 | 9.6857 | 10.3319 | 13.8198 | -1.283 | -6.1236
[32 empty] | Cycle 2 | 17.2802 | 18.7519 | 24.6263 | 9.2772 | 9.8963 | 13.2372 | -1.2611 | -6.1156
[32 empty] | Cycle 3 | 16.655 | 18.074 | 23.736 | 8.8901 | 9.4836 | 12.6849 | -1.2636 | -6.0944
[32 empty] | Cycle 4 | 16.0655 | 17.4348 | 22.8959 | 8.5229 | 9.0922 | 12.1609 | -1.2497 | -6.0969
[32 empty] | Cycle 5 | 15.4964 | 16.8188 | 22.0854 | 8.1748 | 8.7209 | 11.6644 | -1.1643 | -6.0838
[32 empty] | Cycle 6 | 14.9505 | 16.226 | 21.3077 | 7.8445 | 8.3687 | 11.1933 | -1.2223 | -6.0772
[32 empty] | Cycle 7 | 14.404 | 15.6332 | 20.5292 | 7.53 | 8.0336 | 10.7446 | -1.1947 | -6.0575
[32 empty] | Cycle 8 |  |  |  | 7.2313 | 7.7143 | 10.3182
37 | GIRMS\IRMS-operator | 2026-08-07 07:00 | 2026-08-07 08:21 | Running | FALSE | MD23-3677Q - N. dutertrei | 704-706 | 37 | 1 | 20 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 20.813 V | 9.4987 kV | 137 µbar | 140 µbar | Carbon Dioxide: -0.0013 kV | 140 µbar | 10.799 V | 24.194 V | 18.880 V | 352 µbar/min | 2.794 V | 1.05E-007 mbar | 10 % | 1,129 µbar | 72 °C | µ-Volume | Pre | 20.0644 | 21.824 | 28.7671 | 10.9683 | 11.6996 | 15.6497 | 1.1282 | -0.077163 | 1.1878 | 0.055325 | 0.01956 | -0.060342 | 0.028276 | 0.0099971 | 1.2733 | 0.058259 | -0.063091 | 0.028194
[32 empty] | Cycle 1 | 19.2811 | 20.9724 | 27.6441 | 10.4883 | 11.1878 | 14.965 | 1.1195 | -0.10303
[32 empty] | Cycle 2 | 18.5373 | 20.1641 | 26.5786 | 10.0353 | 10.7048 | 14.319 | 1.1505 | -0.066793
[32 empty] | Cycle 3 | 17.8302 | 19.3961 | 25.5649 | 9.6079 | 10.2489 | 13.7088 | 1.1921 | -0.070187
[32 empty] | Cycle 4 | 17.1572 | 18.6645 | 24.6 | 9.204 | 9.8183 | 13.133 | 1.175 | -0.079296
[32 empty] | Cycle 5 | 16.5144 | 17.9661 | 23.6795 | 8.8209 | 9.4102 | 12.5862 | 1.2147 | -0.028797
[32 empty] | Cycle 6 | 15.9023 | 17.3007 | 22.8018 | 8.457 | 9.0217 | 12.0671 | 1.2541 | -0.029341
[32 empty] | Cycle 7 | 15.3182 | 16.6657 | 21.9645 | 8.1124 | 8.6543 | 11.5754 | 1.2686 | -0.028128
[32 empty] | Cycle 8 |  |  |  | 7.7846 | 8.3046 | 11.108
38 | GIRMS\IRMS-operator | 2026-08-07 07:38 | 2026-08-07 08:49 | Running | FALSE | MD23-3677Q - N. dutertrei | 700-702 | 38 | 2 | 20 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 18.943 V | 9.4986 kV | 137 µbar | 140 µbar | Carbon Dioxide: -0.0014 kV | 157 µbar | 10.521 V | 21.736 V | 17.507 V | 156 µbar/min | 10.536 V | 1.04E-007 mbar | 10 % | 1,097 µbar | 72 °C | µ-Volume | Pre | 18.49 | 20.1179 | 26.5215 | 10.691 | 11.4036 | 15.2538 | 1.4618 | 0.36779 | 1.5309 | 0.058211 | 0.020581 | 0.37484 | 0.015834 | 0.005598 | 1.6242 | 0.061812 | 0.37178 | 0.015744
[32 empty] | Cycle 1 | 17.8151 | 19.3843 | 25.5534 | 10.2277 | 10.9096 | 14.5933 | 1.4342 | 0.34339
[32 empty] | Cycle 2 | 17.1615 | 18.675 | 24.6167 | 9.7892 | 10.443 | 13.9677 | 1.5222 | 0.36837
[32 empty] | Cycle 3 | 16.5434 | 18.0022 | 23.7304 | 9.3752 | 10.0005 | 13.3769 | 1.5292 | 0.38278
[32 empty] | Cycle 4 | 15.9574 | 17.3657 | 22.8903 | 8.9827 | 9.5823 | 12.8169 | 1.5554 | 0.3946
[32 empty] | Cycle 5 | 15.388 | 16.748 | 22.074 | 8.6105 | 9.1856 | 12.2862 | 1.5787 | 0.38512
[32 empty] | Cycle 6 | 14.8612 | 16.1753 | 21.3185 | 8.2575 | 8.8103 | 11.7828 | 1.5572 | 0.37158
[32 empty] | Cycle 7 | 14.3226 | 15.5887 | 20.5465 | 7.9214 | 8.4515 | 11.3035 | 1.608 | 0.38507
[32 empty] | Cycle 8 |  |  |  | 7.6035 | 8.1114 | 10.85
39 | GIRMS\IRMS-operator | 2026-08-07 08:21 | 2026-08-07 09:21 | Running | FALSE | MD23-3677Q - N. dutertrei | 696-698 | 39 | 1 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 25.254 V | 9.4985 kV | 135 µbar | 137 µbar | Carbon Dioxide: -0.0015 kV | 167 µbar | 10.242 V | 29.802 V | 23.035 V | 234 µbar/min | 10.255 V | 1.02E-007 mbar | 10 % | 1,131 µbar | 72 °C | µ-Volume | Pre | 24.6146 | 26.7699 | 35.2919 | 10.4101 | 11.1054 | 14.8532 | 0.86971 | -0.051487 | 1.055 | 0.11495 | 0.04064 | -0.0023696 | 0.033088 | 0.011698 | 1.1289 | 0.12181 | -0.0047565 | 0.032872
[32 empty] | Cycle 1 | 23.5728 | 25.638 | 33.7994 | 9.9626 | 10.6287 | 14.2149 | 0.93519 | -0.027349
[32 empty] | Cycle 2 | 22.5939 | 24.5736 | 32.3963 | 9.5392 | 10.1759 | 13.611 | 1.0013 | -0.033999
[32 empty] | Cycle 3 | 21.6617 | 23.5614 | 31.0612 | 9.1385 | 9.7485 | 13.0397 | 1.058 | -0.0053541
[32 empty] | Cycle 4 | 20.7873 | 22.6109 | 29.808 | 8.7578 | 9.3425 | 12.4965 | 1.0776 | 0.01143
[32 empty] | Cycle 5 | 19.9537 | 21.7059 | 28.6134 | 8.3974 | 8.9581 | 11.9824 | 1.1264 | 0.01771
[32 empty] | Cycle 6 | 19.1588 | 20.8425 | 27.4739 | 8.0558 | 8.5941 | 11.4951 | 1.1626 | 0.024455
[32 empty] | Cycle 7 | 18.4017 | 20.0201 | 26.3891 | 7.7312 | 8.2479 | 11.032 | 1.209 | 0.045638
[32 empty] | Cycle 8 |  |  |  | 7.4229 | 7.9191 | 10.5922
40 | GIRMS\IRMS-operator | 2026-08-07 08:49 | 2026-08-07 09:59 | Running | FALSE | MD23-3677Q - N. dutertrei | 692-694 | 40 | 2 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 21.854 V | 9.4986 kV | 135 µbar | 140 µbar | Carbon Dioxide: -0.0014 kV | 142 µbar | 9.949 V | 25.647 V | 20.151 V | 405 µbar/min | 9.961 V | 9.96E-008 mbar | 10 % | 1,109 µbar | 72 °C | µ-Volume | Pre | 21.4583 | 23.3437 | 30.7725 | 10.1143 | 10.7889 | 14.4315 | 1.2511 | 0.11815 | 1.3598 | 0.081318 | 0.02875 | 0.15676 | 0.02126 | 0.0075166 | 1.4492 | 0.086511 | 0.15386 | 0.021166
[32 empty] | Cycle 1 | 20.6083 | 22.4203 | 29.5543 | 9.6832 | 10.3293 | 13.8168 | 1.2849 | 0.14115
[32 empty] | Cycle 2 | 19.8061 | 21.5487 | 28.4042 | 9.2742 | 9.8932 | 13.2329 | 1.3229 | 0.14928
[32 empty] | Cycle 3 | 19.0334 | 20.7096 | 27.297 | 8.8876 | 9.481 | 12.6816 | 1.354 | 0.15327
[32 empty] | Cycle 4 | 18.3013 | 19.9137 | 26.2476 | 8.52 | 9.0895 | 12.1575 | 1.3635 | 0.17058
[32 empty] | Cycle 5 | 17.611 | 19.1632 | 25.2579 | 8.1716 | 8.7177 | 11.6601 | 1.3791 | 0.18392
[32 empty] | Cycle 6 | 16.9496 | 18.4441 | 24.3095 | 7.8405 | 8.3648 | 11.1877 | 1.4043 | 0.17722
[32 empty] | Cycle 7 | 16.3417 | 17.7844 | 23.4379 | 7.5265 | 8.0295 | 10.7399 | 1.5183 | 0.16053
[32 empty] | Cycle 8 |  |  |  | 7.2274 | 7.7104 | 10.3134
41 | GIRMS\IRMS-operator | 2026-08-07 09:21 | 2026-08-07 10:43 | Running | FALSE | SHP2L |  | 41 | 1 | 22 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 15.856 V | 9.4986 kV | 132 µbar | 135 µbar | Carbon Dioxide: -0.0014 kV | 135 µbar | 10.793 V | 18.413 V | 14.527 V | 357 µbar/min | 2.792 V | 1.05E-007 mbar | 10 % | 1,092 µbar | 72 °C | µ-Volume | Pre | 15.4074 | 16.7212 | 21.9576 | 10.9608 | 11.6913 | 15.6383 | -1.0882 | -6.0559 | -1.0257 | 0.038828 | 0.013728 | -6.0489 | 0.0078678 | 0.0029737 | -0.87336 | 0.041604 | -6.053 | 0.0078798
[32 empty] | Cycle 1 | 14.8413 | 16.1085 | 21.1513 | 10.4795 | 11.1782 | 14.9522 | -0.98478 | -6.0556
[32 empty] | Cycle 2 | 14.2992 | 15.5196 | 20.379 | 10.027 | 10.6952 | 14.3066 | -1.0279 | -6.0337
[32 empty] | Cycle 3 | 13.7846 | 14.9614 | 19.6454 | 9.5986 | 10.2389 | 13.6953 | -1.0184 | -6.0547
[32 empty] | Cycle 4 | 13.2863 | 14.4217 | 18.9359 | 9.1935 | 9.8065 | 13.1177 | -0.96788 | -6.0494
[32 empty] | Cycle 5 | 12.8171 | 13.912 | 18.2673 | 8.8051 | 9.393 | 12.5638 | -1.0393 | -6.0462
[32 empty] | Cycle 6 | 12.3661 | 13.4224 | 17.6246 | 8.4419 | 9.0055 | 12.0453 | -1.0619 | -6.0466
[32 empty] | Cycle 7 | 11.9351 | 12.9553 | 17.0102 | 8.0974 | 8.6382 | 11.554 | -1.0168 | -6.0865
[32 empty] | Cycle 8 |  |  |  | 7.77 | 8.2889 | 11.0873
42 | GIRMS\IRMS-operator | 2026-08-07 09:59 | 2026-08-07 11:11 | Running | FALSE | MD23-3677Q - N. dutertrei | 688-690 | 42 | 2 | 22 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 20.818 V | 9.4985 kV | 132 µbar | 137 µbar | Carbon Dioxide: -0.0015 kV | 172 µbar | 10.508 V | 24.186 V | 19.314 V | 386 µbar/min | 10.522 V | 1.04E-007 mbar | 10 % | 1,119 µbar | 72 °C | µ-Volume | Pre | 20.4524 | 22.2488 | 29.3261 | 10.6771 | 11.3886 | 15.2333 | 1.2837 | 0.071959 | 1.3639 | 0.0688 | 0.024325 | 0.069494 | 0.018964 | 0.006705 | 1.4569 | 0.073152 | 0.066486 | 0.018881
[32 empty] | Cycle 1 | 19.6957 | 21.4263 | 28.241 | 10.2142 | 10.8951 | 14.5732 | 1.2753 | 0.04904
[32 empty] | Cycle 2 | 18.9691 | 20.6369 | 27.2 | 9.7771 | 10.4294 | 13.9498 | 1.3009 | 0.04877
[32 empty] | Cycle 3 | 18.2787 | 19.8878 | 26.2107 | 9.3634 | 9.9881 | 13.3599 | 1.3984 | 0.070839
[32 empty] | Cycle 4 | 17.6145 | 19.1653 | 25.2577 | 8.9707 | 9.5693 | 12.7993 | 1.396 | 0.054228
[32 empty] | Cycle 5 | 16.9843 | 18.48 | 24.3547 | 8.5988 | 9.1726 | 12.2689 | 1.4007 | 0.068991
[32 empty] | Cycle 6 | 16.3806 | 17.8236 | 23.49 | 8.2461 | 8.7967 | 11.7658 | 1.3892 | 0.09319
[32 empty] | Cycle 7 | 15.8163 | 17.211 | 22.6812 | 7.9109 | 8.4393 | 11.2876 | 1.4672 | 0.098939
[32 empty] | Cycle 8 |  |  |  | 7.5933 | 8.1006 | 10.8349
43 | GIRMS\IRMS-operator | 2026-08-07 10:43 | 2026-08-07 11:45 | Running | FALSE | MD23-3677Q - N. dutertrei | 680-682 | 43 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 18.233 V | 9.4986 kV | 137 µbar | 137 µbar | Carbon Dioxide: -0.0014 kV | 140 µbar | 10.219 V | 21.024 V | 16.844 V | 381 µbar/min | 10.232 V | 1.01E-007 mbar | 10 % | 1,107 µbar | 72 °C | µ-Volume | Pre | 17.8216 | 19.3894 | 25.5553 | 10.3866 | 11.079 | 14.8195 | 1.3754 | 0.082859 | 1.4491 | 0.057625 | 0.020374 | 0.088239 | 0.012017 | 0.0042485 | 1.5473 | 0.061646 | 0.085058 | 0.012025
[32 empty] | Cycle 1 | 17.1673 | 18.678 | 24.6169 | 9.9392 | 10.6022 | 14.1812 | 1.382 | 0.075476
[32 empty] | Cycle 2 | 16.546 | 18.0027 | 23.7266 | 9.5169 | 10.1516 | 13.5786 | 1.4015 | 0.093613
[32 empty] | Cycle 3 | 15.955 | 17.361 | 22.8794 | 9.117 | 9.7255 | 13.0083 | 1.4526 | 0.096213
[32 empty] | Cycle 4 | 15.3907 | 16.7471 | 22.0706 | 8.7374 | 9.3206 | 12.4667 | 1.4588 | 0.09924
[32 empty] | Cycle 5 | 14.853 | 16.1627 | 21.3 | 8.378 | 8.9372 | 11.9542 | 1.4905 | 0.1052
[32 empty] | Cycle 6 | 14.3381 | 15.603 | 20.5615 | 8.0374 | 8.5742 | 11.4685 | 1.505 | 0.081643
[32 empty] | Cycle 7 | 13.8366 | 15.0577 | 19.8428 | 7.7136 | 8.2289 | 11.0065 | 1.5272 | 0.071674
[32 empty] | Cycle 8 |  |  |  | 7.4059 | 7.9005 | 10.5681
44 | GIRMS\IRMS-operator | 2026-08-07 11:11 | 2026-08-07 12:24 | Running | FALSE | MD23-3677Q - N. dutertrei | 672-674 | 44 | 2 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 19.470 V | 9.4985 kV | 132 µbar | 142 µbar | Carbon Dioxide: -0.0015 kV | 167 µbar | 9.921 V | 22.399 V | 18.101 V | 308 µbar/min | 9.934 V | 9.96E-008 mbar | 10 % | 1,109 µbar | 72 °C | µ-Volume | Pre | 19.0955 | 20.7766 | 27.3812 | 10.0878 | 10.761 | 14.3932 | 1.347 | 0.069983 | 1.3872 | 0.072718 | 0.02571 | 0.074479 | 0.014442 | 0.0051061 | 1.4815 | 0.077446 | 0.071424 | 0.014346
[32 empty] | Cycle 1 | 18.4115 | 20.033 | 26.4004 | 9.6565 | 10.3018 | 13.7775 | 1.3078 | 0.062656
[32 empty] | Cycle 2 | 17.7566 | 19.3205 | 25.4615 | 9.2494 | 9.8681 | 13.1973 | 1.2846 | 0.054172
[32 empty] | Cycle 3 | 17.1274 | 18.6367 | 24.5603 | 8.8634 | 9.4562 | 12.6462 | 1.3747 | 0.092764
[32 empty] | Cycle 4 | 16.5274 | 17.9838 | 23.6999 | 8.4974 | 9.0651 | 12.1245 | 1.4588 | 0.068078
[32 empty] | Cycle 5 | 15.9532 | 17.3586 | 22.8771 | 8.1502 | 8.6938 | 11.6292 | 1.4362 | 0.080605
[32 empty] | Cycle 6 | 15.4025 | 16.7597 | 22.0875 | 7.8204 | 8.3426 | 11.1586 | 1.397 | 0.071508
[32 empty] | Cycle 7 | 14.8841 | 16.1972 | 21.3444 | 7.5078 | 8.0095 | 10.7129 | 1.4912 | 0.096067
[32 empty] | Cycle 8 |  |  |  | 7.21 | 7.6917 | 10.2875
45 | GIRMS\IRMS-operator | 2026-08-07 11:45 | 2026-08-07 13:06 | Running | FALSE | MD23-3677Q - N. dutertrei | 668-670 | 45 | 1 | 24 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 0.006 V | 9.4989 kV | 137 µbar | 137 µbar | Carbon Dioxide: -0.0011 kV | 154 µbar | 2.785 V | 0.006 V | 0.009 V | 557 µbar/min | 2.784 V | 4.47E-008 mbar | 100 % | 140 µbar | 72 °C | µ-Volume | Pre | 0.0070136 | 0.0075039 | 0.0099653 | 2.8706 | 3.063 | 4.0969 | -15.5182 | -9.2753 | -14.6353 | 0.8758 | 0.30964 | -8.5822 | 0.89178 | 0.33706 | -15.3599 | 0.92456 | -8.5585 | 0.89179
[32 empty] | Cycle 1 | 0.0067285 | 0.0072126 | 0.0095635 | 2.7692 | 2.9545 | 3.9518 | -13.5944 | -8.9025
[32 empty] | Cycle 2 | 0.0065978 | 0.0070583 | 0.0093776 | 2.6763 | 2.8554 | 3.8193 | -15.5798 | -8.9123
[32 empty] | Cycle 3 | 0.006505 | 0.0069588 | 0.0092462 | 2.5876 | 2.7608 | 3.6927 | -15.6268 | -8.8362
[32 empty] | Cycle 4 | 0.0064064 | 0.006868 | 0.0091248 | 2.5024 | 2.6701 | 3.5711 | -13.5397 | -6.8181
[32 empty] | Cycle 5 | 0.0063276 | 0.0067805 | 0.0089902 | 2.4204 | 2.5824 | 3.4541 | -13.9793 | -9.3324
[32 empty] | Cycle 6 | 0.006242 | 0.0066843 | 0.00888 | 2.3416 | 2.4984 | 3.3418 | -14.6299 | -7.9989
[32 empty] | Cycle 7 | 0.0061526 | 0.0065891 | 0.0087811 | 2.2658 | 2.4175 | 3.2332 | -14.6139 | -4.7605
[32 empty] | Cycle 8 |  |  |  | 2.1926 | 2.3398 | 3.129
46 | GIRMS\IRMS-operator | 2026-08-07 12:24 | 2026-08-07 13:35 | Running | FALSE | SHP2L |  | 46 | 2 | 24 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.002 V |  | 32.730 V | 9.4987 kV | 137 µbar | 140 µbar | Carbon Dioxide: -0.0013 kV | 174 µbar | 10.651 V | 39.643 V | 29.143 V | 420 µbar/min | 2.772 V | 1.04E-007 mbar | 10 % | 1,146 µbar | 72 °C | µ-Volume | Pre | 31.617 | 34.2795 | 45.0417 | 10.8172 | 11.5383 | 15.4334 | -2.0791 | -6.405 | -1.8789 | 0.12851 | 0.045437 | -6.3394 | 0.052572 | 0.018587 | -1.7758 | 0.13567 | -6.342 | 0.052354
[32 empty] | Cycle 1 | 30.1721 | 32.7163 | 42.9848 | 10.3454 | 11.0355 | 14.7605 | -2.0104 | -6.3825
[32 empty] | Cycle 2 | 28.8299 | 31.2632 | 41.0733 | 9.8994 | 10.56 | 14.1242 | -1.9477 | -6.388
[32 empty] | Cycle 3 | 27.5521 | 29.8794 | 39.2551 | 9.479 | 10.1115 | 13.5249 | -1.9032 | -6.3513
[32 empty] | Cycle 4 | 26.3549 | 28.5839 | 37.5505 | 9.081 | 9.6874 | 12.9572 | -1.8418 | -6.3295
[32 empty] | Cycle 5 | 25.2312 | 27.3671 | 35.9503 | 8.7032 | 9.2846 | 12.4181 | -1.7631 | -6.318
[32 empty] | Cycle 6 | 24.1552 | 26.2009 | 34.4182 | 8.3458 | 8.9029 | 11.9084 | -1.7681 | -6.2885
[32 empty] | Cycle 7 | 23.1453 | 25.1077 | 32.9807 | 8.0065 | 8.542 | 11.4241 | -1.718 | -6.2526
[32 empty] | Cycle 8 |  |  |  | 7.6848 | 8.1984 | 10.9653