## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Pressure Adjust failed with Target Intensity | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Kiel IV Initial Pressure |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-08-14 19:32 | 2026-08-14 20:34 | Running | FALSE | MD23-3677Q - N. dutertrei | 600-602 | 1 | 1 | 10 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 21.895 V | 9.4982 kV | 96 µbar | Carbon Dioxide: -0.0018 kV | 147 µbar | 14.103 V | 25.975 V | 19.581 V | 381 µbar/min | 3.690 V | 1.31E-007 mbar | 10 % | 1,058 µbar | 72 °C | µ-Volume |  | Pre | 21.0023 | 22.828 | 30.0864 | 14.257 | 15.1972 | 20.3183 | 1.0926 | 0.23004 | 1.1933 | 0.065396 | 0.023121 | 0.25199 | 0.015998 | 0.0056562 | 1.2676 | 0.06947 | 0.24956 | 0.015889
[32 empty] | Cycle 1 | 20.0923 | 21.841 | 28.7835 | 13.5778 | 14.4738 | 19.3512 | 1.1436 | 0.23279
[32 empty] | Cycle 2 | 19.2348 | 20.9097 | 27.556 | 12.9427 | 13.7974 | 18.446 | 1.1338 | 0.24277
[32 empty] | Cycle 3 | 18.4255 | 20.0316 | 26.3977 | 12.345 | 13.161 | 17.5949 | 1.1794 | 0.25735
[32 empty] | Cycle 4 | 17.6606 | 19.2021 | 25.3024 | 11.7838 | 12.5629 | 16.7954 | 1.2529 | 0.25241
[32 empty] | Cycle 5 | 16.9415 | 18.4203 | 24.2728 | 11.2556 | 12.0003 | 16.043 | 1.2221 | 0.26185
[32 empty] | Cycle 6 | 16.2606 | 17.6811 | 23.2978 | 10.758 | 11.4701 | 15.3338 | 1.2633 | 0.26138
[32 empty] | Cycle 7 | 15.6147 | 16.979 | 22.3732 | 10.2872 | 10.9684 | 14.6635 | 1.2589 | 0.27733
[32 empty] | Cycle 8 |  |  |  | 9.8433 | 10.4952 | 14.0306
2 | GIRMS\IRMS-operator | 2026-08-14 20:05 | 2026-08-14 20:58 | Running | FALSE | MD23-3677Q - N. dutertrei | 596-598 | 2 | 2 | 10 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.006 V |  | 19.821 V | 9.4982 kV | 115 µbar | Carbon Dioxide: -0.0018 kV | 137 µbar | 13.720 V | 23.123 V | 18.187 V | 117 µbar/min | 13.741 V | 1.29E-007 mbar | 10 % | 1,043 µbar | 72 °C | µ-Volume | 113 µbar | Pre | 19.3425 | 21.0173 | 27.7174 | 13.8843 | 14.8006 | 19.7879 | 0.7386 | 0.50859 | 0.75525 | 0.042238 | 0.014933 | 0.53078 | 0.024017 | 0.0084911 | 0.78852 | 0.044634 | 0.52964 | 0.023981
[32 empty] | Cycle 1 | 18.5849 | 20.1947 | 26.6329 | 13.2316 | 14.1051 | 18.8583 | 0.72702 | 0.52295
[32 empty] | Cycle 2 | 17.8571 | 19.4046 | 25.5909 | 12.6196 | 13.4534 | 17.9864 | 0.71296 | 0.53199
[32 empty] | Cycle 3 | 17.1684 | 18.6567 | 24.6043 | 12.043 | 12.8395 | 17.1652 | 0.71086 | 0.53111
[32 empty] | Cycle 4 | 16.5119 | 17.9444 | 23.6637 | 11.4998 | 12.2604 | 16.3911 | 0.75645 | 0.50134
[32 empty] | Cycle 5 | 15.888 | 17.267 | 22.7707 | 10.9872 | 11.7141 | 15.6615 | 0.7733 | 0.52004
[32 empty] | Cycle 6 | 15.2942 | 16.6225 | 21.9204 | 10.5047 | 11.1999 | 14.9736 | 0.7888 | 0.55664
[32 empty] | Cycle 7 | 14.7356 | 16.0166 | 21.1203 | 10.0477 | 10.7132 | 14.3223 | 0.83401 | 0.57357
[32 empty] | Cycle 8 |  |  |  | 9.616 | 10.2531 | 13.707
3 | GIRMS\IRMS-operator | 2026-08-14 20:34 | 2026-08-14 21:32 | Running | FALSE | MD23-3677Q - N. dutertrei | 592-594 | 3 | 1 | 11 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.006 V |  | 18.757 V | 9.4982 kV | 115 µbar | Carbon Dioxide: -0.0018 kV | 113 µbar | 13.366 V | 21.827 V | 17.400 V | 391 µbar/min | 13.388 V | 1.26E-007 mbar | 10 % | 1,034 µbar | 72 °C | µ-Volume | 111 µbar | Pre | 18.3676 | 19.9627 | 26.3239 | 13.5285 | 14.4214 | 19.2813 | 0.95646 | 0.6254 | 1.0161 | 0.042755 | 0.015116 | 0.61953 | 0.01473 | 0.0052078 | 1.0644 | 0.04556 | 0.61789 | 0.014712
[32 empty] | Cycle 1 | 17.6459 | 19.1797 | 25.2902 | 12.897 | 13.7489 | 18.3818 | 0.98635 | 0.61181
[32 empty] | Cycle 2 | 16.956 | 18.4302 | 24.3017 | 12.3033 | 13.1164 | 17.5363 | 0.97308 | 0.59806
[32 empty] | Cycle 3 | 16.2971 | 17.7161 | 23.3579 | 11.744 | 12.5205 | 16.7392 | 1.053 | 0.60461
[32 empty] | Cycle 4 | 15.6663 | 17.0302 | 22.4548 | 11.2164 | 11.9585 | 15.9875 | 1.0088 | 0.63195
[32 empty] | Cycle 5 | 15.0739 | 16.387 | 21.6061 | 10.7202 | 11.4298 | 15.2805 | 1.0185 | 0.61809
[32 empty] | Cycle 6 | 14.5066 | 15.7712 | 20.7935 | 10.2522 | 10.9313 | 14.6141 | 1.0654 | 0.62279
[32 empty] | Cycle 7 | 13.9692 | 15.1872 | 20.0238 | 9.8124 | 10.4623 | 13.9873 | 1.0677 | 0.64349
[32 empty] | Cycle 8 |  |  |  | 9.3965 | 10.0191 | 13.3946
4 | GIRMS\IRMS-operator | 2026-08-14 20:58 | 2026-08-14 22:10 | Running | FALSE | MD23-3677Q - N. dutertrei | 588-590 | 4 | 2 | 11 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 19.768 V | 9.4982 kV | 123 µbar | Carbon Dioxide: -0.0018 kV | 120 µbar | 12.982 V | 22.946 V | 18.216 V | 440 µbar/min | 13.009 V | 1.23E-007 mbar | 10 % | 1,046 µbar | 72 °C | µ-Volume | 113 µbar | Pre | 19.2861 | 20.951 | 27.6265 | 13.1428 | 14.0128 | 18.732 | 0.3791 | 0.088632 | 0.54577 | 0.042523 | 0.016072 | 0.12215 | 0.023858 | 0.008435 | 0.57929 | 0.044964 | 0.1211 | 0.023758
[32 empty] | Cycle 1 | 18.5314 | 20.1323 | 26.5466 | 12.5354 | 13.3636 | 17.8671 | 0.47678 | 0.10249
[32 empty] | Cycle 2 | 17.8134 | 19.3534 | 25.5187 | 11.9628 | 12.7536 | 17.0513 | 0.50101 | 0.11569
[32 empty] | Cycle 3 | 17.1356 | 18.6186 | 24.5479 | 11.4242 | 12.1799 | 16.2837 | 0.5509 | 0.099547
[32 empty] | Cycle 4 | 16.4874 | 17.9146 | 23.6205 | 10.9182 | 11.6406 | 15.563 | 0.54836 | 0.13739
[32 empty] | Cycle 5 | 15.8737 | 17.2485 | 22.7418 | 10.4413 | 11.1325 | 14.8832 | 0.56764 | 0.152
[32 empty] | Cycle 6 | 15.2722 | 16.5954 | 21.8806 | 9.9911 | 10.6527 | 14.2417 | 0.58363 | 0.14806
[32 empty] | Cycle 7 | 14.7114 | 15.9865 | 21.0775 | 9.565 | 10.1985 | 13.6349 | 0.59205 | 0.13343
[32 empty] | Cycle 8 |  |  |  | 9.1611 | 9.7681 | 13.0593
5 | GIRMS\IRMS-operator | 2026-08-14 21:32 | 2026-08-14 22:55 | Running | FALSE | SHP2L |  | 5 | 1 | 12 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.003 V |  | 7.937 V | 9.4985 kV | 113 µbar | Carbon Dioxide: -0.0015 kV | 137 µbar | 7.370 V | 8.756 V |  | 186 µbar/min | 3.698 V | 8.59E-008 mbar | 33 % | 963 µbar | 72 °C | µ-Volume | 120 µbar | Pre | 7.2654 | 7.8852 | 10.3464 | 7.4275 | 7.9207 | 10.5886 | -0.80417 | -5.9538 | -0.79727 | 0.018554 | 0.0065597 | -5.9537 | 0.021066 | 0.0074479 | -0.63269 | 0.020043 | -5.9582 | 0.021098
[32 empty] | Cycle 1 | 7.0391 | 7.6397 | 10.024 | 7.132 | 7.6055 | 10.167 | -0.78687 | -5.9559
[32 empty] | Cycle 2 | 6.8202 | 7.4023 | 9.7125 | 6.8515 | 7.3064 | 9.7673 | -0.77241 | -5.9536
[32 empty] | Cycle 3 | 6.6086 | 7.1726 | 9.4113 | 6.5842 | 7.0214 | 9.3864 | -0.7907 | -5.9343
[32 empty] | Cycle 4 | 6.4052 | 6.9517 | 9.1217 | 6.33 | 6.7503 | 9.0237 | -0.81112 | -5.9343
[32 empty] | Cycle 5 | 6.2086 | 6.7384 | 8.8416 | 6.0875 | 6.4918 | 8.6785 | -0.82487 | -5.9764
[32 empty] | Cycle 6 | 6.0193 | 6.5334 | 8.5721 | 5.8561 | 6.2455 | 8.3488 | -0.77643 | -5.99
[32 empty] | Cycle 7 | 5.8371 | 6.3353 | 8.313 | 5.6357 | 6.0102 | 8.0347 | -0.81159 | -5.931
[32 empty] | Cycle 8 |  |  |  | 5.4249 | 5.7855 | 7.7339
6 | GIRMS\IRMS-operator | 2026-08-14 22:10 | 2026-08-14 23:20 | Running | FALSE | MD23-3677Q - N. dutertrei | 584-586 | 6 | 2 | 12 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 21.916 V | 9.4984 kV | 118 µbar | Carbon Dioxide: -0.0016 kV | 140 µbar | 13.957 V | 25.628 V | 19.989 V | 132 µbar/min | 7.273 V | 1.29E-007 mbar | 10 % | 1,063 µbar | 72 °C | µ-Volume | 115 µbar | Pre | 21.2808 | 23.1195 | 30.497 | 14.1204 | 15.0542 | 20.1248 | 0.50954 | 0.557 | 0.65327 | 0.078232 | 0.027659 | 0.574 | 0.020754 | 0.0073377 | 0.6778 | 0.083158 | 0.57313 | 0.020649
[32 empty] | Cycle 1 | 20.4078 | 22.1724 | 29.2473 | 13.4541 | 14.3422 | 19.1759 | 0.60058 | 0.56166
[32 empty] | Cycle 2 | 19.5896 | 21.2856 | 28.0748 | 12.8252 | 13.6724 | 18.2803 | 0.62401 | 0.54499
[32 empty] | Cycle 3 | 18.8152 | 20.4448 | 26.9662 | 12.2359 | 13.0456 | 17.4402 | 0.62654 | 0.57959
[32 empty] | Cycle 4 | 18.0795 | 19.6468 | 25.9123 | 11.6824 | 12.4549 | 16.6519 | 0.70219 | 0.56696
[32 empty] | Cycle 5 | 17.381 | 18.8883 | 24.9118 | 11.1588 | 11.8972 | 15.9061 | 0.69412 | 0.5764
[32 empty] | Cycle 6 | 16.7195 | 18.1704 | 23.9649 | 10.6658 | 11.3719 | 15.2033 | 0.71801 | 0.60293
[32 empty] | Cycle 7 | 16.0924 | 17.4898 | 23.0666 | 10.1996 | 10.8751 | 14.5393 | 0.75116 | 0.60243
[32 empty] | Cycle 8 |  |  |  | 9.7593 | 10.4059 | 13.912
7 | GIRMS\IRMS-operator | 2026-08-14 22:55 | 2026-08-14 23:51 | Running | FALSE | MD23-3677Q - N. dutertrei | 576-578 | 7 | 1 | 13 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.006 V |  | 13.539 V | 9.4983 kV | 115 µbar | Carbon Dioxide: -0.0017 kV | 125 µbar | 13.591 V | 15.366 V |  | 376 µbar/min | 13.591 V | 1.26E-007 mbar | 10 % | 1,014 µbar | 72 °C | µ-Volume | 113 µbar | Pre | 13.8802 | 15.0838 | 19.885 | 13.7569 | 14.6649 | 19.6071 | 0.79987 | 0.21373 | 0.83019 | 0.035538 | 0.012565 | 0.20029 | 0.019174 | 0.0067791 | 0.88092 | 0.037805 | 0.19863 | 0.019169
[32 empty] | Cycle 1 | 13.379 | 14.5399 | 19.1677 | 13.1095 | 13.9765 | 18.6851 | 0.80655 | 0.22258
[32 empty] | Cycle 2 | 12.8967 | 14.0164 | 18.4765 | 12.5044 | 13.3308 | 17.8229 | 0.82494 | 0.20123
[32 empty] | Cycle 3 | 12.4365 | 13.5166 | 17.8175 | 11.9358 | 12.726 | 17.0127 | 0.82104 | 0.19776
[32 empty] | Cycle 4 | 11.9965 | 13.0383 | 17.1873 | 11.4003 | 12.1544 | 16.2499 | 0.81557 | 0.18035
[32 empty] | Cycle 5 | 11.5707 | 12.5761 | 16.5773 | 10.8962 | 11.6176 | 15.5318 | 0.80176 | 0.16594
[32 empty] | Cycle 6 | 11.1674 | 12.139 | 16.0005 | 10.4125 | 11.1025 | 14.8422 | 0.8896 | 0.21771
[32 empty] | Cycle 7 | 10.7826 | 11.7205 | 15.4491 | 9.9606 | 10.6203 | 14.1984 | 0.88215 | 0.20305
[32 empty] | Cycle 8 |  |  |  | 9.5342 | 10.1659 | 13.5909
8 | GIRMS\IRMS-operator | 2026-08-14 23:20 | 2026-08-15 00:29 | Running | FALSE | MD23-3677Q - N. dutertrei | 572-574 | 8 | 2 | 13 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 13.523 V | 9.4984 kV | 111 µbar | Carbon Dioxide: -0.0016 kV | 147 µbar | 13.207 V | 15.326 V |  | 147 µbar/min | 13.227 V | 1.26E-007 mbar | 10 % | 995 µbar | 72 °C | µ-Volume | 113 µbar | Pre | 12.9816 | 14.1221 | 18.5938 | 13.3689 | 14.2539 | 19.0549 | 1.7089 | -0.039643 | 1.6727 | 0.042869 | 0.015156 | -0.047464 | 0.014002 | 0.0049504 | 1.7916 | 0.045415 | -0.051295 | 0.013932
[32 empty] | Cycle 1 | 12.5312 | 13.6311 | 17.9487 | 12.747 | 13.5911 | 18.1693 | 1.6333 | -0.061649
[32 empty] | Cycle 2 | 12.0981 | 13.1608 | 17.3289 | 12.1631 | 12.9685 | 17.3372 | 1.6873 | -0.032766
[32 empty] | Cycle 3 | 11.6839 | 12.7113 | 16.7359 | 11.613 | 12.3821 | 16.5528 | 1.7437 | -0.035805
[32 empty] | Cycle 4 | 11.2866 | 12.2781 | 16.1669 | 11.093 | 11.8282 | 15.8124 | 1.6256 | -0.066056
[32 empty] | Cycle 5 | 10.9072 | 11.8657 | 15.6242 | 10.6023 | 11.3055 | 15.1136 | 1.6876 | -0.038226
[32 empty] | Cycle 6 | 10.5448 | 11.4709 | 15.1052 | 10.1408 | 10.8122 | 14.4557 | 1.671 | -0.041155
[32 empty] | Cycle 7 | 10.192 | 11.0869 | 14.5998 | 9.7053 | 10.3482 | 13.835 | 1.6246 | -0.064411
[32 empty] | Cycle 8 |  |  |  | 9.2943 | 9.9102 | 13.2495
9 | GIRMS\IRMS-operator | 2026-08-14 23:51 | 2026-08-15 01:17 | Running | FALSE | MD23-3677Q - N. dutertrei | 564-566 | 9 | 1 | 14 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  | 15.472 V | 9.4985 kV | 115 µbar | Carbon Dioxide: -0.0015 kV | 120 µbar | 13.816 V | 17.702 V |  | 371 µbar/min | 3.716 V | 1.27E-007 mbar | 11 % | 1,021 µbar | 72 °C | µ-Volume | 108 µbar | Pre | 13.5116 | 14.6965 | 19.3474 | 13.9594 | 14.8803 | 19.896 | 1.7676 | -0.29273 | 1.7402 | 0.021836 | 0.0077201 | -0.32101 | 0.016424 | 0.0058067 | 1.8739 | 0.02291 | -0.32528 | 0.016404
[32 empty] | Cycle 1 | 13.0252 | 14.1678 | 18.6509 | 13.2991 | 14.1771 | 18.9555 | 1.7405 | -0.32233
[32 empty] | Cycle 2 | 12.5593 | 13.6621 | 17.9846 | 12.6822 | 13.5204 | 18.0768 | 1.7516 | -0.30834
[32 empty] | Cycle 3 | 12.1155 | 13.1792 | 17.3491 | 12.103 | 12.9037 | 17.2517 | 1.7191 | -0.32037
[32 empty] | Cycle 4 | 11.6885 | 12.715 | 16.7377 | 11.5568 | 12.3213 | 16.4733 | 1.7276 | -0.34226
[32 empty] | Cycle 5 | 11.2825 | 12.2742 | 16.1571 | 11.041 | 11.7717 | 15.7387 | 1.769 | -0.312
[32 empty] | Cycle 6 | 10.895 | 11.8525 | 15.6022 | 10.5537 | 11.2525 | 15.0441 | 1.7377 | -0.33577
[32 empty] | Cycle 7 | 10.5239 | 11.4488 | 15.071 | 10.0944 | 10.7627 | 14.3897 | 1.7082 | -0.33425
[32 empty] | Cycle 8 |  |  |  | 9.6588 | 10.2992 | 13.769
10 | GIRMS\IRMS-operator | 2026-08-15 00:29 | 2026-08-15 01:42 | Running | FALSE | SHP2L |  | 10 | 2 | 14 | TRUE | QC Standard | SHP2L | 0.004 V, 0.004 V, 0.006 V |  | 13.051 V | 9.4983 kV | 130 µbar | Carbon Dioxide: -0.0017 kV | 196 µbar | 12.232 V | 14.742 V |  | 347 µbar/min | 13.458 V | 1.18E-007 mbar | 13 % | 1,016 µbar | 72 °C | µ-Volume | 108 µbar | Pre | 12.0236 | 13.0457 | 17.1218 | 12.3675 | 13.185 | 17.6281 | -0.81081 | -5.8597 | -0.82592 | 0.027447 | 0.009704 | -5.8805 | 0.019272 | 0.0068136 | -0.66606 | 0.029323 | -5.8849 | 0.019288
[32 empty] | Cycle 1 | 11.6149 | 12.6023 | 16.5403 | 11.8055 | 12.5859 | 16.8275 | -0.81915 | -5.8502
[32 empty] | Cycle 2 | 11.2267 | 12.1815 | 15.9876 | 11.2775 | 12.0234 | 16.0753 | -0.87539 | -5.8739
[32 empty] | Cycle 3 | 10.854 | 11.7779 | 15.4567 | 10.7799 | 11.4945 | 15.3666 | -0.83078 | -5.9002
[32 empty] | Cycle 4 | 10.4951 | 11.3887 | 14.946 | 10.3088 | 10.9912 | 14.695 | -0.79332 | -5.9008
[32 empty] | Cycle 5 | 10.1516 | 11.0156 | 14.4572 | 9.8648 | 10.5182 | 14.0626 | -0.85339 | -5.8999
[32 empty] | Cycle 6 | 9.813 | 10.6488 | 13.9755 | 9.4427 | 10.0683 | 13.4612 | -0.79928 | -5.8759
[32 empty] | Cycle 7 | 9.4915 | 10.2999 | 13.5176 | 9.0451 | 9.6445 | 12.8945 | -0.82525 | -5.8831
[32 empty] | Cycle 8 |  |  |  | 8.6685 | 9.2432 | 12.3576
11 | GIRMS\IRMS-operator | 2026-08-15 01:17 | 2026-08-15 02:13 | Running | FALSE | MD23-3677Q - N. dutertrei | 556-558 | 11 | 1 | 15 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 15.136 V | 9.4984 kV | 120 µbar | Carbon Dioxide: -0.0016 kV | 132 µbar | 13.445 V | 17.340 V | 13.895 V | 195 µbar/min | 11.979 V | 1.26E-007 mbar | 10 % | 1,041 µbar | 72 °C | µ-Volume | 118 µbar | Pre | 14.6946 | 15.981 | 21.046 | 13.6094 | 14.509 | 19.3977 | 1.5037 | -0.10127 | 1.5026 | 0.024434 | 0.0086388 | -0.13118 | 0.020056 | 0.0070908 | 1.6127 | 0.026117 | -0.13472 | 0.020074
[32 empty] | Cycle 1 | 14.1471 | 15.3866 | 20.2623 | 12.9714 | 13.8294 | 18.4889 | 1.5343 | -0.11565
[32 empty] | Cycle 2 | 13.6257 | 14.8198 | 19.5156 | 12.371 | 13.19 | 17.6341 | 1.5093 | -0.14829
[32 empty] | Cycle 3 | 13.1247 | 14.2749 | 18.7984 | 11.8076 | 12.5896 | 16.8313 | 1.4646 | -0.14164
[32 empty] | Cycle 4 | 12.6496 | 13.7587 | 18.1182 | 11.2776 | 12.0251 | 16.0758 | 1.4776 | -0.12554
[32 empty] | Cycle 5 | 12.193 | 13.2625 | 17.4648 | 10.7785 | 11.4931 | 15.3646 | 1.4916 | -0.11668
[32 empty] | Cycle 6 | 11.7561 | 12.7875 | 16.8391 | 10.3103 | 10.9941 | 14.6976 | 1.533 | -0.13766
[32 empty] | Cycle 7 | 11.338 | 12.3326 | 16.2401 | 9.8661 | 10.5196 | 14.0647 | 1.5068 | -0.1627
[32 empty] | Cycle 8 |  |  |  | 9.4462 | 10.0732 | 13.4664
12 | GIRMS\IRMS-operator | 2026-08-15 01:42 | 2026-08-15 02:50 | Running | FALSE | MD23-3677Q - N. dutertrei | 548-550 | 12 | 2 | 15 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 21.928 V | 9.4983 kV | 111 µbar | Carbon Dioxide: -0.0017 kV | 135 µbar | 13.059 V | 26.206 V | 19.981 V | 449 µbar/min | 13.086 V | 1.24E-007 mbar | 10 % | 1,029 µbar | 72 °C | µ-Volume | 118 µbar | Pre | 21.4775 | 23.3441 | 30.7691 | 13.2236 | 14.0966 | 18.8487 | 0.96995 | 0.14292 | 1.0928 | 0.07534 | 0.026637 | 0.18989 | 0.036436 | 0.012882 | 1.1623 | 0.079453 | 0.18762 | 0.036328
[32 empty] | Cycle 1 | 20.5411 | 22.3283 | 29.4289 | 12.6112 | 13.4453 | 17.976 | 1.0172 | 0.16206
[32 empty] | Cycle 2 | 19.6546 | 21.366 | 28.1593 | 12.034 | 12.8295 | 17.1539 | 1.0823 | 0.15847
[32 empty] | Cycle 3 | 18.8196 | 20.4588 | 26.9646 | 11.492 | 12.252 | 16.3814 | 1.073 | 0.19662
[32 empty] | Cycle 4 | 18.035 | 19.6084 | 25.8408 | 10.9825 | 11.7093 | 15.6557 | 1.1528 | 0.18691
[32 empty] | Cycle 5 | 17.2987 | 18.8076 | 24.7866 | 10.502 | 11.1977 | 14.971 | 1.0958 | 0.19849
[32 empty] | Cycle 6 | 16.6015 | 18.0507 | 23.7883 | 10.0483 | 10.7141 | 14.3244 | 1.1518 | 0.21691
[32 empty] | Cycle 7 | 15.9298 | 17.321 | 22.8268 | 9.6205 | 10.2579 | 13.7146 | 1.1992 | 0.25673
[32 empty] | Cycle 8 |  |  |  | 9.2138 | 9.8242 | 13.1349
13 | GIRMS\IRMS-operator | 2026-08-15 02:13 | 2026-08-15 03:38 | Running | FALSE | MD23-3677Q - N. dutertrei | 500-502 | 13 | 1 | 16 | TRUE | Unknown |  | 0.002 V, 0.003 V, 0.003 V |  | 20.706 V | 9.4984 kV | 108 µbar | Carbon Dioxide: -0.0016 kV | 120 µbar | 14.202 V | 24.359 V | 18.633 V | 396 µbar/min | 3.729 V | 1.32E-007 mbar | 10 % | 1,021 µbar | 72 °C | µ-Volume | 108 µbar | Pre | 19.9251 | 21.6644 | 28.5314 | 14.3669 | 15.3144 | 20.4776 | 1.3988 | -0.30893 | 1.4784 | 0.046296 | 0.016368 | -0.29007 | 0.026558 | 0.0093896 | 1.5926 | 0.048939 | -0.29372 | 0.026522
[32 empty] | Cycle 1 | 19.0887 | 20.7569 | 27.3342 | 13.6839 | 14.5874 | 19.5045 | 1.45 | -0.31191
[32 empty] | Cycle 2 | 18.3058 | 19.9063 | 26.2142 | 13.0439 | 13.9054 | 18.5927 | 1.4614 | -0.29953
[32 empty] | Cycle 3 | 17.5635 | 19.1018 | 25.1516 | 12.443 | 13.2653 | 17.7367 | 1.5104 | -0.31411
[32 empty] | Cycle 4 | 16.8575 | 18.3347 | 24.1413 | 11.8754 | 12.662 | 16.928 | 1.4642 | -0.30066
[32 empty] | Cycle 5 | 16.192 | 17.6122 | 23.1891 | 11.3412 | 12.0929 | 16.1668 | 1.5065 | -0.28598
[32 empty] | Cycle 6 | 15.5563 | 16.9214 | 22.2795 | 10.838 | 11.5566 | 15.45 | 1.4829 | -0.25459
[32 empty] | Cycle 7 | 14.9484 | 16.2618 | 21.4092 | 10.3627 | 11.0509 | 14.7721 | 1.5527 | -0.2448
[32 empty] | Cycle 8 |  |  |  | 9.9161 | 10.5741 | 14.1358
14 | GIRMS\IRMS-operator | 2026-08-15 02:50 | 2026-08-15 04:02 | Running | FALSE | MD23-3677Q - N. dutertrei | 492-494 | 14 | 2 | 16 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.006 V |  | 19.457 V | 9.4984 kV | 106 µbar | Carbon Dioxide: -0.0016 kV | 179 µbar | 13.805 V | 22.984 V | 17.753 V | 156 µbar/min | 13.824 V | 1.28E-007 mbar | 10 % | 1,007 µbar | 72 °C | µ-Volume | 101 µbar | Pre | 18.9803 | 20.6382 | 27.1756 | 13.9726 | 14.896 | 19.9162 | 1.3462 | -0.44107 | 1.3953 | 0.043589 | 0.015411 | -0.4234 | 0.013013 | 0.0046009 | 1.5086 | 0.046278 | -0.427 | 0.012953
[32 empty] | Cycle 1 | 18.1861 | 19.7754 | 26.0392 | 13.3174 | 14.198 | 18.9825 | 1.3407 | -0.43234
[32 empty] | Cycle 2 | 17.4358 | 18.9611 | 24.9659 | 12.7022 | 13.5428 | 18.106 | 1.3735 | -0.42007
[32 empty] | Cycle 3 | 16.7274 | 18.1915 | 23.9519 | 12.1234 | 12.9263 | 17.2816 | 1.3819 | -0.42151
[32 empty] | Cycle 4 | 16.0484 | 17.4537 | 22.9801 | 11.5778 | 12.3448 | 16.5038 | 1.3985 | -0.43292
[32 empty] | Cycle 5 | 15.4062 | 16.7561 | 22.0616 | 11.0565 | 11.7894 | 15.7618 | 1.4127 | -0.42198
[32 empty] | Cycle 6 | 14.8013 | 16.0992 | 21.1958 | 10.5698 | 11.2707 | 15.068 | 1.4538 | -0.41985
[32 empty] | Cycle 7 | 14.2388 | 15.4881 | 20.3912 | 10.1109 | 10.7817 | 14.4144 | 1.4547 | -0.39745
[32 empty] | Cycle 8 |  |  |  | 9.6764 | 10.319 | 13.7949
15 | GIRMS\IRMS-operator | 2026-08-15 03:38 | 2026-08-15 04:37 | Running | FALSE | SHP2L |  | 15 | 1 | 17 | TRUE | QC Standard | SHP2L | 0.004 V, 0.004 V, 0.005 V |  | 11.007 V | 9.4983 kV | 98 µbar | Carbon Dioxide: -0.0017 kV | 115 µbar | 10.111 V | 12.510 V |  | 386 µbar/min | 13.478 V | 1.04E-007 mbar | 18 % | 953 µbar | 72 °C | µ-Volume | 98 µbar | Pre | 9.9044 | 10.7477 | 14.1044 | 10.2115 | 10.8878 | 14.5571 | -0.7973 | -5.9563 | -0.77174 | 0.043153 | 0.015257 | -5.96 | 0.011978 | 0.0042349 | -0.60513 | 0.046141 | -5.9646 | 0.011984
[32 empty] | Cycle 1 | 9.5569 | 10.3708 | 13.6097 | 9.7694 | 10.4164 | 13.9269 | -0.77946 | -5.9578
[32 empty] | Cycle 2 | 9.221 | 10.0073 | 13.1316 | 9.353 | 9.9726 | 13.3337 | -0.7159 | -5.9453
[32 empty] | Cycle 3 | 8.8977 | 9.6559 | 12.6711 | 8.9601 | 9.554 | 12.7733 | -0.79845 | -5.9537
[32 empty] | Cycle 4 | 8.5885 | 9.3204 | 12.2308 | 8.5891 | 9.1586 | 12.2446 | -0.81387 | -5.9825
[32 empty] | Cycle 5 | 8.2961 | 9.0036 | 11.8147 | 8.2371 | 8.7833 | 11.7432 | -0.75327 | -5.9602
[32 empty] | Cycle 6 | 8.0154 | 8.6996 | 11.415 | 7.9031 | 8.4272 | 11.2669 | -0.70311 | -5.9725
[32 empty] | Cycle 7 | 7.7535 | 8.4146 | 11.0424 | 7.5859 | 8.0893 | 10.8152 | -0.81253 | -5.9517
[32 empty] | Cycle 8 |  |  |  | 7.2776 | 7.7605 | 10.3755
16 | GIRMS\IRMS-operator | 2026-08-15 04:02 | 2026-08-15 05:13 | Running | FALSE | MD23-3677Q - N. dutertrei | 540-542 | 16 | 2 | 17 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 17.817 V | 9.4983 kV | 101 µbar | Carbon Dioxide: -0.0017 kV | 130 µbar | 13.111 V | 20.935 V | 16.263 V | 410 µbar/min | 9.914 V | 1.25E-007 mbar | 10 % | 990 µbar | 72 °C | µ-Volume | 96 µbar | Pre | 17.3508 | 18.867 | 24.8468 | 13.2742 | 14.1506 | 18.921 | 1.4228 | -0.29978 | 1.4336 | 0.037899 | 0.013399 | -0.28818 | 0.012619 | 0.0044613 | 1.5447 | 0.040169 | -0.29173 | 0.012562
[32 empty] | Cycle 1 | 16.6337 | 18.0872 | 23.8205 | 12.6587 | 13.4953 | 18.0444 | 1.3826 | -0.29662
[32 empty] | Cycle 2 | 15.9569 | 17.3519 | 22.8517 | 12.0794 | 12.8779 | 17.2188 | 1.3962 | -0.2997
[32 empty] | Cycle 3 | 15.3177 | 16.6574 | 21.9368 | 11.5362 | 12.2992 | 16.4448 | 1.4031 | -0.30082
[32 empty] | Cycle 4 | 14.7142 | 16.0022 | 21.0732 | 11.0247 | 11.7542 | 15.7162 | 1.4444 | -0.27983
[32 empty] | Cycle 5 | 14.1431 | 15.382 | 20.2559 | 10.5426 | 11.2406 | 15.0289 | 1.4667 | -0.26855
[32 empty] | Cycle 6 | 13.5993 | 14.7911 | 19.4771 | 10.087 | 10.7552 | 14.38 | 1.4834 | -0.28396
[32 empty] | Cycle 7 | 13.0828 | 14.2294 | 18.738 | 9.6558 | 10.2955 | 13.7653 | 1.4698 | -0.2762
[32 empty] | Cycle 8 |  |  |  | 9.2465 | 9.8593 | 13.1822
17 | GIRMS\IRMS-operator | 2026-08-15 04:37 | 2026-08-15 06:00 | Running | FALSE | MD23-3677Q - N. dutertrei | 532-534 | 17 | 1 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 15.378 V | 9.4985 kV | 103 µbar | Carbon Dioxide: -0.0015 kV | 120 µbar | 13.676 V | 17.725 V |  | 396 µbar/min | 3.735 V | 1.26E-007 mbar | 11 % | 997 µbar | 72 °C | µ-Volume | 106 µbar | Pre | 13.3703 | 14.5403 | 19.1531 | 13.8216 | 14.7338 | 19.7015 | 1.5643 | 0.046909 | 1.5352 | 0.030111 | 0.010646 | 0.036736 | 0.010376 | 0.0036685 | 1.6413 | 0.032053 | 0.033305 | 0.010358
[32 empty] | Cycle 1 | 12.8622 | 13.9888 | 18.4254 | 13.1687 | 14.0386 | 18.7708 | 1.5928 | 0.040146
[32 empty] | Cycle 2 | 12.385 | 13.4696 | 17.7423 | 12.5615 | 13.3918 | 17.9059 | 1.5238 | 0.055652
[32 empty] | Cycle 3 | 11.9282 | 12.9729 | 17.0877 | 11.9895 | 12.783 | 17.0905 | 1.5095 | 0.030485
[32 empty] | Cycle 4 | 11.495 | 12.5023 | 16.4676 | 11.4504 | 12.208 | 16.3226 | 1.5094 | 0.023793
[32 empty] | Cycle 5 | 11.0811 | 12.0525 | 15.8752 | 10.9411 | 11.666 | 15.5972 | 1.5153 | 0.031752
[32 empty] | Cycle 6 | 10.6849 | 11.6219 | 15.3078 | 10.4603 | 11.1529 | 14.9117 | 1.5458 | 0.035278
[32 empty] | Cycle 7 | 10.3033 | 11.207 | 14.7613 | 10.0068 | 10.6699 | 14.2657 | 1.5206 | 0.02987
[32 empty] | Cycle 8 |  |  |  | 9.5785 | 10.2132 | 13.6551
18 | GIRMS\IRMS-operator | 2026-08-15 05:13 | 2026-08-15 06:25 | Running | FALSE | MD23-3677Q - N. dutertrei | 524-528 | 18 | 2 | 18 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 14.387 V | 9.4983 kV | 118 µbar | Carbon Dioxide: -0.0017 kV | 125 µbar | 13.816 V | 16.344 V |  | 420 µbar/min | 13.338 V | 1.27E-007 mbar | 10 % | 1,004 µbar | 72 °C | µ-Volume | 103 µbar | Pre | 13.5981 | 14.794 | 19.4772 | 13.9736 | 14.8959 | 19.9178 | 1.9596 | -0.052526 | 1.9819 | 0.030902 | 0.010926 | -0.087309 | 0.017804 | 0.0062946 | 2.1239 | 0.033027 | -0.091882 | 0.017818
[32 empty] | Cycle 1 | 13.1211 | 14.2765 | 18.7941 | 13.3151 | 14.1952 | 18.9795 | 2.0012 | -0.076498
[32 empty] | Cycle 2 | 12.6634 | 13.7781 | 18.1386 | 12.6993 | 13.5388 | 18.1024 | 1.9519 | -0.097814
[32 empty] | Cycle 3 | 12.2228 | 13.299 | 17.508 | 12.1211 | 12.9228 | 17.2785 | 1.941 | -0.098603
[32 empty] | Cycle 4 | 11.802 | 12.8426 | 16.9057 | 11.5768 | 12.343 | 16.5034 | 2.0273 | -0.090684
[32 empty] | Cycle 5 | 11.3867 | 12.3912 | 16.3107 | 11.0612 | 11.7933 | 15.7683 | 2.0051 | -0.10001
[32 empty] | Cycle 6 | 10.9966 | 11.9672 | 15.7521 | 10.5752 | 11.2767 | 15.0757 | 1.967 | -0.10619
[32 empty] | Cycle 7 | 10.6016 | 11.5381 | 15.1869 | 10.1156 | 10.7868 | 14.4208 | 2.0023 | -0.07614
[32 empty] | Cycle 8 |  |  |  | 9.6807 | 10.3235 | 13.8008
19 | GIRMS\IRMS-operator | 2026-08-15 06:00 | 2026-08-15 06:57 | Running | FALSE | MD23-3677Q - N. dutertrei | 516-518 | 19 | 1 | 19 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 15.037 V | 9.4983 kV | 120 µbar | Carbon Dioxide: -0.0017 kV | 130 µbar | 13.457 V | 17.220 V | 13.828 V | 371 µbar/min | 13.480 V | 1.26E-007 mbar | 10 % | 1,046 µbar | 72 °C | µ-Volume | 115 µbar | Pre | 14.6139 | 15.9057 | 20.9299 | 13.6231 | 14.5265 | 19.419 | 2.1619 | -0.20196 | 2.0758 | 0.043918 | 0.015527 | -0.22061 | 0.0143 | 0.0050557 | 2.2293 | 0.046764 | -0.22553 | 0.014272
[32 empty] | Cycle 1 | 14.0735 | 15.3157 | 20.156 | 12.9855 | 13.8453 | 18.51 | 2.0804 | -0.2009
[32 empty] | Cycle 2 | 13.5552 | 14.7521 | 19.4141 | 12.3871 | 13.2075 | 17.6574 | 2.0858 | -0.21268
[32 empty] | Cycle 3 | 13.0589 | 14.2124 | 18.7034 | 11.8234 | 12.6069 | 16.8545 | 2.0499 | -0.22926
[32 empty] | Cycle 4 | 12.5839 | 13.696 | 18.0237 | 11.2931 | 12.0427 | 16.0989 | 2.061 | -0.22481
[32 empty] | Cycle 5 | 12.133 | 13.206 | 17.3779 | 10.7945 | 11.5104 | 15.3886 | 2.1022 | -0.24186
[32 empty] | Cycle 6 | 11.6987 | 12.7332 | 16.7562 | 10.3233 | 11.0089 | 14.7169 | 2.0144 | -0.22404
[32 empty] | Cycle 7 | 11.2737 | 12.271 | 16.1476 | 9.8785 | 10.5353 | 14.0828 | 2.0509 | -0.22935
[32 empty] | Cycle 8 |  |  |  | 9.4592 | 10.0873 | 13.4855
20 | GIRMS\IRMS-operator | 2026-08-15 06:25 | 2026-08-15 07:34 | Running | FALSE | SHP2L |  | 20 | 2 | 19 | TRUE | QC Standard | SHP2L | 0.004 V, 0.004 V, 0.005 V |  | 18.159 V | 9.4983 kV | 111 µbar | Carbon Dioxide: -0.0017 kV | 123 µbar | 13.060 V | 21.201 V | 16.495 V | 444 µbar/min | 13.088 V | 1.22E-007 mbar | 10 % | 1,021 µbar | 72 °C | µ-Volume | 115 µbar | Pre | 17.6312 | 19.1233 | 25.1037 | 13.2253 | 14.0995 | 18.8521 | -1.1479 | -6.043 | -1.1181 | 0.03896 | 0.013775 | -6.0464 | 0.015617 | 0.0055213 | -0.97258 | 0.041518 | -6.0504 | 0.015607
[32 empty] | Cycle 1 | 16.8998 | 18.3305 | 24.0631 | 12.6138 | 13.4476 | 17.9804 | -1.1376 | -6.0416
[32 empty] | Cycle 2 | 16.2194 | 17.5934 | 23.0942 | 12.0398 | 12.836 | 17.1631 | -1.1531 | -6.0768
[32 empty] | Cycle 3 | 15.566 | 16.8855 | 22.1648 | 11.4997 | 12.2614 | 16.3934 | -1.1603 | -6.0376
[32 empty] | Cycle 4 | 14.9716 | 16.2411 | 21.3188 | 10.9895 | 11.7176 | 15.6661 | -1.1276 | -6.0455
[32 empty] | Cycle 5 | 14.403 | 15.6252 | 20.51 | 10.509 | 11.2049 | 14.9819 | -1.0728 | -6.0373
[32 empty] | Cycle 6 | 13.8466 | 15.0218 | 19.7175 | 10.0548 | 10.721 | 14.3345 | -1.0802 | -6.0619
[32 empty] | Cycle 7 | 13.3173 | 14.4483 | 18.9647 | 9.6254 | 10.2634 | 13.7227 | -1.0655 | -6.0278
[32 empty] | Cycle 8 |  |  |  | 9.2182 | 9.8295 | 13.142
21 | GIRMS\IRMS-operator | 2026-08-15 06:57 | 2026-08-15 08:20 | Running | FALSE | MD23-3677Q - N. dutertrei | 508-510 | 21 | 1 | 20 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 25.267 V | 9.4986 kV | 111 µbar | Carbon Dioxide: -0.0014 kV | 128 µbar | 14.222 V | 30.477 V | 22.445 V | 327 µbar/min | 3.742 V | 1.30E-007 mbar | 10 % | 1,034 µbar | 72 °C | µ-Volume | 108 µbar | Pre | 24.3305 | 26.4571 | 34.8256 | 14.3882 | 15.3377 | 20.5093 | 1.4103 | -0.77595 | 1.4898 | 0.11266 | 0.039831 | -0.70159 | 0.041175 | 0.014557 | 1.62 | 0.11937 | -0.70571 | 0.041021
[32 empty] | Cycle 1 | 23.2261 | 25.257 | 33.2469 | 13.7102 | 14.6178 | 19.5433 | 1.3429 | -0.73466
[32 empty] | Cycle 2 | 22.1825 | 24.1241 | 31.7545 | 13.0692 | 13.9344 | 18.63 | 1.4034 | -0.72004
[32 empty] | Cycle 3 | 21.1993 | 23.0533 | 30.3484 | 12.4666 | 13.2923 | 17.7715 | 1.4016 | -0.697
[32 empty] | Cycle 4 | 20.2745 | 22.0491 | 29.0252 | 11.9013 | 12.6876 | 16.9659 | 1.5409 | -0.6898
[32 empty] | Cycle 5 | 19.4083 | 21.1083 | 27.7861 | 11.3677 | 12.1189 | 16.2057 | 1.5731 | -0.6769
[32 empty] | Cycle 6 | 18.5876 | 20.2169 | 26.6126 | 10.8634 | 11.5817 | 15.4869 | 1.6044 | -0.64278
[32 empty] | Cycle 7 | 17.8106 | 19.3728 | 25.5003 | 10.3884 | 11.0755 | 14.8104 | 1.6416 | -0.67557
[32 empty] | Cycle 8 |  |  |  | 9.9403 | 10.598 | 14.172
22 | GIRMS\IRMS-operator | 2026-08-15 07:34 | 2026-08-15 08:44 | Running | FALSE | MD23-3677Q - N. dutertrei | 488-490 | 22 | 2 | 20 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 17.196 V | 9.4984 kV | 108 µbar | Carbon Dioxide: -0.0016 kV | 140 µbar | 13.846 V | 19.959 V | 15.749 V | 454 µbar/min | 13.866 V | 1.28E-007 mbar | 10 % | 1,004 µbar | 72 °C | µ-Volume | 103 µbar | Pre | 16.7235 | 18.1839 | 23.9608 | 14.0147 | 14.9372 | 19.977 | 1.5767 | 0.19427 | 1.5805 | 0.013711 | 0.0048476 | 0.17963 | 0.010411 | 0.0036808 | 1.6845 | 0.014591 | 0.17625 | 0.010415
[32 empty] | Cycle 1 | 16.0749 | 17.4796 | 23.0317 | 13.3584 | 14.2382 | 19.0422 | 1.5929 | 0.16573
[32 empty] | Cycle 2 | 15.4536 | 16.8045 | 22.1424 | 12.7412 | 13.5807 | 18.1629 | 1.5865 | 0.18826
[32 empty] | Cycle 3 | 14.8686 | 16.1686 | 21.3045 | 12.1592 | 12.9611 | 17.3336 | 1.5623 | 0.17728
[32 empty] | Cycle 4 | 14.3069 | 15.5584 | 20.5003 | 11.611 | 12.377 | 16.5526 | 1.5649 | 0.17591
[32 empty] | Cycle 5 | 13.7685 | 14.9734 | 19.7288 | 11.085 | 11.8169 | 15.8032 | 1.5713 | 0.16565
[32 empty] | Cycle 6 | 13.2567 | 14.4173 | 18.9961 | 10.598 | 11.2979 | 15.1089 | 1.5894 | 0.18337
[32 empty] | Cycle 7 | 12.7779 | 13.897 | 18.3105 | 10.1375 | 10.8071 | 14.4527 | 1.5998 | 0.18655
[32 empty] | Cycle 8 |  |  |  | 9.7042 | 10.3455 | 13.8354
23 | GIRMS\IRMS-operator | 2026-08-15 08:20 | 2026-08-15 09:19 | Running | FALSE | MD23-3677Q - N. dutertrei | 480-482 | 23 | 1 | 21 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 12.571 V | 9.4982 kV | 103 µbar | Carbon Dioxide: -0.0018 kV | 113 µbar | 11.473 V | 14.323 V |  | 410 µbar/min | 13.501 V | 1.13E-007 mbar | 15 % | 968 µbar | 72 °C | µ-Volume | 103 µbar | Pre | 11.2392 | 12.2294 | 16.0983 | 11.5967 | 12.3629 | 16.5323 | 2.0495 | -0.19688 | 2.039 | 0.016637 | 0.0058822 | -0.19539 | 0.014919 | 0.0052745 | 2.189 | 0.017842 | -0.20021 | 0.014937
[32 empty] | Cycle 1 | 10.8382 | 11.7933 | 15.5245 | 11.0812 | 11.8139 | 15.7972 | 2.0412 | -0.18614
[32 empty] | Cycle 2 | 10.455 | 11.3766 | 14.9756 | 10.5955 | 11.2961 | 15.1056 | 2.0526 | -0.19985
[32 empty] | Cycle 3 | 10.0877 | 10.9771 | 14.45 | 10.1358 | 10.8064 | 14.45 | 2.0356 | -0.16853
[32 empty] | Cycle 4 | 9.7344 | 10.5927 | 13.9436 | 9.7 | 10.342 | 13.8289 | 2.0259 | -0.20569
[32 empty] | Cycle 5 | 9.3892 | 10.217 | 13.4493 | 9.2865 | 9.9013 | 13.2398 | 2.0627 | -0.21356
[32 empty] | Cycle 6 | 9.0692 | 9.868 | 12.9911 | 8.896 | 9.4841 | 12.6832 | 2.0093 | -0.2083
[32 empty] | Cycle 7 | 8.7568 | 9.5285 | 12.5442 | 8.5216 | 9.0851 | 12.1494 | 2.0355 | -0.18416
[32 empty] | Cycle 8 |  |  |  | 8.1727 | 8.7133 | 11.6523
24 | GIRMS\IRMS-operator | 2026-08-15 08:44 | 2026-08-15 09:54 | Running | FALSE | MD23-3677Q - N. dutertrei | 472-474 | 24 | 2 | 21 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 17.313 V | 9.4984 kV | 460 µbar | Carbon Dioxide: -0.0016 kV | 130 µbar | 13.116 V | 20.367 V | 15.823 V | 444 µbar/min | 11.214 V | 1.23E-007 mbar | 10 % | 1,016 µbar | 72 °C | µ-Volume | 103 µbar | Pre | 16.9232 | 18.3996 | 24.2448 | 13.2845 | 14.1594 | 18.9371 | 1.4712 | 0.070304 | 1.5179 | 0.023338 | 0.0082513 | 0.088016 | 0.019145 | 0.0067687 | 1.628 | 0.015393 | 0.08468 | 0.019128
[32 empty] | Cycle 1 | 16.245 | 17.6634 | 23.2736 | 12.6717 | 13.5066 | 18.0637 | 1.5006 | 0.066121
[32 empty] | Cycle 2 | 15.6016 | 16.9647 | 22.3531 | 12.0937 | 12.891 | 17.2403 | 1.5156 | 0.090839
[32 empty] | Cycle 3 | 14.9927 | 16.3032 | 21.4807 | 11.5498 | 12.3116 | 16.4655 | 1.5277 | 0.069064
[32 empty] | Cycle 4 | 14.4176 | 15.678 | 20.6575 | 11.0367 | 11.7649 | 15.7342 | 1.5226 | 0.08902
[32 empty] | Cycle 5 | 13.8765 | 15.0899 | 19.8825 | 10.5523 | 11.2488 | 15.044 | 1.5203 | 0.095569
[32 empty] | Cycle 6 | 13.3564 | 14.5249 | 19.138 | 10.094 | 10.7605 | 14.3904 | 1.5426 | 0.12243
[32 empty] | Cycle 7 | 12.8555 | 13.9806 | 18.4203 | 9.6609 | 10.2989 | 13.7735 | 1.5423 | 0.10078
[32 empty] | Cycle 8 |  |  |  | 9.2515 | 9.8629 | 13.19
25 | GIRMS\IRMS-operator | 2026-08-15 09:19 | 2026-08-15 10:41 | Running | FALSE | SHP2L |  | 25 | 1 | 22 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 21.911 V | 9.4986 kV | 106 µbar | Carbon Dioxide: -0.0014 kV | 118 µbar | 14.215 V | 26.053 V | 19.627 V | 410 µbar/min | 3.753 V | 1.29E-007 mbar | 10 % | 1,034 µbar | 72 °C | µ-Volume | 108 µbar | Pre | 21.0953 | 22.878 | 30.0308 | 14.38 | 15.3324 | 20.4977 | -1.4139 | -6.216 | -1.2968 | 0.10584 | 0.037419 | -6.1956 | 0.016294 | 0.0057608 | -1.1583 | 0.11269 | -6.1993 | 0.016091
[32 empty] | Cycle 1 | 20.1828 | 21.8899 | 28.7329 | 13.6975 | 14.6056 | 19.5256 | -1.3906 | -6.2107
[32 empty] | Cycle 2 | 19.319 | 20.9549 | 27.5039 | 13.0569 | 13.9229 | 18.6129 | -1.3376 | -6.2097
[32 empty] | Cycle 3 | 18.5089 | 20.0719 | 26.3514 | 12.4547 | 13.2813 | 17.7549 | -1.4219 | -6.2031
[32 empty] | Cycle 4 | 17.7423 | 19.2419 | 25.261 | 11.8907 | 12.676 | 16.9512 | -1.2454 | -6.185
[32 empty] | Cycle 5 | 17.0172 | 18.4573 | 24.229 | 11.359 | 12.1103 | 16.1937 | -1.2079 | -6.1884
[32 empty] | Cycle 6 | 16.3262 | 17.7089 | 23.246 | 10.858 | 11.5766 | 15.4795 | -1.1858 | -6.1793
[32 empty] | Cycle 7 | 15.6754 | 17.0036 | 22.3202 | 10.3844 | 11.0719 | 14.805 | -1.1714 | -6.1725
[32 empty] | Cycle 8 |  |  |  | 9.9367 | 10.5949 | 14.167
26 | GIRMS\IRMS-operator | 2026-08-15 09:54 | 2026-08-15 11:05 | Running | FALSE | MD23-3677Q - N. dutertrei | 468-470 | 26 | 2 | 22 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 23.374 V | 9.4983 kV | 113 µbar | Carbon Dioxide: -0.0017 kV | 130 µbar | 13.827 V | 28.214 V | 21.323 V | 459 µbar/min | 13.845 V | 1.29E-007 mbar | 10 % | 1,038 µbar | 72 °C | µ-Volume | 106 µbar | Pre | 22.9914 | 24.9917 | 32.9507 | 13.9899 | 14.9137 | 19.9421 | 1.0918 | 0.45935 | 1.1678 | 0.048921 | 0.017296 | 0.51106 | 0.038503 | 0.013613 | 1.2307 | 0.051169 | 0.50896 | 0.038453
[32 empty] | Cycle 1 | 21.9677 | 23.8803 | 31.4852 | 13.3374 | 14.2183 | 19.0126 | 1.1204 | 0.48286
[32 empty] | Cycle 2 | 21.0216 | 22.8537 | 30.1301 | 12.7198 | 13.5604 | 18.1327 | 1.1684 | 0.48056
[32 empty] | Cycle 3 | 20.1332 | 21.8922 | 28.8587 | 12.1412 | 12.9439 | 17.3084 | 1.2295 | 0.52986
[32 empty] | Cycle 4 | 19.2947 | 20.9816 | 27.6572 | 11.5955 | 12.3652 | 16.5306 | 1.1419 | 0.51726
[32 empty] | Cycle 5 | 18.489 | 20.1067 | 26.5026 | 11.0816 | 11.8177 | 15.7989 | 1.1632 | 0.49734
[32 empty] | Cycle 6 | 17.7529 | 19.3079 | 25.4485 | 10.5954 | 11.2996 | 15.1057 | 1.2101 | 0.54498
[32 empty] | Cycle 7 | 17.0339 | 18.5264 | 24.4188 | 10.1374 | 10.8117 | 14.4524 | 1.2172 | 0.57624
[32 empty] | Cycle 8 |  |  |  | 9.704 | 10.3493 | 13.8351
27 | GIRMS\IRMS-operator | 2026-08-15 10:41 | 2026-08-15 11:37 | Running | FALSE | MD23-3677Q - N. dutertrei | 460-462 | 27 | 1 | 23 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 20.374 V | 9.4984 kV | 106 µbar | Carbon Dioxide: -0.0016 kV | 120 µbar | 13.459 V | 23.984 V | 18.582 V | 405 µbar/min | 13.487 V | 1.25E-007 mbar | 10 % | 1,016 µbar | 72 °C | µ-Volume | 103 µbar | Pre | 19.8488 | 21.575 | 28.438 | 13.6256 | 14.527 | 19.4233 | 0.91577 | 0.12914 | 0.94496 | 0.036853 | 0.013029 | 0.13009 | 0.023892 | 0.008447 | 1.0063 | 0.039013 | 0.12809 | 0.023877
[32 empty] | Cycle 1 | 19.0158 | 20.6702 | 27.2445 | 12.9916 | 13.852 | 18.5199 | 0.87349 | 0.087258
[32 empty] | Cycle 2 | 18.232 | 19.8198 | 26.1226 | 12.3902 | 13.2118 | 17.6637 | 0.99094 | 0.10092
[32 empty] | Cycle 3 | 17.4901 | 19.0118 | 25.0605 | 11.8312 | 12.6138 | 16.8667 | 0.93637 | 0.13297
[32 empty] | Cycle 4 | 16.7874 | 18.2489 | 24.0542 | 11.304 | 12.0529 | 16.1152 | 0.95039 | 0.14383
[32 empty] | Cycle 5 | 16.1208 | 17.5254 | 23.0997 | 10.8073 | 11.5232 | 15.4076 | 0.96487 | 0.14678
[32 empty] | Cycle 6 | 15.496 | 16.8467 | 22.2047 | 10.3361 | 11.0218 | 14.736 | 0.95357 | 0.145
[32 empty] | Cycle 7 | 14.892 | 16.1905 | 21.3399 | 9.8918 | 10.548 | 14.1027 | 0.97427 | 0.15483
[32 empty] | Cycle 8 |  |  |  | 9.472 | 10.1006 | 13.5047
28 | GIRMS\IRMS-operator | 2026-08-15 11:05 | 2026-08-15 12:14 | Running | FALSE | MD23-3677Q - N. dutertrei | 452-454 | 28 | 2 | 23 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 13.328 V | 9.4983 kV | 430 µbar | Carbon Dioxide: -0.0017 kV | 113 µbar | 13.095 V | 15.346 V |  | 415 µbar/min | 13.122 V | 1.22E-007 mbar | 10 % | 1,002 µbar | 72 °C | µ-Volume | 106 µbar | Pre | 12.8425 | 13.9684 | 18.4083 | 13.2552 | 14.1308 | 18.8953 | 1.6653 | 0.59103 | 1.6534 | 0.013418 | 0.0050713 | 0.59877 | 0.017274 | 0.0061071 | 1.747 | 0.014153 | 0.59566 | 0.017294
[32 empty] | Cycle 1 | 12.3671 | 13.4519 | 17.7275 | 12.6391 | 13.4748 | 18.0176 | 1.6623 | 0.59561
[32 empty] | Cycle 2 | 11.9128 | 12.9581 | 17.0771 | 12.0636 | 12.8615 | 17.1975 | 1.6536 | 0.62855
[32 empty] | Cycle 3 | 11.4764 | 12.484 | 16.4517 | 11.521 | 12.2836 | 16.4243 | 1.6606 | 0.62138
[32 empty] | Cycle 4 | 11.0695 | 12.0414 | 15.8684 | 11.0111 | 11.7403 | 15.6975 | 1.6413 | 0.59784
[32 empty] | Cycle 5 | 10.6769 | 11.6148 | 15.3058 | 10.5309 | 11.2286 | 15.0136 | 1.6619 | 0.58944
[32 empty] | Cycle 6 | 10.2966 | 11.2011 | 14.7608 | 10.0775 | 10.7454 | 14.3673 | 1.6291 | 0.57838
[32 empty] | Cycle 7 | 9.9299 | 10.8034 | 14.2355 | 9.6481 | 10.2879 | 13.7555 | 1.7085 | 0.58796
[32 empty] | Cycle 8 |  |  |  | 9.2397 | 9.8528 | 13.1733
29 | GIRMS\IRMS-operator | 2026-08-15 11:37 | 2026-08-15 13:00 | Running | FALSE | MD23-3677Q - N. dutertrei | 444-446 | 29 | 1 | 24 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 20.754 V | 9.4986 kV | 108 µbar | Carbon Dioxide: -0.0014 kV | 115 µbar | 14.272 V | 24.488 V | 18.541 V | 410 µbar/min | 3.773 V | 1.29E-007 mbar | 10 % | 1,024 µbar | 72 °C | µ-Volume | 106 µbar | Pre | 19.9114 | 21.6426 | 28.5252 | 14.4374 | 15.3928 | 20.5799 | 0.87865 | 0.07135 | 0.89888 | 0.026255 | 0.0092824 | 0.10902 | 0.0096032 | 0.0036297 | 0.95797 | 0.027689 | 0.1071 | 0.009564
[32 empty] | Cycle 1 | 19.0635 | 20.722 | 27.3115 | 13.7546 | 14.6658 | 19.607 | 0.86256 | 0.096937
[32 empty] | Cycle 2 | 18.26 | 19.8498 | 26.1612 | 13.111 | 13.9803 | 18.6896 | 0.87476 | 0.098791
[32 empty] | Cycle 3 | 17.4966 | 19.0212 | 25.0685 | 12.5081 | 13.338 | 17.8312 | 0.90755 | 0.10679
[32 empty] | Cycle 4 | 16.7735 | 18.2359 | 24.0328 | 11.9405 | 12.7331 | 17.0221 | 0.90242 | 0.10651
[32 empty] | Cycle 5 | 16.0932 | 17.4974 | 23.0592 | 11.4058 | 12.1639 | 16.2606 | 0.90928 | 0.12298
[32 empty] | Cycle 6 | 15.4519 | 16.8008 | 22.1409 | 10.9024 | 11.6274 | 15.5432 | 0.91011 | 0.11322
[32 empty] | Cycle 7 | 14.8473 | 16.1446 | 21.2751 | 10.4263 | 11.12 | 14.8651 | 0.94572 | 0.11789
[32 empty] | Cycle 8 |  |  |  | 9.9773 | 10.6416 | 14.2249
30 | GIRMS\IRMS-operator | 2026-08-15 12:14 | 2026-08-15 13:24 | Running | FALSE | SHP2L |  | 30 | 2 | 24 | TRUE | QC Standard | SHP2L | 0.004 V, 0.004 V, 0.005 V |  | 22.224 V | 9.4985 kV | 111 µbar | Carbon Dioxide: -0.0015 kV | 130 µbar | 13.869 V | 26.585 V | 20.195 V | 200 µbar/min | 13.891 V | 1.27E-007 mbar | 10 % | 1,024 µbar | 72 °C | µ-Volume | 106 µbar | Pre | 21.74 | 23.575 | 30.9515 | 14.0379 | 14.9668 | 20.011 | -1.4528 | -6.1614 | -1.3875 | 0.044066 | 0.01558 | -6.1106 | 0.031175 | 0.011022 | -1.2584 | 0.046247 | -6.114 | 0.031131
[32 empty] | Cycle 1 | 20.7963 | 22.5537 | 29.6094 | 13.3839 | 14.2703 | 19.079 | -1.4181 | -6.1278
[32 empty] | Cycle 2 | 19.9098 | 21.5935 | 28.3482 | 12.7656 | 13.6119 | 18.198 | -1.4213 | -6.1265
[32 empty] | Cycle 3 | 19.0733 | 20.6874 | 27.1577 | 12.1844 | 12.9929 | 17.3702 | -1.4024 | -6.1258
[32 empty] | Cycle 4 | 18.2755 | 19.8233 | 26.0224 | 11.6364 | 12.4086 | 16.5888 | -1.3591 | -6.1059
[32 empty] | Cycle 5 | 17.5215 | 19.0073 | 24.9499 | 11.1207 | 11.8591 | 15.8541 | -1.3282 | -6.0846
[32 empty] | Cycle 6 | 16.8036 | 18.2297 | 23.9279 | 10.6333 | 11.3405 | 15.1595 | -1.3358 | -6.0909
[32 empty] | Cycle 7 | 16.1277 | 17.4974 | 22.9664 | 10.1728 | 10.8498 | 14.5032 | -1.382 | -6.0621
[32 empty] | Cycle 8 |  |  |  | 9.7379 | 10.3876 | 13.8834