## Sheet1
New Table
Sample | [12 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Pressure Adjust failed with Target Intensity | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[32 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[32 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-08-14 10:06 | 2026-08-14 11:01 | Running | FALSE | SHP2L |  | 1 | 2 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 17.761 V | 9.4977 kV | 120 µbar | 118 µbar | Carbon Dioxide: -0.0023 kV | 159 µbar | 10.050 V | 20.764 V | 16.120 V | 112 µbar/min | 2.680 V | 1.05E-007 mbar | 10 % | 1,036 µbar | 72 °C | µ-Volume | Pre | 17.1565 | 18.6064 | 24.4189 | 10.1984 | 10.8725 | 14.5342 | -1.2676 | -6.1971 | -1.2165 | 0.043723 | 0.015458 | -6.1732 | 0.016422 | 0.0058059 | -1.0732 | 0.046438 | -6.177 | 0.016383
[31 empty] | Cycle 1 | 16.4731 | 17.8655 | 23.447 | 9.7527 | 10.3975 | 13.8992 | -1.2798 | -6.1761
[31 empty] | Cycle 2 | 15.8155 | 17.1546 | 22.5112 | 9.3325 | 9.9498 | 13.3004 | -1.1799 | -6.1772
[31 empty] | Cycle 3 | 15.1926 | 16.4786 | 21.6246 | 8.9364 | 9.5279 | 12.7361 | -1.2269 | -6.1956
[31 empty] | Cycle 4 | 14.6011 | 15.8378 | 20.7834 | 8.5629 | 9.1298 | 12.204 | -1.2193 | -6.1672
[31 empty] | Cycle 5 | 14.0392 | 15.2286 | 19.9841 | 8.2078 | 8.7518 | 11.6979 | -1.2182 | -6.1569
[31 empty] | Cycle 6 | 13.5037 | 14.6479 | 19.2221 | 7.8721 | 8.3935 | 11.2197 | -1.1933 | -6.1575
[31 empty] | Cycle 7 | 12.9969 | 14.0991 | 18.5013 | 7.5523 | 8.0527 | 10.7641 | -1.1474 | -6.1577
[31 empty] | Cycle 8 |  |  |  | 7.2498 | 7.7303 | 10.3334
2 | GIRMS\IRMS-operator | 2026-08-14 10:36 | 2026-08-14 11:29 | Running | FALSE | MD23-3677Q - N. dutertrei | 664-666 | 2 | 2 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 17.722 V | 9.4977 kV | 111 µbar | 125 µbar | Carbon Dioxide: -0.0023 kV | 125 µbar | 9.781 V | 20.447 V | 16.302 V | 283 µbar/min | 9.796 V | 1.05E-007 mbar | 10 % | 1,034 µbar | 72 °C | µ-Volume | Pre | 17.2352 | 18.7419 | 24.6794 | 9.9336 | 10.5912 | 14.157 | 1.3269 | -0.20102 | 1.4577 | 0.077835 | 0.027519 | -0.18497 | 0.035853 | 0.012676 | 1.5666 | 0.082354 | -0.18846 | 0.035767
[31 empty] | Cycle 1 | 16.5829 | 18.0342 | 23.7451 | 9.5057 | 10.1349 | 13.5475 | 1.4031 | -0.23395
[31 empty] | Cycle 2 | 15.9589 | 17.3556 | 22.8528 | 9.1006 | 9.7033 | 12.9704 | 1.3903 | -0.20496
[31 empty] | Cycle 3 | 15.3697 | 16.7158 | 22.0093 | 8.7183 | 9.2956 | 12.4259 | 1.4659 | -0.21132
[31 empty] | Cycle 4 | 14.8022 | 16.0993 | 21.1975 | 8.3554 | 8.9085 | 11.9088 | 1.4952 | -0.18492
[31 empty] | Cycle 5 | 14.265 | 15.516 | 20.4285 | 8.0121 | 8.5429 | 11.4197 | 1.5314 | -0.17408
[31 empty] | Cycle 6 | 13.7473 | 14.9538 | 19.688 | 7.6864 | 8.1958 | 10.9554 | 1.556 | -0.12821
[31 empty] | Cycle 7 | 13.2253 | 14.386 | 18.9402 | 7.3768 | 7.866 | 10.5142 | 1.4925 | -0.1413
[31 empty] | Cycle 8 |  |  |  | 7.0824 | 7.5527 | 10.0945
3 | GIRMS\IRMS-operator | 2026-08-14 11:01 | 2026-08-14 12:01 | Running | FALSE | MD23-3677Q - N. dutertrei | 660-662 | 1 | 3 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 19.823 V | 9.4979 kV | 120 µbar | 120 µbar | Carbon Dioxide: -0.0021 kV | 128 µbar | 9.523 V | 23.350 V | 18.135 V | 474 µbar/min | 9.538 V | 1.03E-007 mbar | 10 % | 1,068 µbar | 72 °C | µ-Volume | Pre | 19.368 | 21.0519 | 27.7411 | 9.6748 | 10.3148 | 13.7888 | 0.91488 | 0.043635 | 1.0638 | 0.099942 | 0.035335 | 0.099247 | 0.039956 | 0.014126 | 1.1347 | 0.10555 | 0.096949 | 0.039786
[31 empty] | Cycle 1 | 18.571 | 20.1872 | 26.6004 | 9.2626 | 9.8757 | 13.2013 | 0.9639 | 0.066
[31 empty] | Cycle 2 | 17.8185 | 19.3708 | 25.5234 | 8.872 | 9.4594 | 12.6449 | 1.0183 | 0.071433
[31 empty] | Cycle 3 | 17.1023 | 18.5926 | 24.498 | 8.5022 | 9.0654 | 12.1182 | 1.029 | 0.074545
[31 empty] | Cycle 4 | 16.4234 | 17.857 | 23.5262 | 8.1518 | 8.6919 | 11.6188 | 1.1169 | 0.11468
[31 empty] | Cycle 5 | 15.7777 | 17.1551 | 22.6023 | 7.8186 | 8.3373 | 11.1437 | 1.1027 | 0.14343
[31 empty] | Cycle 6 | 15.1584 | 16.4827 | 21.7156 | 7.5031 | 8.0005 | 10.6945 | 1.151 | 0.13461
[31 empty] | Cycle 7 | 14.568 | 15.8405 | 20.8699 | 7.203 | 7.6811 | 10.267 | 1.214 | 0.14565
[31 empty] | Cycle 8 |  |  |  | 6.918 | 7.3755 | 9.8604
4 | GIRMS\IRMS-operator | 2026-08-14 11:29 | 2026-08-14 12:37 | Running | FALSE | MD23-3677Q - N. dutertrei | 656-658 | 2 | 3 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 19.261 V | 9.4979 kV | 113 µbar | 132 µbar | Carbon Dioxide: -0.0021 kV | 135 µbar | 9.263 V | 22.385 V | 17.572 V | 488 µbar/min | 9.283 V | 1.00E-007 mbar | 10 % | 1,058 µbar | 72 °C | µ-Volume | Pre | 18.7447 | 20.3801 | 26.8543 | 9.4129 | 10.036 | 13.4156 | 1.1629 | 0.25315 | 1.257 | 0.075289 | 0.026619 | 0.27757 | 0.025223 | 0.0089178 | 1.3348 | 0.079807 | 0.27503 | 0.025113
[31 empty] | Cycle 1 | 18.0024 | 19.5749 | 25.7913 | 9.0142 | 9.611 | 12.8476 | 1.2442 | 0.24694
[31 empty] | Cycle 2 | 17.3063 | 18.8179 | 24.7948 | 8.6368 | 9.2088 | 12.31 | 1.1627 | 0.26852
[31 empty] | Cycle 3 | 16.6432 | 18.0992 | 23.8453 | 8.2795 | 8.8289 | 11.8007 | 1.2713 | 0.28418
[31 empty] | Cycle 4 | 16.0135 | 17.4141 | 22.9438 | 7.9402 | 8.4663 | 11.3172 | 1.2599 | 0.2852
[31 empty] | Cycle 5 | 15.4085 | 16.7569 | 22.0774 | 7.6167 | 8.122 | 10.8566 | 1.2819 | 0.26703
[31 empty] | Cycle 6 | 14.8259 | 16.1239 | 21.2431 | 7.3112 | 7.796 | 10.4214 | 1.2722 | 0.28782
[31 empty] | Cycle 7 | 14.2763 | 15.5284 | 20.4564 | 7.021 | 7.4875 | 10.0076 | 1.4009 | 0.32776
[31 empty] | Cycle 8 |  |  |  | 6.7453 | 7.1928 | 9.6147
5 | GIRMS\IRMS-operator | 2026-08-14 12:01 | 2026-08-14 13:19 | Running | FALSE | MD23-3677Q - N. dutertrei | 652-654 | 1 | 4 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 22.366 V | 9.4982 kV | 123 µbar | 123 µbar | Carbon Dioxide: -0.0018 kV | 135 µbar | 10.024 V | 26.337 V | 20.039 V | 425 µbar/min | 2.692 V | 1.05E-007 mbar | 10 % | 1,078 µbar | 72 °C | µ-Volume | Pre | 21.464 | 23.3272 | 30.7529 | 10.1744 | 10.8448 | 14.5009 | 1.0226 | 0.3323 | 1.1417 | 0.082043 | 0.029007 | 0.39472 | 0.036424 | 0.012878 | 1.207 | 0.086526 | 0.39256 | 0.036289
[31 empty] | Cycle 1 | 20.5567 | 22.3428 | 29.4546 | 9.7324 | 10.3742 | 13.8715 | 1.0517 | 0.362
[31 empty] | Cycle 2 | 19.6927 | 21.405 | 28.2171 | 9.3128 | 9.9273 | 13.2736 | 1.0893 | 0.3681
[31 empty] | Cycle 3 | 18.8729 | 20.5149 | 27.0435 | 8.9172 | 9.5056 | 12.7098 | 1.1309 | 0.39851
[31 empty] | Cycle 4 | 18.0987 | 19.6749 | 25.9348 | 8.5442 | 9.1082 | 12.1783 | 1.1965 | 0.41882
[31 empty] | Cycle 5 | 17.3661 | 18.8791 | 24.8855 | 8.1911 | 8.7318 | 11.6752 | 1.1679 | 0.42993
[31 empty] | Cycle 6 | 16.6738 | 18.1289 | 23.8939 | 7.8568 | 8.3765 | 11.1988 | 1.2323 | 0.41878
[31 empty] | Cycle 7 | 16.0163 | 17.4146 | 22.9525 | 7.5398 | 8.0387 | 10.7475 | 1.242 | 0.42932
[31 empty] | Cycle 8 |  |  |  | 7.2382 | 7.7173 | 10.3176
6 | GIRMS\IRMS-operator | 2026-08-14 12:37 | 2026-08-14 13:49 | Running | FALSE | SHP2L |  | 2 | 4 | TRUE | QC Standard | SHP2L | 0.004 V, 0.004 V, 0.005 V |  | 10.597 V | 9.4981 kV | 120 µbar | 123 µbar | Carbon Dioxide: -0.0019 kV | 132 µbar | 9.768 V | 12.039 V |  | 503 µbar/min | 9.784 V | 1.03E-007 mbar | 10 % | 997 µbar | 72 °C | µ-Volume | Pre | 9.7009 | 10.5236 | 13.8133 | 9.9021 | 10.555 | 14.1132 | -0.84193 | -5.8573 | -0.84374 | 0.0083129 | 0.003142 | -5.8693 | 0.019456 | 0.0068786 | -0.68562 | 0.009328 | -5.8737 | 0.019497
[31 empty] | Cycle 1 | 9.3857 | 10.1822 | 13.3644 | 9.4731 | 10.0979 | 13.502 | -0.80413 | -5.8862
[31 empty] | Cycle 2 | 9.0808 | 9.8513 | 12.9307 | 9.0713 | 9.6698 | 12.9296 | -0.84569 | -5.852
[31 empty] | Cycle 3 | 8.7906 | 9.5367 | 12.5177 | 8.6911 | 9.2649 | 12.3875 | -0.84519 | -5.8413
[31 empty] | Cycle 4 | 8.5095 | 9.232 | 12.1173 | 8.3308 | 8.8808 | 11.8743 | -0.83175 | -5.8856
[31 empty] | Cycle 5 | 8.2337 | 8.9328 | 11.7247 | 7.9889 | 8.5164 | 11.3873 | -0.83595 | -5.897
[31 empty] | Cycle 6 | 7.9709 | 8.6478 | 11.3508 | 7.6649 | 8.1711 | 10.9258 | -0.84858 | -5.8746
[31 empty] | Cycle 7 | 7.7177 | 8.3732 | 10.9904 | 7.3576 | 7.8437 | 10.4876 | -0.85707 | -5.8604
[31 empty] | Cycle 8 |  |  |  | 7.0647 | 7.5317 | 10.0701
7 | GIRMS\IRMS-operator | 2026-08-14 13:19 | 2026-08-14 14:20 | Running | FALSE | MD23-3677Q - N. dutertrei | 644-646 | 1 | 5 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 26.298 V | 9.4981 kV | 115 µbar | 120 µbar | Carbon Dioxide: -0.0019 kV | 125 µbar | 9.508 V | 31.535 V | 23.865 V | 376 µbar/min | 9.523 V | 1.02E-007 mbar | 10 % | 1,085 µbar | 72 °C | µ-Volume | Pre | 25.6818 | 27.9066 | 36.7843 | 9.6577 | 10.297 | 13.7654 | 0.56576 | -0.040373 | 0.75946 | 0.14297 | 0.050548 | 0.059093 | 0.062411 | 0.022066 | 0.81046 | 0.15076 | 0.05744 | 0.062167
[31 empty] | Cycle 1 | 24.538 | 26.6656 | 35.1479 | 9.2487 | 9.8616 | 13.1827 | 0.60707 | 0.0017169
[31 empty] | Cycle 2 | 23.4533 | 25.4889 | 33.5957 | 8.8598 | 9.4469 | 12.6284 | 0.67467 | 0.027211
[31 empty] | Cycle 3 | 22.4334 | 24.3825 | 32.1367 | 8.4915 | 9.0544 | 12.1038 | 0.69155 | 0.05197
[31 empty] | Cycle 4 | 21.472 | 23.3426 | 30.7605 | 8.1417 | 8.6823 | 11.6058 | 0.84593 | 0.067642
[31 empty] | Cycle 5 | 20.5623 | 22.354 | 29.458 | 7.8099 | 8.3287 | 11.1327 | 0.84055 | 0.092748
[31 empty] | Cycle 6 | 19.6984 | 21.4164 | 28.2217 | 7.4958 | 7.9938 | 10.685 | 0.89655 | 0.13428
[31 empty] | Cycle 7 | 18.8784 | 20.5266 | 27.0477 | 7.1971 | 7.6755 | 10.2594 | 0.95362 | 0.13755
[31 empty] | Cycle 8 |  |  |  | 6.9127 | 7.3723 | 9.8542
8 | GIRMS\IRMS-operator | 2026-08-14 13:49 | 2026-08-14 14:57 | Running | FALSE | MD23-3677Q - N. dutertrei | 636-638 | 2 | 5 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 24.504 V | 9.4981 kV | 118 µbar | 128 µbar | Carbon Dioxide: -0.0019 kV | 128 µbar | 9.257 V | 29.163 V | 22.389 V | 454 µbar/min | 9.270 V | 1.01E-007 mbar | 10 % | 1,070 µbar | 72 °C | µ-Volume | Pre | 23.9767 | 26.0558 | 34.3568 | 9.4064 | 10.0308 | 13.4072 | 0.48179 | 0.37288 | 0.66395 | 0.14989 | 0.052994 | 0.43761 | 0.054009 | 0.019095 | 0.69427 | 0.15844 | 0.43657 | 0.053737
[31 empty] | Cycle 1 | 22.9473 | 24.9382 | 32.8831 | 9.0107 | 9.6093 | 12.8438 | 0.49311 | 0.38479
[31 empty] | Cycle 2 | 21.9747 | 23.8836 | 31.4901 | 8.6337 | 9.2074 | 12.3066 | 0.57719 | 0.39893
[31 empty] | Cycle 3 | 21.0551 | 22.8862 | 30.1732 | 8.2769 | 8.827 | 11.7981 | 0.64057 | 0.41157
[31 empty] | Cycle 4 | 20.1868 | 21.9411 | 28.9304 | 7.938 | 8.4658 | 11.3153 | 0.63483 | 0.44855
[31 empty] | Cycle 5 | 19.3529 | 21.036 | 27.7362 | 7.6172 | 8.1227 | 10.8581 | 0.7735 | 0.47048
[31 empty] | Cycle 6 | 18.5614 | 20.1768 | 26.6028 | 7.3122 | 7.7972 | 10.4235 | 0.8362 | 0.49127
[31 empty] | Cycle 7 | 17.8114 | 19.3628 | 25.5289 | 7.0227 | 7.4887 | 10.011 | 0.87444 | 0.52237
[31 empty] | Cycle 8 |  |  |  | 6.7471 | 7.1949 | 9.618
9 | GIRMS\IRMS-operator | 2026-08-14 14:20 | 2026-08-14 15:38 | Running | FALSE | MD23-3677Q - N. dutertrei | 632-634 | 1 | 6 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  | 25.605 V | 9.4982 kV | 118 µbar | 120 µbar | Carbon Dioxide: -0.0018 kV | 132 µbar | 10.084 V | 30.643 V | 22.931 V | 156 µbar/min | 2.702 V | 1.06E-007 mbar | 10 % | 1,078 µbar | 72 °C | µ-Volume | Pre | 24.6671 | 26.8121 | 35.3242 | 10.2346 | 10.9118 | 14.5881 | 0.90449 | -0.25253 | 1.0712 | 0.1285 | 0.045431 | -0.16984 | 0.054964 | 0.019433 | 1.1524 | 0.13555 | -0.17244 | 0.054744
[31 empty] | Cycle 1 | 23.5669 | 25.6179 | 33.7501 | 9.7932 | 10.4417 | 13.9589 | 0.91783 | -0.21183
[31 empty] | Cycle 2 | 22.5343 | 24.4976 | 32.2722 | 9.3733 | 9.9945 | 13.3606 | 0.98363 | -0.21388
[31 empty] | Cycle 3 | 21.563 | 23.4437 | 30.883 | 8.9772 | 9.5721 | 12.7964 | 1.0476 | -0.1665
[31 empty] | Cycle 4 | 20.6486 | 22.4515 | 29.5741 | 8.603 | 9.1736 | 12.2629 | 1.1222 | -0.14802
[31 empty] | Cycle 5 | 19.7833 | 21.5111 | 28.3351 | 8.2483 | 8.7951 | 11.7576 | 1.143 | -0.16519
[31 empty] | Cycle 6 | 18.9674 | 20.6256 | 27.1682 | 7.9117 | 8.4365 | 11.2782 | 1.205 | -0.11542
[31 empty] | Cycle 7 | 18.195 | 19.787 | 26.0626 | 7.5925 | 8.0961 | 10.823 | 1.2455 | -0.085358
[31 empty] | Cycle 8 |  |  |  | 7.2885 | 7.7723 | 10.3898
10 | GIRMS\IRMS-operator | 2026-08-14 14:57 | 2026-08-14 16:06 | Running | FALSE | MD23-3677Q - N. dutertrei | 628-630 | 2 | 6 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.006 V |  | 22.652 V | 9.4981 kV | 115 µbar | 120 µbar | Carbon Dioxide: -0.0019 kV | 130 µbar | 9.821 V | 26.862 V | 20.713 V | 444 µbar/min | 9.836 V | 1.05E-007 mbar | 10 % | 1,056 µbar | 72 °C | µ-Volume | Pre | 22.1802 | 24.1073 | 31.7794 | 9.9722 | 10.632 | 14.2135 | 0.83165 | 0.29491 | 0.97344 | 0.10351 | 0.036596 | 0.33419 | 0.033271 | 0.011763 | 1.0292 | 0.10955 | 0.33235 | 0.033077
[31 empty] | Cycle 1 | 21.249 | 23.0971 | 30.446 | 9.5469 | 10.1791 | 13.6076 | 0.85704 | 0.29696
[31 empty] | Cycle 2 | 20.3694 | 22.1427 | 29.187 | 9.1418 | 9.7478 | 13.0305 | 0.91595 | 0.31753
[31 empty] | Cycle 3 | 19.5336 | 21.2356 | 27.9902 | 8.7587 | 9.3392 | 12.4849 | 0.97849 | 0.3229
[31 empty] | Cycle 4 | 18.7433 | 20.3776 | 26.8584 | 8.3965 | 8.9531 | 11.9688 | 0.96702 | 0.33522
[31 empty] | Cycle 5 | 17.9858 | 19.5569 | 25.7738 | 8.0522 | 8.5871 | 11.4781 | 1.034 | 0.34609
[31 empty] | Cycle 6 | 17.2641 | 18.7732 | 24.7405 | 7.726 | 8.2394 | 11.0135 | 1.075 | 0.37355
[31 empty] | Cycle 7 | 16.5814 | 18.0319 | 23.7627 | 7.4164 | 7.9093 | 10.572 | 1.1283 | 0.38637
[31 empty] | Cycle 8 |  |  |  | 7.1226 | 7.5961 | 10.1536
11 | GIRMS\IRMS-operator | 2026-08-14 15:38 | 2026-08-14 16:39 | Running | FALSE | SHP2L |  | 1 | 7 | TRUE | QC Standard | SHP2L | 0.004 V, 0.004 V, 0.006 V |  | 8.090 V | 9.4982 kV | 113 µbar | 115 µbar | Carbon Dioxide: -0.0018 kV | 184 µbar | 7.522 V | 9.042 V |  | 357 µbar/min | 9.605 V | 8.72E-008 mbar | 17 % | 963 µbar | 72 °C | µ-Volume | Pre | 7.3899 | 8.0196 | 10.5228 | 7.6309 | 8.137 | 10.878 | -0.82038 | -6.0149 | -0.80323 | 0.027378 | 0.0096796 | -5.9798 | 0.018707 | 0.006614 | -0.63809 | 0.029103 | -5.9844 | 0.01871
[31 empty] | Cycle 1 | 7.156 | 7.7662 | 10.1899 | 7.3241 | 7.8099 | 10.4409 | -0.76873 | -5.9934
[31 empty] | Cycle 2 | 6.9324 | 7.5236 | 9.8718 | 7.0328 | 7.4992 | 10.0253 | -0.78722 | -5.9639
[31 empty] | Cycle 3 | 6.7156 | 7.2881 | 9.5629 | 6.7557 | 7.2042 | 9.6307 | -0.84261 | -5.9882
[31 empty] | Cycle 4 | 6.506 | 7.0609 | 9.2646 | 6.4927 | 6.9237 | 9.2556 | -0.79884 | -5.9577
[31 empty] | Cycle 5 | 6.3035 | 6.841 | 8.9762 | 6.242 | 6.6563 | 8.898 | -0.82575 | -5.9811
[31 empty] | Cycle 6 | 6.1075 | 6.6287 | 8.6973 | 6.0033 | 6.4018 | 8.5582 | -0.7673 | -5.9708
[31 empty] | Cycle 7 | 5.9171 | 6.4218 | 8.4262 | 5.7755 | 6.1591 | 8.2334 | -0.815 | -5.9682
[31 empty] | Cycle 8 |  |  |  | 5.5581 | 5.9271 | 7.9234
12 | GIRMS\IRMS-operator | 2026-08-14 16:06 | 2026-08-14 17:14 | Running | FALSE | MD23-3677Q - N. dutertrei | 620-622 | 2 | 7 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 21.127 V | 9.4983 kV | 113 µbar | 125 µbar | Carbon Dioxide: -0.0017 kV | 128 µbar | 9.349 V | 24.882 V | 19.287 V | 449 µbar/min | 7.378 V | 9.96E-008 mbar | 10 % | 1,046 µbar | 72 °C | µ-Volume | Pre | 20.5838 | 22.374 | 29.4906 | 9.4972 | 10.1273 | 13.5372 | 0.7564 | 0.18465 | 0.88231 | 0.071974 | 0.025447 | 0.22315 | 0.039668 | 0.014025 | 0.93584 | 0.075754 | 0.22139 | 0.039571
[31 empty] | Cycle 1 | 19.7373 | 21.456 | 28.2779 | 9.0909 | 9.6943 | 12.9585 | 0.83622 | 0.16879
[31 empty] | Cycle 2 | 18.9328 | 20.5819 | 27.1266 | 8.7095 | 9.2877 | 12.4149 | 0.8256 | 0.20836
[31 empty] | Cycle 3 | 18.1724 | 19.7569 | 26.0377 | 8.3482 | 8.9029 | 11.9 | 0.88483 | 0.20262
[31 empty] | Cycle 4 | 17.4509 | 18.973 | 25.0047 | 8.006 | 8.5379 | 11.4127 | 0.90659 | 0.22114
[31 empty] | Cycle 5 | 16.77 | 18.2334 | 24.0298 | 7.6816 | 8.1921 | 10.9502 | 0.92534 | 0.25636
[31 empty] | Cycle 6 | 16.1122 | 17.5194 | 23.0877 | 7.3726 | 7.8628 | 10.5099 | 0.96183 | 0.26355
[31 empty] | Cycle 7 | 15.4926 | 16.8447 | 22.2002 | 7.0799 | 7.5509 | 10.0926 | 0.96166 | 0.27971
[31 empty] | Cycle 8 |  |  |  | 6.8018 | 7.2533 | 9.6963
13 | GIRMS\IRMS-operator | 2026-08-14 16:39 | 2026-08-14 17:56 | Running | FALSE | MD23-3677Q - N. dutertrei | 616-618 | 1 | 8 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  | 23.328 V | 9.4984 kV | 118 µbar | 118 µbar | Carbon Dioxide: -0.0016 kV | 132 µbar | 10.074 V | 27.800 V | 20.882 V | 322 µbar/min | 2.709 V | 1.05E-007 mbar | 10 % | 1,075 µbar | 72 °C | µ-Volume | Pre | 22.4598 | 24.4082 | 32.1802 | 10.2275 | 10.9045 | 14.5781 | 0.70217 | 0.25709 | 0.83865 | 0.11746 | 0.041528 | 0.31426 | 0.038808 | 0.013721 | 0.88576 | 0.12444 | 0.31271 | 0.03862
[31 empty] | Cycle 1 | 21.4635 | 23.3266 | 30.7539 | 9.7876 | 10.4357 | 13.9515 | 0.7339 | 0.27465
[31 empty] | Cycle 2 | 20.5451 | 22.331 | 29.4386 | 9.3627 | 9.9829 | 13.346 | 0.80115 | 0.28053
[31 empty] | Cycle 3 | 19.679 | 21.3917 | 28.1988 | 8.9671 | 9.5617 | 12.7823 | 0.76919 | 0.32325
[31 empty] | Cycle 4 | 18.8679 | 20.5118 | 27.0369 | 8.593 | 9.1646 | 12.2488 | 0.80044 | 0.32904
[31 empty] | Cycle 5 | 18.1044 | 19.6833 | 25.9436 | 8.2393 | 8.7866 | 11.745 | 0.91883 | 0.33424
[31 empty] | Cycle 6 | 17.3767 | 18.8928 | 24.9018 | 7.9039 | 8.4289 | 11.267 | 0.93705 | 0.35048
[31 empty] | Cycle 7 | 16.6829 | 18.141 | 23.9082 | 7.5846 | 8.0886 | 10.8122 | 1.0464 | 0.36482
[31 empty] | Cycle 8 |  |  |  | 7.2816 | 7.7657 | 10.3802
14 | GIRMS\IRMS-operator | 2026-08-14 17:14 | 2026-08-14 18:24 | Running | FALSE | MD23-3677Q - N. dutertrei | 612-614 | 2 | 8 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 22.925 V | 9.4983 kV | 118 µbar | 118 µbar | Carbon Dioxide: -0.0017 kV | 142 µbar | 9.810 V | 27.259 V | 20.868 V | 435 µbar/min | 9.822 V | 1.03E-007 mbar | 10 % | 1,065 µbar | 72 °C | µ-Volume | Pre | 22.3809 | 24.3228 | 32.0676 | 9.9621 | 10.6213 | 14.1994 | 0.72702 | 0.28359 | 0.88363 | 0.10008 | 0.035385 | 0.32945 | 0.038977 | 0.013781 | 0.93333 | 0.10573 | 0.3278 | 0.038805
[31 empty] | Cycle 1 | 21.4238 | 23.2853 | 30.6974 | 9.538 | 10.1695 | 13.5955 | 0.80062 | 0.28249
[31 empty] | Cycle 2 | 20.5198 | 22.3041 | 29.4034 | 9.1348 | 9.74 | 13.0212 | 0.83819 | 0.30368
[31 empty] | Cycle 3 | 19.6607 | 21.3709 | 28.1729 | 8.7534 | 9.3334 | 12.4778 | 0.84013 | 0.31214
[31 empty] | Cycle 4 | 18.8562 | 20.4983 | 27.0213 | 8.3904 | 8.9468 | 11.9604 | 0.90982 | 0.34015
[31 empty] | Cycle 5 | 18.0946 | 19.6711 | 25.9308 | 8.0469 | 8.5805 | 11.471 | 0.93702 | 0.37048
[31 empty] | Cycle 6 | 17.3728 | 18.8881 | 24.8968 | 7.7214 | 8.2336 | 11.0069 | 0.99808 | 0.37507
[31 empty] | Cycle 7 | 16.6994 | 18.1563 | 23.9322 | 7.4119 | 7.9037 | 10.5659 | 1.0182 | 0.36797
[31 empty] | Cycle 8 |  |  |  | 7.1178 | 7.59 | 10.1469
15 | GIRMS\IRMS-operator | 2026-08-14 17:56 | 2026-08-14 18:58 | Running | FALSE | MD23-3677Q - N. dutertrei | 604-606 | 1 | 9 | TRUE | Unknown |  | 0.004 V, 0.004 V, 0.005 V |  | 18.034 V | 9.4983 kV | 111 µbar | 115 µbar | Carbon Dioxide: -0.0017 kV | 137 µbar | 9.574 V | 20.611 V | 16.222 V | 366 µbar/min | 9.588 V | 1.01E-007 mbar | 10 % | 1,046 µbar | 72 °C | µ-Volume | Pre | 17.2389 | 18.74 | 24.7064 | 9.7259 | 10.37 | 13.863 | 0.9798 | 0.53843 | 1.01 | 0.052111 | 0.018424 | 0.56933 | 0.0315 | 0.011137 | 1.0597 | 0.054782 | 0.56766 | 0.031435
[31 empty] | Cycle 1 | 16.5499 | 17.9906 | 23.7196 | 9.3132 | 9.9302 | 13.2751 | 0.92786 | 0.53372
[31 empty] | Cycle 2 | 15.8946 | 17.2796 | 22.7809 | 8.9205 | 9.5117 | 12.7157 | 0.97856 | 0.54019
[31 empty] | Cycle 3 | 15.2757 | 16.607 | 21.8945 | 8.5495 | 9.1165 | 12.187 | 0.98012 | 0.5515
[31 empty] | Cycle 4 | 14.6872 | 15.969 | 21.0518 | 8.1986 | 8.7422 | 11.6871 | 1.0784 | 0.58591
[31 empty] | Cycle 5 | 14.1311 | 15.3637 | 20.2553 | 7.8652 | 8.3869 | 11.2116 | 1.0205 | 0.60905
[31 empty] | Cycle 6 | 13.6053 | 14.7926 | 19.5016 | 7.5483 | 8.0491 | 10.7601 | 1.0478 | 0.59209
[31 empty] | Cycle 7 | 13.1009 | 14.2448 | 18.7788 | 7.2472 | 7.728 | 10.3309 | 1.067 | 0.60377
[31 empty] | Cycle 8 |  |  |  | 6.9605 | 7.4226 | 9.9222
16 | GIRMS\IRMS-operator | 2026-08-14 18:24 | 2026-08-14 19:30 | Running | FALSE | SHP2L |  | 2 | 9 | TRUE | QC Standard | SHP2L | 0.004 V, 0.004 V, 0.005 V |  | 7.113 V | 9.4982 kV | 111 µbar | 123 µbar | Carbon Dioxide: -0.0018 kV | 118 µbar | 6.578 V | 7.900 V |  | 435 µbar/min | 9.334 V | 8.02E-008 mbar | 21 % | 938 µbar | 72 °C | µ-Volume | Pre | 6.4727 | 7.0247 | 9.2185 | 6.6788 | 7.1218 | 9.5208 | -0.83386 | -5.8363 | -0.83386 | 0 | 0 | -5.8363 | 0 | 0 | -0.67619 | 0 | -5.8406 | 0
[31 empty] | Cycle 1 |  |  |  | 6.4198 | 6.8464 | 9.1516
17 | GIRMS\IRMS-operator | 2026-08-14 18:58 | 2026-08-14 19:30 |  | FALSE | MD23-3677Q - N. dutertrei | 600-602 | 1 | 10 | TRUE | Unknown | [5 empty] | 123 µbar | [11 empty] | 72 °C