## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Pressure Adjust failed with Target Intensity | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-08-04 22:48 | 2026-08-04 23:47 | Running | FALSE | MD23-3677Q - N. dutertrei | 988-990 | 1 | 1 | 13 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 25.069 V | 9.4990 kV | 130 µbar | 137 µbar | Carbon Dioxide: -0.0010 kV | 135 µbar | 11.156 V | 29.984 V | 22.390 V | 357 µbar/min | 2.792 V | 1.07E-007 mbar | 10 % | 1,100 µbar | 72 °C | µ-Volume | Pre | 24.123 | 26.2251 | 34.594 | 11.3303 | 12.0853 | 16.166 | 0.64634 | 0.1658 | 0.79269 | 0.11914 | 0.042124 | 0.20617 | 0.023909 | 0.0084533 | 0.84058 | 0.12667 | 0.20459 | 0.023686
[32 empty] | Cycle 1 | 23.0551 | 25.0655 | 33.0636 | 10.8307 | 11.5527 | 15.4532 | 0.67611 | 0.18615
[32 empty] | Cycle 2 | 22.0501 | 23.9748 | 31.6231 | 10.3586 | 11.0494 | 14.7798 | 0.72477 | 0.20055
[32 empty] | Cycle 3 | 21.104 | 22.947 | 30.267 | 9.9119 | 10.5733 | 14.1426 | 0.73631 | 0.20266
[32 empty] | Cycle 4 | 20.2049 | 21.9709 | 28.9777 | 9.489 | 10.1224 | 13.5397 | 0.78855 | 0.20042
[32 empty] | Cycle 5 | 19.3606 | 21.0543 | 27.7676 | 9.0894 | 9.6963 | 12.9694 | 0.86278 | 0.23346
[32 empty] | Cycle 6 | 18.5607 | 20.1859 | 26.6208 | 8.7112 | 9.2927 | 12.4298 | 0.95033 | 0.22934
[32 empty] | Cycle 7 | 17.8031 | 19.3626 | 25.5347 | 8.3525 | 8.9098 | 11.9183 | 0.95634 | 0.23092
[32 empty] | Cycle 8 |  |  |  | 8.0127 | 8.548 | 11.4334
2 | GIRMS\IRMS-operator | 2026-08-04 23:22 | 2026-08-05 00:15 | Running | FALSE | MD23-3677Q - N. dutertrei | 984-986 | 2 | 2 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 17.158 V | 9.4987 kV | 128 µbar | 132 µbar | Carbon Dioxide: -0.0013 kV | 142 µbar | 10.842 V | 19.815 V | 15.887 V | 332 µbar/min | 10.858 V | 1.06E-007 mbar | 10 % | 1,073 µbar | 72 °C | µ-Volume | Pre | 16.8137 | 18.2857 | 24.1165 | 11.0195 | 11.7537 | 15.7215 | 1.0318 | 0.40916 | 1.1012 | 0.04826 | 0.017063 | 0.41945 | 0.010154 | 0.0035901 | 1.1628 | 0.051376 | 0.41741 | 0.010089
[32 empty] | Cycle 1 | 16.1966 | 17.6158 | 23.2323 | 10.5368 | 11.2391 | 15.0333 | 1.0647 | 0.41168
[32 empty] | Cycle 2 | 15.6103 | 16.9784 | 22.3915 | 10.0803 | 10.7526 | 14.3824 | 1.059 | 0.41282
[32 empty] | Cycle 3 | 15.0471 | 16.3664 | 21.584 | 9.6502 | 10.2939 | 13.7686 | 1.1028 | 0.41079
[32 empty] | Cycle 4 | 14.5072 | 15.7801 | 20.8099 | 9.2424 | 9.8586 | 13.1873 | 1.1413 | 0.41737
[32 empty] | Cycle 5 | 13.9925 | 15.2203 | 20.0722 | 8.8558 | 9.447 | 12.6356 | 1.1162 | 0.43414
[32 empty] | Cycle 6 | 13.4994 | 14.685 | 19.365 | 8.4899 | 9.0564 | 12.1139 | 1.1812 | 0.43071
[32 empty] | Cycle 7 | 13.0258 | 14.1695 | 18.6859 | 8.143 | 8.6867 | 11.6189 | 1.1131 | 0.42891
[32 empty] | Cycle 8 |  |  |  | 7.8132 | 8.3353 | 11.1487
3 | GIRMS\IRMS-operator | 2026-08-04 23:47 | 2026-08-05 00:49 | Running | FALSE | MD23-3677Q - N. dutertrei | 980-982 | 3 | 1 | 14 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 20.779 V | 9.4988 kV | 130 µbar | 135 µbar | Carbon Dioxide: -0.0012 kV | 137 µbar | 10.541 V | 25.257 V | 19.598 V | 308 µbar/min | 10.554 V | 1.04E-007 mbar | 10 % | 1,082 µbar | 72 °C | µ-Volume | Pre | 20.8874 | 22.704 | 29.9559 | 10.7183 | 11.4339 | 15.2921 | 0.36288 | 0.25923 | 0.46506 | 0.090857 | 0.032123 | 0.28665 | 0.022172 | 0.0078391 | 0.48703 | 0.096448 | 0.2859 | 0.022003
[32 empty] | Cycle 1 | 20.022 | 21.7636 | 28.7157 | 10.2528 | 10.9376 | 14.6284 | 0.35885 | 0.26901
[32 empty] | Cycle 2 | 19.1987 | 20.8704 | 27.5354 | 9.8135 | 10.4691 | 14.0019 | 0.42604 | 0.26904
[32 empty] | Cycle 3 | 18.424 | 20.0287 | 26.4249 | 9.3974 | 10.0253 | 13.4084 | 0.41029 | 0.27338
[32 empty] | Cycle 4 | 17.6905 | 19.2327 | 25.3736 | 9.0034 | 9.6056 | 12.8465 | 0.46768 | 0.29533
[32 empty] | Cycle 5 | 16.9927 | 18.476 | 24.3729 | 8.6298 | 9.2068 | 12.3134 | 0.57828 | 0.30264
[32 empty] | Cycle 6 | 16.3319 | 17.7571 | 23.4256 | 8.275 | 8.8283 | 11.8071 | 0.53224 | 0.30113
[32 empty] | Cycle 7 | 15.7041 | 17.0764 | 22.5257 | 7.9381 | 8.4692 | 11.327 | 0.58424 | 0.32341
[32 empty] | Cycle 8 |  |  |  | 7.618 | 8.1285 | 10.8699
4 | GIRMS\IRMS-operator | 2026-08-05 00:15 | 2026-08-05 01:27 | Running | FALSE | SHP2L |  | 4 | 2 | 14 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 35.841 V | 9.4988 kV | 128 µbar | 152 µbar | Carbon Dioxide: -0.0012 kV | 142 µbar | 10.223 V | 43.965 V | 32.257 V | 357 µbar/min | 10.236 V | 1.03E-007 mbar | 10 % | 1,121 µbar | 72 °C | µ-Volume | Pre | 35.0986 | 38.0421 | 48.9536 | 10.3981 | 11.0916 | 14.8351 | -2.4053 | -27.2262 | -2.1429 | 0.18849 | 0.066642 | -6.4448 | 0.057082 | 0.021575 | -1.9575 | 0.22993 | -6.4469 | 0.056768
[32 empty] | Cycle 1 | 33.3992 | 36.2037 | 47.5768 | 9.9521 | 10.6157 | 14.1995 | -2.3074 | -6.5166
[32 empty] | Cycle 2 | 31.808 | 34.4824 | 45.3112 | 9.5296 | 10.1652 | 13.5971 | -2.2593 | -6.5068
[32 empty] | Cycle 3 | 30.3202 | 32.8723 | 43.1933 | 9.1293 | 9.739 | 13.0258 | -2.2191 | -6.4738
[32 empty] | Cycle 4 | 28.9188 | 31.3567 | 41.1991 | 8.7492 | 9.3336 | 12.4837 | -2.1078 | -6.4381
[32 empty] | Cycle 5 | 27.5969 | 29.9248 | 39.317 | 8.389 | 8.9494 | 11.9698 | -2.0453 | -6.4234
[32 empty] | Cycle 6 | 26.3473 | 28.5726 | 37.5387 | 8.0474 | 8.5847 | 11.4827 | -1.9443 | -6.3844
[32 empty] | Cycle 7 | 25.1822 | 27.312 | 35.8796 | 7.7224 | 8.2382 | 11.019 | -1.8544 | -6.3702
[32 empty] | Cycle 8 |  |  |  | 7.4141 | 7.9093 | 10.5793
5 | GIRMS\IRMS-operator | 2026-08-05 00:49 | 2026-08-05 02:09 | Running | FALSE | MD23-3677Q - N. dutertrei | 976-978 | 5 | 1 | 15 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 25.678 V | 9.4990 kV | 137 µbar | 142 µbar | Carbon Dioxide: -0.0010 kV | 147 µbar | 11.128 V | 30.506 V | 22.956 V | 147 µbar/min | 2.792 V | 1.07E-007 mbar | 10 % | 1,104 µbar | 72 °C | µ-Volume | Pre | 24.6785 | 26.8313 | 35.4037 | 11.3058 | 12.0608 | 16.1307 | 0.55651 | 0.55175 | 0.67694 | 0.08042 | 0.028433 | 0.60494 | 0.03726 | 0.013173 | 0.70199 | 0.084906 | 0.60406 | 0.037148
[32 empty] | Cycle 1 | 23.6002 | 25.6618 | 33.8578 | 10.8071 | 11.53 | 15.4193 | 0.61006 | 0.55933
[32 empty] | Cycle 2 | 22.5902 | 24.5644 | 32.4101 | 10.3356 | 11.0271 | 14.7471 | 0.64021 | 0.58767
[32 empty] | Cycle 3 | 21.6319 | 23.5235 | 31.0359 | 9.8912 | 10.5529 | 14.1128 | 0.68058 | 0.60102
[32 empty] | Cycle 4 | 20.7305 | 22.5437 | 29.7434 | 9.4692 | 10.1029 | 13.5113 | 0.66012 | 0.6135
[32 empty] | Cycle 5 | 19.8764 | 21.6167 | 28.519 | 9.0704 | 9.678 | 12.942 | 0.70625 | 0.65475
[32 empty] | Cycle 6 | 19.0704 | 20.7411 | 27.3627 | 8.6926 | 9.275 | 12.403 | 0.74791 | 0.64029
[32 empty] | Cycle 7 | 18.3068 | 19.9121 | 26.2675 | 8.3353 | 8.8937 | 11.8936 | 0.81389 | 0.63122
[32 empty] | Cycle 8 |  |  |  | 7.9967 | 8.5327 | 11.4108
6 | GIRMS\IRMS-operator | 2026-08-05 01:27 | 2026-08-05 02:38 | Running | FALSE | MD23-3677Q - N. dutertrei | 972-974 | 6 | 2 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 23.805 V | 9.4988 kV | 132 µbar | 145 µbar | Carbon Dioxide: -0.0012 kV | 154 µbar | 10.817 V | 27.972 V | 21.829 V | 293 µbar/min | 10.833 V | 1.05E-007 mbar | 10 % | 1,097 µbar | 72 °C | µ-Volume | Pre | 23.2868 | 25.3218 | 33.4046 | 10.9931 | 11.7286 | 15.6847 | 0.63299 | 0.47387 | 0.78252 | 0.10153 | 0.035895 | 0.49219 | 0.022579 | 0.0079828 | 0.81913 | 0.1079 | 0.49095 | 0.0224
[32 empty] | Cycle 1 | 22.343 | 24.2968 | 32.0512 | 10.512 | 11.2154 | 14.9983 | 0.68349 | 0.47451
[32 empty] | Cycle 2 | 21.4471 | 23.324 | 30.7666 | 10.0585 | 10.7314 | 14.3516 | 0.72444 | 0.47027
[32 empty] | Cycle 3 | 20.5953 | 22.3987 | 29.5455 | 9.6283 | 10.2729 | 13.738 | 0.76904 | 0.48366
[32 empty] | Cycle 4 | 19.7905 | 21.5246 | 28.391 | 9.2232 | 9.8404 | 13.1602 | 0.79273 | 0.48001
[32 empty] | Cycle 5 | 19.0256 | 20.6944 | 27.295 | 8.8384 | 9.4306 | 12.6111 | 0.84511 | 0.52115
[32 empty] | Cycle 6 | 18.294 | 19.8991 | 26.2457 | 8.4737 | 9.0414 | 12.091 | 0.876 | 0.50846
[32 empty] | Cycle 7 | 17.5955 | 19.1409 | 25.2444 | 8.1278 | 8.6722 | 11.5976 | 0.93638 | 0.52559
[32 empty] | Cycle 8 |  |  |  | 7.7987 | 8.3215 | 11.1282
7 | GIRMS\IRMS-operator | 2026-08-05 02:09 | 2026-08-05 03:11 | Running | FALSE | MD23-3677Q - N. dutertrei | 968-970 | 7 | 1 | 16 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 21.972 V | 9.4987 kV | 137 µbar | 142 µbar | Carbon Dioxide: -0.0013 kV | 140 µbar | 10.518 V | 25.750 V | 20.083 V | 342 µbar/min | 10.531 V | 1.04E-007 mbar | 10 % | 1,104 µbar | 72 °C | µ-Volume | Pre | 21.4132 | 23.2865 | 30.7104 | 10.6949 | 11.4097 | 15.2591 | 0.75249 | 0.2615 | 0.8386 | 0.08251 | 0.029172 | 0.28416 | 0.022021 | 0.0077855 | 0.88682 | 0.087561 | 0.28257 | 0.021878
[32 empty] | Cycle 1 | 20.5313 | 22.3278 | 29.4462 | 10.2318 | 10.9163 | 14.5984 | 0.72617 | 0.26249
[32 empty] | Cycle 2 | 19.6917 | 21.416 | 28.2422 | 9.7869 | 10.4419 | 13.9641 | 0.76068 | 0.25383
[32 empty] | Cycle 3 | 18.9039 | 20.5617 | 27.1134 | 9.3725 | 10.0001 | 13.3729 | 0.86464 | 0.28228
[32 empty] | Cycle 4 | 18.1578 | 19.7497 | 26.0442 | 8.9791 | 9.5803 | 12.8118 | 0.85285 | 0.30349
[32 empty] | Cycle 5 | 17.4457 | 18.9761 | 25.0229 | 8.6061 | 9.1822 | 12.2797 | 0.89285 | 0.30195
[32 empty] | Cycle 6 | 16.7674 | 18.2403 | 24.0503 | 8.2522 | 8.805 | 11.7748 | 0.95362 | 0.3006
[32 empty] | Cycle 7 | 16.1188 | 17.5343 | 23.1204 | 7.9172 | 8.4479 | 11.297 | 0.9055 | 0.30712
[32 empty] | Cycle 8 |  |  |  | 7.599 | 8.1083 | 10.843
8 | GIRMS\IRMS-operator | 2026-08-05 02:38 | 2026-08-05 03:48 | Running | FALSE | MD23-3677Q - N. dutertrei | 964-966 | 8 | 2 | 16 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 19.335 V | 9.4987 kV | 132 µbar | 135 µbar | Carbon Dioxide: -0.0013 kV | 140 µbar | 10.206 V | 22.771 V | 17.657 V | 357 µbar/min | 10.218 V | 1.01E-007 mbar | 10 % | 1,082 µbar | 72 °C | µ-Volume | Pre | 18.8934 | 20.5471 | 27.1045 | 10.3799 | 11.0744 | 14.8097 | 0.77356 | 0.55052 | 0.84654 | 0.045182 | 0.015974 | 0.58333 | 0.025674 | 0.009077 | 0.88426 | 0.047682 | 0.58204 | 0.025629
[32 empty] | Cycle 1 | 18.1258 | 19.7138 | 26.0043 | 9.9337 | 10.598 | 14.1734 | 0.82327 | 0.56062
[32 empty] | Cycle 2 | 17.3987 | 18.923 | 24.9619 | 9.5104 | 10.1472 | 13.5698 | 0.80198 | 0.58363
[32 empty] | Cycle 3 | 16.7075 | 18.1725 | 23.9699 | 9.1099 | 9.7196 | 12.9982 | 0.84771 | 0.56425
[32 empty] | Cycle 4 | 16.0516 | 17.4595 | 23.0294 | 8.7296 | 9.3145 | 12.4559 | 0.85181 | 0.58272
[32 empty] | Cycle 5 | 15.4289 | 16.7829 | 22.1366 | 8.3691 | 8.9296 | 11.9414 | 0.89259 | 0.59923
[32 empty] | Cycle 6 | 14.838 | 16.1404 | 21.2889 | 8.0276 | 8.5655 | 11.4543 | 0.90459 | 0.59464
[32 empty] | Cycle 7 | 14.2792 | 15.533 | 20.4882 | 7.7048 | 8.2209 | 10.9937 | 0.8768 | 0.63104
[32 empty] | Cycle 8 |  |  |  | 7.3976 | 7.8941 | 10.5556
9 | GIRMS\IRMS-operator | 2026-08-05 03:11 | 2026-08-05 04:32 | Running | FALSE | SHP2L |  | 9 | 1 | 17 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 22.458 V | 9.4990 kV | 125 µbar | 140 µbar | Carbon Dioxide: -0.0010 kV | 137 µbar | 11.127 V | 26.697 V | 20.143 V | 342 µbar/min | 2.789 V | 1.07E-007 mbar | 10 % | 1,095 µbar | 72 °C | µ-Volume | Pre | 21.6472 | 23.4885 | 30.8454 | 11.3044 | 12.0602 | 16.1292 | -1.4794 | -6.2196 | -1.3709 | 0.08768 | 0.030999 | -6.1858 | 0.022502 | 0.0079557 | -1.2379 | 0.093101 | -6.1893 | 0.022356
[32 empty] | Cycle 1 | 20.7257 | 22.4903 | 29.5333 | 10.8045 | 11.5272 | 15.4157 | -1.4675 | -6.1904
[32 empty] | Cycle 2 | 19.8544 | 21.5458 | 28.292 | 10.3333 | 11.0256 | 14.7438 | -1.4428 | -6.2037
[32 empty] | Cycle 3 | 19.0318 | 20.654 | 27.1208 | 9.8877 | 10.5494 | 14.1082 | -1.3798 | -6.1834
[32 empty] | Cycle 4 | 18.2517 | 19.8085 | 26.0089 | 9.4683 | 10.1023 | 13.51 | -1.3604 | -6.1941
[32 empty] | Cycle 5 | 17.5135 | 19.0087 | 24.9572 | 9.071 | 9.6789 | 12.9431 | -1.3121 | -6.1854
[32 empty] | Cycle 6 | 16.8143 | 18.2501 | 23.9618 | 8.695 | 9.2775 | 12.4064 | -1.2775 | -6.1498
[32 empty] | Cycle 7 | 16.151 | 17.531 | 23.0168 | 8.3371 | 8.8954 | 11.8962 | -1.2478 | -6.1597
[32 empty] | Cycle 8 |  |  |  | 7.9972 | 8.5333 | 11.4113
10 | GIRMS\IRMS-operator | 2026-08-05 03:48 | 2026-08-05 05:01 | Running | FALSE | MD23-3677Q - N. dutertrei | 960-962 | 10 | 2 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 19.108 V | 9.4988 kV | 125 µbar | 137 µbar | Carbon Dioxide: -0.0012 kV | 147 µbar | 10.826 V | 22.100 V | 17.610 V | 166 µbar/min | 10.839 V | 1.06E-007 mbar | 10 % | 1,085 µbar | 72 °C | µ-Volume | Pre | 18.6655 | 20.3014 | 26.7813 | 11.0039 | 11.7394 | 15.7002 | 0.91086 | 0.69116 | 0.97786 | 0.066407 | 0.023478 | 0.7081 | 0.018795 | 0.006645 | 1.0202 | 0.070504 | 0.70665 | 0.018696
[32 empty] | Cycle 1 | 17.9603 | 19.535 | 25.7694 | 10.523 | 11.2267 | 15.0139 | 0.90175 | 0.67882
[32 empty] | Cycle 2 | 17.2901 | 18.8071 | 24.8086 | 10.068 | 10.7418 | 14.365 | 0.90622 | 0.70345
[32 empty] | Cycle 3 | 16.6474 | 18.1087 | 23.8866 | 9.6375 | 10.2831 | 13.7507 | 0.96369 | 0.70877
[32 empty] | Cycle 4 | 16.0344 | 17.443 | 23.0074 | 9.2292 | 9.8465 | 13.1684 | 1.0299 | 0.70449
[32 empty] | Cycle 5 | 15.4509 | 16.8086 | 22.1706 | 8.8429 | 9.4352 | 12.6174 | 1.006 | 0.7138
[32 empty] | Cycle 6 | 14.8927 | 16.2026 | 21.3699 | 8.4774 | 9.0451 | 12.0959 | 1.0708 | 0.72492
[32 empty] | Cycle 7 | 14.3492 | 15.6115 | 20.5909 | 8.1312 | 8.6761 | 11.6021 | 1.0336 | 0.73937
[32 empty] | Cycle 8 |  |  |  | 7.8028 | 8.3262 | 11.1339
11 | GIRMS\IRMS-operator | 2026-08-05 04:33 | 2026-08-05 05:33 | Running | FALSE | MD23-3677Q - N. dutertrei | 956-958 | 11 | 1 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 22.133 V | 9.4987 kV | 132 µbar | 137 µbar | Carbon Dioxide: -0.0013 kV | 154 µbar | 10.526 V | 26.017 V | 20.218 V | 322 µbar/min | 10.541 V | 1.04E-007 mbar | 10 % | 1,112 µbar | 72 °C | µ-Volume | Pre | 21.5823 | 23.4729 | 30.9611 | 10.7027 | 11.4191 | 15.2707 | 0.82097 | 0.50374 | 0.93594 | 0.066185 | 0.0234 | 0.52985 | 0.022935 | 0.0081089 | 0.98189 | 0.07017 | 0.5283 | 0.022845
[32 empty] | Cycle 1 | 20.6921 | 22.5054 | 29.6838 | 10.2385 | 10.9233 | 14.6081 | 0.86873 | 0.50182
[32 empty] | Cycle 2 | 19.8503 | 21.5914 | 28.4777 | 9.7996 | 10.4551 | 13.9821 | 0.91868 | 0.53381
[32 empty] | Cycle 3 | 19.0459 | 20.7175 | 27.3242 | 9.3849 | 10.0131 | 13.3908 | 0.92894 | 0.52554
[32 empty] | Cycle 4 | 18.2877 | 19.8943 | 26.2366 | 8.9919 | 9.5942 | 12.8304 | 0.9868 | 0.5212
[32 empty] | Cycle 5 | 17.5669 | 19.11 | 25.203 | 8.6193 | 9.1966 | 12.2987 | 0.96924 | 0.5283
[32 empty] | Cycle 6 | 16.8778 | 18.3608 | 24.2155 | 8.2651 | 8.819 | 11.7936 | 0.97051 | 0.56478
[32 empty] | Cycle 7 | 16.2207 | 17.647 | 23.2728 | 7.9289 | 8.4603 | 11.3137 | 1.0236 | 0.55958
[32 empty] | Cycle 8 |  |  |  | 7.609 | 8.119 | 10.8576
12 | GIRMS\IRMS-operator | 2026-08-05 05:01 | 2026-08-05 06:10 | Running | FALSE | MD23-3677Q - N. dutertrei | 952-954 | 12 | 2 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 20.351 V | 9.4987 kV | 137 µbar | 135 µbar | Carbon Dioxide: -0.0013 kV | 147 µbar | 10.214 V | 24.096 V | 18.610 V | 151 µbar/min | 10.229 V | 1.02E-007 mbar | 10 % | 1,090 µbar | 72 °C | µ-Volume | Pre | 19.9272 | 21.6792 | 28.5996 | 10.3886 | 11.0834 | 14.8224 | 1.12 | 0.94063 | 1.1802 | 0.064316 | 0.022739 | 0.96784 | 0.022913 | 0.008101 | 1.2271 | 0.068244 | 0.96621 | 0.022838
[32 empty] | Cycle 1 | 19.0941 | 20.7734 | 27.4042 | 9.9394 | 10.6046 | 14.1819 | 1.1224 | 0.92863
[32 empty] | Cycle 2 | 18.3115 | 19.9222 | 26.2819 | 9.5154 | 10.1523 | 13.5772 | 1.1101 | 0.96524
[32 empty] | Cycle 3 | 17.5671 | 19.1134 | 25.2137 | 9.114 | 9.7245 | 13.0042 | 1.1469 | 0.96856
[32 empty] | Cycle 4 | 16.8674 | 18.3542 | 24.21 | 8.7348 | 9.3198 | 12.4634 | 1.252 | 0.98163
[32 empty] | Cycle 5 | 16.201 | 17.629 | 23.2541 | 8.3752 | 8.9364 | 11.9503 | 1.1905 | 0.99784
[32 empty] | Cycle 6 | 15.5691 | 16.9421 | 22.3473 | 8.0337 | 8.5727 | 11.4632 | 1.2274 | 0.98051
[32 empty] | Cycle 7 | 14.9799 | 16.3013 | 21.5021 | 7.7102 | 8.2269 | 11.0019 | 1.2722 | 0.97966
[32 empty] | Cycle 8 |  |  |  | 7.4028 | 7.8992 | 10.5637
13 | GIRMS\IRMS-operator | 2026-08-05 05:33 | 2026-08-05 06:54 | Running | FALSE | MD23-3677Q - N. dutertrei | 948-950 | 13 | 1 | 19 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 24.137 V | 9.4989 kV | 128 µbar | 132 µbar | Carbon Dioxide: -0.0011 kV | 132 µbar | 11.083 V | 28.766 V | 21.570 V | 352 µbar/min | 2.786 V | 1.08E-007 mbar | 10 % | 1,100 µbar | 72 °C | µ-Volume | Pre | 23.2164 | 25.2436 | 33.3104 | 11.262 | 12.0128 | 16.0687 | 0.78003 | 0.64219 | 0.93781 | 0.12183 | 0.043073 | 0.67658 | 0.033932 | 0.011997 | 0.97847 | 0.12921 | 0.67518 | 0.033715
[32 empty] | Cycle 1 | 22.1982 | 24.1381 | 31.8504 | 10.7648 | 11.4826 | 15.3596 | 0.81394 | 0.66281
[32 empty] | Cycle 2 | 21.2414 | 23.0989 | 30.4771 | 10.2969 | 10.9841 | 14.6918 | 0.8559 | 0.64538
[32 empty] | Cycle 3 | 20.3357 | 22.1155 | 29.1787 | 9.8538 | 10.5111 | 14.0599 | 0.9188 | 0.67023
[32 empty] | Cycle 4 | 19.482 | 21.1883 | 27.9543 | 9.4329 | 10.0627 | 13.4596 | 0.95163 | 0.66575
[32 empty] | Cycle 5 | 18.6784 | 20.3154 | 26.8017 | 9.0369 | 9.6402 | 12.8948 | 0.98239 | 0.66945
[32 empty] | Cycle 6 | 17.9202 | 19.4926 | 25.7149 | 8.6617 | 9.2404 | 12.3595 | 1.0693 | 0.72027
[32 empty] | Cycle 7 | 17.1979 | 18.7081 | 24.6791 | 8.3061 | 8.8607 | 11.852 | 1.1305 | 0.73655
[32 empty] | Cycle 8 |  |  |  | 7.9692 | 8.5016 | 11.3715
14 | GIRMS\IRMS-operator | 2026-08-05 06:10 | 2026-08-05 07:23 | Running | FALSE | SHP2L |  | 14 | 2 | 19 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 23.084 V | 9.4988 kV | 125 µbar | 135 µbar | Carbon Dioxide: -0.0012 kV | 137 µbar | 10.782 V | 27.243 V | 21.239 V | 288 µbar/min | 10.798 V | 1.05E-007 mbar | 10 % | 1,095 µbar | 72 °C | µ-Volume | Pre | 22.6538 | 24.5746 | 32.2822 | 10.9576 | 11.6877 | 15.6341 | -1.5056 | -6.1402 | -1.4117 | 0.064734 | 0.022887 | -6.1403 | 0.025607 | 0.0090533 | -1.2833 | 0.068591 | -6.1437 | 0.02553
[32 empty] | Cycle 1 | 21.7334 | 23.5797 | 30.9704 | 10.4792 | 11.1775 | 14.9517 | -1.4194 | -6.1592
[32 empty] | Cycle 2 | 20.8584 | 22.6315 | 29.7239 | 10.026 | 10.6954 | 14.3054 | -1.4584 | -6.1623
[32 empty] | Cycle 3 | 20.0335 | 21.7374 | 28.549 | 9.5976 | 10.2389 | 13.6942 | -1.4527 | -6.1624
[32 empty] | Cycle 4 | 19.2476 | 20.8855 | 27.4298 | 9.1942 | 9.8088 | 13.1192 | -1.4402 | -6.1567
[32 empty] | Cycle 5 | 18.5057 | 20.0829 | 26.373 | 8.8111 | 9.4005 | 12.5726 | -1.339 | -6.1379
[32 empty] | Cycle 6 | 17.783 | 19.2987 | 25.3438 | 8.4476 | 9.0126 | 12.0538 | -1.3371 | -6.0981
[32 empty] | Cycle 7 | 17.1018 | 18.5603 | 24.3731 | 8.1029 | 8.645 | 11.5618 | -1.3414 | -6.1056
[32 empty] | Cycle 8 |  |  |  | 7.7752 | 8.2961 | 11.0947
15 | GIRMS\IRMS-operator | 2026-08-05 06:54 | 2026-08-05 07:55 | Running | FALSE | MD23-3677Q - N. dutertrei | 944-946 | 15 | 1 | 20 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 20.515 V | 9.4987 kV | 130 µbar | 137 µbar | Carbon Dioxide: -0.0013 kV | 142 µbar | 10.485 V | 23.622 V | 18.649 V | 151 µbar/min | 10.501 V | 1.04E-007 mbar | 10 % | 1,092 µbar | 72 °C | µ-Volume | Pre | 19.8074 | 21.5401 | 28.4192 | 10.6613 | 11.3719 | 15.2118 | 0.92785 | 0.63206 | 1.0339 | 0.09804 | 0.034662 | 0.67523 | 0.023106 | 0.0081693 | 1.0814 | 0.10432 | 0.67362 | 0.022978
[32 empty] | Cycle 1 | 19.0247 | 20.6901 | 27.297 | 10.198 | 10.8782 | 14.5511 | 0.90605 | 0.65345
[32 empty] | Cycle 2 | 18.2841 | 19.8854 | 26.2354 | 9.7595 | 10.4117 | 13.9254 | 0.93342 | 0.68053
[32 empty] | Cycle 3 | 17.5797 | 19.1207 | 25.2247 | 9.3453 | 9.9688 | 13.3346 | 1.0403 | 0.67686
[32 empty] | Cycle 4 | 16.9092 | 18.3929 | 24.263 | 8.9533 | 9.551 | 12.7753 | 1.1018 | 0.67761
[32 empty] | Cycle 5 | 16.2723 | 17.7006 | 23.3497 | 8.5833 | 9.1562 | 12.2477 | 1.1183 | 0.69301
[32 empty] | Cycle 6 | 15.664 | 17.039 | 22.4772 | 8.2321 | 8.782 | 11.7464 | 1.0876 | 0.70701
[32 empty] | Cycle 7 | 15.0831 | 16.4081 | 21.6434 | 7.8981 | 8.4259 | 11.27 | 1.1561 | 0.68129
[32 empty] | Cycle 8 |  |  |  | 7.5812 | 8.0874 | 10.8179
16 | GIRMS\IRMS-operator | 2026-08-05 07:23 | 2026-08-05 08:33 | Running | FALSE | MD23-3677Q - N. dutertrei | 940-942 | 16 | 2 | 20 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 21.952 V | 9.4990 kV | 130 µbar | 140 µbar | Carbon Dioxide: -0.0010 kV | 150 µbar | 10.171 V | 25.751 V | 20.229 V | 337 µbar/min | 10.186 V | 1.01E-007 mbar | 10 % | 1,095 µbar | 72 °C | µ-Volume | Pre | 21.5281 | 23.4099 | 30.8739 | 10.3446 | 11.0342 | 14.7599 | 0.85196 | 0.16797 | 0.97588 | 0.071351 | 0.025227 | 0.20712 | 0.040281 | 0.014241 | 1.0366 | 0.074993 | 0.20514 | 0.040177
[32 empty] | Cycle 1 | 20.6702 | 22.4788 | 29.6438 | 9.8999 | 10.5604 | 14.1259 | 0.89821 | 0.15308
[32 empty] | Cycle 2 | 19.8561 | 21.5944 | 28.4778 | 9.4776 | 10.1101 | 13.5234 | 0.95635 | 0.1881
[32 empty] | Cycle 3 | 19.0848 | 20.7564 | 27.3715 | 9.0787 | 9.6842 | 12.9545 | 0.98214 | 0.18402
[32 empty] | Cycle 4 | 18.3514 | 19.9597 | 26.3201 | 8.7017 | 9.2826 | 12.4164 | 0.99086 | 0.20911
[32 empty] | Cycle 5 | 17.6511 | 19.199 | 25.3166 | 8.344 | 8.9012 | 11.9061 | 1.0296 | 0.24423
[32 empty] | Cycle 6 | 16.978 | 18.4674 | 24.3516 | 8.0039 | 8.5384 | 11.4205 | 1.0448 | 0.25454
[32 empty] | Cycle 7 | 16.3378 | 17.7719 | 23.434 | 7.6815 | 8.1948 | 10.9611 | 1.0531 | 0.2559
[32 empty] | Cycle 8 |  |  |  | 7.3751 | 7.8681 | 10.5238