## Sheet1
New Table
Sample | [12 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[32 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[32 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-08-21 14:08 | 2026-08-21 15:09 | Running | FALSE | SHP2L |  | 1 | 2 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 8.645 V | 9.4980 kV | 120 µbar | 113 µbar | Carbon Dioxide: -0.0020 kV | 242 µbar | 7.841 V | 9.579 V | 200 µbar/min | 2.803 V | 8.90E-008 mbar | 17 % | 951 µbar | 72 °C | µ-Volume |  | Pre | 7.6893 | 8.3466 | 10.9564 | 7.9477 | 8.4766 | 11.3366 | -0.80461 | -5.9368 | -0.81701 | 0.011575 | 0.0043749 | -5.9377 | 0.020573 | 0.0072737 | -0.65454 | 0.012438 | -5.9422 | 0.020627
[31 empty] | Cycle 1 | 7.4423 | 8.0785 | 10.6045 | 7.6256 | 8.1333 | 10.8765 | -0.81998 | -5.9196
[31 empty] | Cycle 2 | 7.2059 | 7.8222 | 10.2675 | 7.3211 | 7.8088 | 10.4428 | -0.79774 | -5.9478
[31 empty] | Cycle 3 | 6.9775 | 7.5743 | 9.9426 | 7.031 | 7.4994 | 10.0289 | -0.81821 | -5.9065
[31 empty] | Cycle 4 | 6.7573 | 7.3353 | 9.6289 | 6.7554 | 7.2056 | 9.6359 | -0.82385 | -5.9397
[31 empty] | Cycle 5 | 6.5469 | 7.1074 | 9.3291 | 6.4927 | 6.9253 | 9.2616 | -0.74285 | -5.9645
[31 empty] | Cycle 6 | 6.3441 | 6.8868 | 9.04 | 6.2419 | 6.6578 | 8.9038 | -0.82945 | -5.963
[31 empty] | Cycle 7 | 6.1484 | 6.6744 | 8.7615 | 6.0034 | 6.4036 | 8.5635 | -0.82519 | -5.9237
[31 empty] | Cycle 8 |  |  |  | 5.7759 | 6.1608 | 8.2391
2 | GIRMS\IRMS-operator | 2026-08-21 14:41 | 2026-08-21 15:35 | Running | FALSE | MD23-3677Q - N. dutertrei | 20-22 | 2 | 2 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 18.595 V | 9.4980 kV | 108 µbar | 120 µbar | Carbon Dioxide: -0.0020 kV | 184 µbar | 9.692 V | 21.404 V | 78 µbar/min | 7.698 V | 9.96E-008 mbar | 10 % | 1,026 µbar | 72 °C | µ-Volume | 17.073 V | Pre | 18.0792 | 19.6677 | 25.9154 | 9.8366 | 10.4905 | 14.0307 | 1.4725 | 0.031782 | 1.5415 | 0.036773 | 0.013001 | 0.084557 | 0.02796 | 0.0098855 | 1.6463 | 0.03858 | 0.081164 | 0.027928
[31 empty] | Cycle 1 | 17.4117 | 18.9427 | 24.9598 | 9.4249 | 10.0515 | 13.4433 | 1.5076 | 0.071486
[31 empty] | Cycle 2 | 16.7713 | 18.247 | 24.0423 | 9.0284 | 9.6291 | 12.8781 | 1.5288 | 0.081524
[31 empty] | Cycle 3 | 16.1698 | 17.5932 | 23.1806 | 8.6526 | 9.2285 | 12.342 | 1.5484 | 0.082243
[31 empty] | Cycle 4 | 15.582 | 16.9544 | 22.3385 | 8.2957 | 8.8479 | 11.8335 | 1.577 | 0.088203
[31 empty] | Cycle 5 | 15.0212 | 16.3447 | 21.5346 | 7.9587 | 8.4887 | 11.3527 | 1.5755 | 0.083931
[31 empty] | Cycle 6 | 14.4701 | 15.7459 | 20.7458 | 7.6366 | 8.1455 | 10.8935 | 1.5523 | 0.12771
[31 empty] | Cycle 7 | 13.9476 | 15.1777 | 19.9965 | 7.332 | 7.8214 | 10.4589 | 1.5698 | 0.10957
[31 empty] | Cycle 8 |  |  |  | 7.0419 | 7.5112 | 10.0454
3 | GIRMS\IRMS-operator | 2026-08-21 15:09 | 2026-08-21 16:06 | Running | FALSE | MD23-3677Q - N. dutertrei | 16-18 | 1 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 12.457 V | 9.4977 kV | 120 µbar | 118 µbar | Carbon Dioxide: -0.0023 kV | 135 µbar | 9.461 V | 14.113 V | 479 µbar/min | 9.473 V | 9.82E-008 mbar | 10 % | 1,016 µbar | 72 °C | µ-Volume | 11.486 V | Pre | 12.0865 | 13.1495 | 17.3277 | 9.6072 | 10.2458 | 13.7029 | 1.5465 | 0.17868 | 1.5541 | 0.019785 | 0.0069949 | 0.19933 | 0.016354 | 0.005782 | 1.6556 | 0.021187 | 0.19603 | 0.016372
[31 empty] | Cycle 1 | 11.6656 | 12.6918 | 16.7249 | 9.2028 | 9.8147 | 13.1268 | 1.5198 | 0.18891
[31 empty] | Cycle 2 | 11.2593 | 12.2503 | 16.1427 | 8.8179 | 9.4048 | 12.5778 | 1.5422 | 0.20439
[31 empty] | Cycle 3 | 10.8705 | 11.8275 | 15.5853 | 8.4528 | 9.0153 | 12.0571 | 1.558 | 0.21539
[31 empty] | Cycle 4 | 10.4973 | 11.4217 | 15.0504 | 8.1061 | 8.6456 | 11.5622 | 1.549 | 0.22849
[31 empty] | Cycle 5 | 10.1409 | 11.0341 | 14.5395 | 7.7772 | 8.2953 | 11.0934 | 1.5587 | 0.1972
[31 empty] | Cycle 6 | 9.7942 | 10.657 | 14.0426 | 7.4658 | 7.9628 | 10.6497 | 1.5754 | 0.18565
[31 empty] | Cycle 7 | 9.4615 | 10.2954 | 13.5656 | 7.1686 | 7.6462 | 10.2258 | 1.5832 | 0.19589
[31 empty] | Cycle 8 |  |  |  | 6.8862 | 7.345 | 9.8228
4 | GIRMS\IRMS-operator | 2026-08-21 15:35 | 2026-08-21 16:44 | Running | FALSE | MD23-3677Q - N. dutertrei | 8-10 | 2 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 9.038 V | 9.4976 kV | 113 µbar | 120 µbar | Carbon Dioxide: -0.0024 kV | 150 µbar | 8.514 V | 9.936 V | 313 µbar/min | 9.211 V | 9.12E-008 mbar | 12 % | 951 µbar | 72 °C | µ-Volume |  | Pre | 8.3105 | 9.0454 | 11.916 | 8.6452 | 9.2203 | 12.3311 | 1.94 | 0.31382 | 1.9177 | 0.032363 | 0.011442 | 0.32658 | 0.011612 | 0.0041056 | 2.0399 | 0.034402 | 0.3226 | 0.011586
[31 empty] | Cycle 1 | 8.0589 | 8.7716 | 11.5555 | 8.2883 | 8.8399 | 11.8224 | 1.9358 | 0.33514
[31 empty] | Cycle 2 | 7.8161 | 8.5076 | 11.2075 | 7.9515 | 8.4808 | 11.3417 | 1.9621 | 0.34829
[31 empty] | Cycle 3 | 7.5814 | 8.2521 | 10.871 | 7.631 | 8.1389 | 10.8848 | 1.9181 | 0.33259
[31 empty] | Cycle 4 | 7.3495 | 7.9999 | 10.5385 | 7.3274 | 7.8157 | 10.4519 | 1.9115 | 0.31822
[31 empty] | Cycle 5 | 7.1257 | 7.7563 | 10.2177 | 7.0363 | 7.505 | 10.0369 | 1.8792 | 0.31553
[31 empty] | Cycle 6 | 6.9114 | 7.5235 | 9.9106 | 6.7607 | 7.2117 | 9.6436 | 1.9303 | 0.32467
[31 empty] | Cycle 7 | 6.7048 | 7.2983 | 9.6144 | 6.4986 | 6.9316 | 9.2701 | 1.8643 | 0.32441
[31 empty] | Cycle 8 |  |  |  | 6.2488 | 6.666 | 8.9136
5 | GIRMS\IRMS-operator | 2026-08-21 16:06 | 2026-08-21 17:26 | Running | FALSE | MD23-3677Q - N. dutertrei | 0-2 | 1 | 4 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 13.847 V | 9.4980 kV | 120 µbar | 113 µbar | Carbon Dioxide: -0.0020 kV | 176 µbar | 9.871 V | 15.725 V | 415 µbar/min | 2.803 V | 1.00E-007 mbar | 10 % | 1,024 µbar | 72 °C | µ-Volume | 12.029 V | Pre | 12.5241 | 13.6289 | 17.962 | 10.0168 | 10.6827 | 14.2873 | 1.7981 | 0.58028 | 1.8362 | 0.034809 | 0.012307 | 0.57586 | 0.012399 | 0.0043837 | 1.9435 | 0.037502 | 0.57233 | 0.012456
[31 empty] | Cycle 1 | 12.0772 | 13.1431 | 17.3214 | 9.589 | 10.2265 | 13.6772 | 1.811 | 0.58738
[31 empty] | Cycle 2 | 11.6493 | 12.6779 | 16.7079 | 9.1836 | 9.7944 | 13.0991 | 1.8081 | 0.57909
[31 empty] | Cycle 3 | 11.2396 | 12.2332 | 16.1202 | 8.8008 | 9.3866 | 12.5534 | 1.9019 | 0.55537
[31 empty] | Cycle 4 | 10.849 | 11.8073 | 15.5604 | 8.4372 | 8.9986 | 12.0349 | 1.8335 | 0.56449
[31 empty] | Cycle 5 | 10.473 | 11.3987 | 15.0214 | 8.0928 | 8.6314 | 11.5439 | 1.8667 | 0.57327
[31 empty] | Cycle 6 | 10.1122 | 11.0061 | 14.5042 | 7.7655 | 8.2826 | 11.077 | 1.8482 | 0.59449
[31 empty] | Cycle 7 | 9.7667 | 10.6302 | 14.0084 | 7.455 | 7.9515 | 10.6341 | 1.822 | 0.57254
[31 empty] | Cycle 8 |  |  |  | 7.1593 | 7.6366 | 10.2123