## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Kiel IV Acid Temperature | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-07-15 11:26 | 2026-07-15 11:59 | Running | FALSE | MD23-3677Q - G. ruber | 1120-1122 | 1 | 2 | 2 | TRUE | Unknown |  | NA, NA, NA | 72 °C | [16 empty] | Pre
2 | GIRMS\IRMS-operator | 2026-07-15 13:33 | 2026-07-15 14:36 | Running | FALSE | MD23-3677Q - G. ruber | 1112-1114 | 2 | 2 | 3 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 72 °C |  | 14.974 V | 9.5002 kV | 123 µbar | 125 µbar | Carbon Dioxide: 0.0002 kV | 118 µbar | 14.556 V | 17.138 V | 308 µbar/min | 2.795 V | 1.31E-007 mbar | 11 % | 1,048 µbar | µ-Volume |  | Pre | 14.3019 | 15.5508 | 20.4873 | 14.8508 | 15.8357 | 21.1807 | 1.1057 | -0.55027 | 1.0977 | 0.027751 | 0.0098115 | -0.53071 | 0.016656 | 0.0058888 | 1.1942 | 0.029406 | -0.53376 | 0.016644
[32 empty] | Cycle 1 | 13.8009 | 15.0069 | 19.7707 | 14.1398 | 15.0782 | 20.1671 | 1.1277 | -0.51245
[32 empty] | Cycle 2 | 13.3225 | 14.4864 | 19.0852 | 13.4741 | 14.3687 | 19.2179 | 1.0841 | -0.53819
[32 empty] | Cycle 3 | 12.8627 | 13.9873 | 18.4267 | 12.8492 | 13.7026 | 18.327 | 1.1303 | -0.53557
[32 empty] | Cycle 4 | 12.4194 | 13.5055 | 17.7921 | 12.2588 | 13.0731 | 17.4848 | 1.1191 | -0.51356
[32 empty] | Cycle 5 | 11.9936 | 13.0429 | 17.1824 | 11.7039 | 12.4821 | 16.6935 | 1.0906 | -0.50904
[32 empty] | Cycle 6 | 11.5861 | 12.6 | 16.5986 | 11.1817 | 11.9257 | 15.949 | 1.0704 | -0.5376
[32 empty] | Cycle 7 | 11.1955 | 12.1753 | 16.0393 | 10.6889 | 11.4004 | 15.2464 | 1.0538 | -0.54902
[32 empty] | Cycle 8 |  |  |  | 10.2243 | 10.9052 | 14.5843
3 | GIRMS\IRMS-operator | 2026-07-15 14:11 | 2026-07-15 15:01 | Running | FALSE | SHP2L |  | 3 | 2 | 4 | TRUE | QC Standard | SHP2L | 0.002 V, 0.003 V, 0.003 V | 72 °C |  | 12.813 V | 9.4999 kV | 120 µbar | 103 µbar | Carbon Dioxide: -0.0001 kV | 132 µbar | 11.875 V | 14.627 V | 78 µbar/min | 14.086 V | 1.13E-007 mbar | 15 % | 999 µbar | µ-Volume |  | Pre | 11.6415 | 12.6352 | 16.5875 | 12.0889 | 12.8913 | 17.2419 | -0.7647 | -5.878 | -0.81429 | 0.038543 | 0.013627 | -5.8744 | 0.013035 | 0.0046085 | -0.65384 | 0.040987 | -5.8788 | 0.013003
[32 empty] | Cycle 1 | 11.2379 | 12.1973 | 16.0124 | 11.5435 | 12.3105 | 16.4638 | -0.80988 | -5.8773
[32 empty] | Cycle 2 | 10.8492 | 11.7761 | 15.4591 | 11.0311 | 11.7644 | 15.7332 | -0.77668 | -5.8675
[32 empty] | Cycle 3 | 10.4764 | 11.3711 | 14.9282 | 10.5475 | 11.2489 | 15.044 | -0.83053 | -5.8725
[32 empty] | Cycle 4 | 10.119 | 10.9838 | 14.4195 | 10.0897 | 10.7609 | 14.3912 | -0.79996 | -5.8545
[32 empty] | Cycle 5 | 9.7698 | 10.6041 | 13.9216 | 9.6577 | 10.3006 | 13.7754 | -0.89122 | -5.8927
[32 empty] | Cycle 6 | 9.4415 | 10.2486 | 13.4539 | 9.2493 | 9.8651 | 13.1931 | -0.82503 | -5.89
[32 empty] | Cycle 7 | 9.1184 | 9.8979 | 12.9939 | 8.8577 | 9.4476 | 12.6345 | -0.81632 | -5.8625
[32 empty] | Cycle 8 |  |  |  | 8.4922 | 9.0576 | 12.1132
4 | GIRMS\IRMS-operator | 2026-07-15 14:36 | 2026-07-15 15:36 | Running | FALSE | MD23-3677Q - G. ruber | 1100-1102 | 4 | 2 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 18.701 V | 9.4999 kV | 101 µbar | 106 µbar | Carbon Dioxide: -0.0001 kV | 125 µbar | 14.276 V | 21.678 V | 283 µbar/min | 11.507 V | 1.28E-007 mbar | 10 % | 992 µbar | µ-Volume | 17.237 V | Pre | 18.2602 | 19.8403 | 26.159 | 14.6036 | 15.5716 | 20.8274 | 0.39642 | -0.46198 | 0.40838 | 0.027434 | 0.0096994 | -0.4819 | 0.013615 | 0.0048136 | 0.45479 | 0.029537 | -0.48334 | 0.013651
[32 empty] | Cycle 1 | 17.5521 | 19.0713 | 25.1449 | 13.9056 | 14.8281 | 19.8322 | 0.3763 | -0.46745
[32 empty] | Cycle 2 | 16.8854 | 18.3484 | 24.19 | 13.253 | 14.1326 | 18.902 | 0.44589 | -0.48817
[32 empty] | Cycle 3 | 16.2443 | 17.6517 | 23.2719 | 12.6389 | 13.4779 | 18.0268 | 0.39584 | -0.49142
[32 empty] | Cycle 4 | 15.6377 | 16.9932 | 22.4037 | 12.0637 | 12.8655 | 17.2064 | 0.39135 | -0.47015
[32 empty] | Cycle 5 | 15.0602 | 16.3662 | 21.5762 | 11.5237 | 12.2897 | 16.4366 | 0.40349 | -0.49541
[32 empty] | Cycle 6 | 14.5125 | 15.7715 | 20.7919 | 11.0148 | 11.7476 | 15.7112 | 0.40264 | -0.49739
[32 empty] | Cycle 7 | 13.9798 | 15.1935 | 20.0289 | 10.5331 | 11.2338 | 15.024 | 0.45512 | -0.48322
[32 empty] | Cycle 8 |  |  |  | 10.0777 | 10.7483 | 14.3746
5 | GIRMS\IRMS-operator | 2026-07-15 15:01 | 2026-07-15 16:09 | Running | FALSE | MD23-3677Q - G. ruber | 1092-1094 | 5 | 2 | 6 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 15.892 V | 9.4997 kV | 101 µbar | 98 µbar | Carbon Dioxide: -0.0003 kV | 111 µbar | 13.736 V | 18.382 V | 269 µbar/min | 13.764 V | 1.25E-007 mbar | 10 % | 1,004 µbar | µ-Volume | 14.663 V | Pre | 15.5304 | 16.8809 | 22.2406 | 14.0567 | 14.9882 | 20.0477 | 0.80884 | -0.81305 | 0.80176 | 0.0081856 | 0.002894 | -0.81433 | 0.011017 | 0.0041639 | 0.88821 | 0.0086759 | -0.81701 | 0.01103
[32 empty] | Cycle 1 | 14.9451 | 16.2456 | 21.4034 | 13.395 | 14.2835 | 19.1041 | 0.79816 | -0.79865
[32 empty] | Cycle 2 | 14.3874 | 15.6401 | 20.6042 | 12.7738 | 13.622 | 18.219 | 0.7966 | -0.85675
[32 empty] | Cycle 3 | 13.8505 | 15.0569 | 19.8362 | 12.1888 | 12.9987 | 17.3853 | 0.79003 | -0.8287
[32 empty] | Cycle 4 | 13.3408 | 14.5034 | 19.1067 | 11.6396 | 12.4132 | 16.6016 | 0.80485 | -0.81468
[32 empty] | Cycle 5 | 12.8542 | 13.9747 | 18.4098 | 11.1233 | 11.863 | 15.8659 | 0.79894 | -0.81783
[32 empty] | Cycle 6 | 12.3887 | 13.469 | 17.7435 | 10.6372 | 11.345 | 15.1721 | 0.80003 | -0.80227
[32 empty] | Cycle 7 | 11.9352 | 12.9763 | 17.0941 | 10.1774 | 10.8546 | 14.5167 | 0.81663 | -0.82511
[32 empty] | Cycle 8 |  |  |  | 9.7436 | 10.3922 | 13.8984
6 | GIRMS\IRMS-operator | 2026-07-15 15:36 | 2026-07-15 16:59 | Running | FALSE | MD23-3677Q - G. ruber | 1088-1090 | 6 | 2 | 7 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 72 °C |  | 10.535 V | 9.5001 kV | 96 µbar | 101 µbar | Carbon Dioxide: 0.0001 kV | 101 µbar | 9.776 V | 11.915 V | 283 µbar/min | 2.783 V | 9.86E-008 mbar | 21 % | 931 µbar | µ-Volume |  | Pre | 9.5789 | 10.4166 | 13.7214 | 9.9205 | 10.5815 | 14.1512 | 0.91556 | -0.72524 | 0.92437 | 0.053974 | 0.019083 | -0.72929 | 0.021864 | 0.0077302 | 1.0161 | 0.057949 | -0.73216 | 0.021917
[32 empty] | Cycle 1 | 9.2713 | 10.0818 | 13.2808 | 9.4961 | 10.1296 | 13.5459 | 0.83 | -0.72701
[32 empty] | Cycle 2 | 8.9752 | 9.7603 | 12.857 | 9.0944 | 9.7015 | 12.973 | 0.89449 | -0.72137
[32 empty] | Cycle 3 | 8.6908 | 9.4513 | 12.4496 | 8.7142 | 9.2951 | 12.4309 | 0.96152 | -0.7259
[32 empty] | Cycle 4 | 8.4134 | 9.1499 | 12.0519 | 8.3545 | 8.9116 | 11.9177 | 0.98218 | -0.7673
[32 empty] | Cycle 5 | 8.146 | 8.8589 | 11.6701 | 8.0143 | 8.5488 | 11.4329 | 0.95148 | -0.68942
[32 empty] | Cycle 6 | 7.89 | 8.5808 | 11.3026 | 7.692 | 8.2051 | 10.9732 | 0.97986 | -0.74258
[32 empty] | Cycle 7 | 7.6437 | 8.3131 | 10.9499 | 7.3862 | 7.8789 | 10.5366 | 0.87987 | -0.73553
[32 empty] | Cycle 8 |  |  |  | 7.0944 | 7.5692 | 10.1206
7 | GIRMS\IRMS-operator | 2026-07-15 16:09 | 2026-07-15 17:19 | Running | FALSE | MD23-3677Q - G. ruber | 1080-1082 | 7 | 2 | 8 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 12.290 V | 9.4999 kV | 101 µbar | 93 µbar | Carbon Dioxide: -0.0001 kV | 111 µbar | 12.058 V | 14.045 V | 288 µbar/min | 9.573 V | 1.14E-007 mbar | 15 % | 965 µbar | µ-Volume |  | Pre | 11.8606 | 12.8967 | 16.9887 | 12.2716 | 13.087 | 17.5038 | 1.0131 | -0.72051 | 0.98933 | 0.028706 | 0.010149 | -0.71819 | 0.011775 | 0.0041632 | 1.0852 | 0.03056 | -0.7212 | 0.011764
[32 empty] | Cycle 1 | 11.4428 | 12.4425 | 16.3903 | 11.7078 | 12.4862 | 16.6997 | 0.94641 | -0.71958
[32 empty] | Cycle 2 | 11.0446 | 12.0101 | 15.8199 | 11.1846 | 11.9294 | 15.9532 | 0.96506 | -0.72471
[32 empty] | Cycle 3 | 10.6645 | 11.5968 | 15.276 | 10.6907 | 11.4025 | 15.2492 | 0.98037 | -0.71048
[32 empty] | Cycle 4 | 10.3026 | 11.2037 | 14.7579 | 10.2251 | 10.9058 | 14.5852 | 1.0197 | -0.70533
[32 empty] | Cycle 5 | 9.9528 | 10.8234 | 14.2566 | 9.7866 | 10.4381 | 13.96 | 1.0175 | -0.73024
[32 empty] | Cycle 6 | 9.6116 | 10.4525 | 13.7686 | 9.3727 | 9.9968 | 13.3695 | 1.0082 | -0.70077
[32 empty] | Cycle 7 | 9.2847 | 10.097 | 13.3001 | 8.98 | 9.5782 | 12.8099 | 0.96436 | -0.73391
[32 empty] | Cycle 8 |  |  |  | 8.6081 | 9.1821 | 12.2794
8 | GIRMS\IRMS-operator | 2026-07-15 16:59 | 2026-07-15 17:57 | Running | FALSE | SHP2L |  | 8 | 2 | 9 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 7.326 V | 9.4997 kV | 91 µbar | 96 µbar | Carbon Dioxide: -0.0003 kV | 111 µbar | 6.829 V | 8.143 V | 269 µbar/min | 11.676 V | 8.02E-008 mbar | 31 % | 887 µbar | µ-Volume |  | Pre | 6.7225 | 7.2984 | 9.5806 | 6.9359 | 7.3984 | 9.8939 | -0.75036 | -5.8106 | -0.81144 | 0.016683 | 0.0063054 | -5.8542 | 0.03688 | 0.013039 | -0.64337 | 0.028213 | -5.8587 | 0.036909
[32 empty] | Cycle 1 | 6.5215 | 7.0801 | 9.294 | 6.6649 | 7.1096 | 9.5071 | -0.81656 | -5.8442
[32 empty] | Cycle 2 | 6.3285 | 6.8708 | 9.0187 | 6.4077 | 6.8355 | 9.1405 | -0.78707 | -5.8982
[32 empty] | Cycle 3 | 6.1419 | 6.6679 | 8.7527 | 6.1629 | 6.5741 | 8.7915 | -0.81001 | -5.9066
[32 empty] | Cycle 4 | 5.9575 | 6.4679 | 8.4907 | 5.9287 | 6.3243 | 8.4572 | -0.80541 | -5.8096
[32 empty] | Cycle 5 | 5.7814 | 6.2767 | 8.2394 | 5.7046 | 6.0856 | 8.1377 | -0.83928 | -5.849
[32 empty] | Cycle 6 | 5.612 | 6.0931 | 7.9978 | 5.4912 | 5.8581 | 7.8333 | -0.80004 | -5.8777
[32 empty] | Cycle 7 | 5.4477 | 5.9145 | 7.7638 | 5.2871 | 5.6404 | 7.5423 | -0.82174 | -5.8379
[32 empty] | Cycle 8 |  |  |  | 5.0918 | 5.4319 | 7.2634
9 | GIRMS\IRMS-operator | 2026-07-15 17:19 | 2026-07-15 18:28 | Running | FALSE | MD23-3677Q - G. ruber | 1068-1070 | 9 | 2 | 10 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 72 °C |  | 10.981 V | 9.4998 kV | 101 µbar | 93 µbar | Carbon Dioxide: -0.0002 kV | 408 µbar | 10.839 V | 12.496 V | 283 µbar/min | 6.718 V | 1.06E-007 mbar | 16 % | 960 µbar | µ-Volume |  | Pre | 10.6461 | 11.5734 | 15.2494 | 11.0288 | 11.763 | 15.731 | 0.68577 | -0.69479 | 0.7067 | 0.012856 | 0.0048593 | -0.69709 | 0.0091432 | 0.0032326 | 0.78188 | 0.013701 | -0.69946 | 0.0091983
[32 empty] | Cycle 1 | 10.2796 | 11.1756 | 14.7247 | 10.5421 | 11.244 | 15.0369 | 0.71999 | -0.69607
[32 empty] | Cycle 2 | 9.934 | 10.801 | 14.2297 | 10.0834 | 10.755 | 14.383 | 0.80657 | -0.71108
[32 empty] | Cycle 3 | 9.6003 | 10.4373 | 13.7518 | 9.6525 | 10.2955 | 13.7686 | 0.70851 | -0.69882
[32 empty] | Cycle 4 | 9.2798 | 10.0889 | 13.2929 | 9.2454 | 9.8615 | 13.1875 | 0.69348 | -0.69533
[32 empty] | Cycle 5 | 8.9729 | 9.7556 | 12.8537 | 8.8602 | 9.4508 | 12.6387 | 0.7139 | -0.68169
[32 empty] | Cycle 6 | 8.6735 | 9.4302 | 12.4248 | 8.4942 | 9.0605 | 12.1165 | 0.71882 | -0.69143
[32 empty] | Cycle 7 | 8.3815 | 9.1127 | 12.0064 | 8.1472 | 8.6903 | 11.6217 | 0.70641 | -0.70747
[32 empty] | Cycle 8 |  |  |  | 7.8169 | 8.3383 | 11.1508
10 | GIRMS\IRMS-operator | 2026-07-15 17:57 | 2026-07-15 19:14 | Running | FALSE | MD23-3677Q - G. ruber | 1060-1062 | 10 | 2 | 11 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 72 °C |  | 13.400 V | 9.4999 kV | 93 µbar | 106 µbar | Carbon Dioxide: -0.0001 kV | 108 µbar | 13.251 V | 15.260 V | 122 µbar/min | 2.785 V | 1.21E-007 mbar | 13 % | 963 µbar | µ-Volume |  | Pre | 12.9577 | 14.0897 | 18.5646 | 13.499 | 14.3958 | 19.254 | 1.0255 | -0.46168 | 0.99042 | 0.040343 | 0.014263 | -0.45216 | 0.010831 | 0.0038295 | 1.0765 | 0.043118 | -0.45488 | 0.010832
[32 empty] | Cycle 1 | 12.4989 | 13.5912 | 17.9079 | 12.8682 | 13.7238 | 18.3546 | 1.0345 | -0.43131
[32 empty] | Cycle 2 | 12.0674 | 13.1216 | 17.2896 | 12.2769 | 13.093 | 17.511 | 0.97079 | -0.44758
[32 empty] | Cycle 3 | 11.6501 | 12.6687 | 16.6917 | 11.7236 | 12.5039 | 16.7223 | 1.0212 | -0.45714
[32 empty] | Cycle 4 | 11.253 | 12.2372 | 16.123 | 11.2024 | 11.9476 | 15.9788 | 1.0209 | -0.45409
[32 empty] | Cycle 5 | 10.8782 | 11.8295 | 15.5862 | 10.7108 | 11.4241 | 15.2778 | 0.96748 | -0.451
[32 empty] | Cycle 6 | 10.5156 | 11.4349 | 15.0671 | 10.2464 | 10.9291 | 14.6157 | 0.92347 | -0.44739
[32 empty] | Cycle 7 | 10.1655 | 11.0547 | 14.5652 | 9.8059 | 10.4593 | 13.9876 | 0.95959 | -0.46707
[32 empty] | Cycle 8 |  |  |  | 9.3895 | 10.0154 | 13.3936
11 | GIRMS\IRMS-operator | 2026-07-15 18:28 | 2026-07-15 19:38 | Running | FALSE | MD23-3677Q - G. ruber | 1056-1058 | 11 | 2 | 12 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 14.014 V | 9.4996 kV | 106 µbar | 96 µbar | Carbon Dioxide: -0.0004 kV | 111 µbar | 13.789 V | 16.090 V | 298 µbar/min | 12.883 V | 1.26E-007 mbar | 12 % | 995 µbar | µ-Volume |  | Pre | 13.5495 | 14.7263 | 19.4059 | 14.0697 | 15.0038 | 20.067 | 0.60957 | -0.76419 | 0.59449 | 0.021075 | 0.007451 | -0.77248 | 0.018857 | 0.0066669 | 0.66468 | 0.022359 | -0.77465 | 0.018863
[32 empty] | Cycle 1 | 13.0572 | 14.1917 | 18.7009 | 13.4059 | 14.2963 | 19.121 | 0.6186 | -0.78945
[32 empty] | Cycle 2 | 12.5889 | 13.6831 | 18.031 | 12.7852 | 13.6345 | 18.236 | 0.6268 | -0.75355
[32 empty] | Cycle 3 | 12.1384 | 13.1932 | 17.3855 | 12.2021 | 13.0131 | 17.4043 | 0.58659 | -0.7524
[32 empty] | Cycle 4 | 11.7121 | 12.7305 | 16.7752 | 11.6528 | 12.4276 | 16.6206 | 0.58871 | -0.76859
[32 empty] | Cycle 5 | 11.3025 | 12.2855 | 16.1888 | 11.1338 | 11.8748 | 15.8813 | 0.56974 | -0.78661
[32 empty] | Cycle 6 | 10.9059 | 11.8548 | 15.6205 | 10.6448 | 11.3534 | 15.1838 | 0.57851 | -0.80437
[32 empty] | Cycle 7 | 10.5234 | 11.4393 | 15.0734 | 10.1822 | 10.8606 | 14.5242 | 0.57739 | -0.7607
[32 empty] | Cycle 8 |  |  |  | 9.7456 | 10.3948 | 13.9012
12 | GIRMS\IRMS-operator | 2026-07-15 19:14 | 2026-07-15 20:15 | Running | FALSE | MD23-3677Q - G. ruber | 1048-1050 | 12 | 2 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 13.509 V | 9.4997 kV | 96 µbar | 103 µbar | Carbon Dioxide: -0.0003 kV | 152 µbar | 13.507 V | 15.410 V | 230 µbar/min | 13.288 V | 1.24E-007 mbar | 11 % | 968 µbar | µ-Volume |  | Pre | 13.2079 | 14.3566 | 18.9165 | 13.8011 | 14.7189 | 19.6835 | 0.69002 | -0.75414 | 0.70424 | 0.031587 | 0.011168 | -0.74513 | 0.021809 | 0.0077108 | 0.7811 | 0.033628 | -0.74752 | 0.021817
[32 empty] | Cycle 1 | 12.7477 | 13.8568 | 18.2583 | 13.1559 | 14.0291 | 18.7643 | 0.76379 | -0.73895
[32 empty] | Cycle 2 | 12.3068 | 13.3777 | 17.6269 | 12.5487 | 13.382 | 17.8984 | 0.7302 | -0.73713
[32 empty] | Cycle 3 | 11.8858 | 12.9209 | 17.0243 | 11.9766 | 12.7728 | 17.0825 | 0.72303 | -0.72932
[32 empty] | Cycle 4 | 11.4808 | 12.4805 | 16.4449 | 11.4378 | 12.1991 | 16.3143 | 0.67841 | -0.71386
[32 empty] | Cycle 5 | 11.0921 | 12.0582 | 15.8877 | 10.9304 | 11.6579 | 15.5911 | 0.68684 | -0.74879
[32 empty] | Cycle 6 | 10.716 | 11.6497 | 15.3493 | 10.4518 | 11.1477 | 14.9084 | 0.67243 | -0.75037
[32 empty] | Cycle 7 | 10.3549 | 11.2572 | 14.8319 | 10.002 | 10.6685 | 14.2673 | 0.68917 | -0.78847
[32 empty] | Cycle 8 |  |  |  | 9.5772 | 10.2147 | 13.6614
13 | GIRMS\IRMS-operator | 2026-07-15 19:38 | 2026-07-15 20:49 | Running | FALSE | SHP2L |  | 13 | 2 | 14 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 9.023 V | 9.4996 kV | 106 µbar | 98 µbar | Carbon Dioxide: -0.0004 kV | 108 µbar | 8.379 V | 10.176 V | 283 µbar/min | 13.046 V | 9.03E-008 mbar | 22 % | 953 µbar | µ-Volume |  | Pre | 8.2252 | 8.9299 | 11.7213 | 8.5159 | 9.0834 | 12.1476 | -0.72293 | -5.9018 | -0.79477 | 0.01858 | 0.0070225 | -5.9276 | 0.021372 | 0.0075562 | -0.63084 | 0.019698 | -5.9322 | 0.021358
[32 empty] | Cycle 1 | 7.9613 | 8.6429 | 11.3451 | 8.1679 | 8.7127 | 11.6515 | -0.7928 | -5.9301
[32 empty] | Cycle 2 | 7.7083 | 8.3682 | 10.9849 | 7.8376 | 8.36 | 11.1803 | -0.82085 | -5.9193
[32 empty] | Cycle 3 | 7.4624 | 8.1012 | 10.6341 | 7.5235 | 8.0258 | 10.7328 | -0.82111 | -5.9629
[32 empty] | Cycle 4 | 7.2219 | 7.8403 | 10.2919 | 7.2241 | 7.7058 | 10.3054 | -0.78452 | -5.902
[32 empty] | Cycle 5 | 6.9885 | 7.5872 | 9.9591 | 6.9393 | 7.4024 | 9.8992 | -0.78603 | -5.9349
[32 empty] | Cycle 6 | 6.7637 | 7.3438 | 9.6387 | 6.6678 | 7.1129 | 9.5119 | -0.77603 | -5.949
[32 empty] | Cycle 7 | 6.5499 | 7.1121 | 9.3342 | 6.4098 | 6.8385 | 9.1439 | -0.78207 | -5.9209
[32 empty] | Cycle 8 |  |  |  | 6.1651 | 6.5775 | 8.7948
14 | GIRMS\IRMS-operator | 2026-07-15 20:15 | 2026-07-15 21:37 | Running | FALSE | MD23-3677Q - G. ruber | 1036-1038 | 14 | 2 | 15 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 72 °C |  | 14.460 V | 9.4997 kV | 98 µbar | 106 µbar | Carbon Dioxide: -0.0003 kV | 113 µbar | 14.008 V | 16.561 V | 293 µbar/min | 2.785 V | 1.26E-007 mbar | 12 % | 973 µbar | µ-Volume |  | Pre | 13.7603 | 14.965 | 19.7105 | 14.2799 | 15.2277 | 20.3666 | 1.278 | -0.60935 | 1.2363 | 0.030353 | 0.010731 | -0.63191 | 0.014848 | 0.0052494 | 1.3462 | 0.03239 | -0.63538 | 0.014852
[32 empty] | Cycle 1 | 13.2714 | 14.4334 | 19.0102 | 13.6029 | 14.5059 | 19.4016 | 1.266 | -0.62967
[32 empty] | Cycle 2 | 12.8034 | 13.9248 | 18.34 | 12.9685 | 13.83 | 18.4971 | 1.2467 | -0.64972
[32 empty] | Cycle 3 | 12.3617 | 13.4447 | 17.7077 | 12.3728 | 13.1951 | 17.6479 | 1.23 | -0.64957
[32 empty] | Cycle 4 | 11.9416 | 12.988 | 17.1063 | 11.8126 | 12.5985 | 16.8495 | 1.2157 | -0.64538
[32 empty] | Cycle 5 | 11.5371 | 12.5487 | 16.5271 | 11.2845 | 12.035 | 16.0961 | 1.2537 | -0.62784
[32 empty] | Cycle 6 | 11.1475 | 12.125 | 15.9693 | 10.786 | 11.504 | 15.385 | 1.2127 | -0.62269
[32 empty] | Cycle 7 | 10.773 | 11.7177 | 15.4329 | 10.3148 | 11.0018 | 14.7133 | 1.1874 | -0.62109
[32 empty] | Cycle 8 |  |  |  | 9.8701 | 10.5277 | 14.0788
15 | GIRMS\IRMS-operator | 2026-07-15 20:49 | 2026-07-15 21:57 | Running | FALSE | MD23-3677Q - G. ruber | 1032-1034 | 15 | 1 | 16 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 0.008 V | 9.4995 kV | 106 µbar | 91 µbar | Carbon Dioxide: -0.0005 kV | 242 µbar | 2.697 V | 0.008 V | 991 µbar/min | 13.598 V | 4.49E-008 mbar | 100 % | 98 µbar | µ-Volume | 0.014 V | Pre | 0.0083579 | 0.0089209 | 0.011797 | 2.7798 | 2.9655 | 3.9658 | -17.6922 | -15.4787 | -18.5197 | 1.0593 | 0.37451 | -19.7364 | 2.9748 | 1.0517 | -19.0834 | 1.073 | -19.716 | 2.9766
[32 empty] | Cycle 1 | 0.0078322 | 0.0083657 | 0.011034 | 2.6831 | 2.8623 | 3.8277 | -17.012 | -17.3081
[32 empty] | Cycle 2 | 0.0075672 | 0.0080576 | 0.010649 | 2.5938 | 2.7671 | 3.7002 | -20.0343 | -18.3174
[32 empty] | Cycle 3 | 0.007363 | 0.0078547 | 0.010355 | 2.5088 | 2.6763 | 3.5789 | -18.1908 | -18.9774
[32 empty] | Cycle 4 | 0.0071971 | 0.0076768 | 0.010117 | 2.4273 | 2.5893 | 3.4627 | -18.3214 | -19.3954
[32 empty] | Cycle 5 | 0.0070434 | 0.0075129 | 0.0098841 | 2.3485 | 2.5054 | 3.3501 | -18.4224 | -21.0749
[32 empty] | Cycle 6 | 0.0069025 | 0.0073634 | 0.0096721 | 2.2721 | 2.4242 | 3.2412 | -18.4053 | -22.555
[32 empty] | Cycle 7 | 0.0067545 | 0.0071929 | 0.009443 | 2.1984 | 2.3457 | 3.1361 | -20.0793 | -24.7841
[32 empty] | Cycle 8 |  |  |  | 2.1273 | 2.2696 | 3.0347
16 | GIRMS\IRMS-operator | 2026-07-15 21:37 | 2026-07-15 22:35 | Running | FALSE | MD23-3677Q - G. ruber | 1028-1030 | 16 | 2 | 16 | TRUE | Unknown |  | 0.002 V, 0.001 V, 0.002 V | 72 °C |  | 13.769 V | 9.4997 kV | 96 µbar | 103 µbar | Carbon Dioxide: -0.0003 kV | 154 µbar | 13.284 V | 15.683 V | 283 µbar/min | 2.681 V | 1.21E-007 mbar | 12 % | 955 µbar | µ-Volume |  | Pre | 13.0706 | 14.2186 | 18.7263 | 13.5464 | 14.446 | 19.3214 | 1.4749 | -0.45975 | 1.4464 | 0.02751 | 0.0097263 | -0.45388 | 0.01012 | 0.0035779 | 1.5644 | 0.029382 | -0.45763 | 0.010121
[32 empty] | Cycle 1 | 12.6168 | 13.7253 | 18.0765 | 12.9144 | 13.7728 | 18.4205 | 1.4651 | -0.44416
[32 empty] | Cycle 2 | 12.1791 | 13.2492 | 17.4494 | 12.322 | 13.1412 | 17.5751 | 1.4501 | -0.44232
[32 empty] | Cycle 3 | 11.7614 | 12.7954 | 16.8513 | 11.7624 | 12.5448 | 16.7774 | 1.4745 | -0.44488
[32 empty] | Cycle 4 | 11.3601 | 12.3583 | 16.2766 | 11.2367 | 11.9843 | 16.0278 | 1.3988 | -0.44759
[32 empty] | Cycle 5 | 10.9757 | 11.9408 | 15.7259 | 10.7407 | 11.456 | 15.3207 | 1.4167 | -0.46136
[32 empty] | Cycle 6 | 10.5971 | 11.5292 | 15.1838 | 10.2715 | 10.9556 | 14.6515 | 1.4359 | -0.46759
[32 empty] | Cycle 7 | 10.2434 | 11.1446 | 14.6773 | 9.8299 | 10.4848 | 14.0225 | 1.4551 | -0.46336
[32 empty] | Cycle 8 |  |  |  | 9.4131 | 10.0399 | 13.4273
17 | GIRMS\IRMS-operator | 2026-07-15 21:57 | 2026-07-15 23:06 | Running | FALSE | MD23-3677Q - G. ruber | 1024-1026 | 17 | 2 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 17.263 V | 9.4995 kV | 106 µbar | 93 µbar | Carbon Dioxide: -0.0005 kV | 118 µbar | 13.905 V | 20.072 V | 83 µbar/min | 12.843 V | 1.26E-007 mbar | 10 % | 997 µbar | µ-Volume | 15.868 V | Pre | 16.8536 | 18.3281 | 24.1376 | 14.2205 | 15.1641 | 20.2823 | 1.2181 | -0.77659 | 1.2354 | 0.019085 | 0.0067474 | -0.78317 | 0.0097933 | 0.0037015 | 1.351 | 0.020708 | -0.7868 | 0.0098178
[32 empty] | Cycle 1 | 16.1964 | 17.6141 | 23.1967 | 13.5479 | 14.4475 | 19.323 | 1.211 | -0.78596
[32 empty] | Cycle 2 | 15.5731 | 16.937 | 22.3037 | 12.9187 | 13.7771 | 18.4262 | 1.2509 | -0.82449
[32 empty] | Cycle 3 | 14.983 | 16.2952 | 21.4598 | 12.3282 | 13.1471 | 17.5845 | 1.2195 | -0.77075
[32 empty] | Cycle 4 | 14.42 | 15.6842 | 20.6535 | 11.7707 | 12.5536 | 16.7891 | 1.2512 | -0.77491
[32 empty] | Cycle 5 | 13.8812 | 15.0982 | 19.882 | 11.2441 | 11.9923 | 16.0383 | 1.224 | -0.78754
[32 empty] | Cycle 6 | 13.3629 | 14.535 | 19.1398 | 10.7475 | 11.4628 | 15.3303 | 1.2481 | -0.79957
[32 empty] | Cycle 7 | 12.8609 | 13.9895 | 18.4216 | 10.2782 | 10.9626 | 14.6612 | 1.2602 | -0.78686
[32 empty] | Cycle 8 |  |  |  | 9.8356 | 10.4907 | 14.0305
18 | GIRMS\IRMS-operator | 2026-07-15 22:35 | 2026-07-15 23:52 | Running | FALSE | MD23-3677Q - G. ruber | 1020-1022 | 18 | 1 | 18 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 72 °C |  | 14.123 V | 9.4998 kV | 91 µbar | 101 µbar | Carbon Dioxide: -0.0002 kV | 145 µbar | 13.663 V | 16.130 V | 249 µbar/min | 2.787 V | 1.24E-007 mbar | 12 % | 948 µbar | µ-Volume |  | Pre | 13.4279 | 14.6094 | 19.2328 | 13.9195 | 14.8468 | 19.8543 | 1.4282 | -0.76017 | 1.3951 | 0.02993 | 0.010582 | -0.77708 | 0.012461 | 0.0044057 | 1.5215 | 0.03181 | -0.78107 | 0.012443
[32 empty] | Cycle 1 | 12.9484 | 14.0882 | 18.5462 | 13.263 | 14.1473 | 18.9178 | 1.4285 | -0.7659
[32 empty] | Cycle 2 | 12.4982 | 13.5986 | 17.9012 | 12.6504 | 13.4942 | 18.0446 | 1.4192 | -0.79644
[32 empty] | Cycle 3 | 12.0678 | 13.1306 | 17.2854 | 12.0763 | 12.8822 | 17.2259 | 1.4066 | -0.76579
[32 empty] | Cycle 4 | 11.6559 | 12.6826 | 16.6957 | 11.5333 | 12.3035 | 16.4514 | 1.3818 | -0.77816
[32 empty] | Cycle 5 | 11.2602 | 12.2524 | 16.1292 | 11.0211 | 11.7574 | 15.7217 | 1.3796 | -0.77813
[32 empty] | Cycle 6 | 10.8816 | 11.8407 | 15.5867 | 10.5374 | 11.2415 | 15.0312 | 1.3691 | -0.78839
[32 empty] | Cycle 7 | 10.5149 | 11.4418 | 15.0616 | 10.0801 | 10.7543 | 14.3793 | 1.3477 | -0.78369
[32 empty] | Cycle 8 |  |  |  | 9.6467 | 10.2921 | 13.761
19 | GIRMS\IRMS-operator | 2026-07-15 23:06 | 2026-07-16 00:16 | Running | FALSE | MD23-3677Q - G. ruber | 1016-1018 | 19 | 2 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 12.905 V | 9.4995 kV | 101 µbar | 91 µbar | Carbon Dioxide: -0.0005 kV | 101 µbar | 12.875 V | 14.780 V | 288 µbar/min | 13.261 V | 1.19E-007 mbar | 13 % | 963 µbar | µ-Volume |  | Pre | 12.6225 | 13.7298 | 18.0816 | 13.1255 | 13.9997 | 18.7215 | 1.2069 | -0.60926 | 1.1692 | 0.035954 | 0.012712 | -0.60348 | 0.011617 | 0.0041071 | 1.2733 | 0.03853 | -0.60677 | 0.01164
[32 empty] | Cycle 1 | 12.1721 | 13.2405 | 17.4369 | 12.5189 | 13.3533 | 17.8561 | 1.2047 | -0.601
[32 empty] | Cycle 2 | 11.7444 | 12.7752 | 16.8242 | 11.9489 | 12.7458 | 17.0437 | 1.1344 | -0.61249
[32 empty] | Cycle 3 | 11.3329 | 12.3281 | 16.2354 | 11.4124 | 12.1748 | 16.2784 | 1.103 | -0.59089
[32 empty] | Cycle 4 | 10.9378 | 11.899 | 15.6691 | 10.9054 | 11.6345 | 15.5558 | 1.1629 | -0.62073
[32 empty] | Cycle 5 | 10.5606 | 11.4884 | 15.1291 | 10.4287 | 11.1252 | 14.8757 | 1.178 | -0.58438
[32 empty] | Cycle 6 | 10.1967 | 11.0927 | 14.6079 | 9.9803 | 10.6466 | 14.2359 | 1.1947 | -0.60384
[32 empty] | Cycle 7 | 9.8414 | 10.7062 | 14.0994 | 9.5562 | 10.1946 | 13.6318 | 1.1685 | -0.60525
[32 empty] | Cycle 8 |  |  |  | 9.1557 | 9.7674 | 13.0606
20 | GIRMS\IRMS-operator | 2026-07-15 23:52 | 2026-07-16 00:54 | Running | FALSE | MD23-3677Q - G. ruber | 1012-1014 | 20 | 1 | 19 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 7.847 V | 9.4995 kV | 91 µbar | 103 µbar | Carbon Dioxide: -0.0005 kV | 96 µbar | 7.266 V | 8.757 V | 190 µbar/min | 12.450 V | 8.18E-008 mbar | 28 % | 885 µbar | µ-Volume |  | Pre | 7.1394 | 7.7657 | 10.2261 | 7.377 | 7.8706 | 10.5236 | 0.96358 | -0.85322 | 0.91299 | 0.030011 | 0.01061 | -0.82974 | 0.01855 | 0.0065586 | 1.0076 | 0.032753 | -0.83269 | 0.018634
[32 empty] | Cycle 1 | 6.923 | 7.5304 | 9.9163 | 7.0847 | 7.5585 | 10.1067 | 0.93209 | -0.84647
[32 empty] | Cycle 2 | 6.7175 | 7.3066 | 9.6223 | 6.808 | 7.2638 | 9.7119 | 0.8715 | -0.80001
[32 empty] | Cycle 3 | 6.5172 | 7.0889 | 9.3351 | 6.5447 | 6.9828 | 9.3362 | 0.8955 | -0.83108
[32 empty] | Cycle 4 | 6.3157 | 6.87 | 9.0467 | 6.2925 | 6.7139 | 8.9766 | 0.90039 | -0.81793
[32 empty] | Cycle 5 | 6.1259 | 6.6635 | 8.7747 | 6.0519 | 6.4573 | 8.6335 | 0.92069 | -0.84014
[32 empty] | Cycle 6 | 5.9418 | 6.463 | 8.5113 | 5.8222 | 6.212 | 8.3058 | 0.88644 | -0.81056
[32 empty] | Cycle 7 | 5.7639 | 6.2699 | 8.2563 | 5.6027 | 5.9779 | 7.9926 | 0.93373 | -0.8385
[32 empty] | Cycle 8 |  |  |  | 5.3931 | 5.7545 | 7.6939
21 | GIRMS\IRMS-operator | 2026-07-16 00:16 | 2026-07-16 01:25 | Running | FALSE | SHP2L |  | 21 | 2 | 19 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 10.742 V | 9.4996 kV | 103 µbar | 91 µbar | Carbon Dioxide: -0.0004 kV | 111 µbar | 10.542 V | 12.197 V | 122 µbar/min | 7.137 V | 1.05E-007 mbar | 16 % | 948 µbar | µ-Volume |  | Pre | 10.3565 | 11.2436 | 14.7579 | 10.7227 | 11.4389 | 15.2951 | -0.86325 | -5.9098 | -0.82134 | 0.028545 | 0.010092 | -5.9178 | 0.010223 | 0.0038638 | -0.65959 | 0.030587 | -5.9222 | 0.010238
[32 empty] | Cycle 1 | 10.0036 | 10.8613 | 14.2552 | 10.2534 | 10.9385 | 14.6259 | -0.79615 | -5.9138
[32 empty] | Cycle 2 | 9.668 | 10.4973 | 13.7771 | 9.8121 | 10.4676 | 13.9967 | -0.77941 | -5.92
[32 empty] | Cycle 3 | 9.3429 | 10.1441 | 13.3137 | 9.3928 | 10.0208 | 13.3988 | -0.83537 | -5.939
[32 empty] | Cycle 4 | 9.0365 | 9.812 | 12.8769 | 8.9996 | 9.6015 | 12.8378 | -0.8193 | -5.9574
[32 empty] | Cycle 5 | 8.7375 | 9.4872 | 12.4515 | 8.6267 | 9.2042 | 12.306 | -0.85327 | -5.915
[32 empty] | Cycle 6 | 8.4453 | 9.1701 | 12.0353 | 8.2723 | 8.826 | 11.8007 | -0.82095 | -5.9086
[32 empty] | Cycle 7 | 8.1645 | 8.8653 | 11.6351 | 7.9355 | 8.4666 | 11.3203 | -0.80307 | -5.9181
[32 empty] | Cycle 8 |  |  |  | 7.6159 | 8.1255 | 10.8644
22 | GIRMS\IRMS-operator | 2026-07-16 00:54 | 2026-07-16 02:15 | Running | FALSE | MD23-3677Q - G. ruber | 1008-1010 | 22 | 1 | 20 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 72 °C |  | 16.588 V | 9.4996 kV | 91 µbar | 106 µbar | Carbon Dioxide: -0.0004 kV | 111 µbar | 14.848 V | 19.110 V | 264 µbar/min | 2.785 V | 1.32E-007 mbar | 10 % | 965 µbar | µ-Volume |  | Pre | 14.7785 | 16.0716 | 21.1738 | 15.1163 | 16.1219 | 21.5606 | 1.0311 | -0.42535 | 1.0451 | 0.016547 | 0.0062542 | -0.45043 | 0.022066 | 0.0078014 | 1.1269 | 0.027537 | -0.45326 | 0.022065
[32 empty] | Cycle 1 | 14.2381 | 15.4843 | 20.4001 | 14.3861 | 15.3448 | 20.5192 | 1.0389 | -0.41956
[32 empty] | Cycle 2 | 13.7298 | 14.9321 | 19.6718 | 13.7053 | 14.6177 | 19.5488 | 1.0667 | -0.43775
[32 empty] | Cycle 3 | 13.2415 | 14.4013 | 18.972 | 13.067 | 13.938 | 18.6384 | 1.0458 | -0.46612
[32 empty] | Cycle 4 | 12.7771 | 13.8968 | 18.3074 | 12.4666 | 13.2977 | 17.7828 | 1.0688 | -0.44141
[32 empty] | Cycle 5 | 12.3302 | 13.411 | 17.6669 | 11.9009 | 12.6946 | 16.9756 | 1.0366 | -0.46711
[32 empty] | Cycle 6 | 11.9016 | 12.9454 | 17.053 | 11.3684 | 12.1274 | 16.2167 | 1.0276 | -0.47715
[32 empty] | Cycle 7 | 11.4889 | 12.4962 | 16.4618 | 10.8657 | 11.5918 | 15.4998 | 0.98552 | -0.46903
[32 empty] | Cycle 8 |  |  |  | 10.3904 | 11.0846 | 14.8217
23 | GIRMS\IRMS-operator | 2026-07-16 01:25 | 2026-07-16 02:36 | Running | FALSE | MD23-3677Q - G. ruber | 1004-1006 | 23 | 2 | 20 | TRUE | Unknown |  | 0.002 V, 0.003 V, 0.003 V | 72 °C |  | 18.865 V | 9.4993 kV | 106 µbar | 96 µbar | Carbon Dioxide: -0.0007 kV | 106 µbar | 14.320 V | 21.981 V | 220 µbar/min | 14.354 V | 1.30E-007 mbar | 10 % | 1,012 µbar | µ-Volume | 17.276 V | Pre | 18.3726 | 19.9723 | 26.326 | 14.6356 | 15.609 | 20.8737 | 0.70194 | -0.27097 | 0.72557 | 0.029419 | 0.010401 | -0.27508 | 0.014986 | 0.0052982 | 0.78654 | 0.031197 | -0.27701 | 0.014968
[32 empty] | Cycle 1 | 17.6498 | 19.1873 | 25.2911 | 13.9387 | 14.8659 | 19.8803 | 0.70247 | -0.26634
[32 empty] | Cycle 2 | 16.9573 | 18.4352 | 24.2986 | 13.2852 | 14.1699 | 18.9487 | 0.68966 | -0.28137
[32 empty] | Cycle 3 | 16.3023 | 17.7243 | 23.3602 | 12.673 | 13.5175 | 18.0756 | 0.71905 | -0.29583
[32 empty] | Cycle 4 | 15.6752 | 17.0429 | 22.4625 | 12.097 | 12.9035 | 17.2546 | 0.74273 | -0.26996
[32 empty] | Cycle 5 | 15.0758 | 16.3918 | 21.604 | 11.5528 | 12.3227 | 16.4784 | 0.76521 | -0.25657
[32 empty] | Cycle 6 | 14.5009 | 15.7674 | 20.7807 | 11.0392 | 11.7756 | 15.7461 | 0.7667 | -0.26255
[32 empty] | Cycle 7 | 13.9495 | 15.1675 | 19.9901 | 10.5547 | 11.2589 | 15.0555 | 0.71678 | -0.29705
[32 empty] | Cycle 8 |  |  |  | 10.0971 | 10.7713 | 14.4029
24 | GIRMS\IRMS-operator | 2026-07-16 02:15 | 2026-07-16 03:12 | Running | FALSE | MD23-3677Q - G. ruber | 1000-1002 | 24 | 1 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 0.015 V | 9.4994 kV | 93 µbar | 101 µbar | Carbon Dioxide: -0.0006 kV | 91 µbar | 2.595 V | 0.015 V | 308 µbar/min | 13.792 V | 4.32E-008 mbar | 100 % | 96 µbar | µ-Volume | 0.021 V | Pre | 0.015191 | 0.016294 | 0.021497 | 2.678 | 2.8576 | 3.8204 | -13.0928 | -12.8828 | -12.6036 | 0.4966 | 0.17557 | -15.5714 | 1.4766 | 0.52205 | -12.9083 | 0.54443 | -15.5598 | 1.4784
[32 empty] | Cycle 1 | 0.014592 | 0.015671 | 0.020616 | 2.5844 | 2.7575 | 3.6866 | -11.7829 | -14.4784
[32 empty] | Cycle 2 | 0.014245 | 0.01529 | 0.020082 | 2.4985 | 2.6658 | 3.5642 | -12.3822 | -16.6151
[32 empty] | Cycle 3 | 0.013963 | 0.014983 | 0.019686 | 2.4168 | 2.5787 | 3.4475 | -12.642 | -16.5293
[32 empty] | Cycle 4 | 0.013717 | 0.014707 | 0.019364 | 2.3386 | 2.4953 | 3.336 | -13.4393 | -15.2294
[32 empty] | Cycle 5 | 0.013489 | 0.014477 | 0.019003 | 2.2637 | 2.4153 | 3.2291 | -12.4505 | -17.235
[32 empty] | Cycle 6 | 0.013276 | 0.014246 | 0.018712 | 2.1907 | 2.3375 | 3.1251 | -12.6357 | -16.7605
[32 empty] | Cycle 7 | 0.013059 | 0.014017 | 0.018444 | 2.1201 | 2.2622 | 3.0244 | -12.4032 | -14.841
[32 empty] | Cycle 8 |  |  |  | 2.0518 | 2.1894 | 2.9271
25 | GIRMS\IRMS-operator | 2026-07-16 02:36 | 2026-07-16 03:45 | Running | FALSE | MD23-3677Q - G. ruber | 996-998 | 25 | 2 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 72 °C |  | 13.788 V | 9.4996 kV | 103 µbar | 91 µbar | Carbon Dioxide: -0.0004 kV | 108 µbar | 12.947 V | 15.865 V | 239 µbar/min | 2.583 V | 1.21E-007 mbar | 11 % | 982 µbar | µ-Volume |  | Pre | 12.7853 | 13.9018 | 18.3167 | 13.1971 | 14.0762 | 18.8229 | 0.8371 | -0.47526 | 0.83678 | 0.017544 | 0.0062029 | -0.4833 | 0.020477 | 0.0072396 | 0.91324 | 0.019043 | -0.48571 | 0.020512
[32 empty] | Cycle 1 | 12.3259 | 13.4027 | 17.6583 | 12.5874 | 13.4262 | 17.9532 | 0.83712 | -0.50858
[32 empty] | Cycle 2 | 11.8901 | 12.9291 | 17.035 | 12.0155 | 12.8165 | 17.138 | 0.83308 | -0.45089
[32 empty] | Cycle 3 | 11.4722 | 12.4751 | 16.4364 | 11.477 | 12.2426 | 16.3699 | 0.8381 | -0.4665
[32 empty] | Cycle 4 | 11.0697 | 12.0378 | 15.8599 | 10.9679 | 11.6997 | 15.6444 | 0.84872 | -0.48862
[32 empty] | Cycle 5 | 10.6751 | 11.6089 | 15.2947 | 10.4872 | 11.1874 | 14.9591 | 0.82333 | -0.50238
[32 empty] | Cycle 6 | 10.2994 | 11.2011 | 14.7565 | 10.033 | 10.7032 | 14.3115 | 0.86847 | -0.50253
[32 empty] | Cycle 7 | 9.9437 | 10.814 | 14.2472 | 9.6038 | 10.2456 | 13.6993 | 0.8083 | -0.47164
[32 empty] | Cycle 8 |  |  |  | 9.1975 | 9.8126 | 13.1196
26 | GIRMS\IRMS-operator | 2026-07-16 03:12 | 2026-07-16 04:31 | Running | FALSE | SHP2L |  | 26 | 1 | 22 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.002 V | 72 °C |  | 15.344 V | 9.4997 kV | 93 µbar | 106 µbar | Carbon Dioxide: -0.0003 kV | 93 µbar | 14.433 V | 17.635 V | 278 µbar/min | 2.790 V | 1.30E-007 mbar | 11 % | 958 µbar | µ-Volume |  | Pre | 14.2574 | 15.4758 | 20.3141 | 14.7073 | 15.6862 | 20.9771 | -0.83347 | -5.9382 | -0.84884 | 0.017972 | 0.0063539 | -5.9433 | 0.015372 | 0.0054347 | -0.68825 | 0.018828 | -5.9478 | 0.015359
[32 empty] | Cycle 1 | 13.7482 | 14.9234 | 19.5885 | 14.0028 | 14.9353 | 19.9719 | -0.85614 | -5.9537
[32 empty] | Cycle 2 | 13.2583 | 14.3924 | 18.8914 | 13.3457 | 14.235 | 19.0353 | -0.82865 | -5.9205
[32 empty] | Cycle 3 | 12.7938 | 13.8884 | 18.2293 | 12.7297 | 13.5782 | 18.1566 | -0.82578 | -5.9317
[32 empty] | Cycle 4 | 12.3483 | 13.4046 | 17.5947 | 12.1502 | 12.9603 | 17.3303 | -0.87605 | -5.9543
[32 empty] | Cycle 5 | 11.9217 | 12.9421 | 16.9871 | 11.6016 | 12.3759 | 16.5487 | -0.86159 | -5.9681
[32 empty] | Cycle 6 | 11.5112 | 12.4971 | 16.4026 | 11.0859 | 11.8257 | 15.813 | -0.84886 | -5.9475
[32 empty] | Cycle 7 | 11.1163 | 12.0686 | 15.8401 | 10.5979 | 11.3059 | 15.1171 | -0.8602 | -5.9327
[32 empty] | Cycle 8 |  |  |  | 10.1376 | 10.815 | 14.4604
27 | GIRMS\IRMS-operator | 2026-07-16 03:45 | 2026-07-16 04:55 | Running | FALSE | MD23-3677Q - G. ruber | 992-994 | 27 | 2 | 22 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 15.998 V | 9.4994 kV | 103 µbar | 93 µbar | Carbon Dioxide: -0.0006 kV | 135 µbar | 14.344 V | 18.498 V | 283 µbar/min | 13.984 V | 1.29E-007 mbar | 10 % | 997 µbar | µ-Volume | 14.770 V | Pre | 15.6299 | 16.989 | 22.3993 | 14.6566 | 15.631 | 20.9036 | 0.61977 | -0.092908 | 0.5646 | 0.030947 | 0.010941 | -0.10712 | 0.016737 | 0.0059174 | 0.6081 | 0.033124 | -0.10851 | 0.016755
[32 empty] | Cycle 1 | 15.0387 | 16.3467 | 21.5521 | 13.9538 | 14.8818 | 19.9007 | 0.59528 | -0.1018
[32 empty] | Cycle 2 | 14.4803 | 15.7397 | 20.7522 | 13.2958 | 14.181 | 18.9633 | 0.54318 | -0.11019
[32 empty] | Cycle 3 | 13.95 | 15.1637 | 19.9929 | 12.6801 | 13.5249 | 18.0853 | 0.53293 | -0.084904
[32 empty] | Cycle 4 | 13.4375 | 14.6067 | 19.2585 | 12.1032 | 12.9097 | 17.2624 | 0.5347 | -0.09325
[32 empty] | Cycle 5 | 12.955 | 14.0832 | 18.5667 | 11.5614 | 12.3318 | 16.4901 | 0.57819 | -0.12641
[32 empty] | Cycle 6 | 12.4881 | 13.5761 | 17.8981 | 11.0505 | 11.7877 | 15.7617 | 0.56105 | -0.1163
[32 empty] | Cycle 7 | 12.0341 | 13.0827 | 17.2475 | 10.5676 | 11.2729 | 15.0733 | 0.55173 | -0.13118
[32 empty] | Cycle 8 |  |  |  | 10.1097 | 10.7847 | 14.4204
28 | GIRMS\IRMS-operator | 2026-07-16 04:31 | 2026-07-16 05:33 | Running | FALSE | MD23-3677Q - G. ruber | 988-990 | 28 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 10.625 V | 9.4995 kV | 93 µbar | 108 µbar | Carbon Dioxide: -0.0005 kV | 118 µbar | 9.886 V | 11.952 V | 249 µbar/min | 13.799 V | 9.96E-008 mbar | 18 % | 929 µbar | µ-Volume |  | Pre | 9.7323 | 10.5788 | 13.9442 | 10.051 | 10.7219 | 14.3363 | 0.37931 | -0.42778 | 0.3646 | 0.031462 | 0.011124 | -0.40383 | 0.020088 | 0.0071022 | 0.40506 | 0.033322 | -0.40509 | 0.020076
[32 empty] | Cycle 1 | 9.4178 | 10.2372 | 13.4943 | 9.6204 | 10.2631 | 13.722 | 0.38921 | -0.38287
[32 empty] | Cycle 2 | 9.1125 | 9.9054 | 13.057 | 9.2129 | 9.8281 | 13.1412 | 0.405 | -0.3789
[32 empty] | Cycle 3 | 8.8192 | 9.5863 | 12.6369 | 8.8272 | 9.4167 | 12.5908 | 0.33385 | -0.38404
[32 empty] | Cycle 4 | 8.5388 | 9.2822 | 12.2352 | 8.4614 | 9.0272 | 12.0695 | 0.37259 | -0.40446
[32 empty] | Cycle 5 | 8.2598 | 8.9786 | 11.8353 | 8.1148 | 8.6572 | 11.5753 | 0.35515 | -0.41384
[32 empty] | Cycle 6 | 7.9976 | 8.6939 | 11.4599 | 7.7853 | 8.3058 | 11.1053 | 0.37435 | -0.40907
[32 empty] | Cycle 7 | 7.7472 | 8.4216 | 11.101 | 7.4733 | 7.973 | 10.6606 | 0.30732 | -0.42972
[32 empty] | Cycle 8 |  |  |  | 7.1781 | 7.6589 | 10.2393
29 | GIRMS\IRMS-operator | 2026-07-16 04:55 | 2026-07-16 06:05 | Running | FALSE | MD23-3677Q - G. ruber | 984-986 | 29 | 2 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 13.314 V | 9.4996 kV | 106 µbar | 91 µbar | Carbon Dioxide: -0.0004 kV | 101 µbar | 12.656 V | 15.295 V | 274 µbar/min | 9.639 V | 1.18E-007 mbar | 11 % | 980 µbar | µ-Volume |  | Pre | 12.4978 | 13.5841 | 17.9097 | 12.9024 | 13.759 | 18.4019 | 0.65849 | -0.18258 | 0.66236 | 0.013254 | 0.0050094 | -0.19048 | 0.018565 | 0.0065636 | 0.71584 | 0.013976 | -0.19216 | 0.01859
[32 empty] | Cycle 1 | 12.0548 | 13.1032 | 17.2755 | 12.3098 | 13.1276 | 17.5571 | 0.68401 | -0.16179
[32 empty] | Cycle 2 | 11.6323 | 12.6442 | 16.6697 | 11.7543 | 12.5353 | 16.7651 | 0.67415 | -0.19307
[32 empty] | Cycle 3 | 11.2324 | 12.2092 | 16.0972 | 11.2325 | 11.9796 | 16.0211 | 0.58222 | -0.18104
[32 empty] | Cycle 4 | 10.8375 | 11.7811 | 15.5314 | 10.7387 | 11.4537 | 15.3171 | 0.64647 | -0.18396
[32 empty] | Cycle 5 | 10.463 | 11.3741 | 14.9948 | 10.2726 | 10.9564 | 14.6522 | 0.65231 | -0.18851
[32 empty] | Cycle 6 | 10.0963 | 10.9757 | 14.4694 | 9.8312 | 10.4858 | 14.0229 | 0.65458 | -0.21211
[32 empty] | Cycle 7 | 9.7497 | 10.5992 | 13.9726 | 9.4136 | 10.0407 | 13.4279 | 0.66651 | -0.22076
[32 empty] | Cycle 8 |  |  |  | 9.0174 | 9.6182 | 12.8624
30 | GIRMS\IRMS-operator | 2026-07-16 05:33 | 2026-07-16 06:51 | Running | FALSE | MD23-3677Q - G. ruber | 980-982 | 30 | 1 | 24 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V | 72 °C |  | 16.273 V | 9.4998 kV | 93 µbar | 108 µbar | Carbon Dioxide: -0.0002 kV | 103 µbar | 14.753 V | 18.684 V | 288 µbar/min | 2.790 V | 1.30E-007 mbar | 10 % | 970 µbar | µ-Volume |  | Pre | 14.6493 | 15.9174 | 20.9891 | 15.0239 | 16.0198 | 21.4277 | 0.41047 | -0.34911 | 0.37705 | 0.020547 | 0.0072645 | -0.3712 | 0.01923 | 0.0067987 | 0.41718 | 0.021546 | -0.37246 | 0.019221
[32 empty] | Cycle 1 | 14.1184 | 15.3408 | 20.2287 | 14.2982 | 15.2473 | 20.3927 | 0.36974 | -0.34898
[32 empty] | Cycle 2 | 13.6066 | 14.7852 | 19.4957 | 13.6189 | 14.5234 | 19.4244 | 0.38804 | -0.35503
[32 empty] | Cycle 3 | 13.1241 | 14.261 | 18.8045 | 12.9825 | 13.8447 | 18.517 | 0.35204 | -0.38643
[32 empty] | Cycle 4 | 12.664 | 13.7618 | 18.146 | 12.3848 | 13.2083 | 17.6654 | 0.36772 | -0.37172
[32 empty] | Cycle 5 | 12.2163 | 13.2756 | 17.5043 | 11.8248 | 12.6113 | 16.8669 | 0.35733 | -0.40302
[32 empty] | Cycle 6 | 11.7952 | 12.8183 | 16.9015 | 11.2978 | 12.0499 | 16.1154 | 0.37109 | -0.38057
[32 empty] | Cycle 7 | 11.3919 | 12.3806 | 16.3239 | 10.8017 | 11.5204 | 15.4079 | 0.40001 | -0.37478
[32 empty] | Cycle 8 |  |  |  | 10.332 | 11.0202 | 14.7383
31 | GIRMS\IRMS-operator | 2026-07-16 06:05 | 2026-07-16 07:16 | Running | FALSE | SHP2L |  | 31 | 2 | 24 | TRUE | QC Standard | SHP2L | 0.002 V, 0.003 V, 0.003 V | 72 °C |  | 11.685 V | 9.4995 kV | 103 µbar | 91 µbar | Carbon Dioxide: -0.0005 kV | 103 µbar | 10.774 V | 13.286 V | 225 µbar/min | 14.247 V | 1.05E-007 mbar | 16 % | 958 µbar | µ-Volume |  | Pre | 10.5451 | 11.4468 | 15.026 | 10.9528 | 11.6827 | 15.6224 | -0.85085 | -5.8977 | -0.80559 | 0.05194 | 0.018364 | -5.9152 | 0.016981 | 0.0060036 | -0.64302 | 0.056056 | -5.9197 | 0.017088
[32 empty] | Cycle 1 | 10.1875 | 11.0587 | 14.5165 | 10.4733 | 11.1714 | 14.9389 | -0.83174 | -5.9102
[32 empty] | Cycle 2 | 9.8441 | 10.6858 | 14.027 | 10.0191 | 10.6864 | 14.2911 | -0.79629 | -5.9204
[32 empty] | Cycle 3 | 9.5128 | 10.3265 | 13.5552 | 9.5904 | 10.2288 | 13.6793 | -0.76665 | -5.905
[32 empty] | Cycle 4 | 9.1961 | 9.9833 | 13.1039 | 9.1845 | 9.7963 | 13.1008 | -0.73786 | -5.933
[32 empty] | Cycle 5 | 8.8896 | 9.6502 | 12.6676 | 8.8004 | 9.3867 | 12.5533 | -0.78778 | -5.9184
[32 empty] | Cycle 6 | 8.5969 | 9.3327 | 12.25 | 8.4359 | 8.9979 | 12.0332 | -0.77474 | -5.943
[32 empty] | Cycle 7 | 8.3173 | 9.0282 | 11.8522 | 8.0912 | 8.6306 | 11.5414 | -0.89883 | -5.8939
[32 empty] | Cycle 8 |  |  |  | 7.7646 | 8.2824 | 11.0759