## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Pressure Adjust failed with Target Intensity | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Kiel IV Initial Pressure |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-07-08 10:41 | 2026-07-08 11:36 | Running | FALSE | MD23-3677Q - G. ruber | 48-50 | 1 | 1 | 14 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 34.467 V | 9.4989 kV | 106 µbar | Carbon Dioxide: -0.0011 kV | 111 µbar | 17.200 V | 42.493 V | 30.221 V | 249 µbar/min | 2.793 V | 1.48E-007 mbar | 10 % | 1,063 µbar | 72 °C | µ-Volume |  | Pre | 33.0689 | 35.9191 | 47.3466 | 17.6493 | 18.8167 | 25.1718 | 0.19668 | -1.0593 | 0.38935 | 0.14879 | 0.052605 | -1.0233 | 0.037003 | 0.013083 | 0.45445 | 0.15788 | -1.0252 | 0.036716
[32 empty] | Cycle 1 | 31.4228 | 34.1348 | 44.9908 | 16.7569 | 17.8669 | 23.8997 | 0.21078 | -1.0674
[32 empty] | Cycle 2 | 29.8843 | 32.4675 | 42.7905 | 15.9234 | 16.9799 | 22.7119 | 0.28877 | -1.0496
[32 empty] | Cycle 3 | 28.452 | 30.9147 | 40.7414 | 15.1439 | 16.1485 | 21.6009 | 0.36359 | -1.0369
[32 empty] | Cycle 4 | 27.1103 | 29.4609 | 38.8218 | 14.4177 | 15.3753 | 20.5655 | 0.44974 | -1.0099
[32 empty] | Cycle 5 | 25.8522 | 28.0958 | 37.0211 | 13.736 | 14.6488 | 19.5933 | 0.47324 | -1.0098
[32 empty] | Cycle 6 | 24.673 | 26.8169 | 35.3335 | 13.0961 | 13.9672 | 18.681 | 0.53363 | -0.99596
[32 empty] | Cycle 7 | 23.5646 | 25.6146 | 33.7481 | 12.4931 | 13.3243 | 17.8211 | 0.59833 | -0.95728
[32 empty] | Cycle 8 |  |  |  | 11.9258 | 12.7197 | 17.0122
2 | GIRMS\IRMS-operator | 2026-07-08 11:12 | 2026-07-08 12:06 | Running | FALSE | SHP2L |  | 2 | 2 | 14 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.004 V |  | 9.560 V | 9.4985 kV | 101 µbar | Carbon Dioxide: -0.0015 kV | 113 µbar | 8.775 V | 10.726 V |  | 137 µbar/min | 16.492 V | 9.44E-008 mbar | 25 % | 965 µbar | 72 °C | µ-Volume | 101 µbar | Pre | 8.6292 | 9.3678 | 12.2975 | 8.9117 | 9.5053 | 12.7123 | -0.80262 | -5.8718 | -0.77565 | 0.023558 | 0.008329 | -5.8845 | 0.015502 | 0.0054807 | -0.61212 | 0.025032 | -5.8891 | 0.015502
[32 empty] | Cycle 1 | 8.3527 | 9.0681 | 11.9036 | 8.5421 | 9.1122 | 12.1855 | -0.76319 | -5.8795
[32 empty] | Cycle 2 | 8.0833 | 8.7758 | 11.5198 | 8.1926 | 8.7384 | 11.6869 | -0.74151 | -5.8705
[32 empty] | Cycle 3 | 7.8231 | 8.493 | 11.1491 | 7.8597 | 8.3842 | 11.212 | -0.78603 | -5.8679
[32 empty] | Cycle 4 | 7.5752 | 8.2239 | 10.7957 | 7.5445 | 8.0473 | 10.7626 | -0.7772 | -5.8863
[32 empty] | Cycle 5 | 7.3359 | 7.9645 | 10.4547 | 7.2436 | 7.7272 | 10.3334 | -0.77824 | -5.8953
[32 empty] | Cycle 6 | 7.1063 | 7.7151 | 10.1273 | 6.9579 | 7.4222 | 9.9259 | -0.80744 | -5.9138
[32 empty] | Cycle 7 | 6.8868 | 7.4772 | 9.8148 | 6.6862 | 7.1326 | 9.5382 | -0.74901 | -5.8912
[32 empty] | Cycle 8 |  |  |  | 6.4273 | 6.8562 | 9.169
3 | GIRMS\IRMS-operator | 2026-07-08 11:36 | 2026-07-08 12:36 | Running | FALSE | MD23-3677Q - G. ruber | 44-46 | 3 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 32.132 V | 9.4987 kV | 103 µbar | Carbon Dioxide: -0.0013 kV | 118 µbar | 15.995 V | 39.281 V | 28.711 V | 259 µbar/min | 8.585 V | 1.41E-007 mbar | 10 % | 1,070 µbar | 72 °C | µ-Volume | 106 µbar | Pre | 31.2495 | 33.9478 | 44.733 | 16.4256 | 17.514 | 23.4274 | 0.25328 | -1.2883 | 0.46126 | 0.14943 | 0.052833 | -1.2591 | 0.030021 | 0.010614 | 0.54012 | 0.15883 | -1.2615 | 0.029728
[32 empty] | Cycle 1 | 29.7315 | 32.3027 | 42.5619 | 15.6164 | 16.652 | 22.2738 | 0.30046 | -1.2898
[32 empty] | Cycle 2 | 28.3074 | 30.7585 | 40.5247 | 14.8589 | 15.8458 | 21.1947 | 0.34977 | -1.2905
[32 empty] | Cycle 3 | 26.9852 | 29.325 | 38.6332 | 14.1501 | 15.09 | 20.1841 | 0.44884 | -1.2668
[32 empty] | Cycle 4 | 25.7354 | 27.9694 | 36.8451 | 13.4857 | 14.3819 | 19.2366 | 0.50502 | -1.2608
[32 empty] | Cycle 5 | 24.5707 | 26.7059 | 35.1796 | 12.862 | 13.7172 | 18.3475 | 0.55792 | -1.2339
[32 empty] | Cycle 6 | 23.4685 | 25.5103 | 33.6023 | 12.275 | 13.0915 | 17.5106 | 0.6118 | -1.2218
[32 empty] | Cycle 7 | 22.4321 | 24.3861 | 32.1192 | 11.721 | 12.5013 | 16.7203 | 0.66299 | -1.2212
[32 empty] | Cycle 8 |  |  |  | 11.1981 | 11.9441 | 15.9752
4 | GIRMS\IRMS-operator | 2026-07-08 12:06 | 2026-07-08 13:14 | Running | FALSE | MD23-3677Q - G. ruber | 40-42 | 4 | 2 | 15 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 15.929 V | 9.4986 kV | 101 µbar | Carbon Dioxide: -0.0014 kV | 103 µbar | 15.252 V | 18.409 V |  | 303 µbar/min | 15.287 V | 1.36E-007 mbar | 10 % | 1,012 µbar | 72 °C | µ-Volume | 103 µbar | Pre | 15.0535 | 16.3606 | 21.5618 | 15.6535 | 16.6915 | 22.3261 | 0.67021 | -0.68417 | 0.63279 | 0.031117 | 0.011002 | -0.70006 | 0.016039 | 0.0056708 | 0.70299 | 0.03291 | -0.70224 | 0.01601
[32 empty] | Cycle 1 | 14.4928 | 15.7508 | 20.7587 | 14.8905 | 15.8781 | 21.2385 | 0.60497 | -0.70341
[32 empty] | Cycle 2 | 13.9578 | 15.1713 | 19.9937 | 14.1786 | 15.1201 | 20.2235 | 0.67611 | -0.67133
[32 empty] | Cycle 3 | 13.4481 | 14.6171 | 19.2634 | 13.5085 | 14.406 | 19.2685 | 0.62852 | -0.69625
[32 empty] | Cycle 4 | 12.9639 | 14.0907 | 18.5698 | 12.8825 | 13.739 | 18.3755 | 0.58362 | -0.71217
[32 empty] | Cycle 5 | 12.4992 | 13.5866 | 17.9047 | 12.2929 | 13.1106 | 17.5352 | 0.62418 | -0.70086
[32 empty] | Cycle 6 | 12.0587 | 13.1082 | 17.2734 | 11.7382 | 12.5193 | 16.7438 | 0.64672 | -0.72022
[32 empty] | Cycle 7 | 11.6348 | 12.6477 | 16.6667 | 11.2159 | 11.9624 | 15.999 | 0.62803 | -0.71205
[32 empty] | Cycle 8 |  |  |  | 10.7228 | 11.4372 | 15.2962
5 | GIRMS\IRMS-operator | 2026-07-08 12:36 | 2026-07-08 13:55 | Running | FALSE | MD23-3677Q - G. ruber | 36-38 | 5 | 1 | 16 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 16.597 V | 9.4989 kV | 120 µbar | Carbon Dioxide: -0.0011 kV | 1,236 µbar | 15.224 V | 19.218 V |  | 737 µbar/min | 2.794 V | 1.36E-007 mbar | 12 % | 1,029 µbar | 72 °C | µ-Volume | 106 µbar | Pre | 14.8654 | 16.1662 | 21.2861 | 15.5714 | 16.6045 | 22.2103 | 1.2498 | -1.0294 | 1.2535 | 0.0071171 | 0.00269 | -1.0406 | 0.0093277 | 0.0032978 | 1.3797 | 0.0075138 | -1.0445 | 0.0093322
[32 empty] | Cycle 1 | 14.3025 | 15.5549 | 20.4804 | 14.8128 | 15.7962 | 21.1288 | 1.2661 | -1.0344
[32 empty] | Cycle 2 | 13.7676 | 14.9734 | 19.7143 | 14.1045 | 15.0413 | 20.1187 | 1.256 | -1.0532
[32 empty] | Cycle 3 | 13.2579 | 14.4197 | 18.9852 | 13.4408 | 14.3339 | 19.1723 | 1.2562 | -1.0324
[32 empty] | Cycle 4 | 12.7727 | 13.8925 | 18.2906 | 12.816 | 13.6684 | 18.2814 | 1.2444 | -1.0545
[32 empty] | Cycle 5 | 12.3079 | 13.3878 | 17.6254 | 12.2288 | 13.0426 | 17.4445 | 1.2542 | -1.0432
[32 empty] | Cycle 6 | 11.8667 | 12.9076 | 16.9939 | 11.6761 | 12.454 | 16.6559 | 1.1963 | -1.0412
[32 empty] | Cycle 7 | 11.4475 | 12.4522 | 16.3939 | 11.1561 | 11.8993 | 15.9148 | 1.2477 | -1.0362
[32 empty] | Cycle 8 |  |  |  | 10.667 | 11.3775 | 15.2168
6 | GIRMS\IRMS-operator | 2026-07-08 13:14 | 2026-07-08 14:24 | Running | FALSE | MD23-3677Q - G. ruber | 28-30 | 6 | 2 | 16 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 15.947 V | 9.4986 kV | 96 µbar | Carbon Dioxide: -0.0014 kV | 118 µbar | 15.815 V | 18.443 V |  | 83 µbar/min | 14.659 V | 1.40E-007 mbar | 11 % | 1,002 µbar | 72 °C | µ-Volume | 103 µbar | Pre | 15.5339 | 16.8879 | 22.2469 | 16.2212 | 17.2955 | 23.1354 | 1.0427 | -0.79791 | 1.0244 | 0.020577 | 0.007275 | -0.81297 | 0.017441 | 0.0061664 | 1.1262 | 0.021779 | -0.81616 | 0.017442
[32 empty] | Cycle 1 | 14.951 | 16.2552 | 21.4128 | 15.4211 | 16.4432 | 21.995 | 1.0441 | -0.79022
[32 empty] | Cycle 2 | 14.3967 | 15.6532 | 20.6191 | 14.6753 | 15.6489 | 20.9315 | 1.0417 | -0.7963
[32 empty] | Cycle 3 | 13.8696 | 15.0807 | 19.8642 | 13.9762 | 14.9041 | 19.9348 | 1.0273 | -0.82116
[32 empty] | Cycle 4 | 13.3635 | 14.5309 | 19.1399 | 13.3209 | 14.206 | 19.0007 | 1.0216 | -0.82732
[32 empty] | Cycle 5 | 12.8815 | 14.0073 | 18.4498 | 12.7043 | 13.5489 | 18.122 | 1.0282 | -0.83876
[32 empty] | Cycle 6 | 12.4206 | 13.5064 | 17.7901 | 12.1252 | 12.9316 | 17.2959 | 1.0035 | -0.82471
[32 empty] | Cycle 7 | 11.983 | 13.0308 | 17.1637 | 11.5793 | 12.3502 | 16.5175 | 0.98599 | -0.80738
[32 empty] | Cycle 8 |  |  |  | 11.0654 | 11.8021 | 15.7843
7 | GIRMS\IRMS-operator | 2026-07-08 13:55 | 2026-07-08 14:56 | Running | FALSE | SHP2L |  | 7 | 1 | 17 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.004 V |  | 7.300 V | 9.4986 kV | 123 µbar | Carbon Dioxide: -0.0014 kV | 1,263 µbar | 7.314 V | 8.139 V |  | 879 µbar/min | 15.194 V | 8.34E-008 mbar | 30 % | 916 µbar | 72 °C | µ-Volume | 101 µbar | Pre | 7.0815 | 7.6873 | 10.0916 | 7.4324 | 7.9282 | 10.6026 | -0.90524 | -5.9196 | -0.87368 | 0.026837 | 0.0094883 | -5.9261 | 0.017893 | 0.0063262 | -0.71547 | 0.028374 | -5.9305 | 0.017881
[32 empty] | Cycle 1 | 6.8598 | 7.4469 | 9.7756 | 7.1375 | 7.614 | 10.1816 | -0.83631 | -5.9174
[32 empty] | Cycle 2 | 6.6453 | 7.2138 | 9.4703 | 6.8577 | 7.3148 | 9.7827 | -0.83927 | -5.8927
[32 empty] | Cycle 3 | 6.4391 | 6.9902 | 9.1762 | 6.591 | 7.0306 | 9.4022 | -0.86287 | -5.9421
[32 empty] | Cycle 4 | 6.2401 | 6.7746 | 8.8928 | 6.337 | 6.7601 | 9.0403 | -0.86498 | -5.9253
[32 empty] | Cycle 5 | 6.048 | 6.5661 | 8.6192 | 6.0947 | 6.502 | 8.6944 | -0.88691 | -5.9305
[32 empty] | Cycle 6 | 5.8624 | 6.3643 | 8.3546 | 5.864 | 6.2559 | 8.3656 | -0.89987 | -5.9281
[32 empty] | Cycle 7 | 5.6829 | 6.1695 | 8.0987 | 5.644 | 6.0209 | 8.0516 | -0.89398 | -5.9531
[32 empty] | Cycle 8 |  |  |  | 5.4335 | 5.7965 | 7.7515
8 | GIRMS\IRMS-operator | 2026-07-08 14:24 | 2026-07-08 15:34 | Running | FALSE | MD23-3677Q - G. ruber | 24-26 | 8 | 2 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 14.404 V | 9.4988 kV | 98 µbar | Carbon Dioxide: -0.0012 kV | 103 µbar | 14.350 V | 16.453 V |  | 298 µbar/min | 7.167 V | 1.31E-007 mbar | 11 % | 987 µbar | 72 °C | µ-Volume | 96 µbar | Pre | 13.9674 | 15.1856 | 20.0056 | 14.7076 | 15.6833 | 20.9769 | 0.98244 | -0.7216 | 0.93087 | 0.036976 | 0.013073 | -0.74004 | 0.011404 | 0.0040318 | 1.0234 | 0.039619 | -0.74294 | 0.011427
[32 empty] | Cycle 1 | 13.4641 | 14.639 | 19.285 | 14.0029 | 14.9326 | 19.9731 | 0.96746 | -0.75079
[32 empty] | Cycle 2 | 12.9804 | 14.113 | 18.5925 | 13.3442 | 14.2309 | 19.0337 | 0.9249 | -0.74465
[32 empty] | Cycle 3 | 12.5199 | 13.6131 | 17.9329 | 12.7254 | 13.5714 | 18.1515 | 0.93826 | -0.75611
[32 empty] | Cycle 4 | 12.0801 | 13.1357 | 17.3036 | 12.1445 | 12.9527 | 17.323 | 0.93134 | -0.73597
[32 empty] | Cycle 5 | 11.6604 | 12.6789 | 16.7028 | 11.5975 | 12.37 | 16.543 | 0.86187 | -0.73057
[32 empty] | Cycle 6 | 11.2541 | 12.2376 | 16.1209 | 11.0824 | 11.8207 | 15.8086 | 0.90454 | -0.73444
[32 empty] | Cycle 7 | 10.8698 | 11.82 | 15.5704 | 10.5968 | 11.3026 | 15.116 | 0.93613 | -0.74619
[32 empty] | Cycle 8 |  |  |  | 10.137 | 10.8125 | 14.4605
9 | GIRMS\IRMS-operator | 2026-07-08 14:56 | 2026-07-08 16:14 | Running | FALSE | MD23-3677Q - G. ruber | 20-22 | 9 | 1 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 17.554 V | 9.4988 kV | 123 µbar | Carbon Dioxide: -0.0012 kV | 1,253 µbar | 17.095 V | 20.394 V |  | 762 µbar/min | 2.782 V | 1.48E-007 mbar | 10 % | 1,029 µbar | 72 °C | µ-Volume | 103 µbar | Pre | 16.7961 | 18.2559 | 24.0564 | 17.5411 | 18.7025 | 25.0185 | 0.81114 | -0.75105 | 0.7834 | 0.027819 | 0.0098357 | -0.77994 | 0.018223 | 0.006443 | 0.8671 | 0.029281 | -0.78255 | 0.018197
[32 empty] | Cycle 1 | 16.1431 | 17.5467 | 23.1209 | 16.6517 | 17.7554 | 23.7508 | 0.78156 | -0.77804
[32 empty] | Cycle 2 | 15.519 | 16.8694 | 22.228 | 15.8234 | 16.8732 | 22.5694 | 0.79942 | -0.76775
[32 empty] | Cycle 3 | 14.9256 | 16.2244 | 21.3784 | 15.05 | 16.0491 | 21.4676 | 0.7729 | -0.77558
[32 empty] | Cycle 4 | 14.3604 | 15.6111 | 20.5692 | 14.3267 | 15.2781 | 20.4357 | 0.8162 | -0.77855
[32 empty] | Cycle 5 | 13.8227 | 15.0268 | 19.7989 | 13.6477 | 14.5543 | 19.4681 | 0.79371 | -0.79321
[32 empty] | Cycle 6 | 13.3118 | 14.4719 | 19.068 | 13.0127 | 13.8779 | 18.5618 | 0.75881 | -0.78165
[32 empty] | Cycle 7 | 12.8252 | 13.9428 | 18.3711 | 12.4154 | 13.242 | 17.7113 | 0.7335 | -0.81368
[32 empty] | Cycle 8 |  |  |  | 11.8535 | 12.6421 | 16.9096
10 | GIRMS\IRMS-operator | 2026-07-08 15:34 | 2026-07-08 16:45 | Running | FALSE | MD23-3677Q - G. ruber | 16-18 | 10 | 2 | 18 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 13.059 V | 9.4984 kV | 98 µbar | Carbon Dioxide: -0.0016 kV | 98 µbar | 12.030 V | 14.946 V |  | 303 µbar/min | 16.393 V | 1.15E-007 mbar | 16 % | 982 µbar | 72 °C | µ-Volume | 103 µbar | Pre | 11.771 | 12.7966 | 16.8634 | 12.2543 | 13.0692 | 17.4797 | 0.76583 | -0.58019 | 0.75655 | 0.027228 | 0.0096265 | -0.59256 | 0.015296 | 0.0054079 | 0.83144 | 0.029367 | -0.5949 | 0.015337
[32 empty] | Cycle 1 | 11.3638 | 12.3542 | 16.2803 | 11.7012 | 12.4797 | 16.6912 | 0.75331 | -0.59426
[32 empty] | Cycle 2 | 10.9743 | 11.9312 | 15.7224 | 11.1798 | 11.924 | 15.9479 | 0.76808 | -0.60061
[32 empty] | Cycle 3 | 10.6007 | 11.5246 | 15.1878 | 10.689 | 11.4008 | 15.2478 | 0.72078 | -0.56737
[32 empty] | Cycle 4 | 10.2413 | 11.134 | 14.6725 | 10.2243 | 10.9048 | 14.5848 | 0.71208 | -0.59748
[32 empty] | Cycle 5 | 9.8991 | 10.7632 | 14.1827 | 9.7857 | 10.4379 | 13.9595 | 0.76774 | -0.58339
[32 empty] | Cycle 6 | 9.5708 | 10.4065 | 13.7123 | 9.3705 | 9.9953 | 13.3673 | 0.79353 | -0.5996
[32 empty] | Cycle 7 | 9.2554 | 10.0635 | 13.2603 | 8.9774 | 9.5758 | 12.8068 | 0.77105 | -0.61756
[32 empty] | Cycle 8 |  |  |  | 8.6047 | 9.1788 | 12.2753
11 | GIRMS\IRMS-operator | 2026-07-08 16:14 | 2026-07-08 17:15 | Running | FALSE | MD23-3677Q - G. ruber | 8-10 | 11 | 1 | 19 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  | 18.495 V | 9.4985 kV | 157 µbar | Carbon Dioxide: -0.0015 kV | 1,339 µbar | 15.769 V | 21.592 V | 16.941 V | 1,289 µbar/min | 11.671 V | 1.40E-007 mbar | 10 % | 1,016 µbar | 72 °C | µ-Volume | 101 µbar | Pre | 18.0293 | 19.5977 | 25.8246 | 16.1951 | 17.2681 | 23.0987 | 0.85568 | -0.6674 | 0.85551 | 0.023477 | 0.0083002 | -0.68731 | 0.015633 | 0.005527 | 0.94083 | 0.025541 | -0.68998 | 0.015688
[32 empty] | Cycle 1 | 17.3073 | 18.8134 | 24.791 | 15.3986 | 16.4196 | 21.9633 | 0.83161 | -0.68009
[32 empty] | Cycle 2 | 16.6196 | 18.0668 | 23.8066 | 14.6533 | 15.6259 | 20.9011 | 0.83603 | -0.68601
[32 empty] | Cycle 3 | 15.9751 | 17.3669 | 22.8838 | 13.9553 | 14.8821 | 19.9062 | 0.84306 | -0.69234
[32 empty] | Cycle 4 | 15.3567 | 16.6958 | 21.9981 | 13.3008 | 14.1845 | 18.9727 | 0.89048 | -0.70667
[32 empty] | Cycle 5 | 14.771 | 16.0597 | 21.1595 | 12.6857 | 13.5288 | 18.096 | 0.88959 | -0.71241
[32 empty] | Cycle 6 | 14.2121 | 15.4524 | 20.3596 | 12.1085 | 12.914 | 17.2729 | 0.86062 | -0.67898
[32 empty] | Cycle 7 | 13.6773 | 14.8711 | 19.5936 | 11.5644 | 12.3341 | 16.4963 | 0.83702 | -0.67462
[32 empty] | Cycle 8 |  |  |  | 11.0521 | 11.7881 | 15.766
12 | GIRMS\IRMS-operator | 2026-07-08 16:45 | 2026-07-08 17:54 | Running | FALSE | SHP2L |  | 12 | 2 | 19 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.004 V |  | 9.357 V | 9.4983 kV | 91 µbar | Carbon Dioxide: -0.0017 kV | 106 µbar | 8.626 V | 10.524 V |  | 122 µbar/min | 15.081 V | 9.30E-008 mbar | 23 % | 929 µbar | 72 °C | µ-Volume | 98 µbar | Pre | 8.4664 | 9.1916 | 12.0659 | 8.7694 | 9.3542 | 12.5098 | -0.74324 | -5.8784 | -0.75058 | 0.022409 | 0.0079229 | -5.8823 | 0.020596 | 0.0072817 | -0.58538 | 0.023963 | -5.8869 | 0.020616
[32 empty] | Cycle 1 | 8.1962 | 8.8984 | 11.681 | 8.4059 | 8.9661 | 11.9915 | -0.7105 | -5.8885
[32 empty] | Cycle 2 | 7.9367 | 8.6167 | 11.3111 | 8.0621 | 8.5996 | 11.5015 | -0.73492 | -5.9045
[32 empty] | Cycle 3 | 7.687 | 8.3457 | 10.9558 | 7.7362 | 8.2521 | 11.0362 | -0.74258 | -5.8566
[32 empty] | Cycle 4 | 7.4456 | 8.0836 | 10.6114 | 7.4272 | 7.9227 | 10.5959 | -0.76524 | -5.8955
[32 empty] | Cycle 5 | 7.2143 | 7.8328 | 10.2821 | 7.1336 | 7.6098 | 10.1768 | -0.76525 | -5.8523
[32 empty] | Cycle 6 | 6.9895 | 7.589 | 9.9616 | 6.8543 | 7.312 | 9.7781 | -0.76046 | -5.8747
[32 empty] | Cycle 7 | 6.7732 | 7.354 | 9.6532 | 6.5882 | 7.0283 | 9.3989 | -0.78248 | -5.9075
[32 empty] | Cycle 8 |  |  |  | 6.3343 | 6.7574 | 9.0367
13 | GIRMS\IRMS-operator | 2026-07-08 17:15 | 2026-07-08 18:34 | Running | FALSE | MD23-3677Q - G. ruber | 0-2 | 13 | 1 | 20 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 16.132 V | 9.4986 kV | 113 µbar | Carbon Dioxide: -0.0014 kV | 1,214 µbar | 14.863 V | 18.703 V |  | 762 µbar/min | 2.790 V | 1.33E-007 mbar | 13 % | 987 µbar | 72 °C | µ-Volume | 93 µbar | Pre | 14.5184 | 15.7855 | 20.7972 | 15.1919 | 16.1995 | 21.669 | 1.0403 | -0.66215 | 0.99473 | 0.026511 | 0.01002 | -0.66553 | 0.017922 | 0.0063364 | 1.089 | 0.028174 | -0.66847 | 0.017928
[32 empty] | Cycle 1 | 13.9745 | 15.194 | 20.0191 | 14.457 | 15.4167 | 20.6216 | 0.97998 | -0.63498
[32 empty] | Cycle 2 | 13.4554 | 14.6303 | 19.275 | 13.77 | 14.6848 | 19.6418 | 0.9858 | -0.67367
[32 empty] | Cycle 3 | 12.9623 | 14.0949 | 18.5689 | 13.125 | 13.9975 | 18.7224 | 1.0007 | -0.68205
[32 empty] | Cycle 4 | 12.4925 | 13.5844 | 17.8966 | 12.5201 | 13.3531 | 17.8597 | 1.0155 | -0.65127
[32 empty] | Cycle 5 | 12.0452 | 13.0982 | 17.2559 | 11.9526 | 12.7474 | 17.0502 | 0.9802 | -0.66273
[32 empty] | Cycle 6 | 11.6092 | 12.6237 | 16.6316 | 11.4102 | 12.1705 | 16.277 | 0.89665 | -0.66447
[32 empty] | Cycle 7 | 11.1985 | 12.178 | 16.0432 | 10.9052 | 11.6316 | 15.5569 | 0.96059 | -0.69295
[32 empty] | Cycle 8 |  |  |  | 10.4292 | 11.1243 | 14.8783
14 | GIRMS\IRMS-operator | 2026-07-08 17:54 | 2026-07-08 19:04 | Running | FALSE | MD23-3677Q - G. ruber | 124-126 | 14 | 2 | 20 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 14.216 V | 9.4984 kV | 93 µbar | Carbon Dioxide: -0.0016 kV | 103 µbar | 14.096 V | 16.300 V |  | 269 µbar/min | 14.331 V | 1.28E-007 mbar | 13 % | 970 µbar | 72 °C | µ-Volume | 93 µbar | Pre | 13.847 | 15.0575 | 19.8294 | 14.4126 | 15.3699 | 20.5574 | 1.1494 | -0.94671 | 1.1267 | 0.040878 | 0.014453 | -0.96464 | 0.01635 | 0.0057807 | 1.2413 | 0.043555 | -0.96822 | 0.016339
[32 empty] | Cycle 1 | 13.3516 | 14.5189 | 19.1203 | 13.7299 | 14.6408 | 19.584 | 1.129 | -0.95602
[32 empty] | Cycle 2 | 12.8752 | 14.0022 | 18.4385 | 13.088 | 13.9581 | 18.6689 | 1.1517 | -0.95324
[32 empty] | Cycle 3 | 12.4209 | 13.5081 | 17.7882 | 12.4854 | 13.3158 | 17.8097 | 1.1202 | -0.95264
[32 empty] | Cycle 4 | 11.9872 | 13.0377 | 17.1668 | 11.9184 | 12.7115 | 17.0011 | 1.1965 | -0.9817
[32 empty] | Cycle 5 | 11.5702 | 12.5834 | 16.5704 | 11.384 | 12.1417 | 16.2391 | 1.1155 | -0.95646
[32 empty] | Cycle 6 | 11.1721 | 12.1504 | 16.0002 | 10.8799 | 11.6043 | 15.5204 | 1.0881 | -0.9843
[32 empty] | Cycle 7 | 10.7975 | 11.7429 | 15.464 | 10.4058 | 11.0989 | 14.8444 | 1.0634 | -0.98602
[32 empty] | Cycle 8 |  |  |  | 9.9573 | 10.6207 | 14.2049
15 | GIRMS\IRMS-operator | 2026-07-08 18:34 | 2026-07-08 19:36 | Running | FALSE | MD23-3677Q - G. ruber | 116-118 | 15 | 1 | 21 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 17.234 V | 9.4984 kV | 130 µbar | Carbon Dioxide: -0.0016 kV | 1,288 µbar | 15.723 V | 20.018 V |  | 1,099 µbar/min | 13.601 V | 1.40E-007 mbar | 10 % | 995 µbar | 72 °C | µ-Volume | 96 µbar | Pre | 15.6389 | 17.0103 | 22.3854 | 16.1019 | 17.1687 | 22.9666 | 1.4943 | -1.376 | 1.4288 | 0.045015 | 0.015915 | -1.361 | 0.010569 | 0.0037368 | 1.5791 | 0.048221 | -1.3657 | 0.010594
[32 empty] | Cycle 1 | 15.0405 | 16.36 | 21.5302 | 15.3096 | 16.3248 | 21.8366 | 1.4686 | -1.344
[32 empty] | Cycle 2 | 14.47 | 15.74 | 20.7141 | 14.57 | 15.5372 | 20.7829 | 1.4249 | -1.3493
[32 empty] | Cycle 3 | 13.9302 | 15.1531 | 19.9413 | 13.878 | 14.8006 | 19.7958 | 1.3824 | -1.3609
[32 empty] | Cycle 4 | 13.4124 | 14.5906 | 19.2004 | 13.2281 | 14.108 | 18.8692 | 1.3878 | -1.3627
[32 empty] | Cycle 5 | 12.9143 | 14.0491 | 18.4879 | 12.617 | 13.4571 | 17.9979 | 1.3789 | -1.3592
[32 empty] | Cycle 6 | 12.4419 | 13.5362 | 17.8121 | 12.0449 | 12.8469 | 17.1822 | 1.4725 | -1.3645
[32 empty] | Cycle 7 | 11.9909 | 13.0453 | 17.1666 | 11.5047 | 12.2702 | 16.4121 | 1.4206 | -1.3716
[32 empty] | Cycle 8 |  |  |  | 10.9952 | 11.7281 | 15.6854
16 | GIRMS\IRMS-operator | 2026-07-08 19:04 | 2026-07-08 20:12 | Running | FALSE | MD23-3677Q - G. ruber | 108-110 | 16 | 2 | 21 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 14.990 V | 9.4983 kV | 93 µbar | Carbon Dioxide: -0.0017 kV | 111 µbar | 14.994 V | 17.261 V |  | 103 µbar/min | 14.994 V | 1.34E-007 mbar | 10 % | 977 µbar | 72 °C | µ-Volume | 93 µbar | Pre | 15.5262 | 16.886 | 22.2286 | 15.3988 | 16.4197 | 21.9632 | 1.3402 | -1.1447 | 1.3306 | 0.032693 | 0.011559 | -1.14 | 0.010306 | 0.0038955 | 1.4661 | 0.034786 | -1.1442 | 0.01035
[32 empty] | Cycle 1 | 14.9521 | 16.2632 | 21.407 | 14.6506 | 15.6231 | 20.8959 | 1.3754 | -1.1435
[32 empty] | Cycle 2 | 14.4047 | 15.6677 | 20.624 | 13.9512 | 14.878 | 19.8991 | 1.3281 | -1.1379
[32 empty] | Cycle 3 | 13.8821 | 15.1001 | 19.876 | 13.2972 | 14.181 | 18.9667 | 1.3661 | -1.1381
[32 empty] | Cycle 4 | 13.3799 | 14.5539 | 19.1578 | 12.6835 | 13.5266 | 18.0915 | 1.2963 | -1.1188
[32 empty] | Cycle 5 | 12.9003 | 14.0328 | 18.4705 | 12.105 | 12.9117 | 17.2672 | 1.277 | -1.1798
[32 empty] | Cycle 6 | 12.443 | 13.5357 | 17.8163 | 11.5612 | 12.3309 | 16.4913 | 1.3248 | -1.1469
[32 empty] | Cycle 7 | 12.0037 | 13.0583 | 17.1875 | 11.0472 | 11.783 | 15.7583 | 1.3365 | -1.1498
[32 empty] | Cycle 8 |  |  |  | 10.5625 | 11.2662 | 15.0672
17 | GIRMS\IRMS-operator | 2026-07-08 19:36 | 2026-07-08 20:55 | Running | FALSE | SHP2L |  | 17 | 1 | 22 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 12.817 V | 9.4986 kV | 150 µbar | Carbon Dioxide: -0.0014 kV | 1,314 µbar | 11.782 V | 14.629 V |  | 1,197 µbar/min | 2.788 V | 1.14E-007 mbar | 18 % | 970 µbar | 72 °C | µ-Volume | 96 µbar | Pre | 11.5271 | 12.5115 | 16.4265 | 11.9872 | 12.7851 | 17.0993 | -0.89818 | -5.9232 | -0.89341 | 0.028335 | 0.01071 | -5.9214 | 0.017755 | 0.0062773 | -0.73689 | 0.030259 | -5.9258 | 0.017824
[32 empty] | Cycle 1 | 11.1239 | 12.0744 | 15.852 | 11.4482 | 12.2106 | 16.331 | -0.85355 | -5.9208
[32 empty] | Cycle 2 | 10.7378 | 11.6566 | 15.3016 | 10.9408 | 11.6693 | 15.607 | -0.77123 | -5.9463
[32 empty] | Cycle 3 | 10.368 | 11.2543 | 14.775 | 10.463 | 11.1605 | 14.9259 | -0.92732 | -5.939
[32 empty] | Cycle 4 | 10.012 | 10.8684 | 14.2681 | 10.0118 | 10.6801 | 14.2822 | -0.92913 | -5.915
[32 empty] | Cycle 5 | 9.6702 | 10.4974 | 13.7815 | 9.5846 | 10.2245 | 13.6729 | -0.89783 | -5.8871
[32 empty] | Cycle 6 | 9.3435 | 10.1427 | 13.3156 | 9.1797 | 9.7919 | 13.0954 | -0.87481 | -5.9149
[32 empty] | Cycle 7 | 9.0296 | 9.8022 | 12.8684 | 8.7967 | 9.3834 | 12.5491 | -0.87305 | -5.9247
[32 empty] | Cycle 8 |  |  |  | 8.4335 | 8.9963 | 12.0313
18 | GIRMS\IRMS-operator | 2026-07-08 20:12 | 2026-07-08 21:25 | Running | FALSE | MD23-3677Q - G. ruber | 104-106 | 18 | 2 | 22 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  | 15.825 V | 9.4984 kV | 93 µbar | Carbon Dioxide: -0.0016 kV | 106 µbar | 15.492 V | 18.259 V |  | 244 µbar/min | 11.444 V | 1.37E-007 mbar | 11 % | 982 µbar | 72 °C | µ-Volume | 93 µbar | Pre | 15.2373 | 16.5697 | 21.8166 | 15.8671 | 16.9193 | 22.6313 | 1.2168 | -1.0854 | 1.1697 | 0.040856 | 0.014445 | -1.0918 | 0.0078599 | 0.0027789 | 1.292 | 0.043608 | -1.0956 | 0.0078337
[32 empty] | Cycle 1 | 14.6752 | 15.9589 | 21.0125 | 15.0895 | 16.0909 | 21.5226 | 1.1907 | -1.0786
[32 empty] | Cycle 2 | 14.14 | 15.3776 | 20.2464 | 14.3647 | 15.3187 | 20.4893 | 1.199 | -1.0905
[32 empty] | Cycle 3 | 13.629 | 14.8215 | 19.515 | 13.6855 | 14.5949 | 19.5211 | 1.0977 | -1.0998
[32 empty] | Cycle 4 | 13.1395 | 14.29 | 18.8145 | 13.0479 | 13.9167 | 18.6119 | 1.1177 | -1.0875
[32 empty] | Cycle 5 | 12.6676 | 13.7773 | 18.1389 | 12.4475 | 13.2758 | 17.7557 | 1.1738 | -1.1023
[32 empty] | Cycle 6 | 12.2188 | 13.2895 | 17.4967 | 11.8833 | 12.6739 | 16.9511 | 1.1832 | -1.0939
[32 empty] | Cycle 7 | 11.7904 | 12.8237 | 16.8833 | 11.3511 | 12.1067 | 16.1925 | 1.1788 | -1.0963
[32 empty] | Cycle 8 |  |  |  | 10.8498 | 11.5723 | 15.4772
19 | GIRMS\IRMS-operator | 2026-07-08 20:55 | 2026-07-08 21:57 | Running | FALSE | MD23-3677Q - G. ruber | 96-98 | 19 | 1 | 23 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 17.068 V | 9.4983 kV | 115 µbar | Carbon Dioxide: -0.0017 kV | 1,226 µbar | 15.754 V | 19.805 V |  | 781 µbar/min | 14.899 V | 1.40E-007 mbar | 10 % | 997 µbar | 72 °C | µ-Volume | 98 µbar | Pre | 15.6356 | 16.998 | 22.3881 | 16.1384 | 17.2079 | 23.0176 | 0.94651 | -1.0104 | 0.94388 | 0.011262 | 0.0042565 | -1.0236 | 0.019322 | 0.0068315 | 1.0478 | 0.011844 | -1.0268 | 0.019335
[32 empty] | Cycle 1 | 15.0409 | 16.352 | 21.537 | 15.3448 | 16.3632 | 21.8863 | 0.92426 | -1.0135
[32 empty] | Cycle 2 | 14.4713 | 15.7332 | 20.7221 | 14.6042 | 15.5737 | 20.8304 | 0.95156 | -0.99535
[32 empty] | Cycle 3 | 13.9312 | 15.1469 | 19.9487 | 13.911 | 14.8345 | 19.842 | 0.96063 | -1.0113
[32 empty] | Cycle 4 | 13.4159 | 14.5865 | 19.2112 | 13.2601 | 14.1417 | 18.9137 | 0.89658 | -1.0251
[32 empty] | Cycle 5 | 12.917 | 14.0446 | 18.4969 | 12.6477 | 13.4888 | 18.0413 | 0.94375 | -1.0475
[32 empty] | Cycle 6 | 12.442 | 13.5286 | 17.8169 | 12.0718 | 12.8743 | 17.22 | 0.93907 | -1.0492
[32 empty] | Cycle 7 | 11.9896 | 13.0375 | 17.1697 | 11.5295 | 12.2972 | 16.4467 | 0.94138 | -1.0362
[32 empty] | Cycle 8 |  |  |  | 11.0187 | 11.7523 | 15.7182
20 | GIRMS\IRMS-operator | 2026-07-08 21:25 | 2026-07-08 22:34 | Running | FALSE | MD23-3677Q - G. ruber | 88-90 | 20 | 2 | 23 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 15.395 V | 9.4983 kV | 93 µbar | Carbon Dioxide: -0.0017 kV | 96 µbar | 15.008 V | 17.690 V |  | 303 µbar/min | 15.043 V | 1.34E-007 mbar | 10 % | 982 µbar | 72 °C | µ-Volume | 96 µbar | Pre | 14.7624 | 16.0458 | 21.1442 | 15.4048 | 16.4267 | 21.9719 | 0.72793 | -0.72818 | 0.71379 | 0.013821 | 0.0048864 | -0.73643 | 0.015111 | 0.0053425 | 0.791 | 0.014868 | -0.73883 | 0.015131
[32 empty] | Cycle 1 | 14.2225 | 15.4594 | 20.371 | 14.6578 | 15.6308 | 20.9068 | 0.73034 | -0.74994
[32 empty] | Cycle 2 | 13.7069 | 14.8995 | 19.6333 | 13.9585 | 14.8852 | 19.9099 | 0.7304 | -0.7285
[32 empty] | Cycle 3 | 13.2159 | 14.3661 | 18.9303 | 13.3033 | 14.1875 | 18.9757 | 0.69518 | -0.73254
[32 empty] | Cycle 4 | 12.7447 | 13.8546 | 18.2558 | 12.688 | 13.5319 | 18.0984 | 0.70397 | -0.71153
[32 empty] | Cycle 5 | 12.2953 | 13.3662 | 17.6119 | 12.109 | 12.9148 | 17.2723 | 0.7071 | -0.74169
[32 empty] | Cycle 6 | 11.8617 | 12.8952 | 16.9914 | 11.5648 | 12.3344 | 16.497 | 0.70415 | -0.73773
[32 empty] | Cycle 7 | 11.4511 | 12.4491 | 16.4032 | 11.0522 | 11.7882 | 15.7658 | 0.71121 | -0.76134
[32 empty] | Cycle 8 |  |  |  | 10.5694 | 11.2732 | 15.0778
21 | GIRMS\IRMS-operator | 2026-07-08 21:57 | 2026-07-08 23:15 | Running | FALSE | MD23-3677Q - G. ruber | 80-82 | 21 | 1 | 24 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 15.813 V | 9.4986 kV | 118 µbar | Carbon Dioxide: -0.0014 kV | 1,224 µbar | 14.577 V | 18.240 V |  | 786 µbar/min | 2.791 V | 1.31E-007 mbar | 13 % | 985 µbar | 72 °C | µ-Volume | 96 µbar | Pre | 14.2445 | 15.4852 | 20.3978 | 14.8941 | 15.8833 | 21.244 | 0.8076 | -1.002 | 0.75937 | 0.02629 | 0.009295 | -1.006 | 0.01074 | 0.003797 | 0.84975 | 0.027922 | -1.0088 | 0.01072
[32 empty] | Cycle 1 | 13.7153 | 14.9093 | 19.6404 | 14.1772 | 15.1193 | 20.2227 | 0.72445 | -1.0115
[32 empty] | Cycle 2 | 13.2132 | 14.364 | 18.9215 | 13.5077 | 14.406 | 19.2678 | 0.74169 | -1.0126
[32 empty] | Cycle 3 | 12.7315 | 13.841 | 18.2323 | 12.88 | 13.7366 | 18.3725 | 0.77356 | -0.9868
[32 empty] | Cycle 4 | 12.2726 | 13.3421 | 17.5751 | 12.2905 | 13.1081 | 17.5318 | 0.73823 | -1.0082
[32 empty] | Cycle 5 | 11.8334 | 12.8651 | 16.9463 | 11.7364 | 12.5179 | 16.7421 | 0.75735 | -1.0206
[32 empty] | Cycle 6 | 11.4126 | 12.4082 | 16.3442 | 11.2139 | 11.9604 | 15.9967 | 0.77695 | -0.99552
[32 empty] | Cycle 7 | 11.0098 | 11.9703 | 15.7673 | 10.7203 | 11.4348 | 15.2928 | 0.75516 | -1.0108
[32 empty] | Cycle 8 |  |  |  | 10.2548 | 10.9378 | 14.6288
22 | GIRMS\IRMS-operator | 2026-07-08 22:34 | 2026-07-08 23:44 | Running | FALSE | SHP2L |  | 22 | 2 | 24 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.004 V |  | 7.063 V | 9.4984 kV | 91 µbar | Carbon Dioxide: -0.0016 kV | 123 µbar | 6.979 V | 7.862 V |  | 117 µbar/min | 14.070 V | 8.14E-008 mbar | 33 % | 894 µbar | 72 °C | µ-Volume | 93 µbar | Pre | 6.8776 | 7.4671 | 9.8024 | 7.0906 | 7.5636 | 10.1156 | -0.72076 | -5.8385 | -0.75487 | 0.034042 | 0.012035 | -5.8487 | 0.018419 | 0.0065121 | -0.59121 | 0.036762 | -5.8533 | 0.018476
[32 empty] | Cycle 1 | 6.6715 | 7.2433 | 9.5084 | 6.8125 | 7.267 | 9.7187 | -0.74481 | -5.8704
[32 empty] | Cycle 2 | 6.4721 | 7.0271 | 9.2243 | 6.5484 | 6.9853 | 9.3421 | -0.70089 | -5.8668
[32 empty] | Cycle 3 | 6.2762 | 6.8143 | 8.9451 | 6.2966 | 6.7168 | 8.9829 | -0.75867 | -5.8714
[32 empty] | Cycle 4 | 6.0876 | 6.6096 | 8.6765 | 6.0558 | 6.4605 | 8.6395 | -0.77352 | -5.8473
[32 empty] | Cycle 5 | 5.9048 | 6.4108 | 8.4162 | 5.8266 | 6.2156 | 8.3123 | -0.80587 | -5.8259
[32 empty] | Cycle 6 | 5.7296 | 6.2208 | 8.1664 | 5.6076 | 5.982 | 8.0001 | -0.78545 | -5.8392
[32 empty] | Cycle 7 | 5.5588 | 6.0357 | 7.923 | 5.3982 | 5.7587 | 7.701 | -0.74899 | -5.8301
[32 empty] | Cycle 8 |  |  |  | 5.1978 | 5.5452 | 7.4156