## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Pressure Adjust failed with Target Intensity | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-05-14 16:35 | 2026-05-14 17:30 | Running | FALSE | MD23-3678 - G. ruber | 1841 | 1 | 1 | 4 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 0.008 V | 9.5177 kV | 96 µbar | 93 µbar | Carbon Dioxide: 0.0177 kV | 115 µbar | 1.663 V | 0.008 V | 0.010 V | 469 µbar/min | 1.845 V | 3.53E-008 mbar | 100 % | 101 µbar | 72 °C | µ-Volume | Pre | 0.0079206 | 0.0084752 | 0.011169 | 1.727 | 1.843 | 2.4655 | -15.5731 | -17.0572 | -16.1704 | 0.78867 | 0.27884 | -19.1759 | 1.3866 | 0.49024 | -16.5905 | 0.83758 | -19.1602 | 1.3878
[32 empty] | Cycle 1 | 0.0076619 | 0.0081892 | 0.010774 | 1.6688 | 1.7809 | 2.3822 | -16.6627 | -19.8141
[32 empty] | Cycle 2 | 0.00751 | 0.0080206 | 0.010552 | 1.616 | 1.7244 | 2.3069 | -17.4127 | -20.5454
[32 empty] | Cycle 3 | 0.0073918 | 0.0079095 | 0.010384 | 1.5654 | 1.6705 | 2.2346 | -15.5184 | -20.7117
[32 empty] | Cycle 4 | 0.0072799 | 0.0077773 | 0.010255 | 1.5169 | 1.6187 | 2.1653 | -17.1006 | -18.0333
[32 empty] | Cycle 5 | 0.0071751 | 0.0076793 | 0.010098 | 1.4703 | 1.569 | 2.0988 | -15.3078 | -18.9382
[32 empty] | Cycle 6 | 0.0070688 | 0.0075619 | 0.0099336 | 1.4248 | 1.5204 | 2.0339 | -15.7839 | -20.3712
[32 empty] | Cycle 7 | 0.006964 | 0.0074481 | 0.0098107 | 1.3813 | 1.4741 | 1.9717 | -16.0037 | -17.9358
[32 empty] | Cycle 8 |  |  |  | 1.3391 | 1.4289 | 1.9116