## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Pressure Adjust failed with Target Intensity | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-08-05 10:27 | 2026-08-05 10:28 | Error | FALSE | MD23-3677Q - N. dutertrei | 936-938 | 0 | 1 | 21 | TRUE | Unknown |  | NA, NA, NA | [17 empty] | Pre
2 | GIRMS\IRMS-operator | 2026-08-05 10:35 | 2026-08-05 11:41 | Success | FALSE | MD23-3677Q - N. dutertrei | 932-934 | 2 | 2 | 21 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 25.777 V | 9.4988 kV | 147 µbar | 147 µbar | Carbon Dioxide: -0.0012 kV | 169 µbar | 11.089 V | 30.395 V | 23.316 V | 73 µbar/min | 2.791 V | 1.08E-007 mbar | 10 % | 1,134 µbar | 72 °C | µ-Volume | Pre | 24.8946 | 27.0724 | 35.7057 | 11.2609 | 12.0111 | 16.0668 | 0.93425 | 0.32934 | 1.0763 | 0.10132 | 0.035822 | 0.3856 | 0.030167 | 0.010666 | 1.1374 | 0.10736 | 0.38358 | 0.029984
[32 empty] | Cycle 1 | 23.8567 | 25.9457 | 34.2189 | 10.7643 | 11.4826 | 15.3581 | 0.9836 | 0.36614
[32 empty] | Cycle 2 | 22.8781 | 24.8823 | 32.8159 | 10.2957 | 10.9822 | 14.6902 | 1.0179 | 0.37545
[32 empty] | Cycle 3 | 21.9525 | 23.8768 | 31.489 | 9.8535 | 10.5111 | 14.0588 | 1.04 | 0.38722
[32 empty] | Cycle 4 | 21.0661 | 22.9145 | 30.2188 | 9.4333 | 10.0628 | 13.46 | 1.0946 | 0.39897
[32 empty] | Cycle 5 | 20.2279 | 22.0032 | 29.0164 | 9.0368 | 9.6404 | 12.8945 | 1.1232 | 0.38837
[32 empty] | Cycle 6 | 19.4334 | 21.1401 | 27.8775 | 8.6612 | 9.239 | 12.3586 | 1.186 | 0.40925
[32 empty] | Cycle 7 | 18.6822 | 20.3248 | 26.8005 | 8.3055 | 8.8602 | 11.8512 | 1.2306 | 0.43004
[32 empty] | Cycle 8 |  |  |  | 7.9682 | 8.5004 | 11.3697
3 | GIRMS\IRMS-operator | 2026-08-05 11:15 | 2026-08-05 12:07 | Success | FALSE | SHP2L |  | 3 | 1 | 22 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 48.363 V | 9.4986 kV | 135 µbar | 152 µbar | Carbon Dioxide: -0.0014 kV | 152 µbar | 10.810 V | 48.949 V | 36.606 V | 186 µbar/min | 10.824 V | 1.06E-007 mbar | 10 % | 1,143 µbar | 72 °C | µ-Volume | Pre | 39.4267 | 42.7262 | 48.9496 | 10.9862 | 11.7175 | 15.6747 | -2.5045 | -134.1035 | -2.2635 | 0.193 | 0.068236 | -22.3122 | 30.3798 | 11.4825 | -1.5486 | 0.99519 | -22.3308 | 30.4113
[32 empty] | Cycle 1 | 37.359 | 40.4891 | 48.9518 | 10.5074 | 11.2079 | 14.992 | -2.5156 | -86.1509
[32 empty] | Cycle 2 | 35.465 | 38.4435 | 48.9591 | 10.0547 | 10.7262 | 14.3461 | -2.3663 | -37.216
[32 empty] | Cycle 3 | 33.7047 | 36.5361 | 48.0092 | 9.626 | 10.2684 | 13.7347 | -2.292 | -6.6006
[32 empty] | Cycle 4 | 32.0658 | 34.7622 | 45.6753 | 9.2196 | 9.8343 | 13.1549 | -2.2116 | -6.5987
[32 empty] | Cycle 5 | 30.5305 | 33.1003 | 43.4907 | 8.8349 | 9.4244 | 12.6062 | -2.1679 | -6.575
[32 empty] | Cycle 6 | 29.1086 | 31.5623 | 41.4676 | 8.4703 | 9.0357 | 12.0865 | -2.059 | -6.5377
[32 empty] | Cycle 7 | 27.7783 | 30.1226 | 39.5736 | 8.1242 | 8.6664 | 11.5926 | -1.9914 | -6.5065
[32 empty] | Cycle 8 |  |  |  | 7.7951 | 8.3157 | 11.123
4 | GIRMS\IRMS-operator | 2026-08-05 11:41 | 2026-08-05 12:45 | Running | FALSE | MD23-3677Q - N. dutertrei | 928-930 | 4 | 2 | 22 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 21.169 V | 9.4987 kV | 135 µbar | 140 µbar | Carbon Dioxide: -0.0013 kV | 147 µbar | 10.476 V | 24.812 V | 19.511 V | 371 µbar/min | 10.492 V | 1.03E-007 mbar | 10 % | 1,100 µbar | 72 °C | µ-Volume | Pre | 20.7482 | 22.5601 | 29.7516 | 10.6513 | 11.3616 | 15.197 | 0.78993 | 0.084447 | 0.93141 | 0.082325 | 0.029106 | 0.12977 | 0.031914 | 0.011283 | 0.99184 | 0.0871 | 0.1278 | 0.031792
[32 empty] | Cycle 1 | 19.9314 | 21.6734 | 28.581 | 10.1905 | 10.87 | 14.5396 | 0.84068 | 0.093744
[32 empty] | Cycle 2 | 19.1546 | 20.8304 | 27.4677 | 9.7537 | 10.4044 | 13.9168 | 0.93879 | 0.10659
[32 empty] | Cycle 3 | 18.4123 | 20.0235 | 26.4036 | 9.3403 | 9.9629 | 13.3269 | 0.93368 | 0.12205
[32 empty] | Cycle 4 | 17.7027 | 19.2525 | 25.3872 | 8.9486 | 9.5459 | 12.768 | 0.92673 | 0.16108
[32 empty] | Cycle 5 | 17.0302 | 18.522 | 24.4229 | 8.5774 | 9.1499 | 12.2386 | 0.97831 | 0.15486
[32 empty] | Cycle 6 | 16.3782 | 17.8138 | 23.4886 | 8.226 | 8.775 | 11.7372 | 1.0037 | 0.16017
[32 empty] | Cycle 7 | 15.7632 | 17.1456 | 22.607 | 7.8908 | 8.4179 | 11.2594 | 1.0395 | 0.15521
[32 empty] | Cycle 8 |  |  |  | 7.574 | 8.0796 | 10.8075
5 | GIRMS\IRMS-operator | 2026-08-05 12:07 | 2026-08-05 13:19 | Running | FALSE | MD23-3677Q - N. dutertrei | 924-926 | 5 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 6.939 V | 9.4988 kV | 135 µbar | 1,073 µbar | Carbon Dioxide: -0.0012 kV | 162 µbar | 6.413 V | 7.716 V |  | 313 µbar/min | 10.209 V | 7.60E-008 mbar | 25 % | 1,112 µbar | 72 °C | µ-Volume | Pre | 6.3012 | 6.8618 | 9.0405 | 6.5153 | 6.9515 | 9.297 | 2.039 | 0.52941 | 1.9908 | 0.046791 | 0.016543 | 0.52189 | 0.019898 | 0.0070351 | 2.1109 | 0.049553 | 0.51795 | 0.019845
[32 empty] | Cycle 1 | 6.1139 | 6.6575 | 8.7718 | 6.2639 | 6.6832 | 8.9381 | 1.9865 | 0.53008
[32 empty] | Cycle 2 | 5.9333 | 6.4609 | 8.5126 | 6.0243 | 6.4277 | 8.5963 | 2.0045 | 0.5221
[32 empty] | Cycle 3 | 5.7581 | 6.2705 | 8.2614 | 5.7963 | 6.1842 | 8.2709 | 2.0731 | 0.54171
[32 empty] | Cycle 4 | 5.588 | 6.0845 | 8.0172 | 5.5785 | 5.9518 | 7.9599 | 1.953 | 0.51987
[32 empty] | Cycle 5 | 5.4219 | 5.9037 | 7.7789 | 5.371 | 5.7306 | 7.6644 | 1.9355 | 0.48864
[32 empty] | Cycle 6 | 5.2623 | 5.7302 | 7.55 | 5.1725 | 5.5191 | 7.3811 | 1.9528 | 0.49771
[32 empty] | Cycle 7 | 5.1052 | 5.5594 | 7.325 | 4.983 | 5.3169 | 7.1106 | 1.9819 | 0.54557
[32 empty] | Cycle 8 |  |  |  | 4.8013 | 5.1231 | 6.8515
6 | GIRMS\IRMS-operator | 2026-08-05 12:45 | 2026-08-05 14:05 | Running | FALSE | MD23-3677Q - N. dutertrei | 920-922 | 6 | 2 | 23 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 27.821 V | 9.4989 kV | 135 µbar | 135 µbar | Carbon Dioxide: -0.0011 kV | 169 µbar | 10.982 V | 33.754 V | 24.798 V | 381 µbar/min | 2.786 V | 1.06E-007 mbar | 10 % | 1,109 µbar | 72 °C | µ-Volume | Pre | 26.8548 | 29.204 | 38.5108 | 11.1559 | 11.8999 | 15.9175 | 0.94002 | 0.11609 | 1.0761 | 0.10307 | 0.03644 | 0.17161 | 0.039285 | 0.013889 | 1.1451 | 0.10908 | 0.16936 | 0.039133
[32 empty] | Cycle 1 | 25.6099 | 27.8521 | 36.7257 | 10.6651 | 11.3759 | 15.2175 | 0.99039 | 0.11022
[32 empty] | Cycle 2 | 24.451 | 26.5926 | 35.0655 | 10.2018 | 10.8826 | 14.5565 | 0.97746 | 0.15671
[32 empty] | Cycle 3 | 23.3622 | 25.4107 | 33.5053 | 9.7651 | 10.4167 | 13.9333 | 1.0503 | 0.20055
[32 empty] | Cycle 4 | 22.3336 | 24.2936 | 32.0299 | 9.3515 | 9.9759 | 13.3431 | 1.1054 | 0.18421
[32 empty] | Cycle 5 | 21.3638 | 23.24 | 30.6405 | 8.9603 | 9.5585 | 12.7852 | 1.1412 | 0.19803
[32 empty] | Cycle 6 | 20.4497 | 22.247 | 29.3302 | 8.5867 | 9.1604 | 12.2527 | 1.1762 | 0.20391
[32 empty] | Cycle 7 | 19.5869 | 21.3096 | 28.0929 | 8.2352 | 8.7854 | 11.7509 | 1.2277 | 0.20311
[32 empty] | Cycle 8 |  |  |  | 7.9015 | 8.4295 | 11.2751
7 | GIRMS\IRMS-operator | 2026-08-05 13:19 | 2026-08-05 14:31 | Running | FALSE | MD23-3677Q - N. dutertrei | 916-918 | 7 | 1 | 24 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 23.296 V | 9.4987 kV | 125 µbar | 137 µbar | Carbon Dioxide: -0.0013 kV | 137 µbar | 10.708 V | 27.471 V | 21.275 V | 147 µbar/min | 10.723 V | 1.05E-007 mbar | 10 % | 1,100 µbar | 72 °C | µ-Volume | Pre | 22.74 | 24.7341 | 32.6027 | 10.8832 | 11.6098 | 15.5279 | 1.0328 | -0.075106 | 1.1758 | 0.089548 | 0.03166 | -0.041877 | 0.022554 | 0.007974 | 1.2597 | 0.095112 | -0.044579 | 0.022407
[32 empty] | Cycle 1 | 21.7929 | 23.7058 | 31.2455 | 10.4078 | 11.1029 | 14.8498 | 1.1126 | -0.072258
[32 empty] | Cycle 2 | 20.8867 | 22.7217 | 29.9475 | 9.9596 | 10.6246 | 14.2107 | 1.1382 | -0.043929
[32 empty] | Cycle 3 | 20.0339 | 21.7948 | 28.7251 | 9.5346 | 10.1723 | 13.6043 | 1.1299 | -0.041399
[32 empty] | Cycle 4 | 19.2237 | 20.9143 | 27.5638 | 9.1318 | 9.7424 | 13.0299 | 1.1783 | -0.029243
[32 empty] | Cycle 5 | 18.459 | 20.0837 | 26.4678 | 8.7513 | 9.3366 | 12.4867 | 1.252 | -0.034174
[32 empty] | Cycle 6 | 17.7345 | 19.2964 | 25.4298 | 8.3901 | 8.9509 | 11.9722 | 1.285 | -0.031792
[32 empty] | Cycle 7 | 17.0445 | 18.5464 | 24.4408 | 8.0478 | 8.5864 | 11.4836 | 1.278 | -0.0071137
[32 empty] | Cycle 8 |  |  |  | 7.7221 | 8.239 | 11.0187
8 | GIRMS\IRMS-operator | 2026-08-05 14:05 | 2026-08-05 15:08 | Running | FALSE | SHP2L |  | 8 | 2 | 24 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 34.948 V | 9.4986 kV | 130 µbar | 132 µbar | Carbon Dioxide: -0.0014 kV | 154 µbar | 10.388 V | 43.607 V | 31.354 V | 103 µbar/min | 10.401 V | 1.03E-007 mbar | 10 % | 1,114 µbar | 72 °C | µ-Volume | Pre | 34.3576 | 37.2422 | 48.8941 | 10.5588 | 11.2619 | 15.0652 | -2.2583 | -7.4867 | -2.0247 | 0.19251 | 0.068062 | -6.4192 | 0.055781 | 0.021083 | -1.9238 | 0.19791 | -6.4216 | 0.055464
[32 empty] | Cycle 1 | 32.6089 | 35.3507 | 46.4516 | 10.1039 | 10.7773 | 14.4162 | -2.2027 | -6.507
[32 empty] | Cycle 2 | 30.978 | 33.5855 | 44.1304 | 9.672 | 10.3172 | 13.8001 | -2.1603 | -6.4719
[32 empty] | Cycle 3 | 29.4609 | 31.9441 | 41.9705 | 9.2641 | 9.8824 | 13.2182 | -2.0898 | -6.4437
[32 empty] | Cycle 4 | 28.0491 | 30.4157 | 39.9603 | 8.8776 | 9.4705 | 12.6667 | -2.032 | -6.3994
[32 empty] | Cycle 5 | 26.7298 | 28.988 | 38.0824 | 8.5114 | 9.0799 | 12.1439 | -1.9262 | -6.3807
[32 empty] | Cycle 6 | 25.4941 | 27.6505 | 36.3239 | 8.1641 | 8.7093 | 11.6493 | -1.813 | -6.3666
[32 empty] | Cycle 7 | 24.3318 | 26.3926 | 34.6684 | 7.8329 | 8.3558 | 11.1768 | -1.7149 | -6.3649
[32 empty] | Cycle 8 |  |  |  | 7.5197 | 8.0218 | 10.73