## Sheet1
New Table
Sample | [12 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[32 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[32 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-07-07 11:10 | 2026-07-07 12:08 | Running | FALSE | SHP2L |  | 1 | 2 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 10.857 V | 9.4989 kV | 98 µbar | 101 µbar | Carbon Dioxide: -0.0011 kV | 123 µbar | 10.030 V | 12.234 V | 103 µbar/min | 2.794 V | 1.02E-007 mbar | 23 % | 975 µbar | 72 °C | µ-Volume |  | Pre | 9.9038 | 10.751 | 14.1125 | 10.1872 | 10.8655 | 14.5323 | -0.80007 | -5.9878 | -0.80805 | 0.028416 | 0.010046 | -5.9695 | 0.018099 | 0.0063991 | -0.64364 | 0.030093 | -5.9741 | 0.018089
[31 empty] | Cycle 1 | 9.5741 | 10.3937 | 13.6433 | 9.7476 | 10.3973 | 13.905 | -0.78422 | -5.9521
[31 empty] | Cycle 2 | 9.2585 | 10.0516 | 13.1936 | 9.3334 | 9.9558 | 13.3144 | -0.76217 | -5.9628
[31 empty] | Cycle 3 | 8.9549 | 9.7216 | 12.7613 | 8.9423 | 9.5388 | 12.7565 | -0.81725 | -5.9398
[31 empty] | Cycle 4 | 8.6641 | 9.4058 | 12.3465 | 8.5716 | 9.1433 | 12.2277 | -0.8414 | -5.9882
[31 empty] | Cycle 5 | 8.3841 | 9.1017 | 11.9475 | 8.2199 | 8.7686 | 11.7264 | -0.84781 | -5.9888
[31 empty] | Cycle 6 | 8.1144 | 8.8093 | 11.5633 | 7.8867 | 8.4127 | 11.2508 | -0.79775 | -5.9677
[31 empty] | Cycle 7 | 7.8546 | 8.5275 | 11.1933 | 7.5698 | 8.0749 | 10.7986 | -0.81375 | -5.969
[31 empty] | Cycle 8 |  |  |  | 7.2687 | 7.7543 | 10.3697
2 | GIRMS\IRMS-operator | 2026-07-07 11:43 | 2026-07-07 12:39 | Running | FALSE | MD23-3678 - N. dutertri | 1461 | 2 | 2 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 13.119 V | 9.4988 kV | 101 µbar | 101 µbar | Carbon Dioxide: -0.0012 kV | 125 µbar | 12.083 V | 14.892 V | 39 µbar/min | 9.775 V | 1.15E-007 mbar | 18 % | 1,002 µbar | 72 °C | µ-Volume |  | Pre | 11.8433 | 12.8864 | 16.974 | 12.3063 | 13.1245 | 17.5526 | 1.6327 | -0.11219 | 1.6405 | 0.014411 | 0.005095 | -0.1289 | 0.020935 | 0.0074018 | 1.7601 | 0.015069 | -0.13275 | 0.020942
[31 empty] | Cycle 1 | 11.4492 | 12.458 | 16.4097 | 11.7495 | 12.5314 | 16.7591 | 1.6413 | -0.10112
[31 empty] | Cycle 2 | 11.0707 | 12.0464 | 15.8673 | 11.2256 | 11.9724 | 16.0119 | 1.653 | -0.12077
[31 empty] | Cycle 3 | 10.7057 | 11.6499 | 15.3442 | 10.7313 | 11.4457 | 15.3077 | 1.6583 | -0.13182
[31 empty] | Cycle 4 | 10.3509 | 11.264 | 14.8359 | 10.2651 | 10.9491 | 14.6421 | 1.6553 | -0.12302
[31 empty] | Cycle 5 | 10.0118 | 10.8948 | 14.3502 | 9.8241 | 10.4786 | 14.0139 | 1.6371 | -0.12413
[31 empty] | Cycle 6 | 9.685 | 10.5394 | 13.8815 | 9.4063 | 10.0331 | 13.4179 | 1.6291 | -0.1647
[31 empty] | Cycle 7 | 9.3726 | 10.1996 | 13.4342 | 9.0117 | 9.6125 | 12.8554 | 1.6169 | -0.15347
[31 empty] | Cycle 8 |  |  |  | 8.6378 | 9.2139 | 12.3223
3 | GIRMS\IRMS-operator | 2026-07-07 12:08 | 2026-07-07 13:08 | Running | FALSE | MD23-3678 - N. dutertri | 1453 | 1 | 3 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 15.199 V | 9.4988 kV | 101 µbar | 103 µbar | Carbon Dioxide: -0.0012 kV | 125 µbar | 15.061 V | 17.413 V | 283 µbar/min | 11.713 V | 1.36E-007 mbar | 12 % | 1,021 µbar | 72 °C | µ-Volume |  | Pre | 14.8097 | 16.1103 | 21.2275 | 15.446 | 16.4699 | 22.03 | 1.588 | 0.024969 | 1.5573 | 0.021752 | 0.0076904 | -0.006236 | 0.017248 | 0.006098 | 1.6666 | 0.022926 | -0.0097623 | 0.017239
[31 empty] | Cycle 1 | 14.2687 | 15.5223 | 20.4521 | 14.6974 | 15.6723 | 20.963 | 1.5775 | 0.0016462
[31 empty] | Cycle 2 | 13.7518 | 14.9598 | 19.7115 | 13.9966 | 14.9257 | 19.9639 | 1.5178 | -0.010639
[31 empty] | Cycle 3 | 13.2557 | 14.4211 | 19.0005 | 13.3382 | 14.2245 | 19.0255 | 1.5458 | -0.030745
[31 empty] | Cycle 4 | 12.7845 | 13.9091 | 18.3257 | 12.7211 | 13.5666 | 18.1454 | 1.5584 | -0.0083173
[31 empty] | Cycle 5 | 12.3317 | 13.4166 | 17.6771 | 12.1415 | 12.9489 | 17.3188 | 1.5598 | 0.0049221
[31 empty] | Cycle 6 | 11.8956 | 12.9427 | 17.0519 | 11.5945 | 12.3655 | 16.539 | 1.5668 | -0.023356
[31 empty] | Cycle 7 | 11.4809 | 12.4918 | 16.4581 | 11.0801 | 11.8178 | 15.8056 | 1.5442 | -0.0083684
[31 empty] | Cycle 8 |  |  |  | 10.5947 | 11.3001 | 15.1134
4 | GIRMS\IRMS-operator | 2026-07-07 12:39 | 2026-07-07 13:45 | Running | FALSE | MD23-3678 - N. dutertri | 1445 | 2 | 3 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 13.796 V | 9.4987 kV | 103 µbar | 101 µbar | Carbon Dioxide: -0.0013 kV | 101 µbar | 13.707 V | 15.740 V | 278 µbar/min | 14.419 V | 1.27E-007 mbar | 13 % | 997 µbar | 72 °C | µ-Volume |  | Pre | 13.4852 | 14.6758 | 19.3264 | 14.0437 | 14.9757 | 20.0302 | 1.9719 | -0.12568 | 1.9068 | 0.034717 | 0.012274 | -0.13474 | 0.025442 | 0.0089949 | 2.0453 | 0.036622 | -0.13919 | 0.025424
[31 empty] | Cycle 1 | 13.0158 | 14.1648 | 18.6548 | 13.3835 | 14.2717 | 19.0894 | 1.9297 | -0.090726
[31 empty] | Cycle 2 | 12.5635 | 13.6733 | 18.0061 | 12.7636 | 13.6115 | 18.2054 | 1.9002 | -0.14441
[31 empty] | Cycle 3 | 12.1307 | 13.2027 | 17.3866 | 12.181 | 12.9913 | 17.375 | 1.8965 | -0.12915
[31 empty] | Cycle 4 | 11.7149 | 12.7503 | 16.7904 | 11.6323 | 12.406 | 16.5928 | 1.9154 | -0.15401
[31 empty] | Cycle 5 | 11.3174 | 12.3178 | 16.221 | 11.114 | 11.8532 | 15.8534 | 1.889 | -0.15325
[31 empty] | Cycle 6 | 10.9356 | 11.9023 | 15.6739 | 10.626 | 11.3337 | 15.1581 | 1.8512 | -0.16872
[31 empty] | Cycle 7 | 10.5692 | 11.5043 | 15.1496 | 10.1648 | 10.8419 | 14.5 | 1.9005 | -0.11198
[31 empty] | Cycle 8 |  |  |  | 9.7296 | 10.3778 | 13.8791
5 | GIRMS\IRMS-operator | 2026-07-07 13:08 | 2026-07-07 14:31 | Running | FALSE | MD23-3678 - N. dutertri | 1437 | 1 | 4 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.700 V | 9.4987 kV | 101 µbar | 103 µbar | Carbon Dioxide: -0.0013 kV | 113 µbar | 10.777 V | 13.227 V | 269 µbar/min | 2.788 V | 1.07E-007 mbar | 21 % | 995 µbar | 72 °C | µ-Volume |  | Pre | 10.557 | 11.4879 | 15.1317 | 10.9562 | 11.6854 | 15.6291 | 1.6737 | -0.13114 | 1.6319 | 0.032541 | 0.011505 | -0.11232 | 0.01863 | 0.0065866 | 1.7503 | 0.03457 | -0.11613 | 0.018622
[31 empty] | Cycle 1 | 10.1993 | 11.0992 | 14.6197 | 10.4737 | 11.171 | 14.9405 | 1.6746 | -0.093284
[31 empty] | Cycle 2 | 9.8578 | 10.7275 | 14.1302 | 10.0184 | 10.6862 | 14.2914 | 1.6487 | -0.096414
[31 empty] | Cycle 3 | 9.5301 | 10.3706 | 13.6607 | 9.5904 | 10.2295 | 13.6807 | 1.6176 | -0.088276
[31 empty] | Cycle 4 | 9.2137 | 10.0267 | 13.2072 | 9.1863 | 9.7987 | 13.1046 | 1.6412 | -0.10393
[31 empty] | Cycle 5 | 8.9086 | 9.6945 | 12.7697 | 8.8025 | 9.3894 | 12.5573 | 1.5892 | -0.12712
[31 empty] | Cycle 6 | 8.6122 | 9.3725 | 12.3452 | 8.438 | 9.001 | 12.0374 | 1.6035 | -0.13251
[31 empty] | Cycle 7 | 8.3312 | 9.0668 | 11.9424 | 8.0882 | 8.6281 | 11.5389 | 1.6067 | -0.12591
[31 empty] | Cycle 8 |  |  |  | 7.7607 | 8.2789 | 11.0713
6 | GIRMS\IRMS-operator | 2026-07-07 13:45 | 2026-07-07 15:01 | Running | FALSE | SHP2L |  | 2 | 4 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.003 V |  | 5.603 V | 9.4987 kV | 103 µbar | 101 µbar | Carbon Dioxide: -0.0013 kV | 113 µbar | 5.263 V | 6.164 V | 303 µbar/min | 10.483 V | 7.02E-008 mbar | 45 % | 899 µbar | 72 °C | µ-Volume |  | Pre | 5.1903 | 5.6348 | 7.3973 | 5.3562 | 5.7138 | 7.6412 | -0.85987 | -5.8697 | -0.81308 | 0.040656 | 0.014374 | -5.8803 | 0.01066 | 0.0040292 | -0.65259 | 0.042851 | -5.8848 | 0.010652
[31 empty] | Cycle 1 | 5.0432 | 5.4757 | 7.1876 | 5.1579 | 5.5026 | 7.3583 | -0.77752 | -5.8632
[31 empty] | Cycle 2 | 4.9009 | 5.3211 | 6.9846 | 4.969 | 5.3009 | 7.0885 | -0.81094 | -5.8816
[31 empty] | Cycle 3 | 4.7628 | 5.171 | 6.788 | 4.7882 | 5.1083 | 6.8308 | -0.84248 | -5.8936
[31 empty] | Cycle 4 | 4.6287 | 5.0256 | 6.597 | 4.6151 | 4.9235 | 6.5841 | -0.81484 | -5.8893
[31 empty] | Cycle 5 | 4.4981 | 4.8837 | 6.4109 | 4.4489 | 4.7462 | 6.347 | -0.83941 | -5.8804
[31 empty] | Cycle 6 | 4.374 | 4.7491 | 6.2339 | 4.2901 | 4.577 | 6.1205 | -0.82638 | -5.8844
[31 empty] | Cycle 7 | 4.2517 | 4.6167 | 6.0598 | 4.1383 | 4.415 | 5.9036 | -0.73324 | -5.8246
[31 empty] | Cycle 8 |  |  |  | 3.9927 | 4.2597 | 5.696
7 | GIRMS\IRMS-operator | 2026-07-07 14:31 | 2026-07-07 15:31 | Running | FALSE | MD23-3678 - N. dutertri | 1429 | 1 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 0.006 V | 9.4986 kV | 101 µbar | 103 µbar | Carbon Dioxide: -0.0014 kV | 101 µbar | 2.572 V | 0.006 V | 361 µbar/min | 5.188 V | 5.05E-008 mbar | 100 % | 106 µbar | 72 °C | µ-Volume | 0.011 V | Pre | 0.0066472 | 0.0071341 | 0.0094732 | 2.6553 | 2.8332 | 3.7882 | -12.4319 | -5.9291 | -12.297 | 1.2991 | 0.4593 | -8.7753 | 1.9034 | 0.67295 | -12.833 | 1.375 | -8.7571 | 1.9048
[31 empty] | Cycle 1 | 0.0062747 | 0.0067261 | 0.0089268 | 2.5634 | 2.7349 | 3.6567 | -13.625 | -7.6166
[31 empty] | Cycle 2 | 0.0060863 | 0.0065247 | 0.0086388 | 2.4779 | 2.6439 | 3.5348 | -13.5575 | -9.927
[31 empty] | Cycle 3 | 0.0059512 | 0.0063781 | 0.0084326 | 2.3962 | 2.5566 | 3.4185 | -13.8262 | -11.6392
[31 empty] | Cycle 4 | 0.005833 | 0.0062661 | 0.0083065 | 2.3178 | 2.473 | 3.3065 | -11.4552 | -6.674
[31 empty] | Cycle 5 | 0.0057239 | 0.0061455 | 0.0081234 | 2.2422 | 2.3921 | 3.1988 | -11.9689 | -10.0436
[31 empty] | Cycle 6 | 0.0056249 | 0.0060435 | 0.0079888 | 2.1697 | 2.3149 | 3.0952 | -11.2742 | -9.2996
[31 empty] | Cycle 7 | 0.005522 | 0.0059392 | 0.0078446 | 2.1003 | 2.2407 | 2.9961 | -10.2374 | -9.0735
[31 empty] | Cycle 8 |  |  |  | 2.0333 | 2.1693 | 2.9007
8 | GIRMS\IRMS-operator | 2026-07-07 15:01 | 2026-07-07 16:09 | Running | FALSE | MD23-3678 - N. dutertri | 1421 | 2 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 12.734 V | 9.4986 kV | 106 µbar | 103 µbar | Carbon Dioxide: -0.0014 kV | 106 µbar | 11.855 V | 14.505 V | 298 µbar/min | 2.560 V | 1.14E-007 mbar | 17 % | 1,004 µbar | 72 °C | µ-Volume |  | Pre | 11.6724 | 12.6997 | 16.7264 | 12.0841 | 12.8871 | 17.2358 | 1.5882 | -0.27486 | 1.5632 | 0.017934 | 0.0067785 | -0.30417 | 0.026818 | 0.0094817 | 1.6839 | 0.019409 | -0.308 | 0.026854
[31 empty] | Cycle 1 | 11.2767 | 12.2692 | 16.1596 | 11.5361 | 12.3037 | 16.4547 | 1.5444 | -0.27625
[31 empty] | Cycle 2 | 10.8966 | 11.8562 | 15.6154 | 11.0212 | 11.7549 | 15.7205 | 1.5544 | -0.27797
[31 empty] | Cycle 3 | 10.5326 | 11.46 | 15.0936 | 10.5367 | 11.2384 | 15.0299 | 1.5585 | -0.30095
[31 empty] | Cycle 4 | 10.1852 | 11.0825 | 14.5955 | 10.08 | 10.7506 | 14.3784 | 1.5854 | -0.3435
[31 empty] | Cycle 5 | 9.847 | 10.715 | 14.1113 | 9.6491 | 10.2921 | 13.7644 | 1.5668 | -0.32824
[31 empty] | Cycle 6 | 9.5232 | 10.3626 | 13.6473 | 9.2411 | 9.8572 | 13.1823 | 1.5447 | -0.3281
[31 empty] | Cycle 7 | 9.2069 | 10.0184 | 13.1945 | 8.8548 | 9.4452 | 12.6316 | 1.4871 | -0.30347
[31 empty] | Cycle 8 |  |  |  | 8.4892 | 9.0562 | 12.1098
9 | GIRMS\IRMS-operator | 2026-07-07 15:31 | 2026-07-07 16:50 | Running | FALSE | MD23-3678 - N. dutertri | 1413 | 1 | 6 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 10.796 V | 9.4986 kV | 101 µbar | 106 µbar | Carbon Dioxide: -0.0014 kV | 120 µbar | 9.988 V | 12.159 V | 278 µbar/min | 2.788 V | 1.02E-007 mbar | 23 % | 992 µbar | 72 °C | µ-Volume |  | Pre | 9.7884 | 10.6469 | 14.0257 | 10.1457 | 10.8213 | 14.4723 | 1.2029 | -0.41698 | 1.1774 | 0.03517 | 0.012435 | -0.41063 | 0.0077391 | 0.0027362 | 1.2751 | 0.037847 | -0.41373 | 0.007807
[31 empty] | Cycle 1 | 9.4675 | 10.2981 | 13.566 | 9.7085 | 10.3552 | 13.8486 | 1.1945 | -0.41046
[31 empty] | Cycle 2 | 9.1587 | 9.9622 | 13.1237 | 9.2966 | 9.9163 | 13.2612 | 1.1394 | -0.39904
[31 empty] | Cycle 3 | 8.8617 | 9.6395 | 12.6981 | 8.9063 | 9.5008 | 12.7045 | 1.1517 | -0.41072
[31 empty] | Cycle 4 | 8.5769 | 9.3296 | 12.2904 | 8.537 | 9.1065 | 12.178 | 1.1676 | -0.40351
[31 empty] | Cycle 5 | 8.3014 | 9.0299 | 11.8955 | 8.1878 | 8.7338 | 11.6801 | 1.1965 | -0.40925
[31 empty] | Cycle 6 | 8.0357 | 8.7407 | 11.5149 | 7.8558 | 8.3795 | 11.2063 | 1.1331 | -0.4106
[31 empty] | Cycle 7 | 7.7796 | 8.4632 | 11.1481 | 7.5398 | 8.0432 | 10.7559 | 1.2339 | -0.42449
[31 empty] | Cycle 8 |  |  |  | 7.2396 | 7.7225 | 10.3277
10 | GIRMS\IRMS-operator | 2026-07-07 16:09 | 2026-07-07 17:19 | Running | FALSE | MD23-3678 - N. dutertri | 1409 | 2 | 6 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 15.350 V | 9.4986 kV | 106 µbar | 103 µbar | Carbon Dioxide: -0.0014 kV | 108 µbar | 15.342 V | 17.647 V | 303 µbar/min | 9.744 V | 1.36E-007 mbar | 12 % | 1,029 µbar | 72 °C | µ-Volume |  | Pre | 15.0502 | 16.3636 | 21.5674 | 15.7194 | 16.7609 | 22.4198 | 1.0998 | -0.17436 | 1.0418 | 0.030003 | 0.010608 | -0.17714 | 0.0079743 | 0.0028194 | 1.1213 | 0.032145 | -0.17968 | 0.0079922
[31 empty] | Cycle 1 | 14.5092 | 15.7754 | 20.7925 | 14.95 | 15.9416 | 21.3225 | 1.0259 | -0.17792
[31 empty] | Cycle 2 | 13.9949 | 15.2172 | 20.056 | 14.2296 | 15.1746 | 20.2957 | 1.0545 | -0.17221
[31 empty] | Cycle 3 | 13.5079 | 14.6881 | 19.3584 | 13.5571 | 14.4573 | 19.3366 | 1.0606 | -0.18068
[31 empty] | Cycle 4 | 13.0372 | 14.1764 | 18.6845 | 12.9276 | 13.7868 | 18.4395 | 1.0203 | -0.16787
[31 empty] | Cycle 5 | 12.5859 | 13.6857 | 18.0379 | 12.3354 | 13.1558 | 17.5951 | 1.0058 | -0.16838
[31 empty] | Cycle 6 | 12.1535 | 13.2163 | 17.4181 | 11.7777 | 12.5608 | 16.7996 | 1.0457 | -0.18987
[31 empty] | Cycle 7 | 11.7284 | 12.7543 | 16.8093 | 11.252 | 12.0008 | 16.0501 | 1.0219 | -0.18581
[31 empty] | Cycle 8 |  |  |  | 10.7543 | 11.4704 | 15.3408
11 | GIRMS\IRMS-operator | 2026-07-07 16:50 | 2026-07-07 17:55 | Running | FALSE | SHP2L |  | 1 | 7 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.004 V |  | 3.274 V | 9.4985 kV | 103 µbar | 103 µbar | Carbon Dioxide: -0.0015 kV | 115 µbar | 3.048 V | 3.524 V | 288 µbar/min | 14.736 V | 5.44E-008 mbar | 77 % | 806 µbar | 72 °C | µ-Volume |  | Pre | 3.0007 | 3.2581 | 4.2762 | 3.1324 | 3.3418 | 4.4689 | -0.77342 | -5.9775 | -0.79167 | 0.02755 | 0.010413 | -5.9653 | 0.022957 | 0.0081166 | -0.62625 | 0.029242 | -5.9699 | 0.022961
[31 empty] | Cycle 1 | 2.9211 | 3.1714 | 4.1627 | 3.0268 | 3.229 | 4.3177 | -0.83483 | -5.9548
[31 empty] | Cycle 2 | 2.8448 | 3.0892 | 4.0541 | 2.925 | 3.1204 | 4.1728 | -0.64166 | -5.9628
[31 empty] | Cycle 3 | 2.7711 | 3.0087 | 3.9488 | 2.8276 | 3.0165 | 4.0338 | -0.78889 | -5.9849
[31 empty] | Cycle 4 | 2.6996 | 2.9312 | 3.8472 | 2.7344 | 2.9171 | 3.9007 | -0.75635 | -5.9362
[31 empty] | Cycle 5 | 2.6302 | 2.8557 | 3.7482 | 2.6447 | 2.8214 | 3.7729 | -0.82237 | -5.9908
[31 empty] | Cycle 6 | 2.5602 | 2.7798 | 3.6484 | 2.5583 | 2.7292 | 3.6497 | -0.7811 | -5.9843
[31 empty] | Cycle 7 | 2.4924 | 2.7062 | 3.5518 | 2.4749 | 2.6403 | 3.5305 | -0.7847 | -5.931
[31 empty] | Cycle 8 |  |  |  | 2.3941 | 2.5542 | 3.4152
12 | GIRMS\IRMS-operator | 2026-07-07 17:19 | 2026-07-07 18:33 | Running | FALSE | MD23-3678 - N. dutertri | 1401 | 2 | 7 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 12.463 V | 9.4987 kV | 106 µbar | 108 µbar | Carbon Dioxide: -0.0013 kV | 111 µbar | 11.639 V | 14.163 V | 269 µbar/min | 3.027 V | 1.12E-007 mbar | 17 % | 1,024 µbar | 72 °C | µ-Volume |  | Pre | 11.4735 | 12.4827 | 16.4407 | 11.8695 | 12.6597 | 16.9304 | 1.4389 | -0.34787 | 1.4155 | 0.031625 | 0.011181 | -0.34436 | 0.0098873 | 0.0034957 | 1.5274 | 0.03372 | -0.34793 | 0.0098743
[31 empty] | Cycle 1 | 11.0887 | 12.0635 | 15.8897 | 11.3346 | 12.0899 | 16.1678 | 1.3986 | -0.33883
[31 empty] | Cycle 2 | 10.719 | 11.6611 | 15.36 | 10.8335 | 11.5546 | 15.4531 | 1.366 | -0.35643
[31 empty] | Cycle 3 | 10.3616 | 11.273 | 14.8485 | 10.3605 | 11.0512 | 14.779 | 1.4152 | -0.33696
[31 empty] | Cycle 4 | 10.0167 | 10.8975 | 14.3544 | 9.9129 | 10.5731 | 14.1407 | 1.418 | -0.32889
[31 empty] | Cycle 5 | 9.69 | 10.5424 | 13.8862 | 9.4899 | 10.122 | 13.5371 | 1.4439 | -0.33947
[31 empty] | Cycle 6 | 9.3726 | 10.1975 | 13.4313 | 9.0886 | 9.6941 | 12.965 | 1.4594 | -0.34998
[31 empty] | Cycle 7 | 9.0718 | 9.8704 | 13.0003 | 8.7098 | 9.2904 | 12.4246 | 1.3841 | -0.35644
[31 empty] | Cycle 8 |  |  |  | 8.3499 | 8.9077 | 11.9115
13 | GIRMS\IRMS-operator | 2026-07-07 17:55 | 2026-07-07 19:13 | Running | FALSE | MD23-3678 - N. dutertri | 1397 | 1 | 8 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 12.729 V | 9.4987 kV | 106 µbar | 103 µbar | Carbon Dioxide: -0.0013 kV | 115 µbar | 11.761 V | 14.490 V | 278 µbar/min | 2.791 V | 1.14E-007 mbar | 19 % | 1,021 µbar | 72 °C | µ-Volume |  | Pre | 11.5076 | 12.5148 | 16.4946 | 11.9695 | 12.7655 | 17.0727 | 1.1101 | -0.02131 | 1.0927 | 0.022067 | 0.0078018 | -0.044953 | 0.020738 | 0.007332 | 1.1709 | 0.023641 | -0.047471 | 0.020761
[31 empty] | Cycle 1 | 11.1077 | 12.0799 | 15.9221 | 11.4312 | 12.1923 | 16.3053 | 1.0721 | -0.011493
[31 empty] | Cycle 2 | 10.7239 | 11.663 | 15.3716 | 10.9238 | 11.651 | 15.5822 | 1.1193 | -0.053166
[31 empty] | Cycle 3 | 10.3562 | 11.2627 | 14.8447 | 10.4455 | 11.1406 | 14.8997 | 1.0748 | -0.058155
[31 empty] | Cycle 4 | 10.0055 | 10.882 | 14.3426 | 9.9932 | 10.6587 | 14.2551 | 1.0854 | -0.031222
[31 empty] | Cycle 5 | 9.6672 | 10.5143 | 13.8573 | 9.5658 | 10.2034 | 13.6454 | 1.1005 | -0.063778
[31 empty] | Cycle 6 | 9.3473 | 10.1664 | 13.399 | 9.1613 | 9.7716 | 13.0686 | 1.1172 | -0.053954
[31 empty] | Cycle 7 | 9.0388 | 9.8305 | 12.9568 | 8.7792 | 9.3641 | 12.5237 | 1.0621 | -0.066545
[31 empty] | Cycle 8 |  |  |  | 8.4165 | 8.9775 | 12.0063
14 | GIRMS\IRMS-operator | 2026-07-07 18:33 | 2026-07-07 19:42 | Running | FALSE | MD23-3678 - N. dutertri | 1905 | 2 | 8 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  | 14.842 V | 9.4986 kV | 106 µbar | 108 µbar | Carbon Dioxide: -0.0014 kV | 120 µbar | 14.812 V | 16.957 V | 117 µbar/min | 11.422 V | 1.33E-007 mbar | 13 % | 1,034 µbar | 72 °C | µ-Volume |  | Pre | 14.488 | 15.762 | 20.7634 | 15.1645 | 16.1695 | 21.6278 | 1.704 | -0.08626 | 1.6543 | 0.045558 | 0.016107 | -0.10346 | 0.023335 | 0.0082502 | 1.7739 | 0.048778 | -0.10731 | 0.023363
[31 empty] | Cycle 1 | 13.974 | 15.2028 | 20.0268 | 14.4319 | 15.3891 | 20.5836 | 1.6442 | -0.10964
[31 empty] | Cycle 2 | 13.483 | 14.6691 | 19.3235 | 13.7473 | 14.6602 | 19.6075 | 1.6495 | -0.095052
[31 empty] | Cycle 3 | 13.0161 | 14.1617 | 18.6553 | 13.1039 | 13.9738 | 18.6898 | 1.6392 | -0.06275
[31 empty] | Cycle 4 | 12.5652 | 13.6713 | 18.0086 | 12.4997 | 13.3311 | 17.8287 | 1.5968 | -0.12259
[31 empty] | Cycle 5 | 12.1301 | 13.1984 | 17.3854 | 11.932 | 12.7255 | 17.0195 | 1.6146 | -0.12518
[31 empty] | Cycle 6 | 11.715 | 12.7471 | 16.7913 | 11.3971 | 12.1556 | 16.257 | 1.6491 | -0.094058
[31 empty] | Cycle 7 | 11.3151 | 12.313 | 16.2179 | 10.8932 | 11.6174 | 15.5383 | 1.7368 | -0.13216
[31 empty] | Cycle 8 |  |  |  | 10.4172 | 11.1103 | 14.8597
15 | GIRMS\IRMS-operator | 2026-07-07 19:13 | 2026-07-07 20:13 | Running | FALSE | MD23-3678 - N. dutertri | 1893 | 1 | 9 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 16.258 V | 9.4985 kV | 103 µbar | 106 µbar | Carbon Dioxide: -0.0015 kV | 120 µbar | 15.967 V | 18.810 V | 269 µbar/min | 14.258 V | 1.41E-007 mbar | 10 % | 1,041 µbar | 72 °C | µ-Volume |  | Pre | 15.6961 | 17.074 | 22.4974 | 16.3986 | 17.4842 | 23.3878 | 1.6501 | 0.044922 | 1.6196 | 0.036392 | 0.012867 | 0.034688 | 0.0070129 | 0.0026506 | 1.7319 | 0.039052 | 0.031078 | 0.0070069
[31 empty] | Cycle 1 | 15.1061 | 16.4327 | 21.6523 | 15.5882 | 16.6207 | 22.2326 | 1.6263 | 0.034563
[31 empty] | Cycle 2 | 14.538 | 15.8159 | 20.8388 | 14.8326 | 15.8161 | 21.1558 | 1.6527 | 0.038135
[31 empty] | Cycle 3 | 14.0035 | 15.2346 | 20.0728 | 14.1256 | 15.0626 | 20.1477 | 1.6204 | 0.02704
[31 empty] | Cycle 4 | 13.4894 | 14.6755 | 19.336 | 13.4618 | 14.3556 | 19.2013 | 1.6024 | 0.02512
[31 empty] | Cycle 5 | 13.0003 | 14.1441 | 18.6354 | 12.8374 | 13.69 | 18.3108 | 1.5966 | 0.033224
[31 empty] | Cycle 6 | 12.525 | 13.6273 | 17.9547 | 12.2513 | 13.066 | 17.4752 | 1.5499 | 0.039814
[31 empty] | Cycle 7 | 12.071 | 13.1349 | 17.3037 | 11.6981 | 12.4768 | 16.6867 | 1.6585 | 0.0086005
[31 empty] | Cycle 8 |  |  |  | 11.1762 | 11.9198 | 15.9424
16 | GIRMS\IRMS-operator | 2026-07-07 19:42 | 2026-07-07 20:52 | Running | FALSE | SHP2L |  | 2 | 9 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.004 V |  | 9.512 V | 9.4985 kV | 108 µbar | 106 µbar | Carbon Dioxide: -0.0015 kV | 111 µbar | 8.799 V | 10.664 V | 283 µbar/min | 15.253 V | 9.48E-008 mbar | 23 % | 982 µbar | 72 °C | µ-Volume |  | Pre | 8.6231 | 9.3615 | 12.2876 | 8.948 | 9.5439 | 12.7638 | -0.73275 | -5.951 | -0.80687 | 0.041274 | 0.014593 | -5.9086 | 0.024411 | 0.0086306 | -0.64463 | 0.044492 | -5.9131 | 0.02447
[31 empty] | Cycle 1 | 8.3467 | 9.061 | 11.8942 | 8.5734 | 9.145 | 12.2297 | -0.82488 | -5.9187
[31 empty] | Cycle 2 | 8.0837 | 8.7753 | 11.52 | 8.221 | 8.7694 | 11.7269 | -0.84023 | -5.8701
[31 empty] | Cycle 3 | 7.832 | 8.5024 | 11.161 | 7.8867 | 8.4125 | 11.2504 | -0.79575 | -5.9046
[31 empty] | Cycle 4 | 7.5897 | 8.2396 | 10.8158 | 7.5695 | 8.0743 | 10.7977 | -0.78254 | -5.8941
[31 empty] | Cycle 5 | 7.3519 | 7.9812 | 10.477 | 7.2689 | 7.7537 | 10.3691 | -0.82348 | -5.9035
[31 empty] | Cycle 6 | 7.1152 | 7.7247 | 10.1399 | 6.9829 | 7.4486 | 9.9611 | -0.78806 | -5.8978
[31 empty] | Cycle 7 | 6.8953 | 7.4855 | 9.8262 | 6.7101 | 7.158 | 9.5721 | -0.86727 | -5.929
[31 empty] | Cycle 8 |  |  |  | 6.45 | 6.8805 | 9.2012
17 | GIRMS\IRMS-operator | 2026-07-07 20:13 | 2026-07-07 21:32 | Running | FALSE | MD23-3678 - N. dutertri | 1881 | 1 | 10 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 8.936 V | 9.4987 kV | 103 µbar | 108 µbar | Carbon Dioxide: -0.0013 kV | 132 µbar | 8.240 V | 9.984 V | 274 µbar/min | 2.783 V | 8.94E-008 mbar | 29 % | 975 µbar | 72 °C | µ-Volume |  | Pre | 8.0824 | 8.7962 | 11.5814 | 8.3636 | 8.9216 | 11.9305 | 1.6746 | -0.43457 | 1.687 | 0.034384 | 0.012156 | -0.43538 | 0.0075591 | 0.0026725 | 1.8213 | 0.036654 | -0.43966 | 0.007529
[31 empty] | Cycle 1 | 7.8279 | 8.5195 | 11.2169 | 8.0208 | 8.5556 | 11.4419 | 1.6944 | -0.43268
[31 empty] | Cycle 2 | 7.5826 | 8.2523 | 10.8654 | 7.6965 | 8.2103 | 10.9793 | 1.6284 | -0.44387
[31 empty] | Cycle 3 | 7.3462 | 7.9954 | 10.527 | 7.3888 | 7.8821 | 10.5407 | 1.688 | -0.42956
[31 empty] | Cycle 4 | 7.119 | 7.7477 | 10.2011 | 7.0957 | 7.5692 | 10.1224 | 1.6504 | -0.4406
[31 empty] | Cycle 5 | 6.8991 | 7.509 | 9.8863 | 6.8171 | 7.2721 | 9.7249 | 1.7228 | -0.42095
[31 empty] | Cycle 6 | 6.6872 | 7.2784 | 9.5827 | 6.5509 | 6.9882 | 9.3454 | 1.7191 | -0.44054
[31 empty] | Cycle 7 | 6.4833 | 7.0565 | 9.2904 | 6.2976 | 6.7178 | 8.9841 | 1.7184 | -0.44027
[31 empty] | Cycle 8 |  |  |  | 6.0567 | 6.4614 | 8.6405
18 | GIRMS\IRMS-operator | 2026-07-07 20:52 | 2026-07-07 22:02 | Running | FALSE | MD23-3678 - N. dutertri | 1873 | 2 | 10 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 13.988 V | 9.4986 kV | 108 µbar | 106 µbar | Carbon Dioxide: -0.0014 kV | 113 µbar | 12.983 V | 16.005 V | 308 µbar/min | 8.070 V | 1.21E-007 mbar | 15 % | 1,031 µbar | 72 °C | µ-Volume |  | Pre | 12.7043 | 13.8223 | 18.2069 | 13.2389 | 14.1179 | 18.8829 | 1.6705 | -0.14547 | 1.646 | 0.029982 | 0.0106 | -0.16393 | 0.025461 | 0.0090019 | 1.7673 | 0.031942 | -0.16783 | 0.025478
[31 empty] | Cycle 1 | 12.272 | 13.3526 | 17.5871 | 12.6246 | 13.463 | 18.0064 | 1.6809 | -0.16308
[31 empty] | Cycle 2 | 11.8542 | 12.898 | 16.9892 | 12.0494 | 12.8503 | 17.1863 | 1.6345 | -0.12321
[31 empty] | Cycle 3 | 11.4519 | 12.4611 | 16.4125 | 11.507 | 12.2724 | 16.4127 | 1.6514 | -0.15373
[31 empty] | Cycle 4 | 11.0669 | 12.0427 | 15.8606 | 10.9961 | 11.7281 | 15.6846 | 1.6746 | -0.19812
[31 empty] | Cycle 5 | 10.695 | 11.6372 | 15.3281 | 10.5132 | 11.2128 | 14.9964 | 1.59 | -0.19289
[31 empty] | Cycle 6 | 10.3404 | 11.2521 | 14.82 | 10.0576 | 10.7275 | 14.3466 | 1.6306 | -0.18165
[31 empty] | Cycle 7 | 9.9986 | 10.8804 | 14.3306 | 9.6284 | 10.2697 | 13.7341 | 1.6353 | -0.15333
[31 empty] | Cycle 8 |  |  |  | 9.2229 | 9.8375 | 13.1561
19 | GIRMS\IRMS-operator | 2026-07-07 21:32 | 2026-07-07 22:33 | Running | FALSE | MD23-3678 - N. dutertri | 1869 | 1 | 11 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 7.833 V | 9.4986 kV | 106 µbar | 108 µbar | Carbon Dioxide: -0.0014 kV | 123 µbar | 7.680 V | 8.740 V | 132 µbar/min | 12.562 V | 8.64E-008 mbar | 29 % | 958 µbar | 72 °C | µ-Volume |  | Pre | 7.6229 | 8.2976 | 10.9256 | 7.8043 | 8.3245 | 11.1324 | 1.8529 | -0.19045 | 1.8251 | 0.034653 | 0.012252 | -0.20321 | 0.017749 | 0.0062753 | 1.9604 | 0.03679 | -0.20755 | 0.017733
[31 empty] | Cycle 1 | 7.3856 | 8.039 | 10.5853 | 7.4909 | 7.9908 | 10.686 | 1.8128 | -0.21592
[31 empty] | Cycle 2 | 7.1565 | 7.7901 | 10.2571 | 7.1938 | 7.6735 | 10.262 | 1.8536 | -0.20652
[31 empty] | Cycle 3 | 6.9356 | 7.5496 | 9.9403 | 6.9109 | 7.3724 | 9.8586 | 1.8069 | -0.23096
[31 empty] | Cycle 4 | 6.7224 | 7.3172 | 9.6353 | 6.6413 | 7.0847 | 9.474 | 1.7993 | -0.17937
[31 empty] | Cycle 5 | 6.5166 | 7.0934 | 9.3402 | 6.3847 | 6.8106 | 9.1081 | 1.8104 | -0.19921
[31 empty] | Cycle 6 | 6.3172 | 6.8762 | 9.0542 | 6.14 | 6.5501 | 8.7588 | 1.7806 | -0.21758
[31 empty] | Cycle 7 | 6.1237 | 6.6661 | 8.7772 | 5.9058 | 6.2998 | 8.425 | 1.8841 | -0.18563
[31 empty] | Cycle 8 |  |  |  | 5.6833 | 6.0627 | 8.1075
20 | GIRMS\IRMS-operator | 2026-07-07 22:02 | 2026-07-07 23:13 | Running | FALSE | MD23-3678 - N. dutertri | 1857 | 2 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 13.838 V | 9.4987 kV | 108 µbar | 106 µbar | Carbon Dioxide: -0.0013 kV | 196 µbar | 12.810 V | 15.810 V | 298 µbar/min | 7.518 V | 1.21E-007 mbar | 14 % | 1,019 µbar | 72 °C | µ-Volume |  | Pre | 12.5392 | 13.6457 | 17.9695 | 13.082 | 13.9512 | 18.6592 | 1.8292 | -0.22012 | 1.8338 | 0.020205 | 0.0071436 | -0.23615 | 0.010446 | 0.0036931 | 1.971 | 0.0217 | -0.24055 | 0.010466
[31 empty] | Cycle 1 | 12.1093 | 13.1783 | 17.3532 | 12.4789 | 13.3086 | 17.7995 | 1.8251 | -0.24086
[31 empty] | Cycle 2 | 11.6937 | 12.7264 | 16.7583 | 11.9133 | 12.706 | 16.9927 | 1.8172 | -0.22359
[31 empty] | Cycle 3 | 11.2931 | 12.291 | 16.1844 | 11.3798 | 12.1371 | 16.2322 | 1.8441 | -0.22997
[31 empty] | Cycle 4 | 10.9106 | 11.8746 | 15.6361 | 10.8753 | 11.5994 | 15.5128 | 1.8105 | -0.24551
[31 empty] | Cycle 5 | 10.54 | 11.4714 | 15.1053 | 10.4003 | 11.093 | 14.8354 | 1.8214 | -0.24005
[31 empty] | Cycle 6 | 10.1876 | 11.0883 | 14.6006 | 9.9511 | 10.6137 | 14.195 | 1.8704 | -0.23988
[31 empty] | Cycle 7 | 9.8431 | 10.7134 | 14.1067 | 9.5264 | 10.1607 | 13.5893 | 1.8525 | -0.24926
[31 empty] | Cycle 8 |  |  |  | 9.1247 | 9.7329 | 13.0163
21 | GIRMS\IRMS-operator | 2026-07-07 22:33 | 2026-07-07 23:53 | Running | FALSE | SHP2L |  | 1 | 12 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 7.335 V | 9.4988 kV | 106 µbar | 108 µbar | Carbon Dioxide: -0.0012 kV | 120 µbar | 6.724 V | 8.144 V | 142 µbar/min | 2.793 V | 7.94E-008 mbar | 36 % | 951 µbar | 72 °C | µ-Volume |  | Pre | 6.6006 | 7.1665 | 9.4053 | 6.8276 | 7.2835 | 9.7401 | -0.77879 | -6.0446 | -0.77972 | 0.035436 | 0.013393 | -6.0236 | 0.015093 | 0.0053362 | -0.61132 | 0.038386 | -6.0281 | 0.015163
[31 empty] | Cycle 1 | 6.4005 | 6.9491 | 9.1204 | 6.5615 | 6.9999 | 9.3603 | -0.81605 | -6.0012
[31 empty] | Cycle 2 | 6.2069 | 6.7388 | 8.8447 | 6.308 | 6.7294 | 8.9985 | -0.8114 | -6.0066
[31 empty] | Cycle 3 | 6.0194 | 6.5359 | 8.5773 | 6.0672 | 6.4723 | 8.6554 | -0.71165 | -6.0424
[31 empty] | Cycle 4 | 5.8388 | 6.3371 | 8.3201 | 5.8371 | 6.2271 | 8.3271 | -1.1605 | -6.0244
[31 empty] | Cycle 5 | 5.6644 | 6.1502 | 8.0718 | 5.6174 | 5.9928 | 8.0137 | -0.79113 | -6.0216
[31 empty] | Cycle 6 | 5.4956 | 5.967 | 7.8313 | 5.4077 | 5.7692 | 7.7148 | -0.78852 | -6.024
[31 empty] | Cycle 7 | 5.3331 | 5.7907 | 7.5999 | 5.207 | 5.555 | 7.4285 | -0.76051 | -6.0237
[31 empty] | Cycle 8 |  |  |  | 5.0152 | 5.3505 | 7.155
22 | GIRMS\IRMS-operator | 2026-07-07 23:13 | 2026-07-08 00:23 | Running | FALSE | MD23-3678 - N. dutertri | 1849 | 2 | 12 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 10.545 V | 9.4989 kV | 108 µbar | 108 µbar | Carbon Dioxide: -0.0011 kV | 120 µbar | 9.880 V | 11.958 V | 117 µbar/min | 6.612 V | 9.96E-008 mbar | 23 % | 997 µbar | 72 °C | µ-Volume |  | Pre | 9.6844 | 10.5415 | 13.8819 | 10.0365 | 10.7056 | 14.3164 | 1.8785 | -0.048212 | 1.8924 | 0.01036 | 0.0036629 | -0.059842 | 0.015336 | 0.0054222 | 2.0271 | 0.011264 | -0.064183 | 0.01536
[31 empty] | Cycle 1 | 9.3759 | 10.2058 | 13.4397 | 9.6052 | 10.2457 | 13.7018 | 1.8818 | -0.050413
[31 empty] | Cycle 2 | 9.0727 | 9.8758 | 13.0053 | 9.1978 | 9.8111 | 13.1201 | 1.8955 | -0.044018
[31 empty] | Cycle 3 | 8.7854 | 9.563 | 12.5933 | 8.8116 | 9.399 | 12.57 | 1.8865 | -0.086703
[31 empty] | Cycle 4 | 8.5095 | 9.2631 | 12.1979 | 8.4473 | 9.0106 | 12.0502 | 1.8978 | -0.074257
[31 empty] | Cycle 5 | 8.2409 | 8.9707 | 11.8132 | 8.1024 | 8.643 | 11.5581 | 1.8995 | -0.056927
[31 empty] | Cycle 6 | 7.9733 | 8.6794 | 11.4299 | 7.775 | 8.2934 | 11.0916 | 1.8894 | -0.048311
[31 empty] | Cycle 7 | 7.7134 | 8.3968 | 11.0571 | 7.4644 | 7.9626 | 10.6483 | 1.9101 | -0.069895
[31 empty] | Cycle 8 |  |  |  | 7.1686 | 7.647 | 10.2267
23 | GIRMS\IRMS-operator | 2026-07-07 23:53 | 2026-07-08 00:58 | Running | FALSE | MD23-3678 - N. dutertri | 1845 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 13.224 V | 9.4987 kV | 103 µbar | 106 µbar | Carbon Dioxide: -0.0013 kV | 118 µbar | 12.114 V | 15.095 V | 274 µbar/min | 9.630 V | 1.16E-007 mbar | 16 % | 1,024 µbar | 72 °C | µ-Volume |  | Pre | 11.8387 | 12.8844 | 16.9696 | 12.3428 | 13.1633 | 17.6051 | 1.8912 | -0.0012132 | 1.845 | 0.04137 | 0.014626 | -0.0078609 | 0.0094502 | 0.0035718 | 1.9747 | 0.044037 | -0.01206 | 0.0094853
[31 empty] | Cycle 1 | 11.4273 | 12.4373 | 16.3799 | 11.7846 | 12.5682 | 16.8093 | 1.9053 | -0.008997
[31 empty] | Cycle 2 | 11.0328 | 12.0076 | 15.8147 | 11.2576 | 12.0069 | 16.0578 | 1.8353 | -0.0089667
[31 empty] | Cycle 3 | 10.6574 | 11.5992 | 15.2767 | 10.7613 | 11.4778 | 15.3501 | 1.8453 | -0.011707
[31 empty] | Cycle 4 | 10.297 | 11.2069 | 14.7603 | 10.2923 | 10.9773 | 14.6811 | 1.8395 | -0.016057
[31 empty] | Cycle 5 | 9.9492 | 10.8287 | 14.2615 | 9.8491 | 10.505 | 14.0496 | 1.7821 | -0.046669
[31 empty] | Cycle 6 | 9.6174 | 10.4681 | 13.7869 | 9.43 | 10.0595 | 13.4515 | 1.8015 | 0.009705
[31 empty] | Cycle 7 | 9.2927 | 10.115 | 13.3214 | 9.0334 | 9.6356 | 12.8864 | 1.86 | -0.017791
[31 empty] | Cycle 8 |  |  |  | 8.6576 | 9.2349 | 12.3503
24 | GIRMS\IRMS-operator | 2026-07-08 00:23 | 2026-07-08 01:34 | Running | FALSE | MD23-3678 - N. dutertri | 1841 | 2 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 11.274 V | 9.4987 kV | 108 µbar | 106 µbar | Carbon Dioxide: -0.0013 kV | 115 µbar | 11.245 V | 12.728 V | 264 µbar/min | 11.712 V | 1.09E-007 mbar | 17 % | 997 µbar | 72 °C | µ-Volume |  | Pre | 10.986 | 11.9563 | 15.7452 | 11.4621 | 12.2257 | 16.3492 | 1.7912 | -0.14214 | 1.793 | 0.021567 | 0.007625 | -0.16708 | 0.017958 | 0.0063492 | 1.9247 | 0.023444 | -0.17132 | 0.018004
[31 empty] | Cycle 1 | 10.6174 | 11.5556 | 15.2166 | 10.9511 | 11.6799 | 15.6206 | 1.8216 | -0.1866
[31 empty] | Cycle 2 | 10.266 | 11.1735 | 14.7135 | 10.4715 | 11.1694 | 14.9369 | 1.8191 | -0.16217
[31 empty] | Cycle 3 | 9.9292 | 10.8068 | 14.2309 | 10.0188 | 10.6863 | 14.2911 | 1.7903 | -0.16532
[31 empty] | Cycle 4 | 9.6035 | 10.4524 | 13.7643 | 9.59 | 10.2293 | 13.6797 | 1.7823 | -0.1697
[31 empty] | Cycle 5 | 9.2901 | 10.111 | 13.3156 | 9.1842 | 9.7964 | 13.101 | 1.7542 | -0.14366
[31 empty] | Cycle 6 | 8.9898 | 9.7844 | 12.8849 | 8.7994 | 9.3861 | 12.5523 | 1.7847 | -0.17551
[31 empty] | Cycle 7 | 8.7034 | 9.4731 | 12.4744 | 8.4348 | 8.9971 | 12.0324 | 1.8005 | -0.19158
[31 empty] | Cycle 8 |  |  |  | 8.0906 | 8.6305 | 11.5416