## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-05-15 19:46 | 2026-05-15 20:40 | Success | FALSE | SHP2L |  | 1 | 1 | 2 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 6.603 V | 9.5176 kV | 106 µbar | 96 µbar | Carbon Dioxide: 0.0176 kV | 157 µbar | 6.247 V | 7.383 V | 215 µbar/min | 1.844 V | 7.56E-008 mbar | 27 % | 848 µbar | 73 °C | µ-Volume |  | Pre | 6.0927 | 6.6165 | 8.6875 | 6.3672 | 6.7943 | 9.0895 | -0.83533 | -6.0534 | -0.8392 | 0.012333 | 0.0046614 | -6.0604 | 0.019573 | 0.00692 | -0.67357 | 0.013267 | -6.065 | 0.019591
[32 empty] | Cycle 1 | 5.904 | 6.4117 | 8.4184 | 6.1227 | 6.5335 | 8.7405 | -0.82484 | -6.0859
[32 empty] | Cycle 2 | 5.722 | 6.214 | 8.159 | 5.89 | 6.2852 | 8.4086 | -0.83541 | -6.0735
[32 empty] | Cycle 3 | 5.5486 | 6.0259 | 7.9118 | 5.668 | 6.0482 | 8.0914 | -0.7725 | -6.0567
[32 empty] | Cycle 4 | 5.382 | 5.8447 | 7.6743 | 5.4567 | 5.8225 | 7.7896 | -0.85137 | -6.0429
[32 empty] | Cycle 5 | 5.2215 | 5.6706 | 7.4452 | 5.2547 | 5.6076 | 7.5016 | -0.85829 | -6.0861
[32 empty] | Cycle 6 | 5.0667 | 5.5025 | 7.2248 | 5.0618 | 5.4016 | 7.226 | -0.84236 | -6.0328
[32 empty] | Cycle 7 | 4.9164 | 5.3394 | 7.0104 | 4.8775 | 5.2049 | 6.9629 | -0.82677 | -6.052
[32 empty] | Cycle 8 |  |  |  | 4.7013 | 5.0169 | 6.7114
2 | GIRMS\IRMS-operator | 2026-05-15 20:18 | 2026-05-15 21:07 | Success | FALSE | MD23-3678 - G. ruber | 1461 | 2 | 2 | 2 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 12.229 V | 9.5176 kV | 96 µbar | 115 µbar | Carbon Dioxide: 0.0176 kV | 706 µbar | 11.371 V | 13.914 V | 200 µbar/min | 6.065 V | 1.10E-007 mbar | 13 % | 880 µbar | 72 °C | µ-Volume |  | Pre | 11.1366 | 12.1155 | 15.9475 | 11.7606 | 12.5455 | 16.7864 | 1.217 | -1.6629 | 1.207 | 0.019618 | 0.007415 | -1.6706 | 0.0082649 | 0.0031238 | 1.3535 | 0.0211 | -1.6751 | 0.008274
[32 empty] | Cycle 1 | 10.7564 | 11.702 | 15.403 | 11.2345 | 11.9853 | 16.0354 | 1.1856 | -1.6797
[32 empty] | Cycle 2 | 10.3938 | 11.3078 | 14.884 | 10.7404 | 11.4582 | 15.3307 | 1.1998 | -1.6707
[32 empty] | Cycle 3 | 10.0439 | 10.9279 | 14.3829 | 10.2731 | 10.9599 | 14.6633 | 1.2432 | -1.6801
[32 empty] | Cycle 4 | 9.7065 | 10.5603 | 13.9 | 9.8317 | 10.4893 | 14.0338 | 1.1896 | -1.6737
[32 empty] | Cycle 5 | 9.3832 | 10.2089 | 13.4367 | 9.4158 | 10.0455 | 13.4402 | 1.2135 | -1.7044
[32 empty] | Cycle 6 | 9.0704 | 9.8693 | 12.9891 | 9.0224 | 9.6258 | 12.8785 | 1.2803 | -1.6692
[32 empty] | Cycle 7 | 8.7679 | 9.5395 | 12.5561 | 8.6476 | 9.2262 | 12.3435 | 1.2004 | -1.6577
[32 empty] | Cycle 8 |  |  |  | 8.2927 | 8.8477 | 11.8372
3 | GIRMS\IRMS-operator | 2026-05-15 20:40 | 2026-05-15 21:42 | Success | FALSE | MD23-3678 - G. ruber | 1453 | 3 | 1 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 19.292 V | 9.5176 kV | 93 µbar | 96 µbar | Carbon Dioxide: 0.0176 kV | 147 µbar | 12.673 V | 22.418 V | 210 µbar/min | 10.722 V | 1.21E-007 mbar | 10 % | 914 µbar | 73 °C | µ-Volume | 17.722 V | Pre | 18.8275 | 20.4736 | 26.9591 | 13.2297 | 14.1113 | 18.8818 | 0.88333 | -1.65 | 0.96145 | 0.046159 | 0.01632 | -1.6353 | 0.013231 | 0.0046778 | 1.0893 | 0.048979 | -1.6392 | 0.013157
[32 empty] | Cycle 1 | 18.0964 | 19.6801 | 25.9126 | 12.6199 | 13.4619 | 18.0116 | 0.92423 | -1.6552
[32 empty] | Cycle 2 | 17.4027 | 18.9262 | 24.92 | 12.0467 | 12.8502 | 17.1938 | 0.92731 | -1.6334
[32 empty] | Cycle 3 | 16.7399 | 18.2067 | 23.9711 | 11.5063 | 12.2747 | 16.4226 | 0.9724 | -1.635
[32 empty] | Cycle 4 | 16.1035 | 17.515 | 23.0602 | 10.9924 | 11.7263 | 15.6893 | 0.97942 | -1.6331
[32 empty] | Cycle 5 | 15.4964 | 16.8553 | 22.191 | 10.5111 | 11.2134 | 15.0027 | 0.98435 | -1.6369
[32 empty] | Cycle 6 | 14.9233 | 16.2325 | 21.3707 | 10.0566 | 10.7289 | 14.354 | 0.99402 | -1.6265
[32 empty] | Cycle 7 | 14.3799 | 15.6421 | 20.5932 | 9.6271 | 10.2708 | 13.7413 | 1.0265 | -1.6124
[32 empty] | Cycle 8 |  |  |  | 9.2206 | 9.8372 | 13.1611
4 | GIRMS\IRMS-operator | 2026-05-15 21:07 | 2026-05-15 22:14 | Success | FALSE | MD23-3678 - G. ruber | 1445 | 4 | 2 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 14.288 V | 9.5176 kV | 101 µbar | 93 µbar | Carbon Dioxide: 0.0176 kV | 648 µbar | 11.827 V | 16.420 V | 293 µbar/min | 11.860 V | 1.13E-007 mbar | 10 % | 911 µbar | 72 °C | µ-Volume | 13.172 V | Pre | 13.9379 | 15.1614 | 19.9705 | 12.3482 | 13.1716 | 17.6249 | 1.1687 | -1.0851 | 1.158 | 0.030243 | 0.010692 | -1.0565 | 0.017326 | 0.0061258 | 1.2782 | 0.032226 | -1.0602 | 0.01733
[32 empty] | Cycle 1 | 13.4295 | 14.609 | 19.2427 | 11.7917 | 12.5789 | 16.8308 | 1.1714 | -1.0525
[32 empty] | Cycle 2 | 12.9423 | 14.0792 | 18.5446 | 11.2669 | 12.0193 | 16.0818 | 1.147 | -1.0572
[32 empty] | Cycle 3 | 12.4757 | 13.5714 | 17.8761 | 10.7726 | 11.4925 | 15.3762 | 1.102 | -1.0573
[32 empty] | Cycle 4 | 12.0257 | 13.0828 | 17.2315 | 10.3046 | 10.9934 | 14.7084 | 1.1306 | -1.0718
[32 empty] | Cycle 5 | 11.5946 | 12.6147 | 16.614 | 9.8618 | 10.5216 | 14.0767 | 1.1913 | -1.0581
[32 empty] | Cycle 6 | 11.1825 | 12.1661 | 16.0238 | 9.4435 | 10.0751 | 13.4795 | 1.1639 | -1.0283
[32 empty] | Cycle 7 | 10.7858 | 11.7353 | 15.4554 | 9.0472 | 9.6527 | 12.9138 | 1.189 | -1.0413
[32 empty] | Cycle 8 |  |  |  | 8.6709 | 9.2515 | 12.3769
5 | GIRMS\IRMS-operator | 2026-05-15 21:42 | 2026-05-15 22:55 | Success | FALSE | MD23-3678 - G. ruber | 1437 | 5 | 1 | 4 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 16.366 V | 9.5178 kV | 89 µbar | 93 µbar | Carbon Dioxide: 0.0178 kV | 89 µbar | 14.108 V | 18.880 V | 210 µbar/min | 1.851 V | 1.26E-007 mbar | 10 % | 902 µbar | 72 °C | µ-Volume | 14.895 V | Pre | 15.7683 | 17.1502 | 22.5911 | 14.7242 | 15.7052 | 21.0156 | 1.1065 | -1.1415 | 1.095 | 0.0090332 | 0.0034142 | -1.1437 | 0.015727 | 0.0055603 | 1.214 | 0.0092404 | -1.1474 | 0.015752
[32 empty] | Cycle 1 | 15.1748 | 16.5017 | 21.741 | 14.0224 | 14.9574 | 20.0145 | 0.88945 | -1.1389
[32 empty] | Cycle 2 | 14.6126 | 15.8945 | 20.9359 | 13.3615 | 14.2527 | 19.0708 | 1.1039 | -1.1411
[32 empty] | Cycle 3 | 14.0734 | 15.3083 | 20.1637 | 12.7438 | 13.5947 | 18.1901 | 1.0924 | -1.1407
[32 empty] | Cycle 4 | 13.5656 | 14.7564 | 19.4361 | 12.1627 | 12.9747 | 17.3603 | 1.0898 | -1.1455
[32 empty] | Cycle 5 | 13.0773 | 14.2258 | 18.7365 | 11.6166 | 12.3931 | 16.5812 | 1.0815 | -1.1696
[32 empty] | Cycle 6 | 12.612 | 13.72 | 18.0699 | 11.102 | 11.8444 | 15.847 | 1.0897 | -1.1575
[32 empty] | Cycle 7 | 12.1661 | 13.2351 | 17.4319 | 10.6157 | 11.3256 | 15.1524 | 1.1008 | -1.115
[32 empty] | Cycle 8 |  |  |  | 10.1572 | 10.8364 | 14.4986
6 | GIRMS\IRMS-operator | 2026-05-15 22:14 | 2026-05-15 23:21 | Success | FALSE | SHP2L |  | 6 | 2 | 4 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 10.987 V | 9.5175 kV | 101 µbar | 111 µbar | Carbon Dioxide: 0.0175 kV | 1,156 µbar | 10.727 V | 12.465 V | 718 µbar/min | 13.185 V | 1.06E-007 mbar | 13 % | 887 µbar | 72 °C | µ-Volume |  | Pre | 10.5528 | 11.4573 | 15.0452 | 11.0847 | 11.8248 | 15.8207 | -0.80078 | -5.988 | -0.81095 | 0.015612 | 0.0059008 | -6.014 | 0.017368 | 0.0061404 | -0.64507 | 0.016761 | -6.0186 | 0.017379
[32 empty] | Cycle 1 | 10.1916 | 11.0656 | 14.5301 | 10.5988 | 11.3069 | 15.1273 | -0.79743 | -6.0169
[32 empty] | Cycle 2 | 9.8444 | 10.6886 | 14.0355 | 10.141 | 10.8188 | 14.4742 | -0.81135 | -5.9953
[32 empty] | Cycle 3 | 9.511 | 10.3268 | 13.5599 | 9.7063 | 10.3551 | 13.8537 | -0.83447 | -6.0238
[32 empty] | Cycle 4 | 9.1923 | 9.9811 | 13.1059 | 9.2962 | 9.9183 | 13.2687 | -0.82372 | -6.0133
[32 empty] | Cycle 5 | 8.8845 | 9.6476 | 12.6672 | 8.9064 | 9.5021 | 12.7124 | -0.71683 | -6.0087
[32 empty] | Cycle 6 | 8.5892 | 9.3264 | 12.246 | 8.5375 | 9.1085 | 12.1861 | -0.79076 | -6.0438
[32 empty] | Cycle 7 | 8.3059 | 9.0187 | 11.8423 | 8.1884 | 8.7363 | 11.688 | -0.81815 | -6.0219
[32 empty] | Cycle 8 |  |  |  | 7.8574 | 8.3832 | 11.2154
7 | GIRMS\IRMS-operator | 2026-05-15 22:55 | 2026-05-15 23:57 | Success | FALSE | MD23-3678 - G. ruber | 1429 | 7 | 1 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 17.259 V | 9.5176 kV | 89 µbar | 96 µbar | Carbon Dioxide: 0.0176 kV | 213 µbar | 12.358 V | 19.872 V | 215 µbar/min | 10.134 V | 1.15E-007 mbar | 10 % | 899 µbar | 73 °C | µ-Volume | 15.882 V | Pre | 16.8143 | 18.2862 | 24.083 | 12.9005 | 13.7608 | 18.4123 | 0.95457 | -1.4009 | 0.99031 | 0.048282 | 0.01707 | -1.3972 | 0.010233 | 0.0036181 | 1.1113 | 0.051706 | -1.4009 | 0.010257
[32 empty] | Cycle 1 | 16.1878 | 17.606 | 23.1863 | 12.3116 | 13.1331 | 17.572 | 0.9852 | -1.3852
[32 empty] | Cycle 2 | 15.5875 | 16.9536 | 22.3264 | 11.7563 | 12.5411 | 16.7796 | 0.96639 | -1.3969
[32 empty] | Cycle 3 | 15.0175 | 16.3341 | 21.5103 | 11.2326 | 11.9833 | 16.0324 | 0.9299 | -1.3974
[32 empty] | Cycle 4 | 14.4766 | 15.7465 | 20.7359 | 10.7393 | 11.4578 | 15.3286 | 0.96535 | -1.3886
[32 empty] | Cycle 5 | 13.9548 | 15.1792 | 19.9883 | 10.2731 | 10.9598 | 14.6629 | 0.99829 | -1.412
[32 empty] | Cycle 6 | 13.4592 | 14.6412 | 19.2788 | 9.8336 | 10.4912 | 14.0361 | 1.0601 | -1.4101
[32 empty] | Cycle 7 | 12.9836 | 14.1241 | 18.5984 | 9.4175 | 10.0473 | 13.4424 | 1.0626 | -1.3864
[32 empty] | Cycle 8 |  |  |  | 9.0238 | 9.6275 | 12.8807
8 | GIRMS\IRMS-operator | 2026-05-15 23:21 | 2026-05-16 00:29 | Success | FALSE | MD23-3678 - G. ruber | 1421 | 8 | 2 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 14.313 V | 9.5177 kV | 98 µbar | 113 µbar | Carbon Dioxide: 0.0177 kV | 1,168 µbar | 11.545 V | 16.456 V | 703 µbar/min | 11.572 V | 1.12E-007 mbar | 10 % | 921 µbar | 72 °C | µ-Volume | 13.228 V | Pre | 13.9821 | 15.2106 | 20.0285 | 12.0541 | 12.8593 | 17.205 | 1.1771 | -1.3304 | 1.1881 | 0.015491 | 0.0054769 | -1.3453 | 0.015052 | 0.0053218 | 1.3211 | 0.01693 | -1.3494 | 0.01509
[32 empty] | Cycle 1 | 13.4698 | 14.6537 | 19.2945 | 11.5136 | 12.2824 | 16.4333 | 1.2056 | -1.3446
[32 empty] | Cycle 2 | 12.9783 | 14.1193 | 18.5909 | 11.0055 | 11.7409 | 15.7087 | 1.1802 | -1.3609
[32 empty] | Cycle 3 | 12.5094 | 13.6095 | 17.9196 | 10.5257 | 11.2294 | 15.0243 | 1.1675 | -1.3333
[32 empty] | Cycle 4 | 12.0551 | 13.1157 | 17.269 | 10.0672 | 10.7408 | 14.3693 | 1.1723 | -1.3251
[32 empty] | Cycle 5 | 11.6241 | 12.6471 | 16.6514 | 9.6381 | 10.2829 | 13.7573 | 1.1969 | -1.36
[32 empty] | Cycle 6 | 11.2125 | 12.1994 | 16.0622 | 9.2311 | 9.8489 | 13.1767 | 1.2004 | -1.3438
[32 empty] | Cycle 7 | 10.8189 | 11.7714 | 15.4981 | 8.8469 | 9.4389 | 12.6283 | 1.2051 | -1.3639
[32 empty] | Cycle 8 |  |  |  | 8.4821 | 9.05 | 12.1076
9 | GIRMS\IRMS-operator | 2026-05-15 23:57 | 2026-05-16 01:10 | Success | FALSE | MD23-3678 - G. ruber | 1413 | 9 | 1 | 6 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 17.159 V | 9.5179 kV | 91 µbar | 93 µbar | Carbon Dioxide: 0.0179 kV | 147 µbar | 14.156 V | 19.838 V | 200 µbar/min | 1.854 V | 1.28E-007 mbar | 10 % | 909 µbar | 72 °C | µ-Volume | 15.596 V | Pre | 16.5342 | 17.9804 | 23.6905 | 14.776 | 15.762 | 21.0888 | 0.84204 | -1.0241 | 0.83164 | 0.0062634 | 0.0022144 | -1.0444 | 0.014274 | 0.0050466 | 0.92849 | 0.0065721 | -1.0474 | 0.014285
[32 empty] | Cycle 1 | 15.9044 | 17.2961 | 22.7881 | 14.0724 | 15.0124 | 20.0852 | 0.82525 | -1.0499
[32 empty] | Cycle 2 | 15.3048 | 16.6449 | 21.9295 | 13.4119 | 14.3082 | 19.1428 | 0.83601 | -1.0345
[32 empty] | Cycle 3 | 14.7308 | 16.0211 | 21.1071 | 12.7929 | 13.6485 | 18.2592 | 0.82942 | -1.0418
[32 empty] | Cycle 4 | 14.1807 | 15.4232 | 20.3191 | 12.2098 | 13.0268 | 17.4276 | 0.8256 | -1.0583
[32 empty] | Cycle 5 | 13.6628 | 14.8604 | 19.5778 | 11.6599 | 12.4405 | 16.6428 | 0.82514 | -1.0285
[32 empty] | Cycle 6 | 13.1701 | 14.3251 | 18.8715 | 11.1398 | 11.8859 | 15.9006 | 0.83368 | -1.061
[32 empty] | Cycle 7 | 12.7015 | 13.8157 | 18.2003 | 10.6527 | 11.3666 | 15.2056 | 0.83595 | -1.0569
[32 empty] | Cycle 8 |  |  |  | 10.1926 | 10.8757 | 14.5491
10 | GIRMS\IRMS-operator | 2026-05-16 00:29 | 2026-05-16 01:36 | Success | FALSE | MD23-3678 - G. ruber | 1409 | 10 | 2 | 6 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 15.504 V | 9.5177 kV | 101 µbar | 118 µbar | Carbon Dioxide: 0.0177 kV | 1,197 µbar | 13.196 V | 17.891 V | 825 µbar/min | 13.235 V | 1.22E-007 mbar | 10 % | 921 µbar | 73 °C | µ-Volume | 14.276 V | Pre | 15.1275 | 16.4452 | 21.6775 | 13.7772 | 14.6949 | 19.6627 | 0.62994 | -0.87692 | 0.60757 | 0.016482 | 0.0062297 | -0.89612 | 0.014804 | 0.0052339 | 0.68337 | 0.017406 | -0.89844 | 0.014834
[32 empty] | Cycle 1 | 14.5629 | 15.8317 | 20.8682 | 13.1321 | 14.0074 | 18.7424 | 0.58691 | -0.9061
[32 empty] | Cycle 2 | 14.0267 | 15.2494 | 20.1002 | 12.5304 | 13.3668 | 17.8841 | 0.59232 | -0.91425
[32 empty] | Cycle 3 | 13.5137 | 14.6922 | 19.3654 | 11.9633 | 12.7615 | 17.0751 | 0.60377 | -0.90241
[32 empty] | Cycle 4 | 13.0233 | 14.1596 | 18.6631 | 11.4298 | 12.1933 | 16.3134 | 0.5991 | -0.88573
[32 empty] | Cycle 5 | 12.5523 | 13.6486 | 17.9882 | 10.9261 | 11.6562 | 15.5949 | 0.61549 | -0.90371
[32 empty] | Cycle 6 | 12.0972 | 13.1531 | 17.3366 | 10.4492 | 11.1485 | 14.9145 | 0.54719 | -0.87484
[32 empty] | Cycle 7 | 11.6625 | 12.6811 | 16.7135 | 9.9996 | 10.6684 | 14.2728 | 0.62548 | -0.90502
[32 empty] | Cycle 8 |  |  |  | 9.5747 | 10.2148 | 13.6668
11 | GIRMS\IRMS-operator | 2026-05-16 01:10 | 2026-05-16 02:12 | Success | FALSE | SHP2L |  | 11 | 1 | 7 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 10.486 V | 9.5177 kV | 89 µbar | 96 µbar | Carbon Dioxide: 0.0177 kV | 91 µbar | 10.294 V | 11.837 V | 181 µbar/min | 12.312 V | 1.03E-007 mbar | 13 % | 865 µbar | 72 °C | µ-Volume |  | Pre | 10.1323 | 11.0012 | 14.446 | 10.653 | 11.3649 | 15.2058 | -0.79224 | -6.0293 | -0.79969 | 0.026945 | 0.0095264 | -6.0082 | 0.016026 | 0.0056661 | -0.63325 | 0.029152 | -6.0128 | 0.016076
[32 empty] | Cycle 1 | 9.8068 | 10.6479 | 13.9821 | 10.1913 | 10.8722 | 14.5463 | -0.78049 | -6.0047
[32 empty] | Cycle 2 | 9.4925 | 10.307 | 13.5342 | 9.7568 | 10.4088 | 13.9262 | -0.78467 | -5.9912
[32 empty] | Cycle 3 | 9.19 | 9.9783 | 13.103 | 9.3446 | 9.9697 | 13.338 | -0.8375 | -6.0039
[32 empty] | Cycle 4 | 8.8938 | 9.657 | 12.6806 | 8.9537 | 9.5527 | 12.7802 | -0.82961 | -5.9958
[32 empty] | Cycle 5 | 8.6091 | 9.3482 | 12.2748 | 8.5836 | 9.1583 | 12.2517 | -0.79864 | -5.9994
[32 empty] | Cycle 6 | 8.3401 | 9.0566 | 11.8913 | 8.2318 | 8.7826 | 11.75 | -0.75723 | -6.0363
[32 empty] | Cycle 7 | 8.0795 | 8.7733 | 11.5202 | 7.8978 | 8.4266 | 11.2736 | -0.81713 | -6.0049
[32 empty] | Cycle 8 |  |  |  | 7.5805 | 8.088 | 10.8205
12 | GIRMS\IRMS-operator | 2026-05-16 01:36 | 2026-05-16 02:43 | Success | FALSE | MD23-3678 - G. ruber | 1401 | 12 | 2 | 7 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 15.541 V | 9.5177 kV | 103 µbar | 125 µbar | Carbon Dioxide: 0.0177 kV | 1,209 µbar | 11.516 V | 17.947 V | 801 µbar/min | 9.736 V | 1.11E-007 mbar | 10 % | 943 µbar | 72 °C | µ-Volume | 14.319 V | Pre | 15.1673 | 16.4889 | 21.7418 | 12.0222 | 12.8247 | 17.1594 | 0.51782 | -0.62254 | 0.55368 | 0.02331 | 0.0082412 | -0.63212 | 0.014711 | 0.0052011 | 0.61583 | 0.024807 | -0.63405 | 0.014713
[32 empty] | Cycle 1 | 14.5965 | 15.8694 | 20.9235 | 11.4854 | 12.2527 | 16.3935 | 0.54124 | -0.64505
[32 empty] | Cycle 2 | 14.0535 | 15.2789 | 20.1454 | 10.9779 | 11.7116 | 15.6695 | 0.52371 | -0.64642
[32 empty] | Cycle 3 | 13.5343 | 14.7154 | 19.4016 | 10.4985 | 11.2002 | 14.9854 | 0.56736 | -0.62174
[32 empty] | Cycle 4 | 13.0387 | 14.1771 | 18.6908 | 10.0456 | 10.7174 | 14.3387 | 0.57139 | -0.65492
[32 empty] | Cycle 5 | 12.5648 | 13.6622 | 18.0126 | 9.6171 | 10.2606 | 13.7275 | 0.55718 | -0.63106
[32 empty] | Cycle 6 | 12.1125 | 13.1709 | 17.3645 | 9.2116 | 9.8285 | 13.1493 | 0.57325 | -0.61833
[32 empty] | Cycle 7 | 11.6804 | 12.7011 | 16.7447 | 8.8287 | 9.4198 | 12.6024 | 0.57753 | -0.61688
[32 empty] | Cycle 8 |  |  |  | 8.4654 | 9.0324 | 12.0837
13 | GIRMS\IRMS-operator | 2026-05-16 02:12 | 2026-05-16 03:25 | Success | FALSE | MD23-3678 - G. ruber | 1397 | 13 | 1 | 8 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 16.368 V | 9.5179 kV | 96 µbar | 103 µbar | Carbon Dioxide: 0.0179 kV | 106 µbar | 14.038 V | 18.871 V | 186 µbar/min | 1.847 V | 1.27E-007 mbar | 10 % | 914 µbar | 72 °C | µ-Volume | 14.903 V | Pre | 15.7841 | 17.1623 | 22.6239 | 14.6497 | 15.6257 | 20.9096 | 0.81365 | -0.68924 | 0.78134 | 0.027378 | 0.0096796 | -0.71752 | 0.024875 | 0.0087947 | 0.86259 | 0.028945 | -0.72006 | 0.024878
[32 empty] | Cycle 1 | 15.1991 | 16.5265 | 21.7859 | 13.9516 | 14.8817 | 19.9129 | 0.78123 | -0.67929
[32 empty] | Cycle 2 | 14.6449 | 15.9241 | 20.9912 | 13.2984 | 14.1857 | 18.9813 | 0.74771 | -0.72714
[32 empty] | Cycle 3 | 14.1134 | 15.3466 | 20.2295 | 12.6855 | 13.5326 | 18.1071 | 0.73697 | -0.7343
[32 empty] | Cycle 4 | 13.6092 | 14.7995 | 19.5073 | 12.1098 | 12.9186 | 17.285 | 0.81313 | -0.70871
[32 empty] | Cycle 5 | 13.1216 | 14.2691 | 18.8082 | 11.5685 | 12.341 | 16.5126 | 0.78606 | -0.73017
[32 empty] | Cycle 6 | 12.6572 | 13.7646 | 18.1431 | 11.0557 | 11.7945 | 15.7808 | 0.7823 | -0.71568
[32 empty] | Cycle 7 | 12.2084 | 13.277 | 17.4994 | 10.5717 | 11.2786 | 15.0903 | 0.78969 | -0.75567
[32 empty] | Cycle 8 |  |  |  | 10.1147 | 10.7912 | 14.4381
14 | GIRMS\IRMS-operator | 2026-05-16 02:43 | 2026-05-16 03:51 | Success | FALSE | MD23-3678 - G. ruber | 1533 | 14 | 2 | 8 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 10.078 V | 9.5177 kV | 106 µbar | 113 µbar | Carbon Dioxide: 0.0177 kV | 1,175 µbar | 9.746 V | 11.406 V | 689 µbar/min | 13.123 V | 9.86E-008 mbar | 15 % | 897 µbar | 72 °C | µ-Volume |  | Pre | 9.5994 | 10.4432 | 13.756 | 10.0344 | 10.7051 | 14.322 | 1.1548 | -0.93527 | 1.1456 | 0.012344 | 0.0046655 | -0.95707 | 0.01505 | 0.0053209 | 1.2612 | 0.01293 | -0.9607 | 0.015063
[32 empty] | Cycle 1 | 9.2796 | 10.0955 | 13.2983 | 9.6058 | 10.2481 | 13.7106 | 1.1504 | -0.93251
[32 empty] | Cycle 2 | 8.9706 | 9.7596 | 12.8552 | 9.2008 | 9.8162 | 13.1331 | 1.1534 | -0.96022
[32 empty] | Cycle 3 | 8.6741 | 9.4372 | 12.4302 | 8.818 | 9.4081 | 12.5864 | 1.1536 | -0.96198
[32 empty] | Cycle 4 | 8.3882 | 9.1261 | 12.0207 | 8.4538 | 9.0196 | 12.0669 | 1.1197 | -0.96738
[32 empty] | Cycle 5 | 8.1123 | 8.8261 | 11.6255 | 8.1077 | 8.6508 | 11.573 | 1.1452 | -0.95882
[32 empty] | Cycle 6 | 7.8477 | 8.5382 | 11.2462 | 7.7802 | 8.3009 | 11.1055 | 1.1423 | -0.9733
[32 empty] | Cycle 7 | 7.5964 | 8.2654 | 10.8862 | 7.4696 | 7.9698 | 10.6624 | 1.1917 | -0.96707
[32 empty] | Cycle 8 |  |  |  | 7.174 | 7.6547 | 10.2403
15 | GIRMS\IRMS-operator | 2026-05-16 03:25 | 2026-05-16 04:27 | Success | FALSE | MD23-3678 - G. ruber | 1529 | 15 | 1 | 9 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 15.817 V | 9.5178 kV | 93 µbar | 108 µbar | Carbon Dioxide: 0.0178 kV | 108 µbar | 12.375 V | 18.107 V | 205 µbar/min | 9.244 V | 1.16E-007 mbar | 10 % | 914 µbar | 72 °C | µ-Volume | 14.630 V | Pre | 15.4338 | 16.7869 | 22.118 | 12.9192 | 13.7813 | 18.4394 | 1.0508 | -0.87946 | 1.0623 | 0.018602 | 0.0065768 | -0.87453 | 0.013932 | 0.0049258 | 1.1691 | 0.019881 | -0.87787 | 0.013945
[32 empty] | Cycle 1 | 14.8769 | 16.1815 | 21.3198 | 12.3271 | 13.1498 | 17.5949 | 1.0321 | -0.88964
[32 empty] | Cycle 2 | 14.3485 | 15.6073 | 20.5634 | 11.7708 | 12.5573 | 16.8006 | 1.0436 | -0.8522
[32 empty] | Cycle 3 | 13.8436 | 15.0587 | 19.8398 | 11.2481 | 11.9994 | 16.0549 | 1.0621 | -0.87823
[32 empty] | Cycle 4 | 13.3575 | 14.5306 | 19.1431 | 10.7539 | 11.4728 | 15.3499 | 1.0794 | -0.88519
[32 empty] | Cycle 5 | 12.8888 | 14.0211 | 18.4718 | 10.2869 | 10.9748 | 14.6833 | 1.0846 | -0.87249
[32 empty] | Cycle 6 | 12.4468 | 13.5402 | 17.8383 | 9.8457 | 10.5042 | 14.0536 | 1.0718 | -0.8841
[32 empty] | Cycle 7 | 12.0257 | 13.0826 | 17.2356 | 9.4279 | 10.0586 | 13.4575 | 1.0744 | -0.85493
[32 empty] | Cycle 8 |  |  |  | 9.0329 | 9.6375 | 12.8936
16 | GIRMS\IRMS-operator | 2026-05-16 03:51 | 2026-05-16 05:00 | Success | FALSE | SHP2L |  | 16 | 2 | 9 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 6.495 V | 9.5177 kV | 113 µbar | 115 µbar | Carbon Dioxide: 0.0177 kV | 1,197 µbar | 6.086 V | 7.252 V | 757 µbar/min | 11.582 V | 7.45E-008 mbar | 23 % | 846 µbar | 72 °C | µ-Volume |  | Pre | 6.0239 | 6.5422 | 8.5898 | 6.22 | 6.6376 | 8.8792 | -0.82885 | -5.9975 | -0.84119 | 0.018535 | 0.0070056 | -5.9745 | 0.021362 | 0.0075525 | -0.67 | 0.031616 | -5.979 | 0.021421
[32 empty] | Cycle 1 | 5.8435 | 6.3463 | 8.3325 | 5.9837 | 6.3854 | 8.5416 | -0.77459 | -5.9867
[32 empty] | Cycle 2 | 5.6672 | 6.1544 | 8.0813 | 5.7584 | 6.1446 | 8.2202 | -0.84826 | -5.9789
[32 empty] | Cycle 3 | 5.4958 | 5.9683 | 7.8368 | 5.5433 | 5.9153 | 7.9132 | -0.82911 | -5.9807
[32 empty] | Cycle 4 | 5.3282 | 5.7863 | 7.5978 | 5.3375 | 5.6955 | 7.6194 | -0.83235 | -5.9936
[32 empty] | Cycle 5 | 5.1669 | 5.6111 | 7.3678 | 5.1409 | 5.4858 | 7.3387 | -0.84584 | -5.9724
[32 empty] | Cycle 6 | 5.0106 | 5.4415 | 7.1451 | 4.9528 | 5.2851 | 7.07 | -0.82566 | -5.9505
[32 empty] | Cycle 7 | 4.8591 | 5.2768 | 6.9293 | 4.7728 | 5.093 | 6.8132 | -0.87823 | -5.9356
[32 empty] | Cycle 8 |  |  |  | 4.6006 | 4.9096 | 6.5676
17 | GIRMS\IRMS-operator | 2026-05-16 04:27 | 2026-05-16 05:40 | Success | FALSE | MD23-3678 - G. ruber | 1521 | 17 | 1 | 10 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 17.802 V | 9.5178 kV | 93 µbar | 101 µbar | Carbon Dioxide: 0.0178 kV | 91 µbar | 13.996 V | 20.621 V | 200 µbar/min | 1.852 V | 1.27E-007 mbar | 10 % | 919 µbar | 72 °C | µ-Volume | 16.151 V | Pre | 17.1629 | 18.6629 | 24.5946 | 14.5988 | 15.5715 | 20.8367 | 0.89615 | -0.91188 | 0.90471 | 0.031015 | 0.010966 | -0.90703 | 0.0087132 | 0.0032933 | 1.0018 | 0.03358 | -0.91003 | 0.0087517
[32 empty] | Cycle 1 | 16.5116 | 17.9555 | 23.6612 | 13.9034 | 14.83 | 19.844 | 0.87283 | -0.90899
[32 empty] | Cycle 2 | 15.8951 | 17.2857 | 22.7782 | 13.2521 | 14.1369 | 18.9142 | 0.85435 | -0.89836
[32 empty] | Cycle 3 | 15.3026 | 16.6425 | 21.9298 | 12.6426 | 13.4867 | 18.0449 | 0.91169 | -0.89682
[32 empty] | Cycle 4 | 14.744 | 16.0354 | 21.1289 | 12.0694 | 12.8755 | 17.2271 | 0.93201 | -0.92257
[32 empty] | Cycle 5 | 14.2087 | 15.4534 | 20.3624 | 11.5297 | 12.2998 | 16.4568 | 0.90927 | -0.90449
[32 empty] | Cycle 6 | 13.6957 | 14.8961 | 19.6275 | 11.0214 | 11.7582 | 15.7316 | 0.90901 | -0.90613
[32 empty] | Cycle 7 | 13.1998 | 14.3577 | 18.9166 | 10.541 | 11.246 | 15.0462 | 0.9524 | -0.94112
[32 empty] | Cycle 8 |  |  |  | 10.0863 | 10.761 | 14.3973
18 | GIRMS\IRMS-operator | 2026-05-16 05:00 | 2026-05-16 06:06 | Success | FALSE | MD23-3678 - G. ruber | 1513 | 18 | 2 | 10 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 16.277 V | 9.5177 kV | 106 µbar | 113 µbar | Carbon Dioxide: 0.0177 kV | 1,158 µbar | 13.063 V | 18.803 V | 664 µbar/min | 13.097 V | 1.21E-007 mbar | 10 % | 941 µbar | 72 °C | µ-Volume | 14.963 V | Pre | 15.8617 | 17.252 | 22.7254 | 13.6324 | 14.5411 | 19.4563 | 1.1029 | -1.0696 | 1.1561 | 0.040519 | 0.014326 | -1.0803 | 0.014159 | 0.0050061 | 1.277 | 0.043403 | -1.084 | 0.014182
[32 empty] | Cycle 1 | 15.26 | 16.5985 | 21.8639 | 13.0005 | 13.8671 | 18.5547 | 1.1313 | -1.0716
[32 empty] | Cycle 2 | 14.6846 | 15.9742 | 21.0394 | 12.4049 | 13.2326 | 17.7054 | 1.1939 | -1.0876
[32 empty] | Cycle 3 | 14.1394 | 15.3811 | 20.259 | 11.844 | 12.6344 | 16.9046 | 1.1586 | -1.065
[32 empty] | Cycle 4 | 13.6204 | 14.8167 | 19.5152 | 11.3171 | 12.073 | 16.1531 | 1.123 | -1.0948
[32 empty] | Cycle 5 | 13.1228 | 14.2759 | 18.8027 | 10.8186 | 11.5417 | 15.4418 | 1.1476 | -1.0731
[32 empty] | Cycle 6 | 12.6455 | 13.7579 | 18.119 | 10.3493 | 11.041 | 14.772 | 1.2297 | -1.0747
[32 empty] | Cycle 7 | 12.1862 | 13.2576 | 17.4605 | 9.906 | 10.5682 | 14.1395 | 1.1618 | -1.1055
[32 empty] | Cycle 8 |  |  |  | 9.4859 | 10.1203 | 13.5398
19 | GIRMS\IRMS-operator | 2026-05-16 05:40 | 2026-05-16 06:42 | Success | FALSE | MD23-3678 - G. ruber | 1505 | 19 | 1 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 14.296 V | 9.5176 kV | 93 µbar | 103 µbar | Carbon Dioxide: 0.0176 kV | 196 µbar | 12.162 V | 16.360 V | 200 µbar/min | 12.198 V | 1.15E-007 mbar | 10 % | 897 µbar | 72 °C | µ-Volume | 13.287 V | Pre | 14.0024 | 15.229 | 20.0618 | 12.6911 | 13.5378 | 18.1132 | 0.97072 | -1.0784 | 1.003 | 0.028672 | 0.010137 | -1.084 | 0.009105 | 0.0034414 | 1.1135 | 0.030724 | -1.0874 | 0.0091315
[32 empty] | Cycle 1 | 13.5178 | 14.703 | 19.3677 | 12.1113 | 12.9201 | 17.2859 | 1.0223 | -1.0707
[32 empty] | Cycle 2 | 13.0527 | 14.1967 | 18.7012 | 11.5696 | 12.3421 | 16.5128 | 0.96723 | -1.0916
[32 empty] | Cycle 3 | 12.6061 | 13.7122 | 18.0617 | 11.0574 | 11.7965 | 15.7822 | 1.0397 | -1.0931
[32 empty] | Cycle 4 | 12.1793 | 13.2476 | 17.4507 | 10.5741 | 11.2804 | 15.0926 | 1.0155 | -1.0808
[32 empty] | Cycle 5 | 11.7641 | 12.797 | 16.8558 | 10.1186 | 10.7949 | 14.4428 | 1.0332 | -1.0945
[32 empty] | Cycle 6 | 11.3652 | 12.3626 | 16.2846 | 9.6879 | 10.3362 | 13.8278 | 0.97821 | -1.0787
[32 empty] | Cycle 7 | 10.9868 | 11.9513 | 15.7423 | 9.2798 | 9.9004 | 13.2458 | 0.99754 | -1.1174
[32 empty] | Cycle 8 |  |  |  | 8.8931 | 9.4883 | 12.6941
20 | GIRMS\IRMS-operator | 2026-05-16 06:06 | 2026-05-16 07:14 | Success | FALSE | MD23-3678 - G. ruber | 1497 | 20 | 2 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 21.936 V | 9.5177 kV | 106 µbar | 118 µbar | Carbon Dioxide: 0.0177 kV | 1,170 µbar | 11.366 V | 25.907 V | 723 µbar/min | 11.392 V | 1.10E-007 mbar | 10 % | 958 µbar | 72 °C | µ-Volume | 20.037 V | Pre | 21.4274 | 23.2998 | 30.6995 | 11.8636 | 12.6556 | 16.933 | 0.75574 | -1.1308 | 0.87606 | 0.079749 | 0.028195 | -1.1005 | 0.027847 | 0.0098453 | 0.9781 | 0.084392 | -1.1036 | 0.027712
[32 empty] | Cycle 1 | 20.5327 | 22.3288 | 29.4183 | 11.3374 | 12.0944 | 16.1819 | 0.82624 | -1.1172
[32 empty] | Cycle 2 | 19.6851 | 21.4082 | 28.2039 | 10.8404 | 11.5645 | 15.4728 | 0.85433 | -1.1288
[32 empty] | Cycle 3 | 18.8777 | 20.5311 | 27.0477 | 10.3693 | 11.0623 | 14.8005 | 0.8362 | -1.1164
[32 empty] | Cycle 4 | 18.114 | 19.7014 | 25.9544 | 9.925 | 10.5893 | 14.1666 | 0.85663 | -1.091
[32 empty] | Cycle 5 | 17.3884 | 18.9132 | 24.9145 | 9.5041 | 10.1398 | 13.5658 | 0.90965 | -1.0968
[32 empty] | Cycle 6 | 16.6911 | 18.1561 | 23.9164 | 9.1046 | 9.714 | 12.9954 | 0.97204 | -1.0627
[32 empty] | Cycle 7 | 16.0332 | 17.4411 | 22.9744 | 8.7265 | 9.3103 | 12.4561 | 0.99764 | -1.0599
[32 empty] | Cycle 8 |  |  |  | 8.3675 | 8.9278 | 11.944
21 | GIRMS\IRMS-operator | 2026-05-16 06:42 | 2026-05-16 07:58 | Success | FALSE | SHP2L |  | 21 | 1 | 12 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 8.253 V | 9.5180 kV | 89 µbar | 108 µbar | Carbon Dioxide: 0.0180 kV | 145 µbar | 7.307 V | 9.250 V | 195 µbar/min | 1.848 V | 8.18E-008 mbar | 23 % | 846 µbar | 72 °C | µ-Volume |  | Pre | 7.2593 | 7.8836 | 10.3511 | 7.4617 | 7.962 | 10.6518 | -0.76918 | -6.0231 | -0.7742 | 0.011995 | 0.0042409 | -6.0098 | 0.015895 | 0.0056199 | -0.60592 | 0.012601 | -6.0145 | 0.015901
[32 empty] | Cycle 1 | 7.035 | 7.6402 | 10.0317 | 7.1653 | 7.6456 | 10.2284 | -0.75951 | -5.9864
[32 empty] | Cycle 2 | 6.8197 | 7.4062 | 9.7246 | 6.8841 | 7.3458 | 9.8273 | -0.7907 | -6.008
[32 empty] | Cycle 3 | 6.6127 | 7.1816 | 9.4294 | 6.6157 | 7.0593 | 9.4441 | -0.75967 | -6.0086
[32 empty] | Cycle 4 | 6.4126 | 6.9643 | 9.1443 | 6.3603 | 6.787 | 9.0796 | -0.76907 | -5.9959
[32 empty] | Cycle 5 | 6.223 | 6.7585 | 8.8739 | 6.1168 | 6.5271 | 8.7322 | -0.77517 | -6.0089
[32 empty] | Cycle 6 | 6.039 | 6.5585 | 8.6116 | 5.8852 | 6.2801 | 8.4015 | -0.78799 | -6.0088
[32 empty] | Cycle 7 | 5.8602 | 6.3644 | 8.3565 | 5.6644 | 6.0444 | 8.0865 | -0.7823 | -6.0388
[32 empty] | Cycle 8 |  |  |  | 5.4537 | 5.8196 | 7.7856
22 | GIRMS\IRMS-operator | 2026-05-16 07:14 | 2026-05-16 08:22 | Success | FALSE | MD23-3678 - G. ruber | 1489 | 22 | 2 | 12 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.816 V | 9.5178 kV | 113 µbar | 111 µbar | Carbon Dioxide: 0.0178 kV | 1,139 µbar | 13.410 V | 15.853 V | 562 µbar/min | 7.051 V | 1.22E-007 mbar | 10 % | 931 µbar | 72 °C | µ-Volume |  | Pre | 13.208 | 14.3639 | 18.9269 | 13.976 | 14.9071 | 19.9467 | 0.98076 | -0.88982 | 0.9772 | 0.015157 | 0.0053589 | -0.91991 | 0.015261 | 0.0053955 | 1.0796 | 0.016128 | -0.92311 | 0.015271
[32 empty] | Cycle 1 | 12.7341 | 13.8492 | 18.2479 | 13.3193 | 14.2076 | 19.0099 | 0.99389 | -0.91261
[32 empty] | Cycle 2 | 12.2824 | 13.3582 | 17.6009 | 12.7054 | 13.5527 | 18.1342 | 0.98701 | -0.92652
[32 empty] | Cycle 3 | 11.8497 | 12.8879 | 16.9809 | 12.128 | 12.9377 | 17.3108 | 0.97119 | -0.93624
[32 empty] | Cycle 4 | 11.4343 | 12.4365 | 16.3858 | 11.5851 | 12.3588 | 16.5357 | 0.9677 | -0.92211
[32 empty] | Cycle 5 | 11.0325 | 11.9996 | 15.8104 | 11.0722 | 11.812 | 15.8035 | 0.95371 | -0.91303
[32 empty] | Cycle 6 | 10.6448 | 11.5782 | 15.2545 | 10.5886 | 11.2964 | 15.114 | 0.96581 | -0.9374
[32 empty] | Cycle 7 | 10.2749 | 11.1765 | 14.7249 | 10.1318 | 10.8091 | 14.4616 | 0.99752 | -0.92159
[32 empty] | Cycle 8 |  |  |  | 9.6992 | 10.348 | 13.8449
23 | GIRMS\IRMS-operator | 2026-05-16 07:58 | 2026-05-16 08:59 | Success | FALSE | MD23-3678 - G. ruber | 1481 | 23 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.332 V | 9.5176 kV | 93 µbar | 106 µbar | Carbon Dioxide: 0.0176 kV | 106 µbar | 12.464 V | 15.213 V | 200 µbar/min | 12.499 V | 1.17E-007 mbar | 10 % | 892 µbar | 72 °C | µ-Volume |  | Pre | 12.349 | 13.4341 | 17.6949 | 12.9698 | 13.8345 | 18.5112 | 1.2785 | -0.95876 | 1.2597 | 0.025643 | 0.0090661 | -0.98001 | 0.01737 | 0.0061411 | 1.3841 | 0.027218 | -0.9839 | 0.017368
[32 empty] | Cycle 1 | 11.9344 | 12.9837 | 17.1003 | 12.3761 | 13.2017 | 17.6634 | 1.2932 | -0.99143
[32 empty] | Cycle 2 | 11.5378 | 12.5521 | 16.5326 | 11.8181 | 12.6069 | 16.8676 | 1.2532 | -0.97879
[32 empty] | Cycle 3 | 11.1553 | 12.1365 | 15.9851 | 11.2928 | 12.0468 | 16.1181 | 1.2554 | -0.97247
[32 empty] | Cycle 4 | 10.7814 | 11.7304 | 15.4494 | 10.798 | 11.5197 | 15.4124 | 1.2888 | -0.96181
[32 empty] | Cycle 5 | 10.4317 | 11.3498 | 14.9481 | 10.33 | 11.0203 | 14.7439 | 1.2517 | -0.989
[32 empty] | Cycle 6 | 10.0808 | 10.9682 | 14.4453 | 9.8837 | 10.5447 | 14.1077 | 1.2378 | -1.0122
[32 empty] | Cycle 7 | 9.7517 | 10.6101 | 13.9742 | 9.4648 | 10.0979 | 13.5097 | 1.2187 | -0.97554
[32 empty] | Cycle 8 |  |  |  | 9.0678 | 9.6745 | 12.943
24 | GIRMS\IRMS-operator | 2026-05-16 08:22 | 2026-05-16 09:30 | Success | FALSE | MD23-3678 - G. ruber | 1477 | 24 | 2 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 16.473 V | 9.5177 kV | 108 µbar | 108 µbar | Carbon Dioxide: 0.0177 kV | 1,114 µbar | 11.618 V | 19.063 V | 557 µbar/min | 11.647 V | 1.12E-007 mbar | 10 % | 936 µbar | 72 °C | µ-Volume | 15.144 V | Pre | 16.0644 | 17.4728 | 23.0152 | 12.1248 | 12.9344 | 17.3065 | 1.0003 | -1.1797 | 1.0492 | 0.042117 | 0.014891 | -1.1614 | 0.012554 | 0.0044384 | 1.1656 | 0.044973 | -1.165 | 0.012548
[32 empty] | Cycle 1 | 15.4498 | 16.8047 | 22.1353 | 11.5806 | 12.3544 | 16.5292 | 0.99872 | -1.1516
[32 empty] | Cycle 2 | 14.864 | 16.1686 | 21.296 | 11.067 | 11.8065 | 15.7966 | 1.0523 | -1.1739
[32 empty] | Cycle 3 | 14.3088 | 15.5644 | 20.5013 | 10.5832 | 11.2906 | 15.1062 | 1.0068 | -1.1564
[32 empty] | Cycle 4 | 13.7807 | 14.9912 | 19.7447 | 10.1263 | 10.8036 | 14.4544 | 1.0702 | -1.1622
[32 empty] | Cycle 5 | 13.276 | 14.4426 | 19.0218 | 9.6948 | 10.3433 | 13.8385 | 1.08 | -1.1407
[32 empty] | Cycle 6 | 12.7911 | 13.9155 | 18.3272 | 9.2869 | 9.9083 | 13.2559 | 1.0763 | -1.1685
[32 empty] | Cycle 7 | 12.3245 | 13.4086 | 17.6593 | 8.9007 | 9.4966 | 12.7058 | 1.1088 | -1.1582
[32 empty] | Cycle 8 |  |  |  | 8.5328 | 9.1044 | 12.1803
25 | GIRMS\IRMS-operator | 2026-05-16 08:59 | 2026-05-16 10:14 | Success | FALSE | MD23-3678 - G. ruber | 1469 | 25 | 1 | 14 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 12.558 V | 9.5180 kV | 91 µbar | 101 µbar | Carbon Dioxide: 0.0180 kV | 93 µbar | 11.018 V | 14.314 V | 347 µbar/min | 1.847 V | 1.08E-007 mbar | 14 % | 880 µbar | 72 °C | µ-Volume |  | Pre | 10.781 | 11.7253 | 15.4463 | 11.3664 | 12.1261 | 16.2244 | 0.89429 | -1.168 | 0.86778 | 0.016584 | 0.0058634 | -1.1872 | 0.019214 | 0.0067933 | 0.97245 | 0.0175 | -1.1905 | 0.019222
[32 empty] | Cycle 1 | 10.4157 | 11.3281 | 14.9231 | 10.8646 | 11.5905 | 15.5075 | 0.87838 | -1.1574
[32 empty] | Cycle 2 | 10.0696 | 10.952 | 14.4274 | 10.3915 | 11.0866 | 14.833 | 0.8605 | -1.1872
[32 empty] | Cycle 3 | 9.7396 | 10.5933 | 13.9548 | 9.9445 | 10.6098 | 14.1951 | 0.84404 | -1.196
[32 empty] | Cycle 4 | 9.4227 | 10.2492 | 13.5006 | 9.5218 | 10.1594 | 13.5923 | 0.87887 | -1.2161
[32 empty] | Cycle 5 | 9.1169 | 9.9163 | 13.0626 | 9.1227 | 9.7336 | 13.0225 | 0.85042 | -1.2001
[32 empty] | Cycle 6 | 8.8221 | 9.596 | 12.6402 | 8.7436 | 9.3291 | 12.4812 | 0.87376 | -1.1976
[32 empty] | Cycle 7 | 8.537 | 9.2859 | 12.2323 | 8.3843 | 8.946 | 11.9685 | 0.86199 | -1.1755
[32 empty] | Cycle 8 |  |  |  | 8.0436 | 8.5825 | 11.4823
26 | GIRMS\IRMS-operator | 2026-05-16 09:30 | 2026-05-16 10:39 | Success | FALSE | SHP2L |  | 26 | 2 | 14 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 7.949 V | 9.5178 kV | 103 µbar | 108 µbar | Carbon Dioxide: 0.0178 kV | 1,153 µbar | 7.679 V | 8.902 V | 664 µbar/min | 10.443 V | 8.51E-008 mbar | 20 % | 850 µbar | 72 °C | µ-Volume |  | Pre | 7.5631 | 8.2127 | 10.7845 | 7.8515 | 8.3774 | 11.2079 | -0.83739 | -5.996 | -0.82723 | 0.01941 | 0.0068624 | -6.0144 | 0.016518 | 0.0058401 | -0.66249 | 0.020698 | -6.019 | 0.01653
[32 empty] | Cycle 1 | 7.324 | 7.9532 | 10.4431 | 7.5361 | 8.0412 | 10.7577 | -0.86196 | -6.0403
[32 empty] | Cycle 2 | 7.0944 | 7.7042 | 10.1161 | 7.2362 | 7.7215 | 10.3296 | -0.82925 | -6.0041
[32 empty] | Cycle 3 | 6.8731 | 7.4637 | 9.8003 | 6.9511 | 7.417 | 9.9228 | -0.82096 | -6.0343
[32 empty] | Cycle 4 | 6.6606 | 7.2332 | 9.4976 | 6.6803 | 7.1281 | 9.5363 | -0.80785 | -6.007
[32 empty] | Cycle 5 | 6.4544 | 7.0094 | 9.2034 | 6.4229 | 6.8536 | 9.1688 | -0.80245 | -6.0215
[32 empty] | Cycle 6 | 6.2545 | 6.7922 | 8.9184 | 6.1774 | 6.5917 | 8.8183 | -0.81696 | -6.0148
[32 empty] | Cycle 7 | 6.0622 | 6.5834 | 8.6444 | 5.9432 | 6.3417 | 8.484 | -0.841 | -5.9974
[32 empty] | Cycle 8 |  |  |  | 5.7207 | 6.1046 | 8.1665
27 | GIRMS\IRMS-operator | 2026-05-16 10:14 | 2026-05-16 11:16 | Success | FALSE | MD23-3678 - G. ruber | 1585 | 27 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.334 V | 9.5178 kV | 89 µbar | 93 µbar | Carbon Dioxide: 0.0178 kV | 96 µbar | 10.590 V | 12.816 V | 200 µbar/min | 7.369 V | 1.06E-007 mbar | 13 % | 863 µbar | 72 °C | µ-Volume |  | Pre | 10.3875 | 11.3016 | 14.8876 | 10.9562 | 11.6881 | 15.6382 | 1.2777 | -0.81971 | 1.2686 | 0.021327 | 0.0075403 | -0.82318 | 0.0048215 | 0.0018223 | 1.3878 | 0.022805 | -0.82693 | 0.0048196
[32 empty] | Cycle 1 | 10.0517 | 10.9367 | 14.4065 | 10.4778 | 11.1779 | 14.9558 | 1.3004 | -0.82604
[32 empty] | Cycle 2 | 9.7306 | 10.5876 | 13.9467 | 10.0272 | 10.6975 | 14.3128 | 1.2676 | -0.80234
[32 empty] | Cycle 3 | 9.4162 | 10.2453 | 13.4957 | 9.6002 | 10.2429 | 13.7032 | 1.2407 | -0.82862
[32 empty] | Cycle 4 | 9.1134 | 9.9164 | 13.0621 | 9.197 | 9.8121 | 13.128 | 1.2929 | -0.81803
[32 empty] | Cycle 5 | 8.8215 | 9.5989 | 12.6439 | 8.8149 | 9.405 | 12.5825 | 1.2571 | -0.82565
[32 empty] | Cycle 6 | 8.5419 | 9.2947 | 12.2433 | 8.4521 | 9.0181 | 12.0652 | 1.2682 | -0.82734
[32 empty] | Cycle 7 | 8.2702 | 8.9989 | 11.8539 | 8.107 | 8.6497 | 11.5726 | 1.2444 | -0.81687
[32 empty] | Cycle 8 |  |  |  | 7.779 | 8.3002 | 11.1043
28 | GIRMS\IRMS-operator | 2026-05-16 10:39 | 2026-05-16 11:47 | Success | FALSE | MD23-3678 - G. ruber | 1577 | 28 | 2 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 7.729 V | 9.5178 kV | 96 µbar | 96 µbar | Carbon Dioxide: 0.0178 kV | 1,038 µbar | 7.563 V | 8.677 V | 479 µbar/min | 10.017 V | 8.43E-008 mbar | 18 % | 841 µbar | 72 °C | µ-Volume |  | Pre | 7.4452 | 8.1001 | 10.6726 | 7.7566 | 8.2758 | 11.0726 | 1.095 | -0.74248 | 1.0767 | 0.029727 | 0.01051 | -0.73233 | 0.019104 | 0.0067542 | 1.1792 | 0.031659 | -0.73555 | 0.01911
[32 empty] | Cycle 1 | 7.2126 | 7.847 | 10.3392 | 7.4461 | 7.945 | 10.6294 | 1.0945 | -0.74178
[32 empty] | Cycle 2 | 6.9876 | 7.6022 | 10.017 | 7.1518 | 7.6306 | 10.2095 | 1.0908 | -0.71057
[32 empty] | Cycle 3 | 6.7705 | 7.3665 | 9.7058 | 6.8715 | 7.332 | 9.8093 | 1.1146 | -0.71661
[32 empty] | Cycle 4 | 6.5615 | 7.1387 | 9.4061 | 6.6046 | 7.0474 | 9.4286 | 1.0264 | -0.7426
[32 empty] | Cycle 5 | 6.3568 | 6.9163 | 9.113 | 6.3505 | 6.7766 | 9.0656 | 1.048 | -0.70676
[32 empty] | Cycle 6 | 6.1597 | 6.7018 | 8.8301 | 6.1086 | 6.5182 | 8.7206 | 1.0565 | -0.76181
[32 empty] | Cycle 7 | 5.9676 | 6.4931 | 8.5549 | 5.8772 | 6.2714 | 8.3901 | 1.0882 | -0.73606
[32 empty] | Cycle 8 |  |  |  | 5.6565 | 6.0359 | 8.0751
29 | GIRMS\IRMS-operator | 2026-05-16 11:16 | 2026-05-16 12:31 | Success | FALSE | MD23-3678 - G. ruber | 1569 | 29 | 1 | 16 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 12.192 V | 9.5178 kV | 86 µbar | 98 µbar | Carbon Dioxide: 0.0178 kV | 130 µbar | 10.678 V | 13.844 V | 435 µbar/min | 1.843 V | 1.05E-007 mbar | 14 % | 872 µbar | 72 °C | µ-Volume |  | Pre | 10.4537 | 11.3715 | 14.9826 | 11.0034 | 11.739 | 15.7067 | 1.0466 | -0.88037 | 1.0197 | 0.021333 | 0.0075422 | -0.87794 | 0.009559 | 0.0033796 | 1.1235 | 0.022819 | -0.88119 | 0.009568
[32 empty] | Cycle 1 | 10.1069 | 10.9944 | 14.4861 | 10.5228 | 11.2267 | 15.0213 | 1.0322 | -0.86303
[32 empty] | Cycle 2 | 9.7717 | 10.63 | 14.0056 | 10.0689 | 10.7426 | 14.3731 | 1.0218 | -0.87257
[32 empty] | Cycle 3 | 9.4515 | 10.2815 | 13.5465 | 9.6394 | 10.2846 | 13.7604 | 0.99178 | -0.88195
[32 empty] | Cycle 4 | 9.1426 | 9.9457 | 13.1039 | 9.234 | 9.8522 | 13.1812 | 1.0095 | -0.86998
[32 empty] | Cycle 5 | 8.8426 | 9.6195 | 12.6741 | 8.8491 | 9.4415 | 12.6321 | 1.0221 | -0.87634
[32 empty] | Cycle 6 | 8.5568 | 9.3091 | 12.2645 | 8.4833 | 9.0515 | 12.1102 | 1.0431 | -0.89332
[32 empty] | Cycle 7 | 8.2804 | 9.008 | 11.8685 | 8.1365 | 8.6815 | 11.6152 | 0.99035 | -0.88596
[32 empty] | Cycle 8 |  |  |  | 7.8071 | 8.3303 | 11.1451
30 | GIRMS\IRMS-operator | 2026-05-16 11:47 | 2026-05-16 12:56 | Success | FALSE | MD23-3678 - G. ruber | 1565 | 30 | 2 | 16 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.338 V | 9.5177 kV | 101 µbar | 106 µbar | Carbon Dioxide: 0.0177 kV | 1,097 µbar | 13.037 V | 15.250 V | 547 µbar/min | 10.143 V | 1.21E-007 mbar | 10 % | 914 µbar | 72 °C | µ-Volume |  | Pre | 12.8254 | 13.9525 | 18.3787 | 13.5861 | 14.4922 | 19.3915 | 1.249 | -0.95164 | 1.2534 | 0.0079078 | 0.0029888 | -0.92958 | 0.01342 | 0.0047446 | 1.3756 | 0.0081347 | -0.9334 | 0.013427
[32 empty] | Cycle 1 | 12.3704 | 13.4577 | 17.727 | 12.9538 | 13.8186 | 18.4895 | 1.2437 | -0.94844
[32 empty] | Cycle 2 | 11.9358 | 12.9848 | 17.1047 | 12.3619 | 13.1869 | 17.6447 | 1.2153 | -0.92612
[32 empty] | Cycle 3 | 11.5162 | 12.5291 | 16.5037 | 11.8037 | 12.5922 | 16.8482 | 1.2542 | -0.91343
[32 empty] | Cycle 4 | 11.1143 | 12.092 | 15.9279 | 11.2782 | 12.0315 | 16.0982 | 1.2515 | -0.92818
[32 empty] | Cycle 5 | 10.7293 | 11.6737 | 15.3762 | 10.783 | 11.5038 | 15.392 | 1.2653 | -0.92252
[32 empty] | Cycle 6 | 10.3559 | 11.2674 | 14.8412 | 10.3146 | 11.0043 | 14.7227 | 1.2478 | -0.92551
[32 empty] | Cycle 7 | 9.999 | 10.8795 | 14.3301 | 9.8722 | 10.5325 | 14.092 | 1.2626 | -0.92078
[32 empty] | Cycle 8 |  |  |  | 9.4534 | 10.0859 | 13.4942
31 | GIRMS\IRMS-operator | 2026-05-16 12:31 | 2026-05-16 13:33 | Success | FALSE | SHP2L |  | 31 | 1 | 17 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 5.576 V | 9.5175 kV | 89 µbar | 103 µbar | Carbon Dioxide: 0.0175 kV | 98 µbar | 5.286 V | 6.154 V | 386 µbar/min | 12.162 V | 6.43E-008 mbar | 29 % | 792 µbar | 72 °C | µ-Volume |  | Pre | 5.2121 | 5.6606 | 7.432 | 5.3953 | 5.7572 | 7.7021 | -0.7485 | -6.0401 | -0.78665 | 0.032588 | 0.011522 | -6.0221 | 0.019314 | 0.0068286 | -0.61879 | 0.035164 | -6.0267 | 0.019365
[32 empty] | Cycle 1 | 5.068 | 5.504 | 7.2265 | 5.1949 | 5.5432 | 7.416 | -0.7481 | -6.0187
[32 empty] | Cycle 2 | 4.9285 | 5.3525 | 7.0276 | 5.0047 | 5.3404 | 7.1442 | -0.79379 | -6.0465
[32 empty] | Cycle 3 | 4.7932 | 5.2057 | 6.8349 | 4.8225 | 5.146 | 6.8846 | -0.75555 | -6.0103
[32 empty] | Cycle 4 | 4.6596 | 5.0605 | 6.6441 | 4.6486 | 4.9604 | 6.6359 | -0.79051 | -6.0455
[32 empty] | Cycle 5 | 4.5335 | 4.9235 | 6.4647 | 4.4819 | 4.7829 | 6.3983 | -0.83107 | -5.9992
[32 empty] | Cycle 6 | 4.4069 | 4.7861 | 6.284 | 4.3226 | 4.6128 | 6.1709 | -0.80527 | -6.0143
[32 empty] | Cycle 7 | 4.2847 | 4.6534 | 6.1099 | 4.1696 | 4.4495 | 5.9522 | -0.82041 | -6.0018
[32 empty] | Cycle 8 |  |  |  | 4.0227 | 4.2928 | 5.7427
32 | GIRMS\IRMS-operator | 2026-05-16 12:56 | 2026-05-16 14:04 | Success | FALSE | MD23-3678 - G. ruber | 1561 | 32 | 2 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 14.020 V | 9.5176 kV | 111 µbar | 108 µbar | Carbon Dioxide: 0.0176 kV | 1,085 µbar | 11.807 V | 16.097 V | 484 µbar/min | 5.132 V | 1.13E-007 mbar | 10 % | 926 µbar | 72 °C | µ-Volume | 12.930 V | Pre | 13.6632 | 14.8605 | 19.5784 | 12.3162 | 13.1384 | 17.5792 | 0.98036 | -0.99233 | 0.95237 | 0.021305 | 0.0075324 | -1.0189 | 0.01972 | 0.0069722 | 1.0567 | 0.022736 | -1.0221 | 0.019737
[32 empty] | Cycle 1 | 13.17 | 14.3236 | 18.8716 | 11.7598 | 12.5452 | 16.785 | 0.92534 | -1.001
[32 empty] | Cycle 2 | 12.6943 | 13.8069 | 18.1899 | 11.2373 | 11.9881 | 16.0394 | 0.94999 | -1.0159
[32 empty] | Cycle 3 | 12.2421 | 13.3152 | 17.5419 | 10.744 | 11.4621 | 15.3355 | 0.92266 | -1.0412
[32 empty] | Cycle 4 | 11.8109 | 12.8468 | 16.9249 | 10.2789 | 10.9663 | 14.6719 | 0.95818 | -1.0031
[32 empty] | Cycle 5 | 11.3958 | 12.3953 | 16.3299 | 9.8386 | 10.4964 | 14.0435 | 0.94285 | -1.0225
[32 empty] | Cycle 6 | 10.9971 | 11.9621 | 15.7583 | 9.4226 | 10.053 | 13.4499 | 0.97448 | -1.0483
[32 empty] | Cycle 7 | 10.6124 | 11.5438 | 15.2075 | 9.0286 | 9.6326 | 12.8877 | 0.96508 | -1.0266
[32 empty] | Cycle 8 |  |  |  | 8.6557 | 9.2351 | 12.3553
33 | GIRMS\IRMS-operator | 2026-05-16 13:33 | 2026-05-16 14:48 | Success | FALSE | MD23-3678 - G. ruber | 1557 | 33 | 1 | 18 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 11.016 V | 9.5177 kV | 93 µbar | 101 µbar | Carbon Dioxide: 0.0177 kV | 665 µbar | 9.663 V | 12.482 V | 190 µbar/min | 1.849 V | 9.77E-008 mbar | 16 % | 875 µbar | 72 °C | µ-Volume |  | Pre | 9.467 | 10.2991 | 13.5667 | 9.9242 | 10.5878 | 14.1661 | 1.1236 | -0.98461 | 1.0998 | 0.022932 | 0.0081075 | -0.96495 | 0.011343 | 0.0040103 | 1.2125 | 0.024603 | -0.96847 | 0.011363
[32 empty] | Cycle 1 | 9.1604 | 9.9656 | 13.1275 | 9.5019 | 10.1375 | 13.5632 | 1.1035 | -0.96422
[32 empty] | Cycle 2 | 8.8627 | 9.642 | 12.7011 | 9.1036 | 9.7129 | 12.9946 | 1.0974 | -0.95711
[32 empty] | Cycle 3 | 8.5769 | 9.3312 | 12.2915 | 8.7256 | 9.3098 | 12.4554 | 1.1 | -0.96409
[32 empty] | Cycle 4 | 8.3012 | 9.0313 | 11.8967 | 8.3676 | 8.928 | 11.9441 | 1.0939 | -0.94508
[32 empty] | Cycle 5 | 8.0365 | 8.7435 | 11.5172 | 8.0261 | 8.5635 | 11.4569 | 1.0648 | -0.97107
[32 empty] | Cycle 6 | 7.7815 | 8.4662 | 11.1517 | 7.703 | 8.2198 | 10.9959 | 1.0786 | -0.96922
[32 empty] | Cycle 7 | 7.5395 | 8.2031 | 10.805 | 7.3952 | 7.8904 | 10.5562 | 1.137 | -0.96422
[32 empty] | Cycle 8 |  |  |  | 7.1025 | 7.5785 | 10.1388
34 | GIRMS\IRMS-operator | 2026-05-16 14:04 | 2026-05-16 15:14 | Success | FALSE | MD23-3678 - G. ruber | 1553 | 34 | 2 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 14.460 V | 9.5176 kV | 106 µbar | 103 µbar | Carbon Dioxide: 0.0176 kV | 1,092 µbar | 13.173 V | 16.629 V | 493 µbar/min | 9.220 V | 1.22E-007 mbar | 10 % | 921 µbar | 73 °C | µ-Volume |  | Pre | 13.1151 | 14.2676 | 18.7897 | 13.6929 | 14.6055 | 19.5425 | 1.3088 | -1.0965 | 1.3108 | 0.018164 | 0.0068655 | -1.1081 | 0.018058 | 0.0063843 | 1.4436 | 0.018865 | -1.1123 | 0.018055
[32 empty] | Cycle 1 | 12.6436 | 13.7553 | 18.1146 | 13.0565 | 13.9272 | 18.6347 | 1.3197 | -1.0963
[32 empty] | Cycle 2 | 12.1942 | 13.2668 | 17.4706 | 12.458 | 13.2891 | 17.7806 | 1.328 | -1.1081
[32 empty] | Cycle 3 | 11.7639 | 12.7985 | 16.8542 | 11.8962 | 12.6902 | 16.979 | 1.2867 | -1.1183
[32 empty] | Cycle 4 | 11.3487 | 12.3478 | 16.2601 | 11.3653 | 12.1242 | 16.2215 | 1.3363 | -1.0758
[32 empty] | Cycle 5 | 10.9507 | 11.9145 | 15.6891 | 10.8654 | 11.5915 | 15.5078 | 1.2932 | -1.1321
[32 empty] | Cycle 6 | 10.5695 | 11.5011 | 15.1437 | 10.3933 | 11.0878 | 14.8347 | 1.3941 | -1.1138
[32 empty] | Cycle 7 | 10.2029 | 11.1013 | 14.6183 | 9.9473 | 10.6121 | 14.198 | 1.3031 | -1.1239
[32 empty] | Cycle 8 |  |  |  | 9.525 | 10.1618 | 13.5957
35 | GIRMS\IRMS-operator | 2026-05-16 14:48 | 2026-05-16 15:48 | Success | FALSE | MD23-3678 - G. ruber | 1549 | 35 | 1 | 19 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 15.405 V | 9.5176 kV | 89 µbar | 111 µbar | Carbon Dioxide: 0.0176 kV | 93 µbar | 12.228 V | 17.638 V | 220 µbar/min | 12.260 V | 1.15E-007 mbar | 10 % | 904 µbar | 72 °C | µ-Volume | 14.287 V | Pre | 15.0617 | 16.3828 | 21.5797 | 12.7574 | 13.6083 | 18.2083 | 1.0945 | -1.0893 | 1.1262 | 0.0062794 | 0.0023734 | -1.077 | 0.016531 | 0.0058446 | 1.2448 | 0.0070039 | -1.0807 | 0.016546
[32 empty] | Cycle 1 | 14.5317 | 15.8074 | 20.8209 | 12.1777 | 12.9908 | 17.3811 | 1.1237 | -1.078
[32 empty] | Cycle 2 | 14.0163 | 15.2471 | 20.0824 | 11.6324 | 12.4091 | 16.6031 | 1.1293 | -1.0945
[32 empty] | Cycle 3 | 13.529 | 14.7176 | 19.3845 | 11.1162 | 11.8588 | 15.8664 | 1.1373 | -1.0945
[32 empty] | Cycle 4 | 13.0667 | 14.2148 | 18.7224 | 10.6295 | 11.3402 | 15.1722 | 1.1168 | -1.0771
[32 empty] | Cycle 5 | 12.615 | 13.7238 | 18.0756 | 10.1703 | 10.8504 | 14.5164 | 1.1273 | -1.0492
[32 empty] | Cycle 6 | 12.1859 | 13.2573 | 17.461 | 9.7363 | 10.3876 | 13.8971 | 1.1235 | -1.0576
[32 empty] | Cycle 7 | 11.7762 | 12.812 | 16.874 | 9.3253 | 9.9493 | 13.3107 | 1.1253 | -1.0762
[32 empty] | Cycle 8 |  |  |  | 8.9363 | 9.5345 | 12.7557
36 | GIRMS\IRMS-operator | 2026-05-16 15:14 | 2026-05-16 16:21 | Success | FALSE | SHP2L |  | 36 | 2 | 19 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 8.697 V | 9.5175 kV | 111 µbar | 103 µbar | Carbon Dioxide: 0.0175 kV | 1,060 µbar | 8.517 V | 9.788 V | 488 µbar/min | 11.462 V | 8.94E-008 mbar | 15 % | 877 µbar | 72 °C | µ-Volume |  | Pre | 8.3778 | 9.0969 | 11.9445 | 8.7725 | 9.3592 | 12.5214 | -0.8216 | -6.0408 | -0.80957 | 0.016383 | 0.0057924 | -6.0412 | 0.01375 | 0.0048614 | -0.64261 | 0.017442 | -6.0458 | 0.013758
[32 empty] | Cycle 1 | 8.1072 | 8.8033 | 11.5588 | 8.4105 | 8.9739 | 12.0048 | -0.82515 | -6.0428
[32 empty] | Cycle 2 | 7.8457 | 8.5196 | 11.186 | 8.0675 | 8.6076 | 11.5155 | -0.7852 | -6.0453
[32 empty] | Cycle 3 | 7.5955 | 8.2479 | 10.8295 | 7.7422 | 8.2605 | 11.0511 | -0.79042 | -6.0204
[32 empty] | Cycle 4 | 7.3581 | 7.9899 | 10.4908 | 7.4328 | 7.9305 | 10.6093 | -0.83014 | -6.0344
[32 empty] | Cycle 5 | 7.1259 | 7.738 | 10.1599 | 7.1388 | 7.617 | 10.1898 | -0.80522 | -6.0282
[32 empty] | Cycle 6 | 6.9003 | 7.4932 | 9.8384 | 6.8589 | 7.3184 | 9.7904 | -0.80276 | -6.0536
[32 empty] | Cycle 7 | 6.6831 | 7.2572 | 9.5286 | 6.5918 | 7.0334 | 9.4096 | -0.81608 | -6.0637
[32 empty] | Cycle 8 |  |  |  | 6.3378 | 6.7624 | 9.0467
37 | GIRMS\IRMS-operator | 2026-05-16 15:48 | 2026-05-16 17:03 | Success | FALSE | MD23-3678 - G. ruber | 1545 | 37 | 1 | 20 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 14.504 V | 9.5177 kV | 91 µbar | 103 µbar | Carbon Dioxide: 0.0177 kV | 526 µbar | 13.966 V | 16.617 V | 190 µbar/min | 1.856 V | 1.26E-007 mbar | 10 % | 899 µbar | 72 °C | µ-Volume |  | Pre | 13.7516 | 14.9546 | 19.7049 | 14.5485 | 15.5183 | 20.7641 | 0.95409 | -0.94191 | 0.96873 | 0.032658 | 0.011546 | -0.95284 | 0.017138 | 0.0060591 | 1.0718 | 0.034559 | -0.95605 | 0.017111
[32 empty] | Cycle 1 | 13.2619 | 14.423 | 19.0032 | 13.8558 | 14.7793 | 19.7754 | 1.0138 | -0.95546
[32 empty] | Cycle 2 | 12.7966 | 13.9172 | 18.3372 | 13.2096 | 14.0905 | 18.8538 | 0.97967 | -0.93482
[32 empty] | Cycle 3 | 12.3523 | 13.4338 | 17.6996 | 12.6035 | 13.4446 | 17.9885 | 0.94545 | -0.98152
[32 empty] | Cycle 4 | 11.922 | 12.966 | 17.0835 | 12.0324 | 12.8354 | 17.1737 | 0.93707 | -0.9595
[32 empty] | Cycle 5 | 11.5119 | 12.5214 | 16.4966 | 11.4931 | 12.2606 | 16.4038 | 1.0212 | -0.92848
[32 empty] | Cycle 6 | 11.1199 | 12.0943 | 15.9347 | 10.985 | 11.7187 | 15.6791 | 0.94418 | -0.96418
[32 empty] | Cycle 7 | 10.7413 | 11.683 | 15.3923 | 10.5049 | 11.2069 | 14.9942 | 0.95445 | -0.95686
[32 empty] | Cycle 8 |  |  |  | 10.0523 | 10.7244 | 14.3479
38 | GIRMS\IRMS-operator | 2026-05-16 16:21 | 2026-05-16 17:29 | Success | FALSE | MD23-3678 - G. ruber | 1537 | 38 | 2 | 20 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 10.311 V | 9.5175 kV | 108 µbar | 106 µbar | Carbon Dioxide: 0.0175 kV | 1,107 µbar | 10.086 V | 11.679 V | 513 µbar/min | 13.056 V | 1.00E-007 mbar | 14 % | 897 µbar | 72 °C | µ-Volume |  | Pre | 9.926 | 10.7969 | 14.2243 | 10.3969 | 11.0913 | 14.8391 | 1.0361 | -0.88526 | 1.0153 | 0.018933 | 0.006694 | -0.89896 | 0.024436 | 0.0086394 | 1.1197 | 0.01996 | -0.90222 | 0.024447
[32 empty] | Cycle 1 | 9.5952 | 10.4374 | 13.7503 | 9.95 | 10.615 | 14.2012 | 1.0376 | -0.88205
[32 empty] | Cycle 2 | 9.2777 | 10.0921 | 13.2961 | 9.5275 | 10.1646 | 13.5985 | 1.015 | -0.85819
[32 empty] | Cycle 3 | 8.9704 | 9.7581 | 12.8551 | 9.1281 | 9.7387 | 13.0289 | 1.0262 | -0.90249
[32 empty] | Cycle 4 | 8.676 | 9.4378 | 12.4332 | 8.7486 | 9.3339 | 12.4868 | 1.0015 | -0.90788
[32 empty] | Cycle 5 | 8.3918 | 9.129 | 12.0264 | 8.3875 | 8.9489 | 11.972 | 1.0165 | -0.91087
[32 empty] | Cycle 6 | 8.1159 | 8.8287 | 11.6306 | 8.0458 | 8.5844 | 11.4846 | 1.0094 | -0.94124
[32 empty] | Cycle 7 | 7.8533 | 8.5429 | 11.2547 | 7.7228 | 8.2398 | 11.0233 | 0.98018 | -0.90369
[32 empty] | Cycle 8 |  |  |  | 7.4147 | 7.9113 | 10.5837
39 | GIRMS\IRMS-operator | 2026-05-16 17:03 | 2026-05-16 18:05 | Success | FALSE | MD23-3678 - G. ruber | 1345 | 39 | 1 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 17.302 V | 9.5177 kV | 91 µbar | 106 µbar | Carbon Dioxide: 0.0177 kV | 162 µbar | 12.298 V | 19.976 V | 210 µbar/min | 9.564 V | 1.16E-007 mbar | 10 % | 911 µbar | 72 °C | µ-Volume | 15.972 V | Pre | 16.9202 | 18.3867 | 24.2561 | 12.8271 | 13.6825 | 18.3077 | 0.16962 | -0.50769 | 0.20786 | 0.021058 | 0.0074453 | -0.50325 | 0.013356 | 0.0047219 | 0.24102 | 0.022529 | -0.50425 | 0.013369
[32 empty] | Cycle 1 | 16.2956 | 17.7096 | 23.3607 | 12.2443 | 13.0611 | 17.4755 | 0.22832 | -0.49349
[32 empty] | Cycle 2 | 15.6994 | 17.0616 | 22.5066 | 11.6957 | 12.4765 | 16.6924 | 0.18553 | -0.48625
[32 empty] | Cycle 3 | 15.1301 | 16.4439 | 21.6908 | 11.1782 | 11.9246 | 15.9543 | 0.22392 | -0.48519
[32 empty] | Cycle 4 | 14.583 | 15.8495 | 20.9062 | 10.6885 | 11.4027 | 15.2556 | 0.20962 | -0.51412
[32 empty] | Cycle 5 | 14.0602 | 15.2815 | 20.1572 | 10.2247 | 10.9082 | 14.594 | 0.20437 | -0.50744
[32 empty] | Cycle 6 | 13.5592 | 14.7373 | 19.439 | 9.7874 | 10.4418 | 13.97 | 0.21296 | -0.52152
[32 empty] | Cycle 7 | 13.0855 | 14.2229 | 18.7601 | 9.3734 | 10.0001 | 13.3792 | 0.2285 | -0.51025
[32 empty] | Cycle 8 |  |  |  | 8.983 | 9.5839 | 12.8218
40 | GIRMS\IRMS-operator | 2026-05-16 17:29 | 2026-05-16 18:37 | Success | FALSE | MD23-3678 - G. ruber | 1337 | 40 | 2 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 14.713 V | 9.5176 kV | 106 µbar | 111 µbar | Carbon Dioxide: 0.0176 kV | 1,141 µbar | 11.500 V | 16.950 V | 625 µbar/min | 11.530 V | 1.12E-007 mbar | 10 % | 924 µbar | 73 °C | µ-Volume | 13.572 V | Pre | 14.3688 | 15.6166 | 20.5969 | 11.9977 | 12.7984 | 17.1238 | 0.27062 | -0.58141 | 0.30214 | 0.019764 | 0.0069876 | -0.57164 | 0.023353 | 0.0082564 | 0.34443 | 0.021055 | -0.57294 | 0.023372
[32 empty] | Cycle 1 | 13.8393 | 15.0419 | 19.8383 | 11.46 | 12.2252 | 16.3561 | 0.30028 | -0.56124
[32 empty] | Cycle 2 | 13.3328 | 14.4914 | 19.1127 | 10.9538 | 11.6855 | 15.6339 | 0.28348 | -0.54747
[32 empty] | Cycle 3 | 12.849 | 13.9662 | 18.4192 | 10.478 | 11.1778 | 14.9548 | 0.31372 | -0.56219
[32 empty] | Cycle 4 | 12.3848 | 13.4623 | 17.7544 | 10.0255 | 10.6956 | 14.3094 | 0.31435 | -0.54416
[32 empty] | Cycle 5 | 11.94 | 12.9787 | 17.1162 | 9.5983 | 10.2401 | 13.6996 | 0.29385 | -0.59767
[32 empty] | Cycle 6 | 11.5122 | 12.5142 | 16.5031 | 9.1937 | 9.8086 | 13.1229 | 0.30682 | -0.61035
[32 empty] | Cycle 7 | 11.1028 | 12.0696 | 15.9168 | 8.812 | 9.4016 | 12.5777 | 0.33401 | -0.56863
[32 empty] | Cycle 8 |  |  |  | 8.45 | 9.0156 | 12.0615
41 | GIRMS\IRMS-operator | 2026-05-16 18:05 | 2026-05-16 19:22 | Success | FALSE | SHP2L |  | 41 | 1 | 22 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 8.452 V | 9.5178 kV | 89 µbar | 98 µbar | Carbon Dioxide: 0.0178 kV | 91 µbar | 7.490 V | 9.463 V | 210 µbar/min | 1.852 V | 8.26E-008 mbar | 22 % | 838 µbar | 72 °C | µ-Volume |  | Pre | 7.4323 | 8.0713 | 10.5974 | 7.6509 | 8.1637 | 10.9216 | -0.78657 | -6.0361 | -0.81075 | 0.021557 | 0.0076214 | -6.0202 | 0.01492 | 0.0052751 | -0.64465 | 0.022913 | -6.0248 | 0.014922
[32 empty] | Cycle 1 | 7.2065 | 7.8257 | 10.2754 | 7.3469 | 7.8394 | 10.4874 | -0.81894 | -6.0048
[32 empty] | Cycle 2 | 6.9865 | 7.5868 | 9.9616 | 7.0579 | 7.5308 | 10.0745 | -0.83438 | -6.0294
[32 empty] | Cycle 3 | 6.7748 | 7.3574 | 9.6601 | 6.7823 | 7.2371 | 9.6817 | -0.79346 | -5.9968
[32 empty] | Cycle 4 | 6.5697 | 7.1346 | 9.3675 | 6.5196 | 6.9569 | 9.3063 | -0.79007 | -6.0091
[32 empty] | Cycle 5 | 6.3731 | 6.9213 | 9.0874 | 6.2699 | 6.6902 | 8.95 | -0.79495 | -6.0271
[32 empty] | Cycle 6 | 6.1828 | 6.7145 | 8.8161 | 6.0311 | 6.4357 | 8.6095 | -0.83465 | -6.0364
[32 empty] | Cycle 7 | 5.9984 | 6.5144 | 8.5533 | 5.8042 | 6.1938 | 8.2855 | -0.83301 | -6.0216
[32 empty] | Cycle 8 |  |  |  | 5.5866 | 5.9616 | 7.975
42 | GIRMS\IRMS-operator | 2026-05-16 18:37 | 2026-05-16 19:48 | Success | FALSE | MD23-3678 - G. ruber | 1329 | 42 | 2 | 22 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.679 V | 9.5177 kV | 106 µbar | 113 µbar | Carbon Dioxide: 0.0177 kV | 1,141 µbar | 10.874 V | 13.290 V | 596 µbar/min | 7.227 V | 1.06E-007 mbar | 13 % | 914 µbar | 72 °C | µ-Volume |  | Pre | 10.6468 | 11.5808 | 15.2638 | 11.2296 | 11.9796 | 16.0278 | 1.056 | -0.47193 | 1.0424 | 0.042543 | 0.015041 | -0.47122 | 0.023343 | 0.0082528 | 1.1328 | 0.045267 | -0.47408 | 0.023338
[32 empty] | Cycle 1 | 10.2862 | 11.1887 | 14.7465 | 10.7372 | 11.4545 | 15.3252 | 1.028 | -0.5136
[32 empty] | Cycle 2 | 9.9396 | 10.812 | 14.2501 | 10.2704 | 10.9571 | 14.6593 | 1.0111 | -0.48892
[32 empty] | Cycle 3 | 9.6082 | 10.4515 | 13.7751 | 9.83 | 10.4876 | 14.0308 | 0.99901 | -0.47258
[32 empty] | Cycle 4 | 9.286 | 10.1015 | 13.3131 | 9.4162 | 10.046 | 13.4398 | 1.0263 | -0.47474
[32 empty] | Cycle 5 | 8.9745 | 9.7627 | 12.867 | 9.022 | 9.6257 | 12.8772 | 1.0133 | -0.43638
[32 empty] | Cycle 6 | 8.676 | 9.4382 | 12.4391 | 8.6474 | 9.2262 | 12.3426 | 1.1254 | -0.45587
[32 empty] | Cycle 7 | 8.3898 | 9.1264 | 12.0289 | 8.293 | 8.8462 | 11.8372 | 1.0799 | -0.45572
[32 empty] | Cycle 8 |  |  |  | 7.9572 | 8.4899 | 11.3577
43 | GIRMS\IRMS-operator | 2026-05-16 19:22 | 2026-05-16 20:24 | Running | FALSE | MD23-3678 - G. ruber | 1321 | 43 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.401 V | 9.5177 kV | 93 µbar | 103 µbar | Carbon Dioxide: 0.0177 kV | 106 µbar | 12.455 V | 15.302 V | 391 µbar/min | 10.282 V | 1.17E-007 mbar | 10 % | 899 µbar | 72 °C | µ-Volume |  | Pre | 12.3483 | 13.4239 | 17.6958 | 12.948 | 13.8112 | 18.4789 | 0.5759 | -0.81481 | 0.56346 | 0.011502 | 0.0043475 | -0.81255 | 0.01384 | 0.0048933 | 0.63291 | 0.012391 | -0.81468 | 0.013847
[32 empty] | Cycle 1 | 11.9301 | 12.9697 | 17.0971 | 12.3552 | 13.1794 | 17.6336 | 0.54921 | -0.80829
[32 empty] | Cycle 2 | 11.5259 | 12.5307 | 16.5178 | 11.7959 | 12.5837 | 16.8355 | 0.56313 | -0.81033
[32 empty] | Cycle 3 | 11.1414 | 12.1129 | 15.9671 | 11.2709 | 12.0234 | 16.0862 | 0.56156 | -0.79684
[32 empty] | Cycle 4 | 10.7718 | 11.7115 | 15.4376 | 10.777 | 11.4971 | 15.3813 | 0.55996 | -0.79186
[32 empty] | Cycle 5 | 10.4103 | 11.3188 | 14.9193 | 10.3089 | 10.9981 | 14.7133 | 0.58123 | -0.82149
[32 empty] | Cycle 6 | 10.0717 | 10.9501 | 14.4342 | 9.8647 | 10.5239 | 14.0797 | 0.51688 | -0.82304
[32 empty] | Cycle 7 | 9.7408 | 10.5911 | 13.9601 | 9.4479 | 10.0799 | 13.4849 | 0.55325 | -0.83372
[32 empty] | Cycle 8 |  |  |  | 9.0519 | 9.6575 | 12.9201
44 | GIRMS\IRMS-operator | 2026-05-16 19:48 | 2026-05-16 20:55 | Running | FALSE | MD23-3678 - G. ruber | 1313 | 44 | 2 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 14.341 V | 9.5176 kV | 108 µbar | 115 µbar | Carbon Dioxide: 0.0176 kV | 1,146 µbar | 11.614 V | 16.489 V | 576 µbar/min | 11.646 V | 1.12E-007 mbar | 10 % | 946 µbar | 72 °C | µ-Volume | 13.231 V | Pre | 13.9944 | 15.2138 | 20.0586 | 12.1116 | 12.92 | 17.286 | 0.54138 | -0.6588 | 0.57787 | 0.020239 | 0.0071556 | -0.65851 | 0.010291 | 0.0038895 | 0.64289 | 0.022029 | -0.66051 | 0.010306
[32 empty] | Cycle 1 | 13.4824 | 14.658 | 19.3246 | 11.5688 | 12.3412 | 16.5115 | 0.57263 | -0.66625
[32 empty] | Cycle 2 | 12.9911 | 14.1241 | 18.6208 | 11.0582 | 11.7969 | 15.7827 | 0.57191 | -0.66305
[32 empty] | Cycle 3 | 12.5225 | 13.615 | 17.9493 | 10.5732 | 11.2795 | 15.0911 | 0.57131 | -0.66153
[32 empty] | Cycle 4 | 12.0752 | 13.1294 | 17.3087 | 10.1177 | 10.7943 | 14.4407 | 0.57791 | -0.6376
[32 empty] | Cycle 5 | 11.6444 | 12.6612 | 16.6912 | 9.6868 | 10.3348 | 13.8261 | 0.57881 | -0.6543
[32 empty] | Cycle 6 | 11.2312 | 12.2121 | 16.0992 | 9.278 | 9.8988 | 13.2428 | 0.60234 | -0.66804
[32 empty] | Cycle 7 | 10.8329 | 11.7793 | 15.528 | 8.8907 | 9.4852 | 12.6905 | 0.60669 | -0.70254
[32 empty] | Cycle 8 |  |  |  | 8.5229 | 9.0934 | 12.1653
45 | GIRMS\IRMS-operator | 2026-05-16 20:24 | 2026-05-16 21:38 | Running | FALSE | MD23-3678 - G. ruber | 1305 | 45 | 1 | 24 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 15.727 V | 9.5179 kV | 93 µbar | 113 µbar | Carbon Dioxide: 0.0179 kV | 186 µbar | 13.844 V | 18.107 V | 210 µbar/min | 1.850 V | 1.25E-007 mbar | 10 % | 916 µbar | 73 °C | µ-Volume | 14.368 V | Pre | 15.1889 | 16.5083 | 21.7763 | 14.4284 | 15.3902 | 20.593 | 0.33343 | -0.42532 | 0.35399 | 0.022142 | 0.0078282 | -0.44017 | 0.015668 | 0.0055393 | 0.39505 | 0.023519 | -0.44144 | 0.015669
[32 empty] | Cycle 1 | 14.6292 | 15.9007 | 20.974 | 13.7454 | 14.6631 | 19.6185 | 0.35056 | -0.42098
[32 empty] | Cycle 2 | 14.0927 | 15.3179 | 20.205 | 13.1051 | 13.9793 | 18.7043 | 0.37194 | -0.42578
[32 empty] | Cycle 3 | 13.5853 | 14.7664 | 19.4774 | 12.503 | 13.3377 | 17.8457 | 0.34452 | -0.44797
[32 empty] | Cycle 4 | 13.0991 | 14.2385 | 18.7804 | 11.936 | 12.7331 | 17.0365 | 0.3718 | -0.44835
[32 empty] | Cycle 5 | 12.6364 | 13.7362 | 18.1173 | 11.4027 | 12.1644 | 16.2754 | 0.39084 | -0.43407
[32 empty] | Cycle 6 | 12.1985 | 13.26 | 17.4894 | 10.8992 | 11.6276 | 15.5568 | 0.32595 | -0.45681
[32 empty] | Cycle 7 | 11.777 | 12.8022 | 16.8854 | 10.4242 | 11.1217 | 14.8793 | 0.34287 | -0.46209
[32 empty] | Cycle 8 |  |  |  | 9.9763 | 10.6434 | 14.2402
46 | GIRMS\IRMS-operator | 2026-05-16 20:55 | 2026-05-16 22:05 | Running | FALSE | SHP2L |  | 46 | 2 | 24 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 6.131 V | 9.5177 kV | 118 µbar | 113 µbar | Carbon Dioxide: 0.0177 kV | 1,090 µbar | 5.749 V | 6.809 V | 493 µbar/min | 12.966 V | 6.82E-008 mbar | 28 % | 860 µbar | 72 °C | µ-Volume |  | Pre | 5.6981 | 6.1878 | 8.1247 | 5.8651 | 6.258 | 8.3719 | -0.7769 | -5.9896 | -0.78471 | 0.016216 | 0.0057333 | -6.0118 | 0.017188 | 0.0060768 | -0.6171 | 0.017205 | -6.0165 | 0.017197
[32 empty] | Cycle 1 | 5.5303 | 6.0057 | 7.8853 | 5.6446 | 6.0228 | 8.0573 | -0.78773 | -6.0191
[32 empty] | Cycle 2 | 5.3666 | 5.828 | 7.6518 | 5.4341 | 5.7983 | 7.7568 | -0.77115 | -6.0252
[32 empty] | Cycle 3 | 5.2092 | 5.6571 | 7.4277 | 5.2333 | 5.584 | 7.4702 | -0.78892 | -5.9886
[32 empty] | Cycle 4 | 5.0563 | 5.491 | 7.2098 | 5.0408 | 5.3788 | 7.1954 | -0.79315 | -6.0078
[32 empty] | Cycle 5 | 4.9079 | 5.3301 | 6.9982 | 4.8575 | 5.1831 | 6.9343 | -0.75591 | -6.0132
[32 empty] | Cycle 6 | 4.7642 | 5.1738 | 6.7932 | 4.6814 | 4.9953 | 6.6826 | -0.79596 | -6.0109
[32 empty] | Cycle 7 | 4.6256 | 5.0233 | 6.5955 | 4.5131 | 4.8157 | 6.4423 | -0.80799 | -6.0398
[32 empty] | Cycle 8 |  |  |  | 4.3513 | 4.6433 | 6.2117