## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Kiel IV Initial Pressure | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-07-01 09:29 | 2026-07-01 10:23 | Running | FALSE | MD23-3678 - N. dutertri | 1569 | 1 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.004 V |  | 20.202 V | 9.5184 kV | 103 µbar | Carbon Dioxide: 0.0184 kV | 115 µbar | 18.436 V | 23.805 V | 230 µbar/min | 3.110 V | 1.82E-007 mbar | 12 % | 1,012 µbar | 72 °C | µ-Volume |  |  | Pre | 17.9525 | 19.5255 | 25.7443 | 18.893 | 20.1383 | 26.9742 | 1.7179 | -0.59382 | 1.6834 | 0.039625 | 0.01401 | -0.68889 | 0.0807 | 0.028532 | 1.8268 | 0.040154 | -0.69343 | 0.080718
[32 empty] | Cycle 1 | 17.2257 | 18.737 | 24.7039 | 17.936 | 19.1202 | 25.6112 | 1.7572 | -0.60023
[32 empty] | Cycle 2 | 16.5356 | 17.9859 | 23.7154 | 16.995 | 18.1179 | 24.2685 | 1.6823 | -0.63732
[32 empty] | Cycle 3 | 15.881 | 17.275 | 22.7779 | 16.1617 | 17.2304 | 23.0816 | 1.6799 | -0.68284
[32 empty] | Cycle 4 | 15.2635 | 16.6042 | 21.8931 | 15.3469 | 16.3631 | 21.9194 | 1.6868 | -0.74786
[32 empty] | Cycle 5 | 14.6752 | 15.9646 | 21.0497 | 14.6294 | 15.5983 | 20.8979 | 1.6666 | -0.71213
[32 empty] | Cycle 6 | 14.1096 | 15.35 | 20.2393 | 13.8559 | 14.7746 | 19.7894 | 1.6391 | -0.70021
[32 empty] | Cycle 7 | 13.5804 | 14.7747 | 19.4807 | 13.2547 | 14.1347 | 18.9353 | 1.6378 | -0.8367
[32 empty] | Cycle 8 |  |  |  | 12.6415 | 13.4805 | 18.0608
2 | GIRMS\IRMS-operator | 2026-07-01 09:58 | 2026-07-01 10:52 | Running | FALSE | MD23-3678 - N. dutertri | 1565 | 2 | 2 | 23 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.008 V |  | 18.453 V | 9.5181 kV | 106 µbar | Carbon Dioxide: 0.0181 kV | 111 µbar | 16.791 V | 21.398 V | 137 µbar/min | 17.717 V | 1.69E-007 mbar | 13 % | 1,002 µbar | 72 °C | µ-Volume | 101 µbar |  | Pre | 16.4019 | 17.8407 | 23.527 | 17.1868 | 18.3215 | 24.5442 | 1.7191 | -0.54169 | 1.5984 | 0.016958 | 0.0064096 | -0.6062 | 0.054888 | 0.020746 | 1.7342 | 0.02062 | -0.61049 | 0.054894
[32 empty] | Cycle 1 | 15.7721 | 17.155 | 22.6243 | 16.329 | 17.4088 | 23.3212 | 1.5989 | -0.56863
[32 empty] | Cycle 2 | 15.1714 | 16.5023 | 21.763 | 15.5034 | 16.5298 | 22.1428 | 1.6024 | -0.59668
[32 empty] | Cycle 3 | 14.5925 | 15.8732 | 20.9329 | 14.7531 | 15.7299 | 21.0723 | 1.5921 | -0.66096
[32 empty] | Cycle 4 | 14.0457 | 15.2794 | 20.1492 | 14.0548 | 14.9867 | 20.077 | 1.5882 | -0.68741
[32 empty] | Cycle 5 | 13.5258 | 14.7141 | 19.4037 | 13.3793 | 14.2669 | 19.1123 | 1.5752 | -0.5585
[32 empty] | Cycle 6 | 13.0304 | 14.1759 | 18.6926 | 12.702 | 13.5451 | 18.1405 | 1.6021 | -0.62952
[32 empty] | Cycle 7 | 12.567 | 13.6724 | 18.0282 | 12.1799 | 12.9885 | 17.4007 | 1.6302 | -0.81138
[32 empty] | Cycle 8 |  |  |  | 11.6295 | 12.4021 | 16.6156
3 | GIRMS\IRMS-operator | 2026-07-01 10:23 | 2026-07-01 11:23 | Running | FALSE | MD23-3678 - N. dutertri | 1561 | 3 | 1 | 24 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.008 V |  | 20.349 V | 9.5182 kV | 103 µbar | Carbon Dioxide: 0.0182 kV | 113 µbar | 19.106 V | 23.972 V | 283 µbar/min | 16.170 V | 1.89E-007 mbar | 10 % | 1,031 µbar | 72 °C | µ-Volume | 108 µbar |  | Pre | 18.9091 | 20.5582 | 27.1171 | 19.6545 | 20.9494 | 28.0667 | 1.3696 | -0.68245 | 1.3541 | 0.019149 | 0.0067702 | -0.75034 | 0.081565 | 0.028838 | 1.4766 | 0.018909 | -0.7542 | 0.081627
[32 empty] | Cycle 1 | 18.1275 | 19.7096 | 25.9967 | 18.5999 | 19.8276 | 26.5611 | 1.3421 | -0.66661
[32 empty] | Cycle 2 | 17.3906 | 18.9095 | 24.941 | 17.6089 | 18.7724 | 25.1458 | 1.3619 | -0.67141
[32 empty] | Cycle 3 | 16.6946 | 18.1543 | 23.9436 | 16.7246 | 17.8301 | 23.8855 | 1.3876 | -0.71389
[32 empty] | Cycle 4 | 16.0298 | 17.4316 | 22.9904 | 15.8847 | 16.9362 | 22.6871 | 1.3509 | -0.76055
[32 empty] | Cycle 5 | 15.394 | 16.7405 | 22.0789 | 15.1007 | 16.1005 | 21.5687 | 1.332 | -0.8097
[32 empty] | Cycle 6 | 14.7955 | 16.0904 | 21.2204 | 14.3825 | 15.3357 | 20.5444 | 1.3319 | -0.89531
[32 empty] | Cycle 7 | 14.2272 | 15.4733 | 20.4065 | 13.6942 | 14.6022 | 19.5628 | 1.3567 | -0.80276
[32 empty] | Cycle 8 |  |  |  | 13.0194 | 13.8833 | 18.5962
4 | GIRMS\IRMS-operator | 2026-07-01 10:52 | 2026-07-01 12:00 | Running | FALSE | SHP2L |  | 4 | 2 | 24 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.008 V |  | 23.310 V | 9.5181 kV | 103 µbar | Carbon Dioxide: 0.0181 kV | 108 µbar | 18.075 V | 27.497 V | 112 µbar/min | 18.111 V | 1.81E-007 mbar | 10 % | 1,012 µbar | 72 °C | µ-Volume | 103 µbar | 21.179 V | Pre | 22.6641 | 24.5802 | 32.3056 | 18.6281 | 19.8569 | 26.5986 | -1.1385 | -6.6294 | -1.0952 | 0.044444 | 0.015713 | -6.7777 | 0.10555 | 0.037317 | -0.92087 | 0.049721 | -6.7825 | 0.10572
[32 empty] | Cycle 1 | 21.7006 | 23.5367 | 30.9332 | 17.6319 | 18.7961 | 25.1763 | -1.1288 | -6.686
[32 empty] | Cycle 2 | 20.7842 | 22.5446 | 29.6289 | 16.7649 | 17.8728 | 23.9426 | -1.105 | -6.7134
[32 empty] | Cycle 3 | 19.924 | 21.6127 | 28.4043 | 15.9003 | 16.9521 | 22.708 | -1.1116 | -6.7525
[32 empty] | Cycle 4 | 19.1088 | 20.7292 | 27.2428 | 15.1531 | 16.1565 | 21.6449 | -1.1284 | -6.8105
[32 empty] | Cycle 5 | 18.3387 | 19.8966 | 26.1456 | 14.3988 | 15.353 | 20.5672 | -1.0279 | -6.8066
[32 empty] | Cycle 6 | 17.605 | 19.1013 | 25.1006 | 13.714 | 14.6233 | 19.5903 | -1.0257 | -6.8614
[32 empty] | Cycle 7 | 16.914 | 18.3511 | 24.1164 | 13.0814 | 13.9492 | 18.6888 | -1.0952 | -6.9618
[32 empty] | Cycle 8 |  |  |  | 12.4955 | 13.3252 | 17.8548