## Sheet1
New Table
Sample | [12 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Kiel IV Acid Temperature | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[32 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[32 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-05-23 20:59 | 2026-05-23 21:13 | Running | FALSE | MD23-3678 - N. dutertri | 1301 | 1 | 15 | TRUE | Unknown |  | NA, NA, NA | 72 °C | [16 empty] | Pre
2 | GIRMS\IRMS-operator | 2026-05-23 21:13 | 2026-05-23 21:22 |  | FALSE | MD23-3678 - N. dutertri | 1293 | 1 | 16 | TRUE | Unknown |  |  | 72 °C
3 | GIRMS\IRMS-operator | 2026-05-23 21:13 | 2026-05-23 21:22 |  | FALSE | SHP2L |  | 1 | 17 | TRUE | QC Standard | SHP2L
4 | GIRMS\IRMS-operator | 2026-05-23 21:22 |  |  | FALSE | MD23-3678 - N. dutertri | 1789 | 2 | 17 | TRUE | Unknown |  |  | 72 °C
5 | GIRMS\IRMS-operator | 2026-05-24 00:05 | 2026-05-24 01:09 | Running | FALSE | MD23-3678 - N. dutertri | 1781 | 1 | 18 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.000 V | 72 °C |  | 20.134 V | 9.5170 kV | 42 µbar | 203 µbar | Carbon Dioxide: 0.0170 kV | 1,241 µbar | 18.408 V | 23.409 V | 1,416 µbar/min | 2.615 V | 1.54E-007 mbar | 10 % | 948 µbar | µ-Volume |  | Pre | 18.2684 | 19.8673 | 26.1921 | 18.9628 | 20.2209 | 27.0566 | 1.2469 | -0.079462 | 1.2276 | 0.02269 | 0.008022 | -0.086038 | 0.0089508 | 0.0031646 | 1.3168 | 0.024082 | -0.088905 | 0.0089298
[31 empty] | Cycle 1 | 17.5699 | 19.1085 | 25.1904 | 17.9793 | 19.1735 | 25.653 | 1.2397 | -0.086424
[31 empty] | Cycle 2 | 16.901 | 18.3822 | 24.232 | 17.0644 | 18.1984 | 24.3478 | 1.2646 | -0.07633
[31 empty] | Cycle 3 | 16.2653 | 17.691 | 23.3209 | 16.2097 | 17.2877 | 23.1291 | 1.2313 | -0.086168
[31 empty] | Cycle 4 | 15.657 | 17.03 | 22.4486 | 15.4124 | 16.438 | 21.9914 | 1.2161 | -0.094358
[31 empty] | Cycle 5 | 15.0779 | 16.4009 | 21.6188 | 14.6653 | 15.6423 | 20.9257 | 1.221 | -0.077305
[31 empty] | Cycle 6 | 14.5266 | 15.8013 | 20.8284 | 13.9665 | 14.8972 | 19.9285 | 1.1945 | -0.085564
[31 empty] | Cycle 7 | 14.0013 | 15.2306 | 20.0753 | 13.3103 | 14.198 | 18.9927 | 1.2068 | -0.10269
[31 empty] | Cycle 8 |  |  |  | 12.6961 | 13.5432 | 18.1167
6 | GIRMS\IRMS-operator | 2026-05-24 00:45 | 2026-05-24 01:35 | Running | FALSE | MD23-3678 - N. dutertri | 1773 | 2 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 72 °C |  | 18.241 V | 9.5169 kV | 96 µbar | 96 µbar | Carbon Dioxide: 0.0169 kV | 472 µbar | 17.513 V | 21.140 V | 230 µbar/min | 17.565 V | 1.50E-007 mbar | 10 % | 990 µbar | µ-Volume |  | Pre | 17.2716 | 18.785 | 24.7551 | 18.0765 | 19.2752 | 25.7887 | 1.3656 | -0.28881 | 1.3289 | 0.023152 | 0.0081854 | -0.29806 | 0.0081658 | 0.002887 | 1.433 | 0.02465 | -0.30138 | 0.0081531
[31 empty] | Cycle 1 | 16.6247 | 18.0821 | 23.8282 | 17.157 | 18.2961 | 24.4777 | 1.3531 | -0.29629
[31 empty] | Cycle 2 | 16.0057 | 17.4096 | 22.9414 | 16.3006 | 17.3834 | 23.2562 | 1.3365 | -0.30477
[31 empty] | Cycle 3 | 15.415 | 16.7678 | 22.0954 | 15.4984 | 16.5292 | 22.1122 | 1.318 | -0.3037
[31 empty] | Cycle 4 | 14.8509 | 16.1552 | 21.2874 | 14.7486 | 15.7304 | 21.0432 | 1.3372 | -0.29752
[31 empty] | Cycle 5 | 14.3136 | 15.5709 | 20.5172 | 14.0464 | 14.9821 | 20.0415 | 1.3074 | -0.30381
[31 empty] | Cycle 6 | 13.7995 | 15.0121 | 19.781 | 13.3871 | 14.2792 | 19.1008 | 1.3143 | -0.28369
[31 empty] | Cycle 7 | 13.3071 | 14.4767 | 19.0752 | 12.7672 | 13.6185 | 18.217 | 1.299 | -0.30589
[31 empty] | Cycle 8 |  |  |  | 12.184 | 12.9967 | 17.385
7 | GIRMS\IRMS-operator | 2026-05-24 01:09 | 2026-05-24 01:32 |  | FALSE | MD23-3678 - N. dutertri | 1765 | 1 | 19 | TRUE | Unknown |  |  | 72 °C |  |  |  | 96 µbar
8 | GIRMS\IRMS-operator | 2026-05-24 01:32 | 2026-05-24 02:21 | Success | FALSE | SHP2L |  | 2 | 19 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V | 72 °C |  | 10.542 V | 9.5169 kV |  | 103 µbar | Carbon Dioxide: 0.0169 kV | 289 µbar | 10.330 V | 11.871 V | 122 µbar/min | 16.577 V | 1.03E-007 mbar | 20 % | 936 µbar | µ-Volume |  | Pre | 10.1655 | 11.0371 | 14.4903 | 10.52 | 11.2226 | 15.0115 | -0.79579 | -5.9535 | -0.7853 | 0.016749 | 0.0059216 | -5.941 | 0.019287 | 0.0068189 | -0.62034 | 0.018079 | -5.9456 | 0.019315
[31 empty] | Cycle 1 | 9.8404 | 10.6842 | 14.0268 | 10.0639 | 10.7365 | 14.3603 | -0.79975 | -5.9385
[31 empty] | Cycle 2 | 9.5301 | 10.3479 | 13.585 | 9.6333 | 10.2772 | 13.7461 | -0.77481 | -5.9215
[31 empty] | Cycle 3 | 9.2309 | 10.0229 | 13.1583 | 9.2274 | 9.8444 | 13.1669 | -0.80699 | -5.9507
[31 empty] | Cycle 4 | 8.9422 | 9.7098 | 12.7475 | 8.843 | 9.4344 | 12.6187 | -0.78217 | -5.918
[31 empty] | Cycle 5 | 8.6622 | 9.406 | 12.3477 | 8.4781 | 9.0453 | 12.0984 | -0.75898 | -5.977
[31 empty] | Cycle 6 | 8.3922 | 9.1124 | 11.9632 | 8.1323 | 8.6764 | 11.6048 | -0.79496 | -5.9292
[31 empty] | Cycle 7 | 8.1305 | 8.829 | 11.5902 | 7.8033 | 8.3253 | 11.1353 | -0.76892 | -5.9395
[31 empty] | Cycle 8 |  |  |  | 7.4907 | 7.9928 | 10.6893
9 | GIRMS\IRMS-operator | 2026-05-24 01:35 | 2026-05-24 02:17 |  | FALSE | MD23-3678 - N. dutertri | 1757 | 1 | 20 | TRUE | Unknown |  |  | 72 °C |  |  |  | 108 µbar
10 | GIRMS\IRMS-operator | 2026-05-24 02:17 | 2026-05-24 03:06 | Success | FALSE | MD23-3678 - N. dutertri | 1753 | 2 | 20 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 72 °C |  | 16.059 V | 9.5171 kV |  | 450 µbar | Carbon Dioxide: 0.0171 kV | 203 µbar | 15.907 V | 18.448 V | 78 µbar/min | 9.992 V | 1.41E-007 mbar | 10 % | 970 µbar | µ-Volume |  | Pre | 15.6182 | 16.9947 | 22.3927 | 16.4403 | 17.5329 | 23.4567 | 1.6884 | -0.060016 | 1.6769 | 0.017004 | 0.006427 | -0.06735 | 0.015159 | 0.0053595 | 1.7969 | 0.017875 | -0.071233 | 0.015136
[31 empty] | Cycle 1 | 15.0484 | 16.3766 | 21.576 | 15.6281 | 16.6681 | 22.2985 | 1.7508 | -0.054443
[31 empty] | Cycle 2 | 14.5055 | 15.7854 | 20.7978 | 14.8703 | 15.8605 | 21.2171 | 1.682 | -0.060563
[31 empty] | Cycle 3 | 13.9859 | 15.2204 | 20.0534 | 14.1605 | 15.1042 | 20.205 | 1.6784 | -0.045859
[31 empty] | Cycle 4 | 13.4855 | 14.6763 | 19.3359 | 13.4939 | 14.3934 | 19.254 | 1.685 | -0.071642
[31 empty] | Cycle 5 | 13.0088 | 14.1581 | 18.6529 | 12.8676 | 13.7259 | 18.3611 | 1.6753 | -0.072535
[31 empty] | Cycle 6 | 12.5518 | 13.6607 | 17.9974 | 12.2786 | 13.0983 | 17.5208 | 1.6401 | -0.092904
[31 empty] | Cycle 7 | 12.1154 | 13.1868 | 17.3719 | 11.724 | 12.507 | 16.7296 | 1.6891 | -0.08084
[31 empty] | Cycle 8 |  |  |  | 11.2033 | 11.9518 | 15.9864
11 | GIRMS\IRMS-operator | 2026-05-24 02:21 | 2026-05-24 03:03 |  | FALSE | MD23-3678 - N. dutertri | 1749 | 1 | 21 | TRUE | Unknown |  |  | 73 °C |  |  |  | 101 µbar
12 | GIRMS\IRMS-operator | 2026-05-24 03:03 | 2026-05-24 03:52 | Success | FALSE | MD23-3678 - N. dutertri | 1741 | 2 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 72 °C |  | 11.983 V | 9.5170 kV |  | 101 µbar | Carbon Dioxide: 0.0170 kV | 277 µbar | 11.976 V | 13.603 V | 166 µbar/min | 15.065 V | 1.14E-007 mbar | 14 % | 919 µbar | µ-Volume |  | Pre | 11.7374 | 12.7757 | 16.833 | 12.2828 | 13.1027 | 17.5267 | 1.7462 | 0.11961 | 1.6966 | 0.011067 | 0.0041828 | 0.096708 | 0.013984 | 0.0049442 | 1.812 | 0.01178 | 0.092963 | 0.01397
[31 empty] | Cycle 1 | 11.3466 | 12.3501 | 16.2724 | 11.7278 | 12.5112 | 16.7349 | 1.6996 | 0.08725
[31 empty] | Cycle 2 | 10.9712 | 11.9418 | 15.7345 | 11.2057 | 11.9544 | 15.9904 | 1.703 | 0.082748
[31 empty] | Cycle 3 | 10.609 | 11.5479 | 15.2154 | 10.7142 | 11.4302 | 15.2896 | 1.708 | 0.10012
[31 empty] | Cycle 4 | 10.2612 | 11.1695 | 14.7162 | 10.2498 | 10.9352 | 14.6265 | 1.6965 | 0.087872
[31 empty] | Cycle 5 | 9.926 | 10.8049 | 14.2357 | 9.8102 | 10.4665 | 13.9992 | 1.7029 | 0.097462
[31 empty] | Cycle 6 | 9.6019 | 10.4524 | 13.7713 | 9.395 | 10.0237 | 13.407 | 1.692 | 0.11441
[31 empty] | Cycle 7 | 9.2899 | 10.1129 | 13.3236 | 9.0005 | 9.6033 | 12.844 | 1.6744 | 0.084194
[31 empty] | Cycle 8 |  |  |  | 8.6267 | 9.2044 | 12.3107
13 | GIRMS\IRMS-operator | 2026-05-24 03:06 | 2026-05-24 03:48 |  | FALSE | SHP2L |  | 1 | 22 | TRUE | QC Standard | SHP2L |  | 72 °C |  |  |  | 108 µbar
14 | GIRMS\IRMS-operator | 2026-05-24 03:48 | 2026-05-24 04:36 | Success | FALSE | MD23-3678 - N. dutertri | 1737 | 2 | 22 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 72 °C |  | 14.584 V | 9.5171 kV |  | 531 µbar | Carbon Dioxide: 0.0171 kV | 623 µbar | 14.336 V | 16.713 V | 147 µbar/min | 11.493 V | 1.30E-007 mbar | 10 % | 958 µbar | µ-Volume |  | Pre | 14.0974 | 15.341 | 20.2134 | 14.8165 | 15.8028 | 21.1409 | 1.6864 | -0.039779 | 1.6314 | 0.038041 | 0.013449 | -0.051527 | 0.013433 | 0.0047491 | 1.7475 | 0.040872 | -0.055269 | 0.013476
[31 empty] | Cycle 1 | 13.5994 | 14.7993 | 19.4988 | 14.1086 | 15.0485 | 20.1312 | 1.6337 | -0.069683
[31 empty] | Cycle 2 | 13.1212 | 14.2792 | 18.8141 | 13.4455 | 14.3425 | 19.1848 | 1.607 | -0.032533
[31 empty] | Cycle 3 | 12.6633 | 13.7814 | 18.1576 | 12.8223 | 13.6779 | 18.2962 | 1.627 | -0.054549
[31 empty] | Cycle 4 | 12.2246 | 13.3046 | 17.5285 | 12.2363 | 13.053 | 17.4605 | 1.6619 | -0.066234
[31 empty] | Cycle 5 | 11.8064 | 12.8496 | 16.9291 | 11.6845 | 12.4644 | 16.6729 | 1.6284 | -0.058698
[31 empty] | Cycle 6 | 11.4046 | 12.412 | 16.3535 | 11.1662 | 11.9126 | 15.9339 | 1.5588 | -0.03897
[31 empty] | Cycle 7 | 11.0196 | 11.9943 | 15.8015 | 10.6769 | 11.3906 | 15.2354 | 1.6478 | -0.05177
[31 empty] | Cycle 8 |  |  |  | 10.2151 | 10.8983 | 14.5771
15 | GIRMS\IRMS-operator | 2026-05-24 03:52 | 2026-05-24 04:33 |  | FALSE | MD23-3678 - N. dutertri | 1733 | 1 | 23 | TRUE | Unknown |  |  | 72 °C |  |  |  | 103 µbar
16 | GIRMS\IRMS-operator | 2026-05-24 04:33 | 2026-05-24 05:21 | Success | FALSE | MD23-3678 - N. dutertri | 1837 | 2 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V | 72 °C |  | 22.555 V | 9.5170 kV |  | 106 µbar | Carbon Dioxide: 0.0170 kV | 426 µbar | 13.565 V | 26.538 V | 176 µbar/min | 13.598 V | 1.25E-007 mbar | 10 % | 975 µbar | µ-Volume | 20.658 V | Pre | 22.051 | 23.9909 | 31.606 | 14.0291 | 14.9642 | 20.0181 | 1.3933 | -0.4493 | 1.479 | 0.053934 | 0.019068 | -0.40846 | 0.028243 | 0.0099854 | 1.5976 | 0.056707 | -0.41224 | 0.028156
[31 empty] | Cycle 1 | 21.1498 | 23.012 | 30.315 | 13.3731 | 14.2648 | 19.0826 | 1.4424 | -0.43827
[31 empty] | Cycle 2 | 20.2958 | 22.0846 | 29.0917 | 12.7565 | 13.6073 | 18.2026 | 1.455 | -0.4169
[31 empty] | Cycle 3 | 19.4816 | 21.1997 | 27.9252 | 12.1749 | 12.9884 | 17.3731 | 1.4647 | -0.41318
[31 empty] | Cycle 4 | 18.7103 | 20.3612 | 26.8203 | 11.6282 | 12.4049 | 16.5933 | 1.4915 | -0.40493
[31 empty] | Cycle 5 | 17.9777 | 19.5648 | 25.7702 | 11.1121 | 11.855 | 15.8571 | 1.4838 | -0.40414
[31 empty] | Cycle 6 | 17.2701 | 18.7961 | 24.7567 | 10.6261 | 11.3371 | 15.1633 | 1.5345 | -0.36731
[31 empty] | Cycle 7 | 16.5955 | 18.0623 | 23.79 | 10.1661 | 10.8461 | 14.5071 | 1.5664 | -0.37369
[31 empty] | Cycle 8 |  |  |  | 9.7302 | 10.3809 | 13.8853
17 | GIRMS\IRMS-operator | 2026-05-24 04:36 | 2026-05-24 06:04 | Running | FALSE | MD23-3678 - N. dutertri | 1833 | 1 | 24 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V | 72 °C |  | 16.958 V | 9.5174 kV | 106 µbar | 548 µbar | Carbon Dioxide: 0.0174 kV | 176 µbar | 15.860 V | 19.593 V | 254 µbar/min | 2.635 V | 1.40E-007 mbar | 13 % | 987 µbar | µ-Volume |  | Pre | 15.4266 | 16.7831 | 22.1142 | 16.2944 | 17.3785 | 23.25 | 1.459 | -0.30556 | 1.4564 | 0.010588 | 0.0040018 | -0.31894 | 0.010106 | 0.0035731 | 1.5702 | 0.011218 | -0.32256 | 0.010124
[31 empty] | Cycle 1 | 14.8557 | 16.1626 | 21.2959 | 15.493 | 16.5244 | 22.1078 | 1.4602 | -0.33723
[31 empty] | Cycle 2 | 14.3101 | 15.5697 | 20.5141 | 14.7441 | 15.7264 | 21.0395 | 1.4707 | -0.31389
[31 empty] | Cycle 3 | 13.7885 | 15.0025 | 19.7663 | 14.0445 | 14.9806 | 20.0407 | 1.4499 | -0.32394
[31 empty] | Cycle 4 | 13.2892 | 14.4598 | 19.0511 | 13.3852 | 14.278 | 19.1005 | 1.4526 | -0.31515
[31 empty] | Cycle 5 | 12.8126 | 13.9418 | 18.3681 | 12.766 | 13.6179 | 18.2171 | 1.4641 | -0.31854
[31 empty] | Cycle 6 | 12.3563 | 13.4455 | 17.7141 | 12.1834 | 12.9968 | 17.3861 | 1.4383 | -0.32685
[31 empty] | Cycle 7 | 11.919 | 12.9699 | 17.0876 | 11.6346 | 12.4122 | 16.6033 | 1.4072 | -0.31035
[31 empty] | Cycle 8 |  |  |  | 11.1184 | 11.8618 | 15.8665
18 | GIRMS\IRMS-operator | 2026-05-24 05:21 | 2026-05-24 06:32 | Success | FALSE | SHP2L |  | 2 | 24 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V | 72 °C |  | 7.964 V | 9.5171 kV | 108 µbar | 108 µbar | Carbon Dioxide: 0.0171 kV | 477 µbar | 7.461 V | 8.877 V | 230 µbar/min | 15.251 V | 8.30E-008 mbar | 30 % | 904 µbar | µ-Volume |  | Pre | 7.3825 | 8.0169 | 10.5243 | 7.5593 | 8.0658 | 10.7878 | -0.80599 | -5.9461 | -0.78475 | 0.022241 | 0.0078635 | -5.9515 | 0.027418 | 0.0096937 | -0.61937 | 0.023825 | -5.9561 | 0.027448
[31 empty] | Cycle 1 | 7.1631 | 7.7788 | 10.2114 | 7.2583 | 7.7449 | 10.358 | -0.80906 | -5.9593
[31 empty] | Cycle 2 | 6.9496 | 7.5472 | 9.9073 | 6.9723 | 7.4397 | 9.9501 | -0.7872 | -5.9535
[31 empty] | Cycle 3 | 6.7438 | 7.3237 | 9.6143 | 6.7004 | 7.1496 | 9.562 | -0.76806 | -5.9087
[31 empty] | Cycle 4 | 6.5436 | 7.1065 | 9.3288 | 6.4407 | 6.8724 | 9.1916 | -0.75768 | -5.9278
[31 empty] | Cycle 5 | 6.3497 | 6.8957 | 9.0522 | 6.1931 | 6.6085 | 8.8381 | -0.80917 | -5.9418
[31 empty] | Cycle 6 | 6.1626 | 6.6927 | 8.7854 | 5.957 | 6.3567 | 8.5015 | -0.78448 | -5.9808
[31 empty] | Cycle 7 | 5.9819 | 6.4966 | 8.5278 | 5.7318 | 6.1161 | 8.1801 | -0.75634 | -5.9942
[31 empty] | Cycle 8 |  |  |  | 5.5173 | 5.8874 | 7.8741