## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-07-13 10:37 | 2026-07-13 11:34 | Running | FALSE | SHP2L |  | 1 | 1 | 2 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 13.078 V | 9.4990 kV | 89 µbar | 106 µbar | Carbon Dioxide: -0.0010 kV | 1,202 µbar | 12.020 V | 14.888 V | 640 µbar/min | 2.791 V | 1.13E-007 mbar | 17 % | 955 µbar | 72 °C | µ-Volume |  | Pre | 11.7535 | 12.757 | 16.7449 | 12.2239 | 13.0365 | 17.4325 | -0.83367 | -5.9248 | -0.84195 | 0.01644 | 0.0058123 | -5.978 | 0.011828 | 0.0044707 | -0.67984 | 0.017574 | -5.9825 | 0.011851
[32 empty] | Cycle 1 | 11.3401 | 12.3087 | 16.1554 | 11.6681 | 12.4442 | 16.6405 | -0.8256 | -5.987
[32 empty] | Cycle 2 | 10.9446 | 11.8792 | 15.5926 | 11.1469 | 11.8885 | 15.8976 | -0.8722 | -5.9641
[32 empty] | Cycle 3 | 10.5644 | 11.4671 | 15.0508 | 10.6564 | 11.3657 | 15.1984 | -0.84005 | -5.9909
[32 empty] | Cycle 4 | 10.2042 | 11.0767 | 14.5382 | 10.1943 | 10.873 | 14.5395 | -0.82011 | -5.9635
[32 empty] | Cycle 5 | 9.8606 | 10.7038 | 14.0485 | 9.7575 | 10.4076 | 13.9166 | -0.84552 | -5.9856
[32 empty] | Cycle 6 | 9.5294 | 10.3445 | 13.5769 | 9.3438 | 9.9666 | 13.3266 | -0.85379 | -5.9694
[32 empty] | Cycle 7 | 9.211 | 9.9991 | 13.1232 | 8.9517 | 9.5487 | 12.7676 | -0.84468 | -5.9854
[32 empty] | Cycle 8 |  |  |  | 8.5796 | 9.1517 | 12.2371
2 | GIRMS\IRMS-operator | 2026-07-13 11:09 | 2026-07-13 12:04 | Running | FALSE | MD23-3677Q - G. ruber | 192-194 | 2 | 2 | 2 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 12.945 V | 9.4990 kV | 84 µbar | 93 µbar | Carbon Dioxide: -0.0010 kV | 111 µbar | 11.995 V | 14.670 V | 29 µbar/min | 11.653 V | 1.14E-007 mbar | 17 % | 941 µbar | 72 °C | µ-Volume |  | Pre | 11.7317 | 12.7504 | 16.8066 | 12.2117 | 13.0237 | 17.4158 | 0.48152 | -0.43969 | 0.48887 | 0.018984 | 0.0067118 | -0.44462 | 0.018445 | 0.0065214 | 0.53954 | 0.020312 | -0.4462 | 0.018464
[32 empty] | Cycle 1 | 11.338 | 12.3229 | 16.2426 | 11.657 | 12.4327 | 16.6251 | 0.4864 | -0.44919
[32 empty] | Cycle 2 | 10.9597 | 11.912 | 15.701 | 11.1354 | 11.8765 | 15.8814 | 0.48846 | -0.44202
[32 empty] | Cycle 3 | 10.5962 | 11.5175 | 15.1809 | 10.6427 | 11.3514 | 15.1789 | 0.51303 | -0.41207
[32 empty] | Cycle 4 | 10.2425 | 11.133 | 14.6736 | 10.179 | 10.8571 | 14.5177 | 0.48346 | -0.47167
[32 empty] | Cycle 5 | 9.9061 | 10.7675 | 14.1921 | 9.7404 | 10.3893 | 13.8926 | 0.50728 | -0.45167
[32 empty] | Cycle 6 | 9.5817 | 10.4151 | 13.7272 | 9.3275 | 9.9489 | 13.3036 | 0.49937 | -0.46095
[32 empty] | Cycle 7 | 9.2748 | 10.0815 | 13.2879 | 8.937 | 9.5328 | 12.7466 | 0.45145 | -0.42971
[32 empty] | Cycle 8 |  |  |  | 8.5673 | 9.1389 | 12.2194
3 | GIRMS\IRMS-operator | 2026-07-13 11:34 | 2026-07-13 12:35 | Running | FALSE | MD23-3677Q - G. ruber | 188-190 | 3 | 1 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 16.879 V | 9.4991 kV | 91 µbar | 123 µbar | Carbon Dioxide: -0.0009 kV | 1,288 µbar | 15.696 V | 19.553 V | 1,050 µbar/min | 11.634 V | 1.39E-007 mbar | 10 % | 982 µbar | 72 °C | µ-Volume |  | Pre | 15.5332 | 16.8787 | 22.2524 | 16.0675 | 17.1316 | 22.913 | 0.54133 | -0.35604 | 0.51061 | 0.020342 | 0.0071919 | -0.37215 | 0.0094038 | 0.0033247 | 0.56013 | 0.02152 | -0.3737 | 0.0093811
[32 empty] | Cycle 1 | 14.9439 | 16.2391 | 21.4087 | 15.2762 | 16.2886 | 21.7849 | 0.52665 | -0.37024
[32 empty] | Cycle 2 | 14.3844 | 15.6317 | 20.6074 | 14.536 | 15.5003 | 20.7302 | 0.51423 | -0.37926
[32 empty] | Cycle 3 | 13.8479 | 15.0494 | 19.8392 | 13.8436 | 14.7626 | 19.7427 | 0.52329 | -0.36673
[32 empty] | Cycle 4 | 13.3415 | 14.4994 | 19.1141 | 13.1932 | 14.0697 | 18.8157 | 0.49829 | -0.38484
[32 empty] | Cycle 5 | 12.8549 | 13.9706 | 18.4173 | 12.5851 | 13.4217 | 17.9493 | 0.4834 | -0.37173
[32 empty] | Cycle 6 | 12.3868 | 13.4626 | 17.7469 | 12.0115 | 12.81 | 17.1304 | 0.51214 | -0.36686
[32 empty] | Cycle 7 | 11.9428 | 12.9804 | 17.1111 | 11.4727 | 12.236 | 16.3631 | 0.48556 | -0.38146
[32 empty] | Cycle 8 |  |  |  | 10.9648 | 11.6948 | 15.6387
4 | GIRMS\IRMS-operator | 2026-07-13 12:04 | 2026-07-13 13:13 | Running | FALSE | MD23-3677Q - G. ruber | 180-182 | 4 | 2 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 16.176 V | 9.4990 kV | 84 µbar | 91 µbar | Carbon Dioxide: -0.0010 kV | 84 µbar | 14.903 V | 18.506 V | 357 µbar/min | 14.941 V | 1.34E-007 mbar | 10 % | 948 µbar | 72 °C | µ-Volume |  | Pre | 14.8078 | 16.0948 | 21.211 | 15.2632 | 16.2745 | 21.7658 | 0.77839 | -0.47184 | 0.74259 | 0.01885 | 0.0066643 | -0.48471 | 0.019643 | 0.006945 | 0.81252 | 0.019997 | -0.48691 | 0.019654
[32 empty] | Cycle 1 | 14.284 | 15.5259 | 20.4616 | 14.5262 | 15.4895 | 20.7158 | 0.73951 | -0.45075
[32 empty] | Cycle 2 | 13.7831 | 14.9821 | 19.7437 | 13.8383 | 14.7572 | 19.7349 | 0.72879 | -0.48347
[32 empty] | Cycle 3 | 13.3037 | 14.4619 | 19.0573 | 13.1924 | 14.0686 | 18.8141 | 0.75791 | -0.50722
[32 empty] | Cycle 4 | 12.8293 | 13.9461 | 18.3782 | 12.5852 | 13.4218 | 17.9491 | 0.71596 | -0.51197
[32 empty] | Cycle 5 | 12.381 | 13.459 | 17.7368 | 12.0117 | 12.8104 | 17.1314 | 0.73537 | -0.47502
[32 empty] | Cycle 6 | 11.9512 | 12.9923 | 17.1209 | 11.4715 | 12.234 | 16.361 | 0.74459 | -0.48712
[32 empty] | Cycle 7 | 11.5407 | 12.5464 | 16.533 | 10.9627 | 11.6923 | 15.6355 | 0.74021 | -0.49029
[32 empty] | Cycle 8 |  |  |  | 10.4809 | 11.1783 | 14.9485
5 | GIRMS\IRMS-operator | 2026-07-13 12:35 | 2026-07-13 13:53 | Running | FALSE | MD23-3677Q - G. ruber | 172-174 | 5 | 1 | 4 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 13.389 V | 9.4995 kV | 91 µbar | 106 µbar | Carbon Dioxide: -0.0005 kV | 1,239 µbar | 12.307 V | 15.255 V | 894 µbar/min | 2.787 V | 1.15E-007 mbar | 17 % | 960 µbar | 72 °C | µ-Volume |  | Pre | 12.038 | 13.0886 | 17.2299 | 12.5314 | 13.3646 | 17.8725 | 0.90172 | -1.3664 | 0.8808 | 0.012908 | 0.0048786 | -1.3845 | 0.010459 | 0.0036978 | 0.99366 | 0.013534 | -1.3879 | 0.010446
[32 empty] | Cycle 1 | 11.6138 | 12.6276 | 16.6227 | 11.9621 | 12.7579 | 17.0607 | 0.87775 | -1.3892
[32 empty] | Cycle 2 | 11.208 | 12.1866 | 16.0421 | 11.4261 | 12.187 | 16.2968 | 0.85821 | -1.3968
[32 empty] | Cycle 3 | 10.82 | 11.765 | 15.4872 | 10.9206 | 11.6477 | 15.5758 | 0.88099 | -1.3776
[32 empty] | Cycle 4 | 10.448 | 11.3608 | 14.9549 | 10.4433 | 11.1388 | 14.8952 | 0.8838 | -1.3857
[32 empty] | Cycle 5 | 10.0894 | 10.9705 | 14.4416 | 9.9909 | 10.6566 | 14.2504 | 0.82115 | -1.3881
[32 empty] | Cycle 6 | 9.7447 | 10.5965 | 13.9485 | 9.5634 | 10.2008 | 13.6403 | 0.87752 | -1.3762
[32 empty] | Cycle 7 | 9.4162 | 10.2394 | 13.4783 | 9.159 | 9.7699 | 13.0641 | 0.88557 | -1.396
[32 empty] | Cycle 8 |  |  |  | 8.7765 | 9.3614 | 12.5183
6 | GIRMS\IRMS-operator | 2026-07-13 13:13 | 2026-07-13 14:24 | Running | FALSE | SHP2L |  | 6 | 2 | 4 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 2.953 V | 9.4994 kV | 81 µbar | 86 µbar | Carbon Dioxide: -0.0006 kV | 84 µbar | 2.779 V | 3.187 V | 366 µbar/min | 11.917 V | 5.05E-008 mbar | 87 % | 726 µbar | 72 °C | µ-Volume |  | Pre | 2.7451 | 2.9806 | 3.912 | 2.8627 | 3.054 | 4.0837 | -0.81274 | -5.896 | -0.80574 | 0.021989 | 0.0077744 | -5.822 | 0.018713 | 0.0070728 | -0.64628 | 0.02338 | -5.8264 | 0.018729
[32 empty] | Cycle 1 | 2.6762 | 2.9058 | 3.8139 | 2.7676 | 2.9528 | 3.948 | -0.83994 | -5.8264
[32 empty] | Cycle 2 | 2.6098 | 2.8339 | 3.7193 | 2.6763 | 2.8553 | 3.8174 | -0.76827 | -5.8095
[32 empty] | Cycle 3 | 2.5423 | 2.7605 | 3.623 | 2.5883 | 2.7614 | 3.692 | -0.79074 | -5.8269
[32 empty] | Cycle 4 | 2.4772 | 2.6897 | 3.5302 | 2.5034 | 2.6709 | 3.5708 | -0.8199 | -5.8183
[32 empty] | Cycle 5 | 2.4144 | 2.6216 | 3.4407 | 2.4216 | 2.5836 | 3.4542 | -0.80217 | -5.8592
[32 empty] | Cycle 6 | 2.3534 | 2.5553 | 3.3538 | 2.3436 | 2.5003 | 3.3429 | -0.79336 | -5.8121
[32 empty] | Cycle 7 | 2.2941 | 2.491 | 3.2694 | 2.2685 | 2.4203 | 3.2358 | -0.81878 | -5.8017
[32 empty] | Cycle 8 |  |  |  | 2.1962 | 2.3432 | 3.1325
7 | GIRMS\IRMS-operator | 2026-07-13 13:53 | 2026-07-13 14:54 | Running | FALSE | MD23-3677Q - G. ruber | 164-166 | 7 | 1 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 17.248 V | 9.4997 kV | 89 µbar | 118 µbar | Carbon Dioxide: -0.0003 kV | 1,288 µbar | 16.032 V | 19.967 V | 1,050 µbar/min | 2.764 V | 1.39E-007 mbar | 10 % | 985 µbar | 72 °C | µ-Volume |  | Pre | 15.8545 | 17.2373 | 22.6956 | 16.423 | 17.5109 | 23.4209 | 1.074 | -1.1551 | 1.0384 | 0.018282 | 0.0064638 | -1.1886 | 0.021873 | 0.0077332 | 1.1551 | 0.018996 | -1.1922 | 0.021867
[32 empty] | Cycle 1 | 15.2507 | 16.5812 | 21.8311 | 15.609 | 16.6438 | 22.2606 | 1.0474 | -1.1818
[32 empty] | Cycle 2 | 14.6763 | 15.9573 | 21.0095 | 14.8507 | 15.836 | 21.1794 | 1.0405 | -1.1689
[32 empty] | Cycle 3 | 14.1239 | 15.3575 | 20.2187 | 14.1322 | 15.0705 | 20.1551 | 1.0429 | -1.1947
[32 empty] | Cycle 4 | 13.6008 | 14.789 | 19.4707 | 13.4654 | 14.3602 | 19.2048 | 1.0269 | -1.1769
[32 empty] | Cycle 5 | 13.0973 | 14.2421 | 18.7499 | 12.8389 | 13.6924 | 18.3114 | 1.0372 | -1.2037
[32 empty] | Cycle 6 | 12.6234 | 13.7269 | 18.0718 | 12.2506 | 13.0653 | 17.4731 | 1.012 | -1.2056
[32 empty] | Cycle 7 | 12.1688 | 13.2333 | 17.4211 | 11.6961 | 12.4744 | 16.6822 | 1.0267 | -1.2218
[32 empty] | Cycle 8 |  |  |  | 11.1736 | 11.9177 | 15.9377
8 | GIRMS\IRMS-operator | 2026-07-13 14:24 | 2026-07-13 15:33 | Running | FALSE | MD23-3677Q - G. ruber | 156-158 | 8 | 2 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 12.351 V | 9.4994 kV | 81 µbar | 91 µbar | Carbon Dioxide: -0.0006 kV | 93 µbar | 11.438 V | 13.976 V | 98 µbar/min | 15.279 V | 1.12E-007 mbar | 16 % | 926 µbar | 72 °C | µ-Volume |  | Pre | 11.2189 | 12.2012 | 16.0613 | 11.654 | 12.4291 | 16.6217 | 1.1408 | -1.1645 | 1.1362 | 0.016059 | 0.0060696 | -1.1707 | 0.0096908 | 0.0036628 | 1.2593 | 0.016851 | -1.1745 | 0.0097064
[32 empty] | Cycle 1 | 10.8505 | 11.8011 | 15.5338 | 11.132 | 11.8729 | 15.8772 | 1.1556 | -1.168
[32 empty] | Cycle 2 | 10.498 | 11.4179 | 15.0292 | 10.6422 | 11.3508 | 15.1787 | 1.2068 | -1.1749
[32 empty] | Cycle 3 | 10.1483 | 11.0373 | 14.529 | 10.1798 | 10.8566 | 14.5193 | 1.1539 | -1.1618
[32 empty] | Cycle 4 | 9.8186 | 10.6792 | 14.0571 | 9.7432 | 10.3924 | 13.8969 | 1.1222 | -1.1599
[32 empty] | Cycle 5 | 9.5014 | 10.3343 | 13.6029 | 9.3315 | 9.9535 | 13.3098 | 1.1168 | -1.18
[32 empty] | Cycle 6 | 9.1956 | 10.0021 | 13.1653 | 8.942 | 9.5381 | 12.7545 | 1.1427 | -1.1854
[32 empty] | Cycle 7 | 8.9016 | 9.6823 | 12.7441 | 8.5734 | 9.1452 | 12.2289 | 1.1213 | -1.2196
[32 empty] | Cycle 8 |  |  |  | 8.2227 | 8.7711 | 11.7287
9 | GIRMS\IRMS-operator | 2026-07-13 14:54 | 2026-07-13 16:11 | Running | FALSE | MD23-3677Q - G. ruber | 148-150 | 9 | 1 | 6 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 17.150 V | 9.4998 kV | 91 µbar | 123 µbar | Carbon Dioxide: -0.0002 kV | 1,283 µbar | 16.661 V | 19.855 V | 1,118 µbar/min | 2.787 V | 1.43E-007 mbar | 10 % | 980 µbar | 72 °C | µ-Volume |  | Pre | 16.3704 | 17.801 | 23.4331 | 17.078 | 18.2082 | 24.3549 | 1.2516 | -1.1973 | 1.2287 | 0.026118 | 0.0092341 | -1.2093 | 0.022266 | 0.0078722 | 1.3595 | 0.027605 | -1.2134 | 0.022265
[32 empty] | Cycle 1 | 15.7422 | 17.119 | 22.5349 | 16.2208 | 17.2964 | 23.1331 | 1.2377 | -1.1884
[32 empty] | Cycle 2 | 15.1473 | 16.4723 | 21.6825 | 15.4242 | 16.4477 | 21.9981 | 1.2128 | -1.2448
[32 empty] | Cycle 3 | 14.5716 | 15.8472 | 20.86 | 14.6716 | 15.6457 | 20.9244 | 1.2491 | -1.1761
[32 empty] | Cycle 4 | 14.0298 | 15.2586 | 20.0843 | 13.9723 | 14.9001 | 19.9279 | 1.257 | -1.2108
[32 empty] | Cycle 5 | 13.5136 | 14.6969 | 19.3456 | 13.3161 | 14.2011 | 18.9922 | 1.1825 | -1.2093
[32 empty] | Cycle 6 | 13.0201 | 14.1613 | 18.6391 | 12.6999 | 13.5447 | 18.1134 | 1.2054 | -1.2172
[32 empty] | Cycle 7 | 12.549 | 13.6496 | 17.965 | 12.1201 | 12.9271 | 17.2869 | 1.2336 | -1.2308
[32 empty] | Cycle 8 |  |  |  | 11.5738 | 12.3443 | 16.5083
10 | GIRMS\IRMS-operator | 2026-07-13 15:33 | 2026-07-13 16:42 | Running | FALSE | MD23-3677Q - G. ruber | 140-142 | 10 | 2 | 6 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 14.422 V | 9.4995 kV | 81 µbar | 91 µbar | Carbon Dioxide: -0.0005 kV | 86 µbar | 13.260 V | 16.355 V | 352 µbar/min | 15.971 V | 1.22E-007 mbar | 14 % | 938 µbar | 72 °C | µ-Volume |  | Pre | 12.9991 | 14.1344 | 18.6108 | 13.5252 | 14.4234 | 19.2894 | 1.0219 | -1.0732 | 1.0017 | 0.01724 | 0.0060952 | -1.0878 | 0.01127 | 0.0039845 | 1.1121 | 0.018585 | -1.0912 | 0.011295
[32 empty] | Cycle 1 | 12.5553 | 13.6525 | 17.9754 | 12.8941 | 13.7512 | 18.3899 | 1.0247 | -1.0993
[32 empty] | Cycle 2 | 12.1316 | 13.1919 | 17.3691 | 12.3012 | 13.1193 | 17.5447 | 1.0022 | -1.0977
[32 empty] | Cycle 3 | 11.7242 | 12.7493 | 16.7859 | 11.7436 | 12.525 | 16.7496 | 1.0111 | -1.0989
[32 empty] | Cycle 4 | 11.3193 | 12.3091 | 16.2067 | 11.219 | 11.9657 | 16.0013 | 0.98782 | -1.0768
[32 empty] | Cycle 5 | 10.9412 | 11.8982 | 15.6653 | 10.724 | 11.4382 | 15.2957 | 0.9737 | -1.0824
[32 empty] | Cycle 6 | 10.5761 | 11.5013 | 15.1427 | 10.257 | 10.9405 | 14.6294 | 0.99354 | -1.0778
[32 empty] | Cycle 7 | 10.2233 | 11.1179 | 14.6378 | 9.8168 | 10.4706 | 14.002 | 0.99851 | -1.0962
[32 empty] | Cycle 8 |  |  |  | 9.4015 | 10.0283 | 13.4099
11 | GIRMS\IRMS-operator | 2026-07-13 16:11 | 2026-07-13 17:12 | Running | FALSE | SHP2L |  | 11 | 1 | 7 | TRUE | QC Standard | SHP2L | 0.002 V, 0.003 V, 0.003 V |  | 5.826 V | 9.4995 kV | 91 µbar | 115 µbar | Carbon Dioxide: -0.0005 kV | 1,275 µbar | 5.734 V | 6.437 V | 977 µbar/min | 12.812 V | 7.20E-008 mbar | 38 % | 855 µbar | 72 °C | µ-Volume |  | Pre | 5.6483 | 6.1323 | 8.0488 | 5.8357 | 6.2253 | 8.3244 | -0.8247 | -5.9318 | -0.84336 | 0.03916 | 0.013845 | -5.8824 | 0.027015 | 0.0095511 | -0.68464 | 0.041762 | -5.8869 | 0.02703
[32 empty] | Cycle 1 | 5.4825 | 5.9525 | 7.8129 | 5.617 | 5.9924 | 8.0125 | -0.83196 | -5.8878
[32 empty] | Cycle 2 | 5.3223 | 5.7784 | 7.5847 | 5.4093 | 5.7708 | 7.7161 | -0.8777 | -5.8661
[32 empty] | Cycle 3 | 5.1658 | 5.6087 | 7.3618 | 5.21 | 5.5585 | 7.4317 | -0.84161 | -5.8551
[32 empty] | Cycle 4 | 5.0138 | 5.4435 | 7.1449 | 5.0187 | 5.354 | 7.1589 | -0.88878 | -5.894
[32 empty] | Cycle 5 | 4.8659 | 5.283 | 6.9342 | 4.8353 | 5.159 | 6.8974 | -0.88852 | -5.8844
[32 empty] | Cycle 6 | 4.7213 | 5.1263 | 6.7284 | 4.6596 | 4.9711 | 6.6467 | -0.77898 | -5.8458
[32 empty] | Cycle 7 | 4.5834 | 4.9764 | 6.5316 | 4.4917 | 4.7919 | 6.4073 | -0.8146 | -5.8947
[32 empty] | Cycle 8 |  |  |  | 4.3313 | 4.6209 | 6.1786
12 | GIRMS\IRMS-operator | 2026-07-13 16:42 | 2026-07-13 17:51 | Running | FALSE | MD23-3677Q - G. ruber | 136-138 | 12 | 2 | 7 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.046 V | 9.4997 kV | 81 µbar | 125 µbar | Carbon Dioxide: -0.0003 kV | 1,224 µbar | 12.061 V | 14.862 V | 1,040 µbar/min | 5.643 V | 1.14E-007 mbar | 14 % | 936 µbar | 72 °C | µ-Volume |  | Pre | 11.8225 | 12.8588 | 16.9261 | 12.2973 | 13.115 | 17.5389 | 1.2524 | -1.1085 | 1.2236 | 0.030571 | 0.010809 | -1.1261 | 0.013735 | 0.0048562 | 1.3509 | 0.032375 | -1.13 | 0.013704
[32 empty] | Cycle 1 | 11.4296 | 12.4311 | 16.3636 | 11.7412 | 12.5222 | 16.7459 | 1.2146 | -1.1124
[32 empty] | Cycle 2 | 11.0506 | 12.0196 | 15.8211 | 11.2181 | 11.9643 | 15.9998 | 1.2492 | -1.12
[32 empty] | Cycle 3 | 10.678 | 11.6147 | 15.2879 | 10.7259 | 11.4398 | 15.2981 | 1.2256 | -1.127
[32 empty] | Cycle 4 | 10.3247 | 11.2308 | 14.7823 | 10.2608 | 10.9444 | 14.6353 | 1.2568 | -1.13
[32 empty] | Cycle 5 | 9.984 | 10.8602 | 14.2948 | 9.8202 | 10.474 | 14.0068 | 1.2294 | -1.1258
[32 empty] | Cycle 6 | 9.6541 | 10.5011 | 13.8221 | 9.4026 | 10.0295 | 13.4116 | 1.174 | -1.1532
[32 empty] | Cycle 7 | 9.3383 | 10.1579 | 13.3703 | 9.0062 | 9.6066 | 12.8459 | 1.1864 | -1.1317
[32 empty] | Cycle 8 |  |  |  | 8.6311 | 9.2068 | 12.3111
13 | GIRMS\IRMS-operator | 2026-07-13 17:12 | 2026-07-13 18:29 | Running | FALSE | MD23-3677Q - G. ruber | 128-130 | 13 | 1 | 8 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 20.452 V | 9.4999 kV | 91 µbar | 103 µbar | Carbon Dioxide: -0.0001 kV | 1,197 µbar | 16.509 V | 23.939 V | 791 µbar/min | 2.789 V | 1.42E-007 mbar | 10 % | 990 µbar | 72 °C | µ-Volume | 18.403 V | Pre | 19.6446 | 21.3559 | 28.1167 | 16.9192 | 18.0396 | 24.1285 | 0.99426 | -1.3103 | 1.0463 | 0.036941 | 0.013061 | -1.3118 | 0.010652 | 0.0037662 | 1.168 | 0.0396 | -1.3156 | 0.010679
[32 empty] | Cycle 1 | 18.8439 | 20.4872 | 26.9717 | 16.0722 | 17.1375 | 22.9212 | 1.019 | -1.3029
[32 empty] | Cycle 2 | 18.08 | 19.6578 | 25.8786 | 15.2851 | 16.2993 | 21.7993 | 1.0193 | -1.3125
[32 empty] | Cycle 3 | 17.3527 | 18.8681 | 24.8382 | 14.5502 | 15.5163 | 20.7515 | 1.0433 | -1.3093
[32 empty] | Cycle 4 | 16.6672 | 18.1232 | 23.8571 | 13.8623 | 14.7831 | 19.7708 | 1.0354 | -1.3178
[32 empty] | Cycle 5 | 16.022 | 17.4225 | 22.9338 | 13.2159 | 14.0944 | 18.8491 | 1.0692 | -1.3162
[32 empty] | Cycle 6 | 15.4072 | 16.7549 | 22.0542 | 12.6068 | 13.4446 | 17.9806 | 1.0964 | -1.3308
[32 empty] | Cycle 7 | 14.8211 | 16.1182 | 21.2162 | 12.0339 | 12.8344 | 17.1642 | 1.0933 | -1.2948
[32 empty] | Cycle 8 |  |  |  | 11.4934 | 12.2584 | 16.3928
14 | GIRMS\IRMS-operator | 2026-07-13 17:51 | 2026-07-13 19:00 | Running | FALSE | MD23-3677Q - G. ruber | 72-74 | 14 | 2 | 8 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 11.102 V | 9.4996 kV | 81 µbar | 113 µbar | Carbon Dioxide: -0.0004 kV | 1,192 µbar | 10.232 V | 12.462 V | 850 µbar/min | 15.863 V | 1.02E-007 mbar | 20 % | 921 µbar | 72 °C | µ-Volume |  | Pre | 10.0672 | 10.9388 | 14.4181 | 10.3988 | 11.0914 | 14.8316 | 0.15764 | -0.79747 | 0.14131 | 0.02436 | 0.0086126 | -0.82909 | 0.017016 | 0.0060162 | 0.18186 | 0.026004 | -0.83029 | 0.017029
[32 empty] | Cycle 1 | 9.7456 | 10.5895 | 13.9575 | 9.9485 | 10.6115 | 14.1896 | 0.15526 | -0.82823
[32 empty] | Cycle 2 | 9.4368 | 10.2541 | 13.5153 | 9.524 | 10.1584 | 13.5846 | 0.17721 | -0.84441
[32 empty] | Cycle 3 | 9.1387 | 9.9299 | 13.0886 | 9.1219 | 9.7298 | 13.0114 | 0.10002 | -0.83779
[32 empty] | Cycle 4 | 8.8432 | 9.6094 | 12.6656 | 8.7417 | 9.3248 | 12.469 | 0.14012 | -0.81037
[32 empty] | Cycle 5 | 8.5625 | 9.3045 | 12.2633 | 8.3806 | 8.9396 | 11.9538 | 0.14733 | -0.84697
[32 empty] | Cycle 6 | 8.2909 | 9.0094 | 11.8748 | 8.0389 | 8.5752 | 11.4669 | 0.13689 | -0.8349
[32 empty] | Cycle 7 | 8.0308 | 8.7266 | 11.5023 | 7.7138 | 8.2284 | 11.0031 | 0.11598 | -0.83254
[32 empty] | Cycle 8 |  |  |  | 7.4055 | 7.8997 | 10.5636
15 | GIRMS\IRMS-operator | 2026-07-13 18:29 | 2026-07-13 19:30 | Running | FALSE | MD23-3677Q - G. ruber | 64-66 | 15 | 1 | 9 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 17.694 V | 9.4998 kV | 89 µbar | 106 µbar | Carbon Dioxide: -0.0002 kV | 1,217 µbar | 15.377 V | 20.499 V | 830 µbar/min | 9.979 V | 1.34E-007 mbar | 10 % | 990 µbar | 72 °C | µ-Volume | 16.190 V | Pre | 17.1908 | 18.6841 | 24.6119 | 15.7674 | 16.8122 | 22.4861 | 0.72837 | -1.0253 | 0.71126 | 0.015578 | 0.0055078 | -1.0518 | 0.01638 | 0.0057911 | 0.79996 | 0.016738 | -1.0546 | 0.016401
[32 empty] | Cycle 1 | 16.5225 | 17.9586 | 23.6551 | 14.9957 | 15.9902 | 21.3862 | 0.71577 | -1.0588
[32 empty] | Cycle 2 | 15.8816 | 17.2629 | 22.7381 | 14.2744 | 15.2221 | 20.3581 | 0.7089 | -1.0558
[32 empty] | Cycle 3 | 15.2782 | 16.6074 | 21.8748 | 13.5967 | 14.5001 | 19.3919 | 0.6909 | -1.0545
[32 empty] | Cycle 4 | 14.7011 | 15.981 | 21.0483 | 12.9627 | 13.8245 | 18.4883 | 0.71896 | -1.0807
[32 empty] | Cycle 5 | 14.154 | 15.3872 | 20.2658 | 12.3669 | 13.1893 | 17.6386 | 0.73191 | -1.0576
[32 empty] | Cycle 6 | 13.6279 | 14.8151 | 19.5133 | 11.8069 | 12.593 | 16.8403 | 0.69028 | -1.0398
[32 empty] | Cycle 7 | 13.1225 | 14.266 | 18.7896 | 11.2794 | 12.0303 | 16.0881 | 0.70495 | -1.0422
[32 empty] | Cycle 8 |  |  |  | 10.7826 | 11.5008 | 15.3795
16 | GIRMS\IRMS-operator | 2026-07-13 19:00 | 2026-07-13 20:09 | Running | FALSE | SHP2L |  | 16 | 2 | 9 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 5.603 V | 9.4998 kV | 81 µbar | 120 µbar | Carbon Dioxide: -0.0002 kV | 1,173 µbar | 5.178 V | 6.147 V | 796 µbar/min | 14.672 V | 6.89E-008 mbar | 41 % | 836 µbar | 72 °C | µ-Volume |  | Pre | 5.1043 | 5.5421 | 7.2737 | 5.2748 | 5.627 | 7.5242 | -0.74768 | -5.9081 | -0.75603 | 0.014812 | 0.0052369 | -5.8908 | 0.026493 | 0.0093668 | -0.59089 | 0.016539 | -5.8954 | 0.026545
[32 empty] | Cycle 1 | 4.9633 | 5.3893 | 7.0729 | 5.0808 | 5.4201 | 7.2475 | -0.75946 | -5.8935
[32 empty] | Cycle 2 | 4.8255 | 5.2398 | 6.8767 | 4.8962 | 5.224 | 6.9843 | -0.76897 | -5.8904
[32 empty] | Cycle 3 | 4.6905 | 5.0931 | 6.6841 | 4.7202 | 5.0358 | 6.7333 | -0.75413 | -5.9239
[32 empty] | Cycle 4 | 4.56 | 4.9515 | 6.4984 | 4.5517 | 4.8561 | 6.4929 | -0.76624 | -5.8682
[32 empty] | Cycle 5 | 4.4324 | 4.8129 | 6.3167 | 4.3897 | 4.6834 | 6.2616 | -0.77743 | -5.8396
[32 empty] | Cycle 6 | 4.3088 | 4.6788 | 6.1403 | 4.2338 | 4.5169 | 6.0393 | -0.73514 | -5.8921
[32 empty] | Cycle 7 | 4.1887 | 4.5485 | 5.9691 | 4.084 | 4.3573 | 5.8259 | -0.73916 | -5.9103
[32 empty] | Cycle 8 |  |  |  | 3.9406 | 4.2042 | 5.6211
17 | GIRMS\IRMS-operator | 2026-07-13 19:30 | 2026-07-13 20:48 | Running | FALSE | MD23-3677Q - G. ruber | 56-58 | 17 | 1 | 10 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 27.100 V | 9.5000 kV | 91 µbar | 103 µbar | Carbon Dioxide: 0.0000 kV | 1,185 µbar | 16.496 V | 32.518 V | 718 µbar/min | 2.790 V | 1.41E-007 mbar | 10 % | 1,012 µbar | 72 °C | µ-Volume | 24.117 V | Pre | 26.0336 | 28.2875 | 37.2733 | 16.9068 | 18.0262 | 24.111 | 0.50227 | -0.9964 | 0.60489 | 0.085509 | 0.030232 | -0.95166 | 0.026186 | 0.0092583 | 0.68244 | 0.090653 | -0.95404 | 0.026046
[32 empty] | Cycle 1 | 24.8608 | 27.0147 | 35.5955 | 16.0646 | 17.1294 | 22.9105 | 0.49996 | -0.97991
[32 empty] | Cycle 2 | 23.75 | 25.8102 | 34.0068 | 15.2782 | 16.2916 | 21.7894 | 0.55406 | -0.9472
[32 empty] | Cycle 3 | 22.712 | 24.6845 | 32.5212 | 14.5408 | 15.506 | 20.7382 | 0.59952 | -0.95845
[32 empty] | Cycle 4 | 21.741 | 23.63 | 31.1317 | 13.8491 | 14.7692 | 19.7524 | 0.59518 | -0.94883
[32 empty] | Cycle 5 | 20.8187 | 22.63 | 29.8121 | 13.2006 | 14.078 | 18.8277 | 0.66528 | -0.92862
[32 empty] | Cycle 6 | 19.9467 | 21.6836 | 28.5643 | 12.5915 | 13.429 | 17.9592 | 0.69425 | -0.91765
[32 empty] | Cycle 7 | 19.1214 | 20.7879 | 27.3824 | 12.018 | 12.8178 | 17.1416 | 0.7286 | -0.93619
[32 empty] | Cycle 8 |  |  |  | 11.4783 | 12.2428 | 16.3722
18 | GIRMS\IRMS-operator | 2026-07-13 20:09 | 2026-07-13 21:19 | Running | FALSE | MD23-3677Q - G. ruber | 256-258 | 18 | 2 | 10 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.004 V |  | 13.059 V | 9.4998 kV | 81 µbar | 113 µbar | Carbon Dioxide: -0.0002 kV | 1,163 µbar | 12.120 V | 14.854 V | 713 µbar/min | 15.808 V | 1.15E-007 mbar | 16 % | 941 µbar | 72 °C | µ-Volume |  | Pre | 11.8838 | 12.919 | 17.0158 | 12.3413 | 13.1621 | 17.6017 | 0.7384 | -1.0081 | 0.69691 | 0.02756 | 0.009744 | -1.051 | 0.023786 | 0.0084096 | 0.78458 | 0.028888 | -1.0537 | 0.023768
[32 empty] | Cycle 1 | 11.4896 | 12.4906 | 16.451 | 11.7801 | 12.5638 | 16.8016 | 0.72736 | -1.0481
[32 empty] | Cycle 2 | 11.1114 | 12.0792 | 15.9097 | 11.2538 | 12.0029 | 16.0514 | 0.66117 | -1.0531
[32 empty] | Cycle 3 | 10.7346 | 11.6702 | 15.3705 | 10.7593 | 11.4761 | 15.3463 | 0.71364 | -1.0372
[32 empty] | Cycle 4 | 10.3841 | 11.2889 | 14.8686 | 10.2864 | 10.9713 | 14.6719 | 0.66857 | -1.0691
[32 empty] | Cycle 5 | 10.0453 | 10.9214 | 14.3834 | 9.8461 | 10.5023 | 14.0443 | 0.68614 | -1.0903
[32 empty] | Cycle 6 | 9.7219 | 10.57 | 13.9207 | 9.4294 | 10.0583 | 13.4498 | 0.68308 | -1.0556
[32 empty] | Cycle 7 | 9.4055 | 10.2261 | 13.4678 | 9.0341 | 9.6366 | 12.886 | 0.69693 | -1.0465
[32 empty] | Cycle 8 |  |  |  | 8.6583 | 9.2359 | 12.3502
19 | GIRMS\IRMS-operator | 2026-07-13 20:48 | 2026-07-13 21:48 | Running | FALSE | MD23-3677Q - G. ruber | 252-254 | 19 | 1 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 0.014 V | 9.4998 kV | 93 µbar | 96 µbar | Carbon Dioxide: -0.0002 kV | 1,126 µbar | 2.567 V | 0.014 V | 635 µbar/min | 11.769 V | 4.32E-008 mbar | 100 % | 111 µbar | 72 °C | µ-Volume | 0.019 V | Pre | 0.013713 | 0.014668 | 0.019407 | 2.6494 | 2.8267 | 3.7793 | -15.717 | -12.8085 | -16.6318 | 0.5227 | 0.1848 | -14.5883 | 1.0626 | 0.3757 | -17.2553 | 0.54724 | -14.5666 | 1.0634
[32 empty] | Cycle 1 | 0.013141 | 0.014041 | 0.01858 | 2.5576 | 2.7288 | 3.6485 | -16.748 | -13.7295
[32 empty] | Cycle 2 | 0.012809 | 0.013685 | 0.018081 | 2.4724 | 2.6377 | 3.527 | -16.842 | -15.3182
[32 empty] | Cycle 3 | 0.012549 | 0.013399 | 0.017738 | 2.3911 | 2.551 | 3.411 | -17.4445 | -13.9935
[32 empty] | Cycle 4 | 0.012311 | 0.013162 | 0.017393 | 2.3131 | 2.4678 | 3.2997 | -16.127 | -14.4153
[32 empty] | Cycle 5 | 0.012091 | 0.012918 | 0.017074 | 2.238 | 2.3876 | 3.1924 | -16.8733 | -14.9366
[32 empty] | Cycle 6 | 0.011884 | 0.012697 | 0.016773 | 2.1658 | 2.3108 | 3.0895 | -16.799 | -15.3978
[32 empty] | Cycle 7 | 0.011684 | 0.012486 | 0.016478 | 2.0962 | 2.2364 | 2.9902 | -16.5038 | -16.107
[32 empty] | Cycle 8 |  |  |  | 2.0293 | 2.1648 | 2.8946
20 | GIRMS\IRMS-operator | 2026-07-13 21:19 | 2026-07-13 22:28 | Running | FALSE | MD23-3677Q - G. ruber | 248-250 | 20 | 2 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.374 V | 9.5000 kV | 84 µbar | 125 µbar | Carbon Dioxide: 0.0000 kV | 1,207 µbar | 12.415 V | 15.239 V | 869 µbar/min | 2.551 V | 1.16E-007 mbar | 14 % | 943 µbar | 72 °C | µ-Volume |  | Pre | 12.1577 | 13.2199 | 17.4132 | 12.6652 | 13.5075 | 18.064 | 0.96143 | -0.72014 | 0.95799 | 0.019756 | 0.006985 | -0.72538 | 0.014635 | 0.0051741 | 1.0519 | 0.020907 | -0.72833 | 0.014631
[32 empty] | Cycle 1 | 11.7572 | 12.7846 | 16.8396 | 12.0875 | 12.8922 | 17.2402 | 0.92786 | -0.73756
[32 empty] | Cycle 2 | 11.3662 | 12.3599 | 16.28 | 11.5435 | 12.3123 | 16.4649 | 0.94674 | -0.7127
[32 empty] | Cycle 3 | 10.9835 | 11.9442 | 15.7319 | 11.031 | 11.7657 | 15.7333 | 0.97451 | -0.7089
[32 empty] | Cycle 4 | 10.6192 | 11.5481 | 15.2104 | 10.5456 | 11.2483 | 15.0414 | 0.95969 | -0.71201
[32 empty] | Cycle 5 | 10.2699 | 11.1684 | 14.7101 | 10.0886 | 10.761 | 14.3901 | 0.99049 | -0.72704
[32 empty] | Cycle 6 | 9.9352 | 10.8044 | 14.2306 | 9.6568 | 10.2999 | 13.7741 | 0.96324 | -0.73423
[32 empty] | Cycle 7 | 9.612 | 10.4533 | 13.7676 | 9.2474 | 9.8643 | 13.1902 | 0.93993 | -0.7505
[32 empty] | Cycle 8 |  |  |  | 8.8597 | 9.4509 | 12.6375
21 | GIRMS\IRMS-operator | 2026-07-13 21:49 | 2026-07-13 23:08 | Running | FALSE | SHP2L |  | 21 | 1 | 12 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.002 V |  | 6.568 V | 9.5000 kV | 93 µbar | 108 µbar | Carbon Dioxide: 0.0000 kV | 1,236 µbar | 6.062 V | 7.286 V | 816 µbar/min | 2.789 V | 7.38E-008 mbar | 39 % | 885 µbar | 72 °C | µ-Volume |  | Pre | 5.9534 | 6.4638 | 8.4836 | 6.1568 | 6.5682 | 8.7823 | -0.81567 | -5.9291 | -0.78166 | 0.038261 | 0.013527 | -5.9545 | 0.026972 | 0.0095361 | -0.61595 | 0.041455 | -5.9591 | 0.027045
[32 empty] | Cycle 1 | 5.771 | 6.2661 | 8.2236 | 5.9175 | 6.3129 | 8.4412 | -0.76066 | -5.9655
[32 empty] | Cycle 2 | 5.5972 | 6.0774 | 7.9756 | 5.6935 | 6.0738 | 8.1218 | -0.72353 | -5.9915
[32 empty] | Cycle 3 | 5.4289 | 5.8941 | 7.7363 | 5.481 | 5.847 | 7.8184 | -0.81481 | -5.9101
[32 empty] | Cycle 4 | 5.2673 | 5.7188 | 7.5057 | 5.2783 | 5.6309 | 7.5293 | -0.81281 | -5.9606
[32 empty] | Cycle 5 | 5.112 | 5.5506 | 7.2845 | 5.0854 | 5.4253 | 7.2543 | -0.8173 | -5.9657
[32 empty] | Cycle 6 | 4.9603 | 5.3863 | 7.0685 | 4.9009 | 5.2289 | 6.991 | -0.73963 | -5.9364
[32 empty] | Cycle 7 | 4.8139 | 5.227 | 6.8597 | 4.724 | 5.0398 | 6.7389 | -0.76885 | -5.9769
[32 empty] | Cycle 8 |  |  |  | 4.5539 | 4.8584 | 6.4964
22 | GIRMS\IRMS-operator | 2026-07-13 22:28 | 2026-07-13 23:38 | Running | FALSE | MD23-3677Q - G. ruber | 236-238 | 22 | 2 | 12 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 14.817 V | 9.4999 kV | 84 µbar | 125 µbar | Carbon Dioxide: -0.0001 kV | 1,226 µbar | 14.651 V | 16.978 V | 786 µbar/min | 5.970 V | 1.30E-007 mbar | 12 % | 960 µbar | 72 °C | µ-Volume |  | Pre | 14.4073 | 15.6571 | 20.6327 | 14.9699 | 15.963 | 21.3494 | 0.53865 | -0.75687 | 0.51254 | 0.028008 | 0.0099022 | -0.79909 | 0.0070718 | 0.0026729 | 0.57778 | 0.029951 | -0.8011 | 0.0071313
[32 empty] | Cycle 1 | 13.9297 | 15.1385 | 19.9482 | 14.2471 | 15.1932 | 20.3184 | 0.52611 | -0.80467
[32 empty] | Cycle 2 | 13.4507 | 14.6183 | 19.2629 | 13.5717 | 14.4734 | 19.3564 | 0.52046 | -0.80428
[32 empty] | Cycle 3 | 12.9916 | 14.1199 | 18.6058 | 12.9379 | 13.7978 | 18.4524 | 0.53151 | -0.79643
[32 empty] | Cycle 4 | 12.5536 | 13.6441 | 17.9787 | 12.3429 | 13.1638 | 17.6042 | 0.52163 | -0.80031
[32 empty] | Cycle 5 | 12.1173 | 13.1703 | 17.354 | 11.7836 | 12.5674 | 16.8067 | 0.52558 | -0.80761
[32 empty] | Cycle 6 | 11.7092 | 12.7268 | 16.77 | 11.2564 | 12.0057 | 16.0552 | 0.47111 | -0.78917
[32 empty] | Cycle 7 | 11.3108 | 12.2941 | 16.1994 | 10.7588 | 11.4758 | 15.3453 | 0.46528 | -0.79119
[32 empty] | Cycle 8 |  |  |  | 10.2889 | 10.9746 | 14.6754
23 | GIRMS\IRMS-operator | 2026-07-13 23:08 | 2026-07-14 00:08 | Running | FALSE | MD23-3677Q - G. ruber | 224-226 | 23 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 17.494 V | 9.4997 kV | 93 µbar | 86 µbar | Carbon Dioxide: -0.0003 kV | 284 µbar | 15.404 V | 20.286 V | 259 µbar/min | 14.131 V | 1.35E-007 mbar | 10 % | 995 µbar | 72 °C | µ-Volume | 16.081 V | Pre | 17.0589 | 18.5293 | 24.4361 | 15.7881 | 16.8349 | 22.5151 | 0.083037 | -0.47521 | 0.11356 | 0.018585 | 0.0065708 | -0.49247 | 0.016544 | 0.005849 | 0.13972 | 0.019971 | -0.49326 | 0.016566
[32 empty] | Cycle 1 | 16.4009 | 17.8158 | 23.4939 | 15.0144 | 16.0103 | 21.4124 | 0.11266 | -0.50351
[32 empty] | Cycle 2 | 15.7749 | 17.1367 | 22.5977 | 14.2914 | 15.2401 | 20.3823 | 0.12741 | -0.50977
[32 empty] | Cycle 3 | 15.1736 | 16.484 | 21.7365 | 13.6152 | 14.5198 | 19.4184 | 0.11506 | -0.50821
[32 empty] | Cycle 4 | 14.6048 | 15.8661 | 20.922 | 12.9805 | 13.8432 | 18.5128 | 0.088917 | -0.48922
[32 empty] | Cycle 5 | 14.0655 | 15.2813 | 20.1503 | 12.3838 | 13.2074 | 17.6622 | 0.13646 | -0.46426
[32 empty] | Cycle 6 | 13.5467 | 14.718 | 19.4071 | 11.823 | 12.6094 | 16.8626 | 0.12202 | -0.48668
[32 empty] | Cycle 7 | 13.0486 | 14.1772 | 18.6938 | 11.2939 | 12.0458 | 16.1085 | 0.12296 | -0.50293
[32 empty] | Cycle 8 |  |  |  | 10.7961 | 11.5148 | 15.3988
24 | GIRMS\IRMS-operator | 2026-07-13 23:38 | 2026-07-14 00:46 | Running | FALSE | MD23-3677Q - G. ruber | 220-222 | 24 | 2 | 13 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  | 14.773 V | 9.4999 kV | 84 µbar | 118 µbar | Carbon Dioxide: -0.0001 kV | 1,183 µbar | 14.715 V | 16.978 V | 796 µbar/min | 14.715 V | 1.31E-007 mbar | 10 % | 955 µbar | 72 °C | µ-Volume |  | Pre | 15.3435 | 16.6718 | 21.9822 | 15.0849 | 16.0853 | 21.5129 | 0.41031 | -0.35175 | 0.37893 | 0.02825 | 0.0099878 | -0.34747 | 0.0055049 | 0.0020807 | 0.41845 | 0.030121 | -0.34871 | 0.0055515
[32 empty] | Cycle 1 | 14.7984 | 16.0799 | 21.2019 | 14.3557 | 15.3084 | 20.4736 | 0.3897 | -0.34206
[32 empty] | Cycle 2 | 14.2768 | 15.5141 | 20.4548 | 13.6743 | 14.5826 | 19.5022 | 0.3963 | -0.35096
[32 empty] | Cycle 3 | 13.7777 | 14.9717 | 19.7402 | 13.0361 | 13.9026 | 18.5923 | 0.35682 | -0.34377
[32 empty] | Cycle 4 | 13.3194 | 14.4745 | 19.0838 | 12.4387 | 13.2661 | 17.7407 | 0.39722 | -0.3557
[32 empty] | Cycle 5 | 12.8607 | 13.9762 | 18.4269 | 11.8761 | 12.6658 | 16.9386 | 0.3997 | -0.34691
[32 empty] | Cycle 6 | 12.4202 | 13.4974 | 17.7962 | 11.3476 | 12.1027 | 16.1848 | 0.3419 | -0.34112
[32 empty] | Cycle 7 | 11.9929 | 13.0334 | 17.1838 | 10.8479 | 11.5704 | 15.4726 | 0.33945 | -0.37738
[32 empty] | Cycle 8 |  |  |  | 10.3755 | 11.0666 | 14.7992
25 | GIRMS\IRMS-operator | 2026-07-14 00:08 | 2026-07-14 01:27 | Running | FALSE | MD23-3677Q - G. ruber | 216-218 | 25 | 1 | 14 | TRUE | Unknown |  | 0.002 V, 0.001 V, 0.002 V |  | 23.439 V | 9.5001 kV | 91 µbar | 86 µbar | Carbon Dioxide: 0.0001 kV | 128 µbar | 16.326 V | 27.798 V | 225 µbar/min | 2.795 V | 1.41E-007 mbar | 10 % | 1,014 µbar | 72 °C | µ-Volume | 21.050 V | Pre | 22.5634 | 24.5104 | 32.3106 | 16.7258 | 17.8338 | 23.8533 | 0.19788 | -0.83233 | 0.29534 | 0.072427 | 0.025607 | -0.83899 | 0.01471 | 0.0052008 | 0.34705 | 0.077399 | -0.84056 | 0.014696
[32 empty] | Cycle 1 | 21.6037 | 23.4697 | 30.9367 | 15.896 | 16.9504 | 22.6704 | 0.21798 | -0.85208
[32 empty] | Cycle 2 | 20.6957 | 22.4847 | 29.6369 | 15.1201 | 16.1236 | 21.5648 | 0.23861 | -0.86288
[32 empty] | Cycle 3 | 19.836 | 21.5533 | 28.4071 | 14.393 | 15.349 | 20.5279 | 0.32139 | -0.83032
[32 empty] | Cycle 4 | 19.0271 | 20.6748 | 27.2492 | 13.7109 | 14.6221 | 19.5554 | 0.29816 | -0.8212
[32 empty] | Cycle 5 | 18.2504 | 19.8324 | 26.1372 | 13.0704 | 13.9399 | 18.6422 | 0.33114 | -0.82316
[32 empty] | Cycle 6 | 17.5231 | 19.0427 | 25.0957 | 12.462 | 13.2913 | 17.7745 | 0.34622 | -0.84228
[32 empty] | Cycle 7 | 16.8308 | 18.2919 | 24.1047 | 11.8962 | 12.6881 | 16.9682 | 0.41136 | -0.84767
[32 empty] | Cycle 8 |  |  |  | 11.3636 | 12.1202 | 16.2087
26 | GIRMS\IRMS-operator | 2026-07-14 00:46 | 2026-07-14 01:58 | Running | FALSE | SHP2L |  | 26 | 2 | 14 | TRUE | QC Standard | SHP2L | 0.003 V, 0.003 V, 0.004 V |  | 9.886 V | 9.4998 kV | 84 µbar | 123 µbar | Carbon Dioxide: -0.0002 kV | 1,212 µbar | 9.139 V | 11.096 V | 713 µbar/min | 15.658 V | 9.39E-008 mbar | 23 % | 924 µbar | 72 °C | µ-Volume |  | Pre | 8.9783 | 9.7468 | 12.7937 | 9.2771 | 9.8956 | 13.232 | -0.81401 | -5.8526 | -0.78216 | 0.039163 | 0.013846 | -5.8663 | 0.017521 | 0.0061945 | -0.61976 | 0.041666 | -5.8708 | 0.017507
[32 empty] | Cycle 1 | 8.7014 | 9.4462 | 12.399 | 8.887 | 9.4797 | 12.6757 | -0.79752 | -5.8745
[32 empty] | Cycle 2 | 8.4365 | 9.1593 | 12.0217 | 8.5185 | 9.0863 | 12.1504 | -0.71288 | -5.8725
[32 empty] | Cycle 3 | 8.1709 | 8.8707 | 11.6435 | 8.1692 | 8.7138 | 11.652 | -0.77099 | -5.8471
[32 empty] | Cycle 4 | 7.9189 | 8.5978 | 11.2845 | 7.8369 | 8.3598 | 11.1782 | -0.73622 | -5.8422
[32 empty] | Cycle 5 | 7.6766 | 8.3343 | 10.9391 | 7.5232 | 8.0255 | 10.7307 | -0.79467 | -5.8705
[32 empty] | Cycle 6 | 7.4404 | 8.078 | 10.6025 | 7.2255 | 7.7077 | 10.3066 | -0.80949 | -5.8943
[32 empty] | Cycle 7 | 7.213 | 7.8309 | 10.2786 | 6.9427 | 7.4065 | 9.903 | -0.82148 | -5.8765
[32 empty] | Cycle 8 |  |  |  | 6.6743 | 7.1196 | 9.5203
27 | GIRMS\IRMS-operator | 2026-07-14 01:27 | 2026-07-14 02:28 | Running | FALSE | MD23-3677Q - G. ruber | 212-214 | 27 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 16.047 V | 9.5000 kV | 96 µbar | 89 µbar | Carbon Dioxide: 0.0000 kV | 186 µbar | 15.191 V | 18.514 V | 254 µbar/min | 8.927 V | 1.34E-007 mbar | 10 % | 995 µbar | 72 °C | µ-Volume |  | Pre | 15.0017 | 16.3075 | 21.4822 | 15.5537 | 16.5849 | 22.1814 | 0.8764 | -0.8188 | 0.85336 | 0.035613 | 0.012591 | -0.82444 | 0.0092772 | 0.00328 | 0.94361 | 0.037912 | -0.82726 | 0.0092415
[32 empty] | Cycle 1 | 14.4452 | 15.7035 | 20.686 | 14.8003 | 15.7818 | 21.1074 | 0.89159 | -0.82166
[32 empty] | Cycle 2 | 13.9165 | 15.1291 | 19.9294 | 14.0943 | 15.0299 | 20.1014 | 0.85427 | -0.81284
[32 empty] | Cycle 3 | 13.4106 | 14.579 | 19.2044 | 13.4317 | 14.3244 | 19.1563 | 0.80064 | -0.84128
[32 empty] | Cycle 4 | 12.925 | 14.0515 | 18.5095 | 12.8091 | 13.6606 | 18.2686 | 0.8194 | -0.83374
[32 empty] | Cycle 5 | 12.4604 | 13.547 | 17.8446 | 12.2225 | 13.0351 | 17.4322 | 0.83073 | -0.82371
[32 empty] | Cycle 6 | 12.0099 | 13.0588 | 17.1995 | 11.6701 | 12.4468 | 16.6446 | 0.9027 | -0.82643
[32 empty] | Cycle 7 | 11.5856 | 12.597 | 16.5923 | 11.1496 | 11.8918 | 15.9021 | 0.85117 | -0.8171
[32 empty] | Cycle 8 |  |  |  | 10.6596 | 11.3695 | 15.2038
28 | GIRMS\IRMS-operator | 2026-07-14 01:58 | 2026-07-14 03:04 | Running | FALSE | MD23-3677Q - G. ruber | 204-206 | 28 | 2 | 15 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  | 14.578 V | 9.4999 kV | 86 µbar | 118 µbar | Carbon Dioxide: -0.0001 kV | 1,161 µbar | 14.505 V | 16.613 V | 562 µbar/min | 14.505 V | 1.29E-007 mbar | 10 % | 963 µbar | 72 °C | µ-Volume |  | Pre | 15.0502 | 16.3611 | 21.56 | 14.8734 | 15.86 | 21.2103 | 0.88756 | -0.39761 | 0.85488 | 0.02483 | 0.0087788 | -0.42707 | 0.015228 | 0.0053837 | 0.93054 | 0.026418 | -0.42946 | 0.015228
[32 empty] | Cycle 1 | 14.529 | 15.7948 | 20.8133 | 14.1642 | 15.1043 | 20.1996 | 0.86156 | -0.42278
[32 empty] | Cycle 2 | 14.0286 | 15.2515 | 20.0971 | 13.4982 | 14.3949 | 19.25 | 0.85562 | -0.41744
[32 empty] | Cycle 3 | 13.5689 | 14.752 | 19.4387 | 12.872 | 13.7276 | 18.3577 | 0.83964 | -0.43775
[32 empty] | Cycle 4 | 13.1067 | 14.2507 | 18.7767 | 12.2825 | 13.0993 | 17.5173 | 0.89345 | -0.44393
[32 empty] | Cycle 5 | 12.6634 | 13.7683 | 18.142 | 11.7269 | 12.5074 | 16.7252 | 0.8412 | -0.43355
[32 empty] | Cycle 6 | 12.2348 | 13.3026 | 17.5284 | 11.2024 | 11.948 | 15.9772 | 0.82463 | -0.42283
[32 empty] | Cycle 7 | 11.811 | 12.8422 | 16.9212 | 10.7089 | 11.4224 | 15.2737 | 0.83538 | -0.44069
[32 empty] | Cycle 8 |  |  |  | 10.2426 | 10.9248 | 14.6087
29 | GIRMS\IRMS-operator | 2026-07-14 02:28 | 2026-07-14 03:49 | Running | FALSE | MD23-3677Q - G. ruber | 200-202 | 29 | 1 | 16 | TRUE | Unknown |  | 0.002 V, 0.001 V, 0.002 V |  | 15.586 V | 9.5002 kV | 96 µbar | 91 µbar | Carbon Dioxide: 0.0002 kV | 555 µbar | 14.293 V | 17.979 V | 303 µbar/min | 2.793 V | 1.27E-007 mbar | 13 % | 982 µbar | 72 °C | µ-Volume |  | Pre | 13.9812 | 15.1955 | 20.0262 | 14.5841 | 15.5527 | 20.8 | 0.58296 | -0.62066 | 0.54296 | 0.02453 | 0.0086727 | -0.65027 | 0.017191 | 0.0060779 | 0.60502 | 0.025748 | -0.65219 | 0.017165
[32 empty] | Cycle 1 | 13.4633 | 14.633 | 19.2845 | 13.8876 | 14.8104 | 19.8068 | 0.57079 | -0.63156
[32 empty] | Cycle 2 | 12.9716 | 14.0982 | 18.58 | 13.2353 | 14.1153 | 18.877 | 0.5065 | -0.66397
[32 empty] | Cycle 3 | 12.4936 | 13.5798 | 17.8955 | 12.6242 | 13.4643 | 18.0059 | 0.54817 | -0.67177
[32 empty] | Cycle 4 | 12.0445 | 13.0918 | 17.2529 | 12.0451 | 12.8469 | 17.1802 | 0.53558 | -0.64919
[32 empty] | Cycle 5 | 11.618 | 12.6285 | 16.642 | 11.5066 | 12.2729 | 16.4123 | 0.53147 | -0.66114
[32 empty] | Cycle 6 | 11.2106 | 12.1858 | 16.0585 | 11.0001 | 11.7329 | 15.6901 | 0.5258 | -0.6577
[32 empty] | Cycle 7 | 10.8212 | 11.7629 | 15.501 | 10.5213 | 11.2224 | 15.0071 | 0.54241 | -0.64615
[32 empty] | Cycle 8 |  |  |  | 10.0672 | 10.7382 | 14.3595
30 | GIRMS\IRMS-operator | 2026-07-14 03:04 | 2026-07-14 04:19 | Running | FALSE | MD23-3677Q - G. ruber | 308-310 | 30 | 2 | 16 | TRUE | Unknown |  | 0.003 V, 0.003 V, 0.003 V |  | 13.496 V | 9.5000 kV | 86 µbar | 115 µbar | Carbon Dioxide: 0.0000 kV | 1,158 µbar | 13.472 V | 15.261 V | 669 µbar/min | 13.792 V | 1.24E-007 mbar | 13 % | 951 µbar | 72 °C | µ-Volume |  | Pre | 13.1514 | 14.2964 | 18.8219 | 13.7529 | 14.6661 | 19.6138 | 0.79781 | -1.4056 | 0.7661 | 0.029761 | 0.010522 | -1.4016 | 0.019502 | 0.0068951 | 0.87158 | 0.0316 | -1.4049 | 0.0195
[32 empty] | Cycle 1 | 12.7097 | 13.8169 | 18.1904 | 13.1085 | 13.9793 | 18.6948 | 0.81744 | -1.3786
[32 empty] | Cycle 2 | 12.2993 | 13.3707 | 17.6029 | 12.5032 | 13.334 | 17.8319 | 0.76899 | -1.4132
[32 empty] | Cycle 3 | 11.8881 | 12.9241 | 17.0149 | 11.9348 | 12.7288 | 17.0216 | 0.74654 | -1.3967
[32 empty] | Cycle 4 | 11.4916 | 12.4934 | 16.4479 | 11.3996 | 12.1584 | 16.2583 | 0.76252 | -1.3686
[32 empty] | Cycle 5 | 11.0986 | 12.0659 | 15.8852 | 10.889 | 11.6136 | 15.5302 | 0.72163 | -1.4067
[32 empty] | Cycle 6 | 10.7265 | 11.6622 | 15.3528 | 10.4126 | 11.1062 | 14.8514 | 0.75481 | -1.4257
[32 empty] | Cycle 7 | 10.3695 | 11.2744 | 14.8422 | 9.9637 | 10.6277 | 14.2115 | 0.75903 | -1.4179
[32 empty] | Cycle 8 |  |  |  | 9.5395 | 10.1754 | 13.6065
31 | GIRMS\IRMS-operator | 2026-07-14 03:49 | 2026-07-14 04:50 | Running | FALSE | SHP2L |  | 31 | 1 | 17 | TRUE | QC Standard | SHP2L | 0.002 V, 0.003 V, 0.003 V |  | 4.355 V | 9.5000 kV | 93 µbar | 86 µbar | Carbon Dioxide: 0.0000 kV | 423 µbar | 4.309 V | 4.770 V | 308 µbar/min | 13.037 V | 6.24E-008 mbar | 53 % | 816 µbar | 72 °C | µ-Volume |  | Pre | 4.2112 | 4.5728 | 6.0003 | 4.3993 | 4.6935 | 6.2757 | -0.71457 | -6.0595 | -0.75228 | 0.030927 | 0.010934 | -6.0257 | 0.022252 | 0.0078674 | -0.58187 | 0.033724 | -6.0305 | 0.022329
[32 empty] | Cycle 1 | 4.0917 | 4.443 | 5.8299 | 4.2389 | 4.5222 | 6.0466 | -0.74227 | -6.0514
[32 empty] | Cycle 2 | 3.9766 | 4.3182 | 5.6661 | 4.0883 | 4.3617 | 5.8318 | -0.71763 | -6.0346
[32 empty] | Cycle 3 | 3.8658 | 4.1979 | 5.5083 | 3.9446 | 4.2084 | 5.627 | -0.76035 | -6.0302
[32 empty] | Cycle 4 | 3.7586 | 4.0813 | 5.3556 | 3.8068 | 4.0617 | 5.4302 | -0.79531 | -5.9955
[32 empty] | Cycle 5 | 3.6542 | 3.9681 | 5.2068 | 3.6748 | 3.9206 | 5.2419 | -0.73891 | -6.0091
[32 empty] | Cycle 6 | 3.5515 | 3.8565 | 5.0605 | 3.5479 | 3.7854 | 5.061 | -0.79558 | -6.008
[32 empty] | Cycle 7 | 3.4508 | 3.7473 | 4.917 | 3.426 | 3.6554 | 4.8871 | -0.75362 | -6.0176
[32 empty] | Cycle 8 |  |  |  | 3.3089 | 3.5304 | 4.7201
32 | GIRMS\IRMS-operator | 2026-07-14 04:19 | 2026-07-14 05:30 | Running | FALSE | MD23-3677Q - G. ruber | 304-306 | 32 | 2 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 8.827 V | 9.5001 kV | 86 µbar | 108 µbar | Carbon Dioxide: 0.0001 kV | 1,141 µbar | 8.175 V | 9.827 V | 674 µbar/min | 4.253 V | 8.72E-008 mbar | 25 % | 907 µbar | 72 °C | µ-Volume |  | Pre | 8.0453 | 8.7439 | 11.519 | 8.3059 | 8.86 | 11.8474 | 0.28667 | -1.14 | 0.30092 | 0.021962 | 0.0077646 | -1.1328 | 0.010093 | 0.0035686 | 0.36389 | 0.023457 | -1.1346 | 0.010098
[32 empty] | Cycle 1 | 7.8004 | 8.4782 | 11.1688 | 7.9683 | 8.5002 | 11.3658 | 0.30271 | -1.1145
[32 empty] | Cycle 2 | 7.5674 | 8.225 | 10.8349 | 7.6488 | 8.1595 | 10.9102 | 0.31025 | -1.1422
[32 empty] | Cycle 3 | 7.3347 | 7.9721 | 10.5021 | 7.3452 | 7.8356 | 10.4772 | 0.31585 | -1.1225
[32 empty] | Cycle 4 | 7.1061 | 7.7238 | 10.1746 | 7.0555 | 7.5266 | 10.0642 | 0.34388 | -1.1367
[32 empty] | Cycle 5 | 6.8866 | 7.4849 | 9.8603 | 6.7786 | 7.2311 | 9.669 | 0.27943 | -1.1399
[32 empty] | Cycle 6 | 6.6793 | 7.2599 | 9.5638 | 6.5154 | 6.9508 | 9.2939 | 0.28366 | -1.1274
[32 empty] | Cycle 7 | 6.4769 | 7.0398 | 9.2737 | 6.264 | 6.6826 | 8.9351 | 0.28495 | -1.1388
[32 empty] | Cycle 8 |  |  |  | 6.0244 | 6.4267 | 8.5932
33 | GIRMS\IRMS-operator | 2026-07-14 04:50 | 2026-07-14 06:10 | Running | FALSE | MD23-3677Q - G. ruber | 300-302 | 33 | 1 | 18 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 12.885 V | 9.5002 kV | 93 µbar | 106 µbar | Carbon Dioxide: 0.0002 kV | 1,209 µbar | 11.876 V | 14.747 V | 674 µbar/min | 2.792 V | 1.12E-007 mbar | 17 % | 968 µbar | 72 °C | µ-Volume |  | Pre | 11.6246 | 12.6315 | 16.6436 | 12.0774 | 12.881 | 17.2254 | 0.26233 | -1.0677 | 0.22093 | 0.057697 | 0.020399 | -1.0999 | 0.018109 | 0.0064024 | 0.27708 | 0.06167 | -1.1016 | 0.018115
[32 empty] | Cycle 1 | 11.2195 | 12.1913 | 16.063 | 11.5317 | 12.299 | 16.4471 | 0.24568 | -1.1049
[32 empty] | Cycle 2 | 10.8315 | 11.7687 | 15.5081 | 11.0185 | 11.7521 | 15.7154 | 0.12738 | -1.0822
[32 empty] | Cycle 3 | 10.4622 | 11.3688 | 14.9792 | 10.5347 | 11.2365 | 15.0255 | 0.23948 | -1.1215
[32 empty] | Cycle 4 | 10.1043 | 10.9809 | 14.4674 | 10.0783 | 10.7496 | 14.3752 | 0.31627 | -1.0918
[32 empty] | Cycle 5 | 9.7628 | 10.6086 | 13.9779 | 9.6432 | 10.2857 | 13.7542 | 0.18283 | -1.1116
[32 empty] | Cycle 6 | 9.4356 | 10.2534 | 13.5097 | 9.235 | 9.8506 | 13.1721 | 0.20597 | -1.1148
[32 empty] | Cycle 7 | 9.1202 | 9.9107 | 13.0583 | 8.8487 | 9.4385 | 12.6216 | 0.18752 | -1.1051
[32 empty] | Cycle 8 |  |  |  | 8.4821 | 9.048 | 12.0984
34 | GIRMS\IRMS-operator | 2026-07-14 05:30 | 2026-07-14 06:39 | Running | FALSE | MD23-3677Q - G. ruber | 296-298 | 34 | 2 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 13.302 V | 9.4999 kV | 86 µbar | 111 µbar | Carbon Dioxide: -0.0001 kV | 1,217 µbar | 13.222 V | 15.059 V | 703 µbar/min | 11.526 V | 1.21E-007 mbar | 14 % | 955 µbar | 72 °C | µ-Volume |  | Pre | 12.9666 | 14.0926 | 18.5647 | 13.4864 | 14.3815 | 19.2336 | 0.58096 | -1.024 | 0.54485 | 0.026235 | 0.0092755 | -1.036 | 0.0083706 | 0.0031638 | 0.62108 | 0.027886 | -1.0384 | 0.0083699
[32 empty] | Cycle 1 | 12.532 | 13.6205 | 17.9431 | 12.8562 | 13.7107 | 18.3351 | 0.55959 | -0.98547
[32 empty] | Cycle 2 | 12.12 | 13.1733 | 17.3527 | 12.2657 | 13.0809 | 17.4928 | 0.56567 | -1.0483
[32 empty] | Cycle 3 | 11.7254 | 12.7449 | 16.7883 | 11.7095 | 12.4887 | 16.7007 | 0.55871 | -1.0408
[32 empty] | Cycle 4 | 11.3378 | 12.3235 | 16.2334 | 11.1865 | 11.9311 | 15.9548 | 0.49881 | -1.0421
[32 empty] | Cycle 5 | 10.9612 | 11.9148 | 15.6946 | 10.6932 | 11.4058 | 15.2512 | 0.52866 | -1.03
[32 empty] | Cycle 6 | 10.5883 | 11.5097 | 15.1605 | 10.2281 | 10.9096 | 14.5883 | 0.53623 | -1.0365
[32 empty] | Cycle 7 | 10.2352 | 11.1261 | 14.6552 | 9.7884 | 10.4409 | 13.9608 | 0.53016 | -1.0307
[32 empty] | Cycle 8 |  |  |  | 9.3724 | 9.9974 | 13.3681
35 | GIRMS\IRMS-operator | 2026-07-14 06:10 | 2026-07-14 07:11 | Running | FALSE | MD23-3677Q - G. ruber | 288-290 | 35 | 1 | 19 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 12.486 V | 9.5001 kV | 91 µbar | 98 µbar | Carbon Dioxide: 0.0001 kV | 1,139 µbar | 12.382 V | 14.249 V | 615 µbar/min | 12.788 V | 1.15E-007 mbar | 14 % | 963 µbar | 72 °C | µ-Volume |  | Pre | 12.1985 | 13.2549 | 17.4682 | 12.6258 | 13.4653 | 18.0073 | 0.2568 | -0.8901 | 0.28621 | 0.026244 | 0.0092785 | -0.88062 | 0.020188 | 0.0071376 | 0.33882 | 0.028072 | -0.88221 | 0.020208
[32 empty] | Cycle 1 | 11.7709 | 12.7909 | 16.8562 | 12.0467 | 12.8488 | 17.1816 | 0.25891 | -0.87826
[32 empty] | Cycle 2 | 11.3624 | 12.3476 | 16.2718 | 11.5038 | 12.2698 | 16.4073 | 0.31 | -0.85625
[32 empty] | Cycle 3 | 10.97 | 11.9208 | 15.7102 | 10.9937 | 11.7254 | 15.6801 | 0.26403 | -0.85575
[32 empty] | Cycle 4 | 10.5948 | 11.5138 | 15.1725 | 10.5115 | 11.2119 | 14.9928 | 0.29402 | -0.89201
[32 empty] | Cycle 5 | 10.2347 | 11.1227 | 14.657 | 10.0566 | 10.7267 | 14.3439 | 0.31504 | -0.86387
[32 empty] | Cycle 6 | 9.8888 | 10.7472 | 14.1615 | 9.6259 | 10.2674 | 13.7294 | 0.3188 | -0.90649
[32 empty] | Cycle 7 | 9.5499 | 10.3787 | 13.6766 | 9.2193 | 9.8342 | 13.1504 | 0.27212 | -0.9022
[32 empty] | Cycle 8 |  |  |  | 8.8368 | 9.4263 | 12.6045
36 | GIRMS\IRMS-operator | 2026-07-14 06:39 | 2026-07-14 07:49 | Running | FALSE | SHP2L |  | 36 | 2 | 19 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 3.794 V | 9.5000 kV | 86 µbar | 103 µbar | Carbon Dioxide: 0.0000 kV | 1,058 µbar | 3.733 V | 4.075 V | 557 µbar/min | 11.941 V | 5.77E-008 mbar | 59 % | 782 µbar | 72 °C | µ-Volume |  | Pre | 3.6434 | 3.9562 | 5.1922 | 3.823 | 4.0788 | 5.4534 | -0.77838 | -5.8602 | -0.79499 | 0.031766 | 0.011231 | -5.8463 | 0.03346 | 0.01183 | -0.63422 | 0.033695 | -5.8507 | 0.033477
[32 empty] | Cycle 1 | 3.5503 | 3.8551 | 5.0591 | 3.691 | 3.9379 | 5.2651 | -0.77799 | -5.9065
[32 empty] | Cycle 2 | 3.4604 | 3.7576 | 4.9314 | 3.5642 | 3.8027 | 5.0839 | -0.79262 | -5.8246
[32 empty] | Cycle 3 | 3.3705 | 3.66 | 4.8033 | 3.4417 | 3.6723 | 4.9094 | -0.82192 | -5.8211
[32 empty] | Cycle 4 | 3.2819 | 3.5636 | 4.6769 | 3.3241 | 3.5467 | 4.7415 | -0.82398 | -5.849
[32 empty] | Cycle 5 | 3.1931 | 3.4672 | 4.5505 | 3.2112 | 3.426 | 4.5805 | -0.79004 | -5.8325
[32 empty] | Cycle 6 | 3.1076 | 3.3746 | 4.4287 | 3.1027 | 3.3103 | 4.4258 | -0.73854 | -5.8022
[32 empty] | Cycle 7 | 3.0242 | 3.2838 | 4.3096 | 2.9983 | 3.199 | 4.2767 | -0.83643 | -5.8741
[32 empty] | Cycle 8 |  |  |  | 2.898 | 3.0921 | 4.1338
37 | GIRMS\IRMS-operator | 2026-07-14 07:11 | 2026-07-14 08:30 | Running | FALSE | MD23-3677Q - G. ruber | 284-286 | 37 | 1 | 20 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 14.690 V | 9.5002 kV | 93 µbar | 86 µbar | Carbon Dioxide: 0.0002 kV | 216 µbar | 13.518 V | 16.910 V | 181 µbar/min | 2.787 V | 1.23E-007 mbar | 14 % | 975 µbar | 72 °C | µ-Volume |  | Pre | 13.223 | 14.3695 | 18.9346 | 13.78 | 14.6959 | 19.6524 | 0.40454 | -0.89636 | 0.38188 | 0.01928 | 0.0068165 | -0.92789 | 0.0082487 | 0.0031177 | 0.44279 | 0.020341 | -0.92974 | 0.0082414
[32 empty] | Cycle 1 | 12.7395 | 13.8446 | 18.2425 | 13.1359 | 14.0092 | 18.7349 | 0.40807 | -0.92056
[32 empty] | Cycle 2 | 12.2826 | 13.3479 | 17.5885 | 12.5334 | 13.3674 | 17.8758 | 0.35582 | -0.92954
[32 empty] | Cycle 3 | 11.8484 | 12.8768 | 16.967 | 11.9646 | 12.7611 | 17.0652 | 0.3761 | -0.923
[32 empty] | Cycle 4 | 11.4337 | 12.4265 | 16.3733 | 11.4292 | 12.1904 | 16.3013 | 0.37816 | -0.91846
[32 empty] | Cycle 5 | 11.0354 | 11.9938 | 15.803 | 10.9231 | 11.651 | 15.5798 | 0.39621 | -0.92869
[32 empty] | Cycle 6 | 10.6523 | 11.5772 | 15.2546 | 10.4456 | 11.1415 | 14.8991 | 0.36139 | -0.93226
[32 empty] | Cycle 7 | 10.2858 | 11.1793 | 14.7298 | 9.9945 | 10.6608 | 14.2558 | 0.37477 | -0.9427
[32 empty] | Cycle 8 |  |  |  | 9.5675 | 10.2053 | 13.6469
38 | GIRMS\IRMS-operator | 2026-07-14 07:49 | 2026-07-14 09:00 | Running | FALSE | MD23-3677Q - G. ruber | 280-282 | 38 | 2 | 20 | TRUE | Unknown |  | 0.002 V, 0.003 V, 0.003 V |  | 14.116 V | 9.5000 kV | 86 µbar | 106 µbar | Carbon Dioxide: 0.0000 kV | 1,161 µbar | 13.988 V | 16.065 V | 684 µbar/min | 13.064 V | 1.26E-007 mbar | 12 % | 948 µbar | 72 °C | µ-Volume |  | Pre | 13.7122 | 14.9002 | 19.6297 | 14.2877 | 15.2359 | 20.3761 | 0.41841 | -1.132 | 0.37583 | 0.025191 | 0.0089064 | -1.1531 | 0.017151 | 0.0060639 | 0.4448 | 0.026662 | -1.1552 | 0.017143
[32 empty] | Cycle 1 | 13.2437 | 14.3913 | 18.9586 | 13.6085 | 14.5123 | 19.4077 | 0.39525 | -1.1657
[32 empty] | Cycle 2 | 12.7981 | 13.9074 | 18.3215 | 12.9728 | 13.8348 | 18.5012 | 0.36599 | -1.1399
[32 empty] | Cycle 3 | 12.3771 | 13.4504 | 17.7189 | 12.3766 | 13.2001 | 17.6516 | 0.35797 | -1.1616
[32 empty] | Cycle 4 | 11.9606 | 12.9983 | 17.1232 | 11.8173 | 12.6035 | 16.8542 | 0.39298 | -1.1478
[32 empty] | Cycle 5 | 11.5513 | 12.5532 | 16.5374 | 11.2923 | 12.0438 | 16.1056 | 0.36342 | -1.1332
[32 empty] | Cycle 6 | 11.1573 | 12.1255 | 15.9733 | 10.7968 | 11.5154 | 15.3989 | 0.37404 | -1.1683
[32 empty] | Cycle 7 | 10.7805 | 11.7162 | 15.4342 | 10.3291 | 11.0172 | 14.7328 | 0.33861 | -1.1767
[32 empty] | Cycle 8 |  |  |  | 9.8861 | 10.545 | 14.1009
39 | GIRMS\IRMS-operator | 2026-07-14 08:30 | 2026-07-14 09:32 | Running | FALSE | MD23-3677Q - G. ruber | 272-274 | 39 | 1 | 21 | TRUE | Unknown |  | 0.002 V, 0.003 V, 0.003 V |  | 13.654 V | 9.5000 kV | 91 µbar | 113 µbar | Carbon Dioxide: 0.0000 kV | 1,239 µbar | 12.978 V | 15.610 V | 845 µbar/min | 13.516 V | 1.19E-007 mbar | 13 % | 968 µbar | 72 °C | µ-Volume |  | Pre | 12.5923 | 13.6827 | 18.0279 | 13.2508 | 14.1319 | 18.8987 | 0.28405 | -1.1224 | 0.27449 | 0.028161 | 0.0099563 | -1.1544 | 0.0067477 | 0.0025504 | 0.33625 | 0.030149 | -1.1563 | 0.0067761
[32 empty] | Cycle 1 | 12.149 | 13.2013 | 17.3928 | 12.6376 | 13.478 | 18.0243 | 0.29215 | -1.1572
[32 empty] | Cycle 2 | 11.7259 | 12.7414 | 16.7873 | 12.0599 | 12.8623 | 17.2008 | 0.24974 | -1.1486
[32 empty] | Cycle 3 | 11.3187 | 12.2998 | 16.2044 | 11.5182 | 12.2849 | 16.4278 | 0.29213 | -1.1549
[32 empty] | Cycle 4 | 10.9286 | 11.8756 | 15.6465 | 11.0067 | 11.7397 | 15.6988 | 0.24101 | -1.1607
[32 empty] | Cycle 5 | 10.5469 | 11.4618 | 15.1003 | 10.5237 | 11.2247 | 15.0107 | 0.31028 | -1.164
[32 empty] | Cycle 6 | 10.1808 | 11.0642 | 14.5763 | 10.0676 | 10.7384 | 14.36 | 0.29131 | -1.1457
[32 empty] | Cycle 7 | 9.8338 | 10.6869 | 14.0795 | 9.6367 | 10.2795 | 13.7453 | 0.23526 | -1.1497
[32 empty] | Cycle 8 |  |  |  | 9.2289 | 9.8445 | 13.1637
40 | GIRMS\IRMS-operator | 2026-07-14 09:00 | 2026-07-14 10:09 | Running | FALSE | MD23-3677Q - G. ruber | 268-270 | 40 | 2 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 14.600 V | 9.4999 kV | 86 µbar | 118 µbar | Carbon Dioxide: -0.0001 kV | 1,202 µbar | 14.187 V | 16.582 V | 806 µbar/min | 12.483 V | 1.28E-007 mbar | 10 % | 960 µbar | 72 °C | µ-Volume |  | Pre | 13.9692 | 15.1817 | 20.0029 | 14.5287 | 15.4934 | 20.7205 | 0.55422 | -0.89705 | 0.53918 | 0.018617 | 0.006582 | -0.90168 | 0.012468 | 0.0044082 | 0.61028 | 0.020004 | -0.90386 | 0.012489
[32 empty] | Cycle 1 | 13.4917 | 14.6633 | 19.3196 | 13.8379 | 14.7571 | 19.7355 | 0.55831 | -0.88605
[32 empty] | Cycle 2 | 13.0472 | 14.1805 | 18.6829 | 13.1909 | 14.0678 | 18.8132 | 0.55929 | -0.91688
[32 empty] | Cycle 3 | 12.598 | 13.6923 | 18.0401 | 12.5832 | 13.4196 | 17.9467 | 0.53054 | -0.91635
[32 empty] | Cycle 4 | 12.1682 | 13.2254 | 17.4251 | 12.011 | 12.81 | 17.131 | 0.50987 | -0.89465
[32 empty] | Cycle 5 | 11.7494 | 12.7705 | 16.8255 | 11.4714 | 12.2348 | 16.3613 | 0.51838 | -0.88763
[32 empty] | Cycle 6 | 11.3472 | 12.3342 | 16.2497 | 10.9623 | 11.692 | 15.6353 | 0.54657 | -0.90177
[32 empty] | Cycle 7 | 10.9618 | 11.9156 | 15.6978 | 10.4818 | 11.1802 | 14.9505 | 0.53623 | -0.91305
[32 empty] | Cycle 8 |  |  |  | 10.0291 | 10.6976 | 14.305
41 | GIRMS\IRMS-operator | 2026-07-14 09:32 | 2026-07-14 10:50 | Running | FALSE | SHP2L |  | 41 | 1 | 22 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 3.781 V | 9.5001 kV | 93 µbar | 89 µbar | Carbon Dioxide: 0.0001 kV | 709 µbar | 3.814 V | 4.122 V | 352 µbar/min | 2.795 V | 5.33E-008 mbar | 65 % | 787 µbar | 72 °C | µ-Volume |  | Pre | 3.6559 | 3.9697 | 5.2098 | 3.9012 | 4.1622 | 5.5652 | -0.81697 | -5.9611 | -0.8219 | 0.013137 | 0.0046445 | -5.9645 | 0.016814 | 0.0059447 | -0.65864 | 0.013969 | -5.969 | 0.016827
[32 empty] | Cycle 1 | 3.5549 | 3.86 | 5.0657 | 3.7648 | 4.0167 | 5.3706 | -0.81346 | -5.9838
[32 empty] | Cycle 2 | 3.4565 | 3.7533 | 4.9257 | 3.6341 | 3.8775 | 5.1844 | -0.81556 | -5.9853
[32 empty] | Cycle 3 | 3.3609 | 3.6494 | 4.7893 | 3.5089 | 3.7439 | 5.0058 | -0.83069 | -5.968
[32 empty] | Cycle 4 | 3.2693 | 3.5499 | 4.6589 | 3.3888 | 3.6157 | 4.8342 | -0.834 | -5.9451
[32 empty] | Cycle 5 | 3.1801 | 3.4531 | 4.5319 | 3.2741 | 3.4931 | 4.6707 | -0.79789 | -5.9377
[32 empty] | Cycle 6 | 3.0931 | 3.3586 | 4.4078 | 3.1637 | 3.3756 | 4.5133 | -0.83082 | -5.9631
[32 empty] | Cycle 7 | 3.009 | 3.2673 | 4.2879 | 3.0581 | 3.2629 | 4.3626 | -0.83577 | -5.9718
[32 empty] | Cycle 8 |  |  |  | 2.9564 | 3.1544 | 4.2176
42 | GIRMS\IRMS-operator | 2026-07-14 10:09 | 2026-07-14 11:20 | Running | FALSE | MD23-3677Q - G. ruber | 264-266 | 42 | 2 | 22 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 14.913 V | 9.5001 kV | 89 µbar | 123 µbar | Carbon Dioxide: 0.0001 kV | 1,229 µbar | 13.731 V | 16.878 V | 884 µbar/min | 3.776 V | 1.24E-007 mbar | 13 % | 965 µbar | 72 °C | µ-Volume |  | Pre | 13.4659 | 14.6352 | 19.2787 | 14.0036 | 14.9341 | 19.9722 | 0.54313 | -1.1113 | 0.50039 | 0.03198 | 0.011307 | -1.131 | 0.015318 | 0.0054159 | 0.57725 | 0.03389 | -1.1333 | 0.015293
[32 empty] | Cycle 1 | 13.0237 | 14.1552 | 18.6453 | 13.3471 | 14.2343 | 19.0363 | 0.52772 | -1.1437
[32 empty] | Cycle 2 | 12.5854 | 13.6789 | 18.0182 | 12.7311 | 13.5785 | 18.1577 | 0.49868 | -1.1333
[32 empty] | Cycle 3 | 12.1527 | 13.2093 | 17.3995 | 12.1512 | 12.96 | 17.3312 | 0.52495 | -1.106
[32 empty] | Cycle 4 | 11.7317 | 12.7511 | 16.7967 | 11.6049 | 12.3778 | 16.552 | 0.44178 | -1.1391
[32 empty] | Cycle 5 | 11.3337 | 12.3194 | 16.2271 | 11.0885 | 11.8274 | 15.8162 | 0.49085 | -1.1401
[32 empty] | Cycle 6 | 10.9483 | 11.9008 | 15.6754 | 10.6022 | 11.3089 | 15.1224 | 0.49656 | -1.1263
[32 empty] | Cycle 7 | 10.5849 | 11.5059 | 15.1551 | 10.1424 | 10.8187 | 14.4666 | 0.47944 | -1.1482
[32 empty] | Cycle 8 |  |  |  | 9.707 | 10.3546 | 13.8463
43 | GIRMS\IRMS-operator | 2026-07-14 10:50 | 2026-07-14 11:51 | Running | FALSE | MD23-3677Q - G. ruber | 356-358 | 43 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.003 V, 0.003 V |  | 12.611 V | 9.4999 kV | 96 µbar | 89 µbar | Carbon Dioxide: -0.0001 kV | 262 µbar | 12.660 V | 14.400 V | 317 µbar/min | 13.287 V | 1.18E-007 mbar | 14 % | 970 µbar | 72 °C | µ-Volume |  | Pre | 12.3308 | 13.4048 | 17.649 | 12.9088 | 13.7671 | 18.4107 | 0.75212 | -1.366 | 0.71109 | 0.029505 | 0.010432 | -1.3811 | 0.020094 | 0.0071045 | 0.81197 | 0.031465 | -1.3842 | 0.020106
[32 empty] | Cycle 1 | 11.8945 | 12.9309 | 17.0249 | 12.3153 | 13.1345 | 17.5646 | 0.75005 | -1.3588
[32 empty] | Cycle 2 | 11.4818 | 12.4824 | 16.4342 | 11.7494 | 12.5313 | 16.7575 | 0.70951 | -1.3818
[32 empty] | Cycle 3 | 11.0861 | 12.052 | 15.8683 | 11.2243 | 11.9719 | 16.0091 | 0.66095 | -1.3634
[32 empty] | Cycle 4 | 10.7075 | 11.6411 | 15.3262 | 10.731 | 11.4462 | 15.3057 | 0.69587 | -1.386
[32 empty] | Cycle 5 | 10.348 | 11.2506 | 14.8117 | 10.2661 | 10.9504 | 14.6428 | 0.70559 | -1.407
[32 empty] | Cycle 6 | 10.0003 | 10.8726 | 14.3141 | 9.8271 | 10.4823 | 14.017 | 0.71388 | -1.4131
[32 empty] | Cycle 7 | 9.6553 | 10.4976 | 13.821 | 9.4116 | 10.039 | 13.4245 | 0.7008 | -1.3728
[32 empty] | Cycle 8 |  |  |  | 9.0177 | 9.6193 | 12.8627
44 | GIRMS\IRMS-operator | 2026-07-14 11:20 | 2026-07-14 12:29 | Running | FALSE | MD23-3677Q - G. ruber | 352-354 | 44 | 2 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 11.984 V | 9.5000 kV | 89 µbar | 108 µbar | Carbon Dioxide: 0.0000 kV | 1,139 µbar | 11.985 V | 13.514 V | 552 µbar/min | 12.209 V | 1.14E-007 mbar | 14 % | 941 µbar | 72 °C | µ-Volume |  | Pre | 11.7261 | 12.7513 | 16.7841 | 12.2229 | 13.0356 | 17.4327 | 1.0277 | -1.3409 | 0.99937 | 0.016594 | 0.0058669 | -1.3768 | 0.021496 | 0.0076 | 1.1203 | 0.017093 | -1.3805 | 0.021488
[32 empty] | Cycle 1 | 11.3484 | 12.3408 | 16.2435 | 11.6724 | 12.4494 | 16.6476 | 0.9988 | -1.3601
[32 empty] | Cycle 2 | 10.982 | 11.9427 | 15.7192 | 11.1546 | 11.8973 | 15.9098 | 1.0001 | -1.3692
[32 empty] | Cycle 3 | 10.6268 | 11.557 | 15.211 | 10.6654 | 11.376 | 15.212 | 1.0111 | -1.3702
[32 empty] | Cycle 4 | 10.2925 | 11.1934 | 14.7323 | 10.2026 | 10.8827 | 14.5524 | 0.99208 | -1.3986
[32 empty] | Cycle 5 | 9.952 | 10.8234 | 14.2454 | 9.7636 | 10.4144 | 13.9261 | 0.9971 | -1.3762
[32 empty] | Cycle 6 | 9.6274 | 10.4705 | 13.7808 | 9.3487 | 9.9722 | 13.3346 | 0.99929 | -1.3945
[32 empty] | Cycle 7 | 9.3179 | 10.1337 | 13.3378 | 8.9569 | 9.5541 | 12.776 | 0.96888 | -1.4047
[32 empty] | Cycle 8 |  |  |  | 8.585 | 9.1579 | 12.2456
45 | GIRMS\IRMS-operator | 2026-07-14 11:51 | 2026-07-14 13:10 | Running | FALSE | MD23-3677Q - G. ruber | 348-350 | 45 | 1 | 24 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 12.166 V | 9.5002 kV | 91 µbar | 96 µbar | Carbon Dioxide: 0.0002 kV | 1,036 µbar | 11.205 V | 13.899 V | 498 µbar/min | 2.790 V | 1.08E-007 mbar | 18 % | 958 µbar | 72 °C | µ-Volume |  | Pre | 10.9716 | 11.9312 | 15.7021 | 11.3878 | 12.146 | 16.2422 | 0.97711 | -1.5154 | 0.97304 | 0.01171 | 0.0044259 | -1.5511 | 0.023121 | 0.0081744 | 1.0987 | 0.012202 | -1.555 | 0.023105
[32 empty] | Cycle 1 | 10.5923 | 11.519 | 15.1591 | 10.8826 | 11.6078 | 15.5218 | 0.98981 | -1.5354
[32 empty] | Cycle 2 | 10.2299 | 11.1256 | 14.6409 | 10.406 | 11.0991 | 14.8424 | 1.0545 | -1.5237
[32 empty] | Cycle 3 | 9.8786 | 10.7431 | 14.1379 | 9.9557 | 10.6191 | 14.2003 | 0.97892 | -1.57
[32 empty] | Cycle 4 | 9.5463 | 10.3819 | 13.6628 | 9.5299 | 10.1653 | 13.5935 | 0.95595 | -1.5578
[32 empty] | Cycle 5 | 9.2262 | 10.034 | 13.2046 | 9.1272 | 9.7363 | 13.0193 | 0.97516 | -1.5728
[32 empty] | Cycle 6 | 8.9182 | 9.6991 | 12.764 | 8.7471 | 9.3304 | 12.477 | 0.97505 | -1.5596
[32 empty] | Cycle 7 | 8.6232 | 9.3785 | 12.3417 | 8.3851 | 8.9447 | 11.9609 | 0.95927 | -1.5741
[32 empty] | Cycle 8 |  |  |  | 8.0416 | 8.5784 | 11.4709
46 | GIRMS\IRMS-operator | 2026-07-14 12:29 | 2026-07-14 13:40 | Running | FALSE | SHP2L |  | 46 | 2 | 24 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 5.224 V | 9.4999 kV | 89 µbar | 115 µbar | Carbon Dioxide: -0.0001 kV | 1,205 µbar | 5.132 V | 5.671 V | 723 µbar/min | 10.885 V | 6.85E-008 mbar | 45 % | 833 µbar | 72 °C | µ-Volume |  | Pre | 5.051 | 5.4843 | 7.1986 | 5.2271 | 5.5767 | 7.4563 | -0.85954 | -5.8089 | -0.76944 | 0.048538 | 0.017161 | -5.823 | 0.012663 | 0.004477 | -0.60776 | 0.051884 | -5.8275 | 0.012664
[32 empty] | Cycle 1 | 4.9157 | 5.3376 | 7.0055 | 5.0355 | 5.3728 | 7.1831 | -0.82016 | -5.8382
[32 empty] | Cycle 2 | 4.7844 | 5.195 | 6.8186 | 4.8533 | 5.1778 | 6.9231 | -0.74862 | -5.8148
[32 empty] | Cycle 3 | 4.6572 | 5.0569 | 6.6373 | 4.6783 | 4.991 | 6.6735 | -0.74681 | -5.8242
[32 empty] | Cycle 4 | 4.5316 | 4.9207 | 6.4583 | 4.5097 | 4.8111 | 6.4331 | -0.71059 | -5.8177
[32 empty] | Cycle 5 | 4.4105 | 4.789 | 6.2856 | 4.3486 | 4.6392 | 6.2032 | -0.77624 | -5.8428
[32 empty] | Cycle 6 | 4.2933 | 4.662 | 6.1189 | 4.194 | 4.4747 | 5.9828 | -0.73414 | -5.8096
[32 empty] | Cycle 7 | 4.1798 | 4.5386 | 5.9571 | 4.0457 | 4.3162 | 5.7713 | -0.75946 | -5.8281
[32 empty] | Cycle 8 |  |  |  | 3.9038 | 4.1649 | 5.5689