## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-05-21 16:15 | 2026-05-21 17:14 | Success | FALSE | SHP2L |  | 1 | 1 | 2 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 11.617 V | 9.5178 kV | 67 µbar | 106 µbar | Carbon Dioxide: 0.0178 kV | 921 µbar | 10.132 V | 13.339 V | 337 µbar/min | 2.302 V | 1.02E-007 mbar | 19 % | 846 µbar | 72 °C | µ-Volume |  | Pre | 9.9046 | 10.7537 | 14.1195 | 10.3273 | 11.0174 | 14.7375 | -0.82869 | -5.9556 | -0.81574 | 0.02738 | 0.0096804 | -5.9737 | 0.017814 | 0.0062981 | -0.65171 | 0.029456 | -5.9782 | 0.017847
[32 empty] | Cycle 1 | 9.568 | 10.3882 | 13.6397 | 9.8833 | 10.5439 | 14.1041 | -0.85274 | -5.9627
[32 empty] | Cycle 2 | 9.2431 | 10.0358 | 13.1763 | 9.4642 | 10.0972 | 13.5062 | -0.83945 | -5.9843
[32 empty] | Cycle 3 | 8.933 | 9.6993 | 12.7346 | 9.067 | 9.6735 | 12.9394 | -0.82067 | -5.9688
[32 empty] | Cycle 4 | 8.6334 | 9.3744 | 12.3079 | 8.6904 | 9.2716 | 12.4021 | -0.78374 | -5.9491
[32 empty] | Cycle 5 | 8.3442 | 9.0602 | 11.8952 | 8.3326 | 8.8901 | 11.8917 | -0.83022 | -5.979
[32 empty] | Cycle 6 | 8.0687 | 8.7611 | 11.5024 | 7.994 | 8.5291 | 11.4082 | -0.78169 | -5.9872
[32 empty] | Cycle 7 | 7.804 | 8.4736 | 11.125 | 7.672 | 8.1843 | 10.9488 | -0.7887 | -6.0024
[32 empty] | Cycle 8 |  |  |  | 7.3652 | 7.8583 | 10.5111
2 | GIRMS\IRMS-operator | 2026-05-21 16:49 | 2026-05-21 17:39 | Success | FALSE | MD23-3678 - G. ruber | 2297 | 2 | 2 | 2 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.927 V | 9.5178 kV | 106 µbar | 108 µbar | Carbon Dioxide: 0.0178 kV | 665 µbar | 11.045 V | 13.625 V | 127 µbar/min | 9.865 V | 1.08E-007 mbar | 17 % | 955 µbar | 72 °C | µ-Volume |  | Pre | 10.8107 | 11.7585 | 15.4858 | 11.2916 | 12.0451 | 16.1129 | 1.0392 | -1.1171 | 1.0146 | 0.014284 | 0.00505 | -1.1181 | 0.019395 | 0.006857 | 1.127 | 0.01568 | -1.1215 | 0.019433
[32 empty] | Cycle 1 | 10.434 | 11.349 | 14.9463 | 10.7923 | 11.513 | 15.4013 | 1.0246 | -1.1183
[32 empty] | Cycle 2 | 10.0744 | 10.958 | 14.4311 | 10.3222 | 11.0117 | 14.7296 | 1.0167 | -1.1304
[32 empty] | Cycle 3 | 9.7304 | 10.584 | 13.9383 | 9.8788 | 10.5388 | 14.0978 | 1.0227 | -1.1534
[32 empty] | Cycle 4 | 9.3993 | 10.2241 | 13.4648 | 9.4597 | 10.092 | 13.4996 | 1.0101 | -1.1034
[32 empty] | Cycle 5 | 9.08 | 9.877 | 13.0074 | 9.0633 | 9.6695 | 12.9342 | 0.9963 | -1.1011
[32 empty] | Cycle 6 | 8.7736 | 9.5437 | 12.5685 | 8.688 | 9.2694 | 12.3984 | 0.99796 | -1.0929
[32 empty] | Cycle 7 | 8.4787 | 9.2231 | 12.1459 | 8.3319 | 8.8892 | 11.8901 | 1.0097 | -1.1278
[32 empty] | Cycle 8 |  |  |  | 7.9933 | 8.5281 | 11.4075
3 | GIRMS\IRMS-operator | 2026-05-21 17:14 | 2026-05-21 18:14 | Success | FALSE | MD23-3678 - G. ruber | 2293 | 3 | 1 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 10.918 V | 9.5178 kV | 103 µbar | 120 µbar | Carbon Dioxide: 0.0178 kV | 1,004 µbar | 11.003 V | 12.365 V | 430 µbar/min | 10.658 V | 1.07E-007 mbar | 16 % | 919 µbar | 72 °C | µ-Volume |  | Pre | 10.6938 | 11.6291 | 15.3176 | 11.2704 | 12.0229 | 16.0829 | 0.83071 | -1.1614 | 0.83078 | 0.011766 | 0.0041598 | -1.1639 | 0.021636 | 0.0076495 | 0.932 | 0.012116 | -1.167 | 0.021643
[32 empty] | Cycle 1 | 10.3414 | 11.2462 | 14.8134 | 10.7724 | 11.4917 | 15.3726 | 0.8435 | -1.1427
[32 empty] | Cycle 2 | 10.0044 | 10.8799 | 14.3308 | 10.3038 | 10.992 | 14.7039 | 0.84625 | -1.1221
[32 empty] | Cycle 3 | 9.6796 | 10.5269 | 13.8653 | 9.8613 | 10.5201 | 14.0722 | 0.81969 | -1.1678
[32 empty] | Cycle 4 | 9.3662 | 10.1864 | 13.4167 | 9.4409 | 10.0724 | 13.4731 | 0.82002 | -1.171
[32 empty] | Cycle 5 | 9.0642 | 9.8579 | 12.9841 | 9.0438 | 9.6486 | 12.9065 | 0.834 | -1.1849
[32 empty] | Cycle 6 | 8.7688 | 9.5369 | 12.5612 | 8.6681 | 9.2476 | 12.3706 | 0.83773 | -1.1822
[32 empty] | Cycle 7 | 8.4855 | 9.2288 | 12.1553 | 8.3117 | 8.8679 | 11.862 | 0.81433 | -1.1792
[32 empty] | Cycle 8 |  |  |  | 7.9727 | 8.5061 | 11.378
4 | GIRMS\IRMS-operator | 2026-05-21 17:39 | 2026-05-21 18:48 | Success | FALSE | MD23-3678 - G. ruber | 2289 | 4 | 2 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 5.754 V | 9.5178 kV | 113 µbar | 103 µbar | Carbon Dioxide: 0.0178 kV | 721 µbar | 5.382 V | 6.400 V | 244 µbar/min | 10.620 V | 7.09E-008 mbar | 35 % | 853 µbar | 72 °C | µ-Volume |  | Pre | 5.3433 | 5.8129 | 7.6545 | 5.4723 | 5.839 | 7.81 | 0.9844 | -1.191 | 0.95076 | 0.027928 | 0.0098739 | -1.1789 | 0.022399 | 0.0079192 | 1.0609 | 0.029637 | -1.1824 | 0.022403
[32 empty] | Cycle 1 | 5.1839 | 5.6395 | 7.4261 | 5.2687 | 5.6218 | 7.5196 | 0.93457 | -1.1984
[32 empty] | Cycle 2 | 5.03 | 5.4721 | 7.2059 | 5.075 | 5.4155 | 7.2429 | 0.93272 | -1.1447
[32 empty] | Cycle 3 | 4.8809 | 5.31 | 6.9924 | 4.8891 | 5.217 | 6.9776 | 0.95714 | -1.1574
[32 empty] | Cycle 4 | 4.7367 | 5.153 | 6.7858 | 4.7121 | 5.0281 | 6.7254 | 0.95019 | -1.1718
[32 empty] | Cycle 5 | 4.5971 | 5.0012 | 6.5856 | 4.5426 | 4.8472 | 6.4833 | 0.9554 | -1.1886
[32 empty] | Cycle 6 | 4.4624 | 4.8548 | 6.3928 | 4.3809 | 4.6747 | 6.2526 | 0.98844 | -1.1679
[32 empty] | Cycle 7 | 4.3317 | 4.7123 | 6.2054 | 4.2259 | 4.5093 | 6.0313 | 0.90324 | -1.2118
[32 empty] | Cycle 8 |  |  |  | 4.0767 | 4.3503 | 5.8187
5 | GIRMS\IRMS-operator | 2026-05-21 18:14 | 2026-05-21 19:31 | Success | FALSE | MD23-3678 - G. ruber | 1173 | 5 | 1 | 4 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 16.653 V | 9.5181 kV | 98 µbar | 120 µbar | Carbon Dioxide: 0.0181 kV | 196 µbar | 16.450 V | 19.245 V | 171 µbar/min | 2.307 V | 1.43E-007 mbar | 10 % | 941 µbar | 72 °C | µ-Volume |  | Pre | 16.0999 | 17.51 | 23.0663 | 17.0405 | 18.1729 | 24.3157 | 1.206 | -0.90766 | 1.1055 | 0.026432 | 0.0099903 | -0.90931 | 0.021505 | 0.0076033 | 1.2165 | 0.027748 | -0.91281 | 0.021491
[32 empty] | Cycle 1 | 15.4968 | 16.8536 | 22.2029 | 16.1869 | 17.2636 | 23.0985 | 1.1298 | -0.88809
[32 empty] | Cycle 2 | 14.9199 | 16.2266 | 21.3754 | 15.3921 | 16.4164 | 21.964 | 1.1061 | -0.94153
[32 empty] | Cycle 3 | 14.3743 | 15.6336 | 20.5947 | 14.6474 | 15.6233 | 20.9019 | 1.0831 | -0.91413
[32 empty] | Cycle 4 | 13.8535 | 15.0677 | 19.8481 | 13.9506 | 14.8805 | 19.908 | 1.1019 | -0.92618
[32 empty] | Cycle 5 | 13.3564 | 14.528 | 19.1365 | 13.2975 | 14.184 | 18.9752 | 1.1387 | -0.8899
[32 empty] | Cycle 6 | 12.8763 | 14.0061 | 18.4493 | 12.6828 | 13.5289 | 18.0987 | 1.1164 | -0.88121
[32 empty] | Cycle 7 | 12.4215 | 13.5111 | 17.7972 | 12.103 | 12.9111 | 17.2718 | 1.0623 | -0.9258
[32 empty] | Cycle 8 |  |  |  | 11.5581 | 12.33 | 16.4941
6 | GIRMS\IRMS-operator | 2026-05-21 18:48 | 2026-05-21 19:56 | Success | FALSE | SHP2L |  | 6 | 2 | 4 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 8.412 V | 9.5176 kV | 118 µbar | 106 µbar | Carbon Dioxide: 0.0176 kV | 518 µbar | 7.971 V | 9.442 V | 210 µbar/min | 15.727 V | 8.72E-008 mbar | 25 % | 909 µbar | 72 °C | µ-Volume |  | Pre | 7.8653 | 8.5403 | 11.2119 | 8.1001 | 8.642 | 11.5594 | -0.79166 | -5.9821 | -0.7935 | 0.01204 | 0.0045508 | -5.9914 | 0.0058425 | 0.0022083 | -0.62712 | 0.013276 | -5.996 | 0.0058324
[32 empty] | Cycle 1 | 7.6169 | 8.2709 | 10.8579 | 7.7716 | 8.2915 | 11.0903 | -0.78354 | -5.9983
[32 empty] | Cycle 2 | 7.3777 | 8.0111 | 10.5172 | 7.4612 | 7.9605 | 10.6478 | -0.80382 | -5.9911
[32 empty] | Cycle 3 | 7.1462 | 7.7598 | 10.1871 | 7.1658 | 7.6453 | 10.226 | -0.80775 | -5.9896
[32 empty] | Cycle 4 | 6.9228 | 7.5176 | 9.8686 | 6.8851 | 7.3461 | 9.8256 | -0.77355 | -6.0241
[32 empty] | Cycle 5 | 6.7043 | 7.2801 | 9.5573 | 6.6177 | 7.0608 | 9.4444 | -0.80121 | -5.9882
[32 empty] | Cycle 6 | 6.4936 | 7.0511 | 9.2568 | 6.3621 | 6.7881 | 9.0792 | -0.84147 | -5.999
[32 empty] | Cycle 7 | 6.2911 | 6.8315 | 8.9685 | 6.1191 | 6.5289 | 8.7326 | -0.79296 | -5.9916
[32 empty] | Cycle 8 |  |  |  | 5.8868 | 6.2811 | 8.4015
7 | GIRMS\IRMS-operator | 2026-05-21 19:31 | 2026-05-21 20:31 | Success | FALSE | MD23-3678 - G. ruber | 1169 | 7 | 1 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 8.103 V | 9.5179 kV | 101 µbar | 120 µbar | Carbon Dioxide: 0.0179 kV | 1,007 µbar | 8.186 V | 9.095 V | 435 µbar/min | 7.766 V | 8.81E-008 mbar | 23 % | 870 µbar | 72 °C | µ-Volume |  | Pre | 7.9408 | 8.6387 | 11.3761 | 8.3342 | 8.8923 | 11.8939 | 1.0491 | -1.074 | 1.0641 | 0.010782 | 0.0040751 | -1.081 | 0.023957 | 0.00847 | 1.1786 | 0.011359 | -1.0845 | 0.023972
[32 empty] | Cycle 1 | 7.6945 | 8.3709 | 11.0231 | 7.9922 | 8.5271 | 11.4058 | 1.0744 | -1.1008
[32 empty] | Cycle 2 | 7.4571 | 8.1126 | 10.683 | 7.6692 | 8.1826 | 10.9449 | 1.0626 | -1.1129
[32 empty] | Cycle 3 | 7.2301 | 7.8658 | 10.3585 | 7.3631 | 7.8562 | 10.5085 | 1.0654 | -1.046
[32 empty] | Cycle 4 | 7.0094 | 7.6257 | 10.0422 | 7.0714 | 7.5449 | 10.0918 | 1.0705 | -1.0589
[32 empty] | Cycle 5 | 6.7966 | 7.3946 | 9.7372 | 6.7942 | 7.2491 | 9.6964 | 1.1143 | -1.073
[32 empty] | Cycle 6 | 6.5878 | 7.1673 | 9.438 | 6.5295 | 6.9669 | 9.3186 | 1.076 | -1.0739
[32 empty] | Cycle 7 | 6.3895 | 6.9513 | 9.1536 | 6.2786 | 6.6993 | 8.9604 | 1.0507 | -1.108
[32 empty] | Cycle 8 |  |  |  | 6.0399 | 6.4445 | 8.62
8 | GIRMS\IRMS-operator | 2026-05-21 19:56 | 2026-05-21 21:05 | Success | FALSE | MD23-3678 - G. ruber | 1161 | 8 | 2 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 12.409 V | 9.5178 kV | 108 µbar | 101 µbar | Carbon Dioxide: 0.0178 kV | 784 µbar | 11.508 V | 14.194 V | 210 µbar/min | 7.967 V | 1.11E-007 mbar | 15 % | 933 µbar | 72 °C | µ-Volume |  | Pre | 11.2717 | 12.2615 | 16.1536 | 11.8115 | 12.5995 | 16.8548 | 1.1864 | -0.64136 | 1.1504 | 0.020968 | 0.0074132 | -0.66129 | 0.020714 | 0.0073235 | 1.2554 | 0.022269 | -0.6646 | 0.020725
[32 empty] | Cycle 1 | 10.8775 | 11.8325 | 15.5882 | 11.2849 | 12.0381 | 16.1036 | 1.1445 | -0.65992
[32 empty] | Cycle 2 | 10.4973 | 11.4193 | 15.0438 | 10.7888 | 11.5093 | 15.3953 | 1.1418 | -0.62498
[32 empty] | Cycle 3 | 10.1353 | 11.0257 | 14.5248 | 10.32 | 11.0096 | 14.7265 | 1.1495 | -0.66338
[32 empty] | Cycle 4 | 9.785 | 10.6449 | 14.0228 | 9.8762 | 10.5359 | 14.0936 | 1.156 | -0.69243
[32 empty] | Cycle 5 | 9.449 | 10.2795 | 13.5416 | 9.4574 | 10.0896 | 13.4962 | 1.1467 | -0.67467
[32 empty] | Cycle 6 | 9.1293 | 9.9316 | 13.0835 | 9.0595 | 9.6653 | 12.9285 | 1.1129 | -0.67282
[32 empty] | Cycle 7 | 8.8211 | 9.597 | 12.6422 | 8.6828 | 9.2635 | 12.3909 | 1.1651 | -0.66079
[32 empty] | Cycle 8 |  |  |  | 8.3248 | 8.8818 | 11.8804
9 | GIRMS\IRMS-operator | 2026-05-21 20:31 | 2026-05-21 21:50 | Success | FALSE | MD23-3678 - G. ruber | 1157 | 9 | 1 | 6 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 10.907 V | 9.5180 kV | 96 µbar | 125 µbar | Carbon Dioxide: 0.0180 kV | 1,060 µbar | 9.576 V | 12.340 V | 488 µbar/min | 2.312 V | 9.72E-008 mbar | 21 % | 887 µbar | 72 °C | µ-Volume |  | Pre | 9.383 | 10.2074 | 13.4493 | 9.7527 | 10.4047 | 13.9181 | 1.1071 | -0.53068 | 1.0918 | 0.016174 | 0.0057185 | -0.53375 | 0.020176 | 0.0071332 | 1.188 | 0.017617 | -0.53679 | 0.020212
[32 empty] | Cycle 1 | 9.0724 | 9.8696 | 13.004 | 9.3376 | 9.962 | 13.3255 | 1.0959 | -0.53532
[32 empty] | Cycle 2 | 8.779 | 9.5505 | 12.5839 | 8.9449 | 9.5434 | 12.7653 | 1.0767 | -0.50984
[32 empty] | Cycle 3 | 8.4953 | 9.2419 | 12.1772 | 8.5738 | 9.1476 | 12.2358 | 1.0766 | -0.52662
[32 empty] | Cycle 4 | 8.223 | 8.9459 | 11.7872 | 8.2229 | 8.7732 | 11.735 | 1.094 | -0.5064
[32 empty] | Cycle 5 | 7.9616 | 8.6616 | 11.4122 | 7.8897 | 8.4178 | 11.2597 | 1.0863 | -0.56033
[32 empty] | Cycle 6 | 7.7109 | 8.3889 | 11.0531 | 7.5741 | 8.0811 | 10.8097 | 1.0766 | -0.54027
[32 empty] | Cycle 7 | 7.469 | 8.1261 | 10.706 | 7.2737 | 7.7607 | 10.3807 | 1.121 | -0.56055
[32 empty] | Cycle 8 |  |  |  | 6.9876 | 7.4556 | 9.9725
10 | GIRMS\IRMS-operator | 2026-05-21 21:05 | 2026-05-21 22:16 | Success | FALSE | MD23-3678 - G. ruber | 1153 | 10 | 2 | 6 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 12.195 V | 9.5178 kV | 111 µbar | 103 µbar | Carbon Dioxide: 0.0178 kV | 843 µbar | 11.327 V | 13.920 V | 254 µbar/min | 9.339 V | 1.09E-007 mbar | 17 % | 933 µbar | 73 °C | µ-Volume |  | Pre | 11.091 | 12.0638 | 15.8888 | 11.5888 | 12.3623 | 16.5366 | 1.0667 | -0.9767 | 1.0726 | 0.0095977 | 0.0036276 | -0.98796 | 0.022951 | 0.0081143 | 1.1843 | 0.0099336 | -0.99143 | 0.022971
[32 empty] | Cycle 1 | 10.7046 | 11.6438 | 15.3353 | 11.0748 | 11.8143 | 15.8032 | 1.0773 | -0.997
[32 empty] | Cycle 2 | 10.3378 | 11.2449 | 14.8101 | 10.5879 | 11.2949 | 15.1091 | 1.0592 | -0.99103
[32 empty] | Cycle 3 | 9.9817 | 10.8579 | 14.2996 | 10.1279 | 10.8048 | 14.4526 | 1.0739 | -1.0213
[32 empty] | Cycle 4 | 9.6416 | 10.4882 | 13.8134 | 9.6946 | 10.3423 | 13.8345 | 1.09 | -0.95152
[32 empty] | Cycle 5 | 9.3119 | 10.13 | 13.3407 | 9.2846 | 9.9052 | 13.2491 | 1.0713 | -0.97049
[32 empty] | Cycle 6 | 8.998 | 9.7884 | 12.8911 | 8.8956 | 9.4912 | 12.6941 | 1.0301 | -0.98153
[32 empty] | Cycle 7 | 8.6966 | 9.4606 | 12.4592 | 8.5265 | 9.0969 | 12.1679 | 1.0696 | -1.0142
[32 empty] | Cycle 8 |  |  |  | 8.178 | 8.725 | 11.6705
11 | GIRMS\IRMS-operator | 2026-05-21 21:50 | 2026-05-21 22:49 | Success | FALSE | SHP2L |  | 11 | 1 | 7 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 13.451 V | 9.5178 kV | 96 µbar | 120 µbar | Carbon Dioxide: 0.0178 kV | 1,014 µbar | 13.515 V | 15.363 V | 459 µbar/min | 10.910 V | 1.24E-007 mbar | 12 % | 916 µbar | 72 °C | µ-Volume |  | Pre | 13.1433 | 14.2677 | 18.7334 | 13.933 | 14.8607 | 19.8807 | -0.77136 | -6.0054 | -0.79766 | 0.021116 | 0.0074656 | -6.0119 | 0.010232 | 0.0036176 | -0.63095 | 0.022404 | -6.0166 | 0.010219
[32 empty] | Cycle 1 | 12.6782 | 13.7637 | 18.0707 | 13.2764 | 14.161 | 18.9443 | -0.76979 | -6.0123
[32 empty] | Cycle 2 | 12.241 | 13.2889 | 17.4477 | 12.6624 | 13.5069 | 18.0682 | -0.81062 | -6.0138
[32 empty] | Cycle 3 | 11.8197 | 12.8321 | 16.8478 | 12.0855 | 12.8916 | 17.2455 | -0.78685 | -5.9951
[32 empty] | Cycle 4 | 11.4157 | 12.3937 | 16.2718 | 11.5441 | 12.3144 | 16.473 | -0.79001 | -6.0115
[32 empty] | Cycle 5 | 11.0316 | 11.9768 | 15.7245 | 11.0332 | 11.7696 | 15.7441 | -0.8086 | -6.0205
[32 empty] | Cycle 6 | 10.6579 | 11.5711 | 15.1923 | 10.5527 | 11.2574 | 15.059 | -0.82257 | -6.0074
[32 empty] | Cycle 7 | 10.2985 | 11.1812 | 14.6797 | 10.0979 | 10.7724 | 14.41 | -0.82151 | -6.0295
[32 empty] | Cycle 8 |  |  |  | 9.6674 | 10.3134 | 13.7957
12 | GIRMS\IRMS-operator | 2026-05-21 22:16 | 2026-05-21 23:22 | Success | FALSE | MD23-3678 - G. ruber | 1149 | 12 | 2 | 7 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 9.070 V | 9.5177 kV | 108 µbar | 98 µbar | Carbon Dioxide: 0.0177 kV | 587 µbar | 8.838 V | 10.222 V | 230 µbar/min | 12.947 V | 9.30E-008 mbar | 20 % | 892 µbar | 72 °C | µ-Volume |  | Pre | 8.6974 | 9.4615 | 12.4577 | 9.0147 | 9.6175 | 12.8641 | 1.0799 | -1.1954 | 1.1045 | 0.021305 | 0.0075326 | -1.1691 | 0.013821 | 0.0048866 | 1.2251 | 0.022598 | -1.1729 | 0.013817
[32 empty] | Cycle 1 | 8.4122 | 9.1514 | 12.0495 | 8.639 | 9.2171 | 12.3282 | 1.0843 | -1.1718
[32 empty] | Cycle 2 | 8.1358 | 8.8512 | 11.6537 | 8.2837 | 8.8377 | 11.8211 | 1.1426 | -1.1637
[32 empty] | Cycle 3 | 7.8733 | 8.5653 | 11.2777 | 7.9474 | 8.4791 | 11.341 | 1.1086 | -1.1678
[32 empty] | Cycle 4 | 7.6175 | 8.2871 | 10.9117 | 7.6275 | 8.1378 | 10.8851 | 1.0925 | -1.163
[32 empty] | Cycle 5 | 7.3717 | 8.0199 | 10.5594 | 7.3228 | 7.8129 | 10.4502 | 1.0998 | -1.1765
[32 empty] | Cycle 6 | 7.1356 | 7.7633 | 10.2214 | 7.033 | 7.5039 | 10.0365 | 1.1014 | -1.1465
[32 empty] | Cycle 7 | 6.9065 | 7.5143 | 9.8931 | 6.7589 | 7.2117 | 9.6454 | 1.1273 | -1.1683
[32 empty] | Cycle 8 |  |  |  | 6.4958 | 6.9307 | 9.27
13 | GIRMS\IRMS-operator | 2026-05-21 22:49 | 2026-05-22 00:07 | Success | FALSE | MD23-3678 - G. ruber | 1141 | 13 | 1 | 8 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 10.090 V | 9.5179 kV | 93 µbar | 142 µbar | Carbon Dioxide: 0.0179 kV | 1,178 µbar | 9.567 V | 11.385 V | 821 µbar/min | 2.313 V | 9.82E-008 mbar | 21 % | 880 µbar | 72 °C | µ-Volume |  | Pre | 9.2922 | 10.1099 | 13.3114 | 9.7453 | 10.3967 | 13.9073 | 1.2371 | -1.1024 | 1.2126 | 0.028003 | 0.0099006 | -1.1117 | 0.026881 | 0.009504 | 1.3386 | 0.029592 | -1.1156 | 0.026886
[32 empty] | Cycle 1 | 8.9919 | 9.7831 | 12.8815 | 9.331 | 9.9549 | 13.3159 | 1.2182 | -1.0778
[32 empty] | Cycle 2 | 8.7007 | 9.4668 | 12.4644 | 8.9398 | 9.5377 | 12.758 | 1.2404 | -1.1157
[32 empty] | Cycle 3 | 8.4208 | 9.1623 | 12.0633 | 8.5681 | 9.1414 | 12.228 | 1.2267 | -1.1453
[32 empty] | Cycle 4 | 8.152 | 8.8693 | 11.6781 | 8.2164 | 8.7663 | 11.7263 | 1.1638 | -1.1524
[32 empty] | Cycle 5 | 7.8925 | 8.5875 | 11.3069 | 7.8827 | 8.4104 | 11.2498 | 1.2175 | -1.08
[32 empty] | Cycle 6 | 7.6427 | 8.3158 | 10.9488 | 7.5656 | 8.072 | 10.797 | 1.2218 | -1.1074
[32 empty] | Cycle 7 | 7.4035 | 8.0554 | 10.6062 | 7.264 | 7.7505 | 10.3669 | 1.1752 | -1.1126
[32 empty] | Cycle 8 |  |  |  | 6.9771 | 7.4444 | 9.9573
14 | GIRMS\IRMS-operator | 2026-05-21 23:22 | 2026-05-22 00:31 | Success | FALSE | MD23-3678 - G. ruber | 1137 | 14 | 2 | 8 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 18.788 V | 9.5178 kV | 113 µbar | 106 µbar | Carbon Dioxide: 0.0178 kV | 728 µbar | 15.931 V | 21.965 V | 205 µbar/min | 9.319 V | 1.39E-007 mbar | 10 % | 980 µbar | 72 °C | µ-Volume | 17.220 V | Pre | 18.3296 | 19.9275 | 26.2653 | 16.5019 | 17.5979 | 23.5445 | 0.87879 | -0.62366 | 0.87324 | 0.01716 | 0.0060671 | -0.6448 | 0.012904 | 0.0045624 | 0.95823 | 0.01837 | -0.64747 | 0.012918
[32 empty] | Cycle 1 | 17.5995 | 19.1346 | 25.2196 | 15.6822 | 16.7243 | 22.3758 | 0.86665 | -0.62937
[32 empty] | Cycle 2 | 16.9111 | 18.3871 | 24.233 | 14.9237 | 15.9168 | 21.294 | 0.85682 | -0.65573
[32 empty] | Cycle 3 | 16.2549 | 17.6748 | 23.2931 | 14.2115 | 15.1577 | 20.2782 | 0.88871 | -0.64892
[32 empty] | Cycle 4 | 15.6272 | 16.9921 | 22.394 | 13.5439 | 14.4461 | 19.3256 | 0.84046 | -0.64758
[32 empty] | Cycle 5 | 15.0251 | 16.3387 | 21.5316 | 12.9161 | 13.7771 | 18.4303 | 0.88403 | -0.64715
[32 empty] | Cycle 6 | 14.459 | 15.7236 | 20.721 | 12.3255 | 13.1474 | 17.5878 | 0.88496 | -0.64312
[32 empty] | Cycle 7 | 13.9119 | 15.129 | 19.937 | 11.7703 | 12.5556 | 16.7962 | 0.88548 | -0.66291
[32 empty] | Cycle 8 |  |  |  | 11.2453 | 11.9959 | 16.0472
15 | GIRMS\IRMS-operator | 2026-05-22 00:07 | 2026-05-22 01:07 | Success | FALSE | MD23-3678 - G. ruber | 1133 | 15 | 1 | 9 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 14.578 V | 9.5177 kV | 98 µbar | 132 µbar | Carbon Dioxide: 0.0177 kV | 1,175 µbar | 14.561 V | 16.818 V | 747 µbar/min | 15.134 V | 1.31E-007 mbar | 11 % | 929 µbar | 72 °C | µ-Volume |  | Pre | 14.328 | 15.5808 | 20.5316 | 15.0617 | 16.063 | 21.4897 | 1.0598 | -0.59674 | 1.0126 | 0.027159 | 0.0096021 | -0.6076 | 0.013263 | 0.0046891 | 1.106 | 0.028689 | -0.61054 | 0.01323
[32 empty] | Cycle 1 | 13.8109 | 15.0189 | 19.7913 | 14.3377 | 15.2915 | 20.4575 | 1.0351 | -0.59196
[32 empty] | Cycle 2 | 13.3237 | 14.4898 | 19.0932 | 13.6602 | 14.5697 | 19.4908 | 1.0324 | -0.60287
[32 empty] | Cycle 3 | 12.8522 | 13.9769 | 18.4174 | 13.0243 | 13.8921 | 18.5839 | 0.99535 | -0.62291
[32 empty] | Cycle 4 | 12.4126 | 13.4992 | 17.7879 | 12.4261 | 13.2542 | 17.7303 | 0.99227 | -0.60545
[32 empty] | Cycle 5 | 11.9796 | 13.029 | 17.1679 | 11.8648 | 12.6563 | 16.93 | 1.0123 | -0.59715
[32 empty] | Cycle 6 | 11.5644 | 12.5773 | 16.5724 | 11.3373 | 12.0936 | 16.1775 | 0.98596 | -0.62861
[32 empty] | Cycle 7 | 11.1699 | 12.1487 | 16.0074 | 10.8386 | 11.562 | 15.4657 | 0.98777 | -0.61514
[32 empty] | Cycle 8 |  |  |  | 10.3687 | 11.0612 | 14.7958
16 | GIRMS\IRMS-operator | 2026-05-22 00:31 | 2026-05-22 01:39 | Success | FALSE | SHP2L |  | 16 | 2 | 9 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 12.612 V | 9.5177 kV | 108 µbar | 101 µbar | Carbon Dioxide: 0.0177 kV | 723 µbar | 12.547 V | 14.426 V | 269 µbar/min | 13.884 V | 1.18E-007 mbar | 12 % | 931 µbar | 72 °C | µ-Volume |  | Pre | 12.3076 | 13.3604 | 17.5421 | 12.9306 | 13.792 | 18.4502 | -0.80941 | -5.9984 | -0.81061 | 0.024921 | 0.0088109 | -6.011 | 0.023401 | 0.0082736 | -0.64484 | 0.027198 | -6.0156 | 0.02346
[32 empty] | Cycle 1 | 11.8687 | 12.8847 | 16.9166 | 12.3378 | 13.1601 | 17.6047 | -0.80122 | -6.017
[32 empty] | Cycle 2 | 11.4481 | 12.4282 | 16.317 | 11.7795 | 12.5652 | 16.8083 | -0.81681 | -6.0258
[32 empty] | Cycle 3 | 11.0435 | 11.9899 | 15.7407 | 11.2545 | 12.0054 | 16.0592 | -0.76315 | -6.0183
[32 empty] | Cycle 4 | 10.6566 | 11.5697 | 15.189 | 10.7588 | 11.4769 | 15.3521 | -0.79495 | -6.0533
[32 empty] | Cycle 5 | 10.2865 | 11.1679 | 14.6623 | 10.2905 | 10.9775 | 14.6842 | -0.82316 | -6.0078
[32 empty] | Cycle 6 | 9.9313 | 10.7825 | 14.1562 | 9.8483 | 10.5062 | 14.0531 | -0.83292 | -5.9784
[32 empty] | Cycle 7 | 9.5857 | 10.4073 | 13.6636 | 9.4302 | 10.0604 | 13.4565 | -0.84327 | -5.9885
[32 empty] | Cycle 8 |  |  |  | 9.0334 | 9.6372 | 12.8906
17 | GIRMS\IRMS-operator | 2026-05-22 01:07 | 2026-05-22 02:26 | Success | FALSE | MD23-3678 - G. ruber | 1125 | 17 | 1 | 10 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 12.317 V | 9.5180 kV | 93 µbar | 145 µbar | Carbon Dioxide: 0.0180 kV | 1,192 µbar | 10.740 V | 14.032 V | 923 µbar/min | 2.309 V | 1.05E-007 mbar | 18 % | 894 µbar | 72 °C | µ-Volume |  | Pre | 10.5151 | 11.4368 | 15.0701 | 10.9617 | 11.6938 | 15.6423 | 0.98931 | -0.60376 | 0.99096 | 0.007081 | 0.0026764 | -0.59703 | 0.023199 | 0.0082022 | 1.0823 | 0.007446 | -0.5999 | 0.023207
[32 empty] | Cycle 1 | 10.1648 | 11.056 | 14.5681 | 10.4812 | 11.1813 | 14.9571 | 0.98747 | -0.63165
[32 empty] | Cycle 2 | 9.8281 | 10.6902 | 14.0864 | 10.0316 | 10.702 | 14.316 | 0.99818 | -0.58722
[32 empty] | Cycle 3 | 9.503 | 10.3367 | 13.6202 | 9.6046 | 10.2466 | 13.7064 | 0.9963 | -0.60748
[32 empty] | Cycle 4 | 9.1889 | 9.9952 | 13.1705 | 9.1988 | 9.8139 | 13.1277 | 0.99776 | -0.57101
[32 empty] | Cycle 5 | 8.8882 | 9.6685 | 12.7395 | 8.8153 | 9.4048 | 12.58 | 0.98925 | -0.56365
[32 empty] | Cycle 6 | 8.5994 | 9.3545 | 12.3254 | 8.4508 | 9.0167 | 12.06 | 0.97846 | -0.59204
[32 empty] | Cycle 7 | 8.32 | 9.0502 | 11.925 | 8.1054 | 8.648 | 11.5674 | 0.94526 | -0.61945
[32 empty] | Cycle 8 |  |  |  | 7.7764 | 8.2969 | 11.0981
18 | GIRMS\IRMS-operator | 2026-05-22 01:39 | 2026-05-22 02:50 | Success | FALSE | MD23-3678 - N. dutertri | 1173 | 18 | 2 | 10 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 21.556 V | 9.5179 kV | 111 µbar | 106 µbar | Carbon Dioxide: 0.0179 kV | 682 µbar | 15.700 V | 25.402 V | 186 µbar/min | 10.439 V | 1.39E-007 mbar | 10 % | 987 µbar | 72 °C | µ-Volume | 19.625 V | Pre | 20.9972 | 22.836 | 30.1092 | 16.256 | 17.3365 | 23.1944 | 1.195 | 0.062375 | 1.2323 | 0.026135 | 0.0092402 | 0.059219 | 0.012066 | 0.0042658 | 1.3164 | 0.028096 | 0.056497 | 0.012095
[32 empty] | Cycle 1 | 20.1231 | 21.8865 | 28.8566 | 15.4573 | 16.4855 | 22.0555 | 1.2166 | 0.076174
[32 empty] | Cycle 2 | 19.2926 | 20.9838 | 27.6658 | 14.7112 | 15.6899 | 20.9908 | 1.1973 | 0.061856
[32 empty] | Cycle 3 | 18.5098 | 20.1339 | 26.5438 | 14.011 | 14.9442 | 19.9925 | 1.2345 | 0.049095
[32 empty] | Cycle 4 | 17.7646 | 19.3242 | 25.4755 | 13.3538 | 14.2434 | 19.0552 | 1.2461 | 0.045915
[32 empty] | Cycle 5 | 17.062 | 18.5608 | 24.4681 | 12.7382 | 13.5875 | 18.177 | 1.2541 | 0.053647
[32 empty] | Cycle 6 | 16.3954 | 17.8363 | 23.5129 | 12.1596 | 12.9707 | 17.3512 | 1.258 | 0.07621
[32 empty] | Cycle 7 | 15.7503 | 17.135 | 22.5878 | 11.615 | 12.3903 | 16.5745 | 1.2565 | 0.048476
[32 empty] | Cycle 8 |  |  |  | 11.1003 | 11.8414 | 15.8406
19 | GIRMS\IRMS-operator | 2026-05-22 02:26 | 2026-05-22 03:26 | Success | FALSE | MD23-3678 - N. dutertri | 1169 | 19 | 1 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 16.954 V | 9.5178 kV | 98 µbar | 132 µbar | Carbon Dioxide: 0.0178 kV | 1,165 µbar | 14.868 V | 19.576 V | 728 µbar/min | 14.904 V | 1.33E-007 mbar | 10 % | 941 µbar | 72 °C | µ-Volume | 15.643 V | Pre | 16.571 | 18.0224 | 23.7648 | 15.3993 | 16.4225 | 21.9717 | 1.2137 | 0.17497 | 1.2254 | 0.025475 | 0.0090066 | 0.1823 | 0.0090088 | 0.0031851 | 1.3044 | 0.027247 | 0.17973 | 0.0090164
[32 empty] | Cycle 1 | 15.9573 | 17.3558 | 22.8855 | 14.6547 | 15.6294 | 20.9104 | 1.1958 | 0.18489
[32 empty] | Cycle 2 | 15.3701 | 16.7178 | 22.0433 | 13.9567 | 14.8862 | 19.9144 | 1.1851 | 0.18619
[32 empty] | Cycle 3 | 14.8142 | 16.1142 | 21.2463 | 13.3037 | 14.19 | 18.9826 | 1.2437 | 0.17873
[32 empty] | Cycle 4 | 14.2788 | 15.5322 | 20.479 | 12.6892 | 13.5343 | 18.1065 | 1.2563 | 0.18372
[32 empty] | Cycle 5 | 13.7687 | 14.9776 | 19.7478 | 12.1107 | 12.9179 | 17.2811 | 1.2363 | 0.19815
[32 empty] | Cycle 6 | 13.2694 | 14.4352 | 19.0317 | 11.5672 | 12.3386 | 16.5057 | 1.2476 | 0.1844
[32 empty] | Cycle 7 | 12.8053 | 13.9305 | 18.3662 | 11.0538 | 11.7914 | 15.7735 | 1.2245 | 0.16739
[32 empty] | Cycle 8 |  |  |  | 10.5703 | 11.2758 | 15.0837
20 | GIRMS\IRMS-operator | 2026-05-22 02:50 | 2026-05-22 03:58 | Success | FALSE | MD23-3678 - N. dutertri | 1161 | 20 | 2 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 12.174 V | 9.5177 kV | 108 µbar | 101 µbar | Carbon Dioxide: 0.0177 kV | 521 µbar | 12.113 V | 13.908 V | 147 µbar/min | 14.150 V | 1.15E-007 mbar | 13 % | 936 µbar | 72 °C | µ-Volume |  | Pre | 11.8906 | 12.94 | 17.0533 | 12.4722 | 13.303 | 17.7969 | 1.6751 | 0.1455 | 1.6941 | 0.012503 | 0.0044206 | 0.14831 | 0.0083929 | 0.0031722 | 1.8071 | 0.013456 | 0.14464 | 0.0084036
[32 empty] | Cycle 1 | 11.4739 | 12.4874 | 16.4557 | 11.9068 | 12.7006 | 16.9904 | 1.6828 | 0.14922
[32 empty] | Cycle 2 | 11.0755 | 12.0542 | 15.8849 | 11.3751 | 12.1343 | 16.2314 | 1.6906 | 0.18365
[32 empty] | Cycle 3 | 10.6927 | 11.6377 | 15.3359 | 10.8747 | 11.6004 | 15.5177 | 1.6864 | 0.15469
[32 empty] | Cycle 4 | 10.325 | 11.2378 | 14.8089 | 10.4028 | 11.0972 | 14.8448 | 1.6963 | 0.15182
[32 empty] | Cycle 5 | 9.9676 | 10.8492 | 14.2963 | 9.9564 | 10.6214 | 14.2081 | 1.7043 | 0.13061
[32 empty] | Cycle 6 | 9.6339 | 10.4863 | 13.8178 | 9.5323 | 10.1692 | 13.6032 | 1.7069 | 0.15276
[32 empty] | Cycle 7 | 9.2988 | 10.1217 | 13.337 | 9.1305 | 9.7407 | 13.0293 | 1.7103 | 0.15359
[32 empty] | Cycle 8 |  |  |  | 8.7503 | 9.3353 | 12.4871
21 | GIRMS\IRMS-operator | 2026-05-22 03:26 | 2026-05-22 04:44 | Success | FALSE | SHP2L |  | 21 | 1 | 12 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 11.087 V | 9.5181 kV | 96 µbar | 120 µbar | Carbon Dioxide: 0.0181 kV | 1,148 µbar | 9.720 V | 12.601 V | 679 µbar/min | 2.318 V | 9.91E-008 mbar | 20 % | 894 µbar | 72 °C | µ-Volume |  | Pre | 9.5172 | 10.3337 | 13.5674 | 9.8983 | 10.5599 | 14.1257 | -0.77477 | -5.9571 | -0.76166 | 0.052735 | 0.018645 | -5.9856 | 0.01712 | 0.006053 | -0.5934 | 0.056377 | -5.9903 | 0.017129
[32 empty] | Cycle 1 | 9.2028 | 9.9928 | 13.119 | 9.4756 | 10.1091 | 13.5224 | -0.75744 | -5.9962
[32 empty] | Cycle 2 | 8.9035 | 9.6677 | 12.6926 | 9.0779 | 9.685 | 12.9553 | -0.7836 | -5.9725
[32 empty] | Cycle 3 | 8.6148 | 9.3542 | 12.2809 | 8.7022 | 9.2844 | 12.4188 | -0.80469 | -5.9999
[32 empty] | Cycle 4 | 8.3365 | 9.0523 | 11.8843 | 8.3456 | 8.9041 | 11.9105 | -0.81038 | -6.0068
[32 empty] | Cycle 5 | 8.0673 | 8.7601 | 11.5009 | 8.0075 | 8.5439 | 11.4279 | -0.6821 | -5.9751
[32 empty] | Cycle 6 | 7.8087 | 8.4794 | 11.132 | 7.6855 | 8.1979 | 10.9684 | -0.67968 | -5.9977
[32 empty] | Cycle 7 | 7.5583 | 8.2077 | 10.7753 | 7.3787 | 7.8729 | 10.5305 | -0.80065 | -5.9793
[32 empty] | Cycle 8 |  |  |  | 7.0866 | 7.5614 | 10.1139
22 | GIRMS\IRMS-operator | 2026-05-22 03:58 | 2026-05-22 05:09 | Success | FALSE | MD23-3678 - N. dutertri | 1157 | 22 | 2 | 12 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 21.328 V | 9.5180 kV | 101 µbar | 98 µbar | Carbon Dioxide: 0.0180 kV | 865 µbar | 15.802 V | 25.149 V | 313 µbar/min | 9.478 V | 1.39E-007 mbar | 10 % | 968 µbar | 72 °C | µ-Volume | 19.419 V | Pre | 20.7738 | 22.5957 | 29.7847 | 16.3604 | 17.4468 | 23.3434 | 1.3634 | -0.077451 | 1.3719 | 0.027798 | 0.0098281 | -0.084943 | 0.011447 | 0.0040473 | 1.4711 | 0.029703 | -0.088134 | 0.011453
[32 empty] | Cycle 1 | 19.907 | 21.6537 | 28.5419 | 15.5548 | 16.5886 | 22.1943 | 1.3376 | -0.074443
[32 empty] | Cycle 2 | 19.0858 | 20.7613 | 27.3649 | 14.8024 | 15.7875 | 21.1206 | 1.3319 | -0.091753
[32 empty] | Cycle 3 | 18.31 | 19.9183 | 26.2527 | 14.0972 | 15.0354 | 20.1157 | 1.3653 | -0.10688
[32 empty] | Cycle 4 | 17.5731 | 19.118 | 25.197 | 13.436 | 14.3306 | 19.1718 | 1.3906 | -0.086802
[32 empty] | Cycle 5 | 16.8705 | 18.3548 | 24.1898 | 12.8128 | 13.6665 | 18.2832 | 1.3961 | -0.091285
[32 empty] | Cycle 6 | 16.2051 | 17.6312 | 23.2364 | 12.2284 | 13.0442 | 17.4493 | 1.3792 | -0.075122
[32 empty] | Cycle 7 | 15.5725 | 16.9435 | 22.3296 | 11.6789 | 12.4579 | 16.6656 | 1.411 | -0.07581
[32 empty] | Cycle 8 |  |  |  | 11.1615 | 11.9063 | 15.9274
23 | GIRMS\IRMS-operator | 2026-05-22 04:44 | 2026-05-22 05:46 | Success | FALSE | MD23-3678 - N. dutertri | 1153 | 23 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 18.895 V | 9.5177 kV | 91 µbar | 123 µbar | Carbon Dioxide: 0.0177 kV | 1,156 µbar | 14.935 V | 21.950 V | 806 µbar/min | 14.976 V | 1.34E-007 mbar | 10 % | 931 µbar | 72 °C | µ-Volume | 17.400 V | Pre | 18.4694 | 20.0916 | 26.491 | 15.4679 | 16.4955 | 22.0687 | 1.4757 | 0.36557 | 1.4793 | 0.010739 | 0.0037967 | 0.35175 | 0.014167 | 0.0050088 | 1.5699 | 0.011346 | 0.34878 | 0.014175
[32 empty] | Cycle 1 | 17.7694 | 19.331 | 25.4873 | 14.7192 | 15.6972 | 21.0009 | 1.4881 | 0.36245
[32 empty] | Cycle 2 | 17.0949 | 18.598 | 24.52 | 14.02 | 14.9525 | 20.0038 | 1.4801 | 0.35111
[32 empty] | Cycle 3 | 16.4703 | 17.9198 | 23.625 | 13.3606 | 14.2499 | 19.0633 | 1.5007 | 0.35789
[32 empty] | Cycle 4 | 15.8528 | 17.248 | 22.7392 | 12.7432 | 13.5921 | 18.1831 | 1.4698 | 0.32445
[32 empty] | Cycle 5 | 15.2654 | 16.6098 | 21.8974 | 12.1624 | 12.9729 | 17.3548 | 1.4752 | 0.34332
[32 empty] | Cycle 6 | 14.7051 | 16.0009 | 21.0938 | 11.6151 | 12.39 | 16.5737 | 1.4775 | 0.34391
[32 empty] | Cycle 7 | 14.1771 | 15.4264 | 20.3368 | 11.0998 | 11.8405 | 15.8388 | 1.4671 | 0.3653
[32 empty] | Cycle 8 |  |  |  | 10.6145 | 11.3229 | 15.1459
24 | GIRMS\IRMS-operator | 2026-05-22 05:09 | 2026-05-22 06:18 | Success | FALSE | MD23-3678 - N. dutertri | 1149 | 24 | 2 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 19.395 V | 9.5177 kV | 106 µbar | 101 µbar | Carbon Dioxide: 0.0177 kV | 377 µbar | 14.198 V | 22.694 V | 210 µbar/min | 14.236 V | 1.29E-007 mbar | 10 % | 980 µbar | 72 °C | µ-Volume | 17.748 V | Pre | 18.9176 | 20.5773 | 27.1253 | 14.7062 | 15.6842 | 20.9833 | 1.3177 | 0.00247 | 1.3616 | 0.044663 | 0.015791 | 0.010597 | 0.012664 | 0.0044773 | 1.4565 | 0.047819 | 0.0075311 | 0.012683
[32 empty] | Cycle 1 | 18.1585 | 19.7522 | 26.0375 | 14.0074 | 14.9393 | 19.9862 | 1.2925 | 0.015119
[32 empty] | Cycle 2 | 17.4356 | 18.967 | 25.001 | 13.3512 | 14.2407 | 19.0503 | 1.3323 | 0.010522
[32 empty] | Cycle 3 | 16.7481 | 18.2196 | 24.0152 | 12.7352 | 13.583 | 18.1714 | 1.3627 | -0.00029804
[32 empty] | Cycle 4 | 16.1007 | 17.517 | 23.0872 | 12.1546 | 12.9643 | 17.3432 | 1.4228 | -0.0096911
[32 empty] | Cycle 5 | 15.4776 | 16.839 | 22.1949 | 11.6078 | 12.3813 | 16.5634 | 1.3701 | 0.022695
[32 empty] | Cycle 6 | 14.8875 | 16.198 | 21.3487 | 11.0942 | 11.8344 | 15.8308 | 1.3926 | 0.014897
[32 empty] | Cycle 7 | 14.3213 | 15.5824 | 20.5372 | 10.6093 | 11.3171 | 15.1388 | 1.4019 | 0.029062
[32 empty] | Cycle 8 |  |  |  | 10.1511 | 10.8288 | 14.4853
25 | GIRMS\IRMS-operator | 2026-05-22 05:46 | 2026-05-22 07:03 | Success | FALSE | MD23-3678 - N. dutertri | 1141 | 25 | 1 | 14 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 12.698 V | 9.5181 kV | 98 µbar | 125 µbar | Carbon Dioxide: 0.0181 kV | 1,146 µbar | 11.117 V | 14.504 V | 767 µbar/min | 2.308 V | 1.08E-007 mbar | 17 % | 911 µbar | 72 °C | µ-Volume |  | Pre | 10.8815 | 11.8409 | 15.6048 | 11.3582 | 12.117 | 16.2086 | 1.4262 | -0.014723 | 1.4666 | 0.026696 | 0.0094385 | -0.038301 | 0.018578 | 0.0065683 | 1.5707 | 0.029054 | -0.041656 | 0.01864
[32 empty] | Cycle 1 | 10.512 | 11.4391 | 15.0752 | 10.858 | 11.5838 | 15.4949 | 1.437 | -0.023207
[32 empty] | Cycle 2 | 10.1583 | 11.0546 | 14.5679 | 10.3862 | 11.0803 | 14.8224 | 1.4848 | -0.039412
[32 empty] | Cycle 3 | 9.8161 | 10.6826 | 14.077 | 9.9389 | 10.6032 | 14.1839 | 1.505 | -0.059077
[32 empty] | Cycle 4 | 9.4878 | 10.3251 | 13.6065 | 9.5169 | 10.1531 | 13.582 | 1.4657 | -0.06741
[32 empty] | Cycle 5 | 9.1735 | 9.9832 | 13.156 | 9.1163 | 9.7259 | 13.0106 | 1.4624 | -0.037862
[32 empty] | Cycle 6 | 8.8699 | 9.6533 | 12.7204 | 8.7362 | 9.3206 | 12.4676 | 1.4914 | -0.044214
[32 empty] | Cycle 7 | 8.5788 | 9.3364 | 12.3034 | 8.3761 | 8.9366 | 11.954 | 1.4604 | -0.0205
[32 empty] | Cycle 8 |  |  |  | 8.0344 | 8.5722 | 11.4664
26 | GIRMS\IRMS-operator | 2026-05-22 06:18 | 2026-05-22 07:29 | Success | FALSE | SHP2L |  | 26 | 2 | 14 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 6.785 V | 9.5179 kV | 103 µbar | 98 µbar | Carbon Dioxide: 0.0179 kV | 892 µbar | 6.355 V | 7.584 V | 288 µbar/min | 10.786 V | 7.67E-008 mbar | 31 % | 853 µbar | 72 °C | µ-Volume |  | Pre | 6.2854 | 6.8253 | 8.961 | 6.4469 | 6.8788 | 9.2007 | -0.80555 | -5.9111 | -0.78067 | 0.025271 | 0.0089347 | -5.9536 | 0.024133 | 0.0085324 | -0.61493 | 0.027323 | -5.9582 | 0.024176
[32 empty] | Cycle 1 | 6.0941 | 6.6175 | 8.6878 | 6.1994 | 6.6147 | 8.8474 | -0.79463 | -5.9622
[32 empty] | Cycle 2 | 5.9095 | 6.4171 | 8.425 | 5.964 | 6.3632 | 8.5115 | -0.81122 | -5.9504
[32 empty] | Cycle 3 | 5.7308 | 6.2233 | 8.1702 | 5.74 | 6.1247 | 8.192 | -0.79595 | -5.9547
[32 empty] | Cycle 4 | 5.5559 | 6.0337 | 7.9206 | 5.5256 | 5.8959 | 7.8859 | -0.76713 | -5.9967
[32 empty] | Cycle 5 | 5.386 | 5.8493 | 7.6787 | 5.3201 | 5.6768 | 7.5929 | -0.75811 | -5.965
[32 empty] | Cycle 6 | 5.222 | 5.6709 | 7.445 | 5.1241 | 5.4675 | 7.3131 | -0.77398 | -5.9474
[32 empty] | Cycle 7 | 5.0632 | 5.4987 | 7.2186 | 4.9365 | 5.2671 | 7.0451 | -0.73881 | -5.9408
[32 empty] | Cycle 8 |  |  |  | 4.7565 | 5.0755 | 6.7886
27 | GIRMS\IRMS-operator | 2026-05-22 07:03 | 2026-05-22 08:05 | Success | FALSE | MD23-3678 - N. dutertri | 1137 | 27 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 21.464 V | 9.5180 kV | 93 µbar | 130 µbar | Carbon Dioxide: 0.0180 kV | 1,158 µbar | 15.140 V | 25.161 V | 772 µbar/min | 6.218 V | 1.34E-007 mbar | 10 % | 933 µbar | 72 °C | µ-Volume | 19.616 V | Pre | 20.9102 | 22.7445 | 29.9869 | 15.6693 | 16.7111 | 22.3577 | 1.3182 | 0.13603 | 1.3613 | 0.035498 | 0.01255 | 0.13006 | 0.0049002 | 0.0017325 | 1.4518 | 0.038011 | 0.12712 | 0.004918
[32 empty] | Cycle 1 | 20.0684 | 21.8302 | 28.7798 | 14.9097 | 15.9015 | 21.2739 | 1.323 | 0.13032
[32 empty] | Cycle 2 | 19.2852 | 20.9794 | 27.657 | 14.1989 | 15.1445 | 20.26 | 1.342 | 0.12935
[32 empty] | Cycle 3 | 18.5323 | 20.1615 | 26.5779 | 13.5322 | 14.4336 | 19.3092 | 1.3634 | 0.13674
[32 empty] | Cycle 4 | 17.8134 | 19.3797 | 25.5466 | 12.906 | 13.7664 | 18.4157 | 1.3552 | 0.1226
[32 empty] | Cycle 5 | 17.1366 | 18.6441 | 24.5769 | 12.3172 | 13.1384 | 17.5758 | 1.3684 | 0.12531
[32 empty] | Cycle 6 | 16.4767 | 17.9273 | 23.6311 | 11.7623 | 12.5471 | 16.7848 | 1.399 | 0.12793
[32 empty] | Cycle 7 | 15.8554 | 17.2521 | 22.74 | 11.2396 | 11.9896 | 16.0387 | 1.4214 | 0.13218
[32 empty] | Cycle 8 |  |  |  | 10.7444 | 11.4619 | 15.3321
28 | GIRMS\IRMS-operator | 2026-05-22 07:29 | 2026-05-22 08:38 | Success | FALSE | MD23-3678 - N. dutertri | 1133 | 28 | 2 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 21.730 V | 9.5178 kV | 103 µbar | 103 µbar | Carbon Dioxide: 0.0178 kV | 948 µbar | 14.398 V | 25.683 V | 371 µbar/min | 14.434 V | 1.31E-007 mbar | 10 % | 975 µbar | 72 °C | µ-Volume | 19.830 V | Pre | 21.2205 | 23.0769 | 30.4411 | 14.9072 | 15.8984 | 21.2695 | 1.0768 | 0.47093 | 1.1126 | 0.039383 | 0.013924 | 0.47208 | 0.0055534 | 0.002099 | 1.173 | 0.042203 | 0.47006 | 0.0055378
[32 empty] | Cycle 1 | 20.3264 | 22.1057 | 29.1599 | 14.1954 | 15.1401 | 20.2541 | 1.0751 | 0.49275
[32 empty] | Cycle 2 | 19.4871 | 21.194 | 27.9557 | 13.5287 | 14.4298 | 19.3036 | 1.0885 | 0.46097
[32 empty] | Cycle 3 | 18.6845 | 20.3219 | 26.8047 | 12.9026 | 13.7623 | 18.4106 | 1.104 | 0.47249
[32 empty] | Cycle 4 | 17.9273 | 19.4995 | 25.719 | 12.3125 | 13.1332 | 17.5684 | 1.1125 | 0.47471
[32 empty] | Cycle 5 | 17.2108 | 18.7206 | 24.6919 | 11.7567 | 12.5413 | 16.7762 | 1.1016 | 0.47895
[32 empty] | Cycle 6 | 16.5233 | 17.974 | 23.7053 | 11.2328 | 11.9825 | 16.0287 | 1.1551 | 0.47453
[32 empty] | Cycle 7 | 15.877 | 17.2716 | 22.7783 | 10.7391 | 11.4561 | 15.3239 | 1.1873 | 0.47201
[32 empty] | Cycle 8 |  |  |  | 10.273 | 10.9588 | 14.6596
29 | GIRMS\IRMS-operator | 2026-05-22 08:05 | 2026-05-22 09:22 | Success | FALSE | MD23-3678 - N. dutertri | 1125 | 29 | 1 | 16 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 21.032 V | 9.5180 kV | 93 µbar | 120 µbar | Carbon Dioxide: 0.0180 kV | 1,139 µbar | 16.165 V | 24.678 V | 698 µbar/min | 2.312 V | 1.41E-007 mbar | 10 % | 933 µbar | 72 °C | µ-Volume | 18.978 V | Pre | 20.2657 | 22.039 | 29.0716 | 16.7285 | 17.8405 | 23.8689 | 1.1338 | 0.44135 | 1.1793 | 0.024196 | 0.0085546 | 0.4356 | 0.0083118 | 0.0029386 | 1.2458 | 0.025976 | 0.4334 | 0.0083358
[32 empty] | Cycle 1 | 19.4394 | 21.142 | 27.8865 | 15.9014 | 16.9587 | 22.6891 | 1.1597 | 0.43684
[32 empty] | Cycle 2 | 18.6556 | 20.2914 | 26.7625 | 15.127 | 16.1342 | 21.5846 | 1.2124 | 0.43048
[32 empty] | Cycle 3 | 17.9122 | 19.4827 | 25.6961 | 14.4011 | 15.3597 | 20.549 | 1.1961 | 0.42426
[32 empty] | Cycle 4 | 17.2048 | 18.7137 | 24.6818 | 13.7222 | 14.6364 | 19.5805 | 1.1853 | 0.43581
[32 empty] | Cycle 5 | 16.5349 | 17.9856 | 23.7211 | 13.0819 | 13.9536 | 18.6671 | 1.1905 | 0.44784
[32 empty] | Cycle 6 | 15.8952 | 17.2909 | 22.8037 | 12.4808 | 13.313 | 17.8093 | 1.1855 | 0.44248
[32 empty] | Cycle 7 | 15.2876 | 16.6303 | 21.9322 | 11.9143 | 12.7099 | 17.0016 | 1.1712 | 0.42576
[32 empty] | Cycle 8 |  |  |  | 11.3803 | 12.1399 | 16.2396
30 | GIRMS\IRMS-operator | 2026-05-22 08:38 | 2026-05-22 09:48 | Success | FALSE | MD23-3678 - N. dutertri | 1233 | 30 | 2 | 16 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 22.740 V | 9.5178 kV | 101 µbar | 93 µbar | Carbon Dioxide: 0.0178 kV | 355 µbar | 15.420 V | 26.992 V | 190 µbar/min | 15.454 V | 1.36E-007 mbar | 10 % | 973 µbar | 72 °C | µ-Volume | 20.796 V | Pre | 22.277 | 24.2261 | 31.9354 | 15.961 | 17.0215 | 22.7724 | 1.1469 | -0.17081 | 1.2252 | 0.053354 | 0.018863 | -0.19323 | 0.018146 | 0.0064157 | 1.3181 | 0.057306 | -0.19621 | 0.018204
[32 empty] | Cycle 1 | 21.3486 | 23.2185 | 30.6048 | 15.1845 | 16.1939 | 21.665 | 1.1833 | -0.18273
[32 empty] | Cycle 2 | 20.4699 | 22.2641 | 29.3461 | 14.4557 | 15.4177 | 20.6257 | 1.1915 | -0.19621
[32 empty] | Cycle 3 | 19.6348 | 21.3569 | 28.1488 | 13.7739 | 14.6909 | 19.6541 | 1.218 | -0.22925
[32 empty] | Cycle 4 | 18.8479 | 20.5016 | 27.0219 | 13.134 | 14.0089 | 18.7411 | 1.2178 | -0.18544
[32 empty] | Cycle 5 | 18.0983 | 19.6877 | 25.9479 | 12.532 | 13.3673 | 17.8822 | 1.2575 | -0.18251
[32 empty] | Cycle 6 | 17.3903 | 18.9183 | 24.9327 | 11.9658 | 12.7635 | 17.0747 | 1.2778 | -0.20761
[32 empty] | Cycle 7 | 16.7132 | 18.1831 | 23.9628 | 11.4292 | 12.1916 | 16.3094 | 1.3088 | -0.19129
[32 empty] | Cycle 8 |  |  |  | 10.9241 | 11.6533 | 15.5888
31 | GIRMS\IRMS-operator | 2026-05-22 09:22 | 2026-05-22 10:26 | Success | FALSE | SHP2L |  | 31 | 1 | 17 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 9.324 V | 9.5178 kV | 91 µbar | 118 µbar | Carbon Dioxide: 0.0178 kV | 1,168 µbar | 9.138 V | 10.481 V | 708 µbar/min | 14.644 V | 9.39E-008 mbar | 20 % | 870 µbar | 72 °C | µ-Volume |  | Pre | 8.9868 | 9.761 | 12.8247 | 9.3202 | 9.9432 | 13.3002 | -0.44919 | -4.8909 | -0.47167 | 0.040888 | 0.015454 | -4.9144 | 0.012193 | 0.0043108 | -0.32275 | 0.043646 | -4.9186 | 0.012245
[32 empty] | Cycle 1 | 8.7034 | 9.4513 | 12.42 | 8.9287 | 9.5256 | 12.7418 | -0.66245 | -4.9032
[32 empty] | Cycle 2 | 8.4275 | 9.1536 | 12.0262 | 8.5588 | 9.1311 | 12.2135 | -0.46633 | -4.9124
[32 empty] | Cycle 3 | 8.1645 | 8.8682 | 11.6511 | 8.2069 | 8.7558 | 11.7117 | -0.47725 | -4.9189
[32 empty] | Cycle 4 | 7.9098 | 8.5914 | 11.2876 | 7.8735 | 8.4006 | 11.2361 | -0.51843 | -4.9275
[32 empty] | Cycle 5 | 7.6643 | 8.3249 | 10.9375 | 7.5566 | 8.0624 | 10.7838 | -0.51371 | -4.9158
[32 empty] | Cycle 6 | 7.4243 | 8.0651 | 10.5949 | 7.2558 | 7.7418 | 10.3547 | -0.39779 | -4.9226
[32 empty] | Cycle 7 | 7.1949 | 7.8153 | 10.2675 | 6.9697 | 7.4362 | 9.9464 | -0.47902 | -4.9243
[32 empty] | Cycle 8 |  |  |  | 6.6966 | 7.145 | 9.5565
32 | GIRMS\IRMS-operator | 2026-05-22 09:48 | 2026-05-22 11:00 | Success | FALSE | MD23-3678 - N. dutertri | 1229 | 32 | 2 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 15.928 V | 9.5179 kV | 101 µbar | 93 µbar | Carbon Dioxide: 0.0179 kV | 255 µbar | 14.098 V | 18.483 V | 156 µbar/min | 8.854 V | 1.27E-007 mbar | 10 % | 941 µbar | 72 °C | µ-Volume | 14.684 V | Pre | 15.5846 | 16.9639 | 22.3433 | 14.5932 | 15.5663 | 20.8229 | 1.8565 | -0.18911 | 1.8546 | 0.0086203 | 0.0030477 | -0.20496 | 0.010808 | 0.0038211 | 1.992 | 0.0091348 | -0.20937 | 0.010815
[32 empty] | Cycle 1 | 15.0017 | 16.3299 | 21.5079 | 13.9007 | 14.828 | 19.8355 | 1.8537 | -0.19497
[32 empty] | Cycle 2 | 14.443 | 15.7229 | 20.707 | 13.2515 | 14.1362 | 18.9092 | 1.8655 | -0.20785
[32 empty] | Cycle 3 | 13.9134 | 15.1463 | 19.9481 | 12.6412 | 13.486 | 18.0389 | 1.847 | -0.19915
[32 empty] | Cycle 4 | 13.4073 | 14.5959 | 19.2225 | 12.0663 | 12.8723 | 17.2184 | 1.8688 | -0.20518
[32 empty] | Cycle 5 | 12.9259 | 14.0722 | 18.5327 | 11.5241 | 12.2947 | 16.4451 | 1.8464 | -0.22441
[32 empty] | Cycle 6 | 12.4648 | 13.5704 | 17.8721 | 11.0134 | 11.7502 | 15.717 | 1.8463 | -0.21111
[32 empty] | Cycle 7 | 12.0226 | 13.0894 | 17.2382 | 10.532 | 11.2366 | 15.0298 | 1.8524 | -0.20787
[32 empty] | Cycle 8 |  |  |  | 10.0757 | 10.7502 | 14.379
33 | GIRMS\IRMS-operator | 2026-05-22 10:26 | 2026-05-22 11:45 | Success | FALSE | MD23-3678 - N. dutertri | 1225 | 33 | 1 | 18 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 20.883 V | 9.5181 kV | 91 µbar | 120 µbar | Carbon Dioxide: 0.0181 kV | 1,151 µbar | 16.114 V | 24.467 V | 664 µbar/min | 2.312 V | 1.41E-007 mbar | 10 % | 943 µbar | 72 °C | µ-Volume | 18.866 V | Pre | 20.1203 | 21.8919 | 28.8612 | 16.671 | 17.7824 | 23.7873 | 1.4212 | 0.34926 | 1.4576 | 0.038907 | 0.013756 | 0.33116 | 0.014493 | 0.0051239 | 1.5474 | 0.041415 | 0.32822 | 0.014472
[32 empty] | Cycle 1 | 19.3094 | 21.0109 | 27.6982 | 15.8434 | 16.9012 | 22.6074 | 1.4158 | 0.3281
[32 empty] | Cycle 2 | 18.543 | 20.1782 | 26.5994 | 15.0712 | 16.078 | 21.5058 | 1.434 | 0.31858
[32 empty] | Cycle 3 | 17.8151 | 19.3865 | 25.5554 | 14.3486 | 15.3079 | 20.4756 | 1.4199 | 0.30807
[32 empty] | Cycle 4 | 17.1236 | 18.6347 | 24.564 | 13.6716 | 14.5859 | 19.5091 | 1.5025 | 0.33553
[32 empty] | Cycle 5 | 16.4662 | 17.9188 | 23.6214 | 13.0374 | 13.9079 | 18.6045 | 1.5078 | 0.34381
[32 empty] | Cycle 6 | 15.8414 | 17.2388 | 22.7247 | 12.4409 | 13.2719 | 17.7532 | 1.4765 | 0.32167
[32 empty] | Cycle 7 | 15.2434 | 16.5887 | 21.8678 | 11.8787 | 12.6725 | 16.9512 | 1.4829 | 0.3443
[32 empty] | Cycle 8 |  |  |  | 11.3493 | 12.1083 | 16.1963
34 | GIRMS\IRMS-operator | 2026-05-22 11:00 | 2026-05-22 12:11 | Success | FALSE | MD23-3678 - N. dutertri | 1221 | 34 | 2 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 25.615 V | 9.5177 kV | 103 µbar | 96 µbar | Carbon Dioxide: 0.0177 kV | 233 µbar | 15.752 V | 30.566 V | 190 µbar/min | 15.437 V | 1.40E-007 mbar | 10 % | 980 µbar | 72 °C | µ-Volume | 23.200 V | Pre | 24.9552 | 27.135 | 35.7759 | 16.3193 | 17.4045 | 23.2836 | 0.95669 | -0.13028 | 1.0207 | 0.04236 | 0.014976 | -0.1198 | 0.01124 | 0.003974 | 1.0966 | 0.04522 | -0.12223 | 0.011228
[32 empty] | Cycle 1 | 23.8487 | 25.9343 | 34.19 | 15.5178 | 16.5504 | 22.1402 | 1.0048 | -0.12533
[32 empty] | Cycle 2 | 22.8079 | 24.8036 | 32.699 | 14.7677 | 15.7512 | 21.0701 | 1.0014 | -0.11219
[32 empty] | Cycle 3 | 21.8251 | 23.736 | 31.2904 | 14.0645 | 15.0019 | 20.0676 | 1.0106 | -0.12985
[32 empty] | Cycle 4 | 20.8974 | 22.7279 | 29.9613 | 13.4052 | 14.2991 | 19.1273 | 0.99238 | -0.11447
[32 empty] | Cycle 5 | 20.0264 | 21.7826 | 28.7135 | 12.7853 | 13.6389 | 18.243 | 1.0463 | -0.10422
[32 empty] | Cycle 6 | 19.1952 | 20.8794 | 27.5223 | 12.2017 | 13.0164 | 17.4109 | 1.0783 | -0.10855
[32 empty] | Cycle 7 | 18.4059 | 20.0217 | 26.3903 | 11.6557 | 12.4342 | 16.6321 | 1.0752 | -0.13348
[32 empty] | Cycle 8 |  |  |  | 11.1377 | 11.8824 | 15.8931
35 | GIRMS\IRMS-operator | 2026-05-22 11:45 | 2026-05-22 12:47 | Success | FALSE | MD23-3678 - N. dutertri | 1213 | 35 | 1 | 19 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 18.743 V | 9.5177 kV | 93 µbar | 120 µbar | Carbon Dioxide: 0.0177 kV | 1,146 µbar | 14.838 V | 21.801 V | 733 µbar/min | 14.560 V | 1.34E-007 mbar | 10 % | 924 µbar | 72 °C | µ-Volume | 17.275 V | Pre | 18.3225 | 19.9285 | 26.2734 | 15.3724 | 16.396 | 21.933 | 1.1033 | 0.084805 | 1.1795 | 0.051785 | 0.018309 | 0.071835 | 0.015694 | 0.0055486 | 1.2594 | 0.055447 | 0.069246 | 0.015718
[32 empty] | Cycle 1 | 17.6163 | 19.1616 | 25.2608 | 14.63 | 15.6062 | 20.8738 | 1.1417 | 0.076615
[32 empty] | Cycle 2 | 16.9474 | 18.4354 | 24.3025 | 13.9362 | 14.8651 | 19.8844 | 1.2451 | 0.094099
[32 empty] | Cycle 3 | 16.3068 | 17.7388 | 23.3837 | 13.2825 | 14.1682 | 18.9521 | 1.188 | 0.065574
[32 empty] | Cycle 4 | 15.6994 | 17.0791 | 22.5127 | 12.6695 | 13.5156 | 18.0777 | 1.1683 | 0.04214
[32 empty] | Cycle 5 | 15.1222 | 16.4522 | 21.6862 | 12.0942 | 12.9028 | 17.2574 | 1.1779 | 0.07318
[32 empty] | Cycle 6 | 14.567 | 15.8481 | 20.8901 | 11.5522 | 12.3249 | 16.4842 | 1.1526 | 0.076199
[32 empty] | Cycle 7 | 14.0365 | 15.2727 | 20.1295 | 11.0426 | 11.7815 | 15.7569 | 1.259 | 0.062067
[32 empty] | Cycle 8 |  |  |  | 10.5602 | 11.2667 | 15.0693
36 | GIRMS\IRMS-operator | 2026-05-22 12:11 | 2026-05-22 13:21 | Success | FALSE | SHP2L |  | 36 | 2 | 19 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 9.348 V | 9.5178 kV | 101 µbar | 93 µbar | Carbon Dioxide: 0.0178 kV | 308 µbar | 9.254 V | 10.572 V | 200 µbar/min | 13.850 V | 9.72E-008 mbar | 18 % | 894 µbar | 72 °C | µ-Volume |  | Pre | 9.1185 | 9.9015 | 12.998 | 9.4568 | 10.09 | 13.4952 | -0.79343 | -6.0154 | -0.81136 | 0.014696 | 0.0051958 | -5.9989 | 0.029181 | 0.010317 | -0.64609 | 0.015393 | -6.0035 | 0.029201
[32 empty] | Cycle 1 | 8.814 | 9.5707 | 12.5642 | 9.0588 | 9.665 | 12.9273 | -0.80325 | -5.9987
[32 empty] | Cycle 2 | 8.5236 | 9.2555 | 12.1505 | 8.6819 | 9.2631 | 12.3895 | -0.81094 | -5.962
[32 empty] | Cycle 3 | 8.244 | 8.952 | 11.752 | 8.3248 | 8.8823 | 11.8795 | -0.8081 | -5.9609
[32 empty] | Cycle 4 | 7.9736 | 8.6584 | 11.3662 | 7.9857 | 8.5204 | 11.3961 | -0.83548 | -6.0025
[32 empty] | Cycle 5 | 7.7144 | 8.3774 | 10.9969 | 7.6634 | 8.177 | 10.9358 | -0.80289 | -5.9945
[32 empty] | Cycle 6 | 7.4656 | 8.107 | 10.6423 | 7.3575 | 7.8504 | 10.4999 | -0.80499 | -6.0053
[32 empty] | Cycle 7 | 7.2238 | 7.8444 | 10.2975 | 7.0674 | 7.541 | 10.086 | -0.83184 | -6.0519
[32 empty] | Cycle 8 |  |  |  | 6.7909 | 7.2461 | 9.6918
37 | GIRMS\IRMS-operator | 2026-05-22 12:47 | 2026-05-22 14:07 | Success | FALSE | MD23-3678 - N. dutertri | 1205 | 37 | 1 | 20 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 13.139 V | 9.5181 kV | 91 µbar | 120 µbar | Carbon Dioxide: 0.0181 kV | 1,124 µbar | 11.418 V | 14.979 V | 791 µbar/min | 2.307 V | 1.10E-007 mbar | 16 % | 894 µbar | 72 °C | µ-Volume |  | Pre | 11.1741 | 12.1627 | 16.0322 | 11.6664 | 12.446 | 16.6485 | 1.6828 | 0.47029 | 1.6371 | 0.033881 | 0.011979 | 0.46296 | 0.0047534 | 0.0017966 | 1.7347 | 0.036029 | 0.45974 | 0.0047167
[32 empty] | Cycle 1 | 10.7925 | 11.7471 | 15.4847 | 11.1454 | 11.8907 | 15.905 | 1.5953 | 0.46051
[32 empty] | Cycle 2 | 10.4269 | 11.3496 | 14.9603 | 10.6554 | 11.3691 | 15.2062 | 1.6162 | 0.45695
[32 empty] | Cycle 3 | 10.0764 | 10.9684 | 14.4578 | 10.1934 | 10.8755 | 14.5471 | 1.6567 | 0.46614
[32 empty] | Cycle 4 | 9.7395 | 10.6018 | 13.9743 | 9.7573 | 10.4103 | 13.9248 | 1.6638 | 0.45813
[32 empty] | Cycle 5 | 9.4138 | 10.2476 | 13.5074 | 9.3442 | 9.9697 | 13.3354 | 1.6504 | 0.46545
[32 empty] | Cycle 6 | 9.1028 | 9.9092 | 13.0612 | 8.9516 | 9.5515 | 12.7752 | 1.6438 | 0.46327
[32 empty] | Cycle 7 | 8.8031 | 9.5828 | 12.6311 | 8.5818 | 9.1568 | 12.2478 | 1.5877 | 0.44449
[32 empty] | Cycle 8 |  |  |  | 8.23 | 8.7822 | 11.7455
38 | GIRMS\IRMS-operator | 2026-05-22 13:21 | 2026-05-22 14:33 | Success | FALSE | MD23-3678 - N. dutertri | 1197 | 38 | 2 | 20 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 15.676 V | 9.5177 kV | 103 µbar | 93 µbar | Carbon Dioxide: 0.0177 kV | 528 µbar | 15.410 V | 18.103 V | 176 µbar/min | 11.072 V | 1.37E-007 mbar | 10 % | 948 µbar | 72 °C | µ-Volume |  | Pre | 15.1581 | 16.4944 | 21.7426 | 15.9361 | 16.996 | 22.7379 | 1.6921 | 0.37109 | 1.5938 | 0.02262 | 0.0085496 | 0.35824 | 0.0189 | 0.0066821 | 1.6922 | 0.023817 | 0.355 | 0.018874
[32 empty] | Cycle 1 | 14.6032 | 15.89 | 20.9466 | 15.1576 | 16.1663 | 21.6272 | 1.6188 | 0.35362
[32 empty] | Cycle 2 | 14.0747 | 15.3155 | 20.1893 | 14.429 | 15.39 | 20.5883 | 1.5966 | 0.37723
[32 empty] | Cycle 3 | 13.5697 | 14.7674 | 19.4652 | 13.7477 | 14.6642 | 19.6161 | 1.6166 | 0.38397
[32 empty] | Cycle 4 | 13.0899 | 14.2453 | 18.7768 | 13.1092 | 13.9844 | 18.7054 | 1.6042 | 0.35175
[32 empty] | Cycle 5 | 12.6289 | 13.7435 | 18.116 | 12.5077 | 13.3421 | 17.8477 | 1.5865 | 0.35775
[32 empty] | Cycle 6 | 12.1875 | 13.2633 | 17.4828 | 11.9425 | 12.7399 | 17.0413 | 1.5544 | 0.34509
[32 empty] | Cycle 7 | 11.7606 | 12.7992 | 16.8702 | 11.409 | 12.1711 | 16.2802 | 1.5794 | 0.32544
[32 empty] | Cycle 8 |  |  |  | 10.9056 | 11.6343 | 15.562
39 | GIRMS\IRMS-operator | 2026-05-22 14:07 | 2026-05-22 15:10 | Success | FALSE | MD23-3678 - N. dutertri | 1193 | 39 | 1 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 13.951 V | 9.5177 kV | 93 µbar | 123 µbar | Carbon Dioxide: 0.0177 kV | 1,163 µbar | 13.942 V | 15.905 V | 694 µbar/min | 14.630 V | 1.27E-007 mbar | 11 % | 914 µbar | 72 °C | µ-Volume |  | Pre | 13.6328 | 14.8389 | 19.5564 | 14.4026 | 15.3619 | 20.5499 | 1.8768 | 0.44571 | 1.8696 | 0.032749 | 0.011579 | 0.43461 | 0.019037 | 0.0067306 | 1.9845 | 0.034813 | 0.43085 | 0.019033
[32 empty] | Cycle 1 | 13.1566 | 14.3214 | 18.874 | 13.7204 | 14.6353 | 19.5769 | 1.8843 | 0.46484
[32 empty] | Cycle 2 | 12.7102 | 13.836 | 18.233 | 13.0818 | 13.9544 | 18.6661 | 1.901 | 0.43525
[32 empty] | Cycle 3 | 12.2745 | 13.3617 | 17.6087 | 12.4803 | 13.3132 | 17.8076 | 1.8607 | 0.453
[32 empty] | Cycle 4 | 11.8577 | 12.9091 | 17.0107 | 11.9148 | 12.7105 | 17.0015 | 1.9164 | 0.42704
[32 empty] | Cycle 5 | 11.4557 | 12.471 | 16.4341 | 11.3814 | 12.1417 | 16.2404 | 1.8566 | 0.4226
[32 empty] | Cycle 6 | 11.0687 | 12.0499 | 15.8789 | 10.8781 | 11.6051 | 15.5227 | 1.8502 | 0.40621
[32 empty] | Cycle 7 | 10.6988 | 11.6471 | 15.3485 | 10.4043 | 11.1001 | 14.8466 | 1.8109 | 0.42222
[32 empty] | Cycle 8 |  |  |  | 9.9562 | 10.622 | 14.207
40 | GIRMS\IRMS-operator | 2026-05-22 14:33 | 2026-05-22 15:44 | Success | FALSE | MD23-3678 - N. dutertri | 1185 | 40 | 2 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 20.509 V | 9.5177 kV | 106 µbar | 96 µbar | Carbon Dioxide: 0.0177 kV | 333 µbar | 13.901 V | 24.124 V | 181 µbar/min | 13.311 V | 1.27E-007 mbar | 10 % | 968 µbar | 72 °C | µ-Volume | 18.748 V | Pre | 20.0188 | 21.7666 | 28.7201 | 14.3909 | 15.3502 | 20.5337 | 0.78763 | 0.52838 | 0.87148 | 0.050927 | 0.018005 | 0.53053 | 0.0084994 | 0.003005 | 0.91289 | 0.054418 | 0.52913 | 0.0084813
[32 empty] | Cycle 1 | 19.1921 | 20.8693 | 27.5347 | 13.7121 | 14.6262 | 19.5655 | 0.832 | 0.53932
[32 empty] | Cycle 2 | 18.4109 | 20.0207 | 26.414 | 13.0753 | 13.9478 | 18.657 | 0.83618 | 0.52298
[32 empty] | Cycle 3 | 17.6689 | 19.2153 | 25.3501 | 12.4767 | 13.3095 | 17.8034 | 0.89442 | 0.52911
[32 empty] | Cycle 4 | 16.9646 | 18.4497 | 24.3396 | 11.9112 | 12.7066 | 16.9967 | 0.86993 | 0.51998
[32 empty] | Cycle 5 | 16.2953 | 17.7227 | 23.3799 | 11.3804 | 12.141 | 16.2394 | 0.88631 | 0.53621
[32 empty] | Cycle 6 | 15.6576 | 17.0303 | 22.4653 | 10.8789 | 11.6062 | 15.5238 | 0.92622 | 0.52425
[32 empty] | Cycle 7 | 15.0487 | 16.3687 | 21.5923 | 10.4044 | 11.1002 | 14.8474 | 0.93911 | 0.54401
[32 empty] | Cycle 8 |  |  |  | 9.9568 | 10.623 | 14.2084
41 | GIRMS\IRMS-operator | 2026-05-22 15:10 | 2026-05-22 16:29 | Success | FALSE | SHP2L |  | 41 | 1 | 22 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 3.599 V | 9.5180 kV | 93 µbar | 123 µbar | Carbon Dioxide: 0.0180 kV | 1,153 µbar | 3.338 V | 3.928 V | 728 µbar/min | 2.307 V | 5.03E-008 mbar | 62 % | 726 µbar | 72 °C | µ-Volume |  | Pre | 3.3404 | 3.629 | 4.766 | 3.4085 | 3.6376 | 4.8651 | -0.56589 | -5.2602 | -0.59781 | 0.024497 | 0.0086609 | -5.2612 | 0.015861 | 0.0056076 | -0.44493 | 0.026343 | -5.2655 | 0.015889
[32 empty] | Cycle 1 | 3.2491 | 3.5295 | 4.6356 | 3.2916 | 3.5127 | 4.6978 | -0.64601 | -5.2529
[32 empty] | Cycle 2 | 3.1602 | 3.4331 | 4.5088 | 3.179 | 3.3926 | 4.5372 | -0.60055 | -5.2658
[32 empty] | Cycle 3 | 3.0744 | 3.3401 | 4.3865 | 3.0712 | 3.2777 | 4.3835 | -0.57881 | -5.2907
[32 empty] | Cycle 4 | 2.9914 | 3.2497 | 4.268 | 2.9676 | 3.1671 | 4.2357 | -0.61501 | -5.2605
[32 empty] | Cycle 5 | 2.9121 | 3.1636 | 4.1548 | 2.8685 | 3.0613 | 4.094 | -0.59997 | -5.2697
[32 empty] | Cycle 6 | 2.8346 | 3.0795 | 4.0444 | 2.7736 | 2.96 | 3.9587 | -0.58723 | -5.235
[32 empty] | Cycle 7 | 2.7593 | 2.9977 | 3.9369 | 2.6823 | 2.8626 | 3.8282 | -0.58903 | -5.2549
[32 empty] | Cycle 8 |  |  |  | 2.5943 | 2.7687 | 3.7029
42 | GIRMS\IRMS-operator | 2026-05-22 15:44 | 2026-05-22 16:56 | Success | FALSE | MD23-3678 - N. dutertri | 1177 | 42 | 2 | 22 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 14.945 V | 9.5180 kV | 106 µbar | 96 µbar | Carbon Dioxide: 0.0180 kV | 411 µbar | 13.970 V | 17.207 V | 151 µbar/min | 3.308 V | 1.27E-007 mbar | 12 % | 953 µbar | 72 °C | µ-Volume |  | Pre | 13.7123 | 14.9149 | 19.6704 | 14.3779 | 15.3365 | 20.5163 | 1.1175 | 0.37622 | 1.1242 | 0.014462 | 0.0051131 | 0.35236 | 0.022489 | 0.0079509 | 1.19 | 0.015308 | 0.3502 | 0.022505
[32 empty] | Cycle 1 | 13.2211 | 14.3816 | 18.9658 | 13.696 | 14.6098 | 19.5432 | 1.1469 | 0.35843
[32 empty] | Cycle 2 | 12.7575 | 13.8774 | 18.3008 | 13.0566 | 13.9281 | 18.6317 | 1.1162 | 0.34515
[32 empty] | Cycle 3 | 12.3146 | 13.3962 | 17.6661 | 12.4571 | 13.2892 | 17.7758 | 1.1228 | 0.39288
[32 empty] | Cycle 4 | 11.8906 | 12.9349 | 17.0572 | 11.8941 | 12.689 | 16.9727 | 1.109 | 0.33038
[32 empty] | Cycle 5 | 11.4824 | 12.4912 | 16.472 | 11.3634 | 12.1228 | 16.216 | 1.1208 | 0.33725
[32 empty] | Cycle 6 | 11.0905 | 12.0656 | 15.9101 | 10.8635 | 11.5898 | 15.5023 | 1.1465 | 0.34899
[32 empty] | Cycle 7 | 10.7122 | 11.6543 | 15.3678 | 10.3915 | 11.0868 | 14.8294 | 1.1143 | 0.32961
[32 empty] | Cycle 8 |  |  |  | 9.9438 | 10.6097 | 14.1911
43 | GIRMS\IRMS-operator | 2026-05-22 16:29 | 2026-05-22 17:33 | Success | FALSE | MD23-3678 - N. dutertri | 1717 | 43 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 21.758 V | 9.5177 kV | 93 µbar | 118 µbar | Carbon Dioxide: 0.0177 kV | 1,021 µbar | 15.022 V | 25.465 V | 435 µbar/min | 13.355 V | 1.34E-007 mbar | 10 % | 953 µbar | 72 °C | µ-Volume | 20.016 V | Pre | 21.3014 | 23.1749 | 30.5444 | 15.5437 | 16.5776 | 22.1768 | 1.472 | 0.081958 | 1.5624 | 0.066392 | 0.023473 | 0.097928 | 0.016518 | 0.0058399 | 1.6682 | 0.070544 | 0.094502 | 0.016413
[32 empty] | Cycle 1 | 20.4317 | 22.2303 | 29.2976 | 14.7932 | 15.7786 | 21.1067 | 1.4815 | 0.071478
[32 empty] | Cycle 2 | 19.6306 | 21.3607 | 28.1499 | 14.0889 | 15.0279 | 20.102 | 1.5499 | 0.10171
[32 empty] | Cycle 3 | 18.8683 | 20.5312 | 27.0566 | 13.4278 | 14.323 | 19.1587 | 1.528 | 0.089877
[32 empty] | Cycle 4 | 18.1437 | 19.7445 | 26.0189 | 12.8072 | 13.6613 | 18.2736 | 1.5787 | 0.11824
[32 empty] | Cycle 5 | 17.4574 | 18.999 | 25.035 | 12.2234 | 13.0393 | 17.4411 | 1.6054 | 0.097105
[32 empty] | Cycle 6 | 16.7924 | 18.2765 | 24.082 | 11.6731 | 12.4527 | 16.6565 | 1.6426 | 0.10472
[32 empty] | Cycle 7 | 16.1568 | 17.5855 | 23.1709 | 11.1541 | 11.8994 | 15.9159 | 1.6415 | 0.11835
[32 empty] | Cycle 8 |  |  |  | 10.6632 | 11.3764 | 15.2156
44 | GIRMS\IRMS-operator | 2026-05-22 16:56 | 2026-05-22 18:06 | Success | FALSE | MD23-3678 - N. dutertri | 1713 | 44 | 2 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 21.017 V | 9.5178 kV | 108 µbar | 101 µbar | Carbon Dioxide: 0.0178 kV | 450 µbar | 14.278 V | 24.742 V | 195 µbar/min | 14.304 V | 1.30E-007 mbar | 10 % | 973 µbar | 72 °C | µ-Volume | 19.189 V | Pre | 20.5061 | 22.3079 | 29.3927 | 14.7769 | 15.7609 | 21.0842 | 1.352 | -0.35567 | 1.4047 | 0.043038 | 0.015216 | -0.34245 | 0.0087827 | 0.0031052 | 1.5157 | 0.046009 | -0.34599 | 0.0087796
[32 empty] | Cycle 1 | 19.6526 | 21.3806 | 28.1703 | 14.0742 | 15.012 | 20.0817 | 1.3685 | -0.32999
[32 empty] | Cycle 2 | 18.8485 | 20.5066 | 27.0175 | 13.4153 | 14.3097 | 19.1418 | 1.3567 | -0.3452
[32 empty] | Cycle 3 | 18.0837 | 19.6761 | 25.9221 | 12.7973 | 13.6514 | 18.2602 | 1.3936 | -0.34158
[32 empty] | Cycle 4 | 17.3582 | 18.8879 | 24.8827 | 12.2139 | 13.0293 | 17.4284 | 1.4284 | -0.33571
[32 empty] | Cycle 5 | 16.6702 | 18.1399 | 23.8967 | 11.6646 | 12.4437 | 16.6446 | 1.4302 | -0.3367
[32 empty] | Cycle 6 | 16.0157 | 17.4283 | 22.9586 | 11.1471 | 11.892 | 15.9063 | 1.4405 | -0.35348
[32 empty] | Cycle 7 | 15.3877 | 16.746 | 22.059 | 10.6581 | 11.3707 | 15.2091 | 1.4676 | -0.34124
[32 empty] | Cycle 8 |  |  |  | 10.1958 | 10.8779 | 14.5494
45 | GIRMS\IRMS-operator | 2026-05-22 17:33 | 2026-05-22 18:51 | Success | FALSE | MD23-3678 - N. dutertri | 1705 | 45 | 1 | 24 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 17.765 V | 9.5181 kV | 93 µbar | 118 µbar | Carbon Dioxide: 0.0181 kV | 1,026 µbar | 16.036 V | 20.583 V | 479 µbar/min | 2.312 V | 1.39E-007 mbar | 10 % | 919 µbar | 72 °C | µ-Volume |  | Pre | 15.9614 | 17.3657 | 22.8828 | 16.5342 | 17.6344 | 23.5924 | 1.4911 | -0.2099 | 1.4787 | 0.021856 | 0.0077273 | -0.20016 | 0.015696 | 0.0055493 | 1.5897 | 0.023439 | -0.20372 | 0.015716
[32 empty] | Cycle 1 | 15.3585 | 16.7111 | 22.0194 | 15.7161 | 16.7627 | 22.4256 | 1.5179 | -0.18339
[32 empty] | Cycle 2 | 14.7855 | 16.0877 | 21.1977 | 14.9518 | 15.9486 | 21.335 | 1.4731 | -0.19594
[32 empty] | Cycle 3 | 14.2403 | 15.4951 | 20.4163 | 14.2369 | 15.1866 | 20.3152 | 1.4706 | -0.19577
[32 empty] | Cycle 4 | 13.7195 | 14.9291 | 19.6701 | 13.5672 | 14.4727 | 19.3598 | 1.4608 | -0.17682
[32 empty] | Cycle 5 | 13.2215 | 14.3875 | 18.9559 | 12.937 | 13.8016 | 18.4606 | 1.4486 | -0.20018
[32 empty] | Cycle 6 | 12.7471 | 13.872 | 18.2759 | 12.3439 | 13.1686 | 17.6145 | 1.4957 | -0.22165
[32 empty] | Cycle 7 | 12.2924 | 13.3773 | 17.6244 | 11.7853 | 12.5731 | 16.8182 | 1.4719 | -0.21762
[32 empty] | Cycle 8 |  |  |  | 11.2611 | 12.0143 | 16.0701
46 | GIRMS\IRMS-operator | 2026-05-22 18:06 | 2026-05-22 18:55 |  | FALSE | SHP2L |  | 46 | 2 | 24 | TRUE | QC Standard | SHP2L |  |  |  |  | 108 µbar |  |  | 257 µbar |  |  | 161 µbar/min |  |  |  |  | 72 °C