## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from | Pressure Adjust failed with Target Intensity |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-07-14 16:17 | 2026-07-14 17:15 | Running | FALSE | SHP2L |  | 1 | 1 | 2 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 9.917 V | 9.5000 kV | 84 µbar | 86 µbar | Carbon Dioxide: 0.0000 kV | 802 µbar | 9.137 V | 11.252 V | 239 µbar/min | 2.788 V | 9.44E-008 mbar | 24 % | 897 µbar | 72 °C | µ-Volume |  | Pre | 8.9489 | 9.7146 | 12.7509 | 9.2672 | 9.8844 | 13.2184 | -0.7757 | -5.9696 | -0.80443 | 0.026463 | 0.0093562 | -5.953 | 0.021684 | 0.0076665 | -0.64037 | 0.028638 | -5.9575 | 0.021731
[32 empty] | Cycle 1 | 8.6486 | 9.3886 | 12.3232 | 8.8774 | 9.4689 | 12.6625 | -0.77081 | -5.9586
[32 empty] | Cycle 2 | 8.3591 | 9.0738 | 11.9104 | 8.5087 | 9.0753 | 12.1369 | -0.81592 | -5.9917
[32 empty] | Cycle 3 | 8.0796 | 8.7712 | 11.5126 | 8.1593 | 8.7029 | 11.6386 | -0.77478 | -5.9552
[32 empty] | Cycle 4 | 7.81 | 8.4785 | 11.1286 | 7.8278 | 8.3496 | 11.1654 | -0.81336 | -5.9455
[32 empty] | Cycle 5 | 7.5491 | 8.1951 | 10.757 | 7.5142 | 8.0154 | 10.7184 | -0.83725 | -5.948
[32 empty] | Cycle 6 | 7.2992 | 7.9241 | 10.4012 | 7.2165 | 7.6977 | 10.294 | -0.82761 | -5.9201
[32 empty] | Cycle 7 | 7.06 | 7.6647 | 10.0603 | 6.9339 | 7.3969 | 9.8907 | -0.81997 | -5.9351
[32 empty] | Cycle 8 |  |  |  | 6.6655 | 7.1103 | 9.5081
2 | GIRMS\IRMS-operator | 2026-07-14 16:50 | 2026-07-14 17:00 |  | FALSE | MD23-3677Q - G. ruber | 1120-1122 | 2 | 2 | 2 | TRUE | Unknown | [5 empty] | 79 µbar | [10 empty] | 72 °C
3 | GIRMS\IRMS-operator | 2026-07-14 17:00 | 2026-07-14 17:56 | Success | FALSE | MD23-3677Q - G. ruber | 1116-1118 | 3 | 1 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 15.700 V | 9.4999 kV |  | 98 µbar | Carbon Dioxide: -0.0001 kV | 875 µbar | 14.954 V | 18.034 V | 415 µbar/min | 8.906 V | 1.34E-007 mbar | 11 % | 936 µbar | 72 °C | µ-Volume |  | Pre | 14.7616 | 16.0441 | 21.1437 | 15.2764 | 16.2884 | 21.7865 | 0.74973 | -0.5901 | 0.73882 | 0.014583 | 0.0051557 | -0.60132 | 0.0065979 | 0.0023327 | 0.81279 | 0.015545 | -0.60363 | 0.0065968
[32 empty] | Cycle 1 | 14.2556 | 15.4945 | 20.4191 | 14.5398 | 15.504 | 20.736 | 0.73529 | -0.60168
[32 empty] | Cycle 2 | 13.7494 | 14.9449 | 19.6943 | 13.852 | 14.7709 | 19.756 | 0.73883 | -0.60827
[32 empty] | Cycle 3 | 13.2666 | 14.4207 | 19.0028 | 13.2065 | 14.0832 | 18.8354 | 0.75483 | -0.60902
[32 empty] | Cycle 4 | 12.8025 | 13.9166 | 18.3387 | 12.598 | 13.4345 | 17.9677 | 0.74795 | -0.59888
[32 empty] | Cycle 5 | 12.3535 | 13.429 | 17.6959 | 12.0256 | 12.8246 | 17.1519 | 0.74874 | -0.59654
[32 empty] | Cycle 6 | 11.9249 | 12.963 | 17.0819 | 11.4852 | 12.2485 | 16.381 | 0.72049 | -0.59878
[32 empty] | Cycle 7 | 11.514 | 12.5167 | 16.4936 | 10.9754 | 11.7054 | 15.6543 | 0.71468 | -0.6073
[32 empty] | Cycle 8 |  |  |  | 10.4947 | 11.1929 | 14.969
4 | GIRMS\IRMS-operator | 2026-07-14 17:15 | 2026-07-14 17:45 |  | FALSE | MD23-3677Q - G. ruber | 1112-1114 | 4 | 2 | 3 | TRUE | Unknown | [5 empty] | 96 µbar | [10 empty] | 72 °C
5 | GIRMS\IRMS-operator | 2026-07-14 17:45 | 2026-07-14 18:40 | Success | FALSE | MD23-3677Q - G. ruber | 1108-1110 | 5 | 1 | 4 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 15.809 V | 9.5000 kV |  | 93 µbar | Carbon Dioxide: 0.0000 kV | 186 µbar | 15.612 V | 18.271 V | 283 µbar/min | 2.788 V | 1.36E-007 mbar | 10 % | 970 µbar | 72 °C | µ-Volume |  | Pre | 15.2621 | 16.5867 | 21.8624 | 15.9679 | 17.0251 | 22.7726 | 0.71316 | -0.50275 | 0.69373 | 0.02935 | 0.010377 | -0.52874 | 0.014476 | 0.0051182 | 0.76185 | 0.031382 | -0.53087 | 0.014489
[32 empty] | Cycle 1 | 14.6898 | 15.9655 | 21.0425 | 15.1834 | 16.1896 | 21.6541 | 0.733 | -0.53405
[32 empty] | Cycle 2 | 14.1462 | 15.3751 | 20.2641 | 14.4487 | 15.4061 | 20.6068 | 0.68598 | -0.53768
[32 empty] | Cycle 3 | 13.6222 | 14.8059 | 19.5141 | 13.7624 | 14.6765 | 19.6283 | 0.64818 | -0.53115
[32 empty] | Cycle 4 | 13.1246 | 14.2653 | 18.8017 | 13.1188 | 13.9899 | 18.7111 | 0.65507 | -0.52974
[32 empty] | Cycle 5 | 12.6473 | 13.7475 | 18.1178 | 12.5144 | 13.3458 | 17.8492 | 0.70999 | -0.54255
[32 empty] | Cycle 6 | 12.1894 | 13.2499 | 17.4627 | 11.9457 | 12.7393 | 17.0381 | 0.6962 | -0.51066
[32 empty] | Cycle 7 | 11.7473 | 12.7697 | 16.829 | 11.4113 | 12.1701 | 16.2763 | 0.70824 | -0.54134
[32 empty] | Cycle 8 |  |  |  | 10.909 | 11.634 | 15.5597
6 | GIRMS\IRMS-operator | 2026-07-14 17:56 | 2026-07-14 18:26 |  | FALSE | SHP2L |  | 6 | 2 | 4 | TRUE | QC Standard | SHP2L |  |  |  |  | 91 µbar | [10 empty] | 72 °C
7 | GIRMS\IRMS-operator | 2026-07-14 18:26 | 2026-07-14 19:21 | Success | FALSE | MD23-3677Q - G. ruber | 1104-1106 | 7 | 1 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 8.820 V | 9.4997 kV |  | 91 µbar | Carbon Dioxide: -0.0003 kV | 277 µbar | 8.178 V | 9.909 V | 347 µbar/min | 14.987 V | 8.72E-008 mbar | 26 % | 894 µbar | 72 °C | µ-Volume |  | Pre | 8.0405 | 8.743 | 11.5198 | 8.2989 | 8.8511 | 11.837 | 0.92228 | -0.46006 | 0.90735 | 0.017033 | 0.0064378 | -0.4772 | 0.016354 | 0.0061814 | 0.989 | 0.017607 | -0.47979 | 0.016327
[32 empty] | Cycle 1 | 7.787 | 8.4676 | 11.1568 | 7.9593 | 8.4896 | 11.3527 | 0.91024 | -0.46159
[32 empty] | Cycle 2 | 7.5468 | 8.2066 | 10.8127 | 7.6374 | 8.1461 | 10.894 | 0.93364 | -0.47703
[32 empty] | Cycle 3 | 7.3136 | 7.9531 | 10.4783 | 7.3322 | 7.8207 | 10.4586 | 0.88185 | -0.49702
[32 empty] | Cycle 4 | 7.0895 | 7.7102 | 10.1571 | 7.0423 | 7.5125 | 10.0453 | 0.89544 | -0.55323
[32 empty] | Cycle 5 | 6.8713 | 7.4728 | 9.8448 | 6.7665 | 7.2184 | 9.6522 | 0.90532 | -0.49865
[32 empty] | Cycle 6 | 6.6625 | 7.2456 | 9.5457 | 6.5039 | 6.9381 | 9.2771 | 0.90265 | -0.48248
[32 empty] | Cycle 7 | 6.4635 | 7.0297 | 9.261 | 6.2544 | 6.6718 | 8.9215 | 0.98588 | -0.46355
[32 empty] | Cycle 8 |  |  |  | 6.0174 | 6.4189 | 8.5835
8 | GIRMS\IRMS-operator | 2026-07-14 18:40 | 2026-07-14 19:10 |  | FALSE | MD23-3677Q - G. ruber | 1100-1102 | 8 | 2 | 5 | TRUE | Unknown | [5 empty] | 89 µbar | [10 empty] | 72 °C
9 | GIRMS\IRMS-operator | 2026-07-14 19:10 | 2026-07-14 20:05 | Success | FALSE | MD23-3677Q - G. ruber | 1096-1098 | 9 | 1 | 6 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 19.190 V | 9.4999 kV |  | 118 µbar | Carbon Dioxide: -0.0001 kV | 1,222 µbar | 15.759 V | 22.439 V | 850 µbar/min | 2.791 V | 1.38E-007 mbar | 10 % | 980 µbar | 72 °C | µ-Volume | 17.398 V | Pre | 18.5148 | 20.1168 | 26.5139 | 16.1238 | 17.1919 | 22.9951 | 0.44818 | -0.81567 | 0.48232 | 0.025775 | 0.0091127 | -0.81365 | 0.0059724 | 0.0022574 | 0.54629 | 0.027792 | -0.8156 | 0.006003
[32 empty] | Cycle 1 | 17.7786 | 19.3179 | 25.4602 | 15.3298 | 16.3457 | 21.8632 | 0.45047 | -0.80432
[32 empty] | Cycle 2 | 17.0803 | 18.5601 | 24.4604 | 14.5895 | 15.5574 | 20.8075 | 0.46414 | -0.80879
[32 empty] | Cycle 3 | 16.4097 | 17.8325 | 23.5007 | 13.8988 | 14.8211 | 19.8227 | 0.50527 | -0.81127
[32 empty] | Cycle 4 | 15.7781 | 17.1465 | 22.5965 | 13.2487 | 14.1283 | 18.8966 | 0.48253 | -0.82224
[32 empty] | Cycle 5 | 15.1842 | 16.5019 | 21.7461 | 12.6372 | 13.477 | 18.0244 | 0.5117 | -0.8358
[32 empty] | Cycle 6 | 14.593 | 15.8598 | 20.9003 | 12.0604 | 12.8615 | 17.2023 | 0.5093 | -0.81764
[32 empty] | Cycle 7 | 14.0476 | 15.2673 | 20.1192 | 11.5184 | 12.2844 | 16.4294 | 0.487 | -0.81561
[32 empty] | Cycle 8 |  |  |  | 11.0069 | 11.739 | 15.6996
10 | GIRMS\IRMS-operator | 2026-07-14 19:21 | 2026-07-14 19:51 |  | FALSE | MD23-3677Q - G. ruber | 1092-1094 | 10 | 2 | 6 | TRUE | Unknown | [5 empty] | 91 µbar | [10 empty] | 72 °C
11 | GIRMS\IRMS-operator | 2026-07-14 19:51 | 2026-07-14 20:45 | Success | FALSE | SHP2L |  | 11 | 1 | 7 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 14.175 V | 9.4996 kV |  | 93 µbar | Carbon Dioxide: -0.0004 kV | 150 µbar | 13.187 V | 16.153 V | 264 µbar/min | 15.130 V | 1.21E-007 mbar | 13 % | 948 µbar | 72 °C | µ-Volume |  | Pre | 12.8578 | 13.9544 | 18.3187 | 13.4541 | 14.3459 | 19.1877 | -0.76273 | -5.9344 | -0.82084 | 0.034462 | 0.012184 | -5.9472 | 0.011654 | 0.0041202 | -0.65815 | 0.036749 | -5.9517 | 0.011643
[32 empty] | Cycle 1 | 12.4087 | 13.467 | 17.6795 | 12.8311 | 13.6827 | 18.2999 | -0.81733 | -5.9265
[32 empty] | Cycle 2 | 11.9831 | 13.0056 | 17.0729 | 12.2444 | 13.0574 | 17.4634 | -0.80093 | -5.9509
[32 empty] | Cycle 3 | 11.5646 | 12.5517 | 16.477 | 11.6907 | 12.4674 | 16.6741 | -0.81124 | -5.9497
[32 empty] | Cycle 4 | 11.1761 | 12.1304 | 15.9235 | 11.1701 | 11.9124 | 15.9316 | -0.84602 | -5.9595
[32 empty] | Cycle 5 | 10.797 | 11.7189 | 15.3838 | 10.678 | 11.3889 | 15.2301 | -0.87447 | -5.9444
[32 empty] | Cycle 6 | 10.4269 | 11.3175 | 14.8565 | 10.2146 | 10.8939 | 14.5693 | -0.80638 | -5.9596
[32 empty] | Cycle 7 | 10.0801 | 10.9411 | 14.3626 | 9.7755 | 10.4256 | 13.9433 | -0.84762 | -5.9523
[32 empty] | Cycle 8 |  |  |  | 9.3604 | 9.9836 | 13.3511
12 | GIRMS\IRMS-operator | 2026-07-14 20:05 | 2026-07-14 20:34 |  | FALSE | MD23-3677Q - G. ruber | 1088-1090 | 12 | 2 | 7 | TRUE | Unknown | [5 empty] | 93 µbar | [10 empty] | 72 °C
13 | GIRMS\IRMS-operator | 2026-07-14 20:34 | 2026-07-14 21:31 | Success | FALSE | MD23-3677Q - G. ruber | 1084-1086 | 13 | 1 | 8 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 11.470 V | 9.5001 kV |  | 93 µbar | Carbon Dioxide: 0.0001 kV | 289 µbar | 10.581 V | 13.042 V | 352 µbar/min | 2.787 V | 1.04E-007 mbar | 19 % | 938 µbar | 72 °C | µ-Volume |  | Pre | 10.3747 | 11.2827 | 14.8586 | 10.7495 | 11.4648 | 15.3326 | 1.0657 | -0.83023 | 1.0648 | 0.032692 | 0.011558 | -0.86543 | 0.020874 | 0.00738 | 1.1714 | 0.035083 | -0.86877 | 0.020905
[32 empty] | Cycle 1 | 10.0223 | 10.8998 | 14.3537 | 10.2803 | 10.965 | 14.6633 | 1.0672 | -0.87343
[32 empty] | Cycle 2 | 9.6803 | 10.5282 | 13.8645 | 9.8379 | 10.4933 | 14.0332 | 1.0879 | -0.85367
[32 empty] | Cycle 3 | 9.3563 | 10.1765 | 13.4001 | 9.4182 | 10.0457 | 13.4343 | 1.1105 | -0.86875
[32 empty] | Cycle 4 | 9.0433 | 9.8358 | 12.9522 | 9.0219 | 9.6238 | 12.8689 | 1.0086 | -0.84631
[32 empty] | Cycle 5 | 8.7453 | 9.5124 | 12.5252 | 8.647 | 9.2244 | 12.3345 | 1.0771 | -0.87254
[32 empty] | Cycle 6 | 8.4566 | 9.1977 | 12.1121 | 8.2914 | 8.8448 | 11.8272 | 1.0266 | -0.88458
[32 empty] | Cycle 7 | 8.1769 | 8.8939 | 11.7117 | 7.9532 | 8.4837 | 11.3455 | 1.0746 | -0.89397
[32 empty] | Cycle 8 |  |  |  | 7.6332 | 8.1427 | 10.889
14 | GIRMS\IRMS-operator | 2026-07-14 20:45 | 2026-07-14 21:16 |  | FALSE | MD23-3677Q - G. ruber | 1080-1082 | 14 | 2 | 8 | TRUE | Unknown | [5 empty] | 91 µbar | [10 empty] | 72 °C
15 | GIRMS\IRMS-operator | 2026-07-14 21:16 | 2026-07-14 22:10 | Success | FALSE | MD23-3677Q - G. ruber | 1076-1078 | 15 | 1 | 9 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 20.641 V | 9.4999 kV |  | 96 µbar | Carbon Dioxide: -0.0001 kV | 172 µbar | 15.142 V | 24.011 V | 288 µbar/min | 10.298 V | 1.34E-007 mbar | 10 % | 975 µbar | 72 °C | µ-Volume | 18.918 V | Pre | 20.087 | 21.8302 | 28.7647 | 15.4961 | 16.5225 | 22.0998 | 0.68671 | -0.81841 | 0.72286 | 0.019676 | 0.0069564 | -0.82051 | 0.0079872 | 0.0030189 | 0.80366 | 0.020936 | -0.82301 | 0.0080189
[32 empty] | Cycle 1 | 19.2903 | 20.9655 | 27.6246 | 14.7401 | 15.7171 | 21.0216 | 0.70884 | -0.81345
[32 empty] | Cycle 2 | 18.5354 | 20.1461 | 26.5439 | 14.0356 | 14.9661 | 20.0178 | 0.73571 | -0.83014
[32 empty] | Cycle 3 | 17.8175 | 19.3667 | 25.5167 | 13.3732 | 14.2603 | 19.0734 | 0.72845 | -0.82275
[32 empty] | Cycle 4 | 17.1479 | 18.6398 | 24.5585 | 12.7524 | 13.5992 | 18.1885 | 0.71778 | -0.81914
[32 empty] | Cycle 5 | 16.4761 | 17.91 | 23.5969 | 12.1692 | 12.9779 | 17.357 | 0.71871 | -0.80917
[32 empty] | Cycle 6 | 15.8598 | 17.2408 | 22.714 | 11.6216 | 12.3941 | 16.5763 | 0.73529 | -0.83052
[32 empty] | Cycle 7 | 15.2668 | 16.5969 | 21.8659 | 11.1082 | 11.847 | 15.8442 | 0.75138 | -0.7872
[32 empty] | Cycle 8 |  |  |  | 10.6235 | 11.3304 | 15.1528
16 | GIRMS\IRMS-operator | 2026-07-14 21:31 | 2026-07-14 22:00 |  | FALSE | SHP2L |  | 16 | 2 | 9 | TRUE | QC Standard | SHP2L |  |  |  |  | 93 µbar | [10 empty] | 72 °C
17 | GIRMS\IRMS-operator | 2026-07-14 22:00 | 2026-07-14 22:57 | Success | FALSE | MD23-3677Q - G. ruber | 1072-1074 | 17 | 1 | 10 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 14.173 V | 9.5000 kV |  | 93 µbar | Carbon Dioxide: 0.0000 kV | 516 µbar | 12.994 V | 16.283 V | 244 µbar/min | 2.791 V | 1.21E-007 mbar | 14 % | 958 µbar | 72 °C | µ-Volume |  | Pre | 12.7081 | 13.8144 | 18.2063 | 13.2302 | 14.1081 | 18.8695 | 0.80936 | -0.44195 | 0.786 | 0.0059877 | 0.0022631 | -0.44494 | 0.015578 | 0.0055078 | 0.85751 | 0.0060153 | -0.4472 | 0.015585
[32 empty] | Cycle 1 | 12.246 | 13.3126 | 17.5445 | 12.6191 | 13.4572 | 17.9981 | 0.79016 | -0.44606
[32 empty] | Cycle 2 | 11.8068 | 12.8355 | 16.9156 | 12.0463 | 12.8473 | 17.1817 | 0.7783 | -0.44841
[32 empty] | Cycle 3 | 11.3928 | 12.3855 | 16.3231 | 11.5082 | 12.2735 | 16.4143 | 0.79566 | -0.41973
[32 empty] | Cycle 4 | 10.9954 | 11.9536 | 15.7537 | 10.9998 | 11.7309 | 15.6893 | 0.78951 | -0.43306
[32 empty] | Cycle 5 | 10.6137 | 11.5391 | 15.2068 | 10.5194 | 11.2194 | 15.0045 | 0.78354 | -0.45371
[32 empty] | Cycle 6 | 10.2499 | 11.1438 | 14.6855 | 10.0649 | 10.7349 | 14.3565 | 0.78328 | -0.47356
[32 empty] | Cycle 7 | 9.8996 | 10.7632 | 14.1842 | 9.6346 | 10.2761 | 13.7429 | 0.78158 | -0.44304
[32 empty] | Cycle 8 |  |  |  | 9.2273 | 9.8419 | 13.1619
18 | GIRMS\IRMS-operator | 2026-07-14 22:10 | 2026-07-14 22:41 |  | FALSE | MD23-3677Q - G. ruber | 1068-1070 | 18 | 2 | 10 | TRUE | Unknown | [5 empty] | 91 µbar | [10 empty] | 72 °C
19 | GIRMS\IRMS-operator | 2026-07-14 22:41 | 2026-07-14 23:35 | Success | FALSE | MD23-3677Q - G. ruber | 1064-1066 | 19 | 1 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 15.809 V | 9.4998 kV |  | 93 µbar | Carbon Dioxide: -0.0002 kV | 125 µbar | 15.003 V | 18.057 V | 288 µbar/min | 12.571 V | 1.33E-007 mbar | 10 % | 960 µbar | 72 °C | µ-Volume |  | Pre | 14.781 | 16.0692 | 21.1622 | 15.3366 | 16.3529 | 21.8724 | 0.99735 | -1.0395 | 0.99292 | 0.028982 | 0.010247 | -1.0452 | 0.013246 | 0.0046833 | 1.1011 | 0.030801 | -1.0486 | 0.013232
[32 empty] | Cycle 1 | 14.2443 | 15.4869 | 20.3946 | 14.5971 | 15.5649 | 20.8183 | 1.0378 | -1.0254
[32 empty] | Cycle 2 | 13.7398 | 14.9393 | 19.6727 | 13.8982 | 14.8202 | 19.822 | 1.002 | -1.035
[32 empty] | Cycle 3 | 13.27 | 14.4291 | 19.0001 | 13.2509 | 14.1321 | 18.8993 | 0.95902 | -1.0435
[32 empty] | Cycle 4 | 12.791 | 13.9085 | 18.3143 | 12.6402 | 13.4812 | 18.0283 | 0.94847 | -1.0574
[32 empty] | Cycle 5 | 12.345 | 13.4247 | 17.6761 | 12.0636 | 12.8666 | 17.2066 | 1.0105 | -1.0456
[32 empty] | Cycle 6 | 11.9162 | 12.9588 | 17.062 | 11.5212 | 12.2883 | 16.4327 | 1.0069 | -1.0686
[32 empty] | Cycle 7 | 11.5082 | 12.5153 | 16.4784 | 11.009 | 11.7427 | 15.7029 | 0.98132 | -1.0466
[32 empty] | Cycle 8 |  |  |  | 10.5266 | 11.2285 | 15.0146
20 | GIRMS\IRMS-operator | 2026-07-14 22:57 | 2026-07-14 23:25 |  | FALSE | MD23-3677Q - G. ruber | 1060-1062 | 20 | 2 | 11 | TRUE | Unknown | [5 empty] | 93 µbar | [10 empty] | 72 °C
21 | GIRMS\IRMS-operator | 2026-07-14 23:25 | 2026-07-15 00:21 | Success | FALSE | SHP2L |  | 21 | 1 | 12 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.002 V |  | 12.603 V | 9.5000 kV |  | 91 µbar | Carbon Dioxide: 0.0000 kV | 132 µbar | 11.626 V | 14.390 V | 132 µbar/min | 2.789 V | 1.11E-007 mbar | 17 % | 941 µbar | 72 °C | µ-Volume |  | Pre | 11.395 | 12.3681 | 16.2356 | 11.8224 | 12.6085 | 16.8628 | -0.81597 | -5.9674 | -0.82518 | 0.0063492 | 0.0023998 | -5.9789 | 0.02442 | 0.0086337 | -0.66175 | 0.0060802 | -5.9834 | 0.024424
[32 empty] | Cycle 1 | 10.9971 | 11.9363 | 15.6689 | 11.2928 | 12.0438 | 16.1069 | -0.81999 | -5.9339
[32 empty] | Cycle 2 | 10.6138 | 11.5206 | 15.1227 | 10.7933 | 11.5112 | 15.3945 | -0.82203 | -5.9602
[32 empty] | Cycle 3 | 10.251 | 11.127 | 14.6055 | 10.3211 | 11.0083 | 14.7216 | -0.83383 | -6.0077
[32 empty] | Cycle 4 | 9.9012 | 10.7475 | 14.1076 | 9.8755 | 10.5329 | 14.0862 | -0.82735 | -5.9814
[32 empty] | Cycle 5 | 9.5656 | 10.3836 | 13.6296 | 9.4543 | 10.084 | 13.4855 | -0.82559 | -5.9832
[32 empty] | Cycle 6 | 9.2447 | 10.0349 | 13.1722 | 9.0562 | 9.6596 | 12.9179 | -0.86511 | -6.0026
[32 empty] | Cycle 7 | 8.9343 | 9.6984 | 12.7303 | 8.6784 | 9.2567 | 12.3791 | -0.83154 | -5.9948
[32 empty] | Cycle 8 |  |  |  | 8.3209 | 8.8753 | 11.8693
22 | GIRMS\IRMS-operator | 2026-07-14 23:35 | 2026-07-15 00:06 |  | FALSE | MD23-3677Q - G. ruber | 1056-1058 | 22 | 2 | 12 | TRUE | Unknown | [5 empty] | 91 µbar | [10 empty] | 72 °C
23 | GIRMS\IRMS-operator | 2026-07-15 00:06 | 2026-07-15 01:00 | Success | FALSE | MD23-3677Q - G. ruber | 1052-1054 | 23 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 10.866 V | 9.4999 kV |  | 91 µbar | Carbon Dioxide: -0.0001 kV | 189 µbar | 10.887 V | 12.269 V | 274 µbar/min | 11.278 V | 1.06E-007 mbar | 17 % | 921 µbar | 72 °C | µ-Volume |  | Pre | 10.6376 | 11.5699 | 15.2326 | 11.0763 | 11.8142 | 15.7983 | 1.1193 | -0.96537 | 1.0991 | 0.023428 | 0.008283 | -0.96716 | 0.01411 | 0.0049887 | 1.2119 | 0.024883 | -0.97068 | 0.014106
[32 empty] | Cycle 1 | 10.2922 | 11.1944 | 14.7386 | 10.5912 | 11.2972 | 15.1064 | 1.0981 | -0.94427
[32 empty] | Cycle 2 | 9.9603 | 10.8336 | 14.263 | 10.1315 | 10.8071 | 14.4512 | 1.0995 | -0.97488
[32 empty] | Cycle 3 | 9.6398 | 10.4852 | 13.8043 | 9.6967 | 10.3435 | 13.8308 | 1.1405 | -0.96783
[32 empty] | Cycle 4 | 9.3331 | 10.1504 | 13.365 | 9.2857 | 9.9042 | 13.2448 | 1.0659 | -0.98304
[32 empty] | Cycle 5 | 9.0365 | 9.8281 | 12.9408 | 8.8964 | 9.4892 | 12.6897 | 1.1044 | -0.94948
[32 empty] | Cycle 6 | 8.7517 | 9.5181 | 12.5327 | 8.527 | 9.0948 | 12.1627 | 1.078 | -0.96996
[32 empty] | Cycle 7 | 8.4732 | 9.2157 | 12.1339 | 8.1775 | 8.7225 | 11.6645 | 1.0872 | -0.98245
[32 empty] | Cycle 8 |  |  |  | 7.8457 | 8.3687 | 11.1911
24 | GIRMS\IRMS-operator | 2026-07-15 00:21 | 2026-07-15 00:50 |  | FALSE | MD23-3677Q - G. ruber | 1048-1050 | 24 | 2 | 13 | TRUE | Unknown | [5 empty] | 91 µbar | [10 empty] | 72 °C
25 | GIRMS\IRMS-operator | 2026-07-15 00:50 | 2026-07-15 01:45 | Success | FALSE | MD23-3677Q - G. ruber | 1044-1046 | 25 | 1 | 14 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 9.076 V | 9.5000 kV |  | 623 µbar | Carbon Dioxide: 0.0000 kV | 250 µbar | 8.398 V | 10.233 V | 264 µbar/min | 2.788 V | 8.90E-008 mbar | 26 % | 936 µbar | 72 °C | µ-Volume |  | Pre | 8.2354 | 8.955 | 11.8031 | 8.5221 | 9.09 | 12.156 | 0.87048 | -0.15688 | 0.8518 | 0.01961 | 0.006933 | -0.16121 | 0.010484 | 0.0039624 | 0.91721 | 0.020497 | -0.1633 | 0.010466
[32 empty] | Cycle 1 | 7.9684 | 8.6648 | 11.4207 | 8.1741 | 8.719 | 11.6596 | 0.87784 | -0.14175
[32 empty] | Cycle 2 | 7.7085 | 8.382 | 11.0481 | 7.8436 | 8.3661 | 11.1883 | 0.84465 | -0.16565
[32 empty] | Cycle 3 | 7.4643 | 8.1169 | 10.6985 | 7.5277 | 8.0297 | 10.7378 | 0.87562 | -0.11821
[32 empty] | Cycle 4 | 7.2266 | 7.8584 | 10.3575 | 7.2282 | 7.7103 | 10.3105 | 0.83279 | -0.15975
[32 empty] | Cycle 5 | 6.9972 | 7.6095 | 10.0287 | 6.9433 | 7.407 | 9.9044 | 0.84431 | -0.17524
[32 empty] | Cycle 6 | 6.7759 | 7.3689 | 9.7117 | 6.672 | 7.1177 | 9.5172 | 0.83126 | -0.16144
[32 empty] | Cycle 7 | 6.5632 | 7.1377 | 9.4068 | 6.4133 | 6.842 | 9.1486 | 0.83743 | -0.16779
[32 empty] | Cycle 8 |  |  |  | 6.1668 | 6.5788 | 8.7967
26 | GIRMS\IRMS-operator | 2026-07-15 01:00 | 2026-07-15 01:29 |  | FALSE | SHP2L |  | 26 | 2 | 14 | TRUE | QC Standard | SHP2L |  |  |  |  | 91 µbar | [10 empty] | 72 °C
27 | GIRMS\IRMS-operator | 2026-07-15 01:29 | 2026-07-15 02:23 | Success | FALSE | MD23-3677Q - G. ruber | 1040-1042 | 27 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 9.355 V | 9.4999 kV |  | 96 µbar | Carbon Dioxide: -0.0001 kV | 279 µbar | 9.354 V | 10.468 V | 278 µbar/min | 8.214 V | 9.44E-008 mbar | 22 % | 907 µbar | 72 °C | µ-Volume |  | Pre | 9.1262 | 9.9269 | 13.0712 | 9.4994 | 10.1321 | 13.5494 | 1.242 | -0.7886 | 1.2283 | 0.030911 | 0.010929 | -0.81443 | 0.019171 | 0.0067779 | 1.3444 | 0.033059 | -0.81808 | 0.019189
[32 empty] | Cycle 1 | 8.842 | 9.6175 | 12.6637 | 9.0984 | 9.7043 | 12.9779 | 1.2313 | -0.83327
[32 empty] | Cycle 2 | 8.5687 | 9.3209 | 12.2724 | 8.72 | 9.3005 | 12.438 | 1.284 | -0.83168
[32 empty] | Cycle 3 | 8.3047 | 9.0337 | 11.8946 | 8.3632 | 8.9204 | 11.9293 | 1.2405 | -0.79224
[32 empty] | Cycle 4 | 8.0513 | 8.7579 | 11.5316 | 8.0242 | 8.5592 | 11.4454 | 1.1795 | -0.8111
[32 empty] | Cycle 5 | 7.8045 | 8.4897 | 11.178 | 7.701 | 8.2146 | 10.985 | 1.1994 | -0.83969
[32 empty] | Cycle 6 | 7.5644 | 8.2287 | 10.8345 | 7.3927 | 7.8858 | 10.5451 | 1.2246 | -0.80389
[32 empty] | Cycle 7 | 7.3338 | 7.9779 | 10.5041 | 7.0995 | 7.573 | 10.1269 | 1.2249 | -0.815
[32 empty] | Cycle 8 |  |  |  | 6.821 | 7.2761 | 9.7297
28 | GIRMS\IRMS-operator | 2026-07-15 01:45 | 2026-07-15 02:13 |  | FALSE | MD23-3677Q - G. ruber | 1036-1038 | 28 | 2 | 15 | TRUE | Unknown | [5 empty] | 93 µbar | [10 empty] | 72 °C
29 | GIRMS\IRMS-operator | 2026-07-15 02:13 | 2026-07-15 02:58 |  | FALSE | MD23-3677Q - G. ruber | 1032-1034 | 29 | 1 | 16 | TRUE | Unknown | [6 empty] | 84 µbar | Carbon Dioxide: 0.0001 kV | 418 µbar |  |  | 288 µbar/min |  |  |  | 941 µbar | 72 °C
30 | GIRMS\IRMS-operator | 2026-07-15 02:23 | 2026-07-15 02:53 |  | FALSE | MD23-3677Q - G. ruber | 1028-1030 | 30 | 2 | 16 | TRUE | Unknown | [5 empty] | 84 µbar | [10 empty] | 72 °C
31 | GIRMS\IRMS-operator | 2026-07-15 02:53 | 2026-07-15 03:48 |  | FALSE | SHP2L |  | 31 | 1 | 17 | TRUE | QC Standard | SHP2L |  |  | 10.808 V | 9.5000 kV |  | 101 µbar | Carbon Dioxide: 0.0000 kV | 186 µbar | 10.029 V | 12.162 V | 269 µbar/min | 2.748 V | 9.96E-008 mbar | 20 % | 948 µbar | 72 °C | µ-Volume