## Sheet1
New Table
Sample | [12 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Pressure Adjust failed with Target Intensity | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[32 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[32 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-08-17 11:54 | 2026-08-17 12:57 | Running | FALSE | SHP2L |  | 1 | 2 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 12.707 V | 9.4981 kV | 113 µbar | 128 µbar | Carbon Dioxide: -0.0019 kV | 162 µbar | 10.164 V | 14.263 V | 11.076 V | 112 µbar/min | 2.779 V | 1.05E-007 mbar | 10 % | 1,024 µbar | 72 °C | µ-Volume | Pre | 11.5408 | 12.5243 | 16.4387 | 10.3178 | 11.0036 | 14.7119 | -0.95306 | -5.9443 | -0.91026 | 0.032106 | 0.011351 | -5.9496 | 0.0080767 | 0.0030527 | -0.75388 | 0.034196 | -5.9539 | 0.0080798
[31 empty] | Cycle 1 | 11.1528 | 12.1033 | 15.8862 | 9.8738 | 10.5299 | 14.079 | -0.95162 | -5.9625
[31 empty] | Cycle 2 | 10.7788 | 11.6983 | 15.3539 | 9.4539 | 10.0824 | 13.4808 | -0.86618 | -5.9452
[31 empty] | Cycle 3 | 10.4233 | 11.3122 | 14.8475 | 9.0566 | 9.6584 | 12.9142 | -0.90196 | -5.9526
[31 empty] | Cycle 4 | 10.0803 | 10.9404 | 14.3595 | 8.6796 | 9.2568 | 12.3768 | -0.88327 | -5.9181
[31 empty] | Cycle 5 | 9.7491 | 10.5811 | 13.8875 | 8.3214 | 8.8748 | 11.8661 | -0.91438 | -5.9482
[31 empty] | Cycle 6 | 9.4311 | 10.236 | 13.4349 | 7.9831 | 8.5146 | 11.3839 | -0.92673 | -5.9384
[31 empty] | Cycle 7 | 9.1265 | 9.9058 | 13.0008 | 7.6611 | 8.1709 | 10.9249 | -0.88487 | -5.956
[31 empty] | Cycle 8 |  |  |  | 7.3558 | 7.8456 | 10.4896
2 | GIRMS\IRMS-operator | 2026-08-17 12:27 | 2026-08-17 13:19 | Running | FALSE | MD23-3677Q - N. dutertrei | 436-438 | 2 | 2 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 9.132 V | 9.4980 kV | 123 µbar | 123 µbar | Carbon Dioxide: -0.0020 kV | 145 µbar | 8.444 V | 10.123 V |  | 49 µbar/min | 9.954 V | 9.16E-008 mbar | 15 % | 997 µbar | 72 °C | µ-Volume | Pre | 8.3041 | 9.0374 | 11.9039 | 8.569 | 9.1403 | 12.219 | 1.6708 | 0.34561 | 1.6705 | 0.014115 | 0.0049904 | 0.33818 | 0.0093956 | 0.0033218 | 1.775 | 0.014809 | 0.33477 | 0.0093785
[31 empty] | Cycle 1 | 8.0422 | 8.7524 | 11.5285 | 8.2165 | 8.7646 | 11.7165 | 1.6604 | 0.33648
[31 empty] | Cycle 2 | 7.7899 | 8.4779 | 11.1669 | 7.8821 | 8.408 | 11.24 | 1.67 | 0.34136
[31 empty] | Cycle 3 | 7.5459 | 8.2126 | 10.8174 | 7.5648 | 8.0695 | 10.7874 | 1.6807 | 0.34368
[31 empty] | Cycle 4 | 7.3092 | 7.9546 | 10.4784 | 7.2638 | 7.7487 | 10.3585 | 1.698 | 0.3514
[31 empty] | Cycle 5 | 7.0805 | 7.7048 | 10.1503 | 6.9772 | 7.4417 | 9.9499 | 1.6505 | 0.32224
[31 empty] | Cycle 6 | 6.8608 | 7.466 | 9.8354 | 6.7045 | 7.151 | 9.5611 | 1.6683 | 0.329
[31 empty] | Cycle 7 | 6.6479 | 7.2342 | 9.5302 | 6.4448 | 6.8742 | 9.1908 | 1.6654 | 0.33567
[31 empty] | Cycle 8 |  |  |  | 6.197 | 6.6097 | 8.8373
3 | GIRMS\IRMS-operator | 2026-08-17 12:57 | 2026-08-17 13:56 | Running | FALSE | MD23-3677Q - N. dutertrei | 432-434 | 1 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 6.867 V | 9.4979 kV | 123 µbar | 125 µbar | Carbon Dioxide: -0.0021 kV | 130 µbar | 6.385 V | 7.520 V |  | 459 µbar/min | 8.269 V | 7.75E-008 mbar | 24 % | 960 µbar | 72 °C | µ-Volume | Pre | 6.3413 | 6.8974 | 9.0887 | 6.4873 | 6.9193 | 9.2513 | 1.2296 | 0.14263 | 1.2286 | 0.022298 | 0.0084279 | 0.15118 | 0.012658 | 0.0044752 | 1.309 | 0.024153 | 0.14854 | 0.012721
[31 empty] | Cycle 1 | 6.1559 | 6.6961 | 8.8233 | 6.2368 | 6.652 | 8.8937 | 1.2524 | 0.16147
[31 empty] | Cycle 2 | 5.9747 | 6.4989 | 8.5636 | 5.9985 | 6.3981 | 8.5543 | 1.234 | 0.13618
[31 empty] | Cycle 3 | 5.7991 | 6.3086 | 8.3119 | 5.7708 | 6.1552 | 8.2298 | 1.3232 | 0.14203
[31 empty] | Cycle 4 | 5.6306 | 6.1247 | 8.0704 | 5.5539 | 5.924 | 7.9203 | 1.2266 | 0.15659
[31 empty] | Cycle 5 | 5.4673 | 5.9473 | 7.8363 | 5.3468 | 5.7031 | 7.6248 | 1.2567 | 0.1385
[31 empty] | Cycle 6 | 5.3072 | 5.773 | 7.6072 | 5.1491 | 5.4923 | 7.3432 | 1.2004 | 0.16497
[31 empty] | Cycle 7 | 5.1551 | 5.6076 | 7.3891 | 4.9597 | 5.2904 | 7.073 | 1.2004 | 0.1671
[31 empty] | Cycle 8 |  |  |  | 4.7789 | 5.0976 | 6.8152
4 | GIRMS\IRMS-operator | 2026-08-17 13:19 | 2026-08-17 14:29 | Running | FALSE | MD23-3677Q - N. dutertrei | 424-426 | 2 | 3 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 8.768 V | 9.4980 kV | 125 µbar | 697 µbar | Carbon Dioxide: -0.0020 kV | 150 µbar | 8.035 V | 9.702 V |  | 171 µbar/min | 6.282 V | 8.85E-008 mbar | 15 % | 1,026 µbar | 72 °C | µ-Volume | Pre | 7.9399 | 8.642 | 11.3867 | 8.1465 | 8.6882 | 11.6171 | 1.9582 | 0.73257 | 1.963 | 0.03288 | 0.011625 | 0.74211 | 0.0075162 | 0.0026574 | 2.073 | 0.035028 | 0.73847 | 0.0074831
[31 empty] | Cycle 1 | 7.6906 | 8.3708 | 11.0292 | 7.8155 | 8.3355 | 11.1451 | 1.9549 | 0.74041
[31 empty] | Cycle 2 | 7.4502 | 8.1093 | 10.6848 | 7.501 | 8.0001 | 10.6966 | 1.9673 | 0.74595
[31 empty] | Cycle 3 | 7.2189 | 7.8579 | 10.3532 | 7.2024 | 7.6817 | 10.2712 | 1.9955 | 0.75174
[31 empty] | Cycle 4 | 6.9951 | 7.614 | 10.0322 | 6.919 | 7.3795 | 9.8669 | 1.9402 | 0.73027
[31 empty] | Cycle 5 | 6.777 | 7.3767 | 9.7195 | 6.6493 | 7.0921 | 9.4827 | 1.924 | 0.74162
[31 empty] | Cycle 6 | 6.565 | 7.1461 | 9.4154 | 6.3925 | 6.8183 | 9.1162 | 1.9392 | 0.74605
[31 empty] | Cycle 7 | 6.3567 | 6.92 | 9.1168 | 6.1472 | 6.5568 | 8.7666 | 2.0246 | 0.74829
[31 empty] | Cycle 8 |  |  |  | 5.9136 | 6.3077 | 8.4335
5 | GIRMS\IRMS-operator | 2026-08-17 13:56 | 2026-08-17 15:19 | Running | FALSE | MD23-3677Q - N. dutertrei | 416-418 | 1 | 4 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 10.107 V | 9.4981 kV | 123 µbar | 125 µbar | Carbon Dioxide: -0.0019 kV | 128 µbar | 9.170 V | 11.211 V |  | 484 µbar/min | 2.786 V | 9.62E-008 mbar | 13 % | 1,007 µbar | 72 °C | µ-Volume | Pre | 8.9875 | 9.7818 | 12.8849 | 9.2919 | 9.9095 | 13.2504 | 1.9532 | 0.41652 | 1.9171 | 0.025584 | 0.0090454 | 0.42663 | 0.024768 | 0.008757 | 2.0356 | 0.027511 | 0.42275 | 0.024803
[31 empty] | Cycle 1 | 8.7058 | 9.4751 | 12.4813 | 8.9001 | 9.4917 | 12.6917 | 1.9402 | 0.44874
[31 empty] | Cycle 2 | 8.4332 | 9.1786 | 12.0907 | 8.5305 | 9.0976 | 12.1646 | 1.9294 | 0.45297
[31 empty] | Cycle 3 | 8.1732 | 8.8956 | 11.7177 | 8.1811 | 8.7254 | 11.6666 | 1.8962 | 0.41332
[31 empty] | Cycle 4 | 7.9222 | 8.6228 | 11.358 | 7.8494 | 8.3718 | 11.1939 | 1.9325 | 0.38545
[31 empty] | Cycle 5 | 7.6797 | 8.3588 | 11.0107 | 7.534 | 8.0354 | 10.7446 | 1.9001 | 0.4062
[31 empty] | Cycle 6 | 7.4467 | 8.1054 | 10.6767 | 7.2347 | 7.7164 | 10.3173 | 1.9075 | 0.43994
[31 empty] | Cycle 7 | 7.2211 | 7.8599 | 10.3535 | 6.95 | 7.413 | 9.9113 | 1.8779 | 0.44991
[31 empty] | Cycle 8 |  |  |  | 6.6792 | 7.1244 | 9.5255
6 | GIRMS\IRMS-operator | 2026-08-17 14:29 | 2026-08-17 15:41 | Running | FALSE | SHP2L |  | 2 | 4 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 9.471 V | 9.4979 kV | 123 µbar | 130 µbar | Carbon Dioxide: -0.0021 kV | 132 µbar | 9.237 V | 10.465 V |  | 484 µbar/min | 8.980 V | 9.62E-008 mbar | 12 % | 1,021 µbar | 72 °C | µ-Volume | Pre | 9.0774 | 9.8529 | 12.9317 | 9.3641 | 9.9861 | 13.3532 | -0.74678 | -5.8953 | -0.80494 | 0.035856 | 0.012677 | -5.8793 | 0.012892 | 0.0045581 | -0.64365 | 0.038521 | -5.8838 | 0.012932
[31 empty] | Cycle 1 | 8.8031 | 9.5553 | 12.5412 | 8.969 | 9.5653 | 12.7901 | -0.76717 | -5.8722
[31 empty] | Cycle 2 | 8.5366 | 9.2656 | 12.1615 | 8.5955 | 9.1672 | 12.2574 | -0.82154 | -5.8813
[31 empty] | Cycle 3 | 8.2809 | 8.9888 | 11.7976 | 8.243 | 8.7913 | 11.755 | -0.77926 | -5.8719
[31 empty] | Cycle 4 | 8.0323 | 8.7187 | 11.4432 | 7.908 | 8.4343 | 11.2771 | -0.82781 | -5.8707
[31 empty] | Cycle 5 | 7.7878 | 8.4534 | 11.095 | 7.5894 | 8.0946 | 10.8227 | -0.82092 | -5.8869
[31 empty] | Cycle 6 | 7.5482 | 8.1933 | 10.7535 | 7.2866 | 7.7716 | 10.3915 | -0.8261 | -5.8963
[31 empty] | Cycle 7 | 7.3173 | 7.9426 | 10.425 | 6.9992 | 7.4652 | 9.9811 | -0.84998 | -5.8599
[31 empty] | Cycle 8 |  |  |  | 6.7253 | 7.1732 | 9.5909
7 | GIRMS\IRMS-operator | 2026-08-17 15:19 | 2026-08-17 16:18 | Running | FALSE | MD23-3677Q - N. dutertrei | 408-410 | 1 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 9.806 V | 9.4978 kV | 130 µbar | 123 µbar | Carbon Dioxide: -0.0022 kV | 140 µbar | 9.439 V | 10.941 V |  | 254 µbar/min | 9.012 V | 9.86E-008 mbar | 11 % | 1,016 µbar | 72 °C | µ-Volume | Pre | 9.2932 | 10.1081 | 13.3197 | 9.5849 | 10.2216 | 13.6673 | 1.3442 | 0.19658 | 1.3079 | 0.028482 | 0.01007 | 0.19204 | 0.013962 | 0.0049363 | 1.3923 | 0.030569 | 0.18929 | 0.013988
[31 empty] | Cycle 1 | 8.9952 | 9.7842 | 12.8928 | 9.1784 | 9.7883 | 13.0883 | 1.3439 | 0.2052
[31 empty] | Cycle 2 | 8.7076 | 9.4718 | 12.4806 | 8.7949 | 9.3797 | 12.5414 | 1.3016 | 0.19767
[31 empty] | Cycle 3 | 8.4311 | 9.1708 | 12.0846 | 8.432 | 8.9937 | 12.0239 | 1.2565 | 0.2122
[31 empty] | Cycle 4 | 8.1655 | 8.882 | 11.7038 | 8.0878 | 8.6258 | 11.5333 | 1.3008 | 0.18104
[31 empty] | Cycle 5 | 7.9093 | 8.6037 | 11.3368 | 7.761 | 8.2776 | 11.0674 | 1.3173 | 0.17819
[31 empty] | Cycle 6 | 7.6615 | 8.3341 | 10.9817 | 7.4506 | 7.9466 | 10.6252 | 1.3061 | 0.17163
[31 empty] | Cycle 7 | 7.4131 | 8.0639 | 10.6258 | 7.1553 | 7.6318 | 10.2041 | 1.2925 | 0.19382
[31 empty] | Cycle 8 |  |  |  | 6.8745 | 7.3323 | 9.8035
8 | GIRMS\IRMS-operator | 2026-08-17 15:41 | 2026-08-17 16:54 | Running | FALSE | MD23-3677Q - N. dutertrei | 404-406 | 2 | 5 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 4.981 V | 9.4980 kV | 120 µbar | 125 µbar | Carbon Dioxide: -0.0020 kV | 125 µbar | 4.636 V | 5.405 V |  | 474 µbar/min | 9.210 V | 6.72E-008 mbar | 37 % | 909 µbar | 72 °C | µ-Volume | Pre | 4.5937 | 4.9952 | 6.5834 | 4.7271 | 5.0422 | 6.7418 | 0.8706 | -0.054129 | 0.87949 | 0.029207 | 0.010326 | -0.056944 | 0.019412 | 0.006863 | 0.94319 | 0.031177 | -0.058992 | 0.019425
[31 empty] | Cycle 1 | 4.465 | 4.8552 | 6.399 | 4.5559 | 4.8598 | 6.4975 | 0.83867 | -0.040732
[31 empty] | Cycle 2 | 4.34 | 4.7198 | 6.2199 | 4.3926 | 4.6857 | 6.2646 | 0.9191 | -0.032353
[31 empty] | Cycle 3 | 4.2189 | 4.5879 | 6.0464 | 4.236 | 4.5186 | 6.0413 | 0.88094 | -0.046782
[31 empty] | Cycle 4 | 4.0987 | 4.4572 | 5.8739 | 4.0863 | 4.3589 | 5.8279 | 0.8857 | -0.090334
[31 empty] | Cycle 5 | 3.9828 | 4.3311 | 5.708 | 3.9424 | 4.2055 | 5.6227 | 0.85989 | -0.053406
[31 empty] | Cycle 6 | 3.8742 | 4.2133 | 5.5523 | 3.8046 | 4.0585 | 5.4261 | 0.92206 | -0.057832
[31 empty] | Cycle 7 | 3.7653 | 4.0946 | 5.3962 | 3.6728 | 3.9178 | 5.238 | 0.85898 | -0.079982
[31 empty] | Cycle 8 |  |  |  | 3.5459 | 3.7825 | 5.0574
9 | GIRMS\IRMS-operator | 2026-08-17 16:18 | 2026-08-17 17:39 | Running | FALSE | MD23-3677Q - N. dutertrei | 400-402 | 1 | 6 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 4.876 V | 9.4980 kV | 125 µbar | 123 µbar | Carbon Dioxide: -0.0020 kV | 130 µbar | 4.622 V | 5.256 V |  | 444 µbar/min | 2.785 V | 6.56E-008 mbar | 41 % | 904 µbar | 72 °C | µ-Volume | Pre | 4.5493 | 4.9462 | 6.5199 | 4.7106 | 5.0252 | 6.7183 | 0.6403 | -0.031127 | 0.66775 | 0.027197 | 0.0096156 | -0.054131 | 0.022783 | 0.0080548 | 0.71651 | 0.029728 | -0.055699 | 0.022852
[31 empty] | Cycle 1 | 4.4245 | 4.8104 | 6.3411 | 4.5403 | 4.8435 | 6.4753 | 0.6346 | -0.017411
[31 empty] | Cycle 2 | 4.3035 | 4.6791 | 6.1675 | 4.3776 | 4.6696 | 6.2432 | 0.71758 | -0.069391
[31 empty] | Cycle 3 | 4.1855 | 4.5506 | 5.9986 | 4.2212 | 4.5028 | 6.0205 | 0.67646 | -0.043115
[31 empty] | Cycle 4 | 4.0706 | 4.4258 | 5.8337 | 4.0717 | 4.3433 | 5.8069 | 0.68819 | -0.084583
[31 empty] | Cycle 5 | 3.9592 | 4.3046 | 5.6741 | 3.9281 | 4.1902 | 5.6025 | 0.67402 | -0.072852
[31 empty] | Cycle 6 | 3.8512 | 4.1872 | 5.5193 | 3.791 | 4.0438 | 5.4066 | 0.65397 | -0.050079
[31 empty] | Cycle 7 | 3.7457 | 4.0725 | 5.368 | 3.6594 | 3.9037 | 5.2188 | 0.65685 | -0.064493
[31 empty] | Cycle 8 |  |  |  | 3.5332 | 3.769 | 5.039
10 | GIRMS\IRMS-operator | 2026-08-17 16:54 | 2026-08-17 18:06 | Running | FALSE | MD23-3677Q - N. dutertrei | 396-398 | 2 | 6 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 5.579 V | 9.4979 kV | 123 µbar | 128 µbar | Carbon Dioxide: -0.0021 kV | 159 µbar | 5.395 V | 6.034 V |  | 122 µbar/min | 4.565 V | 7.16E-008 mbar | 33 % | 941 µbar | 72 °C | µ-Volume | Pre | 5.3813 | 5.854 | 7.7121 | 5.4875 | 5.8533 | 7.8259 | 1.272 | -0.011437 | 1.2037 | 0.03937 | 0.013919 | -0.039359 | 0.023299 | 0.0082374 | 1.2895 | 0.041636 | -0.042122 | 0.023273
[31 empty] | Cycle 1 | 5.2325 | 5.6919 | 7.4985 | 5.2829 | 5.6351 | 7.5339 | 1.2195 | -0.044022
[31 empty] | Cycle 2 | 5.0869 | 5.5335 | 7.29 | 5.0881 | 5.4276 | 7.2563 | 1.1999 | -0.044601
[31 empty] | Cycle 3 | 4.9454 | 5.3796 | 7.0872 | 4.9017 | 5.2286 | 6.9906 | 1.1948 | -0.066836
[31 empty] | Cycle 4 | 4.8084 | 5.2305 | 6.8908 | 4.7237 | 5.0388 | 6.7366 | 1.1533 | -0.070029
[31 empty] | Cycle 5 | 4.6744 | 5.0848 | 6.6991 | 4.5534 | 4.8573 | 6.4938 | 1.1534 | -0.023547
[31 empty] | Cycle 6 | 4.5412 | 4.9401 | 6.5081 | 4.3899 | 4.683 | 6.2606 | 1.2056 | -0.046303
[31 empty] | Cycle 7 | 4.4155 | 4.8034 | 6.3281 | 4.2334 | 4.5158 | 6.0374 | 1.2314 | -0.0081002
[31 empty] | Cycle 8 |  |  |  | 4.084 | 4.3565 | 5.8243
11 | GIRMS\IRMS-operator | 2026-08-17 17:39 | 2026-08-17 18:43 | Running | FALSE | SHP2L |  | 1 | 7 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.002 V |  | 18.465 V | 9.4982 kV | 128 µbar | 130 µbar | Carbon Dioxide: -0.0018 kV | 123 µbar | 9.905 V | 21.250 V | 16.963 V | 440 µbar/min | 5.322 V | 1.00E-007 mbar | 10 % | 1,075 µbar | 72 °C | µ-Volume | Pre | 17.9556 | 19.4769 | 25.5704 | 10.0582 | 10.7262 | 14.3424 | -1.3955 | -6.2162 | -1.2987 | 0.081566 | 0.028838 | -6.1846 | 0.033487 | 0.01184 | -1.1606 | 0.086189 | -6.1883 | 0.033362
[31 empty] | Cycle 1 | 17.2911 | 18.7572 | 24.6246 | 9.6322 | 10.2727 | 13.7354 | -1.4131 | -6.2184
[31 empty] | Cycle 2 | 16.6591 | 18.0727 | 23.7251 | 9.2251 | 9.8394 | 13.1552 | -1.361 | -6.2047
[31 empty] | Cycle 3 | 16.0572 | 17.4209 | 22.8684 | 8.8395 | 9.4273 | 12.6053 | -1.262 | -6.1969
[31 empty] | Cycle 4 | 15.4735 | 16.7877 | 22.0378 | 8.4745 | 9.0382 | 12.0852 | -1.2837 | -6.1924
[31 empty] | Cycle 5 | 14.9206 | 16.1885 | 21.2508 | 8.1284 | 8.6695 | 11.5919 | -1.263 | -6.1725
[31 empty] | Cycle 6 | 14.3907 | 15.6146 | 20.4964 | 7.8 | 8.3192 | 11.1232 | -1.2058 | -6.1543
[31 empty] | Cycle 7 | 13.8748 | 15.0551 | 19.7627 | 7.4885 | 7.9871 | 10.6792 | -1.2052 | -6.1211
[31 empty] | Cycle 8 |  |  |  | 7.1917 | 7.6706 | 10.2561
12 | GIRMS\IRMS-operator | 2026-08-17 18:06 | 2026-08-17 19:20 | Running | FALSE | MD23-3677Q - N. dutertrei | 392-394 | 2 | 7 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 5.682 V | 9.4979 kV | 123 µbar | 125 µbar | Carbon Dioxide: -0.0021 kV | 135 µbar | 5.262 V | 6.215 V |  | 474 µbar/min | 9.658 V | 7.09E-008 mbar | 32 % | 931 µbar | 72 °C | µ-Volume | Pre | 5.2311 | 5.6945 | 7.493 | 5.3552 | 5.7122 | 7.6376 | 1.9441 | -0.57011 | 1.9521 | 0.015813 | 0.0055907 | -0.55672 | 0.011398 | 0.0040299 | 2.1094 | 0.016634 | -0.56173 | 0.011386
[31 empty] | Cycle 1 | 5.0779 | 5.5277 | 7.2736 | 5.1569 | 5.5008 | 7.3544 | 1.9412 | -0.55046
[31 empty] | Cycle 2 | 4.9302 | 5.367 | 7.0619 | 4.9678 | 5.299 | 7.0849 | 1.9591 | -0.56432
[31 empty] | Cycle 3 | 4.7864 | 5.2106 | 6.8559 | 4.7867 | 5.1061 | 6.8266 | 1.9508 | -0.5579
[31 empty] | Cycle 4 | 4.6495 | 5.0617 | 6.66 | 4.6135 | 4.9213 | 6.5797 | 1.923 | -0.56987
[31 empty] | Cycle 5 | 4.5181 | 4.9187 | 6.4717 | 4.4476 | 4.7447 | 6.3432 | 1.9598 | -0.55558
[31 empty] | Cycle 6 | 4.3858 | 4.7746 | 6.2823 | 4.2889 | 4.575 | 6.1166 | 1.9698 | -0.54856
[31 empty] | Cycle 7 | 4.2565 | 4.6339 | 6.0971 | 4.1365 | 4.4125 | 5.8994 | 1.9693 | -0.53694
[31 empty] | Cycle 8 |  |  |  | 3.991 | 4.2574 | 5.6918
13 | GIRMS\IRMS-operator | 2026-08-17 18:43 | 2026-08-17 20:10 | Running | FALSE | MD23-3677Q - N. dutertrei | 388-390 | 1 | 8 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 6.551 V | 9.4981 kV | 123 µbar | 120 µbar | Carbon Dioxide: -0.0019 kV | 142 µbar | 6.006 V | 7.164 V |  | 230 µbar/min | 2.797 V | 7.38E-008 mbar | 29 % | 946 µbar | 72 °C | µ-Volume | Pre | 5.9688 | 6.4975 | 8.5461 | 6.1024 | 6.5091 | 8.7028 | 1.9624 | -0.95327 | 1.9811 | 0.01289 | 0.0045575 | -0.91128 | 0.025099 | 0.0088739 | 2.1535 | 0.013278 | -0.91673 | 0.025109
[31 empty] | Cycle 1 | 5.7863 | 6.299 | 8.2853 | 5.8698 | 6.2612 | 8.3713 | 1.9657 | -0.92101
[31 empty] | Cycle 2 | 5.6091 | 6.106 | 8.0314 | 5.648 | 6.0245 | 8.055 | 1.9735 | -0.92817
[31 empty] | Cycle 3 | 5.4394 | 5.9215 | 7.7884 | 5.4372 | 5.7997 | 7.7542 | 1.994 | -0.92446
[31 empty] | Cycle 4 | 5.2757 | 5.7432 | 7.554 | 5.2355 | 5.5846 | 7.4666 | 1.9949 | -0.90819
[31 empty] | Cycle 5 | 5.1175 | 5.571 | 7.3277 | 5.0429 | 5.3792 | 7.1918 | 1.9826 | -0.88143
[31 empty] | Cycle 6 | 4.965 | 5.4051 | 7.1094 | 4.8587 | 5.1826 | 6.9291 | 1.9936 | -0.88714
[31 empty] | Cycle 7 | 4.8171 | 5.2442 | 6.8978 | 4.6827 | 4.9951 | 6.6783 | 1.982 | -0.88657
[31 empty] | Cycle 8 |  |  |  | 4.5145 | 4.8156 | 6.4385
14 | GIRMS\IRMS-operator | 2026-08-17 19:20 | 2026-08-17 20:34 | Running | FALSE | MD23-3677Q - N. dutertrei | 380-382 | 2 | 8 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 5.855 V | 9.4981 kV | 120 µbar | 120 µbar | Carbon Dioxide: -0.0019 kV | 135 µbar | 5.922 V | 6.360 V |  | 479 µbar/min | 5.922 V | 7.45E-008 mbar | 29 % | 933 µbar | 72 °C | µ-Volume | Pre | 5.9079 | 6.4301 | 8.4635 | 6.02 | 6.4211 | 8.5852 | 1.809 | -0.403 | 1.7902 | 0.017502 | 0.0066151 | -0.37226 | 0.019751 | 0.006983 | 1.9293 | 0.0188 | -0.37669 | 0.01978
[31 empty] | Cycle 1 | 5.741 | 6.2484 | 8.2249 | 5.7923 | 6.1783 | 8.2606 | 1.8039 | -0.35629
[31 empty] | Cycle 2 | 5.578 | 6.0711 | 7.9914 | 5.5749 | 5.9464 | 7.9508 | 1.8022 | -0.36636
[31 empty] | Cycle 3 | 5.4189 | 5.8979 | 7.7634 | 5.367 | 5.7247 | 7.6541 | 1.798 | -0.35156
[31 empty] | Cycle 4 | 5.2639 | 5.7292 | 7.5411 | 5.1684 | 5.513 | 7.3707 | 1.7838 | -0.39918
[31 empty] | Cycle 5 | 5.1133 | 5.5655 | 7.3258 | 4.9784 | 5.3104 | 7.1003 | 1.7679 | -0.35594
[31 empty] | Cycle 6 | 4.9679 | 5.4072 | 7.1172 | 4.797 | 5.1172 | 6.841 | 1.7258 | -0.36672
[31 empty] | Cycle 7 | 4.8243 | 5.251 | 6.9116 | 4.6231 | 4.9318 | 6.5933 | 1.7666 | -0.37903
[31 empty] | Cycle 8 |  |  |  | 4.4573 | 4.7545 | 6.3569
15 | GIRMS\IRMS-operator | 2026-08-17 20:10 | 2026-08-17 21:10 | Running | FALSE | MD23-3677Q - N. dutertrei | 376-378 | 1 | 9 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 6.892 V | 9.4981 kV | 128 µbar | 125 µbar | Carbon Dioxide: -0.0019 kV | 125 µbar | 6.638 V | 7.540 V |  | 444 µbar/min | 5.834 V | 7.83E-008 mbar | 23 % | 960 µbar | 72 °C | µ-Volume | Pre | 6.5215 | 7.0964 | 9.3468 | 6.7383 | 7.187 | 9.6091 | 1.6169 | 0.090527 | 1.5871 | 0.019764 | 0.0074702 | 0.09028 | 0.010077 | 0.0038087 | 1.6946 | 0.021597 | 0.086756 | 0.010099
[31 empty] | Cycle 1 | 6.3285 | 6.8863 | 9.0705 | 6.4753 | 6.9068 | 9.2345 | 1.5952 | 0.10065
[31 empty] | Cycle 2 | 6.1414 | 6.6829 | 8.8022 | 6.2263 | 6.6412 | 8.8794 | 1.604 | 0.079718
[31 empty] | Cycle 3 | 5.9614 | 6.487 | 8.5444 | 5.9888 | 6.3878 | 8.5407 | 1.5759 | 0.10057
[31 empty] | Cycle 4 | 5.7864 | 6.2966 | 8.2938 | 5.7618 | 6.1462 | 8.2171 | 1.5642 | 0.13789
[31 empty] | Cycle 5 | 5.6184 | 6.1138 | 8.0526 | 5.5461 | 5.9158 | 7.9092 | 1.5875 | 0.074315
[31 empty] | Cycle 6 | 5.4532 | 5.9346 | 7.816 | 5.3395 | 5.6954 | 7.6149 | 1.67 | 0.090493
[31 empty] | Cycle 7 | 5.2982 | 5.7655 | 7.5938 | 5.1422 | 5.4853 | 7.3334 | 1.5657 | 0.095692
[31 empty] | Cycle 8 |  |  |  | 4.9535 | 5.284 | 7.0644
16 | GIRMS\IRMS-operator | 2026-08-17 20:34 | 2026-08-17 21:49 | Running | FALSE | SHP2L |  | 2 | 9 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 4.730 V | 9.4982 kV | 125 µbar | 120 µbar | Carbon Dioxide: -0.0018 kV | 137 µbar | 4.420 V | 5.118 V |  | 484 µbar/min | 6.514 V | 6.43E-008 mbar | 41 % | 894 µbar | 72 °C | µ-Volume | Pre | 4.3629 | 4.7366 | 6.216 | 4.5105 | 4.8114 | 6.4328 | -0.78066 | -5.8798 | -0.76845 | 0.022737 | 0.0080388 | -5.8142 | 0.041881 | 0.014807 | -0.60702 | 0.023447 | -5.8187 | 0.041895
[31 empty] | Cycle 1 | 4.2419 | 4.6053 | 6.0442 | 4.3488 | 4.639 | 6.2018 | -0.76979 | -5.7984
[31 empty] | Cycle 2 | 4.1243 | 4.4777 | 5.8764 | 4.1944 | 4.4742 | 5.982 | -0.76518 | -5.8661
[31 empty] | Cycle 3 | 4.0097 | 4.3533 | 5.7133 | 4.0465 | 4.3164 | 5.771 | -0.76395 | -5.7882
[31 empty] | Cycle 4 | 3.8979 | 4.232 | 5.554 | 3.9044 | 4.1649 | 5.568 | -0.7321 | -5.7572
[31 empty] | Cycle 5 | 3.7908 | 4.1156 | 5.4011 | 3.7677 | 4.0192 | 5.3732 | -0.79636 | -5.8208
[31 empty] | Cycle 6 | 3.6885 | 4.0047 | 5.2557 | 3.6373 | 3.8801 | 5.1873 | -0.74397 | -5.7824
[31 empty] | Cycle 7 | 3.5862 | 3.8935 | 5.1098 | 3.5117 | 3.746 | 5.0083 | -0.7956 | -5.8205
[31 empty] | Cycle 8 |  |  |  | 3.3914 | 3.6179 | 4.8367
17 | GIRMS\IRMS-operator | 2026-08-17 21:10 | 2026-08-17 22:36 | Running | FALSE | MD23-3677Q - N. dutertrei | 372-374 | 1 | 10 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 9.484 V | 9.4981 kV | 120 µbar | 120 µbar | Carbon Dioxide: -0.0019 kV | 130 µbar | 8.552 V | 10.534 V |  | 454 µbar/min | 2.796 V | 9.12E-008 mbar | 15 % | 997 µbar | 72 °C | µ-Volume | Pre | 8.3775 | 9.1196 | 12.0008 | 8.6719 | 9.2486 | 12.3663 | 2.1113 | -0.36308 | 2.0988 | 0.01869 | 0.0070641 | -0.378 | 0.014153 | 0.0050038 | 2.2597 | 0.019851 | -0.38316 | 0.014165
[31 empty] | Cycle 1 | 8.1016 | 8.8198 | 11.6055 | 8.3128 | 8.8657 | 11.8538 | 2.126 | -0.36409
[31 empty] | Cycle 2 | 7.8367 | 8.5313 | 11.2264 | 7.9734 | 8.5044 | 11.3701 | 2.074 | -0.36069
[31 empty] | Cycle 3 | 7.5823 | 8.2551 | 10.8619 | 7.6511 | 8.1605 | 10.9108 | 2.1703 | -0.3828
[31 empty] | Cycle 4 | 7.3388 | 7.9894 | 10.513 | 7.3456 | 7.8347 | 10.4753 | 2.0886 | -0.39109
[31 empty] | Cycle 5 | 7.1039 | 7.7338 | 10.1765 | 7.055 | 7.5248 | 10.0607 | 2.0994 | -0.39741
[31 empty] | Cycle 6 | 6.8777 | 7.4879 | 9.853 | 6.7783 | 7.2299 | 9.6665 | 2.1112 | -0.37623
[31 empty] | Cycle 7 | 6.6604 | 7.2511 | 9.5417 | 6.5148 | 6.9489 | 9.2907 | 2.0809 | -0.38858
[31 empty] | Cycle 8 |  |  |  | 6.2643 | 6.6817 | 8.9338
18 | GIRMS\IRMS-operator | 2026-08-17 21:49 | 2026-08-17 23:07 | Running | FALSE | MD23-3677Q - N. dutertrei | 368-370 | 2 | 10 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 6.810 V | 9.4981 kV | 118 µbar | 118 µbar | Carbon Dioxide: -0.0019 kV | 118 µbar | 6.372 V | 7.473 V |  | 444 µbar/min | 8.368 V | 7.75E-008 mbar | 25 % | 955 µbar | 72 °C | µ-Volume | Pre | 6.32 | 6.8815 | 9.0508 | 6.4709 | 6.9026 | 9.2281 | 2.1605 | -0.71614 | 2.1598 | 0.017101 | 0.0064637 | -0.75677 | 0.021844 | 0.0077232 | 2.3388 | 0.018016 | -0.76244 | 0.021821
[31 empty] | Cycle 1 | 6.1363 | 6.682 | 8.7875 | 6.2215 | 6.6366 | 8.8725 | 2.1789 | -0.75558
[31 empty] | Cycle 2 | 5.9598 | 6.4892 | 8.5345 | 5.9847 | 6.3847 | 8.5349 | 2.0787 | -0.78601
[31 empty] | Cycle 3 | 5.7882 | 6.3028 | 8.2891 | 5.7588 | 6.1432 | 8.2128 | 2.1641 | -0.772
[31 empty] | Cycle 4 | 5.6203 | 6.1197 | 8.0486 | 5.5428 | 5.9128 | 7.9048 | 2.1271 | -0.7756
[31 empty] | Cycle 5 | 5.4585 | 5.9437 | 7.8169 | 5.3365 | 5.6927 | 7.6105 | 2.1702 | -0.74595
[31 empty] | Cycle 6 | 5.309 | 5.7809 | 7.6029 | 5.1397 | 5.4828 | 7.3298 | 2.1685 | -0.74544
[31 empty] | Cycle 7 | 5.1558 | 5.6141 | 7.3835 | 4.9512 | 5.2816 | 7.0611 | 2.1489 | -0.75747
[31 empty] | Cycle 8 |  |  |  | 4.7703 | 5.0889 | 6.8032
19 | GIRMS\IRMS-operator | 2026-08-17 22:36 | 2026-08-17 23:40 | Running | FALSE | MD23-3677Q - N. dutertrei | 364-366 | 1 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 6.346 V | 9.4981 kV | 120 µbar | 120 µbar | Carbon Dioxide: -0.0019 kV | 120 µbar | 6.269 V | 6.913 V |  | 435 µbar/min | 6.269 V | 7.71E-008 mbar | 25 % | 948 µbar | 72 °C | µ-Volume | Pre | 6.4095 | 6.9771 | 9.1797 | 6.3529 | 6.7763 | 9.0596 | 1.9647 | -0.62559 | 1.9708 | 0.040313 | 0.014253 | -0.64113 | 0.011257 | 0.00398 | 2.1325 | 0.043178 | -0.64627 | 0.011278
[31 empty] | Cycle 1 | 6.2243 | 6.7756 | 8.9146 | 6.1095 | 6.5166 | 8.7128 | 1.9964 | -0.64575
[31 empty] | Cycle 2 | 6.0451 | 6.5806 | 8.658 | 5.8775 | 6.2689 | 8.3821 | 2.0044 | -0.64632
[31 empty] | Cycle 3 | 5.8712 | 6.3916 | 8.4089 | 5.6566 | 6.0336 | 8.0671 | 2.012 | -0.63953
[31 empty] | Cycle 4 | 5.7017 | 6.207 | 8.1661 | 5.4449 | 5.808 | 7.765 | 1.9619 | -0.6417
[31 empty] | Cycle 5 | 5.5374 | 6.0284 | 7.9309 | 5.2429 | 5.5926 | 7.477 | 2.0022 | -0.6443
[31 empty] | Cycle 6 | 5.3774 | 5.8539 | 7.702 | 5.0498 | 5.3867 | 7.2019 | 1.9098 | -0.62591
[31 empty] | Cycle 7 | 5.223 | 5.6858 | 7.4805 | 4.8649 | 5.1897 | 6.9379 | 1.9153 | -0.65991
[31 empty] | Cycle 8 |  |  |  | 4.6881 | 5.0008 | 6.6859
20 | GIRMS\IRMS-operator | 2026-08-17 23:07 | 2026-08-18 00:19 | Running | FALSE | MD23-3677Q - N. dutertrei | 360-362 | 2 | 11 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 9.288 V | 9.4982 kV | 123 µbar | 120 µbar | Carbon Dioxide: -0.0018 kV | 150 µbar | 8.588 V | 10.301 V |  | 151 µbar/min | 6.171 V | 9.12E-008 mbar | 13 % | 1,007 µbar | 72 °C | µ-Volume | Pre | 8.4387 | 9.1836 | 12.1028 | 8.7166 | 9.2981 | 12.4297 | 1.6069 | 0.82141 | 1.5715 | 0.044565 | 0.015756 | 0.80076 | 0.014131 | 0.0049962 | 1.652 | 0.04739 | 0.79806 | 0.01409
[31 empty] | Cycle 1 | 8.1756 | 8.8975 | 11.7257 | 8.3554 | 8.9131 | 11.9149 | 1.6165 | 0.82308
[31 empty] | Cycle 2 | 7.9212 | 8.6206 | 11.3607 | 8.0136 | 8.5486 | 11.4277 | 1.6448 | 0.79415
[31 empty] | Cycle 3 | 7.6768 | 8.353 | 11.0103 | 7.6897 | 8.2022 | 10.9658 | 1.5388 | 0.79321
[31 empty] | Cycle 4 | 7.44 | 8.0956 | 10.6708 | 7.3822 | 7.8738 | 10.5277 | 1.5418 | 0.78393
[31 empty] | Cycle 5 | 7.2122 | 7.8476 | 10.344 | 7.0898 | 7.5626 | 10.1105 | 1.523 | 0.79162
[31 empty] | Cycle 6 | 6.9891 | 7.6049 | 10.0243 | 6.8119 | 7.2657 | 9.7143 | 1.5544 | 0.80016
[31 empty] | Cycle 7 | 6.786 | 7.3843 | 9.7332 | 6.5472 | 6.9835 | 9.3372 | 1.5459 | 0.79851
[31 empty] | Cycle 8 |  |  |  | 6.2954 | 6.7156 | 8.978
21 | GIRMS\IRMS-operator | 2026-08-17 23:40 | 2026-08-18 01:06 | Running | FALSE | SHP2L |  | 1 | 12 | TRUE | QC Standard | SHP2L | 0.002 V, 0.001 V, 0.002 V |  | 0.006 V | 9.4984 kV | 118 µbar | 120 µbar | Carbon Dioxide: -0.0016 kV | 118 µbar | 2.787 V | 0.006 V | 0.009 V | 493 µbar/min | 2.783 V | 5.15E-008 mbar | 100 % | 123 µbar | 72 °C | µ-Volume | Pre | 0.0070962 | 0.0075976 | 0.010075 | 2.8735 | 3.0653 | 4.0984 | -14.6097 | -9.3719 | -15.4679 | 1.2378 | 0.43763 | -9.7136 | 1.5957 | 0.56415 | -16.1911 | 1.2966 | -9.6892 | 1.596
[31 empty] | Cycle 1 | 0.0067391 | 0.0072197 | 0.0095799 | 2.7715 | 2.9565 | 3.9525 | -13.9961 | -8.0949
[31 empty] | Cycle 2 | 0.0065934 | 0.0070602 | 0.0093598 | 2.6779 | 2.8567 | 3.8191 | -14.5252 | -9.481
[31 empty] | Cycle 3 | 0.0064814 | 0.0069342 | 0.0091964 | 2.5889 | 2.7618 | 3.692 | -15.3368 | -9.9286
[31 empty] | Cycle 4 | 0.0063843 | 0.0068328 | 0.0090733 | 2.5035 | 2.6704 | 3.5702 | -14.9499 | -8.3251
[31 empty] | Cycle 5 | 0.0062915 | 0.0067165 | 0.0089396 | 2.4216 | 2.5832 | 3.4534 | -17.4398 | -8.529
[31 empty] | Cycle 6 | 0.0062017 | 0.0066227 | 0.0087743 | 2.3426 | 2.4989 | 3.3409 | -17.0979 | -12.7946
[31 empty] | Cycle 7 | 0.0061074 | 0.0065309 | 0.0086551 | 2.2667 | 2.4178 | 3.2326 | -15.788 | -11.1839
[31 empty] | Cycle 8 |  |  |  | 2.1934 | 2.3397 | 3.1281
22 | GIRMS\IRMS-operator | 2026-08-18 00:19 | 2026-08-18 01:36 | Running | FALSE | MD23-3677Q - N. dutertrei | 356-358 | 2 | 12 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 6.305 V | 9.4983 kV | 123 µbar | 120 µbar | Carbon Dioxide: -0.0017 kV | 137 µbar | 5.833 V | 6.808 V |  | 430 µbar/min | 2.779 V | 7.31E-008 mbar | 30 % | 960 µbar | 72 °C | µ-Volume | Pre | 5.7825 | 6.2924 | 8.2876 | 5.929 | 6.3242 | 8.4554 | 1.6046 | 0.070802 | 1.5803 | 0.019915 | 0.007041 | 0.052931 | 0.012607 | 0.0044573 | 1.6891 | 0.020941 | 0.049416 | 0.012585
[31 empty] | Cycle 1 | 5.6197 | 6.1152 | 8.0542 | 5.7042 | 6.0843 | 8.1346 | 1.6021 | 0.059546
[31 empty] | Cycle 2 | 5.4611 | 5.9428 | 7.8272 | 5.4903 | 5.8563 | 7.8298 | 1.5581 | 0.056909
[31 empty] | Cycle 3 | 5.3116 | 5.7801 | 7.6128 | 5.2861 | 5.6391 | 7.5389 | 1.548 | 0.028461
[31 empty] | Cycle 4 | 5.1605 | 5.6158 | 7.3963 | 5.0911 | 5.4306 | 7.2606 | 1.5874 | 0.051935
[31 empty] | Cycle 5 | 5.014 | 5.4563 | 7.1864 | 4.9048 | 5.2322 | 6.9951 | 1.5849 | 0.056701
[31 empty] | Cycle 6 | 4.8725 | 5.3024 | 6.9835 | 4.7268 | 5.042 | 6.7412 | 1.5718 | 0.042593
[31 empty] | Cycle 7 | 4.7315 | 5.149 | 6.7815 | 4.5563 | 4.8604 | 6.4979 | 1.5858 | 0.056502
[31 empty] | Cycle 8 |  |  |  | 4.3926 | 4.6856 | 6.2645
23 | GIRMS\IRMS-operator | 2026-08-18 01:06 | 2026-08-18 02:07 | Running | FALSE | MD23-3677Q - N. dutertrei | 352-354 | 1 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 0.009 V | 9.4981 kV | 125 µbar | 892 µbar | Carbon Dioxide: -0.0019 kV | 137 µbar | 2.730 V | 0.010 V | 0.014 V | 230 µbar/min | 5.736 V | 5.10E-008 mbar | 100 % | 894 µbar | 72 °C | µ-Volume | Pre | 0.010008 | 0.010838 | 0.014296 | 2.8141 | 3.0019 | 4.0136 | -3.2535 | -3.3048 | -2.6588 | 0.53295 | 0.20144 | -5.1085 | 1.14 | 0.40304 | -2.6572 | 0.60248 | -5.1086 | 1.1421
[31 empty] | Cycle 1 | 0.0095515 | 0.010347 | 0.013633 | 2.7135 | 2.8945 | 3.87 | -2.9981 | -4.0497
[31 empty] | Cycle 2 | 0.0093204 | 0.010098 | 0.013292 | 2.6212 | 2.7961 | 3.738 | -2.8276 | -4.8586
[31 empty] | Cycle 3 | 0.0091318 | 0.0098933 | 0.013001 | 2.5337 | 2.7027 | 3.6132 | -2.8775 | -6.5271
[31 empty] | Cycle 4 | 0.0089679 | 0.0097264 | 0.012767 | 2.4496 | 2.6131 | 3.4933 | -1.8185 | -6.644
[31 empty] | Cycle 5 | 0.0088123 | 0.0095718 | 0.012561 | 2.369 | 2.5272 | 3.3784 | -0.31779 | -5.3657
[31 empty] | Cycle 6 | 0.0086545 | 0.0093766 | 0.012345 | 2.2918 | 2.4446 | 3.2683 | -2.8285 | -4.7284
[31 empty] | Cycle 7 | 0.0085224 | 0.009241 | 0.012148 | 2.2176 | 2.3656 | 3.1626 | -2.0075 | -5.3895
[31 empty] | Cycle 8 |  |  |  | 2.1461 | 2.2892 | 3.0605
24 | GIRMS\IRMS-operator | 2026-08-18 01:36 | 2026-08-18 02:46 | Running | FALSE | MD23-3677Q - N. dutertrei | 348-350 | 2 | 13 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 11.044 V | 9.4983 kV | 123 µbar | 120 µbar | Carbon Dioxide: -0.0017 kV | 123 µbar | 9.862 V | 12.387 V |  | 474 µbar/min | 2.719 V | 9.96E-008 mbar | 10 % | 1,024 µbar | 72 °C | µ-Volume | Pre | 9.64 | 10.49 | 13.8249 | 10.0024 | 10.6671 | 14.2637 | 1.7652 | 0.75341 | 1.7599 | 0.0091467 | 0.0032338 | 0.7628 | 0.017338 | 0.00613 | 1.8549 | 0.0096944 | 0.75964 | 0.017353
[31 empty] | Cycle 1 | 9.3274 | 10.1502 | 13.3769 | 9.5729 | 10.2092 | 13.6508 | 1.7655 | 0.78794
[31 empty] | Cycle 2 | 9.0303 | 9.827 | 12.9508 | 9.1685 | 9.7787 | 13.0744 | 1.7548 | 0.76896
[31 empty] | Cycle 3 | 8.7371 | 9.508 | 12.5301 | 8.7849 | 9.3692 | 12.5276 | 1.7487 | 0.73295
[31 empty] | Cycle 4 | 8.4656 | 9.2128 | 12.1412 | 8.4222 | 8.9828 | 12.0105 | 1.7662 | 0.75958
[31 empty] | Cycle 5 | 8.2 | 8.9237 | 11.7607 | 8.0776 | 8.6152 | 11.5193 | 1.747 | 0.76498
[31 empty] | Cycle 6 | 7.9407 | 8.6418 | 11.3887 | 7.7516 | 8.2676 | 11.0546 | 1.7728 | 0.75314
[31 empty] | Cycle 7 | 7.6906 | 8.3696 | 11.0302 | 7.4421 | 7.9376 | 10.6133 | 1.7586 | 0.78141
[31 empty] | Cycle 8 |  |  |  | 7.1474 | 7.6235 | 10.1928
25 | GIRMS\IRMS-operator | 2026-08-18 02:07 | 2026-08-18 03:34 | Running | FALSE | MD23-3677Q - N. dutertrei | 344-346 | 1 | 14 | TRUE | Unknown |  | 0.002 V, 0.001 V, 0.002 V |  | 10.094 V | 9.4984 kV | 118 µbar | 118 µbar | Carbon Dioxide: -0.0016 kV | 130 µbar | 9.107 V | 11.223 V |  | 440 µbar/min | 2.801 V | 9.62E-008 mbar | 13 % | 1,007 µbar | 72 °C | µ-Volume | Pre | 8.9297 | 9.7183 | 12.8059 | 9.2372 | 9.8511 | 13.1726 | 1.8715 | 0.70153 | 1.826 | 0.032653 | 0.011545 | 0.68112 | 0.016506 | 0.0058357 | 1.9286 | 0.034579 | 0.67772 | 0.016479
[31 empty] | Cycle 1 | 8.6329 | 9.3955 | 12.3805 | 8.8496 | 9.4383 | 12.6199 | 1.857 | 0.70939
[31 empty] | Cycle 2 | 8.3473 | 9.0846 | 11.9708 | 8.4829 | 9.0474 | 12.0973 | 1.8022 | 0.66548
[31 empty] | Cycle 3 | 8.0732 | 8.7863 | 11.5778 | 8.1369 | 8.6789 | 11.6041 | 1.8051 | 0.67875
[31 empty] | Cycle 4 | 7.8095 | 8.4995 | 11.1997 | 7.8073 | 8.3269 | 11.134 | 1.8522 | 0.67332
[31 empty] | Cycle 5 | 7.5544 | 8.2219 | 10.8339 | 7.494 | 7.9927 | 10.6874 | 1.8337 | 0.66381
[31 empty] | Cycle 6 | 7.3103 | 7.9564 | 10.4841 | 7.1958 | 7.6751 | 10.2623 | 1.8086 | 0.68406
[31 empty] | Cycle 7 | 7.0758 | 7.7013 | 10.1479 | 6.9134 | 7.3743 | 9.8596 | 1.7773 | 0.67263
[31 empty] | Cycle 8 |  |  |  | 6.6438 | 7.0869 | 9.4751
26 | GIRMS\IRMS-operator | 2026-08-18 02:46 | 2026-08-18 03:59 | Running | FALSE | SHP2L |  | 2 | 14 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 11.434 V | 9.4983 kV | 118 µbar | 125 µbar | Carbon Dioxide: -0.0017 kV | 142 µbar | 9.956 V | 12.723 V | 10.573 V | 186 µbar/min | 8.907 V | 1.02E-007 mbar | 10 % | 1,021 µbar | 72 °C | µ-Volume | Pre | 11.0468 | 11.9893 | 15.7377 | 10.1124 | 10.7842 | 14.4203 | -0.85748 | -5.8698 | -0.8414 | 0.029553 | 0.010449 | -5.8917 | 0.017655 | 0.006242 | -0.6822 | 0.031468 | -5.8961 | 0.017658
[31 empty] | Cycle 1 | 10.6829 | 11.5946 | 15.2192 | 9.6797 | 10.3232 | 13.8036 | -0.79435 | -5.8842
[31 empty] | Cycle 2 | 10.3322 | 11.2142 | 14.7199 | 9.2697 | 9.8848 | 13.219 | -0.81722 | -5.8805
[31 empty] | Cycle 3 | 9.9939 | 10.8473 | 14.2377 | 8.8821 | 9.4735 | 12.6665 | -0.87347 | -5.9253
[31 empty] | Cycle 4 | 9.6727 | 10.499 | 13.7805 | 8.5147 | 9.0811 | 12.1431 | -0.85685 | -5.9021
[31 empty] | Cycle 5 | 9.363 | 10.1629 | 13.3395 | 8.1668 | 8.7107 | 11.6465 | -0.87441 | -5.8836
[31 empty] | Cycle 6 | 9.055 | 9.8287 | 12.9009 | 7.8356 | 8.3572 | 11.1744 | -0.84242 | -5.8841
[31 empty] | Cycle 7 | 8.7549 | 9.5034 | 12.4735 | 7.5213 | 8.0221 | 10.7266 | -0.81497 | -5.9043
[31 empty] | Cycle 8 |  |  |  | 7.2224 | 7.7035 | 10.3005
27 | GIRMS\IRMS-operator | 2026-08-18 03:34 | 2026-08-18 04:32 | Running | FALSE | MD23-3677Q - N. dutertrei | 340-342 | 1 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 7.083 V | 9.4982 kV | 125 µbar | 118 µbar | Carbon Dioxide: -0.0018 kV | 132 µbar | 6.476 V | 7.786 V |  | 444 µbar/min | 9.723 V | 7.90E-008 mbar | 23 % | 960 µbar | 72 °C | µ-Volume | Pre | 6.3813 | 6.9466 | 9.1397 | 6.5782 | 7.0163 | 9.3818 | 2.0119 | -0.65648 | 1.9889 | 0.025023 | 0.0088469 | -0.67364 | 0.012907 | 0.0045634 | 2.1531 | 0.027004 | -0.67886 | 0.012948
[31 empty] | Cycle 1 | 6.181 | 6.7285 | 8.8526 | 6.3238 | 6.7451 | 9.0188 | 1.9983 | -0.68812
[31 empty] | Cycle 2 | 5.9873 | 6.518 | 8.5752 | 6.0814 | 6.4866 | 8.6733 | 2.0226 | -0.69277
[31 empty] | Cycle 3 | 5.8012 | 6.3154 | 8.309 | 5.8506 | 6.2407 | 8.3441 | 1.9548 | -0.66393
[31 empty] | Cycle 4 | 5.6226 | 6.1213 | 8.053 | 5.6299 | 6.0057 | 8.0294 | 2.0041 | -0.67294
[31 empty] | Cycle 5 | 5.4491 | 5.9322 | 7.8046 | 5.4193 | 5.7808 | 7.729 | 1.987 | -0.68261
[31 empty] | Cycle 6 | 5.2844 | 5.7527 | 7.5688 | 5.2179 | 5.5658 | 7.4418 | 1.9761 | -0.66818
[31 empty] | Cycle 7 | 5.1255 | 5.5798 | 7.3412 | 5.0262 | 5.3613 | 7.1685 | 1.9562 | -0.66411
[31 empty] | Cycle 8 |  |  |  | 4.8429 | 5.1663 | 6.9069
28 | GIRMS\IRMS-operator | 2026-08-18 03:59 | 2026-08-18 05:10 | Running | FALSE | MD23-3677Q - N. dutertrei | 336-338 | 2 | 15 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 3.612 V | 9.4983 kV | 118 µbar | 457 µbar | Carbon Dioxide: -0.0017 kV | 137 µbar | 3.360 V | 3.921 V |  | 137 µbar/min | 6.364 V | 5.71E-008 mbar | 57 % | 882 µbar | 72 °C | µ-Volume | Pre | 3.3254 | 3.6182 | 4.764 | 3.4381 | 3.6677 | 4.9037 | 1.3696 | -0.4983 | 1.3903 | 0.022596 | 0.0079889 | -0.45366 | 0.030755 | 0.010874 | 1.5044 | 0.023968 | -0.45729 | 0.030778
[31 empty] | Cycle 1 | 3.2326 | 3.5171 | 4.6311 | 3.3201 | 3.5417 | 4.7354 | 1.374 | -0.47023
[31 empty] | Cycle 2 | 3.1435 | 3.4203 | 4.5035 | 3.2072 | 3.4212 | 4.5744 | 1.4024 | -0.45372
[31 empty] | Cycle 3 | 3.0573 | 3.3266 | 4.3802 | 3.0988 | 3.3057 | 4.4197 | 1.4071 | -0.39827
[31 empty] | Cycle 4 | 2.9733 | 3.2352 | 4.2595 | 2.9947 | 3.1946 | 4.2711 | 1.4316 | -0.46157
[31 empty] | Cycle 5 | 2.8907 | 3.1452 | 4.1414 | 2.8946 | 3.0879 | 4.1285 | 1.371 | -0.44188
[31 empty] | Cycle 6 | 2.8072 | 3.0543 | 4.0218 | 2.7984 | 2.9853 | 3.9913 | 1.3715 | -0.42939
[31 empty] | Cycle 7 | 2.723 | 2.9627 | 3.9011 | 2.7055 | 2.8861 | 3.8588 | 1.3949 | -0.47593
[31 empty] | Cycle 8 |  |  |  | 2.6164 | 2.791 | 3.7317
29 | GIRMS\IRMS-operator | 2026-08-18 04:32 | 2026-08-18 05:58 | Running | FALSE | MD23-3677Q - N. dutertrei | 332-334 | 1 | 16 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.001 V |  | 5.944 V | 9.4982 kV | 113 µbar | 113 µbar | Carbon Dioxide: -0.0018 kV | 132 µbar | 5.434 V | 6.480 V |  | 425 µbar/min | 2.793 V | 7.16E-008 mbar | 33 % | 924 µbar | 72 °C | µ-Volume | Pre | 5.3628 | 5.837 | 7.6803 | 5.5248 | 5.8931 | 7.8795 | 1.793 | -0.78096 | 1.7992 | 0.021352 | 0.0080703 | -0.78237 | 0.01093 | 0.0038644 | 1.9541 | 0.022736 | -0.78731 | 0.010969
[31 empty] | Cycle 1 | 5.2 | 5.66 | 7.4471 | 5.3185 | 5.6732 | 7.5856 | 1.822 | -0.78451
[31 empty] | Cycle 2 | 5.0381 | 5.4837 | 7.2153 | 5.1168 | 5.4581 | 7.2976 | 1.7788 | -0.77578
[31 empty] | Cycle 3 | 4.8874 | 5.3199 | 6.9994 | 4.9296 | 5.2586 | 7.0308 | 1.8037 | -0.78517
[31 empty] | Cycle 4 | 4.7398 | 5.1594 | 6.7881 | 4.7501 | 5.0671 | 6.7747 | 1.8327 | -0.77039
[31 empty] | Cycle 5 | 4.5976 | 5.0049 | 6.5844 | 4.5785 | 4.884 | 6.53 | 1.9044 | -0.79461
[31 empty] | Cycle 6 | 4.4601 | 4.8548 | 6.3877 | 4.4138 | 4.7084 | 6.2955 | 1.7774 | -0.79929
[31 empty] | Cycle 7 | 4.3276 | 4.7106 | 6.198 | 4.256 | 4.5404 | 6.0704 | 1.787 | -0.76827
[31 empty] | Cycle 8 |  |  |  | 4.1052 | 4.3792 | 5.8551
30 | GIRMS\IRMS-operator | 2026-08-18 05:10 | 2026-08-18 06:25 | Running | FALSE | MD23-3677Q - N. dutertrei | 324-326 | 2 | 16 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 9.994 V | 9.4982 kV | 118 µbar | 120 µbar | Carbon Dioxide: -0.0018 kV | 145 µbar | 9.136 V | 11.204 V |  | 147 µbar/min | 5.362 V | 9.58E-008 mbar | 13 % | 997 µbar | 72 °C | µ-Volume | Pre | 8.9439 | 9.7376 | 12.8286 | 9.2667 | 9.8841 | 13.2155 | 2.1319 | 0.81883 | 2.1299 | 0.015638 | 0.0059106 | 0.84054 | 0.018218 | 0.006441 | 2.2479 | 0.01623 | 0.8366 | 0.018235
[31 empty] | Cycle 1 | 8.6455 | 9.4129 | 12.4008 | 8.8758 | 9.4673 | 12.658 | 2.1165 | 0.8407
[31 empty] | Cycle 2 | 8.364 | 9.1064 | 11.9968 | 8.5068 | 9.0743 | 12.1318 | 2.1061 | 0.81635
[31 empty] | Cycle 3 | 8.0933 | 8.812 | 11.6091 | 8.1579 | 8.7018 | 11.6344 | 2.1456 | 0.85739
[31 empty] | Cycle 4 | 7.8218 | 8.5166 | 11.2198 | 7.8268 | 8.3487 | 11.162 | 2.1511 | 0.86608
[31 empty] | Cycle 5 | 7.5634 | 8.2355 | 10.849 | 7.5131 | 8.0142 | 10.7149 | 2.2183 | 0.82778
[31 empty] | Cycle 6 | 7.3182 | 7.9676 | 10.4977 | 7.2142 | 7.6947 | 10.2889 | 2.1319 | 0.84428
[31 empty] | Cycle 7 | 7.0781 | 7.7061 | 10.1533 | 6.9301 | 7.3918 | 9.8838 | 2.1259 | 0.85294
[31 empty] | Cycle 8 |  |  |  | 6.6602 | 7.104 | 9.4989
31 | GIRMS\IRMS-operator | 2026-08-18 05:58 | 2026-08-18 06:59 | Running | FALSE | SHP2L |  | 1 | 17 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 5.333 V | 9.4982 kV | 120 µbar | 125 µbar | Carbon Dioxide: -0.0018 kV | 130 µbar | 4.967 V | 5.774 V |  | 444 µbar/min | 8.926 V | 6.85E-008 mbar | 35 % | 919 µbar | 72 °C | µ-Volume | Pre | 4.9061 | 5.3263 | 6.9899 | 5.0586 | 5.3958 | 7.2148 | -0.75043 | -5.9554 | -0.73801 | 0.031447 | 0.011118 | -5.9627 | 0.011849 | 0.0041893 | -0.56894 | 0.03383 | -5.9674 | 0.011891
[31 empty] | Cycle 1 | 4.7678 | 5.1763 | 6.7928 | 4.8717 | 5.1966 | 6.9483 | -0.76234 | -5.9705
[31 empty] | Cycle 2 | 4.6352 | 5.0326 | 6.6039 | 4.6945 | 5.0078 | 6.6954 | -0.73624 | -5.9796
[31 empty] | Cycle 3 | 4.5071 | 4.8936 | 6.4215 | 4.5254 | 4.8273 | 6.4544 | -0.69165 | -5.9579
[31 empty] | Cycle 4 | 4.3806 | 4.756 | 6.2414 | 4.3633 | 4.6544 | 6.2233 | -0.75696 | -5.9571
[31 empty] | Cycle 5 | 4.2558 | 4.6205 | 6.0636 | 4.2085 | 4.4894 | 6.0026 | -0.77276 | -5.9522
[31 empty] | Cycle 6 | 4.1363 | 4.4909 | 5.893 | 4.0598 | 4.3307 | 5.7904 | -0.68891 | -5.9789
[31 empty] | Cycle 7 | 4.0188 | 4.3631 | 5.7258 | 3.9175 | 4.1788 | 5.5874 | -0.74481 | -5.9502
[31 empty] | Cycle 8 |  |  |  | 3.7809 | 4.0331 | 5.3926
32 | GIRMS\IRMS-operator | 2026-08-18 06:25 | 2026-08-18 07:37 | Running | FALSE | MD23-3677Q - N. dutertrei | 320-322 | 2 | 17 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 7.551 V | 9.4983 kV | 125 µbar | 120 µbar | Carbon Dioxide: -0.0017 kV | 135 µbar | 6.921 V | 8.334 V |  | 488 µbar/min | 4.903 V | 8.18E-008 mbar | 20 % | 975 µbar | 72 °C | µ-Volume | Pre | 6.8523 | 7.4558 | 9.8162 | 7.0237 | 7.4917 | 10.0174 | 1.5196 | -0.49361 | 1.5178 | 0.0273 | 0.0096519 | -0.51154 | 0.016166 | 0.0057156 | 1.643 | 0.029042 | -0.51552 | 0.016166
[31 empty] | Cycle 1 | 6.6384 | 7.2233 | 9.5097 | 6.748 | 7.1977 | 9.6242 | 1.548 | -0.49099
[31 empty] | Cycle 2 | 6.4334 | 7.0004 | 9.2162 | 6.4861 | 6.9183 | 9.2505 | 1.5426 | -0.50212
[31 empty] | Cycle 3 | 6.2352 | 6.7846 | 8.9324 | 6.2362 | 6.652 | 8.8945 | 1.4872 | -0.51029
[31 empty] | Cycle 4 | 6.0446 | 6.5771 | 8.6594 | 5.998 | 6.3983 | 8.555 | 1.4766 | -0.51314
[31 empty] | Cycle 5 | 5.8611 | 6.3775 | 8.3964 | 5.7703 | 6.155 | 8.2301 | 1.4994 | -0.53736
[31 empty] | Cycle 6 | 5.6866 | 6.1878 | 8.1466 | 5.5527 | 5.923 | 7.9199 | 1.5253 | -0.51575
[31 empty] | Cycle 7 | 5.5179 | 6.0048 | 7.9049 | 5.3456 | 5.7022 | 7.6244 | 1.5435 | -0.52909
[31 empty] | Cycle 8 |  |  |  | 5.1481 | 5.4921 | 7.343
33 | GIRMS\IRMS-operator | 2026-08-18 06:59 | 2026-08-18 08:21 | Running | FALSE | MD23-3677Q - N. dutertrei | 312-314 | 1 | 18 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 7.894 V | 9.4982 kV | 118 µbar | 118 µbar | Carbon Dioxide: -0.0018 kV | 130 µbar | 7.193 V | 8.700 V |  | 337 µbar/min | 2.798 V | 8.30E-008 mbar | 21 % | 975 µbar | 72 °C | µ-Volume | Pre | 7.0567 | 7.6811 | 10.1073 | 7.2988 | 7.7855 | 10.4096 | 2.1099 | -0.67181 | 1.9426 | 0.1415 | 0.050027 | -0.63425 | 0.021682 | 0.0076659 | 2.1021 | 0.15196 | -0.63932 | 0.021928
[31 empty] | Cycle 1 | 6.8301 | 7.4315 | 9.7829 | 7.009 | 7.4725 | 9.9965 | 1.95 | -0.65961
[31 empty] | Cycle 2 | 6.6128 | 7.195 | 9.472 | 6.7339 | 7.1793 | 9.6039 | 1.9309 | -0.62807
[31 empty] | Cycle 3 | 6.4048 | 6.9685 | 9.1743 | 6.4725 | 6.9006 | 9.2314 | 1.9035 | -0.61978
[31 empty] | Cycle 4 | 6.204 | 6.7501 | 8.8864 | 6.2235 | 6.6354 | 8.8765 | 1.8959 | -0.63354
[31 empty] | Cycle 5 | 6.0106 | 6.5399 | 8.6097 | 5.9854 | 6.3816 | 8.5365 | 1.6971 | -0.60633
[31 empty] | Cycle 6 | 5.8259 | 6.3417 | 8.3449 | 5.7586 | 6.1424 | 8.2134 | 2.1568 | -0.63505
[31 empty] | Cycle 7 | 5.6464 | 6.1435 | 8.088 | 5.542 | 5.9087 | 7.9043 | 1.8969 | -0.6198
[31 empty] | Cycle 8 |  |  |  | 5.3356 | 5.6889 | 7.6102
34 | GIRMS\IRMS-operator | 2026-08-18 07:37 | 2026-08-18 08:50 | Running | FALSE | MD23-3677Q - N. dutertrei | 308-310 | 2 | 18 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 5.338 V | 9.4982 kV | 120 µbar | 123 µbar | Carbon Dioxide: -0.0018 kV | 179 µbar | 4.961 V | 5.790 V |  | 469 µbar/min | 7.067 V | 6.92E-008 mbar | 36 % | 921 µbar | 72 °C | µ-Volume | Pre | 4.9071 | 5.3351 | 7.0297 | 5.0529 | 5.3875 | 7.2067 | 1.1177 | -0.52151 | 1.029 | 0.10205 | 0.036081 | -0.53707 | 0.020316 | 0.007183 | 1.121 | 0.10919 | -0.53997 | 0.020335
[31 empty] | Cycle 1 | 4.7673 | 5.1831 | 6.8295 | 4.8673 | 5.1897 | 6.9423 | 1.1073 | -0.53065
[31 empty] | Cycle 2 | 4.6322 | 5.0359 | 6.6358 | 4.6908 | 5.0016 | 6.6905 | 1.0442 | -0.54318
[31 empty] | Cycle 3 | 4.5 | 4.8924 | 6.4462 | 4.5218 | 4.8214 | 6.4494 | 1.0813 | -0.57331
[31 empty] | Cycle 4 | 4.3699 | 4.751 | 6.2603 | 4.3599 | 4.6487 | 6.2184 | 1.0846 | -0.51249
[31 empty] | Cycle 5 | 4.246 | 4.6162 | 6.0826 | 4.2044 | 4.483 | 5.9968 | 1.0589 | -0.54923
[31 empty] | Cycle 6 | 4.12 | 4.4794 | 5.9024 | 4.056 | 4.3246 | 5.7851 | 0.88951 | -0.51775
[31 empty] | Cycle 7 | 4.0017 | 4.3506 | 5.7328 | 3.9138 | 4.1749 | 5.5824 | 0.84877 | -0.54847
[31 empty] | Cycle 8 |  |  |  | 3.777 | 4.0273 | 5.3873
35 | GIRMS\IRMS-operator | 2026-08-18 08:21 | 2026-08-18 09:23 | Running | FALSE | MD23-3677Q - N. dutertrei | 304-306 | 1 | 19 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 8.137 V | 9.4982 kV | 125 µbar | 123 µbar | Carbon Dioxide: -0.0018 kV | 140 µbar | 7.651 V | 9.141 V |  | 444 µbar/min | 4.903 V | 8.59E-008 mbar | 18 % | 995 µbar | 72 °C | µ-Volume | Pre | 7.5987 | 8.2651 | 10.8911 | 7.7664 | 8.2799 | 11.0762 | 1.6504 | 0.052482 | 1.6805 | 0.10977 | 0.03881 | 0.038346 | 0.01464 | 0.0055334 | 1.7966 | 0.11755 | 0.034577 | 0.014655
[31 empty] | Cycle 1 | 7.3658 | 8.0118 | 10.5576 | 7.4534 | 7.9463 | 10.6298 | 1.6433 | 0.093537
[31 empty] | Cycle 2 | 7.1402 | 7.7664 | 10.2338 | 7.1575 | 7.631 | 10.2077 | 1.6369 | 0.022486
[31 empty] | Cycle 3 | 6.9247 | 7.5357 | 9.9252 | 6.8759 | 7.3308 | 9.8067 | 1.888 | 0.029303
[31 empty] | Cycle 4 | 6.7153 | 7.3065 | 9.6249 | 6.6082 | 7.0486 | 9.4247 | 1.6494 | 0.023727
[31 empty] | Cycle 5 | 6.5134 | 7.0879 | 9.3358 | 6.3534 | 6.7742 | 9.0612 | 1.8094 | 0.052984
[31 empty] | Cycle 6 | 6.3183 | 6.8756 | 9.0562 | 6.11 | 6.5171 | 8.7141 | 1.6024 | 0.055275
[31 empty] | Cycle 7 | 6.1259 | 6.6662 | 8.7803 | 5.8779 | 6.2702 | 8.3833 | 1.5646 | 0.032161
[31 empty] | Cycle 8 |  |  |  | 5.6558 | 6.0329 | 8.0665
36 | GIRMS\IRMS-operator | 2026-08-18 08:50 | 2026-08-18 10:01 | Running | FALSE | SHP2L |  | 2 | 19 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 9.664 V | 9.4982 kV | 123 µbar | 125 µbar | Carbon Dioxide: -0.0018 kV | 159 µbar | 8.853 V | 10.690 V |  | 464 µbar/min | 7.493 V | 9.39E-008 mbar | 12 % | 1,019 µbar | 72 °C | µ-Volume | Pre | 8.7524 | 9.5004 | 12.4699 | 8.9761 | 9.5732 | 12.8009 | -0.83013 | -5.8678 | -0.81337 | 0.01166 | 0.0041225 | -5.8782 | 0.013801 | 0.0052161 | -0.65294 | 0.013067 | -5.8827 | 0.013834
[31 empty] | Cycle 1 | 8.4795 | 9.2046 | 12.0811 | 8.6017 | 9.1748 | 12.2672 | -0.80653 | -5.8842
[31 empty] | Cycle 2 | 8.2187 | 8.9213 | 11.7096 | 8.2482 | 8.7973 | 11.7633 | -0.79979 | -5.8764
[31 empty] | Cycle 3 | 7.9659 | 8.6472 | 11.3494 | 7.9134 | 8.4403 | 11.2856 | -0.79868 | -5.8969
[31 empty] | Cycle 4 | 7.718 | 8.3782 | 10.9963 | 7.5948 | 8.1007 | 10.8316 | -0.80979 | -5.8936
[31 empty] | Cycle 5 | 7.4799 | 8.1197 | 10.6573 | 7.2918 | 7.7777 | 10.3992 | -0.82235 | -5.8609
[31 empty] | Cycle 6 | 7.2448 | 7.8645 | 10.3228 | 7.0045 | 7.4713 | 9.9895 | -0.82467 | -5.827
[31 empty] | Cycle 7 | 7.0193 | 7.6199 | 10.0012 | 6.7296 | 7.1781 | 9.5978 | -0.815 | -5.8677
[31 empty] | Cycle 8 |  |  |  | 6.4683 | 6.8995 | 9.2249
37 | GIRMS\IRMS-operator | 2026-08-18 09:23 | 2026-08-18 10:44 | Running | FALSE | MD23-3677Q - N. dutertrei | 300-302 | 1 | 20 | TRUE | Unknown |  | 0.002 V, 0.001 V, 0.002 V |  | 5.512 V | 9.4983 kV | 125 µbar | 123 µbar | Carbon Dioxide: -0.0017 kV | 132 µbar | 5.101 V | 5.922 V |  | 464 µbar/min | 2.797 V | 6.43E-008 mbar | 36 % | 933 µbar | 72 °C | µ-Volume | Pre | 5.0241 | 5.4675 | 7.1983 | 5.1903 | 5.5367 | 7.4029 | 1.5721 | -0.37828 | 1.5553 | 0.028578 | 0.010104 | -0.3945 | 0.029904 | 0.010573 | 1.6788 | 0.03101 | -0.39844 | 0.02996
[31 empty] | Cycle 1 | 4.8848 | 5.3158 | 6.9989 | 4.9993 | 5.3331 | 7.1303 | 1.5354 | -0.34511
[31 empty] | Cycle 2 | 4.7492 | 5.1684 | 6.8044 | 4.817 | 5.1386 | 6.8702 | 1.5362 | -0.37462
[31 empty] | Cycle 3 | 4.6177 | 5.0252 | 6.616 | 4.6428 | 4.9532 | 6.6221 | 1.5048 | -0.41625
[31 empty] | Cycle 4 | 4.4896 | 4.8858 | 6.4324 | 4.4757 | 4.7745 | 6.3835 | 1.5638 | -0.38656
[31 empty] | Cycle 5 | 4.365 | 4.7502 | 6.254 | 4.3159 | 4.6041 | 6.1557 | 1.5554 | -0.39409
[31 empty] | Cycle 6 | 4.2447 | 4.6195 | 6.0815 | 4.1629 | 4.4408 | 5.9376 | 1.5864 | -0.42692
[31 empty] | Cycle 7 | 4.1282 | 4.4927 | 5.9145 | 4.0165 | 4.2847 | 5.7286 | 1.5883 | -0.43418
[31 empty] | Cycle 8 |  |  |  | 3.8756 | 4.1345 | 5.528
38 | GIRMS\IRMS-operator | 2026-08-18 10:01 | 2026-08-18 11:12 | Running | FALSE | MD23-3677Q - N. dutertrei | 296-298 | 2 | 20 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 5.355 V | 9.4983 kV | 123 µbar | 123 µbar | Carbon Dioxide: -0.0017 kV | 128 µbar | 5.316 V | 5.773 V |  | 396 µbar/min | 5.036 V | 6.65E-008 mbar | 33 % | 931 µbar | 72 °C | µ-Volume | Pre | 5.161 | 5.615 | 7.3981 | 5.4088 | 5.7698 | 7.7148 | 1.3336 | 0.088797 | 1.3296 | 0.0085756 | 0.0032413 | 0.13004 | 0.025602 | 0.0090517 | 1.4178 | 0.0093423 | 0.12719 | 0.025621
[31 empty] | Cycle 1 | 5.0202 | 5.4619 | 7.1965 | 5.2078 | 5.5552 | 7.4278 | 1.3364 | 0.15562
[31 empty] | Cycle 2 | 4.8832 | 5.3129 | 7.0001 | 5.0158 | 5.3507 | 7.1538 | 1.3254 | 0.15881
[31 empty] | Cycle 3 | 4.751 | 5.1689 | 6.8103 | 4.8329 | 5.1555 | 6.8929 | 1.2848 | 0.11063
[31 empty] | Cycle 4 | 4.6218 | 5.0287 | 6.6253 | 4.6581 | 4.9692 | 6.6438 | 1.3383 | 0.10941
[31 empty] | Cycle 5 | 4.4966 | 4.8924 | 6.446 | 4.4904 | 4.7902 | 6.4046 | 1.3358 | 0.15447
[31 empty] | Cycle 6 | 4.3717 | 4.7565 | 6.2669 | 4.3297 | 4.6188 | 6.1752 | 1.3156 | 0.13001
[31 empty] | Cycle 7 | 4.2508 | 4.625 | 6.0935 | 4.1759 | 4.4548 | 5.9561 | 1.3224 | 0.13258
[31 empty] | Cycle 8 |  |  |  | 4.0287 | 4.2978 | 5.7458
39 | GIRMS\IRMS-operator | 2026-08-18 10:44 | 2026-08-18 11:46 | Running | FALSE | MD23-3677Q - N. dutertrei | 288-290 | 1 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 8.418 V | 9.4982 kV | 125 µbar | 125 µbar | Carbon Dioxide: -0.0018 kV | 145 µbar | 7.775 V | 9.261 V |  | 425 µbar/min | 5.245 V | 8.59E-008 mbar | 17 % | 1,004 µbar | 72 °C | µ-Volume | Pre | 7.7244 | 8.4034 | 11.0699 | 7.8904 | 8.416 | 11.2531 | 1.3779 | -0.0646 | 1.3777 | 0.028725 | 0.010156 | -0.061771 | 0.012014 | 0.0042476 | 1.4764 | 0.030443 | -0.064951 | 0.011984
[31 empty] | Cycle 1 | 7.4874 | 8.1461 | 10.7304 | 7.5708 | 8.0751 | 10.7972 | 1.4315 | -0.051844
[31 empty] | Cycle 2 | 7.2575 | 7.8956 | 10.401 | 7.2687 | 7.7531 | 10.3665 | 1.358 | -0.070179
[31 empty] | Cycle 3 | 7.0391 | 7.6582 | 10.0881 | 6.9815 | 7.447 | 9.9573 | 1.3583 | -0.069205
[31 empty] | Cycle 4 | 6.8297 | 7.4302 | 9.7881 | 6.7089 | 7.1562 | 9.5681 | 1.3443 | -0.0591
[31 empty] | Cycle 5 | 6.6232 | 7.2058 | 9.4921 | 6.4488 | 6.8789 | 9.1976 | 1.3598 | -0.082156
[31 empty] | Cycle 6 | 6.4231 | 6.9885 | 9.2056 | 6.2013 | 6.615 | 8.8446 | 1.3925 | -0.050153
[31 empty] | Cycle 7 | 6.2282 | 6.7765 | 8.9263 | 5.9653 | 6.3634 | 8.5079 | 1.3991 | -0.046932
[31 empty] | Cycle 8 |  |  |  | 5.7403 | 6.1232 | 8.1871
40 | GIRMS\IRMS-operator | 2026-08-18 11:12 | 2026-08-18 12:24 | Running | FALSE | MD23-3677Q - N. dutertrei | 284-286 | 2 | 21 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 5.897 V | 9.4982 kV | 125 µbar | 123 µbar | Carbon Dioxide: -0.0018 kV | 191 µbar | 5.483 V | 6.389 V |  | 166 µbar/min | 7.614 V | 7.23E-008 mbar | 30 % | 933 µbar | 72 °C | µ-Volume | Pre | 5.4382 | 5.9173 | 7.7898 | 5.5771 | 5.9493 | 7.9545 | 1.4331 | -0.62572 | 1.4646 | 0.035868 | 0.012681 | -0.60741 | 0.01218 | 0.0046036 | 1.5898 | 0.038894 | -0.61135 | 0.012205
[31 empty] | Cycle 1 | 5.2861 | 5.7521 | 7.5724 | 5.3686 | 5.727 | 7.6573 | 1.4716 | -0.59604
[31 empty] | Cycle 2 | 5.1386 | 5.5915 | 7.3609 | 5.1698 | 5.515 | 7.3739 | 1.448 | -0.60682
[31 empty] | Cycle 3 | 4.9954 | 5.4358 | 7.1558 | 4.9797 | 5.3121 | 7.1024 | 1.4741 | -0.60834
[31 empty] | Cycle 4 | 4.8571 | 5.2853 | 6.9577 | 4.7979 | 5.1182 | 6.8434 | 1.4344 | -0.60517
[31 empty] | Cycle 5 | 4.7216 | 5.1379 | 6.7635 | 4.6245 | 4.9337 | 6.5959 | 1.4288 | -0.59063
[31 empty] | Cycle 6 | 4.5857 | 4.9901 | 6.5689 | 4.4579 | 4.7556 | 6.3582 | 1.495 | -0.61914
[31 empty] | Cycle 7 | 4.4564 | 4.8496 | 6.3835 | 4.2988 | 4.5858 | 6.1316 | 1.5315 | -0.65337
[31 empty] | Cycle 8 |  |  |  | 4.1465 | 4.4235 | 5.9143
41 | GIRMS\IRMS-operator | 2026-08-18 11:46 | 2026-08-18 13:09 | Running | FALSE | SHP2L |  | 1 | 22 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.002 V |  | 10.200 V | 9.4983 kV | 125 µbar | 125 µbar | Carbon Dioxide: -0.0017 kV | 194 µbar | 9.181 V | 11.386 V |  | 498 µbar/min | 2.806 V | 9.53E-008 mbar | 13 % | 1,026 µbar | 72 °C | µ-Volume | Pre | 8.9913 | 9.7598 | 12.8094 | 9.3102 | 9.9299 | 13.2778 | -0.82061 | -5.9672 | -0.8185 | 0.028971 | 0.010243 | -5.975 | 0.016281 | 0.0057561 | -0.65461 | 0.03107 | -5.9795 | 0.016305
[31 empty] | Cycle 1 | 8.6917 | 9.435 | 12.3825 | 8.9181 | 9.512 | 12.7189 | -0.79617 | -6.0004
[31 empty] | Cycle 2 | 8.4054 | 9.1241 | 11.9746 | 8.5479 | 9.1171 | 12.1912 | -0.85032 | -5.9988
[31 empty] | Cycle 3 | 8.13 | 8.8253 | 11.5827 | 8.1972 | 8.7439 | 11.6908 | -0.85719 | -5.9597
[31 empty] | Cycle 4 | 7.8657 | 8.5389 | 11.2062 | 7.8643 | 8.3885 | 11.2162 | -0.78487 | -5.979
[31 empty] | Cycle 5 | 7.6118 | 8.2633 | 10.8446 | 7.5484 | 8.0516 | 10.7658 | -0.79232 | -5.9681
[31 empty] | Cycle 6 | 7.3683 | 7.999 | 10.4978 | 7.2481 | 7.7312 | 10.3374 | -0.8009 | -5.9604
[31 empty] | Cycle 7 | 7.1333 | 7.7437 | 10.163 | 6.963 | 7.4274 | 9.9309 | -0.84563 | -5.9662
[31 empty] | Cycle 8 |  |  |  | 6.6907 | 7.1369 | 9.5426
42 | GIRMS\IRMS-operator | 2026-08-18 12:24 | 2026-08-18 13:38 | Running | FALSE | MD23-3677Q - N. dutertrei | 280-282 | 2 | 22 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.003 V |  | 5.283 V | 9.4981 kV | 123 µbar | 128 µbar | Carbon Dioxide: -0.0019 kV | 142 µbar | 4.916 V | 5.724 V |  | 469 µbar/min | 8.966 V | 6.89E-008 mbar | 36 % | 929 µbar | 72 °C | µ-Volume | Pre | 4.8712 | 5.2977 | 6.9814 | 5.0077 | 5.342 | 7.1426 | 0.90204 | -0.10226 | 0.92327 | 0.027951 | 0.0098822 | -0.091877 | 0.024207 | 0.0085583 | 0.99132 | 0.029474 | -0.094062 | 0.024201
[31 empty] | Cycle 1 | 4.7345 | 5.1493 | 6.7853 | 4.8249 | 5.1472 | 6.8818 | 0.95552 | -0.1165
[31 empty] | Cycle 2 | 4.6016 | 5.0046 | 6.595 | 4.6497 | 4.9602 | 6.6319 | 0.91795 | -0.10698
[31 empty] | Cycle 3 | 4.4715 | 4.8631 | 6.4088 | 4.4823 | 4.7816 | 6.3932 | 0.93761 | -0.058747
[31 empty] | Cycle 4 | 4.3459 | 4.7267 | 6.2289 | 4.3217 | 4.6102 | 6.1639 | 0.96674 | -0.052133
[31 empty] | Cycle 5 | 4.2257 | 4.5958 | 6.0564 | 4.1686 | 4.447 | 5.9457 | 0.91198 | -0.10746
[31 empty] | Cycle 6 | 4.1072 | 4.4668 | 5.8866 | 4.0215 | 4.2901 | 5.7361 | 0.91061 | -0.085131
[31 empty] | Cycle 7 | 3.9925 | 4.3421 | 5.7221 | 3.8804 | 4.1396 | 5.5347 | 0.88368 | -0.10581
[31 empty] | Cycle 8 |  |  |  | 3.7453 | 3.9957 | 5.3421
43 | GIRMS\IRMS-operator | 2026-08-18 13:09 | 2026-08-18 14:09 | Running | FALSE | MD23-3677Q - N. dutertrei | 272-274 | 1 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 5.954 V | 9.4980 kV | 130 µbar | 118 µbar | Carbon Dioxide: -0.0020 kV | 181 µbar | 5.763 V | 6.404 V |  | 317 µbar/min | 4.859 V | 7.34E-008 mbar | 28 % | 919 µbar | 72 °C | µ-Volume | Pre | 5.6747 | 6.1756 | 8.1328 | 5.8585 | 6.2497 | 8.3559 | 1.5846 | -0.12734 | 1.6121 | 0.027312 | 0.0096563 | -0.13567 | 0.011114 | 0.0042009 | 1.7302 | 0.029481 | -0.13946 | 0.011178
[31 empty] | Cycle 1 | 5.5102 | 5.9966 | 7.897 | 5.6372 | 6.0134 | 8.0406 | 1.6035 | -0.12186
[31 empty] | Cycle 2 | 5.3505 | 5.8229 | 7.6679 | 5.4265 | 5.7889 | 7.7397 | 1.601 | -0.14027
[31 empty] | Cycle 3 | 5.1955 | 5.6542 | 7.446 | 5.2254 | 5.5741 | 7.453 | 1.5857 | -0.1338
[31 empty] | Cycle 4 | 5.0457 | 5.4917 | 7.2314 | 5.0334 | 5.3697 | 7.1793 | 1.6561 | -0.15371
[31 empty] | Cycle 5 | 4.9016 | 5.3345 | 7.0247 | 4.8494 | 5.1732 | 6.9171 | 1.6066 | -0.1764
[31 empty] | Cycle 6 | 4.761 | 5.1817 | 6.8232 | 4.6734 | 4.9854 | 6.6658 | 1.6519 | -0.14442
[31 empty] | Cycle 7 | 4.6256 | 5.0341 | 6.6292 | 4.5049 | 4.8058 | 6.4254 | 1.6077 | -0.12831
[31 empty] | Cycle 8 |  |  |  | 4.3439 | 4.634 | 6.1958
44 | GIRMS\IRMS-operator | 2026-08-18 13:38 | 2026-08-18 14:48 | Running | FALSE | MD23-3677Q - N. dutertrei | 268-270 | 2 | 23 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 7.835 V | 9.4981 kV | 115 µbar | 123 µbar | Carbon Dioxide: -0.0019 kV | 130 µbar | 7.263 V | 8.586 V |  | 459 µbar/min | 5.679 V | 8.34E-008 mbar | 19 % | 951 µbar | 72 °C | µ-Volume | Pre | 7.1733 | 7.8038 | 10.2873 | 7.3646 | 7.856 | 10.5038 | 1.2943 | 0.58191 | 1.2903 | 0.016832 | 0.005951 | 0.57653 | 0.013175 | 0.0046582 | 1.3594 | 0.01806 | 0.57424 | 0.013193
[31 empty] | Cycle 1 | 6.9583 | 7.5699 | 9.9792 | 7.0723 | 7.5439 | 10.087 | 1.2696 | 0.58705
[31 empty] | Cycle 2 | 6.7502 | 7.3437 | 9.6808 | 6.7949 | 7.2486 | 9.6915 | 1.267 | 0.5787
[31 empty] | Cycle 3 | 6.5483 | 7.1243 | 9.3913 | 6.5307 | 6.9665 | 9.3146 | 1.318 | 0.59143
[31 empty] | Cycle 4 | 6.3537 | 6.9123 | 9.1123 | 6.2795 | 6.6985 | 8.9564 | 1.2865 | 0.57947
[31 empty] | Cycle 5 | 6.1636 | 6.7057 | 8.8398 | 6.0399 | 6.443 | 8.6149 | 1.295 | 0.58014
[31 empty] | Cycle 6 | 5.9798 | 6.5058 | 8.5761 | 5.811 | 6.1989 | 8.2884 | 1.3041 | 0.5519
[31 empty] | Cycle 7 | 5.8022 | 6.3126 | 8.3216 | 5.5925 | 5.9658 | 7.9769 | 1.288 | 0.56168
[31 empty] | Cycle 8 |  |  |  | 5.3845 | 5.7441 | 7.6804
45 | GIRMS\IRMS-operator | 2026-08-18 14:09 | 2026-08-18 15:30 | Running | FALSE | MD23-3677Q - N. dutertrei | 264-266 | 1 | 24 | TRUE | Unknown |  | 0.001 V, 0.001 V, 0.002 V |  | 6.834 V | 9.4979 kV | 123 µbar | 118 µbar | Carbon Dioxide: -0.0021 kV | 154 µbar | 6.256 V | 7.418 V |  | 469 µbar/min | 2.805 V | 7.64E-008 mbar | 27 % | 938 µbar | 72 °C | µ-Volume | Pre | 6.2368 | 6.7858 | 8.9395 | 6.3521 | 6.7759 | 9.0599 | 1.4107 | 0.025048 | 1.3969 | 0.020134 | 0.0071184 | 0.018797 | 0.011879 | 0.0041997 | 1.494 | 0.021211 | 0.01566 | 0.011857
[31 empty] | Cycle 1 | 6.0558 | 6.589 | 8.68 | 6.1087 | 6.5162 | 8.7127 | 1.4114 | 0.024049
[31 empty] | Cycle 2 | 5.8787 | 6.3962 | 8.4262 | 5.8767 | 6.2689 | 8.3818 | 1.3843 | 0.011795
[31 empty] | Cycle 3 | 5.7081 | 6.2107 | 8.1816 | 5.6556 | 6.033 | 8.0665 | 1.3962 | 0.0013325
[31 empty] | Cycle 4 | 5.5432 | 6.0313 | 7.9453 | 5.4445 | 5.808 | 7.7655 | 1.3721 | 0.0095475
[31 empty] | Cycle 5 | 5.3828 | 5.8567 | 7.7154 | 5.2432 | 5.5934 | 7.4783 | 1.3688 | 0.013077
[31 empty] | Cycle 6 | 5.2281 | 5.6887 | 7.4938 | 5.05 | 5.3871 | 7.2028 | 1.4065 | 0.027345
[31 empty] | Cycle 7 | 5.0786 | 5.5262 | 7.2796 | 4.8659 | 5.1909 | 6.9402 | 1.4248 | 0.038179
[31 empty] | Cycle 8 |  |  |  | 4.6897 | 5.0028 | 6.689
46 | GIRMS\IRMS-operator | 2026-08-18 14:48 | 2026-08-18 15:58 | Running | FALSE | SHP2L |  | 2 | 24 | TRUE | QC Standard | SHP2L | 0.002 V, 0.002 V, 0.003 V |  | 12.914 V | 9.4979 kV | 118 µbar | 125 µbar | Carbon Dioxide: -0.0021 kV | 140 µbar | 9.977 V | 14.543 V | 11.914 V | 454 µbar/min | 6.161 V | 1.01E-007 mbar | 10 % | 1,021 µbar | 72 °C | µ-Volume | Pre | 12.5132 | 13.5801 | 17.8264 | 10.1293 | 10.803 | 14.4454 | -0.97601 | -5.9544 | -0.96182 | 0.030216 | 0.010683 | -5.9539 | 0.0050896 | 0.0019237 | -0.80896 | 0.032351 | -5.9581 | 0.0050873
[31 empty] | Cycle 1 | 12.0901 | 13.1214 | 17.224 | 9.697 | 10.3424 | 13.8292 | -0.96097 | -5.9438
[31 empty] | Cycle 2 | 11.6826 | 12.6793 | 16.644 | 9.2868 | 9.9048 | 13.244 | -0.9663 | -5.9106
[31 empty] | Cycle 3 | 11.2942 | 12.2583 | 16.0904 | 8.8984 | 9.4909 | 12.6903 | -0.9861 | -5.9525
[31 empty] | Cycle 4 | 10.9137 | 11.8453 | 15.5484 | 8.5302 | 9.0992 | 12.1657 | -1.0035 | -5.9596
[31 empty] | Cycle 5 | 10.5572 | 11.4587 | 15.0407 | 8.1761 | 8.7209 | 11.6606 | -0.96081 | -5.9554
[31 empty] | Cycle 6 | 10.2116 | 11.0844 | 14.5488 | 7.8452 | 8.3683 | 11.189 | -0.90607 | -5.9539
[31 empty] | Cycle 7 | 9.8797 | 10.7238 | 14.0758 | 7.5311 | 8.0331 | 10.7412 | -0.9348 | -5.9578
[31 empty] | Cycle 8 |  |  |  | 7.2329 | 7.7152 | 10.3156