## Sheet1
New Table
Sample | [13 empty] | Acquisition information | [17 empty] | Cycle Number | Sample Intensities |  |  | Standard Intensities |  |  | Molecule Deltas | [7 empty] | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | Linearity Correction Result | Pressure Adjust Target Intensity | High Voltage | Kiel IV Initial Pressure | Kiel IV Residual CO₂ Pressure | Peak Center Result | Kiel IV Non Condensable Pressure | Pressure Adjust Result Intensity | Initial Intensity from µ-Volume | Pressure Adjust failed with Target Intensity | Kiel IV Leak Rate | Pressure Adjust Initial Intensity | Ion Source Pressure | Pressure Adjust Bellow Position | Kiel IV CO₂ Sample Pressure | Kiel IV Acid Temperature | Measuring from |  | Sample Intensity |  |  | Standard Intensity |  |  | CO2 Brand, Assonov and Coplen |  | CO2 Brand, Assonov and Coplen (Avg.) | [5 empty] | CO2 Brand, Assonov and Coplen (Avg.)
[33 empty] | 44.00 m/z | 45.00 m/z | 46.00 m/z | 44.00 m/z | 45.00 m/z | 46.00 m/z | d45CO2 | d46CO2 | d45CO2 Mean | d45CO2 SD | d45CO2 SE | d46CO2 Mean | d46CO2 SD | d46CO2 SE | d13C Mean | d13C SD | d18O Mean | d18O SD
[33 empty] | V | V | V | V | V | V | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-07-28 16:12 | 2026-07-28 17:07 | Running | FALSE | SHP2L |  | 1 | 1 | 2 | TRUE | QC Standard | SHP2L | 0.001 V, 0.001 V, 0.001 V |  | 15.224 V | 9.4993 kV | 67 µbar | 74 µbar | Carbon Dioxide: -0.0007 kV | 111 µbar | 12.487 V | 17.733 V | 13.830 V | 103 µbar/min | 2.785 V | 1.17E-007 mbar | 10 % | 921 µbar | 72 °C | µ-Volume | Pre | 14.6962 | 15.9506 | 20.94 | 12.7027 | 13.5489 | 18.1196 | -0.99312 | -5.9923 | -0.98869 | 0.0034278 | 0.0012956 | -5.9944 | 0.0064839 | 0.0022924 | -0.83596 | 0.0036979 | -5.9986 | 0.0064828
[32 empty] | Cycle 1 | 14.1181 | 15.3237 | 20.1164 | 12.1205 | 12.9287 | 17.2888 | -0.99127 | -6.003
[32 empty] | Cycle 2 | 13.5687 | 14.7281 | 19.3342 | 11.572 | 12.3437 | 16.507 | -0.98513 | -6.0003
[32 empty] | Cycle 3 | 13.0499 | 14.1653 | 18.595 | 11.0559 | 11.794 | 15.7712 | -0.98327 | -5.9935
[32 empty] | Cycle 4 | 12.557 | 13.6308 | 17.8928 | 10.5704 | 11.2758 | 15.0782 | -0.96526 | -5.9869
[32 empty] | Cycle 5 | 12.0846 | 13.1186 | 17.2201 | 10.1089 | 10.7843 | 14.4205 | -0.98928 | -5.9877
[32 empty] | Cycle 6 | 11.6339 | 12.6298 | 16.5777 | 9.6705 | 10.3172 | 13.7951 | -0.98872 | -6.0019
[32 empty] | Cycle 7 | 11.2093 | 12.1692 | 15.9732 | 9.2606 | 9.88 | 13.2105 | -0.99002 | -5.9896
[32 empty] | Cycle 8 |  |  |  | 8.8732 | 9.4671 | 12.6582
2 | GIRMS\IRMS-operator | 2026-07-28 16:43 | 2026-07-28 17:36 | Running | FALSE | MD23-3677Q - N. dutertrei | 992-994 | 2 | 2 | 2 | TRUE | Unknown |  | 0.002 V, 0.002 V, 0.002 V |  | 16.495 V | 9.4991 kV | 76 µbar | 84 µbar | Carbon Dioxide: -0.0009 kV | 96 µbar | 12.077 V | 19.356 V | 15.168 V | 210 µbar/min | 12.102 V | 1.14E-007 mbar | 10 % | 973 µbar | 72 °C | µ-Volume | Pre | 16.1706 | 17.588 | 23.1898 | 12.295 | 13.1135 | 17.5374 | 1.1789 | 0.4522 | 1.1642 | 0.058966 | 0.022287 | 0.46501 | 0.015071 | 0.0053284 | 1.2284 | 0.063328 | 0.46294 | 0.01505
[32 empty] | Cycle 1 | 15.5347 | 16.8971 | 22.278 | 11.7341 | 12.5155 | 16.7375 | 1.1763 | 0.44672
[32 empty] | Cycle 2 | 14.9296 | 16.2395 | 21.4108 | 11.207 | 11.9543 | 15.9859 | 1.1608 | 0.46696
[32 empty] | Cycle 3 | 14.3537 | 15.6133 | 20.5856 | 10.7098 | 11.4241 | 15.2766 | 1.1325 | 0.47865
[32 empty] | Cycle 4 | 13.8035 | 15.0164 | 19.7962 | 10.2411 | 10.9248 | 14.6087 | 0.94688 | 0.4466
[32 empty] | Cycle 5 | 13.2785 | 14.4522 | 19.0439 | 9.8003 | 10.46 | 13.9798 | 1.1406 | 0.47171
[32 empty] | Cycle 6 | 12.7787 | 13.9089 | 18.3274 | 9.3841 | 10.0165 | 13.3865 | 1.2761 | 0.47008
[32 empty] | Cycle 7 | 12.3061 | 13.3891 | 17.6502 | 8.9911 | 9.5946 | 12.826 | 1.0841 | 0.4872
[32 empty] | Cycle 8 |  |  |  | 8.6187 | 9.1957 | 12.2952