## Client Output
Identifier | Sample # | Species | d13C (‰, VPDB) Mean | d13C (‰, VPDB) Std Dev | d18O (‰, VPDB) Mean | d18O (‰, VPDB) Std Dev | Corrected d13C (‰, VPDB) | Corrected d18O (‰, VPDB)
BTS | 1003* | BTS | -2.16 | 0.03 | -3.6 | 0.02 | -2.05 | -3.23 | Equiment: | ThermoFisher Scientific MAT253 gas isotope ratio mass spectrometer
BTS | 642* | BTS | -1.8 | 0.02 | -3.51 | 0.03 | -1.69 | -3.15 |  | Kiel IV automated carbonate preparation device
BTS | 384* | BTS | -3.34 | 0.1 | -3.92 | 0.22 | -3.27 | -3.47
BTS | 634 | BTS | -2.12 | 0.03 | -3.37 | 0.02 | -2.02 | -3 | Standard deviation of SHP2L over measurement period:
BTS | 632 | BTS | -1.56 | 0.02 | -3.52 | 0.02 | -1.45 | -3.15 |  | 0.07 ‰ for d13C
BTS | 951 | BTS | -2.26 | 0.04 | -3.76 | 0.02 | -2.15 | -3.41 |  | 0.05 ‰ for d18O
BTS | 405 | BTS | -1.83 | 0.03 | -3.57 | 0.01 | -1.72 | -3.21 |  | d13C n=115, d18O n=113
BTS | 872 | BTS | -1.46 | 0.02 | -3.64 | 0.03 | -1.36 | -3.27
BTS | 952 | BTS | -2.37 | 0.08 | -4.02 | 0.22 | -2.3 | -3.55
BTS | 873 | BTS | -1.7 | 0.02 | -3.37 | 0.02 | -1.6 | -3
BTS | 371 | BTS | -2.33 | 0.04 | -4.17 | 0.03 | -2.22 | -3.82
BTS | 1001 | BTS | -1.71 | 0.04 | -3.19 | 0.02 | -1.61 | -2.82
BTS | 641 | BTS | -1.66 | 0.02 | -3.56 | 0.02 | -1.55 | -3.19
BTS | 401 | BTS | -2.15 | 0.02 | -3.95 | 0.02 | -2.04 | -3.58
BTS | 393 | BTS | -2.02 | 0.01 | -3.95 | 0.01 | -1.91 | -3.59
BTS | 389 | BTS | -3 | 0.03 | -4.01 | 0.03 | -2.9 | -3.65
BTS | 883 | BTS | -1.67 | 0.02 | -2.87 | 0.03 | -1.57 | -2.51
BTS | 919 | BTS | -2.14 | 0.07 | -3.24 | 0.21 | -2.08 | -2.76
BTS | 875 | BTS | -2.21 | 0.05 | -3.54 | 0.05 | -2.1 | -3.18
BTS | 861 | BTS | -1.74 | 0.02 | -3.52 | 0.02 | -1.63 | -3.16
BTS | 976 | BTS | -1.76 | 0.21 | -2.75 | 0.22 | -1.92 | -1.7
BTS | 399 | BTS | -2.94 | 0.02 | -3.49 | 0.01 | -2.83 | -3.13
BTS | 971 | BTS | -2.24 | 0.22 | -2.43 | 0.48 | -2.3 | -1.64
BTS | 644 | BTS | -1.94 | 0.03 | -2.49 | 0.01 | -1.83 | -2.13
BTS | 969 | BTS | -1.13 | 0.36 | -1.73 | 0.22 | -1.32 | -0.62
BTS | 390 | BTS | 0.71 | 0.01 | -2 | 0.03 | 0.82 | -1.63
BTS | 637 | BTS | -2.51 | 0.03 | -3.79 | 0.02 | -2.4 | -3.43
BTS | 870 | BTS | -1.66 | 0.04 | -3.61 | 0.07 | -1.57 | -3.22
BTS | 997 | BTS | -1.66 | 0.15 | -3.88 | 0.33 | -1.61 | -3.36
BTS | 896 | BTS | -2.94 | 0.31 | -2.9 | 0.15 | -3.12 | -1.8
BTS | 876 | BTS | -2.57 | 0.05 | -3.66 | 0.04 | -2.46 | -3.3
BTS | 936 | BTS | -2.02 | 0.08 | -3.67 | 0.09 | -1.91 | -3.31
BTS | 404 | BTS | -1.81 | 0.02 | -3.91 | 0.02 | -1.71 | -3.54
BTS | 917 | BTS | -2.1 | 0.22 | -2.33 | 96.73 | -2.23 | -1.35
BTS | 392 | BTS | -2.22 | 0.06 | -4.07 | 0.05 | -2.11 | -3.71
BTS | 1005 | BTS | -2.68 | 0.13 | -3.57 | 0.11 | -2.61 | -3.12
BTS | 983 | BTS | -2.71 | 0.11 | -3.61 | 0.12 | -2.63 | -3.18
BTS | 1004 | BTS | -3.09 | 0.05 | -3.92 | 0.03 | -2.97 | -3.57
BTS | 863 | BTS | -1.83 | 0.02 | -3.57 | 0.02 | -1.73 | -3.2
BTS | 929 | BTS | -2.42 | 0.26 | -2.55 | 0.14 | -2.54 | -1.59
BTS | 966 | BTS | -0.82 | 0.27 | -2.22 | 0.14 | -0.88 | -1.43
BTS | 931 | BTS | -2.26 | 0.13 | -3.47 | 0.14 | -2.26 | -2.83
BTS | 918 | BTS | -2.47 | 0.09 | -4.13 | 0.1 | -2.36 | -3.77
BTS | 865 | BTS | -2.54 | 0.02 | -3.86 | 0.03 | -2.43 | -3.5
BTS | 867 | BTS | -2.39 | 0.03 | -3.98 | 0.03 | -2.29 | -3.61
BTS | 1008 | BTS | -1.64 | 0.06 | -4.17 | 0.08 | -1.53 | -3.81
BTS | 930 | BTS | -2.68 | 0.26 | -3.89 | 0.43 | -2.63 | -3.36
BTS | 885 | BTS | -2.24 | 0.05 | -3.83 | 0.07 | -2.13 | -3.47
BTS | 932 | BTS | -1.5 | 0.04 | -4.05 | 0.06 | -1.39 | -3.68
BTS | 987 | BTS | -2.1 | 0.14 | -4.21 | 0.17 | -1.99 | -3.85
BTS | 868 | BTS | -1.48 | 0.02 | -4.21 | 0.03 | -1.38 | -3.84
BTS | 643 | BTS | -2.07 | 0.03 | -3.5 | 0.04 | -1.96 | -3.13
BTS | 362 | BTS | -2.45 | 0.08 | -4.07 | 0.1 | -2.35 | -3.7
BTS | 891 | BTS | -2.08 | 0.19 | -3.93 | 0.2 | -1.97 | -3.56
BTS | 958 | BTS | -2.05 | 0.13 | -3.72 | 0.13 | -1.94 | -3.37
BTS | 572 | BTS | -2.81 | 0.06 | -4.18 | 0.05 | -2.7 | -3.81
BTS | 352 | BTS | -2.95 | 0.02 | -4 | 0.03 | -2.85 | -3.63
BTS | 878 | BTS | -1.78 | 0.09 | -4.05 | 0.1 | -1.66 | -3.7
BTS | 403 | BTS | -1.77 | 0.02 | -3.77 | 0.02 | -1.66 | -3.4
BTS | 630 | BTS | -1.94 | 0.01 | -3.98 | 0.02 | -1.83 | -3.61
BTS | 939 | BTS | -3.39 | 0.05 | -4.14 | 0.01 | -3.31 | -3.7
BTS | 374 | BTS | -2.34 | 0.02 | -3.72 | 0.02 | -2.24 | -3.35
BTS | 645 | BTS | -2.66 | 0.02 | -3.71 | 0.02 | -2.55 | -3.35
BTS | 943 | BTS | -2.11 | 0.1 | -3.81 | 0.03 | -2 | -3.45
BTS | 955 | BTS | -1.36 | 0.04 | -3.65 | 0.02 | -1.25 | -3.29
BTS | 921 | BTS | -1.57 | 0.08 | -3.8 | 0.03 | -1.46 | -3.44
BTS | 897 | BTS | -2.59 | 0.08 | -3.98 | 0.03 | -2.48 | -3.62
BTS | 884 | BTS | -2 | 0.03 | -3.63 | 0.02 | -1.89 | -3.26
BTS | 909 | BTS | -2.33 | 0.06 | -3.88 | 0.02 | -2.22 | -3.52
BTS | 387 | BTS | -3.47 | 0.02 | -3.8 | 0.03 | -3.36 | -3.43
BTS | 636 | BTS | -2.95 | 0.02 | -3.89 | 0.03 | -2.84 | -3.52
BTS | 856 | BTS | -2.73 | 0.05 | -3.92 | 0.01 | -2.62 | -3.55
BTS | 862 | BTS | -1.7 | 0.02 | -3.2 | 0.03 | -1.59 | -2.83
BTS | 894 | BTS | -1.66 | 0.02 | -3.79 | 0.02 | -1.55 | -3.42
BTS | 946 | BTS | -2.24 | 0.09 | -3.42 | 0.04 | -2.13 | -3.07
BTS | 388 | BTS | -2.37 | 0.02 | -1.25 | 0.03 | -2.26 | -0.89
BTS | 999 | BTS | -2.26 | 0.15 | -3.78 | 0.09 | -2.33 | -2.97
BTS | 382 | BTS | -2.23 | 0.02 | -3.74 | 0.03 | -2.12 | -3.38
BTS | 984 | BTS | -2.45 | 0.02 | -3.88 | 0.02 | -2.34 | -3.51
BTS | 355 | BTS | -2.28 | 0.07 | -3.56 | 0.03 | -2.16 | -3.21
BTS | 898 | BTS | -1.72 | 0.05 | -2.95 | 0.02 | -1.62 | -2.59
BTS | 866 | BTS | -2.23 | 0.02 | -3.83 | 0.02 | -2.13 | -3.46
BTS | 361 | BTS | -2.63 | 0.03 | -3.97 | 0.02 | -2.52 | -3.6
BTS | 902 | BTS | -1.55 | 0.08 | -3.62 | 0.03 | -1.44 | -3.27
BTS | 871 | BTS | -1.22 | 0.02 | -2.39 | 0.02 | -1.11 | -2.02
BTS | 880 | BTS | -1.13 | 0.02 | -3.9 | 0.02 | -1.02 | -3.54
BTS | 934 | BTS | -2.13 | 0.06 | -3.72 | 0.07 | -2.14 | -3.07
BTS | 373 | BTS | -2.75 | 0.04 | -3.95 | 0.02 | -2.64 | -3.58
BTS | 593 | BTS | -2.8 | 0.02 | -3.63 | 0.02 | -2.69 | -3.26
BTS | 892 | BTS | -1.46 | 0.07 | -3.55 | 0.03 | -1.35 | -3.19
BTS | 344 | BTS | -2.18 | 0.02 | -3.76 | 0.03 | -2.07 | -3.4
BTS | 886 | BTS | -2.4 | 0.04 | -2.66 | 0.02 | -2.3 | -2.29
BTS | 933 | BTS | -2.01 | 0.1 | -3.93 | 0.08 | -2.06 | -3.18
BTS | 968 | BTS | -1.96 | 0.05 | -3.66 | 0.01 | -1.88 | -3.22
BTS | 329 | BTS | -2.8 | 0.03 | -1.71 | 0.03 | -2.69 | -1.35
BTS | 974 | BTS | -2.67 | 0.09 | -4.1 | 0.03 | -2.56 | -3.73
BTS | 995 | BTS | -2.59 | 0.07 | -4.25 | 0.02 | -2.48 | -3.89
BTS | 978 | BTS | -1.56 | 0.06 | -3.77 | 0.01 | -1.47 | -3.34
BTS | 376 | BTS | -2.59 | 0.05 | -3.6 | 0.02 | -2.49 | -3.23
BTS | 638 | BTS | -2.2 | 0.02 | -3.83 | 0.03 | -2.09 | -3.46
BTS | 923 | BTS | -1.85 | 0.03 | -3.82 | 0.05 | -1.81 | -3.27
BTS | 915 | BTS | -2.83 | 0.05 | -3.74 | 0.02 | -2.72 | -3.38
BTS | 977 | BTS | -1.43 | 0.08 | -3.76 | 0.02 | -1.32 | -3.4
BTS | 948 | BTS | -2.51 | 0.07 | -3.65 | 0.03 | -2.4 | -3.3
BTS | 916 | BTS | -2.92 | 0.07 | -3.87 | 0.02 | -2.81 | -3.51
BTS | 576 | BTS | -1.76 | 0.03 | -3.99 | 0.03 | -1.65 | -3.62
BTS | 906 | BTS | -2.36 | 0.05 | -3.91 | 0.02 | -2.25 | -3.54
BTS | 982 | BTS | -2.99 | 0.04 | -3.83 | 0.03 | -2.94 | -3.32
BTS | 1006 | BTS | -2.23 | 0.08 | -4.18 | 0.03 | -2.12 | -3.83
BTS | 882 | BTS | -1.44 | 0.01 | -3.76 | 0.02 | -1.33 | -3.39
BTS | 857 | BTS | -2.38 | 0.02 | -4.12 | 0.02 | -2.27 | -3.75
BTS | 860 | BTS | -1.98 | 0.02 | -3.83 | 0.02 | -1.87 | -3.46
BTS | 996 | BTS | -1.85 | 0.04 | -4.01 | 0.02 | -1.74 | -3.64
BTS | 962 | BTS | -2.86 | 0.03 | -4.08 | 0.02 | -2.79 | -3.63
BTS | 975 | BTS | -2.36 | 0.04 | -4.03 | 0.06 | -2.34 | -3.43
BTS | 864 | BTS | -2.04 | 0.02 | -3.59 | 0.02 | -1.94 | -3.23
BTS | 922 | BTS | -2.24 | 0.13 | -3.84 | 0.11 | -2.32 | -3.01
BTS | 938 | BTS | -2.82 | 0.04 | -3.84 | 0.02 | -2.71 | -3.48
BTS | 855 | BTS | -2.32 | 0.02 | -3.65 | 0.03 | -2.21 | -3.28
BTS | 901 | BTS | -1.64 | 0.08 | -3.85 | 0.02 | -1.54 | -3.48
BTS | 600 | BTS | -1.61 | 0.01 | -4.14 | 0.02 | -1.51 | -3.77
BTS | 386 | BTS | -2.82 | 0.02 | -3.55 | 0.02 | -2.71 | -3.18
BTS | 890 | BTS | -2.6 | 0.07 | -4.01 | 0.03 | -2.49 | -3.65
BTS | 619 | BTS | -2.36 | 0.02 | -4.18 | 0.03 | -2.26 | -3.81
BTS | 850 | BTS | -2.55 | 0.04 | -4.09 | 0.02 | -2.47 | -3.65
BTS | 575 | BTS | -1.65 | 0.03 | -4.01 | 0.02 | -1.55 | -3.65
BTS | 360 | BTS | -3.02 | 0.05 | -4.09 | 0.02 | -2.91 | -3.72
BTS | 331 | BTS | -2.58 | 0.03 | -3.71 | 0.02 | -2.47 | -3.34
BTS | 891 | BTS | -2.07 | 0.04 | -3.52 | 0.02 | -1.97 | -3.16
BTS | 1017 | BTS | -1.76 | 0.02 | -3.75 | 0.03 | -1.65 | -3.38
BTS | 849 | BTS | -2.57 | 0.03 | -3.93 | 0.02 | -2.46 | -3.56
BTS | 979 | BTS | -1.34 | 0.05 | -3.51 | 0.02 | -1.24 | -3.15
BTS | 852 | BTS | -1.79 | 0.03 | -3.75 | 0.03 | -1.68 | -3.4
BTS | 400 | BTS | -2.75 | 0.02 | -4.05 | 0.02 | -2.65 | -3.69
BTS | 994 | BTS | -2.16 | 0.06 | -1.68 | 0.02 | -2.05 | -1.32
BTS | 964 | BTS | -1.96 | 0.05 | -3.75 | 0.02 | -1.85 | -3.39
BTS | 944 | BTS | -1.91 | 0.07 | -3.68 | 0.02 | -1.8 | -3.33
BTS | 338 | BTS | -2.31 | 0.04 | -0.78 | 0.02 | -2.21 | -0.41
BTS | 957 | BTS | -1.46 | 0.05 | -3.49 | 0.02 | -1.35 | -3.13
BTS | 370 | BTS | -2.29 | 0.02 | -4.08 | 0.02 | -2.18 | -3.72
BTS | 935 | BTS | -1.92 | 0.04 | -3.68 | 0.02 | -1.81 | -3.31
BTS | 646 | BTS | -2.9 | 0.03 | -3.86 | 0.02 | -2.79 | -3.49
BTS | 354 | BTS | -2.42 | 0.02 | -3.93 | 0.02 | -2.31 | -3.56
BTS | 956 | BTS | -1.36 | 0.03 | -3.35 | 0.02 | -1.25 | -2.98
BTS | 854 | BTS | -2.38 | 0.03 | -3.85 | 0.04 | -2.27 | -3.48
BTS | 991 | BTS | -1.97 | 0.03 | -3.65 | 0.02 | -1.91 | -3.18
BTS | 585 | BTS | -2.07 | 0.02 | -4.13 | 0.02 | -1.97 | -3.76
BTS | 874 | BTS | -1.93 | 0.02 | -3.49 | 0.02 | -1.82 | -3.13
BTS | 573 | BTS | -2.5 | 0.03 | -4.02 | 0.03 | -2.4 | -3.66
BTS | 908 | BTS | -2.33 | 0.02 | -3.96 | 0.01 | -2.25 | -3.52
BTS | 368 | BTS | -3.29 | 0.04 | -3.88 | 0.02 | -3.18 | -3.52
BTS | 359 | BTS | -3.6 | 0.03 | -3.82 | 0.02 | -3.49 | -3.45
BTS | 625 | BTS | -1.76 | 0.03 | -3.61 | 0.01 | -1.66 | -3.25
BTS | 894 | BTS | -2.06 | 0.08 | -3.38 | 0.03 | -1.96 | -3.02
BTS | 937 | BTS | -2.15 | 0.04 | -3.65 | 0.02 | -2.04 | -3.29
BTS | 396 | BTS | -2.59 | 0.03 | -3.6 | 0.03 | -2.48 | -3.24
BTS | 912 | BTS | -2.89 | 0.18 | -3.38 | 0.1 | -3.02 | -2.41
BTS | 332 | BTS | -2.37 | 0.02 | -3.83 | 0.02 | -2.27 | -3.46
BTS | 859 | BTS | -1.72 | 0.02 | -3.9 | 0.02 | -1.61 | -3.53
BTS | 881 | BTS | -1.38 | 0.03 | -3.83 | 0.02 | -1.27 | -3.46
BTS | 1007 | BTS | -1.98 | 0.08 | -4.01 | 0.03 | -1.87 | -3.65
BTS | 928 | BTS | -3.46 | 0.06 | -4.1 | 0.06 | -3.44 | -3.51
BTS | 950 | BTS | -2.73 | 0.08 | -3.75 | 0.02 | -2.62 | -3.39
BTS | 888 | BTS | -2.65 | 0.03 | -4.09 | 0.01 | -2.54 | -3.72
BTS | 960 | BTS | -2.9 | 0.03 | -3.71 | 0.03 | -2.79 | -3.34
BTS | 986 | BTS | -2.26 | 0.08 | -3.97 | 0.02 | -2.15 | -3.61
BTS | 993 | BTS | -2.3 | 0.01 | -3.78 | 0.02 | -2.2 | -3.41
BTS | 385 | BTS | -2.47 | 0.02 | -3.41 | 0.03 | -2.37 | -3.04
BTS | 904 | BTS | -2.2 | 0.06 | -3.1 | 0.03 | -2.09 | -2.74
BTS | 988 | BTS | -1.55 | 0.04 | -3.96 | 0.02 | -1.44 | -3.6
BTS | 351 | BTS | -3.2 | 0.03 | -4 | 0.02 | -3.1 | -3.64
BTS | 973 | BTS | -2.71 | 0.06 | -4.07 | 0.02 | -2.6 | -3.71
BTS | 959 | BTS | -2.3 | 0.08 | -3.58 | 0.02 | -2.19 | -3.22
BTS | 1048 | BTS | -2.51 | 0.11 | -3.97 | 0.1 | -2.54 | -3.27
BTS | 913 | BTS | -2.79 | 0.07 | -3.11 | 0.02 | -2.68 | -2.74
BTS | 967 | BTS | -1.77 | 0.03 | -3.58 | 0.03 | -1.7 | -3.13
BTS | 947 | BTS | -2.78 | 0.06 | -3.48 | 0.06 | -2.75 | -2.92
BTS | 970 | BTS | -2.38 | 0.07 | -3.56 | 0.07 | -2.36 | -2.97
BTS | 378 | BTS | -2.55 | 0.02 | -0.82 | 0.02 | -2.45 | -0.45
BTS | 914 | BTS | -2.96 | 0.07 | -3.53 | 0.03 | -2.85 | -3.17
BTS | 985 | BTS | -2.02 | 0.04 | -1.87 | 0.04 | -1.9 | -1.54
BTS | 858 | BTS | -1.91 | 0.03 | -3.98 | 0.02 | -1.8 | -3.62
BTS | 907 | BTS | -2.16 | 0.08 | -4 | 0.03 | -2.06 | -3.64
BTS | 941 | BTS | -2.28 | 0.02 | -3.96 | 0.02 | -2.17 | -3.59
BTS | 990 | BTS | -1.32 | 0.02 | -3.74 | 0.03 | -1.21 | -3.37
BTS | 830 | BTS | -1.56 | 0.03 | -3.91 | 0.02 | -1.45 | -3.54
BTS | 811 | BTS | -2.57 | 0.03 | -3.22 | 0.02 | -2.46 | -2.86
BTS | 1014 | BTS | -2.57 | 0.08 | -3.41 | 0.03 | -2.46 | -3.05
BTS | 1079 | BTS | -2.16 | 0.03 | -3.82 | 0.04 | -2.11 | -3.31
BTS | 1022 | BTS | -1.84 | 0.06 | -3.37 | 0.02 | -1.73 | -3
BTS | 1093 | BTS | -2.07 | 0.07 | -3.58 | 0.08 | -2.06 | -2.95
BTS | 1049 | BTS | -2.32 | 0.09 | -3.92 | 0.08 | -2.32 | -3.28
BTS | 1082 | BTS | -1.27 | 0.02 | -3.57 | 0.03 | -1.16 | -3.2
BTS | 1063 | BTS | -2.62 | 0.18 | -3.28 | 0.1 | -2.76 | -2.29
BTS | 1098 | BTS | -2.08 | 0.09 | -3.41 | 0.02 | -1.97 | -3.04
BTS | 1085 | BTS | -1.94 | 0.04 | -3.43 | 0.02 | -1.83 | -3.06
BTS | 1070 | BTS | -2.8 | 0.14 | -3.79 | 0.09 | -2.86 | -2.98
BTS | 1047 | BTS | -2.32 | 0.04 | -4.12 | 0.03 | -2.27 | -3.62
BTS | 1099 | BTS | -2.28 | 0.05 | -3.73 | 0.03 | -2.17 | -3.37
BTS | 1013 | BTS | -2.38 | 0.07 | -3.58 | 0.08 | -2.38 | -2.95
BTS | 1016 | BTS | -2.6 | 0.04 | -3.63 | 0.02 | -2.49 | -3.26
BTS | 1038 | BTS | -1.91 | 0.04 | -3.74 | 0.05 | -1.87 | -3.21
BTS | 1029 | BTS | -1.61 | 0.09 | -3.71 | 0.02 | -1.51 | -3.34
BTS | 1034 | BTS | -2.9 | 0.04 | -3.93 | 0.02 | -2.79 | -3.56
BTS | 1044 | BTS | -2.93 | 0.03 | -4.14 | 0.01 | -2.83 | -3.77
BTS | 1052 | BTS | -2.22 | 0.07 | -3.57 | 0.02 | -2.11 | -3.21
BTS | 1010 | BTS | -2.05 | 0.07 | -3.85 | 0.02 | -1.94 | -3.49
BTS | 1030 | BTS | -1.89 | 0.03 | -3.59 | 0.01 | -1.81 | -3.13
BTS | 1065 | BTS | -2.52 | 0.04 | -3.55 | 0.01 | -2.44 | -3.11
BTS | 1012 | BTS | -1.94 | 0.03 | -3.6 | 0.03 | -1.88 | -3.1
BTS | 1036 | BTS | -2.2 | 0.05 | -4.03 | 0.05 | -2.16 | -3.48
BTS | 1021 | BTS | -1.17 | 0.09 | -2.3 | 0.02 | -1.06 | -1.94
BTS | 1084 | BTS | -2.16 | 0.03 | -3.65 | 0.01 | -2.05 | -3.28
BTS | 1066 | BTS | -3.17 | 0.19 | -3.56 | 0.08 | -3.33 | -2.53
BTS | 1081 | BTS | -1.15 | 0.02 | -3.53 | 0.03 | -1.04 | -3.16
BTS | 1067 | BTS | -3.25 | 0.25 | -3.75 | 0.08 | -3.43 | -2.66
BTS | 1059 | BTS | -1.76 | 0.06 | -3.67 | 0.02 | -1.65 | -3.31
BTS | 837 | BTS | -2.83 | 0.02 | -3.51 | 0.03 | -2.72 | -3.14
BTS | 844 | BTS | -1.97 | 0.03 | -3.45 | 0.02 | -1.87 | -3.08
BTS | 838 | BTS | -2.61 | 0.02 | -4.02 | 0.02 | -2.51 | -3.66
BTS | 900 | BTS | -1.44 | 0.02 | -3.69 | 0.02 | -1.33 | -3.33
BTS | 1064 | BTS | -2.6 | 0.04 | -3.34 | 0.05 | -2.57 | -2.81
BTS | 840 | BTS | -2.33 | 0.02 | -3.92 | 0.02 | -2.22 | -3.56
BTS | 1011 | BTS | -1.58 | 0.04 | -3.59 | 0.02 | -1.47 | -3.22
BTS | 842 | BTS | -1.48 | 0.03 | -3.7 | 0.02 | -1.37 | -3.34
BTS | 834 | BTS | -2.51 | 0.06 | -3.45 | 0.02 | -2.4 | -3.09
BTS | 920 | BTS | -1.51 | 0.03 | -3.83 | 0.02 | -1.4 | -3.46
BTS | 845 | BTS | -2.21 | 0.02 | -3.62 | 0.02 | -2.1 | -3.25
BTS | 843 | BTS | -1.58 | 0.02 | -3.62 | 0.02 | -1.47 | -3.25
BTS | 1095 | BTS | -2.22 | 0.08 | -3.47 | 0.02 | -2.11 | -3.11
BTS | 836 | BTS | -2.68 | 0.03 | -3.74 | 0.02 | -2.57 | -3.37
BTS | 1050 | BTS | -1.59 | 0.06 | -3.6 | 0.02 | -1.48 | -3.24
BTS | 1092 | BTS | -1.39 | 0.02 | -3.53 | 0.02 | -1.28 | -3.16
BTS | 1077 | BTS | -2.78 | 0.03 | -3.81 | 0.02 | -2.7 | -3.37
BTS | 398 | BTS | -3.2 | 0.02 | -3.84 | 0.03 | -3.1 | -3.47
BTS | 848 | BTS | -2.68 | 0.22 | -3.71 | 0.12 | -2.8 | -2.76
BTS | 1080 | BTS | -1.63 | 0.03 | -3.66 | 0.03 | -1.52 | -3.29
BTS | 814 | BTS | -2.27 | 0.02 | -3.92 | 0.02 | -2.16 | -3.56
BTS | 833 | BTS | -2.35 | 0.03 | -3.48 | 0.02 | -2.24 | -3.11
BTS | 1062 | BTS | -1.91 | 0.06 | -3.37 | 0.02 | -1.81 | -3
BTS | 1033 | BTS | -3.15 | 0.05 | -3.57 | 0.01 | -3.04 | -3.2
BTS | 1073 | BTS | -2 | 0.03 | -3.64 | 0.02 | -1.93 | -3.17
BTS | 841 | BTS | -1.72 | 0.02 | -3.76 | 0.02 | -1.61 | -3.4
BTS | 1020 | BTS | -1.28 | 0.07 | -3.61 | 0.02 | -1.17 | -3.25
BTS | 823 | BTS | -1.86 | 0.03 | -3.51 | 0.02 | -1.75 | -3.14
BTS | 945 | BTS | -2.31 | 0.04 | -3.58 | 0.04 | -2.26 | -3.07
BTS | 819 | BTS | -1.02 | 0.02 | -3.58 | 0.02 | -0.91 | -3.21
BTS | 1075 | BTS | -2.8 | 0.1 | -3.48 | 0.07 | -2.79 | -2.87
BTS | 1046 | BTS | -2.23 | 0.06 | -4.1 | 0.02 | -2.13 | -3.73
BTS | 818 | BTS | -1.25 | 0.04 | -3.75 | 0.02 | -1.14 | -3.39
BTS | 1045 | BTS | -3.19 | 0.02 | -4.29 | 0.02 | -3.08 | -3.92
BTS | 821 | BTS | -1.32 | 0.02 | -3.39 | 0.02 | -1.21 | -3.03
BTS | 824 | BTS | -2.04 | 0.03 | -3.72 | 0.04 | -1.92 | -3.38
BTS | 812 | BTS | -3.09 | 0.03 | -3.73 | 0.02 | -2.98 | -3.36
BTS | 828 | BTS | -1.37 | 0.03 | -4.07 | 0.02 | -1.27 | -3.71
BTS | 825 | BTS | -2.69 | 0.03 | -3.87 | 0.03 | -2.59 | -3.5
BTS | 1089 | BTS | -2.58 | 0.14 | -4.07 | 0.11 | -2.61 | -3.36
BTS | 1072 | BTS | -5.41 | 0.04 | -4.57 | 0.02 | -5.34 | -4.1
BTS | 1083 | BTS | -1.51 | 0.06 | -3.49 | 0.02 | -1.4 | -3.12
BTS | 817 | BTS | -1.24 | 0.03 | -3.93 | 0.02 | -1.13 | -3.56
BTS | 1059 | BTS | -1.85 | 0.03 | -3.81 | 0.02 | -1.78 | -3.34
BTS | 820 | BTS | -1 | 0.02 | -3.47 | 0.03 | -0.89 | -3.1
BTS | 1074 | BTS | -1.82 | 0.07 | -3.45 | 0.03 | -1.71 | -3.08
BTS | 1088 | BTS | -3.09 | 0.12 | -4.05 | 0.09 | -3.1 | -3.39
BTS | 1019 | BTS | -1.31 | 0.06 | -3.7 | 0.02 | -1.2 | -3.34
BTS | 1090 | BTS | -2.11 | 0.1 | -3.79 | 0.08 | -2.12 | -3.14
BTS | 829 | BTS | -1.3 | 0.02 | -3.91 | 0.03 | -1.19 | -3.54
BTS | 1031 | BTS | -2.24 | 0.06 | -3.34 | 0.02 | -2.13 | -2.97
BTS | 815 | BTS | -1.86 | 0.02 | -3.9 | 0.02 | -1.76 | -3.53
BTS | 1091 | BTS | -3.34 | 0.2 | -4.01 | 0.13 | -3.42 | -3.16
BTS | 1032 | BTS | -2.96 | 0.03 | -3.4 | 0.02 | -2.89 | -2.93
BTS | 1060 | BTS | -2.41 | 0.29 | -3.51 | 0.11 | -2.59 | -2.41
BTS | 1061 | BTS | -1.84 | 0.06 | -3.54 | 0.02 | -1.73 | -3.18
BTS | 1076 | BTS | -2.68 | 0.06 | -3.48 | 0.05 | -2.63 | -2.94
BTS | 1043 | BTS | -2.55 | 0.05 | -3.76 | 0.05 | -2.51 | -3.22
BTS | 832 | BTS | -2.03 | 0.02 | -3.44 | 0.04 | -1.92 | -3.07
BTS | 1039 | BTS | -2.15 | 0.09 | -3.75 | 0.06 | -2.14 | -3.15
BTS | 826 | BTS | -2.54 | 0.04 | -4.15 | 0.02 | -2.43 | -3.78
BTS | 822 | BTS | -1.59 | 0.02 | -3.39 | 0.02 | -1.49 | -3.03
BTS | 1057 | BTS | -2.12 | 0.05 | -4.05 | 0.03 | -2.07 | -3.54
BTS | 846 | BTS | -2.37 | 0.02 | -3.64 | 0.02 | -2.26 | -3.27
BTS | 1078 | BTS | -2.27 | 0.05 | -3.91 | 0.02 | -2.16 | -3.54
BTS | 1097 | BTS | -2.04 | 0.03 | -3.43 | 0.02 | -1.93 | -3.06
BTS | 1055 | BTS | -2.96 | 0.03 | -4.06 | 0.01 | -2.87 | -3.65
BTS | 1027 | BTS | -1.63 | 0.02 | -3.65 | 0.02 | -1.53 | -3.28
BTS | 1042 | BTS | -1.76 | 0.08 | -3.63 | 0.02 | -1.65 | -3.26
BTS | 847 | BTS | -2.58 | 0.01 | -3.83 | 0.02 | -2.47 | -3.46
BTS | 1096 | BTS | -2.47 | 0.06 | -3.54 | 0.03 | -2.41 | -3.05
BTS | 1018 | BTS | -1.36 | 0.01 | -3.83 | 0.02 | -1.25 | -3.46
BTS | 1025 | BTS | -2.69 | 0.03 | -3.68 | 0.02 | -2.58 | -3.31
BTS | 1028 | BTS | -1.26 | 0.02 | -3.68 | 0.01 | -1.15 | -3.31
BTS | 1023 | BTS | -2.74 | 0.04 | -3.52 | 0.02 | -2.64 | -3.15
BTS | 1068 | BTS | -2.82 | 0.18 | -3.87 | 0.11 | -2.86 | -3.13
BTS | 813 | BTS | -3.05 | 0.04 | -3.95 | 0.02 | -2.94 | -3.59
BTS | 1040 | BTS | -1.85 | 0.02 | -3.76 | 0.01 | -1.77 | -3.32
BTS | 1026 | BTS | -1.78 | 0.02 | -3.76 | 0.02 | -1.68 | -3.39
BTS | 1035 | BTS | -2.86 | 0.18 | -3.99 | 0.12 | -2.91 | -3.24
BTS | 1024 | BTS | -3.26 | 0.04 | -3.59 | 0.02 | -3.21 | -3.09
BTS | 1071 | BTS | -1.66 | 0.03 | -3.74 | 0.04 | -1.55 | -3.37
BTS | 1056 | BTS | -3.02 | 0.1 | -4 | 0.08 | -3.03 | -3.35
BTS | 1015 | BTS | -3.38 | 0.03 | -3.81 | 0.02 | -3.27 | -3.45
BTS | 816 | BTS | -1.66 | 0.02 | -3.93 | 0.02 | -1.55 | -3.57
BTS | 1053 | BTS | -2.84 | 0.15 | -3.6 | 0.08 | -2.85 | -2.93
BTS | 333 | BTS | -2.36 | 0.02 | -3.72 | 0.03 | -2.25 | -3.36
BTS | 397 | BTS | -2.96 | 0.02 | -3.74 | 0.02 | -2.85 | -3.37
BTS | 402 | BTS | -2 | 0.03 | -3.97 | 0.02 | -1.89 | -3.61
BTS | 348 | BTS | -2.86 | 0.03 | -3.67 | 0.01 | -2.75 | -3.3
BTS | 346 | BTS | -1.97 | 0.02 | -3.51 | 0.02 | -1.86 | -3.14
BTS | 342 | BTS | -2.04 | 0.04 | -3.79 | 0.02 | -1.94 | -3.42
BTS | 364 | BTS | -2.39 | 0.04 | -3.8 | 0.01 | -2.29 | -3.43
BTS | 335 | BTS | -2.63 | 0.02 | -3.44 | 0.02 | -2.53 | -3.07
BTS | 363 | BTS | -2.2 | 0.04 | -3.88 | 0.02 | -2.09 | -3.51
BTS | 367 | BTS | -3.01 | 0.02 | -3.73 | 0.02 | -2.9 | -3.37
BTS | 336 | BTS | -3.05 | 0.03 | -3.34 | 0.02 | -2.94 | -2.97
BTS | 340 | BTS | -2.48 | 0.04 | -3.89 | 0.02 | -2.37 | -3.52
BTS | 327 | BTS | -3.78 | 0.02 | -3.71 | 0.02 | -3.67 | -3.34
BTS | 350 | BTS | -2.63 | 0.02 | -3.93 | 0.02 | -2.52 | -3.56
BTS | 349 | BTS | -3 | 0.03 | -3.92 | 0.02 | -2.89 | -3.56
BTS | 357 | BTS | -2.75 | 0.03 | -3.32 | 0.02 | -2.65 | -2.96
BTS | 328 | BTS | -3.98 | 0.02 | -3.88 | 0.02 | -3.87 | -3.51
BTS | 356 | BTS | -2.38 | 0.03 | -3.27 | 0.02 | -2.27 | -2.9
BTS | 353 | BTS | -2.48 | 0.06 | -3.73 | 0.02 | -2.38 | -3.35
BTS | 341 | BTS | -2.11 | 0.02 | -3.82 | 0.03 | -2 | -3.45
BTS | 380 | BTS | -2.5 | 0.02 | -3.86 | 0.02 | -2.4 | -3.49
BTS | 369 | BTS | -2.92 | 0.01 | -3.92 | 0.02 | -2.82 | -3.55
BTS | 334 | BTS | -2.49 | 0.02 | -3.59 | 0.02 | -2.39 | -3.23
BTS | 347 | BTS | -2.29 | 0.02 | -3.42 | 0.03 | -2.19 | -3.06
BTS | 391 | BTS | -2.66 | 0.02 | -3.9 | 0.03 | -2.56 | -3.54
BTS | 337 | BTS | -3.36 | 0.02 | -3.51 | 0.03 | -3.25 | -3.14
BTS | 345 | BTS | -2.04 | 0.03 | -3.58 | 0.02 | -1.94 | -3.21
BTS | 365 | BTS | -2.36 | 0.03 | -3.59 | 0.02 | -2.25 | -3.23
BTS | 372 | BTS | -2.94 | 0.03 | -3.98 | 0.02 | -2.83 | -3.61
BTS | 325 | BTS | -2.25 | 0.02 | -3.38 | 0.03 | -2.14 | -3.01
BTS | 326 | BTS | -3.2 | 0.02 | -3.57 | 0.02 | -3.09 | -3.2
BTS | 244 | BTS | -2.22 | 0.03 | -3.68 | 0.04 | -2.11 | -3.32
BTS | 245 | BTS | -2.18 | 0.02 | -3.68 | 0.02 | -2.07 | -3.32
BTS | 246 | BTS | -2.28 | 0.02 | -3.97 | 0.03 | -2.17 | -3.61
BTS | 247 | BTS | -3.07 | 0.03 | -3.51 | 0.03 | -2.96 | -3.14
BTS | 248 | BTS | -3.29 | 0.03 | -3.56 | 0.03 | -3.18 | -3.2
BTS | 249 | BTS | -3.68 | 0.02 | -3.64 | 0.02 | -3.57 | -3.27
BTS | 250 | BTS | -3.56 | 0.02 | -3.78 | 0.02 | -3.45 | -3.42
BTS | 251 | BTS | -3.16 | 0.02 | -4.03 | 0.03 | -3.05 | -3.66
BTS | 252 | BTS | -2.95 | 0.02 | -3.98 | 0.03 | -2.84 | -3.61
BTS | 253 | BTS | -2.75 | 0.02 | -3.87 | 0.02 | -2.64 | -3.51
BTS | 254 | BTS | -2.72 | 0.04 | -3.9 | 0.05 | -2.61 | -3.54
BTS | 256 | BTS | -2.57 | 0.02 | -3.65 | 0.02 | -2.47 | -3.28
BTS | 257 | BTS | -2.82 | 0.03 | -3.76 | 0.05 | -2.7 | -3.42
BTS | 258 | BTS | -3.05 | 0.05 | -3.73 | 0.04 | -2.93 | -3.39
BTS | 259 | BTS | -3.3 | 0.03 | -3.54 | 0.02 | -3.19 | -3.18
BTS | 260 | BTS | -3.81 | 0.03 | -3.71 | 0.03 | -3.69 | -3.36
BTS | 261 | BTS | -3.88 | 0.03 | -3.7 | 0.03 | -3.77 | -3.34
BTS | 262 | BTS | -3.74 | 0.02 | -3.96 | 0.03 | -3.63 | -3.61
BTS | 263 | BTS | -3.25 | 0.02 | -4.03 | 0.05 | -3.13 | -3.68
BTS | 264 | BTS | -2.9 | 0.03 | -4.21 | 0.03 | -2.79 | -3.85
BTS | 265 | BTS | -2.4 | 0.03 | -3.91 | 0.04 | -2.29 | -3.56
BTS | 266 | BTS | -2.42 | 0.03 | -3.92 | 0.04 | -2.31 | -3.57
BTS | 267 | BTS | -2.52 | 0.03 | -3.8 | 0.03 | -2.4 | -3.45
BTS | 268 | BTS | -2.51 | 0.01 | -3.77 | 0.03 | -2.4 | -3.41
BTS | 269 | BTS | -2.54 | 0.03 | -3.79 | 0.03 | -2.43 | -3.45
BTS | 270 | BTS | -2.85 | 0.03 | -3.87 | 0.03 | -2.73 | -3.54
BTS | 271 | BTS | -3.38 | 0.02 | -3.69 | 0.05 | -3.27 | -3.34
BTS | 272 | BTS | -3.27 | 0.04 | -3.58 | 0.03 | -3.17 | -3.21
BTS | 273 | BTS | -3.56 | 0.04 | -3.78 | 0.03 | -3.44 | -3.43
BTS | 274 | BTS | -3.57 | 0.02 | -3.94 | 0.03 | -3.46 | -3.57
BTS | 275 | BTS | -2.99 | 0.02 | -3.97 | 0.03 | -2.89 | -3.6
BTS | 276 | BTS | -2.33 | 0.02 | -3.83 | 0.04 | -2.22 | -3.46
BTS | 277 | BTS | -2.42 | 0.03 | -3.7 | 0.02 | -2.31 | -3.34
BTS | 278 | BTS | -3.31 | 0.12 | -3.71 | 0.04 | -3.27 | -3.17
BTS | 280 | BTS | -2.55 | 0.03 | -3.42 | 0.03 | -2.44 | -3.05
BTS | 281 | BTS | -3 | 0.03 | -3.6 | 0.05 | -2.89 | -3.25
BTS | 282 | BTS | -3.65 | 0.02 | -3.62 | 0.02 | -3.54 | -3.26
BTS | 284 | BTS | -3.33 | 0.02 | -3.76 | 0.03 | -3.22 | -3.39
BTS | 285 | BTS | -2.74 | 0.02 | -3.91 | 0.02 | -2.63 | -3.54
BTS | 286 | BTS | -2.27 | 0.03 | -3.97 | 0.03 | -2.17 | -3.6
BTS | 287 | BTS | -2.22 | 0.06 | -3.8 | 0.02 | -2.11 | -3.44
BTS | 288 | BTS | -2.34 | 0.04 | -4 | 0.05 | -2.22 | -3.67
BTS | 289 | BTS | -2.48 | 0.02 | -3.55 | 0.02 | -2.37 | -3.18
BTS | 290 | BTS | -2.23 | 0.02 | -3.57 | 0.03 | -2.12 | -3.21
BTS | 291 | BTS | -2.86 | 0.02 | -3.47 | 0.03 | -2.75 | -3.1
BTS | 292 | BTS | -3.74 | 0.02 | -3.51 | 0.04 | -3.62 | -3.16
BTS | 293 | BTS | -3.77 | 0.02 | -3.82 | 0.02 | -3.67 | -3.45
BTS | 294 | BTS | -2.84 | 0.02 | -3.86 | 0.02 | -2.73 | -3.49
BTS | 295 | BTS | -2.47 | 0.02 | -4.24 | 0.03 | -2.35 | -3.89
BTS | 296 | BTS | -2.49 | 0.01 | -3.83 | 0.03 | -2.38 | -3.46
BTS | 297 | BTS | -2.73 | 0.01 | -3.84 | 0.03 | -2.63 | -3.48
BTS | 298 | BTS | -2.49 | 0.02 | -3.78 | 0.03 | -2.38 | -3.42
BTS | 299 | BTS | -2.45 | 0.04 | -3.62 | 0.03 | -2.34 | -3.25
BTS | 300 | BTS | -2.69 | 0.02 | -3.74 | 0.02 | -2.58 | -3.37
BTS | 301 | BTS | -2.62 | 0.03 | -2.49 | 0.02 | -2.52 | -2.12
BTS | 302 | BTS | -2.88 | 0.03 | -3.95 | 0.05 | -2.77 | -3.6
BTS | 303 | BTS | -2.09 | 0.01 | -3.95 | 0.02 | -1.98 | -3.58
BTS | 304 | BTS | -2.04 | 0.02 | -3.2 | 0.03 | -1.93 | -2.83
BTS | 306 | BTS | -3.16 | 0.04 | -3.84 | 0.03 | -3.04 | -3.5
BTS | 307 | BTS | -3.1 | 0.02 | -3.48 | 0.03 | -2.99 | -3.12
BTS | 308 | BTS | -3.16 | 0.02 | -3.66 | 0.02 | -3.06 | -3.29
BTS | 309 | BTS | -3.19 | 0.02 | -3.53 | 0.02 | -3.09 | -3.16
BTS | 310 | BTS | -2.93 | 0.02 | -3.75 | 0.02 | -2.82 | -3.38
BTS | 311 | BTS | -2.38 | 0.02 | -3.82 | 0.02 | -2.28 | -3.45
BTS | 312 | BTS | -2.21 | 0.02 | -3.91 | 0.03 | -2.1 | -3.54
BTS | 313 | BTS | -2.57 | 0.02 | -3.98 | 0.02 | -2.46 | -3.61
BTS | 314 | BTS | -2.21 | 0.03 | -3.75 | 0.02 | -2.1 | -3.38
BTS | 315 | BTS | -2.38 | 0.02 | -3.52 | 0.03 | -2.28 | -3.15
BTS | 316 | BTS | -2.75 | 0.01 | -3.6 | 0.04 | -2.64 | -3.24
BTS | 317 | BTS | -3.2 | 0.02 | -3.63 | 0.02 | -3.09 | -3.26
BTS | 320 | BTS | -2 | 0.02 | -3.78 | 0.03 | -1.89 | -3.41
BTS | 321 | BTS | -2.08 | 0.02 | -3.94 | 0.01 | -1.97 | -3.57
BTS | 322 | BTS | -1.95 | 0.04 | -3.83 | 0.02 | -1.84 | -3.46
BTS | 323 | BTS | -2.1 | 0.03 | -3.64 | 0.02 | -1.99 | -3.27
BTS | 324 | BTS | -2.22 | 0.03 | -3.63 | 0.02 | -2.12 | -3.26
BTS | 487 | BTS | -2.21 | 0.02 | -3.8 | 0.02 | -2.1 | -3.43
BTS | 488 | BTS | -2.04 | 0.02 | -3.66 | 0.03 | -1.94 | -3.29
BTS | 489 | BTS | -1.93 | 0.02 | -3.66 | 0.02 | -1.82 | -3.29
BTS | 490 | BTS | -2.12 | 0.02 | -3.47 | 0.02 | -2.02 | -3.11
BTS | 491 | BTS | -2.39 | 0.02 | -3.61 | 0.02 | -2.29 | -3.24
BTS | 492 | BTS | -2.51 | 0.02 | -3.59 | 0.02 | -2.4 | -3.22
BTS | 493 | BTS | -2.86 | 0.02 | -3.8 | 0.02 | -2.75 | -3.44
BTS | 494 | BTS | -2.93 | 0.02 | -3.82 | 0.02 | -2.83 | -3.46
BTS | 495 | BTS | -3.25 | 0.03 | -4.01 | 0.02 | -3.14 | -3.64
BTS | 496 | BTS | -3.2 | 0.02 | -4.05 | 0.03 | -3.09 | -3.69
BTS | 497 | BTS | -2.66 | 0.03 | -3.87 | 0.02 | -2.55 | -3.5
BTS | 498 | BTS | -2.03 | 0.04 | -3.85 | 0.02 | -1.93 | -3.48
BTS | 499 | BTS | -1.65 | 0.02 | -3.73 | 0.03 | -1.54 | -3.36
BTS | 500 | BTS | -1.7 | 0.02 | -3.64 | 0.02 | -1.59 | -3.27
BTS | 501 | BTS | -2.05 | 0.01 | -3.57 | 0.03 | -1.94 | -3.2
BTS | 502 | BTS | -2.17 | 0.02 | -3.53 | 0.02 | -2.06 | -3.15
BTS | 503 | BTS | -2.26 | 0.02 | -3.46 | 0.02 | -2.15 | -3.09
BTS | 504 | BTS | -2.69 | 0.03 | -3.57 | 0.02 | -2.58 | -3.2
BTS | 505 | BTS | -2.82 | 0.02 | -3.65 | 0.02 | -2.72 | -3.28
BTS | 506 | BTS | -2.84 | 0.02 | -3.82 | 0.02 | -2.74 | -3.45
BTS | 507 | BTS | -2.65 | 0.04 | -3.73 | 0.02 | -2.55 | -3.36
BTS | 508 | BTS | -2.62 | 0.04 | -3.92 | 0.02 | -2.52 | -3.56
BTS | 509 | BTS | -1.98 | 0.04 | -3.81 | 0.04 | -1.87 | -3.44
BTS | 510 | BTS | -1.66 | 0.03 | -3.67 | 0.02 | -1.56 | -3.3
BTS | 511 | BTS | -1.75 | 0.02 | -3.73 | 0.01 | -1.64 | -3.37
BTS | 512 | BTS | -1.63 | 0.01 | -3.5 | 0.02 | -1.52 | -3.13
BTS | 513 | BTS | -1.83 | 0.05 | -3.54 | 0.03 | -1.73 | -3.17
BTS | 514 | BTS | -1.7 | 0.02 | -3.3 | 0.02 | -1.59 | -2.93
BTS | 515 | BTS | -2.45 | 0.01 | -3.65 | 0.02 | -2.35 | -3.28
BTS | 516 | BTS | -2.8 | 0.03 | -3.78 | 0.02 | -2.69 | -3.41
BTS | 517 | BTS | -3.09 | 0.02 | -4.02 | 0.02 | -2.98 | -3.65
BTS | 518 | BTS | -2.39 | 0.01 | -3.89 | 0.02 | -2.28 | -3.52
BTS | 519 | BTS | -1.87 | 0.02 | -3.85 | 0.03 | -1.76 | -3.48
BTS | 520 | BTS | -1.74 | 0.02 | -3.65 | 0.02 | -1.63 | -3.29
BTS | 521 | BTS | -1.61 | 0.05 | -3.38 | 0.03 | -1.51 | -3.01
BTS | 522 | BTS | -1.93 | 0.02 | -3.5 | 0.03 | -1.82 | -3.13
BTS | 523 | BTS | -2.35 | 0.02 | -3.51 | 0.03 | -2.25 | -3.14
BTS | 524 | BTS | -2.07 | 0.03 | -3.61 | 0.02 | -1.96 | -3.24
BTS | 525 | BTS | -1.44 | 0.02 | -3.42 | 0.02 | -1.33 | -3.05
BTS | 526 | BTS | -1.32 | 0.05 | -3.39 | 0.02 | -1.21 | -3.02
BTS | 527 | BTS | -1.17 | 0.02 | -3.46 | 0.02 | -1.06 | -3.09
When results produced at P2L are being published, we suggest using the following text in the "Material and Methods" section of the publication:
"Analyses on (your samples) for determination of d13C and d18O were performed at the Paleoceanography and Paleoclimatology Laboratory, School of Arts, Sciences and Humanities of the University of Sao Paulo, Brazil. The laboratory is equipped with a Thermo Fisher Scientific MAT253 isotope ratio mass spectrometer (IRMS) coupled with a Thermo Fisher Scientific Kiel IV carbonate preparation device. The details on the laboratory analytical setup and performance are described in Crivellari et al. (2021). The IRMS measures the isotopic composition of the CO2 developed by the reaction between the sample carbonate and orthophosphoric acid at 70°C. Measurements were calibrated against repeated analyses of SHP2L reference material which is used as internal working standard (Crivellari et al., 2021). SHP2L is in turn calibrated against international reference material NBS19 and values are anchored to the Vienna Pee Dee Belemnite (VPDB) scale. Analytical precision was better than (please use the value informed by P2L) ‰ for d13C and (please use the value informed by P2L) ‰ for d18O (±1 s, n = please use the value informed by P2L)."
Reference
Crivellari, S., Viana, P.J., Campos, M.D., Kuhnert, H., Lopes, A.B.M., da Cruz, F.W., Chiessi, C.M., 2021. Development and characterization of a new in-house reference material for stable carbon and oxygen isotopes analyses. Journal of Analytical Atomic Spectrometry 36, 1125-1134. DOI: 10.1039/D1JA00030F.