## New Table
Sample | [13 empty] | Acquisition information | [16 empty] | Cycle Number | Sample Intensities | Standard Intensities | Elemental Deltas
Index | User name | Start Time | Stop Time | Status | Mark To Pause | Label | Comment | Run ID | Line | Vial | Evaluate | Sample Type | Reference | Background Result | High Voltage | Initial Intensity from µ-Volume | Ion Source Pressure | Kiel IV Acid Temperature | Kiel IV CO₂ Sample Pressure | Kiel IV Initial Pressure | Kiel IV Leak Rate | Kiel IV Non Condensable Pressure | Kiel IV Residual CO₂ Pressure | Linearity Correction Result | Measuring from | Peak Center Result | Pressure Adjust Bellow Position | Pressure Adjust Initial Intensity | Pressure Adjust Result Intensity | Pressure Adjust Target Intensity |  | Sample Intensity | Standard Intensity | CO2 Brand, Assonov and Coplen (Avg.)
[32 empty] | 44.00 m/z | 44.00 m/z | d13C Mean | d18O Mean
[32 empty] | V | V | ‰ | ‰
1 | GIRMS\IRMS-operator | 2026-01-13 18:44 | 2026-01-13 19:47 | Success | FALSE | SHP2L | 1 | 1 | 1 | 2 | TRUE | Unknown |  | 0.000677583663224368 V, 0.00055503315893975 V, 0.000580061339162057 V | 9.5207 kV | 28.063 V | 1.67E-007 mbar | 72 °C | 1,024 µbar | 10 µbar | 44 µbar/min | 86 µbar | 32 µbar |  | µ-Volume | Carbon Dioxide: 0.0207 kV | 34 % | 6.549 V | 19.680 V | 22.734 V | Pre |  | 18.2736
[31 empty] | Cycle 1 | 17.4927 | 16.7679 | -0.84218 | -5.9425
[31 empty] | Cycle 2 | 16.5302 | 15.44
[31 empty] | Cycle 3 | 15.6387 | 14.2697
[31 empty] | Cycle 4 | 14.8204 | 13.2383
[31 empty] | Cycle 5 | 14.0668 | 12.3291
[31 empty] | Cycle 6 | 13.3771 | 11.5149
[31 empty] | Cycle 7 | 12.7411 | 10.7756
[31 empty] | Cycle 8 | 12.1535 | 10.1067
2 | GIRMS\IRMS-operator | 2026-01-13 19:15 | 2026-01-13 20:19 | Success | FALSE | SHP2L | 2 | 2 | 2 | 2 | TRUE | Unknown |  | 0.00107895813485084 V, 0.00099728589466298 V, 0.0011592838069808 V | 9.5210 kV | 31.046 V | 1.80E-007 mbar | 72 °C | 1,016 µbar | 32 µbar | 66 µbar/min | 84 µbar | 35 µbar |  | µ-Volume | Carbon Dioxide: 0.0210 kV | 31 % | 6.495 V | 22.572 V | 25.367 V | Pre |  | 21.1014
[31 empty] | Cycle 1 | 20.0195 | 19.2677 | -0.79426 | -5.9187
[31 empty] | Cycle 2 | 18.8569 | 17.6533
[31 empty] | Cycle 3 | 17.7912 | 16.2237
[31 empty] | Cycle 4 | 16.8028 | 14.9599
[31 empty] | Cycle 5 | 15.8941 | 13.842
[31 empty] | Cycle 6 | 15.0542 | 12.8539
[31 empty] | Cycle 7 | 14.2781 | 11.978
[31 empty] | Cycle 8 | 13.5641 | 11.1917
3 | GIRMS\IRMS-operator | 2026-01-13 19:47 | 2026-01-13 20:35 | Error | FALSE | SHP2L | 3 | 3 | 1 | 3 | TRUE | Unknown |  | NA, NA, NA |  |  |  | 72 °C | 1,034 µbar | 35 µbar | 278 µbar/min | 69 µbar | 37 µbar |  |  | Carbon Dioxide: 0.0211 kV | [6 empty] | 22.1039
4 | GIRMS\IRMS-operator | 2026-01-13 20:19 | 2026-01-13 21:15 | Success | FALSE | SHP2L | 4 | 4 | 2 | 3 | TRUE | Unknown |  | 0.00138279610909785 V, 0.00131928794928746 V, 0.00159858285212931 V | 9.5211 kV | 37.111 V | 1.84E-007 mbar | 72 °C | 1,041 µbar | 37 µbar | 725 µbar/min | 84 µbar | 69 µbar |  | µ-Volume | Carbon Dioxide: 0.0211 kV | 30 % | 6.563 V | 23.717 V | 29.954 V | Pre | 20.9399 | 20.1771 | -0.64032 | -5.6649
[31 empty] | Cycle 1 | 19.6909 | 18.4683
[31 empty] | Cycle 2 | 18.537 | 16.9471
[31 empty] | Cycle 3 | 17.4701 | 15.5994
[31 empty] | Cycle 4 | 16.4859 | 14.4076
[31 empty] | Cycle 5 | 15.5752 | 13.3486
[31 empty] | Cycle 6 | 14.7407 | 12.4039
[31 empty] | Cycle 7 | 13.9717 | 11.5586
[31 empty] | Cycle 8 |  | 17.1967
5 | GIRMS\IRMS-operator | 2026-01-14 09:31 | 2026-01-14 10:16 | Error | FALSE | SHP2L | 5 | 5 | 1 | 4 | TRUE | Unknown |  | NA, NA, NA |  |  |  | 72 °C | 1,002 µbar | 13 µbar | 234 µbar/min | 230 µbar | 32 µbar |  |  | Carbon Dioxide: 0.0213 kV | [5 empty] | 16.3667 | 15.8214 | -0.83069 | -6.1623
6 | GIRMS\IRMS-operator | 2026-01-14 10:00 | 2026-01-14 10:56 | Success | FALSE | SHP2L | 6 | 6 | 2 | 4 | TRUE | Unknown |  | 0.00153228259801892 V, 0.00147602690083471 V, 0.00185333621977111 V | 9.5212 kV | 25.640 V | 1.59E-007 mbar | 72 °C | 951 µbar | 27 µbar | 440 µbar/min | 59 µbar | 27 µbar |  | µ-Volume | Carbon Dioxide: 0.0212 kV | 36 % | 6.593 V | 18.436 V | 21.352 V | Pre | 15.4921 | 14.6079
[31 empty] | Cycle 1 | 14.683 | 13.5238
[31 empty] | Cycle 2 | 13.9297 | 12.5578
[31 empty] | Cycle 3 | 13.2354 | 11.692
[31 empty] | Cycle 4 | 12.5903 | 10.9177
[31 empty] | Cycle 5 | 11.9868 | 10.2233
[31 empty] | Cycle 6 | 11.4284 | 9.5949
[31 empty] | Cycle 7 |  | 20.2173
[31 empty] | Cycle 8 | 19.2223 | 18.5186 | -0.85283 | -6.0182
7 | GIRMS\IRMS-operator | 2026-01-14 11:22 | 2026-01-14 12:21 | Success | FALSE | SHP2L | 7 | 7 | 1 | 5 | TRUE | Unknown |  | 0.00152025142262067 V, 0.00146208241543411 V, 0.0018428071989045 V | 9.5210 kV | 30.012 V | 1.80E-007 mbar | 72 °C | 953 µbar | 8 µbar | 366 µbar/min | 306 µbar | 23 µbar |  | µ-Volume | Carbon Dioxide: 0.0210 kV | 32 % | 6.572 V | 21.669 V | 24.638 V | Pre | 18.1133 | 17.0006
[31 empty] | Cycle 1 | 17.0863 | 15.6457
[31 empty] | Cycle 2 | 16.1305 | 14.4478
[31 empty] | Cycle 3 | 15.2567 | 13.3847
[31 empty] | Cycle 4 | 14.4475 | 12.4302
[31 empty] | Cycle 5 | 13.7011 | 11.5763
[31 empty] | Cycle 6 | 13.0084 | 10.8125
[31 empty] | Cycle 7 |  | 6.1857
[31 empty] | Cycle 8 | 6.232 | 5.9049 | -0.55894 | -5.6502
8 | GIRMS\IRMS-operator | 2026-01-14 11:49 | 2026-01-14 12:50 | Success | FALSE | SHP2L | 8 | 8 | 2 | 5 | TRUE | Unknown |  | 0.00140925055812141 V, 0.00133904985514005 V, 0.0016899028305873 V | 9.5209 kV | 7.325 V | 8.30E-008 mbar | 72 °C | 819 µbar | 20 µbar | 308 µbar/min | 140 µbar | 25 µbar |  | µ-Volume | Carbon Dioxide: 0.0209 kV | 90 % | 6.581 V | 6.581 V | 6.556 V | Pre | 6.0405 | 5.6417
[31 empty] | Cycle 1 | 5.8547 | 5.3912
[31 empty] | Cycle 2 | 5.6763 | 5.156
[31 empty] | Cycle 3 | 5.505 | 4.9339
[31 empty] | Cycle 4 | 5.339 | 4.723
[31 empty] | Cycle 5 | 5.179 | 4.524
[31 empty] | Cycle 6 | 5.0255 | 4.3361
[31 empty] | Cycle 7 |  | 11.719
[31 empty] | Cycle 8 | 11.2394 | 10.9342 | -0.72744 | -6.0044
9 | GIRMS\IRMS-operator | 2026-01-14 12:21 | 2026-01-14 13:06 | Error | FALSE | SHP2L | 9 | 9 | 1 | 6 | TRUE | Unknown |  | NA, NA, NA |  |  |  | 72 °C | 997 µbar | 27 µbar | 315 µbar/min | 325 µbar | 54 µbar |  |  | Carbon Dioxide: 0.0208 kV | [5 empty] | 10.7384 | 10.2348
10 | GIRMS\IRMS-operator | 2026-01-14 12:50 | 2026-01-14 13:51 | Success | FALSE | SHP2L | 10 | 10 | 2 | 6 | TRUE | Unknown |  | 0.00152838230133057 V, 0.00147793985817117 V, 0.00185381482212637 V | 9.5206 kV | 17.031 V | 1.26E-007 mbar | 72 °C | 897 µbar | 23 µbar | 212 µbar/min | 145 µbar | 27 µbar |  | µ-Volume | Carbon Dioxide: 0.0206 kV | 48 % | 6.576 V | 12.561 V | 14.489 V | Pre | 10.2735 | 9.6017
[31 empty] | Cycle 1 | 9.8357 | 9.049
[31 empty] | Cycle 2 | 9.4317 | 8.5702
[31 empty] | Cycle 3 | 9.064 | 8.1358
[31 empty] | Cycle 4 | 8.7313 | 7.7354
[31 empty] | Cycle 5 | 8.4213 | 7.3631
[31 empty] | Cycle 6 |  | 21.9274
[31 empty] | Cycle 7 | 20.8055 | 20.054 | -0.87717 | -6.0188
[31 empty] | Cycle 8 | 19.5844 | 18.3792
11 | GIRMS\IRMS-operator | 2026-01-14 16:18 | 2026-01-14 17:17 | Success | FALSE | SHP2L | 11 | 11 | 1 | 7 | TRUE | Unknown |  | 0.00137937068939209 V, 0.00131020431128866 V, 0.00164232915342268 V | 9.5198 kV | 35.842 V | 1.86E-007 mbar | 72 °C | 977 µbar | 13 µbar | 315 µbar/min | 123 µbar | 32 µbar |  | µ-Volume | Carbon Dioxide: 0.0198 kV | 30 % | 6.613 V | 23.508 V | 28.995 V | Pre | 18.4559 | 16.8779
[31 empty] | Cycle 1 | 17.4055 | 15.5384
[31 empty] | Cycle 2 | 16.4312 | 14.352
[31 empty] | Cycle 3 | 15.5312 | 13.2976
[31 empty] | Cycle 4 | 14.7013 | 12.3536
[31 empty] | Cycle 5 | 13.9363 | 11.5067
[31 empty] | Cycle 6 |  | 6.7092
[31 empty] | Cycle 7 | 6.4876 | 6.4012 | -0.75082 | -5.7457
[31 empty] | Cycle 8 | 6.2868 | 6.1117
12 | GIRMS\IRMS-operator | 2026-01-14 16:45 | 2026-01-14 17:47 | Success | FALSE | SHP2L | 12 | 12 | 2 | 7 | TRUE | Unknown |  | 0.00139913141082798 V, 0.00133227666722934 V, 0.00164519956016761 V | 9.5198 kV | 7.964 V | 8.59E-008 mbar | 72 °C | 872 µbar | 27 µbar | 139 µbar/min | 69 µbar | 333 µbar |  | µ-Volume | Carbon Dioxide: 0.0198 kV | 83 % | 6.605 V | 7.148 V | 7.141 V | Pre | 6.0938 | 5.8396
[31 empty] | Cycle 1 | 5.9082 | 5.5823
[31 empty] | Cycle 2 | 5.7292 | 5.34
[31 empty] | Cycle 3 | 5.5563 | 5.1098
[31 empty] | Cycle 4 | 5.3893 | 4.8931
[31 empty] | Cycle 5 | 5.2284 | 4.6873
[31 empty] | Cycle 6 |  | 13.1862
[31 empty] | Cycle 7 | 12.6548 | 12.2509 | -0.65878 | -5.6758
[31 empty] | Cycle 8 | 12.0531 | 11.4102
13 | GIRMS\IRMS-operator | 2026-01-14 17:17 | 2026-01-14 18:19 | Success | FALSE | SHP2L | 13 | 13 | 1 | 8 | TRUE | Unknown |  | 0.00125346894401059 V, 0.00117370668156912 V, 0.00140972872556523 V | 9.5199 kV | 19.694 V | 1.36E-007 mbar | 72 °C | 965 µbar | 37 µbar | 315 µbar/min | 172 µbar | 352 µbar |  | µ-Volume | Carbon Dioxide: 0.0199 kV | 44 % | 6.613 V | 14.170 V | 16.635 V | Pre | 11.4894 | 10.6586
[31 empty] | Cycle 1 | 10.9664 | 9.9836
[31 empty] | Cycle 2 | 10.4839 | 9.3764
[31 empty] | Cycle 3 | 10.0315 | 8.8517
[31 empty] | Cycle 4 | 9.6092 | 8.393
[31 empty] | Cycle 5 | 9.2204 | 7.9733
[31 empty] | Cycle 6 |  | 10.3357
[31 empty] | Cycle 7 | 9.9345 | 9.6904 | -0.70049 | -5.9168
[31 empty] | Cycle 8 | 9.5186 | 9.1205
14 | GIRMS\IRMS-operator | 2026-01-14 17:47 | 2026-01-14 18:52 | Success | FALSE | SHP2L | 14 | 14 | 2 | 8 | TRUE | Unknown |  | 0.00132606137361086 V, 0.00125107882452244 V, 0.00153276088644083 V | 9.5199 kV | 14.791 V | 1.17E-007 mbar | 72 °C | 946 µbar | 37 µbar | 484 µbar/min | 84 µbar | 35 µbar |  | µ-Volume | Carbon Dioxide: 0.0199 kV | 54 % | 6.613 V | 11.076 V | 12.698 V | Pre | 9.1369 | 8.6306
[31 empty] | Cycle 1 | 8.7932 | 8.1918
[31 empty] | Cycle 2 | 8.4793 | 7.7878
[31 empty] | Cycle 3 | 8.1847 | 7.4127
[31 empty] | Cycle 4 | 7.9038 | 7.0627
[31 empty] | Cycle 5 | 7.6382 | 6.7352
[31 empty] | Cycle 6 |  | 22.26
[31 empty] | Cycle 7 | 20.9948 | 20.3515 | -0.73085 | -5.668
[31 empty] | Cycle 8 | 19.7748 | 18.6491
15 | GIRMS\IRMS-operator | 2026-01-14 18:19 | 2026-01-14 19:20 | Success | FALSE | SHP2L | 15 | 15 | 1 | 9 | TRUE | Unknown |  | 0.00130056218618432 V, 0.00123044191007688 V, 0.00149857997894287 V | 9.5197 kV | 42.461 V | 1.91E-007 mbar | 72 °C | 990 µbar | 35 µbar | 308 µbar/min | 252 µbar | 40 µbar |  | µ-Volume | Carbon Dioxide: 0.0197 kV | 30 % | 6.617 V | 23.800 V | 33.950 V | Pre | 18.6454 | 17.121
[31 empty] | Cycle 1 | 17.5879 | 15.7521
[31 empty] | Cycle 2 | 16.6118 | 14.5437
[31 empty] | Cycle 3 | 15.7051 | 13.4665
[31 empty] | Cycle 4 | 14.8646 | 12.5039
[31 empty] | Cycle 5 | 14.0912 | 11.6391
Cycle 6
Cycle 7
Cycle 8